## Sheet1
ITEM | VENDOR | APVENMAST#VENDOR-VNAME | VEN-ITEM | MANUF-CODE | MANUF-DIVISION | MANUF-NBR | ITEMMAST#DESCRIPTION | ITEMMAST#DESCRIPTION2 | ITEMMAST#ACTIVE-STATUS | ITEMMAST#PURCH-MAJCL | ITEMMAST#PURCH-MINCL | STATUS | ITEMMAST#ALT-UOM-1 | ITEMMAST#ALT-UOM-CONV-1 | ITEMMAST#ALT-UOM-2 | ITEMMAST#ALT-UOM-CONV-2 | ITEMMAST#ALT-UOM-3 | ITEMMAST#ALT-UOM-CONV-3 | ITEMMAST#ALT-UOM-4 | ITEMMAST#ALT-UOM-CONV-4 | ProdigoReferenceID | UOMSpecific1 | UOMSpecific2 | UOMSpecific3 | UOMSpecific4 | LUM | ImageURL | GMDN_Name | GMDN_Definition | DeviceSterile | SterilizationMethod | SterilizationPriorToUse | ContainsLatex | MRISafetyStatus | Tissue | LongDescription | ShortDescription | GlobalUNSPSC | HCPCS | BrandName | Orlando 300 Desc | Orlando Short 30 | UNSPSC | UNSPSC Description | HCPCS | HCPCS Description | BrandName | Prodigo Long Desc[not for client-internal use] | ProdigoShort Desc [ not for client - internal use]
102498 | 333075 | ANGIODYNAMICS INC | EXM-4004-H000 | ANGIODYNAMICS |  | EXM-4004-H000 | CATH AURYON ATHER 2.35MM | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 39147341 | [14 empty] | CATHETER AURYON ATHERECTOMY 2.35MMHYDROPHILIC COATED
75243 | 442367 | HAEMONETICS CORP | 700-580I-05U | CARDIVA MEDICAL INC |  | 700-580I-05U | DEVICE VASC CLSR VASCADE 6/7FR | EA/1 BX/5 LTXFREE | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 34544373 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/09C9DECF-A1FC-4789-A66F-D5788EFD9448.png | [8 empty] | DEVICE VASCULAR CLOSURE 6/7 FR ARTERIAL VENOUS BIOABSORBABLE FULLY INTEGRATED RAPID HEMOSTASIS VASCADE | DEVICE VASCULAR CLOSURE 6/7 FR ARTERIAL VENOUS BIOABSORBABLE FULLY INTEGRATED RAPID HEMOSTASIS VASCADE | 42295486 | C1760 | VASCADE
81622 | 552775 | BARD ACCESS SYSTEM | 2205220 | BARD ACCESS SYSTEM | ACSS | 2205220 | NDL EXT SET W/HUBER 20G X .75 | EA/1 CA/20 LTXF | A | ALL |  | 0 | EA | 1 | CA | 20 |  | 0 |  | 0 | 313005 | 00801741065866 | 10801741065863 |  |  | 00801741065866 | https://api.edirx.com/workflowfileuploads/documentconsole/B3D34C89-A73F-48BE-AD3C-59F2628C0251.jpg | Vascular port administration set | A collection of devices designed to conduct fluids from an intravenous (IV) fluid container to a patient's venous system via a previously implanted injection/infusion port. It typically includes a noncoring needle designed with a lateral hole (side-hole), tubing, connectors, chambers, clamps and may include an injection placement aid. This is a single-use device. | Yes |  | No | No | Unspecified | No | INFUSION SET 20 GAX0.75 IN WINGED Y SITE WITH HUBER INJECTION GAUGE X 0.75IN | INFUSION SET 20 GAX0.75 IN WINGED Y SITE WITH HUBER | 42142533 | A4215
102501 | 552827 | MEDTRONIC PERFUSION SYSTEMS | 20114 | MEDTRONIC PERFUSION SYSTEMS | PERF | 20114 | CANNULA PRFSN 5.75IN 14GA | EA/1 PK/20 SUB FOR 45333 | A | ALL |  | 0 | EA | 1 | PK | 20 |  | 0 |  | 0 | 233163 | 00613994495327 |  |  |  | 00613994495327 | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/BC3314AE-BE62-4B90-AF4F-1C8E1D41D7D1.jpg | Cardioplegia cannula | A sterile, single lumen, tubular device designed to deliver cardioplegic solution to the aortic root to stop the beating of the heart and maintain it dormant; it may also be used to vent the aorta and the left heart during a cardiopulmonary bypass procedure. It is typically made of plastic [e.g., polypropylene, polyvinyl chloride (PVC)] with a soft insertion tip and a suture flange for its anchoring; it may have one or more tubes (a second for aspiration, if needed), and typically Luer connector(s) for connection to the infusion syringe and aspiration line(s). It may include a manual tubing clamp and insertion is typically achieved with a removable stylet. This is a single-use device. | Yes |  | No | No | Unspecified | No | CANNULA AORTIC ROOT STANDARD INTRODUCER SLOTTED TIP 7FR OVERALL LENGTH 575IN DLP | CANNULA AORT ROOT STD 7 FRX575 IN SLT TIP W/ VNTLINE DLP | 42295302 | A4649 | DLP
75242 | 442367 | HAEMONETICS CORP | 700-500DX-05U | CARDIVA MEDICAL INC |  | 700-500DX-05U | DEVICE VASC CLSR VASCADE 5FR | EA/1 BX/5 LTXFREE | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 34345996 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/4807B716-9272-4347-BC71-BDB9B3E51CE9.png | [8 empty] | DEVICE VASCULAR CLOSURE 5 FR ARTERIAL VENOUS BIOABSORBABLE FULLY INTEGRATED RAPID HEMOSTASIS VASCADE | DEVICE VASCULAR CLOSURE 5 FR ARTERIAL VENOUS BIOABSORBABLE FULLY INTEGRATED RAPID HEMOSTASIS VASCADE | 42295486 | C1760 | VASCADE
102502 | 1018889 | CARDINAL HEALTH 200 INC | 5160-2FG | CARDINAL HEALTHCARE |  | 5160-2FG | COVER HNDL GREEN LIGHT STRL | PK/2 CA/80 LTXFREE | A | ALL |  | 0 | PK | 1 | CA | 80 |  | 0 |  | 0 | 2291109 | 10885380121944 | 50885380121942 |  |  | 30885380121948 | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/6BB45DB5-6A03-417F-AFFD-D3FE654D7095.jpg | MEDICAL EQUIPMENT HANDLE COVER SINGLEUSE | A DEVICE DESIGNED SPECIFICALLY TO COVER THE HANDLE OF A PIECE OF MEDICAL EQUIPMENT E.G. OPERATING LIGHT TO PROVIDE A PHYSICAL STERILE BARRIER BETWEEN THE HANDLE AND THE HAND OF A HEALTHCARE PROFESSIONAL E.G. DURING A SURGICAL PROCEDURE. IT IS TYPICAL | Yes |  | No | No | Unspecified | No | COVER HANDLE LIGHT PLASTIC GREEN 40/BX 4 BX/CA | COVER HANDLE LIGHT PLASTIC GREEN | 42295417 | C1778 | NOVAPLUS 2
102513 | 1018889 | CARDINAL HEALTH 200 INC | 8618RC | CARDINAL HEALTHCARE |  | 8618RC | CONTAINER 18GAL HAZMAT WASTE | EA/1 CA/5 | A | ALL |  | 0 | EA | 1 | CA | 5 |  | 0 |  | 0 | 9424404 | 20884521513423 | 10884521513426 |  |  | 20884521513423 | https://api.edirx.com/workflowfileuploads/documentconsole/74EB35E3-D911-45F7-A076-23D68136A4BF.JPG | Sharps container | A device designed as a container to allow the safe deposit and collection of biologically or chemically contaminated used sharps; this includes needles, lancets, scalpel blades, cannulae, or other devices that present a hazard to a healthcare worker or patient if they were to inadvertently have bodily contact with the device and cause themselves an injury. This container is typically designed to be puncture resistant, leak-proof, and closable (usually having a lid that cannot be reopened once closed) and is identified with the universal biohazard symbol on its labelling. It is disposed of when filled to the recommended level, typically by incineration. | No |  | No | No | Unspecified | No | MONOJECT HAZARDOUS PHARMACEUTICAL WASTE CONTAINERS WITH SLIDING LID RCRA 18 GALLON BLACK CONTAINER SHARPS HAZARDOUS PHARMACEUTICAL WASTE 18 GL WITH SLIDING LID RCRA BLACK MONOJECT | CONTAINER SHARPS HAZARDOUS PHARMACEUTICAL WASTE 18 GL WITH SLIDING LID RCRA BLACK MONOJECT | 42192802 |  | KENDALL
102511 | 1013421 | MOLNLYCKE HEALTH CARE-CSC ONLY | 47675 | MOLNLYCKE HEALTH CARE |  | 47675 | GLOVE SURG BIOGL PI ORTHPR 7.5 | PR/1 BX/40 CA/160 | A | ALL | CSC | 0 | PR | 1 | BX | 40 | CA | 160 |  | 0 | 2272793 |  |  | 07332551976125 |  | 07332551976149 | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/F3F5642C-A062-46E5-84B3-588B4B464F1A.png | Polyisoprene surgical glove, non-powdered, non-antimicrobial | A device made of polyisoprene intended as a protective barrier when worn on the hands of healthcare providers at the surgical site; its inner surface is not covered with powder and it does not include antimicrobial agents/materials. It is used mainly as a two-way barrier to protect patient and staff from microorganisms and risk of allergy to latex. It will have appropriate characteristics regarding tactility and comfort of use, and should provide adequate conditions of sterility, appropriate physical properties (e.g., tensile strength, resistance to puncture, elasticity), and uniformity of dimensions (i.e., sizing consistency). This is a single-use device. | Yes |  | No | No | Unspecified | No | GLOVE SURGICAL POWDER FREE 7.5 12.12 INX13.8 MIL BEADED CUFF MICRO ROUGHENED SURFACE HAND SPECIFIC POLYISOPRENE SYNTHETIC BROWN STERILE BIOGEL PI ORTHOPRO LATEX | GLOVE SURGICAL POWDER FREE 7.5 12.12 INX13.8 MIL BEADED CUFF MICRO ROUGHENED SURFACE HAND SPECIFIC POLYISOPRENE SYNTHETIC BROWN STERILE BIOGEL PI ORTHOPRO LATEX-FREE | 42132205 | A4930 | BIOGEL PI ORTHOPRO
65867 | 1002995 | FISHER & PAYKEL HEALTHCARE | RT042L | CAREFUSION |  | RT042L | MASK F/P BIPAP NASAL LG | EA/1 CA/10 | A | ALL | CSC | 0 | EA | 1 | CA | 10 |  | 0 |  | 0 | 1578217 | 09420012430243 |  |  |  | 09420012430243 | https://api.edirx.com/workflowfileuploads/documentconsole/E6E97856-D651-4E2E-BE11-C6B6AABB7AE8.JPG | CPAP/BPAP nasal mask, single-use | A non-sterile, flexible, form-shaped device designed to be placed over a user's nose to interface with a continuous positive airway pressure (CPAP) or bi-level positive airway pressure (BPAP) unit to provide the respiratory tract with direct ambient air, or medical oxygen (O2) and air, at a higher pressure than ambient air for noninvasive positive pressure ventilation (NPPV). It is typically made of plastic and/or silicone materials that create an airtight seal around the nose. It is available in various designs and sizes and stabilized with a headstrap. This is a single-patient device that may be reapplied to the patient over a short term (single-use) before being discarded. | No |  | No | No | Unspecified | No | MASK NASAL L FOR NONINVASIVE VENTILATION FREEMOTION | MASK NASAL L FOR NONINVASIVE VENTILATION FREEMOTION | 42272213 | A7034
66361 | 558255 | BOSTON SCIENTIFIC CORP | M001491450 | COOK INCORPORATED |  | M001491450 | GUIDE WIRE STARTER | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 41300429
102505 | 1021144 | BIOSENSE WEBSTER | D140901 | BIOSENSE WEBSTER |  | D140901 | CATH OPTRELL D-F CURVE | EA/1 LTXFREE | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 38213595 | 10846835023015 |  |  |  | 10846835023015 |  | Cardiac mapping catheter, percutaneous, single-use | A sterile, steerable, flexible tube containing multiple electrodes that is introduced percutaneously into the heart chambers in order to transmit electrical impulses for electrophysiological diagnostic examinations, e.g., intracardiac sensing, endocardial recording, stimulation, temporary pacing for evaluation of cardiac arrhythmias, cardioversion (CV) of electrical arrhythmias or electrophysiology (EP) mapping of cardiac structures. It is typically made of plastic with embedded electrodes often of platinum (Pt), iridium, or a composite. This is a single-use device. | Yes | Ethylene Oxide | Yes | No | MR Unsafe | No | CATHETER MAPPING DF CURVE 2.4 MM SPACING WITH TRUEREF TECHNOLOGY OPTRELL | CATHETER MAPPING DF CURVE 2.4 MM SPACING WITH TRUEREF TECHNOLOGY OPTRELL | 42203430 | C1732 | OPTRELL
500904 | 1010921 | HENRY SCHEIN INC | 5824565 | CARDINAL HEALTHCARE |  | 2D73ET80 | GLOVE SURG CRITERION PI 8 | PR/1 BX/40 | A | ASC |  | 0 | PR | 1 | BX | 40 |  | 0 |  | 0 | 371037 |  | 20885380025645 |  |  | 00885380025641 | https://api.edirx.com/workflowfileuploads/documentconsole/70867DF0-51C2-4766-B308-10069D05C9B0.jpg | Polyisoprene surgical glove, non-powdered, non-antimicrobial | A device made of polyisoprene intended as a protective barrier when worn on the hands of healthcare providers at the surgical site; its inner surface is not covered with powder and it does not include antimicrobial agents/materials. It is used mainly as a two-way barrier to protect patient and staff from microorganisms and risk of allergy to latex. It will have appropriate characteristics regarding tactility and comfort of use, and should provide adequate conditions of sterility, appropriate physical properties (e.g., tensile strength, resistance to puncture, elasticity), and uniformity of dimensions (i.e., sizing consistency). This is a single-use device. | Yes | Radiation Sterilization | Yes | No | Unspecified | No | GLOVE SURGICAL POWDER FREE 8 12 IN BEADED INTERLOCKING CUFF SMOOTH FINISH 12.2MIL FINGER 8.3MIL PALM 7.5MIL SYNTHETIC POLYISOPRENE CREAM STERILE PROTEXIS LATEX PROTEXIS PI ORTHO GLOVES | GLOVE SURGICAL POWDER FREE 8 12 IN BEADED INTERLOCKING CUFF SMOOTH FINISH 12.2MIL FINGER 8.3MIL PALM 7.5MIL CUFF SYNTHETIC POLYISOPRENE CREAM STERILE PROTEXIS LATEX FREE | 42132205 | A4930 | PROTEXIS
102509 | 558255 | BOSTON SCIENTIFIC CORP | H74939462005 | BOSTON SCIENTIFIC |  | H74939462005 | GDWIRE ROTAWIRE DRV 330CM .014 | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 34782733 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/48980EA5-DDDE-4D57-92B8-6D5963DF11E5.JPG | [8 empty] | GUIDEWIRE VASCULAR FLOPPY 2.2 CM 0.014 INX330 WIRECLIP TORQUER ROTAWIRE DRIVE GUIDE WIRE WITH | GUIDEWIRE VASCULAR FLOPPY 2.2 CM 0.014 INX330 CM WIRECLIP TORQUER ROTAWIRE | 42203404 | C1769 | ROTAWIRE
54107 | 558255 | BOSTON SCIENTIFIC CORP | H74939032806010 | BOSTON SCIENTIFIC |  | H74939032806010 | CATH STERLING OTW 8/60/135 | EA/1 | A | ALL | REAC | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 3027896 | 08714729720706 |  |  |  | 08714729720706 | https://api.edirx.com/workflowfileuploads/documentconsole/681959D0-F0D2-42C1-B612-1E1F7BEE7B19.jpg | Peripheral angioplasty balloon catheter, basic | A sterile, non-drug-eluting, flexible tube designed for percutaneous transluminal angioplasty (PTA) to dilate a stenotic peripheral (i.e., non-cerebral, non-coronary) artery by controlled inflation of a distensible balloon(s) at its distal tip; it may also be intended for positioning and expansion of a stent/stent-graft. It is available as an over-the-wire (OTW) type with multiple lumens, or a rapid exchange (RX) type with a single lumen. Some types may include cutting/scoring elements (e.g., microsurgical blades, dual wire configurations) to score/modify the plaque. This is a single-use device. | Yes |  | No | No | Unspecified | No | CATHETER ANGIOPLASTY OVER THE WIRE 12 ATM 5 FRX135 CM 8X60 MM STERILE STERLING LATEX OVERTHEWIRE 8.0 60 135 | CATHETER ANGIOPLASTY OVER THE WIRE 12 ATM 5 FRX135 CM 8X60 MM STERILE STERLING LATEX | 42203405 | C1725 | STERLING
102504 | 321351 | AMBU INC | 600101000 | AMBU |  | 600101000 | CYSTOSCOPE FLXB 5.4MMX39CM | EA/1 CA/5 LTXFREE | A | ALL |  | 0 | EA | 1 | CA | 5 |  | 0 |  | 0 | 39452834 | 05707480157679 |  |  |  | 05707480157679 |  | Flexible video cystoscope, single-use | A sterile endoscope with a flexible inserted portion intended for the visual examination and treatment of the bladder and the urinary tract by introduction through the urethra. Anatomical images are transmitted from a distal camera and displayed on a monitor. It is typically used to examine/diagnose incontinence, urinary retention, recurrent urinary tract infections, and/or to remove tissue specimens/stones/small tumours from the bladder; it may have specialized tools for functions such as ureteral stent removal. This is a single-use device. | Yes |  | No | No | Unspecified | No | ASCOPE 4 CYSTO REVERSE 5/CS |  |  |  | ASCOPE
15326 | 616508 | ZIMMER US INC | 00111214001 | ZIMMER ALLIANCES OF FLORIDA |  | 00-1112-140-01 | CEMENT BONE PALACOS 1X40 | EA/1 LTXFREE | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 17669 | [5 empty] | https://api.edirx.com/workflowfileuploads/documentconsole/4E0948AD-AAEC-4C9B-B82D-38645B1EC121.jpg | [8 empty] | CEMENT BONE SINGLE DOSE 1X40 GM PALACOS R STERILE | CEMENT BONE SINGLE DOSE 1X40 GM PALACOS R STERILE | 42296705 |  | PALACOS R
102510 | 504001 | MEDLINE INDUSTRIES INC | NON03010BAR | MEDLINE INDUSTRIES |  | NON03010BAR | CUP MEDICINE 10OZ DISP | EA/1 BG/50 CA/1000 | A | ALL |  | 0 | EA | 1 | BG | 50 | CA | 1000 |  | 0 | 1305203 | [5 empty] | https://api.edirx.com/workflowfileuploads/documentconsole/1B0C833D-13E3-4ED3-A5C0-B42870F96D2D.jpg | [5 empty] | No |  |  | CUP DRINKING 10 OZ COLD GRADUATED PLASTER CLEAR LATEX FREE DISPOSABLE CUP DRINKING COLD 10 OZ GRADUATED PLASTER CLEAR LATEXFREE DISPOSABLE | CUP DRINKING COLD 10 OZ GRADUATED PLASTER CLEAR LATEXFREE DISPOSABLE | 48101919
85591 | 504001 | MEDLINE INDUSTRIES INC | MDS251504LF | MEDLINE INDUSTRIES |  | MDS251504LF | SPONGE LAP 4" X 18" | EA/1 PK/5 CA/200 LTXFREE | A | ALL |  | 0 | EA | 1 | PK | 5 | CA | 200 |  | 0 | 1255578 | 20080196743954 | 10080196743957 |  |  | 20080196743954 | https://api.edirx.com/workflowfileuploads/documentconsole/54141E42-173D-46DB-84B7-C4A41E17089B.jpg | Radiopaque woven surgical sponge | A non-medicated device made from woven gauze (e.g., cotton, cellulose) primarily intended to be used inside the body, on a surgical incision or applied to internal organs or structures to control bleeding, absorb fluid, or protect organs or structures from abrasion, drying, or contamination during a procedure; also referred to as a laparotomy sponge, it may also be used for prepping the patient. It contains an x-ray detectable marker [e.g., a thread or strand(s)] to help detect gossypiboma (sponge left inside patient). This is a single-use device. | Yes |  | No | No | Unspecified | No | SPONGE LAPAROTOMY ABSORBENT 4X18 IN PREWASHED AND DELINTED PROVIDES CLEANLINESS LOW PARTICULATE COUNT DETECTABLE COTTON WHITE STERILE LATEXFREE DISPOSABLE 4X18IN LATEX FREE | SPONGE LAPAROTOMY ABSORBENT 4X18 IN PREWASHED AND DELINTED PROVIDES CLEANLINESS LOW PARTICULATE COUNT DETECTABLE COTTON WHITE STERILE LATEXFREE DISPOSABLE | 42295406 | A6402
102506 | 1021144 | BIOSENSE WEBSTER | D140902 | BIOSENSE WEBSTER |  | D140902 | CATH OPTRELL F-J CURVE | EA/1 LTXFREE | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 38209861 | 10846835023022 |  |  |  | 10846835023022 |  | Cardiac mapping catheter, percutaneous, single-use | A sterile, steerable, flexible tube containing multiple electrodes that is introduced percutaneously into the heart chambers in order to transmit electrical impulses for electrophysiological diagnostic examinations, e.g., intracardiac sensing, endocardial recording, stimulation, temporary pacing for evaluation of cardiac arrhythmias, cardioversion (CV) of electrical arrhythmias or electrophysiology (EP) mapping of cardiac structures. It is typically made of plastic with embedded electrodes often of platinum (Pt), iridium, or a composite. This is a single-use device. | Yes | Ethylene Oxide | Yes | No | MR Unsafe | No | CATHETER MAPPING FJ CURVE 2.4 MM SPACING WITH TRUEREF TECHNOLOGY OPTRELL | CATHETER MAPPING FJ CURVE 2.4 MM SPACING WITH TRUEREF TECHNOLOGY OPTRELL | 42203430 | C1732 | OPTRELL
102497 | 333075 | ANGIODYNAMICS INC | EXM-4003-H000 | ANGIODYNAMICS |  | EXM-4003-H000 | CATH AURYON ATHER 2MM | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 39147789 | [14 empty] | CATHETER AURYON ATHERECTOMY 2MMHYDROPHILIC COATED
102494 | 333075 | ANGIODYNAMICS INC | H965457531 | ANGIODYNAMICS |  | H965457531 | KIT CATH NDL ENDSCPC 21G X 7CM | EA/1 BX/10 | A | ALL |  | 0 | EA | 1 | BX | 10 |  | 0 |  | 0 | 7773516 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/37879BB3-F1B6-4A0B-8688-B29E8227F2AC.jpg | [8 empty] | NEEDLE ENDOSCOPIC ECHOGENIC 21 GAX7 CM 4 FR KIT NITINOL TUNGSTEN GUIDEWIRE STIFFENED STERILE MINI STICK MAX LATEX DISPOSABLE | NEEDLE ENDOSCOPIC ECHOGENIC 21 GAX7 CM 4 FR KIT NITINOL TUNGSTEN GUIDEWIRE STIFFENED STERILE MINI STICK MAX LATEX DISPOSABLE | 42294925 | A4215 | MINI STICK MAX
102512 | 1013421 | MOLNLYCKE HEALTH CARE-CSC ONLY | 47680 | MOLNLYCKE HEALTH CARE |  | 47680 | GLOVE SURG BIOGL PI ORTHPR 8.0 | PR/1 BX/40 CA/160 | A | ALL | CSC | 0 | PR | 1 | BX | 40 | CA | 160 |  | 0 | 2344047 |  |  | 07332551976262 |  | 07332551976286 | https://api.edirx.com/workflowfileuploads/documentconsole/E1368547-6E14-4952-A2F3-482C04C56EB8.JPG | Polyisoprene surgical glove, non-powdered, non-antimicrobial | A device made of polyisoprene intended as a protective barrier when worn on the hands of healthcare providers at the surgical site; its inner surface is not covered with powder and it does not include antimicrobial agents/materials. It is used mainly as a two-way barrier to protect patient and staff from microorganisms and risk of allergy to latex. It will have appropriate characteristics regarding tactility and comfort of use, and should provide adequate conditions of sterility, appropriate physical properties (e.g., tensile strength, resistance to puncture, elasticity), and uniformity of dimensions (i.e., sizing consistency). This is a single-use device. | Yes |  | No | No | Unspecified | No | GLOVE SURGICAL POWDER FREE 8 MICRO BEADED CUFF ROUGH ENED SURFACE SYNTHETIC POLYISOPRENE BROWN STERILE BIOGEL PI ORTHOPRO LATEX POWDERFREE | GLOVE SURGICAL POWDER FREE 8 MICRO BEADED CUFF ROUGH ENED SURFACE SYNTHETIC POLYISOPRENE BROWN STERILE BIOGEL PI ORTHOPRO LATEX-FREE | 42132205 | A4930 | BIOGEL PI ORTHOPRO
102503 | 442367 | HAEMONETICS CORP | 800-612C-10U | CARDIVA MEDICAL INC |  | 800-612C-10U | DEVICE VASC CLSR VASCADE 6FR | EA/1 BX/10 LTXFREE | A | ALL |  | 0 | EA | 1 | BX | 10 |  | 0 |  | 0 | 34427220 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/C0428AC7-53CC-42C7-8B3C-0BF537095B78.jpg | [8 empty] | SYSTEM CLOSURE 612 FR VENOUS VASCULAR VASCADE MVP VVCS FRENCH | SYSTEM CLOSURE 612 FR VENOUS VASCULAR VASCADE MVP | 42295486 |  | VASCADE MVP
73088 | 392588 | DB SURGICAL INC | S-0088S | DB SURGICAL |  | S-0088S | PIN DISTRACTION 12MM | EA/1 BX/5 LTXFREE | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 38497809
102500 | 1021144 | BIOSENSE WEBSTER | R7F282CT | J & J BIOSENSE WEBSTER | BIOS | R7F282CT | CATH ABL 7FR 2-8-2 F CRV 115CM | EA/1 LTXFREE | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 3368508 | 10846835008807 |  |  |  | 10846835008807 | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/F789E2D0-1918-44D1-8BE6-271B5CE0184A.jpg | Cardiac mapping catheter, percutaneous, single-use | A sterile, steerable, flexible tube containing multiple electrodes that is introduced percutaneously into the heart chambers in order to transmit electrical impulses for electrophysiological diagnostic examinations, e.g., intracardiac sensing, endocardial recording, stimulation, temporary pacing for evaluation of cardiac arrhythmias, cardioversion (CV) of electrical arrhythmias or electrophysiology (EP) mapping of cardiac structures. It is typically made of plastic with embedded electrodes often of platinum (Pt), iridium, or a composite. This is a single-use device. | Yes |  | No | No | Unspecified | No | CATHETER ABLATION F CURVE 282 MM SPACING 2 TIP 7 FRX115 CM 10 POLE ORANGE DECANAV 7F 2MM 282MM 115CM | CATHETER ABLATION F CURVE 282 MM SPACING 2 MM TIP 7 FRX115 CM 10 POLE TIP ORANGE DECANAV | 42203416 | C1732 | DECANAV
102499 | 1021144 | BIOSENSE WEBSTER | R7D282CT | J & J BIOSENSE WEBSTER | BIOS | R7D282CT | CATH ABL 7FR 2-8-2 D CRV 115CM | EA/1 LTXFREE | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 1532341 | 10846835008791 |  |  |  | 10846835008791 | https://www.biosensewebster.com/images/slides/EMEA_Homepage_STSF_Slide_Fnl.jpg | Cardiac mapping catheter, percutaneous, single-use | A sterile, steerable, flexible tube containing multiple electrodes that is introduced percutaneously into the heart chambers in order to transmit electrical impulses for electrophysiological diagnostic examinations, e.g., intracardiac sensing, endocardial recording, stimulation, temporary pacing for evaluation of cardiac arrhythmias, cardioversion (CV) of electrical arrhythmias or electrophysiology (EP) mapping of cardiac structures. It is typically made of plastic with embedded electrodes often of platinum (Pt), iridium, or a composite. This is a single-use device. | Yes |  | No | No | Unspecified | No | CATHETER ELECTROPHYSIOLOGY D CURVE 282 MM SPACING 2 MM TIP 7 FRX115 CM LEFT VENTRICLE RIGHT ATRIUM HIGH DENSITY 10 ELECTRODE CARTO DECANAV | CATHETER ELECTROPHYSIOLOGY D CURVE 282 MM SPACING 2 MM TIP 7 FRX115 CM LEFT VENTRICLE RIGHT ATRIUM HIGH DENSITY 10 ELECTRODE CARTO DECANAV | 42203430 | C1730 | DECANAV
102496 | 333075 | ANGIODYNAMICS INC | EXM-4002-H000 | ANGIODYNAMICS |  | EXM-4002-H000 | CATH AURYON ATHER .9MM | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 39147901 | [14 empty] | CATHETER AURYON ATHERECTOMY .9MMHYDROPHILIC COATED
64449 | 1026809 | MEDTRONIC USA INC | 9733421 | MEDTRONIC NAVIGATION | NAVI | 9733421 | POINTER CRANIAL NAVIGATION | EA/1 PK/5 LTXFREE | A | ALL |  | 0 | EA | 1 | PK | 5 |  | 0 |  | 0 | 41300430
102495 | 333075 | ANGIODYNAMICS INC | EXM-4001-H000 | ANGIODYNAMICS |  | EXM-4001-H000 | CATH AURYON ATHER 1.5MM | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 39147441 | [14 empty] | CATHETER AURYON ATHERECTOMY 1.5MMHYDROPHILIC COATED
102508 | 504001 | MEDLINE INDUSTRIES INC | ETHSXPP1B408 | ETHICON SUTURE |  | SXPP1B408 | SUTURE STRATAFX 0 27 CT1 | EA/1 BX/12 | A | ALL |  | 0 | EA | 1 | BX | 12 |  | 0 |  | 0 | 1583372 | 10705031236110 | 30705031236114 |  |  | 10705031236110 | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/0E958C7B-2A55-4285-B2F7-E72F1C9201A8.jpg | Barbed polyester suture, antimicrobial | A single-strand (monofilament), synthetic, bioabsorbable thread made from a polyester, and containing an agent to locally inhibit bacterial growth, intended to approximate the edges of a soft-tissue wound or incision by stitching. It is designed with barbs along its length intended to facilitate tissue approximation by adding tension, a fixation feature (e.g., tab, loop, bidirectional barbs) intended to eliminate the need to tie a knot, and may include disposable suture application devices [e.g., needle, passer]. The thread provides extended temporary wound support, until the wound sufficiently heals to withstand normal stress, and is absorbed by hydrolysis. This is a single-use device. | Yes |  | No | No | MRI Safe | No | SUTURE ABSORBABLE MONOFILAMENT 0 CT1 70 CM 36 MM ANTIBACTERIAL UNIDIRECTIONAL 1/2 CIRCLE TAPER POINT NEEDLE POLYDIOXANONE VIOLET STERILE STRATAFIX SPIRAL PDS PLUS LATEX | SUTURE ABSORBABLE MONOFILAMENT 0 CT1 70 CM 36 MM ANTIBACTERIAL UNIDIRECTIONAL 1/2 CIRCLE TAPER POINT NEEDLE POLYDIOXANONE VIOLET STERILE STRATAFIX SPIRAL PDS PLUS LATEX | 42312201 |  | STRATAFIX SPIRAL PDS PLUS
66481 | 603289 | LEMAITRE VASCULAR INC | CMCV-003-401 | CORMATRIX |  | CMCV-003-401 | ECM PERICAR CLSR 7X10 | EA/1 PK/5 LTXFREE | A | ALL |  | 0 | EA | 1 | PK | 5 |  | 0 |  | 0 | 16983508 | [14 empty] | GRAFT BIOLOGICAL TISSUE W7XL10CM PORCINE 4 PLY THICK FOR PERICARDIUM CLOSURE EMC | GRAFT BIO TISS W7XL10CM PORCINE 4 PLY THCK FOR PERICARD CLSR | 42295525 | C1763
102507 | 1038838 | BIOLIFE LLC | LP637 | BIOLIFE LLC |  | LP637 | AGENT HMSTC STATSEAL WND ADVD | EA/1 CA/24 | A | ALL |  | 0 | EA | 1 | CA | 24 |  | 0 |  | 0 | 34683418 | [14 empty] | AGENT HEMOSTATIC POWDER LARGE BOTTLE STATSEAL ADVANCED | AGENT HEMOSTATIC POWDER LARGE BOTTLE STATSEAL ADVANCED | 42311606 |  | STATSEAL ADVANCED