## Sheet1
SlNo | ITEM | VENDOR | APVENMAST#VENDOR-VNAME | VEN-ITEM | MANUF-CODE | MANUF-DIVISION | MANUF-NBR | ITEMMAST#DESCRIPTION | ITEMMAST#DESCRIPTION2 | ITEMMAST#ACTIVE-STATUS | ITEMMAST#PURCH-MAJCL | ITEMMAST#PURCH-MINCL | STATUS | ITEMMAST#ALT-UOM-1 | ITEMMAST#ALT-UOM-CONV-1 | ITEMMAST#ALT-UOM-2 | ITEMMAST#ALT-UOM-CONV-2 | ITEMMAST#ALT-UOM-3 | ITEMMAST#ALT-UOM-CONV-3 | ITEMMAST#ALT-UOM-4 | ITEMMAST#ALT-UOM-CONV-4 | ProdigoReferenceID | UOMSpecific1 | UOMSpecific2 | UOMSpecific3 | UOMSpecific4 | LUM | ImageURL | GMDN_Name | GMDN_Definition | DeviceSterile | SterilizationMethod | SterilizationPriorToUse | ContainsLatex | MRISafetyStatus | Tissue | LongDescription | ShortDescription | GlobalUNSPSC | HCPCS | BrandName | Orlando 300 Desc | Orlando Short 30 | UNSPSC | UNSPSC Description | HCPCS | HCPCS Description | BrandName | Prodigo Long Desc[not for client-internal use] | ProdigoShort Desc [ not for client - internal use]
1 | 102920 | 506099 | MERIT MEDICAL | K12T-12443 | MERIT MEDICAL |  | K12T-12443 | KIT PROC THORA/PARA | EA/1 CA/5 | A | BAY |  | 0 | EA | 1 | CA | 5 |  | 0 |  | 0 | 41300713
2 | 500986 | 504001 | MEDLINE INDUSTRIES INC | DYNJAETC40S | MEDLINE INDUSTRIES |  | DYNJAETC40S | TUBE ENDTRCHL CUFFED 4.0MM | EA/1 BX/10 | A | ASC |  | 0 | EA | 1 | BX | 10 |  | 0 |  | 0 | 36257179 | [14 empty] | TUBE ENDOTRACHEALCUFF STYLET 4.0MM |  | 42271903
3 | 102918 | 558255 | BOSTON SCIENTIFIC CORP | H74916599042 | BOSTON SCIENTIFIC |  | H74916599042 | CATH ANGIO FEM RT 6 CRV 6FR | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 7327737 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/7BEFCEB1-B86C-499D-A620-3C7AE6CD8C1F.jpg | [8 empty] | CATHETER ANGIOGRAPHIC FEMORAL RIGHT 6 0.056 INX6 FRX100 CM IMPULSE CURVE FR6 100 6F .056 IN | CATHETER ANGIOGRAPHIC FEMORAL RIGHT 6 0.056 INX6 FRX100 CM IMPULSE | 42203433 | C1887 | IMPULSE
4 | 102903 | 558255 | BOSTON SCIENTIFIC CORP | H74934358380 | BOSTON SCIENTIFIC |  | H74934358380 | CATH GDNG MACH1 8FR MP1 | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 3020682 | 08714729382515 |  |  |  | 08714729382515 | https://api.edirx.com/workflowfileuploads/documentconsole/5C0452D9-5AB7-4FD6-94B6-5708E74B5AA3.jpg | Vascular guide-catheter, single-use | A flexible tube intended to be used for the percutaneous transluminal passage and placement of a diagnostic/interventional catheter, lead (e.g., pacing lead, balloon dilatation catheter), needle or guidewire through its lumen(s), within the vascular system. It may be rigid or flexible, non-steerable or steerable, single or multiple lumen(s), and the distal section can have a variety of preformed shapes (e.g., straight, hockey stick). It is not intended solely for infusion, is not intended to access superselective small vessels, and does not include a transseptal needle. It may include a disposable percutaneous introduction set or shaft visualization electrodes. This is a single-use device. | Yes |  | No | No | Unspecified | No | CATHETER GUIDING MULTIPURPOSE 1 0.091 INX8 FR BRAIDED ATRAUMATIC RADIOPAQUE TIP LARGE LUMEN PTFE MACH GUIDE CATHETERS MACH1 CURVE MP1 8F .091IN | CATHETER GUIDING MULTIPURPOSE 1 0.091 INX8 FR BRAIDED ATRAUMATIC RADIOPAQUE TIP LARGE LUMEN PTFE MACH 1 | 42203444 | C1887 | MACH 1
5 | 500988 | 504001 | MEDLINE INDUSTRIES INC | DYNJAETC60S | MEDLINE INDUSTRIES |  | DYNJAETC60S | TUBE ENDTRCHL CUFFED 6.0MM | EA/1 BX/10 | A | ASC |  | 0 | EA | 1 | BX | 10 |  | 0 |  | 0 | 15868518 | 10888277724778 | 20888277724775 |  |  | 10888277724778 | https://www.medline.com/media/catalog/sku/DYN/DYNJAETC60S_PRI01.JPG | Basic endotracheal tube, single-use | A hollow cylinder inserted orally or nasally into the trachea to provide an unobstructed airway to convey gases and vapours to and from the lungs during anaesthesia, resuscitation, and other situations where the patient is not properly ventilated; it does not include an antimicrobial agent(s). The device may: 1) be packaged with a connector that will attach to a breathing circuit or manual resuscitator; 2) have a distal inflatable cuff to seal against the tracheal wall; 3) be radiopaque; and 4) have a built-in pilot balloon for cuff pressure monitoring. It is available in various diameters and lengths for adult and paediatric patients. This is a single-use device. | Yes |  | No | No | Unspecified | No | TUBE ENDOTRACHEALCUFF STYLET 6.0MM |  | 42271904 |  | MEDLINE
6 | 102922 | 940001 | EDWARDS LIFESCIENCES INC | AIQS6C502 | EDWARDS LIFESCIENCES |  | AIQS6C502 | SENSOR BP ACUMEN IQ 60IN/152CM | EA/1 CA/5 | A | ALL |  | 0 | EA | 1 | CA | 5 |  | 0 |  | 0 | 32727364 | [14 empty] | SENSOR BLOOD PRESSURE HYPOTENSION 60 IN ACUMEN IQ 60IN / 152CM | SENSOR BLOOD PRESSURE HYPOTENSION 60 IN ACUMEN IQ | 42181608 |  | ACUMEN IQ
7 | 102912 | 558255 | BOSTON SCIENTIFIC CORP | H74916599862 | BOSTON SCIENTIFIC |  | H74916599862 | CATH DX 6FR AR2 100CM | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 4019058 | [5 empty] | https://api.edirx.com/workflowfileuploads/documentconsole/8CC7638B-84F3-4AAE-B60E-0DCEE14C6FBF.jpg | [8 empty] | CATHETER ANGIOGRAPHY 6FR L100CM 0056IN AR 2 IMPULSE | CATHETER ANGIOGRAPHY 6FR L100CM 0056IN AR 2 IMPULSE | 42203402 | C1887 | IMPULSE
8 | 102910 | 558255 | BOSTON SCIENTIFIC CORP | H749163912151 | BOSTON SCIENTIFIC |  | H749163912151 | CATH ANGIO VNTRC PGTL CRV 5FR | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 10668602 | 08714729343332 |  |  |  | 08714729343332 | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/81D221CF-742C-425F-B56A-42184188999B.png | Angiographic catheter, single-use | A thin, flexible tube designed to inject a contrast medium into select blood vessels of the cerebral, visceral, or peripheral vasculature during an angiographic procedure in order to facilitate the clear visualization of the vascular system of a targeted organ or area of the body. It is introduced percutaneously, has a radiopaque marker(s) for positioning, and may include disposable devices dedicated to catheter introduction/function [e.g., sheath(s)]. It may also be used for simultaneous pressure measurements to determine the transvalvular, intravascular, and intraventricular pressure gradients. This is a single-use device. | Yes |  | No | No | Unspecified | No | CATHETER ANGIOGRAPHIC PIGTAIL 0.047 INX5 FRX125 CM VENTRICULAR IMPULSE CURVE PIG 125 5F .047 IN | CATHETER ANGIOGRAPHIC PIGTAIL 0.047 INX5 FRX125 CM VENTRICULAR IMPULSE | 42203433 | C1887 | IMPULSE
9 | 500987 | 504001 | MEDLINE INDUSTRIES INC | DYNJAETC50S | MEDLINE INDUSTRIES |  | DYNJAETC50S | TUBE ENDTRCHL CUFFED 5.0MM | EA/1 BX/10 | A | ASC |  | 0 | EA | 1 | BX | 10 |  | 0 |  | 0 | 33930916 | 10888277724754 | 20888277724751 |  |  | 10888277724754 |  | Endobronchial tube | A hollow cylinder that is designed for oral insertion via the trachea and into a lung to maintain airway patency and/or to deliver anaesthetic inhalation agents or other medical gases, and secure ventilation. It is typically made of plastic, rubber, or silicone and may be packaged with a connector that attaches to a breathing circuit and is available in two basic configurations: 1) a double lumen tube with independent cuffs at the distal end for ventilation of the left or right bronchi; or 2) a twin lumen tube with independent cuffs for selective lung ventilation during thoracic surgery or postoperative care when independent lung ventilation is indicated. This is a single-use device. | Yes |  | No | No | Unspecified | No | TUBE ENDOTRACHEALCUFF STYLET 5.0MM |  | 42271904 |  | MEDLINE
10 | 102917 | 558255 | BOSTON SCIENTIFIC CORP | H749165992152 | BOSTON SCIENTIFIC |  | H749165992152 | CATH ANGIO VNTRC PGTL CRV 6FR | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 9645640 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/4C9CF692-6E5C-4D72-BF3C-9F270876CB78.png | [8 empty] | CATHETER ANGIOGRAPHIC PIGTAIL 0.056 INX6 FRX125 CM VENTRICULAR IMPULSE CURVE PIG 125 6F .056 IN | CATHETER ANGIOGRAPHIC PIGTAIL 0.056 INX6 FRX125 CM VENTRICULAR IMPULSE | 42203433 | C1887 | IMPULSE
11 | 102907 | 558255 | BOSTON SCIENTIFIC CORP | H74908526511 | BOSTON SCIENTIFIC |  | H74908526511 | CATH ANGIO WMS RT POST CRV 5FR | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 2922105 | 08714729249498 |  |  |  | 08714729249498 | https://api.edirx.com/workflowfileuploads/documentconsole/811E80AE-BAD2-4292-B431-31F41DC729D5.jpg | Angiographic catheter, single-use | A thin, flexible tube designed to inject a contrast medium into select blood vessels of the cerebral, visceral, or peripheral vasculature during an angiographic procedure in order to facilitate the clear visualization of the vascular system of a targeted organ or area of the body. It is introduced percutaneously, has a radiopaque marker(s) for positioning, and may include disposable devices dedicated to catheter introduction/function [e.g., sheath(s)]. It may also be used for simultaneous pressure measurements to determine the transvalvular, intravascular, and intraventricular pressure gradients. This is a single-use device. | Yes |  | No | No | Unspecified | No | ANGIOGRAPHIC CATHETER | CATHETER ANGIOGRAPHY 5FR L100CM ID0045IN WRP CURVE ROBUST SHAFT WIRE BRAIDING SUPER SOFT TRILON TIP EXPO 1 EACH | 42203433 | C1887 | EXPO
12 | 102904 | 558255 | BOSTON SCIENTIFIC CORP | H749389696100 | BOSTON SCIENTIFIC |  | H749389696100 | CATH GDNG MACH1 6FR WRP | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 4001216 | 08714729478485 |  |  |  | 08714729478485 | https://api.edirx.com/workflowfileuploads/documentconsole/06204A8C-766B-4112-9157-5D5DE34F118E.png | Vascular guide-catheter, single-use | A flexible tube intended to be used for the percutaneous transluminal passage and placement of a diagnostic/interventional catheter, lead (e.g., pacing lead, balloon dilatation catheter), needle or guidewire through its lumen(s), within the vascular system. It may be rigid or flexible, non-steerable or steerable, single or multiple lumen(s), and the distal section can have a variety of preformed shapes (e.g., straight, hockey stick). It is not intended solely for infusion, is not intended to access superselective small vessels, and does not include a transseptal needle. It may include a disposable percutaneous introduction set or shaft visualization electrodes. This is a single-use device. | Yes |  | No | No | Unspecified | No | CATHETER GUIDING WILLIAMS RIGHT POSTERIOR SIDE HOLE 0.070 INX6 FR LARGE LUMEN SOFT RADIOPAQUE TIP 4X2 ROUND BRAIDED PTFE STERILE RUNWAY LATEXFREE DISPOSABLE CURVE WRP SH 6F .070IN | CATHETER GUIDING WILLIAMS RIGHT POSTERIOR SIDE HOLE 0.070 INX6 FR LARGE LUMEN SOFT RADIOPAQUE TIP 4X2 ROUND BRAIDED PTFE STERILE RUNWAY LATEXFREE DISPOSABLE | 42203444 | C1887 | RUNWAY
13 | 102906 | 1008299 | ABBOTT VASCULAR | 1012447-15 | ABBOTT VASCULAR | VASC | 1012447-15 | CATH BLNDIL 2.5MM 15MM COR RX | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 557629 | 08717648151767 |  |  |  | 08717648151767 | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/F33F781B-F4F8-4A4D-BCFC-B14FD1F95AEA.png | Coronary angioplasty balloon catheter, basic | A flexible tube designed for percutaneous transluminal coronary angioplasty (PTCA) to dilate a stenotic coronary artery by controlled inflation of a distensible balloon(s) at its distal tip. It is typically available as: 1) an over-the-wire (OTW) type that has a double or triple-lumen, one for the guidewire and one or two for single- or double-balloon inflation; and 2) a rapid exchange (RX) type with a single-lumen. It is available in various sizes for the dilatation of small, narrowed, or obstructed coronary arteries or bypass grafts. It may also be intended for pre- or post-dilatation of a balloon-expandable stent (not included) in the coronary arteries. This is a single-use device. | Yes |  | No | No | Unspecified | No | CATHETER ANGIOPLASTY RAPID EXCHANGE 2.5X15 MM CORONARY NON COMPLIANT SMOOTH ROUND TIP RADIOPAQUE 2 MARKER MULTILAYER CROSSFLEX2 TUNGSTEN NC TREK DISPOSABLE DILATATION 2.5 MMX15 / RAPIDEXCHANGE | CATHETER ANGIOPLASTY RAPID EXCHANGE 2.5X15 MM CORONARY NON COMPLIANT SMOOTH ROUND TIP RADIOPAQUE 2 MARKER MULTILAYER CROSSFLEX2 TUNGSTEN NC TREK DISPOSABLE | 42203405 | C1725 | NC TREK
14 | 500990 | 504001 | MEDLINE INDUSTRIES INC | SMKM0372 | SOURCEMARK LLC |  | M0372 | MASK LRYNGL ESOPH AIRWY SZ 2.5 | EA/1 BX/10 | A | ASC |  | 0 | EA | 1 | BX | 10 |  | 0 |  | 0 | 615006 | 00813799007231 | 10813799007245 |  |  | 00813799007231 |  | Laryngeal mask airway, single-use | A curved tube with a distal inflatable cuff/mask intended to be used in inhalational anaesthesia and resuscitation to facilitate and secure airway patency for the delivery and exchange of gases in spontaneously breathing and ventilated patients. It is inserted into the hypopharynx above the glottis to create a seal and to prevent the tongue from obstructing the anatomical airway. It may include a 15 mm connector that attaches to a breathing circuit or manual resuscitator, be radiopaque, and have a built-in pilot balloon for cuff pressure monitoring. It is available in various sizes/designs and is typically made of silicone/plastic materials. This is a single-use device. | Yes |  | No | No | Unspecified | No | AIRWAYESOPHAGEAL2.5LARYNMASKLFDISP |  | 42271913 |  | SOURCEMARK
15 | 47449 | 504001 | MEDLINE INDUSTRIES INC | ETHJ106T | ETHICON SUTURE |  | J106 | SUT VICRYL 0 18" TIES VIL | EA/1 BX/24 J106T | A | ALL |  | 0 | EA | 1 | BX | 24 |  | 0 |  | 0 | 41300710
16 | 47130 | 504001 | MEDLINE INDUSTRIES INC | ETHS113H | ETHICON SUTURE |  | S113 | SUT GUT CHR 2-0 54" | EA/1 BX/36 S113H LTXFREE | A | ALL |  | 0 | EA | 1 | BX | 36 |  | 0 |  | 0 | 41300711
17 | 102916 | 558255 | BOSTON SCIENTIFIC CORP | H74916391842 | BOSTON SCIENTIFIC |  | H74916391842 | CATH ANGIO AMPTZ RT 1 CRV 5FR | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 2976957 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/8EC29118-0257-46A9-97B1-9788F0F35450.jpg | [8 empty] | CATHETER ANGIOGRAPHY 5FR L100CM DIA0.045IN AR 1 IMPULSE | CATHETER ANGIOGRAPHY 5FR L100CM DIA0.045IN AR 1 IMPULSE | 42203433 | C1887
18 | 102915 | 558255 | BOSTON SCIENTIFIC CORP | H7491216001J2 | BOSTON SCIENTIFIC |  | H7491216001J2 | GDWIRE VASC 182CM .014IN LGHT | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 2999483 | [5 empty] | https://api.edirx.com/workflowfileuploads/documentconsole/5479729C-A965-4C57-BBF3-C0616ADBE9EA.jpg | [8 empty] | GUIDEWIRE VASCULAR L185CM DIA0.014IN TIP L35CM HYDROPHILIC J SHAPE LIGHT RAIL SUPPORT PT FLOPPY CHOICE 5 PER BOX | GUIDEWIRE VASCULAR L185CM DIA0.014IN TIP L35CM HYDROPHILIC J SHAPE LIGHT RAIL SUPPORT PT FLOPPY CHOICE 5 PER BOX | 42203404 | C1769
19 | 102913 | 558255 | BOSTON SCIENTIFIC CORP | H74934949052 | BOSTON SCIENTIFIC |  | H74934949052 | GDWIRE VASC 185CM .014IN SPRG | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 5976884 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/FD2F0B0D-AD60-4CE6-A740-720DC2EF40FF.jpg | [8 empty] | GUIDEWIRE VASCULAR STRAIGHT 2 CM 0.014 INX185 CM FLOPPY MARKER MODERATE RAIL SUPPORT UNIBODY STAINLESS STEEL SILICONE FORTE | GUIDEWIRE VASCULAR STRAIGHT 2 CM 0.014 INX185 CM FLOPPY MARKER MODERATE RAIL SUPPORT UNIBODY STAINLESS STEEL SILICONE FORTE | 42203404 | C1769
20 | 102905 | 558255 | BOSTON SCIENTIFIC CORP | H749389695770 | BOSTON SCIENTIFIC |  | H749389695770 | CATH GD 100CM 6FR RWY CLS3.75 | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 1188724 | 08714729642534 |  |  |  | 08714729642534 | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/2DA75959-D3EC-4E5D-937A-A369FFB83571.jpg | Vascular guide-catheter, single-use | A flexible tube intended to be used for the percutaneous transluminal passage and placement of a diagnostic/interventional catheter, lead (e.g., pacing lead, balloon dilatation catheter), needle or guidewire through its lumen(s), within the vascular system. It may be rigid or flexible, non-steerable or steerable, single or multiple lumen(s), and the distal section can have a variety of preformed shapes (e.g., straight, hockey stick). It is not intended solely for infusion, is not intended to access superselective small vessels, and does not include a transseptal needle. It may include a disposable percutaneous introduction set or shaft visualization electrodes. This is a single-use device. | Yes |  | No | No | Unspecified | No | CATHETER GUIDING CONTRALATERAL SUPPORT 3.75 0.070 INX6 FR LARGE LUMEN SOFT RADIOPAQUE TIP 4X2 ROUND BRAIDED PTFE STERILE RUNWAY LATEXFREE DISPOSABLE CLS CURVE CONTRALATERAL SUPPORT CLS3.75 6F .070IN | CATHETER GUIDING CONTRALATERAL SUPPORT 3.75 0.070 INX6 FR LARGE LUMEN SOFT RADIOPAQUE TIP 4X2 ROUND BRAIDED PTFE STERILE RUNWAY LATEXFREE DISPOSABLE | 42203444 | C1887 | RUNWAY
21 | 102924 | 504001 | MEDLINE INDUSTRIES INC | PPM4530 | COVIDIEN |  | PPM4530 | MESH HERNIA PARIETENE 45X30CM | EA/1 LTXFREE | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 4078167 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/51DA6CB1-10D8-43F1-89CE-9FE2104C9C73.jpg | [8 empty] | MESH HERNIA 45X30 CM MACROPOROUS NON ABSORBABLE KNITTED POLYPROPYLENE STERILE PARIETENE LATEXFREE | MESH HERNIA 45X30 CM MACROPOROUS NON ABSORBABLE KNITTED POLYPROPYLENE STERILE PARIETENE LATEXFREE | 42295513 | C1781 | PARIETENE
22 | 102909 | 558255 | BOSTON SCIENTIFIC CORP | H749165991212 | BOSTON SCIENTIFIC |  | H749165991212 | CATH ANGIO M-PURP A2 CRV 6FR | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 1175829 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/A680F76E-455E-4EFB-9E1D-EAC3F73CE281.png | [8 empty] | CATHETER ANGIOGRAPHIC MULTIPURPOSE A2 SIDE HOLE 0.056 INX6 FRX100 CM PERIPHERAL 2 WIRE BRAIDED STIFF PROXIMAL SHAFT SOFT DISTAL SEGMENT FLEXTRUSION IMPULSE DIAGNOSTIC A CURVE MPA2 SH 100CM 6F .056IN | CATHETER ANGIOGRAPHIC MULTIPURPOSE A2 SIDE HOLE 0.056 INX6 FRX100 CM PERIPHERAL 2 WIRE BRAIDED STIFF PROXIMAL SHAFT SOFT DISTAL SEGMENT FLEXTRUSION IMPULSE | 42203433 | C1887 | IMPULSE
23 | 102921 | 552761 | TRI ANIM HEALTH SVCS INC | 301-PRO2LT | TRI ANIM/UNITED HOSP SUPPLY |  | 301-PRO2LT | MASK O2 PRO2 ADLT ORAL | EA/1 BX/30 | A | BAY | SUBN | 0 | EA | 1 | BX | 30 |  | 0 |  | 0 | 40906385 | [14 empty] | MASKPRO2OXADLHI.CONCETCO2M2M30/BX DM0051
24 | 102902 | 558255 | BOSTON SCIENTIFIC CORP | H749389695000 | BOSTON SCIENTIFIC |  | H749389695000 | CATH GDNG MACH1 6FR ART4 | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 1186644 | 08714729478218 |  |  |  | 08714729478218 | https://api.edirx.com/workflowfileuploads/documentconsole/E91CB9EC-57D4-473C-9984-9E79702E4939.jpg | Vascular guide-catheter, single-use | A flexible tube intended to be used for the percutaneous transluminal passage and placement of a diagnostic/interventional catheter, lead (e.g., pacing lead, balloon dilatation catheter), needle or guidewire through its lumen(s), within the vascular system. It may be rigid or flexible, non-steerable or steerable, single or multiple lumen(s), and the distal section can have a variety of preformed shapes (e.g., straight, hockey stick). It is not intended solely for infusion, is not intended to access superselective small vessels, and does not include a transseptal needle. It may include a disposable percutaneous introduction set or shaft visualization electrodes. This is a single-use device. | Yes |  | No | No | Unspecified | No | CATHETER GUIDING ALLRIGHT 4 0.070 INX6 FR LARGE LUMEN SOFT RADIOPAQUE TIP 4X2 ROUND BRAIDED PTFE STERILE RUNWAY LATEXFREE DISPOSABLE CURVE ART4 6F .070IN | CATHETER GUIDING ALLRIGHT 4 0.070 INX6 FR LARGE LUMEN SOFT RADIOPAQUE TIP 4X2 ROUND BRAIDED PTFE STERILE RUNWAY LATEXFREE DISPOSABLE | 42203444 | C1887 | RUNWAY
25 | 102901 | 558255 | BOSTON SCIENTIFIC CORP | H749343574970 | BOSTON SCIENTIFIC |  | H749343574970 | CATH GDNG MACH1 7FR ART3 | EA/1 | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 9628109 | 08714729380061 |  |  |  | 08714729380061 | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/E94FDCF2-EE77-4C68-B0FE-C6311BC0F359.jpg | Vascular guide-catheter, single-use | A flexible tube intended to be used for the percutaneous transluminal passage and placement of a diagnostic/interventional catheter, lead (e.g., pacing lead, balloon dilatation catheter), needle or guidewire through its lumen(s), within the vascular system. It may be rigid or flexible, non-steerable or steerable, single or multiple lumen(s), and the distal section can have a variety of preformed shapes (e.g., straight, hockey stick). It is not intended solely for infusion, is not intended to access superselective small vessels, and does not include a transseptal needle. It may include a disposable percutaneous introduction set or shaft visualization electrodes. This is a single-use device. | Yes |  | No | No | Unspecified | No | CATHETER GUIDING 7FR L100CM ID0081IN ART3 CURVE WITH SIDEHOLE PTFE LINER BRAID PATTERN ATRAUMATIC RADIOPAQUE TIP L LUMEN MACH1 | CATHETER GUIDING 7FR L100CM ID0081IN ART3 CURVE WITH SIDEHOLE PTFE LINER BRAID PATTERN ATRAUMATIC RADIOPAQUE TIP L LUMEN MACH1 | 42203402 | C1887 | MACH1
26 | 102919 | 603289 | LEMAITRE VASCULAR INC | SV105L | LEMAITRE VASCULAR |  | SV105L | ALLOGRAFT VASC 75-79CM SAPHEN | EA/1 | A | BONE | ALL | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 41300712
27 | 102900 | 397115 | DEROYAL INDUSTRIES | 30-712 | DEROYAL INDUSTRIES |  | 30-712 | LOOP VESSEL SURGIMATE MINI RED | EA/1 CA/50 | A | ALL |  | 0 | EA | 1 | CA | 50 |  | 0 |  | 0 | 2180111 | 00749756025638 | 50749756025633 |  |  | 00749756025638 | https://api.edirx.com/workflowfileuploads/documentconsole/746BCF34-9D9E-4C98-8DFC-DF6CCF98FECE.jpg | Surgical vessel loop | A nonimplantable cord intended to be used during a surgical procedure to assist a surgeon to identify, retract and occlude blood vessels, tendons and nerves. It is constructed of synthetic polymer and is typically coloured to facilitate visualization. This is a single-use device. | Yes |  | No | No | Unspecified | No | LOOP VESSEL MINI 0.05X16 IN RADIOPAQUE SILICONE RED STERILE DEROYAL 0.05 X 16 INCH | LOOP VESSEL MINI 0.05X16 IN RADIOPAQUE SILICONE RED STERILE | 42295306 | L4002 | DEROYAL
28 | 102914 | 558255 | BOSTON SCIENTIFIC CORP | H74934949072 | BOSTON SCIENTIFIC |  | H74934949072 | GDWIRE VASC 185CM .014IN SPRG | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 10678259 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/487D3481-358F-4663-AC21-436A093E40E6.jpg | [8 empty] | GUIDEWIRE VASCULAR STRAIGHT TIP 2 CM 0.014 INX185 MODERATE RAIL SUPPORT STAINLESS STEEL SILICONE FORTE 5/PK | GUIDEWIRE VASCULAR STRAIGHT TIP 2 CM 0.014 INX185 CM MODERATE RAIL SUPPORT STAINLESS STEEL SILICONE FORTE 5/PK | 42203404 | C1769 | FORTE
29 | 102911 | 558255 | BOSTON SCIENTIFIC CORP | H74916391252 | BOSTON SCIENTIFIC |  | H74916391252 | CATH ANGIO FEM LT 6 CRV 5FR 10 | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 1098315 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/B8B0897A-EC11-44E4-8AED-2F5D822BDDA9.jpg | [8 empty] | CATHETER ANGIOGRAPHIC FEMORAL LEFT 6 0.047 INX5 FRX100 CM 2 WIRE BRAIDED STIFF PROXIMAL SHAFT SOFT DISTAL SEGMENT FLEXTRUSION IMPULSE DIAGNOSTIC CURVE FL6 100CM 5F .047IN | CATHETER ANGIOGRAPHIC FEMORAL LEFT 6 0.047 INX5 FRX100 CM 2 WIRE BRAIDED STIFF PROXIMAL SHAFT SOFT DISTAL SEGMENT FLEXTRUSION IMPULSE | 42203433 | C1887 | IMPULSE
30 | 102908 | 558255 | BOSTON SCIENTIFIC CORP | H749165992022 | BOSTON SCIENTIFIC |  | H749165992022 | CATH ANGIO IMA TC 6FR .056IN | EA/1 BX/5 | A | ALL |  | 0 | EA | 1 | BX | 5 |  | 0 |  | 0 | 4547638 | [5 empty] | https://api.edirx.com/WorkflowFileUploads/DocumentConsole/12C36D36-C537-472D-A244-211D0D06BE3B.png | [8 empty] | CATHETER ANGIOGRAPHY 6FR L100CM 0056IN IMT CORONARY WITHOUT HYDROPHILIC RADIOGRAPHIC IMPULSE | CATHETER ANGIOGRAPHY 6FR L100CM 0056IN IMT CORONARY WITHOUT HYDROPHILIC RADIOGRAPHIC IMPULSE | 42203402 | C1887
31 | 102923 | 504001 | MEDLINE INDUSTRIES INC | SYM2520 | COVIDIEN |  | SYM2520 | MESH HERNIA SYMBOTEX 25X20CM | EA/1 LTXFREE | A | ALL |  | 0 | EA | 1 |  | 0 |  | 0 |  | 0 | 1883597 | [5 empty] | https://api.edirx.com/workflowfileuploads/documentconsole/E0D12F51-D14D-45DC-B9EA-A8AF5C65AB72.JPG | [5 empty] | No | MRI Compatible |  | MESH SURGICAL RECTANGLE 25X20 CM INTRAPERITONEAL MONOFILAMENT ABSORBABLE COLLAGEN FILM COMPOSITE FOR HERNIA REPAIR POLYESTER SYMBOTEX | MESH SURGICAL RECTANGLE 25X20 CM INTRAPERITONEAL MONOFILAMENT ABSORBABLE COLLAGEN FILM COMPOSITE FOR HERNIA REPAIR POLYESTER SYMBOTEX | 42295513 | C1781 | SYMBOTEX
32 | 500989 | 504001 | MEDLINE INDUSTRIES INC | DYNJAETC80S | MEDLINE INDUSTRIES |  | DYNJAETC80S | TUBE ENDTRCHL CUFFED 8.0MM | EA/1 BX/10 | A | ASC |  | 0 | EA | 1 | BX | 10 |  | 0 |  | 0 | 33934207 | 10888277724815 | 20888277724812 |  |  | 10888277724815 |  | Basic endotracheal tube, single-use | A hollow cylinder inserted orally or nasally into the trachea to provide an unobstructed airway to convey gases and vapours to and from the lungs during anaesthesia, resuscitation, and other situations where the patient is not properly ventilated; it does not include an antimicrobial agent(s). The device may: 1) be packaged with a connector that will attach to a breathing circuit or manual resuscitator; 2) have a distal inflatable cuff to seal against the tracheal wall; 3) be radiopaque; and 4) have a built-in pilot balloon for cuff pressure monitoring. It is available in various diameters and lengths for adult and paediatric patients. This is a single-use device. | Yes |  | No | No | Unspecified | No | TUBE ENDOTRACHEALCUFF STYLET 8.0MM |  | 42271904 |  | MEDLINE