## Sheet1
Material | Short Text
10403262 | Control Valve 2" PFA Lined
10704866 | LUG-COPPER LUGS PIN 1.5 SQ.MM
10703963 | TUBE CUTTER,SIZE:1/4"
10705823 | PUSH IN FITTING: 6MM OD X 1/4"
10600366 | BAGS HM HDPE ANTISTATIC 750*1100MM*500G
10708113 | Device Net Thick Cable, Part No: 3082A
10706848 | Signal Cable 1 Pair x 1 Sq mm, Armoured
10708860 | RUPTURE DISC, MOC: SS316, SIZE: 80NB
10706789 | RTD - Temp. Element, U length 190 mm
10706828 | Foundation Field bus cable
10408381 | CPU WITH PROGRAMMING FOR 400 TR VAM
10408382 | ANALOG AI Card 8 channel FOR 400 TR VAM
10408383 | ANALOG AI Card 4 channe FOR 400TR VAM
10408384 | ANALOG AO Card 2 channel FOR 400TR VAM
10408385 | Control Transformer FOR 400 TR VAM
10408386 | Relay card FOR 400 TR VAM
10407697 | LOAD CELL-JISL 100 KG MAKE-JISL
10408389 | Kit pre-amplifier Prowirl200 NO 71222996
10408390 | ISEM electronic module, Promag 300
10408391 | Kit power supply, 100-230VAC, 71323007
10704605 | FITTING - 1/4" X 8 MM PUSH TO CONNECT
10704924 | INSULATION TAPE -FIBER 440 VOLTS
10704604 | FITTING - 8 MM OD PVC/PU/PE TUBING
10704612 | FITTING - STRAIGHT FITTINGS SIZE: 8MM
10708338 | Fitting : 10 MM OD PU/PA/PVC Tubing
10708339 | Fitting : 12 MM OD PU/PA/PVC Tubing
10705819 | FITTING: 6MM OD PLASTIC TUBE
10705823 | PUSH IN FITTING: 6MM OD X 1/4"
10704582 | 1/2" O.D. PVC COATED S.S.TUBE
10704585 | 1/2" O.D. SS TEE
10707371 | 1/2" Straight union with ferrule & nut
10704583 | 1/2"NPT(M)*1/2" O.D. SS-CONNECTOR
10704584 | 1/4" (M)*1/2" NPT O.D. SS CONNECTOR
10707372 | 1/4" NPT Straight coupling (F) both end
10704581 | 1/4" O.D.PVC COATED S.S. TUBE
10707370 | 1/4" straight union with ferrule & nut
10704587 | 1/4"SS TUBE FERRULE
10704652 | FILTERWITH AIR REGULATOR
10402755 | LIMIT SWITCHES - MODEL:NBB3-V3-Z4
10402029 | CABLE TYPE FLOAT LEVEL SWITCH
10404123 | DIAPHARAM : DN- 50 ONLY EPDM BUTTON TYP
10407836 | SPARE DIAPHRAGM EPDM D32
10407837 | SPARE DIAPHRAGM EPDM D50
10407838 | SPARE DIAPHRAGM EPDM D63
10407861 | 28 NB PULSE JET SOLENOID VALVE 230 VAC
10401083 | SOLENOID VALVE 3/2 DIRECT ACTING, NAMUR
10401160 | SOLENOID VALVE 5/2
10408100 | ACTUATOR: RNP080DN00DA1GD DOUBLE ACTING
10408101 | ACTUATR: RNP100DN00DA1GD DOUBLE ACTING
10408102 | ACTUATOR: RNP125DN00DA1GD DOUBLE ACTING
10408103 | ACTUATOR: RNP150DN00DA1GD DOUBLE ACTING
10408104 | ACTUATOR: RNP200DN00DA1GD DOUBLE ACTING