## Sheet1
New Material Code | Description of New Material Code | Addition Details of New Material Code | UOM of New Material Code | Status
50000124 | Power transformer&NIFPS_66/33KV,35MVA | 66/33KV,35MVA Power transformer<(>&<)>NIFPS System | NOS | STANDARD
50000125 | Lambda Power Supply TA004NV-350TDK- | POWERNV | ST | CUSTOM
50000126 | ABB Emax2 UV coil ABB YU-1SDA073700R1 | UNDER VOLTAGE 220-240V 3.5 VA-W ABB YU-1SDA073700R1 | ST | CUSTOM
50000127 | UNDER VOLTAGE 220-240V 3.5 VA-W ABB YU | 1SDA073700R1 | ST | CUSTOM
50000128 | ABB Emax2 Opening coil YO-1SDA073674R1 | 1SDA073674R1 | ST | CUSTOM
50000129 | Schneider Closing Coil MXXF/SHT-SHC250VA | ACB MX-XF/SHT-SHC 200-250 V AC-DC, 33662 | ST | CUSTOM
50000130 | SIEMENS ACB 3WL911 ETU45B, WL II 2500 N | 3WL9111 | ST | CUSTOM
50000131 | SIEMENS 3WL UV coil AC 50/60Hz 240V/DC | AC 50/60Hz 208-240V/DC 220-250V, 3WL9111-0AE05-0AA0 | ST | CUSTOM
50000132 | SIEMENS 3WL Closing coil AC50Hz 240V/DC | 3WL shunt trip AC 50/60Hz 208-240V/ DC 220V 100% ed, 3WL9111-0AD06-0AA0 | ST | CUSTOM
50000133 | SIEMENS 3WL Opening coil,over-excited5% | 3WL shunt trip, over-excited 5% ed, 3WL9111-0AD14-0AA0 | ST | CUSTOM
50000134 | SIEMENS Electronic trip unit ETU 45B | ETU45B | ST | CUSTOM
50000135 | 33kV CT 600-300/1 A, 3Core Curnt Transf | 600-300/1 A, 3 Core Current Transformer | EA | CUSTOM
50000136 | 2 Volts 200AH 2VF 200PP VRLA - HBL | Battery Bank 2 Volts Dry type Cell | ST | CUSTOM
50000137 | Power Contactor ABB-AF2050-30-11-70 | 1SFL707001R7011 | ST | CUSTOM
50000138 | Bearing for Panel cooling fan - 608Z | FAG Brg:- 608-2Z-IN | ST | CUSTOM
50000139 | Bearing for Panel cooling fan - 6900Z | FAG Brg:- 61900-2Z-HLC (6900 ZZ) | ST | CUSTOM
50000140 | RS485toTCP/IPconvertor,1in1out | 1.Online support for configuring Converters to SCADA. 2.warranty for Hardware to be 1 year. 3. Part number : DCC603 Make : Radix | EA | CUSTOM
50000141 | WeldinggroupConsole-V82/V87 | Casting item of ReGen turbine which is connecting with Hub | ST | CUSTOM
50000142 | TIH030M/230VInductionheaterSKF | Induction heater of SKF make for bearing fittment by heating method | ST | CUSTOM
50000143 | Hansa-flexhoseWP350BAR350mm-KP208,2SC | Hansa Flex KP 208 EN857 2SC 08 WP350 BAR_350MM, Hydraulic hose for Yaw Brake caliper. | ST | CUSTOM
50000144 | WaterHosecouplingset_1''FVMQHansa | Water hose coupling female thread G 1'' FVMQ+ Nipple male theard G 1'' FVMQ Hansa- Flex | ST | CUSTOM
50000145 | 12V, 7.2 AH Quanta batteries | Converter & Top Box material | ST | CUSTOM
50000146 | HydratechUnitReGen1.5Mw-B4487 | Hydratech unit- Model number B4487 for ReGen V82/V87 1.5 Mw | ST | CUSTOM
50000147 | CheckvalvePos.9Hydratech(N),B4777 | Hydratech Part number 207600 Model-B4777 | ST | CUSTOM
50000148 | ReliefvalPEDPos.8Hydratech(N),1007108 | Hydratech Part number 1007108-Model B4777 | ST | CUSTOM
50000149 | PressureSw350barHydratech(N)1007400 | Hydratech Part number 1007400-Model B4777 | ST | CUSTOM
50000150 | CheckvalvePos.11Hydratech(N)1009265 | Part number 1009265-Model B4777 | ST | CUSTOM
50000151 | Solenoval3/2Pos.21Hydratech(N)108867 | Part number 1008867-Model B4777 | ST | CUSTOM
50000152 | PressureSw50barHydratech(N)1008687 | Part number 1008687-Model B4777 | ST | CUSTOM
50000153 | MicroFilter10micronHydratech(N)1008665 | Part number 1008665-Model B4777 | ST | CUSTOM
50000154 | solenoid val2/2NOHydratech(N)1002687 | Part number 1002687-Model B4777 | ST | CUSTOM
50000155 | CheckvalpilotcartridHydratec-1009324 | Part number 1009324-Model B4777 | ST | CUSTOM
50000156 | PRVPos.14&31Hydratech(N)1005612 | Part number 1005612-Model B4777 | ST | CUSTOM
50000157 | Filter100micronHydratech(N)1008680 | Part number 1008680-Model B4777 | ST | CUSTOM
50000158 | Pos22Solenovalv2/2NCHydratech1002649 | Pos22 Solenoid valve 2/2 NC , Part number 1002649-Model B4777 | ST | CUSTOM
50000159 | Pos25.1Diffpres.indiHydratech203775 | Pos25.1 Diff pres.indicat Hydratech (N) , Part number 203775-Model B4777 | ST | CUSTOM
50000160 | FilterelementPos7.2Hydratech(N)138825 | Part number 138825-Model number B4777 | ST | CUSTOM
50000161 | 24VSolenoidcoilHydratech(N)1002650 | Part number 1002650-Model B4777 | ST | CUSTOM
50000162 | SingleCompletePoleE3H | ACB spares | ST | CUSTOM
50000163 | OperatingmechanismE3H3p,4p | ACB spares | ST | CUSTOM
50000164 | IDEC FC4A MEMORY CARD | IDEC FC4A MEMORY CARD (E prom chip used in tracker PLC) | EA | CUSTOM
50000165 | ROYAPOX M505 RESIN-ABB - Dry transformer | ABB ROYAPOX M505 resin for the transformer repair. | KG | CUSTOM
50000295 | MCB, A9N4P10C, 4P, 10A | MCB, Make: Schneider, A9N4P10C, 4P, 10A | EA | CUSTOM
50000296 | TOWER BASE CABINET + 1TBC100 (RD113) | TOWER BASE CABINET COMPLETE + 1TBC100 (RD113) | ST | CUSTOM
50000297 | CONVERTER CABINET +1CCA100/110 (RD113) | CONVERTER CABINET COMPLETE +1CCA100/110 (RD113) | ST | CUSTOM
50000298 | CABLE WS305 G9X (10m) |  | ST | CUSTOM
50000299 | PT100 1/4" L90XD6MM-3 WIRE |  | ST | CUSTOM
50000300 | PT100 1/4" L77XD6MM-3 WIRE |  | ST | CUSTOM
50000301 | DIN 433 WASHER M14 FLZNL NC 1000H |  | ST | CUSTOM
50000302 | SHORT EXTENSION FITTING M1/4G - F1/4G |  | ST | CUSTOM
50000320 | 1/2" SQ DR 12PT SOCKET SET 43PCS STANLEY | 89-509-12 | ST | CUSTOM
50000321 | ISUCapacitor60Micro660010K82,Fecon | ISU Capacitor 60Micro Part number FEC 660010 , Manufacture Fecon Gmbh. | ST | CUSTOM
50000322 | SCB 9 IN/1 OUT 1500 V | String combiner box 9 in 1 out 1500v operated, DC disconnect switch(1500V Dc rated) DC21B-1500Vdc-315A, Sr.No. 17060147, Drawing No: | EA | CUSTOM
50000323 | DrivePinion-ReGenV82/87 | Adverse toothed pulley of console assembly | ST | CUSTOM
50000324 | BeltdriveConsole-ReGen | Belt driving casting console/Pitch console for ReGen V82/V87 | ST | CUSTOM
50000325 | Upper sealing disc-Drive pinion | Upper sealing disc of drive Pinion assembly for ReGen V82/V87 | ST | CUSTOM
50000326 | Lower sealing disc-Drive pinion | Lower sealing disc of drive pinion assembly-ReGen V82/V87 | ST | CUSTOM
50000327 | End plate of Drive Pinion-ReGen | End plate for drive pinion assembly-ReGen V82/V87 | ST | CUSTOM
50000328 | BeltPulley-ReGenV82/87 | Belt pulley for Pitch console assembly ReGen V82/V87 | ST | CUSTOM
50000329 | Torsional shaft-ReGen V82/87 | Torsional shaft of Drive pinion assembly-ReGen V82/87 model | ST | CUSTOM
50000330 | PitchDriveV82/87-W2T30R3120A04-Bonfigl | Pitch drive for ReGen 1.5 Mw V82/87 model _ Part number- W2T30R3120A04 | ST | CUSTOM
50000342 | ICR louvers filter 1.2x1.2x.05m | Filter Flange Type Size : 1260x1260x50 ( 1200x1200x50) mm MOC GI Powder Coated Media EU4 graded HDPE meshes Efficiency 90% , | EA | CUSTOM
50000343 | IDEC Analog Card | Product Model No. FC6A-PJ2A | EA | CUSTOM
50000344 | CustomseizedgearboxRD93/RD100 |  | ST | CUSTOM
50000345 | 2000AACBpanel | 2000A ACB Panel for RD93 model of Inox, Operating voltage-690 volt, Rated current- 2000A | ST | CUSTOM
50000346 | AVMbush,ESM,ML01/003/10/63/1 | AVM bush for generator, ESM , ML 01/003/10/63/1 | ST | CUSTOM
50000420 | MV Switchgear33kv Earthing Truck Cable |  | NOS | STANDARD
50000421 | Straight thru joint Kit 1.1kV 3CX95mm2 | Straight thru joint Kit 1.1kV 3CX95mm2 | NOS | STANDARD
50000422 | Straight thru joint Kit 33kV 3CX300mm2 | Straight through joint (3C X 300 Sqmm 33kV ) | SET | STANDARD
50000423 | Straight thru joint Kit 33kV 3CX400mm2 |  | SET | STANDARD
50000424 | Straight thru joint Kit 33kV 3CX185mm2 | Straight thru joint Kit 33kV 3CX185mm2 | NOS | STANDARD
50000425 | CT Protection 220KV 1 Core Class 0.2s |  | NOS | STANDARD
50000426 | ACDB Panel w/ AuxTrafo 7 KVA 800/230v |  | NOS | STANDARD
50000427 | AL Lugs- M12x185 mm2 Long Barree size |  | NOS | STANDARD
50000428 | Cable 1.1KV 2Cx6 mm2 Al XLPE Armoured |  | M | STANDARD
50000429 | Cable 1.1KV 10Cx1 mm2 Cu PVC Armoured |  | M | STANDARD
50000430 | Cable tray angle CF LU50x50x2L-1039.8 |  | NOS | STANDARD
50000431 | Fastener M10x30 1B,1N,2PW, 1SW HDG5.6 |  | SET | STANDARD
50000432 | Rebar-12 Dia - Fe 500 L1614 |  | SET | STANDARD
50000433 | Al Lugs- M12x300 mm2 Long Barrel Type |  | NOS | STANDARD
50000434 | MV Switchgear 33kv Earthing Truck Bus | MV Switchgear 33kv Earthing Truck Bus | NOS | STANDARD
50000435 | T-connector1500V (Female-Female-Male) |  | NOS | STANDARD
50000436 | AL Lugs- M12x95 mm2 Long Barree size |  | NOS | STANDARD
50000437 | Rubber Mat 1X3 Mtr Class C 3mm thick |  | NOS | STANDARD
50000438 | T-connector 1500V (Male-Male-Female) |  | NOS | STANDARD
50000439 | Pos.5Reliefvalve1002682Hydratech | Part number 1002682-Relief valve cartridge, PED | ST | CUSTOM
50000440 | Circuit Breaker 245kV, 1600A, 50KA |  | NOS | STANDARD
50000441 | PRVPos.11,32,35Hydratech-1005578 | Part number 1005578- Pres. reduc. valve M24x1,5 | ST | CUSTOM
50000442 | Meter ABT 132 KV or Meter ABT 33KV |  | NOS | STANDARD
50000443 | EIMotorHydratech-108220 | Part number 108220-El motor, 3 phase, 400-690V | ST | CUSTOM
50000444 | Cable 1.1kV 4C x16 mm2 Cu. FR 7 Std |  | M | STANDARD
50000445 | Filterelement-429500Hydratech | Part number 429500-Filter element | ST | CUSTOM
50000446 | Cable 33kv 3CX185 mm2 XLPE Armoured |  | M | STANDARD
50000447 | Pos.16.12/2cartridgeHydratech105081 | Part number 105081-Cartr. 2/2 NC d. lock override | ST | CUSTOM
50000448 | MV Switchgear 33KV ICOG 630A 26.3kA |  | NOS | STANDARD
50000449 | Pos.31.3CheckvalveHydratech104686 | Part number 104686-Check valve, pilot, cartridge | ST | CUSTOM
50000450 | Cable OPGW 24 Fibers Al Tube 6.80mm |  | M | STANDARD
50000451 | MainPress.switchHydratech1005303 | Part number 1005303-Pressure switch 250 bar (Position number 10) | ST | CUSTOM
50000452 | Pos.31.1CheckvalveHydratech1005594 | Part number 1005594-Check valve, pilot, cartridge | ST | CUSTOM
50000453 | Pos.214/3SolenoidValHydratech1006514 | Part number 1006514- Solenoid valve CETOP3 4/3 | ST | CUSTOM
50000454 | Pos.31.2CheckvalveHydratech104687 | Part number 104687-Check valve, pilot, cartridge | ST | CUSTOM
50000455 | AEtanklidHydratechAI00105 | Part number AI00105-AE tanklid (Pos 2.2) | ST | CUSTOM
50000456 | PanelboxHydratechB4545 | Part number B4545-Electrical connection box (Pos no 28) | ST | CUSTOM
50000457 | ALTankHydratech203610 | Part number 203610-Alu tank (Pos.2.1) | ST | CUSTOM
50000458 | AEbaseframehydratechAE01583 | Part number AE01583-AE Baseframe (Pos.28.1) | ST | CUSTOM
50000459 | AEmanifoldhydratech_AI00103 | Part number AI00103-AE manifold (Pos.29.1) | ST | CUSTOM
50000460 | AEmanifoldhydratech_AI00104 | Part number AI00104-AE manifold (Pos.29.2) | ST | CUSTOM
50000461 | GearpumpflangeHydratech179400 | Part number 179400-Flange for gear pump | ST | CUSTOM
50000462 | DampingrodHydratech590530 | Part number 590530 -Damping rod (Pos.28.3) | ST | CUSTOM
50000463 | Pos.16.6CheckvalveHydratech105019 | Part number 105019-Check valve Threaded | ST | CUSTOM
50000464 | BellhousepumpHydratech1005610 | Part number 1005610-Bellhouse Gearpump Grp.1 (Pos.1.11) | ST | CUSTOM
50000465 | 24VcoilHydratech_104992 | Part number 104992-Coil S8(24 VDC) | ST | CUSTOM
50000466 | PumpcouplingHydratech1005609 | Part number 1005609- Coupling pump (Pos.1.13) | ST | CUSTOM
50000467 | PressureGaugeHoseHydratech334010 | Part number 334010 | ST | CUSTOM
50000468 | MotorcouplingHydratech201770 | Part number 201770- Coupling motor (Pos.1.15) | ST | CUSTOM
50000469 | Pos.32.1OrificeHydratech153008 | Part number 153008-Orifice,Sleeve | ST | CUSTOM
50000470 | Pos.32.2OrificeHydratech153020 | Part number 153020-Orifice,sleev (Pos.32.2 & 19.4) | ST | CUSTOM
50000471 | Pos.1.4BallvalveHydratech49021013 | Part number 4902 10 13-Ball valve, 2 way (Pos.1.4) | ST | CUSTOM
50000472 | TankbreatherHydratech137700 | Part number 137700-Tank breather (Pos.2.3) | ST | CUSTOM
50000473 | SpidercouplingHydratech201500 | Part number 201500-Rubber spider (Pos.1.14) | ST | CUSTOM
50000474 | AESuctionpipeHydratechAI00195 | Part number AI00195-AE suction pipe (Pos.1.18) | ST | CUSTOM
50000475 | UnionPosno1.43Hydratech589671 | Part number 589671 | ST | CUSTOM
50000476 | Pos.1.41BrystnippleHydratech455500 | Part number- 455500 | ST | CUSTOM
50000477 | NylonPipeHydratech589681 | Part number 589681-Nylon pipe, natural, PA11 | ST | CUSTOM
50000478 | TanksealHydartech203616 | Part number 203616 | ST | CUSTOM
50000479 | PRV Pos.140.1 & 2 HYDAC DMM10121-C-V-250 | Pressure regulating valve Hydac position number 140.1 & 140.2 (Part number-DMM10121-C-V-250V | ST | CUSTOM
50000480 | Hydraulic Accumulator HYDAC SBO330-3 | Accumulator in red colour (Part number-SBO330-3,5E1/112U-330AB) | ST | CUSTOM
50000481 | Breather HYDAC ELP P 10 F 3W1.0 | Air breather ELP P 10 F 3W1.0 | ST | CUSTOM
50000482 | Gear pump HYDAC PGE101-200-RBQ1-N-3700 | PGE101-200-RBQ1-N-3700 | ST | CUSTOM
50000483 | Check valve Pos.120.1 to 6 HYDAC | Catridge check valve Pos.120.1 to 120.6 | ST | CUSTOM
50000484 | Pos.130.1&2 relief valve HYDAC DB4E-013 | Pressure relief valve (Part number-DB4E-013) | ST | CUSTOM
50000485 | Pressure Measuring port HYDAC G-1/4 | Minimess test point G-1/4 | ST | CUSTOM
50000486 | Pressure Gauge with hose HYDAC G 1/4B | Pressure Gauge G 1/4B with hose- HYDAC | ST | CUSTOM
50000487 | Pos.200 Soleniod valve HYDAC WSM08130D | Soleniod valve -WSM08130D | ST | CUSTOM
50000488 | Pos.210.1 Solenoid val ,DCV-WSM03230-01M | Part number- DCV-WSM03230-01M HYDAC | ST | CUSTOM
50000489 | Pos.210.2 Solenoid val WSE3E0C.X/G24-Z4N | Part number-WSE3E0C.X/G24-Z4-N , Hydac | ST | CUSTOM
50000490 | Pos.210.3 Solenoid valve WSM06020Z Hydac | Part number-WSM06020Z | ST | CUSTOM
50000491 | Pos.240 relief valve DZM06020-01-210 V | Part number- PRV DZM06020-01-210 V , Hydac | ST | CUSTOM
50000492 | Pos.260.1&2 Pilot check valve HYDAC | Pilot operated check valve | ST | CUSTOM
50000493 | Zero pressure flow control HYDAC DV5E01X | Flow control Catridge-DV5E-01X HYDAC | ST | CUSTOM
50000494 | Visual clog indicator HYDAC VD 2 BM.1 | Part number-VD 2 BM.1 | ST | CUSTOM
50000495 | Filter 0030 D010 BN4HC HYDAC | Filter element 0030 D010 BN4HC HYDAC | ST | CUSTOM
50000496 | Oil level switch HYDAC FSK-127-2.4/O/12 | Oil level switch FSK-127-2.4/O/12 HYDAC | ST | CUSTOM
50000497 | Temp.gauge TSL70X12 HYDAC | Temprature gauge-TS-L-70/X/12 HYDAC | ST | CUSTOM
50000498 | Electric motor 1.5KW HYDAC G 90L4 | Part number-G 90L4 230/400V | ST | CUSTOM
50000499 | Pos.100 relief valve HYDAC DB4E-01X | Pressure relief valve DB4E-01X HYDAC | ST | CUSTOM
50000500 | Filter MDF BN/HC 10W 1.0 HYDAC | Filter MDF BN/HC 30 set 10W 1.0 HYDAC | ST | CUSTOM
50000501 | Pressure switch 10 bar HYDAC K31 845803 | Part number-042 K31 845803 | ST | CUSTOM
50000502 | Pressure switch 300 bar HYDAC |  | ST | CUSTOM
50000503 | Coil 24DG-50-1836 HYDAC | Coil 24DG-50-1836 HYDAC | ST | CUSTOM
50000504 | Coil 24DG-40-1836 HYDAC | Coil 24DG-40-1836 HYDAC | ST | CUSTOM
50000505 | Pos.190 relief valve HYDAC DB4E-01X-30V | Pressure relief valve DB4E-01X-30V HYDAC | ST | CUSTOM
50000506 | Pos.230 flushing valve DCV WSM06020Z-01M | Part number-DCV WSM06020Z-01 M (HYDAC) | ST | CUSTOM
50000507 | Hand pump MP-10-01 HYDAC | Hand pump MP-10-01 HYDAC | ST | CUSTOM
50000508 | Drain Ball valve HYDAC | Ball valve HYDAC | ST | CUSTOM
50000509 | Pos.125.1 check valve RVM06020-51-C-N3.0 | Check valve- RVM06020-51-C-N-3.0 HYDAC | ST | CUSTOM
50000510 | DataloggerNPS03FTPwithFTP&Enclosure | Data logger with FTP Modem for Configuration Model : NPS03FTP With Enclosure for WTG Tilt Sensor. | EA | CUSTOM
50000511 | Data Logger SymphoniePRO 16-Channel NRG | SymphoniePRO Data Logger 16-Channel, Make - NRG | EA | CUSTOM
50000512 | ProcesModule,MC205-1G/0GBCFAB00018805-10 | ProcesModule,MC205-1G/0GBCFAB00018805-10 | ST | CUSTOM
50000513 | CANFieldbusModule,CM202,B-00009698-00 | CANFieldbus Module,CM202,B-00009698-00 | ST | CUSTOM
50000514 | FASTBUSModule,BachmanFM211,B-00010495-00 | FASTBUSModule,BachmanFM211,B-00010495-00 | ST | CUSTOM
50000515 | TempRecordingModulePTAI216,B-00010708-00 | TempRecordingModulePTAI216,B-00010708-00 | ST | CUSTOM
50000516 | ModuleCounterBachmanCNT204/HB00010709-10 | ModuleCounterBachmanCNT204/HB00010709-10 | ST | CUSTOM
50000517 | FASTBUSModuleBachmanFS212/NB-00010500-00 | FASTBUSModuleBachmanFS212/NB-00010500-00 | ST | CUSTOM
50000518 | PowerSupply BachmanNT255,B-00013251-00 | PowerSupply BachmanNT255,B-00013251-00 | ST | CUSTOM
50000519 | ModuleBachmanI/O,DIO280,B-00019114-00 | ModuleBachman I/O,DIO280,B-00019114-00 | ST | CUSTOM
50000520 | Powerstack-K82-LCU-820001-003 | Powerstack-K82-LCU-820001-003 | ST | CUSTOM
50000521 | ISUPowerstack-K82-820006-003 | ISUPowerstack-K82-820006-003 | ST | CUSTOM
50000522 | ThyristorMT/D3-740-24-D-N-Proton | Thyristor MT/D3-740-24-D-N-Proton | ST | CUSTOM
50000523 | IGBT300A,1700V,CM300DY-34A,Mistubhishi | IGBT 300A,1700V,CM300DY-34A,Mistubhishi | ST | CUSTOM
50000524 | IGBT200A,1700V,CM200DY-34A,Mistubishi | IGBT 200A,1700V,CM200DY-34A,Mistubishi | ST | CUSTOM
50000525 | IGBT1000A,1700V,CM1000DU-34NF,Mistubishi | IGBT1000A,1700V,CM1000DU-34NF,Mistubishi | ST | CUSTOM
50000526 | IGBT1000A,1700V,CM1000E3U-34NFMistubishi | IGBT1000A,1700V,CM1000E3U-34NFMistubishi | ST | CUSTOM
50000527 | Spares for PTR 105/120MVA, 220/33kV |  | LOT | STANDARD
50000528 | Transmission Line Tower- Galvanized |  | KG | STANDARD
50000529 | IDT 8.34MVA 33/0.8/0.8KV AL WINDING | IDT 8.34MVA 33/0.8/0.8KV AL WINDING | NOS | STANDARD
50000530 | Trefoil clamp For 1CX300 mm2 Al Arm |  | NOS | STANDARD
50000531 | Raw / Normal - Lighting & Power DB (L+PD | Dist. Board (Lighting) Indoor 415V | NOS | STANDARD
50000532 | DWC Conduit Pipe 50/38mm Dia black |  | M | STANDARD
50000533 | Fastener M16x40 1B1N2PW1SW-HDG 5.6 |  | SET | STANDARD
50000534 | Full Body harness double lane yard |  | NOS | STANDARD
50000535 | Lighting Exhaust Fan Light Fixture |  | NOS | STANDARD
50000536 | Module Cleaning System Water Based |  | LE | STANDARD
50000537 | Power Transformer 105MVA, 220/33kV |  | NOS | STANDARD
50000538 | HT Termination kit 220kV 1C*800mm2 |  | NOS | STANDARD
50000539 | ACSB Outdoor 630A,800VAC 1in/1out |  | NOS | STANDARD
50000540 | HT Termination kit 33kV 3C*300mm2 | HT Termination kit 33kV 3C*300mm2 | SET | STANDARD
50000541 | HT Termination kit 33kV 3C*400mm2 |  | SET | STANDARD
50000542 | HT Termination kit 33kV 3CX185mm2 | HT Termination kit 33kV 3CX185mm2 | NOS | STANDARD
50000543 | Fastener M10x30 1B 1N 1PW 1RW 1SW |  | SET | STANDARD
50000544 | Solar Power Based Robotic Devices (auto) |  | NOS | STANDARD
50000545 | Solar Power Based Robotic Devices (port) |  | NOS | STANDARD
50000546 | Cable gland Polymide 10Cx1.0 mm2 | Cable gland Polymide 10Cx1.0 mm2 | NOS | STANDARD
50000547 | Cable gland Polymide 24Cx1.5 mm2 | Cable gland Polymide 24Cx1.5 mm2 | NOS | STANDARD
50000548 | IDT 5MVA 33/0.8/0.8KV AL WINDING | IDT 5MVA 33/0.8/0.8KV AL WINDING | NOS | STANDARD
50000549 | UPS with Battery 10KVA,38400 VAH |  | NOS | STANDARD
50000550 | Cable gland Polymide 2Cx1.5 mm2 | Cable gland Polymide 2Cx1.5 mm2 | NOS | STANDARD
50000551 | Cable gland Polymide 2Cx2.5 mm2 | Cable gland Polymide 2Cx2.5 mm2 | NOS | STANDARD
50000552 | Cable gland Polymide 2Px0.5 mm2 | Cable gland Polymide 2Px0.5 mm2 | NOS | STANDARD
50000553 | Cable gland Polymide-Cat 6 SFTP | Cable gland Polymide-Cat 6 SFTP | NOS | STANDARD
50000554 | Face Shield With helmet welding |  | NOS | STANDARD
50000555 | Lighting 20 Watt LED Tube Light |  | NOS | STANDARD
50000556 | UPS with Battery 3KVA,96V,100AH |  | SET | STANDARD
50000557 | ABCTypeFireExtinguisher-6Kg |  | NOS | STANDARD
50000558 | UPS with Battery 2KVA,96V,65AH |  | NOS | STANDARD
50000559 | AL Lugs- M10x16 mm2 Ring Type |  | NOS | STANDARD
50000560 | Cable 1.1kV 1CX16 mm2 Cu XLPE |  | M | STANDARD
50000561 | Cu Lugs- M10x16 mm2 Ring Type |  | NOS | STANDARD
50000562 | Bird Diverter Size 303*237mm |  | NOS | STANDARD
50000563 | Cu Lugs- M6x16 mm2 Ring Type |  | NOS | STANDARD
50000564 | Substation Automation System |  | SET | STANDARD
50000565 | Cu Lugs- M8x4 mm2 Ring Type |  | NOS | STANDARD
50000566 | Isolator Tandem Type 220KV |  | NOS | STANDARD
50000567 | LADDER CABLE TRAY 450mm GI | LADDER CABLE TRAY | M | STANDARD
50000568 | LED Lamp with Holder18Watt |  | NOS | STANDARD
50000569 | Solar Street Light 24 Watt |  | NOS | STANDARD
50000570 | Weather monitoring Station |  | NOS | STANDARD
50000571 | ACCB (3 IN 1 OUT),800V AC |  | NOS | STANDARD
50000572 | CO2 Fire Extinguisher 5kg | CO2 Fire Extinguisher 5kg | NOS | STANDARD
50000573 | PPE Rope ( 16MM, Naylon ) |  | M | STANDARD
50000574 | Safety Helmet-White Color |  | NOS | STANDARD
50000575 | Panel ABT Meter Cubical | Panel ABT Meter Cubical | NOS | STANDARD
50000576 | AL Lugs- 10 mm2 Pin type |  | NOS | STANDARD
50000577 | Busduct 33kV Phase 2500A |  | SET | STANDARD
50000578 | CVT, 220KV, 1ph, 4400pF |  | NOS | STANDARD
50000579 | Electrical Gloves -11 KV |  | PAA | STANDARD
50000580 | Light Distribution Board | Distribution boards with LED lights, sockets, Auxilairy cables 1.5sqmm Cu, Power Modules <(>&<)> control wiring etc., at FCR, Main Control Room <(>&<)> HT switchgear room etc., | SET | STANDARD
50000581 | Bunk Bed Container 20FT |  | NOS | STANDARD
50000582 | Bunk Bed Container 40FT |  | NOS | STANDARD
50000583 | AL Lugs- 6 mm2 Pin type |  | NOS | STANDARD
50000584 | Cable Tray and PVC Pipe |  | LOT | STANDARD
50000586 | Electrical gloves 33kv |  | PAA | STANDARD
50000587 | MS Tank 5KL for NIFPS |  | NOS | STANDARD
50000588 | MS Tank 6KL for NIFPS |  | NOS | STANDARD
50000589 | Fastener M10, 4N 4PW |  | SET | STANDARD
50000590 | Insulator SRC 120KN |  | NOS | STANDARD
50000591 | PT Metering 220 KV |  | NOS | STANDARD
50000592 | ACSR Zebra Condutor |  | M | STANDARD
50000593 | Hume Pipe 150mm RCC |  | M | STANDARD
50000594 | Hume Pipe 300mm RCC |  | M | STANDARD
50000596 | 415V Main AC Distribution Board (Main MC |  | LOT | STANDARD
50000597 | FOTE Single Line |  | LOT | STANDARD
50000598 | GI Strip 25 x 3mm |  | MT | STANDARD
50000599 | GI Strip 25 x 6mm |  | MT | STANDARD
50000600 | GI Strip 50 x 6mm |  | MT | STANDARD
50000601 | GI Strip 75 x 8mm |  | MT | STANDARD
50000602 | MCR Illumination |  | LOT | STANDARD
50000603 | Insulator 90 KN |  | EA | STANDARD
50000604 | TL Fastener HDG |  | KG | STANDARD
50000605 | CRP SAS 220KV |  | NOS | STANDARD
50000606 | Coupler 50mm |  | NOS | STANDARD
50000607 | NIFPS System | NIFPS for 5 MVA IDT NIFPS for 6.67 MVA IDT NIFPS for 8.34 MVA IDT | EA | STANDARD
50000608 | SCADA System | SCADA System | NOS | STANDARD
50000609 | CVT 220KV |  | NOS | STANDARD
50000610 | GIS 220KV |  | NOS | STANDARD
50000611 | LA Counter |  | NOS | STANDARD
50000612 | Tee 50mm |  | NOS | STANDARD
50000613 | Cable CAT 6 SFTP |  | M | STANDARD
50000614 | Cable 1CX35sqmm XLPE Cu Class 5 Green |  | M | STANDARD
50000615 | Straight through joint (3C X 120 Sq.mm 1 |  | NOS | STANDARD
50000616 | IGBTCoolingFanEBMPapstK3G400AQ2368 | Part number- K3G400AQ2368 | ST | CUSTOM
50000617 | Cellow Tape 50mm | Packing material tape Cellow Tape 50mm | EA | CUSTOM
50000618 | Tarpoline Blue HDPE 24ft X24ft | Tarpoline Blue HDPE 24ft X24ft | EA | CUSTOM
50000619 | Pyranometer SMP10-A 4-20 ma RS485 Modbus | Pyranomete Make: Kipp & Zonen , Supplier : Meatech solutions, Model No: SMP10-A, Cable length-15 is mtr ( But no need of cable , a | EA | CUSTOM
50000620 | Data Logger SymphoniePRO 26-Channel NRG | SymphoniePRO Data Logger 26-Channel, Make - NRG | EA | CUSTOM
50000621 | Symphonie IPACKGPS 4G | IPACK includes cellular antenna, GPS antenna and inbuilt battery 12V 2.3AH | EA | CUSTOM
50000622 | Anemometer S1 NRG | Anemometer S1 NRG with MEASNET calibration | EA | CUSTOM
50000623 | Anemometer Class 1 NRG | Anemometer Class 1 NRG with MEASNET calibration | EA | CUSTOM
50000624 | Anemometer WindSensor P2546-OPR | Anemometer WindSensor P2546-OPR with MEASNET calibration | EA | CUSTOM
50000625 | Wind Vane 200M NRG | Wind Vane 200M NRG with 0° Dead Band and calibration | EA | CUSTOM
50000626 | Temperature Sensor T60 NRG | Temperature Sensor T60 NRG with calibration | EA | CUSTOM
50000627 | Pressure Sensor BP60 NRG | Pressure Sensor BP60 NRG with Calibration | EA | CUSTOM
50000628 | SD Card 2GB - SymphoniePRO Logger | SD Card 2GB - SymphoniePRO Logger NRG Make | EA | CUSTOM
50000629 | Anemometer Thies First Class Adv II | Anemometer Thies First Class Adv II with MEASNET calibration | EA | CUSTOM
50000630 | Solar Panel 12V 20W | Solar Panel 12V 20W for NRG Make SymphoniePLUS3 and SymphoniePRO Data Loggers iPack 12V 2.3Ah battery charging and Nomad3 data logge | EA | CUSTOM
50000631 | Solar Panel 12V 50W | Solar Panel 12V 50W for Ammonit Make data logger 12V 42Ah Battery Charging | EA | CUSTOM
50000632 | Battery 12V 2.3AH | Battery 12V 2.3AH - for power supply to Symphonie IPACKGPS 4G and NRG Make SymphoniePLUS3 and SymphoniePRO Data Loggers | EA | CUSTOM
50000633 | Battery 12v 7AH | Battery 12v 7AH - for power supply to Vaisala Make Nomad3 Data Loggers | EA | CUSTOM
50000634 | Battery 12v 42AH | Battery 12v 42AH - for power supply to Ammonit Make MeteoM/M+/L Data Loggers | EA | CUSTOM
50000635 | Modem 4G with Antenna | Modem 4G with Antenna - for communication in Ammonit Make MeteoM/M+/L Data Loggers | EA | CUSTOM
50000636 | WindVanePV-1Comptus | Wind Vane PV-1 Comptus | EA | CUSTOM
50000637 | Data Logger Meteo-40L Plus Ammonit | Ammonit Make Meteo 40L Plus Data Logger (including, GPRS/GSM Modem & Antenna, Solar Charge controller, Surge Arrestors for all Senso | EA | CUSTOM
50000638 | Data Logger Meteo-40M Plus Ammonit | Ammonit Make Meteo 40M Plus Data Logger (including, GPRS/GSM Modem & Antenna, Solar Charge controller, Fuse Terminal blocks ,Pulse C | EA | CUSTOM
50000639 | PCBExciterCardKenersys | PCB Exciter Card Kenersys | ST | CUSTOM
50000640 | PCBRectifierControlCardKenersys | PCB Rectifier Control Card Kenersys | ST | CUSTOM
50000641 | PCBRU-RCfiltercardKenersys | PCB RU-RC filter card Kenersys | ST | CUSTOM
50000642 | PCBISUControlCardKenersys | PCB ISU Control Card Kenersys | ST | CUSTOM
50000643 | PCBISURectifierCardKenersys | PCB ISU Rectifier Card Kenersys | ST | CUSTOM
50000644 | PCBLCUIGBTDriverCardKenersys | PCB LCU IGBT Driver Card Kenersys | ST | CUSTOM
50000645 | PCBLCUControlCardKenersys | PCB LCU Control Card Kenersys | ST | CUSTOM
50000646 | PCBChopperCardKenersys | PCB Chopper Card Kenersys | ST | CUSTOM
50000647 | PCBIGBTDriverCardIsUKenersys | PCB IGBT Driver Card IsU Kenersys | ST | CUSTOM
50000648 | PCBSnubbercardKenersys | PCB Snubber card Kenersys | ST | CUSTOM
50000649 | PCB ISU Phase angle card Kenersys, R0 | PCB ISU Phase angle card Kenersys | ST | CUSTOM
50000650 | PCB ISU Booster card Kenersys | PCB ISU Booster card Kenersys | ST | CUSTOM
50000651 | PCB ISU Discharge card Kenersys | PCB ISU Discharge card Kenersys | ST | CUSTOM
50000652 | Circuitbreaker2000A.3P,EMAXE3H20PRABB | ACB 2000A,Make ABB | ST | CUSTOM
50000653 | ConverterCoolingPumpunit,157412-018 | Make-Hydraspecma | ST | CUSTOM
50000654 | MMS Frame Tube 35x35x2 L-9706 | 35x35x2 L-9706 (YS-250MPa, Post Galv., Galv. Thk. 80µ) | NOS | STANDARD
50000656 | MMS Frame Tube 35x35x2 L-18079 | 35x35x2 L-18079 (YS-250MPa, Post Galv., Galv. Thk. 80µ) | NOS | STANDARD
50000657 | MMS Sheet 4208x240x0.5mm L- 4208 | 4208x240x0.5mm L- 4208 (YS-350/550MPa, PPGI/Galvalume) | NOS | STANDARD
50000658 | MMS Sheet 4384x240x0.5mm L- 4384 | 4384x240x0.5mm L- 4384 (YS-350/550MPa, PPGI/Galvalume) | NOS | STANDARD
50000659 | MMS Sheet 4384x595x0.5mm L- 4384 | 4384x595x0.5mm L- 4384 (YS-350/550MPa, PPGI/Galvalume) | NOS | STANDARD
50000660 | Rafter-6 CFCS-80CS40X10X1.6L-3656.6 | 80CS40X10X1.6L-3656.6 | NOS | STANDARD
50000661 | Grouting cement | Grouting cement for WTG Foundation Grouting | KG | STANDARD
50000662 | Material for SPSC DOG Line_33kV | Supply of material for 33kV SPSC Dog OH line as per approved drawing <(>&<)> specification | KM | STANDARD
50000663 | Material for SPSC PANTHER Line_33kV | Supply of material for 33kV SPSC Panther OH line as per approved drawing <(>&<)> specification | KM | STANDARD
50000664 | Material for DPDC PANTHER Line_33kV | Supply of material for 33kV DPDC Panther OH line as per approved drawing <(>&<)> specification | KM | STANDARD
50000665 | Material for NH crossing in tower | Supply of material for 33kV DC NH crossing work by using 66kV DC tower | SET | STANDARD
50000667 | Additional material_33kV OHL_Supply | Supply of additional material for 33kV DPDC panther OH line as per approved drawing <(>&<)> specification | SET | STANDARD
50000668 | Material for DP yard_33kV_W/O metering | Supply of material for 33kV DP yard without metering arrangement | SET | STANDARD
50000669 | Civil material for DP yard_33kV | Supply of civil material for 33kV DP yard without metering arrangement | SET | STANDARD
50000670 | Workstation |  | EA | STANDARD
50000671 | Monitor |  | EA | STANDARD
50000672 | PPC Cement | PPC Cement | NOS | STANDARD
50000675 | String Inverter 200KW 800V AC O/P 1500V |  | NOS | STANDARD
50000676 | Smart Communication Box- COM100A |  | NOS | STANDARD
50000677 | Modules - 455 Wp Longi |  | NOS | STANDARD
50000678 | Module 450 WP Longi Monofaciial |  | NOS | STANDARD
50000679 | Modules - 540 Wp JA |  | NOS | STANDARD
50000680 | Modules - 545 Wp JA |  | NOS | STANDARD
50000682 | converterControlUnit(CCU),ReGen | CCU unit for ReGen converter panel | ST | CUSTOM
50000683 | Arc Flash Suit 40 cal/cm2 Salisbury Hony | Arc Flash Suit 40 cal/cm2 Salisbury Hony | EA | CUSTOM
50000684 | TransformeroilIS-335-2018type-II | Transformer oil IS-335-2018 type-II In-hebitant type | L | CUSTOM
50000685 | MCCB-NADER-630A-NDM5-630VM630/3/TMD 00 | Make:NADER, Model: NDM5-630VM630/3/TMD 00, Series Number: PA5Q021678 , Ui: 1000V, Ue: AC 1000V | EA | CUSTOM
50000686 | PROFIBUSbuscontroller,BECK.BC3150 | ReGen Pitch Box component | ST | CUSTOM
50000687 | DC-DC-converter;13ADEM.154-24,Demke | ReGen Pitch box component | ST | CUSTOM
50000688 | BatteryCharger,60V/80A,ZIVAN.NG5 | ReGen Pitch Box component - Battery Charger NG-5 | ST | CUSTOM
50000689 | AC2Inverter,ZAPI.AC2FLASH | ReGen Pitch box component - AC2 inverter | ST | CUSTOM
50000690 | SLIP RING UNIT, 5K0251100, SCHLEIFRING | ReGen Slip Ring Body SRB | ST | CUSTOM
50000691 | LEMModule,LEM.400-S | ReGen Nacelle component/module - LEM module | ST | CUSTOM
50000692 | 8mm proxy sensor BI8U-EM18EWD-AP6X-H1141 | Inductive Sensor Turck make-Inductive ,Switch dist. 8mm- Make : TURCK, -40....+100°C, V4A, BI8U-EM18EWD-AP6X-H1141 | ST | CUSTOM
50000693 | LEMmodulecable(Transducercable),Delta | ReGen Nacelle Component-Genswitch component,LEM 400S | ST | CUSTOM
50000694 | PROFIBUSDP-BusCoupler,BECK.BK3150 | ReGen PLC spare Beckhoff Spare - Nacelle component | ST | CUSTOM
50000695 | PCBOverspeedModuleV1.1-ReGen | ReGen Nacelle speed module component-PCB Gen. Overspeed Module V1.1, 20000009 | ST | CUSTOM
50000696 | PCBCurrentMonitorSensor-VER1.0Regen | ReGen Nacelle component | ST | CUSTOM
50000697 | PCBGspeedModuleSensorV1.1-ReGen | ReGen Nacelle speed module component | ST | CUSTOM
50000698 | Anemometer0.14577.100040LAMBRECHT | ReGen Nacelle component, Wind speed sensor INDUSTRY Wind speed sensor, incl. 12 m cable with electronically controlled heating Me | ST | CUSTOM
50000699 | ACBSpringchargemotorABBmake-2000A | ReGen ACB component | ST | CUSTOM
50000700 | ShuntOpenRelease24VDC,1SDA038286R1 | ReGen ACB 2000 spare | ST | CUSTOM
50000701 | Springchargemotor-800ASIEMENSmake | ReGen 800A Genswitch Spare | ST | CUSTOM
50000702 | InductortempsensorPt-100,Penciltype | ReGen CBF Inductor temperature sensor Bulb : Ss304; f 6.00 x 50 mm Cable: AWG 24/7/32, SPC, 2C, PTFE, PTFE, Cu Braided, PTFE Cabl | ST | CUSTOM
50000703 | Application Board Schneider XC680 | Name of Board : Application Board (HSN: 85381010) Make: Schneider Part Description: ATV71 V AIC CHEETAH CTRL S/A B.I.F SE Part De | EA | CUSTOM
50000704 | RTC1 Board Schneider XC680 | Name: RTC1 Board Make: Schneider Part Description: PCBA RTC1 Part Code: 0J-0P5237 | EA | CUSTOM
50000705 | PCB Logic I/O Extension Schneider 680 | Name of PCB: PCB Logic I/O Extension Make: Schneider Part Description: VW3A3201 (Logic I/O Extension) Part Code: 0J-391-0050 | EA | CUSTOM
50000706 | PCB Ectended I/O Schneider 680 | Name of PCB: PCB Ectended I/O Make: Schneider Part Description: VW3A3202 (Extended I/O) Part Code: 0J-391-0051 | EA | CUSTOM
50000707 | GROOVEDBALLBEARING-FAG6026-2RSR | Pitch console bearing 6026 make FAG | ST | CUSTOM
50000708 | GROOVEDBALLBEARING-FAG6028-2RSR | Pitch console bearing 6028 make for ReGen fleet | ST | CUSTOM
50000709 | GROOVEDBALLBEARING-FAG6220-2RSR | Pitch console bearing of 6220 make for ReGen fleet | ST | CUSTOM
50000710 | GROOVEDBALLBEARING-FAG6221-2RSR | Pitch console bearing of 6221 make for ReGen fleet | ST | CUSTOM
50000711 | Slipring Fan,RG18S-2EP.WD.AR,Ziehl-Abegg |  | ST | CUSTOM
50000712 | AirCkt.Breaker2000A,1SDA055824R1,ABB |  | ST | CUSTOM
50000713 | SOCKET ADAPTER 1/2"F TO 1"M |  | ST | CUSTOM
50000714 | AirBlowerBoschGBL-82-270,06019804F5 |  | ST | CUSTOM
50000715 | Binocular Olympus(8X40 DPSI) |  | ST | CUSTOM
50000716 | Dies for Crimping tool EK12042CFM KLAUKE |  | ST | CUSTOM
50000717 | FG-9W LED handlamp CDL with 5 Mtr cable | Super Nova | ST | CUSTOM
50000718 | HOT-AIR GUN BOSCHÂ® GHG20-63 |  | ST | CUSTOM
50000719 | Pressure gauge 0-250 bar,EN837-1,Wika |  | ST | CUSTOM
50000720 | Round Head Ratchet3/4" with Handle | GEDORE 3/4 l.503mm 15°RA | ST | CUSTOM
50000721 | TORQUE WRENCH 80-400NM CZ GEDORE 8462-01 |  | ST | CUSTOM
50000722 | LCR -METER LCK4070-HCT |  | ST | CUSTOM
50000723 | Inches allen hex key set Stanley 69-257 | 12PC IMP 0 69 257 | ST | CUSTOM
50000724 | Toolssafetylanyard-Kingtony-79A22-30 |  | ST | CUSTOM
50000725 | Ratchet belt 4 Mtr 3 Ton GRV-HRL-035-004 | GRV-HRL-035-004 | ST | CUSTOM
50000726 | Ratchet belt 6 Mtr 3 Ton GRV-HRL-035-006 | GRV-HRL-035-006 | ST | CUSTOM
50000727 | Ratchet belt 4 Mtr 5 Ton GRV-HRL-050-004 | GRV-HRL-050-004 | ST | CUSTOM
50000728 | Ratchet belt 6 Mtr 5 Ton GRV-HRL-050-006 | GRV-HRL-050-006 | ST | CUSTOM
50000729 | Ratchet belt 6 Mtr 10Ton GRV-HRL-075-006 | GRV-HRL-075-006 | ST | CUSTOM
50000730 | Manual Rivet Gun- GROZ-RT/FH-20 |  | ST | CUSTOM
50000731 | Vaccum Cleaner Bosch GAS 15 1100 W |  | ST | CUSTOM
50000732 | Safety Cone |  | ST | CUSTOM
50000733 | D-SHACKLE 10 TON |  | ST | CUSTOM
50000734 | D-SHACKLE 5 TON |  | ST | CUSTOM
50000735 | Cable 5 Core for wind mast sensor | Cable 5 Core for wind mast sensor | EA | CUSTOM
50000736 | Pressure Sensor AB60 Ammonit | Pressure Sensor AB60 Ammonit | EA | CUSTOM
50000737 | Anti-climbing device for Wind Mast | Anti-climbing device (Galvanized) for Wind Mast with Lock and keys | EA | CUSTOM
50000739 | SMPS Card HRD 465 | 85 V AC input and multiple output 5,24,110 VDC | EA | CUSTOM
50000740 | Flexible Hose 15mm LENTH 75MTR for MCS | Flexible Hose 15mm LENTH 75MTR for MCS system | EA | CUSTOM
50000741 | Compact Logix Controller with 1 MB Mem | Compact Logix Controller with 1 MB Mem(1769-L19ER) Make:Allen Bradley | EA | CUSTOM
50000742 | CT : 220 kV, 300/1A, 0.2S, 5VA | CT: 300/1A, 220kV, 0.2S, 5VA, H.S.V: 245KV, S.T.C: 40KA/3Sec, IL-460/1050KV Approved TS TRANSCO Vendor | EA | CUSTOM
50000743 | CT:220K,1200-800/1(5C),.2S/PS(4),20VA | CT: 1200-800/1-1-1-1-1A, 220KV, PS/PS/PS/PS/0.2S, 20VA, H.S.V: 245kV, S.T.C: 40kA/3sec, IL-460/1050KV, KPV: 1200V Approved TS TRANS | EA | CUSTOM
50000744 | Rectifier Bridge 3Phase, 36MT160 , D-63 | Bridge Rectifier Diode, Three Phase, 1.6 kV, 35 A, Module, 1.19 V, 5 Pins, Mfg.-Vishay | EA | CUSTOM
50000745 | IGBTSingleFGA25N120ANTDTU ,TO-3P,3Pins | IGBT Single Transistor, 25 A, 2.5 V, 312 W, 1.2 kV, TO-3P, 3 Pins, Manufacturer - ON Semiconductor | EA | CUSTOM
50000746 | DiodeRecoveryRURG8060, TO-247-2L | Standard Recovery Diode, 600 V, 80 A, Single, 1.6 V, 85 ns, 800 A | EA | CUSTOM
50000747 | ICCD40106BEInverterSchmittTrig.,DIP14 | Inverters Hex Schmitt Trigger | EA | CUSTOM
50000748 | Fuse20A,500VAC,10mmx38mm,X216151 | X216151 Fuse, Industrial / Power, Class aM Series, 20 A, 500 VAC, 10mm x 38mm, 13/32" x 1-1/2" | EA | CUSTOM
50000749 | IC IR2110PBF Dual Driver 10V-20V, DIP-14 | IR2110PBF Dual Driver IC, High Side And Low Side, 10V-20V Supply, 2.5A Out, 94ns Delay, DIP-14 | EA | CUSTOM
50000750 | Optocoupler4N35,NPNphototrans.,DIP6 | 4N35 Optocoupler, Transistor Output, 1 Channel, DIP, 6 Pins, 50 mA, 5 kV, 100 % | EA | CUSTOM
50000751 | IcTL431AIZShuntRegulator,TO-92 | Standard Recovery Diode, 600 V, 80 A, Single, 1.6 V, 85 ns, 800 A | EA | CUSTOM
50000752 | MosfetBS170, N-Channel,60V,TO-92,TH | BS170 Power MOSFET, N Channel, 60 V, 500 mA, 1.2 ohm, TO-92, Through Hole | EA | CUSTOM
50000753 | MOSFETSTP3NK90Z,N-Channel,TO-220,TH | Power MOSFET, N Channel, 900 V, 3 A, 4.1 ohm, TO-220, Through Hole | EA | CUSTOM
50000754 | OptocouplerK1010B,Cosmo,DIP-4pins | Cosmo, K1010 B Transistor Output Optocoupler, Through Hole, 4-Pin DIP | EA | CUSTOM
50000755 | MosfetIRLD024PBF,NChannel,DIP-4pins | IRLD024PBF Power MOSFET, N Channel, 60 V, 2.5 A, 0.1 ohm, DIP, Through Hole | EA | CUSTOM
50000756 | Transistor BC32725 Bipolar PNP, TO-90 | BC32725TA Bipolar transistor | EA | CUSTOM
50000757 | Fuse Cartrid 1.6A 250V,6.3x32,Axial Lead | Fuse, Cartridge, Slow Blow, 1.6 A, 250 V, 6.3mm x 32mm, 1/4" x 1-1/4" | EA | CUSTOM
50000758 | Diode1N5399Recovery, 1kV,1.5A,DO-15 | 1N5399,Standard Recovery Diode, 1 kV, 1.5 A, Single, 1 V, 50 A | EA | CUSTOM
50000759 | Diode 1N4007 RECOVERY, 1A, 1KV, DO-41 | 1N4007, DIODE, STANDARD RECOVERY, 1A, 1KV, DO-41 | EA | CUSTOM
50000760 | ResistorWire100R10W,MP006133,AxiLead | MP006133, Through Hole Resistor, 100 ohm, 10 W, ± 5%, Axial Leaded | EA | CUSTOM
50000761 | Resistor Wire 10R 10W, 10W010,Axial Lead | WIREWOUND RESISTOR, 10 OHM, 10W, 5% | EA | CUSTOM
50000762 | RELAY40.61.7.012.0000FINDER24V,16A | General Purpose Relay, 40 Series, Power, SPDT, 12 VDC, 16 A | EA | CUSTOM
50000763 | DiodeZenerBZT03C200,1.3W,SOD-57 | Zener Single Diode, 200 V, 1.3 W, SOD-57, 5 %, 2 Pins, 175 °C | EA | CUSTOM
50000764 | DiodeUltrafastSTTH3R02,200V,3A,TH | Fast / Ultrafast Diode, 200 V, 3 A, Single, 1 V, 16 ns, 75 A | EA | CUSTOM
50000765 | Capacitor Elecr 560uF, 400V,RM10,SNAP-IN | ALUMINUM ELECTROLYTIC CAPACITOR 560UF, 400V, 20%, SNAP-IN | EA | CUSTOM
50000766 | CapacitorElectrolytic470uF,100V,RM7.5 | Electrolytic Capacitor, 470 µF, 100 V, SK Series, ± 20%, Radial Leaded, 2000 hours @ 105°C | EA | CUSTOM
50000767 | CapacitorElectrolytic1000uF,35V,RM5 | Electrolytic Capacitor, 1000 µF, 35 V, NHG Series, ± 20%, Radial Leaded, 1000 hours @ 105°C | EA | CUSTOM
50000768 | CapacitorElectrolytic1000uF,16V,RM5 | Electrolytic Capacitor, 1000 µF, 16 V, AM Series, ± 20%, Radial Leaded, 2000 hours @ 85°C | EA | CUSTOM
50000769 | Capacitor Electrolytic 47uF ,35V, RM5 | Aluminium Electrolytic Capacitors - Radial Leaded 47uF 35V 20% Audio SILMIC II | EA | CUSTOM
50000770 | Varistor B72220S2461K101,460V,Disc21.5mm | TVS Varistor, 460 V, 615 V, B722 AdvanceD Series, 1.24 kV, Disc 21.5mm, Metal Oxide Varistor (MOV) | EA | CUSTOM
50000771 | Thermistor,NTC,120 ohm,Rad.Lead,B57236S0 | Thermistor, ICL NTC, 120 ohm, -20% to +20%, Radial Leaded, B57236S0 Series | EA | CUSTOM
50000772 | Resistor Ceramic 270K ohm,10%,2W,OY274KE | Ceramic Composition Resistors 2W 270Kohm 10% | EA | CUSTOM
50000773 | Resistor470Kohm,2W,±5%,MCFSeries | MCF 2W 470K, Through Hole Resistor, 470 kohm, MCF Series, 2 W, ± 5%, Axial Leaded, 500 V | EA | CUSTOM
50000774 | Relay36.11.9.012.4011FinderSPDT,12VDC | General Purpose Relay, 36 Series, Power, SPDT, 12 VDC, 10 A | EA | CUSTOM
50000775 | Ic Switch Regular Uc3845Bn PWM DIP08 | PWM Controller, 25V-12V supply, 250 kHz, 5V/200mA out, DIP-8 | EA | CUSTOM
50000776 | Resistor Metal Film 82K Ohm, 2 W, 5% | METAL FILM RESISTOR, 82 KOHM, 2 W, 5% | EA | CUSTOM
50000777 | CapacitorElectrolytic22uF,450V,RM5 | Electrolytic Capacitor, 22 µF, 450 V, SK Series, ± 20%, Radial Leaded, 2000 hours @ 105°C | EA | CUSTOM
50000778 | SMD IC HEF4013BT ,Flip-Flop ,SOIC-14 | Flip-Flop, Complementary Output, Positive Edge, HEF4013, D, 30 ns, 40 MHz, 2.4 mA, SOIC | EA | CUSTOM
50000779 | SMD IC PIC16F630-I/SL ,8Bit,Flash,SOIC14 | 8 Bit MCU, Flash, PIC16 Family PIC16F6XX Series Microcontrollers, 20 MHz, 1.75 KB, 64 Byte, 14 Pins | EA | CUSTOM
50000780 | SMD IC LM2931AD-5.0 /LM2931AD50,SOIC-8 | Fixed LDO Voltage Regulator, 14V-40V in, 15mV Dropout, 5V/100mA out, SOIC-8 | EA | CUSTOM
50000781 | SMDICHEF4011BTLogicNandgateSO14 | Logic IC, NAND Gate, Quad, 2 Inputs, 14 Pins, SOIC, 4011 | EA | CUSTOM
50000782 | SMD IC SN74AHCT1G08DBVR ANDGate,SOT-23-5 | Logic IC, AND Gate, Single, 2 Inputs, 5 Pins, SC-70, 74AHCT1G08 | EA | CUSTOM
50000783 | SMDOperati.Amplif.LM358M/NOPB,SOIC-8 | Operational Amplifier, 2 Amplifier, 1 MHz, 0.1 V/µs, 3V to 32V, SOIC, 8 Pins | EA | CUSTOM
50000784 | SMDICSN74AHCT1G32DCKR,ORGate,SC70-5 | Logic IC, OR Gate, Single, 2 Inputs, 5 Pins, SC-70, 74AHCT1G32 | EA | CUSTOM
50000785 | CapacitorElectrolytic100uF,50V,RM3.5 | Electrolytic Capacitor, 100 µF, 50 V, M Series, ± 20%, Radial Leaded, 2000 hours @ 85°C | EA | CUSTOM
50000786 | CapacitorElectrolytic47uF,25V,RM2 | Electrolytic Capacitor, 47 µF, 25 V, MCGPR Series, ± 20%, Radial Leaded, 2000 hours @ 85°C | EA | CUSTOM
50000787 | SmdResistorM.-F.3K30,25W1,0%1206 | SMD Chip Resistor, 3.3 kohm, ± 1%, 250 mW, 1206 [3216 Metric], Thick Film, General Purpose | EA | CUSTOM
50000788 | SMD Resistor 20R , 250mW , 1%, 1206 | SMD Chip Resistor, Ceramic, 20 ohm, ± 1%, 250 mW, 1206 [3216 Metric], Thick Film, Sulfur Resistant | EA | CUSTOM
50000789 | SMDresistor120R,250mW,1%,1206 | SMD Chip Resistor, 120 ohm, ± 1%, 250 mW, 1206 [3216 Metric], Thick Film, General Purpose | EA | CUSTOM
50000790 | Relay Schneider 3C/O 10A, 24 VDC RXM3AB2 |  | EA | CUSTOM
50000791 | Socket RXM Relay SCH, RXZE2S111M |  | EA | CUSTOM
50000792 | Glass Fuse 2A , 250V 5x20mm, (F) |  | EA | CUSTOM
50000793 | GlassFuse10A,250V5x20mm,(F) |  | EA | CUSTOM
50000794 | Glass Fuse 1.6A , 250V 5x20mm |  | EA | CUSTOM
50000795 | Fuse terminal block TB 4-HESI (5x20) EI | 2-Conductor Fuse terminal block TB 4-HESI (5x20) EI | EA | CUSTOM
50000796 | Power Connectors PP120 HOUSING ONLY BLUE | Heavy Duty Power Connectors PP120 HOUSING ONLY BLUE, Male and Female both | EA | CUSTOM
50000797 | Power Connectors PP120 HOUSING ONLY RED | Heavy Duty Power Connectors PP120 HOUSING ONLY RED | EA | CUSTOM
50000798 | Cable ÖLFLEX® UNIPLUS 1X35 BK, 4521012U | Cable ÖLFLEX® UNIPLUS 1X35 BK, LAPP 4521012U | M | CUSTOM
50000799 | CableBlack ÖLFLEX®UNIPLUS 1X1BK,4510013U | Cable Black ÖLFLEX® UNIPLUS 1X1 BK, LAPP 4510013U | M | CUSTOM
50000800 | Cable Gray ÖLFLEX®UNIPLUS 1X1GY,4510063U | Cable Gray ÖLFLEX® UNIPLUS 1X1 GY, Lapp 4510063U | M | CUSTOM
50000801 | Cable GreenÖLFLEX®UNIPLUS 1X2.5,4520122U | Cable Green ÖLFLEX® UNIPLUS 1X2.5 GN, LAPP 4520122U | EA | CUSTOM
50000802 | SMDCapacitor4.7uF,25V,10%,X7R,1206 | SMD Multilayer Ceramic Capacitor, 4.7 µF, 25 V, 1206 [3216 Metric], ± 10%, X7R, CGA Series | EA | CUSTOM
50000803 | Connector male 50pin,2.54mm, 61205022821 |  | EA | CUSTOM
50000804 | PT-110KV/√3/110/√3/110/√3,10VA,0.2/0.2 | PT 110kV/√3/ 110V/√3-110V/√3, HSV: 123kV, 10VA-10VA, 0.2-0.2 class, 50hz, 230/550kVp, 1.2 cont. & 1.5 for 30sec. | EA | CUSTOM
50000805 | CT-110kV,200-400A/1-1-1A,PS-0.2-5P,10VA | CT 400-200/1-1-1 Amps, 3 core, PS-0.2-5P, 10VA-30VA, ALF/ISF: <= 5 & 20, Vk: 800-400V, Vk/4 (mA): 30mA, Max Rct: 4-2ohms at 75degree | EA | CUSTOM
50000806 | DriveMechanism SF6 145kV Siemens breaker | SF6 Circuit breaker 145kV Siemens, 3AP1FG type. | EA | CUSTOM
50000807 | PCBBoostercardISUKenersys |  | EA | CUSTOM
50000808 | Pressure switch10bar Hydratech 1001811 | Part number-1001811 | EA | CUSTOM
50000809 | Pressure Hose DN6 DIN24-3.5 mtr AE07165 | Part number-AE07165 | ST | CUSTOM
50000810 | Pressure Hose DN6 DIN24-2.5 mtr AE07164 | Part number-AE07164 | ST | CUSTOM
50000811 | Hose 90 degree bend at both 3 Ft AE06710 | Pressure hose 1.5 Metre (Part number-AE06710) | ST | CUSTOM
50000812 | Hose90degreebendatboth1FtAE06709 | Pressure hose 350mm (Part number-AE06709) | ST | CUSTOM
50000813 | Pressure hose 9 Metre Hydratech AE06712 | Part number-AE06712 | ST | CUSTOM
50000814 | Pressure hose 5 Metre Hydratech AE06711 | Part number-AE06711 | ST | CUSTOM
50000815 | Pos16.2&19.2valveHydratech319421 | Cartridge valve 3/2 - poppet (Part number-319421) | ST | CUSTOM
50000816 | InlinepressurefilterHydratech1005247 | Part number-1005247 | ST | CUSTOM
50000817 | LevelgaugeHydratech1006701 | Part number-1006701 | ST | CUSTOM
50000818 | AccumulatorHydratech1006246 | Acc. diaphragm >3,00 - 4,00L (Part number-1006246) | ST | CUSTOM
50000819 | Minimess Conne M2,M3,MA1,MAB - 358702 | Test coupling, w. seal Part number-358702,Hydratech | ST | CUSTOM
50000820 | Hand Pump Hydratech 241378 | Part number-241378 | ST | CUSTOM
50000821 | Throttle valve Hydratech 211200/211205 | Throttle Catridge valve Hydratech- Part number 211200/211205 | ST | CUSTOM
50000822 | GateEiceDRIVER2ED300C17-SInfineon | Dual channel high voltage IGBT driver board | EA | CUSTOM
50000823 | CheckValve(Hydratech)104573 | Part number-104573 | ST | CUSTOM
50000824 | Pressure gauge ø63 Hydratech 1006922 | Part number-1006922 | ST | CUSTOM
50000825 | LevelswitchDIN43650Hydratech1005607 | Part number 1005607 | ST | CUSTOM
50000826 | GearpumpHydratech560002 | Gear pump Hydratech Part number-560002 | ST | CUSTOM
50000827 | Pos.30reliefvalveHydratech104305 | VSBN-08A 041149735635 35-350 Relief valve 175 bar (Part number-104305) | ST | CUSTOM
50000828 | Pos16.4reliefvalveHydratech1005595 | Position no.16.4 Cartridge releif valve Hydratech for ReGen 1.5 Mw (Part number-1005595) | ST | CUSTOM
50000829 | Pressure switch cap 4 pin Hydratech | Pressure switch cover cap 4 pin connector-Hydratech | ST | CUSTOM
50000830 | Pressureswitch1005303Hydratech | Main pressure switch 300 bar (Hydratech make) Part number 1005303 | ST | CUSTOM
50000831 | Pipe 50 mm HDPE | Pipe 50 mm HDPE for MCS system | M | CUSTOM
50000832 | Straight joint Coupler 50mm | Straight joint Coupler 50mm for MCS system | EA | CUSTOM
50000833 | Pipe 63 mm HDPE | Pipe 63 mm HDPE for MCS system | M | CUSTOM
50000835 | EarthingDCM8X6SqmmRingtypCULug | Earthing DC M8X6sqmm Type- Ring Al Lug MMS to MMS Earthing wityh Cable | NOS | STANDARD
50000836 | 70sqmmluglongbarreltype-Al9.4~10mm | 70Sqmm lug Long barrel type - Al 9.4~10mm | NOS | STANDARD
50000838 | 400/33KV PTR HV Bushing with gaskets |  | NOS | STANDARD
50000840 | 400/33KV PTR HV Neutral Bushings gaskets |  | NOS | STANDARD
50000841 | 400 /33 KV PTR LV Bushings with gaskets |  | NOS | STANDARD
50000842 | 400/33 KV PTR Winding Temp.Indicator |  | NOS | STANDARD
50000843 | 400/33KV PTR Oil Temperature Indicator |  | NOS | STANDARD
50000844 | 400/33 KV PTR Pressure Relief Device |  | NOS | STANDARD
50000845 | 400/33KV PTR Sudden pressure relay |  | NOS | STANDARD
50000846 | 400/33 KV PTR Buchholz Relay |  | NOS | STANDARD
50000847 | 400/33 KV PTR Silica Gel Breather |  | NOS | STANDARD
50000848 | 400/33 KV PTR Air cell |  | NOS | STANDARD
50000849 | 400/33 KV PTR Bushing Mounted CTs |  | SET | STANDARD
50000850 | 400/33 KV PTR Valves of each type & size |  | SET | STANDARD
50000851 | 400/33 KV PTR Plugs of each type & size |  | SET | STANDARD
50000852 | 400/33 KV PTR Gaskets complete set |  | SET | STANDARD
50000853 | 400/33 KV PTR Cooler unit with Fans(1no) |  | SET | STANDARD
50000854 | 400/33 KV PTR Flow indicator |  | NOS | STANDARD
50000855 | 400/33 KV HV terminal connector |  | SET | STANDARD
50000858 | Lugs Copper Ring Type M8X35mm2 | M8X35sq.mm Ring type Cu Lug | NOS | STANDARD
50000860 | Cu Lug Ring type M10X35sq.mm | M10X35sq.mm Ring type Cu Lug | NOS | STANDARD
50000863 | Cable gland Double comp type 1CX240 mm2 | Cable gland: Double compression: 1C X 240 Sqmm Alum. XLPE Arm cable (Suitable cable OD=28.5mm±2mm) | NOS | STANDARD
50000865 | Bi-metallic Ring Lugs-3Cx 120 Sq.mmxM12 | Bi-metallic Ring Lugs- 3Cx 120 Sq.mm x M12- Long Barrel Type | NOS | STANDARD
50000866 | Bi-metallic Ring Lugs-3Cx120 Sq.mm x M10 | Bi-metallic Ring Lugs- 3Cx 120 Sq.mm x M10- Long Barrel Type | NOS | STANDARD
50000867 | Al RingÃƒâ€šÃ‚Â Lugs-3x120 Sq.mm x M10Ãƒ | Aluminium Ring Lugs -3x 120 Sq.mm x M10 Long Barrel Type size | NOS | STANDARD
50000868 | Al Ring type Lugs- 1Cx240 Sq.mmxM12 | Aluminium Ring type Lugs- 1C 240 Sq.mm x M12 Long Barrel size | NOS | STANDARD
50000869 | Bi-metallic Ring ty Lugs-1CX240 SqMxM12 | Bi-metallic Ring type Lugs- 1C 240 Sq.mm x M12 Long Barrel size | NOS | STANDARD
50000870 | Al Lug Ring type M10X35sq.mm Tin Plated | M10X35sq.mm Ring type Alum. Lug (Tin Plated) | NOS | STANDARD
50000871 | Fastener M10x40 1B 1N 2PW 1SW HDG 5.6 | Earthing-Fastener M10x40 1B 1N 2PW 1SW HDG 5.6 | SET | STANDARD
50000872 | Galvalume AZ150 slit 350 MPA 2mm(BMT) | 2mm(BMT) Galvalume AZ150 slit 350 MPA | MT | STANDARD
50000873 | Galvalume AZ150 slit 350MPA 1.6mm(BMT) | 1.6mm(BMT) Galvalume AZ150 slit 350MPA | MT | STANDARD
50000874 | Galvalume AZ150 slit 550MPA 0.9mm(BMT) | 0.9mm(BMT) Galvalume AZ150 slit 550MPA | MT | STANDARD
50000875 | CT:220KV,200-150/1(5C),5P/PS/.2,30/20VA | CT:200-150/1-1-1-1-1, 220KV, 5P20/PS/PS/PS/0.2, 30VA(5P20)/20VA(0.2), H.S.V: 245kV, S.T.C: 40kA/1sec, IL-460/1050KV, KPV: 40(Rct+10) | EA | CUSTOM
50000876 | CT : 33kV, 200/1A, 0.2S, 5VA | CT: 200/1A, 33KV, 0.2S, 5VA, H.S.V: 36kV, IL-70/170KV, S.T.C: 25kA/1Sec, Any Vendor approved by AP & TS TRANSCO | EA | CUSTOM
50000877 | CT:33k,400-200/1-1A,0.2S/5P,5VA | CT: 400-200/1-1A, 33KV, 0.2S/5P10, 5VA, H.S.V: 36KV, IL-70/170KV, S.T.C: 25kA/1Sec Any Vendor approved by AP TRANSCO | EA | CUSTOM
50000880 | 400/33 KV PTR MagneticOilLevelGaugetank |  | NOS | STANDARD
50000881 | Oil(Spare)of10%indrumforeachtransformer |  | SET | STANDARD
50000883 | Front Bracing-1 CFCU-50X25x2L-1648.4 |  | NOS | STANDARD
50000884 | Rafter-2 CFCS-90CS40X10X1.6L-3500.3 |  | NOS | STANDARD
50000885 | Rear Bracing-1 CFCU-50X25x2L-1834 |  | NOS | STANDARD
50000886 | Rear Bracing-3 CFCU-60X30X1.6L-1834.7 |  | NOS | STANDARD
50000887 | Side Bracing-2 CFLU-40X40x2L-3312.6 |  | NOS | STANDARD
50000888 | HT Cable 33kv 3C X 185mm2 Al XLPE Armrd |  | M | STANDARD
50000889 | Contact frontFixScrew M22-K10,24V,3A,1NO | M22-K10 - Contact element, Screw terminals, Front fixing, 1 N/O, 24 V 3 A, NO-contact,front | EA | CUSTOM
50000890 | Mounting clamp M22-A ,3 contact elements | fixingadapterfor3contactelements, M22-A - Mounting clamp | EA | CUSTOM
50000891 | Changeover switch M22-WRK,RMQ-Titan-Grip | M22-WRK - Changeover switch, RMQ-Titan, With thumb-grip, maintained, selectorswitch;2positions | EA | CUSTOM
50000892 | On-Off switch P1-32/E-RT,32A,3P,MOE 3197 | P1-32/E-RT - On-Off switch, P1, 32 A, flush mounting, 3 pole, switch-disconnector;P1-32;32A | EA | CUSTOM
50000893 | Auxiliary contact HI11-P1/P3E - 1NO, 1NC | HI11-P1/P3E - Auxiliary contact, 1 N/O, 1 NC, For use with P1, P3 | EA | CUSTOM
50000894 | fuse terminal block INBS 10-8,2Conductor | Insertion bridge - INBS 10-8, 2-Conductor fuse terminal block | EA | CUSTOM
50000895 | Connector 7 poles FKC 2 5/ 7-ST-5 08 |  | EA | CUSTOM
50000896 | Connector 8 poles FKC 2 5/ 8-ST-5 08 |  | EA | CUSTOM
50000897 | Cable Duct 40X60X2000 (WXHXL) Slot Grey | B Type Halogen Free Duct 40X60X2000(WXHXL) Thin Slot - Grey | M | CUSTOM
50000898 | Support rail TBLS-35/15, 2mtr Perforated | steel support rail TBLS-35/15, 2mtr Perforated | EA | CUSTOM
50000899 | Cable ÖLFLEX CLASSIC 135 CH 7X0,75mm |  | M | CUSTOM
50000900 | Power Connectors 120A AWG 4 LOW DETENT | Heavy Duty Power Connectors PP120 # AWG 4 CONTACT LOW DETENT | EA | CUSTOM
50000901 | Power Connectors 120A, AWG2 CONTACT ONLY | Heavy Duty Power Connectors PP120 #2 AWG CONTACT ONLY, AWG2 | EA | CUSTOM
50000902 | Andreson connector Red + Blue, 35 sq.mm |  | EA | CUSTOM
50000903 | DC MPCB 80A ABB 1SDA066806R1 |  | EA | CUSTOM
50000904 | Miniature Circuit Breaker SB200M, 3P 20A |  | EA | CUSTOM
50000905 | SMD MOSFET 2N7002 ,N-Channel, 60V,SOT-23 | Power MOSFET, N Channel, 60 V, 115 mA, 1.2 ohm, SOT-23, Surface Mount | EA | CUSTOM
50000906 | SMD IC CAN transceiver PCA82C251 ,SOIC-8 |  | EA | CUSTOM
50000907 | IGBT Transistor , IGW50N60T , TO-247-3 |  | EA | CUSTOM
50000908 | IGBT Transistor , IKW30N60T , TO-247-3 |  | EA | CUSTOM
50000909 | Diode 1.5KE 16CA Bidirectional, DO-201-2 |  | EA | CUSTOM
50000910 | Resistor M.-F. 2R4 , 1W , 5% |  | EA | CUSTOM
50000911 | Fibre Optic Transceivers NTR-2234 |  | EA | CUSTOM
50000912 | Fibre Optic Transceivers AFCT-5805AZ |  | EA | CUSTOM
50000913 | Transformer HF Gate Drive VAC 4215X171 |  | EA | CUSTOM
50000914 | PSSCBMintegrationsystemcontrolpanel | Control Panel for Ethernet Gateway Device With Lora Module (Enclosure, Power Supply, assembly and Testing) and Interface Device for | EA | CUSTOM
50000915 | InterfaceDeviceofPSSCBMcontrolpanel | Interface Device for Transformer to Control panel | EA | CUSTOM
50000916 | USSTrafoMonitor.NPS04FTP-LAN,Ethernet | Analog to Ethernet MODBUS (TCPIP RTU) Device (Enclosure, Power supply, Assembly and Testing ) | EA | CUSTOM
50000917 | SMD Diode Bidire. CDSOT23-T03C ,SOT-23-3 |  | EA | CUSTOM
50000918 | SMD Resistors Current Sense 0R , 0603 |  | EA | CUSTOM
50000919 | SMD Optocoupler TCLT1109 , SOP-5 |  | EA | CUSTOM
50000920 | SMD Transistor PDTC143ZT , SOT-23-3 |  | EA | CUSTOM
50000921 | SMD Voltage Regula. LP2951-33DRG ,WSON-8 |  | EA | CUSTOM
50000922 | SMD Transistor BC846B , SOT-23-3 |  | EA | CUSTOM
50000923 | SMD Capacitor 10uF , 50V, X7R, 1210, 10% |  | EA | CUSTOM
50000924 | SMD Resistor 0R , 0603 |  | EA | CUSTOM
50000925 | SMD Resistor 31R , 1% , 0603 |  | EA | CUSTOM
50000926 | SMD Resistor 2R2 , 1%- , 1206 |  | EA | CUSTOM
50000927 | SMD Resistor 10K 0,125W 0,1% 0805 |  | EA | CUSTOM
50000928 | SMD Resistor 1K 0,125W 0,1% 0603 |  | EA | CUSTOM
50000929 | SMD IC Motordriver FSB50550US ,SPM5H-023 |  | EA | CUSTOM
50000930 | SMD Diode ESD5V0K5 ,SOT-363,SC88-6,6pins |  | EA | CUSTOM
50000931 | MOSFET N-Channel SPA08N80C3 , TO-220-3 |  | EA | CUSTOM
50000932 | SMD Diode SM4007 -W , MELF |  | EA | CUSTOM
50000933 | Cartridge Fuses 5A , 250VAC , 5X20 |  | EA | CUSTOM
50000934 | MOSFET N-Ch IXKH20N60C5 , 600V, TO-247-3 |  | EA | CUSTOM
50000935 | Diode 1N5408 , 3A , DO-201AD |  | EA | CUSTOM
50000936 | Thermistor NTC 33 ohm, B57153S0330M000 | Thermistor,Current Limiter ICL NTC, 33 ohm, 20%, Radial Leaded, | EA | CUSTOM
50000937 | SMD Resistor 5 mili Ohms 2W ,1% , 4527 |  | EA | CUSTOM
50000938 | SMD IC Gate driver MC33152D , SOIC-8 |  | EA | CUSTOM
50000939 | Resistor ,M.-F. 10K , 0.60W , 1% |  | EA | CUSTOM
50000940 | Insulator SRC_33kV 10KN PIN_Over mould |  | NOS | STANDARD
50000941 | Insulator SRC_33kV 70KN Disc_Over mould |  | NOS | STANDARD
50000942 | Insulator SRC_33kV 90KN Disc_Over mould |  | NOS | STANDARD
50000943 | Insulator SRC_33kV 120KN Disc_Over mould |  | NOS | STANDARD
50000944 | HDG Pole_152x152 11Mtr 37.1Kg/M |  | MT | STANDARD
50000945 | HDG Pole_152x152 12Mtr 37.1Kg/M |  | MT | STANDARD
50000946 | HDG Pole_152x152 13Mtr 37.1Kg/M |  | MT | STANDARD
50000947 | HDG Pole_152x152 15Mtr 37.1Kg/M |  | MT | STANDARD
50000948 | HDG Base plate_250mm dia_6mm thick |  | MT | STANDARD
50000949 | HDG Structure_M+6 tower with fastners |  | MT | STANDARD
50000950 | Spares for isolators |  | SET | STANDARD
50000951 | Bus post insulator_ 220kV 8KN |  | NOS | STANDARD
50000952 | Bendonite Powder for earthing treatment |  | KGS | STANDARD
50000953 | Isolator-66kV 1250A with earth switch |  | NOS | STANDARD
50000954 | Isolator-66kV 1250A W/O switch |  | NOS | STANDARD
50000955 | SF6 Circuit Breaker_66kV_1250A |  | NOS | STANDARD
50000956 | Vacuum Circuit Breaker_33kV_1250A |  | NOS | STANDARD
50000957 | Isolator-33kV 1250A W/O switch |  | NOS | STANDARD
50000958 | Isolator-33kV 800A W/O switch | Isolator-33kV 800A W/O switch | NOS | STANDARD
50000959 | Isolator-33kV 800A with earth switch |  | NOS | STANDARD
50000960 | BATTERY_110V_100AH |  | NOS | STANDARD
50000961 | Float cum boost battery charger |  | NOS | STANDARD
50000962 | HDPE Hose pipe_Inner dia 40MM | Supply of HDPE Hose Pipe with Inner dia 40 mm , 6Kg/Cm^2 wall thickness 2.5mm, As per IS standard | M | STANDARD
50000963 | earthing conductor 9.4-10mm Dia |  | NOS | STANDARD
50000964 | Fastener M8X30 1Nut,1B,2PW,1SW, SS 304 |  | SET | STANDARD
50000965 | Fastener M8X35 1Nut,1B,2PW,1SW, SS 304 |  | SET | STANDARD
50000966 | Fastener M12X30 1Nut,1B,2PW,1SW, HDG 5.6 |  | SET | STANDARD
50000967 | Circuit Breaker 420kV 2000A, 50KA 1 sec | "420kV Circuit Breaker 2000A, 50KA for 1 sec. without closing resistor without CSD, interpole cable and support structure" | NOS | STANDARD
50000968 | isolator 420kV 2000A 50KA with one E/S | "420kV, Isolator including support insulator 2000A, 50KA, isolator with one E/S, Horizontal Double Break including support insulator" | NOS | STANDARD
50000969 | isolator 420kV 2000A,50KA with two E/S | "420kV, Isolator including support insulator 2000A, 50KA, isolator with two E/S, Horizontal Double Break including support insulator" | NOS | STANDARD
50000970 | CT 420kV (6 Core) 2000-1000-500A, 50KA | "Current Transformers : Oil filled outdoor type Current Transformers 420kV (6 Core : PS, PS, 0.2S 20VA, 0.2S 20VA, PS, PS) Current Transformer (1- Phase), 2000-1000-500A, 50KA with 120% extended current rating (oil filled)" | NOS | STANDARD
50000971 | Capacitive voltage transformer 420kV | "Capacitive Voltage Transformers : Oil filled outdoor type Voltage Transformers 420kV Capacitive voltage transformer, 4400pf, 3P, 3P, 0.2, Core - 1, Acc. Cl: 0.2, Burden - 50VA Core - 2, Acc. Cl: 3P, Burden - 50VA Core - 3, Acc. Cl: 3P, Burden - 50VA" | NOS | STANDARD
50000973 | CT 420kV(2 Core)2000-1000-500/1-1A, 50kA | "420kV (2 Core) Current Transformer (1-Phase), 2000-1000-500/1-1A, 50kA with 120% extended current rating (oil filled), Core-1 : 0.2S, 5VA. Core-2: 0.2S, 5VA." | NOS | STANDARD
50000974 | ABT metering panel Outdoor | Outdoor ABT metering panel | NOS | STANDARD
50000976 | Surge Arrester336kV (1-phase),Cl.-4,20kA | Surge Arrester : 336kV Surge Arrester (1-phase), Cl.-4, 20kA | NOS | STANDARD
50000977 | CVT,2 core,420kV Acc.Cl: 0.2,Burden-10VA | 420kV CVT, 2 core, Acc. Cl: 0.2, Burden - 10VA | NOS | STANDARD
50000978 | BusPostInsulator 420kV(10500mm Creepage) | 420kV Bus Post Insulator (10500mm Creepage) , 8KN for Switchyard | LOT | STANDARD
50000979 | Wave trap 2000A,1 mH | Wave trap (Pedestal type) 2000A, 1 mH including support insulator | NOS | STANDARD
50000980 | FOTE system for 1 no. 400kV line | FOTE system for 1 no. 400kV line | LOT | STANDARD
50000981 | PLCC system for 1 nos. 400kV line | PLCC system for 1 nos. 400kV line | LOT | STANDARD
50000982 | CRP & SAS for 400kV bays | Control and Relay panel for 400kV bays <(>&<)> Substation Automation system | LOT | STANDARD
50000983 | Transformer 250kVA, 33kV/415V | 250kVA, 33kV/415V Transformer HV cable box and LV cable box | NOS | STANDARD
50000984 | LT Switchgear | LT Switchgear | LOT | STANDARD
50000985 | VRLA type battery 220V | "220V VRLA type battery (220V , 450AH, 108 nos. cell VRLA type battery for 8hrs Backup)" | NOS | STANDARD
50000986 | VRLA type battery 48V | "48V VRLA type battery (48V, 350AH, 24 nos. cell VRLA type battery for 8hrs backup )" | NOS | STANDARD
50000987 | Float Cum Boost Charger 220 V | 220 V Float Cum Boost Charger (220V 100/100A FCBC charger. | NOS | STANDARD
50000988 | Float Cum Boost Charger 48 V | 48 V - Float Cum Boost Charger -48V 60/60A FCBC charger. | NOS | STANDARD
50000989 | CONDUCTORS / AL. TUBE | CONDUCTORS / AL. TUBE | LOT | STANDARD
50000990 | INSULATOR & HARDWARE 420kV |  | LOT | STANDARD
50000991 | CLAMPS AND CONNECTORS 400 kV |  | LOT | STANDARD
50000992 | EARTHING MATERIAL | EARTHING MATERIAL | LOT | STANDARD
50000993 | STRUCTURE | STRUCTURE | LOT | STANDARD
50000994 | LIGHTNING PROTECTION MATERIAL |  | LOT | STANDARD
50000995 | TRENCH MATERIAL | TRENCH MATERIAL FOR COMPLETE SWITCHYARD | LOT | STANDARD
50000996 | POWER & CONTROL CABLES LT | LT POWER <(>&<)> CONTROL CABLES FOR COMPLETE SWITCHYARD | LOT | STANDARD
50000997 | ILLUMINATION SYSTEM | ILLUMINATION SYSTEM | LOT | STANDARD
50000998 | Air Conditioning System | Air Conditioning System for SPR <(>&<)> Switchyard control room | LOT | STANDARD
50000999 | FireDetectionsystemandfireextinguishers | Fire Detection system and fire extinguishers for control room <(>&<)> SPR | LOT | STANDARD
50001000 | TerminationKit33kV1C x185Sqmm at trafo | "Termination Kit (Indoor type) suit for 33kV 1C x185 Sqmm. Al XLPE Cable at Transfomer end. (1 set for 3ph cable)" | SET | STANDARD