## Sheet1
Customer Code | Job No | Production User | SE Code | SE Comments | CE Code | CE Comments | QE Code | QE Comments | QA Code | QA Comments | Activities | DE Comments | Corrected By | Accepted Date | Quality A/R | SlNo | Unique_ID | Descriotion1 | Descriotion2 | Mfr | Mfr Num | Ref name | Ref | Ref# | Refname_Ref# | MAPPED | UOM1 | QOE1 | GTIN1 | UOM2 | QOE2 | GTIN2 | UOM3 | QOE3 | GTIN3 | UOM4 | QOE4 | GTIN4 | Final URL | Status | Production Comments
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 32 | PG-100611 | 0.032" X 150CM, 3CM J -TIP FLEXIBLE PTFE | Guide Wires | Sunny Medical | SM-GW-3J32150P-TP | SUNNY | SM-GW-3J32150P-TP | SMGW3J32150PTP | SUNNY_SMGW3J32150PTP | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 33 | PG-100612 | 0.032" X 150CM, 3CM S -TIP FLEXIBLE PTFE | Guide Wires | Sunny Medical | SM-GW-3S32150P-TP | SUNNY | SM-GW-3S32150P-TP | SMGW3S32150PTP | SUNNY_SMGW3S32150PTP | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 39 | PG-100735 | 0.038" X 260CM, 3CM J-TIP FLEXIBLE PTFE WITH N DISPENSER | Guide Wires | Sunny Medical | SM-GW-3J38260P-TP | SUNNY | SM-GW-3J38260P-TP | SMGW3J38260PTP | SUNNY_SMGW3J38260PTP | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 40 | PG-100736 | 0.038" X 260CM, 3CM S -TIP FLEXIBLE PTFE WITH N DISPENSER | Guide Wires | Sunny Medical | SM-GW-3S38260P-TP | SUNNY | SM-GW-3S38260P-TP | SMGW3S38260PTP | SUNNY_SMGW3S38260PTP | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 194 | PG-102385 | 151295 ¦¦ Catheter Suction, 5FG,W/ Finger Tip Control, St.,2 Lateral Eyes Tube With Marks, Cat.No.101529 | [20 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 433 | PG-111152 | Anal Probe, Dimensions: Length: 110mm, Diameter 19.6mm (Widest Point) |  | Tenscare | X-PR13 | Tenscare | X-PR13 | XPR13 | Tenscare_XPR13 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 766 | PG-259214 | BALLOON GUIDE CATHETER 8F 85CM | BALLOON GUIDE CATHETER 8F 85CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 867 | PG-120456 | BICARBON FITLINE AORTIC, Mechanical Bileaflet - INTRA-ANNULAR POSITION, Size 19mm | Valve Aortic Prosthetic Bileaflet (Mechanical) Intra annular - Adult Sterile Single Patient Use Size 19 | Sorin S.p.A. | ICV0917 | SORIN | ICV0917 | ICV0917 | SORIN_ICV0917 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 891 | PG-121032 | BIOL.FREEDOM SOLO ART19SG | Valve Aortic Pericardial Bioprosthesis Bovine Non-Stented Sterile Single Patient Use 19 mm | Sorin S.p.A. | ICV0900 | SORIN | ICV0900 | ICV0900 | SORIN_ICV0900 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 976 | PG-126987 | Carbomedics Carbo- Seal Ascending Aortic Prosthesis with Mechanical Bileaflet Heart Valve . 25MM | Valve Conduit Aortic (Mechanical Valve w/ Attached Dacron Vascular Graft) Sterile Single Patient Use 25 mm | Sorin S.p.A. | AP-025 | SORIN | AP-025 | AP025 | SORIN_AP025 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 977 | PG-126993 | Carbomedics Carbo- Seal VALSALVA Ascending Aortic Prosthesis with Mechanical Bileaflet Heart Valve - 21MM | Valve Conduit Aortic with pre-formed sinuses of Valsalva (Mechanical Valve w/ Attached Dacron Vascular Graft) Sterile Single Patient Use 21 mm | Sorin S.p.A. | CP-021 | SORIN | CP-021 | CP021 | SORIN_CP021 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 978 | PG-126998 | Carbomedics Standard Aortic Mechanical Bileaflet Valve - Size 16mm | Valve Aortic Prosthetic Bileaflet (Mechanical) Supra annular - Adult Sterile Single Patient Use Size 16 | Sorin S.p.A. | A5-016 | SORIN | A5-016 | A5016 | SORIN_A5016 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 988 | PG-127325 | carnelien coiling cathter , Dmso and Glue Compatible , particle injection , wire included Distal (F) 1.7*110cm 45 | carnelien coiling cathter , Dmso and Glue Compatible , particle injection , wire included Distal (F) 1.7*110cm 45 | Tokai Medical Products, Inc | MSVS110M-E | Tokai | MSVS110M-E | MSVS110ME | Tokai_MSVS110ME | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 989 | PG-127326 | carnelien coiling cathter , Dmso and Glue Compatible , particle injection , wire included Distal (F) 1.7*110cm Straight | carnelien coiling cathter , Dmso and Glue Compatible , particle injection , wire included Distal (F) 1.7*110cm Straight | Tokai Medical Products, Inc | MSVS110-E | Tokai | MSVS110-E | MSVS110E | Tokai_MSVS110E | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 990 | PG-127327 | carnelien coiling cathter , Dmso and Glue Compatible , particle injection , wire included Distal (F) 1.7*110cm W | carnelien coiling cathter , Dmso and Glue Compatible , particle injection , wire included Distal (F) 1.7*110cm W | Tokai Medical Products, Inc | MSVS110W-E | Tokai | MSVS110W-E | MSVS110WE | Tokai_MSVS110WE | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 991 | PG-127332 | carnelien coiling cathter , Dmso and Glue Compatible , particle injection , wire included Distal (F) 1.8*110cm Cobra | carnelien coiling cathter , Dmso and Glue Compatible , particle injection , wire included Distal (F) 1.8*110cm Cobra | Tokai Medical Products, Inc | MSV110Q-E | Tokai | MSV110Q-E | MSV110QE | Tokai_MSV110QE | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 992 | PG-127362 | carnelien 2.2 cobra with wire coiling cathter , Dmso and Glue Compatible , particle injection , wire included Distal (F) 2.2*110cm Cobra | carnelien 2.2 cobra with wire coiling cathter , Dmso and Glue Compatible , particle injection , wire included Distal (F) 2.2*110cm Cobra | Tokai Medical Products, Inc | MCV110Q-E + wire | Tokai | MCV110Q-E + wire | MCV110QEwire | Tokai_MCV110QEwire | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1008 | PG-127735 | CATH CV PERMICATH 28GA 20CM | CATHETER, CENTRAL VENOUS, PERMICATH, POLYURETHANE, L20 CM, OD28 GA, 0.014 ML, MID LONG TERM, WITH INTRODUCER | VYGON CORP | 1261.207 | VYGON | 1261.207 | 1261207 | VYGON_1261207 | Exact Match | [12 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1016 | PG-259253 | CATHETER ATHERECTOMY SYSTEM 1.8MM X 130CM 5FR | CATHETER ATHERECTOMY SYSTEM 1.8MM X 130CM 5FR | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1017 | PG-259257 | CATHETER ATHERECTOMY SYSTEM 2.2MM X 130CM 6FR DEFLECTED | CATHETER ATHERECTOMY SYSTEM 2.2MM X 130CM 6FR DEFLECTED | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1018 | PG-259225 | CATHETER BALLOON PTA FOR INTRACRANIAL 1.5MM X 9MM | CATHETER BALLOON PTA FOR INTRACRANIAL 1.5MM X 9MM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1019 | PG-259262 | CATHETER BALLOON PTA OTW 1.5MM X 70MM X 150CM | CATHETER BALLOON PTA OTW 1.5MM X 70MM X 150CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1021 | PG-259316 | Catheter Central And Arterial Lines 18 gauge 8cm Single Lumen | Catheter Central And Arterial Lines 18 gauge 8cm Single Lumen | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1022 | PG-259322 | Catheter Central And Arterial Lines 4.5 French 6 cm triple lumen | Catheter Central And Arterial Lines 4.5 French 6 cm triple lumen | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1024 | PG-259213 | CATHETER CENTRAL VENOUS DOUBLE LUMEN 6F X 60CM | CATHETER CENTRAL VENOUS DOUBLE LUMEN 6F X 60CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1026 | PG-259212 | CATHETER CEREBRAL ANGIOGRAPHIC BEACON TIP 5FR 100CM | CATHETER CEREBRAL ANGIOGRAPHIC BEACON TIP 5FR 100CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1027 | PG-259209 | CATHETER CEREBRAL ANGIOGRAPHIC SIM2 5FR 100CM | CATHETER CEREBRAL ANGIOGRAPHIC SIM2 5FR 100CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1028 | PG-259211 | CATHETER CEREBRAL ANGIOGRAPHIC VITEK 5FR 125CM | CATHETER CEREBRAL ANGIOGRAPHIC VITEK 5FR 125CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1031 | PG-258993 | Catheter cover Individually Packed | Catheter cover Individually Packed | Tek-Medi | RHSRD100 | Tek-Medi | RHSRD100 | RHSRD100 | Tek-Medi_RHSRD100 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1052 | PG-259323 | Catheter Intravenous Peripheral G24 Without Safety | Catheter Intravenous Peripheral G24 Without Safety | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1055 | PG-127858 | Catheter Locking solution Contains Taurolidine and 4% Citrate 5ml Ampule TAUROLOCK | Catheter Locking solution Contains Taurolidine and 4% Citrate 5ml Ampule TAUROLOCK | TAUROPHARM | TP-01 | TAUROPHARM | TP-01 | TP01 | TAUROPHARM_TP01 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1056 | PG-127859 | Catheter Locking solution Contains Taurolidine, 4% Citrate and 100 IU/mL Heparin 3ml Vial TAUROLOCK HEP 100 | Catheter Locking solution Contains Taurolidine, 4% Citrate and 100 IU/mL Heparin 3ml Ampule TAUROLOCK HEP 100 | TAUROPHARM | TP-03 | TAUROPHARM | TP-03 | TP03 | TAUROPHARM_TP03 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1057 | PG-127860 | Catheter Locking Solution Contains Taurolidine, 4% Citrate and 500 IU/mL Heparin 5ml Ampule TAUROLOCK HEP 500 | Catheter Locking Solution Contains Taurolidine, 4% Citrate and 500 IU/mL Heparin 5ml Ampule TAUROLOCK HEP 500 | TAUROPHARM | TP-02 | TAUROPHARM | TP-02 | TP02 | TAUROPHARM_TP02 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1058 | PG-259216 | CATHETER MICRO 0.027 FLEX STRAIGHT 150CM | CATHETER MICRO 0.027 FLEX STRAIGHT 150CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1059 | PG-259215 | CATHETER MICRO 0.027 STRAIGHT 150CM | CATHETER MICRO 0.027 STRAIGHT 150CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1078 | PG-259266 | CATHETER PTA BALLOON NON COMPLIANT 5.5MM X 20MM | CATHETER PTA BALLOON NON COMPLIANT 5.5MM X 20MM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1079 | PG-259282 | CATHETER PTCA DILATATION BALLOON 3.25MM X 10MM | CATHETER PTCA DILATATION BALLOON 3.25MM X 10MM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1084 | PG-259204 | CATHETER SET STRAIGHT NON SPLIT TUNNELED 14.5F X 24CM | CATHETER SET STRAIGHT NON SPLIT TUNNELED 14.5F X 24CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1108 | PG-128016 | Catheter Urinary Intermittent Single Lumen Hydrophilic POBE 18Fr x 40cm Lofric | Catheter Urinary Intermittent Single Lumen Hydrophilic POBE 18Fr x 40cm Lofric | Wellspect HealthCare | 4001800 | WELLSPECT HEALTHCARE | 4001800 | 4001800 | WELLSPECT HEALTHCARE_4001800 | Exact Match | [12 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1568 | PG-130427 | Central Venous Catheter with Subcutaneous Cuff, Silicone, Size 2.7Fr |  | VYGON | 2191.27 | VYGON | 2191.27 | 219127 | VYGON_219127 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1652 | PG-133192 | COBALT CHROMIUM STENT MOUNTED ON PTCA BALLOON CATHETER SIZE 2.50x18MM BRAND: ANGSTROM II | BARE METAL STENTS | VASMED TECHNOLOGIES LIMITED | VM-AII-250-18 | VASMED | VM-AII-250-18 | VMAII25018 | VASMED_VMAII25018 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1669 | PG-133790 | Combined Insertion instrument for insertion of catheter ( 80-806-92 ) , Combined Insertion set : three color coded distal angled attachments 30, 45 , 70 , Combined insertion instrument ( 80-806-90 ) | Combined Insertion instrument for insertion of catheter ( 80-806-92 ) , Combined Insertion set : three color coded distal angled attachments 30, 45 , 70 , Combined insertion instrument ( 80-806-90 ) | Spiggle & Theis Medizintechnik | 80-806-91 | SPIGGLE | 80-806-91 | 8080691 | SPIGGLE_8080691 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1724 | PG-135163 | CONTRACEPTIVE INTRA-UTERINE DEVICE¦¦ Copper wire on plastic 7-shaped carrier | CONTRACEPTIVE INTRA-UTERINE DEVICE¦¦ Copper wire on plastic 7-shaped carrier | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1728 | PG-135255 | Control Suction Catheter 10Fr, 29mm, 50Pcs/Box |  | VYGON | 535.10 | VYGON | 535.10 | 53510 | VYGON_53510 |  | Ea | 1 | 03660812124911 | Bx | 50 | 33660812124912 | Ca | 9 | 53660812124916 |  |  |  | https://accessgudid.nlm.nih.gov/devices/03660812124911 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1729 | PG-135271 | Control valve suction catheter, two side opposite holes, with graduation mark, Sterile, Single Patient use, Size 16 | Control valve suction catheter, two side opposite holes, with graduation mark, Sterile, Single Patient use, Size 16 | SUMI | 71-1620 | SUMI | 71-1620 | 711620 | SUMI_711620 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 1964 | PG-136194 | CORONARY COVERED STENTS 2.25 x 13 | CORONARY COVERED STENTS | InSitu Technologies Inc | 7622513.0 |  | 7622513.0 | 76225130 | 76225130 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2084 | PG-139925 | CVC Antibiotics Impregnated Rifampicin and Micanazole Triple Lumen Multicath w/ Nitinol J Guidewire 4.5Fr L 06cm | CVC Antibiotics Impregnated Rifampicin and Micanazole Triple Lumen Multicath w/ Nitinol J Guidewire 4.5Fr L 06cm / Box Of 10 | VYGON | 6233.063 | VYGON | 6233.063 | 6233063 | VYGON_6233063 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2198 | PG-259203 | DIALYSIS CATHETER REPAIR KIT | DIALYSIS CATHETER REPAIR KIT | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2205 | PG-144938 | Digital IVUS Catheter WITH IMAGING DIAMETER OF 20mm AND WORKING LENGTH 150cm | INTRAVASCULARULTRASOUND (IVUS) CATHETER | Volcano Corporation | 85900P | VOLCANO | 85900P | 85900P | VOLCANO_85900P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2283 | PG-148925 | DRUG ELUTING STENTS 4.0 x 16 | DRUG ELUTING STENTS | Translumina GmbH | YCPC4016 | Translumina | YCPC4016 | YCPC4016 | Translumina_YCPC4016 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2415 | PG-151839 | Endoscopic haemostatic EndoLoop catheter Reusable 2.1mm/165CM | DETACHABLE SNARE ENDOLOOP | Suntech/Leomed | STD-1650 | SUNTECH | STD-1650 | STD1650 | SUNTECH_STD1650 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2474 | PG-152715 | EP Deflectable Recording Catheter, 20-Poles, ViaCath 20 | EP Deflectable Recording Catheter, 20-Poles, ViaCath 20 | VascoMed GmbH | 351201 | VascoMed | 351201 | 351201 | VascoMed_351201 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2476 | PG-152718 | EP Deflectable Recording Catheter, Decapolar, ViaCath 10 Extra large 2-10-2 mm 6F 110 cm | EP Deflectable Recording Catheter, Decapolar, ViaCath 10 Extra large 2-10-2 mm 6F 110 cm | VascoMed GmbH | 370144 | VascoMed | 370144 | 370144 | VascoMed_370144 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2477 | PG-152720 | EP Deflectable Recording Catheter, Decapolar, ViaCath 10 Large 2-6-2 mm 6F 110 cm | EP Deflectable Recording Catheter, Decapolar, ViaCath 10 Large 2-6-2 mm 6F 110 cm | VascoMed GmbH | 358797 | VascoMed | 358797 | 358797 | VascoMed_358797 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2478 | PG-152724 | EP Deflectable Recording Catheter, Decapolar, ViaCath 10 Standard 2-6-2 mm 6F 110 cm | EP Deflectable Recording Catheter, Decapolar, ViaCath 10 Standard 2-6-2 mm 6F 110 cm | VascoMed GmbH | 351200 | VascoMed | 351200 | 351200 | VascoMed_351200 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2479 | PG-152726 | EP Deflectable Recording Catheter, Octapolar, ViaCath 8 Standard 5 mm 6F 110 cm | EP Deflectable Recording Catheter, Octapolar, ViaCath 8 Standard 5 mm 6F 110 cm | VascoMed GmbH | 351198 | VascoMed | 351198 | 351198 | VascoMed_351198 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2480 | PG-152728 | EP Deflectable Recording Catheter, Quadripolar, ViaCath 4 Standard 10 mm 6F 110 cm | EP Deflectable Recording Catheter, Quadripolar, ViaCath 4 Standard 10 mm 6F 110 cm | VascoMed GmbH | 351196 | VascoMed | 351196 | 351196 | VascoMed_351196 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2483 | PG-152745 | EP Recording Catheter, Decapolar, MultiCath 10C Cournand 2 mm 5F 80 cm | EP Recording Catheter, Decapolar, MultiCath 10C Cournand 2 mm 5F 80 cm | VascoMed GmbH | 351179 | VascoMed | 351179 | 351179 | VascoMed_351179 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2484 | PG-152747 | EP Recording Catheter, Decapolar, MultiCath 10J CS Josephson 2-8-2 mm 6F 110 cm | EP Recording Catheter, Decapolar, MultiCath 10J CS Josephson 2-8-2 mm 6F 110 cm | VascoMed GmbH | 351191 | VascoMed | 351191 | 351191 | VascoMed_351191 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2485 | PG-152751 | EP Recording Catheter, Decapolar, MultiCath 10J Josephson 2 mm 6F 110 cm | EP Recording Catheter, Decapolar, MultiCath 10J Josephson 2 mm 6F 110 cm | VascoMed GmbH | 351186 | VascoMed | 351186 | 351186 | VascoMed_351186 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2486 | PG-152755 | EP Recording Catheter, Decapolar, MultiCath 10J Josephson special 2-8-2 mm 5F 100 cm | EP Recording Catheter, Decapolar, MultiCath 10J Josephson special 2-8-2 mm 5F 100 cm | VascoMed GmbH | 359389 | VascoMed | 359389 | 359389 | VascoMed_359389 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2487 | PG-152757 | EP Recording Catheter, Decapolar, MultiCath 10J sp Josephson special 2 mm 5F 80 cm | EP Recording Catheter, Decapolar, MultiCath 10J sp Josephson special 2 mm 5F 80 cm | VascoMed GmbH | 351174 | VascoMed | 351174 | 351174 | VascoMed_351174 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2490 | PG-152763 | EP Recording Catheter, Quadripolar, MultiCath 4C Cournand 5 mm 4F 100 cm | EP Recording Catheter, Quadripolar, MultiCath 4C Cournand 5 mm 4F 100 cm | VascoMed GmbH | 356726 | VascoMed | 356726 | 356726 | VascoMed_356726 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2491 | PG-152771 | EP Recording Catheter, Quadripolar, MultiCath 4C SoftTip Cournand 5 mm 6F 110 cm | EP Recording Catheter, Quadripolar, MultiCath 4C SoftTip Cournand 5 mm 6F 110 cm | VascoMed GmbH | 351183 | VascoMed | 351183 | 351183 | VascoMed_351183 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2492 | PG-152773 | EP Recording Catheter, Quadripolar, MultiCath 4D Damato 5 mm 6F 110 cm | EP Recording Catheter, Quadripolar, MultiCath 4D Damato 5 mm 6F 110 cm | VascoMed GmbH | 351189 | VascoMed | 351189 | 351189 | VascoMed_351189 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2493 | PG-152775 | EP Recording Catheter, Quadripolar, MultiCath 4D la Damato large 2-5-2 mm 5F 80 cm | EP Recording Catheter, Quadripolar, MultiCath 4D la Damato large 2-5-2 mm 5F 80 cm | VascoMed GmbH | 351176 | VascoMed | 351176 | 351176 | VascoMed_351176 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2494 | PG-152777 | EP Recording Catheter, Quadripolar, MultiCath 4D SoftTip Damato 5 mm 6F 110 cm | EP Recording Catheter, Quadripolar, MultiCath 4D SoftTip Damato 5 mm 6F 110 cm | VascoMed GmbH | 351181 | VascoMed | 351181 | 351181 | VascoMed_351181 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2495 | PG-152779 | EP Recording Catheter, Quadripolar, MultiCath 4D st Damato standard 2-5-2 mm 5F 80 cm | EP Recording Catheter, Quadripolar, MultiCath 4D st Damato standard 2-5-2 mm 5F 80 cm | VascoMed GmbH | 351175 | VascoMed | 351175 | 351175 | VascoMed_351175 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2496 | PG-152781 | EP Recording Catheter, Quadripolar, MultiCath 4HIS 5mm 5F 100 cm | EP Recording Catheter, Quadripolar, MultiCath 4HIS 5mm 5F 100 cm | VascoMed GmbH | 359385 | VascoMed | 359385 | 359385 | VascoMed_359385 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2497 | PG-152783 | EP Recording Catheter, Quadripolar, MultiCath 4J Josephson 5 mm 6F 110 cm | EP Recording Catheter, Quadripolar, MultiCath 4J Josephson 5 mm 6F 110 cm | VascoMed GmbH | 351185 | VascoMed | 351185 | 351185 | VascoMed_351185 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2498 | PG-152785 | EP Recording Catheter, Quadripolar, MultiCath 4J SoftTip Josephson 5 mm 6F 110 cm | EP Recording Catheter, Quadripolar, MultiCath 4J SoftTip Josephson 5 mm 6F 110 cm | VascoMed GmbH | 351182 | VascoMed | 351182 | 351182 | VascoMed_351182 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2499 | PG-152787 | EP Recording Catheter, Quadripolar, MultiCath 4J sp 4F Josephson special 2-5-2 mm 4F 100 cm | EP Recording Catheter, Quadripolar, MultiCath 4J sp 4F Josephson special 2-5-2 mm 4F 100 cm | VascoMed GmbH | 356727 | VascoMed | 356727 | 356727 | VascoMed_356727 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2500 | PG-152789 | EP Recording Catheter, Quadripolar, MultiCath 4J sp Josephson special 2 mm 5F 80 cm | EP Recording Catheter, Quadripolar, MultiCath 4J sp Josephson special 2 mm 5F 80 cm | VascoMed GmbH | 351170 | VascoMed | 351170 | 351170 | VascoMed_351170 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2501 | PG-152799 | EP Recording Catheter, Quadripolar, MultiCath 4M Multipurpose 5 mm 5F 100 cm | EP Recording Catheter, Quadripolar, MultiCath 4M Multipurpose 5 mm 5F 100 cm | VascoMed GmbH | 359387 | VascoMed | 359387 | 359387 | VascoMed_359387 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2502 | PG-152803 | EP Recording Catheter, Quadripolar, MultiCath 4M SoftTip Multipurpose 5 mm 6F 110 cm | EP Recording Catheter, Quadripolar, MultiCath 4M SoftTip Multipurpose 5 mm 6F 110 cm | VascoMed GmbH | 351180 | VascoMed | 351180 | 351180 | VascoMed_351180 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2521 | PG-153064 | Epistaxis Balloon Catheter, silicone, sterile (Size: standard).Double-balloon catheter with two independently inflatable balloons. Smaller balloon (10 cc) serves for stopping the bleeding in the nasopharynx, larger balloon (30 cc) | Epistaxis Balloon Catheter, silicone, sterile (Size: standard).Double-balloon catheter with two independently inflatable balloons. Smaller balloon (10 cc) serves for stopping the bleeding in the nasopharynx, larger balloon (30 cc) stops bleeding within the main nasal cavity. Integral airway allows post-op nasal breathing | Spiggle & Theis Medizintechnik | 2040200 | SPIGGLE | 2040200 | 2040200 | SPIGGLE_2040200 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2586 | PG-155597 | External Male Urinary Catheter Self Adhering Adhesive Silicone Sheath Sterile Single Use Short 36mm, II type size 36mm | External Male Urinary Catheter Self Adhering Adhesive Silicone Sheath Sterile Single Use Short 36mm, II type size 36mm | Well Lead Medical Co. Ltd | F03A023610 | WELL LEAD | F03A023610 | F03A023610 | WELL LEAD_F03A023610 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2587 | PG-155602 | External Male Urinary Catheter Self Adhering Adhesive Silicone Sheath Sterile Single Use Standard 20- 28mm, I type size 25mm | External Male Urinary Catheter Self Adhering Adhesive Silicone Sheath Sterile Single Use Standard 20- 28mm, I type size 25mm | Well Lead Medical Co. Ltd | F03A012510 | WELL LEAD | F03A012510 | F03A012510 | WELL LEAD_F03A012510 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2661 | PG-158909 | Foley Catheter Holder, Universal Size | Foley Catheter Holder, Universal Size | VEGAMED | 72-8250 | VEGAMED | 72-8250 | 728250 | VEGAMED_728250 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2671 | PG-158935 | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, Green, Size 14Ch, Length 400mm, Balloon: 30mL | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, Green, Size 14Ch, Length 400mm, Balloon: 30mL | ZARYS International Group | CFTL-2D-14-30-P | Zarys | CFTL-2D-14-30-P | CFTL2D1430P | Zarys_CFTL2D1430P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2672 | PG-158937 | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, Orange, Size 16Ch, Length 400mm, Balloon: 30mL | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, Orange, Size 16Ch, Length 400mm, Balloon: 30mL | ZARYS International Group | CFTL-2D-16-30-P | Zarys | CFTL-2D-16-30-P | CFTL2D1630P | Zarys_CFTL2D1630P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2673 | PG-158939 | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, Purple, Size 22Ch, Length 400mm, Balloon: 5-10mL | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, Purple, Size 22Ch, Length 400mm, Balloon: 5-10mL | ZARYS International Group | CFTL-2D-22-10-P | Zarys | CFTL-2D-22-10-P | CFTL2D2210P | Zarys_CFTL2D2210P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2674 | PG-158940 | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, Red, Size 18Ch, Length 400mm, Balloon: 30mL | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, Red, Size 18Ch, Length 400mm, Balloon: 30mL | ZARYS International Group | CFTL-2D-18-30-P | Zarys | CFTL-2D-18-30-P | CFTL2D1830P | Zarys_CFTL2D1830P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2675 | PG-158942 | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, White, Size 12Ch, Length 400mm, Balloon: 30mL | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, White, Size 12Ch, Length 400mm, Balloon: 30mL | ZARYS International Group | CFTL-2D-12-30-P | Zarys | CFTL-2D-12-30-P | CFTL2D1230P | Zarys_CFTL2D1230P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2676 | PG-158944 | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, Yellow, Size 20Ch, Length 400mm, Balloon: 30mL | Foley Catheter, 2-Way with Tiemann Tip, Silicone-Coated Latex, Sterile, Yellow, Size 20Ch, Length 400mm, Balloon: 30mL | ZARYS International Group | CFTL-2D-20-30-P | Zarys | CFTL-2D-20-30-P | CFTL2D2030P | Zarys_CFTL2D2030P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2677 | PG-158946 | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Dark Blue, Size 24Ch, Length 400mm, Balloon 30mL | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Dark Blue, Size 24Ch, Length 400mm, Balloon 30mL | ZARYS International Group | CFNL-2D-24-30-L | Zarys | CFNL-2D-24-30-L | CFNL2D2430L | Zarys_CFNL2D2430L | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2678 | PG-158948 | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Green, Size 14Ch, Length 400mm, Balloon 5-10mL | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Green, Size 14Ch, Length 400mm, Balloon 5-10mL | ZARYS International Group | CFNL-2D-14-10-L | Zarys | CFNL-2D-14-10-L | CFNL2D1410L | Zarys_CFNL2D1410L | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2679 | PG-158949 | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Orange, Size 16Ch, Length 400mm, Balloon 30mL | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Orange, Size 16Ch, Length 400mm, Balloon 30mL | ZARYS International Group | CFNL-2D-16-30-L | Zarys | CFNL-2D-16-30-L | CFNL2D1630L | Zarys_CFNL2D1630L | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2680 | PG-158951 | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Pink, Size 26Ch, Length 400mm, Balloon 5-10mL | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Pink, Size 26Ch, Length 400mm, Balloon 5-10mL | ZARYS International Group | CFNL-2D-26-10-L | Zarys | CFNL-2D-26-10-L | CFNL2D2610L | Zarys_CFNL2D2610L | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2681 | PG-158952 | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Purple, Size 22Ch, Length 400mm, Balloon 30mL | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Purple, Size 22Ch, Length 400mm, Balloon 30mL | ZARYS International Group | CFNL-2D-22-30-L | Zarys | CFNL-2D-22-30-L | CFNL2D2230L | Zarys_CFNL2D2230L | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2682 | PG-158954 | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Red, Size 18Ch, Length 400mm, Balloon 30mL | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Red, Size 18Ch, Length 400mm, Balloon 30mL | ZARYS International Group | CFNL-2D-18-30-L | Zarys | CFNL-2D-18-30-L | CFNL2D1830L | Zarys_CFNL2D1830L | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2683 | PG-158956 | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, White, Size 12Ch, Length 400mm, Balloon 5-10mL | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, White, Size 12Ch, Length 400mm, Balloon 5-10mL | ZARYS International Group | CFNL-2D-12-10-L | Zarys | CFNL-2D-12-10-L | CFNL2D1210L | Zarys_CFNL2D1210L | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2684 | PG-158957 | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, Dark Blue, Size 24Ch, Length 400mm, Balloon 5-10mL | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, Dark Blue, Size 24Ch, Length 400mm, Balloon 5-10mL | ZARYS International Group | CFNL-2D-24-10-P | Zarys | CFNL-2D-24-10-P | CFNL2D2410P | Zarys_CFNL2D2410P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2685 | PG-158958 | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, Orange, Size 16Ch, Length 400mm, Balloon 5-10mL | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, Orange, Size 16Ch, Length 400mm, Balloon 5-10mL | ZARYS International Group | CFNL-2D-16-10-P | Zarys | CFNL-2D-16-10-P | CFNL2D1610P | Zarys_CFNL2D1610P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2686 | PG-158959 | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, Purple, Size 22Ch, Length 400mm, Balloon 5-10mL | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, Purple, Size 22Ch, Length 400mm, Balloon 5-10mL | ZARYS International Group | CFNL-2D-22-10-P | Zarys | CFNL-2D-22-10-P | CFNL2D2210P | Zarys_CFNL2D2210P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2687 | PG-158960 | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, Red, Size 18Ch, Length 400mm, Balloon 5-10mL | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, Red, Size 18Ch, Length 400mm, Balloon 5-10mL | ZARYS International Group | CFNL-2D-18-10-P | Zarys | CFNL-2D-18-10-P | CFNL2D1810P | Zarys_CFNL2D1810P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2688 | PG-158961 | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, White, Size 12Ch, Length 400mm, Balloon 5-10mL | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, White, Size 12Ch, Length 400mm, Balloon 5-10mL | ZARYS International Group | CFNL-2D-12-10-P | Zarys | CFNL-2D-12-10-P | CFNL2D1210P | Zarys_CFNL2D1210P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2689 | PG-158962 | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, Yellow, Size 20Ch, Length 400mm, Balloon 5-10mL | Foley Catheter, 2-Way, Silicone-Coated Latex, Sterile, with Plastic Valve, Yellow, Size 20Ch, Length 400mm, Balloon 5-10mL | ZARYS International Group | CFNL-2D-20-10-P | Zarys | CFNL-2D-20-10-P | CFNL2D2010P | Zarys_CFNL2D2010P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2690 | PG-158963 | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Yellow, Size 20Ch, Length 400mm, Balloon 30mL | Foley Catheter, 2-way, Silicone-Coated Latex, Sterile, Yellow, Size 20Ch, Length 400mm, Balloon 30mL | ZARYS International Group | CFNL-2D-20-30-L | Zarys | CFNL-2D-20-30-L | CFNL2D2030L | Zarys_CFNL2D2030L | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 2864 | PG-163554 | GuideLiner V3 Catheter: Guide extension with half pipe channel design, smooth delivery of the devices. Size: 5 Fr.Wor king Length- 150cm | GuideLiner V3 Catheter: Guide extension with half pipe channel design, smooth delivery of the devices. Size: 5 Fr.Wor king Length- 150cm | Vasular Solutions LLC | 5569 | Vasular Solutions | 5569 | 5569 | Vasular Solutions_5569 |  | Ea | 1 | M20655690 | [9 empty] | https://accessgudid.nlm.nih.gov/devices/M20655690 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3072 | PG-258999 | HSG CATHETER 5F - 10/BX <TM1154> | HSG CATHETER 5F - 10/BX <TM1154> | THOMAS MEDICAL | R57422 | THOMAS | R57422 | R57422 | THOMAS_R57422 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3292 | PG-171600 | Intravitreal Pack | [20 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3314 | PG-171700 | INTROL MENINGITIS/ENCEPHALITIS CTRL PNEL |  |  |  |  | M262 | M262 | M262 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3332 | PG-259280 | IVUS CATHETER SHORT TIP ROTATIONAL 5FR 14MM, 135MM | IVUS CATHETER SHORT TIP ROTATIONAL 5FR 14MM, 135MM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3345 | PG-173302 | Jelco 2 I.V. Catheter with Injection Valve, Radiopaque, Flow Rate 100ml/min, Size 18G x 45mm | Catheter Peripheral Intravenous with Wings Ported Sterile Single Use 18G x 45-51mm | Smiths Medical | MR18-AI | SMITHS | MR18-AI | MR18AI | SMITHS_MR18AI | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3346 | PG-173308 | Jelco I.V. Catheter, Radiopaque, Flow Rate 100ml/min, Size 18G x 45mm | Catheter Peripheral Intravenous without Wings Non-Ported Sterile Single Use 18G x 45-51mm | Smiths Medical | 4034-AI | SMITHS | 4034-AI | 4034AI | SMITHS_4034AI | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3347 | PG-173316 | Jelco Seriva IV Catheter Radiopaque with FLASH-VUE Catheter Window, FEP, Flow Rate 17ml/min, Size 26Ga x 19mm | Catheter Peripheral Intravenous without Wings Non-Ported Sterile Single Use 26G x 14-19mm | Smiths Medical | 8352 | SMITHS | 8352 | 8352 | SMITHS_8352 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3348 | PG-173317 | Jelco Seriva IV Catheter Radiopaque with FLASH-VUE Catheter Window, PUR, Flow Rate 200ml/min, Size 16Ga x 45mm | Catheter Peripheral Intravenous without Wings Non-Ported Sterile Single Use 16G x 50mm | Smiths Medical | 8361 | SMITHS | 8361 | 8361 | SMITHS_8361 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3349 | PG-173323 | Jelco Seriva Sideport IV Catheter Radiopaque with FLASH-VUE Catheter Window, FEP, Flow Rate 17ml/min, Size 26Ga x 19mm | Catheter Peripheral Intravenous without Wings Non-Ported Sterile Single Use 26G x 14-19mm | Smiths Medical | 8392 | SMITHS | 8392 | 8392 | SMITHS_8392 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3350 | PG-173324 | Jelco Seriva Sideport IV Catheter Radiopaque with FLASH-VUE Catheter Window, PUR, Flow Rate 200ml/min, Size 16Ga x 45mm | Catheter Peripheral Intravenous without Wings Non-Ported Sterile Single Use 16G x 50mm | Smiths Medical | 8341 | SMITHS | 8341 | 8341 | SMITHS_8341 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3388 | PG-259325 | KIRSCHNER WIRE 2.0X150MM | KIRSCHNER WIRE 2.0X150MM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3647 | PG-179522 | Liberty Gold Vaginal Probe With Pointer, Diameter 26mm |  | Tenscare | X-VPG | Tenscare | X-VPG | XVPG | Tenscare_XVPG | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3661 | PG-181474 | LoFric Hydro‐Kit Nelaton 20cm CH08 POBE PVC Free | LoFric Hydro‐Kit Nelaton 20cm CH08 POBE PVC Free | Wellspect HealthCare | 4230800 | WELLSPECT HEALTHCARE | 4230800 | 4230800 | WELLSPECT HEALTHCARE_4230800 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3662 | PG-181504 | Lofric Origo Nelaton CH10 40cm-Sterile SU Hydrophilic ready to use intermittent catheter.Insertion grip for better grip and non-touch.PVC,/phthalates/latex Free.Smooth eyelets.Can attach to standard urine collection bag/Ext tube.Foldable | Lofric Origo Nelaton CH10 40cm-Sterile SU Hydrophilic ready to use intermittent catheter.Insertion grip for better grip and non-touch.PVC,/phthalates/latex Free.Smooth eyelets.Can attach to standard urine collection bag/Ext tube.Foldable | Wellspect HealthCare | 4431000 | WELLSPECT HEALTHCARE | 4431000 | 4431000 | WELLSPECT HEALTHCARE_4431000 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3663 | PG-181509 | LoFric Primo Nelaton 20cm CH16 POBE PVC Free | LoFric Primo Nelaton 20cm CH16 POBE PVC Free | Wellspect HealthCare | 4131600 | WELLSPECT HEALTHCARE | 4131600 | 4131600 | WELLSPECT HEALTHCARE_4131600 | Exact Match | [12 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3664 | PG-181519 | Lofric Primo Nelaton CH12-20cm-Sterile SU Hydrophilic ready to use intermittent catheter.Insertion grip-Non touch.PVC/phthalates/latex Free.Smooth eyelets.Can attach to standard urine collection bag/Ext tube.Foldable/discreet. | Lofric Primo Nelaton CH12-20cm-Sterile SU Hydrophilic ready to use intermittent catheter.Insertion grip-Non touch.PVC/phthalates/latex Free.Smooth eyelets.Can attach to standard urine collection bag/Ext tube.Foldable/discreet. | Wellspect HealthCare | 4131200 | WELLSPECT HEALTHCARE | 4131200 | 4131200 | WELLSPECT HEALTHCARE_4131200 | Exact Match | [12 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3665 | PG-181527 | Lofric Primo Nelaton pead CH06-20cm-Sterile SU Hydrophilic ready to use intermittent catheter. Insertion grip-Non touch. PVC/phthalates/latex Free. Smooth eyelets. Can attach to standard urine collection bag/ext tube.Foldable/discreet. | Lofric Primo Nelaton pead CH06-20cm-Sterile SU Hydrophilic ready to use intermittent catheter. Insertion grip-Non touch. PVC/phthalates/latex Free. Smooth eyelets. Can attach to standard urine collection bag/ext tube.Foldable/discreet. | Wellspect HealthCare | 4110600 | WELLSPECT HEALTHCARE | 4110600 | 4110600 | WELLSPECT HEALTHCARE_4110600 | Exact Match | [12 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3667 | PG-181534 | Lofric Sense Nelaton CH08 15cm-Sterile SU Hydrophilic ready to use Intermittent catheter. with Handle for good grip and non-touch. PVC/phthalates/latex free.Smooth eyelets.Can attach to standard urine collection bag /Ext tube. | Lofric Sense Nelaton CH08 15cm-Sterile SU Hydrophilic ready to use Intermittent catheter. with Handle for good grip and non-touch. PVC/phthalates/latex free.Smooth eyelets.Can attach to standard urine collection bag /Ext tube. | Wellspect HealthCare | 4160800 | WELLSPECT HEALTHCARE | 4160800 | 4160800 | WELLSPECT HEALTHCARE_4160800 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3699 | PG-184079 | MALLEABLE VENT CATHETER, 1.25 in / 3.2 cm, Rounded Distal Tip With Opening, 15 in / 38.1 cm Length, With Internal Malleable Stylet. 18 Fr | Cannula Left Atrium Vent Standard Adult Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | VT-46118 | SORIN | VT-46118 | VT46118 | SORIN_VT46118 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3769 | PG-187328 | MGX250635 ¦¦ CATHETERIZATION KITS, ARTERIAL LEADER FLEX SELDINGER TECHNIQUE 20G 6CM LENGTH (1211.06) |  | VYGON | 1211.06 | VYGON | 1211.06 | 121106 | VYGON_121106 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3854 | PG-189667 | MKE298606 ¦¦ DISPOSABLE GUIDE WIRE .035 INCH/400CM L 3CM TIP ANGLED | [20 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3856 | PG-189685 | MKE299244 ¦¦ INJECTORS VARICES,INNER CATHETER SIZE 4.0FR LENGTH 200-240CM,MIDDLE GAUGE 25 TIP EXTENSION 4MM OUTER SIZE 7.0FR THUMB RING HANDLE | [20 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3864 | PG-191365 | MPK-10-R 2.0 m for MultiCath: 5, 6 and 10 poles, Woxx: 10 poles, ViaCath: 8 and 10 poles, Lexx: 10 poles | MPK-10-R 2.0 m for MultiCath: 5, 6 and 10 poles, Woxx: 10 poles, ViaCath: 8 and 10 poles, Lexx: 10 poles | VascoMed GmbH | 353173 | VascoMed | 353173 | 353173 | VascoMed_353173 |  | Ea | 1 | 04035479092429 | [9 empty] | https://accessgudid.nlm.nih.gov/devices/04035479092429 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3865 | PG-191366 | MPK-4-R 2.0 m for MultiCath: 2 and 4 poles, Woxx: 4 poles, ViaCath: 4 poles | MPK-4-R 2.0 m for MultiCath: 2 and 4 poles, Woxx: 4 poles, ViaCath: 4 poles | VascoMed GmbH | 353177 | VascoMed | 353177 | 353177 | VascoMed_353177 |  | Ea | 1 | 04035479092436 | [9 empty] | https://accessgudid.nlm.nih.gov/devices/04035479092436 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 3875 | PG-191684 | MS4198210 ¦¦ KIT CATHETER PEDIATRIC 3.5FR |  | UTAH | 4193507 | UTAH | 4193507 | 4193507 | UTAH_4193507 | Exact Match | Ea | 1 | H67141935070 | Bx | 10 | H67141935071 | [6 empty] | https://accessgudid.nlm.nih.gov/devices/H67141935070 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4172 | PG-200735 | ORT384856 ¦¦ PCL SAFETY GUIDE WIRE | [20 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4177 | PG-201408 | OTHER NONVASCULAR DEVICES / KITS SPINE Balloon kyphoplasty system (automatic mixture) AUTOPLEX W/VERTAPLEX HV/IVAS 10G ACCESS SYSTEM (15/2)/VERTEPORT CMT CAN 10G/Hand drill |  | STRYKER | 0607687000,'0705115000,'0306410000,'0306810000 | STRYKER | 0607687000,'0705115000,'0306410000,'0306810000 | 0607687000070511500003064100000306810000 | STRYKER_0607687000070511500003064100000306810000 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4178 | PG-201409 | OTHER NONVASCULAR DEVICES / KITS SPINE Balloon kyphoplasty system (automatic mixture) AUTOPLEX W/VERTAPLEX HV/IVAS 10G SYSTEM KIT (10/2)/VERTEPORT CMT CAN 10G/Hand drill |  | STRYKER | 0607687000,'0705110000,'0306410000,'0306810000 | STRYKER | 0607687000,'0705110000,'0306410000,'0306810000 | 0607687000070511000003064100000306810000 | STRYKER_0607687000070511000003064100000306810000 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4179 | PG-201410 | OTHER NONVASCULAR DEVICES / KITS SPINE Balloon kyphoplasty system (manual mixture) IVAS 10G ACCESS SYSTEM (15/2)/VERTAPLEX 20 GRAM TWIN PACK (1/2 DOSE)/PCD-PRECISION SYSTEM 910GNEED/VERTEPORT CMT CAN 10G (18/PKG)/Hand drill |  | STRYKER | 0705115000,'0406402000,'0506489000,'0306410000,'0306810000 | STRYKER | 0705115000,'0406402000,'0506489000,'0306410000,'0306810000 | 07051150000406402000050648900003064100000306810000 | STRYKER_07051150000406402000050648900003064100000306810000 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4180 | PG-201411 | OTHER NONVASCULAR DEVICES / KITS SPINE Balloon kyphoplasty system (manual mixture) IVAS 10G SYSTEM KIT (10/2)/VERTAPLEX 20 GRAM TWIN PACK (1/2 DOSE)/PCD-PRECISION SYSTEM 910GNEED/VERTEPORT CMT CAN 10G (18/PKG)/Hand drill |  | STRYKER | 0705110000,'0406402000,'0506489000,'0306410000,'0306810000 | STRYKER | 0705110000,'0406402000,'0506489000,'0306410000,'0306810000 | 07051100000406402000050648900003064100000306810000 | STRYKER_07051100000406402000050648900003064100000306810000 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4204 | PG-202268 | Paclitaxel 6 mg/ml Concentrate For Dilution For Infusion 5 ml Glass Vial | [20 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4236 | PG-203667 | Pediatric CVC Triple Lumen Multicath w/Nitinol Kink- resistant J guide wire 4.5Fr 6 cm | Pediatric CVC Triple Lumen Multicath w/Nitinol Kink- resistant J guide wire 4.5Fr 6 cm / Box Of 10 | VYGON | 1233.062 | VYGON | 1233.062 | 1233062 | VYGON_1233062 | Exact Match | [12 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4357 | PG-205948 | PICC line Infant Preterm for Parenteral Nutirition 28gx30cm Permicath | PICC line Infant Preterm for Parenteral Nutirition 28gx30cm Permicath 10/Bx | VYGON | 1261.306 | VYGON | 1261.306 | 1261306 | VYGON_1261306 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4390 | PG-212078 | Post-Dilatation Catheter - Size L | Post-dilatation Catheter for Aortic Valve Biological Sutureless 28 mm | Sorin S.p.A. | ICV1170 | SORIN | ICV1170 | ICV1170 | SORIN_ICV1170 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4391 | PG-212079 | Post-Dilatation Catheter - Size M | Post-dilatation Catheter for Aortic Valve Biological Sutureless 26 mm | Sorin S.p.A. | ICV1149 | SORIN | ICV1149 | ICV1149 | SORIN_ICV1149 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4392 | PG-212080 | Post-Dilatation Catheter - Size S | Post-dilatation Catheter for Aortic Valve Biological Sutureless 24 mm | Sorin S.p.A. | ICV1148 | SORIN | ICV1148 | ICV1148 | SORIN_ICV1148 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4393 | PG-212081 | Post-Dilatation Catheter - Size XL | Post-dilatation Catheter for Aortic Valve Biological Sutureless 30 mm | Sorin S.p.A. | ICV1234 | SORIN | ICV1234 | ICV1234 | SORIN_ICV1234 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4441 | PG-214627 | PROTECTIV PLUS Safety IV Catheters, Radiopaque, Gray, OCRILON Polyurethane, Size 16G x 1-1/4" | Catheter Peripheral Intravenous Shielded without Wings Non-Ported Sterile Single Use 16G x 50mm | Smiths Medical | 306239 | SMITHS | 306239 | 306239 | SMITHS_306239 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4442 | PG-214628 | PROTECTIV PLUS Safety IV Catheters, Radiopaque, Green, OCRILON Polyurethane, Size 18G x 1-1/4" | Catheter Peripheral Intravenous Shielded without Wings Non-Ported Sterile Single Use 18G x 32mm | Smiths Medical | 306539 | SMITHS | 306539 | 306539 | SMITHS_306539 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4443 | PG-214629 | PROTECTIV PLUS Safety IV Catheters, Radiopaque, Orange, OCRILON Polyurethane, Size 14G x 1-1/4" | Catheter Peripheral Intravenous Shielded without Wings Non-Ported Sterile Single Use 14G x 30mm | Smiths Medical | 306839 | SMITHS | 306839 | 306839 | SMITHS_306839 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4444 | PG-214630 | PROTECTIV PLUS Safety IV Catheters, Radiopaque, Pink, OCRILON Polyurethane, Size 20G x 1" | Catheter Peripheral Intravenous Shielded without Wings Non-Ported Sterile Single Use 20G x 25mm | Smiths Medical | 306739 | SMITHS | 306739 | 306739 | SMITHS_306739 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4445 | PG-214631 | PROTECTIV PLUS-W Safety IV Catheter, Winged, Radiopaque, Blue, OCRILON Polyurethane, Size 22G x 1" | Catheter Peripheral Intravenous Shielded with Wings Non-Ported Sterile Single Use 22G x 25mm | Smiths Medical | 308039 | SMITHS | 308039 | 308039 | SMITHS_308039 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4446 | PG-214632 | PROTECTIV PLUS-W Safety IV Catheter, Winged, Radiopaque, Green, OCRILON Polyurethane, Size 18G x 1-1/4" | Catheter Peripheral Intravenous Shielded with Wings Non-Ported Sterile Single Use 18G x 32mm | Smiths Medical | 308539 | SMITHS | 308539 | 308539 | SMITHS_308539 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4447 | PG-214633 | PROTECTIV PLUS-W Safety IV Catheter, Winged, Radiopaque, Yellow, OCRILON Polyurethane, Size 24G x 5/8" | Catheter Peripheral Intravenous Shielded with Wings Non-Ported Sterile Single Use 24G x 14-19mm | Smiths Medical | 308339 | SMITHS | 308339 | 308339 | SMITHS_308339 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4497 | PG-215462 | PTCA BALLOON CATHETER (SEMI COMPLIANT) SIZE 2.50x10MM BRAND: VAS TRACK | SEMI COMPLIANT BALLOONS DILATATION CATHETERS | VASMED TECHNOLOGIES LIMITED | VM-VT-250-10 | VASMED | VM-VT-250-10 | VMVT25010 | VASMED_VMVT25010 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4498 | PG-215532 | PTCA BALLOON CATHETER (SEMI COMPLIANT) SIZE 1.50x10MM (DOUBLE MARKER) BRAND: FAST TRACK | SEMI-COMPLIANT BALLOONS DILATATION CATHETERS | VASMED TECHNOLOGIES LIMITED | VM-FTII-150-10 | VASMED | VM-FTII-150-10 | VMFTII15010 | VASMED_VMFTII15010 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4499 | PG-215533 | PTCA BALLOON CATHETER (SEMI COMPLIANT) SIZE 1.50x10MM (SINGLE MARKER) BRAND: FAST TRACK | SEMI-COMPLIANT BALLOONS DILATATION CATHETERS | VASMED TECHNOLOGIES LIMITED | VM-FT-150-10 | VASMED | VM-FT-150-10 | VMFT15010 | VASMED_VMFT15010 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4750 | PG-219830 | RETROGRADE CARDIOPLEGIA CANNULAE, MANUAL INFLATING, SILICONE CANNULA AND SILICONE BALLOON without Stylet | Cannula Retrograde Cardioplegia with occlusion balloon and stylet Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | RCM-14510 | SORIN | RCM-14510 | RCM14510 | SORIN_RCM14510 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4751 | PG-219831 | RETROGRADE CARDIOPLEGIA CANNULAE, MANUAL INFLATING, SILICONE CANNULA AND SILICONE BALLOON with Guidewire Stylet.. 10 Fr | Cannula Retrograde Cardioplegia with occlusion balloon and stylet Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | RCM-14110 | SORIN | RCM-14110 | RCM14110 | SORIN_RCM14110 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4752 | PG-219833 | RETROGRADE CARDIOPLEGIA CANNULAE, MANUAL INFLATING, SILICONE CANNULA AND SILICONE BALLOON with Solid Malleable Stylet... 15 Fr | Cannula Retrograde Cardioplegia with occlusion balloon and stylet Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | RCM-14215 | SORIN | RCM-14215 | RCM14215 | SORIN_RCM14215 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4753 | PG-219834 | RETROGRADE CARDIOPLEGIA CANNULAE, SELF INFLATING, WITH GUIDEWIRE STYLET PVC CANNULA AND PVC BALLOON..14 mm balloon, 14 Fr | Cannula Retrograde Cardioplegia with occlusion balloon and stylet Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | RCS-11114 | SORIN | RCS-11114 | RCS11114 | SORIN_RCS11114 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4754 | PG-219837 | RETROGRADE CARDIOPLEGIA CANNULAE, SELF INFLATING, WITH SOLID MALLEABLE STYLET PVC CANNULA AND PVC BALLOON 14 mm balloon, 14 Fr | Cannula Retrograde Cardioplegia with occlusion balloon and stylet Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | RCS-11214 | SORIN | RCS-11214 | RCS11214 | SORIN_RCS11214 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4755 | PG-219840 | RETROGRADE CARDIOPLEGIA CANNULAE, SELF INFLATING, WITH SOLID MALLEABLE STYLET WITH HANDLE PVC CANNULA AND PVC BALLOON 14 mm balloon, 14 Fr | Cannula Retrograde Cardioplegia with occlusion balloon and stylet Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | RCS-11314 | SORIN | RCS-11314 | RCS11314 | SORIN_RCS11314 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4837 | PG-226978 | Seldipur Smartmidline Polyurethane Single Lumen Peripheral Venous Catheter Kit 2Fr, Length 4cm, Steel | Seldipur Smartmidline Polyurethane Single Lumen Peripheral Venous Catheter Kit 2Fr, Length 4cm, Steel ( BOX OF 10) | VYGON | 128.1204 | VYGON | 128.1204 | 1281204 | VYGON_1281204 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4838 | PG-226979 | Seldipur Smartmidline Polyurethane Single Lumen Peripheral Venous Catheter Kit 2Fr, Length 6cm Nitinol | Seldipur Smartmidline Polyurethane Single Lumen Peripheral Venous Catheter Kit 2Fr, Length 6cm Nitinol ( BOX of 10) | VYGON | 128.12062 | VYGON | 128.12062 | 12812062 | VYGON_12812062 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4839 | PG-226980 | Seldipur Smartmidline Polyurethane Single Lumen Peripheral Venous Catheter Kit 3Fr, Length 8cm | Seldipur Smartmidline Polyurethane Single Lumen Peripheral Venous Catheter Kit 3Fr, Length 8cm ( BOX of 10) | VYGON | 128.13082 | VYGON | 128.13082 | 12813082 | VYGON_12813082 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4843 | PG-227216 | Self-Adhesive Electrode for Exilis, (EKON-ELADULTREM) | [20 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 4855 | PG-227620 | SEQSTUDIO CATHODE BUFFER CONT KIT | SEQSTUDIO CATHODE BUFFER CONT KIT | THERMO | A33401 | THERMO | A33401 | A33401 | THERMO_A33401 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5072 | PG-232455 | SPATZ3 ONE YEAR ADJUSTABLE INTRAGASTRIC BALLOON | BARIATRIC INTRAGASTRIC BALLOON | SPATZ | ASP-303K | SPATZ | ASP-303K | ASP303K | SPATZ_ASP303K | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5132 | PG-259265 | STENT CAROTID 7MM X 40MM X 135CM | STENT CAROTID 7MM X 40MM X 135CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5140 | PG-259206 | STENT GRAFT FOR ENDOPROSTHESIS 5MM X 5CM X 120CM | STENT GRAFT FOR ENDOPROSTHESIS 5MM X 5CM X 120CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5146 | PG-259267 | STENT PERIPHERAL 5MM X 100MM 120CM | STENT PERIPHERAL 5MM X 100MM 120CM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5149 | PG-259217 | STENT SYSTEM NEUROVASCULAR 3MM X 15MM | STENT SYSTEM NEUROVASCULAR 3MM X 15MM | [19 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5281 | PG-236844 | Sterile and Disposable NAGI Metallic stent,For Pancreatic pseudocyst drainage , wide and smooth flare edges,Retrieval string for repositioning and easy removal,Diameter-10mm,Length-2cm,Delivery system-9FR,Length-180cm | GASTROCYSTOSTOMY METALLIC STENT | Taewoong Medical | BS 1002 FW | TAEWOONG | BS 1002 FW | BS1002FW | TAEWOONG_BS1002FW | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5282 | PG-236848 | Sterile and Disposable Niti S Beta Esophageal stent,For leak or fistula after bariatric surgery,fully covered,Stent size Diameter-18mm, Length-8cm,Delivery system length-70cm | POST BARIATRIC LEAKAGE STENT | Taewoong Medical | EK 1808 FNT2 | TAEWOONG | EK 1808 FNT2 | EK1808FNT2 | TAEWOONG_EK1808FNT2 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5288 | PG-236880 | Sterile and Disposable SPAXUS Metallic stent,For pancreatic pseudocyst for gallbladder drainage,Stent size Diameter-10mm,Length-2cm,Delivery system-10FR,Length-180cm | GASTROCYSTOSTOMY METALLIC STENT | Taewoong Medical | SS 1002 FW | TAEWOONG | SS 1002 FW | SS1002FW | TAEWOONG_SS1002FW | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5293 | PG-237041 | Sterile skin marker with ruler and extra long sucrub resistent ink 1447XLSR-100 | Surgical site marking pens Sterile Single use full range assorted size | Viscot Medical, LLC | 1447XLSR-100 | VISCOT | 1447XLSR-100 | 1447XLSR100 | VISCOT_1447XLSR100 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5373 | PG-259087 | Suction Catheter with Vacuum Control, Sterile, Size 12Ch, Length 600mm, White. | Suction Catheter with Vacuum Control, Sterile, Size 12Ch, Length 600mm, White. | Zarys Int’l Grp, Poland/China |  | Zarys | CO-A12-60 | COA1260 | Zarys_COA1260 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5424 | PG-238958 | Sure-Pro embryo replacement catheter with Stylet | Embryo transfer Catheters | Smiths Medical International | PPS623 | SMITHS | PPS623 | PPS623 | SMITHS_PPS623 |  | Ea | 1 | 00888937021271 | Bx | 10 | 20888937021275 | Bx | 10 | 30888937021272 |  |  |  | https://accessgudid.nlm.nih.gov/devices/00888937021271 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5426 | PG-259091 | Surfcath Catheter of L-20cm, 6 Fr | Surfcath Catheter of L-20cm, 6 Fr | Vygon |  | VYGON | 5590.106 | 5590106 | VYGON_5590106 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5427 | PG-238971 | SURFCATH Surfactant Administration Catheter 6Fr, Length 20cm, 10Pcs/Box |  | VYGON | 5590.106 | VYGON | 5590.106 | 5590106 | VYGON_5590106 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5435 | PG-240139 | SXMU2550 ¦¦ Nelaton Catheter, straight-Length: 40cm, size:24Fr Cat # 220500-24 | [20 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5444 | PG-259014 | Taurolock Hep500 Catheter | Taurolock Hep500 Catheter | Tauropharm GmbH/ GERMANY |  | TAUROPHARM |  |  | TAUROPHARM | Exact Match | [12 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5452 | PG-241728 | TEKNIMED - B-Two ® Vertebral Balloon Expand, Size 10 | TEKNIMED - B-Two ® Vertebral Balloon Expand, Size 10 | Teknimed S.A | T102010 | Teknimed | T102010 | T102010 | Teknimed_T102010 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5453 | PG-241729 | TEKNIMED - B-Two ® Vertebral Balloon Expand, Size 10 (extra balloon) | TEKNIMED - B-Two ® Vertebral Balloon Expand, Size 10 (extra balloon) | Teknimed S.A | T101010 | Teknimed | T101010 | T101010 | Teknimed_T101010 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5455 | PG-241906 | Temperature Sensing Foley Catheter 100% silicone sterile single use standard length with preattached sensing cable 18 Fr., size 18fr 30ml | Temperature Sensing Foley Catheter 100% silicone sterile single use standard length with preattached sensing cable 18 Fr., size 18fr 30ml | Well Lead Medical Co. Ltd | F01C011810 | WELL LEAD | F01C011810 | F01C011810 | WELL LEAD_F01C011810 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5456 | PG-241912 | Temperature-Sensing Foley Catheter, YSI 400 Sensor, Adult, Size 12F | Temperature-Sensing Foley Catheter, YSI 400 Sensor, Adult, Size 12F | LEVEL 1 (SMITHS MEDICAL) | FC400-12 | SMITHS | FC400-12 | FC40012 | SMITHS_FC40012 |  | Ea | 1 | 10695085000488 | Bx | 20 | 30695085000482 | [6 empty] | https://accessgudid.nlm.nih.gov/devices/10695085000488 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5457 | PG-241916 | Temperature-Sensing Foley Catheter, YSI 400 Sensor, Pediatric, Size 10F | Temperature-Sensing Foley Catheter, YSI 400 Sensor, Pediatric, Size 10F | LEVEL 1 (SMITHS MEDICAL) | FC400-10 | SMITHS | FC400-10 | FC40010 | SMITHS_FC40010 |  | Ea | 1 | 10695085000471 | Bx | 20 | 30695085000475 | [6 empty] | https://accessgudid.nlm.nih.gov/devices/10695085000471 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5506 | PG-244583 | Titanium Extra Small Implant Port with Detachable Catheter 5.1Fr | Titanium Extra Small Implant Port with Detachable Catheter 5.1Fr | VYGON | 2211.91 | VYGON | 2211.91 | 221191 | VYGON_221191 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5508 | PG-245059 | TMPPED Balloon Catheter: The TMP PED Balloon Catheter is intended for use in Percutaneous Transluminal Valvuloplasty (PTV) of the aortic and pulmonary valves in neonatal and pediatric applications | TMPPED Balloon Catheter: The TMP PED Balloon Catheter is intended for use in Percutaneous Transluminal Valvuloplasty (PTV) of the aortic and pulmonary valves in neonatal and pediatric applications | Tokai Medical Products, Inc | PV060L20-F | Tokai | PV060L20-F | PV060L20F | Tokai_PV060L20F | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5509 | PG-245306 | Toray PTMC Balloon 24 | Toray PTMC Balloon 24 | TORAY | PTMC-24 | TORAY | PTMC-24 | PTMC24 | TORAY_PTMC24 | Exact Match | [12 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5579 | PG-246901 | Tripod-Fix VAS 5.0 | Tripod-Fix VAS 5.0 | Wiltrom | 40-465000 | Wiltrom | 40-465000 | 40465000 | Wiltrom_40465000 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5580 | PG-246946 | TRNTRY057FVG ¦¦ Exchange Transfusion Tray w/ 5 Fr / 7 Fr Catheters | Exchange Transfusion Tray w/ 5 Fr / 7 Fr Catheters | VYGON CORP | 275 | VYGON | 275 | 275 | VYGON_275 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5590 | PG-247478 | Tube Holder, Multi Purpose Medium, Non-Sterile | Tube Holder, Multi Purpose Medium, Non-Sterile | Well Lead Medical Co. Ltd | F05A010110 | WELL LEAD | F05A010110 | F05A010110 | WELL LEAD_F05A010110 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5606 | PG-247785 | Turnpike Gold Catheter:It consis of multilayer shaft but the soft polymer tip as other turnpike is replaced with a gold plated tip for better grip and advancement through tough/resistant lesion which can be seen in CTO Working Length:135cm | Turnpike Gold Catheter:It consis of multilayer shaft but the soft polymer tip as other turnpike is replaced with a gold plated tip for better grip and advancement through tough/resistant lesion which can be seen in CTO Working Length: 135cm | Vasular Solutions LLC | 5621 | Vasular Solutions | 5621 | 5621 | Vasular Solutions_5621 |  | Ea | 1 | M20656210 | [9 empty] | https://accessgudid.nlm.nih.gov/devices/M20656210 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5607 | PG-247786 | Turnpike Gold Catheter:It consist of multilayer shaft but the soft polymer tip as other turnpike is replaced with a gold plated tip for better grip and advancement through tough/resistant lesion which can be seen in CTO Working Length:150cm | Turnpike Gold Catheter:It consist of multilayer shaft but the soft polymer tip as other turnpike is replaced with a gold plated tip for better grip and advancement through tough/resistant lesion which can be seen in CTO Working Length:150cm | Vasular Solutions LLC | 5622 | Vasular Solutions | 5622 | 5622 | Vasular Solutions_5622 |  | Ea | 1 | M20656220 | [9 empty] | https://accessgudid.nlm.nih.gov/devices/M20656220 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5608 | PG-247787 | Turnpike LP Catheter : LP stands for low profile, the construction is same with multilayer shaft in addition to lower distal shaft proflie(1.6fr). low profile gives better access into a CTO. Working Length : 135cm | Turnpike LP Catheter : LP stands for low profile, the construction is same with multilayer shaft in addition to lower distal shaft proflie(1.6fr). low profile gives better access into a CTO. Working Length : 135cm | Vasular Solutions LLC | 5638 | Vasular Solutions | 5638 | 5638 | Vasular Solutions_5638 |  | Ea | 1 | M20656380 | [9 empty] | https://accessgudid.nlm.nih.gov/devices/M20656380 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5609 | PG-247789 | TURNPIKE SPIRAL: the catheters have multi layer shaft design(i.e dual layer coils and single layer braid).which provides impressive flexibility , tourque( both clock and anticlock) and tracking. Working Length : 135cm | TURNPIKE SPIRAL: the catheters have multi layer shaft design(i.e dual layer coils and single layer braid).which provides impressive flexibility , tourque( both clock and anticlock) and tracking. Working Length : 135cm | Vasular Solutions LLC | 5640 | Vasular Solutions | 5640 | 5640 | Vasular Solutions_5640 |  | Ea | 1 | M20656400 | [9 empty] | https://accessgudid.nlm.nih.gov/devices/M20656400 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5610 | PG-247791 | TURNPIKE: The catheters have multi layer shaft design(i.e dual layer coils and single layer braid).which provides impressive flexibility , tourque( both clock and anticlock) and tracking. Working Length : 135cm | TURNPIKE: The catheters have multi layer shaft design(i.e dual layer coils and single layer braid).which provides impressive flexibility , tourque( both clock and anticlock) and tracking. Working Length : 135cm | Vasular Solutions LLC | 5642 | Vasular Solutions | 5642 | 5642 | Vasular Solutions_5642 |  | Ea | 1 | M20656420 | [9 empty] | https://accessgudid.nlm.nih.gov/devices/M20656420 | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5723 | PG-249720 | Urethral Catheter Nelaton w/ Integral Funnel Two Lateral Eyes Rounded Closed Tip 10 Fr x 14/16cm, size 10fr length 220mm | Urethral Catheter Nelaton w/ Integral Funnel Two Lateral Eyes Rounded Closed Tip 10 Fr x 14/16cm, size 10fr length 220mm | Well Lead Medical Co. Ltd | F01D021010 | WELL LEAD | F01D021010 | F01D021010 | WELL LEAD_F01D021010 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5738 | PG-249880 | Urinary Catheter Foley 2-way Pediatric Silicone Elastomer Coated Latex W/ Stylet X-ray opaque line Sterile Single Use 2-3ml Balloon 10FR, size 10fr, balloon 3ml | Urinary Catheter Foley 2-way Pediatric Silicone Elastomer Coated Latex W/ Stylet X-ray opaque line Sterile Single Use 2-3ml Balloon 10FR, size 10fr, balloon 3ml | Well Lead Medical Co. Ltd | F01A061002 | WELL LEAD | F01A061002 | F01A061002 | WELL LEAD_F01A061002 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5763 | PG-250105 | UROMED »SIMPLYCATH« MOBIL SYSTEM Set for intermittent self-catheterization | UROMED »SIMPLYCATH« MOBIL SYSTEM Set for intermittent self-catheterization | UROMED | 3602-10 | UROMED | 3602-10 | 360210 | UROMED_360210 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5764 | PG-250110 | UROMED »SIMPLYCATH« SYSTEM Set for intermittent self-catheterization | UROMED »SIMPLYCATH« SYSTEM Set for intermittent self-catheterization | UROMED | 3601-10 | UROMED | 3601-10 | 360110 | UROMED_360110 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5766 | PG-250117 | UROMED »SIMPLYCATH« Transurethral prelubricated Nelaton Catheter for intermittent self-catheterization length = 20 cm | UROMED »SIMPLYCATH« Transurethral prelubricated Nelaton Catheter for intermittent self-catheterization length = 20 cm | UROMED | 3610-10 | UROMED | 3610-10 | 361010 | UROMED_361010 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5782 | PG-250168 | UROMED URETERAL CATHETER »DUOKATH« with cylindrical and Tiemann tip – can be applied on both sides alternatively! Polyamide, graduated bilateral, overall radiopaque, with instillation adapter | UROMED URETERAL CATHETER »DUOKATH« with cylindrical and Tiemann tip – can be applied on both sides alternatively! Polyamide, graduated bilateral, overall radiopaque, with instillation adapter | UROMED | 4082-04 | UROMED | 4082-04 | 408204 | UROMED_408204 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5783 | PG-250172 | UROMED URETERAL CATHETER PURgreen, Chevassu with bulbous whistle tip, with instillation adapter, | UROMED URETERAL CATHETER PURgreen, Chevassu with bulbous whistle tip, with instillation adapter, | UROMED | 4090-06 | UROMED | 4090-06 | 409006 | UROMED_409006 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5784 | PG-250176 | UROMED URETERAL CATHETER PURgreen, cylindrical tip , | UROMED URETERAL CATHETER PURgreen, cylindrical tip , | UROMED | 4070-04 | UROMED | 4070-04 | 407004 | UROMED_407004 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5785 | PG-250182 | UROMED URETERAL CATHETER PURgreen, TIEMANN TIP 1 eye, with instillation adapter, | UROMED URETERAL CATHETER PURgreen, TIEMANN TIP 1 eye, with instillation adapter, | UROMED | 4080-04 | UROMED | 4080-04 | 408004 | UROMED_408004 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5786 | PG-250186 | UROMED URETERAL CATHETER, TIEMANN TIP central open, curved, wide lumen, Polyamid for application of guidewires, especially Titan guidewire, 0,035" and Teflon coated guidewire, 0,038", | UROMED URETERAL CATHETER, TIEMANN TIP central open, curved, wide lumen, Polyamid for application of guidewires, especially Titan guidewire, 0,035" and Teflon coated guidewire, 0,038", | UROMED | 4081-05 | UROMED | 4081-05 | 408105 | UROMED_408105 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5789 | PG-250193 | UROMED-SILICONE-MALE-EXTERNAL-CATHETER »SPORTIV« - large adhesive surface | UROMED-SILICONE-MALE-EXTERNAL-CATHETER »SPORTIV« - large adhesive surface | UROMED | 4960-31 | UROMED | 4960-31 | 496031 | UROMED_496031 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5790 | PG-250197 | UROMED-SILICONE-MALE-EXTERNAL-CATHETER »STANDARD« - for the retracted penis | UROMED-SILICONE-MALE-EXTERNAL-CATHETER »STANDARD« - for the retracted penis | UROMED | 4940-28 | UROMED | 4940-28 | 494028 | UROMED_494028 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5972 | PG-253212 | Vent Catheters, PVC Tubing, Straight Bullet Tip, with Guidewire Stylet. 10Fr | Cannula Left Atrium Vent With stylet Adult Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | VT-84410 | SORIN | VT-84410 | VT84410 | SORIN_VT84410 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5973 | PG-253214 | Vent Catheters,PVC Tubing, 1 in / 2.5 cm, Open Blunt Tip, 17 in / 43.2 cm Length with Slip Connector, without Stylet 18 Fr | Cannula Left Atrium Vent With stylet Adult Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | VT-92116 | SORIN | VT-92116 | VT92116 | SORIN_VT92116 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5974 | PG-253215 | Vent Catheters,PVC Tubing, 4.25 in / 10.8 cm, Open Blunt Tip, 14 in / 35.5 cm Length, with Two Position Latching Stylet 16Fr | Cannula Left Atrium Vent With stylet Adult Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | VT-63218 | SORIN | VT-63218 | VT63218 | SORIN_VT63218 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5978 | PG-253398 | Ventricular Vent Catherters, PVC . .Closed Bullet Tip, with Slip Luer Connector, without Stylet 20Fr | Cannula Left Atrium Vent Standard Adult Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | VT-89620 | SORIN | VT-89620 | VT89620 | SORIN_VT89620 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5979 | PG-253401 | Ventricular Vent Catherters, PVC. Bullet tip with guidewire stylet with 1/4inch luer slip connector 16Fr | Cannula Left Atrium Vent With wiring and heavy tip Adult Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | VT-89416 | SORIN | VT-89416 | VT89416 | SORIN_VT89416 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 5980 | PG-253403 | VENTRICULAR VENT CATHETERS, SILICONE 2.75 in / 7 cm, Closed Bullet Tip, 15.5 in / 39.4 cm Length with Guidewire Stylet NEW 16Fr | Cannula Left Atrium Vent Standard Adult Sterile Single Patient Use Full range all sizes | Sorin S.p.A. | VT-57316 | SORIN | VT-57316 | VT57316 | SORIN_VT57316 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 6100 | PG-254533 | Vital-Gath TM Closed Suction Systems Adult Trache Tube Length 305 mm 14 FR Vital-Cath | Vital-Gath TM Closed Suction Systems Adult Trache Tube Length 305 mm 14 FR Vital-Cath | Vitaltec | 61140 | Vitaltec | 61140 | 61140 | Vitaltec_61140 | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 6102 | PG-254930 | VOLCANO PRIME WIRE |  | Volcano Corporation | 10185P | VOLCANO | 10185P | 10185P | VOLCANO_10185P | [13 empty] | url not found | Production Completed
DLG | 001 | SXH | [8 empty] | Data Extraction |  |  |  |  | 6238 | PG-256923 | XDIA1003¦¦Guide Wire Short 0.035"- 40Cm - J Curve | [20 empty] | url not found | Production Completed