## Sheet1
Project Code | File Name | Sheet Name | Griha_ID | Activities | Production User | Production Comments | Start Date | End Date | Remarks | S1 | S2 | S3 | Group | Type | Unit | ItemType | CATEGORY | Description | Reference URL | Reference URL1 | MANUFACTURER NAME | MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER | ALTERNATE MANUFACTURER PART NUMBER | VENDOR NAME | VENDOR PART NUMBER | UNSPSC 26.0801 | Enriched/Cleansed | NOUN | MODIFIER | ADDITIONAL INFO From Input | ADDITIONAL INFO From Web | ATTRIBUTE NAME 1 | ATTRIBUTEVALUE 1 | ATTRIBUTE NAME 2 | ATTRIBUTEVALUE 2 | ATTRIBUTE NAME 3 | ATTRIBUTEVALUE 3 | ATTRIBUTE NAME 4 | ATTRIBUTEVALUE 4 | ATTRIBUTE NAME 5 | ATTRIBUTEVALUE 5 | ATTRIBUTE NAME 6 | ATTRIBUTEVALUE 6 | ATTRIBUTE NAME 7 | ATTRIBUTEVALUE 7 | ATTRIBUTE NAME 8 | ATTRIBUTEVALUE 8 | ATTRIBUTE NAME 9 | ATTRIBUTEVALUE 9 | ATTRIBUTE NAME 10 | ATTRIBUTEVALUE 10 | ATTRIBUTE NAME 11 | ATTRIBUTEVALUE 11 | ATTRIBUTE NAME 12 | ATTRIBUTEVALUE 12 | ATTRIBUTE NAME 13 | ATTRIBUTEVALUE 13 | ATTRIBUTE NAME 14 | ATTRIBUTEVALUE 14 | ATTRIBUTE NAME 15 | ATTRIBUTEVALUE 15 | ATTRIBUTE NAME 16 | ATTRIBUTEVALUE 16 | ATTRIBUTE NAME 17 | ATTRIBUTEVALUE 17 | ATTRIBUTE NAME 18 | ATTRIBUTEVALUE 18 | Status
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_4034 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING GRIP: SIZE: 35-48mm, TYPE: | URL NOT FOUND | [7 empty] | 39121725 Electrical cable grip | CLEANSED | GRIP | CABLE/WIRE |  |  | TYPE | PULLING | CABLE/WIRE SIZE | 35 TO 48mm | RATING |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_4035 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING GRIP: SIZE: 75-95mm, TYPE: | URL NOT FOUND | [7 empty] | 39121725 Electrical cable grip | CLEANSED | GRIP | CABLE/WIRE |  |  | TYPE | PULLING | CABLE/WIRE SIZE | 75 TO 95mm | RATING |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_4036 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING GRIP: SIZE: 20-30mm, TYPE: | URL NOT FOUND | [7 empty] | 39121725 Electrical cable grip | CLEANSED | GRIP | CABLE/WIRE |  |  | TYPE | PULLING | CABLE/WIRE SIZE | 20 TO 30mm | RATING |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_4037 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING GRIP: SIZE: 30-40mm, TYPE: | URL NOT FOUND | [7 empty] | 39121725 Electrical cable grip | CLEANSED | GRIP | CABLE/WIRE |  |  | TYPE | PULLING | CABLE/WIRE SIZE | 30 TO 40mm | RATING |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_4038 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING GRIP: SIZE: 40-50mm, TYPE: | URL NOT FOUND | [7 empty] | 39121725 Electrical cable grip | CLEANSED | GRIP | CABLE/WIRE |  |  | TYPE | PULLING | CABLE/WIRE SIZE | 40 TO 50mm | RATING |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_4039 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING GRIP: SIZE: 50-60mm, TYPE: | URL NOT FOUND | [7 empty] | 39121725 Electrical cable grip | CLEANSED | GRIP | CABLE/WIRE |  |  | TYPE | PULLING | CABLE/WIRE SIZE | 50 TO 60mm | RATING |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_4040 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING GRIP: SIZE: 70-80mm, TYPE: | URL NOT FOUND | [7 empty] | 39121725 Electrical cable grip | CLEANSED | GRIP | CABLE/WIRE |  |  | TYPE | PULLING | CABLE/WIRE SIZE | 70 TO 80mm | RATING |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_4041 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING GRIP: SIZE: 80-100mm, TYPE: | URL NOT FOUND | [7 empty] | 39121725 Electrical cable grip | CLEANSED | GRIP | CABLE/WIRE |  |  | TYPE | PULLING | CABLE/WIRE SIZE | 80 TO 100mm | RATING |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13943 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 3cx10mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 3 | CONDUCTOR SIZE | 10MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13944 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 3cx6mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 3 | CONDUCTOR SIZE | 6MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13945 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 3cx35mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 3 | CONDUCTOR SIZE | 35MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13946 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 2cx25mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 2 | CONDUCTOR SIZE | 25MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13947 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 2cx16mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 2 | CONDUCTOR SIZE | 16MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13948 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 2cx10mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 2 | CONDUCTOR SIZE | 10MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13949 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 3cx70mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 3 | CONDUCTOR SIZE | 70MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13950 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 1cx300mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 1 | CONDUCTOR SIZE | 300MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13951 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 12cx2.5mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 12 | CONDUCTOR SIZE | 2.5MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13952 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 3cx120mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 3 | CONDUCTOR SIZE | 120MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13953 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 1cx95mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 1 | CONDUCTOR SIZE | 95MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13954 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 1cx50mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 1 | CONDUCTOR SIZE | 50MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13955 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 1cx2.5mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 1 | CONDUCTOR SIZE | 2.5MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13956 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 2cx4mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 2 | CONDUCTOR SIZE | 4MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13957 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 2cx6mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 2 | CONDUCTOR SIZE | 6MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13958 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 90C 16mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 90 | CONDUCTOR SIZE | 16MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13959 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 90C 10mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 90 | CONDUCTOR SIZE | 10MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13960 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 90C 6mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 90 | CONDUCTOR SIZE | 6MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13961 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 90C 4mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 90 | CONDUCTOR SIZE | 4MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13962 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 3cx95mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 3 | CONDUCTOR SIZE | 95MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13963 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 1cx12AWG, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 1 | CONDUCTOR SIZE | 12AWG | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13964 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 1cx14AWG, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 1 | CONDUCTOR SIZE | 14AWG | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19476 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, THREAT LEVEL MODULE, BRAND NAME: LENEL | URL NOT FOUND | [7 empty] | 32151802 Safety Control Module | CLEANSED | MODULE | NONE | BRAND NAME: LENEL |  | TYPE | THREAT LEVEL | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19477 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, THREAT LEVEL MODULE, BRAND NAME: MILESTONE | URL NOT FOUND | [7 empty] | 32151802 Safety Control Module | CLEANSED | MODULE | NONE | BRAND NAME: MILESTONE |  | TYPE | THREAT LEVEL | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19478 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, THREAT LEVEL MODULE, BRAND NAME: GENETEC | URL NOT FOUND |  | GENETEC | [5 empty] | 32151802 Safety Control Module | CLEANSED | MODULE | NONE |  |  | TYPE | THREAT LEVEL | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19479 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, THREAT LEVEL MODULE, BRAND NAME: BOSCH | URL NOT FOUND |  | BOSCH | [5 empty] | 32151802 Safety Control Module | CLEANSED | MODULE | NONE |  |  | TYPE | THREAT LEVEL | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19480 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, THREAT LEVEL MODULE, BRAND NAME: HONEYWELL | URL NOT FOUND |  | HONEYWELL | [5 empty] | 32151802 Safety Control Module | CLEANSED | MODULE | NONE |  |  | TYPE | THREAT LEVEL | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19481 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, THREAT LEVEL MODULE, BRAND NAME: SIEMENS | URL NOT FOUND |  | SIEMENS | [5 empty] | 32151802 Safety Control Module | CLEANSED | MODULE | NONE |  |  | TYPE | THREAT LEVEL | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19482 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, THREAT LEVEL MODULE, BRAND NAME: SCHNEIDER ESMI | URL NOT FOUND |  | SCHNEIDER ESMI | [5 empty] | 32151802 Safety Control Module | CLEANSED | MODULE | NONE |  |  | TYPE | THREAT LEVEL | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19483 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, THREAT LEVEL MODULE, BRAND NAME: AVIGILON | URL NOT FOUND |  | AVIGILON | [5 empty] | 32151802 Safety Control Module | CLEANSED | MODULE | NONE |  |  | TYPE | THREAT LEVEL | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19484 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, THREAT LEVEL MODULE, BRAND NAME: EXACQVISION | URL NOT FOUND |  | EXACQVISION | [5 empty] | 32151802 Safety Control Module | CLEANSED | MODULE | NONE |  |  | TYPE | THREAT LEVEL | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19485 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, THREAT LEVEL MODULE, BRAND NAME: CAMELEON | URL NOT FOUND | [7 empty] | 32151802 Safety Control Module | CLEANSED | MODULE | NONE | BRAND NAME: CAMELEON |  | TYPE | THREAT LEVEL | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22118 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-CONVENTIONAL DETECTORS, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: OH121 - S54372-F2-A1 - CONVENTIONAL OPTICAL/HEAT COMBINED | https://hit.sbt.siemens.com/RWD/app.aspx?rc=AP&lang=en&module=Catalog&action=ShowProduct&key=S54372-F2-A1 | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10338995&EXT=.pdf&VALUE=Assets%5cA6V10338995_OH121%2520%2520Conventional%2520Detection%2520Devices%2520Photo%2520Therm_en.pdf&KEY=3&RT=1715842661584 | SIEMENS | S54372-F2-A1 |  |  |  |  | 46191501 Smoke detectors | ENRICHED | DETECTOR | FIRE PROTECTION | MODEL:OH121 |  | TYPE | CONVENTIONAL OPTICAL/HEAT COMBINED, PHOTO THERMAL SMOKE | TEMPERATURE RATING | 0 TO 38DEG C | VOLTAGE | 16 TO 27VDC | AMPERAGE | 100UA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22119 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-CONVENTIONAL DETECTORS, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: OP121 - S54372-F1-A1 - CONVENTIONAL OPTICAL | https://hit.sbt.siemens.com/RWD/app.aspx?rc=AP&lang=en&module=Catalog&action=ShowProduct&key=S54372-F2-A1 | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10338995&EXT=.pdf&VALUE=Assets%5cA6V10338995_OH121%2520%2520Conventional%2520Detection%2520Devices%2520Photo%2520Therm_en.pdf&KEY=3&RT=1715842661584 | SIEMENS | S54372-F1-A1 |  |  |  |  | 46191501 Smoke detectors | ENRICHED | DETECTOR | FIRE PROTECTION | MODEL:OP121 |  | TYPE | CONVENTIONAL OPTICAL PHOTOELECTRIC | TEMPERATURE RATING | 0 TO 38DEG C | VOLTAGE | 16 TO 27VDC | AMPERAGE | 100UA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22120 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-CONVENTIONAL DETECTORS, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: HI121 - S54372-F3-A1 - CONVENTIONAL HEAT ONLY | https://hit.sbt.siemens.com/RWD/app.aspx?rc=AP&lang=en&module=Catalog&action=ShowProduct&key=S54372-F2-A1 | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10338995&EXT=.pdf&VALUE=Assets%5cA6V10338995_OH121%2520%2520Conventional%2520Detection%2520Devices%2520Photo%2520Therm_en.pdf&KEY=3&RT=1715842661584 | SIEMENS | S54372-F3-A1 |  |  |  |  | 46191501 Smoke detectors | ENRICHED | DETECTOR | FIRE PROTECTION | MODEL:HI121 |  | TYPE | CONVENTIONAL HEAT ONLY,THERMAL HEAT | TEMPERATURE RATING | 0 TO 38DEG C | VOLTAGE | 16 TO 27VDC | AMPERAGE | 100UA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22121 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-CONVENTIONAL DETECTORS, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: TM121 - S54370-S12-A1 - TEST MAGNET | https://hit.sbt.siemens.com/RWD/app.aspx?rc=AP&lang=en&module=Catalog&action=ShowProduct&key=S54370-S12-A1 |  | SIEMENS | S54370-S12-A1 |  |  |  |  | CHECK | ENRICHED | DETECTOR | FIRE PROTECTION | MODEL:TM121 |  | TYPE | TEST MAGNET | TEMPERATURE RATING | 0 TO 38DEG C | VOLTAGE | 16 TO 27VDC | AMPERAGE | 100UA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22412 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 20/20MI-11SF - S54430-F1-A1 - MINI IR3 FLM DET 10-40M CBL SS FM | https://hit.sbt.siemens.com/RWD/app.aspx?rc=AP&lang=en&module=Catalog&action=ShowProduct&key=S54430-F1-A1 | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/S54430-F1-A1 | SIEMENS | S54430-F1-A1 |  |  |  |  | 46191504 Flame detectors | ENRICHED | DETECTOR | FIRE PROTECTION | MODEL:20/20MI-11SF, 10-40M, CONNECTION WIRING:CABLE LEAD, MATERIAL: STAINLESS STEEL, APPROVED:FACTORY MUTUAL |  | TYPE | MINI IR3 FLAME | TEMPERATURE RATING |  | VOLTAGE |  | AMPERAGE | 4 TO 20MA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22413 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 20/20MI-12SF - S54430-F2-A1 - MINI IR3 FLM DET 10-40M PLG SS FM | https://hit.sbt.siemens.com/RWD/app.aspx?rc=AP&lang=en&module=Catalog&action=ShowProduct&key=S54430-F2-A1 | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/S54430-F2-A1 | SIEMENS | S54430-F2-A1 |  |  |  |  | 46191504 Flame detectors | ENRICHED | DETECTOR | FIRE PROTECTION | MODEL:20/20MI-12SF, 10-40M, CONNECTION WIRING:PLUG, MATERIAL: STAINLESS STEEL, APPROVED:FACTORY MUTUAL |  | TYPE | MINI IR3 FLAME | TEMPERATURE RATING |  | VOLTAGE |  | AMPERAGE | 4 TO 20MA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22414 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 20/20MI-31SF - S54430-F3-A1 - MINI IR3 FLM DET 2.5-10M CBL SS FM | https://hit.sbt.siemens.com/RWD/app.aspx?RC=AP&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=S54430-F3-A1 | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/S54430F3A1 | SIEMENS | S54430-F3-A1 |  |  |  |  | 46191504 Flame detectors | ENRICHED | DETECTOR | FIRE PROTECTION | MODEL:20/20MI-31SF, 2.5-10M, CONNECTION WIRING:CABLE LEAD, MATERIAL: STAINLESS STEEL, APPROVED:FACTORY MUTUAL |  | TYPE | MINI IR3 FLAME | TEMPERATURE RATING |  | VOLTAGE |  | AMPERAGE | 4 TO 20MA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22415 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 20/20MI-32SF - S54430-F4-A1 - MINI IR3 FLM DET 2.5-10M PLG SS FM | https://hit.sbt.siemens.com/RWD/app.aspx?rc=AP&lang=en&module=Catalog&action=ShowProduct&key=S54430-F4-A1 |  | SIEMENS | S54430-F4-A1 |  |  |  |  | 46191504 Flame detectors | ENRICHED | DETECTOR | FIRE PROTECTION | MODEL:20/20MI-32SF, 10-40M, CONNECTION WIRING:PLUG, MATERIAL: STAINLESS STEEL, APPROVED:FACTORY MUTUAL |  | TYPE | MINI IR3 FLAME | TEMPERATURE RATING |  | VOLTAGE |  | AMPERAGE | 4 TO 20MA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22416 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 20/20ML-11SF - S54430-F5-A1 - MINI UV/IR FLM DET CBL SS FM | https://hit.sbt.siemens.com/RWD/app.aspx?rc=AP&lang=en&module=Catalog&action=ShowProduct&key=S54430-F5-A1 |  | SIEMENS | S54430-F5-A1 |  |  |  |  | 46191504 Flame detectors | ENRICHED | DETECTOR | FIRE PROTECTION | MODEL:20/20MI-11SF, CONNECTION WIRING:CABLE LEAD, MATERIAL: STAINLESS STEEL, APPROVED:FACTORY MUTUAL |  | TYPE | MINI IR3 FLAME | TEMPERATURE RATING |  | VOLTAGE |  | AMPERAGE | 4 TO 20MA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22417 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 20/20ML-12SF - S54430-F6-A1 - MINI UV/IR FLM DET PLG SS FM | https://hit.sbt.siemens.com/RWD/app.aspx?RC=AP&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=S54430-F6-A1 | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/S54430F6A1 | SIEMENS | S54430-F6-A1 |  |  |  |  | 46191504 Flame detectors | ENRICHED | DETECTOR | FIRE PROTECTION | MODEL:20/20MI-12SF, CONNECTION WIRING:PLUG, MATERIAL: STAINLESS STEEL, APPROVED:FACTORY MUTUAL |  | TYPE | MINI UV/IR FLAME | TEMPERATURE RATING |  | VOLTAGE |  | AMPERAGE | 4 TO 20MA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22476 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 5000-004 - 500-050270 - LONG RANGE PRISM KIT - INCLUDES (3) ADDITIONAL PRISMS | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238841&EXT=.pdf&VALUE=Assets%5cA6V10238841_F5000%2520%2520Projected%2520Beam%2520Smoke%2520Detector%2520Data%2520Sheet_en.pdf&KEY=3&RT=1715869357052 |  | SIEMENS | 500-050270 |  |  |  |  | 46191500 Fire prevention | CLEANSED | KIT | NONE | SERIES:FAS,MODEL:5000-004 |  | TYPE | LONG RANGE PRISM | STYLE |  | CONTAINS | 3 ADDITONAL PRISM | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22478 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 5000-005 - 500-050273 - UNIVERSAL ALIGNMENT BRACKET FOR F5000, F5000-031, AND | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238841&EXT=.pdf&VALUE=Assets%5cA6V10238841_F5000%2520%2520Projected%2520Beam%2520Smoke%2520Detector%2520Data%2520Sheet_en.pdf&KEY=3&RT=1715869357052 |  | SIEMENS | 500-050273 |  |  |  |  | 31162509 Brackets | CLEANSED | BRACKET | MOUNTING | SERIES:FAS,MODEL:5000-005,FOR F5000, F5000-031,PERIPHERAL DEVICES |  | SIZE |  | MATERIAL |  | TYPE | UNIVERSAL ALIGNMENT | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22479 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 5000-006 - 500-050274 - SURFACE MOUNT WALL BRACKET FOR PRISMS | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238841&EXT=.pdf&VALUE=Assets%5cA6V10238841_F5000%2520%2520Projected%2520Beam%2520Smoke%2520Detector%2520Data%2520Sheet_en.pdf&KEY=3&RT=1715869357052 |  | SIEMENS | 500-050274 |  |  |  |  | 31162509 Brackets | CLEANSED | BRACKET | MOUNTING | SERIES:FAS,MODEL:5000-006,FOR PRISM,SIEMENS-PERIPHERAL DEVICES |  | SIZE |  | MATERIAL |  | TYPE | SURFACE WALL | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22480 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 5000-007 - 500-050275 - 4 PRISM ALIGNMENT ADAPTOR PLATE | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238841&EXT=.pdf&VALUE=Assets%5cA6V10238841_F5000%2520%2520Projected%2520Beam%2520Smoke%2520Detector%2520Data%2520Sheet_en.pdf&KEY=3&RT=1715869357052 |  | SIEMENS | 500-050275 |  |  |  |  | 46191500 Fire prevention | CLEANSED | ADAPTER | NONE | SERIES:FAS,MODEL:5000-007 |  | TYPE | 4 PRISM ALIGNMENT | SIZE |  | MATERIAL |  | CONNECTION | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22481 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 5000-008 - 500-050276 - SINGLE PRISM ALIGNMENT ADAPTOR PLATE | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238841&EXT=.pdf&VALUE=Assets%5cA6V10238841_F5000%2520%2520Projected%2520Beam%2520Smoke%2520Detector%2520Data%2520Sheet_en.pdf&KEY=3&RT=1715869357052 |  | SIEMENS | 500-050276 |  |  |  |  | 46191500 Fire prevention | CLEANSED | ADAPTER | NONE | SERIES:FAS,MODEL:5000-008 |  | TYPE | 1 PRISM ALIGNMENT | SIZE |  | MATERIAL |  | CONNECTION | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22482 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 5000-009 - 500-050277 - F5000 METAL CONTROLLER BACK BOX | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238841&EXT=.pdf&VALUE=Assets%5cA6V10238841_F5000%2520%2520Projected%2520Beam%2520Smoke%2520Detector%2520Data%2520Sheet_en.pdf&KEY=3&RT=1715869357052 |  | SIEMENS | 500-050277 |  |  |  |  | 39121303 Electrical boxes | CLEANSED | BOX | ELECTRICAL | SERIES:FAS,MODEL:5000-009 |  | TYPE | CONTROLLER BACK | GANG |  | SHAPE |  | KNOCKOUTS |  | ELECTRICAL RATING |  | MATERIAL | METAL | SIZE/CONNECTION |  | MOUNT |  | ENCLOSURE |  | TEMPERATURE RATING | [17 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22483 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 5000-010 - 500-050278 - SEMI-FLUSH METAL TRIM PLATE FOR 5000-009 | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238841&EXT=.pdf&VALUE=Assets%5cA6V10238841_F5000%2520%2520Projected%2520Beam%2520Smoke%2520Detector%2520Data%2520Sheet_en.pdf&KEY=3&RT=1715869357052 |  | SIEMENS | 500-050278 |  |  |  |  | 46191500 Fire prevention | CLEANSED | PLATE | NONE | SERIES:FAS,MODEL:5000-010 |  | TYPE | SEMI-FLUSH TRIM | SIZE |  | MATERIAL | METAL | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22484 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 5000-011 - 500-050279 - DETECTOR SURFACE MOUNT UNI-BOX | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238841&EXT=.pdf&VALUE=Assets%5cA6V10238841_F5000%2520%2520Projected%2520Beam%2520Smoke%2520Detector%2520Data%2520Sheet_en.pdf&KEY=3&RT=1715869357052 |  | SIEMENS | 500-050279 |  |  |  |  | 39121303 Electrical boxes | CLEANSED | BOX | ELECTRICAL | SERIES:FAS,MODEL:5000-011 |  | TYPE | DETECTOR BACK | GANG |  | SHAPE |  | KNOCKOUTS |  | ELECTRICAL RATING |  | MATERIAL |  | SIZE/CONNECTION |  | MOUNT | SURFACE | ENCLOSURE |  | TEMPERATURE RATING | [17 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22485 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 5000-012 - 500-050280 - COVER PLATE FOR MOUNTING F5000 OR F5000-031 TO | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238841&EXT=.pdf&VALUE=Assets%5cA6V10238841_F5000%2520%2520Projected%2520Beam%2520Smoke%2520Detector%2520Data%2520Sheet_en.pdf&KEY=3&RT=1715869357052 |  | SIEMENS | 500-050280 |  |  |  |  | 39121302 Enclosure plates or covers | CLEANSED | PLATE | NONE | SERIES:FAS,MODEL:5000-012,FOR MOUNTING F5000 OR F5000-031 TO |  | TYPE | COVER | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22486 | Data Enrichment | scv | ok | 2024-05-15 | 2024-05-16 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 5000-014 - 500-050281 - CEILING PENDANT MOUNT BRACKET | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238841&EXT=.pdf&VALUE=Assets%5cA6V10238841_F5000%2520%2520Projected%2520Beam%2520Smoke%2520Detector%2520Data%2520Sheet_en.pdf&KEY=3&RT=1715869357052 |  | SIEMENS | 500-050281 |  |  |  |  | 31162509 Brackets | CLEANSED | BRACKET | MOUNTING | SERIES:FAS,MODEL:5000-014 |  | SIZE |  | MATERIAL |  | TYPE | UNIVERSAL CEILING PENDANT | [30 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28732 | Data Enrichment | SCV | ok | 2024-05-15 | 2024-05-16 |  | 41 | 63 | 23 | 416323 | L |  |  |  | DESCRIPTION, BUS, SERVICE: BRAND: CAPACITY: 13 SEATERS, TYPE: ROUTE: | [8 empty] | 78111800 Passenger road transportation | CLEANSED | SERVICE | NONE | CAPACITY:13 SEATER |  | TYPE | BUS | [34 empty] | Production Completed