## Sheet1
Project Code | File Name | Sheet Name | Griha_ID | Activities | Production User | Production Comments | Start Date | End Date | Remarks | S1 | S2 | S3 | Group | Type | Unit | ItemType | CATEGORY | Description | Reference URL | Reference URL1 | MANUFACTURER NAME | MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER | ALTERNATE MANUFACTURER PART NUMBER | VENDOR NAME | VENDOR PART NUMBER | UNSPSC 26.0801 | Enriched/Cleansed | NOUN | MODIFIER | ADDITIONAL INFO From Input | ADDITIONAL INFO From Web | ATTRIBUTE NAME 1 | ATTRIBUTEVALUE 1 | ATTRIBUTE NAME 2 | ATTRIBUTEVALUE 2 | ATTRIBUTE NAME 3 | ATTRIBUTEVALUE 3 | ATTRIBUTE NAME 4 | ATTRIBUTEVALUE 4 | ATTRIBUTE NAME 5 | ATTRIBUTEVALUE 5 | ATTRIBUTE NAME 6 | ATTRIBUTEVALUE 6 | ATTRIBUTE NAME 7 | ATTRIBUTEVALUE 7 | ATTRIBUTE NAME 8 | ATTRIBUTEVALUE 8 | ATTRIBUTE NAME 9 | ATTRIBUTEVALUE 9 | ATTRIBUTE NAME 10 | ATTRIBUTEVALUE 10 | ATTRIBUTE NAME 11 | ATTRIBUTEVALUE 11 | ATTRIBUTE NAME 12 | ATTRIBUTEVALUE 12 | ATTRIBUTE NAME 13 | ATTRIBUTEVALUE 13 | ATTRIBUTE NAME 14 | ATTRIBUTEVALUE 14 | ATTRIBUTE NAME 15 | ATTRIBUTEVALUE 15 | ATTRIBUTE NAME 16 | ATTRIBUTEVALUE 16 | ATTRIBUTE NAME 17 | ATTRIBUTEVALUE 17 | ATTRIBUTE NAME 18 | ATTRIBUTEVALUE 18 | Status
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_336 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L | per |  | S2 | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: DESIGN AND SHOP DRAWINGS, FOR: STREETSCAPE AND IRRIGATION, SPECIFICATION: RMI | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR STREETSCAPE AND IRRIGATION, RMI |  | TYPE | ENGINEERING, DESIGN AND SHOP DRAWINGS | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_337 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L | ls |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: SHOP DRAWINGS ONLY, FOR: DESIGN CODE PLUS LICENCE, SPECIFICATION: TBD | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR DESIGN CODE PLUS LICENCE, TBD |  | TYPE | ENGINEERING, SHOP DRAWINGS ONLY | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_338 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: AS-BUILT DRAWINGS, FOR: SECURITY SYSTEM, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR SECURITY SYSTEM |  | TYPE | ENGINEERING, AS-BUILT DRAWINGS | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_339 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: IFC DRAWINGS ONLY, FOR: FOR RIGGING, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR FOR RIGGING |  | TYPE | ENGINEERING, IFC DRAWINGS ONLY | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_340 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: 60%, 90%, AND IFC DRAWING, FOR: FOR ARCHITECTURAL, STRUCTURAL & MEP., SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR ARCHITECTURAL, STRUCTURAL AND MEP |  | TYPE | ENGINEERING, 60 PCT, 90 PCT AND IFC DRAWING | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_341 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: DESIGNING AND SOFTWARE, FOR: FOR ARCHITECTURAL, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR ARCHITECTURAL |  | TYPE | ENGINEERING, DESIGNING AND SOFTWARE | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_342 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: SECURITY RISK ASSESMENT REPORT, FOR: FOR STRUCTURAL, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR STRUCTURAL |  | TYPE | ENGINEERING, SECURITY RISK ASSESMENT REPORT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_343 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: 90 % DETAILED DESIGN, FOR: FOR MECHANICAL, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR MECHANICAL |  | TYPE | ENGINEERING, 90 PCT DETAILED DESIGN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_344 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: DESIGN AND CALCULATION, FOR: FOR ELECTRICAL, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR ELECTRICAL |  | TYPE | ENGINEERING, DESIGN AND CALCULATION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_345 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: FIRE FIGHTING & TELECOMMUNICATION DRAWING, FOR: HYDRAULIC SIMULATION REPORT, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR HYDRAULIC SIMULATION REPORT |  | TYPE | ENGINEERING, FIRE FIGHTING AND TELECOMMUNICATION DRAWING | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_346 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: BLOCKED, FOR: FIRE ALARM SYSTEM, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR FIRE ALARM SYSTEM |  | TYPE | ENGINEERING, BLOCKED | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_347 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: SCOPE CONTROL AND CHANGE MGMT, FOR: MOBILIZATION, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR MOBILIZATION |  | TYPE | ENGINEERING, SCOPE CONTROL AND CHANGE MGMT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_348 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: CERTIFICATION, FOR: HCIS STAGE-3 DESIGN SUPPORT, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR HCIS STAGE-3 DESIGN SUPPORT |  | TYPE | ENGINEERING | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_349 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: NMR DOCUMENTATION, FOR: FIRE ALARM SYSTEM DRAWING & HYDRAULIC CALCULATION, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR FIRE ALARM SYSTEM DRAWING & HYDRAULIC CALCULATION |  | TYPE | ENGINEERING, NMR DOCUMENTATION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_350 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: SPDP DOCUMENTATION, FOR: FOR LANDSCAPING NURSERY, SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE | FOR LANDSCAPING NURSERY |  | TYPE | ENGINEERING, SPDP DOCUMENTATION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_351 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: DESIGN AND COLSULTANCY SERVICES, FOR: SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE |  |  | TYPE | ENGINEERING, DESIGN AND COLSULTANCY SERVICES | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_352 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: PREPARATION & SUBMISSION OF OF METHOD OF STATEMENT, FOR: SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE |  |  | TYPE | ENGINEERING, PREPARATION AND SUBMISSION OF OF METHOD OF STATEMENT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_353 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: PREPARATION & SUBMISSION OF OF TEST REPORT, FOR: SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE |  |  | TYPE | ENGINEERING, PREPARATION AND SUBMISSION OF TEST REPORT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_354 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: SECURITY SERVICES, FOR: SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE |  |  | TYPE | ENGINEERING, SECURITY SERVICES | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_355 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 33 | 15 | 013315 | L |  |  |  | DESCRIPTION, ENGINEERING SERVICES: TYPE OF SERVICES: REVIEW & CERTIFICATION OF, FOR: SPECIFICATION: | [8 empty] | 81000000 Engineering and Research and Technology Based Services | CLEANSED | SERVICE | NONE |  |  | TYPE | ENGINEERING, REVIEW AND CERTIFICATION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_357 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L | hr |  | S2 | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: BLOCKED, CERTIFICATION: ARAMCO LEVEL 1 | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | CERTIFICATION:ARAMCO LEVEL 1 |  | TYPE | TESTING/INSPECTION, BLOCKED | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_358 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L | no |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN SITE VISIT FOR ASPHALT TEST (STANDBY TIME), CERTIFICATION: ARAMCO LEVEL 2 | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR ASPHALT TEST (STANDBY TIME), CERTIFICATION:ARAMCO LEVEL 2 |  | TYPE | TESTING/INSPECTION, TECHNICIAN SITE VISIT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_359 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L | Test |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: HIRING LAB/TECHNICIAN, CERTIFICATION: ARAMCO LEVEL 3 | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | CERTIFICATION:ARAMCO LEVEL 3 |  | TYPE | TESTING/INSPECTION, HIRING LAB/TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_360 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: MAKING AND CURING SPECIMEN TEST, CERTIFICATION: TUV LEVEL 1 | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | CERTIFICATION:TUV LEVEL 1 |  | TYPE | TESTING/INSPECTION, MAKING AND CURING SPECIMEN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_361 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: NORMAL WEIGHT CONCRETE MIX DESIGN, CERTIFICATION: TUV LEVEL 2 | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | CERTIFICATION:TUV LEVEL 2 |  | TYPE | TESTING/INSPECTION, NORMAL WEIGHT CONCRETE MIX DESIGN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_362 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN SITE TRIP, CERTIFICATION: TUV LEVEL 3 | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR SITE TRIP, CERTIFICATION:TUV LEVEL 3 |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_363 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN SITE TRIP WITH EQUIPMENT, CERTIFICATION: NOT TUV/ARAMCO CERTIFIED | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR SITE TRIP, W/ EQUIPMENT, CERTIFICATION:NOT TUV/ARAMCO |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_364 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN SITE TRIP (STANDBY TIME), CERTIFICATION: ARAMCO CERTIFIED | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR SITE TRIP (STANDBY TIME), CERTIFICATION:ARAMCO |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_365 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN FOR SOIL TEST, CERTIFICATION: TUV CERTIFIED | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR SOIL TEST, CERTIFICATION:TUV |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_366 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN SOIL TEST (STANDBY TIME), CERTIFICATION: E AND I VENDOR INSPECTION | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR SOIL TEST (STANDBY TIME), E AND I VENDOR INSPECTION |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_367 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN FOR CONCRETE TEST, CERTIFICATION: FOR FIELD TEST | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR CONCRETE TEST, FIELD TEST |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_368 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN FOR CONCRETE TEST (STANDBY TIME), CERTIFICATION: BY NAFFCO ENGINEER | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR CONCRETE TEST (STANDBY TIME), BY NAFFCO ENGINEER |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_369 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN FOR GROUT TEST, CERTIFICATION: BY BUREAU VERITAS | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR GROUT TEST, BY BUREAU VERITAS |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_370 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN FOR GROUT TEST (STANDBY TIME), CERTIFICATION: ASTM -C31 | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR GROUT TEST (STANDBY TIME), STANDARD:ASTM-C31 |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_371 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN FOR ASPHALT TEST, CERTIFICATION: CONDUCTING FULL SCALE TEST | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR ASPHALT TEST, CONDUCTING FULL SCALE TEST |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_372 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: SITE VISIT FOR TESTING AND COMMISSIONING, CERTIFICATION: ASTM -D1557 | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR TESTING AND COMMISSIONING, STANDARD:ASTM -D1557 |  | TYPE | TESTING/INSPECTION, SITE VISIT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_373 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: EQUIPMENT INSPECTOR ON SITE TUV CERTIFIED, CERTIFICATION: AASHTO | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR ON SITE, CERTIFICATION:TUV CERTIFIED, AASHTO |  | TYPE | TESTING/INSPECTION, EQUIPMENT INSPECTOR | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_374 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: INSPECTION FOR MCC BY THIRD PARTY, CERTIFICATION: FLOW MEASUREMENT | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR MCC BY THIRD PARTY, FLOW MEASUREMENT |  | TYPE | TESTING/INSPECTION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_375 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: PULLING MACHINE, CERTIFICATION: STATIC PRESSURE MANAGEMENT | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR STATIC PRESSURE MANAGEMENT |  | TYPE | TESTING/INSPECTION, PULLING MACHINE | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_376 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: QA/QC TIME OF TECHNICIAN AT SITE, CERTIFICATION: PUMP PRESSURE MANAGEMENT | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | AT SITE, FOR PUMP PRESSURE MANAGEMENT |  | TYPE | TESTING/INSPECTION, QA/QC TIME OF TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_377 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: OVER TIME CHARGES AFTER 10 HR/DAY, CERTIFICATION: TOTAL DIFFERENTIAL HEAD CALCULATION | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | OVER TIME CHARGES AFTER 10 HR/DAY, TOTAL DIFFERENTIAL HEAD CALCULATION |  | TYPE | TESTING/INSPECTION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_378 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: ENG'G,SUPERVISION,T&COM., CERTIFICATION: POWER MEASUREMENT |  |  | T&COMM | [5 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | ENG'G |  | TYPE | TESTING/INSPECTION, SUPERVISION, POWER MEASUREMENT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_379 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: FAT TEST REPORT, CERTIFICATION: CURRENT MEASUREMENT | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, FAT TEST REPORT, CURRENT MEASUREMENT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_380 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TORQUE TEST, CERTIFICATION: VOLTAGE MEASUREMENT | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, TORQUE TEST, VOLTAGE MEASUREMENT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_381 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: GENERATOR BY THIRD PARTY, CERTIFICATION: PUMP POWER TO BE CALCULATED | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | PUMP POWER TO BE CALCULATED |  | TYPE | TESTING/INSPECTION, GENERATOR BY THIRD PARTY | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_382 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: INSTALLATION,TESTING & COM. OF BUSWAY, CERTIFICATION: BEARING TEMPERATURE MEASUREMENT FOR BOTH PUMP & MOTOR | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | COM OF BUSWAY, BEARING TEMPERATURE MEASUREMENT FOR BOTH PUMP AND MOTOR |  | TYPE | TESTING/INSPECTION, INSTALLATION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_383 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: LOAD BANK, CERTIFICATION: VIBRATION MEASUREMENT OF BOTH PUMP & MOTOR | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | VIBRATION MEASUREMENT OF BOTH PUMP AND MOTOR |  | TYPE | TESTING/INSPECTION, LOAD BANK | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_384 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: HANDICAP PLATFORM LIFTS, CERTIFICATION: FOR HIGH PRESSURE PUMP | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR HIGH PRESSURE PUMP |  | TYPE | TESTING/INSPECTION, HANDICAP PLATFORM LIFTS | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_385 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: AIR COMPRESSOR, CERTIFICATION: FOR FRESH CONCRETE SAMPLING | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR FRESH CONCRETE SAMPLING |  | TYPE | TESTING/INSPECTION, AIR COMPRESSOR | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_386 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: BLAST, PRESSURE & BULLET, CERTIFICATION: MIL-STD 1312-31 | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | STANDARD:MIL-STD 1312-31 |  | TYPE | TESTING/INSPECTION, BLAST, PRESSURE AND BULLET | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_387 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: TECHNICIAN FOR CONCRETE AND SOIL TEST, CERTIFICATION: AS PER APPROVED QUOTATION | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR CONCRETE AND SOIL TEST, AS PER APPROVED QUOTATION |  | TYPE | TESTING/INSPECTION, TECHNICIAN | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_388 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: PROVISION FOR VEHICLE, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | FOR VEHICLE |  | TYPE | TESTING/INSPECTION, PROVISION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_389 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: CONTROLLER ELECTRONIC DCS., CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, CONTROLLER ELECTRONIC DCS | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_390 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: FURNISH THE LAB EQUIPMENT, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, FURNISH THE LAB EQUIPMENT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_391 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: EXPANSION TANK BLADDER, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, EXPANSION TANK BLADDER | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_392 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: LOAD TESTING, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, LOAD TESTING | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_393 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: CONSTRUCTABILITY STUDY, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, CONSTRUCTABILITY STUDY | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_394 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: SITE VISIT BY SENIOR ENGINEER, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | BY SENIOR ENGINEER |  | TYPE | TESTING/INSPECTION, SITE VISIT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_395 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: SETTING OF EQUIPMENT, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, SETTING OF EQUIPMENT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_396 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: MODIFIED PROCTOR TEST, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, MODIFIED PROCTOR TEST | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_397 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: OIL ANALYSIS, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, OIL ANALYSIS | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_398 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: RO REJECT WATER SAMPLE ANALYSIS, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, RO REJECT WATER SAMPLE ANALYSIS | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_399 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: FLOWSERVE ANNUAL PERFORMANCE, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, FLOWSERVE ANNUAL PERFORMANCE | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_400 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: SITE PERFORMANCE ASSESSMENT, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, SITE PERFORMANCE ASSESSMENT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_401 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: LIFTING GEAR, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE |  |  | TYPE | TESTING/INSPECTION, LIFTING GEAR | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_402 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: OVER TIME CHARGES, WORK ON LUNCH BREAK, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | OVER TIME CHARGES, WORK ON LUNCH BREAK |  | TYPE | TESTING/INSPECTION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_403 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 23 | 014523 | L |  |  |  | DESCRIPTION, TESTING/INSPECTION SERVICES: PURPOSE: SITE VISIT TO EVALUATE THE DIESEL PUMP, CERTIFICATION: | [8 empty] | 81141512 Equipment inspection and verification services | CLEANSED | SERVICE | NONE | TO EVALUATE THE DIESEL PUMP |  | TYPE | TESTING/INSPECTION, SITE VISIT | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_518 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L | no |  | S2 | MATERIAL, CEMENT TEST, TEST TYPE: CONSISTENCY | [8 empty] | 71121025 Other cementing services | CLEANSED | SERVICE | NONE |  |  | TYPE | CEMENT TEST, CONSISTENCY | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_519 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L |  |  |  | MATERIAL, CEMENT TEST, TEST TYPE: INITIAL AND FINAL SETTING TIME | [8 empty] | 71121025 Other cementing services | CLEANSED | SERVICE | NONE | INITIAL AND FINAL SETTING TIME |  | TYPE | CEMENT TEST | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_520 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L |  |  |  | MATERIAL, CEMENT TEST, TEST TYPE: COMPRESSIVE STRENGTH | [8 empty] | 71121025 Other cementing services | CLEANSED | SERVICE | NONE |  |  | TYPE | CEMENT TEST | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_521 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L |  |  |  | MATERIAL, CEMENT TEST, TEST TYPE: SOUNDNESS | [8 empty] | 71121025 Other cementing services | CLEANSED | SERVICE | NONE |  |  | TYPE | CEMENT TEST, SOUNDNESS | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_765 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L | trp |  | S2 | MATERIAL, DIESEL OIL TEST: TYPE: COPPER CORROSION STRIP, TYPE1: 8hr/day | [8 empty] | 71000000 Mining and oil and gas services | CLEANSED | SERVICE | NONE | TIMING:8HR/DAY |  | TYPE | DIESEL OIL TEST, COPPER CORROSION STRIP | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_766 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L |  |  |  | MATERIAL, DIESEL OIL TEST: TYPE: DENSITY @15°C, TYPE1: | [8 empty] | 71000000 Mining and oil and gas services | CLEANSED | SERVICE | NONE | DENSITY AT 15DEG C |  | TYPE | DIESEL OIL TEST | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_767 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L |  |  |  | MATERIAL, DIESEL OIL TEST: TYPE: SULPHUR(X RAY METHOD), TYPE1: | [8 empty] | 71000000 Mining and oil and gas services | CLEANSED | SERVICE | NONE | SULPHUR(X RAY METHOD) |  | TYPE | DIESEL OIL TEST | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_768 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L |  |  |  | MATERIAL, DIESEL OIL TEST: TYPE: VISCOSITY@ 40°C, TYPE1: | [8 empty] | 71000000 Mining and oil and gas services | CLEANSED | SERVICE | NONE | VISCOSITY AT 40DEG C |  | TYPE | DIESEL OIL TEST | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_776 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L | trp |  | S2 | MATERIAL, HOLLOW BLOCK TEST: TYPE: COMPRESSTIVE STRENGTH | [8 empty] | 80000000 Management and Business Professionals and Administrative Services | CLEANSED | SERVICE | NONE |  |  | TYPE | HOLLOW BLOCK TEST, COMPRESSTIVE STRENGTH | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_777 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L |  |  |  | MATERIAL, HOLLOW BLOCK TEST: TYPE: EFFLORESCENCE | [8 empty] | 80000000 Management and Business Professionals and Administrative Services | CLEANSED | SERVICE | NONE |  |  | TYPE | HOLLOW BLOCK TEST, EFFLORESCENCE | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_778 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L |  |  |  | MATERIAL, HOLLOW BLOCK TEST: TYPE: DENSITY & WATER ABSORBTION | [8 empty] | 80000000 Management and Business Professionals and Administrative Services | CLEANSED | SERVICE | NONE |  |  | TYPE | HOLLOW BLOCK TEST, DENSITY AND WATER ABSORBTION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_779 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 29 | 014529 | L |  |  |  | MATERIAL, HOLLOW BLOCK TEST: TYPE: DIMENSION | [8 empty] | 80000000 Management and Business Professionals and Administrative Services | CLEANSED | SERVICE | NONE |  |  | TYPE | HOLLOW BLOCK TEST, DIMENSION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_869 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 34 | 014534 | L |  |  |  | MATERIAL, CONSULTANCY SERVICES: TYPE: SUPERVISION, TYPE1: AS PER APPROVED QUOTATION | [8 empty] | 80000000 Management and Business Professionals and Administrative Services | CLEANSED | SERVICE | NONE | AS PER APPROVED QUOTATION |  | TYPE | CONSULTANCY, SUPERVISION | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_870 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 34 | 014534 | L |  |  |  | MATERIAL, CONSULTANCY SERVICES: TYPE: SITE SURVEY, TYPE1: WPE | [8 empty] | 80000000 Management and Business Professionals and Administrative Services | CLEANSED | SERVICE | NONE | WPE |  | TYPE | CONSULTANCY, SITE SURVEY | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_871 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 34 | 014534 | L |  |  |  | MATERIAL, CONSULTANCY SERVICES: TYPE: FOR LIFE AND FIRE SYSTEM, TYPE1: (MAN-DAY) | [8 empty] | 80000000 Management and Business Professionals and Administrative Services | CLEANSED | SERVICE | NONE | FOR LIFE AND FIRE SYSTEM, MAN-DAY |  | TYPE | CONSULTANCY | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_872 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 45 | 34 | 014534 | L |  |  |  | MATERIAL, CONSULTANCY SERVICES: TYPE: VIDEO CONTENT ANALYSIS, TYPE1: | [8 empty] | 80000000 Management and Business Professionals and Administrative Services | CLEANSED | SERVICE | NONE |  |  | TYPE | CONSULTANCY, VIDEO CONTENT ANALYSIS | [34 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_884 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 51 | 18 | 015118 | L |  |  |  | DESCRIPTION, MAINTENANCE MATERIALS, EQUIPMENT TYPE: MATERIAL: FILTER, PRODUCT#: P551434, PRODUCT#: 2427002910 | https://shop.equipmentshare.com/products/haulotte-hydraulic-filter-2427002910 |  |  | 2427002910 |  | P551434 |  |  | 40161515 Hydraulic filters | ENRICHED | FILTER | NONE | MAINTENANCE MATERIALS |  | TYPE | HYDRAULIC | SIZE |  | FILTERING RETENTION |  | ELEMENT MATERIAL |  | CONNECTION |  | HOUSING MATERIAL | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_885 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 | NM BASED ON WEB SOURCE | 01 | 51 | 18 | 015118 | L |  |  |  | DESCRIPTION, MAINTENANCE MATERIALS, EQUIPMENT TYPE: MATERIAL: ELEMENT, PRODUCT#: P600975, PRODUCT#: 26560201 | https://shop.donaldson.com/store/en-in/product/P600975/34612 |  |  | P600975 |  | 26560201 |  |  | 40161505 Air filters | ENRICHED | FILTER | AIR | MAINTENANCE MATERIALS |  | SIZE | 209.3MM LG X 107.3MM WD X 39.6MM HT | FILTERING RETENTION |  | ELEMENT MATERIAL |  | PRESSURE RATING |  | TYPE |  | EFFICIENCY | 95PCT | HOUSING MATERIAL |  | CONNECTION | [21 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_886 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 | NM BASED ON WEB SOURCE | 01 | 51 | 18 | 015118 | L |  |  |  | DESCRIPTION, MAINTENANCE MATERIALS, EQUIPMENT TYPE: MATERIAL: ELEMENT KIT, PRODUCT#: P765325, PRODUCT#: 2654407 | https://sorilux.com/en/filters/original-filters/perkins/perkins-oil-filter-2654407.html |  |  | 2654407 |  | P765325 |  |  | 40161504 Oil filters | CLEANSED | FILTER | OIL | MAINTENANCE MATERIALS, KIT |  | SIZE |  | CONNECTION |  | FILTERING RETENTION |  | ELEMENT MATERIAL |  | TYPE |  | HOUSING MATERIAL | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_887 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 51 | 18 | 015118 | L |  |  |  | DESCRIPTION, MAINTENANCE MATERIALS, EQUIPMENT TYPE: MATERIAL: AIR PURIFIER, PRODUCT#: RE504836, PRODUCT#: 26510380 | https://distributionparts.com/products/26510380-perkins-air-filter |  |  | 26510380 |  | RE504836 |  |  | 40161505 Air filters | ENRICHED | FILTER | AIR | MAINTENANCE MATERIALS |  | SIZE | 90.9MM ID X 166.9MM OD X 349.5MM LG | FILTERING RETENTION |  | ELEMENT MATERIAL |  | PRESSURE RATING |  | TYPE | PURIFIER | EFFICIENCY |  | HOUSING MATERIAL |  | CONNECTION | [21 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_888 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 01 | 51 | 18 | 015118 | L |  |  |  | DESCRIPTION, MAINTENANCE MATERIALS, EQUIPMENT TYPE: MATERIAL: ELEMENT FILTER, PRODUCT#: RE509031, PRODUCT#: F4000500 | https://narmadamotors.in/product/f4000500-fuel-filter-0-5-star/ |  |  | F4000500 |  | RE509031 |  |  | 40161513 Fuel filters | CLEANSED | FILTER | FUEL | MAINTENANCE MATERIALS |  | SIZE |  | CONNECTION |  | FILTERING RETENTION |  | ELEMENT MATERIAL |  | TYPE | ELEMENT | HOUSING MATERIAL | [25 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28449 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: BATHAH BORDER TO JEDDAH- SITE | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:BATHAH BORDER TO JEDDAH- SITE |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28450 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: JEDDAH-SHARMA | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:JEDDAH-SHARMA |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28451 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: RIYADH-JED | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:RIYADH-JED |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28452 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: JEDDAH-JIZAN | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:JEDDAH-JIZAN |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28453 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: JUBAIL -UMLUJ | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:JUBAIL -UMLUJ |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28454 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: DMM-LOCAL | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:DMM-LOCAL |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28455 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: RIYADH-DAMMAM | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:RIYADH-DAMMAM |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28456 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: RIYADH-UMLUJ | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:RIYADH-UMLUJ |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28457 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: DMM-UMLUJ | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:DMM-UMLUJ |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28458 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: DAMM-SAFANIYAH | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:DAMM-SAFANIYAH |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28459 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: RIYADH-JIZAN | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:RIYADH-JIZAN |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28460 | Data Enrichment | MKV | OK | 15-05-2024 | 17-05-2024 |  | 41 | 62 | 19 | 416219 | L |  |  |  | DESCRIPTION, TRANSPORTATION CHARGES: ROUTE: UAE-DMM | [8 empty] | 78140000 Transport services | CLEANSED | SERVICE | NONE | ROUTE:UAE-DMM |  | TYPE | TRANSPORTATION CHARGES | [34 empty] | Production Completed