## Sheet1
Project Code | File Name | Sheet Name | Griha_ID | Activities | Production User | Production Comments | Start Date | End Date | Remarks | S1 | S2 | S3 | Group | Type | Unit | ItemType | CATEGORY | Description | Reference URL | Reference URL1 | MANUFACTURER NAME | MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER | ALTERNATE MANUFACTURER PART NUMBER | VENDOR NAME | VENDOR PART NUMBER | UNSPSC 26.0801 | Enriched/Cleansed | NOUN | MODIFIER | ADDITIONAL INFO From Input | ADDITIONAL INFO From Web | ATTRIBUTE NAME 1 | ATTRIBUTEVALUE 1 | ATTRIBUTE NAME 2 | ATTRIBUTEVALUE 2 | ATTRIBUTE NAME 3 | ATTRIBUTEVALUE 3 | ATTRIBUTE NAME 4 | ATTRIBUTEVALUE 4 | ATTRIBUTE NAME 5 | ATTRIBUTEVALUE 5 | ATTRIBUTE NAME 6 | ATTRIBUTEVALUE 6 | ATTRIBUTE NAME 7 | ATTRIBUTEVALUE 7 | ATTRIBUTE NAME 8 | ATTRIBUTEVALUE 8 | ATTRIBUTE NAME 9 | ATTRIBUTEVALUE 9 | ATTRIBUTE NAME 10 | ATTRIBUTEVALUE 10 | ATTRIBUTE NAME 11 | ATTRIBUTEVALUE 11 | ATTRIBUTE NAME 12 | ATTRIBUTEVALUE 12 | ATTRIBUTE NAME 13 | ATTRIBUTEVALUE 13 | ATTRIBUTE NAME 14 | ATTRIBUTEVALUE 14 | ATTRIBUTE NAME 15 | ATTRIBUTEVALUE 15 | ATTRIBUTE NAME 16 | ATTRIBUTEVALUE 16 | ATTRIBUTE NAME 17 | ATTRIBUTEVALUE 17 | ATTRIBUTE NAME 18 | ATTRIBUTEVALUE 18 | Status
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13281 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 25 | 02 | 02 | 250202 | L |  |  |  | MATERIAL DESCRIPTION, CORD SET, TYPE: CABLE, MODEL: BMXFCC303, BRAND: SCHNEIDER | https://www.se.com/eg/en/product/BMXFCC303/cord-set-40way-terminal-2-x-he10-connector-for-m340-i-o-3-m/ |  | SCHNEIDER | BMXFCC303 |  |  |  |  | 32151902 Control system cordset | E | CORD | COMMUNICATIONS |  |  | TYPE | SET | LENGTH | 3M | CONDUCTOR |  | INSULATION |  | JACKET MATERIAL |  | JACKET COLOUR |  | CONNECTORS | 40 WAYS X HE10 | [22 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13300 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 25 | 02 | 02 | 250202 | L |  |  |  | MATERIAL DESCRIPTION, 32 DIGITAL 24 VDC POSITIVE LOGIC STATIC OUTPUT CHANNELS MODULE, MODEL : BMXDDO3202K, BRAND: SCHNEIDER, BRAND: ITEM: | https://www.se.com/in/en/product/BMXDDO3202K/discrete-output-module-x80-32-outputs-24-v-dc-positive/ |  | SCHNEIDER | BMXDDO3202K |  |  |  |  | 39121552 Electrical control modules | E | MODULE | NONE |  |  | TYPE | POSITIVE LOGIC STATIC/discrete DIGITAL output | INPUT |  | OUTPUT | 24VDC (19 TO 30 VDC), 0.1A | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | 32 OUTPUT | [26 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13571 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 25 | 02 | 03 | 250203 | L |  |  |  | MATERIAL DESCRIPTION, LIQUID LEVEL FLOAT SWITCH, TYPE/ MODEL: LS-FL-2LH, BRAND: SONTAY, BRAND: BRAND: | https://son04-live-0559e086fe33459f92ce8a277429-ab9e917.divio-media.org/filer_public/26/36/2636811e-6536-42c4-ade6-bb372c0d4c11/ls-fl.pdf |  | SONTAY | LS-FL-2LH |  |  |  |  | 39122219 Level or float switch | E | SWITCH | LEVEL |  |  | RANGE |  | ACTION |  | ELECTRICAL RATING | 250VAC, 6A | CONNECTION |  | TYPE | LIQUID | STYLE | FLOAT | ENCLOSURE |  | STANDARD |  | MATERIAL | Polypropen FLOAT | CABLE LENGTH | 5M | [16 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13572 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | SERIES MATCH | 25 | 02 | 03 | 250203 | L |  |  |  | MATERIAL DESCRIPTION, LIQUID LEVEL FLOAT SWITCH, TYPE/ MODEL: LS-FL-1LH, BRAND: BRAND: BRAND: | https://son04-live-0559e086fe33459f92ce8a277429-ab9e917.divio-media.org/filer_public/26/36/2636811e-6536-42c4-ade6-bb372c0d4c11/ls-fl.pdf |  | SONTAY | LS-FL-1LH |  |  |  |  | 39122219 Level or float switch | E | SWITCH | LEVEL |  |  | RANGE |  | ACTION |  | ELECTRICAL RATING | 250VAC, 6A | CONNECTION |  | TYPE | LIQUID | STYLE | FLOAT | ENCLOSURE |  | STANDARD |  | MATERIAL | Polypropen FLOAT | CABLE LENGTH | 5M | [16 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13573 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 25 | 02 | 03 | 250203 | L |  |  |  | MATERIAL DESCRIPTION, LIQUID LEVEL FLOAT SWITCH, TYPE/ MODEL: LS-541, BRAND: BRAND: BRAND: | https://son04-live-0559e086fe33459f92ce8a277429-ab9e917.divio-media.org/filer_public/47/a0/47a0e7b1-5557-40d0-9d78-6e25b8590bc3/ls-541.pdf |  | SONTAY | LS-541 |  |  |  |  | 39122219 Level or float switch | E | SWITCH | LEVEL |  |  | RANGE |  | ACTION |  | ELECTRICAL RATING | 24 TO 250VAC, 15(8)A | CONNECTION | 1IN BSPT | TYPE | LIQUID | STYLE | FLOAT | ENCLOSURE | IP65 | STANDARD |  | MATERIAL | Acrylic FLOAT, ABS Enclosure | CABLE LENGTH | [17 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13593 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 25 | 02 | 03 | 250203 | L |  |  |  | MATERIAL DESCRIPTION, LIQUID STATIC PRESSURE SENSOR, TYPE/ MODEL: VOLTAGE OUTPUT, MODEL: PL-528-6-V, BRAND: SONTAY, BRAND: | https://priac.com.pt/wp-content/uploads/2014/07/PPL-528.pdf |  | SONTAY | PL-528-6-V |  |  |  |  | 41111927 Pressure sensors | E | SENSOR | NONE |  |  | MODE |  | ELECTRICAL RATING | 24VAC, 12 TO 33VDC | TYPE | LIQUID STATIC PRESSURE | RANGE | 0 TO 6BAR | RATING |  | CABLE LENGTH |  | TEMPERATURE RATING | -35 TO 85DEG C | HOUSING MATERIAL | 1.4305/AISI 303 Stainless steel | [20 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13761 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 25 | 02 | 04 | 250204 | L |  |  |  | MATERIAL DESCRIPTION, USB INTERFACE, MDRC, USB/S 1.1, MODEL: 2CDG110008R0011, BRAND: ABB, ITEM: MODEL : | https://new.abb.com/products/2CDG110008R0011/usb-s-1-1 |  | ABB | 2CDG110008R0011 |  |  |  |  | 43222605 Network gateway | E | INTERFACE | NONE | MDRC, USB/S 1.1 |  | TYPE | USB | ELECTRICAL RATING | 0.54W | [32 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13845 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 02 | 10 | 260210 | L | ea |  |  | MATERIAL DESCRIPTION, RACKING EQUIPMENT: TYPE: REMOTE RACKING DEVICE, BRAND: POWERVAC, PART NUMBER: 0177D8399G004 | URL NOT FOUND |  | POWERVAC | 0177D8399G004 |  |  |  |  | 39121650 Racking-in/out device with remote control |  | DEVICE | NONE | FOR RACKING EQUIPMENT |  | TYPE | REMOTE RACKING | OUTPUT |  | SIZE |  | MATERIAL |  | ELECTRICAL RATING | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13991 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN CABLE SIZE, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L | EA |  |  | MATERIAL DESCRIPTION, TERMINATION KIT, PART NUMBER: EPKT-17DX1, Type of WIRES: INDOOR, BRANDS: RAYCHEM, SIZE: 300-400mm, GENERAL DES: 12-17.5KV | https://www.gvk.com.au/pdf/heatshrink/epkt_terminations.pdf |  | RAYCHEM | EPKT-17DX1 |  |  |  |  | 26121648 High voltage cable termination kit |  | TERMINATION KIT | NONE |  |  | VOLTAGE | 12KV, 17.5KV | PHASE |  | RATING |  | CABLE TYPE | XLPE | CABLE SIZE | 240 TO 400MM2 | TYPE | INDOOR | MATERIAL |  | STANDARD | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13992 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN VOLTAGE, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, TERMINATION KIT, PART NUMBER: 17C1X1-95-240 SXAW3131, Type of WIRES: OUTDOOR, BRANDS: SIZE: f/cable sz:185-300mm2/95-240mm2, GENERAL DES: 36KV | https://www.te.com/content/dam/te-com/documents/energy/jpn/Energy-product-catalogue-2022-%E8%8B%B1%E8%AA%9E%E7%89%88.pdf |  | TE CONNECTIVITY | SXAW-3131 |  | 17C1X1-95-240 |  |  | 26121648 High voltage cable termination kit | E | TERMINATION KIT | NONE |  |  | VOLTAGE | 12KV | PHASE |  | RATING |  | CABLE TYPE | polymeric | CABLE SIZE | 185 TO 300MM2/95 TO 240mm2 | TYPE | OUTDOOR | MATERIAL |  | STANDARD | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13993 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN CABLE SIZE, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, TERMINATION KIT, PART NUMBER: EPKT36E1X1, Type of WIRES: INDOOR/OUTDOOR, BRANDS: SIZE: 500-630mm, GENERAL DES: ARMOURED | https://www.gvk.com.au/pdf/heatshrink/epkt_terminations.pdf |  | RAYCHEM | EPKT36E1X1 |  |  |  |  | 26121648 High voltage cable termination kit |  | TERMINATION KIT | NONE |  |  | VOLTAGE | 36KV | PHASE |  | RATING |  | CABLE TYPE | XLPE | CABLE SIZE | 240 TO 500MM2 | TYPE | INDOOR/OUTDOOR, ARMOURED | MATERIAL |  | STANDARD | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13994 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | SERIES MATCH | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, TERMINATION KIT, PART NUMBER: ESIJ-OX, Type of WIRES: BRANDS: SIZE: 4cx185mm, GENERAL DES: SCREENED SEPARABLE CONNECTION SYSTEM | http://dehksa.com/catalogs/RAYCHEM_SELECTION_GUIDE.PDF |  | RAYCHEM | ESIJ-OX |  |  |  |  | 26121648 High voltage cable termination kit |  | TERMINATION KIT | NONE | SCREENED SEPARABLE CONNECTION SYSTEM |  | VOLTAGE | 36KV | PHASE |  | RATING |  | CABLE TYPE |  | CABLE SIZE | 4C X 185MM2 | TYPE |  | MATERIAL |  | STANDARD | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13995 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, TERMINATION KIT, PART NUMBER: EPKT-17B3XIH2-B09G75-CP, Type of WIRES: BRANDS: SIZE: 3CX70MM, GENERAL DES: | https://www.gvk.com.au/pdf/heatshrink/epkt_terminations.pdf |  | RAYCHEM | EPKT-17B3XIH2-B09G75-CP |  |  |  |  | 26121648 High voltage cable termination kit |  | TERMINATION KIT | NONE |  |  | VOLTAGE | 12KV, 17.5KV | PHASE |  | RATING |  | CABLE TYPE | XLPE | CABLE SIZE | 35 TO 70MM2 | TYPE |  | MATERIAL |  | STANDARD | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13996 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN CABLE SIZE, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, TERMINATION KIT, PART NUMBER: EPKT-17D3XIH2-SA02, Type of WIRES: BRANDS: SIZE: 185mm, GENERAL DES: | https://www.gvk.com.au/pdf/heatshrink/epkt_terminations.pdf |  | RAYCHEM | EPKT-17D3XIH2-SA02 |  |  |  |  | 26121648 High voltage cable termination kit |  | TERMINATION KIT | NONE |  |  | VOLTAGE | 12KV, 17.5KV | PHASE |  | RATING |  | CABLE TYPE | XLPE | CABLE SIZE | 240 TO 400MM2 | TYPE |  | MATERIAL |  | STANDARD | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13997 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN CABLE SIZE, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, TERMINATION KIT, PART NUMBER: EPKT-17C1XI, Type of WIRES: BRANDS: SIZE: 95-240MM, GENERAL DES: | https://www.gvk.com.au/pdf/heatshrink/epkt_terminations.pdf |  | RAYCHEM | EPKT-17C1XI |  |  |  |  | 26121648 High voltage cable termination kit |  | TERMINATION KIT | NONE |  |  | VOLTAGE | 12KV, 17.5KV | PHASE |  | RATING |  | CABLE TYPE | XLPE | CABLE SIZE | 95 TO 185MM2 | TYPE |  | MATERIAL |  | STANDARD | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13998 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | SERIES MATCH | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, TERMINATION KIT, PART NUMBER: EXIJ-OX/IC 120-185/NA, Type of WIRES: BRANDS: SIZE: 24KV, GENERAL DES: | http://dehksa.com/catalogs/RAYCHEM_SELECTION_GUIDE.PDF |  | RAYCHEM | EXIJ-OX/IC 120-185/NA |  |  |  |  | 26121648 High voltage cable termination kit |  | TERMINATION KIT | NONE |  |  | VOLTAGE | 25KV | PHASE |  | RATING |  | CABLE TYPE |  | CABLE SIZE | 120 TO 185MM2 | TYPE |  | MATERIAL |  | STANDARD | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13999 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, TERMINATION KIT, PART NUMBER: EPKT-17C3XIH2, Type of WIRES: BRANDS: SIZE: GENERAL DES: | https://www.gvk.com.au/pdf/heatshrink/epkt_terminations.pdf |  | RAYCHEM | EPKT-17C3XIH2 |  |  |  |  | 26121648 High voltage cable termination kit |  | TERMINATION KIT | NONE |  |  | VOLTAGE | 12KV, 17.5KV | PHASE |  | RATING |  | CABLE TYPE | XLPE | CABLE SIZE | 95 TO 185MM2 | TYPE |  | MATERIAL |  | STANDARD | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14000 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, TERMINATION KIT, PART NUMBER: RSTI-5846, Type of WIRES: BRANDS: SIZE: GENERAL DES: | https://www.te.com/commerce/DocumentDelivery/DDEController?Action=showdoc&DocId=Specification+Or+Standard%7FEPP-0982%7FA%7Fpdf%7FEnglish%7FENG_SS_EPP-0982_A.pdf%7FCM0012-005 |  | TE CONNECTIVITY | RSTI-5846 |  |  |  |  | 26121648 High voltage cable termination kit | E | TERMINATION KIT | NONE |  |  | VOLTAGE | 12KV | PHASE |  | RATING |  | CABLE TYPE |  | CABLE SIZE | 150MM2 | TYPE |  | MATERIAL |  | STANDARD | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14077 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN POWER, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L | EA |  |  | MATERIAL DESCRIPTION, VARIABLE SPEED DRIVE, WATTS: 55KW, VOLTAGE: 480V-3PH, BRAND: SCHNEIDER, PART NUMBER: ATV212HU55N4 | https://www.se.com/in/en/product/ATV212HU55N4/variable-speed-drive-altivar-212-5-5kw-7-5hp-480v-3-phases-with-emc-ip21/ |  | SCHNEIDER | ATV212HU55N4 |  |  |  |  | 39122006 Variable speed drive | C | DRIVE | VARIABLE SPEED |  |  | RATIO |  | INPUT SPEED |  | OUTPUT SPEED |  | POWER | 5.5KW | ELECTRICAL RATING | 480VAC,3PH | TYPE | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14078 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN POWER, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, VARIABLE SPEED DRIVE, WATTS: 5.5KW, VOLTAGE: 230V-3PH, BRAND: PART NUMBER: ATV212HU22N4 | https://www.se.com/in/en/product/ATV212HU22N4/variable-speed-drive-altivar-212-2-2kw-3hp-480v-3-phases-with-emc-ip21/ |  | SCHNEIDER | ATV212HU22N4 |  |  |  |  | 39122006 Variable speed drive | C | DRIVE | VARIABLE SPEED |  |  | RATIO |  | INPUT SPEED |  | OUTPUT SPEED |  | POWER | 2.2KW | ELECTRICAL RATING | 480VAC,3PH | TYPE | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14079 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN POWER, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, VARIABLE SPEED DRIVE, WATTS: 2.2KW, VOLTAGE: BRAND: PART NUMBER: ATV212HD11N4 | https://www.se.com/us/en/product/ATV212HD11N4/variable-speed-drive-altivar-212-11kw-15hp-480v-3-phases-with-emc-ip21/ |  | SCHNEIDER | ATV212HD11N4 |  |  |  |  | 39122006 Variable speed drive | E | DRIVE | VARIABLE SPEED |  |  | RATIO |  | INPUT SPEED |  | OUTPUT SPEED |  | POWER | 11KW | ELECTRICAL RATING | 480VAC,3PH | TYPE | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14080 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN POWER, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, VARIABLE SPEED DRIVE, WATTS: 11KW, VOLTAGE: BRAND: PART NUMBER: ATV212HU30N4 | https://www.se.com/sa/en/product/ATV212HU30N4/variable-speed-drive-altivar-212-3kw-480v-3-phases-with-emc-ip21/ |  | SCHNEIDER | ATV212HU30N4 |  |  |  |  | 39122006 Variable speed drive | E | DRIVE | VARIABLE SPEED |  |  | RATIO |  | INPUT SPEED |  | OUTPUT SPEED |  | POWER | 3KW | ELECTRICAL RATING | 480VAC,3PH | TYPE | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14081 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN POWER, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, VARIABLE SPEED DRIVE, WATTS: 3KW, VOLTAGE: BRAND: PART NUMBER: ATV212HU40N4 | https://www.se.com/in/en/product/ATV212HU40N4/variable-speed-drive-altivar-212-4kw-5hp-480v-3-phases-with-emc-ip21/ |  | SCHNEIDER | ATV212HU40N4 |  |  |  |  | 39122006 Variable speed drive | E | DRIVE | VARIABLE SPEED |  |  | RATIO |  | INPUT SPEED |  | OUTPUT SPEED |  | POWER | 4KW | ELECTRICAL RATING | 480VAC,3PH | TYPE | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14082 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN POWER, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, VARIABLE SPEED DRIVE, WATTS: 4KW, VOLTAGE: BRAND: PART NUMBER: ATV212HU75N4 | https://www.se.com/in/en/product/ATV212HU75N4/variable-speed-drive-altivar-212-7-5kw-10hp-480v-3-phases-with-emc-ip21/ |  | SCHNEIDER | ATV212HU75N4 |  |  |  |  | 39122006 Variable speed drive | E | DRIVE | VARIABLE SPEED |  |  | RATIO |  | INPUT SPEED |  | OUTPUT SPEED |  | POWER | 7.5KW | ELECTRICAL RATING | 480VAC,3PH | TYPE | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14083 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CONFLICT IN POWER, PROCESSED BASED ON WEBSOURCE | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, VARIABLE SPEED DRIVE, WATTS: 7.5KW, VOLTAGE: BRAND: PART NUMBER: ATV212HD30N4 | https://www.se.com/in/en/product/ATV212HD30N4/variable-speed-drive-altivar-212-30kw-40hp-480v-3-phases-with-emc-ip21/ |  | SCHNEIDER | ATV212HD30N4 |  |  |  |  | 39122006 Variable speed drive | E | DRIVE | VARIABLE SPEED |  |  | RATIO |  | INPUT SPEED |  | OUTPUT SPEED |  | POWER | 30KW | ELECTRICAL RATING | 480VAC,3PH | TYPE | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14084 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, VARIABLE SPEED DRIVE, WATTS: 30KW, VOLTAGE: BRAND: PART NUMBER: | URL NOT FOUND | [7 empty] | 39122006 Variable speed drive | E | DRIVE | VARIABLE SPEED |  |  | RATIO |  | INPUT SPEED |  | OUTPUT SPEED |  | POWER | 30KW | ELECTRICAL RATING | 480VAC,3PH | TYPE | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14126 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | SERIES MATCH | 26 | 05 | 23 | 260523 | L | EA |  |  | MATERIAL DESCRIPTION, DEADBREAK TEE, TYPE: CONNECTOR, PART NUMBER: DTS624T-F-300, BRAND: COOPER | https://www.eaton.com/content/dam/eaton/products/medium-voltage-power-distribution-control-systems/line-installation-and-protective-equipment/630a-deadbreak-companion-tee-connector-for-dts624-dts636-catalog-ca650031en.pdf |  | COOPER | DTS624T-F-300 | [5 empty] | C | CONNECTOR | ELECTRICAL, TEE |  |  | TYPE | DEADBRAKE | RUN CONDUCTOR |  | TAP CONDUCTOR |  | MATERIAL |  | RUN CONNECTION |  | TAP CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14127 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | SERIES MATCH | 26 | 05 | 23 | 260523 | L | SET |  |  | MATERIAL DESCRIPTION, DEADBREAK TEE, TYPE: PART NUMBER: DTS624T-D-120, BRAND: | https://www.eaton.com/content/dam/eaton/products/medium-voltage-power-distribution-control-systems/line-installation-and-protective-equipment/630a-deadbreak-companion-tee-connector-for-dts624-dts636-catalog-ca650031en.pdf |  | COOPER | DTS624T-D-120 | [5 empty] | C | CONNECTOR | ELECTRICAL, TEE |  |  | TYPE | DEADBRAKE | RUN CONDUCTOR |  | TAP CONDUCTOR |  | MATERIAL |  | RUN CONNECTION |  | TAP CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14128 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | SERIES MATCH | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, DEADBREAK TEE, TYPE: PART NUMBER: DTS624T-C-95, BRAND: | https://www.eaton.com/content/dam/eaton/products/medium-voltage-power-distribution-control-systems/line-installation-and-protective-equipment/630a-deadbreak-companion-tee-connector-for-dts624-dts636-catalog-ca650031en.pdf |  | COOPER | DTS624T-C-95 | [5 empty] | C | CONNECTOR | ELECTRICAL, TEE |  |  | TYPE | DEADBRAKE | RUN CONDUCTOR |  | TAP CONDUCTOR |  | MATERIAL |  | RUN CONNECTION |  | TAP CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14129 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | SERIES MATCH | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, DEADBREAK TEE, TYPE: PART NUMBER: DTS624T-F-300 + DTB624T-F-300, BRAND: | https://www.eaton.com/content/dam/eaton/products/medium-voltage-power-distribution-control-systems/line-installation-and-protective-equipment/630a-deadbreak-companion-tee-connector-for-dts624-dts636-catalog-ca650031en.pdf |  | COOPER | DTS624T-F-300 + DTB624T-F-300 | [5 empty] | C | CONNECTOR | ELECTRICAL, TEE |  |  | TYPE | DEADBRAKE | RUN CONDUCTOR |  | TAP CONDUCTOR |  | MATERIAL |  | RUN CONNECTION |  | TAP CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14131 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 23 | 260523 | L | EA |  |  | MATERIAL DESCRIPTION, HEAT SHRINKABLE ACCESSORIES: ANGLE BOOT, SPECS/PART NUMBER: 227 R077-103/89, BRAND: RAYCHEM | URL NOT FOUND |  | RAYCHEM | 227 R077-103/89 |  |  |  |  | 39121700 Electrical hardware and supplies |  | BOOT | NONE | HEAT SHRINKABLE ACCESSORIES |  | TYPE | ANGLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14132 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, HEAT SHRINKABLE ACCESSORIES: END CUP, SPECS/PART NUMBER: E24/8 KW 25/12, BRAND: ELTA | URL NOT FOUND |  | ELTA | E24/8 KW 25/12 |  |  |  |  | 39121700 Electrical hardware and supplies |  | CUP | NONE | HEAT SHRINKABLE ACCESSORIES |  | TYPE | END | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14133 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, HEAT SHRINKABLE ACCESSORIES: MARKER, SPECS/PART NUMBER: RMK6-WM, BRAND: | https://in.element14.com/te-connectivity/rmk6-wm/wire-markers-adhesive/dp/3236068 | https://www.digikey.in/en/products/detail/te-connectivity-raychem-cable-protection/RMK6-WM/2406730 | TE CONNECTIVITY | RMK6-WM |  |  |  |  | 39131502 Heat shrink wire marker | E | MARKER | WIRE | HEAT SHRINKABLE ACCESSORIES |  | DESIGNATION |  | SIZE | 2IN LG X 2IN WD | COLOUR | WHITE | MATERIAL | Polyester BODY | TYPE | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14134 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, HEAT SHRINKABLE ACCESSORIES: TAPE, SPECS/PART NUMBER: 10x50mm, BRAND: | URL NOT FOUND | [7 empty] | 31201500 Tape |  | TAPE | NONE | HEAT SHRINKABLE ACCESSORIES |  | SIZE | 10MM X 50MM | MATERIAL |  | COLOUR |  | TYPE | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14249 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | SERIES MATCH | 26 | 05 | 26 | 260526 | L | EA |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: ROD, Size : 1/2in, BRANDS: FURSE, TYPE: CR4-8-172120, GENERAL DES: TO 120mm2 CABLE | https://image.makewebeasy.net/makeweb/0/m3aVOCaKy/Document/Exothemic_Welding_2023.pdf?v=202305101549 |  | FURSE | CR4-8-172120 |  |  |  |  | 39121613 Grounding devices or assemblies |  | ROD | GROUND | TO 120mm2 CABLE |  | TYPE |  | DIAMETER | 1/2IN | LENGTH |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14250 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L | PKT |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: INSPECTION PIT, Size : 1in, BRANDS: FSC, TYPE: 10ft, GENERAL DES: TO 70mm2 CABLE | URL NOT FOUND |  | FSC | [5 empty] | 39121613 Grounding devices or assemblies |  | PIT | EARTH | SIZE:1IN X 10FT,TO 70mm2 CABLE |  | TYPE | INSPECTION | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14251 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | SERIES MATCH | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: CLAMP WITH ROD, Size : BRANDS: PARTEX, TYPE: CR25-8-172120, GENERAL DES: 05PT005 | https://www.electrolines.org/download/electroweld/cr25.pdf |  | PARTEX | CR25-8-172120 |  |  |  |  | 39121613 Grounding devices or assemblies |  | CLAMP | GROUNDING | W/ROD |  | SIZE |  | MATERIAL |  | STYLE |  | CONTINUOUS CURRENT RATING | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14252 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: CALD WELD MOULD, Size : 3/4in, BRANDS: SINMAR, TYPE: CR2-4-17 2120, GENERAL DES: UL LISTED | https://library.e.abb.com/public/ee87ad09a2d84ab1b1080c27079726c9/FurseWELD%20Section%20Cable%20to%20Earth%20Rod%20ABB%20TSC%20WO%20PNS-6.pdf |  | SINMAR | CR2-4-172120 |  |  |  |  | 39121613 Grounding devices or assemblies |  | MOLD | NONE |  |  | TYPE | GROUNDING,CALD WELD | MATERIAL | [33 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14253 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: U-CLAMP, Size : 70mm, BRANDS: INDIA, TYPE: CS3-4-25, GENERAL DES: TO 35mm CABLE | URL NOT FOUND |  |  | CS3-4-25 |  |  |  |  | 39121613 Grounding devices or assemblies |  | CLAMP | NONE | REGION:INDIA, TO 35mm CABLE |  | TYPE | U | SIZE/CAPACITY | 70MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14254 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: BASE FOR AIR ROD, Size : 25mm, BRANDS: CHINA, TYPE: CC1-4-120, GENERAL DES: 10PCS/PKT | https://search.abb.com/library/Download.aspx?DocumentID=9AKK10103A0037&LanguageCode=en&DocumentPartId=&Action=Launch |  | ABB | CC1-4-120 |  |  |  |  | 39121613 Grounding devices or assemblies | C | BASE | NONE | PACKAGE QUANTITY:10PCS/PKT, FOR AIR ROD, REGION:CHINA |  | TYPE | GROUNDING | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14255 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: D.C TAPE CLIP, Size : 3/4in to 70mm, BRANDS: THERMOWELD, TYPE: CC2-4-16, GENERAL DES: FUR-CP515 | https://new.abb.com/products/7TCA083510R0042/cp515 | https://www.electrika.com/catalogues/ABB-Furse/Tape-clip/CP515/-25X3MM-TAPE-CLIP-BS-EN-13601-/part/126933 | ABB | FUR-CP515 | THERMOWELD | CC2-4-16 |  |  | 39121613 Grounding devices or assemblies | E | CLIP | NONE |  |  | TYPE | D.C TAPE | SIZE | 3/4in to 70mm | MATERIAL | COPPER | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14256 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: Size : 16mmx2.4m L, BRANDS: THOMAS & BETTS, TYPE: CC2-4-7025, GENERAL DES: 100PCS/PKT | https://elsewedyequipment.com/wp-content/uploads/2021/07/furse-weld.pdf | https://www.keison.co.uk/furse/furseweld_product_cable_1.htm | THOMAS & BETTS | CC2-4-7025 |  |  |  |  | 39121613 Grounding devices or assemblies | C | MOLD | NONE | SIZE:16MM X 2.5M LG |  | TYPE | GROUNDING | MATERIAL | [33 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14257 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: THREADED COPPERBOND EARTH ROD, Size : 320mmx192mmx146mm, BRANDS: TYPE: CC4-4-7070, GENERAL DES: TIN PLATED | URL NOT FOUND |  | ABB | CC4-4-7070 |  |  |  |  | 39121613 Grounding devices or assemblies | C | ROD | GROUND | Size : 320mm x 192mm x 146mm, FINISH:TIN PLATED |  | TYPE | THREADED COPPERBOND | DIAMETER |  | LENGTH |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14258 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: THERMOWELD P10, Size : 200mm, BRANDS: TYPE: CS25-4-70, GENERAL DES: TYPE GUV | https://library.e.abb.com/public/6e8767fa182a4b9c8869b3095e6a603a/FurseWELD%20CS25%20&%20CS27.pdf?x-sign=qClUpXUAhhbYYWogXXEFJMJisg/GnhtHBsbvy4lxOIeW3XUg+XKXqaDhCbwLoJxx |  | ABB | CS25-4-70 |  |  |  |  | 39121613 Grounding devices or assemblies | C | MOLD | NONE | BRAND:THERMOWELD, SIZE:200MM, P10,GUV |  | TYPE | GROUNDING | MATERIAL | [33 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14259 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: PRE-INSULATED TERMINAL CONDUCTOR, Size : 25mmx3mm, BRANDS: TYPE: CR1-4-17270, GENERAL DES: TEE CONNECTION | https://library.e.abb.com/public/ee87ad09a2d84ab1b1080c27079726c9/FurseWELD%20Section%20Cable%20to%20Earth%20Rod%20ABB%20TSC%20WO%20PNS-6.pdf |  | ABB | CR1-4-17270 |  |  |  |  | 39121613 Grounding devices or assemblies |  | CONDUCTOR | NONE | TEE CONNECTION,SIZE:25MM X 3MM |  | CONDUCTOR SIZE |  | VOLTAGE |  | STRANDS |  | CONDUCTOR MATERIAL |  | TYPE | PRE-INSULATED TERMINAL,GROUNDING | SIZE |  | LAY |  | CODE NAME |  | STANDARD | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14260 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: ROD TO CABLE CLAMP, Size : 172mmx35mm, BRANDS: TYPE: CS25-4-25, GENERAL DES: TYPE G | https://library.e.abb.com/public/6e8767fa182a4b9c8869b3095e6a603a/FurseWELD%20CS25%20&%20CS27.pdf?x-sign=qClUpXUAhhbYYWogXXEFJMJisg/GnhtHBsbvy4lxOIeW3XUg+XKXqaDhCbwLoJxx |  | ABB | CS25-4-25 |  |  |  |  | 39121613 Grounding devices or assemblies | C | MOLD | NONE | Size : 172mm x 35mm, TYPE G |  | TYPE | ROD TO CABLE CLAMP | MATERIAL | [33 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14261 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: Size : 19x3000mm, BRANDS: TYPE: GENERAL DES: TAPER POINTED | URL NOT FOUND | [7 empty] | 39121613 Grounding devices or assemblies |  | POINT | NONE |  |  | TYPE | GROUNDING,TAPER | SIZE | 19MM x 3000mm | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14262 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: DRIVING STUD, Size : 120mm2, BRANDS: TYPE: SD105H, GENERAL DES: TO 95mm CABLE | URL NOT FOUND |  |  | SD105H |  |  |  |  | 39121613 Grounding devices or assemblies |  | STUD | NONE | SIZE:120MM2, TO 95mm CABLE |  | TYPE | GROUND,DRIVING | DIAMETER |  | THREADS |  | LENGTH |  | MATERIAL |  | THREAD LENGTH |  | SPECIFICATION |  | GRADE | [21 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14263 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 | CHECK ADDITIONAL | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: COUPLING, Size : BRANDS: TYPE: CB4-4-70253, GENERAL DES: 50m/Roll | https://library.e.abb.com/public/7d2dae46ea2e4329b9c488e4347da376/FurseWELD%20CB4.pdf?x-sign=UcAX7qlEMJy8Nnktn5yTB0lZciP+r7efB6aqzshXogE3n+TiwlJU8gUvg2Rtpu0B |  | ABB | CB4-4-70253 |  |  |  |  | 39121613 Grounding devices or assemblies | C | COUPLING | NONE | PACKAGE QUANTITY:50M/ROLL |  | TYPE | GROUNDING | SIZE |  | CONNECTION |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14269 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: TAPE CLAMP, Size : 14.2mmx35mm2, BRANDS: TYPE: 29YP14, GENERAL DES: | URL NOT FOUND |  |  | 29YP14 |  |  |  |  | 39121613 Grounding devices or assemblies |  | CLAMP | GROUNDING | TYPE:TAPE |  | SIZE | 14.2MM X 35MM2 | MATERIAL |  | STYLE |  | CONTINUOUS CURRENT RATING | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14270 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: CABLE SADDLE, Size : 50mm2, BRANDS: TYPE: 29YS64, GENERAL DES: | URL NOT FOUND |  |  | 29YS64 |  |  |  |  | 39121613 Grounding devices or assemblies |  | SADDLE | NONE |  |  | TYPE | CABLE,GROUNDING | SIZE | 50MM2 | MATERIAL |  | STANDARD | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14271 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: BARE HARD DRAWN COPPER, Size : 50mm2 to 50mm2, BRANDS: TYPE: 29YR53, GENERAL DES: | URL NOT FOUND |  |  | 29YR53 |  |  |  |  | 39121613 Grounding devices or assemblies |  | MATERIAL | NONE |  |  | TYPE | BARE HARD DRAWN COPPER | COMPOSITION |  | SIZE | 50mm2 to 50mm2 | COLOUR | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14283 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: Size : 95mm to 3/4in, BRANDS: TYPE: CC-1-4-70, GENERAL DES: | https://search.abb.com/library/Download.aspx?DocumentID=9AKK10103A0037&LanguageCode=en&DocumentPartId=&Action=Launch |  | ABB | CC1-4-70 |  |  |  |  | 39121613 Grounding devices or assemblies |  | MOLD | NONE | Size: 95mm to 3/4in |  | TYPE | GROUNDING | MATERIAL | [33 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14288 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: Size : 15mm, BRANDS: TYPE: CC-1-4-95, GENERAL DES: | https://search.abb.com/library/Download.aspx?DocumentID=9AKK10103A0037&LanguageCode=en&DocumentPartId=&Action=Launch |  | ABB | CC1-4-95 |  |  |  |  | 39121613 Grounding devices or assemblies |  | MOLD | NONE | Size: 15mm |  | TYPE | GROUNDING | MATERIAL | [33 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14305 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: Size : 16mmx1500mm L, BRANDS: TYPE: CB1-4-95253, GENERAL DES: | https://www.rowse-automation.co.uk/abb-7tca083910r0669 |  | ABB | CB1-4-95253 |  |  |  |  | 39121613 Grounding devices or assemblies | C | MOLD | NONE | Size:16mm x 1500mm LG |  | TYPE | GROUNDING | MATERIAL | [33 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14312 | Data Enrichment | MUF | OK | 2024-05-15 | 2024-05-17 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, GROUNDING, TYPE: Size : BRANDS: TYPE: CC1-4-70, GENERAL DES: | https://search.abb.com/library/Download.aspx?DocumentID=9AKK10103A0037&LanguageCode=en&DocumentPartId=&Action=Launch |  | ABB | CC1-4-70 |  |  |  |  | 39121613 Grounding devices or assemblies |  | MOLD | NONE |  |  | TYPE | GROUNDING | MATERIAL | [33 empty] | Production Completed