## comp
Project Code | File Name | Sheet Name | Griha_ID | Activities | Production User | Production Comments | Start Date | End Date | Remarks | S1 | S2 | S3 | Group | Type | Unit | ItemType | CATEGORY | Description | Reference URL | Reference URL1 | MANUFACTURER NAME | MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER | ALTERNATE MANUFACTURER PART NUMBER | VENDOR NAME | VENDOR PART NUMBER | UNSPSC 26.0801 | Enriched/Cleansed | NOUN | MODIFIER | ADDITIONAL INFO From Input | ADDITIONAL INFO From Web | ATTRIBUTE NAME 1 | ATTRIBUTEVALUE 1 | ATTRIBUTE NAME 2 | ATTRIBUTEVALUE 2 | ATTRIBUTE NAME 3 | ATTRIBUTEVALUE 3 | ATTRIBUTE NAME 4 | ATTRIBUTEVALUE 4 | ATTRIBUTE NAME 5 | ATTRIBUTEVALUE 5 | ATTRIBUTE NAME 6 | ATTRIBUTEVALUE 6 | ATTRIBUTE NAME 7 | ATTRIBUTEVALUE 7 | ATTRIBUTE NAME 8 | ATTRIBUTEVALUE 8 | ATTRIBUTE NAME 9 | ATTRIBUTEVALUE 9 | ATTRIBUTE NAME 10 | ATTRIBUTEVALUE 10 | ATTRIBUTE NAME 11 | ATTRIBUTEVALUE 11 | ATTRIBUTE NAME 12 | ATTRIBUTEVALUE 12 | ATTRIBUTE NAME 13 | ATTRIBUTEVALUE 13 | ATTRIBUTE NAME 14 | ATTRIBUTEVALUE 14 | ATTRIBUTE NAME 15 | ATTRIBUTEVALUE 15 | ATTRIBUTE NAME 16 | ATTRIBUTEVALUE 16 | ATTRIBUTE NAME 17 | ATTRIBUTEVALUE 17 | ATTRIBUTE NAME 18 | ATTRIBUTEVALUE 18 | Status
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23950 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: AGAPANTHUS AFRICANUS, SPACING/HEIGHT: 0.15m H, COLOR: GREEN, GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | COLOUR:GREEN |  | TYPE | GROUND,AGAPANTHUS AFRICANUS | SIZE | 0.15M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23955 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: AGAVA AMERICANA, SPACING/HEIGHT: 0.2m H, COLOR: WHITE, GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | COLOUR:WHITE |  | TYPE | GROUND,AGAVA AMERICANA | SIZE | 0.2M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23953 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: ALTERNANTHERA SPECIES, SPACING/HEIGHT: 0.20m SPREAD, COLOR: PURPLE, GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | COLOUR:PURPLE,SPREAD:0.2M |  | TYPE | GROUND,ALTERNANTHERA SPECIES | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23951 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: ALTERNANTHERA, SPACING/HEIGHT: 0.15m SPREAD, COLOR: MULTI BRANCHED, GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | COLOUR:MULTI BRANCHED,SPREAD:0.15M |  | TYPE | GROUND,ALTERNANTHERA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23954 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: ALTETNANTHERA VERSICOLOR, SPACING/HEIGHT: 0.25-0.30m H, 2-4pcs/m2, COLOR: RED, GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | COLOUR:RED,CONTAINER:2 TO 4PCS/M2 |  | TYPE | GROUND,ALTETNANTHERA VERSICOLOR | SIZE | 0.25 TO 0.3M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23956 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: AMARANTHUS TRICOLOR, SPACING/HEIGHT: 0.1-0.15m H, COLOR: YELLOW, GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | COLOUR:YELLOW |  | TYPE | GROUND,AMARANTHUS TRICOLOR | SIZE | 0.1 TO 0.15M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23957 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: AMARYLLIS BELLADONNA, SPACING/HEIGHT: 0.2m H, 0.2m, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | SPREAD:0.2M |  | TYPE | GROUND,AMARYLLIS BELLADONNA | SIZE | 0.2M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23958 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: APTENIA CORDIFOLIA, SPACING/HEIGHT: 0.2m H, 0.3m, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | SPREAD:0.3M |  | TYPE | GROUND,APTENIA CORDIFOLIA | SIZE | 0.2M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23959 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | m2 |  | S1 | MATERIAL, GROUND COVERS: MATERIAL: ARTIFICIAL GREEN GRASS CARPET, SPACING/HEIGHT: 0.30-0.40m H, 2-3pcs/m2, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | CONTAINER:2 TO 3PCS/M2 |  | TYPE | GROUND,ARTIFICIAL GREEN GRASS CARPET | SIZE | 0.3 TO 0.4M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23963 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | m2 |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: ASPARAGUS DENSIFLORUS SPRENGERI, SPACING/HEIGHT: 0.15-0.2m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,ASPARAGUS DENSIFLORUS SPRENGERI | SIZE | 0.15 TO 0.2M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23960 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: ASYSTASIA GANGETICA, SPACING/HEIGHT: 0.30-0.4m H, 1.5-2pcs/m2, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | 1.5 TO 2C |  | TYPE | GROUND,ASYSTASIA GANGETICA | SIZE | 0.3 TO 0.4M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23961 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L |  |  |  | MATERIAL, GROUND COVERS: MATERIAL: ATRIPLEX GLAUCA, SPACING/HEIGHT: 0.30m SPREAD, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | SPREAD:0.3M |  | TYPE | GROUND,ATRIPLEX GLAUCA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23962 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | m2 |  | S1 | MATERIAL, GROUND COVERS: MATERIAL: BERMUDA GRASS, SPACING/HEIGHT: 0.3m H, 6-8/m2, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | CONTAINER:6 TO 8PCS/M2 |  | TYPE | GROUND,BERMUDA GRASS | SIZE | 0.3M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23964 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | m2 |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: CARISSA BOXWOOD BEAUTY, SPACING/HEIGHT: 0.10-0.20m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,CARISSA BOXWOOD BEAUTY | SIZE | 0.1 TO 0.2M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23965 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: CARISSA GREEN CARPET, SPACING/HEIGHT: 0.15-0.25m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,CARISSA GREEN CARPET | SIZE | 0.15 TO 0.25M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23966 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: CARPOBROTUS CHILENSIS, SPACING/HEIGHT: 0.30-0.40m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,CARPOBROTUS CHILENSIS | SIZE | 0.3 TO 0.4M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23967 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: CARPOBROTUS EDULIS, SPACING/HEIGHT: 0.50-0.60m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,CARPOBROTUS EDULIS | SIZE | 0.5 TO 0.6M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23968 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: CATHARANTHUS ALBA, SPACING/HEIGHT: 0.60-0.70m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,CATHARANTHUS ALBA | SIZE | 0.6 TO 0.7M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23969 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: CATHARANTHUS ROSEUS, SPACING/HEIGHT: 0.15-0.20m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,CATHARANTHUS ROSEUS | SIZE | 0.15 TO 0.2M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23970 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: CHLOROPHYTUM COMOSUM, SPACING/HEIGHT: 0.20-0.25m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,CHLOROPHYTUM COMOSUM | SIZE | 0.2 TO 0.25M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_24001 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L |  |  |  | MATERIAL, GROUND COVERS: MATERIAL: CHLOROPHYTUM, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,CHLOROPHYTUM | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23971 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: FESTUCA GLAUCA, SPACING/HEIGHT: 0.35-0.40m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,FESTUCA GLAUCA | SIZE | 0.35 TO 0.4M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23973 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: GAZANIA UNIFLORA, SPACING/HEIGHT: 0.15-0.20m, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,GAZANIA UNIFLORA | SIZE | 0.15 TO 0.2M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23972 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: GAZANIA, SPACING/HEIGHT: 0.10-0.15m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,GAZANIA | SIZE | 0.1 TO 0.15M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23974 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: HEMEROCALLIS YELLOW, SPACING/HEIGHT: 0.25-0.30m, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,HEMEROCALLIS YELLOW | SIZE | 0.25 TO 0.3M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23975 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: HYMENOCALLIS LITTORALIS, SPACING/HEIGHT: 0.30-0.35m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,HYMENOCALLIS LITTORALIS | SIZE | 0.3 TO 0.35M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_24002 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L |  |  |  | MATERIAL, GROUND COVERS: MATERIAL: IPOMEA CAIRICA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,IPOMEA CAIRICA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23976 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: IPOMOEA CAIRICA, SPACING/HEIGHT: 0.40-0.50m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,IPOMOEA CAIRICA | SIZE | 0.4 TO 0.5M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23977 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: IPOMOEAPES-CAPRA, SPACING/HEIGHT: 0.4-0.6m H, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,IPOMOEAPES-CAPRA | SIZE | 0.4 TO 0.6M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23978 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L |  |  |  | MATERIAL, GROUND COVERS: MATERIAL: IRESIME LINDENII, SPACING/HEIGHT: 0.40m SPREAD, COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | SPREAD:0.4M |  | TYPE | GROUND,IRESIME LINDENII | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23979 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: LAMPRANPHUS SPECTABILLIS, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,LAMPRANPHUS SPECTABILLIS | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23983 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L |  |  |  | MATERIAL, GROUND COVERS: MATERIAL: LANTAN NANA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,LANTAN NANA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23981 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: LANTANA MONTEVIDENSIS LILAC, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,LANTANA MONTEVIDENSIS LILAC | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23980 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: LANTANA MONTEVIDENSIS, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,LANTANA MONTEVIDENSIS | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23982 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: LANTANA YELLOW DWARF, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,LANTANA YELLOW DWARF | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23999 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L |  |  |  | MATERIAL, GROUND COVERS: MATERIAL: NYMPHAEA CAERULEA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,NYMPHAEA CAERULEA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23984 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L |  |  |  | MATERIAL, GROUND COVERS: MATERIAL: OCIMUM BASILICUM, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,OCIMUM BASILICUM | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23985 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: OPUNTIA VALGARIS, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,OPUNTIA VALGARIS | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23986 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: PORTULACA GRANDIFLORA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,PORTULACA GRANDIFLORA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23987 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: RHOEO DISCOLOR, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,RHOEO DISCOLOR | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23989 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  |  | MATERIAL, GROUND COVERS: MATERIAL: RUELLIA BRITTONIANA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,RUELLIA BRITTONIANA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23988 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: RUELLIA CILIOSA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,RUELLIA CILIOSA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23990 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: RUELLIA PENINSULARIS, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,RUELLIA PENINSULARIS | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23991 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: RUSSELIA EQUISETIFORMIS, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,RUSSELIA EQUISETIFORMIS | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23992 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: SENECIO CINERARIA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,SENECIO CINERARIA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23994 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: SESUVIUM GREEN CARPET, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,SESUVIUM GREEN CARPET | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_24000 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: SESUVIUM PORTULACASTRUM, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,SESUVIUM PORTULACASTRUM | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23993 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: SETCREASEA PURPUREA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,SETCREASEA PURPUREA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23952 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: TO BE USED, SPACING/HEIGHT: 0.20-0.30m H, COLOR: ORANGE, GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE | ORANGE,TO BE USED |  | TYPE | GROUND | SIZE | 0.2 TO 0.3M HT | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23995 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: VERBENA TENUISECTA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,VERBENA TENUISECTA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23996 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: VITEX ROTUNDIFOLIA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,VITEX ROTUNDIFOLIA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23997 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: WEDELIA TRILOBATA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,WEDELIA TRILOBATA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div32_Ext. Imp. | ITEM CODE DIV 31_23998 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 32 | 93 | 13 | 329313 | L | no |  | M1 | MATERIAL, GROUND COVERS: MATERIAL: YUCCA FILAMENTOSA, SPACING/HEIGHT: COLOR: GENERAL DES: | URL Not Found | [7 empty] | 10000000 Live Plant and Animal Material and Accessories and Supplies | Cleansed | COVER | NONE |  |  | TYPE | GROUND,YUCCA FILAMENTOSA | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24868 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 1000mm X 1000mm, MATERIAL: BRAND: DUCAST, LOAD / SPECS: MC224DS, GENERAL DES: 515mm X 515mm OB | URL Not Found |  |  |  | DUCAST |  |  |  | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:MC224DS |  | TYPE | MANHOLE | SIZE | 1000MM X 1000MM,515MM X 515MM OB | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24879 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 1000x1000mm, MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: ROYAL COMMISSION, ELECTRIC | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,ROYAL COMMISSION,ELECTRIC |  | TYPE | MANHOLE | SIZE | 1000MM X 1000MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24874 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 1100mm X 800mm, MATERIAL: BRAND: LOAD / SPECS: 100mm DEPTH, GENERAL DES: SEWERAGE | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME |  | TYPE | MANHOLE,SEWERAGE | SIZE | 1100MM X 800MM X 100MM DP | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24877 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 1400mm X 1200mm, MATERIAL: BRAND: LOAD / SPECS: 70mm DEPTH, GENERAL DES: CONDENSATE DRAIN | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME |  | TYPE | MANHOLE,CONDENSATE DRAIN | SIZE | 1400MM X 1200MM X 70MM DP | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24876 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 1400mm X 800mm, MATERIAL: BRAND: LOAD / SPECS: MFC 173A (HD), GENERAL DES: WASTE WATER | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:MFC 173A (HD) |  | TYPE | MANHOLE,WASTE WATER | SIZE | 1400MM X 800MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24878 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 1500x1500mm, MATERIAL: BRAND: LOAD / SPECS: MC246LD, GENERAL DES: DRAINAGE HOLDING TANK | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:MC246LD |  | TYPE | MANHOLE,DRAINAGE HOLDING TANK | SIZE | 1500MM X 1500MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24882 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 1600x1000mm, MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: "SECURITY SYSTEM" | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,SECURITY SYSTEM |  | TYPE | MANHOLE | SIZE | 1600MM X 1000MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24885 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 1600x1600mm, MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: 12.5tons, SF-8B | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,CAPACITY:12.5TON,REFERENCE NO:SF-8B |  | TYPE | MANHOLE | SIZE | 1600MM X 1600MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24886 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 1700x1700mm, MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: 12.5tons, SF-201 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,CAPACITY:12.5TON,REFERENCE NO:SF-201 |  | TYPE | MANHOLE | SIZE | 1700MM X 1700MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24875 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 2100mm X 1200mm, MATERIAL: BRAND: LOAD / SPECS: MFC 180SS (HD), GENERAL DES: PRESSURE BREAK CHAMBER | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:MFC 180SS (HD) |  | TYPE | MANHOLE,PRESSURE BREAK CHAMBER | SIZE | 2100MM X 1200MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24883 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 300x300mm, MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: 25tons, SF-8CCI | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,CAPACITY:25TON,REFERENCE NO:SF-8CCI |  | TYPE | MANHOLE | SIZE | 300MM X 300MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24867 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 400mm X 400mm CLEAR OPENING, MATERIAL: BRAND: SAUDI CRYPRUS FOUNDRIES, LOAD / SPECS: C-250, GENERAL DES: 40T | URL Not Found |  | SAUDI CRYPRUS FOUNDRIES | [5 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:C-250,CAPACITY:40TON |  | TYPE | MANHOLE | SIZE | 400MM X 400MM CLEAR OPENING | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24871 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 500mm X 500mm, MATERIAL: BRAND: LOAD / SPECS:, Over Base:720x1240, Double Open, GENERAL DES: 40T, SINGLE SEAL | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,OVER BASE:720MM X 1240MM,DOUBLE OPEN,CAPACITY:40TON,SINGLE SEAL |  | TYPE | MANHOLE | SIZE | 500MM X 500MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24870 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 580mm X 1100mm CLEAR OPENING, MATERIAL: BRAND: MFC, LOAD / SPECS: MC214DS, GENERAL DES: 810mm OB | URL Not Found |  | MFC | [5 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:MC214DS |  | TYPE | MANHOLE | SIZE | 580MM X 1100MM CLEAR OPENING,810MM OB | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24869 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 600mm X 600mm CO, MATERIAL: BRAND: BINEX, LOAD / SPECS: MC224HD, GENERAL DES: 760mm X 760mm OB | URL Not Found |  | BINEX | [5 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:MC224HD |  | TYPE | MANHOLE | SIZE | 600MM X 600MM CLEAR OPENING,760MM X 760MM OB | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24864 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 600mm, MATERIAL: CI, BRAND: SAUDI CAST, LOAD / SPECS: HD, GENERAL DES: 15T | URL Not Found |  | SAUDI CAST | [5 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:HD,CAPACITY:15TON |  | TYPE | MANHOLE | SIZE | 600MM | MATERIAL | CAST IRON | [30 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24884 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 600x400mm, MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: 25tons, SF-260 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,CAPACITY:25TON,REFERENCE NO:SF-260 |  | TYPE | MANHOLE | SIZE | 600MM X 400MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24881 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 600x600mm, MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: "STORM SEWER" | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,STORM SEWER |  | TYPE | MANHOLE,STORM SEWER | SIZE | 600MM X 600MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24873 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 700mmX700mm CO, MATERIAL: BRAND: LOAD / SPECS: 80mm DEPTH, GENERAL DES: LOW CURRENT | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME |  | TYPE | MANHOLE,LOW CURRENT | SIZE | 700MM X 700MM CLEAR OPENING X 80MM DP | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24865 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 760mm, MATERIAL: DI, BRAND: MOFAC, LOAD / SPECS: MD, GENERAL DES: 20T | URL Not Found |  | MOFAC | [5 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:MD,CAPACITY:20TON |  | TYPE | MANHOLE | SIZE | 760MM | MATERIAL | DUCTILE IRON | [30 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24866 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 800mm, MATERIAL: BRAND: RIYADH FOUNDRY, LOAD / SPECS: LD, GENERAL DES: 30T | URL Not Found |  | RIYADH FOUNDRY | [5 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:LD,CAPACITY:30TON |  | TYPE | MANHOLE | SIZE | 800MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24880 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 800x800mm, MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: "SANITARY SEWER" | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME |  | TYPE | MANHOLE,SANITARY SEWER | SIZE | 800MM X 800MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24872 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L | Ea |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: 900mm X 900mm CO, MATERIAL: BRAND: LOAD / SPECS: MC207C HD, GENERAL DES: 40T, DOUBLE SEAL | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,LOAD/SPECS:MC207C HD,CAPCITY:40TON,DOUBLE SEAL |  | TYPE | MANHOLE | SIZE | 900MM X 900MM CLEAR OPENING | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24895 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: 1.5TON | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,CAPACITY:1.5TON |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24899 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MF C175 C4 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MF C175 C4 |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24900 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MF C177 C4 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MF C177 C4 |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24893 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 165 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 165 |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24896 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 167 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 167 |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24890 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 180 SS | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 180 SS |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24887 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 184 SS | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 184 SS |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24898 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 199 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 199 |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24888 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 208 C2 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 208 C2 |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24891 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 223 A | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 223 A |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24894 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 239 C3 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 239 C3 |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24892 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 242 C4 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 242 C4 |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24889 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 242 C6 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 242 C6 |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_24897 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 33 | 05 | 13 | 330513 | L |  |  |  | MATERIAL DESCRIPTION, MANHOLE COVER AND FRAME, SIZE: MATERIAL: BRAND: LOAD / SPECS: GENERAL DES: MFC 357 | URL Not Found | [7 empty] | 30121713 Manhole cover | Cleansed | COVER | NONE | W/FRAME,REFERENCE NO:MFC 357 |  | TYPE | MANHOLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3687 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 01 | 52 | 23 | 015223 | L |  |  |  | MATERIAL, SAFETY FACE COVER: TYPE: BALACLAVA(ARC FLASH-ATPV 12.1cal/cm2), PURPOSE: FIX WITH SAFETY FIBER GLASS, INCLUSION: W/HANDLE, MADE/MODEL: TAIWAN, COLOR: | URL Not Found | [7 empty] | 46181700 Face and head protection | Cleansed | BALACLAVA | NONE | ATPV RATING:12.1CAL/CM2,FIX W/SAFETY FIBER GLASS PURPOSE,INCLUSION W/HANDLE, COUNTRY:TAIWAN | LAYER:SINGLE | SIZE |  | COLOUR |  | MATERIAL |  | TYPE | ARC FLASH,SAFETY FACE COVER | [28 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div07_WP | ITEM CODE DIV 01_8642 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 07 | 11 | 19 | 071119 | L | kg |  | M1 | MATERIAL, WOVEN GEOTEXTILE COVER, TYPE: WEED MAT, GSM: 150 GSM, GENERAL DES: | URL Not Found | [7 empty] | 52101500 Rugs and mats | Cleansed | MAT | NONE | WEIGHT:150GSM |  | TYPE | WEED COVER | CONFIGURATION |  | SIZE |  | MATERIAL | WOVEN GEOTEXTILE | COLOUR | [27 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11574 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: EXHAUST LINEAR, SLOT: LENGTH: 900mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 900MM LG | MATERIAL |  | TYPE | SLOT,EXHAUST LINEAR | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11573 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: RETURN LINEAR, SLOT: LENGTH: 1200mm, MFR: GENERAL DES: SD-25-X-S | https://www.safid.com/pdf/AirDevices/Slot%20Diffusers.pdf |  | SAFID | SD-25-X-S |  |  |  |  | 40101505 Air diffusers | Enriched | DIFFUSER | AIR |  |  | SIZE | 1200MM LG X 1IN SLOT WD | MATERIAL | POWDER COATED EXTRUDED ALUMINUM ALLOY | TYPE | SLOT,RETURN LINEAR | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11587 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 1000mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 1000MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11582 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 100mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 100MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11591 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 1100mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 1100MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11590 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 1825mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 1825MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11583 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 182mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 182MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11586 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 2000mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 2000MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11584 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 200mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 200MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11588 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 250mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 250MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11589 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 300mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 300MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11585 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 3450mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 3450MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11575 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 3500mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 3500MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11577 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 380mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 380MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11576 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 4500mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 4500MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11578 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 500mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 500MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11592 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L |  |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 555mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 555MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11579 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 600mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 600MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11580 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 625mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 625MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11581 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SLOT: LENGTH: 875mm, MFR: GENERAL DES: | URL Not Found | [7 empty] | 40101505 Air diffusers | Cleansed | DIFFUSER | AIR |  |  | SIZE | 875MM LG | MATERIAL |  | TYPE | SLOT | [30 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div23_HVAC | ITEM CODE DIV 21_11572 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 23 | 37 | 13 | 233713 | L | Ea |  |  | MATERIAL DESCRIPTION, SLOT DIFFUSER, TYPE: SUPPLY LINEAR, SLOT: 2 SLOT, LENGTH: 3000mm, MFR: SAFID, GENERAL DES: SD-25-D-H-S | https://www.safid.com/pdf/AirDevices/Slot%20Diffusers.pdf |  | SAFID | SD-25-D-H-S |  |  |  |  | 40101505 Air diffusers | Enriched | DIFFUSER | AIR | NUMBER OF SLOTS:2 |  | SIZE | 3000MM LG X 1IN SLOT WD | MATERIAL | POWDER COATED EXTRUDED ALUMINUM ALLOY | TYPE | SLOT,SUPPLY LINEAR | [30 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4850 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L | kg |  | M1 | MATERIAL, NAIL, TYPE: COMMON, SIZE: 7x100mm, PACKING: (5kg/box), BRAND: MURATA SANGYO - JAPAN, PACKING: 50pcs/pkt | URL Not Found |  | MURATA SANGYO | [5 empty] | 31162000 Nails | Cleansed | NAIL | NONE | SIZE:#7,PACKAGE QUANTITY:50PCS/PKT,COUNTRY:JAPAN |  | TYPE | COMMON | LENGTH | 100MM | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4851 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L | pkt |  |  | MATERIAL, NAIL, TYPE: CONCRETE, SIZE: 7x75mm, PACKING: (8kg/box), BRAND: KSA, PACKING: 100pcs/box | URL Not Found |  | KSA | [5 empty] | 31162004 Masonry nails | Cleansed | NAIL | NONE | SIZE:#7,PACKAGE QUANTITY:100PCS/BOX |  | TYPE | CONCRETE | LENGTH | 75MM | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4858 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 1-1/2in, PACKING: (17kg/box), BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE | PACKAGE QUANTITY:17KG/BOX |  | TYPE |  | LENGTH | 1-1/2IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4866 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 1-1/4in, PACKING: BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE |  |  | TYPE |  | LENGTH | 1-1/4IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4863 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 11x2.5in, PACKING: BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE | SIZE:#11 |  | TYPE |  | LENGTH | 2-1/2IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4864 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 11x2in, PACKING: BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE | SIZE:#11 |  | TYPE |  | LENGTH | 2IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4857 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 1in, PACKING: (16kg/box), BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE | PACKAGE QUANTITY:16KG/BOX |  | TYPE |  | LENGTH | 1IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4860 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 2.5in, PACKING: (15kg/box), BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE | PACKAGE QUANTITY:15KG/BOX |  | TYPE |  | LENGTH | 2-1/2IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4859 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 2in, PACKING: (4kg/box), BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE | PACKAGE QUANTITY:4KG/BOX |  | TYPE |  | LENGTH | 2IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4856 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 3/4in, PACKING: (6pkt/box), BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE | PACKAGE QUANTITY:6PKT/BOX |  | TYPE |  | LENGTH | 3/4IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4861 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 3in, PACKING: (16pkt/box), BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE | PACKAGE QUANTITY:16PKT/BOX |  | TYPE |  | LENGTH | 3IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4862 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 4in, PACKING: BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE |  |  | TYPE |  | LENGTH | 4IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4865 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 5in, PACKING: BRAND: PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE |  |  | TYPE |  | LENGTH | 5IN | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4855 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 6cm, PACKING: (18kg/box), BRAND: JET, PACKING: | URL Not Found |  | JET | [5 empty] | 31162000 Nails | Cleansed | NAIL | NONE | PACKAGE QUANTITY:18KG/BOX |  | TYPE |  | LENGTH | 6CM | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4853 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 9x38mm, PACKING: (12.5kg/box), BRAND: CHINA, PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE | SIZE:#9,PACKAGE QUANTITY:12.5KG/BOX,COUNTRY:CHINA |  | TYPE |  | LENGTH | 38MM | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4854 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: SIZE: 9x50mm, PACKING: (50pkt/box), BRAND: JAPAN, PACKING: | URL Not Found | [7 empty] | 31162000 Nails | Cleansed | NAIL | NONE | SIZE:#9,PACKAGE QUANTITY:50PKT/BOX |  | TYPE |  | LENGTH | 50MM | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_4852 | Data Enrichment | SFQ | OK | 2024-05-15 | 2024-05-17 |  | 03 | 11 | 14 | 031114 | L |  |  |  | MATERIAL, NAIL, TYPE: WOODEN, SIZE: 9x25mm, PACKING: (4.5kg/box), BRAND: DUSUR, PACKING: | URL Not Found |  | DUSUR | [5 empty] | 31162000 Nails | Cleansed | NAIL | NONE | SIZE:#9,PACKAGE QUANTITY:4.5KG/BOX |  | TYPE | WOODEN | LENGTH | 25MM | THICKNESS |  | MATERIAL |  | FINISH |  | STANDARD | [25 empty] | Production Completed