## Sheet1
Project Code | File Name | Sheet Name | Griha_ID | Activities | Production User | Production Comments | Start Date | End Date | Remarks | S1 | S2 | S3 | Group | Type | Unit | ItemType | CATEGORY | Description | Reference URL | Reference URL1 | MANUFACTURER NAME | MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER | ALTERNATE MANUFACTURER PART NUMBER | VENDOR NAME | VENDOR PART NUMBER | UNSPSC 26.0801 | Enriched/Cleansed | NOUN | MODIFIER | ADDITIONAL INFO From Input | ADDITIONAL INFO From Web | ATTRIBUTE NAME 1 | ATTRIBUTEVALUE 1 | ATTRIBUTE NAME 2 | ATTRIBUTEVALUE 2 | ATTRIBUTE NAME 3 | ATTRIBUTEVALUE 3 | ATTRIBUTE NAME 4 | ATTRIBUTEVALUE 4 | ATTRIBUTE NAME 5 | ATTRIBUTEVALUE 5 | ATTRIBUTE NAME 6 | ATTRIBUTEVALUE 6 | ATTRIBUTE NAME 7 | ATTRIBUTEVALUE 7 | ATTRIBUTE NAME 8 | ATTRIBUTEVALUE 8 | ATTRIBUTE NAME 9 | ATTRIBUTEVALUE 9 | ATTRIBUTE NAME 10 | ATTRIBUTEVALUE 10 | ATTRIBUTE NAME 11 | ATTRIBUTEVALUE 11 | ATTRIBUTE NAME 12 | ATTRIBUTEVALUE 12 | ATTRIBUTE NAME 13 | ATTRIBUTEVALUE 13 | ATTRIBUTE NAME 14 | ATTRIBUTEVALUE 14 | ATTRIBUTE NAME 15 | ATTRIBUTEVALUE 15 | ATTRIBUTE NAME 16 | ATTRIBUTEVALUE 16 | ATTRIBUTE NAME 17 | ATTRIBUTEVALUE 17 | ATTRIBUTE NAME 18 | ATTRIBUTEVALUE 18 | Status
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14113 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 05 | 23 | 260523 | L | ROLL |  |  | MATERIAL DESCRIPTION, ELECTRICAL TAPE, SIZE: 3/4in, BRAND: VIRA, COLOR: GREEN, PACKING: 10y/Roll, TYPE: FIRE RETERDANT | URL NOT FOUND |  | VIRA | [5 empty] | 31201502 Electrical insulating tape | CLEANSED | TAPE | ELECTRICAL |  |  | SIZE | 10YARD/ROLL X 3/4IN | RATING |  | MATERIAL |  | COLOUR | GREEN | TYPE | FIRE RETARDANT | [26 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14114 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, ELECTRICAL TAPE, SIZE: 1-1/2in, BRAND: SCOTCH, COLOR: YELLOW, PACKING: 20ft/Roll, TYPE: STANDARD | URL NOT FOUND | [7 empty] | 31201502 Electrical insulating tape | CLEANSED | TAPE | ELECTRICAL | BRAND: SCOTCH |  | SIZE | 20FT/ROLL X 1-1/2IN | RATING |  | MATERIAL |  | COLOUR | YELLOW | TYPE | STANDARD | [26 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14115 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, ELECTRICAL TAPE, SIZE: 1/2in, BRAND: KSA, COLOR: BLUE, PACKING: 10ft/Roll, TYPE: VINYL | URL NOT FOUND |  | KSA | [5 empty] | 31201502 Electrical insulating tape | CLEANSED | TAPE | ELECTRICAL |  |  | SIZE | 10FT/ROLL X 1/2IN | RATING |  | MATERIAL | VINYL | COLOUR | BLUE | TYPE | [27 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14116 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, ELECTRICAL TAPE, SIZE: 2in, BRAND: 3M, COLOR: BLACK, PACKING: 21.9y/Roll, TYPE: RUBBER SPLICING | URL NOT FOUND |  | 3M | [5 empty] | 31201502 Electrical insulating tape | CLEANSED | TAPE | ELECTRICAL |  |  | SIZE | 21.9YARD/ROLL X 2IN | RATING |  | MATERIAL |  | COLOUR | BLACK | TYPE | RUBBER SPLICING | [26 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14117 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, ELECTRICAL TAPE, SIZE: BRAND: WINNER, COLOR: RED, PACKING: 20m/Roll, TYPE: LINERLESS RUBBER SPLICING | URL NOT FOUND |  | WINNER | [5 empty] | 31201502 Electrical insulating tape | CLEANSED | TAPE | ELECTRICAL |  |  | SIZE | 20M/ROLL | RATING |  | MATERIAL |  | COLOUR | RED | TYPE | LINERLESS RUBBER SPLICING | [26 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14118 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, ELECTRICAL TAPE, SIZE: BRAND: TEMPLEX, COLOR: GRAY, PACKING: 66ft/Roll, TYPE: | URL NOT FOUND | [7 empty] | 31201502 Electrical insulating tape | CLEANSED | TAPE | ELECTRICAL | BRAND: TEMPLEX |  | SIZE | 66FT/ROLL | RATING |  | MATERIAL |  | COLOUR | GRAY | TYPE | [27 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14119 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, ELECTRICAL TAPE, SIZE: BRAND: NISSAD, COLOR: YELLOW/GREEN, PACKING: 20y/Roll, TYPE: | URL NOT FOUND |  | NISSAD | [5 empty] | 31201502 Electrical insulating tape | CLEANSED | TAPE | ELECTRICAL |  |  | SIZE | 20YARD/ROLL | RATING |  | MATERIAL |  | COLOUR | YELLOW/GREEN | TYPE | [27 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14120 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, ELECTRICAL TAPE, SIZE: BRAND: WINI, COLOR: BROWN, PACKING: 30ft/Roll, TYPE: | URL NOT FOUND |  | WINI | [5 empty] | 31201502 Electrical insulating tape | CLEANSED | TAPE | ELECTRICAL |  |  | SIZE | 30FT/ROLL | RATING |  | MATERIAL |  | COLOUR | BROWN | TYPE | [27 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14121 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 05 | 23 | 260523 | L |  |  |  | MATERIAL DESCRIPTION, ELECTRICAL TAPE, SIZE: BRAND: HI-TECH, COLOR: MIX, PACKING: 50y/Roll, TYPE: | URL NOT FOUND |  | HI-TECH | [5 empty] | 31201502 Electrical insulating tape | CLEANSED | TAPE | ELECTRICAL |  |  | SIZE | 50YARD/ROLL | RATING |  | MATERIAL |  | COLOUR | MIX | TYPE | [27 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15972 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L | Ea |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 20amp, BRAND: GE, NUMBER OF POLE: 1POLE 50/60HZ, PART NUMBER: SACE TMAX T5N630, GENERAL DES: LV429632 | https://www.se.com/uk/en/product/LV429632/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-tmd-trip-unit-63-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429632 | GE | SACE TMAX T5N630 |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE |  | VOLTAGE | 690VAC | AMPERAGE | 63A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15974 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L | Ea |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 50amp, BRAND: SCHNEIDER, NUMBER OF POLE: 3P C 6KA, PART NUMBER: 400VAC, GENERAL DES: LV431630 | https://www.se.com/in/en/product/LV431630/circuit-breaker-compact-nsx250f-36-ka-at-415-vac-tmd-trip-unit-250-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV431630 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 250A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15975 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L | Ea |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 100amp, BRAND: CUTTLER HUMMER, NUMBER OF POLE: 1P C 6KA, PART NUMBER: 230VAC, GENERAL DES: LV429741 | https://www.se.com/in/en/product/LV429741/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-ma-trip-unit-50-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429741 | CUTLER HAMMER |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 50A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15989 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L | Ea |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 14amp, BRAND: NUMBER OF POLE: 2P 480VAC, PART NUMBER: LV430830, GENERAL DES: FD3060L | https://www.se.com/in/en/product/LV430830/circuit-breaker-compact-nsx160f-36-ka-at-415-vac-ma-trip-unit-150-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV430830 | EATON | FD3060L |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 150A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16004 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 18amp, BRAND: NUMBER OF POLE: 4P 3D, PART NUMBER: LV432676, GENERAL DES: XT2S 160 TMA | https://www.se.com/in/en/product/LV432676/circuit-breaker-compact-nsx400f-36-ka-at-415-vac-micrologic-2-3-trip-unit-400-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV432676 |  | XT2S 160 TMA |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 400A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | MICROLOGIC 2.3 | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16005 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 1.6amp, BRAND: NUMBER OF POLE: 2P-MCB, PART NUMBER: LV429631, GENERAL DES: AS-32E3-32H | https://www.se.com/in/en/product/LV429631/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-tmd-trip-unit-80-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429631 |  | AS-32E3-32H |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 80A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16007 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 2500amp, BRAND: NUMBER OF POLE: GV2 THERMAL MAGNETIC, PART NUMBER: LV430311, GENERAL DES: FD3125VL | https://www.se.com/in/en/product/LV430311/circuit-breaker-compact-nsx160b-25-ka-at-415-vac-tmd-trip-unit-125-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV430311 |  | FD3125VL |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 125A | CONNECTION |  | INTERRUPTING CAPACITY | 25KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16008 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 1000amp, BRAND: NUMBER OF POLE: 3P3D NSX100N, PART NUMBER: LV429550, GENERAL DES: HDM6S630L6303XXXF | https://www.se.com/in/en/product/LV429550/circuit-breaker-compact-nsx100b-25-ka-at-415-vac-tmd-trip-unit-100-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429550 ¦ 3D NSX100N |  | HDM6S630L6303XXXF |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 100A | CONNECTION |  | INTERRUPTING CAPACITY | 25KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16010 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 5amp, BRAND: NUMBER OF POLE: 3P-ABC, PART NUMBER: LV429552, GENERAL DES: HDM3100S5033XXT | https://www.se.com/in/en/product/LV429552/circuit-breaker-compact-nsx100b-25-ka-at-415-vac-tmd-trip-unit-63-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429552 |  | HDM3100S5033XXT |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 63A | CONNECTION |  | INTERRUPTING CAPACITY | 25KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16011 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 15amp, BRAND: NUMBER OF POLE: TPMCB, PART NUMBER: LV429553, GENERAL DES: DHB9H631C32 | https://www.se.com/au/en/product/LV429553/circuit-breaker-compact-nsx100b-25ka-415vac-tmd-trip-unit-50a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429553 |  | DHB9H631C32 |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 50A | CONNECTION |  | INTERRUPTING CAPACITY | 25KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16012 | Data Enrichment | VNE | OK, CONFLICT WRT I/P PROCESS BASED ON WEBSOURCE | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: 1000AF/800AT, BRAND: NUMBER OF POLE: 4P-RCCB, PART NUMBER: LV429554, GENERAL DES: FDE308032 | https://www.se.com/in/en/product/LV429554/circuit-breaker-compact-nsx100b-25-ka-at-415-vac-tmd-trip-unit-40-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429554 |  | FDE308032 |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 40A | CONNECTION |  | INTERRUPTING CAPACITY | 25KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16022 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44220, GENERAL DES: | https://www.se.com/uk/en/product/A9F44220/acti9-ic60n-2p-20a-c-miniature-circuit-breaker/ |  | SCHNEIDER ELECTRIC | A9F44220 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 20A | INTERRUPTING CAPACITY | 20KA | POLE | 2 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20, IP40 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 36MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16023 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44210, GENERAL DES: | https://www.se.com/uk/en/product/A9F44210/acti9-ic60n-2p-10a-c-miniature-circuit-breaker/ |  | SCHNEIDER ELECTRIC | A9F44210 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 10A | INTERRUPTING CAPACITY | 20KA | POLE | 2 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20, IP40 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 36MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16024 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44106, GENERAL DES: | https://www.se.com/uk/en/product/A9F44106/acti9-ic60n-1p-6a-c-miniature-circuit-breaker/ |  | SCHNEIDER ELECTRIC | A9F44106 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 6A | INTERRUPTING CAPACITY | 10KA | POLE | 1 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20, IP40 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 18MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16025 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44110, GENERAL DES: | https://www.se.com/au/en/product/A9F44110/acti9-miniature-circuit-breaker-mcb-acti9-ic60n-disbo-1p-10a-c-curve-6000a-iec-en-608981-10ka-iec-en-609472/ |  | SCHNEIDER ELECTRIC | A9F44110 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 10A | INTERRUPTING CAPACITY | 10KA | POLE | 1 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20, IP40 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 18MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16026 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44150, GENERAL DES: | https://www.se.com/au/en/product/A9F44150/acti9-miniature-circuit-breaker-mcb-acti9-ic60n-disbo-1p-50a-c-curve-6000a-iec-en-608981-10ka-iec-en-609472/ |  | SCHNEIDER ELECTRIC | A9F44150 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 50A | INTERRUPTING CAPACITY | 10KA | POLE | 1 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20, IP40 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 18MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16028 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44320, GENERAL DES: | https://www.se.com/uk/en/product/A9F44320/acti9-ic60n-3p-20a-c-miniature-circuit-breaker/ |  | SCHNEIDER ELECTRIC | A9F44320 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 20A | INTERRUPTING CAPACITY | 20KA | POLE | 3 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20, IP40 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 54MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16029 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV432895, GENERAL DES: | https://www.se.com/in/en/product/LV432895/circuit-breaker-compact-nsx630h-70-ka-at-415-vac-micrologic-2-3-trip-unit-630-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV432895 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 630A | CONNECTION |  | INTERRUPTING CAPACITY | 70KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | MICROLOGIC 2.3 | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16030 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV432598, GENERAL DES: | https://www.se.com/in/en/product/LV432598/extended-rotary-handle-compact-nsx-400-630-powerpact-multistandard-l-easypact-cvs-400-630-black-standard-handle-ip55/ |  | SCHNEIDER ELECTRIC | LV432598 |  |  |  |  | 31162801 Handles or knobs | ENRICHED | HANDLE | NONE |  | HANDLE COLOR: BLACK, DEGREE OF PROTECTION: IP55 | TYPE | EXTENDED ROTARY | SIZE |  | MATERIAL | [31 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16031 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9R17440, GENERAL DES: | https://www.se.com/ae/en/product/A9R17440/acti-9-iid-rccb-4p-40a-500ma-s-type-ac/ |  | SCHNEIDER ELECTRIC | A9R17440 |  |  |  |  | 39121601 Circuit breakers | ENRICHED | CIRCUIT BREAKER | NONE |  | TYPE: RESIDUAL CURRENT | NO OF POLES | 4 | AMPS | 40A | OPERATIONAL VOLTAGES | 380 TO 415VAC | MAGNETIC TRIP CHARACTERISTICS |  | FREQUENCY | 50/60HZ | OPERATIONAL TEMPERATURE | -5 TO 60DEG C | CONNECTION | SINGLE TERMINAL | INTERRUPTING CAPACITY | 10KA | CURVE |  | MOUNT | CLIP-ON, DIN RAIL | ENCLOSURE | IP20, IP40 | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16033 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV431770, GENERAL DES: | https://www.se.com/in/en/product/LV431770/circuit-breaker-compact-nsx250f-36-ka-at-415-vac-micrologic-2-2-trip-unit-250-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV431770 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 250A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | MICROLOGIC 2.2 | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16034 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV431771, GENERAL DES: | https://www.se.com/eg/en/product/LV431771/circuit-breaker-compact-nsx250f-36-ka-at-415-vac-micrologic-2-2-trip-unit-160-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV431771 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 160A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | MICROLOGIC 2.2 | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16035 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429772, GENERAL DES: | https://www.se.com/in/en/product/LV429772/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-micrologic-2-2-trip-unit-40-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429772 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 40A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | MICROLOGIC 2.2 | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16036 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV430631, GENERAL DES: | https://www.se.com/in/en/product/LV430631/circuit-breaker-compact-nsx160f-36-ka-at-415-vac-tmd-trip-unit-125-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV430631 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 125A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16037 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429630, GENERAL DES: | https://www.se.com/in/en/product/LV429630/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-tmd-trip-unit-100-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429630 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 100A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16038 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429633, GENERAL DES: | https://www.se.com/in/en/product/LV429633/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-tmd-trip-unit-50-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429633 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 50A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16039 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429635, GENERAL DES: | https://www.se.com/in/en/product/LV429635/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-tmd-trip-unit-32-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429635 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 32A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16040 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429636, GENERAL DES: | https://www.se.com/eg/en/product/LV429636/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-tmd-trip-unit-25-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429636 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 25A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16041 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44340, GENERAL DES: | https://www.se.com/sa/en/product/A9F44340/miniature-circuit-breaker-mcb-acti9-ic60n-disbo-3p-40a-c-curve-6000a-iec-en-608981-10ka-iec-en-609472/ |  | SCHNEIDER ELECTRIC | A9F44340 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 40A | INTERRUPTING CAPACITY | 20KA | POLE | 3 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20, IP40 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 54MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16042 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44350, GENERAL DES: | https://www.se.com/au/en/product/A9F44350/acti9-miniature-circuit-breaker-mcb-acti9-ic60n-disbo-3p-50a-c-curve-6000a-iec-en-608981-10ka-iec-en-609472/ |  | SCHNEIDER ELECTRIC | A9F44350 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 50A | INTERRUPTING CAPACITY | 20KA | POLE | 3 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20, IP40 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 54MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16043 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44363, GENERAL DES: | https://www.se.com/au/en/product/A9F44363/acti9-miniature-circuit-breaker-mcb-acti9-ic60n-disbo-3p-63a-c-curve-6000a-iec-en-608981-10ka-iec-en-609472/ |  | SCHNEIDER ELECTRIC | A9F44363 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 63A | INTERRUPTING CAPACITY | 20KA | POLE | 3 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20, IP40 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 54MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16044 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9R14491, GENERAL DES: | https://www.se.com/in/en/product/A9R14491/acti-9-iid-rccb-4p-100a-300ma-type-ac/ |  | SCHNEIDER ELECTRIC | A9R14491 |  |  |  |  | 39121601 Circuit breakers | ENRICHED | CIRCUIT BREAKER | NONE |  | TYPE: MODULAR AND RELIABLE RESIDUAL CURRENT | NO OF POLES | 4 | AMPS | 100A | OPERATIONAL VOLTAGES | 380 TO 415VAC | MAGNETIC TRIP CHARACTERISTICS |  | FREQUENCY | 50/60HZ | OPERATIONAL TEMPERATURE | -5 TO 60DEG C | CONNECTION | SINGLE TERMINAL | INTERRUPTING CAPACITY | 10KA | CURVE |  | MOUNT | CLIP-ON, DIN RAIL | ENCLOSURE | IP20, IP40 | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16045 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV432695, GENERAL DES: | https://www.se.com/in/en/product/LV432695/circuit-breaker-compact-nsx400h-70-ka-at-415-vac-micrologic-2-3-trip-unit-400-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV432695 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 400A | CONNECTION |  | INTERRUPTING CAPACITY | 70KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | MICROLOGIC 2.3 | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16046 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429792, GENERAL DES: | https://www.se.com/au/en/product/LV429792/circuit-breaker-compact-nsx100h-70ka-415vac-micrologic-2-2-trip-unit-40a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429792 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 40A | CONNECTION |  | INTERRUPTING CAPACITY | 70KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | MICROLOGIC 2.2 | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16047 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV431630, GENERAL DES: | https://www.se.com/in/en/product/LV431630/circuit-breaker-compact-nsx250f-36-ka-at-415-vac-tmd-trip-unit-250-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV431630 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 250A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16048 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV431632, GENERAL DES: | https://www.se.com/in/en/product/LV431632/circuit-breaker-compact-nsx250f-36-ka-at-415-vac-tmd-trip-unit-160-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV431632 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 160A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16049 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV430770, GENERAL DES: | https://www.se.com/in/en/product/LV430770/circuit-breaker-compact-nsx160f-36-ka-at-415-vac-micrologic-2-2-trip-unit-160-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV430770 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 160A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | MICROLOGIC 2.2 | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16050 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429770, GENERAL DES: | https://www.se.com/in/en/product/LV429770/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-micrologic-2-2-trip-unit-100-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429770 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 100A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | MICROLOGIC 2.2 | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16051 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44316, GENERAL DES: | https://www.se.com/uk/en/product/A9F44316/acti9-ic60n-3p-16a-c-miniature-circuit-breaker/ |  | SCHNEIDER ELECTRIC | A9F44316 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 16A | INTERRUPTING CAPACITY | 20KA | POLE | 3 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20, IP40 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 54MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16054 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429637, GENERAL DES: | https://www.se.com/in/en/product/LV429637/circuit-breaker-compact-nsx100f-36-ka-at-415-vac-tmd-trip-unit-16-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429637 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 16A | CONNECTION |  | INTERRUPTING CAPACITY | 36KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16055 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F54216, GENERAL DES: | https://www.se.com/uk/en/product/A9F54216/acti9-ic60h-2p-16a-c-miniature-circuit-breaker/ |  | SCHNEIDER ELECTRIC | A9F54216 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 16A | INTERRUPTING CAPACITY | 30KA | POLE | 2 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 36MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16058 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F43120, GENERAL DES: | https://www.se.com/sa/en/product/A9F43120/miniature-circuit-breaker-mcb-acti9-ic60n-disbo-1p-20a-b-curve-6000a-iec-en-608981-10ka-iec-en-609472/ |  | SCHNEIDER ELECTRIC | A9F43120 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 20A | INTERRUPTING CAPACITY | 10KA | POLE | 1 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20 | MOUNT | CLIP-ON, RAIL | CURVE | B | SIZE | 18MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16059 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: A9F44216, GENERAL DES: | https://www.se.com/ae/en/product/A9F44216/acti9-ic60n-2p-16a-c-miniature-circuit-breaker/ |  | SCHNEIDER ELECTRIC | A9F44216 |  |  |  |  | 39121603 Miniature circuit breakers | ENRICHED | CIRCUIT BREAKER | MINIATURE |  |  | TYPE | LOW VOLTAGE | VOLTAGE | 220 TO 240VAC | AMPERAGE | 16A | INTERRUPTING CAPACITY | 20KA | POLE | 2 | CONNECTION | SINGLE TERMINAL | FREQUENCY RATING | 50/60HZ | ENCLOSURE | IP20 | MOUNT | CLIP-ON, RAIL | CURVE | C | SIZE | 36MM WD X 85MM HT X 78.5MM DP | [14 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16060 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV431831, GENERAL DES: | https://www.se.com/in/en/product/LV431831/circuit-breaker-compact-nsx250n-50-ka-at-415-vac-tmd-trip-unit-200-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV431831 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 200A | CONNECTION |  | INTERRUPTING CAPACITY | 50KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16061 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV430841, GENERAL DES: | https://www.se.com/in/en/product/LV430841/circuit-breaker-compact-nsx160n-50-ka-at-415-vac-tmd-trip-unit-125-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV430841 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 125A | CONNECTION |  | INTERRUPTING CAPACITY | 50KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16062 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429841, GENERAL DES: | https://www.se.com/in/en/product/LV429841/circuit-breaker-compact-nsx100n-50-ka-at-415-vac-tmd-trip-unit-80-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429841 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 80A | CONNECTION |  | INTERRUPTING CAPACITY | 50KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16063 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429842, GENERAL DES: | https://www.se.com/in/en/product/LV429842/circuit-breaker-compact-nsx100n-50-ka-at-415-vac-tmd-trip-unit-63-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429842 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 63A | CONNECTION |  | INTERRUPTING CAPACITY | 50KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16064 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429846, GENERAL DES: | https://www.se.com/in/en/product/LV429846/circuit-breaker-compact-nsx100n-50-ka-at-415-vac-tmd-trip-unit-25-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429846 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 25A | CONNECTION |  | INTERRUPTING CAPACITY | 50KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16067 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429674, GENERAL DES: | https://www.se.com/in/en/product/LV429674/circuit-breaker-compact-nsx100h-70-ka-at-415-vac-tmd-trip-unit-40-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429674 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 40A | CONNECTION |  | INTERRUPTING CAPACITY | 70KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16068 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, BREAKERS, AMPERAGE: BRAND: NUMBER OF POLE: PART NUMBER: LV429675, GENERAL DES: | https://www.se.com/in/en/product/LV429675/circuit-breaker-compact-nsx100h-70-ka-at-415-vac-tmd-trip-unit-32-a-3-poles-3d/ |  | SCHNEIDER ELECTRIC | LV429675 |  |  |  |  | 39121616 Molded case circuit breakers | ENRICHED | CIRCUIT BREAKER | MOLDED CASE |  |  | TYPE | FIXED | VOLTAGE | 415VAC | AMPERAGE | 32A | CONNECTION |  | INTERRUPTING CAPACITY | 70KA | POLE | 3 | FRAME SIZE |  | FREQUENCY RATING | 50/60HZ | PHASE |  | TRIP | THERMAL MAGNETIC | MOUNT | BACKPLATE | STANDARD | EN/IEC 60947 | [12 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16360 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x20W 50/60Hz, VOLTAGE: 110V, APPLICATION: F/METAL HALIDE LAMP, BRAND: SINAR, GENERAL DES: F20T12 RAPID START | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE | BRAND: SINAR, FOR METAL HALIDE LAMP |  | TYPE |  | VOLTAGE | 110V | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE | F20T12 RAPID START | LAMP WATTAGE | 20W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16361 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x35W 50/60Hz, VOLTAGE: 220V, APPLICATION: F/FLUORESCENT TUBE, BRAND: NOORTEK, GENERAL DES: RAPID START | URL NOT FOUND |  | NOORTEK | [5 empty] | 39101901 Fluorescent ballast | CLEANSED | BALLAST | NONE | FOR FLUORESCENT LAMP |  | TYPE |  | VOLTAGE | 220V | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE | RAPID START | LAMP WATTAGE | 35W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16362 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x40W 50/60Hz, VOLTAGE: 110/127V, APPLICATION: F/HIGH PRESSURE SODIUM LAMP, BRAND: PHILIPS, GENERAL DES: W/ RECHARGEABLE BATTERY | URL NOT FOUND |  | PHILIPS | [5 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE | FOR HIGH PRESSURE SODIUM LAMP, W/ RECHARGEABLE BATTERY |  | TYPE |  | VOLTAGE | 110/127V | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE |  | LAMP WATTAGE | 40W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16363 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x50W 50/60Hz, VOLTAGE: 220/240V, APPLICATION: ELECTRONIC, BRAND: GRAFIK EYE, GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE | BRAND: GRAFIK EYE |  | TYPE | ELECTRONIC | VOLTAGE | 220/240V | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE |  | LAMP WATTAGE | 50W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16364 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x55W 50/60Hz, VOLTAGE: 127V, APPLICATION: STARTER TYPE, BRAND: FULHAM, GENERAL DES: | URL NOT FOUND |  | FULHAM | [5 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE | FOR STARTER |  | TYPE |  | VOLTAGE | 127V | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE |  | LAMP WATTAGE | 55W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16365 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x60W 50/60Hz, VOLTAGE: 120V, APPLICATION: EMERGENCY LIGHT, BRAND: MASTER, GENERAL DES: | URL NOT FOUND |  | MASTER | [5 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE | FOR EMERGENCY LIGHT |  | TYPE |  | VOLTAGE | 120V | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE |  | LAMP WATTAGE | 60W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16366 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x65W 50/60Hz, VOLTAGE: 110V/220V, APPLICATION: BRAND: GERMANY, GENERAL DES: | URL NOT FOUND |  | GERMAN | [5 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE | 110/220V | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE |  | LAMP WATTAGE | 65W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16367 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x70W 50/60Hz, VOLTAGE: APPLICATION: BRAND: MACKWELL, GENERAL DES: | URL NOT FOUND |  | MACKWELL | [5 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE |  | LAMP WATTAGE | 70W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16368 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 2x20W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 2 | LAMP TYPE |  | LAMP WATTAGE | 20W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16369 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 2x35W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 2 | LAMP TYPE |  | LAMP WATTAGE | 35W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16370 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 2x40W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 2 | LAMP TYPE |  | LAMP WATTAGE | 40W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16371 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 2x50W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 2 | LAMP TYPE |  | LAMP WATTAGE | 50W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16372 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 2x55W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 2 | LAMP TYPE |  | LAMP WATTAGE | 55W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16373 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 2x60W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 2 | LAMP TYPE |  | LAMP WATTAGE | 60W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16374 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 2x65W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 2 | LAMP TYPE |  | LAMP WATTAGE | 65W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16375 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 2x70W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 2 | LAMP TYPE |  | LAMP WATTAGE | 70W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16376 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 2X36W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 2 | LAMP TYPE |  | LAMP WATTAGE | 36W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16377 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 150W, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING |  | WATTAGE |  | NUMBER OF LAMPS |  | LAMP TYPE |  | LAMP WATTAGE | 150W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16378 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L | EA |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x58W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE |  | LAMP WATTAGE | 58W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16379 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L |  |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x400W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE |  | LAMP WATTAGE | 400W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16380 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 26 | 51 | 13 | 265113 | L |  |  |  | MATERIAL DESCRIPTION, BALLAST, TYPE: 1x36W 50/60Hz, VOLTAGE: APPLICATION: BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39111801 Lamp ballasts | CLEANSED | BALLAST | NONE |  |  | TYPE |  | VOLTAGE |  | AMPERAGE |  | FREQUENCY RATING | 50/60HZ | WATTAGE |  | NUMBER OF LAMPS | 1 | LAMP TYPE |  | LAMP WATTAGE | 36W | STYLE | [19 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23306 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 11 | 13 | 311113 | L | m² |  |  | DESCRIPTION, SITE CLEARING AND GRUBBING | URL NOT FOUND | [7 empty] | 72153505 Construction site clean up service | CLEANSED | SERVICE | NONE |  |  | TYPE | SITE CLEARING AND GRUBBING | [34 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23315 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 23 | 16 | 312316 | L | m³ |  |  | DESCRIPTION, DRILLING WORKS, TYPE OF SOIL : ANY TYPE OF SOIL, HOLE DEPTH : 1m DEPTH, CERTIFICATION : TUV CERTIFIED, INCLUSION(01): MOB/DEMOB INCLUDED | URL NOT FOUND | [7 empty] | 71121312 Drilling tool rental service | CLEANSED | SERVICE | NONE | TYPE OF SOIL: ANY, HOLE DEPTH: 1M, CERTIFICATION: TUV CERTIFIED, INCLUSION: MOB/DEMOB INCLUDED |  | TYPE | DRILLING WORKS | [34 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23316 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 23 | 16 | 312316 | L | no |  |  | DESCRIPTION, DRILLING WORKS, TYPE OF SOIL : HARD SOIL, HOLE DEPTH : 1-2m DEPTH, CERTIFICATION : ARMACO CERTIFIED, INCLUSION(01): MOB/DEMOB EXCLUDED | URL NOT FOUND | [7 empty] | 71121312 Drilling tool rental service | CLEANSED | SERVICE | NONE | TYPE OF SOIL: HARD, HOLE DEPTH: 1 TO 2M, CERTIFICATION: ARMACO CERTIFIED, INCLUSION: MOB/DEMOB EXCLUDED |  | TYPE | DRILLING WORKS | [34 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23317 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 23 | 16 | 312316 | L |  |  |  | DESCRIPTION, DRILLING WORKS, TYPE OF SOIL : ROCKY SOIL, HOLE DEPTH : 2.0-3.0 m DEPTH, CERTIFICATION : NOT TUV/ARAMCO CERTIFIED, INCLUSION(01): | URL NOT FOUND | [7 empty] | 71121312 Drilling tool rental service | CLEANSED | SERVICE | NONE | TYPE OF SOIL: ROCKY, HOLE DEPTH: 2 TO 3M, CERTIFICATION: NOT TUV/ARAMCO CERTIFIED |  | TYPE | DRILLING WORKS | [34 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23318 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 23 | 16 | 312316 | L |  |  |  | DESCRIPTION, DRILLING WORKS, TYPE OF SOIL : SANDY SOIL, HOLE DEPTH : 3-4m DEPTH, CERTIFICATION : INCLUSION(01): | URL NOT FOUND | [7 empty] | 71121312 Drilling tool rental service | CLEANSED | SERVICE | NONE | TYPE OF SOIL: SANDY, HOLE DEPTH: 3 TO 4M |  | TYPE | DRILLING WORKS | [34 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23319 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 23 | 16 | 312316 | L |  |  |  | DESCRIPTION, DRILLING WORKS, TYPE OF SOIL : SATURATED SOIL, HOLE DEPTH : DEPTH > 4 m, CERTIFICATION : INCLUSION(01): | URL NOT FOUND | [7 empty] | 71121312 Drilling tool rental service | CLEANSED | SERVICE | NONE | TYPE OF SOIL: SATURATED, HOLE DEPTH: >4M |  | TYPE | DRILLING WORKS | [34 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23320 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 23 | 16 | 312316 | L |  |  |  | DESCRIPTION, DRILLING WORKS, TYPE OF SOIL : TOP HILL, HOLE DEPTH : CERTIFICATION : INCLUSION(01): | URL NOT FOUND | [7 empty] | 71121312 Drilling tool rental service | CLEANSED | SERVICE | NONE | TYPE OF SOIL: TOP HILL |  | TYPE | DRILLING WORKS | [34 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23321 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 23 | 16 | 312316 | L |  |  |  | DESCRIPTION, DRILLING WORKS, TYPE OF SOIL : UNDER WATER SOIL, HOLE DEPTH : CERTIFICATION : INCLUSION(01): | URL NOT FOUND | [7 empty] | 71121312 Drilling tool rental service | CLEANSED | SERVICE | NONE | TYPE OF SOIL: UNDER WATER |  | TYPE | DRILLING WORKS | [34 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23418 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 32 | 33 | 313233 | L | ls |  |  | DESCRIPTION, SHOTCRETE SOIL SLOPE STABILIZATION WORKS, INCLUSION (01): WITH FOOD AND ACCOM. AND PPE | URL NOT FOUND | [7 empty] | 73181304 Aging or stabilizing services | CLEANSED | SERVICE | NONE | W/ FOOD AND ACCOMODATION AND PPE |  | TYPE | SHOTCRETE SOIL SLOPE STABILIZATION WORKS | [34 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23419 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 32 | 33 | 313233 | L | m² |  |  | DESCRIPTION, SHOTCRETE SOIL SLOPE STABILIZATION WORKS, INCLUSION (01): W/O FOOD,ACCOM. AND PPE | URL NOT FOUND | [7 empty] | 73181304 Aging or stabilizing services | CLEANSED | SERVICE | NONE | W/O FOOD, ACCOMODATION AND PPE |  | TYPE | SHOTCRETE SOIL SLOPE STABILIZATION WORKS | [34 empty] | Production COMPLETED
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div31_Earth W | ITEM CODE DIV 31_23421 | Data Enrichment | VNE | OK | 2024-05-16 | 17-05-2024 |  | 31 | 32 | 33 | 313233 | L | day |  |  | DESCRIPTION, SHOTCRETE SOIL SLOPE STABILIZATION WORKS, INCLUSION (01): W/O FOOD AND ACCOM. WITH PPE | URL NOT FOUND | [7 empty] | 73181304 Aging or stabilizing services | CLEANSED | SERVICE | NONE | W/O FOOD, ACCOMODATION AND PPE |  | TYPE | SHOTCRETE SOIL SLOPE STABILIZATION WORKS | [34 empty] | Production COMPLETED