## Sheet1
Project Code | File Name | Sheet Name | Griha_ID | Activities | Production User | Production Comments | Start Date | End Date | Remarks | S1 | S2 | S3 | Group | Type | Unit | ItemType | CATEGORY | Description | Reference URL | Reference URL1 | MANUFACTURER NAME | MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER | ALTERNATE MANUFACTURER PART NUMBER | VENDOR NAME | VENDOR PART NUMBER | UNSPSC 26.0801 | Enriched/Cleansed | NOUN | MODIFIER | ADDITIONAL INFO From Input | ADDITIONAL INFO From Web | ATTRIBUTE NAME 1 | ATTRIBUTEVALUE 1 | ATTRIBUTE NAME 2 | ATTRIBUTEVALUE 2 | ATTRIBUTE NAME 3 | ATTRIBUTEVALUE 3 | ATTRIBUTE NAME 4 | ATTRIBUTEVALUE 4 | ATTRIBUTE NAME 5 | ATTRIBUTEVALUE 5 | ATTRIBUTE NAME 6 | ATTRIBUTEVALUE 6 | ATTRIBUTE NAME 7 | ATTRIBUTEVALUE 7 | ATTRIBUTE NAME 8 | ATTRIBUTEVALUE 8 | ATTRIBUTE NAME 9 | ATTRIBUTEVALUE 9 | ATTRIBUTE NAME 10 | ATTRIBUTEVALUE 10 | ATTRIBUTE NAME 11 | ATTRIBUTEVALUE 11 | ATTRIBUTE NAME 12 | ATTRIBUTEVALUE 12 | ATTRIBUTE NAME 13 | ATTRIBUTEVALUE 13 | ATTRIBUTE NAME 14 | ATTRIBUTEVALUE 14 | ATTRIBUTE NAME 15 | ATTRIBUTEVALUE 15 | ATTRIBUTE NAME 16 | ATTRIBUTEVALUE 16 | ATTRIBUTE NAME 17 | ATTRIBUTEVALUE 17 | ATTRIBUTE NAME 18 | ATTRIBUTEVALUE 18 | Status
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15476 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L | Ea |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 20amp, BRAND: AL FANAR, TYPE: COMBINED FOR 2 PUMPS, GENERAL DES: 2543220, CUIRCUIT: 42 CIRCUITS | https://wilo.com/gb/en/Products/en/accessory/wilo-control-ec-lift/ec-l-2x12a-mt34-dol-wm |  | AL FANAR | 2543220 |  |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT | 42 CIRCUITS |  | FUNCTION | PANEL | ELECTRICAL RATING | 1 TO 220V, 20A, 50/60HZ | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15477 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L | Ea |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 40amp, BRAND: GE, TYPE: DOUBLE DOOR, GENERAL DES: 503211562, CUIRCUIT: 32 CIRCUITS |  |  | GE | 503211562 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT | TYPE: DOUBLE DOOR, 32 CIRCUITS |  | FUNCTION | PANEL | ELECTRICAL RATING | 40A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15478 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L | Ea |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 60amp, BRAND: SCHNEIDER, TYPE: SINGLE DOOR, GENERAL DES: LV, CUIRCUIT: 48 CIRCUITS |  |  | SCHNEIDER | [5 empty] | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT | TYPE: SINGLE DOOR, LV, CIRCUIT: 48 CIRCUITS |  | FUNCTION | PANEL | ELECTRICAL RATING | 60A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15479 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L | Ea |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 100amp, BRAND: EATON, TYPE: DISBO EXTRA, GENERAL DES: DBX348MEZ200FD, CUIRCUIT: 30 CIRCUITS | https://www.se.com/sa/en/product/DBX348MEZ200FD/disbo-extra-straight-db-200-a-48-ways-ez250-inc-flush-mount-flat-door/ | https://www.se.com/sa/en/product/download-pdf/DBX348MEZ200FD?filename=Schneider+Electric_Acti9-Disbo_DBX348MEZ200FD.pdf | SCHNEIDER | DBX348MEZ200FD | EATON |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT | MOUNTING:FLUSH, TYPE: DISBO EXTRA, CUIRCUIT: 30 CIRCUITS |  | FUNCTION | PANEL | ELECTRICAL RATING | 690VAC, 200A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15480 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L | Ea |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 150amp, BRAND: ELETRA, TYPE: TIN PLATED COPPER, GENERAL DES: DBX348MEZ150FD, CUIRCUIT: | https://eshop.se.com/sa/disbo-extra-db-150-a-48-w-flush-dbx348mez150fd.html |  | SCHNEIDER | DBX348MEZ150FD | ELETRA |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT | TYPE: DISTRIBUTION |  | FUNCTION | PANEL | ELECTRICAL RATING | 690VAC,150A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15481 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L | Ea |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 200amp, BRAND: SIMENS, TYPE: DISTRIBUTION, GENERAL DES: DBX336MEZ150FD, CUIRCUIT: | https://www.se.com/sa/en/product/DBX336MEZ150FD/disbo-extra-straight-db-150-a-36-ways-ez250-inc-flush-mount---flat-door/ |  | SCHNEIDER | DBX336MEZ150FD | SIMENS |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT | TYPE: DISTRIBUTION | MOUNTING: FLUSH | FUNCTION | PANEL | ELECTRICAL RATING | 690VAC,150A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15482 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L | Ea |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 300amp, BRAND: WILO, TYPE: LOAD CENTER (LAB), FLUSH WALL MOUNTED, GENERAL DES: DBX336MEZ100FD, CUIRCUIT: | https://www.se.com/sa/en/product/DBX336MEZ100FD/disbo-extra-straight-db-100-a-36-ways-ez100-inc-flush-mount-flat-door/ |  | SCHNEIDER | DBX336MEZ100FD | WILO |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT | TYPE: DISBO EXTRA STRAIGHT DISTRIBUTION, TYPE: LOAD CENTER (LAB), MOUNTING: FLUSH WALL |  | FUNCTION | PANEL | ELECTRICAL RATING | 690VAC, 100A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15483 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L | Ea |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 600amp, BRAND: ABB, TYPE: LOAD CENTER (LAB), RACK WALL MOUNTED, GENERAL DES: DBX318MEZ60S, CUIRCUIT: |  |  | SCHNEIDER | DBX318MEZ60S | ABB |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING | 600A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15484 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 2x12amp, BRAND: WESCOSA, TYPE: 24 BRANCHES, GENERAL DES: DBX324MEZ150FD, CUIRCUIT: | https://www.se.com/sa/en/product/DBX324MEZ150FD/disbo-extra-straight-db-150-a-24-ways-ez250-inc-flush-mount---flat-door/ |  | SCHNEIDER | DBX324MEZ150FD | WESCOSA |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT | TYPE:DISBO EXTRA STRAIGHT |  | FUNCTION | PANEL | ELECTRICAL RATING | 2x12A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15485 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 125amp, BRAND: TYPE: SURFACE WALL MOUNTED, GENERAL DES: DBGV318XNSX250FDS, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-ver-bb-18w-prov-3p-nsx250-dbgv318xnsx250fds.html |  | SCHNEIDER | DBGV318XNSX250FDS |  |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT | TYPE: DISTRIBUTION, MOUNTING: SURFACE WALL |  | FUNCTION | PANEL | ELECTRICAL RATING | 125A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15486 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: NSX250, BRAND: TYPE: NEMA-1, GENERAL DES: DBGV330XNSX250FDS, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-ver-bb-30w-prov-3p-nsx250-dbgv330xnsx250fds.html |  | SCHNEIDER | DBGV330XNSX250FDS |  |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT | INCOMIND DEVICE: NSX250, TYPE: NEMA-1 |  | FUNCTION | PANEL | ELECTRICAL RATING | 3PH | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15487 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 400amp, BRAND: TYPE: NEMA-4, GENERAL DES: DBGV336XNSX250FDS, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-ver-bb-36w-prov-3p-nsx250-dbgv336xnsx250fds.html |  | SCHNEIDER | DBGV336XNSX250FDS |  |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING | 400A, 3PH | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15488 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 10 ways, BRAND: TYPE: GENERAL DES: DBGV342XNSX250FDS, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-ver-bb-42w-prov-3p-nsx250-dbgv342xnsx250fds.html |  | SCHNEIDER | DBGV342XNSX250FDS |  |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT | NUMBER OF WAYS: 16-WAY |  | FUNCTION | PANEL | ELECTRICAL RATING | 3PH | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15489 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 16 ways, BRAND: TYPE: GENERAL DES: DBGV348XNSX250FDS, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-ver-bb-48w-prov-3p-nsx250-dbgv348xnsx250fds.html |  | SCHNEIDER | DBGV348XNSX250FDS |  |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT | NUMBER OF WAYS: 10-WAY |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15490 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 160amp, BRAND: TYPE: GENERAL DES: CUIRCUIT: | [8 empty] | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING | 160A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15491 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 6 ways, BRAND: TYPE: GENERAL DES: CUIRCUIT: | [8 empty] | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT | NUMBER OF WAYS: 6-WAY |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15492 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 18kA, BRAND: TYPE: GENERAL DES: CUIRCUIT: | [8 empty] | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING | 18KA | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15493 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 30amp, BRAND: TYPE: GENERAL DES: CUIRCUIT: | [8 empty] | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING | 30A | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15494 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 250amp, BRAND: TYPE: GENERAL DES: DBG110XRIFD, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-single-phase-10-way-db-flat-door-flush-dbg110xrifd.html |  | SCHNEIDER | DBG110XRIFD |  |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT |  | TYPE: DISTRIBUTION | FUNCTION | PANEL | ELECTRICAL RATING | 250A, 1PH | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15495 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: 225amp, BRAND: TYPE: GENERAL DES: DBG116XRIFD, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-single-phase-16-way-db-flat-door-flush-dbg116xrifd.html |  | SCHNEIDER | DBG116XRIFD |  |  |  |  | 39121103 Panelboards | ENRICHED | BOARD | PRINTED CIRCUIT |  | TYPE: DISTRIBUTION | FUNCTION | PANEL | ELECTRICAL RATING | 225A, 1PH | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15496 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: DBGV324XI125FDS, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-vet-bb-24w-prov-3p-i125-s-dbgv324xi125fds.html | http://www.verger-delporte.ae/Certificates/sgdnew/H11.DISBO%20EXTRA.pdf | SCHNEIDER | DBGV324XI125FDS |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  | TYPE: DISTRIBUTION | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15497 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: DBGV324XNSX250FDS, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-ver-bb-24w-prov-3p-nsx250-dbgv324xnsx250fds.html |  | SCHNEIDER | DBGV324XNSX250FDS |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  | TYPE: DISTRIBUTION | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15498 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: DBGV312XNSX250FDS, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-ver-bb-12w-prov-3p-nsx250-dbgv312xnsx250fds.html |  | SCHNEIDER | DBGV312XNSX250FDS |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15499 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: DBG110XRIFDS, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-single-phase-10-way-db-flat-door-surface-dbg110xrifds.html |  | SCHNEIDER | DBG110XRIFDS |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15500 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: DBG116XRIFDS, CUIRCUIT: |  |  | SCHNEIDER | DBG116XRIFDS |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15501 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: LCP-2 380/220V 3PHS 4W 60HZ, 3 BRANCHES, CUIRCUIT: |  |  |  | LCP-2380/220V3PHS4W60HZ |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING | 380/220V, 3PH, 60HZ, 4W | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15502 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: DBG16XRIFDS, CUIRCUIT: | https://eshop.se.com/ae/disbo-extra-single-phase-6-way-db-flat-door-surface-dbg16xrifds.html |  | SCHNEIDER | DBG16XRIFDS |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15507 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: CI:P3D250BB44TH4X, CUIRCUIT: |  |  |  | CI:P3D250BB44TH4X |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15508 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: CI:P3D100BB36TH4X, CUIRCUIT: |  |  |  | CI:P3D100BB36TH4X |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15509 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: CI:P3D100BB48TH4X, CUIRCUIT: |  |  |  | CI:P3D100BB48TH4X |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15510 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: CI:P4D400BB30TH4X, CUIRCUIT: |  |  |  | CI:P4D400BB30TH4X |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15511 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-006, CUIRCUIT: |  |  |  | G26-006-PP-006 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15512 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-010, CUIRCUIT: |  |  |  | G26-006-PP-010 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15513 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-007, CUIRCUIT: |  |  |  | G26-006-PP-007 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15514 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-011, CUIRCUIT: |  |  |  | G26-006-PP-011 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15515 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-012, CUIRCUIT: |  |  |  | G26-006-PP-012 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15516 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-013, CUIRCUIT: |  |  |  | G26-006-PP-013 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15517 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-008, CUIRCUIT: |  |  |  | G26-006-PP-008 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15518 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-LP-001, CUIRCUIT: |  |  |  | G26-006-LP-001 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15519 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-015, CUIRCUIT: |  |  |  | G26-006-PP-015 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15520 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-014, CUIRCUIT: |  |  |  | G26-006-PP-014 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15521 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-016, CUIRCUIT: |  |  |  | G26-006-PP-016 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15522 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: 369-020-PP-027, CUIRCUIT: |  |  |  | 369-020-PP-027 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15523 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: 369-020-PP-028, CUIRCUIT: |  |  |  | 369-020-PP-028 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15524 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: 369-020-PP-028A, CUIRCUIT: |  |  |  | 369-020-PP-028A |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15525 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G94-013-PP-001, CUIRCUIT: |  |  |  | G94-013-PP-001 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15526 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: 486-013-PP-001, CUIRCUIT: |  |  |  | 486-013-PP-001 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15527 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G-94-013-PP-001, CUIRCUIT: |  |  |  | G-94-013-PP-001 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15528 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: R74-017-PP-004, CUIRCUIT: |  |  |  | R74-017-PP-004 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15529 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: R74-017-PP-005, CUIRCUIT: |  |  |  | R74-017-PP-005 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15530 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: R74-017-PP-006, CUIRCUIT: |  |  |  | R74-017-PP-006 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15531 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: R74-017-PP-007, CUIRCUIT: |  |  |  | R74-017-PP-007 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15532 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: 486-013-PP-001, CUIRCUIT: |  |  |  | 486-013-PP-001 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15533 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: 369-020-PP-027, CUIRCUIT: |  |  |  | 369-020-PP-027 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15534 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: 369-020-PP-028, CUIRCUIT: |  |  |  | 369-020-PP-028 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15535 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: 369-020-PP028A, CUIRCUIT: |  |  |  | 369-020-PP028A |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15536 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: 369-004-PP-007, CUIRCUIT: |  |  |  | 369-004-PP-007 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15537 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: 369-004-PP-008, CUIRCUIT: |  |  |  | 369-004-PP-008 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15538 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-018-PP-011, CUIRCUIT: |  |  |  | G26-018-PP-011 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15539 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-010, CUIRCUIT: |  |  |  | G26-006-PP-010 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15540 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-011, CUIRCUIT: |  |  |  | G26-006-PP-011 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15541 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: to be used, CUIRCUIT: | [8 empty] | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15542 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-013, CUIRCUIT: |  |  |  | G26-006-PP-013 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15543 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-006, CUIRCUIT: |  |  |  | G26-006-PP-006 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15544 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-007, CUIRCUIT: |  |  |  | G26-006-PP-007 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15545 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-008, CUIRCUIT: |  |  |  | G26-006-PP-008 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15546 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-014, CUIRCUIT: |  |  |  | G26-006-PP-014 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15547 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-LP-001, CUIRCUIT: |  |  |  | G26-006-LP-001 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15548 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-015, CUIRCUIT: |  |  |  | G26-006-PP-015 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15549 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, PANELBOARDS, INCOMIND DEVICE: BRAND: TYPE: GENERAL DES: G26-006-PP-016, CUIRCUIT: |  |  |  | G26-006-PP-016 |  |  |  |  | 39121103 Panelboards | CLEANSED | BOARD | PRINTED CIRCUIT |  |  | FUNCTION | PANEL | ELECTRICAL RATING |  | MODE | [31 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16599 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 26 | 51 | 13 | 265113 | L |  |  |  | MATERIAL DESCRIPTION, LIGHTING ACCESSORIES: TYPE: POWER SUPPLY XITANIUM, POWER: 40W, BRAND: PHILIPS, PART NO: GENERAL DES: |  |  | PHILIPS | [5 empty] | 39121004 Power supply units | CLEANSED | POWER SUPPLY | NONE |  |  | TYPE | POWER SUPPLY XITANIUM | INPUT RATING |  | OUTPUT VOLTAGE |  | OUTPUT AMPERAGE |  | DIMENSIONS | [27 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17703 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 24BDC, BRAND: PHOENIX, PART NUMBER: 2866323, Spec: PRIMARY SWITCHED-MODE, GENERAL DES: POWER SUPPLY KIT | https://in.element14.com/phoenix-contact/trio-ps-1ac-24dc-10/psu-din-rail-24v-10a/dp/2068486?CMP=KNC-GIN-DSA-PMAX-SEARCH&mckv=_dc¦pcrid¦¦pkw¦¦pmt¦¦slid¦¦product¦¦pgrid¦¦ptaid¦¦&gad_source=1&gclid=Cj0KCQjwxqayBhDFARIsAANWRnTIzhJSN5L0ZgqyKBOrGKISeIbacSuXA4vnRigP2erXN0-8ggMyujUaAtapEALw_wcB | https://www.farnell.com/datasheets/3998211.pdf | PHOENIX | 2866323 |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE | POWER SUPPLY KIT |  | TYPE | PRIMARY SWITCHED-MODE | INPUT RATING | 85 TO 264VAC | OUTPUT VOLTAGE | 24VDC | OUTPUT AMPERAGE | 10A | DIMENSIONS | [27 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17704 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 48V, BRAND: MEAN WELL, PART NUMBER: DRP-240-48, Spec: 5A DIN-RAIL, GENERAL DES: VIDEO SURVEILLANCE UPS | https://www.mouser.in/ProductDetail/MEAN-WELL/DRP-240-48?qs=KYXD8fSrcaPCS4wImdHOow%3D%3D |  | MEAN WELL | DRP-240-48 |  |  |  |  | 39121011 Uninterruptible power supply UPS | ENRICHED | POWER SUPPLY | NONE | MOUNTING:DIN-RAIL, OUTPUT POWER: 240W |  | TYPE | VIDEO SURVEILLANCE UPS | INPUT RATING | 85/264 VAC, 120/370 VDC | OUTPUT VOLTAGE | 48VDC | OUTPUT AMPERAGE | 5A | DIMENSIONS | 125.5MM WD X 100MM LG X 125.2MM HT | [26 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17705 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 1 AC,12 DC,30W, BRAND: HP, PART NUMBER: 2902998, Spec: LOW HALOGEN, GENERAL DES: 1P, DC,10A | https://www.phoenixcontact.com/en-in/products/power-supply-uno-ps1ac12dc-30w-2902998 | https://asteamtechnologies.com/product/2902998-phoenix-contact-power-supply-uno-ps-1ac-12dc-30w/ | HP | 2902998 |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE | OUTPUT POWER:30W, LOW HALOGEN, NO OF POLES: 1P | MOUNTING:DIN-RAIL | TYPE |  | INPUT RATING | 85 TO 264VAC | OUTPUT VOLTAGE | 12VDC | OUTPUT AMPERAGE | 2.5A | DIMENSIONS | 22.5MM WD X 90MM HT X 84MM DP | [26 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17706 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 500W, BRAND: ALTRONIX, PART NUMBER: 865408-B21, Spec: OUTDOOR, GENERAL DES: | https://www.ipcstore.com/hewlett-packard-enterprise-865408-b21-500w-grey-power-supply-unit-865408-b21 |  | ALTRONIX | 865408-B21 |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE | OUTPUT POWER:500W |  | TYPE | OUTDOOR | INPUT RATING | 100 TO 240VAC | OUTPUT VOLTAGE |  | OUTPUT AMPERAGE |  | DIMENSIONS | 68MM WD X 225.3MM HT X 40.4MM DP | [26 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17707 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 220VAC, BRAND: NETGEAR, PART NUMBER: RESERV4WP, Spec: DIN RAIL, GENERAL DES: | https://www.sdilink.com/Specsheet/RESERV4WP.pdf |  | NETGEAR | RESERV4WP |  |  |  |  | 39121011 Uninterruptible power supply UPS | ENRICHED | POWER SUPPLY | NONE | MOUNTING:DIN-RAIL |  | TYPE | UNINTERRUPTIBLE | INPUT RATING | 115VAC, 3.5A, 60HZ | OUTPUT VOLTAGE | 24VAC | OUTPUT AMPERAGE | 4A | DIMENSIONS | 304.8MM WD x 441.3MM HT x 165.1MM DP | [26 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17708 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 12VDC, BRAND: UTC, PART NUMBER: 2866475, Spec: BEAMFORMING MIC ARRAY 2, GENERAL DES: | https://www.phoenixcontact.com/en-in/products/power-supply-trio-ps1ac12dc-5-2866475 | https://www.mouser.in/ProductDetail/Phoenix-Contact/2866475?qs=%2FoiwbbrOulU5pgjRgg%2FeGQ%3D%3D | PHOENIX | 2866475 | UTC |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE | BEAMFORMING MIC ARRAY 2 | MOUNTING:DIN-RAIL | TYPE |  | INPUT RATING | 100 TO 240VAC | OUTPUT VOLTAGE | 12VDC | OUTPUT AMPERAGE | 5A | DIMENSIONS | 32MM WD x 115MM LG x 130MM HT | [26 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17709 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 1AC/24DC, BRAND: CLEARONE, PART NUMBER: APS1200W-100NES, Spec: X372, GENERAL DES: | https://www.exertisalmo.com/productdetails/NETGER/APS1200W-100NES | https://www.govgroup.com/netgear-aps1200w-100nes-power-supply-3209277-prd1.htm | NETGEAR | APS1200W-100NES | CLEARONE |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE | Spec: X372 |  | TYPE |  | INPUT RATING | 120/230VAC | OUTPUT VOLTAGE | 1AC/24VDC | OUTPUT AMPERAGE |  | DIMENSIONS | [27 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17710 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 1200W, BRAND: FIBERSENSYS, PART NUMBER: 2866501, Spec: REDUNDANT POWER, GENERAL DES: | https://www.phoenixcontact.com/en-in/products/power-supply-trio-ps1ac48dc10-2866501 | https://www.mouser.in/ProductDetail/Phoenix-Contact/2866501?qs=%2FoiwbbrOulVnBCbriFdKUA%3D%3D | PHOENIX | 2866501 | FIBERSENSYS |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE | OUTPUT POWER: 1200W | MOUNTING:DIN-RAIL | TYPE | REDUNDANT POWER | INPUT RATING | 100/240VAC | OUTPUT VOLTAGE | 48VDC | OUTPUT AMPERAGE | 10A | DIMENSIONS | 115MM WD x 6IN LG x 130MM HT | [26 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17711 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 13.5V, BRAND: HOCHIKI, PART NUMBER: 613P-UK, Spec: GENERAL DES: | https://www.impexron-gmbh.de/en/brand/interlogix/613p-uk |  | HOCHIKI | 613P-UK |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE |  |  | TYPE |  | INPUT RATING | 100/240VAC | OUTPUT VOLTAGE | 13.5VDC | OUTPUT AMPERAGE | 1.33A | DIMENSIONS | [27 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17712 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 100-240V, BRAND: SUPREMA, PART NUMBER: PS48VDC480W-DIN, Spec: GENERAL DES: | https://en-shop.sysaway.com/products/ps48vdc480w-din | https://firesecurityproducts.com/en/products/accessories/power-supplies | SUPREMA | PS48VDC480W-DIN |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE |  | MOUNTING:DIN-RAIL | TYPE |  | INPUT RATING | 100/240VAC | OUTPUT VOLTAGE | 48VDC | OUTPUT AMPERAGE |  | DIMENSIONS | [27 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17713 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: POE, BRAND: DELL, PART NUMBER: POE POWER SUPPLY KIT FOR BFM2, Spec: GENERAL DES: |  |  | DELL | [5 empty] | 39121004 Power supply units | CLEANSED | POWER SUPPLY | NONE | POE POWER SUPPLY KIT FOR BFM2 |  | TYPE |  | INPUT RATING |  | OUTPUT VOLTAGE |  | OUTPUT AMPERAGE |  | DIMENSIONS | [27 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17714 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: APU, BRAND: RAYTEC, PART NUMBER: TRIO-POWER SUPPLY, Spec: GENERAL DES: |  |  | RAYTEC | [5 empty] | 39121004 Power supply units | CLEANSED | POWER SUPPLY | NONE | APU(AUXILIARY POWER UNIT ) |  | TYPE | TRIO | INPUT RATING |  | OUTPUT VOLTAGE |  | OUTPUT AMPERAGE |  | DIMENSIONS | [27 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17715 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 | PART NO UPDATED AS PER WEBSOURCE | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 6A, BRAND: PART NUMBER: AL600ULXB220, Spec: GENERAL DES: | https://altronix.com/products/AL600XB220 | https://www.altronix.com/library/pdf/data_sheets/DS_AL600XB220.pdf | ALTRONIX | AL600XB220 |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE |  |  | TYPE |  | INPUT RATING | 220VAC, 50/60HZ | OUTPUT VOLTAGE | 12/24VDC | OUTPUT AMPERAGE | 6A | DIMENSIONS | 114.3MM WD X 180.3MM LG X 50.8MM HT | [26 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17716 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 4A, BRAND: PART NUMBER: OLS120, Spec: GENERAL DES: | https://altronix.com/products/OLS120 | https://www.altronix.com/library/pdf/data_sheets/DS_OLS120.pdf | ALTRONIX | OLS120 |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE |  |  | TYPE | OFF-LINE SWITCHING | INPUT RATING | 90 TO 250VAC | OUTPUT VOLTAGE | 12/24VDC | OUTPUT AMPERAGE | 4A | DIMENSIONS | 114.3mm WD x 184.1mm LG x 44.5mm HT | [26 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17717 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 | PART NO UPDATED AS PER WEBSOURCE | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 5.25AMP, BRAND: PART NUMBER: FN-PS766, Spec: GENERAL DES: | https://www.hochikiamerica.com/img/product/description/FN-PS776_V1.00%20Technical%20Bulletin.pdf |  | HOCHIKI | FN-PS776 |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE |  |  | TYPE |  | INPUT RATING | 120/240VAC, 50/60HZ | OUTPUT VOLTAGE | 24VDC | OUTPUT AMPERAGE | 5.25A | DIMENSIONS | [27 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17718 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 1AC/48DC/5, BRAND: PART NUMBER: 2866491, Spec: GENERAL DES: | https://www.phoenixcontact.com/en-in/products/power-supply-trio-ps1ac48dc-5-2866491 | https://www.mouser.in/ProductDetail/Phoenix-Contact/2866491?qs=%2FoiwbbrOulWCLKJuLpsiLQ%3D%3D | PHOENIX | 2866491 |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE |  | MOUNTING:DIN-RAIL | TYPE |  | INPUT RATING | 85 TO 264VAC, 45 TO 65HZ | OUTPUT VOLTAGE | 48VDC | OUTPUT AMPERAGE | 5A | DIMENSIONS | 60mm WD x 130mm HT x 152.5mm DP | [26 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17719 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 12AMP, BRAND: PART NUMBER: WCS4-20B, Spec: GENERAL DES: | https://www.anixter.com/en_us/products/WCS4-20B/PELCO/Video-Accessories/p/240384 | https://www.surveillance-video.com/power-supply-wcs4-20b.html | PELCO | WCS4-20B |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE |  |  | TYPE | CAMERA | INPUT RATING | 120/240VAC | OUTPUT VOLTAGE | 24/28VAC | OUTPUT AMPERAGE | 12A | DIMENSIONS | [27 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17720 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 4AMP, BRAND: PART NUMBER: WCS1-4, Spec: GENERAL DES: | https://www.anixter.com/en_ca/products/WCS1-4/PELCO/Video-Accessories/p/233002 | https://jmacfiles.s3.amazonaws.com/WCS14-InstallationManual.pdf | PELCO | WCS1-4 |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE |  |  | TYPE | SECURITY IP CAMERA | INPUT RATING | 120/240VAC | OUTPUT VOLTAGE | 24/26/28VAC | OUTPUT AMPERAGE | 4A | DIMENSIONS | [27 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17721 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 24V VDC, BRAND: PART NUMBER: MDR-40-24, Spec: GENERAL DES: | https://in.element14.com/mean-well/mdr-40-24/power-supply-ac-dc-24v-1-7a/dp/3002957?CMP=KNC-GIN-DSA-PMAX-SEARCH&mckv=_dc¦pcrid¦¦pkw¦¦pmt¦¦slid¦¦product¦¦pgrid¦¦ptaid¦¦&gad_source=1&gclid=Cj0KCQjwxqayBhDFARIsAANWRnTPyrM6Pn902z4zyfmKICwGUHNQ6kqHTWG9OkrAkkKzQQiPkCLqa_waAmmaEALw_wcB | https://www.meanwell-web.com/en-gb/ac-dc-industrial-din-rail-power-supply-output-mdr--40--24 | MEAN WELL | MDR-40-24 |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE |  | MOUNTING:DIN-RAIL | TYPE |  | INPUT RATING | 85 TO 264VAC | OUTPUT VOLTAGE | 24VDC | OUTPUT AMPERAGE | 1.7A | DIMENSIONS | 40MM WD X 100MM HT X 90MM DP | [26 empty] | PRODUCTION COMPLETED
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17722 | Data Enrichment | NEN | OK | 15-05-2024 | 20-05-2024 |  | 27 | 21 | 29 | 272129 | L |  |  |  | MATERIAL DESCRIPTION, POWER SUPPLY, CAPACITY: 1050W, BRAND: PART NUMBER: JL087A, Spec: GENERAL DES: | https://buy.hpe.com/in/en/options/power-supplies/networking-power-supplies/switch-power-supplies/hpe-aruba-networking-x372-54vdc-1050w-110%e2%80%91240vac-power-supply/p/jl087a |  |  | JL087A |  |  |  |  | 39121004 Power supply units | ENRICHED | POWER SUPPLY | NONE | OUTPUT POWER:1050W |  | TYPE |  | INPUT RATING | 110 TO 240VAC | OUTPUT VOLTAGE | 54VDC | OUTPUT AMPERAGE |  | DIMENSIONS | 8.31CM x 22.56CM x 4.01cm | [26 empty] | PRODUCTION COMPLETED