## Sheet1
Project Code | File Name | Sheet Name | Griha_ID | Activities | Production User | Production Comments | Start Date | End Date | Remarks | S1 | S2 | S3 | Group | Type | Unit | ItemType | CATEGORY | Description | Reference URL | Reference URL1 | MANUFACTURER NAME | MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER | ALTERNATE MANUFACTURER PART NUMBER | VENDOR NAME | VENDOR PART NUMBER | UNSPSC 26.0801 | Enriched/Cleansed | NOUN | MODIFIER | ADDITIONAL INFO From Input | ADDITIONAL INFO From Web | ATTRIBUTE NAME 1 | ATTRIBUTEVALUE 1 | ATTRIBUTE NAME 2 | ATTRIBUTEVALUE 2 | ATTRIBUTE NAME 3 | ATTRIBUTEVALUE 3 | ATTRIBUTE NAME 4 | ATTRIBUTEVALUE 4 | ATTRIBUTE NAME 5 | ATTRIBUTEVALUE 5 | ATTRIBUTE NAME 6 | ATTRIBUTEVALUE 6 | ATTRIBUTE NAME 7 | ATTRIBUTEVALUE 7 | ATTRIBUTE NAME 8 | ATTRIBUTEVALUE 8 | ATTRIBUTE NAME 9 | ATTRIBUTEVALUE 9 | ATTRIBUTE NAME 10 | ATTRIBUTEVALUE 10 | ATTRIBUTE NAME 11 | ATTRIBUTEVALUE 11 | ATTRIBUTE NAME 12 | ATTRIBUTEVALUE 12 | ATTRIBUTE NAME 13 | ATTRIBUTEVALUE 13 | ATTRIBUTE NAME 14 | ATTRIBUTEVALUE 14 | ATTRIBUTE NAME 15 | ATTRIBUTEVALUE 15 | ATTRIBUTE NAME 16 | ATTRIBUTEVALUE 16 | ATTRIBUTE NAME 17 | ATTRIBUTEVALUE 17 | ATTRIBUTE NAME 18 | ATTRIBUTEVALUE 18 | Status
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13156 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 25 | 02 | 01 | 250201 | L | Ea |  |  | MATERIAL DESCRIPTION, MAIN CONTROLLER, TYPE: GLOBAL, MODEL : PXC100-E, TYPE: UPTO 200 POINTS BAC, TYPE/BRAND: W/ TEN 12-BIT INPUTS & 12 BINARY TRIAC OUTPUTS, BRAND: SEIMENS | https://hit.sbt.siemens.com/RWD/app.aspx?RC=DK&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=BPZ%3aPXC100-E.D | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V11272745&EXT=.pdf&VALUE=Assets%5cA6V11272745_Automations%2520stations%2520modular%2520series%2520PXC..D%2520PXC..-_en.pdf&KEY=3&RT=1716197733737 | SIEMENS | PXC100-E |  |  |  |  | 32150000 Automation control devices and components and accessories | Enriched | STATION | NONE | UPTO 200 POINTS BAC, W/(10) 12-BIT INPUTS, (12) BINARY TRIAC OUTPUTS | ELECTRICAL RATING:24VAC, 50/60HZ, ENCLOSURE:IP20, MEMORY:32MB FLASH/64MB SDRAM | TYPE | PROGRAMMABLE AUTOMATION, GLOBAL | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13157 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 25 | 02 | 01 | 250201 | L | Ea |  |  | MATERIAL DESCRIPTION, MAIN CONTROLLER, TYPE: AUTOMATION STATION, MODEL : PXC001-E.D, TYPE: W/ VLX LICENSE, TYPE/BRAND: W/ TEN 12-BIT INPUTS, 4 BINARY TRIAC OUTPUTS & 8 ANALOG OUTPUTS, BRAND: ALERTON | https://hit.sbt.siemens.com/RWD/app.aspx?RC=Baltics&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=S55372-C114 |  | SIEMENS | PXC001-E.D | ALERTON |  |  |  | 32150000 Automation control devices and components and accessories | Enriched | CONTROLLER | ELECTRONIC | W/(10) 12-BIT INPUTS, (4) BINARY TRIAC OUTPUTS AND (8) ANALOG OUTPUTS, W/VLX LICENSE | ENCLOSURE:IP20, MEMORY:32MB FLASH/64MB SDRAM | TYPE | TYPE | AUTOMATION STATION, MAIN SYSTEM | ELECTRICAL RATING | 24VAC, 50/60HZ | RANGE | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13186 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 25 | 02 | 01 | 250201 | L |  |  |  | MATERIAL DESCRIPTION, MAIN CONTROLLER, TYPE: MODEL : PXC100.D, TYPE: PXM30-1, TYPE/BRAND: BRAND: | https://hit.sbt.siemens.com/RWD/app.aspx?RC=BE&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=BPZ%3aPXC100.D |  | SIEMENS | PXC100.D |  | PXM30-1 |  |  | 32150000 Automation control devices and components and accessories | Enriched | STATION | NONE |  | ELECTRICAL RATING:24VAC, 50/60HZ, ENCLOSURE:IP20, MEMORY:32MB FLASH/64MB SDRAM | TYPE | PROGRAMMABLE AUTOMATION | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13190 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 25 | 02 | 01 | 250201 | L |  |  |  | MATERIAL DESCRIPTION, MAIN CONTROLLER, TYPE: MODEL : PXC36.D, TYPE: UP TO 350 POINTS, TYPE/BRAND: BRAND: | https://hit.sbt.siemens.com/RWD/app.aspx?RC=BE&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=BPZ%3aPXC36.D |  | SIEMENS | PXC36.D |  |  |  |  | 32150000 Automation control devices and components and accessories | Enriched | STATION | NONE | UP TO 350 POINTS | ELECTRICAL RATING:24VAC, 50/60HZ, 35VA, ENCLOSURE:IP20, MEMORY:32MB FLASH/64MB SDRAM, NUMBER OF INPUT/OUTPUT:4 INPUT /8 OUTPUT, W/36 DATA POINTS | TYPE | PROGRAMMABLE AUTOMATION | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13192 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 25 | 02 | 01 | 250201 | L |  |  |  | MATERIAL DESCRIPTION, MAIN CONTROLLER, TYPE: MODEL : PXC50.D, TYPE: TYPE/BRAND: BRAND: | https://hit.sbt.siemens.com/RWD/app.aspx?rc=NO&lang=en&module=Catalog&action=ShowProduct&key=S55372-C109 |  | SIEMENS | PXC50.D |  |  |  |  | 32150000 Automation control devices and components and accessories | Enriched | STATION | NONE |  | ELECTRICAL RATING:24VAC, 50/60HZ, ENCLOSURE:IP20, MEMORY:32MB FLASH/64MB SDRAM, W/80 DATA POINTS | TYPE | PROGRAMMABLE AUTOMATION | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13197 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 25 | 02 | 01 | 250201 | L |  |  |  | MATERIAL DESCRIPTION, MAIN CONTROLLER, TYPE: MODEL : PXC100-E-D, TYPE: TYPE/BRAND: BRAND: | https://hit.sbt.siemens.com/RWD/app.aspx?rc=DK&lang=en&module=Catalog&action=ShowProduct&key=BPZ:PXC100-E.D |  | SIEMENS | PXC100-E.D |  |  |  |  | 32150000 Automation control devices and components and accessories | Enriched | STATION | NONE |  | ELECTRICAL RATING:24VAC, 50/60HZ, ENCLOSURE:IP20, MEMORY:32MB FLASH/64MB SDRAM, W/80 DATA POINTS | TYPE | PROGRAMMABLE AUTOMATION | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13205 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 25 | 02 | 01 | 250201 | L |  |  |  | MATERIAL DESCRIPTION, MAIN CONTROLLER, TYPE: MODEL : PXC36.1.D, TYPE: TYPE/BRAND: BRAND: | https://hit.sbt.siemens.com/RWD/app.aspx?module=Catalog&action=ShowProduct&key=S55372-C120 |  | SIEMENS | PXC36.1.D |  |  |  |  | 32150000 Automation control devices and components and accessories | Enriched | STATION | NONE |  | ELECTRICAL RATING:24VAC, 50/60HZ, 35VA, ENCLOSURE:IP20, MEMORY:32MB FLASH/64MB SDRAM, NUMBER OF INPUT/OUTPUT:4 INPUT /8 OUTPUT, W/36 DATA POINTS | TYPE | PROGRAMMABLE AUTOMATION | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13206 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 25 | 02 | 01 | 250201 | L |  |  |  | MATERIAL DESCRIPTION, MAIN CONTROLLER, TYPE: MODEL : PXC50-E.D, TYPE: TYPE/BRAND: BRAND: | https://hit.sbt.siemens.com/RWD/app.aspx?module=Catalog&action=ShowProduct&key=S55372-C110 |  | SIEMENS | PXC50-E.D |  |  |  |  | 32150000 Automation control devices and components and accessories | Enriched | STATION | NONE |  | ELECTRICAL RATING:24VAC, 50/60HZ, ENCLOSURE:IP20, MEMORY:32MB FLASH/64MB SDRAM, W/80 DATA POINTS | TYPE | PROGRAMMABLE AUTOMATION | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13207 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 25 | 02 | 01 | 250201 | L |  |  |  | MATERIAL DESCRIPTION, MAIN CONTROLLER, TYPE: MODEL : PXC200-E.D, TYPE: TYPE/BRAND: BRAND: | https://hit.sbt.siemens.com/RWD/app.aspx?RC=DK&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=BPZ%3aPXC200-E.D |  | SIEMENS | PXC200-E.D |  |  |  |  | 32150000 Automation control devices and components and accessories | Enriched | STATION | NONE |  | ELECTRICAL RATING:24VAC, 50/60HZ, ENCLOSURE:IP20, MEMORY:32MB FLASH/64MB SDRAM, W/200 DATA POINTS | TYPE | PROGRAMMABLE AUTOMATION | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13208 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 25 | 02 | 01 | 250201 | L |  |  |  | MATERIAL DESCRIPTION, MAIN CONTROLLER, TYPE: MODEL : PXC200.D, TYPE: TYPE/BRAND: BRAND: | https://hit.sbt.siemens.com/RWD/app.aspx?module=Catalog&action=ShowProduct&key=BPZ:PXC200.D |  | SIEMENS | PXC200.D |  |  |  |  | 32150000 Automation control devices and components and accessories | Enriched | STATION | NONE |  | ELECTRICAL RATING:24VAC, 50/60HZ, ENCLOSURE:IP20, MEMORY:32MB FLASH/64MB SDRAM, W/200 DATA POINTS | TYPE | PROGRAMMABLE AUTOMATION | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14380 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 26 | 260526 | L | ROLL |  |  | MATERIAL DESCRIPTION, TIE MOUNT, SIZE: 20mmx20mm, COLOR: RED, BRANDS: TAC, PACKING: 100pcs/pkt, GENERAL DES: | URL NOT FOUND |  | TAC | [5 empty] | 39121717 Cable tie mounts | Cleansed | MOUNT | NONE | COLOR: RED, PACKAGE QUANTITY: 100PCS/PKT |  | TYPE | TIE | SIZE | 20MM X 20MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14381 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 26 | 260526 | L | PKT |  |  | MATERIAL DESCRIPTION, TIE MOUNT, SIZE: 25mmx25mm, COLOR: WHITE, BRANDS: YORK, PACKING: to be used, GENERAL DES: | URL NOT FOUND |  | YORK | [5 empty] | 39121717 Cable tie mounts | Cleansed | MOUNT | NONE | COLOR: WHITE |  | TYPE | TIE | SIZE | 25MM X 25MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14382 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, TIE MOUNT, SIZE: 40mmx40mm, COLOR: BLUE, BRANDS: PACKING: GENERAL DES: | URL NOT FOUND | [7 empty] | 39121717 Cable tie mounts | Cleansed | MOUNT | NONE | COLOR: BLUE |  | TYPE | TIE | SIZE | 40MM X 40MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14383 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, TIE MOUNT, SIZE: 280x280mm, COLOR: BRANDS: PACKING: GENERAL DES: | URL NOT FOUND | [7 empty] | 39121717 Cable tie mounts | Cleansed | MOUNT | NONE |  |  | TYPE | TIE | SIZE | 280MM X 280MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14384 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, TIE MOUNT, SIZE: 19x19mm, COLOR: BRANDS: PACKING: GENERAL DES: | URL NOT FOUND | [7 empty] | 39121717 Cable tie mounts | Cleansed | MOUNT | NONE |  |  | TYPE | TIE | SIZE | 19MM X 19MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14385 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 26 | 260526 | L |  |  |  | MATERIAL DESCRIPTION, TIE MOUNT, SIZE: 28x28mm, COLOR: BRANDS: PACKING: GENERAL DES: | URL NOT FOUND | [7 empty] | 39121717 Cable tie mounts | Cleansed | MOUNT | NONE |  |  | TYPE | TIE | SIZE | 28MM X 28MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14462 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L | EA |  |  | MATERIAL DESCRIPTION, RIGID CONDUIT, SIZE: 1/2in, TYPE : UL LISTED, BRAND: PANASONIC, 3m, GENERAL DES: WITH COUPLING | URL NOT FOUND |  | PANASONIC | [5 empty] | 39131706 Electrical conduit | Cleansed | CONDUIT | NONE | STANDARDS: UL, W/COUPLING |  | TYPE | RIGID | SIZE | 1/2IN | LENGTH | 3M | RATING |  | MATERIAL |  | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14463 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, RIGID CONDUIT, SIZE: 1in, TYPE : NON UL LISTED, BRAND: CHINA, 6m, GENERAL DES: WITHOUT COUPLING | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | Cleansed | CONDUIT | NONE | NON UL LISTED, REGION CHINA, W/O COUPLING |  | TYPE | RIGID | SIZE | 1IN | LENGTH | 6M | RATING |  | MATERIAL |  | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14464 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, RIGID CONDUIT, SIZE: 2in, TYPE : RGS PVC COATED, BRAND: SAUDI EGA, GENERAL DES: NEMA TC2-40 | URL NOT FOUND |  | SAUDI EGA | [5 empty] | 39131706 Electrical conduit | Cleansed | CONDUIT | NONE | NEMA RATING:NEMA TC2-40 |  | TYPE | RIGID | SIZE | 2IN | LENGTH |  | RATING |  | MATERIAL | PVC COATED/GALVANISED STEEL | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14465 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, RIGID CONDUIT, SIZE: 2-1/2in, TYPE : GALVANIZED, BRAND: SSP, GENERAL DES: | URL NOT FOUND |  | SSP | [5 empty] | 39131706 Electrical conduit | Cleansed | CONDUIT | NONE | FINISH: GALVANIZED |  | TYPE | RIGID | SIZE | 2-1/2IN | LENGTH |  | RATING |  | MATERIAL |  | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14466 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, RIGID CONDUIT, SIZE: 3in, TYPE : PVC, BRAND: WEATLAND, GENERAL DES: | URL NOT FOUND |  | WEATLAND | [5 empty] | 39131706 Electrical conduit | Cleansed | CONDUIT | NONE |  |  | TYPE | RIGID | SIZE | 3IN | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14467 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, RIGID CONDUIT, SIZE: 4in, TYPE : RGS, BRAND: ITCC, GENERAL DES: | URL NOT FOUND |  | ITCC | [5 empty] | 39131706 Electrical conduit | Cleansed | CONDUIT | NONE |  |  | TYPE | RIGID | SIZE | 4IN | LENGTH |  | RATING |  | MATERIAL | GALVANISED STEEL | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14468 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, RIGID CONDUIT, SIZE: 3/4in, TYPE : PVC COATED, BRAND: ZAMIL, GENERAL DES: | URL NOT FOUND |  | ZAMIL | [5 empty] | 39131706 Electrical conduit | Cleansed | CONDUIT | NONE | FINISH: PVC COATED |  | TYPE | RIGID | SIZE | 3/4IN | LENGTH |  | RATING |  | MATERIAL |  | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14469 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, RIGID CONDUIT, SIZE: 1-1/2in, TYPE : BRAND: NAMCO, GENERAL DES: | URL NOT FOUND |  | NAMCO | [5 empty] | 39131706 Electrical conduit | Cleansed | CONDUIT | NONE |  |  | TYPE | RIGID | SIZE | 1-1/2IN | LENGTH |  | RATING |  | MATERIAL |  | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14470 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, RIGID CONDUIT, SIZE: 1-1/4in, TYPE : BRAND: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | Cleansed | CONDUIT | NONE |  |  | TYPE | RIGID | SIZE | 1-1/4IN | LENGTH |  | RATING |  | MATERIAL |  | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15258 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 53 | 260553 | L |  |  |  | MATERIAL DESCRIPTION, OUTLET GRILLE, TYPE: CUT-OUT, Size : 125x125mm, BRAND: SCHNEIDER, PART NUMBER: NSYCAG125LPF | https://www.se.com/au/en/product/NSYCAG125LPF/climasys-outlet-grille-plast-cut-out-125x125mm-ext-dim-137x117mm-ip54/ |  | SCHNEIDER ELECTRIC | NSYCAG125LPF |  |  |  |  | 39111808 Grilles | Enriched | GRILLE | NONE |  | COLOR:GREY, IP RATING:IP54 | SIZE | 125MM X 125MM (CUT-OUT), 150MM WD X 170MM HT X 15MM DP (EXTERNAL) | MATERIAL | INJECTED THERMOPLASTIC | TYPE | PLAST CUT-OUT OUTLET | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15259 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 53 | 260553 | L |  |  |  | MATERIAL DESCRIPTION, OUTLET GRILLE, TYPE: Size : 223x223mm, BRAND: to be use, PART NUMBER: NSYCAG223LPF | https://www.se.com/ae/en/product/NSYCAG223LPF/outlet-grille-plast-cut-out-223x223mm-ext-dim-268x248mm-ip54/ |  | SCHNEIDER ELECTRIC | NSYCAG223LPF |  |  |  |  | 39111808 Grilles | Enriched | GRILLE | NONE |  | COLOR:GREY, IP RATING:IP54 | SIZE | 223MM X 223MM (CUT-OUT), 248MM WD X 268MM HT X 18MM DP (EXTERNAL) | MATERIAL | INJECTED THERMOPLASTIC | TYPE | PLAST CUT-OUT OUTLET | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15260 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 53 | 260553 | L |  |  |  | MATERIAL DESCRIPTION, OUTLET GRILLE, TYPE: Size : 160x60mm, BRAND: PART NUMBER: | URL NOT FOUND | [7 empty] | 39111808 Grilles | Cleansed | GRILLE | NONE |  |  | SIZE | 160MM X 60MM | MATERIAL |  | TYPE | OUTLET | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15632 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 25x40mm, BRAND: PLASTIM, TYPE: 2m, GENERAL DES: | URL NOT FOUND |  | PLASTIM | [5 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE | CABLE LENGTH:2M |  | TYPE | CABLE | SIZE | 25MM X 40MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15633 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 60x80mm, BRAND: TYPE: 3m, GENERAL DES: | URL NOT FOUND | [7 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE | CABLE LENGTH:3M |  | TYPE | CABLE | SIZE | 60MM X 80MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15634 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 40x80mm, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE |  |  | TYPE | CABLE | SIZE | 40MM X 80MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15635 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 80x100mm, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE |  |  | TYPE | CABLE | SIZE | 80MM X 100MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15636 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 100x100mm, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE |  |  | TYPE | CABLE | SIZE | 100MM X 100MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15637 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 40x40mm, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE |  |  | TYPE | CABLE | SIZE | 40MM X 40MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15638 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 40x60mm, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE |  |  | TYPE | CABLE | SIZE | 40MM X 60MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15639 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 60x60mm, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE |  |  | TYPE | CABLE | SIZE | 60MM X 60MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15640 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 100x80mm, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE |  |  | TYPE | CABLE | SIZE | 100MM X 80MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15641 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 40x100mm, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE |  |  | TYPE | CABLE | SIZE | 40MM X 100MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15642 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, PVC CABLE DUCT, SIZE: 60x100mm, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131712 Wiring duct | Cleansed | DUCT | NONE |  |  | TYPE | CABLE | SIZE | 60MM X 100MM | MATERIAL | PVC | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15670 | Data Enrichment | PVJ | OK_NEW NM CREATED | 2024-05-15 | 2024-05-20 | NEW NM CREATED | 26 | 24 | 16 | 262416 | L | EA |  |  | MATERIAL DESCRIPTION, DRAWING POCKET, SIZE: A5, BRAND: CHINA, GENERAL DES: | URL NOT FOUND | [7 empty] | 60121500 Drawing tools and supplies and accessories | Cleansed | POCKET | NONE | REGION:CHINA |  | TYPE | DRAWING | SIZE | A5 | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15671 | Data Enrichment | PVJ | OK_NEW NM CREATED | 2024-05-15 | 2024-05-20 | NEW NM CREATED | 26 | 24 | 16 | 262416 | L |  |  |  | MATERIAL DESCRIPTION, DRAWING POCKET, SIZE: A4, BRAND: MESAN, GENERAL DES: | URL NOT FOUND |  | MESAN | [5 empty] | 60121500 Drawing tools and supplies and accessories | Cleansed | POCKET | NONE |  |  | TYPE | DRAWING | SIZE | A4 | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15821 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | VALUES UPDATED AS PER WEBSOURCE | 26 | 27 | 26 | 262726 | L |  |  |  | MATERIAL DESCRIPTION, WIRING DEVICES, TYPE: VOLTAGE/SIZE: 220V, SPECS: 4P+E, BRANDS: GENERAL DES: LEG555259 | https://www.legrand.com/ecatalogue/en/catalog/products/surface-mounting-socket-p17-ip44-380415-v-32-3pne-555259 | https://assets.legrand.com/general/legrand-exp/pfat/lch_doc/exb12070_en_p17%20tempra%20pro.pdf | LEGRAND | 5 552 59 |  |  |  |  | 39121406 Electrical receptacles | Enriched | SOCKET | ELECTRICAL | FOR WIRING DEVICE, NUMBER OF POLE:3P+N+E | IP RATING:IP44, MOUNT:SURFACE | TYPE |  | WATTAGE |  | VOLTAGE | 220VAC, 50/60HZ | CONTACT |  | CONFIGURATION |  | CONNECTION |  | CURRENT RATING | 32A | MATERIAL | POLYAMIDE 6 | STANDARD | IEC 60309-1/2, IEC 60529 | [18 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15822 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CURRENT RATING UPDATED AS PER WEBSOURCE | 26 | 27 | 26 | 262726 | L |  |  |  | MATERIAL DESCRIPTION, WIRING DEVICES, TYPE: VOLTAGE/SIZE: 63AMP, SPECS: 3CPT, BRANDS: GENERAL DES: LEG555157 | https://assets.legrand.com/general/legrand-exp/pfat/lch_doc/exb12070_en_p17%20tempra%20pro.pdf |  | LEGRAND | 5 551 57 |  |  |  |  | 39121406 Electrical receptacles | Enriched | SOCKET | ELECTRICAL | FOR WIRING DEVICE, 3CPT | IP RATING:IP44, NUMBER OF POLE:2P+E, MOUNT:SURFACE | TYPE |  | WATTAGE |  | VOLTAGE | 380/415VAC, 50/60HZ | CONTACT |  | CONFIGURATION |  | CONNECTION |  | CURRENT RATING | 16A | MATERIAL | POLYAMIDE 6 | STANDARD | IEC 60309-1/2, IEC 60529 | [18 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15823 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 27 | 26 | 262726 | L |  |  |  | MATERIAL DESCRIPTION, WIRING DEVICES, TYPE: VOLTAGE/SIZE: 15AMP, SPECS: 4MOD, BRANDS: GENERAL DES: LEG689630 | https://www.legrand.com/ecatalogue/en/legrand-ecat/generatepdf/71861 |  | LEGRAND | 689630 |  |  |  |  | 39121307 Floor boxes | Enriched | BOX | ELECTRICAL | NUMBER OF MODULES:4, FOR WIRING DEVICE | COLOR:GREY, NUMBER OF COMPARTMENTS:3, STANDARD:IEC/EN 60670 - 23, W/RIGID CABLE EXITS | TYPE | MODULAR BACK, SCREED FLOOR | GANG |  | SHAPE |  | KNOCKOUTS |  | ELECTRICAL RATING | 15A | MATERIAL |  | SIZE/CONNECTION |  | MOUNT |  | ENCLOSURE |  | TEMPERATURE RATING | [17 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15824 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 27 | 26 | 262726 | L |  |  |  | MATERIAL DESCRIPTION, WIRING DEVICES, TYPE: VOLTAGE/SIZE: 8x8, SPECS: BLANK, BRANDS: GENERAL DES: LEG689634 | https://www.legrand.co.in/ecatalogue/product/floor-boxes-for-screed-floor-full-backbox-689634 | https://www.legrand.com/ecatalogue/en/catalog/products/screed-floor-backbox-for-ducting-up-to-225-mm-3-compartments-689634 | LEGRAND | 689634 |  |  |  |  | 39121307 Floor boxes | Enriched | BOX | ELECTRICAL | NUMBER OF MODULES:8 X 8, FOR WIRING DEVICE | NUMBER OF COMPARTMENTS:3, SIZE:325MM WD X 90MM HT X 325MM DP, STANDARD:IEC/EN 60670 - 23 | TYPE | FULL BACK BLANK, SCREED FLOOR | GANG |  | SHAPE |  | KNOCKOUTS |  | ELECTRICAL RATING |  | MATERIAL |  | SIZE/CONNECTION |  | MOUNT |  | ENCLOSURE |  | TEMPERATURE RATING | [17 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15825 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 27 | 26 | 262726 | L |  |  |  | MATERIAL DESCRIPTION, WIRING DEVICES, TYPE: VOLTAGE/SIZE: 250V, SPECS: 3MOD, BRANDS: GENERAL DES: LEG689673 | https://www.legrand.com.mm/en/catalog/products/flat-support-plates-for-arteor-mechanism-for-4-modules-2-x-2-modules-689673 |  | LEGRAND | 689673 |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | PLATE | METAL | VOLTAGE RATING: 250V, NUMBER OF MODULES:3, FOR WIRING DEVICE |  | SIZE | 237MM LG X 77MM WD X 10MM DP | MATERIAL |  | SPECIFICATION |  | GRADE |  | TYPE | FLOOR BOX FLAT SUPPORT | PROCESS |  | WEIGHT | [23 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15826 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 27 | 26 | 262726 | L |  |  |  | MATERIAL DESCRIPTION, WIRING DEVICES, TYPE: VOLTAGE/SIZE: DUPLEX, SPECS: 2x2MOD, BRANDS: GENERAL DES: LEG689662 | https://www.legrand.co.in/ecatalogue/product/blank-plates-for-floor-box-689662 |  | LEGRAND | 689662 |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | PLATE | NONE | NUMBER OF MODULES:2 X 2, FOR WIRING DEVICE | STANDARDS:EN 50 085 - 2.2, EN 60670-23 | SIZE | 77MM WD | MATERIAL |  | SPECIFICATION |  | GRADE |  | TYPE | FLOOR BOX FLAT SUPPORT BLANK, FULL BACK, DUPLEX | PROCESS |  | WEIGHT | [23 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15827 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | VALUES UPDATED AS PER WEBSOURCE | 26 | 27 | 26 | 262726 | L |  |  |  | MATERIAL DESCRIPTION, WIRING DEVICES, TYPE: VOLTAGE/SIZE: SPECS: 2MOD, BRANDS: GENERAL DES: LEG54010 | https://www.legrand.co.in/ecatalogue/product/pop-up-boxes-to-be-equipped-3-modules-matt-aluminium-finsih-054010 | https://www.rexel.com.au/are/category/Cable-Management/Floor-System/Junction-box-insert-for-underfloor-installation/POP-UP-BOX-3-MODULES-ALUMINIUM/LEG54010/p/11139441 | LEGRAND | 054010 |  |  |  |  | 39121303 Electrical boxes | Enriched | BOX | ELECTRICAL | NUMBER OF MODULES:3, FOR WIRING DEVICE |  | TYPE | POP-UP | GANG |  | SHAPE |  | KNOCKOUTS |  | ELECTRICAL RATING |  | MATERIAL | MATT ALUMINUM | SIZE/CONNECTION |  | MOUNT |  | ENCLOSURE |  | TEMPERATURE RATING | [17 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15828 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 27 | 26 | 262726 | L |  |  |  | MATERIAL DESCRIPTION, WIRING DEVICES, TYPE: VOLTAGE/SIZE: SPECS: 3P+N+E, BRANDS: GENERAL DES: LEG54000 | https://www.legrand.co.in/ecatalogue/product/flush-mounting-boxes-for-installation-in-concrete-floors-metal-flush-mounting-boxes3-modules-054000 |  | LEGRAND | 054000 |  |  |  |  | 39121303 Electrical boxes | Enriched | BOX | ELECTRICAL | NUMBER OF POLES:3P+N+E, FOR WIRING DEVICE | NUMBER OF MODULES:3 | TYPE | POP-UP/CONCRETE FLOOR | GANG |  | SHAPE |  | KNOCKOUTS |  | ELECTRICAL RATING |  | MATERIAL | METAL | SIZE/CONNECTION |  | MOUNT | FLUSH | ENCLOSURE |  | TEMPERATURE RATING | [17 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15829 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 27 | 26 | 262726 | L |  |  |  | MATERIAL DESCRIPTION, WIRING DEVICES, TYPE: VOLTAGE/SIZE: SPECS: 3P, BRANDS: GENERAL DES: LEG572111 | https://www.legrand.co.uk/en/catalog/products/arteor-2-pole-earth-13a-british-standard-unswitched-socket-outlet-2-module-white-572111 |  | LEGRAND | 572111 |  |  |  |  | 39121406 Electrical receptacles | Enriched | SOCKET | ELECTRICAL | NUMBER OF POLES:3P,FOR WIRING DEVICE | COLOR:WHITE, IP RATING:IP40, SIZE:45MM WD X 45MM HT X 30MM DP | TYPE | UNSWITCHED | WATTAGE |  | VOLTAGE | 250VAC, 50/60HZ | CONTACT |  | CONFIGURATION |  | CONNECTION | SCREW TERMINAL | CURRENT RATING | 13A | MATERIAL | THERMOPLASTIC | STANDARD | BS 1363 | [18 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_15830 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 27 | 26 | 262726 | L |  |  |  | MATERIAL DESCRIPTION, WIRING DEVICES, TYPE: VOLTAGE/SIZE: SPECS: 5P, BRANDS: GENERAL DES: LEG689678 | https://www.legrand.co.in/ecatalogue/product/waved-support-plates-689678 | https://www.legrand.com/ecatalogue/en/catalog/products/waved-support-plate-for-arteor-mechanism-for-4-modules-2-x-2-modules-689678 | LEGRAND | 689678 |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | PLATE | METAL | NUMBER OF POLES:5P, FOR WIRING DEVICE | CONNECTION:SCREW, NUMBER OF MODULES:4, STANDARDS:EN 50 085-2.2, EN 60670-23 | SIZE | 237MM LG X 77MM WD X 50MM DP | MATERIAL |  | SPECIFICATION |  | GRADE |  | TYPE | FLOOR BOX WAVED SUPPORT | PROCESS |  | WEIGHT | [23 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16141 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L | EA |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: 370VAC 400-440V, SPECS: 50MFD, BRAND: AMRAD ENGR.INC, TYPE: ROUND TYPE, GENERAL DES: | URL NOT FOUND |  | AMRAD ENGR.INC | [5 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE | VOLTAGE RATING:370/400 TO 440V |  | SHAPE | ROUND | DIMENSIONS |  | MFD VALUE | 50MFD | POWER RATING |  | TYPE |  | CAPACITANCE |  | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16142 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: 450VAC, SPECS: 40UF, BRAND: KOREA, TYPE: MINI TYPE, GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE | VOLTAGE RATING:450VAC, REGION:KOREA |  | SHAPE |  | DIMENSIONS |  | MFD VALUE |  | POWER RATING |  | TYPE | MINI | CAPACITANCE | 40UF | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16143 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: 240V, SPECS: 45+5UF, BRAND: SCHNEIDER, TYPE: CAPSULE TYPE, GENERAL DES: | URL NOT FOUND |  | SCHNEIDER ELECTRIC | [5 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE | VOLTAGE RATING:240V |  | SHAPE |  | DIMENSIONS |  | MFD VALUE |  | POWER RATING |  | TYPE | CAPSULE | CAPACITANCE | 45+5UF | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16144 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: 400/230 V - 630 VA, SPECS: 50+5UF, BRAND: CHINA, TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE | VOLTAGE RATING:400/230V, REGION:CHINA |  | SHAPE |  | DIMENSIONS |  | MFD VALUE |  | POWER RATING | 630VA | TYPE |  | CAPACITANCE | 50+5UF | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16145 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: 400V, SPECS: 40MFD, BRAND: AEROVOX, TYPE: GENERAL DES: | URL NOT FOUND |  | AEROVOX | [5 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE | VOLTAGE RATING:400V |  | SHAPE |  | DIMENSIONS |  | MFD VALUE | 40MFD | POWER RATING |  | TYPE |  | CAPACITANCE |  | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16146 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: 370V, SPECS: 60CB, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE | VOLTAGE RATING:370V, REF: 60CB |  | SHAPE |  | DIMENSIONS |  | MFD VALUE |  | POWER RATING |  | TYPE |  | CAPACITANCE | 60CB | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16147 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: 525V, SPECS: 1.5MFD, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE | VOLTAGE RATING:525V |  | SHAPE |  | DIMENSIONS |  | MFD VALUE | 1.5MFD | POWER RATING |  | TYPE |  | CAPACITANCE |  | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16148 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: SPECS: 30+5 MFD, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE |  |  | SHAPE |  | DIMENSIONS |  | MFD VALUE | 30+5MFD | POWER RATING |  | TYPE |  | CAPACITANCE |  | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16149 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: SPECS: 35+5 MFD, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE |  |  | SHAPE |  | DIMENSIONS |  | MFD VALUE | 35+5MFD | POWER RATING |  | TYPE |  | CAPACITANCE |  | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16150 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: SPECS: 2.0 MFD, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE |  |  | SHAPE |  | DIMENSIONS |  | MFD VALUE | 2MFD | POWER RATING |  | TYPE |  | CAPACITANCE |  | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16151 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: SPECS: 2.5 MFD, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE |  |  | SHAPE |  | DIMENSIONS |  | MFD VALUE | 2.5MFD | POWER RATING |  | TYPE |  | CAPACITANCE |  | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16152 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: SPECS: 3.0 MFD, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE |  |  | SHAPE |  | DIMENSIONS |  | MFD VALUE | 3MFD | POWER RATING |  | TYPE |  | CAPACITANCE |  | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16153 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: SPECS: 4.0 MFD, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE |  |  | SHAPE |  | DIMENSIONS |  | MFD VALUE | 4MFD | POWER RATING |  | TYPE |  | CAPACITANCE |  | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_16154 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 26 | 28 | 16 | 262816 | L |  |  |  | MATERIAL DESCRIPTION, CAPACITOR, SIZE: SPECS: 32UF, BRAND: TYPE: GENERAL DES: | URL NOT FOUND | [7 empty] | 32121500 Capacitors | Cleansed | CAPACITOR | NONE |  |  | SHAPE |  | DIMENSIONS |  | MFD VALUE |  | POWER RATING |  | TYPE |  | CAPACITANCE | 32UF | TOLERANCE |  | CONNECTION |  | STYLE | [19 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16795 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 27 | 11 | 16 | 271116 | L | ea |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 9U, DOOR TYPE: GLASS, BRAND: RITTAL, DIMENSION: 600x600, GENERAL DES: DSB06-600 | URL NOT FOUND |  | RITTAL | DSB06-600 |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Cleansed | RACK | NONE | DOOR TYPE: GLASS |  | TYPE |  | SIZE | 9U/600MM X 600MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16796 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 12U, DOOR TYPE: OPEN, BRAND: FINOSEL, DIMENSION: 800x800, GENERAL DES: FSB27-66S | URL NOT FOUND |  | FINOSEL | FSB27-66S |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Cleansed | RACK | NONE | DOOR TYPE: OPEN |  | TYPE |  | SIZE | 12U/800MM X 800MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16797 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 27U, DOOR TYPE: HOLE, BRAND: CHATSWORTH, DIMENSION: 800x1000, GENERAL DES: FSB42-66S | URL NOT FOUND |  | CHATSWORTH | FSB42-66S |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Cleansed | RACK | NONE | DOOR TYPE: HOLE |  | TYPE |  | SIZE | 27U/800MM X 1000MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16798 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 42U, DOOR TYPE: NETSHELTER, BRAND: EATON, DIMENSION: 1000x1000, GENERAL DES: DSB18-800 | URL NOT FOUND |  | EATON | DSB18-800 |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Cleansed | RACK | NONE | DOOR TYPE: NETSHELTER |  | TYPE |  | SIZE | 42U/1000MM X 1000MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16799 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 16U, DOOR TYPE: TS IT T1, BRAND: ESTAP, DIMENSION: 600x800, GENERAL DES: AR3100 | https://www.apc.com/us/en/product/AR3100/apc-netshelter-sx-server-rack-enclosure-42u-black-1991h-x-600w-x-1070d-mm/ |  | APC | AR3100 | ESTAP |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | ENCLOSURE | NONE | DOOR TYPE: TS IT T1 | COLOR:BLACK, STANDARDS:EIA-310E, UL 2416, UL 60950-1 | TYPE | SERVER RACK | NEMA RATING |  | SIZE | 42U/60CM WD X 199.1CM HT X107CM DP | MATERIAL | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16800 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | CONFLICT WRT INPUT, PROCESSED BASED ON WEBSOURCE | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 6U, DOOR TYPE: WALL MOUNT, BRAND: APC, DIMENSION: 600x1070, GENERAL DES: AR3150 | https://www.apc.com/in/en/product/AR3150/apc-netshelter-sx-server-rack-enclosure-42u-black-1991-4h-x-750w-x-1070d-mm/ |  | APC | AR3150 |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | ENCLOSURE | NONE | MOUNT: WALL | COLOR:BLACK, STANDARDS:EIA-310E, UL 2416, UL 60950-1 | TYPE | SERVER RACK | NEMA RATING |  | SIZE | 42U/75CM WD X 199.1CM HT X107CM DP | MATERIAL | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16801 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 18U, DOOR TYPE: BRAND: TOTEN, DIMENSION: 750x1070, GENERAL DES: RAL7035 | URL NOT FOUND |  | TOTEN | [5 empty] | 39121300 Electrical boxes and enclosures and fittings and accessories | Cleansed | RACK | NONE | COLOR:GREY RAL7035 |  | TYPE |  | SIZE | 18U/750MM X 1070MM | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16802 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 15U, DOOR TYPE: BRAND: CONTEG, DIMENSION: 2000x800x1000mm, GENERAL DES: DK7507.200 | https://www.rittal.com/in-en/products/PG0800ITINFRA1/PG0031ITINFRA1/PRO0042?variantId=7507200 |  | RITTAL | DK7507.200 | CONTEG |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | ENCLOSURE | NONE |  | MOUNT:WALL/FLOOR | TYPE | FLAT | NEMA RATING |  | SIZE | 15U/700MM WD X 758MM HT X700MM DP | MATERIAL | SHEET STEEL | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16803 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 | SERIES MATCH, SIZE UPDATED AS PER WEBSOURCE | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 45U, DOOR TYPE: BRAND: DIMENSION: 758X700X700mm, GENERAL DES: RUN-09-60/60-TH-H | https://www.myconteg.de/files/1/soubory/EN/Datasheets/Wall-mount-SOHO-racks/PREMIUM_RUN_datasheet_EN_20200327.pdf | https://www.anixter.com/en_gb/products/RUN-09-60-60/CONTEG/Cabinets/p/289282 | CONTEG | RUN-09-60/60-TH-H |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | RACK | NONE |  | COLOR:GREY RAL7035, IP RATING:IP30, MOUNT:WALL | TYPE |  | SIZE | 9U/603MM WD X 491MM HT X 600MM DP | MATERIAL | SHEET STEEL | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16804 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 22U, DOOR TYPE: RACK TOWER BLACK, BRAND: PENN-ELCOM, DIMENSION: 600x600, GENERAL DES: R4066-22UK | https://www.penn-elcom.com/22u-server-enclosure-m6-rails-600mm-x-600mm-poly-door-r4066-22uk |  | PENN-ELCOM | R4066-22UK |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | ENCLOSURE | NONE |  | COLOR:BLACK | TYPE | SERVER RACK | NEMA RATING |  | SIZE | 22U/600MM WD X 600MM DP | MATERIAL | STEEL | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16805 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 32U, DOOR TYPE: -, BRAND: ESTAP, DIMENSION: 780x600 mm, GENERAL DES: UNV32U7860_01M50_PNY | https://www.estap.com.tr/pdf/Universalline-en.pdf | https://novestecsystems.es/wp-content/uploads/2015/10/Estap_2_UniversalLine.pdf | ESTAP | UNV32U7860_01M50_PNY |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | ENCLOSURE | NONE |  | COLOR:GREY RAL7035, IP RATING:IP20 | TYPE | UNIVERSAL LINE FREESTANDING | NEMA RATING |  | SIZE | 32U/780MM WD X 600MM DP | MATERIAL | SHEET STEEL | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16806 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 36U, DOOR TYPE: -, BRAND: ESTAP, DIMENSION: 780x600 mm, GENERAL DES: UNV36U7860_01M50_PNY | https://www.estap.com.tr/pdf/Universalline-en.pdf | https://novestecsystems.es/wp-content/uploads/2015/10/Estap_2_UniversalLine.pdf | ESTAP | UNV36U7860_01M50_PNY |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | ENCLOSURE | NONE |  | COLOR:GREY RAL7035, IP RATING:IP20 | TYPE | UNIVERSAL LINE FREESTANDING | NEMA RATING |  | SIZE | 36U/780MM X 600MM | MATERIAL | SHEET STEEL | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_16807 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 27 | 11 | 16 | 271116 | L |  |  |  | MATERIAL DESCRIPTION, RACK, SIZE: 47U, DOOR TYPE: -, BRAND: ESTAP, DIMENSION: 780x600 mm, GENERAL DES: UNV47U7860_01M50_PNY | https://www.estap.com.tr/pdf/Universalline-en.pdf | https://novestecsystems.es/wp-content/uploads/2015/10/Estap_2_UniversalLine.pdf | ESTAP | UNV47U7860_01M50_PNY |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | Enriched | ENCLOSURE | NONE |  | COLOR:GREY RAL7035, IP RATING:IP20 | TYPE | UNIVERSAL LINE FREESTANDING | NEMA RATING |  | SIZE | 47U/780MM X 600MM | MATERIAL | SHEET STEEL | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19441 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: LENEL, TYPE: Tier 1, SUPPORT: 64...128 Readers, Years: 1 | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE | TIERS: 1, READERS SUPPORT: 64 TO 128 , WARRANTY: 1YR |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19442 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: MILESTONE, TYPE: Tier 2, SUPPORT: 129...192 Readers., Years: 2 | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE | TIERS: 2, READERS SUPPORT: 129 TO 192, WARRANTY: 2YR |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19443 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: GENETEC, TYPE: Tier 3, SUPPORT: 193...256 Readers., Years: 3 | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE | TIERS: 3, READERS SUPPORT: 193 TO 256, WARRANTY: 3YR |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19444 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: BOSCH, TYPE: Tier 4, SUPPORT: 128…256 Readers., Years: | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE | TIERS: 4, READERS SUPPORT: 128 TO 256 |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19445 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: HONEYWELL, TYPE: Tier 5, SUPPORT: Years: | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE | TIERS: 5 |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19446 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: SIEMENS, TYPE: Tier 6, SUPPORT: Years: | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE | TIERS: 6 |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19447 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: SCHNEIDER ESMI, TYPE: 3 YEARS, SUPPORT: Years: | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE | WARRANTY:3 YR |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19448 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: AVIGILON, TYPE: SUPPORT: Years: | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE |  |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19449 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: EXACQVISION, TYPE: SUPPORT: Years: | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE |  |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19450 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: CAMELEON, TYPE: SUPPORT: Years: | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE |  |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19451 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: SIQURA, TYPE: SUPPORT: Years: | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE |  |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19452 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, SOFTWARE UPGRADE AND SUPPORT PLANS, BRAND NAME: PELCO, TYPE: SUPPORT: Years: | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | Cleansed | SOFTWARE | NONE |  |  | TYPE | UPGRADE AND SUPPORT PLAN | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19509 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, IDADV CLIENT SOFTWARE LICENSE, BRAND NAME: LENEL, READERS SUPPORT: | URL NOT FOUND |  | LENEL | [5 empty] | 43231512 License management software | Cleansed | SOFTWARE | NONE |  |  | TYPE | IDADV CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19510 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, IDADV CLIENT SOFTWARE LICENSE, BRAND NAME: MILESTONE, READERS SUPPORT: | URL NOT FOUND |  | MILESTONE | [5 empty] | 43231512 License management software | Cleansed | SOFTWARE | NONE |  |  | TYPE | IDADV CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19511 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, IDADV CLIENT SOFTWARE LICENSE, BRAND NAME: GENETEC, READERS SUPPORT: | URL NOT FOUND |  | GENETEC | [5 empty] | 43231512 License management software | Cleansed | SOFTWARE | NONE |  |  | TYPE | IDADV CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19512 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, IDADV CLIENT SOFTWARE LICENSE, BRAND NAME: BOSCH, READERS SUPPORT: | URL NOT FOUND |  | BOSCH | [5 empty] | 43231512 License management software | Cleansed | SOFTWARE | NONE |  |  | TYPE | IDADV CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19513 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, IDADV CLIENT SOFTWARE LICENSE, BRAND NAME: HONEYWELL, READERS SUPPORT: | URL NOT FOUND |  | HONEYWELL | [5 empty] | 43231512 License management software | Cleansed | SOFTWARE | NONE |  |  | TYPE | IDADV CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19514 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, IDADV CLIENT SOFTWARE LICENSE, BRAND NAME: SIEMENS, READERS SUPPORT: | URL NOT FOUND |  | SIEMENS | [5 empty] | 43231512 License management software | Cleansed | SOFTWARE | NONE |  |  | TYPE | IDADV CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19515 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, IDADV CLIENT SOFTWARE LICENSE, BRAND NAME: SCHNEIDER ESMI, READERS SUPPORT: | URL NOT FOUND |  | SCHNEIDER ESMI | [5 empty] | 43231512 License management software | Cleansed | SOFTWARE | NONE |  |  | TYPE | IDADV CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19516 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, IDADV CLIENT SOFTWARE LICENSE, BRAND NAME: AVIGILON, READERS SUPPORT: | URL NOT FOUND |  | AVIGILON | [5 empty] | 43231512 License management software | Cleansed | SOFTWARE | NONE |  |  | TYPE | IDADV CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19517 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, IDADV CLIENT SOFTWARE LICENSE, BRAND NAME: EXACQVISION, READERS SUPPORT: | URL NOT FOUND |  | EXACQVISION | [5 empty] | 43231512 License management software | Cleansed | SOFTWARE | NONE |  |  | TYPE | IDADV CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19518 | Data Enrichment | PVJ | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, IDADV CLIENT SOFTWARE LICENSE, BRAND NAME: ARECONT VISION, READERS SUPPORT: | URL NOT FOUND |  | ARECONT VISION | [5 empty] | 43231512 License management software | Cleansed | SOFTWARE | NONE |  |  | TYPE | IDADV CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed