## Sheet1
Project Code | File Name | Sheet Name | Griha_ID | Activities | Production User | Production Comments | Start Date | End Date | Remarks | S1 | S2 | S3 | Group | Type | Unit | ItemType | CATEGORY | Description | Reference URL | Reference URL1 | MANUFACTURER NAME | MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER | ALTERNATE MANUFACTURER PART NUMBER | VENDOR NAME | VENDOR PART NUMBER | UNSPSC 26.0801 | Enriched/Cleansed | NOUN | MODIFIER | ADDITIONAL INFO From Input | ADDITIONAL INFO From Web | ATTRIBUTE NAME 1 | ATTRIBUTEVALUE 1 | ATTRIBUTE NAME 2 | ATTRIBUTEVALUE 2 | ATTRIBUTE NAME 3 | ATTRIBUTEVALUE 3 | ATTRIBUTE NAME 4 | ATTRIBUTEVALUE 4 | ATTRIBUTE NAME 5 | ATTRIBUTEVALUE 5 | ATTRIBUTE NAME 6 | ATTRIBUTEVALUE 6 | ATTRIBUTE NAME 7 | ATTRIBUTEVALUE 7 | ATTRIBUTE NAME 8 | ATTRIBUTEVALUE 8 | ATTRIBUTE NAME 9 | ATTRIBUTEVALUE 9 | ATTRIBUTE NAME 10 | ATTRIBUTEVALUE 10 | ATTRIBUTE NAME 11 | ATTRIBUTEVALUE 11 | ATTRIBUTE NAME 12 | ATTRIBUTEVALUE 12 | ATTRIBUTE NAME 13 | ATTRIBUTEVALUE 13 | ATTRIBUTE NAME 14 | ATTRIBUTEVALUE 14 | ATTRIBUTE NAME 15 | ATTRIBUTEVALUE 15 | ATTRIBUTE NAME 16 | ATTRIBUTEVALUE 16 | ATTRIBUTE NAME 17 | ATTRIBUTEVALUE 17 | ATTRIBUTE NAME 18 | ATTRIBUTEVALUE 18 | Status
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_2287 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 14 | 015214 | L | ea |  | M1 | DESCRIPTION, SIGNATURE BOOK, SIZE: LEGAL | [8 empty] | 14111810 Personnel forms or personnel books | Cleansed | BOOK | PERSONAL ORGANIZER |  |  | SIZE |  | COVER |  | TYPE | [31 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3763 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 23 | 015223 | L | no |  | M2 | MATERIAL, SAFETY GOGGLES: TYPE: GLASS, TYPE: BLACK, BRAND/ORIGIN: ANT5, TYPE: PROTECTIVE EYEWEAR | [8 empty] | 46181804 Goggles |  | GOGGLES | NONE |  |  | TYPE | SAFETY | LENS COLOUR | BLACK | LENS MATERIAL | [31 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3764 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 23 | 015223 | L |  |  |  | MATERIAL, SAFETY GOGGLES: TYPE: SPECTACLES, TYPE: CLEAR, BRAND/ORIGIN: CAT, TYPE: | [8 empty] | 46181804 Goggles |  | GOGGLES | NONE |  |  | TYPE | SAFETY,SPECTACLES | LENS COLOUR | CLEAR | LENS MATERIAL | [31 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3765 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 23 | 015223 | L |  |  |  | MATERIAL, SAFETY GOGGLES: TYPE: TYPE: ANTI ACID, BRAND/ORIGIN: 3M, TYPE: |  |  | 3M | [5 empty] | 46181804 Goggles |  | GOGGLES | NONE |  |  | TYPE | SAFETY | LENS COLOUR |  | LENS MATERIAL | ANTI ACID | [30 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3766 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 23 | 015223 | L |  |  |  | MATERIAL, SAFETY GOGGLES: TYPE: TYPE: BRAND/ORIGIN: CHINA, TYPE: | [8 empty] | 46181804 Goggles |  | GOGGLES | NONE | ORIGIN:CHINA |  | TYPE | SAFETY | LENS COLOUR |  | LENS MATERIAL | [31 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3767 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 23 | 015223 | L |  |  |  | MATERIAL, SAFETY GOGGLES: TYPE: TYPE: BRAND/ORIGIN: TAIWAN, TYPE: | [8 empty] | 46181804 Goggles |  | GOGGLES | NONE | ORIGIN:TAIWAN |  | TYPE | SAFETY | LENS COLOUR |  | LENS MATERIAL | [31 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3981 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 24 | 015224 | L | roll |  | M2 | MATERIAL, CABLE PULLING WIRE, SIZE: 25m, BRAND: CHINA, SPECIFICATION: W/ COVER, BRAND: DETAILS: | [8 empty] | 26121500 Electrical wire |  | WIRE | ELECTRICAL | REGION:CHINA, W/ COVER |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | STRANDS |  | VOLTAGE |  | TYPE | CABLE PULLING | LENGTH | 25M | INSULATION MATERIAL |  | INSULATION COLOUR |  | STANDARD | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3982 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 24 | 015224 | L | ea |  |  | MATERIAL, CABLE PULLING WIRE, SIZE: 50m, BRAND: INDIA, SPECIFICATION: W/O COVER, BRAND: DETAILS: | [8 empty] | 26121500 Electrical wire |  | WIRE | ELECTRICAL | REGION:INDIA, W/O COVER |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | STRANDS |  | VOLTAGE |  | TYPE | CABLE PULLING | LENGTH | 50M | INSULATION MATERIAL |  | INSULATION COLOUR |  | STANDARD | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3983 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING WIRE, SIZE: 30m, BRAND: PENGUIN, SPECIFICATION: HEAVY DUTY, BRAND: DETAILS: |  |  | PENGUIN | [5 empty] | 26121500 Electrical wire |  | WIRE | ELECTRICAL |  |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | STRANDS |  | VOLTAGE |  | TYPE | HEAVY DUTY, CABLE PULLING | LENGTH | 30M | INSULATION MATERIAL |  | INSULATION COLOUR |  | STANDARD | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3984 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING WIRE, SIZE: 15m, BRAND: STRAND, SPECIFICATION: ACSR/AW CONDUCTOR, BRAND: DETAILS: |  |  | STRAND | [5 empty] | 26121500 Electrical wire |  | WIRE | ELECTRICAL | CONDUCTOR:ACSR/AW |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | STRANDS |  | VOLTAGE |  | TYPE | CABLE PULLING | LENGTH | 15M | INSULATION MATERIAL |  | INSULATION COLOUR |  | STANDARD | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3985 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING WIRE, SIZE: 60m, BRAND: SPECIFICATION: OPGW, BRAND: DETAILS: | [8 empty] | 26121500 Electrical wire |  | WIRE | ELECTRICAL | SPECIFICATION:OPGW |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | STRANDS |  | VOLTAGE |  | TYPE | CABLE PULLING | LENGTH | 60M | INSULATION MATERIAL |  | INSULATION COLOUR |  | STANDARD | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3986 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING WIRE, SIZE: 20m, BRAND: SPECIFICATION: BRAND: DETAILS: | [8 empty] | 26121500 Electrical wire |  | WIRE | ELECTRICAL |  |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | STRANDS |  | VOLTAGE |  | TYPE | CABLE PULLING | LENGTH | 20M | INSULATION MATERIAL |  | INSULATION COLOUR |  | STANDARD | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3987 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING WIRE, SIZE: 100m, BRAND: SPECIFICATION: BRAND: DETAILS: | [8 empty] | 26121500 Electrical wire |  | WIRE | ELECTRICAL |  |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | STRANDS |  | VOLTAGE |  | TYPE | CABLE PULLING | LENGTH | 100M | INSULATION MATERIAL |  | INSULATION COLOUR |  | STANDARD | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3988 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING WIRE, SIZE: 4/0 AWG, BRAND: SPECIFICATION: BRAND: DETAILS: | [8 empty] | 26121500 Electrical wire |  | WIRE | ELECTRICAL |  |  | CONDUCTOR SIZE | 4/0AWG | CONDUCTOR MATERIAL |  | STRANDS |  | VOLTAGE |  | TYPE | CABLE PULLING | LENGTH |  | INSULATION MATERIAL |  | INSULATION COLOUR |  | STANDARD | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div01_General Requirements | ITEM CODE DIV 01_3989 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 01 | 52 | 24 | 015224 | L |  |  |  | MATERIAL, CABLE PULLING WIRE, SIZE: 200m, BRAND: SPECIFICATION: BRAND: DETAILS: | [8 empty] | 26121500 Electrical wire |  | WIRE | ELECTRICAL |  |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | STRANDS |  | VOLTAGE |  | TYPE | CABLE PULLING | LENGTH | 200M | INSULATION MATERIAL |  | INSULATION COLOUR |  | STANDARD | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5673 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L | pc |  | M1 | MATERIAL, SCREW DRIVER: SIZE: 5x150mm, SHAPE: FLAT, BRAND: STANLEY |  |  | STANLEY | [5 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE |  |  | TYPE |  | LENGTH | 150MM | SHANK LENGTH |  | TIP | FLAT | TIP SIZE | 5MM | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5674 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L | set |  |  | MATERIAL, SCREW DRIVER: SIZE: 8x150mm, SHAPE: STAR, BRAND: PROTTO |  |  | PROTTO | [5 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE |  |  | TYPE |  | LENGTH | 150MM | SHANK LENGTH |  | TIP | STAR | TIP SIZE | 8MM | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5675 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: 4in, SHAPE: LONG, BRAND: CHINA | [8 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE | REGION:CHINA |  | TYPE |  | LENGTH | 4IN | SHANK LENGTH |  | TIP | LONG | TIP SIZE |  | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5676 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: 8in, SHAPE: TESTER, BRAND: DEWESSER-GERMANY |  |  | DEWESSER | [5 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE | REGION:GERMANY |  | TYPE |  | LENGTH | 8IN | SHANK LENGTH |  | TIP | TESTER | TIP SIZE |  | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5677 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: 10in, SHAPE: FLAT AND STAR, BRAND: HARDY |  |  | HARDY | [5 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE |  |  | TYPE |  | LENGTH | 10IN | SHANK LENGTH |  | TIP | FLAT AND STAR | TIP SIZE |  | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5678 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: 12in, SHAPE: SLOTTED, BRAND: PHILIPS |  |  | PHILIPS | [5 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE |  |  | TYPE |  | LENGTH | 12IN | SHANK LENGTH |  | TIP | SLOTTED | TIP SIZE |  | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5679 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: SET, SHAPE: BRAND: TRAMONTINA |  |  | TRAMONTINA | [5 empty] | 27111728 Screwdriver set |  | SCREWDRIVER SET | NONE |  |  | TYPE |  | LENGTH |  | SHANK LENGTH |  | TIP |  | TIP SIZE |  | MATERIAL |  | HANDLE |  | NUMBER OF PIECES |  | CONTAINER |  | SHANK | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5680 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: SMALL, SHAPE: BRAND: WEIDMUELLER |  |  | WEIDMULLER | [5 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE | SIZE:SMALL |  | TYPE |  | LENGTH |  | SHANK LENGTH |  | TIP |  | TIP SIZE |  | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5681 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: 150mm, SHAPE: BRAND: TAIWAN | [8 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE | REGION:TAIWAN |  | TYPE |  | LENGTH | 150MM | SHANK LENGTH |  | TIP |  | TIP SIZE |  | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5682 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: BIG, SHAPE: BRAND: | [8 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE | SIZE:BIG |  | TYPE |  | LENGTH |  | SHANK LENGTH |  | TIP |  | TIP SIZE |  | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5683 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: 2.5x75mm, SHAPE: BRAND: | [8 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE |  |  | TYPE |  | LENGTH | 75MM | SHANK LENGTH |  | TIP |  | TIP SIZE | 2.5MM | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5684 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: 8x175mm, SHAPE: BRAND: | [8 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE |  |  | TYPE |  | LENGTH | 175MM | SHANK LENGTH |  | TIP |  | TIP SIZE | 8MM | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div03_Concrete | ITEM CODE DIV 01_5685 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 03 | 11 | 17 | 031117 | L |  |  |  | MATERIAL, SCREW DRIVER: SIZE: 5x100mm, SHAPE: BRAND: | [8 empty] | 27111701 Screwdrivers |  | SCREWDRIVER | NONE |  |  | TYPE |  | LENGTH | 100MM | SHANK LENGTH |  | TIP |  | TIP SIZE | 5MM | MATERIAL |  | HANDLE |  | SHANK DIMENSIONS |  | SHANK SHAPE | [19 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7152 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L | pcs |  | M1 | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: ARMORED STEEL, SIZE: 120x240cm, THICKNESS: 1.5mm THK, STANDARD SECURITY: NIJ-LEVEL II, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:NIJ-LEVEL II |  | MATERIAL | ARMORED STEEL | TYPE | BALLISTIC | THICKNESS | 1.5MM | SURFACE TREATMENT |  | WIDTH | 120CM | LENGTH | 240CM | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7153 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L | kg |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: GALVANIZED STEEL, SIZE: 150x300cm, THICKNESS: 2.0mm THK, STANDARD SECURITY: NIJ-LEVEL IIA, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:NIJ-LEVEL IIA |  | MATERIAL | GALVANIZED STEEL | TYPE | BALLISTIC | THICKNESS | 2MM | SURFACE TREATMENT |  | WIDTH | 150CM | LENGTH | 300CM | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7154 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L | ton |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: STAINLESS STEEL, SIZE: 180x360cm, THICKNESS: 2.5mm THK, STANDARD SECURITY: NIJ-LEVEL III, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:NIJ-LEVEL III |  | MATERIAL | STAINLESS STEEL | TYPE | BALLISTIC | THICKNESS | 2.5MM | SURFACE TREATMENT |  | WIDTH | 180CM | LENGTH | 360CM | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7155 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L | sheet |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: UNPAINTED STEEL, SIZE: 200x400cm, THICKNESS: 3.0mm THK, STANDARD SECURITY: NIJ-LEVEL IIIA, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:NIJ-LEVEL IIIA |  | MATERIAL | UNPAINTED STEEL | TYPE | BALLISTIC | THICKNESS | 3MM | SURFACE TREATMENT |  | WIDTH | 200CM | LENGTH | 400CM | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7156 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L | no |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: SIZE: 100x600cm, THICKNESS: 3.5mm THK, STANDARD SECURITY: NIJ-LEVEL IV, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:NIJ-LEVEL IV |  | MATERIAL |  | TYPE | BALLISTIC | THICKNESS | 3.5MM | SURFACE TREATMENT |  | WIDTH | 100CM | LENGTH | 600CM | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7157 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L |  |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: SIZE: 4x8ft, THICKNESS: 4.0mm THK, STANDARD SECURITY: UL 752- LEVEL 1, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:UL 752- LEVEL 1 |  | MATERIAL |  | TYPE | BALLISTIC | THICKNESS | 4MM | SURFACE TREATMENT |  | WIDTH | 4FT | LENGTH | 8FT | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7158 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L |  |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: SIZE: THICKNESS: 4.5mm THK, STANDARD SECURITY: UL 752- LEVEL 2, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:UL 752- LEVEL 2 |  | MATERIAL |  | TYPE | BALLISTIC | THICKNESS |  | SURFACE TREATMENT |  | WIDTH |  | LENGTH |  | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7159 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L |  |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: SIZE: THICKNESS: 5.0mm THK, STANDARD SECURITY: UL 752- LEVEL 3, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:UL 752- LEVEL 3 |  | MATERIAL |  | TYPE | BALLISTIC | THICKNESS |  | SURFACE TREATMENT |  | WIDTH |  | LENGTH |  | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7160 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L |  |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: SIZE: THICKNESS: 5.5mm THK, STANDARD SECURITY: UL 752- LEVEL 4, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:UL 752- LEVEL 4 |  | MATERIAL |  | TYPE | BALLISTIC | THICKNESS |  | SURFACE TREATMENT |  | WIDTH |  | LENGTH |  | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7161 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L |  |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: SIZE: THICKNESS: 6.0mm THK, STANDARD SECURITY: UL 752- LEVEL 6, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:UL 752- LEVEL 6 |  | MATERIAL |  | TYPE | BALLISTIC | THICKNESS |  | SURFACE TREATMENT |  | WIDTH |  | LENGTH |  | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7162 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L |  |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: SIZE: THICKNESS: STANDARD SECURITY: UL 752- LEVEL 8, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:UL 752- LEVEL 8 |  | MATERIAL |  | TYPE | BALLISTIC | THICKNESS |  | SURFACE TREATMENT |  | WIDTH |  | LENGTH |  | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7163 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 12 | 23 | 051223 | L |  |  |  | MATERIAL DESCRIPTION, BALLISTIC SHEET, MATERIAL TYPE: SIZE: THICKNESS: STANDARD SECURITY: UL 752- LEVEL 10, GENERAL DES: | [8 empty] | 46191600 Fire fighting equipment |  | SHEET | NONE | STANDARD SECURITY:UL 752- LEVEL 10 |  | MATERIAL |  | TYPE | BALLISTIC | THICKNESS |  | SURFACE TREATMENT |  | WIDTH |  | LENGTH |  | PROCESS |  | WEIGHT |  | SPECIFICATION |  | GRADE | [17 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7969 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 42 | 23 | 054223 | L | ea |  | M1 | MATERIAL DESCRIPTION, I CHANNEL, PRODUCT TYPE : MQ-41, LENGTH: 6mL, BRAND/FINISHING: HILTI |  |  |  | MQ-41 |  |  |  |  | 30101800 Channels | Cleansed | CHANNEL | STRUCTURAL |  |  | SIZE |  | LENGTH | 6ML | MATERIAL |  | GRADE |  | TYPE | I | PROCESS |  | WEIGHT |  | SPECIFICATION | [21 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7970 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 42 | 23 | 054223 | L |  |  |  | MATERIAL DESCRIPTION, I CHANNEL, PRODUCT TYPE : MQ-21 D, LENGTH: BRAND/FINISHING: | https://www.hilti.in/c/CLS_INSTALLATION_SYS_7134/CLS_PIPING_7134/CLS_PIPE_MED_DUTY_CHANNEL_SYS_MQ_7134/r4313 |  | HILTI | MQ-21 D |  |  |  |  | 30101800 Channels | Cleansed | CHANNEL | STRUCTURAL | STANDARD:DIN EN 10346 |  | SIZE | 41.2MM HT X 2MM THK | LENGTH |  | MATERIAL |  | GRADE |  | TYPE | I | PROCESS |  | WEIGHT |  | SPECIFICATION | [21 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7971 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 42 | 23 | 054223 | L |  |  |  | MATERIAL DESCRIPTION, I CHANNEL, PRODUCT TYPE : LENGTH: BRAND/FINISHING: | [8 empty] | 30101800 Channels | Cleansed | CHANNEL | STRUCTURAL |  |  | SIZE |  | LENGTH |  | MATERIAL |  | GRADE |  | TYPE | I | PROCESS |  | WEIGHT |  | SPECIFICATION | [21 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7972 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 42 | 23 | 054223 | L |  |  |  | MATERIAL DESCRIPTION, I CHANNEL, PRODUCT TYPE : LENGTH: BRAND/FINISHING: | [8 empty] | 30101800 Channels | Cleansed | CHANNEL | STRUCTURAL |  |  | SIZE |  | LENGTH |  | MATERIAL |  | GRADE |  | TYPE | I | PROCESS |  | WEIGHT |  | SPECIFICATION | [21 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7973 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 42 | 23 | 054223 | L |  |  |  | MATERIAL DESCRIPTION, I CHANNEL, PRODUCT TYPE : LENGTH: BRAND/FINISHING: | [8 empty] | 30101800 Channels | Cleansed | CHANNEL | STRUCTURAL |  |  | SIZE |  | LENGTH |  | MATERIAL |  | GRADE |  | TYPE | I | PROCESS |  | WEIGHT |  | SPECIFICATION | [21 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7974 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 42 | 23 | 054223 | L |  |  |  | MATERIAL DESCRIPTION, I CHANNEL, PRODUCT TYPE : LENGTH: BRAND/FINISHING: | [8 empty] | 30101800 Channels | Cleansed | CHANNEL | STRUCTURAL |  |  | SIZE |  | LENGTH |  | MATERIAL |  | GRADE |  | TYPE | I | PROCESS |  | WEIGHT |  | SPECIFICATION | [21 empty] | Production Completed
ESI-008 | 1.ITEM CODE DIV 01-07-DEC'19 | Div05_Metals | ITEM CODE DIV 01_7975 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 05 | 42 | 23 | 054223 | L |  |  |  | MATERIAL DESCRIPTION, I CHANNEL, PRODUCT TYPE : LENGTH: BRAND/FINISHING: | [8 empty] | 30101800 Channels | Cleansed | CHANNEL | STRUCTURAL |  |  | SIZE |  | LENGTH |  | MATERIAL |  | GRADE |  | TYPE | I | PROCESS |  | WEIGHT |  | SPECIFICATION | [21 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9772 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L | bag |  | M1 | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: CEMENTIOUS WATER RESIST, BRAND: BASF MASTERTILE 530LM, COLOR : BEIGE, PACKAGING : 4kg/bag | https://mbcc.sika.com/en-eg/products/mastertile/mastertile-530 | https://assets.construction-chemicals.mbcc-group.com/en-tz/mastertile-530-tds-tz.pdf | BASF | MASTERTILE 530LM |  |  |  |  | 30111506 Grout | Cleansed | GROUT | NONE | PACKAGING:4KG/BAG, FOR TILE JOINT FILLER |  | TYPE | CEMENTIOUS WATER RESIST | FORM |  | COLOUR | BEIGE | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9773 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L |  |  |  | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: EPOXY, BRAND: BASF PCI CARRAGROUT, COLOR : BLACK, PACKAGING : 5kg/bag |  |  | BASF |  | PCI CARRAGROUT |  |  |  | 30111506 Grout | Cleansed | GROUT | NONE | PACKAGING:5KG/BAG, FOR TILE JOINT FILLER |  | TYPE | EPOXY | FORM |  | COLOUR | BLACK | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9774 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L |  |  |  | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: CEMENTITIOUS, BRAND: SIKACERAM 502 TG, COLOR : GREY, PACKAGING : 8kg/bag | https://gcc.sika.com/dam/dms/gcc/1/sikaceram-502-tgae.pdf |  | SIKACERAM | 502 TG |  |  |  |  | 30111506 Grout | Cleansed | GROUT | NONE | PACKAGING:8KG/BAG, FOR TILE JOINT FILLER |  | TYPE | CEMENTITIOUS | FORM |  | COLOUR | GREY | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9775 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L |  |  |  | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: WEATHER RESISTANT, BRAND: SODAMCO-CARROJOINT, COLOR : WHITE, PACKAGING : 10kg/bag |  |  | SODAMCO-CARROJOINT | [5 empty] | 30111506 Grout | Cleansed | GROUT | NONE | PACKAGING:10KG/BAG, FOR TILE JOINT FILLER |  | TYPE | WEATHER RESISTANT | FORM |  | COLOUR | WHITE | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9776 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L |  |  |  | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: NON-SHRINK CEMENTITIOUS, BRAND: VETONIT TILE GROUT, COLOR : PACKAGING : 20kg/bag |  |  | VETONIT TILE GROUT | [5 empty] | 30111506 Grout | Cleansed | GROUT | NONE | PACKAGING:20KG/BAG, FOR TILE JOINT FILLER |  | TYPE | NON-SHRINK CEMENTITIOUS | FORM |  | COLOUR |  | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9777 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L |  |  |  | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: BRAND: WEBER JOINT EPO 3 COMPONENT, COLOR : PACKAGING : 25kg/bag | https://www.in.weber/color-cards/epoxy-tile-and-stone-joint-filler/weber-epoxy-grout-system-three-component-epoxy-based-joint-filler |  | WEBER JOINT | EPO 3 |  |  |  |  | 30111506 Grout | Cleansed | GROUT | NONE | PACKAGING:25KG/BAG, FOR TILE JOINT FILLER |  | TYPE | 3 COMPONENT EPOXY | FORM |  | COLOUR |  | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9778 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L |  |  |  | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: BRAND: WEBER JOINT, COLOR : PACKAGING : 25kg/drum |  |  | WEBER JOINT | [5 empty] | 30111506 Grout | Cleansed | GROUT | NONE | PACKAGING:25KG/DRUM, FOR TILE JOINT FILLER |  | TYPE |  | FORM |  | COLOUR |  | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9779 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L |  |  |  | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: BRAND: JOTUN, COLOR : PACKAGING : |  |  | JOTUN | [5 empty] | 30111506 Grout | Cleansed | GROUT | NONE | FOR TILE JOINT FILLER |  | TYPE |  | FORM |  | COLOUR |  | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9780 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L |  |  |  | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: BRAND: SURE LEVEL, COLOR : PACKAGING : |  |  | SURE LEVEL | [5 empty] | 30111506 Grout | Cleansed | GROUT | NONE | FOR TILE JOINT FILLER |  | TYPE |  | FORM |  | COLOUR |  | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9781 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L |  |  |  | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: BRAND: VETONIT, COLOR : PACKAGING : |  |  | VETONIT | [5 empty] | 30111506 Grout | Cleansed | GROUT | NONE | FOR TILE JOINT FILLER |  | TYPE |  | FORM |  | COLOUR |  | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_09 FINISHES | ITEM CODE DIV 08_9782 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 09 | 30 | 34 | 093034 | L |  |  |  | DESCRIPTION, TILE GROUT (JOINT FILLER), TYPE: BRAND: FOSROC-CONBEXTRA GP, COLOR : PACKAGING : | https://www.fosroc.com.au/product/conbextra-gp |  | FOSROC | CONBEXTRA GP |  |  |  |  | 30111506 Grout | Enriched | GROUT | NONE | FOR TILE JOINT FILLER |  | TYPE | HIGH FLOW, SHRINKAGE COMPENSATED | FORM |  | COLOUR |  | CONTAINER | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10390 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 14 | 33 | 101433 | L | m² |  | M1 | DESCRIPTION, ILLUMINATED PANEL SIGNAGE: TYPE: CHANNEL LETTERS, SCOPE: SUPPLY AND INSTALL, INCLUSION(01): FOUNDATION INCLUDED | [8 empty] | 72154028 Sign installation and maintenance service |  | SERVICE | NONE | CHANNEL LETTERS, INCLUSION(01): FOUNDATION INCLUDED |  | TYPE | SUPPLY AND INSTALL | [34 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10391 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 14 | 33 | 101433 | L | set |  | S1 | DESCRIPTION, ILLUMINATED PANEL SIGNAGE: TYPE: MONUMENT CABINET SIGNS, SCOPE: SUPPLY ONLY, INCLUSION(01): FOUNDATION EXCLUDED | [8 empty] | 72154028 Sign installation and maintenance service |  | SERVICE | NONE | MONUMENT CABINET, INCLUSION(01): FOUNDATION EXCLUDED |  | TYPE | SUPPLY ONLY | [34 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10392 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 14 | 33 | 101433 | L | nos |  |  | DESCRIPTION, ILLUMINATED PANEL SIGNAGE: TYPE: LIGHT BOX CABINET SIGNS, SCOPE: INSTALLATION ONLY, INCLUSION(01): | [8 empty] | 72154028 Sign installation and maintenance service |  | SERVICE | NONE | LIGHT BOX CABINET |  | TYPE | INSTALLATION ONLY | [34 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10393 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 14 | 33 | 101433 | L |  |  |  | DESCRIPTION, ILLUMINATED PANEL SIGNAGE: TYPE: POLE CABINET SIGNS, SCOPE: INCLUSION(01): | [8 empty] | 72154028 Sign installation and maintenance service |  | SERVICE | NONE | POLE CABINET |  | TYPE | [35 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10394 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 14 | 33 | 101433 | L |  |  |  | DESCRIPTION, ILLUMINATED PANEL SIGNAGE: TYPE: PROJECT SIGN BOARD, SCOPE: INCLUSION(01): | [8 empty] | 72154028 Sign installation and maintenance service |  | SERVICE | NONE | PROJECT SIGN BOARD |  | TYPE | [35 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10395 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 14 | 33 | 101433 | L |  |  |  | DESCRIPTION, ILLUMINATED PANEL SIGNAGE: TYPE: ACRYLIC FONT W/ LED LIGHT, SCOPE: INCLUSION(01): | [8 empty] | 72154028 Sign installation and maintenance service |  | SERVICE | NONE | ACRYLIC FONT, W/ LED LIGHT |  | TYPE | [35 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10430 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 26 | 13 | 102613 | L | pcs |  | M1 | DESCRIPTION, CORNER GUARD, MATERIAL TYPE : ALUMINUM, FINISH: CLEAR FINISH, TYPES : SURFACE-MOUNTED, AREA TO APPLY: AROUND COLUMN, SUPPLY AND INSTALL | [8 empty] | 30161504 Corner guards |  | GUARD | NONE | FINISH:CLEAR, AREA TO APPLY:AROUND COLUMN, SUPPLY AND INSTALL |  | TYPE | CORNER, SURFACE-MOUNTED | SIZE |  | MATERIAL | ALUMINUM | SHAPE |  | COLOUR | [27 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10431 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 26 | 13 | 102613 | L | m |  | S1 | DESCRIPTION, CORNER GUARD, MATERIAL TYPE : EPDM RUBBER, FINISH: COLORED FINISH, TYPES : RECESS-MOUNTED, AREA TO APPLY: FOR RAMP WALLS, SUPPLY ONLY | [8 empty] | 30161504 Corner guards |  | GUARD | NONE | FINISH:COLORED, AREA TO APPLY:FOR RAMP WALLS, SUPPLY ONLY |  | TYPE | CORNER, RECESS-MOUNTED | SIZE |  | MATERIAL | EPDM RUBBER | SHAPE |  | COLOUR | [27 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10432 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 26 | 13 | 102613 | L |  |  |  | DESCRIPTION, CORNER GUARD, MATERIAL TYPE : PLASTIC, FINISH: PAINTED FINISH, TYPES : AREA TO APPLY: INSTALLATION ONLY | [8 empty] | 30161504 Corner guards |  | GUARD | NONE | FINISH:PAINTED |  | TYPE | CORNER | SIZE |  | MATERIAL | PLASTIC | SHAPE |  | COLOUR | [27 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10433 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 26 | 13 | 102613 | L |  |  |  | DESCRIPTION, CORNER GUARD, MATERIAL TYPE : PVC, FINISH: POLISHED FINISH, TYPES : AREA TO APPLY: | [8 empty] | 30161504 Corner guards |  | GUARD | NONE | FINISH:POLISHED |  | TYPE | CORNER | SIZE |  | MATERIAL | PVC | SHAPE |  | COLOUR | [27 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10434 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 26 | 13 | 102613 | L |  |  |  | DESCRIPTION, CORNER GUARD, MATERIAL TYPE : RUBBER, FINISH: POWDER COATED FINISH, TYPES : AREA TO APPLY: | [8 empty] | 30161504 Corner guards |  | GUARD | NONE | FINISH:POWDER COATED |  | TYPE | CORNER | SIZE |  | MATERIAL | RUBBER | SHAPE |  | COLOUR | [27 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10435 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 26 | 13 | 102613 | L |  |  |  | DESCRIPTION, CORNER GUARD, MATERIAL TYPE : STAINLESS STEEL, FINISH: SATIN BRUSH FINISH, TYPES : AREA TO APPLY: | [8 empty] | 30161504 Corner guards |  | GUARD | NONE | FINISH:SATIN BRUSH |  | TYPE | CORNER | SIZE |  | MATERIAL | STAINLESS STEEL | SHAPE |  | COLOUR | [27 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_10 SPECIALITIES | ITEM CODE DIV 08_10436 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 10 | 26 | 13 | 102613 | L |  |  |  | DESCRIPTION, CORNER GUARD, MATERIAL TYPE : VINYL, FINISH: TYPES : AREA TO APPLY: | [8 empty] | 30161504 Corner guards |  | GUARD | NONE |  |  | TYPE | CORNER | SIZE |  | MATERIAL | VINYL | SHAPE |  | COLOUR | [27 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_11 EQUIPMENT | ITEM CODE DIV 08_10932 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 11 | 67 | 43 | 116743 | L |  |  |  | PRODUCT, PING PONG BALL, BRAND: KETTLER |  |  | KETTLER | [5 empty] | 49181511 Foosballs | Cleansed | BALL | NONE |  |  | TYPE | PING PONG | DIAMETER |  | MATERIAL |  | COLOUR | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_11 EQUIPMENT | ITEM CODE DIV 08_10933 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 11 | 67 | 43 | 116743 | L |  |  | F14 | PRODUCT, PING PONG BALL, BRAND: ARTENGO | [8 empty] | 49181511 Foosballs | Cleansed | BALL | NONE | BRAND:ARTENGO |  | TYPE | PING PONG | DIAMETER |  | MATERIAL |  | COLOUR | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_11 EQUIPMENT | ITEM CODE DIV 08_10934 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 11 | 67 | 43 | 116743 | L |  |  |  | PRODUCT, PING PONG BALL, BRAND: CORNILLEAU |  |  | CORNILLEAU | [5 empty] | 49181511 Foosballs | Cleansed | BALL | NONE |  |  | TYPE | PING PONG | DIAMETER |  | MATERIAL |  | COLOUR | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_11 EQUIPMENT | ITEM CODE DIV 08_10935 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 11 | 67 | 43 | 116743 | L |  |  |  | PRODUCT, PING PONG BALL, BRAND: JOOLA |  |  | JOOLA | [5 empty] | 49181511 Foosballs | Cleansed | BALL | NONE |  |  | TYPE | PING PONG | DIAMETER |  | MATERIAL |  | COLOUR | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_11 EQUIPMENT | ITEM CODE DIV 08_10936 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 11 | 67 | 43 | 116743 | L |  |  |  | PRODUCT, PING PONG BALL, BRAND: KILLERSPIN |  |  | KILLERSPIN | [5 empty] | 49181511 Foosballs | Cleansed | BALL | NONE |  |  | TYPE | PING PONG | DIAMETER |  | MATERIAL |  | COLOUR | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_11 EQUIPMENT | ITEM CODE DIV 08_10937 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 11 | 67 | 43 | 116743 | L |  |  |  | PRODUCT, PING PONG BALL, BRAND: NITTAKU |  |  | NITTAKU | [5 empty] | 49181511 Foosballs | Cleansed | BALL | NONE |  |  | TYPE | PING PONG | DIAMETER |  | MATERIAL |  | COLOUR | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_11 EQUIPMENT | ITEM CODE DIV 08_10938 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 11 | 67 | 43 | 116743 | L |  |  |  | PRODUCT, PING PONG BALL, BRAND: STIGNA | [8 empty] | 49181511 Foosballs | Cleansed | BALL | NONE | BRAND:STIGNA |  | TYPE | PING PONG | DIAMETER |  | MATERIAL |  | COLOUR | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_11 EQUIPMENT | ITEM CODE DIV 08_10939 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 11 | 67 | 43 | 116743 | L |  |  |  | PRODUCT, PING PONG BALL, BRAND: TIBHAR |  |  | TIBHAR | [5 empty] | 49181511 Foosballs | Cleansed | BALL | NONE |  |  | TYPE | PING PONG | DIAMETER |  | MATERIAL |  | COLOUR | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_11 EQUIPMENT | ITEM CODE DIV 08_10966 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 11 | 68 | 23 | 116823 | L |  |  |  | PRODUCT, FOOT, DESCRIPTION: BALL, SIZE: | [8 empty] | 49161504 Footballs | Cleansed | BALL | NONE |  |  | TYPE | FOOT | DIAMETER |  | MATERIAL |  | COLOUR | [29 empty] | Production Completed
ESI-008 | 2.ITEM CODE DIV 08-12-DEC'19 | DIV_11 EQUIPMENT | ITEM CODE DIV 08_10967 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 11 | 68 | 23 | 116823 | L |  |  |  | PRODUCT, FOOT, DESCRIPTION: BALL, GOAL NET, SIZE: | [8 empty] | 49161504 Footballs | Cleansed | BALL | NONE | GOAL NET |  | TYPE | FOOT | DIAMETER |  | MATERIAL |  | COLOUR | [29 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div22_Plumbing | ITEM CODE DIV 21_11876 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 22 | 05 | 16 | 220516 | L | Ea |  |  | MATERIAL DESCRIPTION, UPVC FITTINGS, SIZE: 1/2in, PRESSURE CLASS: SCH40, BRAND: APLACO, TYPE: ELBOW 90, GENERAL DES: MALE THREAD |  |  | APLACO | [5 empty] | 40172800 Pipe elbows |  | ELBOW | PIPE |  |  | SIZE | 1/2IN | CONNECTION | MALE THREADED | DEGREE | 90 | RATING | SCH 40 | MATERIAL | UPVC | TYPE |  | RADIUS |  | SPECIFICATION |  | GRADE |  | STANDARD | [17 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div22_Plumbing | ITEM CODE DIV 21_11877 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 22 | 05 | 16 | 220516 | L | Ea |  |  | MATERIAL DESCRIPTION, UPVC FITTINGS, SIZE: 3/4in, PRESSURE CLASS: SCH80, BRAND: GEORGEFISCHER, TYPE: ELBOW 45, GENERAL DES: FEMALE THREAD |  |  | GEORGE FISCHER | [5 empty] | 40172800 Pipe elbows |  | ELBOW | PIPE |  |  | SIZE | 3/4IN | CONNECTION | FEMALE THREADED | DEGREE | 45 | RATING | SCH 80 | MATERIAL | UPVC | TYPE |  | RADIUS |  | SPECIFICATION |  | GRADE |  | STANDARD | [17 empty] | Production Completed
ESI-008 | 3.ITEM CODE DIV 21-24-JAN'20 | Div22_Plumbing | ITEM CODE DIV 21_11888 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 22 | 05 | 16 | 220516 | L | Ea |  |  | MATERIAL DESCRIPTION, UPVC FITTINGS, SIZE: 1inx3/4in, PRESSURE CLASS: BRAND: TYPE: ELBOW 87.5, GENERAL DES: | [8 empty] | 40141700 Hardware and fittings |  | ELBOW | NONE |  |  | TYPE |  | SIZE | 1IN X 3/4IN | CONNECTION |  | DEGREE | 87.5 | MATERIAL | UPVC | RADIUS | [25 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_27446 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 33 | 11 | 19 | 331119 | L | Ea |  |  | MATERIAL DESCRIPTION, DUCTILE IRON COUPLING, SIZE: 2in, SCHEDULE: SCH40, BRAND: BENKAN, TYPE: SUPA FLEX, GENERAL DES: FIRELOCK 009N | https://www.victaulic.com/products/style-009n-firelock-ez-rigid-coupling/ |  | BENKAN | 009N | SUPA FLEX |  |  |  | 31163013 Shaft coupling |  | COUPLING | SHAFT | SCHEDULE RATING:SCH 40 |  | TYPE | RIGID | TRADE SIZE |  | BORE | 2IN | SHAFT CONNECTION |  | TRADE NAME | FIRELOCK | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL | DUCTILE IRON | [20 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_27451 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 33 | 11 | 19 | 331119 | L | Ea |  |  | MATERIAL DESCRIPTION, DUCTILE IRON COUPLING, SIZE: 4-1/2in, SCHEDULE: ASTM A-536, BRAND: SPT, TYPE: GENERAL DES: |  |  | SPT | [5 empty] | 31163000 Couplings |  | COUPLING | NONE | STANDARD:ASTM A-536 |  | TYPE |  | SIZE | 4-1/2IN | CONNECTION |  | MATERIAL | DUCTILE IRON | [28 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div33_Utilities | ITEM CODE DIV 31_27453 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 33 | 11 | 19 | 331119 | L | Ea |  |  | MATERIAL DESCRIPTION, DUCTILE IRON COUPLING, SIZE: 6in, SCHEDULE: BRAND: VICTAULIC, TYPE: GENERAL DES: |  |  | VICTAULIC | [5 empty] | 31163000 Couplings |  | COUPLING | NONE |  |  | TYPE |  | SIZE |  | CONNECTION |  | MATERIAL | DUCTILE IRON | [28 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_27792 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 41 | 23 | 23 | 412323 | L |  |  |  | DESCRIPTION, SCISSOR LIFT, TYPE: MOBILE VERTICAL, WORKING HEIGHT : 21m, SCOPE: PURCHASE, CERTIFICATION : | [8 empty] | 72000000 Building and Facility Construction and Maintenance Services |  | SERVICE | NONE | MOBILE VERTICAL, WORKING HEIGHT:21M |  | TYPE | PURCHASE | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_27793 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 41 | 23 | 23 | 412323 | L |  |  |  | DESCRIPTION, SCISSOR LIFT, TYPE: WORKING HEIGHT : 21.8 m, SCOPE: MOBILIZATION, CERTIFICATION : | [8 empty] | 72000000 Building and Facility Construction and Maintenance Services |  | SERVICE | NONE | WORKING HEIGHT:21.8M |  | TYPE | MOBILIZATION | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_27794 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 41 | 23 | 23 | 412323 | L |  |  |  | DESCRIPTION, SCISSOR LIFT, TYPE: WORKING HEIGHT : 22m, SCOPE: DEMOBILIZATION, CERTIFICATION : | [8 empty] | 72000000 Building and Facility Construction and Maintenance Services |  | SERVICE | NONE | WORKING HEIGHT:22M |  | TYPE | DEMOBILIZATION | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_27795 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 41 | 23 | 23 | 412323 | L |  |  |  | DESCRIPTION, SCISSOR LIFT, TYPE: WORKING HEIGHT : 24m, SCOPE: REPAIR CHARGES, CERTIFICATION : | [8 empty] | 72100000 Building and facility maintenance and repair services |  | SERVICE | NONE | WORKING HEIGHT:24M |  | TYPE | REPAIR CHARGES | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_27796 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 41 | 23 | 23 | 412323 | L |  |  |  | DESCRIPTION, SCISSOR LIFT, TYPE: WORKING HEIGHT : 26m, SCOPE: CERTIFICATION : | [8 empty] | 72000000 Building and Facility Construction and Maintenance Services |  | SERVICE | NONE | WORKING HEIGHT:26M |  | TYPE | [35 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_27797 | Data Enrichment | RMZ | Done | 2024-05-15 | 2024-05-20 |  | 41 | 23 | 23 | 412323 | L |  |  |  | DESCRIPTION, SCISSOR LIFT, TYPE: WORKING HEIGHT : 28m, SCOPE: CERTIFICATION : | [8 empty] | 72000000 Building and Facility Construction and Maintenance Services |  | SERVICE | NONE | WORKING HEIGHT:28M |  | TYPE | [35 empty] | Production Completed