## Sheet1
Project Code | File Name | Sheet Name | Griha_ID | Activities | Production User | Production Comments | Start Date | End Date | Remarks | S1 | S2 | S3 | Group | Type | Unit | ItemType | CATEGORY | Description | Reference URL | Reference URL1 | MANUFACTURER NAME | MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER | ALTERNATE MANUFACTURER PART NUMBER | VENDOR NAME | VENDOR PART NUMBER | UNSPSC 26.0801 | Enriched/Cleansed | NOUN | MODIFIER | ADDITIONAL INFO From Input | ADDITIONAL INFO From Web | ATTRIBUTE NAME 1 | ATTRIBUTEVALUE 1 | ATTRIBUTE NAME 2 | ATTRIBUTEVALUE 2 | ATTRIBUTE NAME 3 | ATTRIBUTEVALUE 3 | ATTRIBUTE NAME 4 | ATTRIBUTEVALUE 4 | ATTRIBUTE NAME 5 | ATTRIBUTEVALUE 5 | ATTRIBUTE NAME 6 | ATTRIBUTEVALUE 6 | ATTRIBUTE NAME 7 | ATTRIBUTEVALUE 7 | ATTRIBUTE NAME 8 | ATTRIBUTEVALUE 8 | ATTRIBUTE NAME 9 | ATTRIBUTEVALUE 9 | ATTRIBUTE NAME 10 | ATTRIBUTEVALUE 10 | ATTRIBUTE NAME 11 | ATTRIBUTEVALUE 11 | ATTRIBUTE NAME 12 | ATTRIBUTEVALUE 12 | ATTRIBUTE NAME 13 | ATTRIBUTEVALUE 13 | ATTRIBUTE NAME 14 | ATTRIBUTEVALUE 14 | ATTRIBUTE NAME 15 | ATTRIBUTEVALUE 15 | ATTRIBUTE NAME 16 | ATTRIBUTEVALUE 16 | ATTRIBUTE NAME 17 | ATTRIBUTEVALUE 17 | ATTRIBUTE NAME 18 | ATTRIBUTEVALUE 18 | Status
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13312 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 25 | 02 | 02 | 250202 | L | Ea |  |  | MATERIAL DESCRIPTION, BACKPLANE-RACK, TYPE: PLC 4 SLOTS ETHERNET, MODEL: BMEXBP0400, BRAND: SCHNEIDER | https://www.se.com/in/en/product/BMEXBP0400/rack-x80-4-slots-ethernet-backplane/ |  | SCHNEIDER ELECTRIC | BMEXBP0400 |  |  |  |  | 43201610 Backplane or panels or assemblies | ENRICHED | RACK | NONE | FOR PLC |  | TYPE | 4 SLOT ETHERNET BACKPLANE | SIZE | 242.4MM WD X 105.11MM HT X 19MM DP | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13313 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 25 | 02 | 02 | 250202 | L |  |  |  | MATERIAL DESCRIPTION, BACKPLANE-RACK, TYPE: PLC 8 SLOTS ETHERNET, MODEL: BMEXBP0800, BRAND: | https://www.se.com/in/en/product/BMEXBP0800/rack-x80-8-slots-ethernet-backplane/ |  | SCHNEIDER ELECTRIC | BMEXBP0800 |  |  |  |  | 43201610 Backplane or panels or assemblies | ENRICHED | RACK | NONE | FOR PLC |  | TYPE | 8 SLOT ETHERNET BACKPLANE | SIZE | 372.8MM WD X 373.98MM HT X 105.11MM DP | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13314 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 25 | 02 | 02 | 250202 | L |  |  |  | MATERIAL DESCRIPTION, BACKPLANE-RACK, TYPE: PLC 12 SLOTS, MODEL: BMXXBP1200, BRAND: | https://www.se.com/in/en/product/BMXXBP1200/rack-m340-12-slots-panel-or-plate-mounting/ |  | SCHNEIDER ELECTRIC | BMXXBP1200 |  |  |  |  | 43201610 Backplane or panels or assemblies | ENRICHED | RACK | NONE | FOR PLC | MOUNT:DIN RAIL | TYPE | 12 SLOT | SIZE | 503.2MM WD X 103.7MM HT X 19MM DP | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div25_Automation | ITEM CODE DIV 25_13569 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 25 | 02 | 03 | 250203 | L |  |  |  | MATERIAL DESCRIPTION, to be used, TYPE/ MODEL: f: BRAND: BRAND: | URL NOT FOUND | [8 empty] | EXCEPTION | [40 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13891 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 4cx300mm2, Type of WIRES: CU/XLPE/SWA, BRANDS: BAHRA, VOLTAGE: 0.6/1kv, GENERAL DES: ARMOURED | URL NOT FOUND | [8 empty] | CLEANSED | CABLE | ELECTRICAL | BRAND:BAHRA |  | TYPE | ARMOURED | VOLTAGE | 0.6/1KV | NUMBER OF CONDUCTOR | 4 | CONDUCTOR SIZE | 300MM2 | CONDUCTOR MATERIAL | COPPER | INSULATION COLOUR |  | INSULATION MATERIAL | XLPE | INSULATION THICKNESS |  | ARMOR | STEEL WIRE | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13892 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 4cx240mm2, Type of WIRES: CU/XLPE/AWA, BRANDS: RIYADH CABLE, VOLTAGE: 700v, GENERAL DES: NON-ARMOURED | URL NOT FOUND | [8 empty] | CLEANSED | CABLE | ELECTRICAL | BRANDS: RIYADH CABLE |  | TYPE | NON-ARMOURED | VOLTAGE | 700V | NUMBER OF CONDUCTOR | 4 | CONDUCTOR SIZE | 240MM2 | CONDUCTOR MATERIAL | COPPER | INSULATION COLOUR |  | INSULATION MATERIAL | XLPE | INSULATION THICKNESS |  | ARMOR | ALUMINUM WIRE | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13893 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 4cx120mm2, Type of WIRES: CU/XLPE/PVC, BRANDS: SWEIDI, VOLTAGE: 1kv, GENERAL DES: IEC 60502-1 | URL NOT FOUND | [8 empty] | CLEANSED | CABLE | ELECTRICAL | BRANDS: SWEIDI |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL | COPPER | INSULATION COLOUR |  | INSULATION MATERIAL | XLPE | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL | PVC | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD | IEC 60502-1 | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13894 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 4cx70mm2, Type of WIRES: GROUNDING WIRE Y/G, BRANDS: AL FANAR, VOLTAGE: 600v, GENERAL DES: IEC 60502-2 | URL NOT FOUND |  | ALFANAR | [5 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE | GROUNDING | VOLTAGE | 600V | NUMBER OF CONDUCTOR | 4 | CONDUCTOR SIZE | 70MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR | YELLOW/GREEN | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD | IEC 60502-2 | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13909 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 3cx120mm2 +70mm2, Type of WIRES: CU/PVC GREEN, BRANDS: VOLTAGE: GENERAL DES: RED | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 3 | CONDUCTOR SIZE | 120+70MM2 | CONDUCTOR MATERIAL | COPPER | INSULATION COLOUR | GREEN | INSULATION MATERIAL | PVC | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR | RED | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13939 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 3cx0.75mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: BLUE | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 3 | CONDUCTOR SIZE | 0.75MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR | BLUE | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13940 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 4cx150mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: YELLOW/ GREEN | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 4 | CONDUCTOR SIZE | 150MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR | YELLOW/GREEN | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13941 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 3cx50mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: FR-IEC 60332-3.23 | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 3 | CONDUCTOR SIZE | 50MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD | FR-IEC 60332-3.23 | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13942 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 3cx25mm2, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: 100m/roll | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL | PACKAGE TYPE:ROLL |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 3 | CONDUCTOR SIZE | 25MM2 | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH | 100M | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_13966 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 23 | 260523 | L | ROL/M |  |  | MATERIAL DESCRIPTION, CABLES, SIZE: 6cx24AWG, Type of WIRES: BRANDS: VOLTAGE: GENERAL DES: | URL NOT FOUND | [7 empty] | 26121600 Electrical cable and accessories | CLEANSED | CABLE | ELECTRICAL |  |  | TYPE |  | VOLTAGE |  | NUMBER OF CONDUCTOR | 6 | CONDUCTOR SIZE | 24AWG | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH |  | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14488 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, PVC CONDUIT, SIZE: 1-1/4in, TYPE : BRAND: CLASS: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | CLEANSED | CONDUIT | NONE |  |  | TYPE |  | SIZE | 1-1/4IN | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14489 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, PVC CONDUIT, SIZE: 20mm, TYPE : BRAND: CLASS: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | CLEANSED | CONDUIT | NONE |  |  | TYPE |  | SIZE | 20MM | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14490 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, PVC CONDUIT, SIZE: 25mm, TYPE : BRAND: CLASS: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | CLEANSED | CONDUIT | NONE |  |  | TYPE |  | SIZE | 25MM | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14491 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, PVC CONDUIT, SIZE: 50mm, TYPE : BRAND: CLASS: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | CLEANSED | CONDUIT | NONE |  |  | TYPE |  | SIZE | 50MM | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14492 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, PVC CONDUIT, SIZE: 8in, TYPE : BRAND: CLASS: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | CLEANSED | CONDUIT | NONE |  |  | TYPE |  | SIZE | 8IN | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14493 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, PVC CONDUIT, SIZE: 250mm, TYPE : BRAND: CLASS: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | CLEANSED | CONDUIT | NONE |  |  | TYPE |  | SIZE | 250MM | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14494 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, PVC CONDUIT, SIZE: 63mm, TYPE : BRAND: CLASS: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | CLEANSED | CONDUIT | NONE |  |  | TYPE |  | SIZE | 63MM | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14495 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, PVC CONDUIT, SIZE: 75mm, TYPE : BRAND: CLASS: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | CLEANSED | CONDUIT | NONE |  |  | TYPE |  | SIZE | 75MM | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14496 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, PVC CONDUIT, SIZE: 160mm, TYPE : BRAND: CLASS: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | CLEANSED | CONDUIT | NONE |  |  | TYPE |  | SIZE | 160MM | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div26_Electrical | ITEM CODE DIV 25_14497 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 26 | 05 | 29 | 260529 | L |  |  |  | MATERIAL DESCRIPTION, PVC CONDUIT, SIZE: 200mm, TYPE : BRAND: CLASS: GENERAL DES: | URL NOT FOUND | [7 empty] | 39131706 Electrical conduit | CLEANSED | CONDUIT | NONE |  |  | TYPE |  | SIZE | 200MM | LENGTH |  | RATING |  | MATERIAL | PVC | CONNECTION | [25 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17306 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 27 | 13 | 33 | 271333 | L |  |  |  | MATERIAL DESCRIPTION, CONTROL CABLE, CORE: AWG: TYPE: Brand : GENERAL DES: 92m/Roll | URL NOT FOUND | [7 empty] | 26121603 Control cable | CLEANSED | CABLE | ELECTRICAL | PACKAGE TYPE:ROLL |  | TYPE | CONTROL | VOLTAGE |  | NUMBER OF CONDUCTOR |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH | 92M | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div27_Com | ITEM CODE DIV 25_17307 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 27 | 13 | 33 | 271333 | L |  |  |  | MATERIAL DESCRIPTION, CONTROL CABLE, CORE: AWG: TYPE: Brand : GENERAL DES: 305m/roll | URL NOT FOUND | [7 empty] | 26121603 Control cable | CLEANSED | CABLE | ELECTRICAL | PACKAGE TYPE:ROLL |  | TYPE | CONTROL | VOLTAGE |  | NUMBER OF CONDUCTOR |  | CONDUCTOR SIZE |  | CONDUCTOR MATERIAL |  | INSULATION COLOUR |  | INSULATION MATERIAL |  | INSULATION THICKNESS |  | ARMOR |  | STRANDS |  | LENGTH | 305M | INSULATION SHIELD |  | JACKET COLOUR |  | JACKET MATERIAL |  | METALLIC SHEATH |  | METALLIC SHIELD |  | BEDDING |  | STANDARD |  | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19576 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, REDUNDANT SERVER SOFTWARE LICENSE, BRAND NAME: MILESTONE | URL NOT FOUND | [7 empty] | 43231512 License management software | CLEANSED | SOFTWARE | NONE | BRAND NAME: MILESTONE |  | TYPE | REDUNDANT SERVER LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19577 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, REDUNDANT SERVER SOFTWARE LICENSE, BRAND NAME: GENETEC | URL NOT FOUND | [7 empty] | 43231512 License management software | CLEANSED | SOFTWARE | NONE | BRAND NAME: GENETEC |  | TYPE | REDUNDANT SERVER LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19578 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, REDUNDANT SERVER SOFTWARE LICENSE, BRAND NAME: BOSCH | URL NOT FOUND |  | BOSCH | [5 empty] | 43231512 License management software | CLEANSED | SOFTWARE | NONE |  |  | TYPE | REDUNDANT SERVER LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19579 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, REDUNDANT SERVER SOFTWARE LICENSE, BRAND NAME: HONEYWELL | URL NOT FOUND |  | HONEYWELL | [5 empty] | 43231512 License management software | CLEANSED | SOFTWARE | NONE |  |  | TYPE | REDUNDANT SERVER LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19581 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, REDUNDANT SERVER SOFTWARE LICENSE, BRAND NAME: SCHNEIDER ESMI | URL NOT FOUND |  | SCHNEIDER ESMI | [5 empty] | 43231512 License management software | CLEANSED | SOFTWARE | NONE |  |  | TYPE | REDUNDANT SERVER LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19582 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, REDUNDANT SERVER SOFTWARE LICENSE, BRAND NAME: AVIGILON | URL NOT FOUND | [7 empty] | 43231512 License management software | CLEANSED | SOFTWARE | NONE | BRAND NAME: AVIGILON |  | TYPE | REDUNDANT SERVER LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19583 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, REDUNDANT SERVER SOFTWARE LICENSE, BRAND NAME: EXACQVISION | URL NOT FOUND | [7 empty] | 43231512 License management software | CLEANSED | SOFTWARE | NONE | BRAND NAME: EXACQVISION |  | TYPE | REDUNDANT SERVER LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_19584 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 13 | 16 | 281316 | L |  |  |  | MATERIAL DESCRIPTION, REDUNDANT SERVER SOFTWARE LICENSE, BRAND NAME: ARECONT VISION | URL NOT FOUND | [7 empty] | 43231512 License management software | CLEANSED | SOFTWARE | NONE | BRAND NAME: ARECONT VISION |  | TYPE | REDUNDANT SERVER LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20426 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 23 | 29 | 282329 | L |  |  |  | MATERIAL DESCRIPTION, IP CAMERA ACCESSORIES, BRAND NAME: TYPE: POLE MOUNT | URL NOT FOUND | [7 empty] | 45121600 Camera parts and accessories | CLEANSED | MOUNT | NONE | IP CAMERA ACCESSORIES |  | TYPE | POLE | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20428 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 23 | 29 | 282329 | L |  |  |  | MATERIAL DESCRIPTION, IP CAMERA ACCESSORIES, BRAND NAME: TYPE: WALLMOUNT; T91H61 | https://www.axis.com/dam/public/c3/02/52/datasheet-axis-t91h61-wall-mount-en-US-284818.pdf | [5 empty] | AXIS COMMUNICATIONS | T91H61 | 45121609 Camera brackets | ENRICHED | MOUNT | NONE | IP CAMERA ACCESSORIES |  | TYPE | WALL | SIZE | 185MM X 214MM X 404MM | MATERIAL | POWDER COATED ALUMINUM | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20430 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 23 | 29 | 282329 | L |  |  |  | MATERIAL DESCRIPTION, IP CAMERA ACCESSORIES, BRAND NAME: TYPE: WALLMOUNT; T91E61 | https://www.axis.com/dam/public/f9/e4/84/axis-t91e61-wall-mount-en-US-203147.pdf | [5 empty] | AXIS COMMUNICATIONS | T91E61 | 45121609 Camera brackets | ENRICHED | MOUNT | NONE | IP CAMERA ACCESSORIES |  | TYPE | WALL | SIZE | 80MM X 161MM X 120MM | MATERIAL | POWDER COATED CHROMATED ALUMINUM | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20434 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 23 | 29 | 282329 | L |  |  |  | MATERIAL DESCRIPTION, IP CAMERA ACCESSORIES, BRAND NAME: TYPE: T94M02L RECESSED MOUNT | https://www.axis.com/dam/public/ca/39/8f/datasheet-axis-t94m02l-recessed-mount-en-US-300778.pdf | [5 empty] | AXIS COMMUNICATIONS | T94M02L | 45121609 Camera brackets | ENRICHED | MOUNT | NONE | IP CAMERA ACCESSORIES |  | TYPE | RECESSED | SIZE | 142MM HT | MATERIAL | CHROMATED ALUMINUM ALLOY | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20435 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 23 | 29 | 282329 | L |  |  |  | MATERIAL DESCRIPTION, IP CAMERA ACCESSORIES, BRAND NAME: TYPE: T94K02L RECESSED MOUNT | https://www.axis.com/dam/public/b6/23/58/datasheet-axis-t94k02l-recessed-mount-en-US-299062.pdf | [5 empty] | AXIS COMMUNICATIONS | T94K02L | 45121609 Camera brackets | ENRICHED | MOUNT | NONE | IP CAMERA ACCESSORIES |  | TYPE | RECESSED | SIZE | 123MM HT | MATERIAL | CHROMATED ALUMINUM ALLOY | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20436 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 23 | 29 | 282329 | L |  |  |  | MATERIAL DESCRIPTION, IP CAMERA ACCESSORIES, BRAND NAME: TYPE: TP3101 PENDANT WALL MOUNT | https://www.axis.com/dam/public/54/56/f8/datasheet-axis-tp3101-pendant-wall-mount-en-US-311821.pdf | [5 empty] | AXIS COMMUNICATIONS | TP3101 | 45121609 Camera brackets | ENRICHED | MOUNT | NONE | IP CAMERA ACCESSORIES |  | TYPE | PENDANT | SIZE | 204MM X 148MM X 42MM | MATERIAL | GLASS FIBER REINFRCED POLYAMIDE | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20499 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 01 | 50 | 280150 | L |  |  |  | MATERIAL DESCRIPTION, SECURITY SERVICES: SCOPE: CONSULTANCY C/O BEBA, DESCRIPTION: FOR FLOATING MARINE BARRIERS | URL NOT FOUND | [7 empty] | 92121900 Marine security services | CLEANSED | SERVICE | NONE | SCOPE: CONSULTANCY C/O BEBA, FOR FLOATING MARINE BARRIERS |  | TYPE | SECURITY | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20500 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 01 | 50 | 280150 | L |  |  |  | MATERIAL DESCRIPTION, SECURITY SERVICES: SCOPE: SUPPLY AND INSTALLATION, DESCRIPTION: W/ACCESSSORIES | URL NOT FOUND | [7 empty] | 72151705 Surveillance and electronic security system equipment maintenance service | CLEANSED | SERVICE | NONE | SCOPE: SUPPLY AND INSTALLATION, W/ACCESSSORIES |  | TYPE | SECURITY | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20501 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 01 | 50 | 280150 | L |  |  |  | MATERIAL DESCRIPTION, SECURITY SERVICES: SCOPE: RE-INSTALLATION OF CCTV CAMERA, DESCRIPTION: SCANTER 1002 RADAR | URL NOT FOUND | [7 empty] | 72151705 Surveillance and electronic security system equipment maintenance service | CLEANSED | SERVICE | NONE | SCOPE: RE-INSTALLATION OF CCTV CAMERA, SCANTER 1002 RADAR |  | TYPE | SECURITY | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20509 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 01 | 50 | 280150 | L |  |  |  | MATERIAL DESCRIPTION, SECURITY SERVICES: SCOPE: SOFTWARE, DESCRIPTION: TRaCS-TARGET COMBINATION | URL NOT FOUND | [7 empty] | 81112200 Software maintenance and support | CLEANSED | SOFTWARE | NONE |  |  | TYPE | SECURITY | NAME | TRaCS-TARGET COMBINATION | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20513 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 01 | 50 | 280150 | L |  |  |  | MATERIAL DESCRIPTION, SECURITY SERVICES: SCOPE: DESCRIPTION: | URL NOT FOUND | [7 empty] | 92121700 Security systems services | CLEANSED | SERVICE | NONE |  |  | TYPE | SECURITY | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_Electronics& Safety Secur | ITEM CODE DIV 25_20514 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 28 | 01 | 50 | 280150 | L |  |  |  | MATERIAL DESCRIPTION, SECURITY SERVICES: SCOPE: DESCRIPTION: | URL NOT FOUND | [7 empty] | 92121700 Security systems services | CLEANSED | SERVICE | NONE |  |  | TYPE | SECURITY | [34 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20814 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - ETHERNET NETWORK COMPONENTS, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: MN-COM1S - ETHERNET DEVICE SERVER NETWORK INTERFACE, GENERAL DES: | https://alarmspec.com/wp-content/uploads/2023/04/3102221-EN-R005-FW-UL6S-FireWorks-Server-Insta.pdf | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf | EDWARDS | MN-COM1S |  |  |  |  | 43201500 System boards processors interfaces or modules | CLEANSED | MODULE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | RS232 TO ETHERNET NETWORK INTERFACE | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20815 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - ETHERNET NETWORK COMPONENTS, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: MN-NETRLY4 - MNEC NETWORK RELAY MODULE, GENERAL DES: | https://alarmspec.com/wp-content/uploads/2023/04/3102221-EN-R005-FW-UL6S-FireWorks-Server-Insta.pdf | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf | EDWARDS | MN-NETRLY4 |  |  |  |  | 43201500 System boards processors interfaces or modules | ENRICHED | MODULE | NONE |  |  | TYPE | ETHERNET CONTROLLABLE MNEC NETWORK RELAY | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | 8 | [26 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20816 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - ETHERNET NETWORK COMPONENTS, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: MN-FNS4C2F3 - 4 FAST ETHERNET (RJ45), 2 GB SFP, GENERAL DES: | https://s3.fullalarms.cl/fullalarmas/catalog/products/datasheets/c70448.pdf |  | EDWARDS | MN-FNS4C2F3 |  |  |  |  | 43222612 Network switches | ENRICHED | SWITCH | NETWORK | W/2 SFP MODULE |  | TYPE | MANAGED ETHERNET | ELECTRICAL RATING | 24VDC,2A | PORTS | 4 | CONNECTOR STYLE | RJ-45 | INTERFACE |  | TEMPERATURE RATING | 0 TO 49DEG C | ENCLOSURE | [23 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20817 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - ETHERNET NETWORK COMPONENTS, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: MN-FNS8C2F3 - 8 FAST ETHERNET (RJ45), 2 GB COMBO SFP, GENERAL DES: | https://s3.fullalarms.cl/fullalarmas/catalog/products/datasheets/c70448.pdf |  | EDWARDS | MN-FNS8C2F3 |  |  |  |  | 43222612 Network switches | ENRICHED | SWITCH | NETWORK | W/2GB COMBO SFP |  | TYPE | MANAGED ETHERNET | ELECTRICAL RATING | 24VDC,2A | PORTS | 8 | CONNECTOR STYLE | RJ-45 | INTERFACE |  | TEMPERATURE RATING | 0 TO 49DEG C | ENCLOSURE | [23 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20819 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - ETHERNET NETWORK COMPONENTS, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: MN-FNS8C18FAC - MN-FNS8C18F2 100-250 VAC(50 OR 60 HZ), GENERAL DES: | https://s3.fullalarms.cl/fullalarmas/catalog/products/datasheets/c70448.pdf |  | EDWARDS | MN-FNS8C18FAC |  |  |  |  | 39121004 Power supply units | ENRICHED | MODULE | POWER SUPPLY |  |  | INPUT | 100 TO 250VAC/100 TO 250VDC,2A,50/60HZ | OUTPUT |  | TYPE | PRIMARY/BACKUP | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20820 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - ETHERNET NETWORK COMPONENTS, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: MN-FNS8C18FDC - MN-FNS8C18F 24 VDC POWER SUPPLY, GENERAL DES: | https://s3.fullalarms.cl/fullalarmas/catalog/products/datasheets/c70448.pdf |  | EDWARDS | MN-FNS8C18FDC |  |  |  |  | 39121004 Power supply units | ENRICHED | MODULE | POWER SUPPLY |  |  | INPUT | 18 TO 33VDC,2A | OUTPUT | 24VDC | TYPE | PRIMARY/BACKUP | [30 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20957 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-CGS - COLOR GRAPHICS SOFTWARE, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-CGS |  |  |  |  | 43232404 Graphical user interface development software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | COLOR GRAPHICS | NAME |  | VERSION |  | MEMORY CAPACITY | 512MB | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20958 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-CGSUL - COLOR GRAPHICS SOFTWA, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-CGSUL |  |  |  |  | 43232404 Graphical user interface development software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | COLOR GRAPHICS | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20960 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-1S - ONE SEAT WEB CLIENT FW, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-1S |  |  |  |  | 43232408 Web platform development software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | ONE SEAT WEB CLIENT | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20961 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-4S - REM WEB CLIENT USE, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-4S |  |  |  |  | 43232408 Web platform development software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | FOUR SEAT WEB CLIENT | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20962 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-10S - USED IN CONJUNCTION W, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-10S |  |  |  |  | 43232408 Web platform development software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE,USED IN CONJUNCTION |  | TYPE | TEN SEAT WEB CLIENT | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20963 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-NCZZFP - NEW NON-REDUNDANT, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-NCZZFP |  |  |  |  | 43231512 License management software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | NON-REDUNDANT SERVER CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20964 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-NS15FP - NEW 15 SEAT NON, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-NS15FP |  |  |  |  | 43233201 Authentication server software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | 15 SEAT NON-REDUNDANT SERVER | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20965 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-NSZ5FP - NEW 5 SEAT NON, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-NSZ5FP |  |  |  |  | 43233201 Authentication server software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | 5 SEAT NON-REDUNDANT SERVER | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20966 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-NCZZWP - UPGRADE EXISTING, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-NCZZWP |  |  |  |  | 81112202 Software patches or upgrades | ENRICHED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | Upgrade existing FW-CGSUL license to Non-Redundant Client license | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20967 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-NCZZXP - UPGRADE EXISTING, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-NCZZXP |  |  |  |  | 81112202 Software patches or upgrades | ENRICHED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | Upgrade existing FW-CGS license to Non-Redundant Client license | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20968 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-RCZZUP - UPGRADE EXISTING, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-RCZZUP |  |  |  |  | 81112202 Software patches or upgrades | ENRICHED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | Upgrade existing Non-Redundant Server Client to Redundant Server Client upgrade | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20969 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-RCZZWP - UPGRADE EXISTING, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-RCZZWP |  |  |  |  | 81112202 Software patches or upgrades | ENRICHED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | Upgrade existing FW-CGSUL license to Redundant Server Client license | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20970 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-RSZ5FP - NEW 5 SEAT REDUNDAN, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-RSZ5FP |  |  |  |  | 43233201 Authentication server software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | NEW 5 SEAT REDUNDANT SERVER | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20971 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-RS15FP - NEW 15 SEAT REDUNDAN, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-RS15FP |  |  |  |  | 43233201 Authentication server software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | NEW 15 SEAT REDUNDANT SERVER | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20972 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-RS25FP - NEW 25 SEAT REDUNDAN, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-RS25FP | [5 empty] | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | NEW 25 SEAT REDUNDANT SERVER | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20973 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-RS15UP - UPGRADE 15 SEAT NON, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-RS15UP | [5 empty] | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | UPGRADE EXISTING 15 SEAT NON-REDUNDANT SERVER | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20974 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-RSZ5UP - UPGRADE 5 SEAT NON, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-RSZ5UP | [5 empty] | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | UPGRADE EXISTING 5 SEAT NON-REDUNDANT SERVER | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20975 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-HSSD5 - SINGLE VESDA HLI, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-HSSD5 |  |  |  |  | 43232401 Configuration management software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | SINGLE VESDA HLI INTERFACE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20976 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-HSSD20 - SINGLE VESDA HLI, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-HSSD20 |  |  |  |  | 43232401 Configuration management software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | SINGLE VESDA HLI INTERFACE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20978 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-RCZZFP - NEW REDUNDANT SERVER, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-RCZZFP |  |  |  |  | 43231512 License management software | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | RETUNDANT SERVER CLIENT LICENSE | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20979 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-RS50FP - NEW 50 SEAT REDUNDAN, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-RS50FP | [5 empty] | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE |  | TYPE | NEW 50 SEAT REDUNDANT SERVER | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20980 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-DARCOM - ENABLES COMMUNICATIO, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf | https://alarmspec.com/wp-content/uploads/2023/04/3102221-EN-R005-FW-UL6S-FireWorks-Server-Insta.pdf | EDWARDS | FW-DARCOM | [5 empty] | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE,ENABLES COMMUNICATION |  | TYPE | DIGITAL ALARM RECEIVER | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20981 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-IPMON1000 - IP MONITORING1000, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf | https://alarmspec.com/wp-content/uploads/2023/04/3102221-EN-R005-FW-UL6S-FireWorks-Server-Insta.pdf | EDWARDS | FW-IPMON1000 | [5 empty] | CLEANSED | SOFTWARE | NONE | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE,IP MONITORING 1000 |  | TYPE | DIGITAL ALARM RECEIVER | NAME |  | VERSION |  | MEMORY CAPACITY |  | FORMAT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20982 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-22LCDWTS - UL/ULC LISTED 22in, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-22LCDWTS |  |  |  |  | 43211903 Touch screen monitors | ENRICHED | MONITOR | TOUCHSCREEN | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE,UL/ULC LISTED |  | TYPE | CAPACITIVE | SIZE | 22IN | POWER SOURCE |  | STYLE | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_20983 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 01 | 284601 | L | Ea |  |  | UTC-EDWARDS- EST3 - FIREWORKS INTERACTIVE GRAPHICAL USER INTERFACE, UTC-EDWARDS-FAS, MODEL NO - DESCRIPTION: FW-42LCDWTS - UL/ULC LISTED 42in, GENERAL DES: | https://www.firecominc.com/wp-content/uploads/sites/10/2024/01/E85006-0068-FireWorks-Incident-Management-Platform.pdf |  | EDWARDS | FW-42LCDWTS |  |  |  |  | 43211903 Touch screen monitors | ENRICHED | MONITOR | TOUCHSCREEN | BRAND:FIREWORKS, EST3-INTERACTIVE GRAPHICAL USER INTERFACE,UL/ULC LISTED |  | TYPE | SURFACE ACOUSTIC WAVE | SIZE | 42IN | POWER SOURCE |  | STYLE | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22375 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: SA-3I - 500-086501 - SA-3I AIR DUCT DET ION | https://hit.sbt.siemens.com/RWD/app.aspx?RC=AP&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=BPZ%3a500-086501 | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238821&EXT=.pdf&VALUE=Assets%5cA6V10238821_Ionization%2520and%2520Photoelectric%2520Detectors%2520Air%2520Duct%2520Ho_en.pdf&KEY=3&RT=1716215869030 | SIEMENS | 500-086501 |  |  |  |  | 46191500 Fire prevention | CLEANSED | HOUSING | NONE | MODEL:SA-3I |  | TYPE | AIR DUCT | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22378 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: EAD-3 - 500-686214 - WEATHERPROOF ENCLOSURE | https://hit.sbt.siemens.com/RWD/app.aspx?RC=AP&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=BPZ%3a500-686214 | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10238821&EXT=.pdf&VALUE=Assets%5cA6V10238821_Ionization%2520and%2520Photoelectric%2520Detectors%2520Air%2520Duct%2520Ho_en.pdf&KEY=3&RT=1716215869030 | SIEMENS | 500-686214 |  |  |  |  | 39121300 Electrical boxes and enclosures and fittings and accessories | CLEANSED | ENCLOSURE | NONE | MODEL:EAD-3 |  | TYPE | WEATHER PROOF | NEMA RATING |  | SIZE |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22464 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: 787980 - S54430-F297-A1 - RAIN SHIELD | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/S54430-F297-A1 |  | SIEMENS | S54430-F297-A1 |  | 787980 |  |  | 39120000 Electrical equipment and components and supplies | CLEANSED | SHIELD | NONE | SERIES:FAS,SIEMENS-PERIPHERAL DEVICES |  | TYPE | RAIN | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22493 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: DC-P - 500-693528 - DUST COVER FOR ILP-1 AND PE-3 | https://hit.sbt.siemens.com/RWD/app.aspx?RC=US&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=BPZ%3a500-693528 |  | SIEMENS | 500-693528 | [5 empty] | CLEANSED | COVER | NONE | MODEL:DC-P,FOR ILP-1 AND PE-3,PERIPHERAL DEVICES |  | TYPE | DUST | SIZE |  | MATERIAL | [31 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22497 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: RLW-11 - 500-694626 - REMOTE LAMP MODULE - WALL MOUNT | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10338995&EXT=.pdf&VALUE=Assets%5cA6V10338995_OH121%2520%2520Conventional%2520Detection%2520Devices%2520Photo%2520Therm_en.pdf&KEY=3&RT=1716217734433 |  | SIEMENS | 500-694626 |  |  |  |  | 46191501 Smoke detectors | ENRICHED | DETECTOR | FIRE PROTECTION | INDICATOR COLOR:RED,MODEL:ELW-11 |  | TYPE | REMOTE LED WALL MOUNT | TEMPERATURE RATING | 0 TO 38DEG C | VOLTAGE | 16 TO 27VDC | AMPERAGE | 100UA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22498 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: RLC-11 - 500-694625 - REMOTE LAMP MODULE - CEILING MOUNT | https://hit.sbt.siemens.com/RWD/modules/kernel/UI/slow/GetBinData.aspx?DTP=Data+Sheet+for+Product&SID=A6V10338995&EXT=.pdf&VALUE=Assets%5cA6V10338995_OH121%2520%2520Conventional%2520Detection%2520Devices%2520Photo%2520Therm_en.pdf&KEY=3&RT=1716217734433 |  | SIEMENS | 500-694625 |  |  |  |  | 46191501 Smoke detectors | ENRICHED | DETECTOR | FIRE PROTECTION | INDICATOR COLOR:RED,MODEL:ELC-11 |  | TYPE | REMOTE LED CEILING MOUNT | TEMPERATURE RATING | 0 TO 38DEG C | VOLTAGE | 16 TO 27VDC | AMPERAGE | 100UA | [28 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22499 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: RR-11 - 500-694622 - REMOTE RELAY MODULE | https://hit.sbt.siemens.com/RWD/app.aspx?RC=AP&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=BPZ%3a500-694622 | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/?mlfb=BPZ%3A500-694626 | SIEMENS | 500-694622 | [5 empty] | CLEANSED | MODULE | NONE | MOUNT:WALL |  | TYPE | REMOTE RELAY | INPUT |  | OUTPUT |  | ELECTRICAL RATING |  | NUMBER OF INPUT/OUTPUT | [27 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22508 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: MS-NY - 500-694516 - NYC PLATE FOR MS-F SERIES | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/?mlfb=BPZ%3A500694516 | https://hit.sbt.siemens.com/RWD/app.aspx?RC=US&lang=en&MODULE=Catalog&ACTION=ShowProduct&KEY=BPZ%3a500-694516 | SIEMENS | 500-694516 |  |  |  |  | 39121704 Wallplates | CLEANSED | PLATE | WALL | MODEL:MS-NY,PERIPHERAL DEVICES, SERIES:FAS |  | TYPE | NEW YORK CITY WHITE STRIPE | GANG |  | SIZE |  | MATERIAL | [29 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22523 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: MSM-K-15 - 500-698222 - MSM-K-15 - METAL MANUAL STATION / CAT 15 KEYLOCK | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/?mlfb=BPZ%3a500-698222 |  | SIEMENS | 500-698222 |  |  |  |  | 46191505 Fire alarm systems | ENRICHED | CALL POINT | NONE | MODEL:MSM-K-15,W/KEY LOCK,CAT 15 |  | RATING |  | SIZE |  | TYPE | MANUAL STATION | COLOUR |  | MATERIAL | METAL | [26 empty] | Production Completed
ESI-008 | 4.ITEM CODE DIV 25-28-FEB'20 | Div28_FA | ITEM CODE DIV 25_22524 | Data Enrichment | scv | OK | 2024-05-15 | 2024-05-20 |  | 28 | 46 | 05 | 284605 | L | Ea |  |  | SIEMENS-PERIPHERAL DEVICES, SIEMENS-FAS, MODEL NO - PART NUMBER - DESCRIPTION: MSM-KD-30 - 500-698223 - MSM-KD-30 - METAL MANUAL STATION / CAT 30 KEYLOCK | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/?mlfb=BPZ%3A500-698223 |  | SIEMENS | 500-698223 |  |  |  |  | 46191505 Fire alarm systems | ENRICHED | CALL POINT | NONE | MODEL:MSM-MD-30,W/KEY,CAT 30,DOUBLE ACTION |  | RATING |  | SIZE |  | TYPE | MANUAL STATION | COLOUR |  | MATERIAL | METAL | [26 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28720 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 41 | 63 | 23 | 416323 | L | mon |  |  | DESCRIPTION, BUS, SERVICE: PURCHASE, BRAND: ASHOK LEYLAND, CAPACITY: 15 SEATERS, TYPE: WITH A/C, ROUTE: RIYADH-SHARMA | URL NOT FOUND | [7 empty] | 78111800 Passenger road transportation | CLEANSED | SERVICE | NONE | BRAND: ASHOK LEYLAND, CAPACITY: 15 SEATERS, TYPE: WITH A/C, ROUTE: RIYADH-SHARMA |  | TYPE | PURCHASE BUS | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28721 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 41 | 63 | 23 | 416323 | L | day |  |  | DESCRIPTION, BUS, SERVICE: RENTAL WITH DRIVER INCLUDING FOOD, BRAND: HYUNDAI, CAPACITY: 26 SEATERS, TYPE: W/O A/C, ROUTE: JUBAIL-RIYADH | URL NOT FOUND | [7 empty] | 78111800 Passenger road transportation | CLEANSED | SERVICE | NONE | BRAND: HYUNDAI, W/DRIVER INCLUDING FOOD, CAPACITY: 26 SEATERS, TYPE: W/O A/C, ROUTE: JUBAIL-RIYADH |  | TYPE | RENTAL BUS | [34 empty] | Production Completed
ESI-008 | 5.ITEM CODE DIV 31-41-FEB'20 | Div41_Equip | ITEM CODE DIV 31_28722 | Data Enrichment | SCV | OK | 2024-05-15 | 2024-05-20 |  | 41 | 63 | 23 | 416323 | L | hr |  |  | DESCRIPTION, BUS, SERVICE: RENTAL WITH DRIVER EXCLUDING FOOD, BRAND: TOYOTA COASTER, CAPACITY: 30 SEATERS, TYPE: ROUTE: | URL NOT FOUND | [7 empty] | 78111800 Passenger road transportation | CLEANSED | SERVICE | NONE | BRAND: TOYOTA COASTER, W/DRIVER EXCLUDING FOOD, CAPACITY: 30 SEATERS |  | TYPE | RENTAL BUS | [34 empty] | Production Completed