## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060252122 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060252122 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | ??CRUSHER,ROLLER,71-CR-401-COMPLETE | ??CRUSHER,ROLLER,71-CR-401,COMPLETE WITH MOTOR AND GEARBOX UNIT, NEW STOCK AS PER ESSI: 2817, PART-71-CR-401-SEND NDT CERTIFICATES WITH THE DATA PACK, PLANT TO INSPECT |  |  |  | URL NOT FOUND |  |  | 71-CR-401 | [11 empty] | CLEANSED | ROLLER | NO MODIFIER | TYPE | CRUSHER | DIAMETER |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NDT | ADDITIONAL FEATURES EN | COMPLETE WITH MOTOR AND GEARBOX UNIT,NEW STOCK AS PER ESSI:2817,WITH THE DATA PACK,PLANT TO INSPECT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060136939 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060136939 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | 6 - 3 - 7 - 14 - 0 - 0 | ROLLER, TROUGHING, 500 BELT WIDTH, 200MM FACE, 127MM ROLL DIA, 25MM SHAFT, 18X12 CLOSED END, TO SABS 1313 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | ROLLER | NO MODIFIER | TYPE | TROUGHING | DIAMETER | 127 MM | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BELT WIDTH:500 MM,FACE:200 MM,SHAFT:25 MM,18 X 12 CLOSED END,TO SABS 1313 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060117686 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060117686 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 1004MM GAUGE | ROLL, CONVEYOR, 127MM DIA, 1004MM GAUGE LENGTH, 994MM FACE LENGTH, CLOSED SLOTTE | 367099400 | 0019008805 | MELCO | URL NOT FOUND |  | MELCO | 367099400 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | CLOSED SLOTTE | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GAUGE LENGTH:1004 MM,FACE LENGTH:994 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014946 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014946 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 1143MM FACE L | ROLL, CONVEYOR, 127MM DIA, 1143MM FACE LENGTH, HEX HEADED ENDS,, PERMASEAL, JEFFREY | 318E137 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 318E137 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | HEX HEADED ENDS | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FACE LENGTH:1143 MM,PERMASEAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014882 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014882 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 1146MM LONG, | ROLL, CONVEYOR, 127MM DIA, 1146MM LONG, BALL BEARING SEALED, JEFFREY | 316E1004 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 316E1004 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | BALL BEARING SEALED | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH | 1146 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014884 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014884 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 1298MM LONG, | ROLL, CONVEYOR, 127MM DIA, 1298MM LONG, BALL BEARING SEALED, JEFFREY | 316E1005 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 316E1005 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | BALL BEARING SEALED | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH | 1298 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014844 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014844 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 240MM LONG, B | ROLL, CONVEYOR, 127MM DIA, 240MM LONG, BALL BEARING SEALED, JEFFREY | 316E986 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 316E986 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | BALL BEARING SEALED | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH | 240 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060219557 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060219557 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 340MM FACE LE | ROLL, CONVEYOR, 127MM DIA, 340MM FACE LENGTH, SLOTTED ENDS, PERMASEAL, JEFFREY, SSI FMT00127 | ROLL,CONVEYOR,340MM FACE,SLOTTED |  |  | URL NOT FOUND | [14 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | SLOTTED ENDS | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FACE LENGTH:340 MM,SSI FMT00127,PERMASEAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014853 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014853 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 340MM LONG, B | ROLL, CONVEYOR, 127MM DIA, 340MM LONG, BALL BEARING SEALED, JEFFREY | 316E990 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 316E990 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | BALL BEARING SEALED | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH | 340 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014922 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014922 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 381MM FACE LE | ROLL, CONVEYOR, 127MM DIA, 381MM FACE LENGTH, HEX HEADED ENDS,, PERMASEAL, JEFFREY | 318E129 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 318E129 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | HEX HEADED ENDS | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FACE LENGTH:381 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014854 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014854 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 390MM LONG, B | ROLL, CONVEYOR, 127MM DIA, 390MM LONG, BALL BEARING SEALED, JEFFREY | 316E5118 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 316E5118 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | BALL BEARING SEALED | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH | 390 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014937 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014937 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 686MM FACE LE | ROLL, CONVEYOR, 127MM DIA, 686MM FACE LENGTH, HEX HEADED ENDS,, PERMASEAL, JEFFREY | 318E134 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 318E134 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | HEX HEADED ENDS | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FACE LENGTH:686 MM,PERMASEAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014875 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014875 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 688MM LONG, B | ROLL, CONVEYOR, 127MM DIA, 688MM LONG, BALL BEARING SEALED, JEFFREY | 316E1000 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 316E1000 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | BALL BEARING SEALED | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH | 688 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014878 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014878 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 840MM LONG, B | ROLL, CONVEYOR, 127MM DIA, 840MM LONG, BALL BEARING SEALED, JEFFREY | 316E1002 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 316E1002 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | BALL BEARING SEALED | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH | 840 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014881 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014881 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, 127MM DIA, 994MM LONG, B | ROLL, CONVEYOR, 127MM DIA, 994MM LONG, BALL BEARING SEALED, JEFFREY | 316E1003 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 316E1003 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | BALL BEARING SEALED | DIAMETER | 127 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH | 994 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014977 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014977 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, IMPACT, 152MM DIA, 260MM | ROLL, CONVEYOR, IMPACT, 152MM DIA, 260MM FACE LENGTH, HEX HEADED ENDS, PERMASEAL | 320E135 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 320E135 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | IMPACT,HEX HEADED ENDS | DIAMETER | 152 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FACE LENGTH:260 MM,PERMASEAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060014960 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060014960 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | ROLL, CONVEYOR, IMPACT, 159MM DIA, 240MM | ROLL, CONVEYOR, IMPACT, 159MM DIA, 240MM LONG, BALL BEARING SEALED,, JEFFREY | 316E1527 | 0019008732 | JEFFREY | URL NOT FOUND |  | JEFFREY | 316E1527 | [11 empty] | CLEANSED | ROLLER | CONVEYOR | TYPE | IMPACT,BALL BEARING SEALED | DIAMETER | 159 MM | FACE WIDTH |  | SHAFT DIAMETER |  | SHAFT LENGTH |  | FACE MATERIAL |  | OVERALL LENGTH | 240 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060248625 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060248625 | BHP1 | BHP Spares & Supplies | 271127 | Power tools | EA | MAN2 | DRIVE SOCKET, 1 INCH, Z-STYLE, AV-3 | DRIVE SOCKET, 1 INCH, Z-STYLE, AV-3 DRIVER ASSY, M42, DZAL-110-209X, HYTORC, | DZAL-110-209X | 0019011819 | Unknown | URL NOT FOUND |  | HYTORC | DZAL-110-209X | [6 empty] | AV-3 |  |  |  |  | CLEANSED | SOCKET | NO MODIFIER | TYPE | DRIVE | SIZE | M42 | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY,DRIVE SIZE:1 IN,Z-STYLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060248626 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060248626 | BHP1 | BHP Spares & Supplies | 271127 | Power tools | EA | MAN2 | DRIVE SOCKET,1 INCH,Z-STYLE, | DRIVE SOCKET, 1 INCH, Z-STYLE, AV-3 DRIVER ASSY, M36, DZAL-106-203X, HYTORC, | DZAL-106-203X | 0019011819 | Unknown | URL NOT FOUND |  | HYTORC | DZAL-106-203X | [6 empty] | AV-3 |  |  |  |  | CLEANSED | SOCKET | NO MODIFIER | TYPE | DRIVE | SIZE | M36 | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY,DRIVE SIZE:1 IN,Z-STYLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060249322 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060249322 | BHP1 | BHP Spares & Supplies | 271127 | Power tools | EA | MAN2 | HYTORC, 1 INCH DRIVE SOCKET, Z-STYLE, AV | DRIVE SOCKET, 1 INCH, Z-STYLE, AV-3 DRIVER ASSY, M30, DZAL-102-113X, HYTORC | DZAL-102-113X | 0019011819 | Unknown | URL NOT FOUND |  | HYTORC | DZAL-102-113X | [6 empty] | AV-3 |  |  |  |  | CLEANSED | SOCKET | NO MODIFIER | TYPE | DRIVE | SIZE | M30 | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY,DRIVE SIZE:1 IN,Z-STYLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060241318 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060241318 | BHP1 | BHP Spares & Supplies | 601064 | Electronics teaching supplies and equipment | EA | MAN2 | AUTEC,FJR DYNAMIC SYSTEM | TRANSMITTER,AUTEC,FJR DYNAMIC SYSTEM,DANGO MUDGUN AND TAP DRILL | AUTEC FJR |  |  | URL NOT FOUND |  | AUTEC | [12 empty] | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FJR DYNAMIC SYSTEM,DANGO MUDGUN AND TAP DRILL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060243047 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060243047 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | EA | MAN2 | CERABARS,PRESSURE,4 TO 20MA,1 TO 100BAR, | PRESSURE TRANSMITTER.ENDRESSHAUSER.PMP71-1AA1U111AAAA |  |  |  | URL NOT FOUND |  | ENDRESSHAUSER | PMP71-1AA1U111AAAA | [11 empty] | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE | PRESSURE | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060255426 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 | SUITABLE NM NOT FOUND | 000000000060255426 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | INTEGRATOR, INSTRUMENTATION, UNIPROV, DO | INTEGRATOR, INSTRUMENTATION, UNIPROV, DOUBLE DOOR, FHH-4783, PROCESS AUTOMATION LOSS AND WEIGHT TRANSMITTER CPU AND PSU EMB230 SOFTW | FHH-4783 | 0019011819 | Unknown | [15 empty] | CLEANSED | [62 empty] | Production Completed
000000000060181870 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060181870 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | PRESSURE TRANSMITTER WITH LED DISPLAY,- | PRESSURE TRANSMITTER WITH LED DISPLAY, -1.0-25 BAR MEASURING RANGE,, 20-30 VDC INPUT, 4-20MA AND 1 RELAY OUTPUT, 1" MALE PROCESS CONNECTION,, IFM RANGE EFECTRO 500, PART NUMBER PF2653 | PN 2653 | 0019010061 | IFM ELECTOR PTY LTD | URL NOT FOUND |  | IFM ELECTOR PTY LTD | PN 2653 | [11 empty] | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE | PRESSURE | MEASURING RANGE | 1.0-25 BAR | ACCURACY |  | OUTPUT TYPE | 4-20 MA | INPUT RATING | 20-30 VDC | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WITH LED DISPLAY,1 RELAY,MALE PROCESS CONNECTION,SERIES 500 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060181868 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060181868 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | PRESSURE TRANSMITTER WITH LED DISPLAY, - | PRESSURE TRANSMITTER WITH LED DISPLAY, -0.5-10 BAR MEASURING RANGE,, 20-30 VDC INPUT, 4-20MA AND 1 RELAY OUTPUT, 1" MALE PROCESS CONNECTION,, IFM RANGE EFECTRO 500, PART NUMBER PF2654 | PF 2654 | 0019010061 | IFM ELECTOR PTY LTD | https://eltra-trade.com/products/ifm-electronic-pf2654 | https://www.ifm.com/mounting/706067UK.pdf | IFM ELECTOR PTY LTD | PF 2654 | [11 empty] | ENRICHED | TRANSMITTER | NO MODIFIER | TYPE | PRESSURE | MEASURING RANGE | -0.5-10 BAR | ACCURACY |  | OUTPUT TYPE | 4-20 MA | INPUT RATING | 20-30 VDC | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING | -25 TO 80 DEG C | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WITH LED DISPLAY,1 RELAY,MALE PROCESS CONNECTION,SERIES 500 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060116681 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060116681 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | PRESSURE TRANSMITTER, DRYER FREEBOARD, D | PRESSURE TRANSMITTER, DRYER FREEBOARD, DRYER & COOLER SYSTEM, DRG C1167/80200-1, SVEDALA, WESTERN CHROME MINE | PT 27 | 0019000642 | CARBORUNDUM ABRASIVES PTY. LTD. | https://sensorsandtransmitters.com/product/ps-27/ |  | CARBORUNDUM ABRASIVES PTY. LTD. | PT 27 | [8 empty] | C1167/80200-1 |  |  | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE | PRESSURE,DRYER,COOLER SYSTEM | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREEBOARD,WESTERN CHROME MINE,SVEDALA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060224196 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060224196 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | PRESSURE TRANSMITTER, WIKA, 0-10 BAR | PRESSURE TRANSMITTER, WIKA, 0-10 BAR, 4-20MA, 10-30V DC | 9021230 | 0019011647 | WIKA INSTRUMENTS (PTY) LTD | https://www.alliedelec.com/product/wika-instruments/9021230/71442283/ |  | WIKA INSTRUMENTS (PTY) LTD | 9021230 | [11 empty] | ENRICHED | TRANSMITTER | NO MODIFIER | TYPE | PRESSURE | MEASURING RANGE | 0-10 BAR | ACCURACY |  | OUTPUT TYPE | 4-20 MA | INPUT RATING | 10-30 VDC | SUPPLY VOLTAGE |  | MOUNTING TYPE | G1/2B | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060227849 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060227849 | BHP1 | BHP Spares & Supplies | 411145 | Mechanical instruments | EA | MAN2 | PRESSURE TRANSMITTER,BALUFF,0-250 BAR | TRANSMITTER,BALUFF PRESSURE,0-250BAR,G1/2,4 |  |  |  | URL NOT FOUND |  |  | BALUFF | [11 empty] | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE | PRESSURE | MEASURING RANGE | 0-250 BAR | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE | G1/2.4 | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060252012 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060252012 | BHP1 | BHP Spares & Supplies | 411124 | Pressure measuring and control instruments | EA | MAN2 | PRESSURE,SENSOR,IFM,PG2451,G1/2,0-250BAR | PRESSURE, TRANSMITTER, IFM, PG2451, G1/2, EXTERNAL THREAD, ANALOQUE SIGNAL, 0-250BAR, 25, 80DEGREES, CELCIUS ,4-20MA | PG2451 | 0019011819 | Unknown | https://www.ifm.com/in/en/product/PG2451 |  | IFM | PG2451 | [11 empty] | CLEANSED | SENSOR | PRESSURE | TYPE | EXTERNAL THREAD,ANALOQUE SIGNAL,TRANSMITTER | MEASURING RANGE | 0-250 BAR | ACCURACY |  | OUTPUT TYPE | 4-20 MA | CONNECTION TYPE |  | POWER SUPPLY |  | TEMPERATURE RATING | -25 TO 80 DEG C | MATERIAL |  | SIZE |  | ENCLOSURE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060223358 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060223358 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | PRESSURE,TRANSMTTER 250 bar,VEGABAR 83 | PRESSURE TRANSMITTER, 250 BAR VEGABAR 83, B83.AXDUGNSHXKIMKX, PROCESS, FITTING THREAD G HALF MEASURING RANGE 0250.0BAR 0.25000 KPA MEASU | B83.AXDUGNSHXKMKX |  |  | URL NOT FOUND |  | VEGABAR 83 | B83.AXDUGNSHXKIMKX | [11 empty] | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE | PRESSURE,PROCESS | MEASURING RANGE | 250 BAR | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL | METAL | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITTING THREAD G HALF MEASURING RANGE 0250.0 BAR (0,25000KPA) METALLIC,MEASU | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060216753 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060216753 | BHP1 | BHP Spares & Supplies | 411122 | Temperature and heat measuring instruments | EA | MAN2 | PYROMETER, RAYTEK, 4M CABLE, HIGH TEMP, | PYROMETER, RAYTEK, 4M CABLE, HIGH TEMP, C/W TERMINATION BLOCK, USED WITH MARATHON MR1S TRANSMITTER. | XXX2CCB4 | 0019002732 | RAYTEK | https://www.raytek-direct.ca/product/raytek-xxx2ccb4-high-temperature-12-wire-12-pin-cable-with-connector-4m-13 |  | RAYTEK | XXX2CCB4 | [11 empty] | CLEANSED | PYROMETER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | CONNECTION TYPE |  | DISPLAY TYPE |  | MATERIAL |  | ACCURACY |  | SIZE |  | MOUNTING TYPE |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LENGTH CABLE:4 M,HIGH TEMPERATURE,C/W TERMINATION BLOCK,USED WITH MARATHON MR1S TRANSMITTER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060216752 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060216752 | BHP1 | BHP Spares & Supplies | 411122 | Temperature and heat measuring instruments | EA | MAN2 | PYROMETER, RAYTEK, MARATHON MR1S, IR TEM | PYROMETER, RAYTEK, MARATHON MR1S, IR TEMPRATURE TRANSMITTER, RANGE: 1000, TO 3000 DEGREE CELCIUS, DS: 130:1, OUTPUT: 4-20MA, POWER SUPPLY: 24VDC | MR1SCSF | 0019002732 | RAYTEK | URL NOT FOUND |  | RAYTEK | MR1SCSF | [11 empty] | CLEANSED | PYROMETER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | CONNECTION TYPE |  | DISPLAY TYPE |  | MATERIAL |  | ACCURACY |  | SIZE |  | MOUNTING TYPE |  | POWER SUPPLY | 24 VDC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MARATHON MR1S IR TEMPRATURE TRANSMITTER RANGE: 1000 TO 3000 DEG C,OUT PUT CURRENT:4-20 MA,DS:130.1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060216756 | STP-005 | DATA ENRICHMENT | KIB | KIB | OK | 2022-10-03 | 2022-10-03 |  | 000000000060216756 | BHP1 | BHP Spares & Supplies | 411122 | Temperature and heat measuring instruments | EA | MAN2 | PYROMETER, RAYTEK, MI3, IR TEMPRATURE TR | PYROMETER, RAYTEK, MI3, IR TEMPRATURE TRANSMITTER, C/W 3M CABLE, RANGE: -40 TO 600 DEGREE CELCIUS, 8 TO 14 µM DS: 10:2, SSI FMT00278 | RAYMI310LTSCB3 | 0019002732 | RAYTEK | https://www.raytek-direct.com/product/raytek-raymi310ltscb3-low-temperature-ir-sensor-10-1-optics-with-3m-cable-40-to-600c |  | RAYTEK | RAYMI310LTSCB3 | [11 empty] | CLEANSED | PYROMETER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | CONNECTION TYPE |  | DISPLAY TYPE |  | MATERIAL |  | ACCURACY |  | SIZE |  | MOUNTING TYPE |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE:LENGTH 3 M RANGE:-40 TO 600 DEG C,DS: 10,2,SSI FMT00278,CUTTENT:8 TO 14 µm | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed