## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060171643 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060171643 | BHP1 | BHP Spares & Supplies | 251741 | Roof systems | EA | MAN2 | FUME PANEL,FOR M4 FURNACE ROOF,STRICTLY | FUME PANEL,FOR M4 FURNACE ROOF,STRICTLY AS PER DRG 7016-105,REV 3, AS PER SSI 2018 | DRG 7016-105 REV3 | 0019003467 | UNKNOWN | URL NOT FOUND | [11 empty] | 7016-105 REV3 |  |  | CLEANSED | PANEL | NO MODIFIER | TYPE | FUME | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR M4 FURNACE ROOF, STRICTLY AS PER SSI 2018 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060229254 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060229254 | BHP1 | BHP Spares & Supplies | 461900 | Fire protection | EA | MAN2 | GLASS,FIRE PANEL,BREAK,RED,KB-MCP-470RF | GLASS,FIRE PANEL,BREAK,RED,KB-MCP-470RF | KB-MCP-470RF | 0019000158 | ADVANCED FIRE PROTECTION SERVICES,M | https://www.technoswitch.co.za/wp-content/uploads/2016/11/DS-KAC-MCP-Conventional-Range-200803.pdf |  | ADVANCED FIRE PROTECTION SERVICES,M | KB-MCP-470RF | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | GLASS, FIRE, BREAK | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR: RED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060214406 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060214406 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | HEATER, PANEL, SIMOPRIME VCB, SIEMENS | HEATER, PANEL, SIMOPRIME VCB, SIEMENS | A7ESWB02500056 | 0019011590 | SIEMENS | URL NOT FOUND |  | SIEMENS | A7ESWB02500056 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | HEATER | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIMOPRIME VCB | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060217044 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060217044 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | HMI, PANEL, SIEMENS, 6AV6647-0AE11-3AX0, | HMI, PANEL, SIEMENS, 6AV6647-0AE11-3AX0, SIMATIC HMI KTP1000 BASIC COLOR, DP, BASIC PANEL, KEY AND TOUCH OPERATION, 10" TFT DISPLAY, 256 COLORS,, MPI/PROFIBUS DP INTERFACE, CONFIGURATION FROMWINCC FLEXIBLE 2008 SP2, COMPACT/ WIN CC BASIC V11/ STEP7 BASIC V11, CONTAINS OPEN SOURCE SW, WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | 6AV6647-0AE11-3AX0 | 0019011590 | SIEMENS | https://mall.industry.siemens.com/mall/en/ww/catalog/product/6av6647-0ae11-3ax0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6AV6647-0AE11-3AX0%26language%3Den | SIEMENS | 6AV6647-0AE11-3AX0 | [11 empty] | ENRICHED | PANEL | NO MODIFIER | TYPE | BASIC, KEY AND TOUCH OPERATION | VOLTAGE RATING | 24 VDC | CURRENT RATING | 0.6 A | NUMBER OF PHASE |  | SIZE | DP 60 MM | MATERIAL | PLASTIC | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION | IP65, IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, CULUS, RCM, KC | ADDITIONAL FEATURES EN | PRODUCT TYPE: SIMATIC HMI KTP1000 BASIC COLOR DP, 10 IN TFT DISPLAY, 256 COLORS, MPI/PROFIBUS DP INTERFACE, CONFIGURATION FROMWINCC FLEXIBLE 2008 SP2, COMPACT/ WIN CC BASIC V11/ STEP7 BASIC V11, CONTAINS OPEN SOURCE SW, WHICH IS PROVIDED FREE OF CHARGE FOR DETAILS SEE CD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060213846 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060213846 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | HMI, SIEMENS, 6AV3688-3AA03-0AX0. PP7 PU | HMI, SIEMENS, 6AV3688-3AA03-0AX0. PP7 PUSH BUTTON PANEL 545-0CC10-0AX0, MULTI PANEL | 6AV3688-3AA03-0AX0 | 0019011590 | SIEMENS | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6AV36883AA030AX0 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6AV3688-3AA03-0AX0%26language%3Den | SIEMENS | 6AV3688-3AA03-0AX0 |  |  | 545-0CC10-0AX0 | [8 empty] | ENRICHED | PANEL | NO MODIFIER | TYPE | PUSH BUTTON | VOLTAGE RATING | 30 VDC | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | DP 53 MM | MATERIAL | ALUMINIUM | MOUNTING TYPE | CLAMP | CONNECTION TYPE |  | DEGREE OF PROTECTION | IP65, IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | PRODUCT TYPE: PP7, HMI, MULTI PANEL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060225748 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060225748 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | H-PIN, PURPLE, MULTOTECH, TO SUIT 40 THI | H-PIN, PURPLE, MULTOTECH, TO SUIT 40 THICK PANELS | 137927 | 0019011597 | MULTOTECH | URL NOT FOUND |  | MULTOTECH | 137927 | [11 empty] | CLEANSED | PIN | NO MODIFIER | TYPE | H | DIAMETER |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR: PURPLE, TO SUIT 40 THICK PANELS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060228203 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060228203 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | IM PANEL 305X305X30/12X12 T1H | IM PANEL: 305X305X30/12X12 (12X12 GRID) T1H, FRAME KP4-5281 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/12 X 12 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM, 12X12 GRID, TYPE: T1H, FRAME KP4-5281 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060243900 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060243900 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | INCOMER,PANEL,1250A | 1250A,INCOMER,PANEL C/W SCHNEIDER BREAKER NS1250N |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | ELECTRICAL | TYPE | INCOMER | VOLTAGE RATING |  | CURRENT RATING | 1250 A | NUMBER OF PHASE |  | ENCLOSURE |  | SIZE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SCHNEIDER BREAKER NS1250N | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060247232 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060247232 | BHP1 | BHP Spares & Supplies | 410000 | Laboratory, Measuring, Observing and Testing Equipment | EA | MAN2 | LOUVRE PANEL,LINBIN,1400 X 500 MM | LOUVRE PANEL, LINBIN, 1400 X 500 MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | LOUVRE, LINBIN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 1400 X 500 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060251800 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060251800 | BHP1 | BHP Spares & Supplies | 230000 | Industrial Manufacturing and Processing Machinery and Access | EA | MAN2 | OPERATOR PANEL,3UF7210-1BA01-0,EA | OPERATOR PANEL,3UF7210-1BA01-0,SIEMENS, WITH DISPLAY FOR SIMOCODE,EA | 3UF7210-1BA01-0 | 0019011819 | Unknown | https://mall.industry.siemens.com/mall/en/ru/Catalog/Product/3UF7210-1BA01-0 | https://mall.industry.siemens.com/mall/en/ru/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3UF7210-1BA01-0%26language%3Den | SIEMENS | 3UF7210-1BA01-0 | [11 empty] | ENRICHED | PANEL | NO MODIFIER | TYPE | OPERATOR | VOLTAGE RATING | 300 V | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | WD 96 X HT 60 X DP 44 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION | IP54 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, ABS, RMRS | ADDITIONAL FEATURES EN | WITH DISPLAY FOR SIMOCODE, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060233239 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060233239 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL ,305X305X50/50X50-60A-3X3GRID | PANEL, IM RUBBER 305X305X50/50X50-60A-3X3GRID T1H,RIO-002-001 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 50/50 X 50 MM | MATERIAL | RUBBER | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM, 60A-3X3 GRID, TYPE: T1H, RIO-002-001 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060235206 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060235206 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL 305X305X36X5.0X27MM APT | PANEL 305X305X36X5.0X27MM APT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 36 X 27 X 5 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | APT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060179987 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060179987 | BHP1 | BHP Spares & Supplies | 561116 | Panel systems | EA | MAN2 | PANEL ASSEMBLIES,EXPLOSION,CERTIFIED T | PANEL ASSEMBLIES, EXPLOSION, CERTIFIED TO A BURSTING PRESSURE OF 80 KPA,, SIZE 350 MM X 500 MM CLAMPING FLANGE FROM MILD STEEL MATERIAL, SUPPORT, FRAME FROM GR 304 STAINLESS STEEL, COMPLETE WITH MOUNTING PLATE, PROVIDE, PRESSURE RATING CERTIFICATE ON DELIVERY.ONE COPY FOR STORES AND ONE, ATTACHED TO THE EXPLOSION PANEL, Request from Mauritz, NEW SSI-FMT00478 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 500 X 350 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLIES, EXPLOSION, CERTIFIED TO A BURSTING PRESSURE OF 80 KPA, CLAMPING FLANGE FROM MILD STEEL MATERIAL, SUPPORT FRAME FROM GR 304 STAINLESS STEEL, COMPLETE WITH MOUNTING PLATE, PROVIDE, PRESSURE RATING CERTIFICATE ON DELIVERY.ONE COPY FOR STORES AND ONE, ATTACHED TO THE EXPLOSION PANEL, REQUEST FROM MAURITZ, NEW SSI-FMT00478 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060235159 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060235159 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL IM 305X305X30/0.8X13 T1H WB | PANEL IM 305X305X30/0.8X13 T1H WBP/N 122582 |  |  |  | URL NOT FOUND |  |  | 122582 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/0.8 X 13 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM, TYPE: T1H | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060235161 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060235161 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL IM 305X305X30/SOLID T1H, | PANEL IM 305X305X30/SOLID T1H,P/N 101069 |  |  |  | URL NOT FOUND |  |  | 101069 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM, SOLID, TYPE: T1H | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060235158 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060235158 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL IM POLYWEDGE 305X305X30/ | PANEL IM POLYWEDGE 305X305X30/P/N 133133 |  |  |  | URL NOT FOUND |  |  | 133133 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | POLYWEDGE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060235163 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060235163 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL IM VIBROPLAST 305X305X30 | PANEL IM VIBROPLAST 305X305X30P/N115461 10X10 T1H,WB L-SHAPE |  |  |  | URL NOT FOUND |  |  | 115461 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | VIBROPLAST | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/10 X 10 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM, TYPE: T1H, WB L-SHAPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060235162 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060235162 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL IM VIBROPLAST 305X305X30 | PANEL IM VIBROPLAST 305X305X30P/N 115944 10 X 10 T1H |  |  |  | URL NOT FOUND |  |  | 115944 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | VIBROPLAST | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/10 X 10 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM, TYPE: T1H | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060235151 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060235151 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL MD 305X305X30/2X17 T1 | PANEL MD 305X305X30/2X17 T1SPC 20S B SPALTO |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/2 X 17 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MD, T1SPC 20S B SPALTO | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060235150 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060235150 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL MD305X305X30/1X11.5 S | PANEL MD305X305X30/1X11.5 ST1, SPC,20SB SPALTO |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/1 X 11.5 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MD, ST1, SPC, 20SB SPALTO | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060235025 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060235025 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | PANEL METER DIGITAL | PANEL METER DIGITALRED LED 3 1/2 DISPLAY 220VAC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | METER DIGITALRED LED | VOLTAGE RATING | 220 VAC | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3-1/2 DISPLAY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060243338 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060243338 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL RBR PL60 305MMSQ 31MM THK 10MM VR | PANEL RBR PL60 305MMSQ 31MM THK 10MM VR STD 4P | 1441785 |  |  | URL NOT FOUND |  |  | 1441785 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 MM2 X THK 31 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RBR, PL60, 10 MM VR STD 4P | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181608 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181608 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, 1,6MM X 13MM APPETURE, TYPE 1A, P | PANEL, 1,6MM X 13MM APPETURE, TYPE 1A, POLYURETHANE C/W SKIDBARS & 30MM HIGH WEIRBAR (SKIDBAR REMOVED ON ONE PINNING SIDE ONLY) | 150249 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 150249 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 1.6 X 13 MM APERTURE | MATERIAL | POLYURETHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 1A, C/W SKIDBARS AND 30 MM HIGH WEIRBAR (SKIDBAR REMOVED ON ONE PINNING SIDE ONLY) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181617 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181617 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, 1.6MM X 13MM APPETURE, TYPE 1A PO | PANEL, 1.6MM X 13MM APPETURE, TYPE 1A POLYURETHANE, C/W SKIDBARS | 100915 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 100915 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 1.6 X 13 MM APERTURE | MATERIAL | POLYURETHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 1A, C/W SKIDBARS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181618 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181618 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, 1.6MM X 13MM APPETURE, TYPE 1A PO | PANEL, 1.6MM X 13MM APPETURE, TYPE 1A POLYURETHANE, C/W SKIDBARS, (SKIDBARS REMOVED ON ONE PINNING SIDE ONLY) | 150607 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 150607 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 1.6 X 13 MM APERTURE | MATERIAL | POLYURETHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 1A, C/W SKIDBARS, (SKIDBARS REMOVED ON ONE PINNING SIDE ONLY) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181614 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181614 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, 15MM SQUARE APPETURE, COMPLETE WI | PANEL, 15MM SQUARE APPETURE, COMPLETE WITH 50MM HIGH WEIRBAR, POLYURETHANE | 111670 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 111670 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 15 MM2 APERTURE | MATERIAL | POLYURETHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE WITH 50 MM HIGH WEIRBAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181613 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181613 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, 15MM SQUARE APPETURE, OPEN AREA 3 | PANEL, 15MM SQUARE APPETURE, OPEN AREA 32.6 PERCENT TYPE 1A SIP (SAF) POLYURETHANE | 103724 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 103724 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 15 MM2 APERTURE | MATERIAL | POLYURETHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OPEN AREA 32.6 PCT, TYPE: 1A SIP (SAF) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181597 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181597 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, 1MM X 8.8MM APERTURE, POLYURETHAN | PANEL, 1MM X 8.8MM APERTURE, POLYURETHANE, TYPE 1 FIXING, MULTOTEC | 100981 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 100981 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 1 X 8.8 MM APERTURE | MATERIAL | POLYURETHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 1 FIXING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181596 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181596 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, 1MM X 8.8MM APERTURE, POLYURETHAN | PANEL, 1MM X 8.8MM APERTURE, POLYURETHANE, TYPE 1 FIXING, WITH WEIR BAR | 100984 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 100984 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 1 X 8.8 MM APERTURE | MATERIAL | POLYURETHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 1 FIXING, WITH WEIR BAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060218001 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060218001 | BHP1 | BHP Spares & Supplies | 201224 | Production systems equipment | EA | MAN2 | PANEL, 25 - 7 X 7 GRID WEIRBAR | PANEL, 25 - 7 X 7 GRID WEIRBAR |  | 0019005675 | MULTOLEC | URL NOT FOUND |  | MULTOLEC | [12 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 25 - 7 X 7 GRID WEIRBAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181583 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181583 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | PANEL, 2MM X 19MM APERTURE, POLYURETHANE | PANEL, 2MM X 19MM APERTURE, POLYURETHANE, TYPE 1A FIXINGS, C/W PINS & SLEEVES | 101016 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 101016 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 2 X 19 MM APERTURE | MATERIAL | POLYURETHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 1A FIXINGS, C/W PINS AND SLEEVES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060174775 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060174775 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | PANEL, 305 x 305 x 30 MD IM TYPE 1A 1.6 | PANEL, 305 X 305 X 30 MD IM TYPE 1A 1.6 X 13 WITH SKIDBARS AND 30MM HIGH WEIRBAR | 150259 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 150259 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM, TYPE: 1A 1.6 X 13 WITH SKIDBARS AND 30 MM HIGH WEIRBAR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060220049 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060220049 | BHP1 | BHP Spares & Supplies | 561116 | Panel systems | EA | MAN2 | PANEL, 305X295X30/SOLID HI TEMP KP4-5349 | PANEL, 305X295X30/SOLID HI TEMP KP4-5349 FRAME |  | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | [12 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | HIGH TEMPERATURE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 295 X 30 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOLID, KP4-5349 FRAME | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060220048 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060220048 | BHP1 | BHP Spares & Supplies | 561116 | Panel systems | EA | MAN2 | PANEL, 305X300X30/1X13 HI TEMP | PANEL, 305X300X30/1X13 HI TEMP |  | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | [12 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | HIGH TEMPERATURE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 300 X 30/1 X 13 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181598 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181598 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, 6MM X 6MM APERTURE, POLYURETHANE, | PANEL, 6MM X 6MM APERTURE, POLYURETHANE, VIBRO-PLAST, TYPE 1 PP FIXINGS, C/W PINS & SLEEVES | 100827 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 100827 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | VIBRO-PLAST | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 6 X 6 MM APERTURE | MATERIAL | POLYURETHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 1 PP FIXINGS, C/W PINS AND SLEEVES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060218367 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060218367 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | PANEL, AMMETER, 0-200A, 70MMX70MM | AMMETER, PANEL, 0-200A, 70MMX70MM, SSI 11458 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | ELECTRICAL | TYPE | AMMETER | VOLTAGE RATING |  | CURRENT RATING | 0-200 A | NUMBER OF PHASE |  | ENCLOSURE |  | SIZE | 70 X 70 MM | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI 11458 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060117083 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060117083 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | PANEL, DUCT, EXPLOSION, 50 KPA, RECONDI | PANEL, DUCT, EXPLOSION, 50 KPA, RECONDITIONED, HOWDEN ENERGY SYSTEM,, VENTURI SCRUBBER PLANT, DC ARC FURNACE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | DUCT, EXPLOSION, RECONDITIONED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRESSURE RATING: 50 KPA, FOR HOWDEN ENERGY SYSTEM, VENTURI SCRUBBER PLANT, DC ARC FURNACE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060117084 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060117084 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | PANEL, DUCT, EXPLOSION, 100 KPA, RECONDI | PANEL, DUCT, EXPLOSION, 100 KPA, RECONDITIONED, HOWDEN ENERGY SYSTEM,, VENTURI SCRUBBER PLANT, DC ARC FURNACE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | DUCT, EXPLOSION, RECONDITIONED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRESSURE RATING: 100 KPA, FOR HOWDEN ENERGY SYSTEM, VENTURI SCRUBBER PLANT, DC ARC FURNACE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060256387 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060256387 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | PANEL, ELECTRIC, ENCLOSURE, SIZE 500X400 | PANEL, ELECTRIC, ENCLOSURE, SIZE 500X400X200MM, 2MM COLD ROLLED STEEL, IP65, MB-5040D200-O, ELECTRIC ORANGE, ACDC | MB-5040D200-O | 0019011819 | Unknown | https://www.acdc.co.za/products/orange-m-steel-enclosure-500x400x200-ip65?variant=30481807244 |  | ACDC | MB-5040D200-O | [11 empty] | CLEANSED | PANEL | ELECTRICAL | TYPE | ELECTRIC, ENCLOSURE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | ENCLOSURE | IP65 | SIZE | 500 X 400 X 200 MM | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL: 2 MM COLD ROLLED STEEL, ELECTRIC ORANGE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060221605 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060221605 | BHP1 | BHP Spares & Supplies | 561116 | Panel systems | EA | MAN2 | PANEL, EXPLOSION VENT, 50KPA | PANEL, EXPLOSION VENT, 50KPA CERTIFIED AND TESTED, 689MM VENT AREA C/W FRAMES ANGLES AND DAMPENING MATERIAL, PANEL AND SUPPORT GR 30 |  | 0019001319 | FLOWSEAL | URL NOT FOUND |  | FLOWSEAL | [12 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | EXPLOSION VENT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRESSURE RATING: 50 KPA, CERTIFIED AND TESTED, VENT SIZE: 689 MM C/W FRAMES ANGLES AND DAMPENING MATERIAL, PANEL AND SUPPORT GR 30 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060221628 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060221628 | BHP1 | BHP Spares & Supplies | 561116 | Panel systems | EA | MAN2 | PANEL, EXPLOSION VENT, 60KPA | PANEL, EXPLOSION VENT, 60KPA CERTIFIED AND TESTED, 548MM ID, PANEL AND SUPPORT GR 304SS, CLAMPING FLANGES MILD STEEL, PAINTED WITH H |  | 0019001319 | FLOWSEAL | URL NOT FOUND |  | FLOWSEAL | [12 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | EXPLOSION VENT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | ID 548 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRESSURE RATING: 60 KPA, CERTIFIED AND TESTED, MATERIAL: PANEL AND SUPPORT GR 304SS, CLAMPING FLANGES MILD STEEL, PAINTED WITH H | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060251819 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060251819 | BHP1 | BHP Spares & Supplies | 311800 | Gaskets and seals | EA | MAN2 | PANEL, EXPLOSION, DN500, TYPE HI-CV-S, 5 | PANEL, EXPLOSION, DN500, TYPE HI-CV-S, 50KPA, M10 BOLTING, 304SS, MATERIAL 1.4301, 80NM |  |  |  | https://corona-serwis.com/download/fike/passive_explosion_protection_systems/hi-cv%20hi-cv-cf%20hi-cv-s%20-%20explosion%20vents.pdf |  |  | HI-CV-S | [11 empty] | ENRICHED | PANEL | NO MODIFIER | TYPE | EXPLOSION | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 500 MM | MATERIAL | 1.4301 STAINLESS STEEL 304 | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX / EN 14797 / NFPA68 | ADDITIONAL FEATURES EN | PRESSURE RATING: 50 KPA, M10 BOLTING, TORQUE: 80 NM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181605 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181605 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, MD, IM, 305MM X 305MM X 30MM X 1. | PANEL, MD, IM, 305MM X 305MM X 30MM X 1.0MM X 8.8MM, HI-FLOW TYPE 1A, C/W 200MM DIVIDERS, DRAWING KP | 115038 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 115038 | [8 empty] | KP |  |  | CLEANSED | PANEL | NO MODIFIER | TYPE | HIGH FLOW | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30 X 8.8 X 1 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MD, IM, TYPE: 1A, C/W 200 MM DIVIDERS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060181606 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060181606 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, MD, IM, 305MM X 305MM X 30MM X 1. | PANEL, MD, IM, 305MM X 305MM X 30MM X 1.0MM X 8.8MM, HI-FLOW TYPE 1A, C/W WEIRBARS & 200MM DIVIDERS, | 114947 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 114947 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | HIGH FLOW | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30 X 8.8 X 1 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MD, IM, TYPE: 1A, C/W WEIRBARS AND 200 MM DIVIDERS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060214718 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060214718 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, PLUG-IN WEIRBAR, 2-PIN X 50 x 450 | PANEL, PLUG-IN WEIRBAR, 2-PIN X 50 X 450 X 50MM, 304.8 PIN PITCH,, H-PINNING, 141491, ANTIBAC, MULTOTEC | 141491 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 141491 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 450 X 50 X 50 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLUG-IN WEIRBAR, PIN TYPE: 2-PIN, 304.8 PIN PITCH, H-PINNING, ANTIBAC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060214717 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060214717 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, PLUG-IN WEIRBAR, 2-PIN X 50MM HIG | PANEL, PLUG-IN WEIRBAR, 2-PIN X 50MM HIGH X 305 LONG X 30MM THICK,, 171394, ANTIBAC, MULTOTEC | 171394 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 171394 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | LG 305 X HT 50 MM X THK 30 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLUG-IN WEIRBAR, PIN TYPE: 2-PIN, ANTIBAC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060187778 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060187778 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, POLYURITHANE MODULAR PANEL 305X30 | RUBBER MODULAR PANEL 305X305X50 / 6X6, TYPE 2-H |  | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | [12 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | MODULAR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 50 / 6 X 6 MM | MATERIAL | RUBBER | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 2-H | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060252794 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060252794 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PANEL, RUBBER 305X305X30/1X12,T1H,WB,226 | PANEL, RUBBER 305X305X30/1X12, T1H, WB, 226, RIP-0001-003 |  |  |  | URL NOT FOUND |  |  | RIP-0001-003 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/1 X 12 MM | MATERIAL | RUBBER | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: T1H, WB, 226 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060187776 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060187776 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, RUBBER MODULAR PANEL 305X305X50 / | RUBBER MODULAR PANEL 305X305X50 / 30X30, TYPE 2-H | 182170 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 182170 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | MODULAR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 50 / 30 X 30 MM | MATERIAL | RUBBER | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 2-H | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060187774 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060187774 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, RUBBER MODULAR PANEL 305X305X50 / | RUBBER MODULAR PANEL 305X305X50 / SOLID, TYPE 2-H | 165494 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 165494 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | MODULAR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 50 MM | MATERIAL | RUBBER | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOLID, TYPE: 2-H | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060222851 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060222851 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, SCREEN, 300X750X31/3X3, | PANEL, SCREEN, 300X750X31/3X3, SLOTTED JIG, POLYURATHANE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | SCREEN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 300 X 750 X 31/3 X 3 MM | MATERIAL | POLYURATHANE | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SLOTTED JIG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060174800 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060174800 | BHP1 | BHP Spares & Supplies | 130000 | Plastic, Rubber and Elastomeric Materials | EA | MAN2 | PANEL, SCREEN, 305 X 305 X 30/6.1 X 6.1, | PANEL, SCREEN, 305 X 305 X 30/6.1 X 6.1, INCLUDING 2 STRANDS OF 2 BALL EACH, MULTOTEC | 164873 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 164873 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | SCREEN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/6.1 X 6.1 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INCLUDING 2 STRANDS OF 2 BALL EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060174801 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060174801 | BHP1 | BHP Spares & Supplies | 130000 | Plastic, Rubber and Elastomeric Materials | EA | MAN2 | PANEL, SCREEN, 305 X 305 X 30/6.1 X 6.1, | PANEL, SCREEN, 305 X 305 X 30/6.1 X 6.1, WITHPOUT STRANDS OR BALLS, MULTOTEC | 133466 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 133466 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | SCREEN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/6.1 X 6.1 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WITHPOUT STRANDS OR BALLS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060137111 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060137111 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, SCREEN, 305MM X 305MM X 30MM THIC | PANEL, SCREEN, 305MM X 305MM X 30MM THICK X 21MM, PLAIN, VIBROPLAST H/DUTY, MULTOTEC |  |  |  | URL NOT FOUND |  | MULTOTEC | [12 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | SCREEN, VIBROPLAST HEAVY DUTY, PLAIN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X THK 30 X 21 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060137112 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060137112 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, SCREEN, 305MM X 305MM X 30MM THIC | PANEL, SCREEN, 305MM X 305MM X 30MM THICK X 15MM, PLAIN, VIBROPLAST IM, MULTOTEC,, SSI 8432, Dispatch chrome plant |  |  |  | URL NOT FOUND |  | MULTOTEC | [12 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | SCREEN, VIBROPLAST, PLAIN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X THK 30 X 15MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM, SSI 8432, DISPATCH CHROME PLANT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060147489 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060147489 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, SCREEN, 305MM X 305MM X 30MM THIC | PANEL, SCREEN, 305MM X 305MM X 30MM THICK, 0.8MM SQUARE, ANTIBAC, MD IM TYPE 1A, HI FLOW | 100872 | 0019000000 | 1069 | URL NOT FOUND |  |  | 100872 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | SCREEN, HIGH FLOW | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X THK 30 MM X 0.8 MM2 | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANTIBAC, MD IM, TYPE: 1A | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060220660 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060220660 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, SCREEN, INJECTION MOULDED, RUBBER | PANEL, SCREEN, INJECTION MOULDED, RUBBER HI-FLOW, 305X305X30/1.5X8.8-40A, T1H, RIO-002-019, C/W PINS & SLEEVES | 244920 |  |  | URL NOT FOUND |  |  | 244920 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | SCREEN, INJECTION MOULDED, HI-FLOW | VOLTAGE RATING |  | CURRENT RATING | 8-40 A | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/1.5 X 8 MM | MATERIAL | RUBBER | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: T1H, RIO-002-019, C/W PINS AND SLEEVES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060175300 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060175300 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, SCREEN, INJECTION MOULDED, TYPE 1 | PANEL, SCREEN, INJECTION MOULDED, TYPE 1, H 305MM X 305MM X 36MM THICK/ 5 X 27, ANTIBAC | 211115 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 211115 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | SCREEN, INJECTION MOULDED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X THK 36 / 5 X 27 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 1H, ANTIBAC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060175301 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060175301 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, SCREEN, INJECTION MOULDED, TYPE 1 | PANEL, SCREEN, INJECTION MOULDED, TYPE 1,H 305MM X 305MM X 30MM THICK, 1,6 X 1,6, ANTIBAC |  | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | [12 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X THK 30 / 1.6 X 1.6 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: 1H, ANTIBAC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060175299 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060175299 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL, SCREEN, SPALTO MULTODEC, 305MM X | PANEL, SCREEN, SPALTO MULTODEC, 305MM X 305MM X 30MM THICK X 0.315 X 11.5 SPC | 102331 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | 102331 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | SCREEN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X THK 30 X 0.315 X 11.5 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SPALTO, SPC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060213840 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060213840 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | PANEL, TOUCH, SIEMENS, 6AV6 642-0BA01-1A | PANEL, TOUCH, SIEMENS, 6AV6 642-0BA01-1AX1 | 6AV6 642-0BA01-1AX1 | 0019011590 | SIEMENS | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6AV6642-0BA01-1AX1 | https://mall.industry.siemens.com/mall/en/ww/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D6AV6642-0BA01-1AX1%26language%3Den | SIEMENS | 6AV6642-0BA01-1AX1 | [11 empty] | ENRICHED | DISPLAY | OPERATOR INTERFACE | TYPE | TOUCH | DISPLAY TYPE | COLOUR | DISPLAY SIZE |  | RESOLUTION | 320 PIXEL HORIZONTAL AND 240 PIXEL VERTICAL | ELECTRICAL RATING | 0.24 A | INTERFACE TYPE |  | MEMORY | 2048 KBYTE | MOUNTING TYPE |  | ENCLOSURE | IP65, IP20 | SIZE | DP 44 MM | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL | ADDITIONAL FEATURES EN | PANEL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060240943 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060240943 | BHP1 | BHP Spares & Supplies | 561116 | Panel systems | EA | MAN2 | PANEL,305X305X30/10X10,T1H,MIO-227-049 | PANEL,305X305X30/10X10,T1H,MIO-227-049 | 103569 |  |  | URL NOT FOUND |  |  | 103569 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/10 X 10 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: T1H, MIO-227-049 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060228594 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060228594 | BHP1 | BHP Spares & Supplies | 561116 | Panel systems | EA | MAN2 | PANEL,305X305X30/1X10,WB,LH IM PU TP | PANEL:305X305X30/1X10, WB, LH IM PU TP MCP-071-011 REFER MCP-071-002 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/1 X 10 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WB, LH IM PU TP MCP-071-011 REFER MCP-071-002 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060228595 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060228595 | BHP1 | BHP Spares & Supplies | 561116 | Panel systems | EA | MAN2 | PANEL,305X305X30/1X10,WB,RH IM PU TP | PANEL:305X305X30/1X10, WB, RH IM PU TP MCP-071-011 REFER MCP-071-003 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/1 X 10 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WB, RH IM PU TP MCP-071-011 REFER MCP-071-003 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060233238 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060233238 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL,305X305X30/1X13-A70H | PANEL, IM 305X305X30/1X13-A70H T1H,MIO-227-049 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/1 X 13 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM, A70H, TYPE: T1H, MIO-227-049 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060230199 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060230199 | BHP1 | BHP Spares & Supplies | 561116 | Panel systems | EA | MAN2 | PANEL,305X305X30/20X20 T1H WB KP4 | IM PANEL 305X305X30/20X20 T1, WB,KP4-0561 |  |  |  | URL NOT FOUND |  |  | KP4-0561 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 305 X 305 X 30/20 X 20 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IM, TYPE: T1, WB | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060253608 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060253608 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | PANEL,37B1CP3290,KOMATSU,EA | PANEL, 37B1CP3290, KOMATSU, EACH | 37B1CP3290 |  |  | https://en.av-gk.ru/spare/komatsu/37b-1cp-3290/ |  | KOMATSU | 37B1CP3290 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060233236 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060233236 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | PANEL,790X1190X100/3.15X3.1-AB/92MOD JIG | PANEL, JIG,SEP FORSI 790X1190X100/3.15X3.1-AB/92MOD |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | JIG | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 790 X 1190 X 100/3.15 X 3.1 MM | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SEP FORSI, AB/92MOD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060232702 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060232702 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PANEL,BRAKE,ASSY,COMP,41035-7502,KAWASAK | BRAKE PANEL ASSEMBLY COMPLETE, PN 41035-7502, KAWASAKI MULE | 41035-7502 | 0019011667 | WATER RITE MOTORCYCLES | https://www.partzilla.com/product/kawasaki/41035-7502 |  | KAWASAKI MULE | 41035-7502 |  | WATER RITE MOTORCYCLES | [9 empty] | CLEANSED | PANEL | VEHICULAR | TYPE | BRAKE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060232703 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060232703 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PANEL,BRAKE,COMPL,41035-7504,KAWASAKI | BRAKE PANEL COMPLETE, PN 41035-7504, KAWASAKI MULE | 41035-7504 | 0019011667 | WATER RITE MOTORCYCLES | https://www.partzilla.com/product/kawasaki/41035-7504 |  | KAWASAKI MULE | 41035-7504 |  | WATER RITE MOTORCYCLES | [9 empty] | CLEANSED | PANEL | VEHICULAR | TYPE | BRAKE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060254150 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060254150 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PANEL,CONTROL,11KW,SUPER,ELPRO | PANEL,CONTROL,11KW,SUPER,ELPRO |  |  |  | URL NOT FOUND |  | ELPRO | [12 empty] | CLEANSED | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WATTAGE: 11 KW, SUPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060254151 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060254151 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PANEL,CONTROL,15KW,SUPER,ELPRO | PANEL,CONTROL,15KW,SUPER,ELPRO |  |  |  | URL NOT FOUND |  | ELPRO | [12 empty] | CLEANSED | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WATTAGE: 15 KW, SUPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060254152 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060254152 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PANEL,CONTROL,18.5KW,SUPER,ELPRO | PANEL,CONTROL,18.5KW,SUPER,ELPRO |  |  |  | URL NOT FOUND |  | ELPRO | [12 empty] | CLEANSED | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WATTAGE: 18.5 KW, SUPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060254146 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060254146 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PANEL,CONTROL,2.2KW,SUPER,ELPRO | PANEL,CONTROL,2.2KW,SUPER,ELPRO |  |  |  | URL NOT FOUND |  | ELPRO | [12 empty] | CLEANSED | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WATTAGE: 2.2 KW, SUPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060254153 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060254153 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PANEL,CONTROL,22KW,SUPER,ELPRO | PANEL,CONTROL,22KW,SUPER,ELPRO |  |  |  | URL NOT FOUND |  | ELPRO | [12 empty] | CLEANSED | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WATTAGE: 22 KW, SUPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060254147 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060254147 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PANEL,CONTROL,4KW,SUPER,ELPRO | PANEL,CONTROL,4KW,SUPER,ELPRO |  |  |  | URL NOT FOUND |  | ELPRO | [12 empty] | CLEANSED | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WATTAGE: 4 KW, SUPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060254148 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060254148 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PANEL,CONTROL,5.5KW,SUPER,ELPRO | PANEL,CONTROL,5.5KW,SUPER,ELPRO |  |  |  | URL NOT FOUND |  | ELPRO | [12 empty] | CLEANSED | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WATTAGE: 5.5 KW, SUPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060254149 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060254149 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | PANEL,CONTROL,7.5KW,SUPER,ELPRO | PANEL,CONTROL,7.5KW,SUPER,ELPRO |  |  |  | URL NOT FOUND |  | ELPRO | [12 empty] | CLEANSED | PANEL | CONTROL | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WATTAGE: 7.5 KW, SUPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060255875 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060255875 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PANEL,CONTROL,DEMAGNETIZING,110V,HMD100- | PANEL,CONTROL,DEMAGNETIZING,110V,HMD100-350-600,CONTROL,VOLTAGE,ON,PANEL,TO,BE,110V |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | PANEL | CONTROL | TYPE | DEMAGNETIZING | VOLTAGE RATING | 110 V | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HMD100-350-600 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060186173 | STP-005 | DATA ENRICHMENT | MKV | MKV | OK | 2022-10-03 | 2022-10-10 |  | 000000000060186173 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | PANEL,COOLING UNIT,M4 THEISEN ANALYSER | PANEL,COOLING UNIT,M4 THEISEN ANALYSER, AS PER SSI 3068 | E15-YY-001-19 | 0019011601 | THEISEN ENGINEERING | URL NOT FOUND |  | THEISEN ENGINEERING | E15-YY-001-19 | [11 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | COOLING UNIT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | M4 ANALYSER, AS PER SSI 3068 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed