## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060132954 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060132954 | BHP1 | BHP Spares & Supplies | 311631 | Connectors | EA | MAN2 | CONTACTOR, 1F11, FREEDOM SERIES, CUTLER | CONTACTOR, 1F11, FREEDOM SERIES, CUTLER HAMMER |  |  |  | https://www.magnet.co.za/download/freedom-phase-out.pdf |  | EATON | 1F11 |  | CUTLER HAMMER | [9 empty] | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING | 23 A | COIL VOLTAGE |  | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT |  | POWER RATING | 11 KW | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FREEDOM SERIES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060186466 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060186466 | BHP1 | BHP Spares & Supplies | 241021 | Warehousing equipment and supplies | EA | MAN2 | CONTACTOR, WRAPPING MACHINE | CONTACTOR, WRAPPING MACHINE | LUB-12 | 0019001356 | FROMM | https://www.se.com/in/en/product/LUB12/power-base-tesys-u-3p-12a-690v/ |  | FROMM | LUB-12 | [11 empty] | ENRICHED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 690 V | CURRENT RATING | 0:00 | COIL VOLTAGE |  | NUMBER OF POLES | 3 | CONTACT ARRANGEMENT | 3NO | POWER RATING | 5.5 KW AT 400 V | AUXILIARY CONTACT |  | TERMINAL TYPE | SCREW CLAMP | MOUNTING TYPE | DIN-RAIL | ENCLOSURE | IP20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-1,IEC 60947-6-2,UL 60947-4-1,IEC 60947-6-2,CSA C22.2 NO 60947-4-1,CE,UL,CSA,CCC,EAC,ASEFA,ATEX | ADDITIONAL FEATURES EN | F/ WRAPPING MACHINE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060254674 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060254674 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CONTACTOR,1,EC,AC,COIL,WASHING,MACHINE | CONTACTOR, 1, EC, AC, COIL, WASHING, MACHINE | 70343301P | 0019011819 | Unknown | https://www.groupdynamics-laundry.com/eng/spare-parts/70343301P-72642/horizon/ |  |  | 70343301P | [11 empty] | CLEANSED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1 EC-AC COIL,WASHING MACHINE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060248874 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060248874 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CONTACTOR,77006285,DD210L | CONTACTOR, PN 77006285, DD210L | 77006285 | 0019011819 | Unknown | URL NOT FOUND |  |  | 77006285 | [6 empty] | DD210L | SANDVIK |  |  |  | CLEANSED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE |  | CURRENT RATING |  | COIL VOLTAGE |  | NUMBER OF POLES |  | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060251402 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060251402 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | CONTACTOR,84V,250A | CONTACTOR,84V,250A,2-P,C/O,MAIN,SW202 |  |  |  | https://www.albrightinternational.com/products/sw202/ |  |  | SW202 | [11 empty] | CLEANSED | CONTACTOR | ELECTRICAL | TYPE |  | LINE VOLTAGE | 84 V | CURRENT RATING | 250 A | COIL VOLTAGE |  | NUMBER OF POLES | 2 | CONTACT ARRANGEMENT |  | POWER RATING |  | AUXILIARY CONTACT |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/O MAIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060253020 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060253020 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | CONTROL TRANSFORMER,400/230V,EATON,EA | CONTROL TRANSFORMER, EATON, 400/230V, 0.5KVA, STN0.5(400/230), ARTICLE NO, EA | STN0.5 | 0019011819 | Unknown | https://datasheet.eaton.com/datasheet.php?model=204986&locale=en_GB |  | EATON | STN0.5 | [11 empty] | ENRICHED | TRANSFORMER | NO MODIFIER | TYPE | CONTROL | VOLTAGE RATING | 400 V INPUT,230 V OUTPUT | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE | IP00 | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN 61558-2-2,VDE 0570 PART 2-2,IEC/EN 60204-1,ÖVE-EN 13,VDE 0113,VDE 0100 PART 410,UL 506,UL5085-1,UL 5085-2,CSA-C22.2 NO. 66,CSA-C22.2 NO. 66.1-06,CSA-C22.2 NO. 66.2-06,IEC/EN 61558-2-2,CE MARKING | ADDITIONAL FEATURES EN | POWER RATING:0.5 KVA,ARTICLE NO,PACKAGING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060254018 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060254018 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | DT-50VA,400/24,1,PH,DIN,TRANSFORMER | DT-50VA,400/24,1,PH,DIN,TRANSFORMER,400:24V |  |  |  | https://www.acdc.co.za/collections/power-transformers/products/1-ph-din-transformer-230-110v-8?variant=30477025740 |  | ACDC DYNAMICS | DT-50VA | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400/24 V | NUMBER OF PHASE | 1 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060228137 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060228137 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | FLEXIBLE,TXF,COPPER,DUMPY TYPE | FLEXIBLE,TRANSFORMER,COPPER,2000 SQUARE MM,DUMPY TYPE,AS PER DRAWING - FW05D07038,F5 TRANSFORMERS |  |  |  | URL NOT FOUND | [11 empty] | FW05D07038 |  |  | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | FLEXIBLE,DUMPY | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL:COPPER,SIZE:2000 SQ MM,F5 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060175166 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060175166 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | MINI SUB, 630 KVA 6600V PRIMARY (MV) 525 | MINI SUB, 630 KVA 6600V PRIMARY (MV) 525V SECONDARY (LV) 3 PHASE - 50 HZ FREQUEN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | MINI SUB | VOLTAGE RATING | 6.6 KV PRIMARY(MV),525 V SECONDARY(LV) | NUMBER OF PHASE | 3 | CURRENT RATING |  | FREQUENCY RATING | 50 HZ | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:630 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060188776 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060188776 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | NSS, 525V AC TRANSFORMER. PRODUCT CODE N | NSS, 525V AC TRANSFORMER. PRODUCT CODE NTE18535 | NTE18535 |  |  | URL NOT FOUND |  |  | NTE18535 | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | NSS | VOLTAGE RATING | 525 VAC | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060226170 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060226170 | BHP1 | BHP Spares & Supplies | 461516 | Security and control equipment | EA | MAN2 | SPARES TURNSTILE TRANSFORMER 24V-60VA | TURNSTAR SPARES TURNSTILE TRANSFORMER 24V-60VA |  |  |  | URL NOT FOUND |  | TURNSTAR | [12 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 24 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SPARES TURNSTILE,BURDEN POWER:60 VA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060174308 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060174308 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | SYNCHR.TRANSFO. DSE 0/140 3PH 1500:300V, | SYNCHR.TRANSFO. DSE 0/140 3PH 1500:300V,ABB 60 MW,M4 FURNACE RECTIFIER, AS PER SSI 2188 | 3BHE000122R0002 | 0019011391 | ABB SOUTH AFRICA (PTY) LTD | URL NOT FOUND |  | ABB SOUTH AFRICA (PTY) LTD | 3BHE000122R0002 | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | SYNCHR | VOLTAGE RATING | 1500/300 V | NUMBER OF PHASE | 3 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DSE 0/140,60 MW,M4 FURNACE RECTIFIER,AS PER SSI 2188 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060251709 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060251709 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TRANFORMER,2MVA,6,6KV,525V | TRANFORMER, 2MVA, 6, 6KV, 525V, 3PH, OIL, COOLED, DYN11, CU, AL, WINDINGS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 6.6 KV/525 V | NUMBER OF PHASE | 3 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BURDEN POWER:2 MVA,OIL,COOLED,MATERIAL:CU,AL,WINDINGS,DYN11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060225016 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060225016 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER 1600kVA MINI SUB, 11000/420V | TRANSFORMER, 1600KVA MINI SUB, 11000/420V, 3 WAY NON EXTENSIBLE 11KV SCHNEIDER SF6 RMU, C/W VIP45 PROTECTION RELAY, 2X 630A TP ISOLA |  | 0019011455 | ZEST ELECTRICAL MOTORS CC | URL NOT FOUND |  | ZEST ELECTRICAL MOTORS CC | [12 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 11 KV/420 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:1600 KVA MINI SUB,3 WAY NON EXTENSIBLE 11 KV SCHNEIDER SF6 RMU,C/W VIP45 PROTECTION RELAY,2X 630 A TP ISOLA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060235172 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060235172 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | TRANSFORMER 2.5MVA 6,6/0.4KV | TRANSFORMER 2.5MVA 6,6/0.4KVCONVERTOR IMPEDANCE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 6.6/0.4 KV | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:2.5 MVA,CONVERTOR IMPEDANCE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060235171 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060235171 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | TRANSFORMER 26MVA FURN 4 | TRANSFORMER 26MVA FURN 4 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RATING POWER:26 MVA,FURN 4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060234630 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060234630 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | TRANSFORMER CONTROL PRI 380V | TRANSFORMER CONTROL PRI 380VSEC 220V 3PH 2KVA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | CONTROL | VOLTAGE RATING | 380 V PRIMARY,220 V SECONDARY | NUMBER OF PHASE | 3 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:2 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060234631 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060234631 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | TRANSFORMER DISTR. PRIM 380V | TRANSFORMER DISTR. PRIM 380VSEC 110/220V 3KVA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | DISTRIBUTION | TYPE |  | RATIO |  | PRIMARY VOLTAGE | 380 V | SECONDARY VOLTAGE | 110/220 V | CURRENT RATING |  | ACCURACY |  | APPARENT POWER | 3 KVA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | NUMBER OF TAPS |  | COOLING TYPE |  | VECTOR GROUP |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | PRODUCTION COMPLETED
000000000060171457 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060171457 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | TRANSFORMER TZI 7,5-12/100W | TRANSFORMER TZI 7,5-12/100W, AS PER SSI 2202 | TZI 7,5-12/100W | 0019003323 | THIESSEN S.A. | https://www.kromamericas.com/Product/KS84331384 |  | THIESSEN S.A. | TZI 7 | [11 empty] | ENRICHED | TRANSFORMER | IGNITION | TYPE |  | PRIMARY VOLTAGE | 7.5 KV | SECONDARY VOLTAGE | 115 VAC | CURRENT RATING | 12 MA | POWER RATING | 5-12/100 W | NUMBER OF PHASE |  | FREQUENCY RATING | 50 HZ | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | IGNITION TYPE |  | SIZE |  | INSULATION CLASS |  | COOLING TYPE |  | NUMBER OF TAPS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2202 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | PRODUCTION COMPLETED
000000000060220703 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060220703 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER, 100KVA 3PHASE OIL COOLED | TRANSFORMER, 100KVA 3PHASE OIL COOLED 6.6KV-400V POLE MOUNTED |  | 0019011466 | NORTHLITE ELECTRICAL | URL NOT FOUND |  | NORTHLITE ELECTRICAL | [12 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | OIL COOLED | VOLTAGE RATING | 6.6 KV/400 V | NUMBER OF PHASE | 3 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:100 KVA,MOUNTING:POLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060115293 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060115293 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | TRANSFORMER, 1500 kVA, SINGLE PHASE, PRI | TRANSFORMER, 1500 kVA, SINGLE PHASE, PRIMARY 6600V, SECONDARY 55-70-95V,, FURNACE TXF, FERROVELD. COMPLETE SCOPE AVAILABLE FROM FERROVELD, MAINTENANCE SUPERINTENDENT |  |  |  | URL NOT FOUND |  | FERROVELD | [12 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 6.6 KV PRIMARY,55-70-95 V SECONDARY | NUMBER OF PHASE | 1 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:1500 KVA,FURNACE TXF,COMPLETE SCOPE AVAILABLE FROM,MAINTENANCE SUPERINTENDENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060147942 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060147942 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | TRANSFORMER, 21 MVA, 33/0, 23-0.4KV | TRANSFORMER, 21 MVA, 33/0, 23-0.4KV |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 33/0,23/0.4 KV | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BURDEN POWER:21 MVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060173991 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060173991 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | TRANSFORMER, 3 ,IGNITION,GAS BURNERS,PSP | TRANSFORMER,"3",IGNITION,GAS BURNERS,PSP 3 PELLETISING PLANT,MFC | P54 POSITION 54040-1000030 | 0019002490 | OUTOTEC | URL NOT FOUND |  | OUTOTEC | P54 POSITION 54040-1000030 | [11 empty] | CLEANSED | TRANSFORMER | IGNITION | TYPE |  | PRIMARY VOLTAGE |  | SECONDARY VOLTAGE |  | CURRENT RATING |  | POWER RATING |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | IGNITION TYPE |  | SIZE |  | INSULATION CLASS |  | COOLING TYPE |  | NUMBER OF TAPS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3,F/ GAS BURNERS,PSP 3 PELLETISING PLANT,MFC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | PRODUCTION COMPLETED
000000000060223526 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060223526 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSFORMER, 350VA, 400 VOLT INPUT, 110V | TRANSFORMER, 350VA, 400 VOLT INPUT, 110 VOLT OUTPUT,CURRENT TRANSFORMER MAKE IS AC/DC, AC/DC CATALOGUE CODE T-350VA | T-350VA |  |  | https://www.acdc.co.za/products/1-ph-transformer-special-voltage-24?variant=30484214796 |  | ACDC DYNAMICS | T-350VA | [11 empty] | ENRICHED | TRANSFORMER | CURRENT | TYPE |  | RATIO |  | VOLTAGE RATING | 400 V INPUT,110 V OUTPUT | CURRENT RATING |  | ACCURACY |  | BURDEN POWER | 350 VA | NUMBER OF PHASE | 1 | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AC/DC CATALOGUE CODE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060220257 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060220257 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER, 50KVA 3 PHASE OIL COOLED 52 | 50KVA TRANSFORMER, 3 PHASE, OIL COOLED, 525V PRIMARY, 400V SECONDARY, WIRED IN ENCLOSURE 810MM LENGTH X 725MM WIDTH X 855MM HEIGHT, |  | 0019011466 | NORTHLITE ELECTRICAL | URL NOT FOUND |  | NORTHLITE ELECTRICAL | [12 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | OIL COOLED | VOLTAGE RATING | 525 V PRIMARY,400 V SECONDARY | NUMBER OF PHASE | 3 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:50 KVA,ASE,WIRED IN ENCLOSURE WD 725 X LG 810 X HT 855 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060241391 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060241391 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSFORMER, 525V, 50HZ | TRANSFORMER, 525V, 50HZ, DSS IN 5 LIMB, FORCED WATER COOLED. OUTPUT : 17V DC 20KA. COMPENSATION RECTIFIER. ABB, NEW STOCK AS PER ESSI: 1557, MUST HAVE A CERTIFICATE | OPP-17-571815 | 0019011391 | ABB SOUTH AFRICA (PTY) LTD | URL NOT FOUND |  | ABB SOUTH AFRICA (PTY) LTD | OPP-17-571815 | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 525 V,17 VDC OUTPUT | NUMBER OF PHASE |  | CURRENT RATING | 20 KA OUTPUT | FREQUENCY RATING | 50 HZ | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DSS IN 5 LIMB,FORCED WATER COOLED,COMPENSATION RECTIFIER.NEW STOCK AS PER ESSI:1557,MUST HAVE A CERTIFICATE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060113523 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060113523 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | TRANSFORMER, CONTROL, 3KVA, 380/220V, 7. | TRANSFORMER, CONTROL, 3KVA, 380/220V, 7.9-13.6A, SINGLE PHASE, DOUBLE WOUND PRIMARY TAP, 80/25 TON STATIC CRANE, WOLFF |  |  |  | URL NOT FOUND |  | WOLFF | [12 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | CONTROL | VOLTAGE RATING | 380/220 V | NUMBER OF PHASE | 1 | CURRENT RATING | 7.9/13.6 A | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:3 KVA,DOUBLE WOUND PRIMARY TAP,80/25 TON STATIC CRANE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060218364 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060218364 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | TRANSFORMER, CURRENT, C-H, 20:1 | CURRENT TRANSFORMER, C-H, 20:1, CORE BALANCE, SSI 11458 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | CURRENT | TYPE | CORE BALANCE | RATIO | 20:01 | VOLTAGE RATING |  | CURRENT RATING |  | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C-H,SSI 11458 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060252662 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060252662 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSFORMER, CURRENT, LZZW-36, 15/5A | TRANSFORMER, CURRENT, NEUTRAL,OUTDOOR, EPOXY RESIS, LZZW-36, 15/5A, 10P10, 15VA,36KV, 50HZ, INS CL E, COS 0.8, ICTH:120, ITH:80XLN/1 |  |  |  | http://www.chuangy.com/en/product/109.html | https://www.hyee-current-transformer.com/current-transformer/lzzw-36-current-transformer-outdoor-casting.html |  | LZZW-36 | [11 empty] | ENRICHED | TRANSFORMER | CURRENT | TYPE | NEUTRAL OUTDOOR | RATIO |  | VOLTAGE RATING | 36 KV | CURRENT RATING | 5/15 A | ACCURACY | CL 10P10 | BURDEN POWER | 15 VA | NUMBER OF PHASE |  | FREQUENCY RATING | 50 HZ | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC60044-1.2003 | ADDITIONAL FEATURES EN | EPOXY RESIS,INSULATION CLASS:E,COS 0.8,ICTH:120,ITH:80 X LN/1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060117167 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060117167 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | TRANSFORMER, IGNITION, MFC DWG F6000-24- | TRANSFORMER, IGNITION, MFC DRG F6000-24-006, COMBUSTION GROUP, POSITION M310-4035, DC ARC FURNACE, CHROME DIRECT REDUCTION PLANT | TR-TZI-7/20 | 0019008578 | COMBUSTION GROUP | URL NOT FOUND |  | COMBUSTION GROUP | TR-TZI-7/20 | [8 empty] | F6000-24-006 |  |  | CLEANSED | TRANSFORMER | IGNITION | TYPE |  | PRIMARY VOLTAGE |  | SECONDARY VOLTAGE |  | CURRENT RATING |  | POWER RATING |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | IGNITION TYPE |  | SIZE |  | INSULATION CLASS |  | COOLING TYPE |  | NUMBER OF TAPS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMBUSTION GROUP,POSITION:M310-4035,DC ARC FURNACE,CHROME DIRECT REDUCTION PLANT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | PRODUCTION COMPLETED
000000000060097472 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060097472 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | TRANSFORMER, IGNITION, TRAFO-UNION, | TRANSFORMER, IGNITION, TRAFO-UNION, DRG NO 570/S53-OL-Q-01/ZM20/10, S53 RING BURNER, PELLETISING PLANT,, TFC | 580475 | 0019003467 | UNKNOWN | URL NOT FOUND |  | TRAFO-UNION | 580475 | [8 empty] | 570/S53-OL-Q-01/ZM20/10 |  |  | CLEANSED | TRANSFORMER | IGNITION | TYPE |  | PRIMARY VOLTAGE |  | SECONDARY VOLTAGE |  | CURRENT RATING |  | POWER RATING |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | IGNITION TYPE |  | SIZE |  | INSULATION CLASS |  | COOLING TYPE |  | NUMBER OF TAPS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | S53 RING BURNER,PELLETISING PLANT,TFC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | PRODUCTION COMPLETED
000000000060115712 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060115712 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | TRANSFORMER, IGNITION, TYPE P07 BURNER, | TRANSFORMER, IGNITION, TYPE P07 BURNER, OUTOKUMPU ENGINEERING, PELLETISING PLANT, FURNACE, FERROMETALS |  |  |  | URL NOT FOUND |  | OUTOKUMPU ENGINEERING |  |  | FERROMETALS | [9 empty] | CLEANSED | TRANSFORMER | IGNITION | TYPE |  | PRIMARY VOLTAGE |  | SECONDARY VOLTAGE |  | CURRENT RATING |  | POWER RATING |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | IGNITION TYPE |  | SIZE |  | INSULATION CLASS |  | COOLING TYPE |  | NUMBER OF TAPS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE:P07 BURNER,PELLETISING PLANT,FURNACE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | PRODUCTION COMPLETED
000000000060161138 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060161138 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | TRANSFORMER, NO 11 ABB, 2000 KVA, 6600/4 | TRANSFORMER, NO 11 ABB, 2000 KVA, 6600/400V, 7495/2887A, 6.91 IMP, 1337L OIL | 04124 | 0019000106 | ABB INDUSTRIAL SYSTEMS | URL NOT FOUND |  | ABB INDUSTRIAL SYSTEMS | 04124 | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 6600/400 V | NUMBER OF PHASE |  | CURRENT RATING | 7.495/2.887 KA | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO 11,POWER RATING:2000 KVA,6.91 IMP,OIL:1337 L | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060161139 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060161139 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | TRANSFORMER, NO 21 ABB, 2000 KVA, 6600/4 | TRANSFORMER, NO 21 ABB, 2000 KVA, 6600/400V, 7495/2887A, 6.91 IMP, 1337L OIL | 04125 | 0019000106 | ABB INDUSTRIAL SYSTEMS | URL NOT FOUND |  | ABB INDUSTRIAL SYSTEMS | 04125 | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 6600/400 V | NUMBER OF PHASE |  | CURRENT RATING | 7.495/2.887 KA | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO 21,POWER RATING:2000 KVA,6.91 IMP,OIL:1337 L | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060222322 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060222322 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | TRANSFORMER, RECON 500KVA 22000/400 POLE | TRANSFORMER, RECON 500KVA 22000/400 POLE MNT OIL C | B/022063 | 0019011466 | NORTHLITE ELECTRICAL | URL NOT FOUND |  | NORTHLITE ELECTRICAL | B/022063 |  | RECONS | [9 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 22 KV/400 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:500 KVA,MOUNTING:POLE,OIL C | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060116170 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060116170 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | TRANSFORMER, SINGLE PHASE, 380V, 200VA, | TRANSFORMER, SINGLE PHASE, 380V, 200VA, FURNACE, TFC |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 380 V | NUMBER OF PHASE | 1 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BURDEN POWER:200 VA,FURNACE,TFC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060220250 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060220250 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER, WEG, 10 MVA, 33000/11000 VO | TRANSFORMER, WEG, 10 MVA, 33000/11000 VOLT, MANUFACTURED TO IEC 76 STANDARD, 3 PHASE, 50 HZ, 524.9 AMPS, ONAN COOLING, DYN 11 |  |  |  | URL NOT FOUND |  | WEG | [12 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | ONAN COOLING | VOLTAGE RATING | 33/11 KV | NUMBER OF PHASE | 3 | CURRENT RATING | 524.9 A | FREQUENCY RATING | 50 HZ | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 76 STANDARD | ADDITIONAL FEATURES EN | BURDEN POWER:10 MVA,DYN 11 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060217640 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060217640 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSFORMER,1.6MVA,6600V/400V,MANUFAC | TRANSFORMER, 1.6MVA, 6600V/400V, MANUFACTURED TO SANS 780, 3 PHASE,, 50HZ, OIL VOLUME 1600 LITRE, VECTOR GROUP-DYN 11, 5 POSITION TAP CHANGER, 105% TO 95%, BOLT ON RADIATOR, FITTED WITH INDICATING THERMOMETER WITH, ALARM AND TRIPPING CONTACTS, FITTED WITH GAS ACTUATED TRIPPING RELAY,, SUITABLE FOR OUTDOOR USE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 6.6 KV/400 V | NUMBER OF PHASE | 3 | CURRENT RATING |  | FREQUENCY RATING | 50 HZ | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SANS 780 | ADDITIONAL FEATURES EN | BURDEN POWER:1.6 MVA,OIL VOLUME:1600 L,VECTOR GROUP-DYN 11,5 POSITION TAP CHANGER,105 TO 95 PCT,BOLT ON RADIATOR,FITTED WITH INDICATING THERMOMETER W/ ALARM AND TRIPPING CONTACTS,FITTED WITH GAS ACTUATED TRIPPING RELAY,SUITABLE F/ OUTDOOR USE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060218044 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060218044 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,100KVA,3PHASE,400V,50HZ,T-15 | TRANSFORMER,100KVA,3PHASE,400V,T-1501,144.34 AMPS,DESTA, SSI 11104, Satellie store HT Yard, HT YArd Satellite stores | SER :T-1501 |  |  | URL NOT FOUND |  | DESTA | T-1501 | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 400 V | NUMBER OF PHASE | 3 | CURRENT RATING | 144.34 A | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:100 KVA,SSI 11104,SATELLIE STORE HT YARD,HT YARD SATELLITE STORES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060188388 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060188388 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,100VA-525V/110V | TRANSFORMER,100VA-525V/110V |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 525/110 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BURDEN POWER:100 VA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060244917 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060244917 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TRANSFORMER,10MVA | TRANSFORMER,10MVA,PRIMARY 22000V,SECONDARY 6600V,FREQUENCY 50HZ,VECTOR DYN11,COOLING ONAN,TAPPING: OFFLOAD CIRCUIT TAP CHANGER,TAPPI |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 22 KV PRIMARY,6.6 KV SECONDARY | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING | 50 HZ | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BURDEN POWER:10 MVA,VECTOR DYN11,COOLING ONAN,TAPPING:OFFLOAD CIRCUIT TAP CHANGER,TAPPI | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060243642 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060243642 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,11KV/550V,2000KVA,2MVA, | 2MVA TRANSFORMER 11KV/550V RECONDITION UNIT,2000KVA |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 11 KV/550 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BURDEN POWER:2 MVA,RECONDITION UNIT,POWER RATING:2000 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060232903 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060232903 | BHP1 | BHP Spares & Supplies | P1047 | Electrical machinery, motors, generators | EA | MAN2 | TRANSFORMER,1250KVA,11000/550VOLTS | 1250KVA 11000/550VOLTS TRANSFORMER |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 11 KV/550 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:1250 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060183477 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060183477 | BHP1 | BHP Spares & Supplies | 391210 | Power conditioning equipment | EA | MAN2 | TRANSFORMER,1500 KVA,6600/400 VOLT | TRANSFORMER, 1500 KVA, 6600/400 VOLT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 6.6 KV/400 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:1500 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060217641 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060217641 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSFORMER,1MVA,6600V/400V,MANUFACTU | TRANSFORMER, 1MVA, 6600V/400V, MANUFACTURED TO SANS 780, 3 PHASE, 50HZ,, OIL VOLUME 750 LITRE, VECTOR GROUP-DYN 11, 5 POSITION TAP CHANGER 105%, TO 95%, BOLT ON RADIATOR, FITTED WITH INDICATING THERMOMETER WITH ALARM, AND TRIPPING CONTACTS, FITTED WITH GAS ACTUATED TRIPPING RELAY, SUITABLE, FOR OUTDOOR USE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 6.6 KV/400 V | NUMBER OF PHASE | 3 | CURRENT RATING |  | FREQUENCY RATING | 50 HZ | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SANS 780 | ADDITIONAL FEATURES EN | BURDEN POWER:1 MVA,OIL VOLUME:750 L,VECTOR GROUP-DYN 11,5 POSITION TAP CHANGER 105 TO 95 PCT,BOLT ON RADIATOR,FITTED WITH INDICATING THERMOMETER WITH ALARM,AND TRIPPING CONTACTS,FITTED WITH GAS ACTUATED TRIPPING RELAY,SUITABLE,FOR OUTDOOR USE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060182856 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060182856 | BHP1 | BHP Spares & Supplies | P1045 | Electrical equipment & parts, switches, switchboards, barrie | EA | MAN2 | TRANSFORMER,25KVA 550V 380V | TRANSFORMER, 25KVA 550V 380V P/N ENCLM25KVA/TVR/525-380/CW | ENCLM25KVA/TVR/525-380/CW | 0019011466 | NORTHLITE ELECTRICAL | URL NOT FOUND |  | NORTHLITE ELECTRICAL | ENCLM25KVA/TVR/525-380/CW | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 380/550 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:25 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060246878 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060246878 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSFORMER,2MVA,6600V/400V,5TAP,PSP,EA | TRANSFORMER, 2MVA, 6600V/400V, 5 TAP POSITION, VSD APPLICATION TRANSFORMER, PSP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 6.6 KV/400 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BURDEN POWER:2 MVA,5 TAP POSITION,F/ VSD APPLICATION,PSP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060246879 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060246879 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSFORMER,3MVA,6600V/690V,5TAP,PSP,EA | TRANSFORMER, 3MVA, 6600V/690V, 5 TAP POSITION, VSD APPLICATION TRANSFORMER, PSP |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 6.6 KV/690 V | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BURDEN POWER:3 MVA,5 TAP POSITION,F/ VSD APPLICATION,PSP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060224243 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060224243 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSFORMER,525 VAC / 110 VAC 1KVA | TRANSFORMER,525 VAC / 110 VAC 1KVA,LIQUID STARTER BALL MILL PSP4 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 525/110 VAC | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:1 KVA,LIQUID STARTER BALL MILL PSP4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060249411 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060249411 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TRANSFORMER,800KVA,6.6KV,550V | TRANSFORMER,800KVA,6.6KV,550V | LPNS017883 | 0019011819 | Unknown | URL NOT FOUND |  |  | LPNS017883 | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 550 V/6.6 KV | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:800 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060226426 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060226426 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,CONTROL,1.5KVA 525/110V | TRANSFORMER,CONTROL, 1.5KVA 525/110V, ACDC, T-1500VA | 525/110V, ACDC, T-1500VA |  |  | https://www.acdc.co.za/products/1-ph-transformer-230-115v?variant=30484157196 |  | ACDC DYNAMICS | T-1500VA | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | CONTROL | VOLTAGE RATING | 110/525 V | NUMBER OF PHASE | 1 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:1.5 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060226425 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060226425 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,CONTROL,3KVA 220/110V | TRANSFORMER, CONTROL, 3KVA 220/110V, ACDC, T-3000VA | 220/110V, ACDC, T-3000VA |  |  | https://www.acdc.co.za/products/1-ph-transformer-special-voltage-20?variant=30484211852 |  | ACDC DYNAMICS | T-3000VA | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | CONTROL | VOLTAGE RATING | 220/110 V | NUMBER OF PHASE | 1 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:3 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060226424 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060226424 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,CONTROL,3KVA 525/230V | TRANSFORMER, CONTROL, 3KVA 525/230V, ACDC, T-3000VA | 3KVA 525/230V, ACDC, T-3000VA |  |  | https://www.acdc.co.za/products/1-ph-transformer-525-230v-12?variant=30484212044 |  | ACDC DYNAMICS | T-3000VA | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | CONTROL | VOLTAGE RATING | 525/230 V | NUMBER OF PHASE | 1 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:3 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060248165 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060248165 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TRANSFORMER,CONTROL,CLASS,B,,1PHASE,50VA | TRANSFORMER,CONTROL,CLASS,B,1PHASE,50VA,380-525V,48V,AN |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | CONTROL | VOLTAGE RATING | 380/525 V,48 V | NUMBER OF PHASE | 1 | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CLASS:B,BURDEN POWER:50 VA,AN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060177974 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060177974 | BHP1 | BHP Spares & Supplies | 391217 | Electrical hardware and supplies | EA | MAN2 | TRANSFORMER,CURRENT,1000/1A,30VA,5P20 (X | TRANSFORMER,CURRENT,1000/1A,30VA,5P20 (XDE476401-HLP), AS PER SSI 2999 |  |  |  | https://www.electricalvolt.com/2020/01/what-is-meaning-of-5p20-in-current-transformer/ |  | ABB SOUTH AFRICA (PTY) LTD | 5P20 |  |  | XDE476401-HLP | [8 empty] | CLEANSED | TRANSFORMER | CURRENT | TYPE |  | RATIO | 20:5 | VOLTAGE RATING |  | CURRENT RATING | 1000 A PRIMARY,1 A SECONDARY | ACCURACY |  | BURDEN POWER | 30 VA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2999 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060249216 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060249216 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | TRANSFORMER,CURRENT,24/50KV,RPC 50A,TYPE | TRANSFORMER,CURRENT,24/50KV,RPC 50A,TYPE 4606,CORE 1,RATIO 50/1,VA 10,CLASS 1,RESISTANCE 0.01,FURNACE 5 CAP YARD | 24/50KV | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | CURRENT | TYPE | RPC | RATIO | 50/1 | VOLTAGE RATING | 24/50 KV | CURRENT RATING | 50 A | ACCURACY | CL 1 | BURDEN POWER | 10 VA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60044-1 | ADDITIONAL FEATURES EN | TYPE:4606,CORE 1,RESISTANCE 0.01,FURNACE 5 CAP YARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060249218 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060249218 | BHP1 | BHP Spares & Supplies | 320000 | Electronic Components and Supplies | EA | MAN2 | TRANSFORMER,CURRENT,36/70KV,RPC 20A,TYPE | TRANSFORMER,CURRENT,36/70KV,RPC 20A,TYPE 4809,CORE 1,RATIO 20/5,VA 10,CLASS 10P10,RESISTANCE 0.01,FURNACE 6 CAP YARD | 36/70KV | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | CURRENT | TYPE | RPC | RATIO | 20/5 | VOLTAGE RATING | 36/70 KV | CURRENT RATING | 20 A | ACCURACY | CL 10P10 | BURDEN POWER | 10 VA | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE:4809,CORE 1,RESISTANCE:0.01,FURNACE 6 CAP YARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060218048 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060218048 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,CURRENT,36KV,1.2 RATING FACT | TRANSFORMER,CURRENT,36KV,1.2 RATING FACTOR,50HZ,ASEA, SSI 11106, Satellite store project, HT Yard | NO:6504 943 | 0019008516 | ASEA | URL NOT FOUND |  | ASEA | NO:6504 943 | [11 empty] | CLEANSED | TRANSFORMER | CURRENT | TYPE |  | RATIO |  | VOLTAGE RATING | 36 KV | CURRENT RATING |  | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING | 50 HZ | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1.2 RATING FACTOR,SSI 11106,SATELLITE STORE PROJECT,HT YARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060218859 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060218859 | BHP1 | BHP Spares & Supplies | 411136 | Electrical measuring equipment | EA | MAN2 | TRANSFORMER,CURRENT,36KV,1600-1200-600-3 | TRANSFORMER, CURRENT, TYPE LZZB8-35A, CL 0.5/5P10, 36kV, 1600-1200-600-300:1A, 15VA, 50Hz | LZZB8-35A |  |  | URL NOT FOUND |  |  | LZZB8-35A | [11 empty] | CLEANSED | TRANSFORMER | CURRENT | TYPE |  | RATIO | 1600-1200-600-300:1A | VOLTAGE RATING | 36 KV | CURRENT RATING |  | ACCURACY | CL 0.5/5P10 | BURDEN POWER | 15 VA | NUMBER OF PHASE |  | FREQUENCY RATING | 50 HZ | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060218860 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060218860 | BHP1 | BHP Spares & Supplies | 411136 | Electrical measuring equipment | EA | MAN2 | TRANSFORMER,CURRENT,36KV,600-300:1A,15VA | TRANSFORMER, CURRENT, TYPE LZZBW-35B1, CL 5P10, 36kV, 600-300:1A, 15VA, 50Hz | LZZBW-35B1 |  |  | URL NOT FOUND |  |  | LZZBW-35B1 | [11 empty] | CLEANSED | TRANSFORMER | CURRENT | TYPE |  | RATIO | 600-300:1A | VOLTAGE RATING | 36 KV | CURRENT RATING |  | ACCURACY | CL 5P10 | BURDEN POWER | 15 VA | NUMBER OF PHASE |  | FREQUENCY RATING | 50 HZ | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060218046 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060218046 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,CURRENT,BIL 36/70/200KV,1250 | TRANSFORMER,CURRENT,BIL 36/70/200KV,1250AMPS,1000/5A,50HZ, SSI 11107, Satellite store project, Ht yard | SER:CF-10194/1 | 0019003716 | ALSTOM | URL NOT FOUND |  | ALSTOM | SER:CF-10194/1 | [11 empty] | CLEANSED | TRANSFORMER | CURRENT | TYPE |  | RATIO | 1000/5 A | VOLTAGE RATING |  | CURRENT RATING | 1250 A | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING | 50 HZ | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BIL:36/70/200 KV,SSI 11107,SATELLITE STORE PROJECT,HT YARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060233852 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060233852 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,CURRENT,RESIDUAL | TRANSFORMER, CURRENT, RESIDUAL, CT, SIEMENS, 3UL2303-1A, FOR STANDARD MCC SIMOCODE DRIVE PANEL (BUCKET),BUSHING OPENING 55 MM RESIDU, NEW STOCK AS PER ESSI: 1505 | 3UL2303-1A | 0019011590 | SIEMENS | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/3UL2303-1A |  | SIEMENS | 3UL2303-1A | [11 empty] | ENRICHED | TRANSFORMER | CURRENT | TYPE | RESIDUAL | RATIO |  | VOLTAGE RATING | 690 V | CURRENT RATING | 30 MA-40 A | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE | RAIL | ENCLOSURE |  | SIZE | DIA 55 X WD 92 X HT 64 X DP 98 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 81346-2,DIN 40719,IEC 750,EN 61346-2,IEC 204-2,CCC,UL,EAC,CE,UKCA | ADDITIONAL FEATURES EN | CT,F/ STANDARD MCC SIMOCODE DRIVE PANEL(BUCKET),BUSHING OPENING 55 MM,NEW STOCK AS PER ESSI:1505 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060176535 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060176535 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,IGNITION,100 PERCENT DUTY C | TRANSFORMER,IGNITION,100 % DUTY CYCLE;230 VOLT;KROMSCHRODER, AS PER SSI 2420 | TZI 7,5-12/100 | 0019008748 | KROM SCHRODER | https://proflamm.com/en/burner/ignition-transformers/other-ignition-devices/kromschroeder-ign-transformer-tzi-7-5-12-100w.html | https://www.add-furnace.com/gas-control-system/tzi-7,5-12-100w-kromschroder.html | KROM SCHRODER | TZI 7,5-12/100 | [11 empty] | ENRICHED | TRANSFORMER | IGNITION | TYPE |  | PRIMARY VOLTAGE | 7.5 KV | SECONDARY VOLTAGE | 230 V | CURRENT RATING | 12 MA | POWER RATING | 5-12/100 W | NUMBER OF PHASE |  | FREQUENCY RATING | 50 HZ | TERMINAL TYPE |  | MOUNTING TYPE |  | ENCLOSURE |  | IGNITION TYPE |  | SIZE |  | INSULATION CLASS |  | COOLING TYPE |  | NUMBER OF TAPS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 100 PCT DUTY CYCLE,AS PER SSI 2420 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | PRODUCTION COMPLETED
000000000060226919 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060226919 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSFORMER,NER 63.5 OHM,525V 10A CONT | TRANSFORMER, NER 63.5 OHM, 525V 10A CONT, AIR COOLED, S/STEEL HOUSING C/W NEUTRAL CT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 525 V | NUMBER OF PHASE |  | CURRENT RATING | 10:00 | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NER 63.5 OHM,AIR COOLED,HOUSING MATERIAL:STAINLESS STEEL,C/W NEUTRAL CT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060215890 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060215890 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER,NEUTRAL EARTH COMPENSATOR,4. | TRANSFORMER,NEUTRAL EARTH COMPENSATOR,4.5 KVA,3 PHASE,33KV/6.6KV,FOR 200A EARTH FAULT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING | 33KV/6.6 KV | NUMBER OF PHASE | 3 | CURRENT RATING | 200 A | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEUTRAL EARTH COMPENSATOR,POWER RATING:4.5 KVA,F/ EARTH FAULT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060227623 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060227623 | BHP1 | BHP Spares & Supplies | 321310 | Electronic component parts and raw materials and accessories | EA | MAN2 | TRANSFORMER,PULL,SDCS-PIN-48-SD, | TRANSFORMER, PULL,SDCS-PIN-48-SD,, M3/M4 COMPENSATION RECTIFIER.ABB, AS PER ESSI (NEW) : 735, 3BSE004939R1012 | 3BSE004939R1012 | 0019011391 | ABB SOUTH AFRICA (PTY) LTD | https://new.abb.com/products/3BSE004939R1012/3bse004939r1012 |  | ABB SOUTH AFRICA (PTY) LTD | 3BSE004939R1012 |  |  | SDCS-PIN-48-SD | [8 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | PULSE | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | M3/M4 COMPENSATION RECTIFIER,AS PER ESSI (NEW):735 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060251900 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060251900 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TRANSFORMER,RECTIFIER,COME,WITH,PANEL | TRANSFORMER,RECTIFIER,COME,WITH,PANEL,TO,SUIT,SE7830CBMC,REF,ES31970 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | RECTIFIER | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W PANEL,TO SUIT SE7830CBMC,REF,ES31970 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060246505 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060246505 | BHP1 | BHP Spares & Supplies | 232100 | Electronic manufacturing machinery,equipment and accessories | EA | MAN2 | TRANSFORMER,RUE1500,EA | TRANSFORMER, RUE1500, SAVEWAY, EACH | ITEM00002004 | 0019011819 | Unknown | URL NOT FOUND |  |  | ITEM00002004 | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE |  | VOLTAGE RATING |  | NUMBER OF PHASE |  | CURRENT RATING |  | FREQUENCY RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SAVEWAY,PACKAGING TYPE:EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060253621 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060253621 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSFORMER,SIEMENS,3UL23021A,CURRENT | TRANSFORMER, SIEMENS, 3UL2302-1A, CURRENT RESIDUAL MONITORING BUSHING, OPENING 35MM, RESIDULA CURRENT 30M, 40A | 3UL2302-1A | 0019011819 | Unknown | URL NOT FOUND |  | SIEMENS | 3UL2302-1A | [11 empty] | ENRICHED | TRANSFORMER | CURRENT | TYPE | RESIDUAL | RATIO |  | VOLTAGE RATING | 690 V | CURRENT RATING | 30 MA-40 A | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING |  | MOUNTING TYPE | RAIL | ENCLOSURE |  | SIZE | DIA 35 X WD 70 X HT 64 X DP 75.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 81346-2,DIN 40719,IEC 750,EN 61346-2,IEC 204-2,CCC,UL,EAC,CE,UKCA | ADDITIONAL FEATURES EN | MONITORING BUSHING OPENING 35 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
000000000060172555 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060172555 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMER: 1000 KVA, 6600/400 VOLT, AU | TRANSFORMER: 1000 KVA, 6600/400 VOLT, AUXILIARY, P/AMP 87.48, S/AMP 1443.38, 50 HZ, 3 PHASE, DESTA POWER MARLA MODEL T3423/1, TRANSFORMER: 1000 KVA, 6600/400 VOLT, AUXILIARY, P/AMP 87.48, S/AMP, 1443.38, 50 HZ, 3 PHASE, DESTA POWER MARLA MODEL T3423/1 |  |  |  | URL NOT FOUND |  | DESTA POWER MARLA |  | T3423/1 | [10 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | AUXILIARY | VOLTAGE RATING | 6600/400 V | NUMBER OF PHASE | 3 | CURRENT RATING | 87.48 A PRIMARY,1443.38 A SECONDARY | FREQUENCY RATING | 50 HZ | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:1000 KVA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060247862 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060247862 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMERS,ELECTRICAL,HAWKER SIDDELEY | TRANSFORMERS, ELECTRICAL , HAWKER SIDDELEY TRANSFORMERS, 2500KVA, 3 PHASE, 5.56 IMPEDANCE VOLTAGE, 50HZ, O.N.A.N COOLING TYPE, 3570K | TS-8221/3 | 0019011819 | Unknown | URL NOT FOUND |  | HAWKER SIDDELEY | TS-8221/3 | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | O.N.A.N COOLING,ELECTRICAL | VOLTAGE RATING |  | NUMBER OF PHASE | 3 | CURRENT RATING |  | FREQUENCY RATING | 50 HZ | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:2500 KVA,IMPEDANCE VOLTAGE:5.56 OHM,3570 K | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
000000000060247861 | STP-005 | DATA ENRICHMENT | NEN | NEN | OK | 03-10-2022 | 10-10-2022 |  | 000000000060247861 | BHP1 | BHP Spares & Supplies | 391200 | Electrical equipment and components and supplies | EA | MAN2 | TRANSFORMERS,ELECTRICAL,HAWKER SIDDELEY | TRANSFORMERS, ELECTRICAL, HAWKER SIDDELEY TRANSFORMERS, 1250KVA, 3 PHASE, 5.57 IMPEDANCE VOLTAGE, 50HZ, O.N.A.N COOLING TYPE, 2230KG | T-8223/1 |  |  | URL NOT FOUND |  | HAWKER SIDDELEY | T-8223/1 | [11 empty] | CLEANSED | TRANSFORMER | NO MODIFIER | TYPE | O.N.A.N COOLING,ELECTRICAL | VOLTAGE RATING |  | NUMBER OF PHASE | 3 | CURRENT RATING |  | FREQUENCY RATING | 50 HZ | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWER RATING:1250 KVA,IMPEDANCE VOLTAGE:5.57 OHM,2230 KG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED