## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060229205 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060229205 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | SHAFT,CAM,LEFT HAND,37 INGOT | SHAFT, CAM, LEFT HAND, 37 INGOT TRAILER, PART NUMBER: 14/P000101, NEW STOCK AS PER ESSI : 1114, MUST BE MACHINED TO MFC STANDARD, 14/P000101 |  |  |  | URL Not Found |  |  | 14/P000101 | [5 empty] | 37 INGOT TRAILER | [5 empty] | Cleansed | SHAFT | CAM | TYPE | LEFT HAND | LIFTING HEIGHT |  | NUMBER OF LOBES |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI: 1114, MUST BE MACHINED TO MFC STANDARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060229681 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060229681 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | SHAFT,CAM,RIGHT HAND,37 INGOT,TRAILER | SHAFT,CAM, RIGHT HAND, 37 INGOT, TRAILER, 14/AP000102, NEW STOCK AS PER ESSI : 1113, 14/AP000102 |  |  |  | URL Not Found |  |  | 14/AP000102 | [5 empty] | 37 INGOT TRAILER | [5 empty] | Cleansed | SHAFT | CAM | TYPE | RIGHT HAND | LIFTING HEIGHT |  | NUMBER OF LOBES |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI: 1113 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060255008 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060255008 | BHP1 | BHP Spares & Supplies | 301030 | Shafting | EA | MAN2 | SHAFT,DANGO,CYLINDER,100MMDIA,705MM | SHAFT DANGO CYLINDER, 100MM DIA, 705MM LENGTH, MATERIAL BRIGHT STEEL, HOLE FOR M20 BOLT BOTH ENDS, HOLE TO BE 60MM DEEP, CHAMFER SHA |  |  |  | URL Not Found |  | DANGO | [12 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | CYLINDER | SIZE | DIA 100 X LG 705 MM | MATERIAL | BRIGHT STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAPE: CHAMFER, HOLE FOR M20 BOLT BOTH ENDS, HOLE TO BE 60 MM DEEP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060254481 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060254481 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | SHAFT,DRIVE,85MM,C6,C13,EA | SHAFT,DRIVE,85MM,DIA, DRG 315,21,5000-1007,C6,C13,EA |  | 0019008533 | BATEMAN ENGINEERING | URL Not Found |  | BATEMAN ENGINEERING | [9 empty] | 315,21,5000-1007,C6,C13 |  |  | Cleansed | SHAFT | NO MODIFIER | TYPE | DRIVE | SIZE | DIA 85 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060252302 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060252302 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SHAFT,DRIVE,REAR,K7621-12310 | SHAFT,DRIVE,REAR,K7621-12310 | K7621-12310 | 0019011819 | Unknown | https://www.kanequip.com/buy-parts/Kubota-Part-K7621-12310-SHAFTDRIVEREAR-7620308/ | https://www.messicks.com/report/topdf?name=ku-93499-235457-521875&url=https%3A%2F%2Fwww.messicks.com%2Freport%2Fcc_diagram%3FVendor%3Dku%26ModelId%3D93499%26diagramId%3D521875%26sectionId%3D235457%26sectionName%3DREAR%2520AXLE%26diagramName%3DD30800%2520REAR%2520DRIVE%2520SHAFT%2520%255BCOMPONENT%2520PARTS%255D | KUBOTA | K7621-12310 | [11 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | DRIVE, REAR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060239182 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060239182 | BHP1 | BHP Spares & Supplies | 411165 | Instrument parts and accessories | EA | MAN2 | SHAFT,ENCODER,ROTECH,PPE10NHD1GPB | INST,SHAFT,ENCODER,ROTECH,TYPE:PPE-10-N-HD-1G-PB |  |  |  | https://www.rotechsystems.co.za/wp-content/uploads/2019/04/10-Commissioning-and-Testing-Duplex.pdf |  | ROTECH | PPE-10-N-HD-1G-PB | [11 empty] | Enriched | ENCODER | NO MODIFIER | TYPE | HEAVY DUTY | INPUT RATING |  | OUTPUT RATING | 8.2 VDC, 3-5 MA | PULSES PER REVOLUTION | 10 | ACTUATION TYPE |  | ROTATION LIFE CYCLE |  | TERMINAL TYPE |  | OUTPUT CONFIGURATION | 2 WIRE | SIZE |  | MATERIAL | POLYPROPYLENE | ENCLOSURE |  | TEMPERATURE RATING | -25 TO 70 DEG C | MOUNTING TYPE | SHAFT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060186961 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060186961 | BHP1 | BHP Spares & Supplies | 321300 | Electronic hardware and component parts and accessories | EA | MAN2 | SHAFT,ENCODER,ROTECH,TYPE: PE-10-W-HD | SHAFT, ENCODER, ROTECH, TYPE: PE-10-W-HD, HEAVY DUTY, 10 PULSES PER REV, OUTPUT TYPE-W, 20-240 V, AS PER SSI 4324. |  |  |  | https://www.rotechsystems.co.uk/app/uploads/2017/10/installationcommissioningandtesting.pdf |  | ROTECH | PE-10-W-HD | [11 empty] | Enriched | ENCODER | NO MODIFIER | TYPE | HEAVY DUTY | INPUT RATING |  | OUTPUT RATING | 20-240 VAC/DC | PULSES PER REVOLUTION | 10 | ACTUATION TYPE |  | ROTATION LIFE CYCLE |  | TERMINAL TYPE |  | OUTPUT CONFIGURATION | 2 WIRE | SIZE |  | MATERIAL | POLYPROPYLENE | ENCLOSURE |  | TEMPERATURE RATING | -25 TO 70 DEG C | MOUNTING TYPE | SHAFT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 4324 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060186960 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060186960 | BHP1 | BHP Spares & Supplies | 321300 | Electronic hardware and component parts and accessories | EA | MAN2 | SHAFT,ENCODER,ROTECH,TYPE: PE-4-W-HD,HE | SHAFT,ENCODER,ROTECH,TYPE: PE-4-W-HD, HEAVY DUTY, 4 PULSES PER REV, OUTPUT TYPE-W, 20-240 V, AS PER SSI 4323 |  |  |  | https://www.rotechsystems.co.uk/app/uploads/2017/10/installationcommissioningandtesting.pdf |  | ROTECH | PE-4-W-HD | [11 empty] | Enriched | ENCODER | NO MODIFIER | TYPE | HEAVY DUTY | INPUT RATING |  | OUTPUT RATING | 20-240 VAC/DC | PULSES PER REVOLUTION | 4 | ACTUATION TYPE |  | ROTATION LIFE CYCLE |  | TERMINAL TYPE |  | OUTPUT CONFIGURATION | 2 WIRE | SIZE |  | MATERIAL | POLYPROPYLENE | ENCLOSURE |  | TEMPERATURE RATING | -25 TO 70 DEG C | MOUNTING TYPE | SHAFT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 4323 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060215120 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060215120 | BHP1 | BHP Spares & Supplies | 241000 | Material handling machinery and equipment | EA | MAN2 | SHAFT,EXTRUDER C/W SPIRALSET,LOCK NUT | SHAFT, EXTRUDER C/W SPIRALSET, LOCK NUT, BACK SEALING ARRANGEMENT,, GREASE WITH LGHB 2/18 SKF GREASE, WITH 1/8 GREASE NIPPLES ON BOTH, BEARING COMPARTMENTS, ACCORDING TO DRWG FV62D00 130 GENERAL ASSEMBLY,, FV62D00 133 SHAFT, FV62D00 139 - ALL SHEETS- SPIRAL BLADES, FV62D00 143, FIXING NUT, FV62D00 134 TO FV62D00 137 BACK SEALING SET, WITH F140, FENNAFLEX COUPLING HALVE AND 3525-70 TAPER LOCK TO SUIT, GLAND PACKING, INSTALLED,TO BE ASSEMBLED AS ONE UNIT FOR DELIVERY |  |  |  | URL Not Found | [11 empty] | FV62D00 130, FV62D00 133, FV62D00 139, FV62D00 143, FV62D00 134-FV62D00 137 |  |  | Cleansed | SHAFT | ASSEMBLY | TYPE | EXTRUDER | DIAMETER |  | LENGTH |  | END SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SPIRALSET, LOCK NUT, BACK SEALING ARRANGEMENT, GREASE W/LGHB 2/18 SKF GREASE, W/1/8 IN GREASE NIPPLES ON BOTH, BEARING COMPARTMENTS, GENERAL ASSEMBLY, SHAFT, ALL SHEETS SPIRAL BLADES, FIXING NUT, BACK SEALING SET, W/F140 FENNAFLEX COUPLING HALVE AND 3525-70 TAPER LOCK TO SUIT, GLAND PACKING, INSTALLED TO BE ASSEMBLED AS ONE UNIT FOR DELIVERY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060227440 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060227440 | BHP1 | BHP Spares & Supplies | 311700 | Bearings, bushings, wheels, and gears | EA | MAN2 | SHAFT,F45 CO GAS FANS | SHAFT AS PER DRAWING QMS-FRM-031 |  |  |  | URL Not Found | [11 empty] | QMS-FRM-031 |  |  | Cleansed | SHAFT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR F45 CO GAS FAN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060246570 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060246570 | BHP1 | BHP Spares & Supplies | P2570 | Water & sewage treatment | EA | MAN2 | SHAFT,FAN,EVAPCO,P/N 062-00852P,EA | SHAFT, FAN, EVAPCO COOLERS SERIAL NUMBER 03-4652, EACH | 062-000852P | 0019011819 | Unknown | URL Not Found |  | EVAPCO | 062-000852P | [5 empty] | COOLERS |  |  |  | 03-4652 |  | Cleansed | SHAFT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FAN, EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060224554 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060224554 | BHP1 | BHP Spares & Supplies | 301030 | Shafting | EA | MAN2 | SHAFT,FAN,PART NO, 065-00852PA | SHAFT, FAN, PART NO: 065-00852PA, MODEL NO: ATW 144-5M | 065-00852PA | 0019008661 | EVAPCO | URL Not Found |  | EVAPCO | 065-00852PA | [6 empty] | ATW 144-5M |  |  |  |  | Cleansed | SHAFT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FAN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060253910 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060253910 | BHP1 | BHP Spares & Supplies | 401017 | Cooling | EA | MAN2 | SHAFT,FAN,STRAIGHT,EVAPCO,PART,NO,065-08 | SHAFT FAN STRAIGHT, EVAPCO, PART NO 065-0852, MODEL NO ATW 144-3K-2, SERIAL NO 16-8180 |  |  |  | URL Not Found |  | EVAPCO | 065-0852 | [6 empty] | ATW 144-3K-2 |  |  | 16-8180 |  | Cleansed | SHAFT | NO MODIFIER | TYPE | STRAIGHT | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FAN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060162894 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060162894 | BHP1 | BHP Spares & Supplies | 401515 | Pumps | EA | MAN2 | SHAFT,HEAVY DUTY,2 PIECE,C FRAME,HYD | SHAFT, HEAVY DUTY, 2 PIECE, C FRAME, HYDROSEAL, C/W 2 X LOCK NUTS | 760370462 | 0019003215 | GARDNER-DENVER IND,USA [SUTORBILT D | URL Not Found |  | GARDNER-DENVER IND,USA [SUTORBILT D | 760370462 | [11 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | HEAVY DUTY, 2 PIECE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 2 X LOCK NUTS, FOR C FRAME HYDROSEAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060188081 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060188081 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | SHAFT,RESO LAB SCREEN DRIVE | SHAFT, RESO LAB SCREEN DRIVE | 2004-2-27-1 | 0019008780 | MAC'S ENGINEERING | URL Not Found |  | MAC'S ENGINEERING | 2004-2-27-1 | [11 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | DRIVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR RESO LAB SCREEN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060187783 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060187783 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | SHAFT,RESO 1.9 SCREEN DRIVE | RESO 1.9 SCREEN DRIVE | 96-684-0281 | 0019008780 | MAC'S ENGINEERING | URL Not Found |  | MAC'S ENGINEERING | 96-684-0281 | [11 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | DRIVE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR RESO 1.9 SCREEN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060173787 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060173787 | BHP1 | BHP Spares & Supplies | 301030 | Shafting | EA | MAN2 | SHAFT,ROTOR, D313340410-97,ROTOR BEARING | SHAFT,ROTOR, D313340410-97,ROTOR BEARING 11,MIXER,PSP 3 PELLETISING PLANT-MFC | P41 POSITION 41850-603329 | 0019002490 | OUTOTEC | URL Not Found |  | OUTOTEC | D313340410-97 |  |  | 41850-603329 |  |  | MIXER PSP 3 PELLETISING PLANT-MFC | [5 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | ROTOR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W ROTOR BEARING 11, POS: P41 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060232696 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060232696 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SHAFT,SIDE,ASSY,COMP,39158-1120,KAWASAKI | SIDE SHAFT ASSEMBLY COMPLETE, PN 39158-1120, KAWASAKI MULE | 39158-1120 | 0019011667 | WATER RITE MOTORCYCLES | https://www.partzilla.com/product/kawasaki/39158-1120 |  | KAWASAKI | 39158-1120 |  | WATER RITE MOTORCYCLES |  |  |  | MULE |  | KAWASAKI |  |  |  | Cleansed | SHAFT | ASSEMBLY | TYPE | DRIVE, SIDE | DIAMETER |  | LENGTH |  | END SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060255454 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060255454 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | SHAFT,SLEEVE,4/3D,316,S/S,BATTLEMAX | SHAFT,SLEEVE,4/3D,316,S/S,BATTLEMAX |  | 0019011819 | Unknown | URL Not Found |  | BATTLEMAX | [7 empty] | 4/3D |  |  |  |  | Cleansed | SLEEVE | SHAFT | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | LENGTH |  | MATERIAL | 316 STAINLESS STEEL | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060174036 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060174036 | BHP1 | BHP Spares & Supplies | 301030 | Shafting | EA | MAN2 | SHAFT,SOLID,1-7/16,BALTIMORE AIRCOIL,MOD | SHAFT,SOLID,1-7/16,BALTIMORE AIRCOIL,MODEL VXMI 27-3,PART ZB080685M6PA, AS PER SSI 2753 | ZB080685M6PA | 0019006997 | BALTIMORE AIRCOIL AUST PTY LTD | URL Not Found |  | BALTIMORE AIRCOIL AUST PTY LTD | ZB080685M6PA | [6 empty] | VXMI 27-3 | BALTIMORE AIRCOIL |  |  |  | Cleansed | SHAFT | NO MODIFIER | TYPE | SOLID | SIZE | DIA 1-7/16 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2753 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060231720 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060231720 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SHAFT,SPOOLING,77013266,RIG | SPOOLING SHAFT 77013266 DD210L & DD211L | 77013266 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik-parts?page=9749 |  | SANDVIK | 77013266 | [6 empty] | DD210L, DD211L |  |  |  |  | Cleansed | SHAFT | NO MODIFIER | TYPE | SPOOLING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060215787 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060215787 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | SHAFT,SWNGSTOCK,H42X32,EN19 CONDTO | SHAFT, SWINGSTOCK, H42X32, EN19 CONDITION T, C&E | EN19T | 0019008561 | C & E ENGINEERING | URL Not Found |  | C & E ENGINEERING | [12 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | SWINGSTOCK | SIZE |  | MATERIAL | ALLOY STEEL GRADE EN19T | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | H42X32 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060232178 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060232178 | BHP1 | BHP Spares & Supplies | 781801 | Vehicle maintenance and repair services | EA | MAN2 | SHAFT,TILT,CYL,ENAGACH | TILT CYL, SHAFT, FORKLIFT ENAGACH |  |  |  | URL Not Found | [8 empty] | FORKLIFT ENAGACH | [5 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | TILT CYLINDER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060254486 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060254486 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | SHAFT,TRAILING,70MM,C6,C13,EA | SHAFT,TRAILING,70MM,DIA,DRG 315,21,1000-1007,C6,C13,EA |  | 0019008533 | BATEMAN ENGINEERING | URL Not Found |  | BATEMAN ENGINEERING | [9 empty] | 315,21,1000-1007,C6,C13 |  |  | Cleansed | SHAFT | NO MODIFIER | TYPE | TRAILING | SIZE | DIA 70 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060241028 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060241028 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SHAFT,WHEEL,6MM,FLAP,9111400 | FLAP WHEEL 6MM SHAFT, PN 9111400 | 9111400 |  |  | URL Not Found |  |  | 9111400 | [11 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | FLAP WHEEL | SIZE | 6 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060241464 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060241464 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | SHAFT.3PCE,HIGH,LIFT,PUMP,B-5 | SHAFT.3PCE,HIGH,LIFT,PUMP,B-5 | 750410383 | 0019001137 | WEIR-ENVIROTECH | https://vr2.vortexauction.com/bidderschoice/auctions/9505-mining-and-commercial-sale-8_o/1146580-assortment-of-shafts-x12- |  | WEIR-ENVIROTECH | 750410383 | [11 empty] | Cleansed | SHAFT | PUMP | TYPE | 3 PIECE, HIGH LIFT | DIAMETER |  | LENGTH |  | END SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | B-5 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060168851 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 | Processed Based on Web Source | 000000000060168851 | BHP1 | BHP Spares & Supplies | 411145 | Mechanical instruments | EA | MAN2 | SHAFT: ENCODER,MAKE;ASM,P/N INCHAWS1-90- | SHAFT: ENCODER,MAKE;ASM,P/N "AWS1-90-420A" C/W CABLE CONNECTOR (EXCLUDING BRACKETS), AS PER SSI 1791 | AWS1-90-420A | 0019008881 | REDLAND | https://sensores-de-medida.es/wp-content/uploads/2017/08/asm_aws.pdf |  | AMS | AWS1-90-420A |  | REDLAND | [9 empty] | Enriched | SENSOR | NO MODIFIER | TYPE | ANALOG ANGLE, 2 WIRE | SENSING RANGE | 90 DEG | CONNECTION TYPE | 8-PIN MALE SOCKET | ELECTRICAL RATING | 0-10 V, 4-20 MA | ENCLOSURE | IP67 | MATERIAL | ALUMINUM/STAINLESS STEEL | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TORQUE: 1 NCM, SPEED: 10000 RPM, ROTATION: CLOCKWISE, W/SERVO FLANGE, C/W CABLE CONNECTOR (EXCLUDING BRACKETS), AS PER SSI 1791 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060000909 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060000909 | BHP1 | BHP Spares & Supplies | 301030 | Shafting | EA | MAN2 | SHAFTING, BLACK, 60MM DIA, 6M LONG, 070M | SHAFTING, BLACK, 60MM DIA, 6 METRE LONG, 070M55, TO BS 970 |  |  |  | URL Not Found | [14 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE |  | SIZE | DIA 60 MM X 6 M | MATERIAL | BLACK MEDIUM CARBON STEEL GRADE 070M55 | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 970 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060000823 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060000823 | BHP1 | BHP Spares & Supplies | 301030 | Shafting | M | MAN2 | SHAFTING, BRIGHT STEEL, 32MM DIA, 070M20 | SHAFTING, BRIGHT STEEL, 32MM DIA, 070M20 PEELED, TO BS 970 |  |  |  | URL Not Found | [14 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE |  | SIZE | DIA 32 MM | MATERIAL | PEELED BRIGHT STEEL GRADE 070M20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 970 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060000825 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060000825 | BHP1 | BHP Spares & Supplies | 301030 | Shafting | M | MAN2 | SHAFTING, BRIGHT STEEL, 40MM DIA, 070M20 | SHAFTING, BRIGHT STEEL, 40MM DIA, 070M20 PEELED, TO BS 970 |  |  |  | URL Not Found | [14 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE |  | SIZE | DIA 50 MM | MATERIAL | PEELED BRIGHT STEEL GRADE 070M20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 970 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060000832 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060000832 | BHP1 | BHP Spares & Supplies | 301030 | Shafting | M | MAN2 | SHAFTING, BRIGHT STEEL, 65MM DIA, 070M20 | SHAFTING, BRIGHT STEEL, 65MM DIA, 070M20 PEELED, TO BS 970 |  |  |  | URL Not Found | [14 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE |  | SIZE | DIA 65 MM | MATERIAL | PEELED BRIGHT STEEL GRADE 070M20 | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 970 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060232695 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060232695 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SHAFTS,DRIVE,39158-1119,KAWASAKI | DRIVE SHAFTS, PN 39158-1119, KAWASAKI MULE | 39158-1119 | 0019011667 | WATER RITE MOTORCYCLES | https://www.partzilla.com/product/kawasaki/39158-1119 |  | KAWASAKI | 39158-1119 |  | WATER RITE MOTORCYCLES |  |  |  | MULE | KAWASAKI |  |  |  |  | Cleansed | SHAFT | NO MODIFIER | TYPE | DRIVE, INSIDE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060213618 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060213618 | BHP1 | BHP Spares & Supplies | 301030 | Shafting | ST | MAN2 | SHAFTS,ROPE SHEAVE,TO SUIT VERLINDE 15 T | SHAFTS,ROPE SHEAVE,TO SUIT VERLINDE 15 TON ELECTRODE CRANE, AS PER SSI 5104. | VT0002477 | 0019003507 | VERLINDE | https://eurocrane.net.au/wp-content/uploads/2020/06/VT4-Wire-Rope-Hoist-Spare-Parts-Manual.pdf |  | VERLINDE | VT0002477 | [5 empty] | 15 TON ELECTRODE CRANE | [5 empty] | Cleansed | SET | NO MODIFIER | TYPE | SHAFT, ROPE SHEAVE | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN | AS PER SSI 5104 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060214681 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060214681 | BHP1 | BHP Spares & Supplies | 251738 | Drivetrain systems | EA | MAN2 | SLP JONT GROUP-DRVE SHAFT (CENTRE) | SLIP JOINT GROUP-DRIVE SHAFT (CENTRE), AS PER SSI 3444., CHANGE INTO NON ROTABLE AS PER "ESSI 72" | 3904797 | 0019000668 | CATERPILLAR EQUIPMENT CO | https://parts.cat.com/en/catcorp/390-4797 |  | CATERPILLAR EQUIPMENT CO | 3904797 | [11 empty] | Enriched | JOINT | NO MODIFIER | TYPE | SLIP, DRIVE SHAFT, CENTRE | SIZE | DIA 220.2 (SWING) X LG 602 (COMPRESSED) X LG 700 MM (EXPANDED) | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INCUDING U-JOINT, 1.71 M SHAFT, GROUP, AS PER SSI 3444, CHANGE INTO NON ROTABLE AS PER ESSI 72 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060255809 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060255809 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | STEERING WHEEL,SPLINED HUB,209-1007,RODD | STEERING WHEEL,SPLINED HUB,209-1007,RODDING CAR | 209-1007 | 0019011819 | Unknown | https://www.hydraulicstore.com/hydraulic/steering-units/steering-wheel/209-1007-char-lynn.html |  |  | 209-1007 | [5 empty] | RODDING CAR | [5 empty] | Enriched | STEERING WHEEL | NO MODIFIER | TYPE | SPLINED HUB | DIAMETER | 17 IN | HUB SIZE |  | MATERIAL |  | GRIP MATERIAL |  | SPOKE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060231091 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060231091 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TORQ CONV,OUTPUT SHAFT UV-852292920/2 | TORQUE CONVERTER,OUTPUT SHAFT UV-852292920/2 | UV-852292920/2 | 0019011370 | AARD MINING | URL Not Found |  | AARD MINING | UV-852292920/2 | [11 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | OUTPUT, TORQUE CONVERTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060254177 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060254177 | BHP1 | BHP Spares & Supplies | 251719 | Wheels and wheel trims | EA | MAN2 | TRIPPER CAR 003, SHAFT C/W WHEELS, FRONT | TRIPPER CAR 003, SHAFT C/W WHEELS, FRONT, COMPLETE ASSEMBLED |  |  |  | URL Not Found | [8 empty] | TRIPPER CAR 003 | [5 empty] | Cleansed | SHAFT | ASSEMBLY | TYPE | FRONT | DIAMETER |  | LENGTH |  | END SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W WHEELS, COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060253945 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060253945 | BHP1 | BHP Spares & Supplies | 251719 | Wheels and wheel trims | EA | MAN2 | TRIPPER CAR 003, SHAFT C/W WHEELS, REAR, | TRIPPER CAR 003, SHAFT C/W WHEELS, REAR, COMPLETE ASSEMBLED |  |  |  | URL Not Found | [8 empty] | TRIPPER CAR 003 | [5 empty] | Cleansed | SHAFT | ASSEMBLY | TYPE | REAR | DIAMETER |  | LENGTH |  | END SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W WHEELS, COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060253946 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060253946 | BHP1 | BHP Spares & Supplies | 251719 | Wheels and wheel trims | EA | MAN2 | TRIPPER CAR 022, SHAFT C/W WHEELS, REAR, | TRIPPER CAR 022, SHAFT C/W WHEELS, REAR, COMPLETE ASSEMBLED |  |  |  | URL Not Found | [8 empty] | TRIPPER CAR 002 | [5 empty] | Cleansed | SHAFT | ASSEMBLY | TYPE | REAR | DIAMETER |  | LENGTH |  | END SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W WHEELS, COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060243018 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060243018 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | TRIPPER CAR,SHAFT C/W WHEELS, 1996X100,I | TRIPPER CAR,SHAFT C/W WHEELS, 1996X100,ITEM5, COMPLETE ASSEMBLED |  |  |  | URL Not Found | [8 empty] | TRIPPER CAR |  |  |  |  | 5 | Cleansed | SHAFT | ASSEMBLY | TYPE |  | DIAMETER | 100 MM | LENGTH | 1.996 M | END SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W WHEELS, COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060243017 | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-07 | 2022-10-08 |  | 000000000060243017 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | TRIPPER CAR,SHAFT C/W WHEELS,2136X100,IT | TRIPPER CAR,SHAFT C/W WHEELS,2136X100 ITEM 6 ASSEMBLED COMPLETE |  |  |  | URL Not Found | [8 empty] | TRIPPER CAR |  |  |  |  | 6 | Cleansed | SHAFT | ASSEMBLY | TYPE |  | DIAMETER | 100 MM | LENGTH | 2.136 M | END SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W WHEELS, COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed