## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060229001 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060229001 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | JAW,SWING,SMOOTH 21PERCENT,36IN X 25IN D | JAW,SWING,SMOOTH 21%,36IN X 25IN DTRB CRUSHER H3625JSSSP18 | H3625JSSSP18 |  |  | URL NOT FOUND |  |  | H3625JSSSP18 | [5 empty] | 36 X 25 IN DTRB CRUSHER | [5 empty] | CLEANSED | JAW | NO MODIFIER | TYPE | SWING, SMOOTH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 21 PCT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060162408 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060162408 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | JAW,SWING,SOLID,48IN X 12IN STRB CRUSHER | JAW,SWING,SOLID,48IN X 12IN STRB CRUSHER,EXPLO-CLADDED C/W CERTIFICATES, JAWS MUST BE DELIVERED TO SITE ALREADY EXPLO-CLADDED!, AS PER STOCK REQUEST SSI 1802-JAWS MUST BE DELIVERED TO SITE, SITE ALREADY BLASTED | PC138 | 0019000000 | 1069 | URL NOT FOUND |  |  | PC138 | [5 empty] | 48 X 12 IN STRB CRUSHER | [5 empty] | CLEANSED | JAW | NO MODIFIER | TYPE | SWING, SOLID | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CERTIFICATES, JAWS MUST BE DELIVERED TO SITE ALREADY EXPLO-CLADDED, AS PER STOCK REQUEST SSI 1802-JAWS MUST BE DELIVERED TO SITE, SITE ALREADY BLASTED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060226670 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060226670 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | JAW,SWNG,SMOOTH,21PERCENT MG,30N X 20N S | JAW,SWING,SMOOTH,21% MG,30IN X 20IN STRB CRUSHER,EXPLO-CLADDED C/W CERTIFICATES, NEW STOCK AS PER ESSI "637". | RB34/12 | 0019002485 | OSBORN | URL NOT FOUND |  | OSBORN | RB34/12 | [5 empty] | 30 X 20 IN STRB CRUSHER | [5 empty] | CLEANSED | JAW | NO MODIFIER | TYPE | SWING, SMOOTH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 21 PCT MAGNESIUM, EXPLO-CLADDED C/W CERTIFICATES, NEW STOCK AS PER ESSI 637 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060173163 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060173163 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | MAINFRAME, JAW CRUSHER, 36 X 25 DOUBLE T | MAINFRAME, JAW CRUSHER, 36 X 25 DOUBLE TOGGLE ROLLER BEARINGS | MRB38/1/FM | 0019002485 | OSBORN | URL NOT FOUND |  | OSBORN | MRB38/1/FM | [5 empty] | 36 X 25 IN DOUBLE TOGGLE JAW CRUSHER | [5 empty] | CLEANSED | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | BORE SHAPE |  | NUMBER OF ROWS |  | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR MAINFRAME | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060180495 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060180495 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | PIMAN STATIONARY JAW CLAMP | KEEGOR 127X 76MM(5"X 3" ) JAW CRUSHER DRAWING NO. 008-01-000-A STATIONARY JAW CLAMP | 008-01-040 | 0019011544 | KEEGOR | https://www.salvex.com/listings/listing_detail.cfm/?aucID=182984859 |  | KEEGOR | 008-01-040 | [5 empty] | 127 X 76 MM(5 X 3 IN) JAW CRUSHER |  |  | 008-01-000-A |  |  | CLEANSED | CLAMP | NO MODIFIER | TYPE | STATIONARY JAW | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060180491 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060180491 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | PITMAN JAW CLAMP BOLT 008-01-024 | KEEGOR 127X 76MM(5"X 3" ) JAW CRUSHER DRAWING NO. 008-01-000-A PITMAN JAW CLAMP BOLTS | 008-01-024 | 0019011544 | KEEGOR | URL NOT FOUND |  | KEEGOR | 008-01-024 | [5 empty] | 127X 76 MM(5 X 3 IN) JAW CRUSHER |  |  | 008-01-000-A |  |  | CLEANSED | BOLT | NO MODIFIER | TYPE | PITMAN, JAW CLAMP | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060180492 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060180492 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | PITMAN JAW CLAMP BOLT 008-01-025 | KEEGOR 127X 76MM(5"X 3" ) JAW CRUSHER DRAWING NO. 008-01-000-A PITMAN JAW CLAMP | 008-01-025 | 0019011544 | KEEGOR | https://www.salvex.com/listings/listing_detail.cfm/?aucID=182984859 |  | KEEGOR | 008-01-025 | [5 empty] | 127X 76 MM(5 X 3 IN) JAW CRUSHER |  |  | 008-01-000-A |  |  | CLEANSED | CLAMP | NO MODIFIER | TYPE | PITMAN, JAW | CAPACITY |  | SIZE |  | MATERIAL |  | CLAMPING PRESSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060180501 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060180501 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | PR | MAN2 | PITMAN MANGANESE STEEL JAW PLATES | KEEGOR 127X 76MM(5"X 3" ) JAW CRUSHER DRAWING NO. 008-01-000-A MANGANESE STEEL JAW PLATES | 008-01-027 | 0019011544 | KEEGOR | https://www.salvex.com/listings/listing_detail.cfm/?aucID=182984859 |  | KEEGOR | 008-01-027 | [5 empty] | 127X 76 MM(5 X 3 IN) JAW CRUSHER |  |  | 008-01-000-A |  |  | CLEANSED | PLATE | NO MODIFIER | TYPE | JAW | SIZE |  | MATERIAL | MANGANESE STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060173164 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060173164 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | PITMAN, JAW CRUSHER, 36 X 25 DOUBLE TOG | PITMAN, JAW CRUSHER, 36 X 25 DOUBLE TOGGLE ROLLER BEARINGS | MRB38/9AM | 0019002485 | OSBORN | URL NOT FOUND |  | OSBORN | MRB38/9AM | [5 empty] | 36 X 25 IN DOUBLE TOGGLE JAW CRUSHER | [5 empty] | CLEANSED | BEARING | ROLLER | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | BORE SHAPE |  | NUMBER OF ROWS |  | CAGE MATERIAL |  | BEARING SERIES |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | SPEED RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PITMAN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060181478 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060181478 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | JOINT FILLER MIXING PAN, MIXER | JOINT FILLER, MIXING PAN, EIRICH MIXER TYPE: DW 29/4 CONTI, MACH, INE NUMBER: 29368, H BIRKENMAYER | 005219 | 0019011567 | H. BICKENMAYER (PTY) LTD | URL NOT FOUND |  | H. BICKENMAYER (PTY) LTD | 005219 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | PAN | NO MODIFIER | TYPE | MIXING, JOINT FILLER | CAPACITY |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE: DW 29/4 CONTI, MACHINE NUMBER: 29368 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060167887 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060167887 | BHP1 | BHP Spares & Supplies | 121633 | Expanding agents | EA | MAN2 | JOINT, EXPANSION: LINK FLEX,50 MM,DIN 10 | JOINT, EXPANSION: LINK FLEX,50 MM,DIN 10 16K |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | JOINT | EXPANSION | TYPE | LINK FLEX | NOMINAL SIZE | 50 MM | LENGTH |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | AXIAL COMPRESSION |  | AXIAL EXTENSION |  | LATERAL DEFLECTION |  | ANGULAR DEFLECTION |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIN 10 16K | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060225826 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060225826 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | JOINT, VIBOL (9003255) | JOINT, VIBOL (9003255) | 9003255 | 0019011370 | AARD MINING | URL NOT FOUND |  | AARD MINING | 9003255 | [11 empty] | CLEANSED | JOINT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VIBOL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060218053 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060218053 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | KIT | MAN2 | JOINT,CABLE,11KV,120 - 300 SQMM,3 CORE X | JOINT,CABLE,11KV,120 - 300 SQMM,3 CORE XLPE,STEEL WIRE ARMOURING, SSI 11110, HT Yard | SXSW 3321/SA | 0019005738 | POWERTECH | URL NOT FOUND |  | POWERTECH | SXSW 3321/SA | [11 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | JOINT | VOLTAGE RATING | 11 KV | CURRENT RATING |  | CONDUCTOR SIZE | 120-300 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | XLPE | FILLER MATERIAL |  | ARMOR TYPE | STEEL WIRE | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI 11110, HT YARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060218051 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060218051 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | KIT | MAN2 | JOINT,CABLE,11KV,25 - 95 SQMM,3 CORE XLP | JOINT,CABLE,11KV,25 - 95 SQMM,3 CORE XLPE,STEEL WIRE ARMOURING, SSI 11109, HT Yard | SXSW 3311/SA | 0019005738 | POWERTECH | URL NOT FOUND |  | POWERTECH | SXSW 3311/SA | [11 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | JOINT | VOLTAGE RATING | 11 KV | CURRENT RATING |  | CONDUCTOR SIZE | 25-95 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | XLPE | FILLER MATERIAL |  | ARMOR TYPE | STEEL WIRE | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI 11109, HT YARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060218049 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060218049 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | KIT | MAN2 | JOINT,CABLE,36KV,185 - 500 SQMM,1 CORE X | JOINT,CABLE,36KV,185 - 500 SQMM,1 CORE XLPE,UNAMOURED,OUTDOOR COMPLETE WITH SHIELD EARTHING, SSI 11109, HT YArd |  | 0019005738 | POWERTECH | URL NOT FOUND |  | POWERTECH | [12 empty] | CLEANSED | CABLE | ELECTRICAL | TYPE | JOINT, OUTDOOR | VOLTAGE RATING | 36 KV | CURRENT RATING |  | CONDUCTOR SIZE | 185-500 MM2 | NUMBER OF CONDUCTORS | 1 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL | XLPE | FILLER MATERIAL |  | ARMOR TYPE | UNAMOURED | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SHIELD EARTHING, SSI 11109, HT YARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060214170 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060214170 | BHP1 | BHP Spares & Supplies | 311631 | Connectors | EA | MAN2 | JOINT,EXPANSION,COPPERHEAD RAIL,VAHLE | JOINT,EXPANSION,COPPERHEAD RAIL,VAHLE, AS PER SSI 3902. | 5X135/100 | 0019003477 | VAHLE GMBH & CO,W.GERMANY | URL NOT FOUND |  | VAHLE GMBH & CO,W.GERMANY | 5X135/100 | [11 empty] | CLEANSED | JOINT | EXPANSION | TYPE |  | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | PRESSURE CLASS/RATING |  | AXIAL COMPRESSION |  | AXIAL EXTENSION |  | LATERAL DEFLECTION |  | ANGULAR DEFLECTION |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COPPERHEAD RAIL, VAHLE, AS PER SSI 3902 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060251390 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060251390 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | JOINT,KIT,11KV,XLPE,3CORE,25MMTO95MM | JOINT,KIT,11KV,XLPE,3CORE,25MMTO95MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE | JOINT | TERMINATION TYPE |  | VOLTAGE RATING | 11 KV | NUMBER OF CORES | 3 | CONDUCTOR SIZE | 25-95 MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL: CROSS-LINKED POLYETHYLENE (XLPE) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251391 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060251391 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | JOINT,KIT,11KV,XLPE,3CORE,70MMTO240MM | JOINT,KIT,11KV,XLPE,3CORE,70MMTO240MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE | JOINT | TERMINATION TYPE |  | VOLTAGE RATING | 11 KV | NUMBER OF CORES | 3 | CONDUCTOR SIZE | 70-240 MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL: CROSS-LINKED POLYETHYLENE (XLPE) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251393 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060251393 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | JOINT,KIT,33KV,3CORE,XLPE,120MMTO300MM | JOINT,KIT,33KV,3CORE,XLPE,120MMTO300MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE | JOINT | TERMINATION TYPE |  | VOLTAGE RATING | 33 KV | NUMBER OF CORES | 3 | CONDUCTOR SIZE | 120-300 MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL: CROSS-LINKED POLYETHYLENE (XLPE) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251394 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060251394 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | JOINT,KIT,33KV,XLPE,1CORE,120MMTO300MM | JOINT,KIT,33KV,XLPE,1CORE,120MMTO300MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE | JOINT | TERMINATION TYPE |  | VOLTAGE RATING | 33 KV | NUMBER OF CORES | 1 | CONDUCTOR SIZE | 120-300 MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL: CROSS-LINKED POLYETHYLENE (XLPE) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251392 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060251392 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | JOINT,KIT,33KV,XLPE,3CORE,70MMTO240MM | JOINT,KIT,33KV,XLPE,3CORE,70MMTO240MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE | JOINT | TERMINATION TYPE |  | VOLTAGE RATING | 33 KV | NUMBER OF CORES | 3 | CONDUCTOR SIZE | 70-240 MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL: CROSS-LINKED POLYETHYLENE (XLPE) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060230363 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060230363 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | JOINT,VIBOL 9003255 | JOINT, VIBOL 9003255 | 9003255 | 0019011370 | AARD MINING | URL NOT FOUND |  | AARD MINING | 9003255 | [11 empty] | CLEANSED | JOINT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VIBOL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060108622 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060108622 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, CORK, 2.5MM X 300MM X 914MM, N | JOINTING, CORK, 2.5MM X 300MM X 914MM, NITRILE BONDED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 2.5 MM | MATERIAL | NITRILE BONDED CORK | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 914 X 300 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002074 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002074 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, CORK, 3MM X 1000MM X 1000MM, N | JOINTING, CORK, 3MM X 1000MM X 1000MM, NITRILE BONDED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 3 MM | MATERIAL | NITRILE BONDED CORK | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 1000 X 1000 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002073 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002073 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, CORK, 3MM X 1000MM X 1000MM, N | JOINTING, CORK, 3MM X 1000MM X 1000MM, NITRILE BONDED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 3 MM | MATERIAL | NITRILE BONDED CORK | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 1000 X 1000 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002076 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002076 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, CORK, 6MM X 1000MM X 1000MM, N | JOINTING, CORK, 6MM X 1000MM X 1000MM, NITRILE BONDED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 6 MM | MATERIAL | NITRILE BONDED CORK | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 1000 X 1000 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002075 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002075 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, CORK, 6MM X 1000MM X 1000MM, N | JOINTING, CORK, 6MM X 1000MM X 1000MM, NITRILE BONDED |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 6MM | MATERIAL | NITRILE BONDED CORK | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 1000 X 1000 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002077 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION, DIMENSIONS CONSIDER FROM LONG DESCRIPTION, CONFLICT W.R.T TO SHORT DESCRIPTION | 000000000060002077 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, CORK, 6MM X 1200MM X 1200MM | JJOINTING, CORK, 6MM X 1000MM X 1000MM, JOINTING, CORK, 6MM X 1000MM X 1000MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 6 MM | MATERIAL |  | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 1000 X 1000 MM, CORK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002085 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002085 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, NON ASBESTOS, 1.2MM X 1500MM X | JOINTING, NON ASBESTOS, 1.2MM X 1500MM X 1500MM, TYPE J80, TO BS 2815, GRADE, BESTOBELL |  |  |  | URL NOT FOUND |  | BESTOBELL | [12 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 1.2 MM | MATERIAL | NON ASBESTOS | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS 2815 | ADDITIONAL FEATURES EN | SIZE: 1500 X 1500 MM, TYPE: J80 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002086 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002086 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, NON ASBESTOS, 1.6MM X 1500MM X | JOINTING, NON ASBESTOS, 1.6MM X 1500MM X 1500MM, TYPE J56, BESTOBELL |  |  |  | URL NOT FOUND |  | BESTOBELL | [12 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 1.6 MM | MATERIAL | NON ASBESTOS | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 1500 X 1500 MM, TYPE: J56 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002084 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002084 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, NON ASBESTOS, 1.6MM X 1500MM X | JOINTING, NON ASBESTOS, 1.6MM X 1500MM X 1500MM, TYPE J59, BESTOBELL |  |  |  | URL NOT FOUND |  | BESTOBELL | [12 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 1.6 MM | MATERIAL | NON ASBESTOS | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 1500 X 1500 MM, TYPE: J59 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002091 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002091 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, NON ASBESTOS, 3MM X 1500MM X 2 | JOINTING, NON ASBESTOS, 3MM X 1500MM X 2000MM, KL | 3 JMP TESNIT1500 X 2000 | 0019011414 | JOHN MOFFAT | URL NOT FOUND |  | JOHN MOFFAT | 3 JMP TESNIT | [11 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 3 MM | MATERIAL | NON ASBESTOS | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 2000 X 1500 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002068 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002068 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | M | MAN2 | JOINTING, VEGETABLE FIBRE, 0.4MM THICK, | JOINTING, VEGETABLE FIBRE, 0.4MM THICK, 1000MM WIDE, TO ASTM F104/SAE, J90 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 0.4 MM | MATERIAL | VEGETABLE FIBRE | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ASTM F104/SAE J90 | ADDITIONAL FEATURES EN | SIZE: WD 1000 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002067 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002067 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, VEGETABLE FIBRE, 0.4MM X 900MM | JOINTING, VEGETABLE FIBRE, 0.4MM X 900MM X 900MM, TO ASTM F104/SAE J90 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 0.4 MM | MATERIAL | VEGETABLE FIBRE | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ASTM F104/SAE J90 | ADDITIONAL FEATURES EN | SIZE: 900 X 900 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002069 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002069 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING, VEGETABLE FIBRE, 0.8MM X 914MM | JOINTING, VEGETABLE FIBRE, 0.8MM X 914MM X 914MM, TO ASTM F104/SAE J90 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 0.8 MM | MATERIAL | VEGETABLE FIBRE | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ASTM F104/SAE J90 | ADDITIONAL FEATURES EN | SIZE: 914 X 914 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060002071 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060002071 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | M | MAN2 | JOINTING, VEGETABLE FIBRE, 1.6MM THICK, | JOINTING, VEGETABLE FIBRE, 1.6MM THICK, 1000MM WIDE, TO ASTM F104/SAE, J90 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 1.6 MM | MATERIAL | VEGETABLE FIBRE | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ASTM F104/SAE J90 | ADDITIONAL FEATURES EN | SIZE: WD 1000 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060177801 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | NM ASSIGNED BASED ON MATERIAL GROUP DESCRIPTION | 000000000060177801 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | JOINTING,NON ASBESTOS,GASKET,1.5MM TH | JOINTING, NON ASBESTOS, GASKET, 1.5MM THICK X 1500MM X 2000MM, KLINGERIT 203, KLINGER |  |  |  | URL NOT FOUND |  | KLINGER | KLINGERIT 203 | [11 empty] | CLEANSED | GASKET | NO MODIFIER | TYPE | JOINTING | NOMINAL SIZE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 1.5 MM | MATERIAL | NON ASBESTOS | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: 2000 X 1500 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060121839 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060121839 | BHP1 | BHP Spares & Supplies | 261116 | Power generators | EA | MAN2 | ROSE JOINT, 10MM, AXIOM, MODIFIED STOKER | ROSE JOINT, 10MM, AXIOM, MODIFIED STOKER, DANGO |  |  |  | URL NOT FOUND |  | DANGO DIENENTHAL | [12 empty] | CLEANSED | JOINT | NO MODIFIER | TYPE | ROSE | 10 MM |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AXIOM, MODIFIED STOKER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060174212 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060174212 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SWIVEL JOINT, 7.4 GHH 59003587 | SWIVEL JOINT, 7.4 GHH 59003587 | 59003587 | 0019011379 | GHH MINING MACHINES | URL NOT FOUND |  | GHH MINING MACHINES | 59003587 | [6 empty] | GHH 7.4 |  |  |  |  | CLEANSED | JOINT | SWIVEL | TYPE |  | SIZE |  | END CONNECTION |  | CASING THREAD |  | SLEEVE THREAD |  | MATERIAL |  | SEAL MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060214683 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060214683 | BHP1 | BHP Spares & Supplies | 251738 | Drivetrain systems | EA | MAN2 | UNIVERSAL JOINT GROUP-DRIVE SHAFT (FRONT | UNIVERSAL JOINT GROUP-DRIVE SHAFT (FRONT), AS PER SSI 3446., CHANGE INTO NON ROTABLE AS PER "ESSI 74" | 329-9658 | 0019000668 | CATERPILLAR EQUIPMENT CO | https://parts.cat.com/en/catcorp/329-9658 |  | CATERPILLAR EQUIPMENT CO | 329-9658 | [11 empty] | ENRICHED | JOINT | UNIVERSAL | TYPE | GROUP-DRIVE SHAFT, FRONT | BORE DIAMETER |  | HUB SIZE |  | OVERALL LENGTH | 668.6 MM | NUMBER OF JOINTS |  | MATERIAL | STEEL | SPEED RATING |  | TORQUE RATING |  | CENTER SPACING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 3446, CHANGE INTO NON ROTABLE AS PER ESSI 74 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060214682 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060214682 | BHP1 | BHP Spares & Supplies | 251738 | Drivetrain systems | EA | MAN2 | UNVERSAL JONT GROUP-DRVE SHAFT (REAR) | UNIVERSAL JOINT GROUP-DRIVE SHAFT (REAR), AS PER SSI 3445., CHANGE INTO NON ROTABLE AS PER "ESSI 73" | 125-8808 | 0019000668 | CATERPILLAR EQUIPMENT CO | https://parts.cat.com/en/catcorp/125-8808 |  | CATERPILLAR EQUIPMENT CO | 125-8808 | [11 empty] | ENRICHED | JOINT | UNIVERSAL | TYPE | GROUP-DRIVE SHAFT, REAR | BORE DIAMETER |  | HUB SIZE |  | OVERALL LENGTH | 117 MM | NUMBER OF JOINTS |  | MATERIAL | STEEL | SPEED RATING |  | TORQUE RATING |  | CENTER SPACING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 3445, CHANGE INTO NON ROTABLE AS PER ESSI 73 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060219493 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060219493 | BHP1 | BHP Spares & Supplies | 151200 | Lubricants, oils, greases and anti-corrosives | EA | MAN2 | LUBRCATOR,SAL250,C/W ROCOL AQUA 2 GRE | LUBRICATOR, SAL250, C/W ROCOL AQUA 2 GREASE, PRODUCT SAL250-LUB-AQUA2 |  |  |  | URL NOT FOUND |  |  | SAL250-LUB-AQUA2 | [11 empty] | CLEANSED | LUBRICATOR | NO MODIFIER | TYPE |  | CAPACITY |  | PORT SIZE |  | FLOW RATING |  | OPERATING PRESSURE |  | OPERATING TEMPERATURE |  | HOUSING MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W ROCOL AQUA 2 GREASE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060231632 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060231632 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LUBRICANT,BEAD - T4,5L | PARTS TO REPAIR TIRES |  |  |  | https://vsi.co.za/t4-bead-lube/ |  |  | BEAD - T4 | [11 empty] | CLEANSED | LUBRICANT | NO MODIFIER | TYPE |  | GRADE |  | CONTAINER | 5 L | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PARTS TO REPAIR TIRES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060216975 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060216975 | BHP1 | BHP Spares & Supplies | 151215 | Lubricating preparations | EA | MAN2 | LUBRICANT,CONTACT,ELECTRICAL,1010,NGLI3, | LUBRICANT,CONTACT,ELECTRICAL,1010,NGLI3,SPANJAARD |  |  |  | https://www.spanjaard.biz/product/electrical-contact-lubricant-1010/ | https://www.tokopedia.com/pusat-isolasi/spanjaard-electrical-contact-lubricant-1010-nlgi-3 | SPANJAARD | 1010 NLGI 3 | [11 empty] | CLEANSED | LUBRICANT | NO MODIFIER | TYPE | ELECTRICAL CONTACT | GRADE |  | CONTAINER |  | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060243786 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 | SUITABLE NM NOT FOUND | 000000000060243786 | BHP1 | BHP Spares & Supplies | 261015 | Engines | EA | MAN2 | LUBRICAT,OIL,LINE | LUBRICAT, OIL, LINE | 4238626 | 0019008613 | DEUTZ ENGINES | https://www.dieseldash.com/DEU-4238626-deutz-lubrication-oil-line |  | DEUTZ ENGINES | 4238626 | [74 empty] | Production Completed
000000000060121243 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060121243 | BHP1 | BHP Spares & Supplies | 151215 | Lubricating preparations | CN | MAN2 | LUBRICATING FLUID, GLYCERINE, PUMP, BRED | LUBRICATING FLUID, GLYCERINE, PUMP, BREDEL, 5L CAN, "MSDS 0177" | SP000-004 | 0019000554 | BREDEL PUMPS | URL NOT FOUND |  | BREDEL PUMPS | SP000-004 | [11 empty] | CLEANSED | LUBRICANT | NO MODIFIER | TYPE | FLUID | GRADE |  | CONTAINER | 5 L CAN | COMPOSITION | GLYCERINE | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MSDS 0177 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060145471 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060145471 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | LUBRICATION STICK, CRANE WHEEL, GRAPHITE | LUBRICATION STICK, CRANE WHEEL, GRAPHITE, TRANS LUBE | 66031 | 0019002697 | R9 | https://www.electriccraneandhoist.com/product_p/66031.htm |  |  | 66031 | [11 empty] | CLEANSED | STICK | NO MODIFIER | TYPE | TRANSLUBE LUBRICATING | SIZE |  | MATERIAL | GRAPHITE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CRANE WHEEL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060228836 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060228836 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | LUBRICATION,SYSTEM,DISTRIBUTION BLOCK | LUBRICATION, SYSTEM, DISTRIBUTION BLOCK |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | BLOCK | NO MODIFIER | TYPE | DISTRIBUTION, LUBRICATION SYSTEM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060147713 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060147713 | BHP1 | BHP Spares & Supplies | 151215 | Lubricating preparations | EA | MAN2 | LUBRICATOR, AUTO DRAIN, 1/2", NORGREN | LUBRICATOR, AUTO DRAIN, 1/2", NORGREN |  |  |  | URL NOT FOUND |  | NORGREN | [12 empty] | CLEANSED | LUBRICATOR | NO MODIFIER | TYPE | AUTO DRAIN | CAPACITY |  | PORT SIZE | 1/2 IN | FLOW RATING |  | OPERATING PRESSURE |  | OPERATING TEMPERATURE |  | HOUSING MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060166627 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 | PART NO SERIES MATCH | 000000000060166627 | BHP1 | BHP Spares & Supplies | 151219 | Greases | EA | MAN2 | LUBRICATOR: SELF, 1/8INCH BSP 125ML PLAS | LUBRICATOR: SELF, 1/8" BSP 125ML PLASTIC, SKF LAGD 125/WA |  |  |  | https://www.skf.com/binaries/pub12/Images/0901d1968019cc65-12666EN_LAGD_tcm_12-73135.pdf |  | SKF | LAGD 125/WA | [11 empty] | CLEANSED | LUBRICATOR | NO MODIFIER | TYPE | SELF | CAPACITY | 125 ML | PORT SIZE | 1/8 IN BSP | FLOW RATING |  | OPERATING PRESSURE |  | OPERATING TEMPERATURE |  | HOUSING MATERIAL | PLASTIC | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060215795 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 | PART NO SERIES MATCH | 000000000060215795 | BHP1 | BHP Spares & Supplies | 151200 | Lubricants, oils, greases and anti-corrosives | EA | MAN2 | PULSARLUBE M-TYPE 250CC R,SHELL GADUS S2 | PULSARLUBE M-TYPE 250CC REFILL SERVICE PACK, SHELL GADUS 85, LM-250CC-M-RF SAEP2 |  |  |  | https://infinityent.net.in/wp-content/uploads/2019/11/Gadus_S2_OG_85.pdf |  | SHELL | GADUS 85 | [11 empty] | CLEANSED | LUBRICANT | NO MODIFIER | TYPE | PULSARLUBE | GRADE |  | CONTAINER |  | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | M-TYPE 250 CC REFILL SERVICE PACK, LM-250CC-M-RF SAEP2 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060215797 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 | PART NO SERIES MATCH | 000000000060215797 | BHP1 | BHP Spares & Supplies | 151200 | Lubricants, oils, greases and anti-corrosives | EA | MAN2 | PULSARLUBE M-TYPE 500CC R,SHELL GADUS S2 | PULSARLUBE M-TYPE 500CC R,SHELL GADUS S2 |  |  |  | https://www.shell.iq/en_iq/business-customers/industrial-lubricants/lubricants-product-range/shell-gadus-greases/_jcr_content/par/textimage_6500.stream/1486050889806/aaa9b0f049eb025f82c6d8036e5e1f8f82879600/Shell_Gadus_S2_V220_0_TDS.pdf |  | SHELL | GADUS S2 | [11 empty] | CLEANSED | LUBRICANT | NO MODIFIER | TYPE | PULSARLUBE | GRADE |  | CONTAINER |  | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | M-TYPE 500CC R | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060188129 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060188129 | BHP1 | BHP Spares & Supplies | 111715 | Basic steels | EA | MAN2 | MESH,193 REINFORCING FOR FOUNDATIONS 200 | MESH,193 REINFORCING FOR FOUNDATIONS 200X200X6.3 |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MESH | NO MODIFIER | TYPE | REINFORCING | SIZE | 200 X 200 X 6.3 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REF: 193, FOR FOUNDATIONS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060188124 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060188124 | BHP1 | BHP Spares & Supplies | 111715 | Basic steels | EA | MAN2 | MESH,395 REINFORCING FOR FOUNDATIONS | MESH,395 REINFORCING FOR FOUNDATIONS |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | MESH | NO MODIFIER | TYPE | REINFORCING | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REF: 395, FOR FOUNDATIONS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218120 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060218120 | BHP1 | BHP Spares & Supplies | 301520 | Fencing | EA | MAN2 | MESH,DAMOND,2400 X 75 X 4.0MM X 15M | DIAMOND MESH 2400X75X4.0MMX15M |  | 0019011524 | TECH NORTH (PTY) LTD | URL NOT FOUND |  | TECH NORTH (PTY) LTD | [12 empty] | CLEANSED | MESH | NO MODIFIER | TYPE | DIAMOND | SIZE | 15 M X 2400 X 75 X 4 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218119 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060218119 | BHP1 | BHP Spares & Supplies | 301025 | Sheet | EA | MAN2 | MESH,SHEET,MNN,2.4M X 100MM X 100MM | SHEET MESH MININ 2.4M X 100MM X 100MM X 2.0M X 6MM |  | 0019011524 | TECH NORTH (PTY) LTD | URL NOT FOUND |  | TECH NORTH (PTY) LTD | [12 empty] | CLEANSED | MESH | NO MODIFIER | TYPE | SHEET | SIZE | 2.4 X 2 M X 100 X 100 X 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MININ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060227698 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060227698 | BHP1 | BHP Spares & Supplies | 271411 | Suspension tools | M2 | MAN2 | MNAX 80/3 HGH TENSLE STEEL MESH | MINAX 80/3 HIGH TENSILE STEEL MESH WITH 8MM CABLEON ONE END. SHEET SIZE : 3.0M x 5M ( 10 Sheets ) | 80330BL |  |  | https://www.geobrugg.com/en/MINAX-804-7878.html |  |  | 80330BL | [11 empty] | CLEANSED | MESH | NO MODIFIER | TYPE | SHEET | SIZE | 3 X 5 M | MATERIAL | HIGH TENSILE STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND: MINAX, SERIES: 80/3, W/ 8 MM CABLEON ONE END, QUANTITY: 10 SHEETS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060223804 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223804 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,BASIC TOOL HOLDER, | MIXER,EIRICH,BASIC TOOL HOLDER,TO SUIT DWV 22 MIXER M.N28540 | D221356310-97 |  |  | URL NOT FOUND |  |  | D221356310-97 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | HOLDER | NO MODIFIER | TYPE | BASIC TOOL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR DWV 22 MIXER, MACHINE NUMER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223789 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223789 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,BASIC TOOL HOLDER,SPRING | MIXER,EIRICH,BASIC TOOL HOLDER,SPRING WASHER,M20 | 008278 |  |  | URL NOT FOUND |  |  | 008278 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | WASHER | NO MODIFIER | TYPE | SPRING | NOMINAL SIZE | M20 | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR BASIC TOOL HOLDER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060223783 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223783 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,BOTTOM BLADE, | MIXER,EIRICH,BOTTOM BLADE,TO SUIT DWV 22 MIXER M.N28540 | D291512211-99 |  |  | https://ie.famaga.com/catalog/eirich/id5854224_d291512211-99 |  |  | D291512211-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | BLADE | NO MODIFIER | TYPE | BOTTOM | SIZE |  | CUT MATERIAL |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060223784 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223784 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,BOTTOM SCRAPER | MIXER,EIRICH,BOTTOM SCRAPER C/W HARDMETAL,TO SUIT DWV 22 MIXER M.N28540 | D221512212-99 |  |  | https://ca.famaga.com/catalog/eirich/id7245596_d221512212-99 |  |  | D221512212-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | SCRAPER | NO MODIFIER | TYPE | BOTTOM | BLADE WIDTH |  | MATERIAL |  | BLADE LENGTH |  | BLADE THICKNESS |  | OVERALL LENGTH |  | HANDLE LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W HARDMETAL, FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060223776 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223776 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,CORNER TOOL C/W HARDMETAL | MIXER,EIRICH,CORNER TOOL C/W HARDMETAL AND AROURING,TO SUIT DWV 22 MIXER M.N28540 | D221512222-99 |  |  | URL NOT FOUND |  |  | D221512222-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | TOOL | NO MODIFIER | TYPE | CORNER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W HARDMETAL AND AROURING,TO SUIT DWV 22, MIXER MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223773 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223773 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,CORNER WEAR PLATE | MIXER,EIRICH,CORNER WEAR PLATE WITH HARMETAL,TO SUIT DWV 22 MIXER M.N28540 | D221512221-99 |  |  | https://famaga.de/catalog/eirich/id5854223_d221512221-99 |  |  | D221512221-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | PLATE | WEAR | TYPE | CORNER | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TENSILE STRENGTH |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ HARMETAL, FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060223811 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223811 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DISCHARGE CONE C/W LINING | MIXER,EIRICH,DISCHARGE CONE C/W LINING,TO SUIT DWV 22 MIXER M.N28540 | D181243317-99 |  |  | URL NOT FOUND |  |  | D181243317-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | CONE | NO MODIFIER | TYPE | DISCHARGE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W LINING, FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223815 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223815 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DRIVE,C/W ELECTRIC | MIXER,EIRICH,DRIVE,C/W ELECTRIC VARIABLE UNIT,TO SUIT DWV 22 MIXER M.N28540 | D221161198-98 |  |  | URL NOT FOUND |  |  | D221161198-98 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | DRIVE | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W ELECTRIC VARIABLE UNIT, FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223800 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223800 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DRUM ROTOR TOOL, | MIXER,EIRICH,DRUM ROTOR TOOL,BOTTOM BEATER,KNIFELIKE,TO SUIT DWV 22 MIXER M.N28540 | D222356425-99 |  |  | URL NOT FOUND |  |  | D222356425-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | TOOL | NO MODIFIER | TYPE | DRUM ROTOR, BOTTOM BEATER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | KNIFELIKE, FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223794 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223794 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DRUM ROTOR TOOL,BASE | MIXER,EIRICH,DRUM ROTOR TOOL,BASE,TO SUIT DWV 22 MIXER M.N28540 | D291353528 |  |  | URL NOT FOUND |  |  | D291353528 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | TOOL | NO MODIFIER | TYPE | DRUM ROTOR, BASE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223802 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223802 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DRUM ROTOR TOOL,BASE, | MIXER,EIRICH,DRUM ROTOR TOOL,BASE,TO SUIT DWV 22 MIXER M.N28540 | D221353528 |  |  | URL NOT FOUND |  |  | D221353528 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | TOOL | NO MODIFIER | TYPE | DRUM ROTOR, BASE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223799 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223799 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DRUM ROTOR TOOL,BEATER, | MIXER,EIRICH,DRUM ROTOR TOOL,BEATER,KNIFELIKE,C/W SPECIAL HARDFACING,TO SUIT DWV 22 MIXER M.N28540 | D221356424-99 |  |  | URL NOT FOUND |  |  | D221356424-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | TOOL | NO MODIFIER | TYPE | DRUM ROTOR, BEATER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | KNIFELIKE, C/W SPECIAL HARDFACING, FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223791 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223791 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DRUM ROTOR TOOL,BEATER, | MIXER,EIRICH,DRUM ROTOR TOOL,BEATER,KNIFELIKE,C/W SPECIAL HARDFACING,TO SUIT DWV 22 MIXER M.N28540 | D221356324-99 |  |  | URL NOT FOUND |  |  | D221356324-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | TOOL | NO MODIFIER | TYPE | DRUM ROTOR, BEATER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | KNIFELIKE, C/W SPECIAL HARDFACING, FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223792 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223792 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DRUM ROTOR TOOL,BOTTOM | MIXER,EIRICH,DRUM ROTOR TOOL,BOTTOM BEATER,KNIFELIKE,TO SUIT DWV 22 MIXER M.N28540 | D222356325-99 |  |  | https://famaga.ae/catalog/eirich/id7245592_d222356325-99 |  |  | D222356325-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | TOOL | NO MODIFIER | TYPE | DRUM ROTOR, BOTTOM BEATER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | KNIFELIKE, FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223793 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223793 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DRUM ROTOR TOOL,BOTTOM TOOL | MIXER,EIRICH,DRUM ROTOR TOOL,BOTTOM TOOL,TO SUIT DWV 22 MIXER M.N28540 | D221356327-99 |  |  | URL NOT FOUND |  |  | D221356327-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | TOOL | NO MODIFIER | TYPE | DRUM ROTOR, BOTTOM BEATER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223801 - B5 | STP-004 | DATA ENRICHMENT | MKV | SPC | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223801 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DRUM ROTOR TOOL,BOTTOM TOOL | MIXER,EIRICH,DRUM ROTOR TOOL,BOTTOM TOOL,TO SUIT DWV 22 MIXER M.N28540 | D221356427-99 |  |  | URL NOT FOUND |  |  | D221356427-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | TOOL | NO MODIFIER | TYPE | DRUM ROTOR, BOTTOM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060223798 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223798 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,DRUM ROTOR TOOL,SPRING | MIXER,EIRICH,DRUM ROTOR TOOL,SPRING WASHER,M20 | 009574 |  |  | URL NOT FOUND |  |  | 009574 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | WASHER | NO MODIFIER | TYPE | SPRING, DRUM ROTOR TOOL | NOMINAL SIZE | M20 | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060223796 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223796 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,END DISC,TO SUIT DWV 22 | MIXER,EIRICH,END DISC,TO SUIT DWV 22 MIXER M.N28540 | R181354932-99 |  |  | https://www.volza.com/p/mixer-or-grinder/export/export-from-india/hsn-code-84749000/cod-germany/ |  |  | R181354932-99 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | DISC | NO MODIFIER | TYPE | END | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR DWV 22 MIXER, MACHINE NUMBER: 28540 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060223797 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223797 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,FILLISTER HEAD SCREW,M12 | MIXER,EIRICH,FILLISTER HEAD SCREW,M12X40MM | 008879 |  |  | URL NOT FOUND |  |  | 008879 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | SCREW | NO MODIFIER | TYPE | FILLISTER HEAD | THREAD DIAMETER | M12 | THREAD TYPE |  | OVERALL LENGTH | 40 MM | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | HEAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060223774 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223774 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,FILLISTER HEAD SCREW,M12 | MIXER,EIRICH,FILLISTER HEAD SCREW,M12X35MM | 006600 |  |  | URL NOT FOUND |  |  | 006600 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | SCREW | NO MODIFIER | TYPE | FILLISTER HEAD | THREAD DIAMETER | M12 | THREAD TYPE |  | OVERALL LENGTH | 35 MM | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | HEAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060223785 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223785 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,FILLISTER HEAD SCREW,M12 | MIXER,EIRICH,FILLISTER HEAD SCREW,M12X45MM | 006601 |  |  | URL NOT FOUND |  |  | 006601 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | SCREW | NO MODIFIER | TYPE | FILLISTER HEAD | THREAD DIAMETER | M12 | THREAD TYPE |  | OVERALL LENGTH | 45 MM | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | HEAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060223777 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223777 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,FILLISTER HEAD SCREW,M12 | MIXER,EIRICH,FILLISTER HEAD SCREW,M12X80MM | 004234 |  |  | URL NOT FOUND |  |  | 004234 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | SCREW | NO MODIFIER | TYPE | FILLISTER HEAD | THREAD DIAMETER | M12 | THREAD TYPE |  | OVERALL LENGTH | 80 MM | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | HEAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060223795 - B5 | STP-004 | DATA ENRICHMENT | MKV | MKV5 | OK | 2022-10-10 | 2022-10-14 |  | 000000000060223795 | BHP1 | BHP Spares & Supplies | 231912 | Mixer parts and accessories | EA | MAN2 | MIXER,EIRICH,FILLISTER HEAD SCREW,M12 | MIXER,EIRICH,FILLISTER HEAD SCREW,M12X30MM | 006599 |  |  | URL NOT FOUND |  |  | 006599 | [5 empty] | MIXER |  | EIRICH |  |  |  | CLEANSED | SCREW | NO MODIFIER | TYPE | FILLISTER HEAD | THREAD DIAMETER | M12 | THREAD TYPE |  | OVERALL LENGTH | 30 MM | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | HEAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed