## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060214039 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060214039 | BHP1 | BHP Spares & Supplies | 271300 | Pneumatic machinery and equipment | EA | MAN2 | ACTUATOR, KINETROL 10 C/W SPRING RETURN, | ACTUATOR, KINETROL 10 C/W SPRING RETURN, SWITCH BOX AND SOLENOID VALVE 24VDC FITTED TO 80 MM S/S, BALL VALVE FLANGED AND DRILLED, AN, SSI 11702, FVD Cooling bay |  |  |  | https://www.kinetrol.com/product/model-10/ |  | KINETROL |  | 10 | [10 empty] | Enriched | ACTUATOR | NO MODIFIER | TYPE | DOUBLE ACTING,VANE-TYPE,ROTARY | SIZE |  | TRAVEL | 70-100 DEG | MATERIAL | ALUMINIUM ALLOY CASING | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DISPLACED VOLUME:1025 CU-CM,OUTPUT TORQUE:416 NM AT 7 BAR,C/W SPRING RETURN,SWITCH BOX AND SOLENOID VALVE 24 VDC FITTED TO 80 MM STAINLESS STEEL BALL VALVE FLANGED AND DRILLED,AN,SSI 11702,FVD COOLING BAY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060253591 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060253591 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | ACTUATOR,BERNARD,AQ15,LOGIC,POSITIONER | ACTUATOR, BERNARD, AQ15 LOGIC POSITIONER, 220VAC, PCD F05/F07, 150NM, ENCLOSURE IP68, MODULATING CLASS III , RAL1014 IVORY | AQ15LP | 0019011819 | Unknown | https://www.mecafluid.eu/en/catalog/14-turn-servomotor-bernard-controls-range-aq-serie-aq15-150-nm-24v-dc~76d4cc72-fed0-448f-8dbc-f8e034e7d9af |  | BERNARD CONTROLS | AQ15LP | [11 empty] | Enriched | ACTUATOR | ELECTRIC | TYPE | WATERPROOF QUARTER-TURN | TRAVEL |  | VOLTAGE RATING | 24 VDC | CURRENT RATING | 2.5 A | POWER RATING | 0.03 KW | END CONNECTION |  | SHAFT DIAMETER |  | TORQUE RATING | 150 NM | INTERFACE TYPE |  | MATERIAL | ALUMINUM CAST IRON | ENCLOSURE | IP68 | TEMPERATURE RATING | -20 TO 60 DEG AMBIENT | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060218905 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060218905 | BHP1 | BHP Spares & Supplies | 271300 | Pneumatic machinery and equipment | EA | MAN2 | ACTUATOR,LINEAR,FESTO,2300MM STROKE,WRAP | ACTUATOR,LINEAR,FESTO,2300MM STROKE,WRAPPING MACHINE CUTTER,DGC-K-25-2300-PPV-A-GK, SSI 0093 | DGC-K-25-2300-PPV-A-GK | 0019001272 | FESTO MASCHINENFABRIK PTY LTD | URL Not Found |  | FESTO MASCHINENFABRIK PTY LTD | DGC-K-25-2300-PPV-A-GK | [5 empty] | WRAPPING MACHINE CUTTER | [5 empty] | Cleansed | ACTUATOR | NO MODIFIER | TYPE | LINEAR | SIZE | 2300 MM STROKE | TRAVEL |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI 0093 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060172217 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060172217 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | AGITATOR 300B SERIES UNIT(C/W 4KW MOTOR) | AGITATOR 300B SERIES UNIT(C/W 4KW MOTOR), AS PER SSI 2038 | 300B C/W MOTOR | 0019003467 | UNKNOWN | URL Not Found | [14 empty] | Cleansed | AGITATOR | NO MODIFIER | TYPE |  | CAPACITY |  | BLADE MATERIAL |  | SPEED RATING |  | POWER RATING |  | INPUT RATING |  | SHAFT MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:300B,UNIT,C/W 4 KW MOTOR,AS PER SSI 2038 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060215143 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060215143 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | AMPLFER,TELCO,PA 11A 303 RELAY AND NPN | AMPLIFIER, TELCO, PA 11A 303 RELAY & NPN WIT 0 - 10 S DELAY SUPPLY VOLTAGE 24V DC PA11A303 | PA11A303 | 0019007814 | TELCO | https://www.telcosensors.com/products/remote-photoelectric-systems/default/pa-11 | file:///C:/Users/nagen/Downloads/PA-11-Data-Sheet-EN.pdf | TELCO | PA11A303 | [11 empty] | Enriched | AMPLIFIER | NO MODIFIER | TYPE | PHOTOELECTRIC | GAIN |  | INPUT SIGNAL | 24 VDC | OUTPUT SIGNAL |  | CONNECTION TYPE | DIN SOCKET | MOUNTING TYPE |  | POWER SUPPLY | 230 VAC,115 VAC,24 VAC/DC | NUMBER OF PINS | 11 | NUMBER OF CHANNELS | 1 | SIZE | WD 35 X HT 76 X DP 91 MM | TEMPERATURE RATING | -10 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CRUUS | ADDITIONAL FEATURES EN | SENSING RANGE:0-70 M THRU-BEAM,0-5 M DIFFUSE PROXIMITY,DELAY: 0-10 SEC,ADJUSTABLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060215622 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060215622 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | AMPLIFIER, LOAD CELL, 24V DC, ART 050 RO | AMPLIFIER, LOAD CELL, 24V DC, ART 050 ROBOPAC, CODE 1430310016, WRAPPING, MACHINE, AMPLIFIER, LOAD CELL, 24V DC, ART 050 ROBOPAC, CODE 1430310016,, WRAPPING MACHINE |  |  |  | https://www.serwice.co.th/product/17910-20500/robopac-1430310016 |  |  | 1430310016 | [5 empty] | WRAPPING MACHINE | ROBOPAC | ROBOPAC |  |  |  | Cleansed | AMPLIFIER | NO MODIFIER | TYPE | LOAD CELL | GAIN |  | INPUT SIGNAL | 24 VDC | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060215621 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060215621 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | AMPLIFIER, LOAD CELL, PR-ES-3, NEW 24V D | AMPLIFIER, LOAD CELL, PR-ES-3, NEW 24V DC ROBOPAC, CODE 1430310015,, WRAPPING MACHINE |  |  |  | URL Not Found |  |  | 1430310015 |  |  | PR-ES-3 |  |  | WRAPPING MACHINE | ROBOPAC |  |  |  |  | Cleansed | AMPLIFIER | NO MODIFIER | TYPE | LOAD CELL | GAIN |  | INPUT SIGNAL | 24 VDC | OUTPUT SIGNAL |  | CONNECTION TYPE |  | MOUNTING TYPE |  | POWER SUPPLY |  | NUMBER OF PINS |  | NUMBER OF CHANNELS |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060175633 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060175633 | BHP1 | BHP Spares & Supplies | 231715 | Soldering, brazing or welding machinery and supplies | EA | MAN2 | ARRESTOR,FLASH BACK,3/4 IN BSP BRASS,STE | ARRESTOR,FLASH BACK,3/4 IN BSP BRASS,STEELFIRE,AFROX | 098685 | 0019008506 | AFROX LIMITED | URL Not Found |  | AFROX LIMITED | 098685 |  | STEEL FIRE | [9 empty] | Cleansed | ARRESTER | NO MODIFIER | TYPE | FLASHBACK | SIZE | 3/4 IN BSP | MATERIAL | BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060217648 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060217648 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | ARRESTOR,FLASHBACK,OXYGEN,PORTAPACK,REGU | ARRESTOR,FLASHBACK,OXYGEN,PORTAPACK,REGULATOR,MODEL W012016,AFROX, ssi 10494, Brian Nkwana, Afrox | W 012016 | 0019008506 | AFROX LIMITED | URL Not Found |  | AFROX LIMITED | W 012016 | [5 empty] | OXYGEN REGULATOR |  | PORTAPAK |  |  |  | Cleansed | ARRESTER | NO MODIFIER | TYPE | FLASHBACK,OXYGEN | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI 10494,BRIAN NKWANA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060187249 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060187249 | BHP1 | BHP Spares & Supplies | 311616 | Bolts | EA | MAN2 | FLASHBACK ARRESTOR NM098685 ONLY,TO USE | FLASHBACK ARRESTOR NM098685 ONLY, TO USE WITH LANCE HOLDER NM098682WFD1, 3/4 INCH, NEVEN MATTHEWS | NM098685 | 0019008824 | NEVEN MATTHEWS | URL Not Found |  | NEVEN MATTHEWS | NM098685 | [11 empty] | Cleansed | ARRESTER | NO MODIFIER | TYPE | FLASHBACK | SIZE | 3/4 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/NM098682WFD1 LANCE HOLDER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060221479 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060221479 | BHP1 | BHP Spares & Supplies | 231715 | Soldering, brazing or welding machinery and supplies | EA | MAN2 | FLASHBACK ARRESTOR NMFBA 686 (1/2") ONLY | FLASHBACK ARRESTOR NMFBA 686 (1/2") ONLY, TO USE WITH LANCE HOLDER N-WFD2 683, NEVEN MATTHEWS | NMFBA 686 (1/2") | 0019008824 | NEVEN MATTHEWS | URL Not Found |  | NEVEN MATTHEWS | NMFBA 686 (1/2") | [11 empty] | Cleansed | ARRESTER | NO MODIFIER | TYPE | FLASHBACK | SIZE | 1/2 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/N-WFD2 683 LANCE HOLDER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060244805 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060244805 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | TO | MAN2 | BALL,MILL,HIGHCHROME14 PERCENT,30MMDIA | BALL, MILL, HIGHCHROME14 PERCENT, 30MMDIA |  | 0019011142 | VEGA INSTRUMENTS SA (PTY) LTD | URL Not Found |  | VEGA INSTRUMENTS SA (PTY) LTD | [12 empty] | Cleansed | BALL | NO MODIFIER | TYPE | MILL | SIZE | DIA 30 MM | MATERIAL | 14 PCT HIGH CHROME | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060010567 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060010567 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | BAND, CLUTCH, SCRAPER WINCH, EXDIN 75KW | BAND, CLUTCH, SCRAPER WINCH, EXDIN 75KW JOY, 100HP | 541050-0034 | 0019008664 | EXDIN ENGINEERING (PTY) LTD | https://www.bafotech.co.za/specs/Bafotech%20-%20JCF212%20Breakdown.pdf |  | EXDIN ENGINEERING (PTY) LTD | 541050-0034 | [5 empty] | 75 KW 100 HP SCRAPER WINCH | [5 empty] | Cleansed | BAND | NO MODIFIER | TYPE | CLUTCH | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060115073 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060115073 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | SIEVE BEND, 710X 1600X36/1.8X120, TYPE 4 | SIEVE BEND, 710X 1600X36/1.8X120, TYPE 45DEG 2036R MULTOTEC, SSI 11306, CRP Jig plant | 116438 | 0019005676 | MULTOTEC | URL Not Found |  | MULTOTEC | 116438 | [11 empty] | Cleansed | BEND | NO MODIFIER | TYPE | SIEVE | DIMENSIONS | 710 MM X 1.6 M X 36/1.8 X 120 MM | ANGLE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI 11306,CRP JIG PLANT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060254036 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060254036 | BHP1 | BHP Spares & Supplies | 201418 | Well production flow measurement meters | EA | MAN2 | BARREL,LINER,191700 | HC60,-BL,-RG,BARREL,LINER,(191700) | BL-RR-025 | 0019005676 | MULTOTEC | URL Not Found |  | MULTOTEC | BL-RR-025 |  | MULTOTEC | 191700 | [8 empty] | Cleansed | BARREL | NO MODIFIER | TYPE | LINER | CAPACITY |  | MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HC60,-BL,-RG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060106452 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060106452 | BHP1 | BHP Spares & Supplies | 301018 | Channels | EA | MAN2 | CHANNEL, TAPER FLANGE, MILD STEEL, 127MM | CHANNEL, TAPER FLANGE, MILD STEEL, 127MM X 64MM, 6M LONG |  |  |  | URL Not Found | [14 empty] | Cleansed | CHANNEL | NO MODIFIER | TYPE | TAPER FLANGE | SIZE | WD 127 MM X LG 6 M X THK 64 MM | SHANK SIZE |  | MATERIAL | MILD STEEL | COATING/FINISH |  | LOAD CAPACITY |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060175271 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060175271 | BHP1 | BHP Spares & Supplies | 271126 | Sealing tools | EA | MAN2 | STRAIGHTS, TROUGH DUST SCREENING CHANNEL | STRAIGHTS, TROUGH DUST SCREENING CHANNEL, DUST SEALING, 30MM X 30MM HEXAGON SHAPED X 1500MM LONG, STRAIGHTS, TROUGH DUST SCREENING CHANNEL, DUST SEALING, 30MM X 30MM, HEXAGON SHAPED X 1500MM LONG | JOEST#FML001-02 | 0019008735 | JOEST | URL Not Found |  | JOEST | FML001-02 | [11 empty] | Cleansed | CHANNEL | NO MODIFIER | TYPE | TROUGH DUST SCREENING | SIZE | WD 30 MM X LG 1.5 M X THK 30 MM HEXAGON SHAPED | SHANK SIZE |  | MATERIAL |  | COATING/FINISH |  | LOAD CAPACITY |  | HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DUST SEALING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060217218 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060217218 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | COMPRESSOR, AIR, 50 LITER, AIR2020 | COMPRESSOR, AIR, 50 LITER, AIR2020 | AIR2020 | 0019011481 | TOOLQUIP | https://topdogtoolshop.co.za/product/matair-50-litre-single-stage-hobby-compressor-1-5kw-2hp-220v-air2020/ |  | TOOLQUIP | AIR2020 | [11 empty] | Enriched | COMPRESSOR | NO MODIFIER | TYPE | SINGLE STAGE BELT DRIVE | POWER RATING | 1.5 KW | FLOW RATING | 4.5 CFM | INLET PRESSURE RATING | 8 BAR | OUTLET PRESSURE RATING |  | TANK CAPACITY | 50 L | ELECTRICAL RATING | 220 V,2 HP | DRIVE DETAILS |  | SPEED RATING | 2850 RPM | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DISPLACEMENT:195 L/MIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060231768 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060231768 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | COMPRESSOR,CT10,55205151,DD210L | CT10 COMPRESSOR 55205151 DD210L | 55205151 | 0019002924 | SANDVIK | https://root-parts.com/index.php/2022/05/10/sandvik-parts-catalog-61/ |  | SANDVIK | 55205151 | CT10 |  | DD210L | [8 empty] | Cleansed | COMPRESSOR | NO MODIFIER | TYPE |  | POWER RATING |  | FLOW RATING |  | INLET PRESSURE RATING |  | OUTLET PRESSURE RATING |  | TANK CAPACITY |  | ELECTRICAL RATING |  | DRIVE DETAILS |  | SPEED RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060224695 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060224695 | BHP1 | BHP Spares & Supplies | 311628 | Miscellaneous hardware | EA | MAN2 | COUPLING ADAPTOR, MUDGUN, H50, | COUPLING ADAPTOR, MUDGUN, H50, TO SUIT CLIP IN DRILL RODS | H50F31RNDF | 0019008922 | SEGRADA | URL Not Found |  | SEGRADA | H50F31RNDF | [5 empty] | MUDGUN | H50 |  |  |  |  | Cleansed | ADAPTER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F/CLIP IN DRILL RODS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060141728 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060141728 | BHP1 | BHP Spares & Supplies | 311715 | Bearings | EA | MAN2 | COUPLING ASSEMBLY, 65MM SHAFT, TURBOFLEX | COUPLING ASSEMBLY, 65MM SHAFT, TURBOFLEX D122 |  |  |  | https://www.altraliterature.com/-/media/Files/Literature/Brand/bibby-turboflex/service-manuals/p-8183-bb-a4.ashx |  | TURBOFLEX | D122 | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | DOUBLE ELEMENT | SIZE | 65 MM SHAFT | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060235571 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060235571 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING CF-D-220-60-SAE HS 35MM BORE PU | COUPLING CF-D-220-60-SAE HS 35MM BORE PUMP SHAFT |  |  |  | https://www.p-s.dk/produktpdf/Centaflex-D.pdf |  | CENTAFLEX | CF-D-220-60-SAE | [11 empty] | Enriched | COUPLING | SHAFT FLEXIBLE | TYPE |  | BORE SIZE | 35 MM | LENGTH |  | TORQUE RATING | 1600-5600 NM | SPEED RATING | 4500 RPM | HUB MATERIAL | CAST IRON | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:D,HARDNESS:SHORE 60 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060139897 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060139897 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, 102MM OD, STEEL, PAINTED, ALVE | COUPLING, 102MM OD, STEEL, PAINTED, ALVENIUS TYPE |  |  |  | URL Not Found |  | ALVENIUS | [12 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE |  | SIZE | OD 102 MM | MATERIAL | STEEL | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FINISH/COATING:PAINTED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060221997 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060221997 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, BALL MILL, HIGH SPEED | COUPLING, BALL MILL, HIGH SPEED, PART NO 401004 |  |  |  | URL Not Found |  |  | 401004 | [5 empty] | BALL MILL | [5 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | HIGH SPEED | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060221996 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060221996 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, BALL MILL, LOW SPEED | COUPLING, BALL MILL, LOW SPEED, PART NO 401003 |  |  |  | URL Not Found |  |  | 401003 | [5 empty] | BALL MILL | [5 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | LOW SPEED | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060171263 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060171263 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, BIBBY, T1120H, HUB, PILOT BORE | COUPLING, BIBBY, T1120H, HUB, PILOT BORE |  |  |  | URL Not Found |  | BIBBY | T1120H | [11 empty] | Cleansed | COUPLING | SHAFT | TYPE | PILOT BORE | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HUB | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060214711 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060214711 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, FLUID, TURBO, COMPLETE 2120105 | COUPLING, FLUID, TURBO, COMPLETE 212010519, TYPE 422TV C/W SV BUSH, ARRRENGEMENT, 71MM INPUT BORE, 48MM OUTPUT BORE, CRAVBI0422000,, 3051EC0060, 3051EC0071, 3051EC0048, VOITH | 212010519 | 0019011349 | VOITH TURBO | https://datasheets.globalspec.com/ds/voith-kgaa/422-tv/be602a13-4740-4814-ad96-7d7b150a35b9 |  | VOITH TURBO | TYPE 422 TV |  | VOITH TURBO | 212010519 | [8 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE,C/W 71 MM INPUT BORE,48 MM OUTPUT BORE SV BUSH,ARRRENGEMENT,CRAVBI0422000,3051EC0060,3051EC0071,3051EC0048 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060214712 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060214712 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, FLUID, TURBO, COMPLETE 2120107 | COUPLING, FLUID, TURBO, COMPLETE 212010786, TYPE 422TWS C/W, HA/BR (BR, 206) ARRRENGEMENT, TCR0422000, TCR042203000, 3051ED0117, 3051ED0113,, 3051ED0111, VOITH | 212010786 | 0019011349 | VOITH TURBO | URL Not Found |  | VOITH TURBO | TYPE 422 TWS |  | VOITH TURBO | 212010786 | [8 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W HA/BR (BR, 206) ARRRENGEMENT,TCR0422000,TCR042203000,3051ED0117,3051ED0113,3051ED0111 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060007322 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060007322 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, FLUID, TURBO, COMPLETE, TYPE 3 | COUPLING, FLUID, TURBO, COMPLETE, TYPE 366 TV, HIGH SPEED, C/W TYPE, 200SX CONNECTING COUPLING, 60MM INPUT BORE, 65MM OUTPUT BORE, VO, ITH |  |  |  | https://datasheets.globalspec.com/ds/voith-kgaa/366-tv/85327caa-bd31-4f8d-9ea1-12bb46c7d741 |  | VOITH TURBO | TYPE 366 TV | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 60 MM INPUT BORE,65 MM OUTPUT BORE 200SX CONNECTING COUPLING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060007327 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060007327 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, FLUID, TURBO, COMPLETE, TYPE 5 | COUPLING, FLUID, TURBO, COMPLETE, TYPE 562 TVV, HIGH SPEED, C/W 300SX, CONNECTING COUPLING, 85MM INPUT BORE, 60MM OUTPUT BORE,VOITH |  |  |  | https://datasheets.globalspec.com/ds/voith-kgaa/562-tvv/967116de-78a6-445d-a55c-aa0968e4477b |  | VOITH TURBO | TYPE 562 TVV | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 85 MM INPUT BORE,60 MM OUTPUT BORE 300SX CONNECTING COUPLING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060007325 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060007325 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, FLUID, TURBO, TYPE 487 TRI, C/ | COUPLING, FLUID, TURBO, TYPE 487 TRI, C/W R1021 80MM BORE PULLEY, VOITH |  |  |  | https://datasheets.globalspec.com/ds/voith-kgaa/487-tri/03ec2f50-e45e-4d3b-8fb8-903328e62ebc |  | VOITH TURBO | TYPE 487 TRI | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W R1021 80 MM BORE PULLEY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060007326 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060007326 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, FLUID, TURBO, TYPE 487 TVRI, C | COUPLING, FLUID, TURBO, TYPE 487 TVRI, C/W 360MM X 5 DELTA GROOVE, PULLEY, TO SUIT 75KW FRAME SIZE D250M MOTOR, VOITH |  |  |  | https://datasheets.globalspec.com/ds/voith-kgaa/487-tvri/7a42afaa-8046-418f-b93a-20b63dd5c482 |  | VOITH TURBO | TYPE 487 TVRI | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 360 MM X 5 DELTA GROOVE PULLEY,F/75 KW FRAME SIZE D250M MOTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060174995 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060174995 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, FLUID, TYPE 422 TSS, C/W BR206 | COUPLING, FLUID, TYPE 422 TSS, C/W BR 206 COUPLING: OUTER PLATE; BUFFER, SET BLACK - 12 OFF ROLLERS; INNER HUB B&K 60MM FOR FITMENT TO MOTOR, SHAFT " 45 KW 4 POLE MOTOR" ; INNER PLATE; BOLTS & NUTS; OUTER RING;, INSERT BUSH B&K 55MM TO FIT UNTO GEARBOX INPUT SHAFT, VOITH |  |  |  | URL Not Found |  | VOITH TURBO | TYPE 422 TSS | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W BR 206 COUPLING:OUTER PLATE,BUFFER,SET BLACK-12 OFF ROLLERS,INNER HUB B&K 60 MM FOR FITMENT TO MOTOR SHAFT 45 KW 4 POLE MOTOR,INNER PLATE,BOLTS AND NUTS,OUTER RING,INSERT BUSH B&K 55 MM TO FIT UNTO GEARBOX INPUT SHAFT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060167448 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060167448 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, GALVANISED, FORGED STEEL ,200N | COUPLING, GALVANISED, FORGED STEEL ,200NB, PROLOCK ALVENI(ISO 9001,2000 AND SANS 815-1,2005) |  |  |  | URL Not Found |  | PROLOCK | [13 empty] | COUPLING | NO MODIFIER | TYPE |  | SIZE | 200NB | MATERIAL | FORGED STEEL | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 9001,2000 AND SANS 815-1,2005 | ADDITIONAL FEATURES EN | BRAND:ALVENI,FINISH:GALVANIZED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060177955 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060177955 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | COUPLING, HALF, CRU002, LUBRICATION PUMP | COUPLING, HALF, CRU002, LUBRICATION PUMP, PART NO.930.0235-00 | 930.0235-00 | 0019003253 | SANDVIK TAMROCK | URL Not Found |  | SANDVIK TAMROCK | 930.0235-00 | [5 empty] | LUBRICATION PUMP | CRU002 |  |  |  |  | Cleansed | COUPLING | SHAFT HALF | TYPE |  | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060109939 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060109939 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, HYD, RENOLD CROFTS | COUPLING, HYDRAULIC, RENOLD CROFTS | FS11C | 0019008887 | RENOLD CROFTS | URL Not Found |  | RENOLD CROFTS | FS11C | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | HYDRAULIC | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060149571 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060149571 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, QUICK, 4", FLANGED TABLE D, S | COUPLING, QUICK, 4", FLANGED TABLE D, S/STEEL |  |  |  | URL Not Found | [15 empty] | COUPLING | QUICK CONNECT | TYPE |  | NOMINAL SIZE | 4 IN | END CONNECTION | F:ANGED | MATERIAL | STAINLESS STEEL | LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TABLE D | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060109956 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 | Partial Match | 000000000060109956 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, SPACER, FENAFLEX F60/R16, C/W | COUPLING, SPACER, FENAFLEX F60/R16, C/W NATURAL TYRE, FENNER |  |  |  | https://www.coupling-sfe.com/pdf/fenaflex-plus-tyre-couplings.pdf |  | FENNER | F60/R16 | [11 empty] | Enriched | COUPLING | SHAFT | TYPE | SPACER | BORE SIZE | 42 MM | LENGTH |  | TORQUE RATING | 106-318 NM | SPEED RATING | 4000 RPM | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:FENAFLEX,C/W NATURAL TYRE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060109958 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 | Partial Match | 000000000060109958 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING, SPACER, FENAFLEX F80/R25, C/W | COUPLING, SPACER, FENAFLEX F80/R25, C/W NATURAL TYRE, FENNER |  |  |  | https://www.coupling-sfe.com/pdf/fenaflex-plus-tyre-couplings.pdf |  | FENNER | F80/R25 | [11 empty] | Enriched | COUPLING | SHAFT | TYPE | SPACER | BORE SIZE | 60 MM | LENGTH |  | TORQUE RATING | 253-759 MM | SPEED RATING | 3100 RPM | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:FENAFLEX,C/W NATURAL TYRE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060252981 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060252981 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING,CAMLOCK, 2 INCH,STAINLESS STEEL | COUPLING,CAMLOCK, 2 INCH,STAINLESS STEEL,MALE AND FEMALE |  |  |  | URL Not Found | [14 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | CAMLOCK | SIZE | 2 IN | MATERIAL | STAINLESS STEEL | CONNECTION TYPE | MALE AND FEMALE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060252751 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060252751 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING,CAMLOCK,1 1/4 INCH,STAINLESS ST | COUPLING, CAMLOCK, 1 1/4 INCH, STAINLESS STEEL, MALE AND FEMALE |  |  |  | URL Not Found | [14 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | CAMLOCK | SIZE | 1-1/4 IN | MATERIAL | STAINLESS STEEL | CONNECTION TYPE | MALE AND FEMALE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060250136 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060250136 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING,HUB,E40REX,OMEGA,CAST,COMPLETE | COUPLING, HUB, E40 REX OMEGA CAST, COMPLETE, G13 CONVEYOR |  |  |  | URL Not Found |  | REXNORD OMEGA | [6 empty] | CONVEYOR | G13 |  |  |  |  | Cleansed | HUB | COUPLING | TYPE |  | BORE DIAMETER |  | HUB DIAMETER |  | LENGTH |  | MATERIAL | CAST | KEYWAY SIZE |  | LOCKING SCREW SIZE |  | SPEED RATING |  | TORQUE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE,F/E40 COUPLING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060241362 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060241362 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING,INSERTS,ROTEX,RGE28,EA | COUPLING , INSERTS , ROTEX , RGE28 , EA |  |  |  | URL Not Found |  | ROTEX | RGE28 | [11 empty] | Cleansed | INSERT | COUPLING | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EACH | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060173816 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060173816 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING,MTD 174,PELLETISING DRUM,PSP 3 | COUPLING,MTD 174,PELLETISING DRUM,PSP 3 PELLETISING PLANT,MFC | P42 POSITION 42070-604432 | 0019002490 | OUTOTEC | URL Not Found |  | OUTOTEC | P42 POSITION 42070-604432 |  |  | MTD 174 |  |  | PELLETISING DRUM | [5 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PSP 3 PELLETISING PLANT,MFC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060242792 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060242792 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING,RANGER,STEEL,272-289MM,250/1 | COUPLING, RANGER, STEEL, 272-289MM,250/10 |  |  |  | URL Not Found | [14 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | RANGER | SIZE | 272-289 MM | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 250/10 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060244593 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060244593 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | ST | MAN2 | COUPLING,RIGID FLANGE,TC270/400,CV505 | COUPLING, RIGID FLANGE, TC270/400, |  |  |  | URL Not Found |  |  | TC270/400 | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | RIGID FLANGE | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060248143 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060248143 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | ST | MAN2 | COUPLING,RIGID,FLANGE,200/320,C/W,ELEMEN | COUPLING,RIGID,FLANGE,200/320,C/W,ELEMENTS |  |  |  | URL Not Found | [14 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | RIGID FLANGE | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 200/320,C/W ELEMENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060247096 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060247096 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | ST | MAN2 | COUPLING,RIGID,RINGSPANN,230/400 RFK,SET | COUPLING, FLANGED, RIGID, RINGSPANN, 230/400 RFK, BORE SIZE 110MM, SET |  |  |  | URL Not Found |  | RINGSPAN | 230/400 RFK | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | RIGID FLANGE | SIZE | 110 MM BORE | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RINGSPAN,SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060239597 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060239597 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING,ROD COUPLER,44H,CONE CRUSHER | COUPLING,ROD COUPLER, 44H,CONE CRUSHER,OSBORN | 28S89 |  |  | URL Not Found |  |  | 28S89 | [5 empty] | CONE CRUSHER | 44H | OSBORN |  |  |  | Cleansed | COUPLING | NO MODIFIER | TYPE | ROD COUPLER | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060239639 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060239639 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING,TEE,20L,STAINLESS STEEL | COUPLING,TEE,20L,STAINLESS STEEL,C/W NUT AND FERRULE |  | 0019008658 | ERNEST LOWE | URL Not Found |  | ERNEST LOWE | [12 empty] | Cleansed | COUPLING | TUBE | TYPE | TEE | NOMINAL SIZE |  | END CONNECTION | NUT AND FERRULE | PRESSURE RATING |  | LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SERIES:20L | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060170170 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060170170 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING: ROTARY, 38MM, PRO GUNNING | COUPLING: ROTARY, 38MM, PRO GUNNING | RC38 | 0019003467 | UNKNOWN | URL Not Found |  |  | RC38 | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | ROTARY | SIZE | 38 MM | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRO GUNNING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060145468 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060145468 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | ST | MAN2 | COUPLING:QUICK DISCONNECT, 8 INCH, MALE | COUPLING:QUICK DISCONNECT, 8 INCH, MALE AND FEMALE |  |  |  | URL Not Found | [14 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | QUICK DISCONNECT | SIZE | 8 IN | MATERIAL |  | CONNECTION TYPE | MALE AND FEMALE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060144993 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060144993 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING:QUICK DISCONNECT; 40 MM, TYPE 1 | COUPLING:QUICK DISCONNECT; 40 MM, TYPE 150C, 316 STAINLESS STEEL, CAMLOCK |  |  |  | URL Not Found |  |  | TYPE 150C | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | QUICK DISCONNECT,CAMLOCK | SIZE | 40 MM | MATERIAL | STAINLESS STEEL 316 | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060144992 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060144992 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLING:QUICK DISCONNECT; 40MM, TYPE 15 | COUPLING:QUICK DISCONNECT; 40MM, TYPE 150F, 316 STAINLESS STEEL, CAMLOCK |  |  |  | URL Not Found |  |  | TYPE 150F | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | QUICK DISCONNECT,CAMLOCK | SIZE | 40 MM | MATERIAL | STAINLESS STEEL 316 | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060219633 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060219633 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | COUPLNG,COMPLETE (MALE AND FEMALE) 400D | COUPLING, COMPLETE (MALE & FEMALE) 400DIA FOR 110KW, 160KW & 250KW, GEARBOX, DOUBLE KEYWAY C/W DOBICON |  |  |  | URL Not Found | [14 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE |  | SIZE | DIA 400 MM | MATERIAL |  | CONNECTION TYPE | MALE AND FEMALE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 110 KW,160 KW AND 250 KW GEARBOX,DOUBLE KEYWAY C/W DOBICON,COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060219398 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060219398 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLNG,FLUD DRVE,432-1X,450 VOTH | COUPLING, FLUID DRIVE, 432-1X, 450 VOITH, C/W 300PCD 5 GROOVE V-PULLEY, SSI FMT0086 | VOTH FLUD DRVE 432-1X |  |  | URL Not Found |  | VOITH TURBO | TYPE 432-1X | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | FLUID | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 450,C/W 300PCD 5 GROOVE V-PULLEY,SSI FMT0086 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060225528 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060225528 | BHP1 | BHP Spares & Supplies | 311717 | Gears | EA | MAN2 | COUPLNG,RGD HALF,SET OF BOLTS and NUT | COUPLING, RIGID HALF, SET OF BOLTS and NUTS |  |  |  | URL Not Found | [14 empty] | Cleansed | COUPLING | SHAFT HALF | TYPE | RIGID | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET OF BOLTS AND NUTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060225526 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060225526 | BHP1 | BHP Spares & Supplies | 311717 | Gears | EA | MAN2 | COUPLNG,RGD,SOLD UNT,FFS175E | COUPLING, SOLID UNIT, FFS175EI, RIGID HALF, PSP PELLET DRUM | FFS175E |  |  | URL Not Found |  |  | FFS175E | [5 empty] | PSP PELLET DRUM | [5 empty] | Cleansed | COUPLING | SHAFT HALF | TYPE | RIGID | BORE SIZE |  | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOLD UNIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060214676 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060214676 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | EA | MAN2 | COUPLNG,SAMFLEX A7 HD,TAPER BORED TO 3 | COUPLING,SAMIFLEX A7 HD,TAPER BORED TO 3535 C/W 3535 X 60 AND 3535 X 70 TAPERLOCK BUSHES, AS PER SSI 4102. |  |  |  | URL Not Found |  | SAMIFLEX | A7 HD | [11 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TAPER BORED TO 3535 C/W 3535 X 60 AND 3535 X 70 TAPERLOCK BUSHES,AS PER SSI 4102. | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060014336 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060014336 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | EXTENTION, BARREL, 420MM DIA, 420MM CAST | EXTENTION, BARREL, 420MM DIA, 420MM CAST IRON CYCLONE, MULTOTEC | C42/BL/CR27 | 0019005676 | MULTOTEC | URL Not Found |  | MULTOTEC | C42/BL/CR27 | [5 empty] | 420 MM CAST IRON CYCLONE | [5 empty] | Cleansed | EXTENSION | NO MODIFIER | TYPE | BARREL | EXTENDED SIZE |  | OVERALL SIZE | DIA 42 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060230507 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 | Suitable NM Not Found | 000000000060230507 | BHP1 | BHP Spares & Supplies | 121317 | Igniters | EA | MAN2 | FLARE,SIGNAL LAUNCHER,PERSONAL,RED AERIA | FLARES,RED AERIAL,ONLY USE FOR SIGNALLING DISTRESS BY DAY OR NIGHT. RED FLARE EJECTED AT 45M, BURNS FOR 5 SECONDS AT 10,000 CANDELA, FLARES,RED AERIAL,ONLY USE FOR SIGNALLING DISTRESS BY DAY OR NIGHT. RED, FLARE EJECTED AT 45M, BURNS FOR 5 SECONDS AT 10,000 CANDELA |  |  |  | URL Not Found | [77 empty] | Production Completed
000000000060218878 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060218878 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | FLASHER,STEEL RED LED P/N EHLTEDEVR-RED | FLASHER, STEEL RED LED P/N EHLTEDEVR-RED | EHLTEDEVR-RED | 0019011367 | ELECTRO DIESEL | URL Not Found |  | ELECTRO DIESEL | EHLTEDEVR-RED | [11 empty] | Cleansed | FLASHER | NO MODIFIER | TYPE |  | FLASH RATE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | OUTPUT RATING |  | MATERIAL | STEEL | NUMBER OF LAMPS |  | SIZE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOR:RED LED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060229202 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060229202 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | UNIT,FLASHER,CAT | UNIT, FLASHER, CAT, NEW STOCK AS PER ESSI ; 1232, 217-8166 | 217-8166 | 0019011537 | BARLOWORLD EQUIPMENT | https://parts.cat.com/en/catcorp/217-8166 |  | CATERPILLAR | 217-8166 |  | BARLOWORLD EQUIPMENT | [9 empty] | Enriched | FLASHER | NO MODIFIER | TYPE | ELECTRONIC,SOLID STATE | FLASH RATE |  | VOLTAGE RATING | 24 V | CURRENT RATING |  | CONTACT CONFIGURATION |  | OUTPUT RATING |  | MATERIAL | ALUMINUM AND PLASTIC | NUMBER OF LAMPS |  | SIZE | WD 35 X LG 108 X HT 59 MM | TEMPERATURE RATING | -40 TO 85 DEG C | MOUNTING TYPE | 2 BOLT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTOR:6 PIN,UNIT,NEW STOCK AS PER ESSI:1232 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060218337 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060218337 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | UNIT,FLASHER,TRIDON,3PIN,24V | UNIT,FLASHER,TRIDON,3PIN,24V | FLU3013 | 0019003392 | TRIDON AUSTRALIA PTY LTD | https://auto-spares.co.za/product/flu3013-tridon-flasher-unit-24v-3pin/ | https://caelex.co.za/product/flu3013/ | TRIDON AUSTRALIA PTY LTD | FLU3013 | [11 empty] | Enriched | FLASHER | NO MODIFIER | TYPE | ELECTRONIC,UNIVERSAL | FLASH RATE |  | VOLTAGE RATING | 24 V | CURRENT RATING |  | CONTACT CONFIGURATION |  | OUTPUT RATING |  | MATERIAL |  | NUMBER OF LAMPS |  | SIZE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF PIN:3,UNIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060114336 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060114336 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | FORK, COUPLING, C/W METRIC BOLT & 2 NUTS | FORK, COUPLING, C/W METRIC BOLT & 2 NUTS, 42IN X 32IN DTRB CRUSHER, HADFIELD | MRB42/B/2 | 0019008699 | HADFIELD | URL Not Found |  | HADFIELD | MRB42/B/2 | [5 empty] | 42 X 32 IN DTRB CRUSHER |  | HADFIELD |  |  |  | Cleansed | FORK | NO MODIFIER | TYPE | COUPLING | CAPACITY |  | MATERIAL |  | SIZE |  | HANDLE DETAILS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W METRIC BOLT AND 2 NUTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060235284 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060235284 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | HEATING OFF GAS FAN 74-FA-12 | HEATING OFF GAS FAN 74-FA-12COMPLETE IMPELLER INCL. SHAFT. MATER |  |  |  | URL Not Found |  |  | 74-FA-12 | [11 empty] | Cleansed | FAN | NO MODIFIER | TYPE | HEATING OFF GAS | BLADE DIAMETER |  | FLOW RATING |  | SPEED RATING |  | NUMBER OF BLADES |  | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE IMPELLER W/SHAFT,MATER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060222926 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060222926 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | ROL | MAN2 | INSERTION, RUBBER, 10MM x 250MM WIDE | INSERTION, RUBBER, 10MM THICK X 250MM WIDE, PSP SCREEN |  |  |  | URL Not Found | [8 empty] | PSP SCREEN | [5 empty] | Cleansed | INSERT | NO MODIFIER | TYPE |  | SIZE | WD 250 X THK 10 MM | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060232930 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060232930 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LATCH,DROP,ANTILUCE,M12,19MM,WELD-ON | DROP LATCH ANTILUCE M12 19MM WELD ON, PN MCM.837 | MCM.837 | 0019011369 | STENWILL | URL Not Found |  | STENWILL | MCM.837 | [11 empty] | Cleansed | LATCH | NO MODIFIER | TYPE | DROP,WELD ON | SIZE | M12 | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 19 MM WELD ON | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060248843 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060248843 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LHD,GHH,SLP6,2,AIR,COOLED | LHD,GHH,SLP6,2,AIR,COOLED |  | 0019011379 | GHH MINING MACHINES | https://ghhmm.co.za/slp6-2-lhd/ |  | GHH MINING MACHINES | LHD - SLP 6.2 | [11 empty] | Enriched | TRUCK | DUMP | TYPE | AIR COOLED | CAPACITY |  | POWER RATING | 88 KW | LIFTING CAPACITY |  | TILT CAPACITY |  | STANDARD BUCKET CAPACITY | 3.15 CU-M | RAISING TIME | 4.8 SEC BOOM,5.5 SEC BUCKET | LOWERING TIME |  | TIPPING TIME |  | WHEEL SIZE | 14.0 X 24 TIRE | NUMBER OF WHEELS | 4 | WHEEL TYPE |  | FRAME MATERIAL |  | WHEEL MATERIAL |  | GEARBOX SPEED |  | FUEL TANK CAPACITY | 200 L | TOTAL LENGTH | 7.909 M | MAX WIDTH | 2.958 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060248844 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060248844 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LHD,GHH,SLP6,2,REBUILD | LHD,GHH,SLP6,2,REBUILD |  | 0019011379 | GHH MINING MACHINES | https://ghhmm.co.za/slp6-2-lhd/ |  | GHH MINING MACHINES | LHD - SLP 6.2 | [11 empty] | Enriched | TRUCK | DUMP | TYPE | REBUILD | CAPACITY |  | POWER RATING | 88 KW | LIFTING CAPACITY |  | TILT CAPACITY |  | STANDARD BUCKET CAPACITY | 3.15 CU-M | RAISING TIME | 4.8 SEC BOOM,5.5 SEC BUCKET | LOWERING TIME |  | TIPPING TIME |  | WHEEL SIZE | 14.0 X 24 TIRE | NUMBER OF WHEELS | 4 | WHEEL TYPE |  | FRAME MATERIAL |  | WHEEL MATERIAL |  | GEARBOX SPEED |  | FUEL TANK CAPACITY | 200 L | TOTAL LENGTH | 7.909 M | MAX WIDTH | 2.958 M | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
000000000060014007 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060014007 | BHP1 | BHP Spares & Supplies | 311628 | Miscellaneous hardware | EA | MAN2 | LINK, COUPLING, 20MM CHAIN, TYPE H6, MAX | LINK, COUPLING, 20MM CHAIN, TYPE H6, MAX-A-LOK |  |  |  | URL Not Found |  | MAX-A-LOK | TYP H6 | [11 empty] | Cleansed | LINK | NO MODIFIER | TYPE | COUPLING | SIZE | 20 MM CHAIN | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060014008 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060014008 | BHP1 | BHP Spares & Supplies | 311628 | Miscellaneous hardware | EA | MAN2 | LINK, COUPLING, 22MM CHAIN, TYPE H7, MAX | LINK, COUPLING, 22MM CHAIN, TYPE H7, MAX-A-LOK, REFER MATERIAL 60217834. |  |  |  | URL Not Found |  | MAX-A-LOK | TYP H7 |  |  | 60217834 | [8 empty] | Cleansed | LINK | NO MODIFIER | TYPE | COUPLING | SIZE | 22 MM CHAIN | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060118498 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060118498 | BHP1 | BHP Spares & Supplies | 251216 | Railway and tramway cars | EA | MAN2 | LINK, COUPLING, 6 TON HOPPER, GOODMAN PO | LINK, COUPLING, 6 TON HOPPER, GOODMAN POWER | 02-00-301-000 | 0019008697 | GOODMAN POWER | URL Not Found |  | GOODMAN POWER | 02-00-301-000 | [5 empty] | 6 TON HOPPER | [5 empty] | Cleansed | LINK | NO MODIFIER | TYPE | COUPLING | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060107409 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060107409 | BHP1 | BHP Spares & Supplies | 271123 | Marking tools | TB | MAN2 | MARKING MEDIA, ENG BLUE, 30 GRAM TUBE | MARKING MEDIA, ENG BLUE, 30 GRAM TUBE |  |  |  | URL Not Found | [14 empty] | Cleansed | MARKER | NO MODIFIER | TYPE | MARKING MEDIA | POINT TYPE |  | POINT SIZE |  | COLOUR | ENGLISH BLUE | SIZE | 30 GM | PACKAGE TYPE | TUBE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060001834 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060001834 | BHP1 | BHP Spares & Supplies | 271123 | Marking tools | CN | MAN2 | MARKING MEDIA, ENG BLUE, 300ML AEROSOL C | MARKING MEDIA, ENG BLUE, 300ML AEROSOL CAN |  |  |  | URL Not Found | [14 empty] | Cleansed | MARKER | NO MODIFIER | TYPE | MARKING MEDIA | POINT TYPE |  | POINT SIZE |  | COLOUR | ENGLISH BLUE | SIZE | 300 ML | PACKAGE TYPE | AEROSOL CAN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060227702 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 | Suitable NM Not Found | 000000000060227702 | BHP1 | BHP Spares & Supplies | 271411 | Suspension tools | ROL | MAN2 | SAFETY NET,POLYPROPYLENE | 1.5MX5MX100MM#X10MM POLYPROPYLENE GREY ROPE STANDARD SAFETY NET WITH SURROUND OLNLY |  | 0019009977 | CAT ALTERNATIVE | URL Not Found |  | CAT ALTERNATIVE | [75 empty] | Production Completed
000000000060113461 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 | Partial Match | 000000000060113461 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | O/L PROTECTION, NEWLEC SER. NO 330MC220, | OVERLOAD PROTECTION, NEWLEC SER. NO 330MC220, P/N S4150/60, WOLFF 50/15 & DAVY 25/15 & 35/15 TON CRANES |  |  |  | https://www.newelec.co.za/wp-content/uploads/2017/05/330_Kits_Complete_Brochure-01A.pdf |  | NEWLEC | 330MC220 |  | NEWLEC | S4150/60 |  |  | 50/15 AND DAVY 25/15 AND 35/15 TON CRANES |  | WOLFF |  |  |  | Cleansed | RELAY | OVERLOAD | TYPE |  | CURRENT RATING |  | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEWLEC SER.NO 330MC220 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060215141 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060215141 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | RECEVER,TELCO,NCKEL PLATED,HGH POW | RECEIVER, TELCO, NICKEL PLATED, HIGH POWER J PLUG LR100TB58J | LR100TB58J | 0019007814 | TELCO | https://www.kempstoncontrols.co.uk/LR100TB58J/Telco/sku/482732 |  | TELCO | LR100TB58J | [11 empty] | Enriched | RECEIVER | NO MODIFIER | TYPE |  | FREQUENCY RATING |  | NUMBER OF CHANNELS |  | OPERATING RANGE | UPTO 18 M | SIZE | M12 X 1 HOUSING | MATERIAL | NICKLE PLATED BRASS | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONNECTION:4 PIN, M12 PLUG,SEALING CLASS:IP 67,HIGH POWER J PLUG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060171495 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060171495 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | RESTRICTOR,AIR EXHAUST,GRE 1/4 | RESTRICTOR,AIR EXHAUST,GRE 1/4, AS PER SSI 2007 | GRE 1/4 | 0019003323 | THIESSEN S.A. | URL Not Found |  | THIESSEN S.A. | GRE 1/4 | [11 empty] | Cleansed | CONTROLLER | NO MODIFIER | TYPE | AIR EXHAUST RESTRICTOR | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2007 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060221733 - B5 | STP-004 | DATA ENRICHMENT | NGB | NGB5 | kk | 2022-10-10 | 2022-10-17 |  | 000000000060221733 | BHP1 | BHP Spares & Supplies | 311630 | Couplings | ST | MAN2 | COUPLING, BOLT SET C/W WASHER & NUTS | COUPLING, BOLT SET C/W WASHER & NUTS, RUPEX 630 COUPLING, 1 X SET = 14 OFF BOLT SET, PART NUMBER 101731370 |  |  |  | URL Not Found |  | RUPEX | 101731370 | 630 | [10 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BOLT SET C/W WASHER AND NUTS,1 X SET=14 OFF BOLT SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed