## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060173542 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060173542 | BHP1 | BHP Spares & Supplies | 312000 | Adhesives and sealants | ST | MAN2 | SOLUTION & HARDENER, ADHESIVE, SC-010, | SOLUTION & HARDENER, ADHESIVE, SC-010, TIGROSTIK, HARDNER, STVRD, IVAC SC, (TIGAR CHEMICAL PRODUCTS), BUCKET CONVEYOR SIDESKIRTS A, ND BUCKET`S. | SC-010 | 0019003467 | UNKNOWN | http://nayon-engineering.co.za/tigrostik-sc-010-and-tigrostik-sc-022/ |  |  | SC-010 | [11 empty] | CLEANSED | ADHESIVE | NO MODIFIER | TYPE | SOLUTION,HARDENER | CURE TIME |  | CONTAINER |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:TIGROSTIK,STVRD,IVAC SC,TIGAR CHEMICAL PRODUCTS,BUCKET CONVEYOR SIDESKIRTS AND BUCKETS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060212113 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060212113 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | STEERING COLUMN, 37A-22-11121, KOM | STEERING COLUMN, SKIDSTEER, SK714-5R, 37A-22-11121, KOMATSU | 37A-22-11121 | 0019001867 | KOMATSU CORP | URL NOT FOUND |  | KOMATSU CORP | 37A-22-11121 | [5 empty] | SKIDSTEER | SK714-5R |  |  |  |  | CLEANSED | COLUMN | NO MODIFIER | TYPE | STEERING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060097671 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060097671 | BHP1 | BHP Spares & Supplies | 261115 | Kinetic power transmission | EA | MAN2 | VARIABLE SPEED DRIVE, 200KW, ALSTHOM | VARIABLE SPEED DRIVE, 200KW, ALSTHOM | MV3058A4A1 | 0019001396 | GEC ALSTHOM LTD | URL NOT FOUND |  | GEC ALSTHOM LTD | MV3058A4A1 | [11 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 200 KW | INPUT VOLTAGE | 525 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060222440 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060222440 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VARIABLE SPEED DRIVE, 30KW, 525V, 44A | VARIABLE SPEED DRIVE, 30KW, 525V, 44A , WEG, PART NUMBER: SACFW110044T50NFZ |  |  |  | URL NOT FOUND |  | WEG | SACFW110044T50NFZ | [11 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 30 KW | INPUT VOLTAGE | 525 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING | 44 A | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060097668 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060097668 | BHP1 | BHP Spares & Supplies | 261115 | Kinetic power transmission | EA | MAN2 | VARIABLE SPEED DRIVE, 4KW, ALSTHOM | VARIABLE SPEED DRIVE, 4KW, ALSTHOM | MV510A4C1 | 0019001396 | GEC ALSTHOM LTD | https://www.unisgroup.com/products/mv510a4c1/ |  | GEC ALSTHOM LTD | MV510A4C1 | [11 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 4 KW | INPUT VOLTAGE |  | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060097670 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060097670 | BHP1 | BHP Spares & Supplies | 261115 | Kinetic power transmission | EA | MAN2 | VARIABLE SPEED DRIVE, 55KW, ALSTHOM | VARIABLE SPEED DRIVE, 55KW, ALSTHOM | MV510A4C1 | 0019001396 | GEC ALSTHOM LTD | https://www.unisgroup.com/products/mv510a4c1/ |  | GEC ALSTHOM LTD | MV510A4C1 | [11 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 55 KW | INPUT VOLTAGE |  | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060226906 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060226906 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VARIABLE SPEED DRIVE,90KW,ABB,ACS800 | VARIABLE SPEED DRIVE, 90KW, ABB, ACS800 | ACS800-04-0100-7 93A |  |  | https://new.abb.com/products/68365872/acs800-04-0100-7 |  | ABB | ACS800-04-0100-7 93A | [11 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 90 KW | INPUT VOLTAGE |  | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060227088 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060227088 | BHP1 | BHP Spares & Supplies | 311717 | Gears | EA | MAN2 | VSD, 110KW 525V WEG SACFW1100150T60YZ | VSD, 110KW 525V WEG SACFW1100150T60YZ |  |  |  | URL NOT FOUND |  | WEG | SACFW1100150T60YZ | [11 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 110 KW | INPUT VOLTAGE | 525 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060227090 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060227090 | BHP1 | BHP Spares & Supplies | 311717 | Gears | EA | MAN2 | VSD, 160KW 525V WEG SACFW1100289T60YZ | VSD, 160KW 525V WEG SACFW1100289T60YZ, UNDERGROUND CONVEYOR |  |  |  | URL NOT FOUND |  | WEG | SACFW1100289T60YZ | [11 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 160 KW | INPUT VOLTAGE | 525 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060227089 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060227089 | BHP1 | BHP Spares & Supplies | 311717 | Gears | EA | MAN2 | VSD, 250KW 525V WEG SACFW1100150T60YZ | VSD, 250KW 525V WEG SACFW1100150T60YZ |  |  |  | URL NOT FOUND |  | WEG | SACFW1100150T60YZ | [11 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 250 KW | INPUT VOLTAGE | 525 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060214278 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060214278 | BHP1 | BHP Spares & Supplies | 310000 | Manufacturing Components and Supplies | EA | MAN2 | VSD, DANFOSS, MAINS SUPPLY (380,440V), T | VSD, DANFOSS, MAINS SUPPLY (380-440V), TORQUE (VARIABLE), KW RATING (200KW), CURRENT (395A),TYPE (395A FC102 P200K) | 131B6945 | 0019000883 | DANFOSS BAUER LTD,UK | https://gekoms.org/product/131b6945-fc-102p200-danfoss-vlt-hvac-drive/ |  | DANFOSS BAUER LTD,UK | 131B6945 | [11 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 200 KW | INPUT VOLTAGE | 380-440 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING | 395 A | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060180006 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060180006 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VSD,COMPLETE, 3KW, P.NO SACFW900T5060ESZ | VSD,COMPLETE, 3KW, P.NO SACFW900T5060ESZ | SACFW900T5060ESZ | 0019011534 | TIPROW CONTROLS CC | URL NOT FOUND |  | TIPROW CONTROLS CC | SACFW900T5060ESZ | [11 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 3 KW | INPUT VOLTAGE |  | NUMBER OF PHASE |  | OUTPUT CURRENT RATING |  | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060250938 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060250938 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VSD,WEG,CFW11,380V,13A,4.5KW | VSD,WEG,CFW11,380V,13A,4.5KW,CFW110013T4SZ,FRAME SIZE A | CFW110013T4SZ | 0019011455 | ZEST ELECTRICAL MOTORS CC | https://www.weg.net/catalog/weg/JM/en/Drives/Variable-Speed-Drives/System-Drives/Variable-Speed-Drive-CFW11/DRIVE-CFW110013T4SZ/p/10574711 |  | ZEST ELECTRICAL MOTORS CC | CFW110013T4SZ |  | WEG | [9 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 4.5 KW | INPUT VOLTAGE | 380 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING | 13 A | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FRAME SIZE A | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060250939 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060250939 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VSD,WEG,CFW11,380V,24A,7.5KW | VSD,WEG,CFW11,380V,24A,7.5KW,CFW110024T4SZ,FRAME SIZE B | CFW110024T4SZ | 0019011455 | ZEST ELECTRICAL MOTORS CC | https://www.weg.net/catalog/weg/JM/en/Drives/Variable-Speed-Drives/System-Drives/Variable-Speed-Drive-CFW11/DRIVE-CFW110024T4SZ/p/10574713 |  | ZEST ELECTRICAL MOTORS CC | CFW110024T4SZ |  | WEG | [9 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 7.5 KW | INPUT VOLTAGE | 380 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING | 24 A | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FRAME SIZE B | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060250940 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060250940 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VSD,WEG,CFW11,380V,58A,22KW | VSD,WEG,CFW11,380V,58A,22KW,CFW110058T4SZ,FRAME SIZE C | CFW110058T4SZ | 0019011455 | ZEST ELECTRICAL MOTORS CC | https://www.weg.net/catalog/weg/JM/en/Drives/Variable-Speed-Drives/System-Drives/Variable-Speed-Drive-CFW11/DRIVE-CFW110058T4SZ/p/10574717 |  | ZEST ELECTRICAL MOTORS CC | CFW110058T4SZ |  | WEG | [9 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 22 KW | INPUT VOLTAGE | 380 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING | 58 A | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FRAME SIZE C | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060250941 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060250941 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VSD,WEG,CFW11,380V,70A,30KW | VSD,WEG,CFW11,380V,70A,30KW,CFW110070T4SZ,FRAME SIZE D | CFW110070T4SZ | 0019011455 | ZEST ELECTRICAL MOTORS CC | https://www.weg.net/catalog/weg/JM/en/Drives/Variable-Speed-Drives/System-Drives/Variable-Speed-Drive-CFW11/DRIVE-CFW110070T4SZ/p/10574718 |  | ZEST ELECTRICAL MOTORS CC | CFW110070T4SZ |  | WEG | [9 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 30 KW | INPUT VOLTAGE | 380 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING | 70 A | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FRAME SIZE D | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060250937 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060250937 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VSD,WEG,CFW11,380V,7A,2.2KW | VSD,WEG,CFW11,380V,7A,2.2KW,CFW110007T4SZ,FRAME SIZE A | CFW110007T4SZ | 0019011455 | ZEST ELECTRICAL MOTORS CC | https://www.weg.net/catalog/weg/CA/en/Drives/Variable-Speed-Drives/System-Drives/Variable-Speed-Drive-CFW11/DRIVE-CFW110007T4SZ/p/10574709 |  | ZEST ELECTRICAL MOTORS CC | CFW110007T4SZ |  | WEG | [9 empty] | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 2.2 KW | INPUT VOLTAGE | 380 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING | 7 A | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FRAME SIZE A | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060250920 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060250920 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VSD,YASKAWA,GA500,380V,18A,7.5KW | VSD,YASKAWA,GA500,380V,18A,7.5KW,GA50C4023ABA | GA50C4023ABA | 0019003671 | YASKAWA ELECTRIC CO,JAPAN | https://www.yaskawa.eu.com/products/ac-drives/general-purpose/productdetail/product/ga50c4023aba_656 |  | YASKAWA ELECTRIC CO,JAPAN | GA50C4023ABA | [6 empty] | 500 |  |  |  |  | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 7.5 KW | INPUT VOLTAGE | 380 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING | 18 A | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060250921 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060250921 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | VSD,YASKAWA,GA700,380V,91A,45KW | VSD,YASKAWA,GA700,380V,91A,45KW,GA70C4103BBA | GA70C4103BBA | 0019003671 | YASKAWA ELECTRIC CO,JAPAN | https://www.yaskawa.eu.com/products/ac-drives/general-purpose/productdetail/product/ga70c4103bba_1097 |  | YASKAWA ELECTRIC CO,JAPAN | GA70C4103BBA | [6 empty] | 700 |  |  |  |  | CLEANSED | DRIVE | VARIABLE FREQUENCY | TYPE |  | POWER RATING | 45 KW | INPUT VOLTAGE | 380 V | NUMBER OF PHASE |  | OUTPUT CURRENT RATING | 91 A | OUTPUT FREQUENCY RATING |  | DEGREE OF PROTECTION |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060108635 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060108635 | BHP1 | BHP Spares & Supplies | 231715 | Soldering, brazing or welding machinery and supplies | BOT | MAN2 | SOLDERING FLUID, FLUXITE, 100ML BOTTLE | SOLDERING FLUID, FLUXITE, 100ML BOTTLE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | FLUID | NO MODIFIER | TYPE | SOLDERING | CONTAINER | 100 ML BOTTLE | BASE OIL TYPE |  | COLOUR |  | SPECIFIC GRAVITY |  | FLASH POINT |  | VISCOSITY |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLUXITE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060229978 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060229978 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SPRAY,COPPER COMPOUND 400ML TIN PGE-1900 | SPRAY, COPPER COMPOUND 400ML TIN PGE-190015 | PGE-190015 |  |  | URL NOT FOUND |  |  | PGE-190015 | [11 empty] | CLEANSED | SPRAYER | NO MODIFIER | TYPE |  | CAPACITY | 400 ML TIN | MATERIAL |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218070 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218070 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 1 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 790MM X 310MM AS PER DRAWING FW44C19026_ITEM 1, SSI FMT00392 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 1 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:790 X 310 MM,SSI FMT00392 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218079 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218079 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 10 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 860MM X 450MM AS PER DRAWING FW44C19026_ITEM 10, SSI FMT00399 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 10 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:860 X 450 MM,SSI FMT00399 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218081 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218081 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 12 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 855MM X 390MM AS PER DRAWING FW44C19026_ITEM 12, SSI FMT00397 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 12 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:855 X 390 MM,SSI FMT00397 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218082 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218082 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 13 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 910MM X 340MM AS PER DRAWING FW44C19026_ITEM 13, SSI FMT00402 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 13 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:910 X 340 MM,SSI FMT00402 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218071 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218071 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 2 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 790MM X 470MM AS PER DRAWING FW44C19026_ITEM 2, SSI FMT00393 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 2 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:790 X 470 MM,SSI FMT00393 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218072 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218072 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 3 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 795MM X 555MM AS PER DRAWING FW44C19026_ITEM 3, SSI FMT00394 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 3 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:795 X 555 MM,SSI FMT00394 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218073 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218073 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 4 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 775MM X 475MM AS PER DRAWING FW44C19026_ITEM 4, SSI FMT00390 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 4 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:775 X 475 MM,SSI FMT00390 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218074 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218074 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 5 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 785MM X 305MM AS PER DRAWING FW44C19026_ITEM 5, SSI FMT00391 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 5 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:785 X 305 MM, SSI FMT00391 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218075 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218075 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 6 | TOUGHENED ARMOUR GLASS, 6MM THICK C/W CLEAR SAFETY FILM WITH SIZES: 870MM X 380MM AS PER DRAWING FW44C19026_ITEM 6, SSI FMT00401 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 6 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:870MM X 380MM,SSI FMT00401 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218076 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218076 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 7 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 855MM X 380MM AS PER DRAWING FW44C19026_ITEM 7, SSI FMT00396 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 7 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:855 X 380 MM,SSI FMT00396 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218077 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218077 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 8 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 850MM X 445MM AS PER DRAWING FW44C19026_ITEM 8, SSI FMT00395 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 8 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:850 X 445 MM,SSI FMT00395 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060218078 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218078 | BHP1 | BHP Spares & Supplies | 301717 | Glass products | EA | MAN2 | TOUGHENED ARMOUR GLASS, 6MM_ITEM 9 | TOUGHENED ARMOUR GLASS, 6MM THICK COMPLETE WITH CLEAR SAFETY FILM WITH SIZES: 860MM X 630MM AS PER DRAWING FW44C19026_ITEM 9, SSI FMT00400 |  |  |  | URL NOT FOUND | [11 empty] | FW44C19026 |  | 9 | CLEANSED | GLASS | NO MODIFIER | TYPE | TOUGHENED ARMOUR | SIZE | THK 6 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CLEAR SAFETY FILM W/ SIZES:860 X 630 MM,SSI FMT00400 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060227384 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060227384 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | TOP HOOH SET 1T C/BLOCK KITO | TOP HOOH SET 1T C/BLOCK KITO |  |  |  | URL NOT FOUND |  | KITO | [12 empty] | CLEANSED | HOOK | NO MODIFIER | TYPE | TOP,SET | LOAD RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAPCITY:1 T,C/BLOCK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060227390 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060227390 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | TOP HOOK SET 1,5T C/BLOCK KITO | TOP HOOK SET 1,5T C/BLOCK KITO |  |  |  | URL NOT FOUND |  | KITO | [12 empty] | CLEANSED | HOOK | NO MODIFIER | TYPE | TOP,SET | LOAD RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAPCITY:1.5 T,C/BLOCK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060227410 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060227410 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | TOP HOOK SET 1,6T LEVER HOIST KITO | TOP HOOK SET 1,6T LEVER HOIST KITO |  |  |  | URL NOT FOUND |  | KITO | [12 empty] | CLEANSED | HOOK | NO MODIFIER | TYPE | TOP,SET | LOAD RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAPCITY:1.6 T,C/BLOCK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060227396 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060227396 | BHP1 | BHP Spares & Supplies | 241016 | Lifting equipment | EA | MAN2 | TOP HOOK SET 2T C/BLOCK KITO | TOP HOOK SET 2T C/BLOCK KITO |  |  |  | URL NOT FOUND |  | KITO | [12 empty] | CLEANSED | HOOK | NO MODIFIER | TYPE | TOP,SET | LOAD RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAPCITY:2 T,C/BLOCK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060124670 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060124670 | BHP1 | BHP Spares & Supplies | 311815 | Gaskets | EA | MAN2 | PACKING RING, DWG A913506P14, ITEM 148, | PACKING RING, DRG A913506P14, ITEM 148, TYPE DCVF52MC2 AIR BLAST CIRCUIT BREAKER, ASEA BROWN BOVERI |  |  |  | URL NOT FOUND |  | ASEA BROWN BOVERI | [6 empty] | AIR BLAST CIRCUIT BREAKER | DCVF52MC2 |  | A913506P14 |  | 148 | CLEANSED | RING | PACKING | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060145460 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060145460 | BHP1 | BHP Spares & Supplies | 301900 | Construction and Maintenance support equipment | EA | MAN2 | STANCHION:HANDRAIL, SPRING LOADED, FERRO | STANCHION:HANDRAIL, SPRING LOADED, FERROMETALS TAPPING PIT |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | HANDRAIL | NO MODIFIER | TYPE | STANCHION,SPRING LOADED | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FERROMETALS TAPPING PIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060176974 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060176974 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | SPIGOT,P/NR 75/35 FOR CYCLONE 250/20 ME | SPIGOT, P/NR 75/35 FOR CYCLONE 250/20 METQUIP | 75/35 | 19004301 | METQUIP PTY LTD | URL NOT FOUND |  | METQUIP PTY LTD | 75/35 | [11 empty] | CLEANSED | SPIGOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CYCLONE 250/20 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060226886 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060226886 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SPIGOT,SCREW IN,EM-120-S/75-PE | SPIGOT: EM-120-S/75-PE SCREW IN SPIGOT |  |  |  | URL NOT FOUND | [9 empty] | EM-120-S/75-PE |  |  |  |  | CLEANSED | SPIGOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060235377 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060235377 | BHP1 | BHP Spares & Supplies | 231521 | Separation machinery and equipment | EA | MAN2 | SPIGOTS 120-HS-100 | SPIGOTS 120-HS-100 |  |  |  | URL NOT FOUND | [9 empty] | 120-HS-100 |  |  |  |  | CLEANSED | SPIGOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060235373 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060235373 | BHP1 | BHP Spares & Supplies | 231521 | Separation machinery and equipment | EA | MAN2 | SPIGOTS 120-HS-50 PU | SPIGOTS 120-HS-50 PU |  |  |  | URL NOT FOUND | [9 empty] | 120-HS-50 PU |  |  |  |  | CLEANSED | SPIGOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060235374 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060235374 | BHP1 | BHP Spares & Supplies | 231521 | Separation machinery and equipment | EA | MAN2 | SPIGOTS 120-HS-55 PU | SPIGOTS 120-HS-55 PU |  |  |  | URL NOT FOUND | [9 empty] | 120-HS-55 PU |  |  |  |  | CLEANSED | SPIGOT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060228840 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060228840 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | STICK,PHASING,33KV PR33D HV,COMPLETE | STICK,PHASING,33KV PR33D HV,COMPLETE |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STICK | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE:33 KV | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060234843 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060234843 | BHP1 | BHP Spares & Supplies | 312000 | Adhesives and sealants | EA | MAN2 | STICK,QUICK,100MM | STICK,QUICK,100MM |  | 0019008967 | THERMOLAG | URL NOT FOUND |  | THERMOLAG | [12 empty] | CLEANSED | STICK | NO MODIFIER | TYPE | QUICK | SIZE | 100 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060187785 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060187785 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | STICK,RESO 1.9 SCREEN LIGNUM STICK | RESO 1.9 SCREEN LIGNUM STICK | MC100510 | 0019008780 | MAC'S ENGINEERING | URL NOT FOUND |  | MAC'S ENGINEERING | MC100510 | [11 empty] | CLEANSED | STICK | NO MODIFIER | TYPE | SCREEN LIGNUM | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RESO 1.9 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060186848 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060186848 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | POLYURETHANE FILLER STRIP 247 LONG X 40 | POLYURETHANE FILLER STRIP 247 LONG X 40 WIDE X 40 THICK REFERENCE DRAWING KP7-3182 REF NO: MA 56329/09/10 | MA 56329/09/10 | 0019005676 | MULTOTEC | URL NOT FOUND |  | MULTOTEC | MA 56329/09/10 | [8 empty] | KP7-3182 |  |  | CLEANSED | STRIP | NO MODIFIER | TYPE | POLYURETHANE FILLER | SIZE | WD 40 X LG 247 X THK 40 | MATERIAL |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060125843 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060125843 | BHP1 | BHP Spares & Supplies | 231715 | Soldering, brazing or welding machinery and supplies | EA | MAN2 | STRIP, REPAIR, RUBBER, 100MM WIDE, 1100M | STRIP, REPAIR, RUBBER, 100MM WIDE, 1100MM LONG, REMA TIP TOP | 5317190 | 0019008886 | REMA TIP TOP | URL NOT FOUND |  | REMA TIP TOP | 5317190 | [11 empty] | CLEANSED | STRIP | NO MODIFIER | TYPE | REPAIR | SIZE | WD 100 MM X LG 1.1 M | MATERIAL | RUBBER | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060027064 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060027064 | BHP1 | BHP Spares & Supplies | 231715 | Soldering, brazing or welding machinery and supplies | EA | MAN2 | STRIP, REPAIR, RUBBER, 50MM WIDE, 10M LO | STRIP, REPAIR, RUBBER, 50MM WIDE, 10 METRE LONG, REMA TIP TOP | 5317712 | 0019008886 | REMA TIP TOP | URL NOT FOUND |  | REMA TIP TOP | 5317712 | [11 empty] | CLEANSED | STRIP | NO MODIFIER | TYPE | REPAIR | SIZE | WD 50 MM X LG 10 M | MATERIAL | RUBBER | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060239928 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060239928 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | ROL | MAN2 | STRIP,COVER,220MMX10M | STRIP,COVER,220MMX10M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STRIP | NO MODIFIER | TYPE | COVER | SIZE | WD 220 MMX LG 10 M | MATERIAL |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060232186 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060232186 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | STRIP,GUIDE,5143MM,20891748,DD210L | GUIDE STRIP 5143MM, PN 20891748, DD210L | 20891748 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik/part/20891748_guide-strip-5143-mm/ |  | SANDVIK | 20891748 | [6 empty] | DD210L |  |  |  |  | CLEANSED | STRIP | NO MODIFIER | TYPE | GUIDE | SIZE | 5.143 M | MATERIAL |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060225794 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060225794 | BHP1 | BHP Spares & Supplies | 301026 | Strip | EA | MAN2 | STRP,PERFORATED REPAR,3 ROWS,3MM X 125 | STRIP,PERFORATED REPAIR,3 ROWS,3MM X 1250MM X 4950MM,SAF2205 STEEL BELT INSERT,PSP 3 PELLETISING PLANT-MFC, NEW STCOK AS PER "ESSI 169" |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | STRIP | NO MODIFIER | TYPE | PERFORATED REPAIR | SIZE | 3 MM X 1.25 X 4.95 M | MATERIAL | SAF2205 STEEL BELT INSERT | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PSP 3 PELLETISING PLANT-MFC, NEW STCOK AS PER ESSI 169,3 ROWS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060213949 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060213949 | BHP1 | BHP Spares & Supplies | 301026 | Strip | EA | MAN2 | STRP,PERFORATED REPAR,3 ROWS;3 MM X 12 | STRIP,PERFORATED REPAIR,3 ROWS;3 MM X 1240 MM X 4930 MM (3CR12),PSP 3 PELLETISING PLANT-MFC, AS PER SSI 4651., AS PER ESSI DELETE : 348 | S.M.0052002 |  |  | URL NOT FOUND |  |  | S.M.0052002 | [11 empty] | CLEANSED | STRIP | NO MODIFIER | TYPE | PERFORATED REPAIR | SIZE | 3 MM X 1.24 X 4.93 M | MATERIAL |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3 ROWS,PSP 3 PELLETISING PLANT-MFC, AS PER SSI 4651,AS PER ESSI DELETE:348 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060256278 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060256278 | BHP1 | BHP Spares & Supplies | 120000 | Chemicals (including Bio-Chemicals) and Gas Materials | KG | MAN2 | TABLETS,BROMINE,BCDMH | TABLETS,BROMINE,BCDMH |  |  |  | URL NOT FOUND |  | BROMINE | BCDMH | [11 empty] | CLEANSED | CHEMICAL | NO MODIFIER | TYPE | TABLETS | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE |  | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060256280 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060256280 | BHP1 | BHP Spares & Supplies | 120000 | Chemicals (including Bio-Chemicals) and Gas Materials | KG | MAN2 | TABLETS,HYPO | TABLETS,HYPO |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | CHEMICAL | NO MODIFIER | TYPE | TABLETS,HYPO | CONCENTRATION/PURITY |  | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE |  | CONTAINER |  | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060218054 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218054 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | KIT | MAN2 | TERMINATION,11KV,95 - 240 SQMM,3 CORE XL | TERMINATION,11KV,95 - 240 SQMM,3 CORE XLPE,650 MM TAILS AND EARTHING, SSI 11110, HT Yard | EPKT - 17C3X0H2/SW57 | 0019005738 | POWERTECH | URL NOT FOUND |  | POWERTECH | EPKT - 17C3X0H2/SW57 | [11 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE |  | TERMINATION TYPE |  | VOLTAGE RATING | 11 KV | NUMBER OF CORES | 3 | CONDUCTOR SIZE | 95-240 SQ MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL:XLPE,650 MM TAILS AND EARTHING,SSI 11110,HT YARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060218052 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218052 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | KIT | MAN2 | TERMINATION,CABLE,11KV,35 -70 SQMM,3 COR | TERMINATION,CABLE,11KV,35 -70 SQMM,3 CORE XLPE,650 MM TAILS AND EARTHING, SSI 11110, Ht Yard | EPKT - 17B3XOH2/SW56 | 0019005738 | POWERTECH | URL NOT FOUND |  | POWERTECH | EPKT - 17B3XOH2/SW56 | [11 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE |  | TERMINATION TYPE |  | VOLTAGE RATING | 11 KV | NUMBER OF CORES | 3 | CONDUCTOR SIZE | 35-70 SQ MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL:XLPE,650 MM TAILS AND EARTHING, SSI 11110,HT YARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060218050 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060218050 | BHP1 | BHP Spares & Supplies | 261216 | Electrical cable | KIT | MAN2 | TERMINATION,CABLE,36KV,185 - 500 SQMM,1 | TERMINATION,CABLE,36KV,185 - 500 SQMM,1 CORE XLPE,UNAMOURED,OUTDOOR COMPLETE WITH SHIELD EARTHING, SSI 11110, HT Yard | EPKT - 36E1X0/U59 | 0019005738 | POWERTECH | URL NOT FOUND |  | POWERTECH | EPKT - 36E1X0/U59 | [11 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE |  | TERMINATION TYPE |  | VOLTAGE RATING | 36 KV | NUMBER OF CORES | 1 | CONDUCTOR SIZE | 185-500 SQ MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL:XLPE,UNAMOURED,OUTDOOR COMPLETE WITH SHIELD EARTHING,SSI 11110,HT YARD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251395 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060251395 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TERMINATION,KIT,11KV,3CORE,25MMTO95MM | TERMINATION,KIT,11KV,XLPE,3CORE,25MMTO95MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE |  | TERMINATION TYPE |  | VOLTAGE RATING | 11 KV | NUMBER OF CORES | 3 | CONDUCTOR SIZE | 25-95 MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL:XLPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251396 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060251396 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TERMINATION,KIT,11KV,3CORE,70MMTO240MM | TERMINATION,KIT,11KV,XLPE,3CORE,70MMTO240MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE |  | TERMINATION TYPE |  | VOLTAGE RATING | 11 KV | NUMBER OF CORES | 3 | CONDUCTOR SIZE | 70-240 MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL:XLPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251399 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060251399 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TERMINATION,KIT,33KV,1CORE,120MMTO300MM | TERMINATION,KIT,33KV,XLPE,1CORE,120MMTO300MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE |  | TERMINATION TYPE |  | VOLTAGE RATING | 33 KV | NUMBER OF CORES | 1 | CONDUCTOR SIZE | 120-300 MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL:XLPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251398 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060251398 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TERMINATION,KIT,33KV,3CORE,120MMTO300MM | TERMINATION,KIT,33KV,XLPE,3CORE,120MMTO300MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE |  | TERMINATION TYPE |  | VOLTAGE RATING | 33 KV | NUMBER OF CORES | 3 | CONDUCTOR SIZE | 120-300 MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL:XLPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060251397 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060251397 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TERMINATION,KIT,33KV,3CORE,70MMTO240MM | TERMINATION,KIT,33KV,XLPE,3CORE,70MMTO240MM |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TERMINATION KIT | CABLE | TYPE |  | TERMINATION TYPE |  | VOLTAGE RATING | 33 KV | NUMBER OF CORES | 3 | CONDUCTOR SIZE | 70-240 MM | CABLE INSULATION DIAMETER |  | TERMINATIONS PER KIT |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CABLE MATERIAL:XLPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060254368 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060254368 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TORCH,MIG,HR40,400A-4M | TORCH, MIG, HR40, 400A-4M |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | TORCH | CUTTING/WELDING | TYPE | MIG | FLOW RATING |  | FUEL CAPACITY |  | TIP SIZE |  | TIP TYPE |  | FUEL TYPE |  | SIZE |  | HANDLE TYPE |  | BODY MATERIAL |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CURRENT:400 A,4M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060243254 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060243254 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | TORCH,RING,4,1,4 | 4 1/4 TORCH RING |  |  |  | URL NOT FOUND | [14 empty] | CLEANSED | RING | NO MODIFIER | TYPE | TORCH | DIMENSIONS | 4.25 | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060215942 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060215942 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | TRANSDUCER, PRESSURE, P/N 2200BGC2501 | TRANSDUCER, PRESSURE, P/N 2200BGC2501 |  |  |  | URL NOT FOUND |  |  | 2200BGC2501 | [11 empty] | CLEANSED | TRANSDUCER | PRESSURE | TYPE |  | INPUT SIGNAL RANGE |  | OUTPUT SIGNAL RANGE |  | ACCURACY |  | PROCESS CONNECTION |  | POWER SUPPLY |  | END CONNECTION |  | COMMUNICATION PROTOCOL |  | TEMPERATURE RATING |  | HOUSING MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060217088 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060217088 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSDUCER, SIEMENS XPS-30 (0-30MTR) LEV | TRANSDUCER, SIEMENS XPS-30 (0-30MTR) LEVEL | 7ML1118-3CA30 | 0019011590 | SIEMENS | URL NOT FOUND |  | SIEMENS | 7ML1118-3CA30 | [11 empty] | CLEANSED | TRANSDUCER | NO MODIFIER | TYPE | LEVEL | INPUT RATING |  | OUTPUT RATING |  | ACCURACY |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | XPS-30 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060249436 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060249436 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSDUCER,PANEL,NSP0354,FOR16XVA17TRANS | TRANSDUCER, PANEL, NSP0354, FOR 16 X VA17 TRANSDUCERS, IP65, C/W LOCKABLE HANDLE | NSP0354 | 0019011819 | Unknown | URL NOT FOUND | [14 empty] | CLEANSED | TRANSDUCER | NO MODIFIER | TYPE | PANEL | INPUT RATING |  | OUTPUT RATING |  | ACCURACY |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 16 X VA17,C/W LOCKABLE HANDLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060214032 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060214032 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSMITTER, ROPE LENGTH, PT5MA-100-S47- | ROPE LENGTH TRANSMITTER PT5MA-100-S47-UP-420R-M6, POS SENS 0.00630mA/mm, output 4-20mA | PT5MA-100-S47-UP-420R-M6 |  |  | URL NOT FOUND |  |  | PT5MA-100-S47-UP-420R-M6 | [11 empty] | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE | 4-20 MA | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POS SENS 0.00630 MA/MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060171504 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060171504 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | TRANSMITTER,DIFFERENTIAL PRESSURE,265DS- | TRANSMITTER,DIFFERENTIAL PRESSURE,265DS-A, AS PER SSI 2210 | 265DS-A | 0019003323 | THIESSEN S.A. | https://haygor.com/product/abb-265ds-differential-pressure-transmitter/ |  | THIESSEN S.A. | 265DS-A | [11 empty] | CLEANSED | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | HOUSING MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2210 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060171503 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060171503 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | TRANSMITTER,DIFFERENTIAL PRESSURE,265DS- | TRANSMITTER,DIFFERENTIAL PRESSURE,265DS-C, AS PER SSI 2209 | 265DS-C | 0019003323 | THIESSEN S.A. | https://haygor.com/product/abb-265ds-differential-pressure-transmitter/ |  | THIESSEN S.A. | 265DS-C | [11 empty] | CLEANSED | TRANSMITTER | DIFFERENTIAL PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | HOUSING MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2209 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060174675 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060174675 | BHP1 | BHP Spares & Supplies | 201426 | Production control system instrumentation | EA | MAN2 | TRANSMITTER,FLOW,PROMAG,E AND H,DN 350 | TRANSMITTER,FLOW,ENDRESS AND HAUSER,MAGFLOW,PROMAG W400,5W4C3F,DN350,14, INCH., AS PER SSI 2358., EDITED AS PER SSI 7339. | 5W4C3F-AAALHAOAHD3KGA+AAEB | 0019001122 | ENDRESS UND HAUSER GMBH UND CO,W.GE | https://www.endress.com/en/field-instruments-overview/flow-measurement-product-overview/electromagnetic-flowmeter-promag-w400-5w4c?t.tabId=product-overview |  | ENDRESS UND HAUSER GMBH UND CO,W.GE | 5W4C3F-AAALHAOAHD3KGA+AAEB |  |  | PROMAG W400 | [8 empty] | CLEANSED | TRANSMITTER | FLOW | TYPE | MAGFLOW | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | DENSITY |  | CONNECTION TYPE |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | MATERIAL |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NOMINAL SIZE:DN350,AS PER SSI 2358,EDITED AS PER SSI 7339 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060171506 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060171506 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | TRANSMITTER,GAUGE PRESSURE,265GS-C | TRANSMITTER,GAUGE PRESSURE,265GS-C, AS PER SSI 2212 | 265GS-C | 0019003323 | THIESSEN S.A. | https://library.e.abb.com/public/5e6e69441ecc6fe7c12574a9004103eb/SPL_265_7_9xS-EN-05_2008.pdf |  | THIESSEN S.A. | 265GS-C | [11 empty] | CLEANSED | TRANSMITTER | GAUGE PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | COMMUNICATION PROTOCOL |  | HOUSING MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2212 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060171508 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060171508 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | TRANSMITTER,GAUGE PRESSURE,265GS-V | TRANSMITTER,GAUGE PRESSURE,265GS-V, AS PER SSI 2214 | 265GS-V | 0019003323 | THIESSEN S.A. | https://library.e.abb.com/public/5e6e69441ecc6fe7c12574a9004103eb/SPL_265_7_9xS-EN-05_2008.pdf |  | THIESSEN S.A. | 265GS-V | [11 empty] | CLEANSED | TRANSMITTER | GAUGE PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | COMMUNICATION PROTOCOL |  | HOUSING MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2214 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060171509 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060171509 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | TRANSMITTER,GAUGE PRESSURE,266GRT-F | TRANSMITTER,GAUGE PRESSURE,266GRT-F, AS PER SSI 2215/6205., "ABB FIELD TRANSMITTER 265G/A", (INSTRUCTION MANUAL IM 265G/A-EN_C) | 266GRT-F | 0019003323 | THIESSEN S.A. | https://elexim.net/elektrotechnika/wp-content/uploads/sites/5/2019/05/DS_266XRT_EN_D.pdf |  | THIESSEN S.A. | 266GRT-F | [11 empty] | CLEANSED | TRANSMITTER | GAUGE PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | COMMUNICATION PROTOCOL |  | HOUSING MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2215/6205 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060171507 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060171507 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | TRANSMITTER,GAUGE PRESSURE,266HSH | TRANSMITTER,GAUGE PRESSURE, 266HSH.F.S.P.A.1-....L1..B6, OPT L2B2M5TAI1CO, MAT 1.4404(8) / AL2O3, -400 …+400 MBAR, ABB, AS PER SSI 2213, "ABB AUTOMATION PRODUCTS,, ORDER-NO;0240296558 000010,, SERIAL-NO;265GR65020039, EDIT AS PER ATTACHED : 2020-05-19, ABB Pressure Transmitter, 266HSH.F.S.P.A.1-....L1..B6, Opt. L2B2M5TAI1CO, Mat. 1.4404(8) / AL2O3, -400 ?+400mbar | 266HSH.F.S.P.A.1-....L1..B6 | 0019011391 | ABB SOUTH AFRICA (PTY) LTD | https://library.e.abb.com/public/b29423206ccc40479151a099809582e5/DS_266HSH_LowP-EN_D.pdf |  | ABB SOUTH AFRICA (PTY) LTD | 266HSH.F.S.P.A.1-....L1..B6 | [9 empty] | 265GR65020039 |  | CLEANSED | TRANSMITTER | GAUGE PRESSURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | SUPPLY VOLTAGE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | COMMUNICATION PROTOCOL |  | HOUSING MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060229901 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060229901 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TRANSMITTER,IMPULSE 01182850 | TRANSMITTER,IMPULSE 01182850 | 01182850 |  |  | URL NOT FOUND |  |  | 01182850 | [11 empty] | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE | IMPULSE | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060232067 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060232067 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSMITTER,PRESSURE,PMP51-AA21JA | TRANSMITTER, PRESSURE TORQUE, PMP51-AA21JA, E&H |  |  |  | https://portal.endress.com/wa001/dla/5000498/6753/000/01/TI00436PEN_2617.pdf |  | E&H | PMP51-AA21JA | [11 empty] | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE | PRESSURE TORQUE | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE |  | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060229906 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 |  | 000000000060229906 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TRANSMITTER,TEMPERATURE 04213210 | TRANSMITTER,TEMPERATURE 04213210 | 04213210 |  |  | https://www.gciron.com/04213210_TRANSMITTER_TEMPERATURE_Deutz_Parts_p/dtz04213210.htm |  |  | 04213210 | [11 empty] | CLEANSED | TRANSMITTER | TEMPERATURE | TYPE |  | MEASURING RANGE |  | ACCURACY |  | INPUT TYPE |  | OUTPUT TYPE |  | CONNECTION TYPE |  | MATERIAL |  | SUPPLY VOLTAGE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060215140 - B5 | STP-004 | DATA ENRICHMENT | KIB | KIB5 | OK | 2022-10-10 | 2022-10-18 | BASED ON URL | 000000000060215140 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TRANSMTTER,TELCO,NCKEL PLATED,HGH | TRANSMITTER, TELCO, NICKEL PLATED, HIGH POWER J PLUG LT100HTB58J | LT100HTB58J | 0019007814 | TELCO | https://www.telcosensors.com/products/remote-photoelectric-systems/remote-sensors/remote-sensors/lt-100h-tb58-j |  | TELCO | LT100HTB58J | [11 empty] | CLEANSED | SENSOR | NO MODIFIER | TYPE |  | SENSING RANGE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FINISH:NICKEL PLATED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed