## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060217251 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060217251 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | KIT, CUTTING, HEAVY DUTY, DELUXE | KIT, CUTTING, HEAVY DUTY, DELUXE | 100572 | 0019011481 | TOOLQUIP | U |  | TOOLQUIP | 100572 | [12 empty] | KIT | NO MODIFIER | TYPE | CUTTING, HEAVY DUTY, DELUXE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060119705 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060119705 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | KIT, HYD, SAE FLANGE CODE 61 3000 PSI, 1 | KIT, HYDRAULIC, SAE FLANGE CODE 61 3000 PSI, 1IN, WEATHERHEAD | SFK-16 | 0019009010 | WEATHERHEAD | https://www.eaton.com/us/en-us/skuPage.SFK-16.specifications.html |  | EATON | SFK-16 |  | WEATHERHEAD | SFK-16 | [8 empty] | E | KIT | NO MODIFIER | TYPE | Split Flange,HYDRAULIC | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SAE FLANGE CODE: 61, PRESSURE RATING:3000 PSI, NOMINAL FLANGE SIZE:1 IN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060178357 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060178357 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | KIT, LUBRI-VENT COMPLETE 912 P/N ALJET66 | KIT, LUBRI-VENT COMPLETE 912 P/N ALJET660-009CAM | ALJET660-009CAM | 0019011367 | ELECTRO DIESEL | U |  | ELECTRO DIESEL | ALJET660-009CAM | [12 empty] | KIT | NO MODIFIER | TYPE | LUBRI-VENT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE,REF:912 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060121835 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060121835 | BHP1 | BHP Spares & Supplies | 261116 | Power generators | EA | MAN2 | KIT, REPAIR, GRESEN V20, AXIOM, MODIFIED | KIT, REPAIR, GRESEN V20, AXIOM, MODIFIED STOKER, DANGO | 2XK-6035 & 3XK6121 | 0019008605 | DANGO DIENENTHAL | U |  | DANGO DIENENTHAL | 2XK-6035 |  | DANGO DIENENTHAL | 3XK6121 |  |  |  | GRESEN V20 | [5 empty] | KIT | NO MODIFIER | TYPE | REPAIR | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AXIOM, MODIFIED STOKER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060119988 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060119988 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | ST | MAN2 | KIT, SEAL, 4 PORT MANUAL OPERATED VALVE, | KIT, SEAL, 4 PORT MANUAL OPERATED VALVE, ARGUS TYPE, ERNEST LOWE | EL25X-00 | 0019008658 | ERNEST LOWE | U |  | ERNEST LOWE | EL25X-00 | [5 empty] | 4 PORT MANUAL OPERATED VALVE,ARGUS TYPE | [6 empty] | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060156383 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060156383 | BHP1 | BHP Spares & Supplies | 311800 | Gaskets and seals | EA | MAN2 | KIT, SEAL, DISTRIBUTION VALVE, 1*CC30 FI | KIT, SEAL, DISTRIBUTION VALVE, 1*CC30 FILTER & 2*CC45 FILTER | 105-5200-01 | 0019001921 | LAROX INCORPORATED | Y |  | LAROX INCORPORATED | 105-5200-01 | [5 empty] | DISTRIBUTION VALVE | [6 empty] | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 1*CC30 FILTER & 2*CC45 FILTER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060097421 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060097421 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | KIT, SEAL, PROPORTIONAL MAIN VALVE, VICK | KIT, SEAL, PROPORTIONAL MAIN VALVE, VICKERS, S43 SHUTTLE FEEDER, PELLETISING PLANT, TFC | SF197071 | 0019008972 | TOGNELLA | U |  | TOGNELLA | SF197071 | [5 empty] | PROPORTIONAL MAIN VALVE,PELLETIZING PLANT-TFC | [6 empty] | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR S43 SHUTTLE FEEDER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060097422 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060097422 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | KIT, SEAL, PROPORTIONAL PILOT VALVE, VIC | KIT, SEAL, PROPORTIONAL PILOT VALVE, VICKERS, S43 SHUTTLE FEEDER, PELLETISING PLANT, TFC | 565144 | 0019000915 | DEMAG INDUSTRIAL EQUIPMENT PTY. | https://www.appliedfluidpower.com/media/wysiwyg/PDFs/Eaton/Valves/KBFDG5V.pdf |  | VICKERS HYDRAULICS (PTY) LTD | 565144 |  | DEMAG INDUSTRIAL EQUIPMENT PTY. | 565144 |  |  | PROPORTIONAL PILOT VALVE,PELLETIZING PLANT-TFC |  | VICKERS |  |  |  |  | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR S43 SHUTTLE FEEDER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060097436 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060097436 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | KIT, SEAL, VICKERS DIRECTIONAL VALVE, S4 | KIT, SEAL, VICKERS DIRECTIONAL VALVE, S44 HYDRAULIC UNIT, PELLETISING PLANT, TFC | 870000 | 0019000915 | DEMAG INDUSTRIAL EQUIPMENT PTY. | U |  | VICKERS HYDRAULICS (PTY) LTD |  |  | DEMAG INDUSTRIAL EQUIPMENT PTY. | 870000 |  |  | DIRECTIONAL VALVE,PELLETIZING PLANT-TFC | 870000 | VICKERS |  |  |  |  | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR S44 HYDRAULIC UNIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060246514 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060246514 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | KIT,IFM,ZB0057,ROPE,TENSION,KIT,50M | KIT,IFM,ZB0057,ROPE TENSION KIT,50M | ZB0057 | 0019011819 | Unknown | https://www.ifm.com/in/en/product/ZB0057 |  | IFM | ZB0057 | [11 empty] | C | KIT | NO MODIFIER | TYPE | Rope tension | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LENGTH:50 M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060165936 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060165936 | BHP1 | BHP Spares & Supplies | 311717 | Gears | EA | MAN2 | KIT,SEAL P/NO,132/135/232/235 FOR A FL | KIT: SEAL P/NO: 132/135/232/235 FOR A FLENDER GEARBOX B3SH12 | 132/135/232/235 | 0019005398 | FLENDER | U |  | FLENDER | 132/135/232/235 | [12 empty] | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR A FLENDER GEARBOX B3SH12 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060097450 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060097450 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | KIT,SEAL,ACCUMULATOR,BOSCH,TENSIONIN | KIT, SEAL, ACCUMULATOR, BOSCH, TENSIONING SYSTEM, S48 STEEL BELT, PELLETISING PLANT, TFC, KIT, SEAL, ACCUMULATOR, BOSCH, TENSIONING SYSTEM, S48 STEEL BELT,, PELLETISING PLANT, TFC | 02-326043 | 0019000915 | DEMAG INDUSTRIAL EQUIPMENT PTY. | u |  | DEMAG INDUSTRIAL EQUIPMENT PTY. | 02-326043 |  | BOSCH |  |  |  | PELLETIZING PLANT-TFC | [6 empty] | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | for ACCUMULATOR,TENSIONING SYSTEM, S48 STEEL BELT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060097457 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060097457 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | KIT,SEAL,EBA/M,TENSIONING SYSTEM,S48 | KIT, SEAL, EBA/M, TENSIONING SYSTEM, S48 STEEL BELT, PELLETISING PLANT, TFC, KIT, SEAL, EBA/M, TENSIONING SYSTEM, S48 STEEL BELT, PELLETISING, PLANT, TFC |  |  |  | U | [8 empty] | PELLETIZING PLANT-TFC | [6 empty] | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EBA/M, FOR TENSIONING SYSTEM, S48 STEEL BELT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060097454 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060097454 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | KIT,SEAL,PROPORTIONAL VALVE,VICKERS, | KIT, SEAL, PROPORTIONAL VALVE, VICKERS, TENSIONINGSYSTEM, S48 STEEL BELT, PELLETISING PLANT, TFC | 02-157588 | 0019011405 | VICKERS HYDRAULICS (PTY) LTD | U |  | VICKERS HYDRAULICS (PTY) LTD | [6 empty] | PROPORTIONAL VALVE,PELLETIZING PLANT-TFC | 02-157588 | VICKERS |  |  |  |  | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TENSIONINGSYSTEM, S48 STEEL BELT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060097456 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060097456 | BHP1 | BHP Spares & Supplies | 311816 | Industrial seals | EA | MAN2 | KIT,SEAL,VALVE,COUNTER BALANCE, | KIT, SEAL, VALVE, COUNTER BALANCE, TENSIONING SYSTEM, S48 STEEL BELT, PELLETISING PLANT, TFC |  |  |  | U | [8 empty] | VALVE,PELLETIZING PLANT-TFC | [6 empty] | KIT | NO MODIFIER | TYPE | SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR COUNTER BALANCE, TENSIONING SYSTEM, S48 STEEL BELT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060166662 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060166662 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | KIT: COMPRESSION , GLAND SIZE 5 | KIT: COMPRESSION , GLAND SIZE 5 |  |  |  | U | [15 empty] | KIT | NO MODIFIER | TYPE | COMPRESSION | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GLAND SIZE:5 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060168608 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060168608 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | KIT: RED LED MARKER 12-24V P/N 53520039 | KIT: RED LED MARKER 12-24V P/N 53520039 | 53520039 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik/part/53520039_red-led-marker-kit-12-24-v/ |  | SANDVIK | 53520039 | [11 empty] | C | KIT | NO MODIFIER | TYPE | RED LED MARKER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE RATING:12-24 V | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060215189 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060215189 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | KT,FLTER,MONTHLY GM1202-0004 | KIT,FILTER,MONTHLY GM1202-0004 | GM1202-0004 |  |  | U |  |  | GM1202-0004 | [12 empty] | KIT | NO MODIFIER | TYPE | FILTER,MONTHLY | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060216018 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060216018 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | KT,FLTER,WEEKLY SLP | KIT, FILTER, WEEKLY SLP |  |  |  | U | [15 empty] | KIT | NO MODIFIER | TYPE | FILTER, WEEKLY SLP | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060233923 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060233923 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LDV,2004,TOYOTA,2400D,HILUX,CLUTCH,THRUS | 2004, TOYOTA, 2400D, HILUX, CLUTCH,THRUST BEARING,KIT |  |  |  | U | [9 empty] | LDV,2004,2400D HILUX | TOYOTA |  |  |  |  | KIT | NO MODIFIER | TYPE | CLUTCH,THRUST BEARING | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060225713 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060225713 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | LINER KIT, BOTTOM SHELL ARM, CONE CRUSHE | LINER KIT, BOTTOM SHELL ARM, CONE CRUSHER, TO SUIT SANDVIK CH430 CONE CRUSHER | 452.5777-901 | 0019002924 | SANDVIK | https://www.volza.com/p/industrial-machine/export/hsn-code-8474/ |  | SANDVIK | 452.5777-901 | [11 empty] | C | KIT | NO MODIFIER | TYPE | LINER, BOTTOM SHELL ARM | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060227750 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060227750 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | LINING KIT,BRAKE,MAIN & AUXILIARY (MICO) | MAIN & AUXILIARY BRAKE LINING KIT(MICOO) |  |  |  | U |  | MICO | [13 empty] | KIT | NO MODIFIER | TYPE | MAIN & AUXILIARY BRAKE LINING | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060215886 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060215886 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | PLUG KIT, 2WAY (F), DUETS | PLUG KIT, 2WAY (F), DUETS |  |  |  | U | [15 empty] | KIT | NO MODIFIER | TYPE | PLUG,2WAY (F), DUETS | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060215887 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060215887 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | PLUG KIT, 2WAY (M), DUETS | PLUG KIT, 2WAY (M), DUETS |  |  |  | U | [15 empty] | KIT | NO MODIFIER | TYPE | PLUG,2WAY (M), DUETS | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060187611 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060187611 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | KIT | MAN2 | PORTAPAK COMPLETE KIT EXCLUDING CYLINDER | PORTAPAK COMPLETE KIT EXCLUDING CYLINDERS | W005776 | 0019008506 | AFROX LIMITED | U |  | AFROX LIMITED | W005776 | [12 empty] | KIT | NO MODIFIER | TYPE | PORTAPAK COMPLETE | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/O CYLINDERS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060227751 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060227751 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SEAL KIT,BRAKE,MAIN & AUXILIARY (MICO) | MAIN & AUXILIARY BRAKE SEAL KIT(MICO) |  |  |  | U |  | MICO | [13 empty] | KIT | NO MODIFIER | TYPE | MAIN & AUXILIARY BRAKE SEAL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060226344 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060226344 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | SKALPER,TORQUE,STD KT,TTSCEZT-SKT | SKALPER, TORQUE, STD KIT, TTSCEZT-SKIT, EZ, TRU-TRAC | TTSCEZT-SKT |  |  | U |  | TRU-TRAC | TTSCEZT-SKT | [12 empty] | KIT | NO MODIFIER | TYPE | SKALPER, TORQUE, STD | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060243488 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 | Series Match | 000000000060243488 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SNU KIT COMPLETE,SNU222516-613 | SNU KIT COMPLETE,SNU222516-613 |  |  |  | https://bmgworld.net/bmg/en/ZAR/All-Categories/Bearings/Housings/Plummer-Block/Complete-Housing-Kits/SNU-222516-613-2TSEC-C3/p/SNU+222516-613+2TSEC+C3 |  | TIMKEN | SNU 222516-613 | [11 empty] | e | KIT | NO MODIFIER | TYPE | Complete Housing | CONTENTS | Spherical Roller p/n 22216K, Adapter Sleeve P/N H316, U-Lok P/N TSNG 516, End Cover P/N EC516, 2 X Locating Ring P/N SR140/12.5 | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060243489 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 | Series Match | 000000000060243489 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SNU KIT COMPLETE,SNU222517 | SNU KIT COMPLETE,SNU222517 |  |  |  | https://bmgworld.net/bmg/en/ZAR/All-Categories/Bearings/Housings/Plummer-Block/Complete-Housing-Kits/SNU-222517-2TSEC-C3/p/SNU+222517+2TSEC+C3 |  | TIMKEN | SNU 222517 | [11 empty] | E | KIT | NO MODIFIER | TYPE | Complete Housing | CONTENTS | Spherical Roller P/N 22217K,Adapter Sleeve P/N H317,U-Lok P/N TSNG 517,End Cover P/N EC517,2 X Locating Ring P/N SR150/12.5 | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060221946 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060221946 | BHP1 | BHP Spares & Supplies | 271200 | Hydraulic machinery and equipment | KIT | MAN2 | SPLICING KIT, METRIC | SPLICING KIT, METRIC | 30-OR-KIT-MET-SP | 0019011468 | KUTTING MPUMALANGA (PTY) LTD | U |  | KUTTING MPUMALANGA (PTY) LTD | 30-OR-KIT-MET-SP | [12 empty] | KIT | NO MODIFIER | TYPE | SPLICING,METRIC | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060233715 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060233715 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TOOL,KIT,B26-P1,UPGRADE,DD210L | B26 TOOL KIT P1, UPGRADE, PN MT-B26TK-P1 (INCL TAP 1-72MM, TAPPING MANIFOLD 1 & 2), DD210L | MT-B26TK-P1 |  |  | U |  |  | MT-B26TK-P1 | [6 empty] | DD210L | [5 empty] | KIT | NO MODIFIER | TYPE | TOOL | CONTENTS | 1-72 MM TAP, TAPPING MANIFOLD 1 & 2 | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UPGRADE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060233716 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060233716 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | TOOL,KIT,B26-P2,UPGRADE,DD210L | B26 TOOL KIT P2, UPGRADE, PN MT-B26TK-P2 (INCL THREAD CLEAN, MAGNETIC, PICK-UP, WEAR PIECE REMOVAL BOLT, TAPPING MANIFOLD BOLT <(>&<)> TOOL, BOX),, DD210L | MT-B26TK-P2 |  |  | U |  |  | MT-B26TK-P2 | [6 empty] | DD210L | [5 empty] | KIT | NO MODIFIER | TYPE | TOOL | CONTENTS | THREAD CLEAN, MAGNETIC PICK-UP, WEAR PIECE REMOVAL BOLT, TAPPING MANIFOLD BOLT,TOOL BOX | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UPGRADE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060232778 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060232778 | BHP1 | BHP Spares & Supplies | 271132 | Tool kits | EA | MAN2 | TOOLKIT,KENDO 70 PIECE 3 TIER CANTILEVER | TOOLKIT KENDO 70 PIECE 3 TIER CANTILEVER(KEN90201 |  |  |  | https://screwman.co.za/ken90201.html |  | KENDO | KEN90201 | [11 empty] | C | KIT | NO MODIFIER | TYPE | TOOL,3 TIER CANTILEVER | CONTENTS |  | NUMBER OF ITEMS | 70 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060226700 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060226700 | BHP1 | BHP Spares & Supplies | 271132 | Tool kits | EA | MAN2 | WELDING,TOOLKIT,SKTK0179 | KHUPHUKA WELDING TOOLKIT |  |  |  | U |  |  | SKTK0179 | [12 empty] | KIT | NO MODIFIER | TYPE | KHUPHUKA WELDING TOOL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060233472 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060233472 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | LASER,SPIRIT-LEVEL | LASER,SPIRIT-LEVEL,POCKET-SIZED,PLL 1 P. | PLL 1 P. |  |  | https://www.bosch-diy.com/ae/en/p/pll-1-p-0603663300-v34085 |  | BOSCH | PLL 1 P | [11 empty] | E | LASER | NO MODIFIER | TYPE | SPIRIT-LEVEL | POWER SUPPLY |  | LIGHT SOURCE |  | RESOLUTION |  | SENSING DISTANCE | 5 M LINE,20 M POINT | COLOUR |  | INTERFACE TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | POCKET-SIZED | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060114954 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060114954 | BHP1 | BHP Spares & Supplies | 201016 | Screens and feeding equipment | EA | MAN2 | LID, SCREEN, DWG FV30C18032, ROTEX SCREE | LID, SCREEN, DRG FV30C18032, ROTEX SCREEN, LOCKERS |  |  |  | U |  | ROTEX | [9 empty] | FV30C18032 |  |  |  | LID | NO MODIFIER | TYPE | SCREEN,LOCKER | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060219972 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060219972 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | LOCKOUT,DIN STYLE,MINIATURE BREAKER,BRAD | LOCKOUT,DIN STYLE,MINIATURE BREAKER,BRADY, SSI FMT00161 | 90847 | 0019000541 | BRADY W. H. PTY LTD | https://www.bradyid.com/lockout-tagout/circuit-breaker-lockouts/miniature-circuit-breaker-lockouts-cps-2851717?part-number=90847 | https://www.grainger.com/product/BRADY-DIN-Style-Miniature-Breaker-2VU33 | BRADY W. H. PTY LTD | 90847 | [11 empty] | E | LOCKOUT | NO MODIFIER | TYPE | DIN Style Miniature Breaker | SIZE | DIA 61/64 X HT 1-41/64 IN | NUMBER OF LOCKS | 1 | MATERIAL | Fiberglass Reinforced Nylon | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI FMT00161 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060217244 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060217244 | BHP1 | BHP Spares & Supplies | 270000 | Tools and General Machinery | EA | MAN2 | MASK, SAFETY, PVC | MASK, SAFETY, PVC | PVCSM | 0019011481 | TOOLQUIP | U |  | TOOLQUIP | PVCSM | [12 empty] | MASK | SAFETY | TYPE |  | SIZE |  | FILTER RATING |  | COLOUR |  | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060217853 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 | Suitable NM Not Found | 000000000060217853 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | MECHANISM,CIRCUIT BREAKER FOR V MODULE,A | MECHANISM,CIRCUIT BREAKER FOR V MODULE,ABB SAFEPLUS., AS PER SSI 5006. | NHP101985R2 | 0019011391 | ABB SOUTH AFRICA (PTY) LTD | [78 empty] | Production Completed
000000000060222936 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 | Url For reference only | 000000000060222936 | BHP1 | BHP Spares & Supplies | 111716 | Stainless steel alloys | EA | MAN2 | EXPANDED METAL, 1200MM X 2400MM, FLATEX | EXPANDED METAL, 1200MM X 2400MM, FLATEX, 352, S/STEEL 316 |  |  |  | https://www.steelpipespe.co.za/product/mentex-and-flatex | [14 empty] | c | SHEET | EXPANDED | TYPE | FLATEX | WIDTH | 1.2 M | LENGTH | 2.4 M | THICKNESS |  | OPENING STYLE |  | OPENING SIZE |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | FABRICATION METHOD |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE 352 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060117466 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 | Series Match | 000000000060117466 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | PAK | MAN2 | PRODUCER PACK, 600MM CONVEYOR BELT, WITH | PRODUCER PACK, 600MM CONVEYOR BELT, WITH 1 X SET FASTENER STRIPS, 1 X HINGE PIN & 130 X RIVETS, FLEXCO | RAR6-600C/D/NAC6 | 0019002181 | CLARK EQUIPMENT INC [MICHIGAN DIV] | http://documentlibrary.flexco.com/X5294_enAU_5294_PHB2018_100818.pdf |  | FLEXCO | RAR6-600C/D/NAC6 |  | CLARK EQUIPMENT INC [MICHIGAN DIV] | RAR6-600C/D/NAC6 | [9 empty] | BELT | CONVEYOR | TYPE |  | WIDTH |  | LENGTH | 600 MM | THICKNESS |  | NUMBER OF PLYS |  | COVER MATERIAL |  | CARCASS MATERIAL |  | BREAKING STRENGTH |  | BELT TENSION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/1 X SET FASTENER STRIPS, 1 X HINGE PIN, 130 X RIVETS,PRODUCER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060222184 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060222184 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | POSITIONER, YTC, C/W SPTM AND LCD DISPLA | POSITIONER, YTC, C/W SPTM AND LCD DISPLAY | YT1000DN122S01 |  |  | http://www.ytc.co.kr/wp-content/uploads/2018/06/YT-1000-1050_Product_Manual_Eng_ver1.06_2018-06-06.pdf |  | YTC | YT1000DN122S01 | [11 empty] | E | POSITIONER | NO MODIFIER | TYPE | Electro-PneumatIC | POWER SUPPLY |  | PRESSURE RATING |  | END CONNECTION |  | MATERIAL | Aluminum | SPEED RATING |  | TEMPERATURE RATING | -20 TO 60 DEG C | INDICATION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SPTM AND LCD DISPLAY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060173590 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060173590 | BHP1 | BHP Spares & Supplies | 261000 | Power sources | EA | MAN2 | SOURCE,POWER, DN2013,CERAMIC FILTERS,PSP | SOURCE,POWER, DN2013,CERAMIC FILTERS,PSP 3 PELLETISING PLANT-MFC | 54597 | 0019001921 | LAROX INCORPORATED | https://www.bidderschoice.co.za/wp-content/uploads/WPL/397/att_MC10_Lot-506.pdf |  | IFM | DN2013 |  | LAROX INCORPORATED | 54597 |  |  | PELLETIZING PLANT-MFC | PSP3 |  |  |  |  | E | POWER SUPPLY | NO MODIFIER | TYPE | Switched-mode | INPUT RATING | 115/230 VAC,47-63 HZ | OUTPUT VOLTAGE RATING | 24 VDC | OUTPUT CURRENT RATING | 10 A | NUMBER OF OUTPUTS |  | POWER RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CERAMIC FILTERS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060167952 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 | Suitable NM Not Found | 000000000060167952 | BHP1 | BHP Spares & Supplies | 261016 | Motors | EA | MAN2 | POWER PACK, HYDRAULIC, COMPLETE, JOB NO. | POWER PACK, HYDRAULIC, COMPLETE, JOB NO.42 355, HYTEC | [81 empty] | Production Completed
000000000060232700 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060232700 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | RACK,STEERING,ASSY,39191-0021,KAWASAKI | STEERING RACK ASSEMBLY, PN 39191-0021, KAWASAKI MULE | 39191-0021 | 0019011667 | WATER RITE MOTORCYCLES | https://www.newegg.com/p/2CH-004D-000A0 |  | KAWASAKI MULE | 39191-0021 |  | WATER RITE MOTORCYCLES | 39191-0021 | [8 empty] | C | RACK | NO MODIFIER | TYPE | STEERING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060232431 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060232431 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | RADIATOR,COMPLETE,39061-0147,KAWASAKI | RADIATOR COMPLETE, PN 39061-0147, KAWASAKI MULE | 39061-0147 | 0019011667 | WATER RITE MOTORCYCLES | https://www.partzilla.com/product/kawasaki/39061-0147 |  | KAWASAKI MULE | 39061-0147 |  | WATER RITE MOTORCYCLES | 39061-0147 | [8 empty] | C | RADIATOR | NO MODIFIER | TYPE |  | MATERIAL |  | SIZE |  | END CONNECTION |  | WORKING PRESSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | OUTPUT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060244072 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060244072 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | RADIO,COMPLETE HYT TC610 VHF | RADIO, COMPLETE HYT TC610 VHF |  |  |  | https://hytera-europe.com/media/Hytera_HYTA_EN_001A_110117_V2-min.pdf | https://hytera-europe.com/products/tc-610 | HYTERA | TC610 | [11 empty] | E | RADIO | NO MODIFIER | TYPE | Professional, rugged, analogue two-way | FREQUENCY RANGE | VHF 136-174 MHZ,UHF 440-470 MHZ | NUMBER OF CHANNELS | 16 | IMPEDANCE | 50 OHM | POWER SUPPLY | 7.4 V | FREQUENCY OFFSET |  | RESPONSE TIME |  | DISPLAY SIZE |  | CONNECTION TYPE |  | DISPLAY TYPE |  | SIZE | WD 55 X HT 119 X DP 33 MM | TEMPERATURE RATING | -20 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060186018 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 | Series Match | 000000000060186018 | BHP1 | BHP Spares & Supplies | 271100 | Hand tools | EA | MAN2 | REEL,EXTENSION CORD,MTS,30M | REEL, EXTENSION CORD, MTS, 30M | PIL0020-CTN | 0019011481 | TOOLQUIP | https://ggstore.co.za/product/extension-reel-mts-steel-30mx1-5-dp-w/ |  | TOOLQUIP | PIL0020-CTN | [11 empty] | E | REEL | CORD/CABLE | TYPE | EXTENSION | CONDUCTOR SIZE | 1.5 MM2 | CORD/CABLE LENGTH | 30 M | ELECTRICAL RATING |  | MATERIAL | STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060028592 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060028592 | BHP1 | BHP Spares & Supplies | 111117 | Sand | M3 | MAN2 | SAND, BUILDING | SAND, BUILDING, BUILDING SAND |  |  |  | U | [15 empty] | SAND | NO MODIFIER | TYPE | BUILDING | SIEVE/MESH SIZE |  | PERCENTAGE PASSING |  | CONTAINER TYPE |  | CONTAINER SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060221410 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060221410 | BHP1 | BHP Spares & Supplies | 301400 | Insulation | EA | MAN2 | SCANNER,FLAME,UV,HONEYWELL | SCANNER,FLAME,UV,HONEYWELL,MINIPEEPER,C7027A, SSI FMT00333 | C7027A 1023 |  |  | https://5.imimg.com/data5/VJ/GY/ME/SELLER-2848637/honeywell-c7027a1023-uv-sensor.pdf |  | HONEYWELL | C7027A1023 | [11 empty] | E | DETECTOR | FLAME | TYPE | Ultraviolet | DETECTING RANGE |  | MOUNTING TYPE | Integral nut | POWER SUPPLY |  | ENCLOSURE MATERIAL |  | SIZE | DIA 27 X LG 102 MM | TEMPERATURE RATING | 0-215 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:MINIPEEPER,SSI FMT00333 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060166469 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060166469 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | SHROUD: WELD ON | SHROUD: WELD ON | ES1079C | 0019003467 | UNKNOWN | U |  |  | ES1079C | [12 empty] | SHROUD | NO MODIFIER | TYPE | WELD ON | SIZE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060179882 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060179882 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | STEEL, MULTOTEC SIEVE BEND, OPTIMA, 1240 | STEEL,MULTOTEC SIEVE BEND,OPTIMA,1240MMX1600MMX12/8MM X34 SB,316 STAINLESS, SSI-FMT00493 | 172891 | 0019005676 | MULTOTEC | U |  | MULTOTEC | 172891 | [12 empty] | BEND | NO MODIFIER | TYPE | SIEVE | DIMENSIONS | 1.24 X1.6 M X12/8 MM X 34 SB | ANGLE |  | MATERIAL | STAINLESS STEEL 316 | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI-FMT00493,OPTIMA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060223892 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060223892 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | ROL | MAN2 | SLEEVING,CORRIGATED 25MX10MM PN EWI2600 | SLEEVING,CORRIGATED 25MX10MM PN EWI2600 | EWI2600 | 0019011367 | ELECTRO DIESEL | u |  | ELECTRO DIESEL | EWI2600 | [12 empty] | SLEEVE | NO MODIFIER | TYPE | CORRIGATED | SIZE | 25 m x 10 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060256277 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060256277 | BHP1 | BHP Spares & Supplies | 120000 | Chemicals (including Bio-Chemicals) and Gas Materials | KG | MAN2 | SOLUTION,SODIUM,HYPOCLORITE | SOLUTION,SODIUM,HYPOCLORITE |  |  |  | U | [15 empty] | SOLUTION | NO MODIFIER | TYPE |  | CHEMICAL/TRADE NAME | Sodium hypochlorite | CONTAINER |  | CONCENTRATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060114557 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060114557 | BHP1 | BHP Spares & Supplies | 201017 | Crushers, breakers and grinders | EA | MAN2 | SPOUT, DISCHARGE, DWG C278/16, 7FT X 6FT | SPOUT, DISCHARGE, DRG C278/16, 7FT X 6FT BALL MILL, HARDING |  |  |  | U | [8 empty] | 7 X 6 FT BALL MILL |  |  | C278/16 |  |  |  | SPOUT | NO MODIFIER | TYPE | DISCHARGE,HARDING | HEIGHT |  | REACH |  | CLEARANCE |  | INLET CONNECTION |  | OUTLET CONNECTION |  | MATERIAL |  | FLOW RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060213782 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060213782 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | STAND, CONVEYOR BELT, 2200 HIGH X 1200 W | STAND, CONVEYOR BELT, 2200 HIGH X 1200 WIDE |  | 0019011479 | KOPANANG ENGINEERING (PTY) LTD | U |  | KOPANANG ENGINEERING (PTY) LTD | [13 empty] | STAND | NO MODIFIER | TYPE | CONVEYOR BELT | SIZE | WD 1.2 X HT 2.2 M | MATERIAL |  | NUMBER OF LEGS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060219749 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060219749 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | MOL,STANDARD CHSEL PONT,1000MM X 10 | MOIL, STANDARD CHISEL POINT, 1000MM X 105MM, MODEL ATLAS-COPCO SB702 | 3083340951 |  |  | https://www.crdcreighton.com/wp-content/uploads/Atlas-Copco-SB-702-brochure.pdf |  | ATLAS-COPCO | 3083340951 | [5 empty] | ATLAS-COPCO | SB702 |  |  |  |  | C | TOOL | CHISEL | TYPE | MOIL,STANDARD | BLADE WIDTH | 105 MM | MATERIAL |  | LENGTH | 1 M | SHANK TYPE |  | HANDLE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060226225 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060226225 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | STCKERS,STE SPECFC NDUCTON,OSMH | STICKER, SITE SPECIFIC INDUCTION, OSMH, DATE, ALL CAPITAL LETTERS,, INSERT A SP |  |  |  | U | [15 empty] | STICKER | NO MODIFIER | TYPE | SITE SPECIFIC INDUCTION | LEGEND |  | DIMENSIONS |  | LEGEND COLOUR |  | BACKGROUND COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OSMH, DATE, ALL CAPITAL LETTERS, INSERT A SP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060183797 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 | Url For reference only | 000000000060183797 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | DIVERTER SWITCH INSERT COMPLETE,VACUTAP | DIVERTER SWITCH INSERT COMPLETE, VACUTAP, SUITABLE FOR MASCHINENFABRIK, REINHAUSEN ON-LOAD TAP CHANGER TYPE MR TYPE: VRC HD 701-72.5/C-18 35 3W, TO SUIT MOTOR DRIVE - ED 100S | VRC I 701 72.5/C 18353W | 0019011641 | REINHAUSEN SOUTH AFRICA (PTY) LTD | https://www.highvolt.de/PortalData/1/Resources/mr/products_and_services/oltc/vacutap_vr/F0310900_EN_VACUTAP_VR_VRIHD_ohne_(R).pdf |  | REINHAUSEN SOUTH AFRICA (PTY) LTD | [13 empty] | INSERT | ELECTRONIC | TYPE | DIVERTER SWITCH | POWER SUPPLY |  | MEASURING PRINCIPLE |  | MEASURING RANGE |  | OUTPUT SIGNAL |  | ACCURACY |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:VACUTAP,FOR MASCHINENFABRIK REINHAUSEN ON-LOAD TAP CHANGER TYPE MR TYPE VRC HD 701-72.5/C-18 35 3W, TO SUIT MOTOR DRIVE ED 100S,COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060181912 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060181912 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | ETHERNET TO MODBUS DATA GATEWAY, DTE, AD | ETHERNET TO MODBUS DATA GATEWAY, DTE, ADAM-4572, ADVANTECH IND AUTOMATION | ADAM-4572 | 0019010333 | ADVANTECH AUSTRALIA PTY LTD | https://www.advantech.com/en/products/db72f61c-801b-4e61-8863-5d418f01b6e9/adam-4572/mod_1e01192d-95a1-42a4-b199-79343134f4ca |  | ADVANTECH AUSTRALIA PTY LTD | ADAM-4572 | [11 empty] | e | INTERFACE | COMMUNICATION | TYPE |  | FUNCTION | ETHERNET TO MODBUS DATA GATEWAY | INPUT RATING | 10-30 vdc | CONNECTION TYPE | RJ-45 | NUMBER OF PORTS |  | SIZE | WD 70 X HT 112 X DP 25 MM | MATERIAL |  | MOUNTING TYPE | DIN RAIL/PANEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, FCC | ADDITIONAL FEATURES EN | DTE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060217852 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 | Suitable NM Not Found | 000000000060217852 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | MECHANISM,DISCONNECTOR & EARTH SWITCH FO | MECHANISM,DISCONNECTOR & EARTH SWITCH FOR V MODULE,ABB SAFEPLUS., AS PER SSI 5007. | NHP101935R2 | 0019011391 | ABB SOUTH AFRICA (PTY) LTD | [78 empty] | Production Completed
000000000060229916 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060229916 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | PRESSURE,SWITCH N/O W 0.3BAR ESWOP6113 | PRESSURE,SWITCH N/O W 0.3BAR ESWOP6113 | ESWOP6113 | 0019011367 | ELECTRO DIESEL | U |  | ELECTRO DIESEL | ESWOP6113 | [12 empty] | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE | 0.3 BAR | PROCESS CONNECTION |  | CONTACT CONFIGURATION | NO | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060165067 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060165067 | BHP1 | BHP Spares & Supplies | 302119 | OBSOLETE*Switches, controls, and relays | EA | MAN2 | SELECTOR SWITCH,CATTRON THEIMEG,TH-EC/40 | SELECTOR SWITCH,CATTRON THEIMEG,TH-EC/40,BT052-00053, AS PER SSI 3109, REDUNDANT AS PER ESSI: 411 | BT 052-00053 | 0019000674 | CATTRON-THEIMEG INC | U |  | CATTRON-THEIMEG INC | BT 052-00053 | [12 empty] | SWITCH | SELECTOR | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POLES |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | OPERATOR TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 3109, REDUNDANT AS PER ESSI 411 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
000000000060254741 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060254741 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | SPEEDSWITCH, SCANBELT, BSD3006, C/W CCG | SPEEDSWITCH, SCANBELT, BSD3006, C/W CCG BOX, 24VDC PROXY, 1X POWER POSITIVE, 1X POWER NEGATIVE, 1X PULSE |  |  |  | U |  |  | BSD3006 | [12 empty] | SWITCH | SPEED | TYPE |  | VOLTAGE RATING | 24 VDC PROXY | CURRENT RATING |  | SPEED RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CCG BOX, 1X POWER POSITIVE, 1X POWER NEGATIVE, 1X PULSE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060252419 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060252419 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | SPEEDSWITCH, VOITH, CONTACT RATING, 5 AM | SPEEDSWITCH, VOITH, CONTACT RATING, 5 AMP, 600VAC, 3.5 METER PER SECOND, CS/G19/49325 | CS/G19/49325 |  |  | U |  | VOITH | CS/G19/49325 | [12 empty] | SWITCH | SPEED | TYPE |  | VOLTAGE RATING | 600 VAC | CURRENT RATING | 5 A | SPEED RATING | 3.5 MPS | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060228188 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060228188 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH PRESSURE DG10U-3 KROMSCHRODER | SWITCH PRESSURE, DG10U-3, KROMSCHRODER |  |  |  | https://www.futuristicclimatecontrols.in/products/kromschroder-pressure-switch-dg10u-3 |  | KROMSCHROEDER | DG10U-3 | [11 empty] | E | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE | 1-10 MBAR | PROCESS CONNECTION | 1/2 IN FEMALE BSP | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060167681 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060167681 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SWITCH, LIMIT AC RBS1L P/N 3128306183 | SWITCH, LIMIT AC RBS1L P/N 3128306183 | 3128306183 | 0019008517 | ATLAS COPCO SOUTH AFRICA (PTY) | https://aestore.com.au/product/atlas-copco-limit-switch-3128306183/ |  | ATLAS COPCO SOUTH AFRICA (PTY) | 3128306183 | [11 empty] | C | SWITCH | LIMIT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AC RBS1L | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060180547 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060180547 | BHP1 | BHP Spares & Supplies | 261200 | Electrical wire, cable and harness | EA | MAN2 | SWITCH, LIMIT, FOR PROG DISTRIBUTOR, C/W | SWITCH, LIMIT, FOR PROG DISTRIBUTOR, C/W BRACKET FOR LIMIT SWITCH, (BZE6-2RN + 33583) | DFSE003 + DFSS001 | 0019011394 | BEARING MAN LTD | U |  | BEARING MAN LTD | DFSE003 + DFSS001 | [12 empty] | SWITCH | LIMIT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PROG DISTRIBUTOR, C/W BRACKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060215623 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 | Conflict wrt input processed as per websource | 000000000060215623 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH, LIMIT, NBN8-18GM50-E2 - V1 P & F | SWITCH, LIMIT, NBN8-18GM50-E2 - V1 P <(>&<)> F PROXIMITY INDUT, CODE, SWITCH, LIMIT, NBN8-18GM50-E2 - V1 P & F PROXIMITY INDUT, CODE, 0001308917, WRAPPING MACHINE |  |  |  | https://www.pepperl-fuchs.com/india/hi/classid_143.htm?view=productdetails&prodid=99882 |  | Pepperl+Fuchs | NBN8-18GM50-E2-V1 |  |  | 0001308917 |  |  | WRAPPING MACHINE | [5 empty] | E | SENSOR | PROXIMITY | TYPE | Inductive | SENSING RANGE | 8 mm | OUTPUT TYPE | 3-WIRE PNP,NO | CONNECTION TYPE | PLUG | ELECTRICAL RATING | 5-36 V | CABLE LENGTH |  | ENCLOSURE | IP68 | MATERIAL | white bronze coated BRASS | SWITCHING FREQUENCY | 0-1650 HZ | MOUNTING TYPE | NON-FLUSH | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-2:2007,EN 60947-5-2/A1:2012,IEC 60947-5-2:2007,IEC 60947-5-2 AMD 1:2012 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060173845 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060173845 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,LIMIT,D4B-1170N,HYDRAULIC UNIT,PS | SWITCH,LIMIT,D4B-1170N,HYDRAULIC UNIT,PSP 3 PELLETISING PLANT,MFC | P44 POSITION 44130-513041 | 0019002490 | OUTOTEC | https://www.tme.com/in/en/details/d4b-1170n/limit-switches/omron/ |  | OMRON | D4B-1170N |  | OUTOTEC | 44130-513041 |  |  | PELLETIZING PLANT-MFC | PSP 3 |  |  |  |  | E | SWITCH | LIMIT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION | NO NC | ENCLOSURE | IP67 | MOUNTING TYPE |  | TEMPERATURE RATING | -40 TO 80 DEG C | CONSTRUCTION |  | CABLE LENGTH |  | CONNECTION TYPE |  | POWER RATING |  | ACTION |  | MATERIAL |  | OPERATING FORCE |  | RELEASE FORCE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES EN | P44 POSITION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060174325 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060174325 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SWITCH,OIL PRESS 15 PSI EJC115 P/NR 6412 | SWITCH,OIL PRESS 15 PSI EJC115 P/NR 64122826 | 64122826 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik/part/64122826_oil-pressure-switch-15psi/ |  | SANDVIK | 64122826 | [6 empty] | EJC115 | SANDVIK |  |  |  | C | SWITCH | PRESSURE | TYPE | OIL | MEASURING RANGE | 15 PSI | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060229673 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060229673 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | SWITCH,PRESSURE,12BAR,RSC,BELL, | SWITCH, PRESSURE, 12BAR,ROYAL SLAG CARRIER, BELL,, NEW STOCK AS PER ESSI : 1094, BN042306 | BN042306 | 0019008535 | BELL EQUIPMENT CO SA (PTY) LTD | U |  | BELL EQUIPMENT CO SA (PTY) LTD | BN042306 | [12 empty] | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE | 12 BAR | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR ROYAL SLAG CARRIER,NEW STOCK AS PER ESSI 1094 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060228195 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060228195 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,PRESSURE,BSP TO NPT | SWITCH PRESSURE, BSP TO NPT |  |  |  | U | [15 empty] | SWITCH | PRESSURE | TYPE |  | MEASURING RANGE |  | PROCESS CONNECTION | BSP X NPT | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060232824 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060232824 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,SELECTOR,55047202,DD210L | SELECTOR SWITCH, PN 55047202, DD210L | 55047202 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik/part/55047202_selector-switch/ |  | SANDVIK | 55047202 | [6 empty] | DD210L | SANDVIK | [66 empty] | Production Completed
000000000060233971 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060233971 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | SWITCH,SPEED,PROCESS AUTOMATION,SS-500-A | SPEED SWITCH, PROCESS AUTOMATION, SS-500-A, 4-20MA, FITTED TO THE, V-SECTION TO THE DRIVE ASSEMBLY, 0 DEGREES TO -60 DEGREES CELSIUS, IP65 | KSP-0111 | 0019008865 | PROCESS AUTOMATION | https://process-auto.com/product/ss-500-501-speed-switch/ |  | PROCESS AUTOMATION | SS-500-A |  | PROCESS AUTOMATION | KSP-0111 | [8 empty] | A | SWITCH | SPEED | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 4-20 MA OUTPUT | SPEED RATING |  | CONTACT CONFIGURATION |  | ENCLOSURE | IP65 | MOUNTING TYPE |  | TEMPERATURE RATING | 0-60 DEG C | POWER RATING |  | ACTION | SPDT | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FITTED TO THE V-SECTION TO THE DRIVE ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060224877 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060224877 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | SWITCH,SPEED,VOITH 0.5M/S FOR 1200MM | VOITH SPEED SWITCH 0.5M/S FOR 1200MM |  |  |  | U |  | VOITH | [13 empty] | SWITCH | SPEED | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | SPEED RATING | 0.5 MPS | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 1200 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060224875 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060224875 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | SWITCH,SPEED,VOITH 1.4M/S FOR 1200MM | VOITH SPEED SWITCH 1.4M/S FOR 1200MM |  |  |  | U |  | VOITH | [13 empty] | SWITCH | SPEED | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | SPEED RATING | 1.4 MPS | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 1200 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060224874 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060224874 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | SWITCH,SPEED,VOITH 2M/S FOR 1200MM | VOITH SPEED SWITCH 2M/S FOR 1200MM |  |  |  | U |  | VOITH | [13 empty] | SWITCH | SPEED | TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | SPEED RATING | 2 MPS | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 1200 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060190723 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060190723 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SWTCH,ACCUM OL PRESSURE,56B-06-11650 | SWITCH, ACCUMULATOR OIL PRESSURE, HM300-1C, ADT, 56B-06-11650, KOMATSU | 56B-06-11650 | 0019001867 | KOMATSU CORP | https://my.komatsu.co.nz/shop/electricalpart_5637145208/5637430804_switch_56b-06-11650 |  | KOMATSU CORP | 56B-06-11650 | [5 empty] | ARTICULATED DUMP TRUCK | HM300-1C | KOMATSU CORP |  |  |  | E | SWITCH | PRESSURE | TYPE | ACCUMULATOR OIL | MEASURING RANGE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | VOLTAGE RATING |  | CURRENT RATING |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,JIS,DIN | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060190767 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-25 |  | 000000000060190767 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SWTCH,WPER,56B-06-16720,KOM | SWITCH, WIPER, HM300-1C, ADT, 56B-06-16720, KOMATSU | 56B-06-16720 | 0019001867 | KOMATSU CORP | https://my.komatsu.co.nz/shop/electricalpart_5637145208/5637431119_switch_56b-06-16720 |  | KOMATSU CORP | 56B-06-16720 | [5 empty] | ARTICULATED DUMP TRUCK | HM300-1C | KOMATSU CORP |  |  |  | E | SWITCH | NO MODIFIER | TYPE | WIPER | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO,JIS,DIN | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed