## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060233063 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060233063 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | FILTER,REPLACEMENT,60336,REFUELLING | REPLACEMENT FILTER, PN 60336, REFUELLING | 60336 |  |  | U |  |  | 60336 | [12 empty] | FILTER | FLUID | TYPE | REPLACEMENT,REFUELLING | MEDIUM |  | CONNECTION METHOD |  | MICRON |  | DIMENSIONS |  | MATERIAL |  | FLOW RATE |  | FILTERING ELEMENT QUANTITY |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060232779 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060232779 | BHP1 | BHP Spares & Supplies | 271132 | Tool kits | EA | MAN2 | SOLDERING IRON,BUTANE KIT 9PC(SYK680005) | SYKES SOLDERING IRON BUTANE KIT 9PC(SYK680005 |  |  |  | https://supplyguy.co.za/product/sykes-soldering-iron-butane-kit-9pc/ |  | SYKES | SYK680005 | [11 empty] | C | KIT | NO MODIFIER | TYPE | SOLDERING IRON BUTANE | CONTENTS |  | NUMBER OF ITEMS | 9 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060121783 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060121783 | BHP1 | BHP Spares & Supplies | 261116 | Power generators | EA | MAN2 | KIT, CARTRIDGE, BACK END COVER, TYPE 352 | KIT, CARTRIDGE, BACK END COVER, TYPE 3520V/25A/ 8-1 CC11 DOUBLE PUMP, VICKERS, STOKER, DANGO | 417054 | 0019008605 | DANGO DIENENTHAL | https://www.eaton.com/gb/en-gb/skuPage.417054.html |  | VICKERS HYDRAULICS (PTY) LTD | 417054 |  | DANGO DIENENTHAL | 417054 |  |  | DOUBLE PUMP | 3520V/25A/ 8-1 CC11 | VICKERS |  |  |  |  | KIT | NO MODIFIER | TYPE | CARTRIDGE, BACK END COVER | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STOKER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060121782 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060121782 | BHP1 | BHP Spares & Supplies | 261116 | Power generators | EA | MAN2 | KIT, CARTRIDGE, FRONT END SHAFT, TYPE 35 | KIT, CARTRIDGE, FRONT END SHAFT, TYPE 3520V/25A/ 8-1 CC11 DOUBLE PUMP, VICKERS, STOKER, DANGO | 413421 | 0019008605 | DANGO DIENENTHAL | https://www.eaton.com/gb/en-gb/skuPage.413421.html |  | VICKERS HYDRAULICS (PTY) LTD | 413421 |  | DANGO DIENENTHAL | 413421 |  |  | DOUBLE PUMP | 3520V/25A/ 8-1 CC11 | VICKERS |  |  |  |  | KIT | NO MODIFIER | TYPE | CARTRIDGE, FRONT END SHAFT | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STOKER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060183853 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 | Suitable NM Not Found | 000000000060183853 | BHP1 | BHP Spares & Supplies | 301031 | Rails | EA | MAN2 | 30KG. SPLIT TURNOUT 4.5M LONG,750MM. GU | 30KG. SPLIT TURNOUT 4.5M LONG, 750MM. GUAGE 20DEG. ON CHANNEL SLEEPERS, INCLUDING SWITCH BOX. RIGHT HAND. | [81 empty] | Production Completed
000000000060216707 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060216707 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | SWITCH FLOAT, MW3 020HM SIDE MOUNTED LEV | SWITCH FLOAT, MW3 020HM SIDE MOUNTED LEVEL SWITCH FLOAT OPERATION, PART NO IHLS000, BALL MILL |  |  |  | https://ghm-group.ru/images/ghm_pi-ho_le-mw3_e_datasheet.pdf | https://www.prosparts.com/pricelists/PartDisplayTemplate.cfm?MyItemNumber=551-031&MyAliasItem_NO=MW3-020HM-2&BrandOnly=S | HONSBERG | MW3-020HM |  |  | IHLS000 |  |  | BALL MILL | [5 empty] | E | SWITCH | LEVEL | TYPE | FLOAT | MEASURING RANGE |  | PROCESS CONNECTION | 3/4 IN BSPP | PRESSURE RATING | 25 BAR Spansil FLOAT,10 BAR Stainless STEEL FLOAT | OUTPUT SIGNAL |  | ENCLOSURE | IP65 | CONTACT CONFIGURATION |  | VOLTAGE RATING | 250 VAC | CURRENT RATING | 5 A | MATERIAL |  | TEMPERATURE RATING | -20 TO 70 DEG C | MOUNTING TYPE | SIDE | POWER RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060214613 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060214613 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH, AUXILIARY, LATERALLY FITT, 1NO | AUXILIARY SWITCH, LATERALLY FITT, 1NO, 1NC, FOR CIRCUIT BREAKERS, SIZE, SOO; SO; S2; S3, ITEM NO 3RV1901-1A |  |  |  | https://www.mroelectric.com/static/application/product/pdfs/3RV1901-1A.pdf |  | SIEMENS | 3RV1901-1A | [11 empty] | E | SWITCH | NO MODIFIER | TYPE | lateral AUXILIARY | VOLTAGE RATING | 690 VAC | CURRENT RATING | 10 A | CONTACT CONFIGURATION | 1NO 1NC | NUMBER OF POSITIONS |  | ENCLOSURE | IP20 | MOUNTING TYPE | PLUG-IN | TEMPERATURE RATING | -20 TO 60 DEG C | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | WD 9.5 X HT 90 X DP 70 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,UL,CE | ADDITIONAL FEATURES EN | FOR CIRCUIT BREAKERS, SIZE, SOO; SO; S2; S3 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060184051 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060184051 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SWITCH, LEVEL ATLAS RBS1L P/N 3176453102 | SWITCH, LEVEL ATLAS RBS1L P/N 3176453102 | 3176453102 | 0019008517 | ATLAS COPCO SOUTH AFRICA (PTY) | https://www.industrialgate.com/en/3176453102-level-switch |  | ATLAS COPCO SOUTH AFRICA (PTY) | 3176453102 | [11 empty] | C | SWITCH | LEVEL | TYPE |  | MEASURING RANGE |  | PROCESS CONNECTION |  | PRESSURE RATING |  | OUTPUT SIGNAL |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | POWER RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RBS1L | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060224409 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 | Conflict wrt input processed as per websource | 000000000060224409 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH, MICROWAVE, RECIEVER, WADECO | SWITCH, MICROWAVE, RECIEVER, WADECO, TYPE MWS-SR-11U | MWS-SR-11U |  |  | https://wadeco.co.jp/htdocs/en/home/products/level_switch_sr11/ |  | WADECO | MWS-SR-11U | [11 empty] | E | SENSOR | LEVEL | TYPE | MICROWAVE, RECIEVER | MEASURING RANGE | 80 m | ACCURACY |  | OUTPUT TYPE |  | CONNECTION TYPE |  | POWER SUPPLY | 100-120 VAC/200-240VAC, 50/60 Hz | TEMPERATURE RATING |  | MATERIAL |  | PRESSURE RATING |  | SIZE |  | MOUNTING TYPE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060241858 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060241858 | BHP1 | BHP Spares & Supplies | 271200 | Hydraulic machinery and equipment | EA | MAN2 | SWITCH, OILFLOW, HR1MV | SWITCH, OILFLOW, HR1MV-O-065-G-M-250 FLOW SW 80-250L | 351148 | 0019011394 | BEARING MAN LTD | http://rentamatic.ru/ms/honsberg/files/01_1_hr1mv_e.pdf |  | HONSBERG | HR1MV-O-065-G-M-250 |  | BEARING MAN LTD | 351148 | [8 empty] | E | SWITCH | FLOW | TYPE | OIL | FLOW RATING | 80-250 LPM | PRESSURE RATING | 200 BAR | PROCESS CONNECTION | 1-1/4 IN BSPP | TEMPERATURE RATING |  | ENCLOSURE | IP65 | CONTACT CONFIGURATION |  | VOLTAGE RATING | 250 VAC | CURRENT RATING | 1.5 A | POWER RATING | 50 VA | FREQUENCY RATING |  | MOUNTING TYPE |  | ACTION |  | MATERIAL | BRASS | MEDIA |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060186464 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060186464 | BHP1 | BHP Spares & Supplies | 241021 | Warehousing equipment and supplies | EA | MAN2 | SWITCH, PROXIMITY, WRAPPING MACHINE, FR | SWITCH, PROXIMITY, WRAPPING MACHINE | NBB4-12GM50-A2-V1 | 0019001356 | FROMM | https://www.pepperl-fuchs.com/india/hi/classid_143.htm?view=productdetails&prodid=98934 |  | Pepperl+Fuchs | NBB4-12GM50-A2-V1 |  | FROMM | NBB4-12GM50-A2-V1 |  |  | WRAPPING MACHINE | [5 empty] | E | SWITCH | PROXIMITY | TYPE | INDUCTIVE | SENSING RANGE | 4 MM | CABLE LENGTH |  | OUTPUT CONFIGURATION | 4-WIRE DC,PNP | ENCLOSURE | IP68 | CONTACT CONFIGURATION |  | TEMPERATURE RATING | -40 TO 85 DEG C | VOLTAGE RATING | 5-36 V | CURRENT RATING | 0-200 MA | CONNECTION TYPE | PLUG | MOUNTING TYPE | FLUSH | ACTION |  | MATERIAL | white bronze coated brass | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CCC,CULUS | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060188727 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 | Conflict wrt input processed as per websource | 000000000060188727 | BHP1 | BHP Spares & Supplies | 240000 | Material Handling, Conditioning and Storage Machinery, Acces | EA | MAN2 | SWITCH, REED, PROXIMITY, COMPLETE WITH L | SWITCH, REED, PROXIMITY, COMPLETE WITH LED, 24 VOLT, SME-8-K-LED-24 3, WIRE. FESTO FVD FURN SCALES | SME-8-K-LED-24 | 0019001272 | FESTO MASCHINENFABRIK PTY LTD | https://www.festo.com/us/en/a/download-document/datasheet/150855 |  | FESTO MASCHINENFABRIK PTY LTD | SME-8-K-LED-24 | [11 empty] | E | SENSOR | PROXIMITY | TYPE | MAGNETIC REED | SENSING RANGE | 0.2 MM | OUTPUT TYPE | 3-WIRE NO | CONNECTION TYPE |  | ELECTRICAL RATING | 12-30 VAC/DC | CABLE LENGTH | 2.5 M | ENCLOSURE | IP65/67 | MATERIAL |  | SWITCHING FREQUENCY | 800 HZ | MOUNTING TYPE | CLAMP | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EMC,ROHS | ADDITIONAL FEATURES EN | COMPLETE W/LED,FVD FURN SCALES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060215938 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060215938 | BHP1 | BHP Spares & Supplies | 251728 | Hydraulic systems and components | EA | MAN2 | SWITCH, TEMPERATURE, P/N R901 017 012 | SWITCH, TEMPERATURE, P/N R901 017 012 |  |  |  | U |  |  | R901 017 012 | [12 empty] | SWITCH | TEMPERATURE | TYPE |  | TEMPERATURE RATING |  | SENSOR TYPE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | VOLTAGE RATING |  | CURRENT RATING |  | CAPILLARY LENGTH |  | MOUNTING TYPE |  | MATERIAL |  | POWER RATING |  | ACTION |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060117052 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060117052 | BHP1 | BHP Spares & Supplies | 311618 | Washers | EA | MAN2 | SWITCH, TEMPERATURE, PYROTHERM DWG C1139 | SWITCH, TEMPERATURE, PYROTHERM DRG C1139-80200/1, ITEM TSH4, SHIMADEN, POSITION M400-81000TSH4, CHROME DRIER, CHROME DIRECT REDUCTIO, N PLANT |  |  |  | U |  | PYROTHERM | [6 empty] | CHROME DRIER, CHROME DIRECT REDUCTION PLANT |  | PYROTHERM | C1139-80200/1 |  | TSH4 |  | SWITCH | TEMPERATURE | TYPE |  | TEMPERATURE RATING |  | SENSOR TYPE |  | PROCESS CONNECTION |  | CONTACT CONFIGURATION |  | ENCLOSURE |  | VOLTAGE RATING |  | CURRENT RATING |  | CAPILLARY LENGTH |  | MOUNTING TYPE |  | MATERIAL |  | POWER RATING |  | ACTION |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POSITION:M400-81000TSH4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060229927 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060229927 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,2 POSITION S/H NO/NC CB2-BD25 | SWITCH,2 POSITION S/H NO/NC CB2-BD25 | CB2-BD25 | 0019011367 | ELECTRO DIESEL | http://www.fato-china.com/upload/file/2016-08/20160818102758-0007-69350.pdf |  | ELECTRO DIESEL | CB2-BD25 | [11 empty] | E | SWITCH | PUSHBUTTON | TYPE | STANDARD HANDLE | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS | 2 | CONTACT CONFIGURATION | 1NO 1NC | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060232849 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060232849 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,3WAY,77011633,DD210L | RED ILLUMINATED 3WAY SWITCH, PN 77011633, DD210L | 77011633 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik/part/77011633_switch/ |  | SANDVIK | 77011633 | [6 empty] | DD210L | SANDVIK |  |  |  | C | SWITCH | NO MODIFIER | TYPE | ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS | 3 | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:RED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060166276 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060166276 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,BUTTON,TRANSLUCENT RED,ENGRAVE | SWITCH: BUTTON, TRANSLUCENT RED, ENGRAVED EMERGENCY STOP, BIN NUMBER, 90123, CUTLER HAMMER |  |  |  | http://www.xiamenjiyang.com/wap/products_show.asp?id=1163 |  | CUTLER HAMMER | 90123 | [11 empty] | C | SWITCH | PUSHBUTTON | TYPE | ENGRAVED EMERGENCY STOP | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR | TRANSLUCENT RED | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060232855 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060232855 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,EMERGENCY,BRAKE,64120257,DD210L | EMERGENCY BRAKE SWITCH, ILLUMINATED PUSH BUTTON, PN 64120257, OLD PN 77007462, DD210L | 64120257 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik/part/64120257_emergency-brake-switch/ |  | SANDVIK | 64120257 | [6 empty] | DD210L | SANDVIK |  |  |  | C | SWITCH | PUSHBUTTON | TYPE | EMERGENCY BRAKE,ILLUMINATED | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | ACTION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OLD PART NUMBER:77007462 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060233894 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060233894 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,FLOAT,5M B-01/5 15AMP C/W WEIGHT | SWITCH FLOAT SWITCH 5M B-01/5 15AMP C/W WEIGHT |  |  |  | https://www.acdc.co.za/products/5m-15a-float-switch-c-w-weight?variant=30468975052 |  | ACDC | B-01/5 | [11 empty] | E | SWITCH | FLOAT | TYPE |  | VOLTAGE RATING |  | CURRENT RATING | 15 A | CABLE LENGTH | 5 M | ENCLOSURE |  | CONTACT CONFIGURATION |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | POWER RATING |  | FREQUENCY RATING |  | ACTION |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W WEIGHT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060229222 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060229222 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | SWITCH,FLOW,COOLANT | SWITCH, FLOW, COOLANT, ROYAL SLAG CARRIER, NEW STOCK AS PER ESSI : 1230, 171-8710 | 171-8710 | 0019011537 | BARLOWORLD EQUIPMENT | https://parts.cat.com/en/catcorp/171-8710 |  | CAT | 171-8710 |  | BARLOWORLD EQUIPMENT | 171-8710 |  |  | ROYAL SLAG CARRIER | [5 empty] | E | SWITCH | FLOW | TYPE | COOLANT | FLOW RATING |  | PRESSURE RATING |  | PROCESS CONNECTION |  | TEMPERATURE RATING | -40 TO 121 DEG C | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | FREQUENCY RATING |  | MOUNTING TYPE |  | ACTION |  | MATERIAL |  | MEDIA |  | SIZE | WD 42.9 X LG 348.8 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI 1230 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [19 empty] | Production Completed
000000000060228514 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060228514 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | SWITCH,IGNITION,CAT | SWITCH, IGNITION, CAT., NEW STOCK AS PER ESSI: 1048 | 9G-7641 | 0019011537 | BARLOWORLD EQUIPMENT | https://parts.cat.com/en/catcorp/9G-7641 |  | CAT | 9G-7641 |  | BARLOWORLD EQUIPMENT | 9G-7641 | [8 empty] | E | SWITCH | IGNITION | TYPE |  | VOLTAGE RATING | 12/24 V | CURRENT RATING |  | NUMBER OF POSITIONS | 3 | CONTACT CONFIGURATION |  | ENCLOSURE |  | TEMPERATURE RATING | -40 TO 80 DEG C | MOUNTING TYPE |  | ACTION |  | OPERATION TYPE | KEY | MATERIAL |  | TERMINAL TYPE |  | SIZE | DIA 47.8 X LG 73.6 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI 1048 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060182685 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060182685 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,INDUSTRIAL PLUG COMBINATION 15AM | SWITCH, INDUSTRIAL PLUG COMBINATION 15AMP WATERPROOF |  |  |  | U | [15 empty] | SWITCH | NO MODIFIER | TYPE | INDUSTRIAL PLUG COMBINATION,WATERPROOF | VOLTAGE RATING |  | CURRENT RATING | 15 A | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060173842 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060173842 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,LEVEL,EME 3/8 IN-MU-L100-SV52-3PV | SWITCH,LEVEL,EME 3/8 IN-MU-L100-SV52-3PVC,HYDRAULIC UNIT,PSP 3 PELLETISING PLANT,MFC | P44 POSITION 44100-584249 | 0019002490 | OUTOTEC | http://russian.konwell.fi/images/esitteet/11_hoyrykattila-_ja_sailiovarusteet/1_pinnan_ohjaus_ja_valvonta/pintakytkimet/KSR_Kuebler_uimurikytkimet.pdf |  | KSR KUBLER | EME 3/8 IN-MU-L100-SV52-3PVC |  | OUTOTEC | 44100-584249 |  |  | HYDRAULIC UNIT,PELLETIZING PLANT-MFC | PSP 3 |  |  |  |  | E | SWITCH | LEVEL | TYPE | Magnetic FLOAT | MEASURING RANGE |  | PROCESS CONNECTION |  | PRESSURE RATING |  | OUTPUT SIGNAL |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | POWER RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | P44 POSITION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060175478 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060175478 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,POSITION INDICATOR,SIEMENS | SWITCH,POSITION INDICATOR,SIEMENS, AS PER SSI 2769 | 3WL9 111-OAH12-OAAO | 0019003033 | SIEMENS GMBH,W.GERMANY | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/?mlfb=3WL9111-0AH12-0AA0 |  | SIEMENS GMBH,W.GERMANY | 3WL9111-0AH12-0AA0 | [11 empty] | C | SWITCH | NO MODIFIER | TYPE | POSITION INDICATOR | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 2769 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060231317 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 | Conflict wrt input processed as per websource | 000000000060231317 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,PROXIMITY,ADJUSTABLE DISTANCE | SWITCH, PROXIMITY, ADJUSTABLE DISTANCE, 200MM-2000MM, SICK, 9-30VDC, UM30-213112, NEW STOCK AS PER ESSI : 1311 |  |  |  | https://cdn.sick.com/media/pdf/6/56/356/dataSheet_UM30-213112_6037666_en.pdf |  | SICK | UM30-213112 | [11 empty] | E | SENSOR | ULTRASONIC | TYPE | Cylindrical | SENSING RANGE | 200 MM/1.3 M/2 M | POWER SUPPLY | 9-30 VDC | OUTPUT TYPE | PNP | CONNECTION TYPE | M12 5-PIN MALE CONNECTOR | TEMPERATURE RATING | -25 TO 70 DEG C | MATERIAL | nickel-plated brass, PBT HOUSING | SWITCHING FREQUENCY | 8 HZ | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI 1311 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060232625 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060232625 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,PROXIMITY,INDUCTV,08501352,DD210L | INDUCTIVE PROXIMITY SWITCH, PN 08501352, DD210L | 08501352 | 0019002924 | SANDVIK | https://atecmakarios.com/collections/switches/products/8501352 | https://www.volza.com/p/switches-proximity/buyers/coo-finland/ | SANDVIK | 08501352 | [6 empty] | DD210L | SANDVIK |  |  |  | C | SWITCH | PROXIMITY | TYPE | INDUCTIVE | SENSING RANGE |  | CABLE LENGTH |  | OUTPUT CONFIGURATION |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | TEMPERATURE RATING |  | VOLTAGE RATING |  | CURRENT RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | ACTION |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060246516 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060246516 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,PULL,IFM,ZB0051,DUAL,HAND | SWITCH,PULL,IFM,ZB0051,DUAL HAND | ZB0051 | 0019011819 | Unknown | https://www.ifm.com/in/en/product/ZB0051 |  | IFM | ZB0051 | [11 empty] | E | SWITCH | PULL | TYPE | DUAL HAND,Safety rope emergency stop | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,CULUS | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060246517 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060246517 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,PULL,IFM,ZB0052,LEFT,HAND | SWITCH,PULL,IFM,ZB0052,LEFT HAND | ZB0052 | 0019011819 | Unknown | https://www.ifm.com/in/en/product/ZB0052 |  | IFM | ZB0052 | [11 empty] | E | SWITCH | PULL | TYPE | LEFT HAND,Safety rope emergency stop | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,CULUS | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060246515 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060246515 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | SWITCH,PULL,IFM,ZB0053,RIGHT,HAND | SWITCH,PULL,IFM,ZB0053,RIGHT HAND | ZB0053 | 0019011819 | Unknown | https://www.ifm.com/in/en/product/ZB0053 |  | IFM | ZB0053 | [11 empty] | E | SWITCH | PULL | TYPE | RIGHT HAND,Safety rope emergency stop | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | NUMBER OF POSITIONS |  | CONTACT CONFIGURATION |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | INSULATION RESISTANCE |  | POWER RATING |  | ACTION |  | MATERIAL |  | COLOUR |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,CULUS | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060244382 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060244382 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | SWITCH,S/H,2POS,RESET,NO/NC | SWITCH, S/H, 2POS, RESET, NO/NC |  |  |  | U | [15 empty] | SWITCH | NO MODIFIER | TYPE | RESET | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION | 1NO 1NC | NUMBER OF POSITIONS | 2 | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE | STANDARD HANDLE | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060228619 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060228619 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | SWITCH,SOLENOID,BODY,ROYAL | SWITCH, SOLENOID, BODY, ROYAL, SLAG CARRIER, COLE HERSEE., NEW STOCK AS PER ESSI : 1063, 24059 12V078M |  |  |  | https://www.waytekwire.com/item/77002/Cole-Hersee-24059-Insulated-Continuous-Duty-/ | https://www.elecdirect.com/media/specsheets/CHh1.pdf | COLE HERSEE CO | 24059 |  | COLE HERSEE CO | 12V078M |  |  | ROYAL SLAG CARRIER | [5 empty] | E | SWITCH | NO MODIFIER | TYPE | Insulated Continuous Duty,SOLENOID BODY | VOLTAGE RATING | 12 VDC | CURRENT RATING | 85 A | CONTACT CONFIGURATION | NO | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | BRACKET | TEMPERATURE RATING | -40 TO 80 DEG C | ACTION | SPST | OPERATOR TYPE |  | POWER RATING |  | MATERIAL | Plated Steel | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI 1063 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060228513 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060228513 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | SWITCH,SOLENOID,BODY,ROYAL SLAG | SWITCH, SOLENOID, BODY, ROYAL SLAG CARRIER., NEW STOCK AS PER ESSI: 1052 | 337-9078 | 0019011537 | BARLOWORLD EQUIPMENT | https://parts.cat.com/en/catcorp/337-9078 |  | CAT | 337-9078 |  | BARLOWORLD EQUIPMENT | 337-9078 |  |  | ROYAL SLAG CARRIER | [5 empty] | E | SWITCH | NO MODIFIER | TYPE | Magnetic,SOLENOID BODY | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | 2-BOLT | TEMPERATURE RATING | -40 TO 85 DEG C | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE | WD 124 X LG 111 X HT 82 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI 1052 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060228512 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060228512 | BHP1 | BHP Spares & Supplies | 251917 | Vehicle servicing equipment | EA | MAN2 | SWITCH,SOLENOID,BODY,ROYAL SLAG CARRIER | SWITCH, SOLENOID,BODY,ROYAL SLAG CARRIER, COLE HERSEE., NEW STOCK AS PER ESSI : 1055, PART NUMBER : 24063 24V078M | 24063 24V078M | 0019000773 | COLE HERSEE CO,USA | https://www.waytekwire.com/item/77004/Cole-Hersee-24063-Insulated-Continuous-Duty-/ | https://www.elecdirect.com/media/specsheets/CHh1.pdf | COLE HERSEE CO,USA | 24063 |  | COLE HERSEE CO | 24V078M |  |  | ROYAL SLAG CARRIER | [5 empty] | E | SWITCH | NO MODIFIER | TYPE | Insulated Continuous Duty,SOLENOID BODY | VOLTAGE RATING | 24 VDC | CURRENT RATING | 85 A | CONTACT CONFIGURATION | NO | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE | BRACKET | TEMPERATURE RATING | -40 TO 80 DEG C | ACTION | SPST | OPERATOR TYPE |  | POWER RATING |  | MATERIAL | Plated Steel | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI 1055 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060168217 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060168217 | BHP1 | BHP Spares & Supplies | 221015 | Earth moving machinery | EA | MAN2 | SWITCH: BLOCK P/N 74201542 | SWITCH: BLOCK P/N 74201542 | 74201542 | 0019002924 | SANDVIK | https://www.aga-parts.com/sandvik/part/74201542_switch-block/ |  | SANDVIK | 74201542 | [11 empty] | C | SWITCH | NO MODIFIER | TYPE | BLOCK | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060175206 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060175206 | BHP1 | BHP Spares & Supplies | 201419 | Gas treating equipment | EA | MAN2 | SWITCH: OIL LEVEL FOR TRANSFORMERS, MODE | SWITCH: OIL LEVEL FOR TRANSFORMERS, MODEL R140FGM, TRANSFORMER SERIAL NO. 30369, GEDASPE | R140FGM | 0019005738 | POWERTECH | U |  | POWERTECH | R140FGM | [5 empty] | TRANSFORMER |  |  |  | 30369 |  | C | SWITCH | LEVEL | TYPE | OIL | MEASURING RANGE |  | PROCESS CONNECTION |  | PRESSURE RATING |  | OUTPUT SIGNAL |  | ENCLOSURE |  | CONTACT CONFIGURATION |  | VOLTAGE RATING |  | CURRENT RATING |  | MATERIAL |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | POWER RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BRAND:CEDASPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
000000000060255209 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060255209 | BHP1 | BHP Spares & Supplies | 200000 | Mining Machinery and Accessories | EA | MAN2 | OFFICE TABLE,SENATOR,3 LHS DRAWER DESK,1 | OFFICE TABLE,SENATOR,3 LHS DRAWER DESK,1600X900,OAK VENEER | 540459VO | 0019011819 | Unknown | U |  | SENATOR | 540459VO | [12 empty] | TABLE | NO MODIFIER | TYPE | OFFICE,3 LHS DRAWER DESK | DIMENSIONS | 1.6 M X 900 MM | MATERIAL | OAK VENEER | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060027449 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060027449 | BHP1 | BHP Spares & Supplies | 271128 | Tool attachments | ST | MAN2 | TAP, HAND, BSP, 1/4IN, CARBON STEEL CUT | TAP, HAND, BSP, 1/4IN, CARBON STEEL CUT THREAD, TAPER & BOTTOM CUT, 2 PER SET |  |  |  | U | [15 empty] | TAP | THREAD CUTTING | TYPE | HAND,TAPER & BOTTOM | NOMINAL SIZE | 1/4 IN | THREAD TYPE | BSP | FLUTE TYPE |  | MATERIAL | CARBON STEEL | THREAD LENGTH |  | OVERALL LENGTH |  | SHANK SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGING QUANTITY:2 PER SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060217365 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060217365 | BHP1 | BHP Spares & Supplies | 241017 | Conveyors and accessories | EA | MAN2 | THYRUSTER, BRAKE COMPLETE MOUNTED | THYRUSTER, BRAKE COMPLETE MOUNTED |  |  |  | U | [15 empty] | THRUSTER | NO MODIFIER | TYPE | BRAKE | SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE MOUNTED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060167440 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060167440 | BHP1 | BHP Spares & Supplies | 201224 | Production systems equipment | EA | MAN2 | TRAY: DISCHARGE END GRIZZLEY BAR, 880VIB | TRAY: DISCHARGE END GRIZZLEY BAR, 880VIB0636008,METSO P/NO:M2520 |  |  |  | U |  | METSO | M2520 |  |  | 880VIB0636008 | [9 empty] | TRAY | NO MODIFIER | TYPE | DISCHARGE END GRIZZLEY BAR | CAPACITY |  | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060214842 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060214842 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | EA | MAN2 | TROUSER, 100% COTTON, SIZE 58/147, J54, | TROUSER, 100% COTTON, SIZE 58/147, J54, REFL, SABS | CP87HT-COT240-102-00-58 |  |  | https://www.srafrica.com/product/100-cotton-reflective-work-trousers/ |  |  | CP87HT-COT240-102-00-58 | [11 empty] | E | TROUSER | NO MODIFIER | TYPE | Reflective Work | MATERIAL | J54 100 PCT COTTON | SIZE DESIGNATION | 58/147 | WAIST SIZE |  | COLOUR |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060233976 - B5 | STP-004 | DATA ENRICHMENT | MUF | MUF5 | OK | 2022-10-10 | 2022-10-27 |  | 000000000060233976 | BHP1 | BHP Spares & Supplies | 251739 | Electrical components | LG | MAN2 | TRUNKING,SLOTTED,120WX80H/D,3M,LENGTH | TRUNKING, GREY, SLOTTED, 120WX80H/D, 3M, LENGTH |  |  |  | U | [15 empty] | RACEWAY | NO MODIFIER | TYPE | TRUNKING,SLOTTED | SIZE | WD 120 X LG 3 M X DP 80 MM | MATERIAL |  | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed