## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060165430 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060165430 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | SHOCK ABSORBER,COMPLETE,TO DEMAG DRAWI | SHOCK ABSORBER: COMPLETE, TO DEMAG DRAWING 348-85-02, 25 TON CONVERTOR, FURNACE IC3 PLANT, FERROMETALS |  |  |  | U |  | DEMAG |  |  | FERROMETALS |  |  |  | 25 TON CONVERTOR, FURNACE IC3 PLANT |  | FERROMETALS | 348-85-02 |  |  |  | ABSORBER | SHOCK | TYPE |  | STROKE |  | LOAD CAPACITY |  | DIAMETER |  | LENGTH |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060172769 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060172769 | BHP1 | BHP Spares & Supplies | 731800 | Machining and processing services | EA | MAN2 | ASSEMBLY OIL COOLER EJC - 69037368 | ASSEMBLY OIL COOLER EJC - 69037368 | 69037368 | 0019003253 | SANDVIK TAMROCK | https://www.aga-parts.com/sandvik/part/69037368_oil-cooler-assy/ |  | SANDVIK TAMROCK | 69037368 | [6 empty] | EJC |  |  |  |  | C | COOLER | OIL | TYPE |  | TRADE SIZE |  | END CONNECTION |  | COOLING CAPACITY |  | DISPLACEMENT |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060172850 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060172850 | BHP1 | BHP Spares & Supplies | 731800 | Machining and processing services | EA | MAN2 | ASSEMBLY TANK CAP EJC - 64229334 | ASSEMBLY TANK CAP EJC - 64229334 | 64229334 | 0019003253 | SANDVIK TAMROCK | https://www.aga-parts.com/sandvik/part/64229334_cap-tank-assembly/ |  | SANDVIK TAMROCK | 64229334 | [6 empty] | EJC |  |  |  |  | C | CAP | NO MODIFIER | TYPE | TANK | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060177096 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060177096 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | ASSEMBLY, GLAND, P/N B044-524 | ASSEMBLY, GLAND, P/N B044-524 | B044-524 | 0019003565 | WARMAN INTERNATIONAL LTD | U |  | WARMAN INTERNATIONAL LTD | B044-524 | [12 empty] | GLAND | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060173203 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060173203 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | BOGEY ASSEMBLY, NON DRIVE END, COMPLETE | BOGEY ASSEMBLY, NON DRIVE END, COMPLETE WITH 2 X LONG TRAVEL WHEELS, DEMAG CRANE. |  |  |  | U | [8 empty] | CRANE |  | DEMAG |  |  |  |  | ASSEMBLY | NO MODIFIER | TYPE | BOGEY,NON DRIVE END | ADDITIONAL FEATURES EN | C/W 2 X LONG TRAVEL WHEELS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [53 empty] | Production Completed
000000000060187551 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060187551 | BHP1 | BHP Spares & Supplies | 461815 | Safety apparel | EA | MAN2 | LEATHER BAG,GDI SENTINEL | LEATHER BAG, GDI SENTINEL |  |  |  | U | [15 empty] | BAG | NO MODIFIER | TYPE |  | CAPACITY |  | SIZE |  | MATERIAL | LEATHER | CLOSURE TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | GDI SENTINEL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060180823 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060180823 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | BOTTOM BLOCK,CRANE 31 AND 32,80 TON MAIN | TO SUB REGULATION 7., BOTTOM BLOCK, CRANE 31 & 32, 80 TON MAIN HOIST, 16 FALLS, COMPLETE WITH, HOOK, TO FIT 24MM STEEL WIRE ROPE, AS PER DEMAG DRAWING: DRG.64456360, * EVERY BOTTOM BLOCK SHALL HAVE A UNIQUE IDENTIFICATION NUMBER., * ALL REPORTS / CERTIFICATION SHALL REFLECT THE UNIQUE IDENTIFICATION, NUMBER., * ALL REPAIRS TO BOTTOM BLOCKS OR REPLACEMENT BOTTOM BLOCKS SHALL COMPLY, WITH REQUIREMENTS OF THE OHS ACT REGULATION 18 WITH SPECIFIC REFERENCE |  |  |  | U |  | DEMAG | [6 empty] | 31 & 32, 80 TON MAIN HOIST/CRANE |  |  | 64456360 |  |  |  | BLOCK | NO MODIFIER | TYPE | BOTTOM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TO SUB REGULATION 7, 16 FALLS, COMPLETE W/HOOK, TO FIT 24 MM STEEL WIRE ROPE, EVERY BOTTOM BLOCK SHALL HAVE A UNIQUE IDENTIFICATION NUMBER,ALL REPORTS / CERTIFICATION SHALL REFLECT THE UNIQUE IDENTIFICATION, NUMBER,ALL REPAIRS TO BOTTOM BLOCKS OR REPLACEMENT BOTTOM BLOCKS SHALL COMPLY, W/REQUIREMENTS OF THE OHS ACT REGULATION 18 W/SPECIFIC REFERENCE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060108595 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060108595 | BHP1 | BHP Spares & Supplies | 401018 | Heating | KG | MAN2 | PASTE, ELECTRODE, 5IN BLOCKS, IN 2ND HAN | PASTE, ELECTRODE, 5IN BLOCKS, IN 2ND HAND BULK BAG |  |  |  | U | [15 empty] | ELECTRODE | NO MODIFIER | TYPE | PASTE | DIAMETER |  | MATERIAL |  | SHAPE |  | CONTAINER | 2ND HAND BULK BAG | CONDUCTIVITY |  | RESISTIVITY |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 5IN BLOCKS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060026025 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060026025 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | TERMINAL CONNECTOR BLOCK, 100A, 3 WAY, G | TERMINAL CONNECTOR BLOCK, 100A, 3 WAY, GENERAL ELECTRIC | CR2960SY139C3C | 0019008693 | GENERAL ELECTRIC | https://www.grainger.com/product/GE-Terminal-Block-100-A-6ANC6 |  | GENERAL ELECTRIC | CR2960SY139C3C | [11 empty] | E | BLOCK | TERMINAL | TYPE | CONNECTOR | CURRENT RATING | 100 A | VOLTAGE RATING | 600 VAC | WIRE SIZE | 1 AWG | NUMBER OF CIRCUITS | 3 | TERMINAL TYPE | SCREW | MATERIAL | Phenolic | MOUNTING TYPE | PANEL | SIZE | WD 2 X LG 3-21/32 X HT 1-9/16 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060026026 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060026026 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | TERMINAL CONNECTOR BLOCK, 150A, 3 WAY, G | TERMINAL CONNECTOR BLOCK, 150A, 3 WAY, GENERAL ELEC | CR2960SY139C3D | 0019008693 | GENERAL ELECTRIC | https://www.grainger.com/product/GE-Terminal-Block-150-A-6ANC7?cpnuser=undefined&searchBar=true&searchQuery=CR2960SY139C3D&suggestConfigId=7&ts_optout=false&tier=Tier+6 |  | GENERAL ELECTRIC | CR2960SY139C3D | [11 empty] | E | BLOCK | TERMINAL | TYPE | CONNECTOR | CURRENT RATING | 150 A | VOLTAGE RATING | 600 VAC | WIRE SIZE | 3/0 AWG | NUMBER OF CIRCUITS | 3 | TERMINAL TYPE | SCREW | MATERIAL | Phenolic | MOUNTING TYPE | PANEL | SIZE | WD 2 X LG 3-21/32 X HT 1-9/16 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060026023 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060026023 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | TERMINAL CONNECTOR BLOCK, 30A, 4 WAY, GE | TERMINAL CONNECTOR BLOCK, 30A, 4 WAY, GENERAL ELEC | CR151B4 | 0019008693 | GENERAL ELECTRIC | https://buy.wesco.com/Automation-and-Control/Terminal-Blocks/Terminal-Blocks-Multi-Position-Blocks-and-Strips/GENERAL-ELECTRIC/Terminal-Block-30A-600V-4P/CR151B4/p/78316631640-1 |  | GENERAL ELECTRIC | CR151B4 | [11 empty] | E | BLOCK | TERMINAL | TYPE | CONNECTOR | CURRENT RATING | 30 A | VOLTAGE RATING | 600 V | WIRE SIZE | 10 AWG | NUMBER OF CIRCUITS | 4 | TERMINAL TYPE | SCREW | MATERIAL | Phenolic | MOUNTING TYPE | SURFACE/TRACK | SIZE | LG 60.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060125428 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060125428 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | TERMINAL CONNECTOR BLOCK, 30A, 6 WAY, GE | TERMINAL CONNECTOR BLOCK, 30A, 6 WAY, GENERAL ELECTRIC | CR151B6 | 0019008693 | GENERAL ELECTRIC | https://buy.wesco.com/Automation-and-Control/Terminal-Blocks/Terminal-Blocks-Multi-Position-Blocks-and-Strips/GENERAL-ELECTRIC/Terminal-Block-30A-600V-6P/CR151B6/p/78316631649-1 |  | GENERAL ELECTRIC | CR151B6 | [11 empty] | E | BLOCK | TERMINAL | TYPE | CONNECTOR | CURRENT RATING | 30 A | VOLTAGE RATING | 600 V | WIRE SIZE | 10 AWG | NUMBER OF CIRCUITS | 6 | TERMINAL TYPE | SCREW | MATERIAL | Phenolic | MOUNTING TYPE | SURFACE/TRACK | SIZE | LG 88.9 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060125426 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060125426 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | TERMINAL CONNECTOR BLOCK, 30A, GENERAL E | TERMINAL CONNECTOR BLOCK, 30A, GENERAL ELECTRIC | 75C155002 | 0019008693 | GENERAL ELECTRIC | https://maraindustrial.com/cart/electrical/blocks/general-electric-75c-155002-male-terminal-block-75c155002-used.html |  | GENERAL ELECTRIC | 75C155002 | [11 empty] | E | BLOCK | TERMINAL | TYPE | MALE CONNECTOR | CURRENT RATING | 30 A | VOLTAGE RATING |  | WIRE SIZE |  | NUMBER OF CIRCUITS |  | TERMINAL TYPE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060125425 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060125425 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | TERMINAL CONNECTOR BLOCK, 30A, GENERAL E | TERMINAL CONNECTOR BLOCK, 30A, GENERAL ELEC | 75B132505G702 | 0019008693 | GENERAL ELECTRIC | https://weixuan006.jdzj.com/supplyinfo-1-2-2012820.html |  | GENERAL ELECTRIC | 75B132505G702 | [11 empty] | C | BLOCK | TERMINAL | TYPE | CONNECTOR | CURRENT RATING | 30 A | VOLTAGE RATING |  | WIRE SIZE |  | NUMBER OF CIRCUITS |  | TERMINAL TYPE |  | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060026024 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060026024 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | TERMINAL CONNECTOR BLOCK, 50A, 3 WAY, GE | TERMINAL CONNECTOR BLOCK, 50A, 3 WAY, GENERAL ELECTRIC | CR2960SY139C3B | 0019008693 | GENERAL ELECTRIC | https://www.grainger.com/product/GE-Terminal-Block-50-A-6ANC5 |  | GENERAL ELECTRIC | CR2960SY139C3B | [11 empty] | E | BLOCK | TERMINAL | TYPE | CONNECTOR | CURRENT RATING | 50 A | VOLTAGE RATING | 600 VAC | WIRE SIZE | 6 AWG | NUMBER OF CIRCUITS | 3 | TERMINAL TYPE | SCREW | MATERIAL | Phenolic | MOUNTING TYPE | SCREW | SIZE | WD 1-3/8 X LG 2-15/16 X HT 1-1/2 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060218949 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060218949 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | PR | MAN2 | GUMBOOT, LADIES SIZE 9 SHOSH WHITE | LADIES, GUMBOOT, SIZE 9, PVC WHITE, STC, SMS, C/W METAGUARD, 54CM WIDER CALF |  |  |  | U | [15 empty] | GUMBOOTS | SAFETY | TYPE | LADIES | SIZE DESIGNATION | 9 | HEIGHT |  | MATERIAL | PVC | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | FASTENING METHOD |  | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SMS,C/W STEEL TOE CAP,METAGUARD,54 CM WIDER CALF | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060224635 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060224635 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | PR | MAN2 | GUMBOOT,SIZE 10,EGOLI,STCNP,METAGUARD | GUMBOOT, SIZE 10, EGOLI, STCNP, METAGUARD, BLACK/TOFFEE, |  |  |  | U | [15 empty] | GUMBOOTS | SAFETY | TYPE | EGOLI METAGUARD | SIZE DESIGNATION | 10 | HEIGHT |  | MATERIAL |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | FASTENING METHOD |  | COLOUR | BLACK,TOFFEE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/STEEL TOE CAP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060224630 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060224630 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | PR | MAN2 | GUMBOOT,SIZE 5,EGOLI,STCNP,METAGUARD | GUMBOOT, SIZE 5, EGOLI, STCNP, METAGUARD, BLACK/TOFFEE, |  |  |  | U | [15 empty] | GUMBOOTS | SAFETY | TYPE | EGOLI METAGUARD | SIZE DESIGNATION | 5 | HEIGHT |  | MATERIAL |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | FASTENING METHOD |  | COLOUR | BLACK,TOFFEE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/STEEL TOE CAP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060224631 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060224631 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | PR | MAN2 | GUMBOOT,SIZE 6,EGOLI,STCNP,METAGUARD | GUMBOOT, SIZE 6, EGOLI, STCNP, METAGUARD, BLACK/TOFFEE, |  |  |  | U | [15 empty] | GUMBOOTS | SAFETY | TYPE | EGOLI METAGUARD | SIZE DESIGNATION | 6 | HEIGHT |  | MATERIAL |  | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | FASTENING METHOD |  | COLOUR | BLACK,TOFFEE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/STEEL TOE CAP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060096962 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060096962 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | PR | MAN2 | GUMBOOTS, WHITE, PVC, KNEE LENGTH, SIZE | GUMBOOTS, WHITE, PVC, KNEE LENGTH, SIZE 292 (12), WITH STEEL TOE-CAP, CODE 1271, TO SABS 1320 PART 1 |  |  |  | U | [15 empty] | GUMBOOTS | SAFETY | TYPE | KNEE LENGTH | SIZE DESIGNATION | 12 (292) | HEIGHT |  | MATERIAL | PVC | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | FASTENING METHOD |  | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1320 PART 1 | ADDITIONAL FEATURES EN | W/STEEL TOE CAP,CODE 1271 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060096956 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060096956 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | PR | MAN2 | GUMBOOTS, WHITE, PVC, KNEE LENGTH, SIZE | GUMBOOTS, WHITE, PVC, KNEE LENGTH, SIZE 247 (6), WITH STEEL TOE-CAP, CODE 1271, TO SABS 1320 PART 1 |  |  |  | U | [15 empty] | GUMBOOTS | SAFETY | TYPE | KNEE LENGTH | SIZE DESIGNATION | 6 (247) | HEIGHT |  | MATERIAL | PVC | SOLE MATERIAL |  | TOE CONSTRUCTION TYPE |  | FASTENING METHOD |  | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD | SABS 1320 PART 1 | ADDITIONAL FEATURES EN | W/STEEL TOE CAP,CODE 1271 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060149715 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | SUITABLE NM NOT FOUND | 2022-10-24 | 2022-10-27 |  | 000000000060149715 | BHP1 | BHP Spares & Supplies | 312700 | Machine made parts | EA | MAN2 | BOTTOM, SETTLING, COMPLETE, 954 X 976 X | BOTTOM, SETTLING, COMPLETE, 954 X 976 X 3.15 X 3.15MM, JIG 2, DWG F02-573, MULTOTEC | [81 empty] | Production Completed
000000000060116556 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060116556 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | BUSBAR, COPPER, 50MM OD X 30MM ID X 4000 | BUSBAR, COPPER, 50MM OD X 30MM ID X 4000MM LONG, SUB ARC FURNACE, MIDDELBURG FERROCHROME |  |  |  | U |  | MIDDELBURG FERROCHROME | [6 empty] | SUB ARC FURNACE |  | MIDDELBURG FERROCHROME |  |  |  |  | BUS BAR | NO MODIFIER | TYPE |  | MATERIAL | COPPER | CROSS SECTION |  | LENGTH | 4 M | INSULATION MATERIAL |  | CURRENT RATING |  | VOLTAGE RATING |  | FREQUENCY RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE:ID 30 X OD 50 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060132982 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060132982 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | CARRIER, DIAMOND, COMPLETE, SITEECO | CARRIER, DIAMOND, COMPLETE, SITEECO | 3-DT/0600 | 0019008935 | SITEECO | U |  | SITEECO | 3-DT/0600 | [12 empty] | CARRIER | NO MODIFIER | TYPE | DIAMOND | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060132983 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060132983 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | CARRIER, FOUR WHEEL, COMPLETE, SITEECO | CARRIER, FOUR WHEEL, COMPLETE, SITEECO | 3-5HD/0401 | 0019008935 | SITEECO | U |  | SITEECO | 3-5HD/0401 | [12 empty] | CARRIER | NO MODIFIER | TYPE | FOUR WHEEL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060115262 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060115262 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | CASING, BOTTOM ELECTRODE, DWG FV10C03001 | CASING, BOTTOM ELECTRODE, DWG FV10C03001, FOR ATTACHING TO BOTTOM, ELECTRODE TANK, AND BE FILLED WITH ELECTRODE PASTE, CALCINE FURNACE, SSI FMT00427 | AS PER DWG FV10C03 001 |  |  | U | [11 empty] | FV10C03 001 |  |  |  | CASING | NO MODIFIER | TYPE | BOTTOM ELECTRODE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR ATTACHING TO BOTTOM ELECTRODE TANK AND BE FILLED WITH ELECTRODE PASTE, CALCINE FURNACE, SSI FMT00427 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060225810 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060225810 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | CASNG, ELECTRODE,FCE-A1 | CASING: ELECTRODE,FURNACE-A1 |  |  |  | U | [8 empty] | FURNACE-A1 | [6 empty] | CASING | NO MODIFIER | TYPE | ELECTRODE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060225811 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060225811 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | CASNG, ELECTRODE,FCE-A2 | CASING: ELECTRODE,FURNACE-A2 |  |  |  | U | [8 empty] | FURNACE-A2 | [6 empty] | CASING | NO MODIFIER | TYPE | ELECTRODE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060125430 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060125430 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | CLIP, TERMINAL CONNECTOR BLOCK, GENERAL | CLIP, TERMINAL CONNECTOR BLOCK, GENERAL ELECTRIC | 577A285P1 | 0019008693 | GENERAL ELECTRIC | https://rexel-cdn.com/products/ged273a7722p1pdf.pdf?i=B2E3BA03-840D-444F-9555-86DDDA0B6281 |  | GENERAL ELECTRIC | 577A285P1 | [11 empty] | E | CLIP | NO MODIFIER | TYPE | MOUNTING, TERMINAL CONNECTOR BLOCK | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060148764 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060148764 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | CONDUCTOR, RAIL, COPPER HEAD STEEL, 7M L | CONDUCTOR, RAIL, COPPER HEAD STEEL, 7M LONG, SITEECO | F45/200 | 0019008935 | SITEECO | U |  | SITEECO | F45/200 | [12 empty] | RAIL | NO MODIFIER | TYPE | CONDUCTOR | SIZE | LG 7 M | MATERIAL | COPPER HEAD STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060116113 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060116113 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | COUNTER, PULSE, ELECTRODE SLIPPING, FURN | COUNTER, PULSE, ELECTRODE SLIPPING, FURNACE, TUBATSE FERROCHROME |  |  |  | U | [8 empty] | FURNACE TUBATSE FERROCHROME | [6 empty] | COUNTER | NO MODIFIER | TYPE | PULSE,ELECTRODE SLIPPING | COUNTING RANGE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MATERIAL |  | RESET TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060221778 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060221778 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | DAMPER, BYPASS, C/W REFACTORY, PSP | DAMPER, BYPASS, C/W REFACTORY, PSP | BDTC-Q2-800-1 | 0019002490 | OUTOTEC | U |  | OUTOTEC | BDTC-Q2-800-1 | [12 empty] | DAMPER | NO MODIFIER | TYPE | BYPASS | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W REFACTORY, PSP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060161248 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060161248 | BHP1 | BHP Spares & Supplies | 401015 | Ventilation | EA | MAN2 | DAMPER, DRYING CONTROL/BYPASS, C/W BUTTE | DAMPER, DRYING CONTROL/BYPASS, C/W BUTTERFLY VALVE, AS PER DRAWINGS FW47, D59 136 TO FW47 D59 142, SSI 11516, Spare damper for Sintering Furnace PSP, Drying bypass ducting | FER.M.F.SF.ED.900 | 0019002490 | OUTOTEC | U |  | OUTOTEC | FER.M.F.SF.ED.900 | [8 empty] | FW47, D59 136 TO FW47 D59 142 |  |  |  | DAMPER | NO MODIFIER | TYPE | DRYING CONTROL/BYPASS | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W BUTTERFLY VALVE,SSI 11516,for Sintering Furnace PSP, Drying bypass ducting | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060233855 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060233855 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | DAMPER,BUTTERFLY,DRYER 1 | BUTTERFLY DAMPER,DRYER 1, AIR/GAS PIPE TRAIN, 200 NB, KLINGER, NEW STOCK AS PER ESSI: 1495, 200NB KLINGER | BUTTERFLY DAMPER-200 NB | 0019006421 | KLINGER FL | U |  | KLINGER FL | [13 empty] | DAMPER | NO MODIFIER | TYPE | BUTTERFLY | ELECTRICAL RATING |  | OVERALL SIZE |  | CONNECTION TYPE |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DRYER 1, AIR/GAS PIPE TRAIN, NOMINAL SIZE:200 NB,NEW STOCK AS PER ESSI 1495 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060029567 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060029567 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | EAR MUFFS, JAMES NORTH | EAR MUFFS, JAMES NORTH | 30160GY | 0019008819 | MSA AFRICA | U |  | MSA AFRICA | 30160GY |  | JAMES NORTH | [10 empty] | EARMUFF | NO MODIFIER | TYPE |  | NOISE REDUCTION RATE |  | MATERIAL |  | COLOUR |  | ATTACHMENT TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060224417 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060224417 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | PR | MAN2 | EARMUFF, UVEX, K2,BLACK/YELLOW, | EARMUFF, UVEX, K2,BLACK/YELLOW, SNR32DB, 2600002 | 2600002 |  |  | https://www.uvex-safety-shop.de/EN/product/Main-catalogue/Hearing-protection/Ear-muffs/2600002_uvex-K2-earmuff-SNR-32-dB |  | UVEX | 2600002 | K2 | [10 empty] | E | EARMUFF | NO MODIFIER | TYPE |  | NOISE REDUCTION RATE | 32 DB | MATERIAL |  | COLOUR | BLACK/YELLOW | ATTACHMENT TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 352-1 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060226687 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060226687 | BHP1 | BHP Spares & Supplies | 411115 | Weight measuring instruments | EA | MAN2 | IDLER,CENTRE,BELT SCALE | IDLER, CENTRE, BELT SCALE | M190W210 |  |  | U |  |  | M190W210 | [12 empty] | IDLER | NO MODIFIER | TYPE | CENTRE,BELT SCALE | DIAMETER |  | WIDTH |  | LENGTH |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060225275 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060225275 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | MASK, FULL FACE, RE-USEABLE, ACID, 3M-67 | MASK, FULL FACE, RE-USEABLE, ACID, 3M-6700, SIZE SMALL | 6700 | 0019000008 | 3M CORP | https://www.3m.com/3M/en_US/p/d/v000057487/ |  | 3M CORP | 6700 | [11 empty] | E | RESPIRATOR | NO MODIFIER | TYPE | FULL FACE MASK,RE-USEABLE, ACID | SIZE DESIGNATION | SMALL | FILTER CLASS |  | MATERIAL | Silicone | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060225276 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060225276 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | MASK, FULL FACE, RE-USEABLE, ACID, 3M-68 | MASK, FULL FACE, RE-USEABLE, ACID, 3M-6800, SIZE MEDUIM | 6800 | 0019000008 | 3M CORP | https://www.3m.com/3M/en_US/p/d/v000057488/ |  | 3M CORP | 6800 | [11 empty] | E | RESPIRATOR | NO MODIFIER | TYPE | FULL FACE MASK,RE-USEABLE, ACID | SIZE DESIGNATION | MEDIUM | FILTER CLASS |  | MATERIAL | Silicone | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060225277 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-27 |  | 000000000060225277 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | MASK, FULL FACE, RE-USEABLE, ACID, 3M-69 | MASK, FULL FACE, RE-USEABLE, ACID, 3M-6900, SIZE LARGE | 6900 | 0019000008 | 3M CORP | https://www.3m.com/3M/en_US/p/d/v000057495/ |  | 3M CORP | 6900 | [11 empty] | E | RESPIRATOR | NO MODIFIER | TYPE | FULL FACE MASK,RE-USEABLE, ACID | SIZE DESIGNATION | LARGE | FILTER CLASS |  | MATERIAL | Silicone | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed