## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060186209 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060186209 | BHP1 | BHP Spares & Supplies | 471015 | Water treatment and supply equipment | EA | MAN2 | BELLOW (BIG) BELT FILTER,PSP 3 PELLETISI | BELLOW (BIG) BELT FILTER,PSP 3 PELLETISING PLANT-MFC, AS PER SSI 3140 | 373/001 | 0019011674 | GKD-DELKOR | URL Not Found |  | GKD-DELKOR | 373/001 | [5 empty] | BELT FILTER PSP 3 PELLETISING PLANT MFC | [5 empty] | Cleansed | BELLOW | NO MODIFIER | TYPE |  | SIZE | BIG | END CONNECTION |  | MATERIAL |  | OVERALL LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AS PER SSI 3140 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060116183 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060116183 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | BELLOW, PRESSURE, ELECTRODE RING, STEINM | BELLOW, PRESSURE, ELECTRODE RING, STEINMULLER, FURNACE, TUBATSE FERROCHROME |  |  |  | URL Not Found | [8 empty] | ELECTRODE RING STEINMULLER FURNACE TUBATSE FERROCHROME | [5 empty] | Cleansed | BELLOW | NO MODIFIER | TYPE | PRESSURE | SIZE |  | END CONNECTION |  | MATERIAL |  | OVERALL LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060219582 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060219582 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | BELLOW, PRESSURE, REFURBISHED, TO FAI FR | BELLOW, PRESSURE, REFURBISHED, TO FIT MALE OR FEMALE FORGED COPPER, PRESSURE RING, TO FAI FRANCE DESIGN | P-105-020226 |  |  | URL Not Found |  |  | P-105-020226 | [5 empty] | TO FAI FRANCE DESIGN | [5 empty] | Cleansed | BELLOW | NO MODIFIER | TYPE | PRESSURE, REFURBISHED | SIZE |  | END CONNECTION |  | MATERIAL |  | OVERALL LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR TO FIT MALE/FEMALE FORGED COPPER PRESSURE RING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060155205 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060155205 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | BELLOW, PRESSURE, TO FAI FRANCE DESIGN | BELLOW, PRESSURE, TO FAI FRANCE DESIGN |  |  |  | URL Not Found | [8 empty] | TO FAI FRANCE DESIGN | [5 empty] | Cleansed | BELLOW | NO MODIFIER | TYPE | PRESSURE | SIZE |  | END CONNECTION |  | MATERIAL |  | OVERALL LENGTH |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060216300 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060216300 | BHP1 | BHP Spares & Supplies | 401423 | Pipe fittings | EA | MAN2 | BRACKET, MOUNTING, SKF, C/W 3/8" F | BRACKET, MOUNTING, SKF, C/W 3/8" F, SSI FMT00259 |  |  |  | URL Not Found |  | SKF | [12 empty] | Cleansed | BRACKET | MOUNTING | TYPE |  | SIZE |  | MATERIAL |  | CAPACITY |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | COLOUR |  | ANGLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 3/8 IN F, SSI FMT00259 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060167816 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060167816 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | HARNESS, SAFETY INDUSTRIAL, C/W 1.5M DOU | HARNESS, SAFETY INDUSTRIAL, C/W 1.5M DOUBLE SHOCK ABSORBENT LANYARD AND SCAFFOLDING HOOKS |  |  |  | URL Not Found | [14 empty] | Cleansed | HARNESS | SAFETY | TYPE | INDUSTRIAL | SIZE |  | MATERIAL |  | CAPACITY |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 1.5 M DOUBLE SHOCK ABSORBENT LANYARD AND SCAFFOLDING HOOKS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060115277 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060115277 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | INSULATOR, 5IN, 6.6KV FRITZ DRIESCHER CO | INSULATOR, 5IN, 6.6KV FRITZ DRIESCHER CONTACTOR, CALCINE FURNACE, ELKEM |  |  |  | URL Not Found | [8 empty] | CALCINE FURNACE |  | ELKEM |  |  |  | Cleansed | INSULATOR | ELECTRICAL | TYPE |  | VOLTAGE RATING | 6.6 KV | IMPULSE WITHSTAND VOLTAGE |  | FLASH OVER VOLTAGE |  | CREEPAGE DISTANCE |  | ARCING DISTANCE |  | BIL RATING |  | TENSILE STRENGTH |  | NUMBER OF DISC |  | CONDUCTOR SIZE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 5 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR FRITZ DRIESCHER CONTACTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
000000000060025964 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025964 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 120 SQMM, 12MM | LUG, CRIMPING, MAX CABLE 120 SQMM, 12MM HOLE, RING TONGUE TYPE, TINNED COPPER, 25 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 120 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 12 MM, PACKAGING QUANTITY: 25 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025965 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025965 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 120 SQMM, 16MM | LUG, CRIMPING, MAX CABLE 120 SQMM, 16MM HOLE, RING TONGUE TYPE, TINNED COPPER, 25 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 120 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 16 MM, PACKAGING QUANTITY: 25 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025968 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025968 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 150 SQMM, 16MM | LUG, CRIMPING, MAX CABLE 150 SQMM, 16MM HOLE, RING TONGUE TYPE, TINNED COPPER, 25 PER PACK, REDUNDANT AS PER SSI 6541. |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 150 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 16 MM, PACKAGING QUANTITY: 25 PER PACK, REDUNDANT AS PER SSI 6541 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025969 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025969 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 150 SQMM, 20MM | LUG, CRIMPING, MAX CABLE 150 SQMM, 20MM HOLE, RING TONGUE TYPE, TINNED, COPPER, 25 PER PACK, NEW STOCK AS PER ESSI: 2793 |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 150 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 20 MM, PACKAGING QUANTITY: 25 PER PACK, NEW STOCK AS PER ESSI: 2793 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025970 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025970 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 185 SQMM, 12MM | LUG, CRIMPING, MAX CABLE 185 SQMM, 12MM HOLE, RING TONGUE TYPE, TINNED COPPER, 25 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 185 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 12 MM, PACKAGING QUANTITY: 25 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025971 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025971 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 185 SQMM, 16MM | LUG, CRIMPING, MAX CABLE 185 SQMM, 16MM HOLE, RING TONGUE TYPE, TINNED COPPER, 25 PER PACK, NEW STOCK AS PER ESSI: 2792 |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 185 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 16 MM, PACKAGING QUANTITY: 25 PER PACK, NEW STOCK AS PER ESSI: 2792 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025976 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025976 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 240 SQMM, 20MM | LUG, CRIMPING, MAX CABLE 240 SQMM, 20MM HOLE, RING TONGUE TYPE, TINNED, COPPER, 5 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 240 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 20 MM, PACKAGING QUANTITY: 5 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025944 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025944 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 25 SQMM, 8MM HO | LUG, CRIMPING, MAX CABLE 25 SQMM, 8MM HOLE, RING TONGUE TYPE, TINNED COPPER, 100 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 25 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 8 MM, PACKAGING QUANTITY: 100 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025980 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025980 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 300 SQMM, 20MM | LUG, CRIMPING, MAX CABLE 300 SQMM, 20MM HOLE, RING TONGUE TYPE, TINNED, COPPER, 5 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 300 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 20 MM, PACKAGING QUANTITY: 5 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025949 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025949 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 35 SQMM, 8MM HO | LUG, CRIMPING, MAX CABLE 35 SQMM, 8MM HOLE, RING TONGUE TYPE, TINNED COPPER, 100 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 35 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 8 MM, PACKAGING QUANTITY: 100 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025983 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025983 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, CRIMPING, MAX CABLE 400 SQMM, 20MM | LUG, CRIMPING, MAX CABLE 400 SQMM, 20MM HOLE, RING TONGUE TYPE, TINNED COPPER, 5 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | CRIMPING, RING TONGUE | CABLE SIZE | 400 MM2 | STUD SIZE |  | MATERIAL | TINNED COPPER | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HOLE SIZE: 20 MM, PACKAGING QUANTITY: 5 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025907 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025907 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, FORK TYPE, SOLDERED, 6MM WIDE, 4 SQ | LUG, FORK TYPE, SOLDERED, 6MM WIDE, 4 SQMM WIRE, INSULATED, YELLOW, 100 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | FORK, SOLDERED, INSULATED | CABLE SIZE | 4 MM2 | STUD SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE: WD 6 MM, COLOUR: YELLOW, PACKAGING QUANTITY: 100 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060125395 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060125395 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, PIN TYPE, SOLDERED, 2.5MM DIA, 3.5- | LUG, PIN TYPE, SOLDERED, 2.5MM DIA, 3.5-4 SQMM WIRE RANGE, INSULATED, YELLOW, 100 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | PIN, SOLDERED, INSULATED | CABLE SIZE | 3.5-4 MM2 | STUD SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE DIA 2.5 MM, COLOUR: YELLOW, PACKAGING QUANTITY: 100 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025908 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060025908 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | PAK | MAN2 | LUG, PIN TYPE, SOLDERED, 2MM DIA, 1-1.5 | LUG, PIN TYPE, SOLDERED, 2MM DIA, 1-1.5 SQMM WIRE RANGE, INSULATED, RED, 100 PER PACK |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | PIN, SOLDERED, INSULATED | CABLE SIZE | 1-1.5 MM2 | STUD SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE DIA 2 MM, COLOUR: RED, PACKAGING QUANTITY: 100 PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060136879 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060136879 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | LUGS, INSULATED, SPRAYED, 4MM WIRE SIZE, | LUGS, INSULATED, SPRAYED, 4MM WIRE SIZE, FORK SIZE 5MM, YELLOW, |  |  |  | URL Not Found | [14 empty] | Cleansed | LUG | CABLE | TYPE | FORK, INSULATED, SPRAYED | CABLE SIZE | 4 MM | STUD SIZE |  | MATERIAL |  | NUMBER OF HOLES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FORK SIZE: 5 MM, COLOUR: YELLOW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060115474 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060115474 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | PAD, PRESSURE, C/W 8MM FERODO STRIP, SLI | PAD, PRESSURE, C/W 8MM FERODO STRIP, SLIPRING DEVICE, RECONDITIONED, DRG FW42C03017 REV C, FURNACES NO 1, 2 & 3, FERROMETALS |  |  |  | URL Not Found | [8 empty] | FURNACE NO 1, 2 & 3 FERROMETALS |  |  | FW42C03017 REV C |  |  | Cleansed | PAD | NO MODIFIER | TYPE | PRESSURE | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 8 MM FERODO STRIP, SLIPRING DEVICE, RECONDITIONED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060220724 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-28 |  | 000000000060220724 | BHP1 | BHP Spares & Supplies | 401423 | Pipe fittings | EA | MAN2 | NPPLE,HEX,REDUCNG,32MM X 40MM,GAL | NIPPLE, HEX, REDUCING, 32MM x 40MM, GALVENISED STEEL,SCREWED NPT THREAD, SSI FMT00291, SSI-FMT00476 |  |  |  | URL Not Found | [14 empty] | Cleansed | NIPPLE | PIPE HEX | TYPE | REDUCING | NOMINAL SIZE | 32 X 40 MM | END CONNECTION | NPT | LENGTH |  | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | GALVENIZED | HEX SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SSI FMT00291, SSI-FMT00476 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060155204 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060155204 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | SEGMENT, PRESSURE RING, FEMALE,OUTER, FO | SEGMENT, PRESSURE RING, FEMALE,OUTER, FORGED COPPER, C/W PRESSURE, BELLOW, TO FAI FRANCE DESIGN, INDIVIDUALLY PACKAGED IN WOODEN CRATE |  |  |  | URL Not Found | [8 empty] | TO FAI FRANCE DESIGN | [5 empty] | Cleansed | SEGMENT | NO MODIFIER | TYPE | PRESSURE RING, FEMALE, OUTER | SIZE |  | MATERIAL | FORGED COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W PRESSURE BELLOW, INDIVIDUALLY PACKAGED IN WOODEN CRATE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060155203 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060155203 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | SEGMENT, PRESSURE RING, MALE, INNER, FOR | SEGMENT, PRESSURE RING, MALE, INNER, FORGED COPPER, C/W PRESSURE BELLOW,, TO FAI FRANCE DESIGN, INDIVIDUALLY PACKAGED IN WOODEN CRATE |  |  |  | URL Not Found | [8 empty] | TO FAI FRANCE DESIGN | [5 empty] | Cleansed | SEGMENT | NO MODIFIER | TYPE | PRESSURE RING, MALE, INNER | SIZE |  | MATERIAL | FORGED COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W PRESSURE BELLOW, INDIVIDUALLY PACKAGED IN WOODEN CRATE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060115768 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060115768 | BHP1 | BHP Spares & Supplies | 401018 | Heating | ST | MAN2 | SEGMENT, WEARING, BOTTOM, TYPE P01 MIXER | SEGMENT, WEARING, BOTTOM, TYPE P01 MIXER, OUTOKUMPU ENGINEERING, PELLETISING PLANT, FURNACE, FERROMETALS | D222243314 | 0019002490 | OUTOTEC | URL Not Found |  | OUTOTEC | D222243314 | [5 empty] | MIXER PELLETISING PLANT FURNACE FERROMETALS | P01 | OUTOKUMPU ENGINEERING |  |  |  | Cleansed | SEGMENT | NO MODIFIER | TYPE | WEARING, BOTTOM | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060219581 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060219581 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | SEGMENT,PRESSURE RNG,FEMALE,OUTER,R | SEGMENT, PRESSURE RING, FEMALE,OUTER, REFURBISHED, FORGED COPPER, C/W, PRESSURE BELLOW, TO FAI FRANCE DESIGN | E-110-020226 |  |  | URL Not Found |  |  | E-110-020226 | [5 empty] | TO FAI FRANCE DESIGN | [5 empty] | Cleansed | SEGMENT | NO MODIFIER | TYPE | PRESSURE RING, FEMALE, OUTER, REFURBISHED | SIZE |  | MATERIAL | FORGED COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W PRESSURE BELLOW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060219580 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060219580 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | SEGMENT,PRESSURE RNG,MALE,NNER,REF | SEGMENT, PRESSURE RING, MALE, INNER, REFURBISHED, FORGED COPPER, C/W, PRESSURE BELLOW,TO FAI FRANCE DESIGN | E-111-020226 |  |  | URL Not Found |  |  | E-111-020226 | [5 empty] | TO FAI FRANCE DESIGN | [5 empty] | Cleansed | SEGMENT | NO MODIFIER | TYPE | PRESSURE RING, MALE, INNER, REFURBISHED | SIZE |  | MATERIAL | FORGED COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W PRESSURE BELLOW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060224118 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060224118 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | SUPPORT,BATTLEMAX VS100 MOTOR SUPPORT | SUPPORT,BATTLEMAX VS100 MOTOR SUPPORT | VS100 MOT SUPP |  |  |  |  | BATTLEMAX | [7 empty] | VS100 |  |  |  |  | Cleansed | SUPPORT | NO MODIFIER | TYPE | MOTOR | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060223979 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060223979 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | SUPPORT,BATTLEMAX VS50 MOTOR SUPPORT | SUPPORT,BATTLEMAX VS50 MOTOR SUPPORT | VS50 MOT SUPP (22) |  |  |  |  | BATTLEMAX | [7 empty] | VS50 |  |  |  |  | Cleansed | SUPPORT | NO MODIFIER | TYPE | MOTOR | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 22 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060223966 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060223966 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | WARMAN,3/2C MOTOR SUPPORT,37 AND 45KW | WARMAN,3/2C MOTOR SUPPORT,37 & 45KW | 3/2C MOT SUPP C4 |  |  |  |  | WARMAN | [6 empty] | PUMP 37 & 45 KW | 3/2C |  |  |  |  | Cleansed | SUPPORT | NO MODIFIER | TYPE | MOTOR | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060224111 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060224111 | BHP1 | BHP Spares & Supplies | 401517 | Pump parts and accessories | EA | MAN2 | WARMAN,MOTOR SUPPORT,BATTLEMAX | WARMAN,MOTOR SUPPORT,BATTLEMAX | 6/4E MOT SUPP E1 |  |  |  |  | WARMAN |  |  | BATTLEMAX |  |  |  |  | 6/4E |  |  |  |  | Cleansed | SUPPORT | NO MODIFIER | TYPE | MOTOR | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | E1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060115560 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060115560 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | TIP, NOZZLE, MUD GUN, DANGO DIENENTHAL, | TIP, NOZZLE, MUD GUN, DANGO DIENENTHAL, FURNACE, FMT | 216/068 | 0019008605 | DANGO DIENENTHAL | URL Not Found |  | DANGO DIENENTHAL | 216/068 | [5 empty] | MUD GUN, FURNACE FMT | [5 empty] | Cleansed | TIP | NOZZLE | TYPE |  | INLET SIZE |  | OUTLET SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060112976 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060112976 | BHP1 | BHP Spares & Supplies | 471015 | Water treatment and supply equipment | EA | MAN2 | TOOL, MIXING, MIXER MODEL V300, PAN MIXE | TOOL, MIXING, MIXER MODEL V300, PAN MIXERS | V30001 | 0019008842 | PAN MIXERS | URL Not Found |  | PAN MIXERS | V30001 | [5 empty] | MIXER | V300 |  |  |  |  | Cleansed | TOOL | NO MODIFIER | TYPE | MIXING | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060183250 - B6 - Additional | STP-004 | DATA ENRICHMENT | SPC | SPC | OK | 2022-10-24 | 2022-10-27 |  | 000000000060183250 | BHP1 | BHP Spares & Supplies | 471015 | Water treatment and supply equipment | EA | MAN2 | TOOL,MIXER,22-0806-010,NI-HARD,PADDLE MI | TOOL,MIXER,22-0806-010,NI-HARD,PADDLE MIXER,FVD |  |  |  | URL Not Found |  |  | 22-0806-010 | [5 empty] | NI-HARD PADDLE MIXER,FVD | [5 empty] | Cleansed | TOOL | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed