## Sheet1
MATERIAL | Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | MATERIAL CODE | MATERIAL TYPE | MATERIAL TYPE DESCRIPTION | MATERIAL GROUP | MATERIAL GROUP DESCRIPTION | UOM | MANUFACTURER PROFILE | SHORT TEXT | LONG TEXT | MANUFACTURER PART NUMBER. | MANUFACTURER. | MANUFACTURER NAME. | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Model Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Serial Number | Item Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
000000000060123819 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 | CONFLICT WRT INPUT,PROCESSED BASED ON WEBSOURCE | 000000000060123819 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | DETECTOR, INDUCTIVE, PROXIMITY SENSOR, 2 | DETECTOR, INDUCTIVE, PROXIMITY SENSOR, 20-250V AC, 2 WIRE, SICK OPTIC ELECTRONIC | IM1805BUS-ZUO | 0019003030 | ERWIN SICK OPTIC ELECTRONIC PTY LTD | https://www.sick.com/in/en/inductive-proximity-sensors/inductive-proximity-sensors/im-standard/im18-05bus-zu0/p/p235601 |  | ERWIN SICK OPTIC ELECTRONIC PTY LTD | IM18-05BUS-ZU0 | [12 empty] | SENSOR | PROXIMITY | TYPE | INDUCTIVE | SENSING RANGE | 5 MM | OUTPUT TYPE | 2-WIRE,NO | CONNECTION TYPE | THREADED | ELECTRICAL RATING | 20-250 VAC/DC | CABLE LENGTH | 2 M | ENCLOSURE | IP67 | MATERIAL | NICKEL PLATED BRASS | SWITCHING FREQUENCY | 25-100 HZ | MOUNTING TYPE | FLUSH | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CCC | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060116684 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060116684 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | DETECTOR, UV, P/N:QRA53.D17, 110V, AC | DETECTOR, UV, P/N:QRA53.D17, 110V, AC | QRA53.D17 | 0019000642 | CARBORUNDUM ABRASIVES PTY. LTD. | https://www.techritecontrols.com.au/cms/uploads/Techrite-Siemens-siemens-Qra-Uv-Flame-Detection-013060323409.pdf | https://www.ifs-store.com/siemens-qra53-g17/ | SIEMENS | QRA53.D17 |  | CARBORUNDUM ABRASIVES PTY. LTD. | QRA53.D17 | [8 empty] | E | DETECTOR | FLAME | TYPE | UV,high sensitivity | DETECTING RANGE | 125 MM | MOUNTING TYPE |  | POWER SUPPLY | 110 VAC | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060248649 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060248649 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | DETECTOR,FLAME,DURAG,PART NO. D-LE603UA | DETECTOR, FLAME,DURAG,PART NO. D-LE603UA-P,CW CABLE,FOR PREHEATER | D-LE603 | 0019011819 | Unknown | https://www.durag.com/mediafiles/stream/?id=0/c/c/0/0cc0a4ed85067978e0679c370ede47b277fe02a2_bro_dle603_en.pdf |  | DURAG | D-LE603UA-P | [11 empty] | E | DETECTOR | FLAME | TYPE | UV,VIS,IR | DETECTING RANGE |  | MOUNTING TYPE | swivel | POWER SUPPLY | 230 VAC,50 HZ | ENCLOSURE MATERIAL |  | SIZE | 90 X 92 MM | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | DVGW,UL 372,FM Class 7610,AGA,EAC,ATEX,SIL3 | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060115709 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060115709 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | FLAME,DETECTOR,UV,DUNGS,UV41 | FLAME,DETECTOR,UV,DUNGS,UV41,WITH,SHUTTER,MODULE,SUITABLE,FOR, CONTINUOUS,OPERATION | DUNGS UV41 | 0019001598 | HONEYWELL CORP,USA | https://www.valve-gaz.ro/en/automatic-burner-controls/mpa-41xx-dungs/manuals/m.inst.automatic-burner-control-mpa-41xx.pdf | https://w11stop.com/dungs-uv-41-detector | HONEYWELL CORP,USA | UV 41 | [11 empty] | E | DETECTOR | FLAME | TYPE | UV | DETECTING RANGE |  | MOUNTING TYPE |  | POWER SUPPLY | 115 VAC,50/60 HZ | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING | -40 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | FM,UL,GOST,CSA | ADDITIONAL FEATURES EN | BRAND:DUNGS,W/SHUTTER MODULE SUITABLE FOR CONTINUOUS OPERATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060177717 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060177717 | BHP1 | BHP Spares & Supplies | P3040 | Stationery | EA | MAN2 | FILE DIVIDERS BRIGHT MANILLA 100 X 230 M | FILE DIVIDERS BRIGHT MANILLA 100 X 230 MM, 5 COL, 100 PACK | 30256700 | 0019009008 | WALTONS | U |  | WALTONS | 30256700 | [12 empty] | DIVIDER | FILE | TYPE |  | DIMENSIONS | 100 X 230 MM | NUMBER OF HOLES |  | MATERIAL |  | COLOUR | BRIGHT MANILLA | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGING QUANTITY:100 PER PACK,5 COLUMNS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060137150 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060137150 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | GENERATOR: ULTRASONIC, 230 VOLT AC, 50/6 | GENERATOR: ULTRASONIC, 230 VOLT AC, 50/60HZ, CONNECTORS L-N, 1200 WPK, OUTPUT, 26-32 KH FREQUENCY, FINNSONIC | 196-35-21205 | 0019001921 | LAROX INCORPORATED | U |  | LAROX INCORPORATED | 196-35-21205 |  | FINNSONIC | [10 empty] | GENERATOR | SIGNAL | TYPE | ULTRASONIC | FREQUENCY RATING | 50/60 HZ | FREQUENCY RESOLUTION |  | NUMBER OF CHANNELS |  | OPERATING MODE |  | TIMING MODE |  | INPUT RATING | 230 VAC | OUTPUT POWER |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OUTPUT FREQUENCY:26-32 KHZ,CONNECTORS L-N, 1200 WPK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060175431 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060175431 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | GENERATOR: ULTRASONIC,230 VOLT AC,50/6 | GENERATOR: ULTRASONIC, 230 VOLT AC, 50/60HZ, CONNECTORS L-N, 1200 WPK OUTPUT, 26-32 KH FREQUENCY, FINNSONIC, GENERATOR: ULTRASONIC, 230 VOLT AC, 50/60HZ, CONNECTORS L-N, 1200 WPK, OUTPUT, 26-32 KH FREQUENCY, FINNSONIC | 196-35-21205 | 0019001921 | LAROX INCORPORATED | U |  | LAROX INCORPORATED | 196-35-21205 |  | FINNSONIC | [10 empty] | GENERATOR | SIGNAL | TYPE | ULTRASONIC | FREQUENCY RATING | 50/60 HZ | FREQUENCY RESOLUTION |  | NUMBER OF CHANNELS |  | OPERATING MODE |  | TIMING MODE |  | INPUT RATING | 230 VAC | OUTPUT POWER |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OUTPUT FREQUENCY:26-32 KHZ,CONNECTORS L-N, 1200 WPK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060115419 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060115419 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | HANDLE, ACTUATOR VALVE, CIRCULATION FAN, | HANDLE, ACTUATOR VALVE, CIRCULATION FAN, 5TH FLOOR FURNACES NO 4 & 5, FERROMETALS |  |  |  | U |  | FERROMETALS | [6 empty] | 5TH FLOOR FURNACES NO 4 & 5 |  | FERROMETALS |  |  |  |  | HANDLE | NO MODIFIER | TYPE | ACTUATOR VALVE, CIRCULATION FAN | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
000000000060232465 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060232465 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | LANCE ASSEMBLY,TYPE B 1.5 M LONG, | LANCE ASSEMBLY, TYPE B 1.5 M LONG, 600MM PROBE HOLDER, ELECTRICAL/UNIVERSAL STRAIGHT, NEW STOCK AS PER ESSI : 1452, PART NUMBER 50830311 | D34016 | 0019008707 | HERAEUS | U |  | HERAEUS | D34016 |  | 50830311 | [10 empty] | ASSEMBLY | NO MODIFIER | TYPE | LANCE | ADDITIONAL FEATURES EN | TYPE B,LENGTH:1.5 M, PROBE HOLDER SIZE:600 MM, ELECTRICAL/UNIVERSAL STRAIGHT, NEW STOCK AS PER ESSI 1452 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [53 empty] | Production Completed
000000000060173780 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060173780 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MANOMETER 0017069-T17,HYDRAULIC,MIXER,PS | MANOMETER 0017069-T17,HYDRAULIC,MIXER,PSP 3 PELLETISING PLANT-MFC | P41 POSITION 41780-604367 | 0019002490 | OUTOTEC | U |  | OUTOTEC | 41780-604367 |  | 0017069-T17 |  |  |  | HYDRAULIC MIXER,PSP 3 PELLETISING PLANT-MFC | [6 empty] | MANOMETER | NO MODIFIER | TYPE |  | DISPLAY TYPE |  | MEASURING RANGE |  | DISPLAY SIZE |  | PROCESS CONNECTION |  | PROCESS CONNECTION SIZE |  | SIZE |  | FILLER MATERIAL |  | MOUNTING TYPE |  | ACCURACY |  | BATTERY DETAILS |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | P41 POSITION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060226953 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060226953 | BHP1 | BHP Spares & Supplies | 461815 | Safety apparel | EA | MAN2 | DUST MASK,FFP3,DRAGER X-PLORE 1730 WHTE | DUST MASK,FFP3,DRAGER X-PLORE 1730 FFP2 VALVE-WHITE.FOLD FLAT-DISPOSABLE.(15 PER BOX), NEW STOCK AS PER "ESSI 169"., INCORPORATING #60128869., EOQ CHANGE - COVID 19 - SUBSTITUTE TO TAPPERS MASK-2020-06-02 | 3956160 | 0019010382 | DRAGER | https://safecosafety.co.za/wp-content/uploads/2016/06/Safeco-Product-List-2016-06-09.pdf | https://www.draeger.com/Products/Content/x-plore-1700-pi-9045592-en-master.pdf | DRAGER | 3956 160 | 1700 | [10 empty] | E | MASK | SAFETY | TYPE | DUST,DISPOSABLE,FOLD FLAT | SIZE |  | FILTER RATING |  | COLOUR | DARK BLUE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | FFP2 | ADDITIONAL FEATURES EN | BRAND:X-PLORE,C/W VALVE,PACKAGING QUANTITY:15 PER BOX,NEW STOCK AS PER ESSI 169, INCORPORATING #60128869, EOQ CHANGE - COVID 19 - SUBSTITUTE TO TAPPERS MASK-2020-06-02 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060225535 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060225535 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | BX | MAN2 | RESPIRATOR, DISPOSABLE, U-MASK 9202, | RESPIRATOR, DISPOSABLE, U-MASK 9202, FFP2 PREMUIM CARBON + VALVE, 15 PER BOX |  |  |  | https://u-mask.co.za/9202-ffp2/ |  | U-MASK | 9202 | [11 empty] | E | RESPIRATOR | NO MODIFIER | TYPE | DISPOSABLE | SIZE DESIGNATION |  | FILTER CLASS | FFP2 | MATERIAL | Soft SpongE NOSE PAD,Aluminium nose CLIP | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 149:2001 + A1:2009 | ADDITIONAL FEATURES EN | W/PREMUIM CARBON + VALVE,PACKAGING QUANTITY:15 PER BOX | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060097713 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060097713 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | EA | MAN2 | RESPIRATOR, HALF MASK, TYPE ADVANTAGE 10 | RESPIRATOR, HALF MASK, TYPE ADVANTAGE 100, MSA AFRICA | 37205A2P2 | 0019008819 | MSA AFRICA | U |  | MSA AFRICA | 37205A2P2 | [12 empty] | RESPIRATOR | NO MODIFIER | TYPE | HALF MASK | SIZE DESIGNATION |  | FILTER CLASS |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE ADVANTAGE 100 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060137099 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060137099 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | MEMBRANE, CONTROL VALVE, DN 50, CERAMIC | MEMBRANE, CONTROL VALVE, DN 50, CERAMIC FILTER CC-30, OUTUKUMPU |  |  |  | U |  | OUTUKUMPU | [13 empty] | MEMBRANE | NO MODIFIER | TYPE | CONTROL VALVE | MEMBRANE AREA |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VALVE SIZE:DN 50,FOR CERAMIC FILTER CC-30 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060097373 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060097373 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | MEMBRANE, CONTROLE VALVE, DN25, S40 CERA | MEMBRANE, CONTROLE VALVE, DN25, S40 CERAMIC FILTERPELLETISING PLANT, TFC |  |  |  | U | [15 empty] | MEMBRANE | NO MODIFIER | TYPE | CONTROL VALVE | MEMBRANE AREA |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VALVE SIZE:DN 25,FOR S40 CERAMIC FILTER PELLETISING PLANT-TFC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060097370 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060097370 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | MEMBRANE, PRESSURE REGULATOR, DN50, S40 | MEMBRANE, PRESSURE REGULATOR, DN50, S40 CERAMIC FILTER, PELLETISING PLANT, TFC |  |  |  | U | [15 empty] | MEMBRANE | NO MODIFIER | TYPE | PRESSURE REGULATOR | MEMBRANE AREA |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VALVE SIZE:DN 50,FOR S40 CERAMIC FILTER PELLETISING PLANT-TFC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060136885 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 | CONFLICT WRT INPUT RATING,PROCESSED BASED ON WEBSOURCE | 000000000060136885 | BHP1 | BHP Spares & Supplies | 432015 | System boards processors interfaces or modules | EA | MAN2 | DIGITAL OUTPUT MODULE, 110V AC, S7 300, | DIGITAL OUTPUT MODULE, 110V AC, S7 300, SIEMENS, | 6ES73221FL000AAO | 0019003033 | SIEMENS GMBH,W.GERMANY | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/6ES73221FL000AA0 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES73221FL000AA0&language=en | SIEMENS GMBH,W.GERMANY | 6ES73221FL000AA0 | S7 300 | [10 empty] | E | MODULE | ELECTRONIC | TYPE | 32 CHANNEL isolated DIGITAL OUTPUT | INPUT RATING | 120/230 VAC,10 MA/190 MA | OUTPUT RATING | -0.8 V,1 A | CONNECTION TYPE | 20-PIN | SIZE | WD 80 X HT 125 X DP 117 MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060132961 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060132961 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | INPUT DIGITAL, 24DC, TYPE 6ES73211, SIEM | INPUT DIGITAL, 24DC, TYPE 6ES73211, SIEMENS | 6ES73211BL000AAO | 0019003033 | SIEMENS GMBH,W.GERMANY | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7321-1BL00-0AA0 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7321-1BL00-0AA0&language=en | SIEMENS GMBH,W.GERMANY | 6ES7321-1BL00-0AA0 | [11 empty] | E | MODULE | ELECTRONIC | TYPE | 32 CHANNEL Isolated DIGITAL INPUT | INPUT RATING | 24 VDC | OUTPUT RATING |  | CONNECTION TYPE | 40-PIN | SIZE | WD 40 X HT 125 X DP 120 MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060132971 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060132971 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | INPUT: ANALOG, MODULE OPTIC ISOLATED, SI | INPUT: ANALOG, MODULE OPTIC ISOLATED, SIMATIC S7-400,SM 431 | 6ES74311KF000ABO | 0019003033 | SIEMENS GMBH,W.GERMANY | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/6ES74311KF000AB0 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES74311KF000AB0&language=en | SIEMENS GMBH,W.GERMANY | 6ES74311KF000AB0 | SIMANTIC S7 300,SM 431 | [10 empty] | e | MODULE | ELECTRONIC | TYPE | 8 CHANNEL optic isolated analog OUTPUT | INPUT RATING | 50 V,50 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE | WD 25 X HT 290 X DP 210 MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060136889 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060136889 | BHP1 | BHP Spares & Supplies | 432015 | System boards processors interfaces or modules | EA | MAN2 | INTERFACE MODULE, PROFIBNS, ET 200M, SIE | INTERFACE MODULE, PROFIBNS, ET 200M, SIEMENS, | 6ES71531AA030XBO | 0019003033 | SIEMENS GMBH,W.GERMANY | https://mall.industry.siemens.com/mall/en/us/Catalog/Product/6ES7153-1AA03-0XB0 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES71531AA030XB0&language=en | SIEMENS GMBH,W.GERMANY | 6ES71531AA030XB0 | ET 200M | [10 empty] | E | MODULE | COMMUNICATION | TYPE |  | INPUT RATING | 24 V | NUMBER OF PORTS |  | INTERFACE TYPE | RS 485 | DATA TRANSFER RATE | 12 MBPS | TRANSMISSION PROTOCOL | PROFIBUS | MOUNTING TYPE |  | TEMPERATURE RATING | 0-60 DEG C | CONNECTION TYPE | 9 PIN SUB-D SOCKET | SIZE | WD 40 X HT 125 X DP 117 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060173715 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060173715 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MODULE, ANALOG INPUT, CURRENT, 4 CHANNEL | MODULE, ANALOG INPUT, CURRENT, 4 CHANNELS, GEFANUC PLC, GEMSYS | IC693ALG221 | 0019003467 | UNKNOWN | https://www.cimtecautomation.com/files/pdf/IC693ALG221.pdf | https://www.nexinstrument.com/ic693alg221 | GE FANUC | IC693ALG221 |  | GEM SYSTEMS | IC693ALG221 | [8 empty] | E | MODULE | ELECTRONIC | TYPE | 4 CHANNEL ANALOG CURRENT INPUT | INPUT RATING | 4-20 MA,0-20 MA | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PLC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060127395 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060127395 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MODULE, ANALOGUE INPUT, 4-20MA, 8 CHANNE | MODULE, ANALOGUE INPUT, 4-20MA, 8 CHANNEL, PROGRAMMABLE LOGIC CONTROLLER, MITSUBISHI, MODULE, ANALOGUE INPUT, 4-20MA, 8 CHANNEL, PROGRAMMABLE LOGIC, CONTROLLER, MITSUBISHI | A1S68AD | 0019002230 | MITSUBISHI INTERNATIONAL | http://www.mitsubisih.com/prodfile/A1S68AD---MITSUBISHI-Analog-inpu_c00123300.html |  | MITSUBISHI INTERNATIONAL | A1S68AD | [11 empty] | E | MODULE | ELECTRONIC | TYPE | 4 CHANNEL ANALOG INPUT | INPUT RATING | -10-0-10 V or 0-20 mA | OUTPUT RATING |  | CONNECTION TYPE | FCN connector | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PLC(PROGRAMMABLE LOGIC CONTROLLER) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060127396 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060127396 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MODULE, ANALOGUE OUTPUT, 4-20MA, 8 CHANN | MODULE, ANALOGUE OUTPUT, 4-20MA, 8 CHANNEL, PROGRAMMABLE LOGIC CONTROLLER, MITSUBISHI | A1S68DAI | 0019002230 | MITSUBISHI INTERNATIONAL | http://www.mitsubisih.com/prodfile/A1S68DAI---MITSUBISHI-Analog-out_c00123303.html |  | MITSUBISHI INTERNATIONAL | A1S68DAI | [11 empty] | E | MODULE | ELECTRONIC | TYPE | 4 CHANNEL ANALOG OUTPUT | INPUT RATING |  | OUTPUT RATING | 4-20 MA DC | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PLC(PROGRAMMABLE LOGIC CONTROLLER) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060127397 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060127397 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MODULE, DIGITAL INPUT, 24V DC, 16 POINTS | MODULE, DIGITAL INPUT, 24V DC, 16 POINTS, PROGRAMMABLE LOGIC CONTROLLER, MITSUBISHI | A1SX81 | 0019002230 | MITSUBISHI INTERNATIONAL | http://www.mitsubisih.com/downloadthree/MITSUBISHI-A1SX81-datasheet-PDF-_i00141586.html |  | MITSUBISHI INTERNATIONAL | A1SX81 | [11 empty] | C | MODULE | ELECTRONIC | TYPE | 16 CHANNEL DIGITAL OUTPUT | INPUT RATING | 24 VDC | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PLC(PROGRAMMABLE LOGIC CONTROLLER) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060127402 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060127402 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MODULE, DIGITAL OUTPUT, 24V AC, 16 POINT | MODULE, DIGITAL OUTPUT, 24V AC, 16 POINTS, PROGRAMMABLE LOGIC CONTROLLER, MITSUBISHI, SSI 11458 | A1SY80 | 0019002230 | MITSUBISHI INTERNATIONAL | http://www.mitsubisih.com/prodfile/A1SY80---MITSUBISHI-output-modul_c00123277.html |  | MITSUBISHI INTERNATIONAL | A1SY80 | [11 empty] | E | MODULE | ELECTRONIC | TYPE | 32 CHANNEL DIGITAL OUTPUT | INPUT RATING |  | OUTPUT RATING | 12/24 VDC,0.8 A | CONNECTION TYPE | terminal row | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PLC(PROGRAMMABLE LOGIC CONTROLLER),SSI 11458 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060127401 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060127401 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MODULE, DIGITAL OUTPUT, 24V AC, 32 POINT | MODULE, DIGITAL OUTPUT, 24V AC, 32 POINTS, PROGRAMMABLE LOGIC CONTROLLER, MITSUBISHI | A1SY81 | 0019002230 | MITSUBISHI INTERNATIONAL | http://www.mitsubisih.com/prodfile/A1SY81---MITSUBISHI-output-modul_c00123278.html |  | MITSUBISHI INTERNATIONAL | A1SY81 | [11 empty] | E | MODULE | ELECTRONIC | TYPE |  | INPUT RATING |  | OUTPUT RATING | 12/24 VDC,0.1 A | CONNECTION TYPE | D-CONNECTOR | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PLC(PROGRAMMABLE LOGIC CONTROLLER) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060127399 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060127399 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MODULE, ETHERNET INTERFACE, PROGRAMMABLE | MODULE, ETHERNET INTERFACE, PROGRAMMABLE LOGIC CONTROLLER, MITSUBISHI | A1SJ71E71-B2-S3 | 0019002230 | MITSUBISHI INTERNATIONAL | http://www.mitsubisih.com/prodfile/A1SJ71E71-B2-S3---MITSUBISHI-Eth_c00123340.html |  | MITSUBISHI INTERNATIONAL | A1SJ71E71-B2-S3 | [11 empty] | E | MODULE | COMMUNICATION | TYPE | ETHERNET | INPUT RATING | 100-240 VAC | NUMBER OF PORTS |  | INTERFACE TYPE |  | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060097458 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060097458 | BHP1 | BHP Spares & Supplies | 401416 | Valves | EA | MAN2 | MODULE, FLOW CONTROL, PSP, P/N 870043 | MODULE, FLOW CONTROL, PSP, P/N 870043 DGMFN3ZP2W41, VICKERS | 870043 | 0019011405 | VICKERS HYDRAULICS (PTY) LTD | https://www.eaton.com/us/en-us/skuPage.870043.specifications.html |  | VICKERS HYDRAULICS (PTY) LTD | 870043 |  | VICKERS HYDRAULICS (PTY) LTD | DGMFN3ZP2W41 | [8 empty] | E | VALVE | CHECK | TYPE | FLOW CONTROL MODULE | NOMINAL SIZE | D03 | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL | CAST IRON | PRESSURE CLASS/RATING | 315 BAR | DESIGN PRESSURE |  | TEMPERATURE RATING | -20 TO 70 DEG C | TRIM |  | SOFTGOODS | Nitrile SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 4401 | ADDITIONAL FEATURES EN | PSP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
000000000060127400 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060127400 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MODULE, INTERFACE, PROGRAMMABLE LOGIC CO | MODULE, INTERFACE, PROGRAMMABLE LOGIC CONTROLLER, MITSUBISHI | A1SJ71UC24-R4 | 0019002230 | MITSUBISHI INTERNATIONAL | http://www.factoryautmation.com/prodfile/A1SJ71UC24-R4-MITSUBISHI-A1SJ71U_c0012054.html |  | MITSUBISHI INTERNATIONAL | A1SJ71UC24-R4 | [11 empty] | E | MODULE | COMMUNICATION | TYPE |  | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE | RS-232 | DATA TRANSFER RATE | 0.3-19.2 KBPS | TRANSMISSION PROTOCOL | MODBUS | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | WD 34.5 X HT 130 X DP 93.6 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR PLC(PROGRAMMABLE LOGIC CONTROLLER) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060097584 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060097584 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MODULE, SIEMENS, DIGITAL INPUT,6ES7321-7 | MODULE, SIEMENS, DIGITAL INPUT,6ES7321-7BH01-0AB0,16/DI, DC24V, 1 X, 20PIN, PROCESS INTERRUPT, DIAGNOSTIC, FIT FOR ISOCHRONE MODE | 6ES73221HH000AA0 | 0019000502 | BLACK & DECKER A'ASIA PTY. LTD. | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES73221HH000AA0 |  | SIEMENS | 6ES73221HH000AA0 |  | BLACK & DECKER A'ASIA PTY. LTD. | 6ES73221HH000AA0 | [8 empty] | E | MODULE | ELECTRONIC | TYPE | 16 CHANNEL OPTICALLY ISOLATED DIGITAL OUTPUT | INPUT RATING |  | OUTPUT RATING | 24 VDC | CONNECTION TYPE | 20-PIN | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PROCESS INTERRUPT, DIAGNOSTIC, FIT FOR ISOCHRONE MODE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060137157 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060137157 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | OUTPUT MODULE, MDL940, CERAMIC FILTER CC | OUTPUT MODULE, MDL940, CERAMIC FILTER CC-30, OUTOKUMPU |  |  |  | https://elit.ee/product@IC693MDL940K.html |  | GE FANUC | MDL940 |  | OUTOKUMPU | [9 empty] | E | MODULE | ELECTRONIC | TYPE | 16 CHANNEL RELAY OUTPUT | INPUT RATING |  | OUTPUT RATING | 0-125 VDC/120/240 VAC, 2A | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CERAMIC FILTER CC-30 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060132970 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060132970 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | OUTPUT MODULE,OPTIC,SIMATIC S7-400,SM432 | OUTPUT MODULE,OPTIC,SIMATIC S7-400,SM432 ANALOG,ISOLATED,8AO,13 BIT RESOLUTION,U/I. | 6ES7432-1HF00-OABO | 0019011590 | SIEMENS | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7432-1HF00-0AB0 | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6ES7432-1HF00-0AB0&language=en | SIEMENS | 6ES7432-1HF00-0AB0 | SIMATIC S7-400,SM432 | [10 empty] | E | MODULE | ELECTRONIC | TYPE | 8 CHANNEL OPTICALLY Isolated ANALOG OUTPUT | INPUT RATING | 24 VDC | OUTPUT RATING | 19 V,30 MA | CONNECTION TYPE |  | SIZE | WD 25 X HT 290 X DP 210 MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RESOLUTION PER CHANNEL:13 BIT,U/I | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
000000000060122228 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060122228 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | MONITOR UNIT, PONI ADVANTAGE TYPE, CUTLE | MONITOR UNIT, PONI ADVANTAGE TYPE, CUTLER HAMMER | 65151 | 0019001199 | FALK CORP,USA | U |  | FALK CORP,USA | 65151 |  | CUTLER HAMMER | [10 empty] | MONITOR | NO MODIFIER | TYPE | PONI ADVANTAGE | MEASURING RANGE |  | ACCURACY |  | DISPLAY TYPE |  | DISPLAY SIZE |  | ELECTRICAL RATING |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UNIT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060117250 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060117250 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | PROBE, CONDUCTIVITY MONITOR, TYPE CLS, R | PROBE, CONDUCTIVITY MONITOR, TYPE CLS, REF CD13/CD31, REDLAND, POSITION M310-8501/8503, DC ARC FURNACE, CHROME DIRECT REDUCTION PLAN, T |  |  |  | U | [8 empty] | DC ARC FURNACE, CHROME DIRECT REDUCTION PLANT | [6 empty] | PROBE | NO MODIFIER | TYPE | CONDUCTIVITY MONITOR | MEASURING RANGE |  | ACCURACY |  | SIZE |  | CONNECTION TYPE |  | ELECTRICAL RATING |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE CLS, REF CD13/CD31, REDLAND, POSITION M310-8501/8503 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060220278 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 | SUITABLE NM NOT FOUND | 000000000060220278 | BHP1 | BHP Spares & Supplies | 401015 | Ventilation | EA | MAN2 | POINT, TEST SENTINEL COMPLETE AUTO QUICK | POINT, TEST SENTINEL COMPLETE AUTO QUICK BUMP | SEN33COM990 | 0019009093 | SCHAUENBURG FLEXADUX CORP | [16 empty] | X | [61 empty] | Production Completed
000000000060127439 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060127439 | BHP1 | BHP Spares & Supplies | 391215 | Switches and controls and relays and accessories | EA | MAN2 | RADIO CONTROL SYSTEM, TYPE 40/1, C/W TRA | RADIO CONTROL SYSTEM, TYPE 40/1, C/W TRANSMITTER, RECEIVER, 2 X RECHARGEABLE 12V DC NICKEL CADMIUM BATTERIES, 600MA HOUR & AUTOMATIC, BATTERY CHARGER, THEIMEG |  |  |  | U |  | THEIMEG | [13 empty] | RADIO | NO MODIFIER | TYPE | CONTROL SYSTEM | FREQUENCY RANGE |  | NUMBER OF CHANNELS |  | IMPEDANCE |  | POWER SUPPLY |  | FREQUENCY OFFSET |  | RESPONSE TIME |  | DISPLAY SIZE |  | CONNECTION TYPE |  | DISPLAY TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE 40/1, C/W TRANSMITTER, RECEIVER, 2 X RECHARGEABLE 12 VDC NICKEL CADMIUM BATTERIES, 600 MA HOUR & AUTOMATIC BATTERY CHARGER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
000000000060226948 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060226948 | BHP1 | BHP Spares & Supplies | 411100 | Measuring, observing and testing instruments | EA | MAN2 | PRESSURE REGULATOR,MADAS FRG/2MC,DN 50 | PRESSURE REGULATOR,MAIN GAS,MADAS FRG/2MC,DN 50,SCREWED,P1= 2 BAR,P2= 60-90MBAR., NEW STOCK AS PER "ESSI 681" | FC070020 050 |  |  | https://www.comtherm.co.uk/wp-content/uploads/2021/05/Econex-FRG2MC-Governor-SKU_AA200_AA201_AA202_AA204_AA205.pdf | https://www.madas.it/en/gas-pressure-regulators-p1-max-less-than-or-equal-2-bar/frg-2mc-2-dn15-100_314 | ECONEX | FC070020 050 |  | MADAS | FRG/2MC | [8 empty] | E | REGULATOR | PRESSURE | TYPE | MAIN GAS | CONNECTION TYPE/PORT SIZE | THREADED | REGULATING RANGE |  | SIZE | 50 MM | FLOW RATING |  | PRESSURE RATING | 2 BAR,60-90 BAR | TEMPERATURE RATING | -15 TO 60 DEG C | BODY MATERIAL | Die-cast aluminiuM | OPERATOR TYPE |  | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI 681 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060117048 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060117048 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | REGULATOR, GAS PRESSURE, PYROTHERM DWG C | REGULATOR, GAS PRESSURE, PYROTHERM DRG C1139-80200/1, ITEM 8, JEAVONS, POSITION M400-81090, CHROME DRIER, CHROME DIRECT REDUCTION PL, ANT |  |  |  | U |  | PYROTHERM | [6 empty] | CHROME DRIER, CHROME DIRECT REDUCTION PLANT |  |  | C1139-80200/1 |  | 8 |  | REGULATOR | PRESSURE | TYPE | GAS | CONNECTION TYPE/PORT SIZE |  | REGULATING RANGE |  | SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL |  | OPERATOR TYPE |  | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | JEAVONS, POSITION M400-81090 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060116642 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060116642 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | REGULATOR, PRESSURE, DWG 6401 6681/5, IT | REGULATOR, PRESSURE, DWG 6401 6681/5, ITEM 5, CHROME RECOVERY PLANT, BATAC JIG, KHD HUMBOLDT WEDAG | 2069 | 0019008711 | HUMBOLDT WEDAG | U |  | KHD HUMBOLDT WEDAG | 2069 | [8 empty] | 7737.2 |  | 5 |  | REGULATOR | PRESSURE | TYPE |  | CONNECTION TYPE/PORT SIZE |  | REGULATING RANGE |  | SIZE |  | FLOW RATING |  | PRESSURE RATING |  | TEMPERATURE RATING |  | BODY MATERIAL |  | OPERATOR TYPE |  | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BATAC JIG,CHROME RECOVERY PLANT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060231492 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060231492 | BHP1 | BHP Spares & Supplies | 811016 | Mechanical engineering | EA | MAN2 | REGULATOR,GAS,RDD,KROMSCHRODER. | REGULATOR, GAS, RDD, KROMSCHRODER. PART NUMBER: VGBF80F40-3, NEW STOCK AS PER ESSI: 1132, PART NUMBER: VGBF80F40-3 |  |  |  | https://www.nexinstrument.com/vgbf80f40-3¦ https://www.add-furnace.com/furnace-accessories/vgbf-80f40-3.html | https://www.combustion911.com/support/documentation/regulators/vgbf-gas-pressure-regulator_techinfo.pdf | Krom Schroder | VGBF80F40-3 | [11 empty] | E | REGULATOR | PRESSURE | TYPE | GAS | CONNECTION TYPE/PORT SIZE |  | REGULATING RANGE |  | SIZE | 80 MM | FLOW RATING |  | PRESSURE RATING | 20 MBAR | TEMPERATURE RATING | -15 TO 60 DEG C | BODY MATERIAL | ALUMINIUM | OPERATOR TYPE |  | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NEW STOCK AS PER ESSI 1132 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
000000000060173917 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060173917 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | SCANNER, CCD BARCODE, IVORY, PRODUCT COD | SCANNER, CCD BARCODE, IVORY, PRODUCT CODE CD-2862KP2, TCM |  |  |  | U |  | TCM | CD-2862KP2 | [12 empty] | SCANNER | NO MODIFIER | TYPE | CCD BARCODE | POWER SUPPLY |  | SCAN RATE |  | MATERIAL |  | RESOLUTION |  | INTERFACE TYPE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:IVORY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
000000000060116707 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060116707 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | SCANNER, FLAME FAILURE, KROM SCHRODER | SCANNER, FLAME FAILURE, KROM SCHRODER | UVS1 | 0019008748 | KROM SCHRODER | https://docuthek.kromschroeder.com/documents/download.php?lang=de&doc=12145 | https://www.nexinstrument.com/uvs-1 | KROM SCHRODER | UVS 1 | [11 empty] | E | SENSOR | NO MODIFIER | TYPE | ULTRA VIOLET,FLAME FAILURE | SENSING RANGE | 190-270 NM | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE | IP40 | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060174781 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060174781 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | SCANNER, FLAME, UV, FIREYE, TYPE UV7A4, | SCANNER, FLAME, UV, FIREYE, TYPE UV7A4, FOR MAXFIRE/HESI PILOT BURNER, THE COMBUSTION GROUP | FFFIUV7A4SCN | 0019008578 | COMBUSTION GROUP | https://www.fireye.com/Content/Documents/fireye-flame-scanners.pdf |  | FIREYE | UV7A4 |  | COMBUSTION GROUP | FFFIUV7A4SCN | [8 empty] | E | SCANNER | FLAME | TYPE | ULTRA VIOLET | POWER SUPPLY | 425 VDC | OPTICAL RANGE | 76 M | TEMPERATURE RATING | -20 TO 125 DEG C | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR MAXFIRE/HESI PILOT BURNER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060115611 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060115611 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | SCANNER, ULTRA VIOLET EYE, UVS1, 220-240 | SCANNER, ULTRA VIOLET EYE, UVS1, 220-240V, KROMSCHRODER, FURNACE IC3 PLANT, FERROMETALS | 84315010 | 0019008748 | KROM SCHRODER | https://docuthek.kromschroeder.com/documents/download.php?lang=de&doc=12145 | https://www.nexinstrument.com/uvs-1 | KROM SCHRODER | UVS 1 |  | KROM SCHRODER | 84315010 | FERROMETALS |  | FURNACE IC3 PLANT |  | FERROMETALS |  |  |  | E | SENSOR | NO MODIFIER | TYPE | ULTRA VIOLET EYE | SENSING RANGE | 190-270 NM | CONNECTION TYPE |  | ELECTRICAL RATING | 220-240 VAC | ENCLOSURE | IP40 | MATERIAL |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060117157 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060117157 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | SCANNER,ULTRA VIOLET SENSOR,KROM SCHRODE | SCANNER,ULTRA VIOLET SENSOR,KROM SCHRODER,UVS 10, EDITED AS PER SSI 7340. | UVS 10 | 0019008748 | KROM SCHRODER | https://docuthek.kromschroeder.com/documents/download.php?lang=en&doc=52268 |  | KROM SCHRODER | UVS 10 | [12 empty] | SENSOR | NO MODIFIER | TYPE | ULTRA VIOLET | SENSING RANGE | 190-270 NM | CONNECTION TYPE |  | ELECTRICAL RATING |  | ENCLOSURE | IP65 | MATERIAL | ALUMINIUM | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,EAC | ADDITIONAL FEATURES EN | EDITED AS PER SSI 7340 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
000000000060025844 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060025844 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | SHROUD, NO 4 ADJUSTABLE CABLE GLAND, NEO | SHROUD, NO 4 ADJUSTABLE CABLE GLAND, NEOPRENE RUBBER, PRATLEY |  |  |  | U |  | PRATLEY | [13 empty] | SHROUD | NO MODIFIER | TYPE | ADJUSTABLE CABLE GLAND | SIZE |  | MATERIAL | NEOPRENE RUBBER | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO 4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060025845 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060025845 | BHP1 | BHP Spares & Supplies | 391214 | Lugs connectors and terminals | EA | MAN2 | SHROUD, NO 5 ADJUSTABLE CABLE GLAND, NEO | SHROUD, NO 5 ADJUSTABLE CABLE GLAND, NEOPRENE RUBBER, PRATLEY |  |  |  | U |  | PRATLEY | [13 empty] | SHROUD | NO MODIFIER | TYPE | ADJUSTABLE CABLE GLAND | SIZE |  | MATERIAL | NEOPRENE RUBBER | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO 5 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
000000000060029362 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060029362 | BHP1 | BHP Spares & Supplies | 461800 | Personal safety and protection | PR | MAN2 | SOCKS, KHAKI, CALF LENGTH | SOCKS, KHAKI, CALF LENGTH |  |  |  | U | [15 empty] | SOCKS | NO MODIFIER | TYPE | CALF LENGTH | SIZE |  | COLOUR | KHAKI | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
000000000060213566 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060213566 | BHP1 | BHP Spares & Supplies | 551200 | Signage and accessories | M | MAN2 | STRIP, MAGNETIC BLACK SIZE 10MM X 1000MM | STRIP, MAGNETIC BLACK SIZE 10MM X 1000MM. STRIPS. RECOMMENDED FOR USE ON, MAGNETIC BOARDS OR STEEL SURFACE. WRITEABLE SURFACE - IDEAL FOR LABELS, OR PLANNING BOARDS, CAN BE CUT WITH SCISSORS |  | 0019011480 | SPECTRUM MARKETING CC | U |  | SPECTRUM MARKETING CC | [13 empty] | STRIP | NO MODIFIER | TYPE | MAGNETIC | SIZE | 10 X 100 MM | MATERIAL |  | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR | BLACK | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RECOMMENDED FOR USE ON MAGNETIC BOARDS OR STEEL SURFACE, WRITEABLE SURFACE - IDEAL FOR LABELS OR PLANNING BOARDS, CAN BE CUT W/SCISSORS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060116056 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060116056 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | STRIP, WHITE PTFE, 60MM X 2MM X 1000MM, | STRIP, WHITE PTFE, 60MM X 2MM X 1000MM, FURNACE, TUBATSE FERROCHROME |  |  |  | U | [8 empty] | FURNACE TUBATSE FERROCHROME | [6 empty] | STRIP | NO MODIFIER | TYPE |  | SIZE | 60 X 2 MM X 1 M | MATERIAL | PTFE | ELECTRICAL RATING |  | MOUNTING TYPE |  | COLOUR | WHITE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
000000000060226641 - B6 - Additional | STP-004 | DATA ENRICHMENT | MUF | MUF | OK | 2022-10-24 | 2022-10-28 |  | 000000000060226641 | BHP1 | BHP Spares & Supplies | 401018 | Heating | EA | MAN2 | TAP,HYDROBOL,ZP,ASSEMBLY KT,COMPLETE, | TAP,ZIP,HYDROBOIL,ASSEMBLY KIT,COMPLETE,480585 | 480585 | 0019011464 | WACO | https://www.buco.co.za/default/hydroboil-tap-assembly-kit-480585-1071034 |  | ZIP | 480585 |  | WACO | 480585 | [8 empty] | C | KIT | NO MODIFIER | TYPE | HYDROBOIL TAP ASSEMBLY | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPLETE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed