## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | SN | PASAR MATERIAL NUMBER | SHORT DESCRIPTION | LONG DESCRIPTION | UM | MIN QTY | MAX QTY | INVENTORY TYPE | BI CODE | MRP TYPE | MATERIAL GROUP | MATERIAL TYPE | SAP INVENTORY TYPE | SAP PN | SAP MFG NUMBER | SAP MFG NAME | LOT SIZE | PASAR MFG NAME | PASAR PN | SUPPLIER (source list) | Reference URL | Reference URL 1 | MANUFACTURER NAME | MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER | ALTERNATE MANUFACTURER PART NUMBER | ALTERNATE MANUFACTURER 1 | ALTERNATE MANUFACTURER PART NUMBER 1 | ALTERNATE MANUFACTURER 2 | ALTERNATE MANUFACTURER PART NUMBER 2 | SUPPLIER NAME | SUPPLIER PART NUMBER | SUPPLIER NAME 1 | SUPPLIER PART NUMBER 1 | SUPPLIER NAME 2 | SUPPLIER PART NUMBER 2 | EQUIPMENT NAME | EQUIPMENT MODEL | EQUIPMENT MANUFACTURER | DRAWING NUMBER | DRAWING VERSION | SERIAL NUMBER | ITEM NUMBER | MACHINE NUMBER | ART / ARTICLE NUMBER | MFG NUMBER | ENRICHED/CLEANSED | NOUN | MODIFIER | ATTRIBUTE NAME 1 | ATTRIBUTE VALUE 1 | ATTRIBUTE NAME 2 | ATTRIBUTE VALUE 2 | ATTRIBUTE NAME 3 | ATTRIBUTE VALUE 3 | ATTRIBUTE NAME 4 | ATTRIBUTE VALUE 4 | ATTRIBUTE NAME 5 | ATTRIBUTE VALUE 5 | ATTRIBUTE NAME 6 | ATTRIBUTE VALUE 6 | ATTRIBUTE NAME 7 | ATTRIBUTE VALUE 7 | ATTRIBUTE NAME 8 | ATTRIBUTE VALUE 8 | ATTRIBUTE NAME 9 | ATTRIBUTE VALUE 9 | ATTRIBUTE NAME 10 | ATTRIBUTE VALUE 10 | ATTRIBUTE NAME 11 | ATTRIBUTE VALUE 11 | ATTRIBUTE NAME 12 | ATTRIBUTE VALUE 12 | ATTRIBUTE NAME 13 | ATTRIBUTE VALUE 13 | ATTRIBUTE NAME 14 | ATTRIBUTE VALUE 14 | ATTRIBUTE NAME 15 | ATTRIBUTE VALUE 15 | ATTRIBUTE NAME 16 | ATTRIBUTE VALUE 16 | ATTRIBUTE NAME 17 | ATTRIBUTE VALUE 17 | ATTRIBUTE NAME 18 | ATTRIBUTE VALUE 18 | ATTRIBUTE NAME 19 | ATTRIBUTE VALUE 19 | ATTRIBUTE NAME 20 | ATTRIBUTE VALUE 20 | ATTRIBUTE NAME 21 | ATTRIBUTE VALUE 21 | ATTRIBUTE NAME 22 | ATTRIBUTE VALUE 22 | ATTRIBUTE NAME 23 | ATTRIBUTE VALUE 23 | ATTRIBUTE NAME 24 | ATTRIBUTE VALUE 24 | ATTRIBUTE NAME 25 | ATTRIBUTE VALUE 25 | ATTRIBUTE NAME 26 | ATTRIBUTE VALUE 26 | ATTRIBUTE NAME 27 | ATTRIBUTE VALUE 27 | ATTRIBUTE NAME 28 | ATTRIBUTE VALUE 28 | ATTRIBUTE NAME 29 | ATTRIBUTE VALUE 29 | ATTRIBUTE NAME 30 | ATTRIBUTE VALUE 30 | STATUS
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 | SUITABLE NM NOT AVAILABLE | PSR946815 | 946815 | PSR946815 | COMMUNICATOR, MODEL: CFN100-1S12-B, PROD. NO. R-99829-41-021 JUNE 2010, FOR AZBIL, MFR: YAMATAKE CORPORATION | COMMUNICATOR, MODEL: CFN100-1S12-B, PROD. NO. R-99829-41-021 JUNE 2010, FOR AZBIL, MFR: YAMATAKE CORPORATION | SE | 0 | 0 | CONSUMABLES | B | PD | 5920 | ERSA | OTHERS |  |  |  | EX |  |  | P.T. CERNA CORPORATION | URL NOT FOUND |  | YAMATAKE CORPORATION | [7 empty] | P.T. CERNA CORPORATION | [78 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 | SUITABLE NM NOT AVAILABLE | PSR953468 | 953468 | PSR953468 | COMPACTOR, SOIL VIBRATORY, MODEL: CS10GC, OPERATING WEIGHT: 23136 WITH ROPS/FOPS, LB: 10494 KG, COMPACTION WIDTH: 84 INCHES, 2134 MM, GROSS POWER: 120.7 HP: 90 KW, MNFR: CATERPILLAR | COMPACTOR, SOIL VIBRATORY, MODEL: CS10GC, OPERATING WEIGHT: 23136 WITH ROPS/FOPS, LB: 10494 KG, COMPACTION WIDTH: 84 INCHES, 2134 MM, GROSS POWER: 120.7 HP: 90 KW, MNFR: CATERPILLAR | UT |  |  | CONSUMABLES | C | PD | 5955 | ERSA | OTHER |  | 0003000003 | CATERPILLAR | EX |  |  |  | URL NOT FOUND |  | CATERPILLAR | [86 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR019810 | 019810 | PSR019810 | COMPONENT, FIBER OPTIC, MTS-300 PLUS, P/ | COMPONENT, FIBER OPTIC, MTS-300 PLUS, P/N 281456; FOR MARS 6 MICROWAVE DIGESTER, MFR: CEM CORPORATION | PC | 0 | 0 |  | C | PD | 5920 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | https://cem.com/en/analytical-products/mars-6/replacement-parts/mars-6-parts/mars6-mts-300-temperature-probe.html |  | CEM CORPORATION | MTS-300 PLUS |  | 281456 | [11 empty] | MARS 6 | [8 empty] | CLEANSED | PROBE | TEMPERATURE | TYPE |  | SENSING ELEMENT |  | MATERIAL | FIBER OPTIC | TEMPERATURE RATING |  | TOLERANCE |  | CONNECTION TYPE |  | RESISTANCE |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPONENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR935878 | 935878 | PSR935878 | CONNECTION, LAN/INTERNET, WIRELESS ACCESS POINT, P/N LAPAC1200C-EU, WIFI, AC1200, CLOUD, DUAL BAND, 5 YEARS WARRANTY, BRAND: LINKSYS | CONNECTION, LAN/INTERNET, WIRELESS ACCESS POINT, P/N LAPAC1200C-EU, WIFI, AC1200, CLOUD, DUAL BAND, 5 YEARS WARRANTY, BRAND: LINKSYS | UT | 0 | 0 | CONSUMABLES | D | PD | 6870 | ERSA | OTHER |  |  |  | EX |  |  |  | https://www.linksys.com/lapac1200c-business-ac1200-dual-band-access-point/LAPAC1200C.html#technicalSpecs | [9 empty] | LINKSYS | LAPAC1200C-EU |  | AC1200 | [12 empty] | ENRICHED | CONNECTOR | COMMUNICATION | TYPE | LAN/INTERNET,WIFI,WIRELESS DUAL BAND ACCESS POINT,CLOUD | CONNECTION TYPE |  | NUMBER OF PINS |  | INTERFACE TYPE | IPV6 | ELECTRICAL RATING | 1 X 12 V/1.5 A | CONDUCTOR SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEEE 802.3AT POE+ | ADDITIONAL FEATURES EN | WARRANTY:5 YEARS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR946828 | 946828 | PSR946828 | CONTROL BOARD CIRCUIT, P/N: 1MOD-016-100-00, IGBT, CONVERTER, SE720, FOR ULTRAFLEX CS2 DIGITAL CASTING MACHINE, MAKER: BIHIS MAALA BASICS | CONTROL BOARD CIRCUIT, P/N: 1MOD-016-100-00, IGBT, CONVERTER, SE720, FOR ULTRAFLEX CS2 DIGITAL CASTING MACHINE, MAKER: BIHIS MAALA BASICS | AM | 0 | 0 | CONSUMABLES | A | PD | 1600 | ERSA | OTHER |  |  |  | EX |  |  |  | URL NOT FOUND |  | BIHIS MAALA BASICS | 1MOD-016-100-00 | [13 empty] | CS2 | ULTRAFLEX | [7 empty] | CLEANSED | BOARD | CIRCUIT | TYPE | CONTROL | FUNCTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IGBT,CONVERTER,SE720 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [47 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 | NM TAKEN AS PER WEBSOURCE | PSR047444 | 047444 | PSR047444 | CONTROL CENTER, FREE STANDING LOGSTRUP PANEL MOTOR, DRAW OUT TYPE MAIN: SIEMENS MCCB 3VT1708…80A, 3POLE, 60HZ WITH COMPLETE MAIN POWER MONITORING CARLO GAVAZZI WM1496 & POWER INDICATOR AND WITH | CONTROL CENTER, FREE STANDING LOGSTRUP PANEL MOTOR, DRAW OUT TYPE MAIN: SIEMENS MCCB 3VT1708…80A, 3POLE, 60HZ WITH COMPLETE MAIN POWER MONITORING CARLO GAVAZZI WM1496 & POWER INDICATOR AND WITH BRANCHES 4-UNITS 5.5KW, 3PHASE, 60HZ, WITH COMPLETE POWER METER INDIVIDUAL MODULE, LOCAL / REMOTE SWITCH AND COMPLETE STANDARD ACCESSORIES | AY | 0 | 0 | CONSUMABLES | C | PD | 1600 | ERSA | OTHERS |  |  |  | EX |  |  | INNOVATIVE CONTROLS, INC. | https://mall.industry.siemens.com/mall/en/cn/Catalog/Product/3VT17082DC360AA0 | https://mall.industry.siemens.com/mall/en/cn/Catalog/DatasheetDownload?downloadUrl=teddatasheet%2F%3Fformat%3DPDF%26caller%3DMall%26mlfbs%3D3VT1708-2DC36-0AA0%26language%3Den | SIEMENS | 3VT1708 | [6 empty] | INNOVATIVE CONTROLS,INC. | [15 empty] | ENRICHED | BREAKER | CIRCUIT | TYPE | MOLDED CASE,CONTROL CENTER | CURRENT RATING | 80 A | VOLTAGE RATING | 415 VAC | FRAME RATING |  | INTERRUPT RATING | 25 KA | NUMBER OF POLES | 3 | OVERALL SIZE | WD 75 X HT 130 X DP 80 MM | TRIP SETTING |  | TERMINAL TYPE | BOX | MOUNTING TYPE | VERTICAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,UL | ADDITIONAL FEATURES EN | FREE STANDING LOGSTRUP PANEL MOTOR,C/W COMPLETE MAIN POWER MONITORING CARLO GAVAZZI WM1496 & POWER INDICATOR AND C/W BRANCHES 4-UNITS 5.5 KW,3 PH,60 HZ,C/W COMPLETE POWER METER INDIVIDUAL MODULE,LOCAL/REMOTE SWITCH AND COMPLETE STANDARD ACCESSORIES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR024135 | 024135 | PSR024135 | CONTROL DEVICE,GATEDEVICE, CONTROL, GATE, TYPE 6RTA 31Z. | CONTROL DEVICE,GATEDEVICE, CONTROL, GATE, TYPE 6RTA 31Z. | PC | 0 | 0 | CONSUMABLES | C | PD | 1600 | ERSA | OTHERS |  |  |  | EX |  |  |  | URL NOT FOUND |  |  | 6RTA 31Z | [22 empty] | CLEANSED | CONTROLLER | NO MODIFIER | TYPE | GATE DEVICE | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR943296 | 943296 | PSR943296 | CONTROL KIT , 2 X 1ML (H/L), 2005.02.00010001.1 A, SERUM ETHANOL CONTROL KIT, RA ESSENTIALS, MEDICAL SYSTEM | CONTROL KIT , 2 X 1ML (H/L), 2005.02.00010001.1 A, SERUM ETHANOL CONTROL KIT, RA ESSENTIALS, MEDICAL SYSTEM | KT | 0 | 0 | CONSUMABLES | C | PD | 4040 | ERSA | OTHERS |  |  |  | EX |  |  |  | URL NOT FOUND |  |  | 2005.02.00010001.1 A | [22 empty] | CLEANSED | KIT | NO MODIFIER | TYPE | SERUM ETHANOL CONTROL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2 X 1ML (H/L),RA ESSENTIALS,FOR MEDICAL SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR949761 | 949761 | PSR949761 | CONTROL KIT, HETO H5800, FOR HEMATOLOGY ANALYZER, RA ESSENTIALS | CONTROL KIT, HETO H5800, FOR HEMATOLOGY ANALYZER, RA ESSENTIALS | KT | 0 | 0 | CONSUMABLES | C | PD | 4040 | ERSA | OTHERS |  |  |  | EX |  |  |  | URL NOT FOUND |  | HETO | H5800 | [12 empty] | HEMATOLOGY ANALYZER |  | RA ESSENTIALS | [7 empty] | CLEANSED | KIT | NO MODIFIER | TYPE | CONTROL | CONTENTS |  | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR939262 | 939262 | PSR939262 | CONTROL PATHOLOGICAL, ELITROL II, 5ml PER VIAL. | CONTROL PATHOLOGICAL, ELITROL II, 5ml PER VIAL. | VL | 0 | 0 | CONSUMABLES | C | PD | 4040 | ERSA | OTHERS |  |  |  | EX |  |  |  | URL NOT FOUND | [25 empty] | CLEANSED | CONTROLLER | NO MODIFIER | TYPE | PATHOLOGICAL | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ELITROL II,PACKAGING QUANTITY:5 ML PER VIAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR946762 | 946762 | PSR946762 | CONTROL SYSTEM, AUDIO / VIDEO, CONFERENCING SOUND BAR, WITH INTEGRATED CAMERA, ACENDO VIBE 5100, BRAND: AMX HARMAN | CONTROL SYSTEM, AUDIO / VIDEO, CONFERENCING SOUND BAR, WITH INTEGRATED CAMERA, ACENDO VIBE 5100, BRAND: AMX HARMAN | AY | 0 | 0 | CONSUMABLES | C | PD | 4090 | ERSA | OTHERS |  |  |  | EX |  |  |  | https://jblpro.com/en/product_families/amx-acendo-vibe-5100-conferencing-soundbar |  |  | ACENDO VIBE 5100 | [6 empty] | AMX HARMAN | [15 empty] | CLEANSED | CONTROLLER | ELECTRICAL | TYPE | SYSTEM,AUDIO/VIDEO | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONFERENCING SOUND BAR,C/W INTEGRATED CAMERA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR942666 | 942666 | PSR942666 | CONTROL UNIT, GROUND (GCON), SMARTLINK 1000, PART NO.: 1256722GT, MODEL: GS-3232, MAKER: GENIE | CONTROL UNIT, GROUND (GCON), SMARTLINK 1000, PART NO.: 1256722GT, MODEL: GS-3232, MAKER: GENIE | UT | 0 | 0 | CRITICAL | B | PD | 5100 | ERSA | OTHERS |  |  |  | EX |  |  | MONARK EQUIPMENT CORP. | https://www.gciron.com/1256722GT_GCON_O_R_PROP_LIFT_Genie_Parts_p/1256722gt.htm |  | GENIE | 1256722GT |  | GS-3232 |  |  |  |  | MONARK EQUIPMENT CORP. | [15 empty] | CLEANSED | CONTROLLER | ELECTRICAL | TYPE | UNIT,GROUND (GCON) | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SMARTLINK 1000 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR942667 | 942667 | PSR942667 | CONTROL UNIT, PLATFORM (PCON), 6-BUTTON, PART NO.: 1256728GT, MODEL: GS-3232, MAKER: GENIE | CONTROL UNIT, PLATFORM (PCON), 6-BUTTON, PART NO.: 1256728GT, MODEL: GS-3232, MAKER: GENIE | UT | 0 | 0 | CRITICAL | B | PD | 5100 | ERSA | OTHERS |  |  |  | EX |  |  | MONARK EQUIPMENT CORP. | https://www.gciron.com/1256728GT_PCON_O_R_PROP_LIFT_GS_Genie_Parts_p/1256728gt.htm |  | GENIE | 1256728GT |  | GS-3232 |  |  |  |  | MONARK EQUIPMENT CORP. | [15 empty] | CLEANSED | CONTROLLER | ELECTRICAL | TYPE | UNIT,PLATFORM (PCON) | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO OF BUTTON:6 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR935240 | 935240 | PSR935240 | CONTROL UNIT, RDCU-12C, CODE: 3AXD50000155385, ACS800CU-04-0320-5+N2033+SP1001, +N2033 ASXR7360, +SP1001, MFR: ABB | CONTROL UNIT, RDCU-12C, CODE: 3AXD50000155385, ACS800CU-04-0320-5+N2033+SP1001, +N2033 ASXR7360, +SP1001, MFR: ABB | PC | 0 | 0 | CRITICAL | B | PD | 5100 | ERSA | OTHERS | 3AXD50000155385 | 0003000014 | ABB | EX |  |  |  | https://new.abb.com/products/3AUA0000036521/3aua0000036521 |  | ABB | RDCU-12C |  | 3AXD50000155385 |  | ACS800CU-04-0320-5+N2033+SP1001 |  | +N2033 ASXR7360¦+SP1001 | [16 empty] | CLEANSED | CONTROLLER | NO MODIFIER | TYPE | UNIT | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR046937 | 046937 | PSR046937 | CONTROL UNIT,CIRCUIT BREAKER,736A0076CON | CONTROL UNIT,CIRCUIT BREAKER,736A0076CONTROL UNIT, AIR CIRCUIT BREAKER, 3N9C0100-A, TOSHIBA BRAND. | PC | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | 3N9C0100-A | 3000449 | TOSHIBA | EX |  |  |  | http://www.compelecunltd.com/file/11%20CEU%20Catalog%20Print%20Only%202019-2020.pdf |  | TOSHIBA | 3N9C0100-A | TOSHIBA | 736A0076 |  |  |  |  | TOSHIBA | [15 empty] | CLEANSED | CONTROLLER | ELECTRICAL | TYPE | UNIT,AIR CIRCUIT BREAKER | FUNCTION |  | INPUT RATING |  | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR027347 | 027347 | PSR027347 | CONTROL UNIT,EC MOTOR AUX,RPA-AECONTROL | CONTROL UNIT,EC MOTOR AUX,RPA-AECONTROL UNIT, AUXILIARY, 1-PHASE, 200 V-50 HZ, 200/220 V-60 HZ;TYPE-FORM = APJ-2B, TOSHIBA BRAND. | PC | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | - | 3000449 | TOSHIBA | EX |  |  |  | https://nicontrols.com/uk/apj2b-toshiba.html |  | TOSHIBA | APJ-2B | [6 empty] | TOSHIBA | [15 empty] | CLEANSED | CONTROLLER | ELECTRICAL | TYPE | RPA-AE UNIT,EC MOTOR AUXILIARY | FUNCTION |  | INPUT RATING | 200/220 V,1 PH,50/60 HZ | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR940691 | 940691 | PSR940691 | CONTROL, ELITROL, 4X5ML PER KIT. BRAND: ELITECH. DISTRIBUTOR: RA ESSENTIALS | CONTROL, ELITROL, 4X5ML PER KIT. BRAND: ELITECH. DISTRIBUTOR: RA ESSENTIALS | KT | 0 | 0 | CONSUMABLES | C | PD | 1600 | ERSA | OTHERS |  |  |  | EX |  |  |  | https://skrooll.com.ph/chemistry-reagent-control-elitech-en/ | [9 empty] | ELITECH | [15 empty] | CLEANSED | CONTROLLER | NO MODIFIER | TYPE | ELITROL | ELECTRICAL RATING |  | INPUT SIGNAL |  | OUTPUT SIGNAL |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 4X5ML PER KIT,DISTRIBUTOR:RA ESSENTIALS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 | NM TAKEN AS PER WEBSOURCE | PSR052567 | 052567 | PSR052567 | CONTROL, REMOTE, MODEL: ZB2-BE101 & ZB2-BE102, AC15, BRAND: DAZZEL; FOR NEW SFP MILL LINER HANDLER | CONTROL, REMOTE, MODEL: ZB2-BE101 & ZB2-BE102, AC15, BRAND: DAZZEL; FOR NEW SFP MILL LINER HANDLER | SE | 0 | 0 | CRITICAL | B | PD | 5800 | ERSA | OTHERS |  |  |  | EX |  |  |  | https://www.se.com/in/en/product/ZB2BE101/contact-block/ |  |  | ZB2-BE101 |  | ZB2-BE102 |  |  |  |  | DAZZEL | [15 empty] | ENRICHED | BLOCK | CONTACT | TYPE | CONTROL REMOTE | CONTACT CONFIGURATION | 1 NO | CURRENT RATING | 10:00 | VOLTAGE RATING | 600 V | TERMINAL TYPE | SCREW CLAMPS | MOUNTING TYPE | FRONT | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60947-1,EN/IEC 60947-5-1,UL 508,EN/IEC 60204-32,CSA C22.2 NO 14 | ADDITIONAL FEATURES EN | AC15 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR455509 | 455509 | PSR455509 | CONVERTER, DC/FREQUENCY, MODEL APU-A1-B- | CONVERTER, DC/FREQUENCY, MODEL APU-A1-B-X, INPUT SIGNAL: 4-20 mADC (250 OHMS), OUTPUT: 0-8.333 Hz, POWER INPUT: 100VAC, 60 Hz, MAKER: M-SYSTEM CO. LTD. | PC | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | https://pdf1.alldatasheet.com/datasheet-pdf/view/1291560/MSYSTEM/APU.html |  | M-SYSTEM CO. LTD. | APU-A1-B-X | [22 empty] | CLEANSED | CONVERTER | FREQUENCY | TYPE | DC | INPUT VOLTAGE | 100 VAC | INPUT FREQUENCY | 60 HZ | OUTPUT FREQUENCY RATING | 0-8.333 HZ | OUTPUT VOLTAGE RATING |  | INTERFACE TYPE |  | SIZE |  | ACCURACY |  | MOUNTING TYPE |  | NOISE LEVEL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INPUT SIGNAL:4-20 MADC (250 OHMS) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR013641 | 013641 | PSR013641 | CONVERTER, DC/FREQUENCY, MODEL: M2AP-A1-M/N, INPUT: 4-20 mA, OUTPUT: 0-500p/h, POWER: 85-264VA,SERIAL NUMBER: UF026301, MFR: M SYSTEM CO LTD. | CONVERTER, DC/FREQUENCY, MODEL: M2AP-A1-M/N, INPUT: 4-20 mA, OUTPUT: 0-500p/h, POWER: 85-264VA,SERIAL NUMBER: UF026301, MFR: M SYSTEM CO LTD. | SE | 0 | 0 | CONSUMABLES | C | PD | 5100 | ERSA | OTHERS |  |  |  | EX |  |  | FUJI TRADING CO., LTD. | https://www.m-system.co.jp/mssenglish/PDF/ES/M2/esm2ap.pdf |  | M-SYSTEM CO. LTD. | M2AP-A1-M/N | [6 empty] | FUJI TRADING CO.,LTD. | [10 empty] | UF026301 |  |  |  |  | ENRICHED | CONVERTER | FREQUENCY | TYPE | DC | INPUT VOLTAGE | 0-300 VDC | INPUT FREQUENCY |  | OUTPUT FREQUENCY RATING | 0–500 HZ | OUTPUT VOLTAGE RATING | 30 VDC | INTERFACE TYPE |  | SIZE |  | ACCURACY | +/- 0.1 PCT | MOUNTING TYPE |  | NOISE LEVEL |  | TEMPERATURE RATING | -5 TO +55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL | ADDITIONAL FEATURES EN | INPUT:4-20 MA,OUTPUT:0-500 P/H,POWER:85-264 VA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR945229 | 945229 | PSR945229 | CONVERTER, FAST ETHERNET 10/100/1000M, BIDIRECTIONAL, SINGLE MODE, SINGLE FIBER WDM, PAIR | CONVERTER, FAST ETHERNET 10/100/1000M, BIDIRECTIONAL, SINGLE MODE, SINGLE FIBER WDM, PAIR | UT | 0 | 0 | CONSUMABLES | C | PD | 5100 | ERSA | OTHERS |  |  |  | EX |  |  | LJN DIGICOM SALES AND SERVICES | URL NOT FOUND | [9 empty] | LJN DIGICOM SALES AND SERVICES | [15 empty] | CLEANSED | CONVERTER | MEDIA | TYPE | BI DIRECTIONAL | POWER SUPPLY |  | CABLE/FIBER TYPE |  | TRANSMISSION TYPE |  | CONNECTOR TYPE |  | CABLE/FIBRE DISTANCE |  | DATA BUFFER |  | WAVELENGTH |  | INTERFACE TYPE |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR020454 | 020454 | PSR020454 | CONVERTER, FREQUENCY, P/N 104352, F5-B, 2.8 kVA, AC/DC; FOR INDUCTION REMELT FURNACE, LIFUMAT-MET, 6.6VAC, 440V, 60Hz, 3 PHASE, SN AK 017073, MFR: LINN HIGH THERM GmbH, GERMANY | CONVERTER, FREQUENCY, P/N 104352, F5-B, 2.8 kVA, AC/DC; FOR INDUCTION REMELT FURNACE, LIFUMAT-MET, 6.6VAC, 440V, 60Hz, 3 PHASE, SN AK 017073, MFR: LINN HIGH THERM GmbH, GERMANY | PC | 0 | 0 | CONSUMABLES | B | PD | 5100 | ERSA | OTHERS |  |  |  | EX |  |  |  | URL NOT FOUND |  | LINN HIGH THERM GMBH,GERMANY | 104352 | [12 empty] | INDUCTION REMELT FURNACE,LIFUMAT-MET,6.6VAC,440V,60HZ,3 PHASE |  |  |  |  | AK 017073 |  |  |  |  | CLEANSED | CONVERTER | FREQUENCY | TYPE |  | INPUT VOLTAGE |  | INPUT FREQUENCY |  | OUTPUT FREQUENCY RATING |  | OUTPUT VOLTAGE RATING |  | INTERFACE TYPE |  | SIZE |  | ACCURACY |  | MOUNTING TYPE |  | NOISE LEVEL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | F5-B,APPARENT POWER:2.8 KVA,AC/DC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR953685 | 953685 | PSR953685 | CONVERTER, HD VIDEO, MINI-SERIES, AV TO VGA, FOR CCTV MONITORING. | CONVERTER, HD VIDEO, MINI-SERIES, AV TO VGA, FOR CCTV MONITORING. | PC | 0 | 0 | CONSUMABLES | C | PD | 5955 | ERSA | OTHER | N/A | N/A | NO | EX |  |  |  | URL NOT FOUND | [15 empty] | CCTV MONITORING. | [9 empty] | CLEANSED | CONVERTER | SIGNAL | TYPE | HD VIDEO,MINI-SERIES,AV TO VGA | POWER SUPPLY |  | OUTPUT RATING |  | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR052077 | 052077 | PSR052077 | CONVERTER, MEDIA, RS-422/485 TO ETHERNET | CONVERTER, MEDIA, RS-422/485 TO ETHERNET, MODEL: NPORT5430 SERIES, MFR: MOXA | UT | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | https://www.moxa.com/en/products/industrial-edge-connectivity/serial-device-servers/general-device-servers/nport-5400-series/nport-5430 | https://www.moxa.com/en/products/industrial-edge-connectivity/serial-device-servers/general-device-servers/nport-5400-series | MOXA | NPORT5430 | [22 empty] | CLEANSED | CONVERTER | MEDIA | TYPE |  | POWER SUPPLY |  | CABLE/FIBER TYPE |  | TRANSMISSION TYPE |  | CONNECTOR TYPE |  | CABLE/FIBRE DISTANCE |  | DATA BUFFER |  | WAVELENGTH |  | INTERFACE TYPE |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RS-422/485 TO ETHERNET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR036632 | 036632 | PSR036632 | CONVERTER, MINI DISPLAY PORT TO VGA VIDEO ADAPTER, SUPPORTS PC RESOLUTIONS UP TO 1920 X 1200 AND HDTV RESOLUTIONS UP TO 1080P, CONNECTOR A 1 - MINI-DISPLAY PORT (20 PIN) MALE, CONNECTOR B 1 - VGA (15 PIN; HIGH DENSITY D-SUB) FEMALE | CONVERTER, MINI DISPLAY PORT TO VGA VIDEO ADAPTER, SUPPORTS PC RESOLUTIONS UP TO 1920 X 1200 AND HDTV RESOLUTIONS UP TO 1080P, CONNECTOR A 1 - MINI-DISPLAY PORT (20 PIN) MALE, CONNECTOR B 1 - VGA (15 PIN; HIGH DENSITY D-SUB) FEMALE , CABLE LENGTH: 4 IN (102 MM), PRODUCT WEIGHT: 1.8 OZ (50 G), COLOR BLACK, ENCLOSURE TYPE PLASTIC. | PC | 0 | 0 | CONSUMABLES | C | PD | 5100 | ERSA | OTHERS |  |  |  | EX |  |  |  | URL NOT FOUND | [25 empty] | CLEANSED | CONVERTER | INTERFACE | TYPE | MINI DISPLAY PORT TO VGA VIDEO ADAPTER | DATA TRANSFER RATE |  | INTERFACE TYPE |  | ELECTRICAL RATING |  | ACCURACY |  | CONNECTION TYPE | A1-MINI-DISPLAY PORT (20 PIN) MALE,B 1-VGA (15 PIN,HIGH DENSITY D-SUB) FEMALE | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SUPPORTS PC RESOLUTIONS UP TO 1920 X 1200 AND HDTV RESOLUTIONS UP TO 1080P ,CABLE LENGTH:4 IN (102 MM),PRODUCT WEIGHT:1.8 OZ (50 G),COLOR BLACK,ENCLOSURE TYPE PLASTIC. | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 | NM TAKEN AS PER WEBSOURCE | PSR105978 | 105978 | PSR105978 | CONVERTER, PORT, RS232/RS422, LDM-35-P, | CONVERTER, PORT, RS232/RS422, LDM-35-P, ARTICLE NO. 11486, MAKER: BURR-BROWN | PC | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | https://br.omega.com/omegaFiles/das/pdf/LDM-35.pdf |  | BURR-BROWN | LDM-35-P | [20 empty] | 11486 |  | ENRICHED | CONVERTER | INTERFACE | TYPE | PORT | DATA TRANSFER RATE |  | INTERFACE TYPE |  | ELECTRICAL RATING | 500 V SURGE, 300 V CONTINUOUS | ACCURACY |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 0-70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI/IEEE C37.90.1-1989 | ADDITIONAL FEATURES EN | RS232/RS422 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR053831 | 053831 | PSR053831 | CONVERTER, POWER, 24-VOLT TO 12-VOLT, P/ | CONVERTER, POWER, 24-VOLT TO 12-VOLT, P/N 340-7161, CAB ARRANGEMENT; FOR CATERPILLAR FRONT END LOADER MODEL 950L SERIAL NO. LXX10396 | PC | 0 | 0 |  | A | PD | 3730 | ERSA | OTHERS | 340-7161 | 3000003 | CATERPILLAR | EX |  |  |  | https://parts.cat.com/en/catcorp/340-7161 |  | CATERPILLAR | 340-7161 | [12 empty] | FRONT END LOADER | 950L |  |  |  | LXX10396 |  |  |  |  | CLEANSED | CONVERTER | POWER | TYPE |  | POWER SUPPLY | 12-24 V | PT RATING |  | CT RATING |  | NUMBER OF PHASE |  | OUTPUT RATING |  | INTERFACE TYPE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAB ARRANGEMENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR017548 | 017548 | PSR017548 | CONVERTER, PS/2 MOUSE PROTOCOL TO SERIAL | CONVERTER, PS/2 MOUSE PROTOCOL TO SERIAL MOUSE PROTOCOL, P/N VIP-327-PS, MFR: VETRA SYSTEM CORPORATION | UT | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | http://www.vetra.com/327text.html |  | VETRA SYSTEM CORPORATION | VIP-327-PS | [22 empty] | ENRICHED | CONVERTER | INTERFACE | TYPE |  | DATA TRANSFER RATE |  | INTERFACE TYPE |  | ELECTRICAL RATING | 100 -240 VAC 47-63 HZ INPUT | ACCURACY |  | CONNECTION TYPE | 6 PIN | MOUNTING TYPE | WALL | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PS/2 MOUSE PROTOCOL TO SERIAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR013555 | 013555 | PSR013555 | CONVERTER, RTD, MODEL: VJR6-026-1AAU/BLANK, PLUG-IN TYPE, INPUT SIGNAL: THREE-WIRE RTD, MEASURING CURRENT: APPROX. 1 mA DC, MOUNTING AND APPEARANCE: MODIFIED POLYPHENYLENE OXIDE ( CASING ), MOUNTING METHOD: WALL, | CONVERTER, RTD, MODEL: VJR6-026-1AAU/BLANK, PLUG-IN TYPE, INPUT SIGNAL: THREE-WIRE RTD, MEASURING CURRENT: APPROX. 1 mA DC, MOUNTING AND APPEARANCE: MODIFIED POLYPHENYLENE OXIDE ( CASING ), MOUNTING METHOD: WALL, DIN RAIL CONNECTION METHOD: M3 SCREW TERMINALS, CURRENT SIGNAL: ( OUTPUT RANGE: 0~24 mA, SPAN: 1~24 mA DC, ZERO ELEVATION: 0~200% ); VOLTAGE SIGNAL: ( OUTPUT RANGE: -10~+10V DC, SPAN: 10 mV~20V, ZERO ELEVATION: -100~+200%, OPERATING TEMPERATURE RANGE: 0~50 DEG. C., INPUT VOLTAGE: 100~200V AC/DC, 50/60 Hz, MFR: YOKOGAWA | UT | 0 | 0 | CONSUMABLES | C | PD | 5100 | ERSA | OTHERS |  |  |  | EX |  |  | NATIONWARE MARKETING SERVICES, INC. | https://web-material3.yokogawa.com/GS77J01R06-01E.pdf |  | YOKOGAWA | VJR6-026-1AAU/BLANK | [6 empty] | NATIONWARE MARKETING SERVICES,INC. | [15 empty] | CLEANSED | CONVERTER | SIGNAL | TYPE | THREE-WIRE RTD,PLUG-IN | POWER SUPPLY | 100-200 VAC/DC,50/60 HZ | OUTPUT RATING | -10 TO +10 VDC,10 MV-20 V SPAN,0-24 MA,1-24 MADC SPAN | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE | M3 SCREW TERMINALS | MOUNTING TYPE | WALL,DIN RAIL | TEMPERATURE RATING | 0-50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MEASURING CURRENT:APPROX 1 MADC,MOUNTING AND APPEARANCE:MODIFIED POLYPHENYLENE OXIDE (CASING),CURRENT SIGNAL:ZERO ELEVATION:0-200 PCT,VOLTAGE SIGNAL:ZERO ELEVATION:-100 TO +200 PCT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR948208 | 948208 | PSR948208 | CONVERTER, RTD, POWER SUPPLY:24 VDC, INPUT, 4-20 mA DC OUTPUT: 3-WIRE SIGNAL, PER ATTACHED FW5-2X55No.17.5F NERIN DIAGRAM, INCLUDING USER REFERENCE OPERATION AND MAINTENANCE MANUAL IN ENGLISH LANGUAGE | CONVERTER, RTD, POWER SUPPLY:24 VDC, INPUT, 4-20 mA DC OUTPUT: 3-WIRE SIGNAL, PER ATTACHED FW5-2X55No.17.5F NERIN DIAGRAM, INCLUDING USER REFERENCE OPERATION AND MAINTENANCE MANUAL IN ENGLISH LANGUAGE | PC | 2 | 3 | CRITICAL | B | V1 | 5100 | ERSA | OTHERS |  |  |  | HB |  |  | APPLIED CONTROL SOLUTIONS & TECHNOLOGY (ACOSTEC), INC. | URL NOT FOUND |  | NERIN | [7 empty] | APPLIED CONTROL SOLUTIONS & TECHNOLOGY (ACOSTEC),INC. | [15 empty] | CLEANSED | CONVERTER | NO MODIFIER | TYPE | RTD | INPUT RATING | 24 VDC | OUTPUT RATING | 4-20 MADC | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OUTPUT:3-WIRE SIGNAL,PER ATTACHED FW5-2X55NO.17.5F DIAGRAM,INCLUDING USER REFERENCE OPERATION AND MAINTENANCE MANUAL IN ENGLISH LANGUAGE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR586767 | 586767 | PSR586767 | CONVERTER,DATA,TYPE LDM35-P | CONVERTER,DATA,TYPE LDM35-P | PC | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | https://www.dataforth.com/ldm35-p |  |  | LDM35-P | [22 empty] | CLEANSED | CONVERTER | SIGNAL | TYPE | DATA | POWER SUPPLY |  | OUTPUT RATING |  | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR028682 | 028682 | PSR028682 | CONVERTER,EMF,110V,50/60HZ,0-20VAC INPUT1-5VDC/4-20MA DC OUTPUTCONVERTER, VOLTAGE, YEW EMF AND RTD, MODEL STED-310PA'B INPUT SIGNAL;RTD INPUT, JIS PT 100/OHM, REF. LIT GS 184J1-E, 0 TO 200 DEG. C, POW | CONVERTER,EMF,110V,50/60HZ,0-20VAC INPUT1-5VDC/4-20MA DC OUTPUTCONVERTER, VOLTAGE, YEW EMF AND RTD, MODEL STED-310PA'B INPUT SIGNAL;RTD INPUT, JIS PT 100/OHM, REF. LIT GS 184J1-E, 0 TO 200 DEG. C, POW | PC | 0 | 0 | CONSUMABLES | C | PD | 5100 | ERSA | OTHERS |  |  |  | EX |  |  |  | URL NOT FOUND |  |  | STED-310PA'B | [22 empty] | CLEANSED | CONVERTER | VOLTAGE | TYPE | YEW EMF AND RTD | INPUT VOLTAGE | 110 V,0-20 VAC | OUTPUT VOLTAGE RATING |  | RATED POWER |  | COIL VOLTAGE |  | NUMBER OF OUTPUTS |  | FREQUENCY RATING | 50/60 HZ | COIL TYPE |  | DEGREE OF PROTECTION |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | JIS | ADDITIONAL FEATURES EN | PT 100/OHM,REF.LIT GS 184J1-E,TEMPERATURE RATING:0 TO 200 DEG C,POW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR541922 | 541922 | PSR541922 | CONVERTER,POTENTIOMETER,500 OHMS,AC100V, | CONVERTER,POTENTIOMETER,500 OHMS,AC100V,60HZ,DC4-20MA,W/SOCKET | PC | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | URL NOT FOUND | [25 empty] | CLEANSED | CONVERTER | NO MODIFIER | TYPE | POTENTIOMETER | INPUT RATING | 100 VAC | OUTPUT RATING | 4-20 MADC | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 500 OHMS,FREQUENCY RATING:60 HZ,C/W SOCKET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR028697 | 028697 | PSR028697 | CONVERTER,PULSE-TO-CURRENT,AC110V,YEWCON | CONVERTER,PULSE-TO-CURRENT,AC110V,YEWCONVERTER, PULSE TO CURRENT, TYPE 4958 (BCS-FD) 2070/Z, YOKOGAWA. | PC | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | URL NOT FOUND |  | YOKOGAWA | 4958 (BCS-FD) 2070/Z | [22 empty] | CLEANSED | CONVERTER | SIGNAL | TYPE | PULSE-TO-CURRENT | POWER SUPPLY | 110 VAC | OUTPUT RATING |  | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR028637 | 028637 | PSR028637 | CONVERTER,SIGNAL,MAGNETIC FLOW,100M3/H,A | CONVERTER,SIGNAL,MAGNETIC FLOW,100M3/H,AC110V,50/60HZ,5.53M/S,DC4~20MA OUTPUTCONVERTER, MAGNETIC FLOW, FMA11-PSAA/PT. | PC | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | URL NOT FOUND |  |  | FMA11-PSAA/PT | [22 empty] | CLEANSED | CONVERTER | SIGNAL | TYPE | MAGNETIC FLOW | POWER SUPPLY | 110 VAC,50/60 HZ | OUTPUT RATING | 4-20 MADC | SIZE |  | INTERFACE TYPE |  | NUMBER OF CHANNELS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLOW RATE:100 M3/H,5.53 M/S | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR028662 | 028662 | PSR028662 | CONVERTER,TC,0-500 DEG.C,TYPE KCONVERTER | CONVERTER,TC,0-500 DEG.C,TYPE KCONVERTER, TC, MODEL : STED-210*B, SUPPLY VOLTAGE : 80 TO 130VAC;47-63HZ/20/130VDC, INPUT = 0 TO 500 DEG. C, TYPE K. | PC | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | https://web-material3.yokogawa.com/GS01B04J01-02E.pdf |  |  | STED-210*B | [22 empty] | ENRICHED | CONVERTER | NO MODIFIER | TYPE | TEMPERATURE | INPUT RATING | 80-130 VAC,20/130 VDC,47-63 HZ | OUTPUT RATING | 4-20 MADC | SIZE |  | MOUNTING TYPE | INDOOR RACK | TEMPERATURE RATING | 0-500 DEG.C | HAZARD CLASS |  | CERTIFICATION/STANDARD | JIS | ADDITIONAL FEATURES EN | TYPE K | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR121380 | 121380 | PSR121380 | CONVERTER,V/I EM-671,CONVEYOR WEIGHERCON | CONVERTER,V/I EM-671,CONVEYOR WEIGHERCONVERTER, VOLTAGE/CURRENT, EM-671, LOAD CELL INPUT = 100VAC;FOR CONVEYOR WEIGHER. | PC | 0 | 0 |  | C | PD | 5700 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | URL NOT FOUND |  |  | EM-671 | [12 empty] | CONVEYOR WEIGHER. | [9 empty] | CLEANSED | CONVERTER | VOLTAGE | TYPE | CONVEYOR WEIGHER,CURRENT | INPUT VOLTAGE | 100 VAC | OUTPUT VOLTAGE RATING |  | RATED POWER |  | COIL VOLTAGE |  | NUMBER OF OUTPUTS |  | FREQUENCY RATING |  | COIL TYPE |  | DEGREE OF PROTECTION |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR378190 | 378190 | PSR378190 | CONVERTER,WATT,TYPE GSTD-13W-A5VIF-6A411 | CONVERTER,WATT,TYPE GSTD-13W-A5VIF-6A4110/220V, 5A, 60HZ | PC | 0 | 0 |  | C | PD | 5100 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | URL NOT FOUND |  |  | GSTD-13W-A5VIF-6A4 | [22 empty] | CLEANSED | CONVERTER | POWER | TYPE |  | POWER SUPPLY | 110/220 V,5 A,60 HZ | PT RATING |  | CT RATING |  | NUMBER OF PHASE |  | OUTPUT RATING |  | INTERFACE TYPE |  | CONNECTION TYPE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR405569 | 405569 | PSR405569 | CORD, REMA SEAL, P/N 510 1612, TEMPORARY | CORD, REMA SEAL, P/N 510 1612, TEMPORARY REPAIR FOR TREAD PUNCTURES OF TUBELESS STEEL BELTED RADIAL AND BIAS TIRES, 45 CORDS PER BOX | BX | 0 | 0 |  | C | PD | 5920 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | URL NOT FOUND |  |  | 510 1612 | [12 empty] | TREAD PUNCTURES OF TUBELESS STEEL BELTED RADIAL AND BIAS TIRES,45 CORDS PER BOX | [9 empty] | CLEANSED | CORD | NO MODIFIER | TYPE | REMA SEAL | CONSTRUCTION |  | DIAMETER |  | LENGTH |  | MATERIAL |  | COLOUR |  | TENSILE STRENGTH |  | LOAD LIMIT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TEMPORARY REPAIR FOR TREAD PUNCTURES OF TUBELESS STEEL BELTED RADIAL AND BIAS TIRES,PACKAGING QUANTITY:(45) CORDS PER BOX | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR012604 | 012604 | PSR012604 | CORE, EMI FILTER, SFC-6, P/N 075-08032-03, FOR UV-VIS SPECTROPHOTOMETER, MODEL: UV-1800, MFR: SHIMADZU | CORE, EMI FILTER, SFC-6, P/N 075-08032-03, FOR UV-VIS SPECTROPHOTOMETER, MODEL: UV-1800, MFR: SHIMADZU | PC | 0 | 0 | CRITICAL | B | PD | 1600 | ERSA | OTHERS |  |  |  | EX |  |  |  | URL NOT FOUND |  | SHIMADZU | 075-08032-03 | SHIMADZU | SFC-6 | [10 empty] | UV-VIS SPECTROPHOTOMETER | UV-1800 | [8 empty] | CLEANSED | CORE | NO MODIFIER | TYPE | FERRITE,EMI FILTER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR043798 | 043798 | PSR043798 | COUNTER ADDER, PARTICLE, P/N I COUNT; SUPPLIER: CAVA HYDRAULICS & AUTO ELECTRICAL | COUNTER ADDER, PARTICLE, P/N I COUNT; SUPPLIER: CAVA HYDRAULICS & AUTO ELECTRICAL | UT | 0 | 0 | CONSUMABLES | C | PD | 5955 | ERSA | OTHERS |  |  |  | EX |  |  |  | URL NOT FOUND | [9 empty] | CAVA HYDRAULICS & AUTO ELECTRICAL | [15 empty] | CLEANSED | COUNTER | NO MODIFIER | TYPE | ADDER,PARTICLE | COUNTING RANGE |  | DISPLAY TYPE |  | POWER SUPPLY |  | MATERIAL |  | RESET TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | P/N:I COUNT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 | NM TAKEN AS PER WEBSOURCE | PSR935665 | 935665 | PSR935665 | COUPLER ASSEMBLY, PRESSURE GAUGE, P/N 6V-4143, FUEL & ENGINE OIL SYSTEM; FOR CATERPILLAR MACHINES TECHNICAL ANALYSIS "TA II" TOOL | COUPLER ASSEMBLY, PRESSURE GAUGE, P/N 6V-4143, FUEL & ENGINE OIL SYSTEM; FOR CATERPILLAR MACHINES TECHNICAL ANALYSIS "TA II" TOOL | PC | 0 | 0 | CONSUMABLES | C | PD | 3730 | ERSA | OTHERS | 6V-4143 | 0003000003 | CATERPILLAR | EX |  |  |  | https://parts.cat.com/en/catcorp/6V-4143 |  | CATERPILLAR | 6V-4143 | [12 empty] | MACHINES TECHNICAL ANALYSIS "TA II" TOOL | [9 empty] | ENRICHED | COUPLING | QUICK CONNECT | TYPE | PRESSURE GAUGE | NOMINAL SIZE | 1/8 IN | END CONNECTION | FNPT | MATERIAL | PLATED STEEL | LENGTH | 44 MM | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY,FOR FUEL & ENGINE OIL SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR042143 | 042143 | PSR042143 | PSRLT-10.88-MN-CLAY, LOOSE OIL ABSORBENT, UNIVERSAL GRANULAR, BRAND: QUICKSORB OIL-DRI, ABSORBS 3GAL., 25LBS. BAG | PSRLT-10.88-MN-CLAY, LOOSE OIL ABSORBENT, UNIVERSAL GRANULAR, BRAND: QUICKSORB OIL-DRI, ABSORBS 3GAL., 25LBS. BAG | BG | 140 | 250 | CONSUMABLES | B | V1 | 4090 | ERSA | OTHERS |  |  |  | HB |  |  | HERCO TRADING INC. | URL NOT FOUND | [9 empty] | QUICKSORB OIL-DRI |  | HERCO TRADING INC. | [13 empty] | CLEANSED | ABSORBENT | MAT | TYPE | LOOSE OIL,CLAY,UNIVERSAL GRANULAR | PACKAGE QUANTITY |  | SIZE |  | ABSORBING CAPACITY | 3 GAL | MEDIA FOR WHICH DESIGNED |  | MATERIAL |  | PACKAGE TYPE | 25 LBS BAG | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PSRLT-10.88-MN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR053626 | 053626 | PSR053626 | PSRLT-14.64-MN-COATING, EPOXY NOVOLAC, RESIN COATING, 100% VOLUME OF SOLIDS, BRAND: EPOXIGARD™ HC (HIGH CHEMICAL) RESISTANT COATING, CONSISTS OF PART A AND PART B (2:1 RATIO) MAKER: KOCK KNIGHT LLC | PSRLT-14.64-MN-COATING, EPOXY NOVOLAC, RESIN COATING, 100% VOLUME OF SOLIDS, BRAND: EPOXIGARD™ HC (HIGH CHEMICAL) RESISTANT COATING, CONSISTS OF PART A AND PART B (2:1 RATIO) MAKER: KOCK KNIGHT LLC | KG | 1000 | 2000 | CONSUMABLES | B | V1 | 4065 | ERSA | OTHERS |  |  |  | HB |  |  | KOCH KNIGHT LLC | URL NOT FOUND |  | KOCK KNIGHT LLC | [7 empty] | EPOXIGARD |  | KOCH KNIGHT LLC | [13 empty] | CLEANSED | COMPOUND | NO MODIFIER | TYPE | RESIN COATING,EPOXY NOVOLAC,HIGH CHEMICAL RESISTANT COATING | GRADE |  | CONTAINER TYPE |  | CONTAINER SIZE |  | FORM |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLUME OF SOLIDS:100 PCT ,HC (HIGH CHEMICAL) RESISTANT COATING,CONSISTS OF PART A AND PART B (2:1 RATIO),PSRLT-14.64-MN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR053741 | 053741 | PSR053741 | PSRLT-2.58-MN-COUPLING, PIPE, P/N 6J-3958, FRONT LUBRICATION LINES GROUP; FOR CATERPILLAR FRONT END LOADER MODEL 950L SERIAL NO. LXX10396 | COUPLING, PIPE, P/N 6J-3958, FRONT LUBRICATION LINES GROUP; FOR CATERPILLAR FRONT END LOADER MODEL 950L SERIAL NO. LXX10396 | PC | 0 | 0 | CONSUMABLES | C | PD | 3730 | ERSA | OTHERS | 6J-3958 | 0003000003 | CATERPILLAR | EX |  |  |  | https://parts.cat.com/en/catcorp/6J-3958 | https://spare.avspart.com/caterpillar/coupling/6j3958/ | CATERPILLAR | 6J-3958 | [12 empty] | FRONT END LOADER | 950L |  |  |  | LXX10396 |  |  |  |  | ENRICHED | COUPLING | PIPE | TYPE |  | NOMINAL SIZE | 1/8 IN | END CONNECTION | FNPT | PRESSURE RATING |  | MATERIAL | PLATED STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FRONT LUBRICATION LINES GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR028583 | 028583 | PSR028583 | PSRLT-3.17-MN-CONNECTOR, BUS, SIMATIC DP, P/N 6ES7972-0BA52-0XA0, IPCD TECHOLOGY FAST CONNECT, WITHOUT PG SOCKET 15.8 X 59 X 35.6 MM (WXHXD), FOR PROFIBUS UP TO 12 MBIT/S 90 DEGREE ANGLE CABLE OUTLET; BRAND: SIEMENS | PSRLT-3.17-MN-CONNECTOR, BUS, SIMATIC DP, P/N 6ES7972-0BA52-0XA0, IPCD TECHOLOGY FAST CONNECT, WITHOUT PG SOCKET 15.8 X 59 X 35.6 MM (WXHXD), FOR PROFIBUS UP TO 12 MBIT/S 90 DEGREE ANGLE CABLE OUTLET; BRAND: SIEMENS | UT | 1 | 2 | CONSUMABLES | B | V1 | 5100 | ERSA | OTHERS | 6ES7972-0BA52-0XA0 | 0003000032 | SIEMENS | HB |  |  | WATCHDOG AUTOMATION SALES & SERVICES | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7972-0BA52-0XA0 | https://docs.rs-online.com/17ff/A700000006981399.pdf | SIEMENS | 6ES7972-0BA52-0XA0 | [6 empty] | SIEMENS |  | WATCHDOG AUTOMATION SALES & SERVICES |  |  |  | PROFIBUS UP TO 12 MBIT/S 90 DEGREE ANGLE CABLE OUTLET | [9 empty] | ENRICHED | CONNECTOR | COMMUNICATION | TYPE | BUS,SIMATIC DP | CONNECTION TYPE |  | NUMBER OF PINS | 9 | INTERFACE TYPE |  | ELECTRICAL RATING |  | CONDUCTOR SIZE |  | MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IPCD TECHOLOGY FAST CONNECT,W/O PG SOCKET WD 15.8 X HT 59 X DP 35.6 MM,PSRLT-3.17-MN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR040861 | 040861 | PSR040861 | PSRLT-4.44-MN-CONNECTOR, ELBOW, 1.4571 : AISI 316TI, TUBE O.D. 6 MM, CONNECTOR BSP1/8 MALE, DUNLOP HIFLEX 37-RUCL-06R, OUTOTEC MATERIAL NO.: 518441, POSITION NO.: 26, REFERENCE DWG NO.: 10482364; FOR AUTOMATIC LUBRICATION SYSTEM | PSRLT-4.44-MN-CONNECTOR, ELBOW, 1.4571 : AISI 316TI, TUBE O.D. 6 MM, CONNECTOR BSP1/8 MALE, DUNLOP HIFLEX 37-RUCL-06R, OUTOTEC MATERIAL NO.: 518441, POSITION NO.: 26, REFERENCE DWG NO.: 10482364; FOR AUTOMATIC LUBRICATION SYSTEM , TWIN M18 ANODE CASTING; MFR: OUTOTEC | PC | 2 | 4 | CONSUMABLES | B | V1 | 2200 | ERSA | OTHERS |  |  |  | HB |  |  |  | https://www.ahlsell.fi/34/tyokalut-ja-teollisuustuotteet/hydrauliikka/teollisuushydrauliikka/hydrauliikkatarvikkeet/t24004235/# |  | OUTOTEC | 518441 | DUNLOP HIFLEX | 37-RUCL-06R | [10 empty] | AUTOMATIC LUBRICATION SYSTEM |  |  | 10482364,POS 26 | [6 empty] | CLEANSED | ELBOW | PIPE TO TUBE | TYPE | CONNECTOR | ANGLE |  | NOMINAL SIZE 1 | 1/8 IN | NOMINAL SIZE 2 | 6 MM | END CONNECTION 1 | MBSP | END CONNECTION 2 |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL GRADE 1.4571/AISI 316TI | MATERIAL SPECIFICATION |  | COATING/FINISH |  | SCHEDULE/WALL THICKNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PSRLT-4.44-MN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR036376 | 036376 | PSR036376 | PSRLT-5.05-MN-CONTROLLER, DIFFERENTAIL PRESSURE, 0 ~ 0.6 MPA, CODE: CWK-11; POSITION NO.: 7; FOR FSF EHXAUST FAN, LUBRICATION SYSTEM, MODEL: XYZ-6G-T2, MFR: CHONGQING FEIXIONG LUBRICATION HYDRAULIC EQUIPMENT MANUFACTURE CO.,LTD. | PSRLT-5.05-MN-CONTROLLER, DIFFERENTAIL PRESSURE, 0 ~ 0.6 MPA, CODE: CWK-11; POSITION NO.: 7; FOR FSF EHXAUST FAN, LUBRICATION SYSTEM, MODEL: XYZ-6G-T2, MFR: CHONGQING FEIXIONG LUBRICATION HYDRAULIC EQUIPMENT MANUFACTURE CO.,LTD. | PC | 1 | 1 | CONSUMABLES | B | V1 | 5100 | ERSA | OTHERS |  |  |  | HB |  |  | POWER KEY ENTERPRISE LIMITED | https://www.yoycart.com/Product/562657020493/ |  | CHONGQING FEIXIONG LUBRICATION HYDRAULIC EQUIPMENT MANUFACTURE CO.,LTD. | CWK-11 | [6 empty] | POWER KEY ENTERPRISE LIMITED | [5 empty] | FSF EXHAUST FAN,LUBRICATION SYSTEM | XYZ-6G-T2 |  | POS 7 | [6 empty] | CLEANSED | CONTROLLER | PRESSURE | TYPE | DIFFERENTAIL | PRESSURE RANGE | 0-0.6 MPA | ACCURACY |  | OUTPUT SIGNAL |  | POWER SUPPLY |  | DISPLAY TYPE |  | RESOLUTION |  | MOUNTING TYPE |  | CONNECTION TYPE |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PSRLT-5.05-MN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR036375 | 036375 | PSR036375 | PSRLT-5.05-MN-CONTROLLER, DIFFERENTAIL PRESSURE, NPT1/4, CODE: POBA 0-1.6; POSITION NO.: 5; FOR FSF EXHAUST FAN, LUBRICATION SYSTEM, MODEL: XYZ-6G-T2, MFR: CHONGQING FEIXIONG LUBRICATION HYDRAULIC EQUIPMENT MANUFACTURE CO.,LTD. | PSRLT-5.05-MN-CONTROLLER, DIFFERENTAIL PRESSURE, NPT1/4, CODE: POBA 0-1.6; POSITION NO.: 5; FOR FSF EXHAUST FAN, LUBRICATION SYSTEM, MODEL: XYZ-6G-T2, MFR: CHONGQING FEIXIONG LUBRICATION HYDRAULIC EQUIPMENT MANUFACTURE CO.,LTD. | PC | 1 | 1 | CONSUMABLES | B | V1 | 5100 | ERSA | OTHERS |  |  |  | HB |  |  | POWER KEY ENTERPRISE LIMITED | URL NOT FOUND |  | CHONGQING FEIXIONG LUBRICATION HYDRAULIC EQUIPMENT MANUFACTURE CO.,LTD. | POBA 0-1.6 | [6 empty] | POWER KEY ENTERPRISE LIMITED | [5 empty] | FSF EXHAUST FAN,LUBRICATION SYSTEM | XYZ-6G-T2 |  | POS 5 | [6 empty] | CLEANSED | CONTROLLER | PRESSURE | TYPE | DIFFERENTAIL | PRESSURE RANGE |  | ACCURACY |  | OUTPUT SIGNAL |  | POWER SUPPLY |  | DISPLAY TYPE |  | RESOLUTION |  | MOUNTING TYPE |  | CONNECTION TYPE | 1/4 IN NPT | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PSRLT-5.05-MN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR042451 | 042451 | PSR042451 | PSRLT-5.87-MN-COUPLING, 1/2 MOTOR 48MM, P/N ND108C; FOR MILL HANDLER; MFR: CAVA HYDRAULICS AND AUTO ELECTRICAL | PSRLT-5.87-MN-COUPLING, 1/2 MOTOR 48MM, P/N ND108C; FOR MILL HANDLER; MFR: CAVA HYDRAULICS AND AUTO ELECTRICAL | PC | 1 | 1 | CONSUMABLES | B | V1 | 5920 | ERSA | OTHERS |  |  |  | HB |  |  |  | https://www.pearson-hyds.co.uk/Products/half-coupling-motor-side/DC-ND108C |  | CAVA HYDRAULICS AND AUTO ELECTRICAL | ND108C | [22 empty] | CLEANSED | COUPLING | SHAFT HALF | TYPE | MOTOR SIDE | BORE SIZE | 1/2 IN | LENGTH | 48 MM | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PSRLT-5.87-MN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR050856 | 050856 | PSR050856 | PSRLT-6.18-MN-CARD, EXPANSION, SYSTEM, P/N 6ES7 653-2CG00-0XB0, 2k+ PO; MFR: SIEMENS | PSRLT-6.18-MN-CARD, EXPANSION, SYSTEM, P/N 6ES7 653-2CG00-0XB0, 2k+ PO; MFR: SIEMENS | UT | 3 | 4 | CONSUMABLES | A | ND | 5100 | UNBW | CAPITAL |  |  |  | EX |  |  | SIEMENS INC. | https://mall.industry.siemens.com/mall/en/kr/Catalog/Product/6ES7653-2CG00-0XB0 |  | SIEMENS | 6ES7 653-2CG00-0XB0 | [6 empty] | SIEMENS INC. | [15 empty] | CLEANSED | CARD | MEMORY | TYPE | SYSTEM EXPANSION | MEMORY |  | POWER SUPPLY |  | READ/WRITING SPEED |  | SIZE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2K+ PO,PSRLT-6.18-MN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR035858 | 035858 | PSR035858 | PSRLT-8.17-MN-COUPLING, SPLIT CAST, LINATEX 801, P/N 44009HAA5038EAEA, 125 MM NB, PRESSURE RATED: 700 KPA, REUSABLE; MFR: WEIR MINERALS | PSRLT-8.17-MN-COUPLING, SPLIT CAST, LINATEX 801, P/N 44009HAA5038EAEA, 125 MM NB, PRESSURE RATED: 700 KPA, REUSABLE; MFR: WEIR MINERALS | AY | 6 | 10 | CONSUMABLES | B | V1 | 5920 | ERSA | OTHERS |  |  |  | HB |  |  | WEIR MINERALS AUSTRALIA LTD. | URL NOT FOUND |  | WEIR MINERALS | 44009HAA5038EAEA | [6 empty] | LINATEX | 801 | WEIR MINERALS AUSTRALIA LTD. | [13 empty] | CLEANSED | COUPLING | SHAFT HALF | TYPE | SPLIT CAST | BORE SIZE | 125 MM | LENGTH |  | TORQUE RATING |  | SPEED RATING |  | HUB MATERIAL |  | KEYWAY SIZE |  | FLANGE THICKNESS |  | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLTS |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRESSURE RATED:700 KPA,REUSABLE,PSRLT-8.17-MN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR900125 | 900125 | PSR900125 | PSRLT-8.33-MN-COOLING ELEMENT, VERTICAL, NO. 10, FSFE FRONT/BACK WALL, REFERENCE OKO DWG. NO. 636 S40 Q4 224;; INCLUDES TESTING REQUIREMENTS: 1. MATERIAL-UNS C81100, 2. TESTING TO BE DONE ON COMPLETE CAST (CONDUCTIVITY TEST, BALL | PSRLT-8.33-MN-COOLING ELEMENT, VERTICAL, NO. 10, FSFE FRONT/BACK WALL, REFERENCE OKO DWG. NO. 636 S40 Q4 224;; INCLUDES TESTING REQUIREMENTS: 1. MATERIAL-UNS C81100, 2. TESTING TO BE DONE ON COMPLETE CAST (CONDUCTIVITY TEST, BALL TEST, DIMENSION CHECK , PRESSURE TEST FOR 2200 KPA FOR 30 MINUTES BEFORE AND AFTER CASTING) 3. PIPES TO BE HYDROSTATOCALLY PRESSURE TESTED (@ 2200 KPA FOR 30 MINUTES), 4. VISUAL AND DYE PENETRANT INSPECTION ON MACHINED SURFACES, 5. TEST CERTIFICATES ARE TO BE EMAILED TO PASAR BEFORE DISPATCH OF ITEMS; MFR: OUTUKUMPU OY, FINLAND. | PC | 1 | 1 | CRITICAL | A | PD | 5920 | UNBW | CAPITAL |  |  |  | EX |  |  |  | URL NOT FOUND |  | OUTUKUMPU OY,FINLAND. |  | OKO | [14 empty] | 636 S40 Q4 224 | [6 empty] | CLEANSED | ELEMENT | NO MODIFIER | TYPE | COOLING,VERTICAL | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO:10,FSFE FRONT/BACK WALL,INCLUDES TESTING REQUIREMENTS:1. MATERIAL-UNS C81100,2. TESTING TO BE DONE ON COMPLETE CAST (CONDUCTIVITY TEST,BALL TEST,DIMENSION CHECK ,PRESSURE TEST FOR 2200 KPA FOR 30 MIN BEFORE AND AFTER CASTING) 3. PIPES TO BE HYDROSTATOCALLY PRESSURE TESTED (AT 2200 KPA FOR 30 MINUTES),4. VISUAL AND DYE PENETRANT INSPECTION ON MACHINED SURFACES,5. TEST CERTIFICATES ARE TO BE EMAILED TO PASAR BEFORE DISPATCH OF ITEMS,PSRLT-8.33-MN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 |  | PSR057365 | 057365 | PSR057365 | VALVE SYSTEM, MODEL: ASXpress for S10/AS93+, P/N N0777791, SUPPLIER: ITS SCIENCE PHILS. INC. | VALVE SYSTEM, MODEL: ASXpress for S10/AS93+, P/N N0777791, SUPPLIER: ITS SCIENCE PHILS. INC. | UT | 0 | 0 | CONSUMABLES | C | ND | 2240 | UNBW | CAPITAL |  |  |  | EX |  |  |  | https://uvison.com/chromatography-supplies/perkinelmer/perkinelmer-accessories/perkinelmer-asxpress-plus-aqueous-sample-injector-for-as-s10-93-n0777791 | https://pepolska.pl/wp-content/uploads/2020/04/Katalog-akcesori%C3%B3w-rozpylacze-i-mikroautosamplery-CETAC.pdf | PERKIN ELMER | N0777791 | PERKIN ELMER | ASXPRESS PLUS |  |  |  |  | ITS SCIENCE PHILS. INC. | [6 empty] | S10/AS93+ | [8 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | SAMPLE INJECTOR | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 | NM TAKEN AS PER WEBSOURCE | PSR029576 | 029576 | PSR029576 | VALVE SYSTEM, MODEL: HF04-4-40, MATERIAL | VALVE SYSTEM, MODEL: HF04-4-40, MATERIAL NO: R480725530; MFR: REXROTH | AY | 0 | 0 |  | C | PD | 2240 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | https://airlinemedia.airlinehyd.com/Literature/Manufacturer_Catalogs/Bosch%20Rexroth/SC-300.15-HF_Valves.pdf |  | REXROTH | R480725530 |  | HF04-4-40 | [20 empty] | CLEANSED | VALVE | PLUG | TYPE | PNEUMATIC DIRECTIONAL CONTROL | NOMINAL SIZE |  | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | ALUMINUM | DESIGN PRESSURE |  | TEMPERATURE RATING | -5 TO 50 DEG C | OPERATED |  | TRIM |  | BONNET JOINT |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 09-03-2023 | NM TAKEN AS PER WEBSOURCE | PSR029575 | 029575 | PSR029575 | VALVE SYSTEM, MODEL: HF04-4-40, MATERIAL | VALVE SYSTEM, MODEL: HF04-4-40, MATERIAL NO: R480725531; MFR: REXROTH | AY | 0 | 0 |  | C | PD | 2240 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | https://airlinemedia.airlinehyd.com/Literature/Manufacturer_Catalogs/Bosch%20Rexroth/SC-300.15-HF_Valves.pdf |  | REXROTH | R480725531 |  | HF04-4-40 | [20 empty] | CLEANSED | VALVE | PLUG | TYPE | PNEUMATIC DIRECTIONAL CONTROL | NOMINAL SIZE |  | END CONNECTION |  | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | ALUMINUM | DESIGN PRESSURE |  | TEMPERATURE RATING | -5 TO 50 DEG C | OPERATED |  | TRIM |  | BONNET JOINT |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 10-03-2023 |  | PSR953616 | 953616 | PSR953616 | VALVE, DIRECTIONAL, OUTOTEC P/N: 513533, MODEL: VEI-8A-2B-16-NC + S8-H 24VDC + OD.02.11-01.30-OC, MFR: EATON VICKERS, FOR DORE PLANT SLIME FEEDING BIN | VALVE, DIRECTIONAL, OUTOTEC P/N: 513533, MODEL: VEI-8A-2B-16-NC + S8-H 24VDC + OD.02.11-01.30-OC, MFR: EATON VICKERS, FOR DORE PLANT SLIME FEEDING BIN | PC | 0 | 0 | CRITICAL | B | PD | 2240 | ERSA | OTHER | 513533 | 3000362 | EATON VICKERS | EX |  |  |  | URL NOT FOUND |  | EATON VICKERS | VEI-8A-2B-16-NC + S8-H 24VDC + OD.02.11-01.30-OC | OUTOTEC | 513533 | [20 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | DIRECTIONAL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 10-03-2023 |  | PSR106184 | 106184 | PSR106184 | VALVE, DIRECTIONAL, PART NO. SD4GS-ACB-0 | VALVE, DIRECTIONAL, PART NO. SD4GS-ACB-01B-110AZ-14, MAKER: SUMITOMO | PC | 0 | 0 |  | C | PD | 2240 | ERSA | OTHERS | N/A | N/A | N/A | EX |  |  |  | URL NOT FOUND |  | SUMITOMO | SD4GS-ACB-01B-110AZ-14 | [22 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | DIRECTIONAL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NGB | NEN | OK | 13-02-2023 | 10-03-2023 |  | PSR047297 | 047297 | PSR047297 | VALVE, PNEUMATIC, TYPE: GTD-63, AIR FEED PRESSURE: 0.3~0.7 MPA, 18.3~42.8 N/M; MFR: SHANGHAI OR EQUIVALENT | VALVE, PNEUMATIC, TYPE: GTD-63, AIR FEED PRESSURE: 0.3~0.7 MPA, 18.3~42.8 N/M; MFR: SHANGHAI OR EQUIVALENT | PC | 0 | 0 | CONSUMABLES | B | PD | 2240 | ERSA | OTHERS |  |  |  | EX |  |  | GENERAL EXPORTATION (H.K.) CO., LTD. | URL Not Found |  | SHANGHAI | GTD-63 | [6 empty] | GENERAL EXPORTATION (H.K.) CO.,LTD. | [15 empty] | CLEANSED | VALVE | NO MODIFIER | TYPE | PNEUMATIC | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING | 0.3-0.7 MPA AIR FEED | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TORQUE RATING:18.3-42.8 N/M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | PRODUCTION COMPLETED