## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | STOCKNO | SN | SN DESC | DESCRIPTION | LONG DESCRIPTION | UM | MINQTY | MAXQTY | ITEM TYPE | PLANNING METHOD | INVENTORY TYPE | BI CODE | AVG COST | SAP MRP TYPE | SAP MATERIAL GROUP | SAP MATERIAL TYPE | SAP INVENTORY TYPE | SAP OEM | SAP PN | SAP MFG NUMBER | SAP MFG NAME | PASAR OEM | PASAR PN | SAP PDT | LOT SIZE | PASAR MFG NAME | SAP UOM | SAP BI CODE | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | ART / Article Number | MFG Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 | SUITABLE NM NOT FOUND | PSR015973 | 015973 | PSR015973 | BADGE, NAME, CUSTOMIZED WITH NAME, RECTA | BADGE, NAME, CUSTOMIZED WITH NAME, RECTANGLE, SIZE: 8cm x 3cm, MATERIAL: ACRYLIC/METAL | BADGE, NAME, CUSTOMIZED WITH NAME, RECTANGLE, SIZE: 8cm x 3cm, MATERIAL: ACRYLIC/METAL | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 20 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | [62 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR944139 | 944139 | PSR944139 | BAG, FILTER, GREEN, 1255 X 465 MM, P/N K | BAG, FILTER, GREEN, 1255 X 465 MM, P/N KO100109; FOR KOKS VACUUM MODEL MEGAVAC LOADER PED8000/316 SERIAL NO. 218.285 WITH ENGINE MODEL C9 ACERT 3 (328bhp) | BAG, FILTER, GREEN, 1255 X 465 MM, P/N KO100109; FOR KOKS VACUUM MODEL MEGAVAC LOADER PED8000/316 SERIAL NO. 218.285 WITH ENGINE MODEL C9 ACERT 3 (328bhp) | PC | 2 | 3 | STOCK | Min-Max | CONSUMABLES | A | 0 | V1 | 4055 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | HB | N/A | PC |  |  | https://www.koksparts.com/en/ko100109-filter-bags-1255-x-465mm-black.html |  | KOKS | KO100109 | [12 empty] | VACUUM,MEGAVAC LOADER C/W ENGINE | PED8000/316,C9 ACERT 3 (328BHP) |  |  |  | 218.285 |  |  |  |  | CLEANSED | FILTER | BAG | TYPE |  | FILTER RATING |  | MATERIAL |  | FLOW RATING |  | SIZE | 1.255 X 465 MM | MEDIA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:GREEN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR943558 | 943558 | PSR943558 | BAG, FILTER, PTFE COATED NOMEX FELT, 168 | BAG, FILTER, PTFE COATED NOMEX FELT, 168 MM OUTSIDE DIAMETER X 1855 MM LENGTH, WITH 2 MM DIAMETER STAINLESS WIRE-GROOVED SNAP BAND, FOR TROF RS BIN BAG FILTER, SEWN IN BOTTOM PART (CLOSED) | BAG, FILTER, PTFE COATED NOMEX FELT, 168 MM OUTSIDE DIAMETER X 1855 MM LENGTH, WITH 2 MM DIAMETER STAINLESS WIRE-GROOVED SNAP BAND, FOR TROF RS BIN BAG FILTER, SEWN IN BOTTOM PART (CLOSED) | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | FILTER | BAG | TYPE |  | FILTER RATING |  | MATERIAL | PTFE COATED NOMEX FELT | FLOW RATING |  | SIZE | OD 168 MM X LG 1.855 M | MEDIA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 2 MM DIAMETER STAINLESS WIRE-GROOVED SNAP BAND,FOR TROF RS BIN BAG FILTER,SEWN IN BOTTOM PART (CLOSED) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR954720 | 954720 | PSR954720 | BAR, IMPACT, IB4 IMPACT BAR, LENGTH: 4FT | BAR, IMPACT, IB4 IMPACT BAR, LENGTH: 4FT, FOR RDRXL-42-435-DRX , WITH IBBK IMPACT BAR BOLT, MFR: FLEXCO | BAR, IMPACT, IB4 IMPACT BAR, LENGTH: 4FT, FOR RDRXL-42-435-DRX , WITH IBBK IMPACT BAR BOLT, MFR: FLEXCO | PC | 8 | 12 | STOCK | Min-Max | CRITICAL | B | 0 | V1 | 2600 | ERSA | OTHER | N | N/A | N/A | N/A | Y | DRXD-54-535-DRX | 90 | HB | FLEXCO | PC | B |  | URL NOT FOUND |  | FLEXCO | [14 empty] | RDRXL-42-435-DRX | [8 empty] | CLEANSED | BAR | NO MODIFIER | TYPE | IB4 IMPACT | DIMENSIONS | 4 FT | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W IBBK IMPACT BAR BOLT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR042184 | 042184 | PSR042184 | BATTERY, LEAD ACID, RECHARGEABLE, 12.0 V | BATTERY, LEAD ACID, RECHARGEABLE, 12.0 V, 10 AH, 20 HR, SEALED TYPE, 97 MM X 92 MM X 150 MM SIZE. | BATTERY, LEAD ACID, RECHARGEABLE, 12.0 V, 10 AH, 20 HR, SEALED TYPE, 97 MM X 92 MM X 150 MM SIZE. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | BATTERY | RECHARGEABLE | TYPE | LEAD ACID,SEALED | VOLTAGE RATING | 12 V | SIZE DESIGNATION |  | CAPACITY | 10 AH | CHEMICAL COMPOSITION |  | MATERIAL |  | TERMINAL TYPE |  | SIZE | 97 X 92 X 150 MM | RECHARGEABLE TIMING | 20 HR | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR522045 | 522045 | PSR522045 | BATTERY, LITHIUM, TIMEKEEPER, TYPE: M4T3 | BATTERY, LITHIUM, TIMEKEEPER, TYPE: M4T32-BR12SH6, SNAPHAT, 2.8 - 3VDC, 120mAh, OPERATING TEMPERATURE: -40°C ~ 85°C | BATTERY, LITHIUM, TIMEKEEPER, TYPE: M4T32-BR12SH6, SNAPHAT, 2.8 - 3VDC, 120mAh, OPERATING TEMPERATURE: -40°C ~ 85°C | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://www.batteriesinaflash.com/special-application-111/st-microelectronics-ic-battery-and-crystal-snaphat-m4t32-br12sh6 |  | TIMEKEEPER | M4T32-BR12SH6 | [6 empty] | SNAPHAT | [15 empty] | CLEANSED | BATTERY | NO MODIFIER | TYPE | LITHIUM | VOLTAGE RATING | 2.8-3 VDC | CAPACITY | 120 MAH | SIZE DESIGNATION |  | SIZE |  | CONNECTION TYPE |  | BATTERY LIFE |  | TEMPERATURE RATING | -40 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR057335 | 057335 | PSR057335 | BLOCK, FRICTION, WITH BOLT/NUT KIT, KIT | BLOCK, FRICTION, WITH BOLT/NUT KIT, KIT NUMBER 146237AK, CONTAINS - 36 FRICTION BLOCKS, 222 BOLTS/NUTS, FOR SAG MILL EATON AIRFLEX CLUTCH. BM-0604-MP-01 | BLOCK, FRICTION, WITH BOLT/NUT KIT, KIT NUMBER 146237AK, CONTAINS - 36 FRICTION BLOCKS, 222 BOLTS/NUTS, FOR SAG MILL EATON AIRFLEX CLUTCH. BM-0604-MP-01 | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC |  |  | URL NOT FOUND |  | EATON | 146237AK | [12 empty] | SAG MILL AIRFLEX CLUTCH | BM-0604-MP-01 | [8 empty] | CLEANSED | KIT | NO MODIFIER | TYPE |  | CONTENTS | 36 FRICTION BLOCKS,222 BOLTS/NUTS | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR938895 | 938895 | PSR938895 | BOLO, KNIFE, SHORT, 9 " LONG WITH HANDLE | BOLO, KNIFE, SHORT, 9 " LONG WITH HANDLE | BOLO, KNIFE, SHORT, 9 " LONG WITH HANDLE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4010 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | KNIFE | NO MODIFIER | TYPE | BOLO,SHORT | OVERALL LENGTH | 9 IN | MATERIAL |  | HANDLE MATERIAL |  | NUMBER OF BLADES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W HANDLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR938942 | 938942 | PSR938942 | BOLT, FINAL PINION CAGE, M16 X 40, FINAL | BOLT, FINAL PINION CAGE, M16 X 40, FINAL DRIVE, P/N 1-09070-107-0, REAR FINAL DRIVE GROUP, FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN: JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC+9 | BOLT, FINAL PINION CAGE, M16 X 40, FINAL DRIVE, P/N 1-09070-107-0, REAR FINAL DRIVE GROUP, FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN: JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC+9 | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5955 | ERSA | OTHER | Y | 1-09070-107-0 | 3000024 | ISUZU | N | N/A | 30 | EX | N/A | PC |  |  | https://parts.isuzu.astra.co.id/marketing/catalog/part.php?grppart=1&vehicle=c-series&type=CYZ |  | ISUZU | 1-09070-107-0 | [12 empty] | DUMPTRUCK C/W ENGINE | CYZ51,VIN JALCYZ51ME7000160,6WF1,6WF1-TCC+9 | [7 empty] | 3000024 | CLEANSED | BOLT | NO MODIFIER | TYPE | FINAL PINION CAGE,FINAL DRIVE | DIMENSIONS | M16 X 40 | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REAR FINAL DRIVE GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR057619 | 057619 | PSR057619 | BOLT, HEXHEAD, PRE-FITTED, M24 X 90 MM, | BOLT, HEXHEAD, PRE-FITTED, M24 X 90 MM, PITCH: 2.50 MM, THREAD LENGTH: FULL THREAD, MATERIAL: STAINLESS STEEL TYPE 316L, ACCESSORIES: NUT AND LOCK WASHER | BOLT, HEXHEAD, PRE-FITTED, M24 X 90 MM, PITCH: 2.50 MM, THREAD LENGTH: FULL THREAD, MATERIAL: STAINLESS STEEL TYPE 316L, ACCESSORIES: NUT AND LOCK WASHER | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | BOLT | ASSEMBLY | HEAD | HEXAGON | THREAD DIAMETER | M24 | LENGTH | 90 MM | THREAD LENGTH | FULL | BOLT MATERIAL | STAINLESS STEEL 316L | BOLT MATERIAL SPECIFICATION |  | NUT TYPE |  | NUT QUANTITY |  | NUT MATERIAL |  | NUT MATERIAL SPECIFICATION |  | NUT DIMENSION |  | WASHER TYPE |  | WASHER QUANTITY |  | WASHER MATERIAL |  | WASHER MATERIAL SPECIFICATION |  | THREAD SERIES |  | THREAD PITCH | 2.5 MM | THREAD DIRECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRE-FITTED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR954660 | 954660 | PSR954660 | BOLT, STUD, P/N: 61100008004, TRAVEL SYS | BOLT, STUD, P/N: 61100008004, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | BOLT, STUD, P/N: 61100008004, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5620 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 61100008004 | 90 | EX | LONKING | PC | B |  | URL NOT FOUND |  | LONKING | 61100008004 | [12 empty] | SKID STEER LOADER | CDM307 |  |  |  | LSL00307CNA882177 |  |  |  |  | CLEANSED | BOLT | NO MODIFIER | TYPE | STUD | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRAVEL SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR029607 | 029607 | PSR029607 | BOLT, T-HEAD, SQUARE NECK, M20 X 58 MM L | BOLT, T-HEAD, SQUARE NECK, M20 X 58 MM LONG X 35 MM THREAD LENGTH, PITCH: 2.0, METRIC STRENGTH CLASS 10.9, COMPARABLE TO GRADE 8, MATERIAL: CARBON STEEL C1035-C1050, OR JIS 5-45C, MINIMUM TENSILE STRENGTH: 150,000 PSI. | BOLT, T-HEAD, SQUARE NECK, M20 X 58 MM LONG X 35 MM THREAD LENGTH, PITCH: 2.0, METRIC STRENGTH CLASS 10.9, COMPARABLE TO GRADE 8, MATERIAL: CARBON STEEL C1035-C1050, OR JIS 5-45C, MINIMUM TENSILE STRENGTH: 150,000 PSI. | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | BOLT | T | TYPE | HEAD,SQUARE NECK | HEAD SIZE |  | THREAD DIAMETER | M20 | OVERALL LENGTH | 58 MM | THREAD LENGTH | 35 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | METRIC STRENGTH CLASS 10.9 GRADE 8,C1035-C1050 OR JIS 5-45C | THREAD PITCH | 2 MM | THREAD SERIES |  | THREAD DIRECTION |  | TENSILE STRENGTH | 150,000 PSI | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR513091 | 513091 | PSR513091 | BOTTLE, GLASS, BOROSILICATE, CAPACITY: 1 | BOTTLE, GLASS, BOROSILICATE, CAPACITY: 1,000 mL, WIDE-MOUTH, WITH SCREW CAP | BOTTLE, GLASS, BOROSILICATE, CAPACITY: 1,000 mL, WIDE-MOUTH, WITH SCREW CAP | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4200 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 210 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | BOTTLE | NO MODIFIER | TYPE | WIDE-MOUTH | CAPACITY | 1000 ML | MATERIAL | BOROSILICATE GLASS | SIZE |  | LID TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SCREW CAP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR021864 | 021864 | PSR021864 | BOTTLE, MINERAL WATER, EMPTY, WITH CAP, | BOTTLE, MINERAL WATER, EMPTY, WITH CAP, CAPACITY: 1 LITER, MATERIAL: TRANSPARENT BLUE POLYCARBONATE | BOTTLE, MINERAL WATER, EMPTY, WITH CAP, CAPACITY: 1 LITER, MATERIAL: TRANSPARENT BLUE POLYCARBONATE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 120 | EX |  | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | BOTTLE | NO MODIFIER | TYPE | MINERAL WATER,EMPTY | CAPACITY | 1 L | MATERIAL | TRANSPARENT BLUE POLYCARBONATE | SIZE |  | LID TYPE |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W CAP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR104849 | 104849 | PSR104849 | BRICK, REFRACTORY, SMK-20A, PAS-TU3, BRA | BRICK, REFRACTORY, SMK-20A, PAS-TU3, BRAND: MARVELS, MATERIAL: SEMI-REBONDED MAGNESIA CHROME, SIZE 620 MM X 153 MM X 450 MM, CHEMICAL ANALYSIS: MgO: 62.2%; Cr2O3: 21.3%; Al2O3: 4.9%; Fe2O3: 9.2%; SiO2: 1.0%; CaO: 1.4% | BRICK, REFRACTORY, SMK-20A, PAS-TU3, BRAND: MARVELS, MATERIAL: SEMI-REBONDED MAGNESIA CHROME, SIZE 620 MM X 153 MM X 450 MM, CHEMICAL ANALYSIS: MgO: 62.2%; Cr2O3: 21.3%; Al2O3: 4.9%; Fe2O3: 9.2%; SiO2: 1.0%; CaO: 1.4% | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 4700 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  |  | SMK-20A |  | PAS-TU3 |  |  |  |  | MARVELS | [15 empty] | CLEANSED | BRICK | REFRACTORY | TYPE |  | GRADE |  | LENGTH | 620 MM | WIDTH | 450 MM | THICKNESS | 153 MM | MATERIAL | SEMI-REBONDED MAGNESIA CHROME | TEMPERATURE RANGE |  | COMPRESSION STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CHEMICAL ANALYSIS:MGO:62.2 PCT,CR2O3:21.3 PCT,AL2O3:4.9 PCT,FE2O3:9.2 PCT,SIO2:1.0 PCT,CAO:1.4 PCT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR047486 | 047486 | PSR047486 | BRUSH, WHEEL, NYLON, ABRASIVE, WIDE FACE | BRUSH, WHEEL, NYLON, ABRASIVE, WIDE FACE, P/N 22288, SILICON CARBIDE BRISTLE, 6 DIAMETER, 320 GRIT, 6000 RPM, BRAND: OSBORN | BRUSH, WHEEL, NYLON, ABRASIVE, WIDE FACE, P/N 22288, SILICON CARBIDE BRISTLE, 6 DIAMETER, 320 GRIT, 6000 RPM, BRAND: OSBORN | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2500 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX |  | PC |  |  | https://www.motion.com/products/sku/03288207 | [9 empty] | OSBORN | 22288 | [14 empty] | ENRICHED | WHEEL | WIRE | TYPE | BRUSH,ABRASIVE,WIDE FACE | DIAMETER | 6 MM | WIRE SIZE |  | WIRE MATERIAL | NYLON | TRIM LENGTH | 1-1/16 IN | FACE WIDTH | 7/8 IN | MOUNTING TYPE | ARBOR HOLE | ARBOR SIZE | 2 IN | SHANK SIZE |  | HUB MATERIAL |  | SPEED RATING | 6000 RPM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI B165.1,ANSI B165.2 | ADDITIONAL FEATURES EN | 320 GRIT,SILICON CARBIDE BRISTLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR041735 | 041735 | PSR041735 | BRUSH, WIRE, WOODEN SHOE-HANDLE STYLE, B | BRUSH, WIRE, WOODEN SHOE-HANDLE STYLE, BRISTLES: STAINLESS STEEL; OVERALL LENGTH: 10 | BRUSH, WIRE, WOODEN SHOE-HANDLE STYLE, BRISTLES: STAINLESS STEEL; OVERALL LENGTH: 10 | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | BRUSH | WIRE | TYPE | WOODEN SHOE-HANDLE STYLE | HANDLE MATERIAL |  | OVERALL LENGTH | 10 MM | BRISTLE MATERIAL | STAINLESS STEEL | FACE WIDTH |  | BRISTLE LENGTH |  | BRISTLE DIAMETER |  | DIAMETER |  | SPEED RATING |  | HUB DIAMETER |  | SHANK SIZE |  | WIRE FILL TYPE |  | FILL QUANTITY |  | MOUNTING TYPE |  | HUB MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [21 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR101935 | 101935 | PSR101935 | BUSH, OILES, P/N 51, MODEL: SPB-202830, | BUSH, OILES, P/N 51, MODEL: SPB-202830, FOR TRANSFER DEVICE NO. 1-3, OF MESCO CATHODE STRIPPING MACHINE, MFR: MESCO | BUSH, OILES, P/N 51, MODEL: SPB-202830, FOR TRANSFER DEVICE NO. 1-3, OF MESCO CATHODE STRIPPING MACHINE, MFR: MESCO | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 1550 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://www.oiles.co.jp/en/bearing/oiles_bearing/model/spb/ |  | OILES | SPB-202830 | MESCO | 51 | [10 empty] | TRANSFER DEVICE NO 1-3 OF CATHODE STRIPPING MACHINE | [9 empty] | ENRICHED | BEARING | SLEEVE | TYPE | BUSH | INSIDE DIAMETER | 20 MM | OUTSIDE DIAMETER | 28 MM | LENGTH | 30 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR036688 | 036688 | PSR036688 | BUSHING AND LOCKNUT, RIGID STEEL CONDUIT | BUSHING AND LOCKNUT, RIGID STEEL CONDUIT, 19.1 MM DIAMETER (3/4), WITH EARTH GROUND | BUSHING AND LOCKNUT, RIGID STEEL CONDUIT, 19.1 MM DIAMETER (3/4), WITH EARTH GROUND | PR | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 9.5414 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PAA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | BUSHING | NO MODIFIER | TYPE |  | SIZE | DIA 19.1 MM (3/4 IN) | MATERIAL | RIGID STEEL CONDUIT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W LOCKNUT,EARTH GROUND | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR014598 | 014598 | PSR014598 | CABINET, WOODEN | CABINET, WOODEN | CABINET, WOODEN | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 18571.43 | PD | 2700 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | CABINET | NO MODIFIER | TYPE |  | SIZE |  | CAPACITY |  | NUMBER OF COMPARTMENTS |  | MATERIAL | WOODEN | NUMBER OF SHELVES |  | NUMBER OF DRAWERS |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR166427 | 166427 | PSR166427 | CHAIR, OFFICE/VISITOR, WITH ARMRESTS, CO | CHAIR, OFFICE/VISITOR, WITH ARMRESTS, COLOR: BLACK LEATHERETTE | CHAIR, OFFICE/VISITOR, WITH ARMRESTS, COLOR: BLACK LEATHERETTE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 3439.29 | PD | 2700 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | CHAIR | NO MODIFIER | TYPE | OFFICE/VISITOR | SEAT SIZE |  | SEAT MATERIAL |  | BODY MATERIAL |  | ARM TYPE |  | NUMBER OF LEGS |  | LOAD RATING |  | SIZE |  | COLOUR | BLACK LEATHERETTE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W ARMRESTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR467156 | 467156 | PSR467156 | CLIPBOARD, WOODEN | CLIPBOARD, WOODEN | CLIPBOARD, WOODEN | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4050 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | BOARD | NO MODIFIER | TYPE | CLIP | SIZE |  | MATERIAL | WOODEN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR045052 | 045052 | PSR045052 | CONNECTOR, UNION, STRAIGHT, 12 MM TUBE, | CONNECTOR, UNION, STRAIGHT, 12 MM TUBE, SUS304/316, BRAND: SWAGELOK | CONNECTOR, UNION, STRAIGHT, 12 MM TUBE, SUS304/316, BRAND: SWAGELOK | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | Y | - | 3000355 | SWAGELOK LTD | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | SWAGELOK LTD | [7 empty] | SWAGELOK | [14 empty] | 3000355 | CLEANSED | UNION | TUBE | TYPE | CONNECTOR | NOMINAL SIZE | 12 MM TUBE | END CONNECTION |  | PRESSURE RATING |  | MATERIAL | STAINLESS STEEL 304/316 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR019276 | 019276 | PSR019276 | CRANK, BELL, POST; FOR L300VAN, CHASSIS | CRANK, BELL, POST; FOR L300VAN, CHASSIS NO.: PAEL35NY17B014010, ENGINE NO.: 4D56-AAA4031. | CRANK, BELL, POST; FOR L300VAN, CHASSIS NO.: PAEL35NY17B014010, ENGINE NO.: 4D56-AAA4031. | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 60 | EX | N/A | PC |  |  | URL NOT FOUND | [15 empty] | CHASSIS NO PAEL35NY17B014010,ENGINE | L300VAN,4D56-AAA4031 | [8 empty] | CLEANSED | BELLCRANK | NO MODIFIER | TYPE | POST | LENGTH |  | THICKNESS |  | HOLE DIAMETER |  | BEARING SIZE |  | THREAD SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR940313 | 940313 | PSR940313 | END, CAP, 0812, 1P, L=90MM SS, FOR REFIN | END, CAP, 0812, 1P, L=90MM SS, FOR REFINERY NEW TROLLEY BUSBAR, MFR: MHE-DEMAG | END, CAP, 0812, 1P, L=90MM SS, FOR REFINERY NEW TROLLEY BUSBAR, MFR: MHE-DEMAG | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4400 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | MHE-DEMAG | 0812 | [12 empty] | REFINERY NEW TROLLEY BUSBAR | [9 empty] | CLEANSED | CAP | NO MODIFIER | TYPE | END | SIZE | LG 90 MM | CONNECTION TYPE |  | MATERIAL | STAINLESS STEEL | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 1P | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR954615 | 954615 | PSR954615 | FAN, COOLING, ENGINE, P/N: 32A48-00300, | FAN, COOLING, ENGINE, P/N: 32A48-00300, ENGINE ARRANGEMENT GROUP, FOR CATERPILLAR FORKLIFT, MODEL: DP30 SERIAL NO.: T14E-12956 WITH ENGINE MODEL: S4S-247369, MNFR:CATERPILLAR | FAN, COOLING, ENGINE, P/N: 32A48-00300, ENGINE ARRANGEMENT GROUP, FOR CATERPILLAR FORKLIFT, MODEL: DP30 SERIAL NO.: T14E-12956 WITH ENGINE MODEL: S4S-247369, MNFR:CATERPILLAR | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 2907000621 | 90 | EX | N/A | PC |  |  | https://lifttrucksupplyinc.com/product/mitsubishi-caterpillar-forklift-fan-blade-32a48-00300/ |  | CATERPILLAR | 32A48-00300 | [12 empty] | FORKLIFT C/W ENGINE | DP30,S4S-247369 |  |  |  | T14E-12956 |  |  |  |  | CLEANSED | FAN | NO MODIFIER | TYPE | COOLING | BLADE DIAMETER |  | FLOW RATING |  | SPEED RATING |  | NUMBER OF BLADES |  | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ENGINE ARRANGEMENT GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR325879 | 325879 | PSR325879 | KNIFE SET | KNIFE SET | KNIFE SET | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 3703 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 60 | EX |  | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SET | NO MODIFIER | TYPE | KNIFE | CONTENTS |  | NUMBER OF ITEMS |  | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR106940 | 106940 | PSR106940 | SANITIZER, HAND, ALCOHOL BASE, PACKING: | SANITIZER, HAND, ALCOHOL BASE, PACKING: REFILLABLE TOP-PRESS DISPENSER, 500 ML CAPACITY | SANITIZER, HAND, ALCOHOL BASE, PACKING: REFILLABLE TOP-PRESS DISPENSER, 500 ML CAPACITY | BT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | BT |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SANITIZER | NO MODIFIER | TYPE | HAND,ALCOHOL BASE | CONTAINER | 500 ML | FORM |  | ODOR |  | COLOUR |  | FOOD GRADE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKING:REFILLABLE TOP-PRESS DISPENSER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR037049 | 037049 | PSR037049 | SCREW CAP, SOCKET HEAD, M12 X 30MM LENGT | SCREW CAP, SOCKET HEAD, M12 X 30MM LENGTH, STANDARD PITCH AND THREAD LENGTH, MATERIAL: CARBON STEEL, GRADE 8/8.8, FULL THREAD | SCREW CAP, SOCKET HEAD, M12 X 30MM LENGTH, STANDARD PITCH AND THREAD LENGTH, MATERIAL: CARBON STEEL, GRADE 8/8.8, FULL THREAD | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SCREW | CAP | TYPE | STANDARD PITCH AND THREAD LENGTH | THREAD DIAMETER | M12 | THREAD PITCH | 30 MM | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH | FULL | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | GRADE 8/8.8 | COATING/FINISH |  | DRIVE TYPE | SOCKET HEAD | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR037051 | 037051 | PSR037051 | SCREW CAP, SOCKET HEAD, M12 X 40MM LENGT | SCREW CAP, SOCKET HEAD, M12 X 40MM LENGTH, STANDARD PITCH AND THREAD LENGTH, MATERIAL: CARBON STEEL, GRADE 8/8.8, FULL THREAD | SCREW CAP, SOCKET HEAD, M12 X 40MM LENGTH, STANDARD PITCH AND THREAD LENGTH, MATERIAL: CARBON STEEL, GRADE 8/8.8, FULL THREAD | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SCREW | CAP | TYPE | STANDARD PITCH AND THREAD LENGTH | THREAD DIAMETER | M12 | THREAD PITCH | 40 MM | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH | FULL | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | GRADE 8/8.8 | COATING/FINISH |  | DRIVE TYPE | SOCKET HEAD | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR037054 | 037054 | PSR037054 | SCREW CAP, SOCKET HEAD, M12 X 50 MM LENG | SCREW CAP, SOCKET HEAD, M12 X 50 MM LENGTH, STANDARD PITCH AND THREAD LENGTH, MATERIAL: CARBON STEEL, GRADE 8/8.8, FULL THREAD | SCREW CAP, SOCKET HEAD, M12 X 50 MM LENGTH, STANDARD PITCH AND THREAD LENGTH, MATERIAL: CARBON STEEL, GRADE 8/8.8, FULL THREAD | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SCREW | CAP | TYPE | STANDARD PITCH AND THREAD LENGTH | THREAD DIAMETER | M12 | THREAD PITCH | 50 MM | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH | FULL | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | GRADE 8/8.8 | COATING/FINISH |  | DRIVE TYPE | SOCKET HEAD | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR037056 | 037056 | PSR037056 | SCREW CAP, SOCKET HEAD, M6 X 30MM LENGTH | SCREW CAP, SOCKET HEAD, M6 X 30MM LENGTH, STANDARD PITCH AND THREAD LENGTH, MATERIAL: CARBON STEEL, GRADE 8/8.8, FULL THREAD | SCREW CAP, SOCKET HEAD, M6 X 30MM LENGTH, STANDARD PITCH AND THREAD LENGTH, MATERIAL: CARBON STEEL, GRADE 8/8.8, FULL THREAD | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SCREW | CAP | TYPE | STANDARD PITCH AND THREAD LENGTH | THREAD DIAMETER | M6 | THREAD PITCH | 30 MM | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH | FULL | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | GRADE 8/8.8 | COATING/FINISH |  | DRIVE TYPE | SOCKET HEAD | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR029215 | 029215 | PSR029215 | SCREW CAP, SOCKET HEAD, M8 X 20MM LENGTH | SCREW CAP, SOCKET HEAD, M8 X 20MM LENGTH, FULL THREAD, STANDARD PITCH, MATERIAL: C. S., GRADE 8/8.8 | SCREW CAP, SOCKET HEAD, M8 X 20MM LENGTH, FULL THREAD, STANDARD PITCH, MATERIAL: C. S., GRADE 8/8.8 | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SCREW | CAP | TYPE | STANDARD PITCH | THREAD DIAMETER | M8 | THREAD PITCH | 20 MM | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH | FULL | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | GRADE 8/8.8 | COATING/FINISH |  | DRIVE TYPE | SOCKET HEAD | HEAD SIZE |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR469236 | 469236 | PSR469236 | SHACKLE, ANCHOR, FORGED STEEL, 25 MM SCR | SHACKLE, ANCHOR, FORGED STEEL, 25 MM SCREW PIN DIAMETER | SHACKLE, ANCHOR, FORGED STEEL, 25 MM SCREW PIN DIAMETER | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC | C |  | URL NOT FOUND | [25 empty] | CLEANSED | SHACKLE | NO MODIFIER | TYPE | ANCHOR | SIZE |  | LOAD RATING |  | MATERIAL | FORGED STEEL | INSIDE WIDTH |  | INSIDE LENGTH |  | PIN SIZE | 25 MM SCREW DIAMETER | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR048035 | 048035 | PSR048035 | SHACKLE, BOW, 1.0T, 10MM, SCREW PIN TYPE | SHACKLE, BOW, 1.0T, 10MM, SCREW PIN TYPE, MFR: BULLIVANTS | SHACKLE, BOW, 1.0T, 10MM, SCREW PIN TYPE, MFR: BULLIVANTS | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | BULLIVANTS | [23 empty] | CLEANSED | SHACKLE | NO MODIFIER | TYPE | BOW,SCREW PIN | SIZE | 10 MM | LOAD RATING | 10 TON | MATERIAL |  | INSIDE WIDTH |  | INSIDE LENGTH |  | PIN SIZE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR558623 | 558623 | PSR558623 | TRANEXAMIC ACID, CAPSULE, 250MG, ACCEPTA | TRANEXAMIC ACID, CAPSULE, 250MG, ACCEPTABLE BRANDS: HEMOSTAN, FIBRINON | TRANEXAMIC ACID, CAPSULE, 250MG, ACCEPTABLE BRANDS: HEMOSTAN, FIBRINON | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4040 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [9 empty] | HEMOSTAN |  | FIBRINON | [13 empty] | CLEANSED | MEDICAL SUPPLIES | NO MODIFIER | TYPE | TRANEXAMIC ACID,CAPSULE | SIZE | 250 MG | TRADE NAME |  | FORMULA |  | MATERIAL |  | STORAGE TYPE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR012417 | 012417 | PSR012417 | TRAY, CABLE, ELBOW, 90 DEGREES HORIZONTA | TRAY, CABLE, ELBOW, 90 DEGREES HORIZONTAL BEND, 600 mm X 100 mm WIDE X 2400 mm LONG, 2 mm THICKNESS, STAINLESS STEEL MATERIAL: SUS 304, WITH COVER, COMPLETE WITH CONNECTORS, BOLTS NUTS, PLAIN WASHER AND BONDING JUMPER. | TRAY, CABLE, ELBOW, 90 DEGREES HORIZONTAL BEND, 600 mm X 100 mm WIDE X 2400 mm LONG, 2 mm THICKNESS, STAINLESS STEEL MATERIAL: SUS 304, WITH COVER, COMPLETE WITH CONNECTORS, BOLTS NUTS, PLAIN WASHER AND BONDING JUMPER. | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 15545 | PD | 1810 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | ELBOW | CABLE TRAY | TYPE |  | WIDTH | 100 MM | LENGTH | 2.4 M | DEPTH | 600 MM | ANGLE | 90 DEG HORIZONTAL BEND | MATERIAL | STAINLESS STEEL 304 | SHAPE |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | THICKNESS:2 MM,C/W COVER,CONNECTORS,BOLTS NUTS,PLAIN WASHER AND BONDING JUMPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR026512 | 026512 | PSR026512 | U-BOLT, M. S., M16 X 150 mm PIPE DIAMETE | U-BOLT, M. S., M16 X 150 mm PIPE DIAMETER, WITH NUTS and WASHERS. | U-BOLT, M. S., M16 X 150 mm PIPE DIAMETER, WITH NUTS and WASHERS. | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | BOLT | ASSEMBLY | HEAD |  | THREAD DIAMETER | M16 | LENGTH | 150 MM PIPE DIAMETER | THREAD LENGTH |  | BOLT MATERIAL | MILD STEEL | BOLT MATERIAL SPECIFICATION |  | NUT TYPE |  | NUT QUANTITY |  | NUT MATERIAL |  | NUT MATERIAL SPECIFICATION |  | NUT DIMENSION |  | WASHER TYPE |  | WASHER QUANTITY |  | WASHER MATERIAL |  | WASHER MATERIAL SPECIFICATION |  | THREAD SERIES |  | THREAD PITCH |  | THREAD DIRECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TYPE:U,C/W NUTS & WASHERS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR954669 | 954669 | PSR954669 | WASHER, HUB, P/N: 30304100008, TRAVEL SY | WASHER, HUB, P/N: 30304100008, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | WASHER, HUB, P/N: 30304100008, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5620 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 30304100008 | 90 | EX | LONKING | PC | B |  | URL NOT FOUND |  | LONKING | 30304100008 | [12 empty] | SKID STEER LOADER | CDM307 |  |  |  | LSL00307CNA882177 |  |  |  |  | CLEANSED | WASHER | NO MODIFIER | TYPE | HUB | NOMINAL SIZE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRAVEL SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-17 |  | PSR938941 | 938941 | PSR938941 | WASHER, THRUST, PINION, T 1.60, FINAL DR | WASHER, THRUST, PINION, T 1.60, FINAL DRIVE, P/N 1-41552-023-0, REAR FINAL DRIVE GROUP, FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN: JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | WASHER, THRUST, PINION, T 1.60, FINAL DRIVE, P/N 1-41552-023-0, REAR FINAL DRIVE GROUP, FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN: JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5955 | ERSA | OTHER | Y | 1-41552-023-0 | 3000024 | ISUZU | N | N/A | 30 | EX | N/A | PC |  |  | https://www.truckpartssale.com/index.php/product/washer-thrust-pinion-1-41552023-0-1415520230-1-41552-023-0-for-isuzu/ |  | ISUZU | 1-41552-023-0 | [12 empty] | DUMPTRUCK C/W ENGINE | CYZ51,VIN JALCYZ51ME7000160,6WF1,6WF1-TCC | [7 empty] | 3000024 | CLEANSED | WASHER | THRUST | TYPE | PINION,FINAL DRIVE | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS | 1.6 MM | LOAD RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REAR FINAL DRIVE GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed