## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | STOCKNO | SN | SN DESC | DESCRIPTION | LONG DESCRIPTION | UM | MINQTY | MAXQTY | ITEM TYPE | PLANNING METHOD | INVENTORY TYPE | BI CODE | AVG COST | SAP MRP TYPE | SAP MATERIAL GROUP | SAP MATERIAL TYPE | SAP INVENTORY TYPE | SAP OEM | SAP PN | SAP MFG NUMBER | SAP MFG NAME | PASAR OEM | PASAR PN | SAP PDT | LOT SIZE | PASAR MFG NAME | SAP UOM | SAP BI CODE | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | ART / Article Number | MFG Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 | REVIEW SIZE | PSR017703 | 017703 | PSR017703 | AGGREGATE, BASE COURSE, FILLING MATERIAL | AGGREGATE, BASE COURSE, FILLING MATERIAL, SIZE: 2~4 | AGGREGATE, BASE COURSE, FILLING MATERIAL, SIZE: 2~4 | M3 | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | M3 |  |  | URL NOT FOUND | [25 empty] | Cleansed | AGGREGATE | NO MODIFIER | TYPE | BASE COURSE | SIZE | 2-4 MM | CONTAINER SIZE |  | CONTAINER TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FILLING MATERIAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR039373 | 039373 | PSR039373 | ALTERNATOR ASSEMBLY, P/N 37-01010 28VDC/ | ALTERNATOR ASSEMBLY, P/N 37-01010 28VDC/45 AMPS FOR EMERGENCY POWER DIESEL GENERATOR,FOR MTU ENGINE MODEL:16V4000G83 ENGINE NO: 527111128 | ALTERNATOR ASSEMBLY, P/N 37-01010 28VDC/45 AMPS FOR EMERGENCY POWER DIESEL GENERATOR,FOR MTU ENGINE MODEL:16V4000G83 ENGINE NO: 527111128 | AY | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://www.elecmama.com/6b-series-cummins-engine-parts/cummins-alternator-37n-01010-4938600.html |  | MTU | 37-01010 | [12 empty] | EMERGENCY POWER DIESEL GENERATOR,ENGIN,NO:527111128 | 16V4000G83 | [8 empty] | Cleansed | ALTERNATOR | NO MODIFIER | TYPE |  | VOLTAGE RATING | 28 VDC | CURRENT RATING | 45 A | POWER RATING |  | FREQUENCY RATING |  | NUMBER OF PHASE |  | SPEED RATING |  | POWER FACTOR |  | INSULATION CLASS |  | LENGTH |  | STATOR OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR023817 | 023817 | PSR023817 | ANTENNA, RADIO TRANSCEIVER, COMPATIBLE W | ANTENNA, RADIO TRANSCEIVER, COMPATIBLE WITH KENWOOD TK-3207 / TK- 3207S RADIO, FREQUENCY: 450~490 MHz, BRAND: KENWOOD | ANTENNA, RADIO TRANSCEIVER, COMPATIBLE WITH KENWOOD TK-3207 / TK- 3207S RADIO, FREQUENCY: 450~490 MHz, BRAND: KENWOOD | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 1083.3333 | PD | 5100 | ERSA | OTHER | Y | TK-3207 / TK- 3207S | 3000297 | KENWOOD | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND |  | KENWOOD | [7 empty] | KENWOOD | [5 empty] | RADIO | TK-3207/TK- 3207S | KENWOOD | [7 empty] | Cleansed | ANTENNA | RADIO | TYPE | TRANSCEIVER | GAIN |  | FREQUENCY RATING | 450-490 MHZ | BANDWIDTH |  | POLARIZATION |  | CONNECTION TYPE |  | MATERIAL |  | SIZE |  | ACCEPTANCE ANGLE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR013424 | 013424 | PSR013424 | BAG, GARBAGE/TRASH, PLASTIC, SIZE: XXL; | BAG, GARBAGE/TRASH, PLASTIC, SIZE: XXL; 1000 PCS/PACK | BAG, GARBAGE/TRASH, PLASTIC, SIZE: XXL; 1000 PCS/PACK | PK | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4055 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PAC |  |  | URL NOT FOUND | [25 empty] | Cleansed | BAG | WASTE | TYPE | GARBAGE/TRASH | CAPACITY |  | SIZE | 2X-LARGE | THICKNESS |  | MATERIAL | PLASTIC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGING QUANTITY:1000 PCS PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR954719 | 954719 | PSR954719 | BAR, IMPACT, IB5 IMPACT BAR, LENGTH: 5FT | BAR, IMPACT, IB5 IMPACT BAR, LENGTH: 5FT, FOR DRXD-54-535-DRX, WITH IBB IMPACT BAR BOLT, MFR: FLEXCO | BAR, IMPACT, IB5 IMPACT BAR, LENGTH: 5FT, FOR DRXD-54-535-DRX, WITH IBB IMPACT BAR BOLT, MFR: FLEXCO | PC | 6 | 9 | STOCK | Min-Max | CRITICAL | B | 0 | V1 | 2600 | ERSA | OTHER | N | N/A | N/A | N/A | Y | DRXD-54-535-DRX | 90 | HB | FLEXCO | PC | B |  | https://www.applied.com/c-brands/c-flexco/ib5/DRX-200-Impact-Bar/p/101473031 |  | FLEXCO | IB5 | [13 empty] | DRXD-54-535-DRX | [8 empty] | Enriched | BAR | NO MODIFIER | TYPE | IMPACT | DIMENSIONS | LG 5 FT | MATERIAL | UHMW | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W BOLT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR057345 | 057345 | PSR057345 | BAR, TORQUE, ITEM 12, PART NUMBER: 30392 | BAR, TORQUE, ITEM 12, PART NUMBER: 303929. FOR SAG MILL EATON AIRFLEX CLUTCH. BM-0604-MP-01, MNFR: EATON | BAR, TORQUE, ITEM 12, PART NUMBER: 303929. FOR SAG MILL EATON AIRFLEX CLUTCH. BM-0604-MP-01, MNFR: EATON | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1500 | ERSA | OTHER | Y | 303929 | 3000267 | EATON | N | N/A | 90 | EX | N/A | PC |  |  | https://www.airtubeclutch.com/clutches-and-brakes/vc-clutches-and-brakes/eaton-airflex-clutch-52vc1200-torque-bar.html |  | EATON | 303929 | [12 empty] | SAG MILL AIRFLEX CLUTCH | BM-0604-MP-01 | EATON |  |  |  | 12 |  |  |  | Cleansed | BAR | NO MODIFIER | TYPE | TORQUE | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR943771 | 943771 | PSR943771 | BATTERY, REPLACEMENT, LI-ION, FOR AIRCHE | BATTERY, REPLACEMENT, LI-ION, FOR AIRCHEK TOUCH PUMPS, CAT. NO: P75718, BRAND: SKC | BATTERY, REPLACEMENT, LI-ION, FOR AIRCHEK TOUCH PUMPS, CAT. NO: P75718, BRAND: SKC | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [9 empty] | SKC | [5 empty] | AIRCHEK TOUCH PUMPS | P75718 | [8 empty] | Cleansed | BATTERY | RECHARGEABLE | TYPE | REPLACEMENT | VOLTAGE RATING |  | SIZE DESIGNATION |  | CAPACITY |  | CHEMICAL COMPOSITION | LITHIUM ION | MATERIAL |  | TERMINAL TYPE |  | SIZE |  | RECHARGEABLE TIMING |  | RECHARGEABLE CYCLES |  | ROHS COMPLIANCE |  | OPERATING TEMPERATURE RANGE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR015693 | 015693 | PSR015693 | BEARING, MAIN SHAFT, P/N 1-09810-173-0, | BEARING, MAIN SHAFT, P/N 1-09810-173-0, RR, MANUAL TRANSMISSION, FOR ISUZU DUMP TRUCK MODEL CYZ51K9 | BEARING, MAIN SHAFT, P/N 1-09810-173-0, RR, MANUAL TRANSMISSION, FOR ISUZU DUMP TRUCK MODEL CYZ51K9 | PC | 2 | 2 | STOCK | Min-Max | CONSUMABLES | B | 0 | V1 | 5955 | ERSA | OTHER | Y | 1-09810-173-0 | 3000024 | ISUZU | N | N/A | 30 | HB | N/A | PC |  |  | https://www.isuzuautopartsstore.com/product/1098101730-1-09810173-0-1-09810-173-0-%E2%80%ADbearing-nee%E2%80%AC/ |  | ISUZU | 1-09810-173-0 | [12 empty] | DUMP TRUCK | CYZ51K9 | ISUZU | [7 empty] | Cleansed | BEARING | NO MODIFIER | TYPE | MAIN SHAFT | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | OVERALL WIDTH |  | MATERIAL |  | DYNAMIC LOAD RATING |  | STATIC LOAD RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RR,MANUAL TRANSMISSION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR600764 | 600764 | PSR600764 | BED SHEET SET, QUEEN SIZE, 80 X 90, INCL | BED SHEET SET, QUEEN SIZE, 80 X 90, INCLUDES ONE (1) FLAT SHEET, ONE (1) FITTED SHEET AND TWO (2) PILLOW CASES. | BED SHEET SET, QUEEN SIZE, 80 X 90, INCLUDES ONE (1) FLAT SHEET, ONE (1) FITTED SHEET AND TWO (2) PILLOW CASES. | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | Cleansed | SHEET | BED | DESIGN TYPE |  | MATERIAL |  | WIDTH | 80 IN | LENGTH | 90 IN | COLOUR |  | FABRIC PATTERN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE:QUEEN,C/W (1) FLAT SHEET,(1) FITTED SHEET AND (2) PILLOW CASES,PACKAGING TYPE:SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR954638 | 954638 | PSR954638 | BLADE, BUCKET, P/N: 30311100113, IMPLEME | BLADE, BUCKET, P/N: 30311100113, IMPLEMENT GROUP, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882176, MFR: LONKING | BLADE, BUCKET, P/N: 30311100113, IMPLEMENT GROUP, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882176, MFR: LONKING | EA | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5620 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 30311100113 | 90 | EX | LONKING | EA |  |  | URL NOT FOUND |  | LONKING | 30311100113 | [12 empty] | SKID STEER LOADER | CDM307 | LONKING |  |  | LSL00307CNA882176 |  |  |  |  | Cleansed | BLADE | NO MODIFIER | TYPE | BUCKET | SIZE |  | CUT MATERIAL |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | IMPLEMENT GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR012752 | 012752 | PSR012752 | BRACKET, PROJECTOR MOUNTING | BRACKET, PROJECTOR MOUNTING | BRACKET, PROJECTOR MOUNTING | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | Cleansed | BRACKET | MOUNTING | TYPE | PROJECTOR | SIZE |  | MATERIAL |  | CAPACITY |  | HOLE/SLOT SIZE |  | NUMBER OF HOLES/SLOTS |  | COLOUR |  | ANGLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR954740 | 954740 | PSR954740 | CABLE, ELECTRICAL, 125MM2 X 3C + 1 X 22M | CABLE, ELECTRICAL, 125MM2 X 3C + 1 X 22MM2, 600 VOLTS, 75°C, COPPER, STRANDED, PVC INSULATED PVC JACKETED, WITH FLAME-RETARDANT, MOISTURE AND HEAT-RESISTANT THERMOPLASTIC INSULATION, COLOR-CODED | CABLE, ELECTRICAL, 125MM2 X 3C + 1 X 22MM2, 600 VOLTS, 75°C, COPPER, STRANDED, PVC INSULATED PVC JACKETED, WITH FLAME-RETARDANT, MOISTURE AND HEAT-RESISTANT THERMOPLASTIC INSULATION, COLOR-CODED | M | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1640 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | M | C |  | URL NOT FOUND | [25 empty] | Cleansed | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 600 V | CURRENT RATING |  | CONDUCTOR SIZE | 22-125 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | FLAME-RETARDANT,MOISTURE AND HEAT-RESISTANT THERMOPLASTIC PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | 75 DEG C | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CORE IDENTIFICATION:COLOUR CODED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR011672 | 011672 | PSR011672 | CABLE, ELECTRICAL, 25 mm2 X 3C + 1C X 16 | CABLE, ELECTRICAL, 25 mm2 X 3C + 1C X 16 mm2, FLAME-RETARDANT, COPPER CORE XLPE INSULATED, PVC SHEATHED, 0.6/1kV POWER CABLE | CABLE, ELECTRICAL, 25 mm2 X 3C + 1C X 16 mm2, FLAME-RETARDANT, COPPER CORE XLPE INSULATED, PVC SHEATHED, 0.6/1kV POWER CABLE | M | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1640 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | M | C |  | URL NOT FOUND | [25 empty] | Cleansed | CABLE | ELECTRICAL | TYPE | POWER | VOLTAGE RATING | 0.6/1 KV | CURRENT RATING |  | CONDUCTOR SIZE | 16-25 MM2 | NUMBER OF CONDUCTORS | 4 | CORE STRANDS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL | PVC | INSULATION MATERIAL | FLAME-RETARDANT,COPPER CORE XLPE | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING |  | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR954738 | 954738 | PSR954738 | CABLE, ELECTRICAL, 8.0 MM2 X 2C + 1-5.5M | CABLE, ELECTRICAL, 8.0 MM2 X 2C + 1-5.5MM2, TYPE: THW, 600V, 75°C, COPPER, STRANDED. WITH FLAME-RETARDANT, MOISTURE AND HEAT-RESISTANT THERMOPLASTIC INSULATION | CABLE, ELECTRICAL, 8.0 MM2 X 2C + 1-5.5MM2, TYPE: THW, 600V, 75°C, COPPER, STRANDED. WITH FLAME-RETARDANT, MOISTURE AND HEAT-RESISTANT THERMOPLASTIC INSULATION | M | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | M | C |  | URL NOT FOUND | [25 empty] | Cleansed | CABLE | ELECTRICAL | TYPE | THW | VOLTAGE RATING | 600 V | CURRENT RATING |  | CONDUCTOR SIZE | 8X1-5.5 MM2 | NUMBER OF CONDUCTORS | 2 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL |  | INSULATION MATERIAL | FLAME-RETARDANT,MOISTURE AND HEAT-RESISTANT THERMOPLASTIC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | 75 DEG C | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR954732 | 954732 | PSR954732 | CABLE, ELECTRICAL, 95MM2 X 3C + 1 X 14MM | CABLE, ELECTRICAL, 95MM2 X 3C + 1 X 14MM2, 600 VOLTS, 75°C, COPPER, STRANDED, PVC INSULATED PVC JACKETED, WITH FLAME-RETARDANT, MOISTURE AND HEAT-RESISTANT THERMOPLASTIC INSULATION, COLOR-CODED | CABLE, ELECTRICAL, 95MM2 X 3C + 1 X 14MM2, 600 VOLTS, 75°C, COPPER, STRANDED, PVC INSULATED PVC JACKETED, WITH FLAME-RETARDANT, MOISTURE AND HEAT-RESISTANT THERMOPLASTIC INSULATION, COLOR-CODED | M | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1640 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | M | C |  | URL NOT FOUND | [25 empty] | Cleansed | CABLE | ELECTRICAL | TYPE |  | VOLTAGE RATING | 600 V | CURRENT RATING |  | CONDUCTOR SIZE | 14-95 MM2 | NUMBER OF CONDUCTORS | 3 | CORE STRANDS |  | CONDUCTOR MATERIAL | STRANDED COPPER | JACKET MATERIAL | PVC | INSULATION MATERIAL | FLAME-RETARDANT,MOISTURE AND HEAT-RESISTANT THERMOPLASTIC PVC | FILLER MATERIAL |  | ARMOR TYPE |  | TEMPERATURE RATING | 75 DEG C | LENGTH |  | JACKET COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CORE IDENTIFICATION:COLOUR CODED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR054792 | 054792 | PSR054792 | CABLE, POWER, WELD, MINAMI, 95 MM. SQ., | CABLE, POWER, WELD, MINAMI, 95 MM. SQ., ORANGE, DOUBLE INSULATED WELDING CABLE, PACKING: 100 M/ROLL | CABLE, POWER, WELD, MINAMI, 95 MM. SQ., ORANGE, DOUBLE INSULATED WELDING CABLE, PACKING: 100 M/ROLL | RL | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1640 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | ROL |  |  | URL NOT FOUND |  | MINAMI | [23 empty] | Cleansed | CABLE | WELDING | TYPE | POWER,DOUBLE INSULATED | CABLE SIZE | 95 MM2 | VOLTAGE RATING |  | CURRENT RATING |  | LENGTH |  | MATERIAL |  | DUTY CYCLE |  | JACKET MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:ORANGE,PACKING QUANTITY:100 M PER ROLL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR014991 | 014991 | PSR014991 | CABLE, USB | CABLE, USB | CABLE, USB | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4500 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 60 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | Cleansed | CABLE | COMMUNICATION | TYPE | USB | IMPEDANCE |  | DIAMETER |  | CONDUCTOR SIZE |  | CORE STRANDS |  | NUMBER OF CONDUCTORS |  | CONDUCTOR MATERIAL |  | JACKET MATERIAL |  | INSULATION MATERIAL |  | LENGTH |  | VOLTAGE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR482264 | 482264 | PSR482264 | CLEANER, COBAS INTEGRA | CLEANER, COBAS INTEGRA | CLEANER, COBAS INTEGRA | BT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4020 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | BT |  |  | URL NOT FOUND | [9 empty] | COBAS INTEGRA | [15 empty] | Cleansed | CLEANER | NO MODIFIER | TYPE |  | CONTAINER |  | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR581831 | 581831 | PSR581831 | COVER ASSEMBLY, TROF, PASAR DRAWING NO. | COVER ASSEMBLY, TROF, PASAR DRAWING NO. 802-M-0012, MATERIAL: SB410 OR EQUIVALENT, FOR TROF FURNACE, FOR LOCAL FABRICATION | COVER ASSEMBLY, TROF, PASAR DRAWING NO. 802-M-0012, MATERIAL: SB410 OR EQUIVALENT, FOR TROF FURNACE, FOR LOCAL FABRICATION | AY | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [15 empty] | TROF FURNACE |  |  | 802-M-0012 | [6 empty] | Cleansed | COVER | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | STRUCTURAL STEEL GRADE SB410 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY,FOR LOCAL FABRICATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR027034 | 027034 | PSR027034 | CURTAIN, SHOWER | CURTAIN, SHOWER | CURTAIN, SHOWER | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 327.23 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | Cleansed | CURTAIN | NO MODIFIER | TYPE | SHOWER | SIZE |  | COLOUR |  | MATERIAL |  | HANGING STYLE |  | DESIGN |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR954764 | 954764 | PSR954764 | CYLINDER ASSEMBLY, BOOM, P/N: 4120006628 | CYLINDER ASSEMBLY, BOOM, P/N: 4120006628, FOR WHEEL LOADER, MFR: SHANDONG LINGONG CONSTRUCTION MACHINERY (SDLG) | CYLINDER ASSEMBLY, BOOM, P/N: 4120006628, FOR WHEEL LOADER, MFR: SHANDONG LINGONG CONSTRUCTION MACHINERY (SDLG) | EA | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3730 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 4120006628 | 90 | EX | SHANDONG LINGONG CONSTRUCTION MACHINERY (SDLG) | EA | C |  | http://www.wooyeah.net/?product=29050032201-sdlg-lg956l-separator |  | SHANDONG LINGONG CONSTRUCTION MACHINERY (SDLG) | 4120006628 | [12 empty] | WHEEL LOADER |  | SHANDONG LINGONG CONSTRUCTION MACHINERY (SDLG) | [7 empty] | Cleansed | CYLINDER | NO MODIFIER | TYPE | BOOM | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR104305 | 104305 | PSR104305 | CYLINDER, REFILL, OXYGEN GAS, MEDICAL GR | CYLINDER, REFILL, OXYGEN GAS, MEDICAL GRADE, MEDIUM SIZE | CYLINDER, REFILL, OXYGEN GAS, MEDICAL GRADE, MEDIUM SIZE | CY | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | Cleansed | CYLINDER | GAS | TYPE | REFILL,OXYGEN | CAPACITY |  | PRESSURE RATING |  | PORT SIZE |  | MATERIAL |  | WEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE:MEDIUM,MEDICAL GRADE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR025798 | 025798 | PSR025798 | DETECTOR, SMOKE, PHOTOELECTRIC, WITH BAS | DETECTOR, SMOKE, PHOTOELECTRIC, WITH BASE, P/N 63-1024, MODEL: SLR-24V; MFR: FIKE | DETECTOR, SMOKE, PHOTOELECTRIC, WITH BASE, P/N 63-1024, MODEL: SLR-24V; MFR: FIKE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | Y | 63-1024 | 3000753 | FIKE | N | N/A | 30 | EX | N/A | PC |  |  | https://my.fike.com/phoenix/api/files/download/?did=5052 |  | FIKE | 63-1024 | [22 empty] | Enriched | DETECTOR | SMOKE | TYPE | PHOTOELECTRIC | POWER SUPPLY | 17.7-30 VDC,45 MA | SOUND INTENSITY |  | MOUNTING TYPE |  | ENCLOSURE MATERIAL |  | SIZE |  | TEMPERATURE RATING | 32-120 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSFM 7272-0900:0124,FM,UL S4021 | ADDITIONAL FEATURES EN | MODEL:SLR-24V,C/W BASE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR427034 | 427034 | PSR427034 | DRILL, HAMMER, ELECTRIC, 2-SPEED, CHUCK | DRILL, HAMMER, ELECTRIC, 2-SPEED, CHUCK CAPACITY: 5.0 MM (3/16) TO 19.0 MM (3/4) BIT DIAMETER, PISTOL GRIP HANDLE, 220 VAC, 60HZ, 650 W, BRAND/MODEL: MAKITA 8419B | DRILL, HAMMER, ELECTRIC, 2-SPEED, CHUCK CAPACITY: 5.0 MM (3/16) TO 19.0 MM (3/4) BIT DIAMETER, PISTOL GRIP HANDLE, 220 VAC, 60HZ, 650 W, BRAND/MODEL: MAKITA 8419B | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4010 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | EA | C |  | https://www.gigatools.ph/products/makita-8419b-3-4-2-speed-hammer-drill-650w | [9 empty] | MAKITA | 8419B | [14 empty] | Enriched | DRILL | POWER | TYPE | 2-SPEED,ELECTRIC ROTARY HAMMER | CHUCK CAPACITY | DIA 5-19 MM BIT | CHUCK TYPE | KEY | OVERALL SIZE |  | POWER SUPPLY | 220 VAC,650 W,60 HZ | SPEED RATING |  | TORQUE RATING |  | BODY MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HANDLE:PISTOL GRIP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR943175 | 943175 | PSR943175 | ELBOW, PIPE, PVC, 25 mm ID, SCH 40, PRES | ELBOW, PIPE, PVC, 25 mm ID, SCH 40, PRESSURIZED WATER PIPELINE, BLUE | ELBOW, PIPE, PVC, 25 mm ID, SCH 40, PRESSURIZED WATER PIPELINE, BLUE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2200 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | Cleansed | ELBOW | PIPE | TYPE |  | NOMINAL SIZE | 25 MM | END CONNECTION |  | PRESSURE RATING |  | ANGLE |  | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MANUFACTURING PROCESS |  | SCHEDULE/WALL THICKNESS | SCH 40 | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COLOUR:BLUE,FOR PRESSURIZED WATER PIPELINE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 | SUITABLE NM NOT FOUND | PSR131406 | 131406 | PSR131406 | ERASER, PLASTIC, BRAND: STAEDLER | ERASER, PLASTIC, BRAND: STAEDLER | ERASER, PLASTIC, BRAND: STAEDLER | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2700 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [9 empty] | STAEDLER | [78 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR954729 | 954729 | PSR954729 | FASTENER, CONVEYOR BELT, EXTRA HINGE P | FASTENER, CONVEYOR BELT, EXTRA HINGE PINS FOR 375X AND 550, ORDERING: SC-24-1, MFR: FLEXCO | FASTENER, CONVEYOR BELT, EXTRA HINGE PINS FOR 375X AND 550, ORDERING: SC-24-1, MFR: FLEXCO | PC | 8 | 10 | STOCK | Min-Max | CRITICAL | B | 0 | V1 | 5620 | ERSA | OTHER | N | N/A | N/A | N/A | Y | SC-24-1 | 90 | HB | FLEXCO | PC | B |  | https://www.flexco.com/EN/Product/1242/SC-24-1.htm |  | FLEXCO | SC-24-1 | [22 empty] | Enriched | PIN | NO MODIFIER | TYPE | EXTRA HINGE | DIAMETER | 1/4 IN | LENGTH |  | MATERIAL | BARE STEEL CABLE | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CONVEYOR BELT FASTENER,375X AND 550 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR056153 | 056153 | PSR056153 | FITTINGS, PUSH IN, MALE CONNECTOR, APPLI | FITTINGS, PUSH IN, MALE CONNECTOR, APPLICABLE TUBING: 10Ø, COONECTION THREAD: 1/2 NPT, MODEL: KQGH10-04S, MFR: SMC | FITTINGS, PUSH IN, MALE CONNECTOR, APPLICABLE TUBING: 10Ø, COONECTION THREAD: 1/2 NPT, MODEL: KQGH10-04S, MFR: SMC | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2200 | ERSA | OTHER | Y | KQGH10-04S | 3000750 | SMC | N | N/A | 90 | EX | N/A | PC |  |  | https://www.txele.net/product_detail/Pneumatic-Connector-KGQ |  | SMC | KQGH10-04S | [22 empty] | Enriched | ADAPTER | TUBE TO PIPE | TYPE | PNEUMATIC | TUBE SIZE | 10 MM | PIPE SIZE | 1/2 IN | TUBE CONNECTION | PUSH-IN | PIPE CONNECTION | MNPT | LENGTH | 30 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR056152 | 056152 | PSR056152 | FITTINGS, PUSH IN, MALE CONNECTOR, APPLI | FITTINGS, PUSH IN, MALE CONNECTOR, APPLICABLE TUBING: 10Ø, COONECTION THREAD: 1/4 NPT, MODEL: KQGH10-02S, MFR: SMC | FITTINGS, PUSH IN, MALE CONNECTOR, APPLICABLE TUBING: 10Ø, COONECTION THREAD: 1/4 NPT, MODEL: KQGH10-02S, MFR: SMC | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2200 | ERSA | OTHER | Y | KQGH10-02S | 3000750 | SMC | N | N/A | 90 | EX | N/A | PC |  |  | https://www.txele.net/product_detail/Pneumatic-Connector-KGQ |  | SMC | KQGH10-02S | [22 empty] | Enriched | ADAPTER | TUBE TO PIPE | TYPE | PNEUMATIC | TUBE SIZE | 10 MM | PIPE SIZE | 1/4 IN | TUBE CONNECTION | PUSH-IN | PIPE CONNECTION | MNPT | LENGTH | 30 MM | SCHEDULE/WALL THICKNESS |  | PRESSURE CLASS/RATING |  | MATERIAL | BRASS | MATERIAL SPECIFICATION |  | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR270655 | 270655 | PSR270655 | FRESHENER, AIR, CAR, LIQUID TYPE (NON-AE | FRESHENER, AIR, CAR, LIQUID TYPE (NON-AEROSOL TYPE) | FRESHENER, AIR, CAR, LIQUID TYPE (NON-AEROSOL TYPE) | BT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4020 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | BT |  |  | URL NOT FOUND | [25 empty] | Cleansed | AIR FRESHENER | NO MODIFIER | TYPE | LIQUID | CONTAINER |  | FRAGRANCE |  | COLOUR |  | DURATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CAR,PACKAGING TYPE:NON-AEROSOL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR015782 | 015782 | PSR015782 | H-BEAM, C.S., 300 MM X 150 MM X 6 METERS | H-BEAM, C.S., 300 MM X 150 MM X 6 METERS LONG, WEB THICKNESS: 6.5 MM, FLANGE THICKNESS: 9.0 MM, MATERIAL: CARBON STEEL CONFORMING TO JIS G3192-2008 OR GB/T 11263-2010 Standard - STEELS FOR GENERAL STRUCTURE | H-BEAM, C.S., 300 MM X 150 MM X 6 METERS LONG, WEB THICKNESS: 6.5 MM, FLANGE THICKNESS: 9.0 MM, MATERIAL: CARBON STEEL CONFORMING TO JIS G3192-2008 OR GB/T 11263-2010 Standard - STEELS FOR GENERAL STRUCTURE | LG | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1500 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | Cleansed | BEAM | STRUCTURAL | TYPE | H | WIDTH | 300 MM | LENGTH | 6 M | WEB THICKNESS | 6.5 MM | HEIGHT | 150 MM | LOAD CAPACITY |  | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | JIS G3192-2008 OR GB/T11263-2010 | GRADE |  | COATING/FINISH |  | TENSILE STRENGTH |  | PROCESS |  | WEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FLANGE THICKNESS:9 MM,FOR GENERAL STRUCTURE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR043500 | 043500 | PSR043500 | IMPELLER, BLOWER, 14" 305/P, WITH BUSH 2 | IMPELLER, BLOWER, 14" 305/P, WITH BUSH 28-24 MM SHAFT, FOR FUMEHOOD BLOWER, BM BASICS | IMPELLER, BLOWER, 14" 305/P, WITH BUSH 28-24 MM SHAFT, FOR FUMEHOOD BLOWER, BM BASICS | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | BM BASICS | [23 empty] | Cleansed | IMPELLER | FAN | TYPE | BLOWER | SHAFT SIZE | 28-24 MM | IMPELLER DIAMETER | 304 MM | MATERIAL |  | BOSS STYLE |  | BOSS DIAMETER |  | BOSS WIDTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIZE:14 IN,C/W BUSH SHAFT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR944917 | 944917 | PSR944917 | SHAFT ASSEMBLY, INPUT, P/N 1-41341-025-0 | SHAFT ASSEMBLY, INPUT, P/N 1-41341-025-0, REAR FINAL DRIVE GROUP; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN:JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | SHAFT ASSEMBLY, INPUT, P/N 1-41341-025-0, REAR FINAL DRIVE GROUP; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN:JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 5955 | ERSA | OTHER | Y | 1-41341-025-0 | 3000024 | ISUZU | N | N/A | 30 | EX | N/A | PC |  |  | https://www.monotaro.id/s017689649.html |  | ISUZU | 1-41341-025-0 | [12 empty] | DUMPTRUCK,ENGINE | CYZ51(VIN:JALCYZ51ME7000160),6WF1-TCC | ISUZU | [7 empty] | Cleansed | SHAFT | ASSEMBLY | TYPE | INPUT | DIAMETER |  | LENGTH |  | END SIZE |  | END CONNECTION |  | MATERIAL |  | MATERIAL SPECIFICATION |  | TORQUE RATING |  | SPEED RATING |  | KEYWAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REAR FINAL DRIVE GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR954761 | 954761 | PSR954761 | SHAFT, PINION, P/N M5288-3, POSITION NO. | SHAFT, PINION, P/N M5288-3, POSITION NO.: 14 DRAWING NO.:M5288 (W): WITH SHAFT CORROSION PROTECTION: FOR PINION UNIT ASSEMBLY OFØ 5.2X8.5 BALL MILL, MFR: CITIC HEAVY MACHINERY INC | SHAFT, PINION, P/N M5288-3, POSITION NO.: 14 DRAWING NO.:M5288 (W): WITH SHAFT CORROSION PROTECTION: FOR PINION UNIT ASSEMBLY OFØ 5.2X8.5 BALL MILL, MFR: CITIC HEAVY MACHINERY INC | EA | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 3730 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 14 | 150 | EX | CITIC HEAVY MACHINERY INC | EA | A |  | URL NOT FOUND |  | CITIC HEAVY MACHINERY INC | 14 | [12 empty] | PINION UNIT ASSEMBLY OF DIA 5.2 X 8.5 BALL MILL |  | CITIC HEAVY MACHINERY INC | M5288 (W),POS 14 | [6 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | PINION | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAFT CORROSION PROTECTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR015685 | 015685 | PSR015685 | SHAFT, TOP GEAR, P/N 1-33211-825-1, MANU | SHAFT, TOP GEAR, P/N 1-33211-825-1, MANUAL TRANSMISSION, WITH SHAFT CORROSION PROTECTION; FOR ISUZU DUMP TRUCK MODEL CYZ51K9 | SHAFT, TOP GEAR, P/N 1-33211-825-1, MANUAL TRANSMISSION, WITH SHAFT CORROSION PROTECTION; FOR ISUZU DUMP TRUCK MODEL CYZ51K9 | AY | 2 | 2 | STOCK | Min-Max | CONSUMABLES | B | 0 | V1 | 5955 | ERSA | OTHER | Y | 1-33211-825-1 | 3000024 | ISUZU | N | N/A | 30 | HB | N/A | EA |  |  | https://www.amcsparepartsonline.com/products/1332118251 |  | ISUZU | 1-33211-825-1 | [12 empty] | DUMP TRUCK | CYZ51K9 | ISUZU | [7 empty] | Cleansed | SHAFT | NO MODIFIER | TYPE | TOP GEAR | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MANUAL TRANSMISSION,SHAFT CORROSION PROTECTION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR953679 | 953679 | PSR953679 | WASHER, LOCKING, POSITION NO.: 82, MATER | WASHER, LOCKING, POSITION NO.: 82, MATERIAL: SPCC, CODE NO: LWACRH50R4U-5256, FOR NITROGEN COMPRESSOR, MODEL: YD2-220G-OL, MFR: KAJI TECHNOLOGY | WASHER, LOCKING, POSITION NO.: 82, MATERIAL: SPCC, CODE NO: LWACRH50R4U-5256, FOR NITROGEN COMPRESSOR, MODEL: YD2-220G-OL, MFR: KAJI TECHNOLOGY | PC |  |  | STOCK | Not Planned | CRITICAL | B | 0 | PD | 3020 | ERSA | OTHER | N | N/A | N/A | NO | Y | LWACRH50R4U-5256 | 90 | EX | KAJI TECHNOLOGY | PC |  |  | URL NOT FOUND |  | KAJI TECHNOLOGY | LWACRH50R4U-5256 | [12 empty] | NITROGEN COMPRESSOR | YD2-220G-OL | KAJI TECHNOLOGY | POS 82 | [6 empty] | Cleansed | WASHER | LOCK | TYPE |  | NOMINAL SIZE |  | INSIDE DIMENSIONS |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | MATERIAL | SPCC | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR953680 | 953680 | PSR953680 | WASHER, LOCKING, POSITION NO.: 83, MATER | WASHER, LOCKING, POSITION NO.: 83, MATERIAL: SPC, CODE NO: LWAPUL50S5U-2241, FOR NITROGEN COMPRESSOR, MODEL: YD2-220G-OL, MFR: KAJI TECHNOLOGY | WASHER, LOCKING, POSITION NO.: 83, MATERIAL: SPC, CODE NO: LWAPUL50S5U-2241, FOR NITROGEN COMPRESSOR, MODEL: YD2-220G-OL, MFR: KAJI TECHNOLOGY | PC |  |  | STOCK | Not Planned | CRITICAL | B | 0 | PD | 3020 | ERSA | OTHER | N | N/A | N/A | NO | Y | LWAPUL50S5U-2241 | 90 | EX | KAJI TECHNOLOGY | PC |  |  | URL NOT FOUND |  | KAJI TECHNOLOGY | LWAPUL50S5U-2241 | [12 empty] | NITROGEN COMPRESSOR | YD2-220G-OL | KAJI TECHNOLOGY | POS 83 | [6 empty] | Cleansed | WASHER | LOCK | TYPE |  | NOMINAL SIZE |  | INSIDE DIMENSIONS |  | OUTSIDE DIMENSIONS |  | THICKNESS |  | MATERIAL | SPC | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR051400 | 051400 | PSR051400 | WRENCH SET, METRIC RATCHET, 12 PIECE, 8M | WRENCH SET, METRIC RATCHET, 12 PIECE, 8MM TO 19MM, P/N 248-8819, CATERPILLAR METRIC RATCHETING WRENCH, DUAL PAWL RATCHETING BOX END, 15 DEGREES OFFSET BOX HEAD, BOX ENDS ARE REVERSIBLE AND DURABLE NICKEL CHROME FINISH | WRENCH SET, METRIC RATCHET, 12 PIECE, 8MM TO 19MM, P/N 248-8819, CATERPILLAR METRIC RATCHETING WRENCH, DUAL PAWL RATCHETING BOX END, 15 DEGREES OFFSET BOX HEAD, BOX ENDS ARE REVERSIBLE AND DURABLE NICKEL CHROME FINISH | SE | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 4010 | ERSA | OTHER | Y | 248-8819 | 3000003 | CATERPILLAR | N | N/A | 30 | EX | N/A | EA |  |  | https://www.energypower.com.au/live/extranet/Manuals/Additional%20Caterpillar%20Information%20Files/Cat%20Hand%20Tools.pdf | https://0-jayparts.com/shop/wrenches/248-8819-wrench-set-metrics/ | CATERPILLAR | 248-8819 | [22 empty] | Cleansed | WRENCH | RATCHET | TYPE | METRIC | DRIVE SIZE | 8-19 MM | NUMBER OF POINTS |  | OVERALL LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | NUMBER OF TEETH |  | SWING |  | COATING/FINISH | NICKEL CHROME | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W DUAL PAWL RATCHETING BOX END,15 DEG OFFSET BOX HEAD,BOX ENDS ARE REVERSIBLE AND DURABLE,PACKAGING TYPE:12 PCS PER SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR954724 | 954724 | PSR954724 | WRENCH, ORDERING NUMBER: S1S, INSTALLATI | WRENCH, ORDERING NUMBER: S1S, INSTALLATION TOOLS, MFR: FLEXCO | WRENCH, ORDERING NUMBER: S1S, INSTALLATION TOOLS, MFR: FLEXCO | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | Y | S1S | 90 | EX | FLEXCO | PC | B |  | https://www.flexco.com/EN/Product/4429/HandWrench.htm |  | FLEXCO | S1S | [22 empty] | Enriched | WRENCH | NO MODIFIER | TYPE | HAND | SIZE | DIA 1/4 IN BOLT HOLE | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | SMX | SMX | OK | 2023-03-17 | 2023-03-17 |  | PSR054470 | 054470 | PSR054470 | WRENCH, SINGLE RING, 38 MM, 45º OFFSET, | WRENCH, SINGLE RING, 38 MM, 45º OFFSET, CHROME VANADIUM STEEL MATERIAL, MANGANESE PHOSPHATE FINISHED, FOR USE IN COMBINATION WITH ALEA SERIES HANDLE, ITEM NO: AAAV3838; MFR:TOPTUL | WRENCH, SINGLE RING, 38 MM, 45º OFFSET, CHROME VANADIUM STEEL MATERIAL, MANGANESE PHOSPHATE FINISHED, FOR USE IN COMBINATION WITH ALEA SERIES HANDLE, ITEM NO: AAAV3838; MFR:TOPTUL | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4010 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | TOPTUL | [19 empty] | AAAV3838 |  |  |  | Cleansed | WRENCH | NO MODIFIER | TYPE | SINGLE RING | SIZE | 38 MM | MATERIAL | CHROME VANADIUM STEEL | MATERIAL SPECIFICATION |  | COATING/FINISH | MANGANESE PHOSPHATE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 45 DEG OFFSET,FOR USE IN COMBINATION WITH ALEA SERIES HANDLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed