## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | STOCKNO | SN | SN DESC | DESCRIPTION | LONG DESCRIPTION | UM | MINQTY | MAXQTY | ITEM TYPE | PLANNING METHOD | INVENTORY TYPE | BI CODE | AVG COST | SAP MRP TYPE | SAP MATERIAL GROUP | SAP MATERIAL TYPE | SAP INVENTORY TYPE | SAP OEM | SAP PN | SAP MFG NUMBER | SAP MFG NAME | PASAR OEM | PASAR PN | SAP PDT | LOT SIZE | PASAR MFG NAME | SAP UOM | SAP BI CODE | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | ART / Article Number | MFG Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR013646 | 013646 | PSR013646 | BRICK, REFRACTORY, SMK-20A, W18X9X4-33/3 | BRICK, REFRACTORY, SMK-20A, W18X9X4-33/32, BRAND: MARVELS, MATERIAL: SEMI-REBONDED MAGNESIA CHROME, SIZE 457,2 MM X 101,6~78,5 MM X 228,6 MM, CHEMICAL ANALYSIS: MgO: 62.2%; Cr2O3: 21.3%; Al2O3: 4.9%; Fe2O3: 9.2%; SiO2: 1.0%; CaO: 1.4% | BRICK, REFRACTORY, SMK-20A, W18X9X4-33/32, BRAND: MARVELS, MATERIAL: SEMI-REBONDED MAGNESIA CHROME, SIZE 457,2 MM X 101,6~78,5 MM X 228,6 MM, CHEMICAL ANALYSIS: MgO: 62.2%; Cr2O3: 21.3%; Al2O3: 4.9%; Fe2O3: 9.2%; SiO2: 1.0%; CaO: 1.4% | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 4700 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [9 empty] | MARVELS | SMK-20A | [14 empty] | CLEANSED | BRICK | REFRACTORY | TYPE |  | GRADE |  | LENGTH | 457.2 MM | WIDTH | 228.6 MM | THICKNESS | 101.6-78.5 MM | MATERIAL | SEMI-REBONDED MAGNESIA CHROME | TEMPERATURE RANGE |  | COMPRESSION STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CHEMICAL ANALYSIS:MGO 62.2 PCT,CR2O3 21.3 PCT,AL2O3 4.9 PCT,FE2O3 9.2 PCT,SIO2 1.0 PCT,CAO 1.4 PCT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR017956 | 017956 | PSR017956 | BUSH, OILES, P/N 132, MODEL: SPB-182435, | BUSH, OILES, P/N 132, MODEL: SPB-182435, FOR DOWN ENDER OF MESCO CATHODE STRIPPING MACHINE, MFR: MESCO | BUSH, OILES, P/N 132, MODEL: SPB-182435, FOR DOWN ENDER OF MESCO CATHODE STRIPPING MACHINE, MFR: MESCO | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 1550 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://in.misumi-ec.com/vona2/detail/221000090723/?HissuCode=SPB-182435 |  | OILES | SPB-182435 | MESCO | 132 | [10 empty] | DOWN ENDER OF CATHODE STRIPPING MACHINE |  | MESCO | [7 empty] | ENRICHED | BUSHING | NO MODIFIER | TYPE | STRAIGHT | SIZE | ID 18 X OD 24 X LG 35 MM | MATERIAL | HIGH TENSILE BRASS | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954707 | 954707 | PSR954707 | CAP, BREATHER, P/N: 4120004826, FOR ROAD | CAP, BREATHER, P/N: 4120004826, FOR ROAD ROLLER SDLG MODEL: RS7120H, ENGINE MODEL: WP6G125E202, ENGINE NUMBER: 6P22B011931, MFR: SDLG | CAP, BREATHER, P/N: 4120004826, FOR ROAD ROLLER SDLG MODEL: RS7120H, ENGINE MODEL: WP6G125E202, ENGINE NUMBER: 6P22B011931, MFR: SDLG | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5620 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 4120004826 | 90 | EX | SDLG | PC | B |  | https://1-nn--zapchast-ru.translate.goog/zapchasti-dlya-dorozhnykh-katkov-serii-rs/dorozhnye-katki-sdlg-serii-rs/35964.html?_x_tr_enc=1&_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  | SDLG | 4120004826 | [12 empty] | ROAD ROLLER,ENGINE | RS7120H,WP6G125E202,6P22B011931 | SDLG | [7 empty] | ENRICHED | CAP | BREATHER | TYPE | HYDRAULIC TANK | DIAMETER |  | HEIGHT |  | MATERIAL |  | PRESSURE CLASS/RATING |  | END CONNECTION |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR106156 | 106156 | PSR106156 | CELL, COMMERCIAL, INTERMEDIATE UNICELL, | CELL, COMMERCIAL, INTERMEDIATE UNICELL, MATERIAL: POLYMER, DIMENSION: 5100 MM L X 1330 MM W X 1570 ~ 1600 MM D, SUBSTANCE: COPPER ELECTROLYTE, TEMPERATURE: 65 DEG. C., DRAWING NO.: CN357-UC-001/ CN-357-UC-002, MANUFACTURER: CTI | CELL, COMMERCIAL, INTERMEDIATE UNICELL, MATERIAL: POLYMER, DIMENSION: 5100 MM L X 1330 MM W X 1570 ~ 1600 MM D, SUBSTANCE: COPPER ELECTROLYTE, TEMPERATURE: 65 DEG. C., DRAWING NO.: CN357-UC-001/ CN-357-UC-002, MANUFACTURER: CTI | AY | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND |  | CTI | [16 empty] | CN357-UC-001/ CN-357-UC-002 | [6 empty] | CLEANSED | CELL | NO MODIFIER | TYPE | INTERMEDIATE UNICELL.COMMERCIAL | CONSTANT |  | SIZE | WD 1330 X LG 5100 X DP 1600 MM | MATERIAL | POLYMER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SUBSTANCE:COPPER ELECTROLYTE,TEMPERATURE RATING:65 DEG C | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954649 | 954649 | PSR954649 | CHAIN WHEEL, FRONT, SINGLE, P/N: 3030410 | CHAIN WHEEL, FRONT, SINGLE, P/N: 30304100016, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | CHAIN WHEEL, FRONT, SINGLE, P/N: 30304100016, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5620 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 30304100016 | 90 | EX | LONKING | PC |  |  | URL NOT FOUND |  | LONKING | 30304100016 | [12 empty] | SKID STEER LOADER | CDM307 | LONKING |  |  | LSL00307CNA882177 |  |  |  |  | CLEANSED | WHEEL | NO MODIFIER | TYPE | CHAIN,FRONT,SINGLE | DIAMETER |  | WIDTH |  | MATERIAL |  | HUB SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRAVEL SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR053703 | 053703 | PSR053703 | CHANNEL, SUS 316L, 150 MM X 75 MM X 6.0 | CHANNEL, SUS 316L, 150 MM X 75 MM X 6.0 METERS LONG, WEB THICKNESS: 6.5 MM, FLANGE THICKNESS: 10 MM, CONFORMING TO ASTM A240-304, FOR IAT1 PUMP TANK PROJECT | CHANNEL, SUS 316L, 150 MM X 75 MM X 6.0 METERS LONG, WEB THICKNESS: 6.5 MM, FLANGE THICKNESS: 10 MM, CONFORMING TO ASTM A240-304, FOR IAT1 PUMP TANK PROJECT | LG | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1500 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | CHANNEL | STRUCTURAL | TYPE |  | WIDTH | 150 MM | LENGTH | 6 M | HEIGHT | 75 MM | MATERIAL | STAINLESS STEEL 316L ASTM A240-304 | FLANGE THICKNESS | 10 MM | WEB THICKNESS | 6.5 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR IAT1 PUMP TANK PROJECT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR053280 | 053280 | PSR053280 | CLAMP, BELT CONVEYOR, BW: 1050 MM, THICK | CLAMP, BELT CONVEYOR, BW: 1050 MM, THICKNESS: 25 MM , P/N: M-ASG-SGMDP-42-AB, MNFR: SURE GRIP™ | CLAMP, BELT CONVEYOR, BW: 1050 MM, THICKNESS: 25 MM , P/N: M-ASG-SGMDP-42-AB, MNFR: SURE GRIP™ | PR | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5700 | ERSA | OTHER | N | N/A | N/A | N/A | Y | M-ASG-SGMDP-42-AB | 90 | EX | SURE GRIP™ | PAA |  |  | https://www.asgco.com/wp-content/uploads/2019/11/SG_Sure-Grip-Belt-Clamps_Technical-Data-Sheet-1.pdf |  | SURE GRIP | M-ASG-SGMDP-42-AB | [22 empty] | ENRICHED | CLAMP | NO MODIFIER | TYPE | BELT CONVEYOR | CAPACITY | 6 TON | SIZE | WD 1050 X THK 25 MM | MATERIAL | HIGH GRADE STEEL | CLAMPING PRESSURE | 200 LB/FT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954717 | 954717 | PSR954717 | CLEANER, HEAVY-DUTY, DUO POWER, 210 LITE | CLEANER, HEAVY-DUTY, DUO POWER, 210 LITER PER DRUM. | CLEANER, HEAVY-DUTY, DUO POWER, 210 LITER PER DRUM. | DR | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 115290 | PD | 4020 | ERSA | OTHER | N | N/A |  |  | Y | N/A | 90 | EX | N/A | DR |  |  | URL NOT FOUND | [25 empty] | CLEANSED | CLEANER | NO MODIFIER | TYPE | DUO POWER HEAVY-DUTY | CONTAINER | 20 L/DRUM | FORM |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR055389 | 055389 | PSR055389 | COMPENSATOR, SD EXHAUST FAN, COP-0301-DC | COMPENSATOR, SD EXHAUST FAN, COP-0301-DC-03, REFERENCE DRAWING NO. CN0536DD0301DC1-15, FOR SD EXHAUST FAN (BL-0301-DC-01) ASSEMBLY DRAWING (1/2) | COMPENSATOR, SD EXHAUST FAN, COP-0301-DC-03, REFERENCE DRAWING NO. CN0536DD0301DC1-15, FOR SD EXHAUST FAN (BL-0301-DC-01) ASSEMBLY DRAWING (1/2) | UT | 1 | 1 | STOCK | Min-Max | CONSUMABLES | B | 0 | V1 | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | HB | N/A | EA |  |  | URL NOT FOUND |  |  | COP-0301-DC-03 | [12 empty] | SD EXHAUST FAN | BL-0301-DC-01 |  | CN0536DD0301DC1-15 | [6 empty] | CLEANSED | COMPENSATOR | NO MODIFIER | TYPE |  | INPUT TYPE |  | OUTPUT TYPE |  | POWER RATING |  | TERMINAL TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY (1/2) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR334274 | 334274 | PSR334274 | CONDUIT, RIGID PVC, SCH 40, 50MMND X 3.0 | CONDUIT, RIGID PVC, SCH 40, 50MMND X 3.0M, WITH COUPLING | CONDUIT, RIGID PVC, SCH 40, 50MMND X 3.0M, WITH COUPLING | LG | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2210 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | EA | C |  | URL NOT FOUND | [25 empty] | CLEANSED | CONDUIT | NO MODIFIER | TYPE | RIGID | TRADE SIZE | 50 MM | LENGTH | 3 M | MATERIAL | PVC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CLASS RATING:SCH 40,C/W COUPLING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954687 | 954687 | PSR954687 | CORE ASSEMBLY, EVAPORATOR, P/N: 41900028 | CORE ASSEMBLY, EVAPORATOR, P/N: 4190002827, AIR CONDITIONING GROUP P345, FOR ROAD ROLLER SDLG MODEL: RS7120H, ENGINE MODEL: WP6G125E202, ENGINE NUMBER: 6P22B011931, MFR: SDLG | CORE ASSEMBLY, EVAPORATOR, P/N: 4190002827, AIR CONDITIONING GROUP P345, FOR ROAD ROLLER SDLG MODEL: RS7120H, ENGINE MODEL: WP6G125E202, ENGINE NUMBER: 6P22B011931, MFR: SDLG | EA | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5620 | ERSA | OTHER | N | N/A |  |  | Y | 4190002827 | 90 | EX | SDLG | EA |  |  | https://www.sdlgmall.com/product/4043000121-bushing-lgb302-6050a2-for-sdlg-lg936-wheel-loader-spare-parts/ | https://gazimport-ru.translate.goog/parts/element/411858/?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | SDLG | 4190002827 | [12 empty] | ROAD ROLLER,ENGINE | RS7120H,WP6G125E202,6P22B011931 | SDLG | [7 empty] | ENRICHED | CORE | NO MODIFIER | TYPE | EVAPORATOR,HEAT EXCHANGER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AIR CONDITIONING GROUP P345,ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954671 | 954671 | PSR954671 | COVER BOARD, HUB, P/N: 30304100006, TRAV | COVER BOARD, HUB, P/N: 30304100006, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | COVER BOARD, HUB, P/N: 30304100006, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5620 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 30304100006 | 90 | EX | LONKING | PC | B |  | URL NOT FOUND |  | LONKING | 30304100006 | [12 empty] | SKID STEER LOADER | CDM307 | LONKING |  |  | LSL00307CNA882177 |  |  |  |  | CLEANSED | BOARD | NO MODIFIER | TYPE | HUB COVER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRAVEL SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR025544 | 025544 | PSR025544 | COVER, IMPELLER, P/N 25, MATERIAL: SS400 | COVER, IMPELLER, P/N 25, MATERIAL: SS400, FOR PSA 1ST STAGE VACUUM PUMP TYPE LIG-600WP, REFERENCE DWG. NO. RA-23992, MFR: TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | COVER, IMPELLER, P/N 25, MATERIAL: SS400, FOR PSA 1ST STAGE VACUUM PUMP TYPE LIG-600WP, REFERENCE DWG. NO. RA-23992, MFR: TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3020 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 25 | 90 | EX | TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | PC | C |  | URL NOT FOUND |  | TAIKO KIKAI INDUSTRIES CO LTD | 25 | [12 empty] | PSA 1ST STAGE VACUUM PUMP | LIG-600WP |  | RA-23992 | [6 empty] | CLEANSED | COVER | NO MODIFIER | TYPE | IMPELLER | SIZE |  | MATERIAL | STEEL SS400 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR013936 | 013936 | PSR013936 | CUSHION, RUBBER, RR SPRING, FORWARD LH, | CUSHION, RUBBER, RR SPRING, FORWARD LH, REARWARD RH,P/N 1-53366-143-1, REAR SUSPENSION SYSTEM, FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN: JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC, MFR: ISUZU | CUSHION, RUBBER, RR SPRING, FORWARD LH, REARWARD RH,P/N 1-53366-143-1, REAR SUSPENSION SYSTEM, FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN: JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC, MFR: ISUZU | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5955 | ERSA | OTHER | Y | 1-53366-143-1 | 3000024 | ISUZU | N | N/A | 120 | EX | N/A | PC |  |  | https://catcar.info/isuzu/?lang=en&l=c3Q9PTYwfHxzdHM9PXsiMjAiOiJNb2RlbCIsIjMwIjoiQyZFIiwiNDAiOiIxMTUyNSAtIENZWiBDSElOQSBFVVJPNCAgICAgMTMgLSAgIiwiNTAiOiI0IC0gUHJvcGVsbGVyIFNoYWZ0LCBBeGxlcywgU3RlZXJpbmcsIFN1c3BlbnNpb24iLCI2MCI6IjQtNjAgLSBSRUFSIFNVU1BFTlNJT04ifXx8bW9kZWxJZD09MjAwMDZ8fG1vZGVsQ29kZUlkPT0xMDAwMXx8ZXF1aXBtZW50SWQ9PTEzMDAzfHxwb3NGaWx0ZXI9PXx8Z3JvdXBJZD09MjEwMjV8fHN0czUwPT17IjIwIjoiTW9kZWwiLCIzMCI6IkMmRSIsIjQwIjoiMTE1MjUgLSBDWVogQ0hJTkEgRVVSTzQgICAgIDEzIC0gICIsIjUwIjoiNCAtIFByb3BlbGxlciBTaGFmdCwgQXhsZXMsIFN0ZWVyaW5nLCBTdXNwZW5zaW9uIn18fHN1Ymdyb3VwSWQ9PTExOTAzMHx8aW1nPT18fGZ0cj09 |  | ISUZU | 1-53366-143-1 | [12 empty] | DUMPTRUCK C/W ENGINE | CYZ51 (VIN:JALCYZ51ME7000160),6WF1-TCC | ISUZU | [7 empty] | CLEANSED | CUSHION | NO MODIFIER | TYPE | RR SPRING,FORWARD LH,REARWARD RH | SIZE |  | MATERIAL | RUBBER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REAR SUSPENSION SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR024998 | 024998 | PSR024998 | CYLINDER ASSEMBLY, OUTRIGGER, P/N 862001 | CYLINDER ASSEMBLY, OUTRIGGER, P/N 86200160250, HYDRAULIC SYSTEM; FOR MCC BAOSTEEL SLAG POT CARRIER MODEL BGC-70B SERIAL NO. BGC-70B-14004 WITH CUMMINS ENGINE MODEL QSM11 NO. 35321838 | CYLINDER ASSEMBLY, OUTRIGGER, P/N 86200160250, HYDRAULIC SYSTEM; FOR MCC BAOSTEEL SLAG POT CARRIER MODEL BGC-70B SERIAL NO. BGC-70B-14004 WITH CUMMINS ENGINE MODEL QSM11 NO. 35321838 | AY | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND |  |  | 86200160250 | [12 empty] | SLAG POT CARRIER C/W ENGINE | BGC-70B,QSM11 NO 35321838 | MCC BAOSTEEL,CUMMINS |  |  | BGC-70B-14004 |  |  |  |  | CLEANSED | CYLINDER | NO MODIFIER | TYPE | OUTRIGGER | CAPACITY |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HYDRAULIC SYSTEM,ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR023924 | 023924 | PSR023924 | DINNERWARE SET, 16 -PIECES, CONSISTING O | DINNERWARE SET, 16 -PIECES, CONSISTING OF FOUR (4) PCS. 10-1/4 DINNER PLATES; FOUR (4) PCS. 6-3/4 BREAD ABD BUTTER PLATES; FOUR (4) PCS. 18-OZ SOUP / CEREAL BOWLS; FOUR (4) PCS. 11-OZ STONEWARE MUGS, BRAND: CORELLE | DINNERWARE SET, 16 -PIECES, CONSISTING OF FOUR (4) PCS. 10-1/4 DINNER PLATES; FOUR (4) PCS. 6-3/4 BREAD ABD BUTTER PLATES; FOUR (4) PCS. 18-OZ SOUP / CEREAL BOWLS; FOUR (4) PCS. 11-OZ STONEWARE MUGS, BRAND: CORELLE | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 74.11 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [9 empty] | CORELLE | [15 empty] | CLEANSED | SET | NO MODIFIER | TYPE | DINNERWARE | CONTENTS | (4) X 10-1/4 IN DINNER PLATES,(4) X 6-3/4 IN BREAD AND BUTTER PLATES,(4) X 18 OZ SOUP/CEREAL BOWLS,(4) X 11 OZ STONEWARE MUGS | NUMBER OF ITEMS | 16 | MATERIAL |  | SIZE RANGE |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR375433 | 375433 | PSR375433 | DRIVER SET, TORX, Z FOLD-UP, CONTENTS: T | DRIVER SET, TORX, Z FOLD-UP, CONTENTS: TX9, TX10, TX15, TX20, TX25, TX27, TX30, TX40, PART NUMBER:04504564, BRAND:BONDHUS | DRIVER SET, TORX, Z FOLD-UP, CONTENTS: TX9, TX10, TX15, TX20, TX25, TX27, TX30, TX40, PART NUMBER:04504564, BRAND:BONDHUS | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 761.544 | PD | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [9 empty] | BONDHUS | 04504564 | [14 empty] | CLEANSED | SCREWDRIVER SET | NO MODIFIER | TYPE | TORX,Z FOLD-UP | SIZE |  | NUMBER OF COMPONENTS | 8 | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONTENTS:TX9,TX10,TX15,TX20,TX25,TX27,TX30,TX40 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR141344 | 141344 | PSR141344 | ELBOW, PIPE, SCH 40, PVC, 45 DEG. X 3/4" | ELBOW, PIPE, SCH 40, PVC, 45 DEG. X 3/4" PIPE SIZE, PIPE O.D.: 1.050, SOCKET WELDING TYPE | ELBOW, PIPE, SCH 40, PVC, 45 DEG. X 3/4" PIPE SIZE, PIPE O.D.: 1.050, SOCKET WELDING TYPE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2200 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | ELBOW | PIPE | TYPE | SOCKET WELDING | NOMINAL SIZE | 3/4 IN | END CONNECTION |  | PRESSURE RATING |  | ANGLE | 45 DEG | MATERIAL | PVC | MATERIAL SPECIFICATION |  | COATING/FINISH |  | MANUFACTURING PROCESS |  | SCHEDULE/WALL THICKNESS | SCH 40 | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PIPE OD:1050 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR937425 | 937425 | PSR937425 | ELECTRODE, WELDING, FILLER, SOLID, DIAME | ELECTRODE, WELDING, FILLER, SOLID, DIAMETER: 3.2 MM, ASME/SFA SPECS: A5.10, AWS CLASS: ER5356, FILLER FOR Al-Mg (ALUMINIUM-MAGNESIUM) | ELECTRODE, WELDING, FILLER, SOLID, DIAMETER: 3.2 MM, ASME/SFA SPECS: A5.10, AWS CLASS: ER5356, FILLER FOR Al-Mg (ALUMINIUM-MAGNESIUM) | KG | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2620 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | KG |  |  | URL NOT FOUND | [25 empty] | CLEANSED | ELECTRODE | WELDING | TYPE | SOLID FILLER | DESIGNATION | A5.10 ER5356 | MATERIAL |  | CURRENT RATING |  | DIAMETER | 3.2 MM | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR AL-MG (ALUMINIUM-MAGNESIUM) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR278580 | 278580 | PSR278580 | END MILL, HIGH-SPEED STEEL, METRIC, 10 M | END MILL, HIGH-SPEED STEEL, METRIC, 10 MM DIAMETER, 2-FLUTE, 1-END, SQUARE END CENTER CUTTING | END MILL, HIGH-SPEED STEEL, METRIC, 10 MM DIAMETER, 2-FLUTE, 1-END, SQUARE END CENTER CUTTING | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | ENDMILL | NO MODIFIER | TYPE | SQUARE END | CUTTING DIAMETER | 10 MM | CUTTING LENGTH |  | NUMBER OF FLUTES | 2 | FLUTE TYPE |  | HELIX ANGLE |  | SHANK SIZE |  | LENGTH |  | MATERIAL | HIGH SPEED STEEL | DIRECTION OF CUT | CENTER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NUMBER OF END:1 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954686 | 954686 | PSR954686 | EVAPORATOR ASSEMBLY, P/N: 4130003515, AI | EVAPORATOR ASSEMBLY, P/N: 4130003515, AIR CONDITIONING GROUP P343, FOR ROAD ROLLER SDLG MODEL: RS7120H, ENGINE MODEL: WP6G125E202, ENGINE NUMBER: 6P22B011931, MFR: SDLG | EVAPORATOR ASSEMBLY, P/N: 4130003515, AIR CONDITIONING GROUP P343, FOR ROAD ROLLER SDLG MODEL: RS7120H, ENGINE MODEL: WP6G125E202, ENGINE NUMBER: 6P22B011931, MFR: SDLG | EA | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5620 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 4130003515 | 90 | EX | SDLG | EA | B |  | https://sdlgchina.com/product/4130003515-sdlg-evaporator |  | SDLG | 4130003515 | [12 empty] | ROAD ROLLER,ENGINE | RS7120H,WP6G125E202,6P22B011931 | SDLG | [7 empty] | CLEANSED | EVAPORATOR | NO MODIFIER | TYPE |  | CAPACITY |  | FLOW RATING |  | NUMBER OF STAGES |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY,AIR CONDITIONING GROUP P343 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR935675 | 935675 | PSR935675 | FLOODLIGHT,LED, HIGH LUMEN; POWER: 75 WA | FLOODLIGHT,LED, HIGH LUMEN; POWER: 75 WATTS; LUMINOUS FLUX: 12, 000lm; OPERATING VOLTAGE : 100~277 VAC, APPLICATION: INDUSTRIAL; DESIGN LIFE: 50,000HRS; PROTECTION GRADE: IP65; BEAM ANGLE: 120DEG., | FLOODLIGHT,LED, HIGH LUMEN; POWER: 75 WATTS; LUMINOUS FLUX: 12, 000lm; OPERATING VOLTAGE : 100~277 VAC, APPLICATION: INDUSTRIAL; DESIGN LIFE: 50,000HRS; PROTECTION GRADE: IP65; BEAM ANGLE: 120DEG.,POWER FACTOR: > 0.95; CRI: >80-90Ra; CCT: 2700-6000K; DIMENSION: 251*122*269MM; BRAND: CONVENTUS, STANDARD LIGHTINGS OR EQUAVALENT | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4100 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [9 empty] | CONVENTUS | [15 empty] | CLEANSED | LIGHT | FLOOD | TYPE | LED,HIGH LUMEN | LAMP WATTAGE | 75 W | VOLTAGE RATING | 100-277 VAC | LIGHT COLOUR |  | HOUSING MATERIAL |  | DEGREE OF PROTECTION | IP65 | BALLAST TYPE |  | LAMP LIFE | 50000HR | INTENSITY | 12000 LM | SIZE | 251 X 122 X 269 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BEAM ANGLE:120 DEG,POWER FACTOR:>0.95,CRI:>80-90 RA,CCT:2700-6000 K,FOR INDUSTRIAL APPLICATION, STANDARD LIGHTINGS OR EQUAVALENT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR953676 | 953676 | PSR953676 | FRONT HEAD, 1ST STAGE, MATERIAL: FC250, | FRONT HEAD, 1ST STAGE, MATERIAL: FC250, CODE NO: FHE510R157FC3U-23938, FOR NITROGEN COMPRESSOR, MODEL: YD2-220G-OL, MFR: KAJI TECHNOLOGY | FRONT HEAD, 1ST STAGE, MATERIAL: FC250, CODE NO: FHE510R157FC3U-23938, FOR NITROGEN COMPRESSOR, MODEL: YD2-220G-OL, MFR: KAJI TECHNOLOGY | PC |  |  | STOCK | Not Planned | CRITICAL | B | 0 | PD | 3020 | ERSA | OTHER | N | N/A | N/A | NO | Y | FHE510R157FC3U-23938 | 90 | EX | KAJI TECHNOLOGY | PC |  |  | URL NOT FOUND |  | KAJI TECHNOLOGY | FHE510R157FC3U-23938 | [12 empty] | NITROGEN COMPRESSOR | YD2-220G-OL | [8 empty] | CLEANSED | HEAD | NO MODIFIER | TYPE | FRONT,1ST STAGE | SIZE |  | MATERIAL | CAST IRON FC250 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK,NM PROCESS BASED ON WEB SOURCE | 2023-03-17 | 2023-03-20 |  | PSR057340 | 057340 | PSR057340 | GASKET, AIR CONNECTION, ITEM 6, PART NUM | GASKET, AIR CONNECTION, ITEM 6, PART NUMBER: 412324-05 FOR SAG MILL EATON AIRFLEX CLUTCH. BM-0604-MP-01, MFR: EATON | GASKET, AIR CONNECTION, ITEM 6, PART NUMBER: 412324-05 FOR SAG MILL EATON AIRFLEX CLUTCH. BM-0604-MP-01, MFR: EATON | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1825 | ERSA | OTHER | Y | 412324-05 | 3000267 | EATON | N | N/A | 90 | EX | N/A | PC |  |  | https://www.eaton.com/sg/en-us/skuPage.412324-05.html |  | EATON | 412324-05 | [12 empty] | SAG MILL AIRFLEX CLUTCH | BM-0604-MP-01 | EATON |  |  |  | 6 |  |  |  | ENRICHED | WASHER | NO MODIFIER | TYPE | AIR CONNECTION | NOMINAL SIZE |  | SIZE | ID 15/16 X 1-15/32 X 17/64 IN | MATERIAL | RUBBER | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR012523 | 012523 | PSR012523 | GAUGE, MINIATURE, STAINLESS STEEL, MODEL | GAUGE, MINIATURE, STAINLESS STEEL, MODEL: M , ORDER NO.: PGI-40M-BG10-LAQX-ABE, MFR: SWAGELOK | GAUGE, MINIATURE, STAINLESS STEEL, MODEL: M , ORDER NO.: PGI-40M-BG10-LAQX-ABE, MFR: SWAGELOK | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5110 | ERSA | OTHER | Y | PGI-40M-BG10-LAQX-ABE | 3000355 | SWAGELOK LTD | N | N/A | 90 | EX | N/A | PC |  |  | https://www.swagelok.com/downloads/webcatalogs/en/ms-02-170.pdf |  | SWAGELOK | PGI-40M-BG10-LAQX-ABE | [22 empty] | ENRICHED | GAUGE | DIAL | TYPE | MINIATURE | MEASURING RANGE | 0-10 BAR | ACCURACY | +/-2.5 PCT | GRADUATION |  | DIAL SIZE | 1-1/2 IN | CASE MATERIAL | STAINLESS STEEL | LENS MATERIAL | POLYCARBONATE | FILLER MATERIAL |  | PROCESS CONNECTION | 1/4 IN | CONNECTION LOCATION | SWAGELOK TUBE ADAPTER | MOUNTING TYPE | LOWER | TEMPERATURE RATING | -40 TO 140 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MODEL M | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR944914 | 944914 | PSR944914 | GEAR, SIDE, DIFFERENTIAL, B, Z=16, P/N 1 | GEAR, SIDE, DIFFERENTIAL, B, Z=16, P/N 1-41561-169-0, REAR FINAL DRIVE GROUP; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN:JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | GEAR, SIDE, DIFFERENTIAL, B, Z=16, P/N 1-41561-169-0, REAR FINAL DRIVE GROUP; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN:JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 5955 | ERSA | OTHER | Y | 1-41561-169-0 | 3000024 | ISUZU | N | N/A | 30 | EX | N/A | PC |  |  | https://parts.isuzu.astra.co.id/marketing/catalog/fvzgvz/pdf/4.pdf |  | ISUZU | 1-41561-169-0 | [12 empty] | DUMPTRUCK C/W ENGINE | CYZ51 (VIN:JALCYZ51ME7000160),6WF1-TCC | ISUZU | [7 empty] | CLEANSED | GEAR | NO MODIFIER | TYPE | SIDE,DIFFERENTIAL | BORE SIZE |  | OUTSIDE DIAMETER |  | NUMBER OF TEETH | 16 | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REAR FINAL DRIVE GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR129220 | 129220 | PSR129220 | GLOVES, SURGICAL, STERILE, SIZE 7-1/2, D | GLOVES, SURGICAL, STERILE, SIZE 7-1/2, DISPOSABLE, 50 PAIRS/BOX | GLOVES, SURGICAL, STERILE, SIZE 7-1/2, DISPOSABLE, 50 PAIRS/BOX | PR | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PAA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | GLOVES | MEDICAL | TYPE | SURGICAL,STERILE,DISPOSABLE | SIZE DESIGNATION |  | MATERIAL |  | CUFF TYPE |  | COLOUR |  | THICKNESS |  | LENGTH | 7-1/2 IN | PACKAGE QUANTITY | 50 PAIRS/BOX | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR943714 | 943714 | PSR943714 | HAMMER, WITH SETS OF STEEL STRAP, OEM PA | HAMMER, WITH SETS OF STEEL STRAP, OEM PARTSLIST NO:5.055067, POSITION NO.1201, MFR: FLSMIDTH, EP COLLECTING RAPPING SYSTEM D1526266 | HAMMER, WITH SETS OF STEEL STRAP, OEM PARTSLIST NO:5.055067, POSITION NO.1201, MFR: FLSMIDTH, EP COLLECTING RAPPING SYSTEM D1526266 | AY | 0 | 0 | STOCK | Min-Max | CONSUMABLES | A | 0 | PD | 4010 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND |  | FLSMIDTH | 5.0551 | [15 empty] | POS 1201 | [6 empty] | CLEANSED | HAMMER | NO MODIFIER | TYPE |  | HEAD SIZE |  | WEIGHT |  | HANDLE LENGTH |  | HEAD MATERIAL |  | HANDLE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W SETS OF STEEL STRAP,FOR EP COLLECTING RAPPING SYSTEM D1526266 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR369166 | 369166 | PSR369166 | HEAD, SPRINKLER, 1/2 ORIFICE, PENDENT TY | HEAD, SPRINKLER, 1/2 ORIFICE, PENDENT TYPE165 DEG F, 175 PSI, 1/2 NPT THREAD, BRONZE | HEAD, SPRINKLER, 1/2 ORIFICE, PENDENT TYPE165 DEG F, 175 PSI, 1/2 NPT THREAD, BRONZE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC | C |  | URL NOT FOUND | [25 empty] | CLEANSED | HEAD | SPRAY | TYPE | SPRINKLER,PENDENT | INLET SIZE | 1/2 IN ORIFICE | END CONNECTION | 1/2 IN NPT | SIZE |  | MATERIAL | BRONZE | HOSE SIZE |  | PRESSURE RATING | 175 PSI | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ANGLE:165 DEG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR938673 | 938673 | PSR938673 | HOOD, FACE, BALACLAVA, CARBON-X ARC FLAS | HOOD, FACE, BALACLAVA, CARBON-X ARC FLASH, BRAND: ARCSAFE | HOOD, FACE, BALACLAVA, CARBON-X ARC FLASH, BRAND: ARCSAFE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [9 empty] | ARCSAFE | [15 empty] | CLEANSED | HOOD | SAFETY | TYPE | CARBON-X ARC FLASH FACE BALACLAVA | SIZE DESIGNATION |  | MATERIAL |  | LINER MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954661 | 954661 | PSR954661 | HOUSING, BEARING,G APP4, MATERIAL: A48 C | HOUSING, BEARING,G APP4, MATERIAL: A48 CL 30 B,PART NO.: 330, ITEM CODE: 141993 01 52, FOR EQUIPMENT: PU-W201A/B/C, PU-W202A/B/C, MNFR: SULZER PUMPS FINLAND | HOUSING, BEARING,G APP4, MATERIAL: A48 CL 30 B,PART NO.: 330, ITEM CODE: 141993 01 52, FOR EQUIPMENT: PU-W201A/B/C, PU-W202A/B/C, MNFR: SULZER PUMPS FINLAND | EA | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5920 | ERSA | OTHER | Y | 330 | 3000353 | SULZER PUMPS FINLAND | N | N/A | 90 | EX | N/A | EA | B |  | https://www.skf.com/us/products/mounted-bearings/bearing-housings/split-pillow-blocks-saf-saw-series/productid-SAF%20330 |  | SKF | 330 | SULZER PUMPS FINLAND | [12 empty] | PU-W201A/B/C,PU-W202A/B/C |  |  |  |  | 141993 01 52 |  |  |  | ENRICHED | HOUSING | BEARING UNIT | TYPE | SPLIT PLUMMER (PILLOW) | BORE | 5-3/4 IN | BLOCK SIZE | WD 9-7/8 X LG 26-3/4 X HT 14-7/8 IN | BOLT MOUNTINGS |  | BOLT DIAMETER | 3/4,3/8 IN | SHAPE |  | MATERIAL | GRAY CAST IRON | MATERIAL SPECIFICATION | A48 CL 30 B | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | G APP4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR942613 | 942613 | PSR942613 | IMPELLER, P/N 230.01, FOR PUMP TYPE: JSB | IMPELLER, P/N 230.01, FOR PUMP TYPE: JSB780-30, RELEASE NO. 1406051, FOR FAT2 VERTICAL PUMP, Q: 750 m3/H, H: 24 m, MFR: DALIAN JINSHAN ACID PROOF PUMP CO.,LTD | IMPELLER, P/N 230.01, FOR PUMP TYPE: JSB780-30, RELEASE NO. 1406051, FOR FAT2 VERTICAL PUMP, Q: 750 m3/H, H: 24 m, MFR: DALIAN JINSHAN ACID PROOF PUMP CO.,LTD | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | DALIAN JINSHAN ACID PROOF PUMP CO.,LTD | 230.01 | [12 empty] | FAT2 VERTICAL PUMP RELEASE NO 1406051,FLOW RATE 750 M3/H,PUMPHEAD 24 M | JSB780-30 | [8 empty] | CLEANSED | IMPELLER | PUMP | TYPE |  | BORE DIAMETER |  | IMPELLER DIAMETER |  | IMPELLER DESIGN |  | NUMBER OF BLADES |  | MATERIAL |  | PUMP TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR058080 | 058080 | PSR058080 | INSULATION FIXING MATERIAL, WELD PIN, CA | INSULATION FIXING MATERIAL, WELD PIN, CAPACITOR DISCHARGE WELD PIN, 304 SS, (C/W SPEED WASHER). PIN DIA SWG #10 (3.2mm). FOR 150mm THICK BLANKET/BOARD. | INSULATION FIXING MATERIAL, WELD PIN, CAPACITOR DISCHARGE WELD PIN, 304 SS, (C/W SPEED WASHER). PIN DIA SWG #10 (3.2mm). FOR 150mm THICK BLANKET/BOARD. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [15 empty] | 150 MM THICK BLANKET/BOARD | [9 empty] | CLEANSED | PIN | NO MODIFIER | TYPE | CAPACITOR DISCHARGE WELD | DIAMETER | SWG NO 10 (3.2 MM) | LENGTH |  | MATERIAL | STAINLESS STEEL 304 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INSULATION FIXING MATERIAL,C/W SPEED WASHER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR058074 | 058074 | PSR058074 | INSULATION FIXING MATERIAL, WIRE, COIL T | INSULATION FIXING MATERIAL, WIRE, COIL TIE WIRE, 304 SS, SWG NO. 18 (1.2mm) MIN | INSULATION FIXING MATERIAL, WIRE, COIL TIE WIRE, 304 SS, SWG NO. 18 (1.2mm) MIN | M | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | M |  |  | URL NOT FOUND | [25 empty] | CLEANSED | WIRE | TIE | TYPE | COIL | WIRE SIZE | SWG NO 18 (1.2 MM) | MATERIAL | STAINLESS STEEL 304 | FINISH |  | WEIGHT |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INSULATION FIXING MATERIAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR938658 | 938658 | PSR938658 | INSULATION FOAM, REFLECTIVE THERMAL FOIL | INSULATION FOAM, REFLECTIVE THERMAL FOIL (4 FT X 50 FT ROLL), COMMERCIAL GRADE, HEAT BARRIER MAT, FOR WEATHERPROOFING, SOUNDPROOFING. | INSULATION FOAM, REFLECTIVE THERMAL FOIL (4 FT X 50 FT ROLL), COMMERCIAL GRADE, HEAT BARRIER MAT, FOR WEATHERPROOFING, SOUNDPROOFING. | RL | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | ROL |  |  | URL NOT FOUND | [25 empty] | CLEANSED | INSULATION | THERMAL | TYPE | FOAM,REFLECTIVE FOIL | FORM | ROLL | SIZE | WD 4 X LG 50 FT | MATERIAL |  | TEMPERATURE RATING |  | DENSITY |  | THICKNESS |  | COLOUR |  | DIELECTRIC STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMMERCIAL GRADE,HEAT BARRIER MAT,FOR WEATHERPROOFING,SOUNDPROOFING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR058070 | 058070 | PSR058070 | INSULATION MATERIAL, BAND, 304 SS, 13mm | INSULATION MATERIAL, BAND, 304 SS, 13mm (1/2”) WIDE x USG NO. 28 (0.40MM (0.016”)) THICK FOR ALL PIPING AND FOR DUCTS UP TO 900MM (36”) DIAMETER. | INSULATION MATERIAL, BAND, 304 SS, 13mm (1/2”) WIDE x USG NO. 28 (0.40MM (0.016”)) THICK FOR ALL PIPING AND FOR DUCTS UP TO 900MM (36”) DIAMETER. | M | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | M |  |  | URL NOT FOUND | [25 empty] | CLEANSED | INSULATION | PIPE | TYPE | BAND | PIPE SIZE | DIA 900 MM | THICKNESS | USG NO 28 (0.4 MM) | MATERIAL | STAINLESS STEEL 304 | LENGTH |  | DENSITY |  | INSIDE DIAMETER |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WIDTH:13 MM,FOR ALL PIPING AND DUCTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK,URL FOR REF CONSIDERED FOR TAKING NM | 2023-03-17 | 2023-03-20 |  | PSR058072 | 058072 | PSR058072 | INSULATION MATERIAL, CHIL-SPRINGS®, 304 | INSULATION MATERIAL, CHIL-SPRINGS®, 304 SS, FOR 13mm (1/2”) BAND | INSULATION MATERIAL, CHIL-SPRINGS®, 304 SS, FOR 13mm (1/2”) BAND | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://www.jm.com/content/dam/jm/global/en/industrial-insulation/metal-jacketing/springs/JM_IND_Springs_DS.pdf | [9 empty] | CHIL-SPRINGS | [15 empty] | CLEANSED | SPRING | EXTENSION | TYPE |  | OUTSIDE DIAMETER |  | WIRE SIZE |  | FREE LENGTH |  | LOAD CAPACITY |  | MATERIAL | STAINLESS STEEL 304 | MATERIAL SPECIFICATION |  | NUMBER OF COILS |  | END TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR 13 MM (1/2 IN) BAND,INSULATION MATERIAL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR058081 | 058081 | PSR058081 | INSULATION MATERIAL, SCREW, SELF-TAPPING | INSULATION MATERIAL, SCREW, SELF-TAPPING SCREW WITH NEOPRENE WASHER, 304 SS, (SAME SIZE AS THE SELF-TAPPING SCREW THAT COMES WITH THE Z-CLIP) | INSULATION MATERIAL, SCREW, SELF-TAPPING SCREW WITH NEOPRENE WASHER, 304 SS, (SAME SIZE AS THE SELF-TAPPING SCREW THAT COMES WITH THE Z-CLIP) | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SCREW | SELF-TAPPING | TYPE |  | THREAD DIAMETER |  | THREAD TYPE |  | OVERALL LENGTH |  | THREAD LENGTH |  | MATERIAL | STAINLESS STEEL 304 | MATERIAL SPECIFICATION |  | COATING/FINISH |  | DRIVE TYPE |  | DRIVE SIZE |  | POINT TYPE |  | POINT SIZE |  | HEAD SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INSULATION MATERIAL,C/W NEOPRENE WASHER,SAME SIZE AS THE SELF-TAPPING SCREW THAT COMES WITH THE Z-CLIP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR011925 | 011925 | PSR011925 | INSULATOR, CUP BUS BAR, 96 mm PITCH, 481 | INSULATOR, CUP BUS BAR, 96 mm PITCH, 481mm LONG, MATERIAL: POLYPROPYLENE, LOCAL FABRICATION, FOR ISA COMMERCIAL CELLS, REFERENCE PASAR DRAWING NO. PC-4091 | INSULATOR, CUP BUS BAR, 96 mm PITCH, 481mm LONG, MATERIAL: POLYPROPYLENE, LOCAL FABRICATION, FOR ISA COMMERCIAL CELLS, REFERENCE PASAR DRAWING NO. PC-4091 | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4400 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [18 empty] | PC-4091 | [6 empty] | CLEANSED | INSULATOR | ELECTRICAL | TYPE | CUP BUS BAR | VOLTAGE RATING |  | IMPULSE WITHSTAND VOLTAGE |  | FLASH OVER VOLTAGE |  | CREEPAGE DISTANCE |  | ARCING DISTANCE |  | BIL RATING |  | TENSILE STRENGTH |  | NUMBER OF DISC |  | CONDUCTOR SIZE |  | MOUNTING TYPE |  | MATERIAL | POLYPROPYLENE | SIZE | LG 481 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PITCH:96 MM,LOCAL FABRICATION,FOR ISA COMMERCIAL CELLS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR025810 | 025810 | PSR025810 | INSULATOR, SLIDE, TYPE: INSULATOR-RIS-10 | INSULATOR, SLIDE, TYPE: INSULATOR-RIS-10, FOR CF LADLE CRANE, INSULATOR DIAMETER: 85 MM, STUD BOLT: M16, INSULATOR TO CLAMP HEIGHT: 92 MM | INSULATOR, SLIDE, TYPE: INSULATOR-RIS-10, FOR CF LADLE CRANE, INSULATOR DIAMETER: 85 MM, STUD BOLT: M16, INSULATOR TO CLAMP HEIGHT: 92 MM | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [15 empty] | CF LADLE CRANE | [9 empty] | CLEANSED | INSULATOR | NO MODIFIER | TYPE | SLIDE | VOLTAGE RATING |  | CURRENT RATING |  | END CONNECTION |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DIAMETER:85 MM,STUD BOLT:M16,INSULATOR TO CLAMP HEIGHT:92 MM,RIS-10 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR022663 | 022663 | PSR022663 | JOINT FIXED, COPPER, BUS BAR, LENGTH: 20 | JOINT FIXED, COPPER, BUS BAR, LENGTH: 200 MM X 29 MM; WITH BOLT AND NUT FOR CF LADLE CRANE | JOINT FIXED, COPPER, BUS BAR, LENGTH: 200 MM X 29 MM; WITH BOLT AND NUT FOR CF LADLE CRANE | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 5935 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [15 empty] | CF LADLE CRANE | [9 empty] | CLEANSED | JOINT | NO MODIFIER | TYPE | FIXED,COPPER BUSBAR | SIZE | WD 29 X LG 200 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W BOLT AND NUT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954775 | 954775 | PSR954775 | LADDER,STEP;TYPE:FOLDING,PLATFORM,SIZE:W | LADDER,STEP;TYPE:FOLDING,PLATFORM,SIZE:WD 910 X HT 1800 MM,LOAD RATING:45 KG,MATERIAL:ALUMINUM,RUNG SIZE:WD 600 X HT 1200 | LADDER,STEP;TYPE:FOLDING,PLATFORM,SIZE:WD 910 X HT 1800 MM,LOAD RATING:45 KG,MATERIAL:ALUMINUM,RUNG SIZE:WD 600 X HT 1200,MM,ADDITIONAL FEATURES EN:ADJUSTABLE,WORKING;MNFR:ZHEJANG YONGAN DELI INDUSTRY AND TRADE LTD, MFG PART NO:DLTSL202 | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 2920 | ERSA | OTHER | Y | DLTSL202 | N/A | N/A | N | N/A | 60 | EX | N/A | PC | B |  | URL NOT FOUND |  | ZHEJANG YONGAN DELI INDUSTRY AND TRADE LTD | DLTSL202 | [22 empty] | CLEANSED | LADDER | STEP | TYPE | FOLDING | SIZE |  | LOAD RATING | 45 KG | MATERIAL | ALUMINUM | RUNG SIZE | WD 600 X HT 1200 MM | CASTER SIZE |  | CLIMBING ANGLE |  | BASE SPREAD |  | NUMBER OF STEPS |  | PLATFORM SIZE | WD 910 X HT 1800 MM | BASE WIDTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ADJUSTABLE WORKING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR058041 | 058041 | PSR058041 | LASER, ALIGNMENT, MODEL: SKF TKBA 40, PU | LASER, ALIGNMENT, MODEL: SKF TKBA 40, PULLEY AND BELT ALIGNMENT TOOL; BRAND: SKF | LASER, ALIGNMENT, MODEL: SKF TKBA 40, PULLEY AND BELT ALIGNMENT TOOL; BRAND: SKF | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | Y | SKF TKBA 40 | 3000348 | SKF | N | N/A | 30 | EX | N/A | EA |  |  | https://www.skf.com/in/products/maintenance-products/alignment-tools/belt-alignment-tools/belt-alignment-tool-tkba-40 |  | SKF | TKBA 40 | [22 empty] | ENRICHED | TOOL | ALIGNMENT | TYPE | PULLEY AND BELT LASER | SIZE | 70 X 74 X 61 MM TRANSMITTER,96 X 74 X 61 MM RECEIVER | LENGTH | 3 M AT 2 M LASER LINE | MATERIAL | EXTRUDED ALUMINIUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954735 | 954735 | PSR954735 | LIGHT, LED BATTEN, 20WATTS, 240VAC, 60HZ | LIGHT, LED BATTEN, 20WATTS, 240VAC, 60HZ, DAMP PROOF ANTI-CORROSSIVE LIGHT | LIGHT, LED BATTEN, 20WATTS, 240VAC, 60HZ, DAMP PROOF ANTI-CORROSSIVE LIGHT | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1640 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC | C |  | URL NOT FOUND | [25 empty] | CLEANSED | LIGHT | UNIT | TYPE | LED BATTEN | LAMP WATTAGE | 20 W | POWER SUPPLY | 240 VAC,60 HZ | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DAMP PROOF,ANTI-CORROSSIVE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR302292 | 302292 | PSR302292 | L-KEY, HEX (ALLEN WRENCH), HEX SIZE: 12 | L-KEY, HEX (ALLEN WRENCH), HEX SIZE: 12 MM, METRIC, LONG ARM, BLACK-OXIDE FINISH | L-KEY, HEX (ALLEN WRENCH), HEX SIZE: 12 MM, METRIC, LONG ARM, BLACK-OXIDE FINISH | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 263.75 | PD | 4010 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | WRENCH | ALLEN | TYPE | HEX,LONG ARM | SIZE | 12 MM | DRIVE ARM LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH | BLACK OXIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR470142 | 470142 | PSR470142 | LUG, TERMINAL, PIN TYPE, WIRE SIZE: 5.5 | LUG, TERMINAL, PIN TYPE, WIRE SIZE: 5.5 mm2, SOLDERLESS, WITH VINYL INSULATION. | LUG, TERMINAL, PIN TYPE, WIRE SIZE: 5.5 mm2, SOLDERLESS, WITH VINYL INSULATION. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | CONNECTOR | LUG | TYPE | PIN,SOLDERLESS | CONDUCTOR CONNECTION |  | HOLE SIZE |  | MATERIAL |  | TERMINATION END |  | INSULATION | VINYL | VOLTAGE RATING |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WIRE SIZE:5.5 MM2 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR944252 | 944252 | PSR944252 | LUG, TERMINAL, RING TYPE, WIRE/SCREW SIZ | LUG, TERMINAL, RING TYPE, WIRE/SCREW SIZE: 185 MM2 X 10 MM DIAMETER, SOLDERLESS, NON -INSULATED, BRAND: BURNDY | LUG, TERMINAL, RING TYPE, WIRE/SCREW SIZE: 185 MM2 X 10 MM DIAMETER, SOLDERLESS, NON -INSULATED, BRAND: BURNDY | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [9 empty] | BURNDY | [15 empty] | CLEANSED | CONNECTOR | LUG | TYPE | RING,SOLDERLESS | CONDUCTOR CONNECTION |  | HOLE SIZE | DIA 10 MM | MATERIAL |  | TERMINATION END |  | INSULATION | NON -INSULATED | VOLTAGE RATING |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WIRE SIZE:185 MM2 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR609023 | 609023 | PSR609023 | LUG, TERMINAL, RING TYPE, WIRE/SCREW SIZ | LUG, TERMINAL, RING TYPE, WIRE/SCREW SIZE: 38MM² X 10MM DIAMETER, SOLDERLESS, WITH BLUE VINYL INSULATION, MAKER: DALIER | LUG, TERMINAL, RING TYPE, WIRE/SCREW SIZE: 38MM² X 10MM DIAMETER, SOLDERLESS, WITH BLUE VINYL INSULATION, MAKER: DALIER | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | DALIER | [23 empty] | CLEANSED | CONNECTOR | LUG | TYPE | RING,SOLDERLESS | CONDUCTOR CONNECTION |  | HOLE SIZE | DIA 10 MM | MATERIAL |  | TERMINATION END |  | INSULATION | VINYL | VOLTAGE RATING |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WIRE SIZE:38 MM2,INSULATION COLOR:BLUE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954733 | 954733 | PSR954733 | LUG, TERMINAL, RING TYPE, WIRE/SCREW SIZ | LUG, TERMINAL, RING TYPE, WIRE/SCREW SIZE: 95.00MM2X12MMD, SOLDERLESS, W/VINYL INSULATION | LUG, TERMINAL, RING TYPE, WIRE/SCREW SIZE: 95.00MM2 X 12MMD, SOLDERLESS, W/VINYL INSULATION | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1640 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC | C |  | URL NOT FOUND | [25 empty] | CLEANSED | CONNECTOR | LUG | TYPE | RING,SOLDERLESS | CONDUCTOR CONNECTION |  | HOLE SIZE | DIA 12 MM | MATERIAL |  | TERMINATION END |  | INSULATION | VINYL | VOLTAGE RATING |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WIRE SIZE:95 MM2 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR016585 | 016585 | PSR016585 | LUMINAIRE SET, LED TUBE T8, 18W X 2-LAMP | LUMINAIRE SET, LED TUBE T8, 18W X 2-LAMPS, 220VAC, 60 Hz, RECESSED MOUNTING TYPE, ZINC PHOSPHATE STEEL SHEET HOUSING, POWDER COAT PAINT FINISH ON HOUSING, WITH WIRE CLIPS, DIE FORMED MIRRORIZED ALUMINUM REFLECTOR AND. | LUMINAIRE SET, LED TUBE T8, 18W X 2-LAMPS, 220VAC, 60 Hz, RECESSED MOUNTING TYPE, ZINC PHOSPHATE STEEL SHEET HOUSING, POWDER COAT PAINT FINISH ON HOUSING, WITH WIRE CLIPS, DIE FORMED MIRRORIZED ALUMINUM REFLECTOR AND. | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4100 | ERSA | OTHER | N | N/A |  |  | N | N/A | 90 | EX |  | EA | C |  | URL NOT FOUND | [25 empty] | CLEANSED | LIGHT | UNIT | TYPE | LED TUBE | LAMP WATTAGE | 18 W | POWER SUPPLY | 220 VAC,60 HZ | COLOUR |  | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS | 2 | MOUNTING TYPE | RECESSED | MATERIAL | ZINC PHOSPHATE STEEL SHEET | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BULB SHAPE:T8,POWDER COAT PAINT FINISH ON HOUSING,C/W WIRE CLIPS,DIE FORMED MIRRORIZED ALUMINUM REFLECTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR038387 | 038387 | PSR038387 | MAT, FLOOR, FOR VEHICLE USE | MAT, FLOOR, FOR VEHICLE USE | MAT, FLOOR, FOR VEHICLE USE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | MAT | NO MODIFIER | TYPE | FLOOR | SIZE |  | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR VEHICLE UE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR051155 | 051155 | PSR051155 | MODULE, I/O EXTENSION, 17.5 MM W x 99 MM | MODULE, I/O EXTENSION, 17.5 MM W x 99 MM H x 114.5 MM D, HOUSING MATERIAL: PA 6.6-FR, MOUNTING TYPE: DIN RAIL, IP20, SUPPLY VOLTAGE: 19.2 VDC ~ 30.5 VDC, MODEL: RAD-DI4-IFS, PART NO.: 2901535, MFR: PHOENIX CONTACT | MODULE, I/O EXTENSION, 17.5 MM W x 99 MM H x 114.5 MM D, HOUSING MATERIAL: PA 6.6-FR, MOUNTING TYPE: DIN RAIL, IP20, SUPPLY VOLTAGE: 19.2 VDC ~ 30.5 VDC, MODEL: RAD-DI4-IFS, PART NO.: 2901535, MFR: PHOENIX CONTACT | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5100 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://www.phoenixcontact.com/en-in/products/extension-module-rad-di4-ifs-2901535 |  | PHOENIX CONTACT | 2901535 |  | RAD-DI4-IFS | [20 empty] | ENRICHED | MODULE | ELECTRONIC | TYPE | DIGITAL I/O EXTENSION | INPUT RATING | 0-250 VAC/DC,1 MA | OUTPUT RATING |  | CONNECTION TYPE | SCREW | SIZE | WD 17.5 X DP 114.5 X HT 113 MM | MOUNTING TYPE | DIN RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CUL,EAC EX,IECEX,ATEX | ADDITIONAL FEATURES EN | MATERIAL:PA 6.6-FR,DEGREE OF PROTECTION:IP20,SUPPLY VOLTAGE:19.2-30.5 VDC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR026518 | 026518 | PSR026518 | MOUSE, OPTICAL, WIRELESS, WIRELESS OPTIC | MOUSE, OPTICAL, WIRELESS, WIRELESS OPTICAL MOUSE | MOUSE, OPTICAL, WIRELESS, WIRELESS OPTICAL MOUSE | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4500 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | MOUSE | COMPUTER | TYPE | OPTICAL,WIRELESS | COMPATIBILITY |  | NUMBER OF BUTTONS |  | SIZE |  | INTERFACE TYPE |  | CABLE LENGTH |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954624 | 954624 | PSR954624 | NOZZLE, INLET, 3RD, APPLIED BY STAINLESS | NOZZLE, INLET, 3RD, APPLIED BY STAINLESS SPRAY P/N: A16, MATERIAL: STEEL, REFERENCE MESCO DWG. NOS. VGZ41033 / KM07003 / KM07004, MFR: KOBE STEEL, LTD | NOZZLE, INLET, 3RD, APPLIED BY STAINLESS SPRAY P/N: A16, MATERIAL: STEEL, REFERENCE MESCO DWG. NOS. VGZ41033 / KM07003 / KM07004, MFR: KOBE STEEL, LTD | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | Y | A16 | 90 | EX | KOBE STEEL, LTD | PC |  |  | URL NOT FOUND |  | KOBE STEEL, LTD | A16 | MESCO | [14 empty] | VGZ41033,KM07003,KM07004 | [6 empty] | CLEANSED | NOZZLE | SPRAY | TYPE | INLET | ORIFICE SIZE |  | NOMINAL SIZE |  | END CONNECTION |  | MATERIAL | STAINLESS STEEL | FLOW RATING |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3RD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954674 | 954674 | PSR954674 | NUT, SHAFT, M48 X 1.5, P/N: 51364001903, | NUT, SHAFT, M48 X 1.5, P/N: 51364001903, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | NUT, SHAFT, M48 X 1.5, P/N: 51364001903, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5620 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 51364001903 | 90 | EX | LONKING | PC | B |  | URL NOT FOUND |  | LONKING | 51364001903 | [12 empty] | SKID STEER LOADER | CDM307 | LONKING |  |  | LSL00307CNA882177 |  |  |  |  | CLEANSED | NUT | NO MODIFIER | TYPE | SHAFT | THREAD SIZE | M48 X 1.5 MM | THREAD TYPE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HEIGHT |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRAVEL SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR940501 | 940501 | PSR940501 | O-RING, P/N 33216050, FOR VPSA-3 INSTRUM | O-RING, P/N 33216050, FOR VPSA-3 INSTRUMENT AIR COMPRESSOR, MODEL: DSP-55ARII, MFG NO.: U1195959, MFR: HITACHI | O-RING, P/N 33216050, FOR VPSA-3 INSTRUMENT AIR COMPRESSOR, MODEL: DSP-55ARII, MFG NO.: U1195959, MFR: HITACHI | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2230 | ERSA | OTHER | Y | 33216050 | 3000004 | HITACHI | N | N/A | 240 | EX | N/A | PC |  |  | https://pnm--parts-ru.translate.goog/catalog/hitachi/hitachi-industrial-equipment/z6133216050?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  | HITACHI | 33216050 | [12 empty] | VPSA-3 INSTRUMENT AIR COMPRESSOR | DSP-55ARII | [7 empty] | U1195959 | CLEANSED | O-RING | NO MODIFIER | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | WIDTH |  | MATERIAL |  | DASH NUMBER |  | HARDNESS |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR057023 | 057023 | PSR057023 | PANEL, CONTROL, ENCLOSURE, INDUSTRIAL, O | PANEL, CONTROL, ENCLOSURE, INDUSTRIAL, OUTDOOR USE/TYPE INSTALLATION, HEAVY DUTY, WITH REMOVABLE BACKPLATE, 400 mm HEIGHT X 300 mm WIDTH X 250 mm THICKNESS OR DEPTH, SUS 314, IP65, SURFACE OR WALL MOUNTED | PANEL, CONTROL, ENCLOSURE, INDUSTRIAL, OUTDOOR USE/TYPE INSTALLATION, HEAVY DUTY, WITH REMOVABLE BACKPLATE, 400 mm HEIGHT X 300 mm WIDTH X 250 mm THICKNESS OR DEPTH, SUS 314, IP65, SURFACE OR WALL MOUNTED | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | PANEL | CONTROL | TYPE | ENCLOSURE,INDUSTRIAL,HEAVY DUTY | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | WD 300 X DP 250 X HT 400 MM | ENCLOSURE |  | MATERIAL | STAINLESS STEEL 314 | FREQUENCY RATING |  | DEGREE OF PROTECTION | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOUNTING:SURFACE/WALL,OUTDOOR USE TYPE INSTALLATION,C/W REMOVABLE BACKPLATE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR939615 | 939615 | PSR939615 | PAPER, PARCHMENT, 8.5” X 11”, 96 PCS PER | PAPER, PARCHMENT, 8.5” X 11”, 96 PCS PER PACK WITH PARCHTONE PAPER - VINTAGE SCRAPBOOK PAPER. | PAPER, PARCHMENT, 8.5” X 11”, 96 PCS PER PACK WITH PARCHTONE PAPER - VINTAGE SCRAPBOOK PAPER. | PK | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4050 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PAC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | PAPER | NO MODIFIER | TYPE | PARCHMENT,VINTAGE SCRAPBOOK | SIZE | WD 8.5 X HT 11 IN | THICKNESS |  | WEIGHT |  | COLOUR |  | PACKAGE TYPE |  | PACKAGE QUANTITY | 96 PCS | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR460526 | 460526 | PSR460526 | PINCER, CLAMP, STANDARD JAWS, COMPOUND A | PINCER, CLAMP, STANDARD JAWS, COMPOUND ACTION, HAND INSTALLATION, FOR EAR CLAMP, BRAND: OETIKER OR EQUIVALENT | PINCER, CLAMP, STANDARD JAWS, COMPOUND ACTION, HAND INSTALLATION, FOR EAR CLAMP, BRAND: OETIKER OR EQUIVALENT | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [9 empty] | OETIKER | [15 empty] | CLEANSED | PINCER | NO MODIFIER | TYPE | STANDARD JAWS | JAW OPENING |  | LENGTH |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COMPOUND ACTION,HAND INSTALLATION,FOR EAR CLAMP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR038052 | 038052 | PSR038052 | PIPE, SCH 40, 12" NOMINAL DIAMETER X 20 | PIPE, SCH 40, 12" NOMINAL DIAMETER X 20 FEET LONG, 150LB or JIS10K PRESSURE RATING, RESIN MATERIAL: ATLAC 382, CONFORMING IN ACCORDANCE TO ASTM D2517 or EQUIVALENT | PIPE, SCH 40, 12" NOMINAL DIAMETER X 20 FEET LONG, 150LB or JIS10K PRESSURE RATING, RESIN MATERIAL: ATLAC 382, CONFORMING IN ACCORDANCE TO ASTM D2517 or EQUIVALENT | LG | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 2200 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | PIPE | NON-METALLIC | TYPE |  | NOMINAL SIZE | 12 IN | LENGTH | 20 FT | SCHEDULE/WALL THICKNESS | SCH 40 | PRESSURE CLASS/RATING | 150 LB/JIS10K | MATERIAL | POLYESTER RESIN ATLAC 382 ASTM D2517 | TEMPERATURE RATING |  | COLOUR |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954672 | 954672 | PSR954672 | PLATE, BAFFLE, P/N: 30804100106, TRAVEL | PLATE, BAFFLE, P/N: 30804100106, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | PLATE, BAFFLE, P/N: 30804100106, TRAVEL SYSTEM, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882177, MFR: LONKING | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5620 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 30804100106 | 90 | EX | LONKING | PC | B |  | URL NOT FOUND |  | LONKING | 30804100106 | [12 empty] | SKID STEER LOADER | CDM307 | LONKING |  |  | LSL00307CNA882177 |  |  |  |  | CLEANSED | PLATE | BAFFLE | TYPE |  | SIZE |  | MATERIAL |  | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | TRAVEL SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR954791 | 954791 | PSR954791 | PLATE,METAL;WIDTH:2.4 M,LENGTH:6 M,THICK | PLATE,METAL;WIDTH:2.4 M,LENGTH:6 M,THICKNESS:10 MM,MATERIAL:CARBON STEEL,MATERIAL SPECIFICATION:ASTM A36M | PLATE,METAL;WIDTH:2.4 M,LENGTH:6 M,THICKNESS:10 MM,MATERIAL:CARBON STEEL,MATERIAL SPECIFICATION:ASTM A36M | EA | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 1500 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 120 | EX | N/A | EA | C |  | URL NOT FOUND | [25 empty] | CLEANSED | PLATE | METAL | WIDTH | 2.4 M | LENGTH | 6 M | THICKNESS | 10 MM | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | ASTM A36M | PROCESS |  | WEIGHT |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR935750 | 935750 | PSR935750 | POWER CORD, COLOR: BLACK, SIZE: 10ft (3m | POWER CORD, COLOR: BLACK, SIZE: 10ft (3m), IEC320 C14 to IEC320 C19 14AWG 250V/15A | POWER CORD, COLOR: BLACK, SIZE: 10ft (3m), IEC320 C14 to IEC320 C19 14AWG 250V/15A | RL | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | ROL |  |  | URL NOT FOUND | [25 empty] | CLEANSED | CORD | POWER | TYPE |  | VOLTAGE RATING | 250 V | CURRENT RATING | 15 A | PLUG TYPE |  | CONNECTION TYPE | IEC320 C14 X IEC320 C19 | NUMBER OF CONDUCTORS |  | CONDUCTOR SIZE | 14 AWG | LENGTH | 10 FT (3 M) | JACKET MATERIAL |  | INSULATION MATERIAL |  | COLOUR | BLACK | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR011950 | 011950 | PSR011950 | PRINTER, BARCODE, DIRECT-THERMAL/THERMAL | PRINTER, BARCODE, DIRECT-THERMAL/THERMAL TRANSFER, RESOLUTION: 203 DPI/8 DOTS PER MM (300 DPI/12 DOTS PER MM OPTIMAL), MAX. PRINT WIDTH: 4.09 IN./104 MM MAX. PRINT SPEED: 12 IPS (203 DPI) 8 IPS (300 DPI), INTERFACES: USB 2.0, | PRINTER, BARCODE, DIRECT-THERMAL/THERMAL TRANSFER, RESOLUTION: 203 DPI/8 DOTS PER MM (300 DPI/12 DOTS PER MM OPTIMAL), MAX. PRINT WIDTH: 4.09 IN./104 MM MAX. PRINT SPEED: 12 IPS (203 DPI) 8 IPS (300 DPI), INTERFACES: USB 2.0, RS-232 SERIAL PORT, 10/100 ETHERNET, USB HOST, ENERGY STAR® CERTIFIED, BLUETOOTH LOW ENERGY | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4500 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | PRINTER | BARCODE | TYPE | DIRECT THERMAL/THERMAL TRANSFER | PRINT METHOD |  | SIZE | WD 104 MM MAX | RESOLUTION | 203 DPI/8 DOTS PER MM (300 DPI/12 DOTS PER MM OPTIMAL) | PRINT SPEED | 12 IPS (203 DPI),8 IPS (300 DPI) | INPUT RATING |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ENERGY STAR | ADDITIONAL FEATURES EN | INTERFACES:USB 2.0,RS-232 SERIAL PORT,10/100 ETHERNET,USB HOST,BLUETOOTH LOW ENERGY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR050789 | 050789 | PSR050789 | PUMP, SLURRY, SUBMERSIBLE, MODEL: KTV2-8 | PUMP, SLURRY, SUBMERSIBLE, MODEL: KTV2-80, DISCHARGE RATE: 0.50 M3/MIN, TOTAL HEAD: 12M, OUTPUT: 3 KW, VOLTAGE: 440V, NO. OF POLE: 2, FRAME: ALUMINUM ALLOY CASING, SHAFT: STAINLESS STEEL; BRAND: TSURUMI | PUMP, SLURRY, SUBMERSIBLE, MODEL: KTV2-80, DISCHARGE RATE: 0.50 M3/MIN, TOTAL HEAD: 12M, OUTPUT: 3 KW, VOLTAGE: 440V, NO. OF POLE: 2, FRAME: ALUMINUM ALLOY CASING, SHAFT: STAINLESS STEEL; BRAND: TSURUMI | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://www.tsurumipump.com/ktv2-80/ktv2-80/ | [9 empty] | TSURUMI | KTV2-80 | [14 empty] | ENRICHED | PUMP | SUBMERSIBLE | TYPE | SLURRY,DEWATERING AGITATOR | HEAD RANGE | 12 M | POWER RATING | 3 KW | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | NUMBER OF STAGES |  | DISCHARGE PRESSURE | 0.50 M3/MIN | SUCTION PRESSURE |  | BORE SIZE |  | SPEED RATING |  | DRIVE DETAILS |  | ELECTRICAL RATING | 440 V,2 P | IMPELLER DIAMETER |  | IMPELLER MATERIAL |  | CASE MATERIAL | ALUMINUM ALLOY | END CONNECTION |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SHAFT MATERIAL:STAINLESS STEEL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [15 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR940842 | 940842 | PSR940842 | REAGENT BOTTLE, WIDE MOUTH, POLYPROPYLEN | REAGENT BOTTLE, WIDE MOUTH, POLYPROPYLENE, 2 LITER CAPACITY, CATALOGUE NUMBER 2121-0005 | REAGENT BOTTLE, WIDE MOUTH, POLYPROPYLENE, 2 LITER CAPACITY, CATALOGUE NUMBER 2121-0005 | BT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4200 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 60 | EX | N/A | BT |  |  | https://www.thermofisher.com/order/catalog/product/2121-0005 |  | THERMO FISHER | 2121-0005 | [22 empty] | ENRICHED | BOTTLE | NO MODIFIER | TYPE | REAGENT,LARGE WIDE MOUTH | CAPACITY | 2 L | MATERIAL | POLYPROPYLENE | SIZE | DIA 120 X HT 244 MM | LID TYPE | SCREW CAP | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR012326 | 012326 | PSR012326 | RESISTOR, START DE-EXCITATION, MODEL: NM | RESISTOR, START DE-EXCITATION, MODEL: NM2321, ROTARY, QM 0.36Ω-A3, FOR WET SAG MILL | RESISTOR, START DE-EXCITATION, MODEL: NM2321, ROTARY, QM 0.36Ω-A3, FOR WET SAG MILL | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5820 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  |  | NM2321 | [12 empty] | WET SAG MILL | [9 empty] | CLEANSED | RESISTOR | NO MODIFIER | TYPE | START DE-EXCITATION,ROTARY | RESISTANCE | 0.36 OHM-A3 | POWER RATING |  | VOLTAGE RATING |  | TERMINAL TYPE |  | MATERIAL |  | TOLERANCE |  | TEMPERATURE RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | VNE | VNE | OK | 2023-03-17 | 2023-03-20 |  | PSR953681 | 953681 | PSR953681 | RING, SNAP, MATERIAL: SK-5, CODE NO: SNU | RING, SNAP, MATERIAL: SK-5, CODE NO: SNU78R5U-2242, FOR NITROGEN COMPRESSOR, MODEL: YD2-220G-OL, MFR: KAJI TECHNOLOGY | RING, SNAP, MATERIAL: SK-5, CODE NO: SNU78R5U-2242, FOR NITROGEN COMPRESSOR, MODEL: YD2-220G-OL, MFR: KAJI TECHNOLOGY | PC |  |  | STOCK | Not Planned | CRITICAL | B | 0 | PD | 3020 | ERSA | OTHER | N | N/A | N/A | NO | Y | SNU78R5U-2242 | 90 | EX | KAJI TECHNOLOGY | PC |  |  | URL NOT FOUND |  | KAJI TECHNOLOGY | SNU78R5U-2242 | [12 empty] | NITROGEN COMPRESSOR | YD2-220G-OL | [8 empty] | CLEANSED | RING | NO MODIFIER | TYPE | SNAP | DIMENSIONS |  | MATERIAL | HIGH CARBON STEEL SK-5 | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed