## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | STOCKNO | SN | SN DESC | DESCRIPTION | LONG DESCRIPTION | UM | MINQTY | MAXQTY | ITEM TYPE | PLANNING METHOD | INVENTORY TYPE | BI CODE | AVG COST | SAP MRP TYPE | SAP MATERIAL GROUP | SAP MATERIAL TYPE | SAP INVENTORY TYPE | SAP OEM | SAP PN | SAP MFG NUMBER | SAP MFG NAME | PASAR OEM | PASAR PN | SAP PDT | LOT SIZE | PASAR MFG NAME | SAP UOM | SAP BI CODE | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | ART / Article Number | MFG Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR029017 | 029017 | PSR029017 | NANO STATION, UBIQUITI, NSM5, 5 GHZ, 802 | NANO STATION, UBIQUITI, NSM5, 5 GHZ, 802.11 A/N HI POWER MINIMUM, 2 X 2 MIMO AIRMAX TDMA POE STATION | NANO STATION, UBIQUITI, NSM5, 5 GHZ, 802.11 A/N HI POWER MINIMUM, 2 X 2 MIMO AIRMAX TDMA POE STATION | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://www.bhphotovideo.com/c/product/1049768-REG/ubiquiti_networks_nsm5.html | https://www.vsatplus.com/products/ubiquiti-nsm5-nanostation-m5-airmax-outdoor-5ghz-16dbi-wifi-access-point | UBIQUITI | NSM5 | [22 empty] | ENRICHED | ROUTER | NETWORK | TYPE | NANO STATION | DATA TRANSFER RATE |  | NUMBER OF PORTS |  | MEMORY | 64 MB | PROTOCOL |  | POWER SUPPLY | 8 W | CONNECTION TYPE |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,FCC,IC | ADDITIONAL FEATURES EN | WIRELESS FREQUENCY:5 GHZ,802.11 A/N HI POWER MIN,SERIES:2 X 2 MIMO AIRMAX TDMA POE STATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR943946 | 943946 | PSR943946 | STICKER, CUSTOMIZED, REFLECTIVE, 5 CM X | STICKER, CUSTOMIZED, REFLECTIVE, 5 CM X 3 M (W*L), YELLOW, HONEYCOMB PATTERN, CUSTOMIZED; BRAND: 3M | STICKER, CUSTOMIZED, REFLECTIVE, 5 CM X 3 M (W*L), YELLOW, HONEYCOMB PATTERN, CUSTOMIZED; BRAND: 3M | RL | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | Y | - | 3000220 | 3M | N | N/A | 30 | EX | N/A | ROL |  |  | URL NOT FOUND |  | 3M | [7 empty] | 3M | [15 empty] | CLEANSED | STICKER | NO MODIFIER | TYPE | CUSTOMIZED,REFLECTIVE,HONEYCOMB PATTERN | LEGEND |  | DIMENSIONS | WD 50 MM X LG 3 M | LEGEND COLOUR |  | BACKGROUND COLOUR | YELLOW | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR938945 | 938945 | PSR938945 | STUD, FINAL DRIVE, M16 X 32 L: 56, P/N 9 | STUD, FINAL DRIVE, M16 X 32 L: 56, P/N 9-09830-243-0, REAR FINAL DRIVE GROUP, FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN: JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | STUD, FINAL DRIVE, M16 X 32 L: 56, P/N 9-09830-243-0, REAR FINAL DRIVE GROUP, FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN: JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5955 | ERSA | OTHER | Y | 9-09830-243-0 | 3000024 | ISUZU | N | N/A | 30 | EX | N/A | PC |  |  | https://parts.isuzu.astra.co.id/marketing/catalog/search.php?search=9-09830-243-0 |  | ISUZU | 9-09830-243-0 | [12 empty] | DUMPTRUCK C/W ENGINE | CYZ51 VIN JALCYZ51ME7000160,6WF1 NO 6WF1-TCC | [8 empty] | CLEANSED | STUD | NO MODIFIER | TYPE | FINAL DRIVE | NOMINAL SIZE | M16 | THREAD TYPE |  | THREAD PITCH |  | THREAD LENGTH | 32 MM | LENGTH | 56 MM | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REAR FINAL DRIVE GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR941024 | 941024 | PSR941024 | SWITCH, NEUTRAL, P/N 8-97640-725-0, TRAN | SWITCH, NEUTRAL, P/N 8-97640-725-0, TRANSMISSION SYSTEM; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN: JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | SWITCH, NEUTRAL, P/N 8-97640-725-0, TRANSMISSION SYSTEM; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN: JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5955 | ERSA | OTHER | Y | 8-97640-725-0 | 3000024 | ISUZU | N | N/A | 30 | EX | N/A | PC |  |  | http://catcar.info/isuzu/?lang=en&l=c3Q9PTYwfHxzdHM9PXsiMjAiOiJNb2RlbCIsIjMwIjoiQyZFIiwiNDAiOiIxMTAzOSAtIEVYWiBSSEQgRVVSTzQgICAgIDA3IC0gICIsIjUwIjoiMiAtIENsdXRjaCwgVHJhbnNtaXNzaW9uLCBUcmFucyBBeGxlIiwiNjAiOiIyLTMwIC0gR0VBUiBTSElGVEVSIEFORCBRVUFEUkFOVCBCT1gifXx8bW9kZWxJZD09MjAwMDZ8fG1vZGVsQ29kZUlkPT0xMDAwMXx8ZXF1aXBtZW50SWQ9PTQwOXx8cG9zRmlsdGVyPT18fGdyb3VwSWQ9PTE3NDh8fHN0czUwPT17IjIwIjoiTW9kZWwiLCIzMCI6IkMmRSIsIjQwIjoiMTEwMzkgLSBFWFogUkhEIEVVUk80ICAgICAwNyAtICAiLCI1MCI6IjIgLSBDbHV0Y2gsIFRyYW5zbWlzc2lvbiwgVHJhbnMgQXhsZSJ9fHxzdWJncm91cElkPT0yODM4Nnx8aW1nPT0xNDA0OTN8fGZ0cj09 | https://degeltruckparts.com/shop/8-98166-989-0/ | ISUZU | 8-97640-725-0 | [12 empty] | DUMPTRUCK C/W ENGINE | CYZ51 VIN JALCYZ51ME7000160,6WF1 NO 6WF1-TCC | [8 empty] | CLEANSED | SWITCH | NO MODIFIER | TYPE | NEUTRAL | VOLTAGE RATING |  | CURRENT RATING |  | CONTACT CONFIGURATION |  | NUMBER OF POSITIONS |  | ENCLOSURE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | ACTION |  | OPERATOR TYPE |  | POWER RATING |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR TRANSMISSION SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR508321 | 508321 | PSR508321 | TABLE, CONFERENCE, ROUND, 42 DIAMETER, 4 | TABLE, CONFERENCE, ROUND, 42 DIAMETER, 4-SEATER, HARDWOOD | TABLE, CONFERENCE, ROUND, 42 DIAMETER, 4-SEATER, HARDWOOD | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 5245.09 | PD | 2700 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | TABLE | NO MODIFIER | TYPE | CONFERENCE,ROUND | DIMENSIONS | DIA 42 IN | MATERIAL | HARDWOOD | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | NO OF SEAT:4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR017796 | 017796 | PSR017796 | TABLE, SIDE, 1600 mm LONG X 450 mm WIDE | TABLE, SIDE, 1600 mm LONG X 450 mm WIDE X 750 mm HIGH; WITH OPEN SHELF. | TABLE, SIDE, 1600 mm LONG X 450 mm WIDE X 750 mm HIGH; WITH OPEN SHELF. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX |  | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | TABLE | NO MODIFIER | TYPE | SIDE | DIMENSIONS | WD 450 MM X LG 1.6 M X HT 750 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W OPEN SHELF | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR655581 | 655581 | PSR655581 | TAPE, PACKAGING, 100 MM WIDE | TAPE, PACKAGING, 100 MM WIDE | TAPE, PACKAGING, 100 MM WIDE | RL | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | ROL |  |  | URL NOT FOUND | [25 empty] | CLEANSED | TAPE | NO MODIFIER | TYPE | PACKAGING | SIZE | WD 100 MM | MATERIAL |  | TEMPERATURE RATING |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR954782 | 954782 | PSR954782 | TAPE,ELECTRICAL;MNFR:3M,PTNO:SCOTCH 35,T | TAPE,ELECTRICAL;MNFR:3M,PTNO:SCOTCH 35,TYPE:COLOUR CODED,PHASE IDENTIFICATION,SIZE:WD 19.05 MM X LG 20 M,COLOUR:YELLOW,MATERIAL:RUBBER,BACKING:VINYL,MATERIAL THICKNESS:0.18 MM,TEMPERATURE RATING:MAX 105 DEG C, | TAPE,ELECTRICAL;MNFR:3M,PTNO:SCOTCH 35,TYPE:COLOUR CODED,PHASE IDENTIFICATION,SIZE:WD 19.05 MM X LG 20 M,COLOUR:YELLOW,MATERIAL:RUBBER,BACKING:VINYL,MATERIAL THICKNESS:0.18 MM,TEMPERATURE RATING:MAX 105 DEG C,DIELECTRIC STRENGTH:30 N/10 MM,CERTIFICATION/STANDARD:ROHS 2015/863/EU,ADDITIONAL FEATURES EN:FLAME RETARDANT,VOLTAGE RATING:600 V | EA | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 1600 | ERSA | OTHER | Y | SCOTCH 35 | 3000220 | 3M | N | N/A | 90 | EX | N/A | EA | B |  | https://www.3mindia.in/3M/en_IN/p/d/b00034627/ |  | 3M | [7 empty] | SCOTCH | 35 | [14 empty] | CLEANSED | TAPE | ELECTRICAL | TYPE | COLOUR CODED,PHASE IDENTIFICATION,FLAME RETARDANT | SIZE | WD 19.05 MM X LG 20 M | COLOUR | YELLOW | MATERIAL | RUBBER | MATERIAL THICKNESS | 0.8 MM | TEMPERATURE RATING | 105 DEG C MAX | DIELECTRIC STRENGTH | 30 N/10 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS 2015/863/EU | ADDITIONAL FEATURES EN | VOLTAGE RATING:600 V,BACKING:VINYL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR012236 | 012236 | PSR012236 | TEE, STRAIGHT, PIPE, SCH 80, SUS316L, 50 | TEE, STRAIGHT, PIPE, SCH 80, SUS316L, 50 mm X 50 mm ND, OUTSIDE DIAMETER: D1: 61.5 mm; D2: 61.5 mm, SEAMLESS, BUTT-WELDING TYPE; MATERIAL: STAINLESS STEEL TYPE 316L; CONFORMING TO JIS G3459/B2312 | TEE, STRAIGHT, PIPE, SCH 80, SUS316L, 50 mm X 50 mm ND, OUTSIDE DIAMETER: D1: 61.5 mm; D2: 61.5 mm, SEAMLESS, BUTT-WELDING TYPE; MATERIAL: STAINLESS STEEL TYPE 316L; CONFORMING TO JIS G3459/B2312 | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2200 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | TEE | PIPE | TYPE | STRAIGHT,SEAMLESS | NOMINAL SIZE | 50 X 50 MM | END CONNECTION | BUTT WELD | PRESSURE CLASS/RATING |  | SCHEDULE/WALL THICKNESS | SCH 80 | MATERIAL | STAINLESS STEEL 316L | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | JIS G3459/B2312 | ADDITIONAL FEATURES EN | OUTSIDE DIAMETER D1,D2:61.5 MM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR105227 | 105227 | PSR105227 | TENSIONER, STEEL STRAPPING, FEEDWHEEL ST | TENSIONER, STEEL STRAPPING, FEEDWHEEL STYLE, STRAPPING WIDTH: 3/8 TO 3/4; STRAPPING THICKNESS: 0.015 TO 0.025; FOR OPEN SEALS; CAT. NO. 2071T163; REFERENCE MCMASTER-CARR® CATALOG | TENSIONER, STEEL STRAPPING, FEEDWHEEL STYLE, STRAPPING WIDTH: 3/8 TO 3/4; STRAPPING THICKNESS: 0.015 TO 0.025; FOR OPEN SEALS; CAT. NO. 2071T163; REFERENCE MCMASTER-CARR® CATALOG | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4010 | ERSA | OTHER | Y | 2071T163 | 3000314 | MCMASTER CARR SUPPLY COMPANY | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | MCMASTER CARR SUPPLY COMPANY | 2071T163 | [6 empty] | MCMASTER-CARR | [15 empty] | CLEANSED | TENSIONER | NO MODIFIER | TYPE | FEEDWHEEL STYLE,STEEL STRAPPING | CHAIN SIZE |  | FORCE RANGE |  | IDLER OUTSIDE DIAMETER |  | MOUNTING HOLE SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | STRAPPING WIDTH:3/8-3/4 IN,STRAPPING THICKNESS:1/64-1/32 IN,FOR OPEN SEALS,CAT NO:2071T163 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR027587 | 027587 | PSR027587 | THERMOMETER, FREEZER, DUAL RANGE THERMOM | THERMOMETER, FREEZER, DUAL RANGE THERMOMETER PAIRED WITH A TEMPERATURE BUFFERED SENSOR, SEALED IN A BOTTLE, NON TOXIC GLYCOL SOLUTION, PROVIDES ACCURATE READING EVEN WHEN REFRIGERATOR FREEZER DOORS ARE OPENED/CLOSED. | THERMOMETER, FREEZER, DUAL RANGE THERMOMETER PAIRED WITH A TEMPERATURE BUFFERED SENSOR, SEALED IN A BOTTLE, NON TOXIC GLYCOL SOLUTION, PROVIDES ACCURATE READING EVEN WHEN REFRIGERATOR FREEZER DOORS ARE OPENED/CLOSED. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4040 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | THERMOMETER | NO MODIFIER | TYPE | FREEZER,DUAL RANGE | RANGE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PAIRED C/W A TEMPERATURE BUFFERED SENSOR,SEALED IN A BOTTLE,NON TOXIC GLYCOL SOLUTION,PROVIDES ACCURATE READING EVEN WHEN REFRIGERATOR FREEZER DOORS ARE OPENED/CLOSED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 | NM BASED ON WEB SOURCE | PSR938923 | 938923 | PSR938923 | THYRISTOR, TYPE: CM200DU-24H, NO S53AA0 | THYRISTOR, TYPE: CM200DU-24H, NO S53AA0 H, FOR 75KVA UPS, MFR: MITSUBISHI ELECTRIC CORPORATION JAPAN | THYRISTOR, TYPE: CM200DU-24H, NO S53AA0 H, FOR 75KVA UPS, MFR: MITSUBISHI ELECTRIC CORPORATION JAPAN | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | http://www.ineltron.de/english/mitsubishi-data/IGBT/CM200DU-24H.pdf |  | MITSUBISHI ELECTRIC CORPORATION JAPAN | CM200DU-24H |  | S53AA0 H | [10 empty] | 75 KVA UPS | [9 empty] | ENRICHED | MODULE | ELECTRONIC | TYPE | THYRISTOR | INPUT RATING |  | OUTPUT RATING |  | CONNECTION TYPE |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR938924 | 938924 | PSR938924 | TRANSFORMER, CURRENT, TYPE: CB132-A4, 1S | TRANSFORMER, CURRENT, TYPE: CB132-A4, 1S1-1S2: 2000/5A 10VA CL1Fs5, 2S1-2S2: 2000/5A 10VA CL5P10, 3S1-3S2: 2000/5A 10VA CL5P10, 60Hz, Ith: 80In-1s, Idyn: 2,5lth, Icth: 1, 2In, 12/28/75kV, IEC: 61869-2, | TRANSFORMER, CURRENT, TYPE: CB132-A4, 1S1-1S2: 2000/5A 10VA CL1Fs5, 2S1-2S2: 2000/5A 10VA CL5P10, 3S1-3S2: 2000/5A 10VA CL5P10, 60Hz, Ith: 80In-1s, Idyn: 2,5lth, Icth: 1, 2In, 12/28/75kV, IEC: 61869-2, MFR: RS ISOLSEC INSTRUMENTS TRANSFORMER, FRANCE | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://www.rsisolsec.com/wp-content/uploads/M2PA_11.pdf |  | RS ISOLSEC INSTRUMENTS TRANSFORMER, FRANCE | CB132-A4 | [22 empty] | ENRICHED | TRANSFORMER | CURRENT | TYPE |  | RATIO |  | VOLTAGE RATING | 12/28/75 KV | CURRENT RATING |  | ACCURACY |  | BURDEN POWER |  | NUMBER OF PHASE |  | FREQUENCY RATING | 60 HZ | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61869-2,IEEE,CSA,AS,BS | ADDITIONAL FEATURES EN | 1S1-1S2:2000/5A 10VA CL1FS5,2S1-2S2: 2000/5A 10VA CL5P10,3S1-3S2:2000/5A 10VA CL5P10,LTH:80LN-1S,LDYN:2,5 LTH,LCTH:1,2 LN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR029325 | 029325 | PSR029325 | TRAY, CABLE, STRAIGHT, LADDER TYPE, 150 | TRAY, CABLE, STRAIGHT, LADDER TYPE, 150 MM X 75 MM WIDE X 2400 MM LONG, 2 MM THICKNESS, STAINLESS STEEL MATERIAL: SUS 304, WITH COVER, COMPLETE WITH CONNECTORS, BOLTS NUTS, PLAIN WASHER AND BONDING JUMPER. | TRAY, CABLE, STRAIGHT, LADDER TYPE, 150 MM X 75 MM WIDE X 2400 MM LONG, 2 MM THICKNESS, STAINLESS STEEL MATERIAL: SUS 304, WITH COVER, COMPLETE WITH CONNECTORS, BOLTS NUTS, PLAIN WASHER AND BONDING JUMPER. | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1810 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | TRAY | CABLE | TYPE | STRAIGHT,LADDER | WIDTH | 75 MM | LENGTH | 2.4 M | DEPTH | 150 MM | MATERIAL | STAINLESS STEEL 304 | SHAPE |  | CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | THICKNESS:2 MM,C/W COVER,COMPLETE C/W CONNECTORS,BOLTS NUTS,PLAIN WASHER AND BONDING JUMPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR057339 | 057339 | PSR057339 | TUBE, AIR CONNECTION, ITEM 5, PART NUMBE | TUBE, AIR CONNECTION, ITEM 5, PART NUMBER 412178-08. FOR SAG MILL EATON AIRFLEX CLUTCH. BM-0604-MP-01 | TUBE, AIR CONNECTION, ITEM 5, PART NUMBER 412178-08. FOR SAG MILL EATON AIRFLEX CLUTCH. BM-0604-MP-01 | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3730 | ERSA | OTHER | Y | 412178-08 | 3000267 | EATON | N | N/A | 90 | EX | N/A | PC |  |  | https://www.eaton.com/content/dam/eaton/hydraulics/clutches-and-brakes/clutch-and-brake-documents/eaton-constricting-clutches-brakes-installation-operation-maintenance-airflex-vc-element-assemblies-vc5000-en-us-reduced-size.pdf |  | EATON | 412178-08 | [12 empty] | SAG MILL AIRFLEX CLUTCH | BM-0604-MP-01 |  |  |  |  | 5 |  |  |  | CLEANSED | TUBE | NO MODIFIER | TYPE | AIR CONNECTION | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | REFERRED SYC | 17-03-2023 | 21-03-2023 |  | PSR055914 | 055914 | PSR055914 | TUBE, BOILER, 50.8 MM O.D. X 3.2 MM MINI | TUBE, BOILER, 50.8 MM O.D. X 3.2 MM MINIMUM WALL THICKNESS X 6 METERS LONG, SEAMLESS, MATERIAL: CARBON STEEL, CLASS SYMBOL STB 340S CONFORMING TO JIS G 3461, WITH PLASTIC PLUGS AT BOTH ENDS | TUBE, BOILER, 50.8 MM O.D. X 3.2 MM MINIMUM WALL THICKNESS X 6 METERS LONG, SEAMLESS, MATERIAL: CARBON STEEL, CLASS SYMBOL STB 340S CONFORMING TO JIS G 3461, WITH PLASTIC PLUGS AT BOTH ENDS | LG | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4070 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | TUBE | BOILER STRAIGHT | TYPE | SEAMLESS | INSIDE DIAMETER |  | OUTSIDE DIAMETER | 50.8 MM | WALL THICKNESS | 3.2 MM | LENGTH | 6 M | END CONNECTION |  | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION | JIS G3461 GRADE STB 340S | STRUCTURE |  | FIN TYPE |  | FIN SIZE |  | FIN MATERIAL |  | FIN PER INCH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W PLASTIC PLUGS AT BOTH ENDS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR954771 | 954771 | PSR954771 | TURBOCHARGER, ASSEMBLY, P/N: 41100034500 | TURBOCHARGER, ASSEMBLY, P/N: 4110003450018, FOR SDLG WHEEL LOADER, MFR: SHANDONG LINGONG CONSTRUCTION MACHINERY (SDLG) | TURBOCHARGER, ASSEMBLY, P/N: 4110003450018, FOR SDLG WHEEL LOADER, MFR: SHANDONG LINGONG CONSTRUCTION MACHINERY (SDLG) | EA | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3730 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 4110003450018 | 90 | EX | SHANDONG LINGONG CONSTRUCTION MACHINERY (SDLG) | EA | C |  | https://shandongweiyang.en.made-in-china.com/productimage/ZXGJeIdAnCrg-2f1j00LYCRoZVPgrpn/China-4110003450018-Turbocharger-Spare-Part-for-SD-LG-LG936L-L956f-L955f-Wheel-Loader.html |  | SHANDONG LINGONG CONSTRUCTION MACHINERY (SDLG) | 4110003450018 | [12 empty] | WHEEL LOADER | [9 empty] | ENRICHED | TURBOCHARGER | NO MODIFIER | TYPE |  | POWER RATING |  | TORQUE RATING |  | SPEED RATING |  | DISPLACEMENT |  | BORE DIAMETER |  | STROKE |  | COMPRESSION RATIO |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ISO9001:2000 | ADDITIONAL FEATURES EN | ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR202282 | 202282 | PSR202282 | U-BOLT, LEAF SPRING, M22 X 85 MM U-DISTA | U-BOLT, LEAF SPRING, M22 X 85 MM U-DISTANCE X 495 MM LONG, REAR SUSPENSION, L=420MM, (SHOCK BRACKET SIDE), P/N 55246-Z0408, REAR SUSPENSION GROUP; FOR NISSAN BUS MODEL PKB212N | U-BOLT, LEAF SPRING, M22 X 85 MM U-DISTANCE X 495 MM LONG, REAR SUSPENSION, L=420MM, (SHOCK BRACKET SIDE), P/N 55246-Z0408, REAR SUSPENSION GROUP; FOR NISSAN BUS MODEL PKB212N | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://am25.ru/products/TSU/2202480.html | [15 empty] | BUS | PKB212N | [8 empty] | CLEANSED | BOLT | U | TYPE | LEAF SPRING,SHOCK BRACKET SIDE | INSIDE WIDTH | 85 MM | INSIDE LENGTH | 420 MM | LOAD RATING |  | THREAD DIAMETER | M22 | THREAD LENGTH |  | MATERIAL |  | MATERIAL SPECIFICATION |  | THREAD PITCH |  | THREAD SERIES |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | LENGTH:495 MM,REAR SUSPENSION GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR936805 | 936805 | PSR936805 | VANE, INLET GUIDE, SEQ. NO. E3, COMPD. D | VANE, INLET GUIDE, SEQ. NO. E3, COMPD. DWG. NO.: AC322002, T. NO. 2175077, MATERIAL: ALBC, FOR 500A GUIDE VANE DEVICE, REF. DWG. NO. AC302024, ASSEMBLY DWG. AC312023, MOUNTED ON TYPE, | VANE, INLET GUIDE, SEQ. NO. E3, COMPD. DWG. NO.: AC322002, T. NO. 2175077, MATERIAL: ALBC, FOR 500A GUIDE VANE DEVICE, REF. DWG. NO. AC302024, ASSEMBLY DWG. AC312023, MOUNTED ON TYPE, KOBE-ALLIS ISOTHERMAL CENTRIFUGAL AIR COMPRESSOR MODEL VG 584, INLUDES LEVER, SPRING PIN, HEX SOCKET SET SCREW | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3020 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | KOBE-ALLIS | [13 empty] | 500 A GUIDE VANE DEVICE MOUNTED ON ISOTHERMAL CENTRIFUGAL AIR COMPRESSOR | VG 584 |  | AC322002,AC302024,AC312023 | [6 empty] | CLEANSED | VANE | NO MODIFIER | TYPE | INLET GUIDE | SIZE |  | MATERIAL | ALUMINUM BRONZE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SEQ NO:E3,T NO:2175077,INLUDES LEVER,SPRING PIN,HEX SOCKET SET SCREW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR646304 | 646304 | PSR646304 | VIBRATOR, CONCRETE, HOSE, MODEL: AX25-TD | VIBRATOR, CONCRETE, HOSE, MODEL: AX25-TDX3, 25 MM HEAD DIAMETER, 0.3 MM VIBRATOR HEAD LENGTH, WITH FLEXIBLE SHAFT, FLEXIBLE SHAFTS LENGTH: 3M, VIBRATIONS PER MINUTE: 14000, COMPLETE: DINGO ELECTRIC MOTOR, 2300 W (3HP), 230V, 60HZ; MFR: ENAR | VIBRATOR, CONCRETE, HOSE, MODEL: AX25-TDX3, 25 MM HEAD DIAMETER, 0.3 MM VIBRATOR HEAD LENGTH, WITH FLEXIBLE SHAFT, FLEXIBLE SHAFTS LENGTH: 3M, VIBRATIONS PER MINUTE: 14000, COMPLETE: DINGO ELECTRIC MOTOR, 2300 W (3HP), 230V, 60HZ; MFR: ENAR | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 58625 | PD | 1850 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://image.indotrading.com/co37420/pdf/p353957/7ac2428d-e5c3-425d-a382-28f9fd93ef94.pdf |  | ENAR | AX25-TDX3 | [22 empty] | ENRICHED | VIBRATOR | NO MODIFIER | TYPE | CONCRETE,HOSE | POWER RATING | 2300 W (3 HP) | SPEED RATING |  | CAPACITY | 10 M3/HR | VIBRATING AMPLITUDE |  | VOLTAGE RATING | 230 V | CURRENT RATING |  | FREQUENCY RATING | 60 HZ | MATERIAL |  | SIZE | DIA 25 X LG 300 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W FLEXIBLE SHAFT,FLEXIBLE SHAFT LENGTH:3 M,VIBRATIONS PER MINUTE:14000,C/W COMPLETE DINGO ELECTRIC MOTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR034301 | 034301 | PSR034301 | WASHER, BACK NUT, P/N HB260A1030 (OLD P/ | WASHER, BACK NUT, P/N HB260A1030 (OLD P/N HB260A0400), BREAKER BODY PARTS; FOR OKADA 2600 HYDRAULIC BREAKER WITH SERIAL NO. 686T | WASHER, BACK NUT, P/N HB260A1030 (OLD P/N HB260A0400), BREAKER BODY PARTS; FOR OKADA 2600 HYDRAULIC BREAKER WITH SERIAL NO. 686T | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | OKADA | HB260A1030 |  | HB260A0400 | [10 empty] | HYDRAULIC BREAKER | 2600 |  |  |  | 686T |  |  |  |  | CLEANSED | WASHER | NO MODIFIER | TYPE | BACK NUT | NOMINAL SIZE |  | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BREAKER BODY PARTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR047654 | 047654 | PSR047654 | WASHER, OILES, P/N 114, MODEL: LFW-5220, | WASHER, OILES, P/N 114, MODEL: LFW-5220, FOR DOWN ENDER OF MESCO CATHODE STRIPPING MACHINE, MFR: MESCO | WASHER, OILES, P/N 114, MODEL: LFW-5220, FOR DOWN ENDER OF MESCO CATHODE STRIPPING MACHINE, MFR: MESCO | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 1540 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://www.oiles.co.jp/en/bearing/oiles_bearing/model/lfw/ | https://datasheets.globalspec.com/ds/2867/OILESAmericaCorporation | OILES | LFW-5220 | MESCO | 114 | [10 empty] | DOWN ENDER OF CATHODE STRIPPING MACHINE | [9 empty] | ENRICHED | WASHER | THRUST | TYPE |  | INSIDE DIAMETER | 52 MM | OUTSIDE DIAMETER | 78 MM | THICKNESS | 2 MM | LOAD RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR944930 | 944930 | PSR944930 | WASHER, THRUST, P/N 1-41562-267-0, REAR | WASHER, THRUST, P/N 1-41562-267-0, REAR FINAL DRIVE GROUP; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN:JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | WASHER, THRUST, P/N 1-41562-267-0, REAR FINAL DRIVE GROUP; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN:JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 5955 | ERSA | OTHER | Y | 1-41562-267-0 | 3000024 | ISUZU | N | N/A | 30 | EX | N/A | EA |  |  | https://catcar.info/isuzu/?lang=en&l=c3Q9PTYwfHxzdHM9PXsiMjAiOiJNb2RlbCIsIjMwIjoiQyZFIiwiNDAiOiIxMDk0OSAtIENYWiBDSElOQSAgICAgMDUgLSAgIiwiNTAiOiI0IC0gUHJvcGVsbGVyIFNoYWZ0LCBBeGxlcywgU3RlZXJpbmcsIFN1c3BlbnNpb24iLCI2MCI6IjQtMjUgLSBSRUFSIEZJTkFMIERSSVZFIn18fG1vZGVsSWQ9PTIwMDA2fHxtb2RlbENvZGVJZD09MTAwMDF8fGVxdWlwbWVudElkPT0zNTl8fHBvc0ZpbHRlcj09fHxncm91cElkPT0xNjM4fHxzdHM1MD09eyIyMCI6Ik1vZGVsIiwiMzAiOiJDJkUiLCI0MCI6IjEwOTQ5IC0gQ1haIENISU5BICAgICAwNSAtICAiLCI1MCI6IjQgLSBQcm9wZWxsZXIgU2hhZnQsIEF4bGVzLCBTdGVlcmluZywgU3VzcGVuc2lvbiJ9fHxzdWJncm91cElkPT0yNjY0N3x8aW1nPT18fGZ0cj09QQ%3D%3D |  | ISUZU | 1-41562-267-0 | [12 empty] | DUMPTRUCK C/W ENGINE | CYZ51 VIN JALCYZ51ME7000160,6WF1 NO 6WF1-TCC | [8 empty] | CLEANSED | WASHER | THRUST | TYPE |  | INSIDE DIAMETER |  | OUTSIDE DIAMETER |  | THICKNESS |  | LOAD RATING |  | MATERIAL |  | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REAR FINAL DRIVE GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR939914 | 939914 | PSR939914 | WASHING MACHINE, COMBO WASHER & DRYER, 1 | WASHING MACHINE, COMBO WASHER & DRYER, 16 KG CAPACITY WASH / 9 KG CAPACITY DRY, FRONT LOADER, SAMSUNG MODEL #WD16J7800KS, ADD WASH FRONT LOAD WITH ECO BUBBLE TECHNOLOGY, DIGITAL INVERTER MOTOR, AIRWASH | WASHING MACHINE, COMBO WASHER & DRYER, 16 KG CAPACITY WASH / 9 KG CAPACITY DRY, FRONT LOADER, SAMSUNG MODEL #WD16J7800KS, ADD WASH FRONT LOAD WITH ECO BUBBLE TECHNOLOGY, DIGITAL INVERTER MOTOR, AIRWASH | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | Y | WD16J7800KS | 3000481 | SAMSUNG | N | N/A | 30 | EX | N/A | EA |  |  | https://www.samsung.com/ph/support/model/WD16J7800KS/TC/ | https://www.abenson.com/wd16j7800ks-tc.html | SAMSUNG | WD16J7800KS | [22 empty] | CLEANSED | MACHINE | NO MODIFIER | TYPE | COMBO WASHER & DRYER,FRONT LOADER,AIRWASH | ELECTRICAL RATING |  | SIZE | WD 686 X LG 787 X HT 990 MM | MATERIAL |  | PRESSURE CLASS/RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAPACITY WASH:16 KG,CAPACITY DRY:9 KG,ADD WASH FRONT LOAD C/W ECO BUBBLE TECHNOLOGY,DIGITAL INVERTER MOTOR | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | REFERRED SYC | 17-03-2023 | 21-03-2023 |  | PSR022049 | 022049 | PSR022049 | WEIGHER, PLATFORM, ELECTRONIC, FLOOR SCA | WEIGHER, PLATFORM, ELECTRONIC, FLOOR SCALE READABILITY: 0.1 kg, CAPACITY: 5 TONS, PLATFORM SIZE: 1.25 m X 1.25 m, LOAD CELL: FOUR (4) PCS. ALLOY STEEL-NICKEL PLATED, INDICATOR: IND-221 TERMINAL. MUST BE OIML-CERTIFIED AND LEGAL FOR TRADE. | WEIGHER, PLATFORM, ELECTRONIC, FLOOR SCALE READABILITY: 0.1 kg, CAPACITY: 5 TONS, PLATFORM SIZE: 1.25 m X 1.25 m, LOAD CELL: FOUR (4) PCS. ALLOY STEEL-NICKEL PLATED, INDICATOR: IND-221 TERMINAL. MUST BE OIML-CERTIFIED AND LEGAL FOR TRADE. | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SCALE | WEIGH | TYPE | PLATFORM,ELECTRONIC | ACCURACY |  | MEASURING RANGE | 5 TON | RESOLUTION |  | PLATFORM SIZE | 1.25 X 1.25 M | MATERIAL |  | POWER SUPPLY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | OIML | ADDITIONAL FEATURES EN | FLOOR SCALE READABILITY:0.1 KG,LOAD CELL:FOUR PCS ALLOY STEEL-NICKEL PLATED,INDICATOR:IND-221 TERMINAL,MUST BE LEGAL FOR TRADE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR010232 | 010232 | PSR010232 | WHITEBOARD, DRY ERASE, 1500 MM WIDE X 12 | WHITEBOARD, DRY ERASE, 1500 MM WIDE X 1200 MM HIGH, WALL MOUNTING, WITH ALUMINUM FRAME, FULL-LENGTH ERASER/MARKER HOLDER AND MOUNTING BRACKETS. | WHITEBOARD, DRY ERASE, 1500 MM WIDE X 1200 MM HIGH, WALL MOUNTING, WITH ALUMINUM FRAME, FULL-LENGTH ERASER/MARKER HOLDER AND MOUNTING BRACKETS. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2700 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | BOARD | WRITING | TYPE | DRY ERASE | LENGTH | 1.2 M | WIDTH | 1.5 M | THICKNESS |  | MOUNTING TYPE | WALL | MATERIAL |  | COLOUR | WHITE | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W ALUMINUM FRAME,FULL-LENGTH ERASER/MARKER HOLDER AND MOUNTING BRACKETS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR348718 | 348718 | PSR348718 | WRENCH SET, SOCKET, 3/4 SQUARE DRIVE, 13 | WRENCH SET, SOCKET, 3/4 SQUARE DRIVE, 13 PCS,6-POINTS SOCKET & ACCESSORIES,SIZES:22MM - 34MM | WRENCH SET, SOCKET, 3/4 SQUARE DRIVE, 13 PCS,6-POINTS SOCKET & ACCESSORIES,SIZES:22MM - 34MM | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 18990 | PD | 4010 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SET | NO MODIFIER | TYPE | WRENCH,SOCKET | CONTENTS | 3/4 SQUARE DRIVE,6-POINTS SOCKET & ACCESSORIES | NUMBER OF ITEMS | 13 | MATERIAL |  | SIZE RANGE | 22-34 MM | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | MKV | MKV | OK | 17-03-2023 | 21-03-2023 |  | PSR607854 | 607854 | PSR607854 | WRENCH, BOX, STRIKING-FACE, 32 mm, 12-PO | WRENCH, BOX, STRIKING-FACE, 32 mm, 12-POINT, STRAIGHT STYLE. | WRENCH, BOX, STRIKING-FACE, 32 mm, 12-POINT, STRAIGHT STYLE. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4010 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 150 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | WRENCH | BOX END | TYPE | STRIKING FACE,STRAIGHT STYLE | NOMINAL SIZE | 32 MM | OVERALL LENGTH |  | NUMBER OF POINTS | 12 | MATERIAL |  | MATERIAL SPECIFICATION |  | OFFSET ANGLE |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed