## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | STOCKNO | SN | SN DESC | DESCRIPTION | LONG DESCRIPTION | UM | MINQTY | MAXQTY | ITEM TYPE | PLANNING METHOD | INVENTORY TYPE | BI CODE | AVG COST | SAP MRP TYPE | SAP MATERIAL GROUP | SAP MATERIAL TYPE | SAP INVENTORY TYPE | SAP OEM | SAP PN | SAP MFG NUMBER | SAP MFG NAME | PASAR OEM | PASAR PN | SAP PDT | LOT SIZE | PASAR MFG NAME | SAP UOM | SAP BI CODE | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | ART / Article Number | MFG Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR056629 | 056629 | PSR056629 | PIN, PUNCH, LONG SERIES, SET OF 8, 2.5-1 | PIN, PUNCH, LONG SERIES, SET OF 8, 2.5-10MM, ZINC-PLATED, ITEM NO: PPS-LS, BLACKWOODS# 07237601; MFR: JBS | PIN, PUNCH, LONG SERIES, SET OF 8, 2.5-10MM, ZINC-PLATED, ITEM NO: PPS-LS, BLACKWOODS# 07237601; MFR: JBS | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://www.blackwoods.com.au/tools-hand-measuring-precision/striking-and-prying/pin-punch-sets-short-long-series-jbs/punch-pin-long-series-set-8-2-5-10mm/p/07237601 |  | JBS | 07237601 | [6 empty] | BLACKWOODS | [11 empty] | PPS-LS |  |  |  | ENRICHED | PUNCH | PIN | TYPE | LONG SERIES | POINT SIZE | 2.5-10 MM | LENGTH |  | MATERIAL | HIGH TENSILE STEEL | COATING/FINISH | ZINC-PLATED | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PACKAGE QUANTITY:SET OF 8 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR942629 | 942629 | PSR942629 | PIPE, TRANSITION, P/N 710.04, FOR PUMP T | PIPE, TRANSITION, P/N 710.04, FOR PUMP TYPE: JSB780-30, RELEASE NO. 1406051, FOR FAT2 VERTICAL PUMP, Q: 750 m3/H, H: 24 m, MFR: DALIAN JINSHAN ACID PROOF PUMP CO.,LTD | PIPE, TRANSITION, P/N 710.04, FOR PUMP TYPE: JSB780-30, RELEASE NO. 1406051, FOR FAT2 VERTICAL PUMP, Q: 750 m3/H, H: 24 m, MFR: DALIAN JINSHAN ACID PROOF PUMP CO.,LTD | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | DALIAN JINSHAN ACID PROOF PUMP CO.,LTD | 710.04 | [12 empty] | PUMP,FAT2 VERTICAL PUMP,Q:750 M3/H,H:24 M | JSB780-30 | [8 empty] | CLEANSED | PIPE | NO MODIFIER | TYPE | TRANSITION | NOMINAL SIZE |  | LENGTH |  | END CONNECTION |  | MATERIAL |  | OUTSIDE DIAMETER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | RELEASE NO:1406051 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 | SUITABLE NM NOT FOUND | PSR938915 | 938915 | PSR938915 | RAFFLE PRIZE | RAFFLE PRIZE | RAFFLE PRIZE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | [62 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR010807 | 010807 | PSR010807 | ROUTER, OUTDOOR AP, AIR-AP1562I-A-K9, 80 | ROUTER, OUTDOOR AP, AIR-AP1562I-A-K9, 802.11AC W2 LOW-PROFILE, INTERNAL ANTENNA, A REGULATORY DOMAIN, MFR: CISCO | ROUTER, OUTDOOR AP, AIR-AP1562I-A-K9, 802.11AC W2 LOW-PROFILE OUTDOOR AP, INTERNAL ANT, A REG DOMAIN, MFR: CISCO | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4500 | ERSA | OTHER | Y | AIR-AP1562I-A-K9 | 3000680 | CISCO | N | N/A | 30 | EX | N/A | EA |  |  | https://www.router-switch.com/air-ap1562i-a-k9.html |  | CISCO | AIR-AP1562I-A-K9 | [21 empty] | 3000680 | CLEANSED | ROUTER | NETWORK | TYPE |  | DATA TRANSFER RATE |  | NUMBER OF PORTS |  | MEMORY |  | PROTOCOL |  | POWER SUPPLY |  | CONNECTION TYPE |  | ROHS COMPLIANCE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 802.11AC W2 LOW-PROFILE OUTDOOR AP,INTERNAL ANT,A REG DOMAIN | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR937763 | 937763 | PSR937763 | SCISSOR, HEAVY DUTY, METAL CUTTER, BRAND | SCISSOR, HEAVY DUTY, METAL CUTTER, BRAND/MODEL: STANLEY FMHT73571 FATMAX, SIZE: 10”(TIN SNIPS) | SCISSOR, HEAVY DUTY, METAL CUTTER, BRAND/MODEL: STANLEY FMHT73571 FATMAX, SIZE: 10”(TIN SNIPS) | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4010 | ERSA | OTHER | Y | FMHT73571 | 3000451 | STANLEY | N | N/A | 30 | EX | N/A | PC |  |  | https://www.homehardwarecenter.com/2797725/product/stanley-fmht7357114-556 |  | STANLEY | FMHT73571 | [6 empty] | STANLEY |  | FATMAX | [12 empty] | 3000451 | CLEANSED | SNIP | NO MODIFIER | TYPE | SCISSOR,HEAVY DUTY,METAL CUTTER | CAPACITY |  | CUTTING LENGTH | 2 IN | MATERIAL | ALLOY STEEL BLADE | LENGTH | 10 IN (TIN SNIPS) | HANDLE TYPE | SLIP-RESISTANT BI-MATERIAL GRIP | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR011131 | 011131 | PSR011131 | SEPARATOR, MAGNETIC, BELT WIDTH: 1400 MM | SEPARATOR, MAGNETIC, BELT WIDTH: 1400 MM, SUSPENSION HEIGHT: 550 MM, GRANULARITY: 0 - 500 MM, MODEL: RCDD-16G2, BELT SPEED: 3.0m/s, VOLTAGE: 440VAC, FREQ: 60HZ WITH CONTROL CABINET SSTQ-9.3D1-D, FOR SFP BELT CONVEYOR 1 | SEPARATOR, MAGNETIC, BELT WIDTH: 1400 MM, SUSPENSION HEIGHT: 550 MM, GRANULARITY: 0 - 500 MM, MODEL: RCDD-16G2, BELT SPEED: 3.0m/s, VOLTAGE: 440VAC, FREQ: 60HZ WITH CONTROL CABINET SSTQ-9.3D1-D, FOR SFP BELT CONVEYOR 1 | UT | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5700 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND |  |  | RCDD-16G2 | [12 empty] | SFP BELT CONVEYOR 1 | [9 empty] | CLEANSED | SEPARATOR | MAGNETIC | TYPE |  | CAPACITY |  | ELECTRICAL RATING | 440 VAC,60 HZ | POWER RATING |  | FLOW RATING |  | PRESSURE RATING |  | OVERALL SIZE |  | SEPARATION EFFICIENCY |  | BODY MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BELT WIDTH:1.4 M,SUSPENSION HEIGHT:550 MM,GRANULARITY:0 - 500 MM,BELT SPEED:3 M/S,C/W CONTROL CABINET SSTQ-9.3D1-D | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR260079 | 260079 | PSR260079 | SIEVE, TESTING, U.S. NO. 80, MESH OPENIN | SIEVE, TESTING, U.S. NO. 80, MESH OPENING: 0.180 MM; 8 DIAMETER, 2 DEEP, STAINLESS STEEL FRAME AND STAINLESS STEEL WIRE-CLOTH SCREEN. | SIEVE, TESTING, U.S. NO. 80, MESH OPENING: 0.180 MM; 8 DIAMETER, 2 DEEP, STAINLESS STEEL FRAME AND STAINLESS STEEL WIRE-CLOTH SCREEN. | PC | 2 | 2 | STOCK | Min-Max | CONSUMABLES | B | 5790 | V1 | 1500 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | HB | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SIEVE | NO MODIFIER | TYPE | TESTING | FILTRATION RATE |  | SIEVE DESIGNATION |  | OPENING SIZE | 0.180 MM MESH | NOMINAL WIRE DIAMETER |  | MATERIAL | STAINLESS STEEL FRAME AND STAINLESS STEEL WIRE-CLOTH SCREEN | SIZE | DIA 8 X DP 2 MM | SERVICE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | U.S. NO 80 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR048079 | 048079 | PSR048079 | SLING, ROPE, WIRE, AU, DIAM.: 18MM, 6 x | SLING, ROPE, WIRE, AU, DIAM.: 18MM, 6 x 36 CONSTRUCTION, 2.0M, 300E, AUSTRALOC EYES, WRC G1770, MFR: BULLIVANTS | SLING, ROPE, WIRE, AU, DIAM.: 18MM, 6 x 36 CONSTRUCTION, 2.0M, 300E, AUSTRALOC EYES, WRC G1770, MFR: BULLIVANTS | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | BULLIVANTS | WRC G1770 | [22 empty] | CLEANSED | SLING | WIRE ROPE | TYPE |  | ROPE DIAMETER | 18 MM | LENGTH | 2 M | NUMBER OF LEGS |  | LOAD RATING |  | MATERIAL |  | END TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 6 X 36 CONSTRUCTION,300E,WRC G1770 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR017504 | 017504 | PSR017504 | SOAP, LAUNDRY, POWDER, 35 GM, BRAND: CHA | SOAP, LAUNDRY, POWDER, 35 GM, BRAND: CHAMPION | SOAP, LAUNDRY, POWDER, 35 GM, BRAND: CHAMPION | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [9 empty] | CHAMPION | [15 empty] | CLEANSED | SOAP | NO MODIFIER | TYPE | LAUNDRY | FORM | POWDER | CONTAINER |  | COLOUR |  | FRAGRANCE |  | WEIGHT | 35 GM | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR106668 | 106668 | PSR106668 | SPRING, LEAF, NO. 4, P/N 55214-Z9114, 12 | SPRING, LEAF, NO. 4, P/N 55214-Z9114, 1250MM X 800MM X 15MM, REAR SUSPENSION GROUP; FOR NISSAN PASSENGER BUS MODE PKB212N | SPRING, LEAF, NO. 4, P/N 55214-Z9114, 1250MM X 800MM X 15MM, REAR SUSPENSION GROUP; FOR NISSAN PASSENGER BUS MODE PKB212N | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 1473.2143 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | NISSAN | 55214-Z9114 | [12 empty] | PASSENGER BUS | PKB212N | [8 empty] | CLEANSED | SPRING | LEAF | TYPE |  | LEAF WIDTH | 800 MM | LEAF THICKNESS | 15 MM | EFFECTIVE LENGTH | 1.25 M | LOAD CAPACITY |  | MATERIAL |  | MATERIAL SPECIFICATION |  | END TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REAR SUSPENSION GROUP,NO 4 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR946344 | 946344 | PSR946344 | STANDARD COPPER, LEAD, AND ZINC SULFIDE | STANDARD COPPER, LEAD, AND ZINC SULFIDE CONCENTRATES, ISO 12742:2017(EN), DETERMINATION OF TRANSPORTABLE MOISTURE LIMITS - FLOW-TABLE METHOD | STANDARD COPPER, LEAD, AND ZINC SULFIDE CONCENTRATES, ISO 12742:2017(EN), DETERMINATION OF TRANSPORTABLE MOISTURE LIMITS - FLOW-TABLE METHOD | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C |  | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | STANDARD | NO MODIFIER | TYPE |  | CRM DESIGNATION |  | TITLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | COPPER,LEAD AND ZINC SULFIDE CONCENTRATES,DETERMINATION OF TRANSPORTABLE MOISTURE LIMITS - FLOW-TABLE METHOD | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR106007 | 106007 | PSR106007 | STERI-STRIP, ELASTIC SKIN CLOSURE, SIZE: | STERI-STRIP, ELASTIC SKIN CLOSURE, SIZE: ½ X 4, BRAND: 3M | STERI-STRIP, ELASTIC SKIN CLOSURE, SIZE: ½ X 4, BRAND: 3M | PK | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4040 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PAC |  |  | URL NOT FOUND |  | 3M | [23 empty] | CLEANSED | STRIP | NO MODIFIER | TYPE | STERI,ELASTIC SKIN CLOSURE | SIZE | 1/2 X 4 IN | MATERIAL |  | MOUNTING TYPE |  | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR945599 | 945599 | PSR945599 | STICKER, LABEL, ASSET LABEL, PRINTING SE | STICKER, LABEL, ASSET LABEL, PRINTING SERVICES FEE | STICKER, LABEL, ASSET LABEL, PRINTING SERVICES FEE | PK | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PAC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | STICKER | NO MODIFIER | TYPE | ASSET LABEL | LEGEND |  | DIMENSIONS |  | LEGEND COLOUR |  | BACKGROUND COLOUR |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRINTING SERVICES FEE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR021477 | 021477 | PSR021477 | TARPAULIN, NYLON, 12 FEET X 20 FEET, WIT | TARPAULIN, NYLON, 12 FEET X 20 FEET, WITH BRASS GROMMETS AND ROPE REINFORCED. | TARPAULIN, NYLON, 12 FEET X 20 FEET, WITH BRASS GROMMETS AND ROPE REINFORCED. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | TARPAULIN | NO MODIFIER | TYPE |  | SIZE | 12 X 20 FT | WEIGHT |  | MATERIAL | NYLON | COLOUR |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W BRASS GROMMETS AND ROPE REINFORCED | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR039366 | 039366 | PSR039366 | TEE, STRAIGHT, PIPE, FRP, 200 MM X 200 M | TEE, STRAIGHT, PIPE, FRP, 200 MM X 200 MM X 200 MM DIAMETER. | TEE, STRAIGHT, PIPE, FRP, 200 MM X 200 MM X 200 MM DIAMETER. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 10019.9303 | PD | 2210 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | TEE | PIPE | TYPE | STRAIGHT | NOMINAL SIZE | 200 X 200 X 200 MM | END CONNECTION |  | PRESSURE CLASS/RATING |  | SCHEDULE/WALL THICKNESS |  | MATERIAL | FRP | MATERIAL SPECIFICATION |  | COATING/FINISH |  | LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 | SUITABLE NM NOT FOUND | PSR954726 | 954726 | PSR954726 | TEMPLETS, CURVED, ORDERING NUMBER: 524, | TEMPLETS, CURVED, ORDERING NUMBER: 524, INSTALLATION TOOLS, MFR: FLEXCO | TEMPLETS, CURVED, ORDERING NUMBER: 524, INSTALLATION TOOLS, MFR: FLEXCO | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 524 | 90 | EX | FLEXCO | PC | B |  | URL NOT FOUND | [25 empty] | CLEANSED | [62 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR105019 | 105019 | PSR105019 | TIE, CABLE, 610 MM LONG X 7.6 MM WIDE; M | TIE, CABLE, 610 MM LONG X 7.6 MM WIDE; MATERIAL: BLACK POLYPROPYLENE PLASTIC; AVERAGE TENSILE STRENGTH: 80 KG; MAXIMUM CABLE BUNDLE DIAMETER: 170 MM; LADDER TYPE; STANDARD PACKAGING: 50 PIECES PER PACK; BRAND: INSULOK; MFR: HELLERMANNTYTON | TIE, CABLE, 610 MM LONG X 7.6 MM WIDE; MATERIAL: BLACK POLYPROPYLENE PLASTIC; AVERAGE TENSILE STRENGTH: 80 KG; MAXIMUM CABLE BUNDLE DIAMETER: 170 MM; LADDER TYPE; STANDARD PACKAGING: 50 PIECES PER PACK; BRAND: INSULOK; MFR: HELLERMANNTYTON | PK | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PAC |  |  | URL NOT FOUND |  | HELLERMANNTYTON | [7 empty] | INSULOK | [15 empty] | CLEANSED | TIE | CABLE | TYPE | LADDER | LENGTH | 610 MM | BUNDLE DIAMETER | 170 MM | MATERIAL | BLACK POLYPROPYLENE PLASTIC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WD 7.6 MM,AVERAGE TENSILE STRENGTH:80 KG,STANDARD PACKAGING:50 PCS PER PACK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR023702 | 023702 | PSR023702 | TOOL KIT, ELECTRICAL, CAT NO: 0159-13, K | TOOL KIT, ELECTRICAL, CAT NO: 0159-13, KIT INCLUDES: 2” LEATHER TOOL BELT; 8-POCKET LEATHER POUCH; 25 FEET MEASURING TAPE; SCREWDRIVER, PHILLIPS, TIP # 1-3/16” X 3”; SCREWDRIVER, PHILLIPS, TIP #2-1/4” X 4”; CABINET TIP ROUND | TOOL KIT, ELECTRICAL, CAT NO: 0159-13, KIT INCLUDES: 2” LEATHER TOOL BELT; 8-POCKET LEATHER POUCH; 25 FEET MEASURING TAPE; SCREWDRIVER, PHILLIPS, TIP # 1-3/16” X 3”; SCREWDRIVER, PHILLIPS, TIP #2-1/4” X 4”; CABINET TIP ROUND SHANK, 3/16” X 6” B FLAT BLADE SCREWDRIVER; KEYSTONE TIP SQUARE SHANK 1/4” X 4” FLAT BLADE SCREWDRIVER; PRO PLUS WIRE STRIPPER, 10~18 AWG; 8” LONG NOSE PLIERS; 10” PUMP PLIERS; 8” DIAGONAL CUTTING PLIERS; AND 9” SIDE-CUTTING PLIERS, BRAND : GREENLE | KT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4010 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [9 empty] | GREENLE | [15 empty] | CLEANSED | KIT | NO MODIFIER | TYPE | TOOL,ELECTRICAL | CONTENTS | 2 IN LEATHER TOOL BELT,8-POCKET LEATHER POUCH,25 FT MEASURING TAPE,SCREWDRIVER,PHILLIPS,TIP 1-3/16 X 3 IN,SCREWDRIVER,PHILLIPS,TIP 2-1/4 X 4 IN CABINET TIP ROUND SHANK,3/16 X 6 IN B FLAT BLADE SCREWDRIVER,KEYSTONE TIP SQUARE SHANK 1/4 X 4 IN FLAT BLADE SCREWDRIVER,PRO PLUS WIRE STRIPPER,10-18 AWG,8 IN LONG NOSE PLIERS,10 IN PUMP PLIERS,8 IN DIAGONAL CUTTING PLIERS AND 9 IN SIDE-CUTTING PLIERS | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CAT NO:0159-13 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR026457 | 026457 | PSR026457 | TRANSMITTER, ANALYZER, H2SO4 CONCENTRATI | TRANSMITTER, ANALYZER, H2SO4 CONCENTRATION, MODEL: 1056-01-21-38-AN, INSTRUMENT RANGE: 94~98 %, POWER SUPPLY: 110 VAC; MFR: EMERSON | TRANSMITTER, ANALYZER, H2SO4 CONCENTRATION, MODEL: 1056-01-21-38-AN, INSTRUMENT RANGE: 94~98 %, POWER SUPPLY: 110 VAC; MFR: EMERSON | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5100 | ERSA | OTHER | N | N/A | N/A | N/A | Y | N/A | 90 | EX | EMERSON | EA |  |  | https://www.radwell.co.uk/en-GB/Buy/EMERSON/ROSEMOUNT%20ANALYTICAL/1056-01-21-38-AN/?redirect=true |  | EMERSON | 1056-01-21-38-AN | [22 empty] | CLEANSED | TRANSMITTER | NO MODIFIER | TYPE | ANALYZER | MEASURING RANGE | 94-98 PCT | ACCURACY |  | OUTPUT TYPE |  | INPUT RATING |  | SUPPLY VOLTAGE | 110 VAC | MOUNTING TYPE |  | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | ENCLOSURE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | H2SO4 CONCENTRATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-21 |  | PSR910162 | 910162 | PSR910162 | TUBE, HEATER, ELECTRICAL, SUPPLY VOLTAGE | TUBE, HEATER, ELECTRICAL, SUPPLY VOLTAGE: 440V, 60 Hz, 1.5 kW, NERIN EXCESS MATERIAL (MIST EP PROJECT), MFR: NANJING BAIKESI CO., LTD | TUBE, HEATER, ELECTRICAL, SUPPLY VOLTAGE: 440V, 60 Hz, 1.5 kW, NERIN EXCESS MATERIAL (MIST EP PROJECT), MFR: NANJING BAIKESI CO., LTD | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 4648.236 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | NANJING BAIKESI CO., LTD |  | NERIN EXCESS MATERIAL (MIST EP PROJECT) | [21 empty] | CLEANSED | TUBE | NO MODIFIER | TYPE | HEATER,ELECTRICAL | SIZE |  | MATERIAL |  | MATERIAL SPECIFICATION |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | VOLTAGE RATING:440 V,FREQUENCY RATING:60 HZ,POWER RATING:1.5 KW | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed