## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | STOCKNO | SN | SN DESC | DESCRIPTION | LONG DESCRIPTION | UM | MINQTY | MAXQTY | ITEM TYPE | PLANNING METHOD | INVENTORY TYPE | BI CODE | AVG COST | SAP MRP TYPE | SAP MATERIAL GROUP | SAP MATERIAL TYPE | SAP INVENTORY TYPE | SAP OEM | SAP PN | SAP MFG NUMBER | SAP MFG NAME | PASAR OEM | PASAR PN | SAP PDT | LOT SIZE | PASAR MFG NAME | SAP UOM | SAP BI CODE | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | ART / Article Number | MFG Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR046545 | 046545 | PSR046545 | BODY, VALVE, MODEL: V1600, VALVE TYPE: G | BODY, VALVE, MODEL: V1600, VALVE TYPE: GLOBE, BODY TYPE: SINGLE SEATED, PROCESS CONNECTION: FLANGE, DN15, ANSI B16.5, 150#RF, BODY MATERIAL: WCB+F46, BONEY TYPE: STD, TRIM TYPE: POLE, TRIM CHARACTER: EQUAL% | BODY, VALVE, MODEL: V1600, VALVE TYPE: GLOBE, BODY TYPE: SINGLE SEATED, PROCESS CONNECTION: FLANGE, DN15, ANSI B16.5, 150#RF, BODY MATERIAL: WCB+F46, BONEY TYPE: STD, TRIM TYPE: POLE, TRIM CHARACTER: EQUAL% , PLUG MATERIAL: 340+F46, SEAT MATERIAL: F46, STEAM MATERIAL: 304+F46, PACKING MATERIAL: PTFE, DWG NO.: CN536DD05101A1-144, MFR: FLOAUTO OR EQUIVALENT (FLOW SERVE) | PC | 1 | 2 | STOCK | Min-Max | CONSUMABLES | B | 95000 | V1 | 2240 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | HB | N/A | PC |  |  | URL Not Found |  | FLOAUTO OR EQUIVALENT (FLOW SERVE) | V1600 | [15 empty] | CN536DD05101A1-144 | [6 empty] | Cleansed | VALVE | GLOBE | TYPE | SINGLE SEATED | NOMINAL SIZE | DN15 | END CONNECTION | RF FLANGE | PORT TYPE |  | END TO END DISTANCE |  | CONFIGURATION |  | PRESSURE CLASS/RATING | CLASS 150 | BODY MATERIAL | WROUGHT CARBON GRADE B+STAINLESS STEEL F46 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM | STAINLESS STEEL F46 SEAT & 340+F40 PLUG & STEM | BONNET JOINT | STANDARD | SOFTGOODS | PTFE PACKING | HAZARD CLASS |  | CERTIFICATION/STANDARD | ANSI B16.5 | ADDITIONAL FEATURES EN | TRIM TYPE:POLE,TRIM CHARACTER:EQUAL PCT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR013342 | 013342 | PSR013342 | CONNECTOR, BRAKE VALVE, P/N 1-09661-285- | CONNECTOR, BRAKE VALVE, P/N 1-09661-285-0, ISUZU DUMPTRUCK MODEL CYZ51K9 | CONNECTOR, BRAKE VALVE, P/N 1-09661-285-0, ISUZU DUMPTRUCK MODEL CYZ51K9 | PC | 2 | 3 | STOCK | Min-Max | CONSUMABLES | B | 0 | V1 | 5955 | ERSA | OTHER | Y | 1-09661-285-0 | 3000024 | ISUZU | N | N/A | 30 | HB | N/A | PC |  |  | https://catcar.info/isuzu/?lang=en&l=c3Q9PTYwfHxzdHM9PXsiMjAiOiJNb2RlbCIsIjMwIjoiQyZFIiwiNDAiOiIxMDg4MiAtIENYSCBSSEQgICAgIDAxIC0gMDQiLCI1MCI6IjMgLSBCcmFrZXMsIEJyYWtlIFN5c3RlbSIsIjYwIjoiMy0xMCAtIEJSQUtFIFBFREFMIEFORCBDT05UUk9MIn18fG1vZGVsSWQ9PTIwMDA2fHxtb2RlbENvZGVJZD09MTAwMDF8fGVxdWlwbWVudElkPT0yODF8fHBvc0ZpbHRlcj09fHxncm91cElkPT0xNjk3fHxzdHM1MD09eyIyMCI6Ik1vZGVsIiwiMzAiOiJDJkUiLCI0MCI6IjEwODgyIC0gQ1hIIFJIRCAgICAgMDEgLSAwNCIsIjUwIjoiMyAtIEJyYWtlcywgQnJha2UgU3lzdGVtIn18fHN1Ymdyb3VwSWQ9PTI3NjEzfHxpbWc9PXx8ZnRyPT0%3D |  | ISUZU | 1-09661-285-0 | [12 empty] | DUMPTRUCK | CYZ51K9 | [8 empty] | Cleansed | CONNECTOR | NO MODIFIER | TYPE | BRAKE VALVE | SIZE |  | CONNECTION TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR901671 | 901671 | PSR901671 | COUPLING, POWDER, C-17 | COUPLING, POWDER, C-17 | COUPLING, POWDER, C-17 | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A |  | EX | N/A | PC | C |  | URL Not Found | [25 empty] | Cleansed | COUPLING | NO MODIFIER | TYPE | POWDER | SIZE |  | MATERIAL |  | CONNECTION TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C-17 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR046909 | 046909 | PSR046909 | CYLINDER, GRADUATED, MEASURING, PITCHER, | CYLINDER, GRADUATED, MEASURING, PITCHER, HIGH GRADE POLYPROPYLENE THAT HAS CHEMICAL RESISTANCE, 2000 CC CAP, TALL SIDES MINIMIZE SPILLS, STURDY HANDLE AND SPOUT FOR EASY POURING | CYLINDER, GRADUATED, MEASURING, PITCHER, HIGH GRADE POLYPROPYLENE THAT HAS CHEMICAL RESISTANCE, 2000 CC CAP, TALL SIDES MINIMIZE SPILLS, STURDY HANDLE AND SPOUT FOR EASY POURING | PC | 2 | 3 | STOCK | Min-Max | CONSUMABLES | B | 486.77 | V1 | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | HB | N/A | PC |  |  | URL Not Found | [25 empty] | Cleansed | CYLINDER | GRADUATED | TYPE | MEASURING | CAPACITY |  | HEIGHT |  | MATERIAL | CHEMICAL RESISTANCE HIGH GRADE POLYPROPYLENE | GRADUATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 2000 CC CAP,TALL SIDES MINIMIZE SPILLS,STURDY HANDLE & SPOUT FOR EASY POURING,PITCHER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR935868 | 935868 | PSR935868 | DOCKING STATION, CALIBRATION AND BUMP TE | DOCKING STATION, CALIBRATION AND BUMP TESTING FOR HONEYWELL BW ICON DETECTOR, MODEL: INTELLIDOX, P/N: DX-CP, BRAND: HONEYWELL | DOCKING STATION, CALIBRATION AND BUMP TESTING FOR HONEYWELL BW ICON DETECTOR, MODEL: INTELLIDOX, P/N: DX-CP, BRAND: HONEYWELL | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | Y | DX-CP | 3000290 | HONEYWELL | N | N/A | 30 | EX | N/A | EA |  |  | https://www.bw-gasmonitors.com/dx-cp.html | http://site.bw-gasmonitors.com/pdf/IntelliDoX_Datasheet_March_2016.pdf | HONEYWELL | DX-CP | [12 empty] | BW ICON DETECTOR | [9 empty] | Enriched | STATION | NO MODIFIER | TYPE | DOCKING,CALIBRATION & BUMP TESTING | VOLTAGE RATING | 12 V | CURRENT RATING | 8.33 A | POWER RATING |  | SIZE | WD 5-13/32 X HT 14-13/64 X DP 4-19/64 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | EXTERNAL INTERFACE:1 USB PORT,1 ETHERNET PORT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR046154 | 046154 | PSR046154 | FLANGE, SLIP-ON, C. S., 350 MM ND , FLAT | FLANGE, SLIP-ON, C. S., 350 MM ND , FLAT FACE; DIMENSIONS DRILLED TO PN20 (CLASS 150): O.D.: 535 MM; BCD: 476 MM; BH: 12; BHD: 29 MM; BOLT SIZE : M25 SLIP-ON HOLE | FLANGE, SLIP-ON, C. S., 350 MM ND , FLAT FACE; DIMENSIONS DRILLED TO PN20 (CLASS 150): O.D.: 535 MM; BCD: 476 MM; BH: 12; BHD: 29 MM; BOLT SIZE : M25 SLIP-ON HOLE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC |  |  | URL Not Found | [25 empty] | Cleansed | FLANGE | PIPE | TYPE | DRILLED FLAT FACE,SLIP-ON | NOMINAL SIZE | 350 MM | OUTSIDE DIAMETER | 535 MM | SCHEDULE/WALL THICKNESS |  | THICKNESS |  | BOLT CIRCLE DIAMETER | 476 MM | MOUNTING HOLE SIZE | 29 MM | NUMBER OF HOLES | 12 | END CONNECTION |  | MATERIAL | CARBON STEEL | MATERIAL SPECIFICATION |  | PRESSURE RATING | PN20,CLASS 150 | COATING/FINISH |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BOLT SIZE:M25 SLIP-ON HOLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR065463 | 065463 | PSR065463 | GAS, HELIUM, HIGH PURITY, 99.995%, IN ST | GAS, HELIUM, HIGH PURITY, 99.995%, IN STANDARD CYLINDER; WITH THE FOLLOWING AVERAGE VALUES: HELIUM = 99.995% PURITY; CARBON DIOXIDE = LESS THAN 6 VPM; METHANE = LESS THAN 1 VPM; INCLUDES ISSUANCE OF CERTIFICATE OF ANALYSIS AND MSDS. | GAS, HELIUM, HIGH PURITY, 99.995%, IN STANDARD CYLINDER; WITH THE FOLLOWING AVERAGE VALUES: HELIUM = 99.995% PURITY; CARBON DIOXIDE = LESS THAN 6 VPM; METHANE = LESS THAN 1 VPM; INCLUDES ISSUANCE OF CERTIFICATE OF ANALYSIS AND MSDS. | CY | 1 | 1 | STOCK | Min-Max | CONSUMABLES | C | 0 | V1 | 1900 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | HB | N/A | EA |  |  | URL Not Found | [25 empty] | Cleansed | GAS | INDUSTRIAL | TYPE | HELIUM,HIGH PURITY | CONCENTRATION/PURITY | 99.995 PCT | PACK SIZE |  | PACK TYPE |  | APPEARANCE |  | MSDS/CAS NUMBER |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ISSUANCE OF CERTIFICATE OF ANALYSIS & MSDS,IN STANDARD CYLINDER,AVERAGE VALUES:HELIUM 99.995 PCT PURITY,CARBON DIOXIDE LESS THAN 6 VPM,METHANE:LESS THAN 1 VPM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR944906 | 944906 | PSR944906 | GEAR, DRIVE, HELICAL, A, Z=16, P/N 1-413 | GEAR, DRIVE, HELICAL, A, Z=16, P/N 1-41351-044-0, REAR FINAL DRIVE GROUP; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN:JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | GEAR, DRIVE, HELICAL, A, Z=16, P/N 1-41351-044-0, REAR FINAL DRIVE GROUP; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN:JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 5955 | ERSA | OTHER | Y | 1-41351-044-0 | 3000024 | ISUZU | N | N/A | 30 | EX | N/A | PC |  |  | http://catcar.info/isuzu/?lang=en&l=c3Q9PTYwfHxzdHM9PXsiMjAiOiJNb2RlbCIsIjMwIjoiQyZFIiwiNDAiOiIxMDg3OSAtIEVYWiBMSEQgRlVFTCBUQU5LIDQwMEwgICAgIDAxIC0gICIsIjUwIjoiNCAtIFByb3BlbGxlciBTaGFmdCwgQXhsZXMsIFN0ZWVyaW5nLCBTdXNwZW5zaW9uIiwiNjAiOiI0LTI1IC0gUkVBUiBGSU5BTCBEUklWRSJ9fHxtb2RlbElkPT0yMDAwNnx8bW9kZWxDb2RlSWQ9PTEwMDAxfHxlcXVpcG1lbnRJZD09MzQzfHxwb3NGaWx0ZXI9PXx8Z3JvdXBJZD09NzA2fHxzdHM1MD09eyIyMCI6Ik1vZGVsIiwiMzAiOiJDJkUiLCI0MCI6IjEwODc5IC0gRVhaIExIRCBGVUVMIFRBTksgNDAwTCAgICAgMDEgLSAgIiwiNTAiOiI0IC0gUHJvcGVsbGVyIFNoYWZ0LCBBeGxlcywgU3RlZXJpbmcsIFN1c3BlbnNpb24ifXx8c3ViZ3JvdXBJZD09MTIxNzl8fGltZz09fHxmdHI9PUQ%3D |  | ISUZU | 1-41351-044-0 | [12 empty] | DUMPTRUCK WITH ENGINE | CYZ51,VIN:JALCYZ51ME7000160,6WF1 NO.6WF1-TCC | [8 empty] | Cleansed | GEAR | HELICAL | TYPE | DRIVE | BORE SIZE |  | PITCH DIAMETER |  | OUTSIDE DIAMETER |  | NUMBER OF TEETH |  | MATERIAL |  | PRESSURE ANGLE |  | DIAMETRAL PITCH |  | FACE WIDTH |  | HUB LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REAR FINAL DRIVE GROUP,Z:16 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR629047 | 629047 | PSR629047 | GEL, LUBRICATING, GYNECOLOGICAL/SURGICAL | GEL, LUBRICATING, GYNECOLOGICAL/SURGICAL, 82 GRAMS/TUBE, K-Y JELLY | GEL, LUBRICATING, GYNECOLOGICAL/SURGICAL, 82 GRAMS/TUBE, K-Y JELLY | TU | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4040 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | EA | C |  | URL Not Found | [9 empty] | K-Y JELLY | [15 empty] | Cleansed | LUBRICANT | NO MODIFIER | TYPE | GYNECOLOGICAL/SURGICAL GEL | GRADE |  | CONTAINER | 82 G TUBE | COMPOSITION |  | POUR POINT |  | FLASH POINT |  | VISCOSITY INDEX |  | OPERATING TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR015795 | 015795 | PSR015795 | GRINDER, ELECTRIC, CORDLESS, MODEL: AG 1 | GRINDER, ELECTRIC, CORDLESS, MODEL: AG 125-A22, 21.6 V, NO-LOAD SPEED (MAX.): 9500 RPM, WHEEL DIAMETER: 125 mm (5), MAX. CUTTING DEPTH: 34 mm, SPINDLE SIZE: M14, DISC BRAKE TIME: 1 SEC., DIMENSION: 351 (L) X 93 (W) X 131 mm (H), | GRINDER, ELECTRIC, CORDLESS, MODEL: AG 125-A22, 21.6 V, NO-LOAD SPEED (MAX.): 9500 RPM, WHEEL DIAMETER: 125 mm (5), MAX. CUTTING DEPTH: 34 mm, SPINDLE SIZE: M14, DISC BRAKE TIME: 1 SEC., DIMENSION: 351 (L) X 93 (W) X 131 mm (H), BRAND: HILTI | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4010 | ERSA | OTHER | Y | AG 125-A22 | 3000289 | HILTI | N | N/A | 30 | EX | N/A | EA |  |  | https://www.hilti.in/c/CLS_CORDLESS_TOOLS_7123/CLS_CORDLESS_GRINDERS_7123/r3958236 |  | HILTI | AG 125-A22 | [22 empty] | Enriched | GRINDER | ELECTRICAL | TYPE | CORDLESS ANGLE | WHEEL/DISC SIZE | 125 MM | SPEED RATING | 9500 RPM NO-LOAD | VOLTAGE RATING | 21.6 V | POWER RATING |  | CURRENT RATING |  | HOPPER SIZE |  | FLOUR BIN SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MAXIMUM CUTTING DEPTH:34 MM,SPINDLE SIZE:M14,DISC BRAKE TIME:1 S,DIMENSION:LG 351 X WD 93 X HT 131 MM,C/W (1) X PROTECTIVE COVER 125-P88 ASSEMBLY,(1) X CLIP-ON FRONT COVER 125,(1) X THREADED STUD,(1) X WASHER HOLDER,(1) X COMFORT SIDE HANDLE,(1) X FLANGE EU ASSEMBLY SET,(1) X CASE AG 125-A22 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR054295 | 054295 | PSR054295 | METER,DIGITAL PANEL,TDP-1040-DV4,DC +/-1 | METER,DIGITAL PANEL,TDP-1040-DV4,DC +/-19.99V,CLASS:0.1%,POWER SUPPLY:110VACMETER, DIGITAL PANEL, MODEL : TDP-1040-DV4, RATING : 199.9KA;METER :+ /-19.99V, CLASS : 0.1%.MAKER:TSURUGA ELECTRIC WORKS,JA | METER,DIGITAL PANEL,TDP-1040-DV4,DC +/-19.99V,CLASS:0.1%,POWER SUPPLY:110VACMETER, DIGITAL PANEL, MODEL : TDP-1040-DV4, RATING : 199.9KA;METER :+ /-19.99V, CLASS : 0.1%.MAKER:TSURUGA ELECTRIC WORKS,JA | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL Not Found |  | TSURUGA ELECTRIC WORKS,JA | TDP-1040-DV4 | [22 empty] | Cleansed | METER | ELECTRICAL | TYPE |  | MEASURING RANGE |  | ACCURACY | 0.1 PCT | CONNECTION TYPE |  | DISPLAY TYPE | DIGITAL | POWER SUPPLY | 110 VAC | MOUNTING TYPE | PANEL | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PRESSURE RATING :199.9 KA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR029887 | 029887 | PSR029887 | PAMPHLET, VISITOR ORIENTATION GUIDELINES | PAMPHLET, VISITOR ORIENTATION GUIDELINES, MATERIAL: BOND PAPER, SIZE: A4. | PAMPHLET, VISITOR ORIENTATION GUIDELINES PAMPHLET, MATERIAL: BOND PAPER, SIZE: A4. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 5 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL Not Found | [25 empty] | Cleansed | BOOK | NO MODIFIER | TYPE | VISITOR ORIENTATION GUIDELINES PAMPHLET | SIZE | A4 | NUMBER OF PAGES |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MATERIAL:BOND PAPER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR940204 | 940204 | PSR940204 | PLUMBING FIXTURE, RECESSED WASHING MACHI | PLUMBING FIXTURE, RECESSED WASHING MACHINE OUTLET BOX WITH QUARTER TURN BALL VALVES. MANUF/MODEL: GUY GRAY MODEL #FR12S | PLUMBING FIXTURE, RECESSED WASHING MACHINE OUTLET BOX WITH QUARTER TURN BALL VALVES. MANUF/MODEL: GUY GRAY MODEL #FR12S | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4075 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://www.easternfirst.com/Product/GUY-GRAY-FR12S-1-2-SWT-QTR-TURN-PLASTIC-FIRE-RATED-WASHING-MACHINE-BOX-82355-180857 | [9 empty] | GUY GRAY | FR12S | [14 empty] | Cleansed | BOX | NO MODIFIER | TYPE | FIRE RATED RECESSED WASHING MACHINE OUTLET | SIZE |  | CAPACITY |  | MATERIAL | PLASTIC | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/1/2 IN SWT QUARTER TURN BALL VALVES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR102436 | 102436 | PSR102436 | PUMP ASSEMBLY, DOUBLE-DIAPHRAGM, AIR OPE | PUMP ASSEMBLY, DOUBLE-DIAPHRAGM, AIR OPERATED; MAX. FLOW: 4.8 GPM; MAX. AIR PRESS: 125 PSI; INLET/OUTLET FITTINGS: 1/4 NPT FEMALE; WETTED PARTS MATERIAL: PVDF WITH TEFLON DIAPHRAMS AND BALL VALVES; MEDIUM: H2SO4; BRAND/MODEL: WILDEN PROFLO | PUMP ASSEMBLY, DOUBLE-DIAPHRAGM, AIR OPERATED; MAX. FLOW: 4.8 GPM; MAX. AIR PRESS: 125 PSI; INLET/OUTLET FITTINGS: 1/4 NPT FEMALE; WETTED PARTS MATERIAL: PVDF WITH TEFLON DIAPHRAMS AND BALL VALVES; MEDIUM: H2SO4; BRAND/MODEL: WILDEN PROFLO P.025/KZPPP/TNL/TF/KTV | AY | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3000 | ERSA | OTHER | Y | PROFLO | 3000372 | WILDEN PUMP & ENGINEERING CO | N | N/A | 30 | EX | N/A | EA |  |  | https://www.carotek.com/Product/Wilden-AODD-Pump-P-025-KZPPP-TNL-TF-KTV |  | WILDEN PUMP & ENGINEERING CO | [7 empty] | PROFLO | P.025/KZPPP/TNL/TF/KTV | [14 empty] | Enriched | PUMP | DIAPHRAGM | TYPE | DOUBLE,AIR OPERATED | HEAD RANGE |  | FLOW RATING | 4.8 GPM | POWER RATING |  | INLET SIZE | 1/4 IN FNPT | OUTLET SIZE | 1/4 IN FNPT | PRESSURE RATING | 125 PSI | SPEED RATING |  | ELECTRICAL RATING |  | HOUSING MATERIAL |  | DIAPHRAGM MATERIAL | TEFLON | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WETTED PARTS MATERIAL:PVDF WITH TEFLON BALL VALVES,MEDIUM:H2SO4,ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR041555 | 041555 | PSR041555 | PUMP, AIRWAY SUCTION, HAND SQUEEZE OPERA | PUMP, AIRWAY SUCTION, HAND SQUEEZE OPERATED, PLASTIC, WITH DISPOSABLE CANISTER AND CATHETER | PUMP, AIRWAY SUCTION, HAND SQUEEZE OPERATED, PLASTIC, WITH DISPOSABLE CANISTER AND CATHETER | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL Not Found | [25 empty] | Cleansed | PUMP | NO MODIFIER | TYPE | AIRWAY SUCTION,HAND SQUEEZE OPERATED | HEAD RANGE |  | FLOW RATING |  | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS |  | CASE MATERIAL | PLASTIC | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/DISPOSABLE CANISTER & CATHETER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR021392 | 021392 | PSR021392 | RING, GEAR, GEARED BEARING; FOR TROFF CO | RING, GEAR, GEARED BEARING; FOR TROFF CONVERTER FURNACE, MFR: OUTOTEC | RING, GEAR, GEARED BEARING; FOR TROFF CONVERTER FURNACE, MFR: OUTOTEC | AY | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL Not Found |  | OUTOTEC | [13 empty] | TROFF CONVERTER FURNACE | [9 empty] | Cleansed | RING | NO MODIFIER | TYPE | GEARED BEARING | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR016714 | 016714 | PSR016714 | SILICON, JOINTS, P/N SL00128A, CATALYST | SILICON, JOINTS, P/N SL00128A, CATALYST SIDE SET, FOR MILESTONE DIRECT MERCURY ANALYZER DMA80 EVO | SILICON, JOINTS, P/N SL00128A, CATALYST SIDE SET, FOR MILESTONE DIRECT MERCURY ANALYZER DMA80 EVO | SE | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 2230 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://www.milestonesci.com/wp-content/uploads/2019/11/Consumables-Accessories-DMA-80.pdf |  |  | SL00128A | [12 empty] | MILESTONE DIRECT MERCURY ANALYZER | DMA80 | EVO | [7 empty] | Cleansed | JOINT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL | SILICON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CATALYST SIDE SET,PACKAGE QUANTITY:10 PER SET | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 | Sutable NM Not Found | PSR015215 | 015215 | PSR015215 | SPLASHER, P/N 11, MATERIAL: SPCC, FOR PS | SPLASHER, P/N 11, MATERIAL: SPCC, FOR PSA OXYGEN COMPRESSOR, TYPE RF-245KP, MFG. NO. JS-0186, REFERENCE DWG. NO. 3M-RF-245KPJSE, MFR: TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | SPLASHER, P/N 11, MATERIAL: SPCC, FOR PSA OXYGEN COMPRESSOR, TYPE RF-245KP, MFG. NO. JS-0186, REFERENCE DWG. NO. 3M-RF-245KPJSE, MFR: TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 11 | 90 | EX | TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | PC | C |  | URL Not Found |  | TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | 11 | [12 empty] | PSA OXYGEN COMPRESSOR | RF-245KP | [71 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR041585 | 041585 | PSR041585 | STANDARD SOLUTION, ICP MULTI-ELEMENT, XV | STANDARD SOLUTION, ICP MULTI-ELEMENT, XVI - 100MG/L: SB, AS, BE, CD, CA, CR, CO, CU, FE, PB, LI, MG, MN, MO, NI, SE, SR, TL, TI, V, ZN CERTIPUR 100 ML/BOTTLE | STANDARD SOLUTION, ICP MULTI-ELEMENT, XVI - 100MG/L: SB, AS, BE, CD, CA, CR, CO, CU, FE, PB, LI, MG, MN, MO, NI, SE, SR, TL, TI, V, ZN CERTIPUR 100 ML/BOTTLE | BT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5380 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | BT |  |  | URL Not Found | [25 empty] | Cleansed | SOLUTION | NO MODIFIER | TYPE | ICP MULTI-ELEMENT | CHEMICAL/TRADE NAME | XVI:100MG/L-SB,AS,BE,CD,CA,CR,CO,CU,FE,PB,LI,MG,MN,MO,NI,SE,SR,TL,TI,V,ZN | CONTAINER | 100 ML BOTTLE | CONCENTRATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR051640 | 051640 | PSR051640 | SWITCH, PRESSURE, P/N ACB-2UB1114W 061F8 | SWITCH, PRESSURE, P/N ACB-2UB1114W 061F8983, 40.5 BAR N.C. 32 6A, 250V, MFR: DANFOSS | SWITCH, PRESSURE, P/N ACB-2UB1114W 061F8983, 40.5 BAR N.C. 32 6A, 250V, MFR: DANFOSS | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5100 | ERSA | OTHER | Y | ACB-2UB1114W 061F8983 | 3000508 | DANFOSS FLUID POWER (SAUERDANFOSS) | N | N/A | 30 | EX | N/A | PC |  |  | https://store.danfoss.com/en/Climate-Solutions-for-cooling/Switches/Cartridge-pressure-switches/Cartridge-pressure-switch%2C-ACB%2C-40-50-bar%2C-32-00-bar/p/061F8983 |  | DANFOSS FLUID POWER | 061F8983 |  | SAUERDANFOSS | ACB-2UB1114W | [19 empty] | Enriched | SWITCH | PRESSURE | TYPE | CARTRIDGE,AUTO RESET | MEASURING RANGE | 40.5 BAR | PROCESS CONNECTION | 1/4 IN FLARE | CONTACT CONFIGURATION | NC | ENCLOSURE | IP65 | TEMPERATURE RATING | 30 TO 85 DEG C | MOUNTING TYPE | 45 DEG VERTICAL | VOLTAGE RATING | 250 V | CURRENT RATING | 6 A | ACTION | SPST | MATERIAL |  | SIZE | LG 2.5 M CABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD | REACH,UL,CULUS UL873,CE 0035,TUV,UKCA | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR397502 | 397502 | PSR397502 | VALVE, BALL, PP, DN 65, TYPE 370 PP-H, W | VALVE, BALL, PP, DN 65, TYPE 370 PP-H, WITH BACKING FLANGES PP-V METRIC, EPDM CODE 167 370 112, PTFE BALL SEALS, FLAT FACE JOINTING, CONNECTING DIMENSIONS: ISO 7005 / EN 1092 / DIN 2501 PN 10, MAKER: GEORG FISCHER ROHRLEITUNGSSYSTEME AG, | VALVE, BALL, PP, DN 65, TYPE 370 PP-H, WITH BACKING FLANGES PP-V METRIC, EPDM CODE 167 370 112, PTFE BALL SEALS, FLAT FACE JOINTING, CONNECTING DIMENSIONS: ISO 7005 / EN 1092 / DIN 2501 PN 10, MAKER: GEORG FISCHER ROHRLEITUNGSSYSTEME AG, SWITZERLAND | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2240 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL Not Found |  | GEORG FISCHER ROHRLEITUNGSSYSTEME AG, SWITZERLAND | 370 PP-H | [22 empty] | Cleansed | VALVE | BALL | TYPE |  | NOMINAL SIZE | DN65 | END CONNECTION |  | PRESSURE CLASS/RATING | PN10 | BODY MATERIAL | POLYPROPYLENE | CONFIGURATION |  | PORT TYPE |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | END TO END DISTANCE |  | OPERATED |  | TRIM | PTFE BALL SEAL | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 7005,EN 1092,DIN 2501 | ADDITIONAL FEATURES EN | FLAT FACE JOINTING,W/BACKING FLANGES PP-V METRIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR954721 | 954721 | PSR954721 | VALVE, BLOCK, 3/8" O.D., MATERIAL: SUS31 | VALVE, BLOCK, 3/8" O.D., MATERIAL: SUS316, P/N: SS-1KS6-A-SC11, FOR COLDBOX NEEDLE VALVE, INCLUDING MODIFICATION ACCESSORIES, MFR: SWAGELOK | VALVE, BLOCK, 3/8" O.D., MATERIAL: SUS316, P/N: SS-1KS6-A-SC11, FOR COLDBOX NEEDLE VALVE, INCLUDING MODIFICATION ACCESSORIES, MFR: SWAGELOK | EA | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 2600 | ERSA | OTHER | Y | SS-1KS6-A-SC11 | 3000355 | SWAGELOK LTD | N | N/A | 90 | EX | N/A | EA | B |  | URL Not Found |  | SWAGELOK LTD | SS-1KS6-A-SC11 | [12 empty] | COLDBOX NEEDLE VALVE | [9 empty] | Cleansed | VALVE | NO MODIFIER | TYPE | BLOCK | NOMINAL SIZE | 3/8 IN OD | END CONNECTION |  | CONFIGURATION |  | PRESSURE CLASS/RATING |  | BODY MATERIAL | STAINLESS STEEL SUS316 | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/MODIFICATION ACCESSORIES | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR055268 | 055268 | PSR055268 | VALVE, CAPACITY CONTROL, P/N 11070, 24 V | VALVE, CAPACITY CONTROL, P/N 11070, 24 VDC 16 W (F6457); TYRE BG 024DS, TYPE NUMBER: 18F6857; HYFRA CHILLER SIGMA C13-AC | VALVE, CAPACITY CONTROL, P/N 11070, 24 VDC 16 W (F6457); TYRE BG 024DS, TYPE NUMBER: 18F6857; HYFRA CHILLER SIGMA C13-AC | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 2240 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 120 | EX | N/A | PC |  |  | https://store.danfoss.com/en/Climate-Solutions-for-cooling/Valves/Valve-Coils/Coils-for-Solenoid-Valves/Solenoid-coil%2C-BG024DS%2C-Multi-pack/p/018F6857 |  | DANFOSS | BG 024DS | DANFOSS | 018F6857 | DANFOSS | 11070 | [8 empty] | HYFRA CHILLER | C13-AC | SIGMA | [7 empty] | Enriched | VALVE | SOLENOID | TYPE | CONTROL | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 VDC,16 W | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING | -40 TO 50 DEG C | ENCLOSURE | IP67 | HAZARD CLASS |  | CERTIFICATION/STANDARD | LLC CDC TYSK,CE,CMIM,EAC,UKCA | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR054387 | 054387 | PSR054387 | VALVE, CHECK, IN-LINE, BORE: 41 MM, LENG | VALVE, CHECK, IN-LINE, BORE: 41 MM, LENGTH: 135 MM, HEXAGONAL TYPE, MATERIAL: BLACK IRON, FOR HIGH PRESSURE PUMPS, FOR HYDRAULIC LINE | VALVE, CHECK, IN LINE, P/N EN9624, FOR: HYDRAULIC FILTERS SUIT CAT C93A / CAT C9.3 3B, QJ341 MOBILE JAW CRUSHER, MFR: SANDVIK | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 2240 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 60 | EX | N/A | PC |  |  | URL Not Found |  | SANDVIK | EN9624 | [12 empty] | HYDRAULIC FILTERS,MOBILE JAW CRUSHER | CAT C93A/CAT C9.3 3B,QJ341 | [8 empty] | Cleansed | VALVE | CHECK | TYPE | IN-LINE | NOMINAL SIZE |  | END CONNECTION |  | END TO END DISTANCE |  | CONFIGURATION |  | BODY MATERIAL |  | PRESSURE CLASS/RATING |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR057461 | 057461 | PSR057461 | VALVE, CONTROL, FLUID DESCRIPTION: 98.5% | VALVE, CONTROL, FLUID DESCRIPTION: 98.5% H2SO4, TAG NUMBER: 502-FV-073, BODY TYPE: BUTTERFLY/LUG STYLE, BODY SIZE: DN100, INLET AND OUTLET CONNECTION: ASME B16.5 DN150 100LB RF, BODY/BONNET MATERIAL:LEWMET, INLET TEMP.: 75°C | VALVE, CONTROL, FLUID DESCRIPTION: 98.5% H2SO4, TAG NUMBER: 502-FV-073, BODY TYPE: BUTTERFLY/LUG STYLE, BODY SIZE: DN100, INLET AND OUTLET CONNECTION: ASME B16.5 DN150 100LB RF, BODY/BONNET MATERIAL:LEWMET, INLET TEMP.: 75°C SPECIFIC GRAVITY: 1.8, FLOWRATE: 31 M3/HR MIN, 62 M3/HR NORMAL, 80 M3/HR MAX, INLET PRESSURE: 200KPA, SHUTOFF PRESSURE: 350KPA, PRESSURE DIFFERENTIAL: 165KPA, DESIGN PRES/TEMP.: BY VENDOR, FLOW DIRECTION: MFG. STANDARD, TRIM TYPE: DISK, TRIM SIZE: STANDARD, VALVE OPENING: 90 DEGREE, TRIM CHARACTERISTIC: LINEAR, LEAKAGE CLASS: ANSI CLASS VI, SEALING TYPE: SOFT SEAT, PLUG/BALL/DISK/GATE MATERIAL: LEWMET ALLOY OR EQUIVALENT, SEAT MATERIAL: VITON OR BY VENDOR, STEM/SHAFT MATERIAL: LEWMET ALLOY OR EQUIVALENT, BEARINGS MATERIAL: LEWMET ALLOY OR EQUIVALENT, ACTUATOR; TYPE: PNEUMATIC PISTON/DIAPHRAGM, FUNCTION: MODULATING, ACTION: BY VENDOR, AIR FAILURE POSITION: CLOSED: AVAILABLE AIR SUPPLY: 800KPA MAX & 500KPA MIN., SIGNAL CONNECTIONS: 1/4 NPT, POSITIONER; TAG NO./TYPE: 502-FY-073/ELECTRO-PNEUMATIC, INPUT SIGNAL: 4-20 mADC, ACTION: ON INCR SIGNAL OUTPUT INCREASE, ENCLOSURE RATING: IP66 (NEMA 4X EQUIVALENT), CONDUIT CONNECTION: M20, AIR CONNECTION: 1/4 NPT, AIR FILTER REGULATOR: YES, INTEGRAL MOUNTED, SEE ATTACHED DATASHEET S20.50-002 502-FV-073 AND SPECIFICATION | AY | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2240 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL Not Found |  |  | 502-FV-073 | [22 empty] | Cleansed | VALVE | BUTTERFLY | TYPE | LUG | NOMINAL SIZE | DN150 | END CONNECTION | RF FLANGE | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | LEWMET | PRESSURE CLASS/RATING | 200 KPA INLET,350 KPA SHUTOFF,165 KPA DIFFERENTIAL | DESIGN PRESSURE |  | TEMPERATURE RATING |  | OPERATED | PNEUMATIC PISTON/DIAPHRAGM | TRIM | VITON SOFT SEAT,LEWMET ALLOY PLUG,BALL,DISK,GATE,STEM/SHAFT | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ASME B16.5 | ADDITIONAL FEATURES EN | BEARINGS MATERIAL:LEWMET ALLOY OR EQUIVALENT,FUNCTION:MODULATING,AIR FAILURE POSITION:CLOSED,AIR SUPPLY:800 KPA MAX & 500 KPA MIN,SIGNAL CONNECTIONS:1/4 IN NPT,TAG NO/TYPE:502-FY-073/ELECTRO-PNEUMATIC,INPUT SIGNAL:4-20 MADC,ACTION:ON INCREMENT SIGNAL OUTPUT INCREASE,ENCLOSURE RATING:IP66 (NEMA 4X EQUIVALENT),CONDUIT CONNECTION:M20,AIR CONNECTION: 1/4 IN NPT,AIR FILTER REGULATOR:YES,INTEGRAL MOUNTED,SEE ATTACHED DATASHEET S20.50-002 502-FV-073 & SPECIFICATION,FLUID DESCRIPTION:98.5 PCT H2SO4,TAG NUMBER:502-FV-073 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR014964 | 014964 | PSR014964 | VALVE, SOLENOID, MODEL: M65G-10-A12-TF; | VALVE, SOLENOID, MODEL: M65G-10-A12-TF; 4 WAY, 2 POSITION; PRESSURE: 0.1~0.9 MPa; VOLTAGE (AC): 100V @ 50Hz, 0.16A @ 60Hz, 0.73A; VOLTAGE (AC):110V @ 50Hz, 0.19A @ 60HZ, 0.15A; MFG: KANEKO SANGYO CO. LTD. TOKYO JAPAN | VALVE, SOLENOID, MODEL: M65G-10-A12-TF; 4 WAY, 2 POSITION; PRESSURE: 0.1~0.9 MPa; VOLTAGE (AC): 100V @ 50Hz, 0.16A @ 60Hz, 0.73A; VOLTAGE (AC):110V @ 50Hz, 0.19A @ 60HZ, 0.15A; MFG: KANEKO SANGYO CO. LTD. TOKYO JAPAN | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2240 | ERSA | OTHER | N | N/A | N/A | N/A | N | M65G-10-A12-TF | 90 | EX | KANEKO SANGYO CO.LTD.TOKYO JAPAN | PC | C |  | https://kaneko.co.jp/eng/wp-content/uploads/2013/03/catalog-184a.pdf |  | KANEKO SANGYO CO. LTD. TOKYO JAPAN | M65G-10-A12-TF | [22 empty] | Enriched | VALVE | SOLENOID | TYPE | SINGLE | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION | 4/2-WAY | ORIFICE SIZE |  | ELECTRICAL RATING | 100 VAC AT 50 HZ,0.16 A AT 60 HZ,0.73 A,110 VAC AT 50HZ,0.19 A AT 60 HZ,0.15 A | FLOW RATING |  | PRESSURE CLASS/RATING | 0.1-0.9 MPA | BODY MATERIAL | ALUMINUM DIE CAST | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR944233 | 944233 | PSR944233 | VALVE, SOLENOID, P/N 0 820 062 301; MFR: | VALVE, SOLENOID, P/N 0 820 062 301; MFR: REXROTH | VALVE, SOLENOID, P/N 0 820 062 301; MFR: REXROTH | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 2240 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://teamequip.com/rexroth-0-820-062-301-solenoid-valve-t71823/ |  | REXROTH | 0 820 062 301 | [22 empty] | Enriched | VALVE | SOLENOID | TYPE |  | NOMINAL SIZE |  | END CONNECTION |  | CONFIGURATION |  | ORIFICE SIZE |  | ELECTRICAL RATING | 24 VDC,35 W | FLOW RATING |  | PRESSURE CLASS/RATING |  | BODY MATERIAL |  | DESIGN PRESSURE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | NGB | NGB | ok | 2023-03-17 | 2023-03-21 |  | PSR954786 | 954786 | PSR954786 | VALVE,BUTTERFLY;TYPE:Q-SEGMENT BALL TIGH | VALVE,BUTTERFLY;TYPE:Q-SEGMENT BALL TIGHT SHUT OFF BET,END CONNECTION:FLANGE,BODY MATERIAL:AISI316,PRESSURE CLASS/RATING:MAX 1600 KPA,DESIGN PRESSURE:MAX 50 KPA,TEMPERATURE RATING:40 DEG C,OPERATED:PNEUMATIC ACTUATOR,TRIM:SEAT AISI316, | VALVE,BUTTERFLY;TYPE:Q-SEGMENT BALL TIGHT SHUT OFF BET,END CONNECTION:FLANGE,BODY MATERIAL:AISI316,PRESSURE CLASS/RATING:MAX 1600 KPA,DESIGN PRESSURE:MAX 50 KPA,TEMPERATURE RATING:40 DEG C,OPERATED:PNEUMATIC ACTUATOR,TRIM:SEAT AISI316,ADDITIONAL FEATURES EN:MODEL:Q-R1LA100AJJN2F;PROCESS MEDIUM:O2;P:300KPA,FLOW:4000 NM3/H,MODEL:BJ8/20,SPRING TO CLOSE;POSITIONER:ELECTRO-PNEUMATIC MODEL: NE724S,INPUT:4-20 MA/20 MA FULL OPEN; WITH TWO LIMIT SWITCHES OPEN/CLOSE (TYPE: NK6201),AIR SUPPLY:4-8 BAR;MFR: NELES JAMESBURY | EA | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 2240 | ERSA | OTHER | N | N/A |  |  | Y | NK6201 |  | EX | N/A | EA |  |  | URL Not Found |  | NELES JAMESBURY | Q-R1LA100AJJN2F | [22 empty] | Cleansed | VALVE | BUTTERFLY | TYPE | Q-SEGMENT BALL TIGHT SHUT OFF BET | NOMINAL SIZE |  | END CONNECTION | FLANGE | CONFIGURATION |  | END TO END DISTANCE |  | BODY MATERIAL | STAINLESS STEEL AISI316 | PRESSURE CLASS/RATING | 1600 KPA | DESIGN PRESSURE | 50 KPA | TEMPERATURE RATING | 40 DEG C | OPERATED | PNEUMATIC ACTUATOR | TRIM | STAINLESS STEEL AISI316 SEAT | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PROCESS MEDIUM:O2,FLOW:4000 NM3/H,MODEL:BJ8/20,SPRING TO CLOSE,POSITIONER:ELECTRO-PNEUMATIC NE724S,INPUT:4-20 MA/20 MA FULL OPEN,W/TWO LIMIT SWITCHES OPEN/CLOSE (TYPE:NK6201) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed