## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | STOCKNO | SN | SN DESC | DESCRIPTION | LONG DESCRIPTION | UM | MINQTY | MAXQTY | ITEM TYPE | PLANNING METHOD | INVENTORY TYPE | BI CODE | AVG COST | SAP MRP TYPE | SAP MATERIAL GROUP | SAP MATERIAL TYPE | SAP INVENTORY TYPE | SAP OEM | SAP PN | SAP MFG NUMBER | SAP MFG NAME | PASAR OEM | PASAR PN | SAP PDT | LOT SIZE | PASAR MFG NAME | SAP UOM | SAP BI CODE | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | ART / Article Number | MFG Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR047512 | 047512 | PSR047512 | ACTUATOR, LIMITORQUE, MULTI-TURN, MODEL: | ACTUATOR, LIMITORQUE, MULTI-TURN, MODEL: SMB-2, BIC, WITH 5 GEARED TRAIN LIMIT SWITCH AND TORQUE SWITCH, INCLUDE RETROFIT, INSTALLATION, TAPPING OF POWER AND CONTROL WIRE AND COMMISSIONING, MFR: NIPPON GEAR | ACTUATOR, LIMITORQUE, MULTI-TURN, MODEL: SMB-2, BIC, WITH 5 GEARED TRAIN LIMIT SWITCH AND TORQUE SWITCH, INCLUDE RETROFIT, INSTALLATION, TAPPING OF POWER AND CONTROL WIRE AND COMMISSIONING, MFR: NIPPON GEAR | UT | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND |  | NIPPON GEAR | SMB-2 | [22 empty] | CLEANSED | ACTUATOR | ELECTRIC | TYPE | LIMITORQUE, MULTI-TURN | TRAVEL |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | END CONNECTION |  | SHAFT DIAMETER |  | TORQUE RATING |  | INTERFACE TYPE |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 5 GEARED TRAIN LIMIT SWITCH AND TORQUE SWITCH, INCLUDE RETROFIT, INSTALLATION, TAPPING OF POWER AND CONTROL WIRE AND COMMISSIONING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR054880 | 054880 | PSR054880 | ACTUATOR, LIMITORQUE, MULTI-TURN, WITH 5 | ACTUATOR, LIMITORQUE, MULTI-TURN, WITH 5 GEARED TRAIN LIMIT SWITCH AND TORQUE SWITCH, 440V, 60 hz, INCLUDE RETROFITTING, INSTALLATION, TAPPING OF POWER AND CONTROL WIRES, CONFIGURATION AND COMMISSIONING | ACTUATOR, LIMITORQUE, MULTI-TURN, WITH 5 GEARED TRAIN LIMIT SWITCH AND TORQUE SWITCH, 440V, 60 hz, INCLUDE RETROFITTING, INSTALLATION, TAPPING OF POWER AND CONTROL WIRES, CONFIGURATION AND COMMISSIONING | AY | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | ACTUATOR | ELECTRIC | TYPE | LIMITORQUE, MULTI-TURN | TRAVEL |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | END CONNECTION |  | SHAFT DIAMETER |  | TORQUE RATING |  | INTERFACE TYPE |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W 5 GEARED TRAIN LIMIT SWITCH AND TORQUE SWITCH, 440 V, 60 hz, INCLUDE RETROFITTING, INSTALLATION, TAPPING OF POWER AND CONTROL WIRES, CONFIGURATION AND COMMISSIONING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR954633 | 954633 | PSR954633 | AIR CONDITIONING ASSEMBLY, REFRIGERANT, | AIR CONDITIONING ASSEMBLY, REFRIGERANT, P/N: 60400008855, AIR CONDITIONING GROUP, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882172, MFR: LONKING | AIR CONDITIONING ASSEMBLY, REFRIGERANT, P/N: 60400008855, AIR CONDITIONING GROUP, FOR LONKING SKID STEER LOADER MODEL: CDM307, SERIAL NO.: LSL00307CNA882172, MFR: LONKING | EA | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 3730 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 60400008855 | 90 | EX | LONKING | EA |  |  | URL NOT FOUND |  | LONKING | 60400008855 | [12 empty] | SKID STEER LOADER | CDM307 |  |  |  | LSL00307CNA882172 |  |  |  |  | CLEANSED | REFRIGERANT | NO MODIFIER | TYPE | AIR CONDITIONING | TRADE NAME |  | CONTAINER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AIR CONDITIONING GROUP,ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 | SUITBALE NM NOT AVAILABLE | PSR940610 | 940610 | PSR940610 | AIR END, 2nd STAGE, WITH PINION GEAR, P/ | AIR END, 2nd STAGE, WITH PINION GEAR, P/N 19250582, FOR VPSA4 INSTRUMENT AIR COMPRESSOR MODEL: DSP-55ATR6N, MFG.NO. U1199001, MFR: HITACHI | AIR END, 2nd STAGE, WITH PINION GEAR, P/N 19250582, FOR VPSA4 INSTRUMENT AIR COMPRESSOR MODEL: DSP-55ATR6N, MFG.NO. U1199001, MFR: HITACHI | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3020 | ERSA | OTHER | Y | 19250582 | 3000004 | HITACHI | N | N/A | 90 | EX | N/A | PC |  |  | URL NOT FOUND |  | HITACHI | 19250582 | [12 empty] | INSTRUMENT AIR COMPRESSOR | VPSA4,DSP-55ATR6N | [7 empty] | U1199001 | [63 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR025988 | 025988 | PSR025988 | BRICK, REFRACTORY, SMK-20A, PAS-TU3A, BR | BRICK, REFRACTORY, SMK-20A, PAS-TU3A, BRAND: MARVELS, MATERIAL: SEMI-REBONDED MAGNESIA CHROME, SIZE 450 MM X 310,5~239 MM X 100 MM, CHEMICAL ANALYSIS: MgO: 62.2%; Cr2O3: 21.3%; Al2O3: 4.9%; Fe2O3: 9.2%; SiO2: 1.0%; CaO: 1.4% | BRICK, REFRACTORY, SMK-20A, PAS-TU3A, BRAND: MARVELS, MATERIAL: SEMI-REBONDED MAGNESIA CHROME, SIZE 450 MM X 310,5~239 MM X 100 MM, CHEMICAL ANALYSIS: MgO: 62.2%; Cr2O3: 21.3%; Al2O3: 4.9%; Fe2O3: 9.2%; SiO2: 1.0%; CaO: 1.4% | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 4700 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  |  | PAS-TU3A | [6 empty] | MARVELS | SMK-20A | [14 empty] | CLEANSED | BRICK | REFRACTORY | TYPE |  | GRADE |  | LENGTH | 450 MM | WIDTH | 310.5-239 MM | THICKNESS | 100 MM | MATERIAL | SEMI-REBONDED MAGNESIA CHROME, MgO 62.2 PCT, Cr2O3 21.3 PCT, Al2O3 4.9 PCT, Fe2O3 9.2 PCT, SiO2 1 PCT, CaO 1.4 PCT | TEMPERATURE RANGE |  | COMPRESSION STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR053140 | 053140 | PSR053140 | BRICK, REFRACTORY, SMK-20A, SG250/894, B | BRICK, REFRACTORY, SMK-20A, SG250/894, BRAND: MARVELS, MATERIAL: SEMI-REBONDED MAGNESIA CHROME, SIZE 425 MM X 114.4~89.4 MM X 150 MM, CHEMICAL ANALYSIS: MgO: 62.2%; Cr2O3: 21.3%; Al2O3: 4.9%; Fe2O3: 9.2%; SiO2: 1.0%; CaO: 1.4% | BRICK, REFRACTORY, SMK-20A, SG250/894, BRAND: MARVELS, MATERIAL: SEMI-REBONDED MAGNESIA CHROME, SIZE 425 MM X 114.4~89.4 MM X 150 MM, CHEMICAL ANALYSIS: MgO: 62.2%; Cr2O3: 21.3%; Al2O3: 4.9%; Fe2O3: 9.2%; SiO2: 1.0%; CaO: 1.4% | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 4700 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  |  | SG250/894 | [6 empty] | MARVELS | SMK-20A | [14 empty] | CLEANSED | BRICK | REFRACTORY | TYPE |  | GRADE |  | LENGTH | 425 MM | WIDTH | 114.4-89.4 MM | THICKNESS | 150 MM | MATERIAL | SEMI-REBONDED MAGNESIA CHROME,MgO 62.2 PCT, Cr2O3 21.3 PCT, Al2O3 4.9 PCT, Fe2O3 9.2 PCT,SiO2 1 PCT, CaO 1.4 PCT | TEMPERATURE RANGE |  | COMPRESSION STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR055701 | 055701 | PSR055701 | BUFFER RAM ASSEMBLY;POSITION # 11, FLAT | BUFFER RAM ASSEMBLY;POSITION # 11, FLAT TROLLEY, SLAG POT HANDLING - 01A/B, DWG.: GENERAL DRAWING JL150902 85T FLAT TROLLEY CN0536DD0303ME1-48; MFR: WUXI JULI ELECTROMOTION VEHICLE CO.,LTD | BUFFER RAM ASSEMBLY;POSITION # 11, FLAT TROLLEY, SLAG POT HANDLING - 01A/B, DWG.: GENERAL DRAWING JL150902 85T FLAT TROLLEY CN0536DD0303ME1-48; MFR: WUXI JULI ELECTROMOTION VEHICLE CO.,LTD | AY | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND |  | WUXI JULI ELECTROMOTION VEHICLE CO.,LTD | [13 empty] | 85 TON FLAT TROLLEY, SLAG POT HANDLING | 01A/B,CN0536DD0303ME1-48 |  | JL150902,POS 11 | [6 empty] | CLEANSED | RAM | NO MODIFIER | TYPE | BUFFER | MEMORY |  | MATERIAL |  | SIZE |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR014691 | 014691 | PSR014691 | CASE, BEARING, P/N 09, MATERIAL: FC200 ( | CASE, BEARING, P/N 09, MATERIAL: FC200 (GEAR CASE), FOR PSA OXYGEN COMPRESSOR, TYPE RF-250NP, MFG. NO. JS-0186, REFERENCE DWG. NO. 1RA-35580, MFR: TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | CASE, BEARING, P/N 09, MATERIAL: FC200 (GEAR CASE), FOR PSA OXYGEN COMPRESSOR, TYPE RF-250NP, MFG. NO. JS-0186, REFERENCE DWG. NO. 1RA-35580, MFR: TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | Y | P/N: 09 | 90 | EX | TAIKO KIKAI INDUSTRIES CO., LTD | PC | C |  | URL NOT FOUND |  | TAIKO KIKAI INDUSTRIES CO., LTD | 09 | [12 empty] | PSA OXYGEN COMPRESSOR | RF-250NP |  | 1RA-35580 | [5 empty] | JS-0186 | CLEANSED | CASE | NO MODIFIER | TYPE | BEARING | SIZE |  | MATERIAL | Gray cast iron GRADE FC200 GEAR CASE | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 | SUITBALE NM NOT AVAILABLE | PSR011698 | 011698 | PSR011698 | CONCRETE, READY MIXED, Class “C”, FOR LE | CONCRETE, READY MIXED, Class “C”, FOR LEAN CONCRETE, 6 BAGS PER CUBIC METER, 40kG/BAG CEMENT, G-1, S-4 | CONCRETE, READY MIXED, Class “C”, FOR LEAN CONCRETE, 6 BAGS PER CUBIC METER, 40kG/BAG CEMENT, G-1, S-4 | M3 | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1530 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | M3 |  |  | URL NOT FOUND | [88 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR938592 | 938592 | PSR938592 | GAS, STANDARD, SPAN CHECK, 75% OXYGEN PU | GAS, STANDARD, SPAN CHECK, 75% OXYGEN PURITY, BALANCE : N2, CAPACITY: 10 LITERS, 300 BARS,14.35 kg. INCLUDING REGULATOR, AIR PRODUCTS | GAS, STANDARD, SPAN CHECK, 75% OXYGEN PURITY, BALANCE : N2, CAPACITY: 10 LITERS, 300 BARS,14.35 kg. INCLUDING REGULATOR, AIR PRODUCTS | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1900 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | GAS | NO MODIFIER | TYPE | STANDARD,SPAN CHECK | COMPOSITION | 75 PCT OXYGEN PURITY | CONTAINER | 10 L | MOLECULAR WEIGHT | 14.35 KG | SPECIFIC GRAVITY |  | CRITICAL PRESSURE | 300 BAR | MSDS/CAS NUMBER |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | BALANCE:N2,INCLUDING REGULATOR, AIR PRODUCTS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR938916 | 938916 | PSR938916 | GLASS SET, SQUARE SHAPE, CAPACITY: 10 OZ | GLASS SET, SQUARE SHAPE, CAPACITY: 10 OZ, RAFFLE PRIZE | GLASS SET, SQUARE SHAPE, CAPACITY: 10 OZ, RAFFLE PRIZE | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | GLASS | DRINKING | TYPE | SQUARE SHAPE | CAPACITY | 10 OZ | SIZE |  | MATERIAL |  | COLOUR |  | SHAPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SET,RAFFLE PRIZE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR101437 | 101437 | PSR101437 | GRIP UNIT, LEFT, GU-L, DOWN ENDER, BRAND | GRIP UNIT, LEFT, GU-L, DOWN ENDER, BRAND: MESCO; FOR MESCO CATHODE STRIPPING MACHINE | GRIP UNIT, LEFT, GU-L, DOWN ENDER, BRAND: MESCO; FOR MESCO CATHODE STRIPPING MACHINE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5920 | ERSA | OTHER | Y | - | 3000725 | MESCO | N | N/A | 90 | EX | N/A | PC |  |  | URL NOT FOUND |  | MESCO | [7 empty] | MESCO | [5 empty] | CATHODE STRIPPING MACHINE | [9 empty] | CLEANSED | GRIP | NO MODIFIER | TYPE | LEFT,DOWN ENDER | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UNIT, GU-L | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR028490 | 028490 | PSR028490 | HOIST ASSEMBLY, CHAIN, ELECTRIC LIFTING, | HOIST ASSEMBLY, CHAIN, ELECTRIC LIFTING, CAPACITY: 10.0 TONS, LIFT: 20 METERS CHAIN LENGTH, MANUAL TRAVEL, SINGLE GIRDER BRIDGE, SINGLE SPEED, 3 PHASE, 220V, 60 Hz, MODEL FH-H HOIST, BRAND: FUTABA OR EQUIVALENT | HOIST ASSEMBLY, CHAIN, ELECTRIC LIFTING, CAPACITY: 10.0 TONS, LIFT: 20 METERS CHAIN LENGTH, MANUAL TRAVEL, SINGLE GIRDER BRIDGE, SINGLE SPEED, 3 PHASE, 220V, 60 Hz, MODEL FH-H HOIST, BRAND: FUTABA OR EQUIVALENT | AY | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5965 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [9 empty] | FUTABA | [15 empty] | CLEANSED | HOIST | CHAIN | TYPE | ELECTRIC LIFTING | STANDARD LIFT | 20 M | MIN BEND RADIUS |  | HAND CHAIN LENGTH |  | NUMBER OF STRANDS |  | HOISTING ELEMENT |  | LOAD CAPACITY | 10 TON | TROLLEY TYPE |  | CHAIN MATERIAL |  | CHAIN LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY,MANUAL TRAVEL, SINGLE GIRDER BRIDGE, SINGLE SPEED,ELECTRICAL RATING:220 V,3 PH,60 Hz,MODEL:FH-H HOIST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR936882 | 936882 | PSR936882 | JACKET, UNIFORM ARC HI-VIZ LIGHTWEIGHT J | JACKET, UNIFORM ARC HI-VIZ LIGHTWEIGHT JACKET, UNIFORMSFV439 (CL.1/ARC2), LARGE | JACKET, UNIFORM ARC HI-VIZ LIGHTWEIGHT JACKET, UNIFORMSFV439 (CL.1/ARC2), LARGE | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | JACKET | SAFETY | TYPE | UNIFORM ARC HI-VIZ LIGHTWEIGHT | SIZE DESIGNATION | LARGE | MATERIAL |  | COLOUR |  | SEAM DETAILS |  | CLOSURE DETAILS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UNIFORMS FV439 (CL 1/ARC2) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR051341 | 051341 | PSR051341 | RULER, MICROMETER, 0 ~ 100 MM, LENGTH: 1 | RULER, MICROMETER, 0 ~ 100 MM, LENGTH: 150MM / 6, PRECISION: 1MM AND 1/2MM / 1/32 AND 1/64, MARKINGS: ETCHED AND BLACK-FILLED, MATERIAL: STAINLESS STEEL; ANY ACCEPTABLE BRAND | RULER, MICROMETER, 0 ~ 100 MM, LENGTH: 150MM / 6, PRECISION: 1MM AND 1/2MM / 1/32 AND 1/64, MARKINGS: ETCHED AND BLACK-FILLED, MATERIAL: STAINLESS STEEL; ANY ACCEPTABLE BRAND | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4010 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [25 empty] | CLEANSED | RULER | NO MODIFIER | TYPE | MICROMETER | MEASURING RANGE | 0-100 MM | GRADUATION | 1 MM,1/2 MM,1/32 AND 1/64 | MATERIAL | STAINLESS STEEL | SIZE | LG 150 MM | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MARKINGS: ETCHED AND BLACK-FILLED,ANY ACCEPTABLE BRAND | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 21-03-2023 |  | PSR106535 | 106535 | PSR106535 | SHAFT, P209N COAXIAL INPUT-01, P/N 4, 26 | SHAFT, P209N COAXIAL INPUT-01, P/N 4, 26007034000001-1, MFR: JIANGSU NEW HONGDA GROUP LTD. | SHAFT, P209N COAXIAL INPUT-01, P/N 4, 26007034000001-1, MFR: JIANGSU NEW HONGDA GROUP LTD. | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5920 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | JIANGSU NEW HONGDA GROUP LTD. | 4 |  | 26007034000001-1 | [20 empty] | CLEANSED | SHAFT | NO MODIFIER | TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | P209N COAXIAL INPUT-01 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | PRODUCTION COMPLETED