## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | STOCKNO | SN | SN DESC | DESCRIPTION | LONG DESCRIPTION | UM | MINQTY | MAXQTY | ITEM TYPE | PLANNING METHOD | INVENTORY TYPE | BI CODE | AVG COST | SAP MRP TYPE | SAP MATERIAL GROUP | SAP MATERIAL TYPE | SAP INVENTORY TYPE | SAP OEM | SAP PN | SAP MFG NUMBER | SAP MFG NAME | PASAR OEM | PASAR PN | SAP PDT | LOT SIZE | PASAR MFG NAME | SAP UOM | SAP BI CODE | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | ART / Article Number | MFG Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR103357 | 103357 | PSR103357 | BROMINE, AR, ASSAY: MINIMUM 99.5%, 1 LIT | BROMINE, AR, ASSAY: MINIMUM 99.5%, 1 LITER/BOTTLE, BRAND: FLUKA 16040 OR MERCK | BROMINE, AR, ASSAY: MINIMUM 99.5%, 1 LITER/BOTTLE, BRAND: FLUKA 16040 OR MERCK | LI | 0 | 0 | STOCK | Min-Max | CONSUMABLES | A | 23138.3957 | PD | 5380 | HIBE | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | L |  |  | s | [9 empty] | FLUKA | 16040 | MERCK | [13 empty] | CLEANSED | CHEMICAL | NO MODIFIER | TYPE | BROMINE | CONCENTRATION/PURITY | 99.5 PCT | GRADE |  | MSDS/CAS NUMBER |  | COMPOSITION |  | CONTAINER SIZE | 1 L | CONTAINER | BOTTLE | PH VALUE |  | SPECIFIC GRAVITY |  | FORM |  | COLOUR |  | ODOR |  | FLAMMABILITY |  | SHELF LIFE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AR,ASSAY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 | PARTIAL MATCH | PSR015825 | 015825 | PSR015825 | CONTACTOR, MAGNETIC, MODEL: A185-30-22, | CONTACTOR, MAGNETIC, MODEL: A185-30-22, 3 POLES, CONTACT RATING: AC-3, POWER CAPACITY: 90 kW, CURRENT RATING (440 V): 185A, COIL VOLTAGE: 110~120 VAC, 2 NO, 2 NC AUXILIARY CONTACTS, WITH OVERLOAD RELAY: 60~200A, 3 POLES, | CONTACTOR, MAGNETIC, MODEL: A185-30-22, 3 POLES, CONTACT RATING: AC-3, POWER CAPACITY: 90 kW, CURRENT RATING (440 V): 185A, COIL VOLTAGE: 110~120 VAC, 2 NO, 2 NC AUXILIARY CONTACTS, WITH OVERLOAD RELAY: 60~200A, 3 POLES, MODEL: E200DU, MFR: ABB | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | Y | E200DU | 3000014 | ABB | N | N/A | 90 | EX |  | EA |  |  | https://new.abb.com/products/1SFL491001R8022/a185-30-22-80 |  | ABB | A185-30-22 | [22 empty] | ENRICHED | CONTACTOR | MAGNETIC | TYPE |  | VOLTAGE RATING | 110-120 VAC | CURRENT RATING | 185 A | NUMBER OF POLES | 3 | COIL RATING |  | POWER RATING | 90 KW | AUXILIARY CONTACT | 2NO 2NC | TERMINAL TYPE | BAR | MOUNTING TYPE |  | ENCLOSURE |  | SIZE | WD 118 X LG 160 X HT 196 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,CCC,CE,UKCA,DNV,CB,BV,GL,REACH,ROHS,RINA,RMRS,LR,LOVAG,GL | ADDITIONAL FEATURES EN | W/ E200DU OVERLOAD RELAY: 60-200 A,3 P | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR027733 | 027733 | PSR027733 | CONVERTER, MEDIA, PROFIBUS DP TO MODBUS | CONVERTER, MEDIA, PROFIBUS DP TO MODBUS TCP, MODEL: EP-321MP, MNFR: SIBOTECH AUTOMATION CO., LTD | CONVERTER, MEDIA, PROFIBUS DP TO MODBUS TCP, MODEL: EP-321MP, MNFR: SIBOTECH AUTOMATION CO., LTD | UT | 1 | 2 | STOCK | Min-Max | CONSUMABLES | B | 0 | V1 | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | Y | EP-321MP | 90 | HB | SIBOTECH AUTOMATION CO., LTD | EA |  |  | http://www.sibotech.net/en/ProductsView.asp?id=51 | http://sibotech.cn/En/DownLoad/Products_Catalog.pdf | SIBOTECH AUTOMATION CO., LTD | EP-321MP | [22 empty] | ENRICHED | MODULE | COMMUNICATION | TYPE | MODBUS TCP/PROFIBUS DP GATEWAY | INPUT RATING |  | NUMBER OF PORTS |  | INTERFACE TYPE | PROFIBUS DP | DATA TRANSFER RATE |  | TRANSMISSION PROTOCOL |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -40 TO 158 DEG F | CONNECTION TYPE |  | SIZE | WD 40 X HT 125 X DP 110 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | CONVERTER,MEDIA | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR935998 | 935998 | PSR935998 | CUTTER, HANDHELD GLASS ROD AND TUBING CU | CUTTER, HANDHELD GLASS ROD AND TUBING CUTTER TO EASILY CUT GLASS TUBES, BRAND: DEVARDI GLASS, MODEL: 18" FOR CUTTING TUBES UP TO 1 FOOT LONG | CUTTER, HANDHELD GLASS ROD AND TUBING CUTTER TO EASILY CUT GLASS TUBES, BRAND: DEVARDI GLASS, MODEL: 18" FOR CUTTING TUBES UP TO 1 FOOT LONG | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4010 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [9 empty] | DEVARDI GLASS | [15 empty] | CLEANSED | CUTTER | TUBE | TYPE | HANDHELD GLASS ROD AND TUBING | TUBE SIZE |  | BLADE MATERIAL |  | CUT MATERIAL | GLASS | HANDLE MATERIAL |  | BODY MATERIAL |  | HANDLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR CUTTING TUBES UP TO 1 FT LONG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR057419 | 057419 | PSR057419 | FITTINGS, RUN TEE, P/N 00CD52, HYDRAULI | FITTINGS, RUN TEE, P/N 00CD52, HYDRAULIC SYSTEM; FOR MCC BAOSTEEL SLAG POT CARRIER MODEL BGC-70B SERIAL NO. BGC-70B-14004 WITH CUMMINS ENGINE MODEL QSM11 NO. 35321838 | FITTINGS, RUN TEE, P/N 00CD52, HYDRAULIC SYSTEM; FOR MCC BAOSTEEL SLAG POT CARRIER MODEL BGC-70B SERIAL NO. BGC-70B-14004 WITH CUMMINS ENGINE MODEL QSM11 NO. 35321838 | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  |  | 00CD52 | [12 empty] | SLAG POT CARRIER W/ ENGINE | BGC-70B,QSM11 NO. 35321838 | MCC BAOSTEEL,CUMMINS |  |  | BGC-70B-14004 |  |  |  |  | CLEANSED | FITTING | NO MODIFIER | TYPE | RUN TEE | SIZE |  | END CONNECTION |  | MATERIAL |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | HYDRAULIC SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR056075 | 056075 | PSR056075 | LEAD, SHEET, 8 FT X 10 FT X 1/8 THICK, D | LEAD, SHEET, 8 FT X 10 FT X 1/8 THICK, DENSITY: 8 LBS./SQ. FT, Pb-Cu/ ASTM B29 - ASTM 749/ CHEMICAL COPPER LEAD/ QQ-L-201 GRADE C | LEAD, SHEET, 8 FT X 10 FT X 1/8 THICK, DENSITY: 8 LBS./SQ. FT, Pb-Cu/ ASTM B29 - ASTM 749/ CHEMICAL COPPER LEAD/ QQ-L-201 GRADE C | SH | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | SHEET | METALLIC | TYPE |  | WIDTH | 8 FT | LENGTH | 10 FT | THICKNESS | 1/8 IN | MATERIAL | COPPER LEAD | MATERIAL SPECIFICATION | QQ-L-201,ASTM B29,749 | FABRICATION METHOD |  | SURFACE TREATMENT |  | COATING/FINISH |  | GRADE | C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DENSITY: 8 LB/SQ FT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR011909 | 011909 | PSR011909 | LIGHT, PILOT, LED, P/N FL1M-8FW-2, MOUNT | LIGHT, PILOT, LED, P/N FL1M-8FW-2, MOUNTING, 8 MM DIAMETER, OPERATING VOLTAGE:110 VAC, COLOR: RED | LIGHT, PILOT, LED, P/N FL1M-8FW-2, MOUNTING, 8 MM DIAMETER, OPERATING VOLTAGE:110 VAC, COLOR: RED | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4100 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  |  | FL1M-8FW-2 | [22 empty] | CLEANSED | LIGHT | INDICATING | TYPE | PILOT,LED | LAMP WATTAGE |  | LENS COLOUR | RED | VOLTAGE RATING | 110 VAC | SIZE | DIA 8 MM | LAMP BASE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOUNTING | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR948156 | 948156 | PSR948156 | PACKING, PLUG, P/N 46, THICKNESS: 1.5MM, | PACKING, PLUG, P/N 46, THICKNESS: 1.5MM, MATERIAL: TEFLON, FOR PSA 1 OXYGEN COMPRESSOR, TYPE RF-250NP, MFG. NO. JS-0186, REFERENCE DWG. NO. 1RA-35580, MFR: TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | PACKING, PLUG, P/N: 46, THICKNESS: 1.5MM, MATERIAL: TEFLON, FOR PSA 1 OXYGEN COMPRESSOR, TYPE RF-250NP, MFG. NO. JS-0186, REFERENCE DWG. NO. 1RA-35580, MFR: TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 2230 | ERSA | OTHER | N | N/A | N/A | N/A | Y | 46 | 90 | EX | TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | PC | C |  | URL NOT FOUND |  | TAIKO KIKAI INDUSTRIES CO., LTD., JAPAN | 46 | [12 empty] | OXYGEN COMPRESSOR | RF-250NP,PSA 1 |  | 1RA-35580 | [5 empty] | JS-0186 | CLEANSED | PACKING | NO MODIFIER | TYPE |  | SIZE | THK 1.5 MM | MATERIAL | TEFLON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | PLUG | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR954731 | 954731 | PSR954731 | PANEL, CONTROL, NEMA 4X ENCLOSURE, OUTDO | PANEL, CONTROL, NEMA 4X ENCLOSURE, OUTDOOR TYPE, WALL-MOUNTED, WITH DOOR HANDLE,MATERIAL: SUS 304, NOMINAL THICKNESS: 2.5MM (1) SET PRE-WIRED START/STOP CIRCUIT, DIRECT-ONLINE STARTER, MAIN CIRCUIT BREAKER: 15A, 3POLE, 20KAIC, | PANEL, CONTROL, NEMA 4X ENCLOSURE, OUTDOOR TYPE, WALL-MOUNTED, WITH DOOR HANDLE,MATERIAL: SUS 304, NOMINAL THICKNESS: 2.5MM (1) SET PRE-WIRED START/STOP CIRCUIT, DIRECT-ONLINE STARTER, MAIN CIRCUIT BREAKER: 15A, 3POLE, 20KAIC, 440V, 3PHASE, 60HZ, REFER TO ATTACHED WIRING DIAGRAM, WITH INDICATING LED LIGHT (RUN/STOP), EMERGENCY STOP PUSH BUTTON | EA | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1640 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | EA | C |  | URL NOT FOUND | [25 empty] | CLEANSED | PANEL | CONTROL | TYPE | OUTDOOR | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | THK 2.5 MM | ENCLOSURE | NEMA 4X | MATERIAL | STAINLESS STEEL 304 | FREQUENCY RATING |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | MOUNTING TYPE: WALL,C/W DOOR HANDLE,(1) SET PRE-WIRED START/STOP CIRCUIT,DIRECT-ONLINE STARTER,MAIN CIRCUIT BREAKER: 440 V,15 A,3P,20 KAIC,3 PH,60 HZ,INDICATING LED LIGHT (RUN/STOP),EMERGENCY STOP PUSH BUTTON,REFER TO ATTACHED WIRING DIAGRAM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR954736 | 954736 | PSR954736 | PANELBOARD, ELECTRICAL, 1-PHASE, 230VAC, | PANELBOARD, ELECTRICAL, 1-PHASE, 230VAC, 60 Hz, MAIN CIRCUIT BREAKER: 40AT, 2P, 20 KAIC, BRANCHES: 1 X 40AT, 1-PHASE, 230V, 2P; 1 X 20AT, 1-PHASE, 230V, 2P 20KAIC, TYPE: PLUG IN | PANELBOARD, ELECTRICAL, 1-PHASE, 230VAC, 60 Hz, MAIN CIRCUIT BREAKER: 40AT, 2P, 20 KAIC, BRANCHES: 1 X 40AT, 1-PHASE, 230V, 2P; 1 X 20AT, 1-PHASE, 230V, 2P 20KAIC, TYPE: PLUG IN | EA | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | EA | C |  | URL NOT FOUND | [25 empty] | CLEANSED | PANEL | CONTROL | TYPE | PLUG IN,ELECTRICAL | VOLTAGE RATING | 230 VAC | CURRENT RATING |  | NUMBER OF PHASE | 1 | SIZE |  | ENCLOSURE |  | MATERIAL |  | FREQUENCY RATING | 60 HZ | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W MAIN CIRCUIT BREAKER: 40AT, 2P, 20 KAIC,BRANCHES: 1 X 40AT,1 PH,230 V,2 P,1 X 20AT,20KAIC | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR004740 | 004740 | PSR004740 | PLUG, CIRCUIT, PIN & SOCKET, 15 PIN MALE | PLUG, CIRCUIT, PIN & SOCKET, 15 PIN MALE, 9H15MM9, CONTROL CABLE CONNECTOR, 3 ROWS, 5 PIN PER ROW | PLUG, CIRCUIT, PIN & SOCKET, 15 PIN MALE, 9H15MM9, CONTROL CABLE CONNECTOR, 3 ROWS, 5 PIN PER ROW | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://hi-line.com/15-circuit-plug-pin-socket-1/ |  |  | 9H15MM9 | [22 empty] | ENRICHED | PLUG | ELECTRICAL | TYPE | CIRCUIT | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PINS | 15 PIN MALE | PIN MATERIAL |  | CONNECTION TYPE | CONTROL CABLE | SIZE |  | BODY MATERIAL |  | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SOCKET,NO OF ROW: 3,NO OF PIN PER ROW: 5 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR944927 | 944927 | PSR944927 | PLUG, INPUT SHAFT, P/N 1-09609-020-1, RE | PLUG, INPUT SHAFT, P/N 1-09609-020-1, REAR FINAL DRIVE GROUP; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN:JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | PLUG, INPUT SHAFT, P/N 1-09609-020-1, REAR FINAL DRIVE GROUP; FOR ISUZU DUMPTRUCK MODEL CYZ51 (VIN:JALCYZ51ME7000160) WITH ENGINE MODEL 6WF1 NO. 6WF1-TCC | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | B | 0 | PD | 5955 | ERSA | OTHER | Y | 1-09609-020-1 | 3000024 | ISUZU | N | N/A | 30 | EX | N/A | PC |  |  | https://parts.isuzu.astra.co.id/marketing/catalog/search.php?search=1-09609-020-1 |  | ISUZU | 1-09609-020-1 | [6 empty] | DUMP TRUCK W/ ENGINE | CYZ51 (VIN:JALCYZ51ME7000160),6WF1 NO. 6WF1-TCC | ISUZU | [13 empty] | CLEANSED | PLUG | NO MODIFIER | TYPE | INPUT SHAFT | SIZE |  | END CONNECTION |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | REAR FINAL DRIVE GROUP | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [43 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR938720 | 938720 | PSR938720 | PLUG, MALE, 3P (2P+E), CEE TYPE, 16A CAP | PLUG, MALE, 3P (2P+E), CEE TYPE, 16A CAPACITY,230 VOLTS, P/N 219306 ,DEGREE OF PROTECTION: IP67; FOR INDUSTRIAL APPLICATION, MFR: WALTHER OR EQUIVALENT MADE IN GERMANY | PLUG, MALE, 3P (2P+E), CEE TYPE, 16A CAPACITY,230 VOLTS, P/N 219306 ,DEGREE OF PROTECTION: IP67; FOR INDUSTRIAL APPLICATION, MFR: WALTHER OR EQUIVALENT MADE IN GERMANY | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://www.waltherelectric.com/fileadmin/walther_werke_usa/Downloads/spec_sheets/219306-specification-sheet.pdf |  | WALTHER OR EQUIVALENT MADE IN GERMANY | 21930 | [22 empty] | ENRICHED | PLUG | ELECTRICAL | TYPE | STRAIGHT,MALE | VOLTAGE RATING | 230 V | CURRENT RATING | 16-20 A | NUMBER OF PINS | 3 | PIN MATERIAL |  | CONNECTION TYPE | SCREW TERMINAL | SIZE | WD 72 X HT 126 MM | BODY MATERIAL | PLASTIC | NUMBER OF PHASE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA,CE,ROHS,REACH,EaC,VDE/ENEC | ADDITIONAL FEATURES EN | DEGREE OF PROTECTION: IP67,FOR INDUSTRIAL APPLICATION,CEE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR018117 | 018117 | PSR018117 | PUMP, MOTOR, TYPE: F41-416C4AM-05-06-T1- | PUMP, MOTOR, TYPE: F41-416C4AM-05-06-T1-AV, HEAD: 55 mm, CAPACITY: 525 L/min, 3 PHASE, 440V, 60 Hz, OUT: 12 kW, CURRENT: 23A, 2 POLE , CLASS 220, PRODUCT NO.: LA-1136A-1, MFR : TEIKOKU | PUMP, MOTOR, TYPE: F41-416C4AM-05-06-T1-AV, HEAD: 55 mm, CAPACITY: 525 L/min, 3 PHASE, 440V, 60 Hz, OUT: 12 kW, CURRENT: 23A, 2 POLE , CLASS 220, PRODUCT NO.: LA-1136A-1, MFR : TEIKOKU ELECTRIC MFG.CO.,LTD. | AY | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | Y | F41-416C4AM-05-06-T1-AV | 90 | EX | TEIKOKU ELECTRIC MFG. CO.,LTD. | EA |  |  | URL NOT FOUND |  | TEIKOKU ELECTRIC MFG.CO.,LTD. | F41-416C4AM-05-06-T1-AV |  | LA-1136A-1 | [20 empty] | CLEANSED | PUMP | NO MODIFIER | TYPE |  | HEAD RANGE | 55 MM | FLOW RATING | 525 L/MIN | INLET SIZE |  | OUTLET SIZE |  | DISCHARGE PRESSURE |  | SUCTION PRESSURE |  | DRIVE DETAILS | MOTOR | CASE MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ELECTRICAL RATING: 440 VAC,23 A,2 P,12 KW,3 PH,60 HZ | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR018341 | 018341 | PSR018341 | PUMP, TRANSFER, MODEL: ExYTB-60b, FUEL M | PUMP, TRANSFER, MODEL: ExYTB-60b, FUEL MEDIUM: GASOLINE / DIESEL OIL / COAL OIL; WITH MECHANICAL SEAL EXPLOSION PROOF, FLOW RATE: 60 L/min, POWER: 220V +/- 10 % 50Hz, 0.37 kW, 2.6A; MOTOR ROTATE SPEED: 2800 RPM, NOISE LEVEL: <70dB (A), | PUMP, TRANSFER, MODEL: ExYTB-60b, FUEL MEDIUM: GASOLINE / DIESEL OIL / COAL OIL; WITH MECHANICAL SEAL EXPLOSION PROOF, FLOW RATE: 60 L/min, POWER: 220V +/- 10 % 50Hz, 0.37 kW, 2.6A; MOTOR ROTATE SPEED: 2800 RPM, NOISE LEVEL: <70dB (A), PRECISION OF FLOWMETER: +/- 1.0%, END PRESSURE: 0.02 MPa, MAX. OPERATING: :0.03 MPa, TUBE DIAMETER: 3/4″, MANUAL NOZZLE, ANALOG 4-DIGIT SUBTOTALS (MAX. 9999 LITERS), 8-DIGIT TOTALS. | AY | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://4.imimg.com/data4/RT/LC/MY-3794848/oval-gear-oil-flow-meters.pdf | https://datianfueldispenser.sell.everychina.com/p-104935606-electric-petrol-gasoline-mechanical-transfer-pump-exytb-60b-220vac.html | FEDREL | ExYTB-60b | [22 empty] | ENRICHED | PUMP | VANE | TYPE | ELECTRIC TRANSFER | FLOW RATING | 60 L/MIN | INLET SIZE |  | OUTLET SIZE |  | SUCTION PRESSURE |  | DISCHARGE PRESSURE |  | SPEED RATING |  | HOUSING MATERIAL | CAST IRON | VANE MATERIAL |  | DRIVE DETAILS | MOTOR 2800 RPM | ELECTRICAL RATING | 220 VAC,2.6 A,0.37 KW,50 HZ | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES EN | FUEL MEDIUM: GASOLINE,DIESEL OIL,COAL OIL,W/ MECHANICAL SEAL EXPLOSION PROOF,NOISE LEVEL: <70 dBA,PRECISION OF FLOWMETER: +/- 1 PCT,END PRESSURE: 0.02 MPA,MAX. OPERATING: :0.03 MPA,TUBE DIAMETER: 3/4 IN,MANUAL NOZZLE,ANALOG 4-DIGIT SUBTOTALS (MAX. 9999 LITERS),8-DIGIT TOTALS | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR028927 | 028927 | PSR028927 | REGULATOR, THERMOSTAT W/ HOUSING GASKET | REGULATOR, THERMOSTAT W/ HOUSING GASKET KIT, WATER PUMP, COOLING SYSTEM; FOR AOSIF DIESEL GENERATOR MODEL AC 1250 / SERIAL NO. 1103200377 DRIVEN BY CUMMINS ENGINE MODEL KTA38-G4 W/ NO. 41147758 | REGULATOR, THERMOSTAT W/ HOUSING GASKET KIT, WATER PUMP, COOLING SYSTEM; FOR AOSIF DIESEL GENERATOR MODEL AC 1250 / SERIAL NO. 1103200377 DRIVEN BY CUMMINS ENGINE MODEL KTA38-G4 W/ NO. 41147758 | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5110 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [15 empty] | DIESEL GENERATOR DRIVEN BY ENGINE | AC 1250,KTA38-G4 W/ NO 41147758 | AOSIF,CUMMINS |  |  | 1103200377 |  |  |  |  | CLEANSED | REGULATOR | TEMPERATURE | TYPE | THERMOSTAT | SET POINT RANGE |  | MAX TEMPERATURE |  | NOMINAL SIZE |  | MATERIAL |  | SENSOR TYPE |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | W/ HOUSING GASKET KIT,WATER PUMP,COOLING SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR020328 | 020328 | PSR020328 | RELAY UNIT, SAFETY, MODEL G7SA-3A1B DC24 | RELAY UNIT, SAFETY, MODEL G7SA-3A1B DC24V, 3PST-NO, SPST-NC, SLIM RELAY, MANUFACTURER: OMRON, FOR MESCO CATHODE STRIPPING MACHINE | RELAY UNIT, SAFETY, MODEL G7SA-3A1B DC24V, 3PST-NO, SPST-NC, SLIM RELAY, MANUFACTURER: OMRON, FOR MESCO CATHODE STRIPPING MACHINE | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 1600 | ERSA | OTHER | Y | G7SA-3A1B DC24V | 3000725 | MESCO | N | N/A | 30 | EX | N/A | PC |  |  | https://www.ia.omron.com/product/item/22947/¦https://industrial.omron.eu/en/products/G7SA-3A1B-24VDC | https://www.digikey.com/en/products/detail/omron-automation-and-safety/G7SA-3A1B-DC24/2123081¦https://www.onlinecomponents.com/en/omron-industrial/g7sa3a1bdc24-42336523.html?ref=searchads360feed&utm_term=G7SA3A1BDC24&gclid=CjwKCAjwq-WgBhBMEiwAzKSH6HsTEPxOE8MDy6YHMAkHMA6_oh5qifUo-zSyD7jGd7V1UUPD8CV3ERoCAOgQAvD_BwE&gclsrc=aw.ds | OMRON | G7SA-3A1B DC24V | MESCO | [11 empty] | CATHODE STRIPPING MACHINE |  | MESCO | [7 empty] | ENRICHED | RELAY | SAFETY | TYPE | SLIM | COIL VOLTAGE | 24 VDC | CONTACT VOLTAGE RATING | 250 VAC,30 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 3NO 1NC | SIL RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT |  | MOUNTING TYPE | SOCKET,SOLDERING | MATERIAL | AU PLATING＋AG ALLOY CONTACT | FREQUENCY RATING |  | SIZE | WD 40 X HT 24 X DP 13 MM | ENCLOSURE | FLUX TIGHT | TEMPERATURE RATING | -40 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | UNIT,ACTION: 3PST,SPST | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [23 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR341148 | 341148 | PSR341148 | RELAY, AUXILLARY, 24VDC, MY2NJ+PYF08A-E, | RELAY, AUXILLARY, 24VDC, MY2NJ+PYF08A-E, S/N A230300003, DRAWING NO.: HS131122A01-E/10; FOR DHI 40 TON / 42 METERS GANTRY CRANE, MFR: OMRON | RELAY, AUXILLARY, 24VDC, MY2NJ+PYF08A-E, S/N A230300003, DRAWING NO.: HS131122A01-E/10; FOR DHI 40 TON / 42 METERS GANTRY CRANE, MFR: OMRON | PC | 1 | 2 | STOCK | Min-Max | CONSUMABLES | B | 280 | V1 | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | HB | N/A | PC |  |  | https://www.mouser.in/ProductDetail/Omron-Automation-and-Safety/MY2NJ-DC24?qs=NSpYCGcNYB%252BNC0%2F6N1KI9A%3D%3D | https://www.mouser.in/datasheet/2/307/my_ds_e_7_3_csm59-940997.pdf | OMRON | MY2NJ+PYF08A-E | [12 empty] | 40 TON/42 M GANTRY CRANE |  | DHI | HS131122A01-E/10 |  | A230300003 |  |  |  |  | ENRICHED | RELAY | POWER | TYPE | GENERAL PURPOSE,AUXILLARY,MINIATURE | COIL VOLTAGE | 24 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION | 2NO 2NC | CONTACT VOLTAGE RATING | 250 VAC,125 VDC | CONTACT CURRENT RATING | 10 A | MAX SWITCHING VOLTAGE | 250 VAC,125 VDC | MAX SWITCHING CURRENT |  | MOUNTING TYPE | SOCKET | FREQUENCY RATING |  | SIZE |  | TERMINAL TYPE | PLUG IN | MATERIAL | AG CONTACT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,VDE,CSA | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR940606 | 940606 | PSR940606 | RELAY, CONTROL 200V , P/N 59041680, FOR | RELAY, CONTROL 200V , P/N 59041680, FOR VPSA4 INSTRUMENT AIR COMPRESSOR MODEL: DSP-55ATR6N, MFG.NO. U1199001, MFR: HITACHI | RELAY, CONTROL 200V , P/N 59041680, FOR VPSA4 INSTRUMENT AIR COMPRESSOR MODEL: DSP-55ATR6N, MFG.NO. U1199001, MFR: HITACHI | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 3020 | ERSA | OTHER | Y | 59041680 | 3000004 | HITACHI | N | N/A | 30 | EX | N/A | PC |  |  | https://pnm-parts.ru/catalog/hitachi/hitachi-industrial-equipment/z6159041680 |  | HITACHI | 59041680 |  | U1199001 | [10 empty] | INSTRUMENT AIR COMPRESSOR | DSP-55ATR6N,VPSA4 | [8 empty] | CLEANSED | RELAY | NO MODIFIER | TYPE | CONTROL | COIL RATING |  | CONTACT RATING | 200 V | CONTACT CONFIGURATION |  | NUMBER OF POLES |  | CONTACT MATERIAL |  | TERMINAL TYPE |  | MOUNTING TYPE |  | SIZE |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [31 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR029448 | 029448 | PSR029448 | RELAY, CONTROLS, P/N MY-4N, 24 VAC, 4 PO | RELAY, CONTROLS, P/N MY-4N, 24 VAC, 4 POLES, 24 VAC; MFR: OMRON | RELAY, CONTROLS, P/N MY-4N, 24 VAC, 4 POLES, 24 VAC; MFR: OMRON | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | https://www.ia.omron.com/product/item/7507 | https://www.tme.com/in/en/details/my4n-24dc/industrial-electromagnetic-relays/omron/my4n-24vdc-s/ | OMRON | MY-4N, 24 VAC | [22 empty] | ENRICHED | RELAY | POWER | TYPE | MINIATURE,CONTROL | COIL VOLTAGE | 24 VDC,36.3 MA | NUMBER OF POLES | 4 | CONTACT CONFIGURATION | 4PDT | CONTACT VOLTAGE RATING | 250 VAC,125 VDC | CONTACT CURRENT RATING | 3 A | MAX SWITCHING VOLTAGE | 250 VAC,125 VDC | MAX SWITCHING CURRENT |  | MOUNTING TYPE | SOCKET | FREQUENCY RATING |  | SIZE |  | TERMINAL TYPE | PLUG IN | MATERIAL | AU CLAD + AG ALLOY CONTACT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR011347 | 011347 | PSR011347 | RELAY, I/O, MODEL G7T-1012S DC24V, OUTPU | RELAY, I/O, MODEL G7T-1012S DC24V, OUTPUT, ONE CONTACT, SPDT, MANUFACTURER: OMRON, FOR MESCO CATHODE STRIPPING MACHINE | RELAY, I/O, MODEL G7T-1012S DC24V, OUTPUT, ONE CONTACT, SPDT, MANUFACTURER: OMRON, FOR MESCO CATHODE STRIPPING MACHINE | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 1600 | ERSA | OTHER | Y | G7T-1012S DC24V | 3000725 | MESCO | N | N/A | 30 | EX | N/A | PC |  |  | https://www.ia.omron.com/products/family/952/feature.html | https://us.rs-online.com/product/omron-automation/g7t-1012s-dc24/71275293/¦https://www.tme.com/in/en/details/g7t-1012s-dc24/industrial-electromagnetic-relays/omron/g7t-1012s-dc24/ | OMRON | G7T-1012S DC24V | MESCO | [11 empty] | CATHODE STRIPPING MACHINE |  | MESCO | [7 empty] | ENRICHED | RELAY | POWER | TYPE | I/O,SLIM | COIL VOLTAGE | 24 VDC | NUMBER OF POLES |  | CONTACT CONFIGURATION | SPST-NC | CONTACT VOLTAGE RATING | 220 VAC,24 VDC | CONTACT CURRENT RATING | 5 A | MAX SWITCHING VOLTAGE | 250 VAC,125 VDC | MAX SWITCHING CURRENT | 1/5 A | MOUNTING TYPE | SOCKET | FREQUENCY RATING |  | SIZE |  | TERMINAL TYPE |  | MATERIAL | AGAU-CLAD AG CONTACT | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR045679 | 045679 | PSR045679 | RELAY, WITH BASE, FOR ELECTRONIC CONTROL | RELAY, WITH BASE, FOR ELECTRONIC CONTROL SYSTEM; TYPE NO: JZX-22FD/24-226 CZY08A-E, SPAREPART FOR CATHODE PLATE ROLLER LEVELLER MACHINE MODEL NO: ZEYE ZW44-5X1401 | RELAY, WITH BASE, FOR ELECTRONIC CONTROL SYSTEM; TYPE NO: JZX-22FD/24-226 CZY08A-E, SPAREPART FOR CATHODE PLATE ROLLER LEVELLER MACHINE MODEL NO: ZEYE ZW44-5X1401 | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC | C |  | https://chintglobal.com/products/jzx-22f-miniature-power-relay-8-970 | https://www.online.elio.co.za/product/chint-relays-jzx-22fd-2z-24v/¦https://chint-sit1.oss-cn-hongkong.aliyuncs.com/uploads/product_user/document_file/file/JZX-22F-Relay-Catalog.pdf | CHINT | JZX-22FD/24-226 CZY08A-E | [12 empty] | CATHODE PLATE ROLLER LEVELLER MACHINE | ZEYE ZW44-5X1401 | [8 empty] | ENRICHED | RELAY | POWER | TYPE | MINIATURE | COIL VOLTAGE | 24 VAC | NUMBER OF POLES |  | CONTACT CONFIGURATION |  | CONTACT VOLTAGE RATING |  | CONTACT CURRENT RATING |  | MAX SWITCHING VOLTAGE |  | MAX SWITCHING CURRENT | 3/5 A | MOUNTING TYPE |  | FREQUENCY RATING |  | SIZE |  | TERMINAL TYPE | 8 PIN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL | ADDITIONAL FEATURES EN | W/ BASE,FOR ELECTRONIC CONTROL SYSTEM | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR031138 | 031138 | PSR031138 | RELAY,OVERLOAD,THERMAL, 68.00-102.00AREL | RELAY,OVERLOAD,THERMAL, 68.00-102.00ARELAY, THERMAL, TYPE : R-100, 68 TO 102A, TOSHIBA BRAND. | RELAY,OVERLOAD,THERMAL, 68.00-102.00ARELAY, THERMAL, TYPE : R-100, 68 TO 102A, TOSHIBA BRAND. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | Y | R-100 | 3000449 | TOSHIBA | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [9 empty] | TOSHIBA | R-100 | [14 empty] | CLEANSED | RELAY | OVERLOAD | TYPE | THERMAL | CURRENT RATING | 68-102 A | VOLTAGE RATING |  | CONTACT RATING |  | CONTACT CONFIGURATION |  | TRIP CLASS |  | FREQUENCY RATING |  | MOUNTING TYPE |  | TERMINAL TYPE |  | CONTACT MATERIAL |  | SIZE |  | RESET TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN |  | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [27 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | Completed | 2023-03-17 | 2023-03-21 | REVIEW NM | PSR052554 | 052554 | PSR052554 | STATION, WALL MOUNT, DIPHOTERINE, P/N 18 | STATION, WALL MOUNT, DIPHOTERINE, P/N 18H103, APPLICATION: EYES & SKIN, INTERVENTION: < 1 MIN, CAPACITY: 500ML BOTTLE & 200ML SPRAY, MAINTENANCE: DISPOSABLE; BRAND: PREVOR | STATION, WALL MOUNT, DIPHOTERINE, P/N 18H103, APPLICATION: EYES & SKIN, INTERVENTION: < 1 MIN, CAPACITY: 500ML BOTTLE & 200ML SPRAY, MAINTENANCE: DISPOSABLE; BRAND: PREVOR | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://www.hicraftsafety.com.au/lmpe-das-diphoterine-mural-washing-station | https://amarehse.com.au/products/safety/diphoterine/18H103 | [8 empty] | PREVOR | 18H103 | [14 empty] | ENRICHED | STATION | EYEWASH | TYPE | WALL MOUNTED | CAPACITY |  | NUMBER OF SPRAY HEAD |  | FLOW RATING |  | ACTUATION TYPE |  | MATERIAL |  | COLOUR |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | TGA | ADDITIONAL FEATURES EN | FOR EYES AND SKIN,INTERVENTION: < 1 MIN,CAPACITY: 500 ML BOTTLE AND 200 ML SPRAY,MAINTENANCE: DISPOSABLE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 | SUITABLE NM NOT FOUND | PSR243658 | 243658 | PSR243658 | STRAPPING, STEEL, 3/4 WIDE X 0.023 THICK | STRAPPING, STEEL, 3/4 WIDE X 0.023 THICK X 1,710 FEET COIL LENGTH, LOW CARBON STEEL, SOLID, BLACK PAINTED FINISH, FINISHED EDGES AND WAX COATED; OSCILLATED WOUND COIL STYLE, COIL SIZE: 3 WIDE X 16 I.D. | STRAPPING, STEEL, 3/4 WIDE X 0.023 THICK X 1,710 FEET COIL LENGTH, LOW CARBON STEEL, SOLID, BLACK PAINTED FINISH, FINISHED EDGES AND WAX COATED; OSCILLATED WOUND COIL STYLE, COIL SIZE: 3 WIDE X 16 I.D. | RL | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 3980 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | ROL | [91 empty] | Production Completed
STP_005-003 | Data Enrichment | ATS | ATS | COMPLETED | 2023-03-17 | 2023-03-21 |  | PSR016672 | 016672 | PSR016672 | SWEEPER, VACUUM, MODEL: KM 85/50WBP, WAL | SWEEPER, VACUUM, MODEL: KM 85/50WBP, WALK-BEHIND, 1355 mm (L) X 910 mm (W) X 1155 mm (H), DRIVE: DC MOTOR, DRIVE PERFORMANCE: 24V / 912W, MAX. AREA PERFORMANCE (M2/Hr): 3825, WASTE CONTAINER CAPACITY: 50 LITERS, BRAND: KARCHER | SWEEPER, VACUUM, MODEL: KM 85/50WBP, WALK-BEHIND, 1355 mm (L) X 910 mm (W) X 1155 mm (H), DRIVE: DC MOTOR, DRIVE PERFORMANCE: 24V / 912W, MAX. AREA PERFORMANCE (M2/Hr): 3825, WASTE CONTAINER CAPACITY: 50 LITERS, BRAND: KARCHER | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://www.kaercher.com/in/professional/sweepers-and-vacuum-sweepers/sweepers-and-vacuum-sweepers-walk-behind/km-85-50-w-bp-13511160.html | https://www.industrialcleaningequipment.ie/business-sector/karcher-vacuum-sweeper-km-8550-w-bp-fg125 | [8 empty] | KARCHER | KM 85/50WBP | [14 empty] | ENRICHED | SWEEPER | NO MODIFIER | TYPE | VACUUM,WALK-BEHIND | SIZE | WD 1.1 X LG 1.55 X HT 1.066 M | MATERIAL | POLYESTER FILTER | ELECTRICAL RATING |  | CAPACITY | 50 L | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | DRIVE: DC MOTOR,DRIVE PERFORMANCE: 24 V,912 W,MAX AREA PERFORMANCE (M2/Hr): 3825 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | Production Completed