## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | STOCKNO | SN | SN DESC | DESCRIPTION | LONG DESCRIPTION | UM | MINQTY | MAXQTY | ITEM TYPE | PLANNING METHOD | INVENTORY TYPE | BI CODE | AVG COST | SAP MRP TYPE | SAP MATERIAL GROUP | SAP MATERIAL TYPE | SAP INVENTORY TYPE | SAP OEM | SAP PN | SAP MFG NUMBER | SAP MFG NAME | PASAR OEM | PASAR PN | SAP PDT | LOT SIZE | PASAR MFG NAME | SAP UOM | SAP BI CODE | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | ART / Article Number | MFG Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-23 |  | PSR042315 | 042315 | PSR042315 | COMPUTER, DESKTOP, THINKSTATION P340, IN | COMPUTER, DESKTOP, THINKSTATION P340, INTEL CORE I7-10700 PROCESSOR, (2.90 GHZ UP TO 4.80 GHZ), # OF CORES 8, # OF THREADS 16, 16MB SMART CACHE, 32GB RAM, 1TB SSD, NVIDIA QUADRO RTX 4000 8GB 3XDP+VIRTUALLINK. | COMPUTER, DESKTOP, THINKSTATION P340, INTEL CORE I7-10700 PROCESSOR, (2.90 GHZ UP TO 4.80 GHZ), # OF CORES 8, # OF THREADS 16, 16MB SMART CACHE, 32GB RAM, 1TB SSD, NVIDIA QUADRO RTX 4000 8GB 3XDP+VIRTUALLINK. | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4500 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 180 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | COMPUTER | NO MODIFIER | TYPE | DESKTOP | PROCESSOR TYPE | INTEL CORE I7-10700 | PROCESSOR SPEED | 2.90-4.80 GHZ | MEMORY | 32 GB RAM | DISPLAY TYPE |  | STORAGE CAPACITY | 1TB SSD | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | THINKSTATION P340,CORES 8,THREADS 16,16 MB SMART CACHE,NVIDIA QUADRO RTX 4000 8GB 3XDP+VIRTUALLINK | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [39 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-23 | SUITABLE NM NOT FOUND | PSR042183 | 042183 | PSR042183 | DOCK, STATION, THINKPAD UNIVERSAL USB-C | DOCK, STATION, THINKPAD UNIVERSAL USB-C DOCK, PN: 40AY0090TW, FOR LAPTOP | DOCK, STATION, THINKPAD UNIVERSAL USB-C DOCK, PN: 40AY0090TW, FOR LAPTOP | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | [62 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-23 |  | PSR039103 | 039103 | PSR039103 | METER, VIBRATION, SMART, TPI 9070, IP67 | METER, VIBRATION, SMART, TPI 9070, IP67 WATER PROOF, OPERATING TEMPERATURE: 32 ~ 122 DEG. F., STORAGE TEMPERATURE: -4 ~ 158 DEG. F., POWER SUPPLY: 2X AA, AUTO POWER OFF WITH TYPICAL 50 HOURS OPERATING TIME, FREQUENCY RANGE: 2 HZ | METER, VIBRATION, SMART, TPI 9070, IP67 WATER PROOF, OPERATING TEMPERATURE: 32 ~ 122 DEG. F., STORAGE TEMPERATURE: -4 ~ 158 DEG. F., POWER SUPPLY: 2X AA, AUTO POWER OFF WITH TYPICAL 50 HOURS OPERATING TIME, FREQUENCY RANGE: 2 HZ TO 1 KHZ (ISO), 1 KHZ TO 15KHZ (BDU), MAX FREQUENCY RESOLUTION: 1.25HZ @ 800 LINES FFT SETTING, DISPLAYED VIBRATION AMPLITUDE UNITS ACCELERATION IN G, VELOCITY IN MM/S, BEARING NOISE IN BDU, DISPLAYED FREQUENCY UNITS IN HERTZ, RPM OR CPM, INPUT RANGE: +/-50G, DYNAMIC RANGE: 72 DB (0.05 G RESOLUTION) VA DIAGNOSTIC BANDS (RPM= RUNSPEED) UNBALANCE 1 X RPM, ALIGNMENT 2 X RPM, LOOSENESS 3 X RPM, ACCESSORIES: SCREW INPROBE TIP (1/4 UNF 28) P/N A9071, ACCELEROMETER MOUNTING MAGNET P/N A9073, EXTENDED PROBE TIP (STINGER) P/N A9072. | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5110 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://gassafetyshop.co.uk/Products/TPI-9070-Smart-Vibration-Meter?gclid=CjwKCAjwzuqgBhAcEiwAdj5dRrWLjuS7aY_eLO8tHvotL6NaaLPOtWeZnf0ikrX5ZvfwoT1A2OOLchoC9p0QAvD_BwE |  |  | TPI 9070 | [22 empty] | CLEANSED | METER | NO MODIFIER | TYPE | VIBRATION,SMART,WATER PROOF | MEASURING RANGE |  | ACCURACY |  | CONNECTION TYPE |  | DISPLAY TYPE |  | POWER SUPPLY | 2X AA | MOUNTING TYPE |  | SIZE |  | ENCLOSURE | IP67 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | OPERATING TEMPERATURE:32-122 DEG F,STORAGE TEMPERATURE:-4-158 DEG F,AUTO POWER OFF WITH TYPICAL 50 HOURS OPERATING TIME,FREQUENCY RANGE: 2 HZ TO 1 KHZ (ISO), 1 KHZ TO 15KHZ (BDU),MAX FREQUENCY RESOLUTION: 1.25 HZ AT 800 LINES FFT SETTING,DISPLAYED VIBRATION AMPLITUDE UNITS ACCELERATION IN G,VELOCITY IN MM/S, BEARING NOISE IN BDU,DISPLAYED FREQUENCY UNITS IN HERTZ,RPM OR CPM,INPUT RANGE:+/-50G,DYNAMIC RANGE:72 DB (0.05 G RESOLUTION) VA DIAGNOSTIC BANDS (RPM RUNSPEED) UNBALANCE 1 X RPM,ALIGNMENT 2 X RPM,LOOSENESS 3 X RPM,ACCESSORIES:SCREW INPROBE TIP (1/4 UNF 28) P/N A9071,ACCELEROMETER MOUNTING MAGNET P/N A9073,EXTENDED PROBE TIP (STINGER) P/N A9072 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-23 |  | PSR023938 | 023938 | PSR023938 | MONITOR, IPS LED BACKLIT, MODEL: Z24I, Z | MONITOR, IPS LED BACKLIT, MODEL: Z24I, Z SERIES, DISPLAY SIZE (DIAGONAL): 24”, NATIVE RESOLUTION: 1920 X 1200, PIXEL PITCH: 0.27 mm, BRIGHTNESS: 300 CD/M2, CONTRAST RATIO = 1000:1 STATIC, 5000000:1 DYNAMIC; SECURITY LOCK-READY, | MONITOR, IPS LED BACKLIT, MODEL: Z24I, Z SERIES, DISPLAY SIZE (DIAGONAL): 24”, NATIVE RESOLUTION: 1920 X 1200, PIXEL PITCH: 0.27 mm, BRIGHTNESS: 300 CD/M2, CONTRAST RATIO = 1000:1 STATIC, 5000000:1 DYNAMIC; SECURITY LOCK-READY, PORTS: 5 USB 2.0 (ONE UPSTREAM, FOUR DOWNSTREAM), BRAND: HP | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5100 | ERSA | OTHER | Y | Z24I | 3000630 | HEWLETT-PACKARD | N | N/A | 90 | EX |  | EA |  |  | https://www.hp.com/in-en/shop/hp-z24i-g2-24-inch-display-1js08a7-1.html |  | HEWLETT-PACKARD | Z24I | [21 empty] | 3000630 | ENRICHED | MONITOR | NO MODIFIER | TYPE | IPS LED BACKLIT | MEASURING RANGE |  | ACCURACY |  | DISPLAY TYPE |  | DISPLAY SIZE | 24 IN DIAGONAL | ELECTRICAL RATING | 100-200 VAC,40 W,60 HZ | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | Z SERIES,NATIVE RESOLUTION:1920 X 1200,PIXEL PITCH:0.27 MM,BRIGHTNESS:300 CD/M2,CONTRAST RATIO:1000:1 STATIC,5000000:1 DYNAMIC,SECURITY LOCK-READY,PORTS:5 USB 2.0 (ONE UPSTREAM,FOUR DOWNSTREAM) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-23 |  | PSR016704 | 016704 | PSR016704 | PANEL, TOUCH SCREEN, MODEL: WKLF-402/607 | PANEL, TOUCH SCREEN, MODEL: WKLF-402/6071, 7 INCHES, INCLUDING SOFTWARE, FOR WET SAG AND BALL MILL | PANEL, TOUCH SCREEN, MODEL: WKLF-402/6071, 7 INCHES, INCLUDING SOFTWARE, FOR WET SAG AND BALL MILL | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 5820 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  |  | WKLF-402/6071 | [22 empty] | CLEANSED | PANEL | NO MODIFIER | TYPE | TOUCH SCREEN | VOLTAGE RATING |  | CURRENT RATING |  | NUMBER OF PHASE |  | SIZE | 7 IN | MATERIAL |  | MOUNTING TYPE |  | CONNECTION TYPE |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | INCLUDING SOFTWARE,FOR WET SAG AND BALL MILL | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-23 |  | PSR049642 | 049642 | PSR049642 | PROTECTIVE KIT, ARC FLASH, CAPACITY: 40 | PROTECTIVE KIT, ARC FLASH, CAPACITY: 40 CAL/CM2, NFPA 70E, OSHA 1910.269; WITH COMPLETE ACCESSORIES: ARCK FLASH JACKET AND OVERALL, BACLAVA, ARC SHIELD W/ STORAGE BAG, SAFETY GLASSES, CLASS 4 NOVAX GLOVES WITH | PROTECTIVE KIT, ARC FLASH, CAPACITY: 40 CAL/CM2, NFPA 70E, OSHA 1910.269; WITH COMPLETE ACCESSORIES: ARCK FLASH JACKET AND OVERALL, BACLAVA, ARC SHIELD W/ STORAGE BAG, SAFETY GLASSES, CLASS 4 NOVAX GLOVES WITH LEATHER PROTECTOR AND BAG GLOVE, SIZE: L; BRAND: CATU, TOP RIGID OR EQUIVALENT | KT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [9 empty] | CATU |  | TOP RIGID | [13 empty] | CLEANSED | KIT | NO MODIFIER | TYPE | PROTECTIVE,ARC FLASH | CONTENTS | ARCK FLASH JACKET AND OVERALL,BACLAVA,ARC SHIELD C/W STORAGE BAG,SAFETY GLASSES,CLASS 4 NOVAX GLOVES C/W LEATHER PROTECTOR AND BAG GLOVE,SIZE:L | NUMBER OF ITEMS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | OSHA 1910.269,NFPA 70E | ADDITIONAL FEATURES EN | CAPACITY:40 CAL/CM2 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [45 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-23 |  | PSR938719 | 938719 | PSR938719 | RECEPTACLE, ELECTRICAL, 3P (2P+E), CEE T | RECEPTACLE, ELECTRICAL, 3P (2P+E), CEE TYPE, 16A CAPACITY, 230 VOLTS ,P/N 518306 DEGREE OF PROTECTION: IP67; FOR INDUSTRIAL APPLICATION, MFR: WALTHER OR EQUIVALENT MADE IN GERMANY | RECEPTACLE, ELECTRICAL, 3P (2P+E), CEE TYPE, 16A CAPACITY, 230 VOLTS ,P/N 518306 DEGREE OF PROTECTION: IP67; FOR INDUSTRIAL APPLICATION, MFR: WALTHER OR EQUIVALENT MADE IN GERMANY | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | WALTHER OR EQUIVALENT MADE IN GERMANY | 518306 | [22 empty] | CLEANSED | RECEPTACLE | ELECTRICAL | TYPE | CEE | VOLTAGE RATING | 230 V | CURRENT RATING | 16 A | NEMA/IEC SIZE |  | NUMBER OF POLES |  | TERMINAL TYPE |  | NUMBER OF WIRES |  | DEGREE OF PROTECTION | IP67 | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | FOR INDUSTRIAL APPLICATION,3P (2P+E) | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [29 empty] | Production Completed
STP_005-003 | Data Enrichment | KIB | KIB | OK | 2023-03-17 | 2023-03-23 | SUITABLE NM NOT FOUND | PSR616086 | 616086 | PSR616086 | VARIATOR, BEIER, FOR BEIER CYCLO VARIATO | VARIATOR, BEIER, FOR BEIER CYCLO VARIATOR MODEL CHHBMN10A-6225DB-121, RATIO=121:1, SPEED RANGE: 0.20~0.80, INPUT: 7.5KW, 1750 RPM, SERIAL NO. FOR BEIER CYCLO VARIATOR: C6144228, MAKER: SUMITOMO HEAVY INDUSTRIES LTD. | VARIATOR, BEIER, FOR BEIER CYCLO VARIATOR MODEL CHHBMN10A-6225DB-121, RATIO=121:1, SPEED RANGE: 0.20~0.80, INPUT: 7.5KW, 1750 RPM, SERIAL NO. FOR BEIER CYCLO VARIATOR: C6144228, MAKER: SUMITOMO HEAVY INDUSTRIES LTD. | UT | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | Y | CHHBMN10A-6225DB-121 | 90 | EX | SUMITOMO HEAVY INDUSTRIES LTD. | EA |  |  | URL NOT FOUND | [25 empty] | CLEANSED | [62 empty] | Production Completed