## Sheet1
Project Code | Activities | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | STOCKNO | SN | SN DESC | DESCRIPTION | LONG DESCRIPTION | UM | MINQTY | MAXQTY | ITEM TYPE | PLANNING METHOD | INVENTORY TYPE | BI CODE | AVG COST | SAP MRP TYPE | SAP MATERIAL GROUP | SAP MATERIAL TYPE | SAP INVENTORY TYPE | SAP OEM | SAP PN | SAP MFG NUMBER | SAP MFG NAME | PASAR OEM | PASAR PN | SAP PDT | LOT SIZE | PASAR MFG NAME | SAP UOM | SAP BI CODE | SUPPLIER (source list) | Reference URL | Reference URL 1 | Manufacturer Name | Manufacturer Part Number | Alternate Manufacturer | Alternate Manufacturer Part Number | Alternate Manufacturer 1 | Alternate Manufacturer Part Number 1 | Alternate Manufacturer 2 | Alternate Manufacturer Part Number 2 | Supplier Name | Supplier Part Number | Supplier Name 1 | Supplier Part Number 1 | Supplier Name 2 | Supplier Part Number 2 | Equipment Name | Equipment Model | Equipment Manufacturer | Drawing Number | Drawing Version | Serial Number | Item Number | Machine Number | ART / Article Number | MFG Number | Enriched/Cleansed | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Status
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 23-03-2023 |  | PSR021380 | 021380 | PSR021380 | ACTUATOR, ELECTRO-HYDRAULIC VALVE, POWER | ACTUATOR, ELECTRO-HYDRAULIC VALVE, POWERPACK HV-J28, MODEL NO.: AJ41-2FO3N4E2.4-25.1, PRODUCT NO.: P42-T40290, MOTOR: 440VAC, 60HZ, 1.5KW, 3 PHASE, 4 POLES, OUTDOOR TYPE, OPERATING TORQUE: MIN. 301 KGF.M, MAX. 420 KGF.M, | ACTUATOR, ELECTRO-HYDRAULIC VALVE, POWERPACK HV-J28, MODEL NO.: AJ41-2FO3N4E2.4-25.1, PRODUCT NO.: P42-T40290, MOTOR: 440VAC, 60HZ, 1.5KW, 3 PHASE, 4 POLES, OUTDOOR TYPE, OPERATING TORQUE: MIN. 301 KGF.M, MAX. 420 KGF.M, MAX. LOAD SPEED: 8.5 DEG/SEC, OPERATING HYDRAULIC PRESSURE: 23 KGF/CM2, CRANK ARM ROTATION ANGLE: 60 DEG., JET PIPE HYDRAULIC PRESSURE: 8 KGF/CM2, INSTALLATION: HORIZONTAL, AMBIENT TEMP: -20 DEG.C TO 60 DEG.C, REQUIRED OIL QTY.: 27 LITERS, INPUT SIGNAL: 4-20 MADC, ACTION: NORMAL ACTION-CRANK ARM ROTATES COUNTER CLOCKWISE, AT INPUT SIGNAL INCREASE TO OPEN VALVE WITH BUILT-IN LIMIT, SWITCHES FOR CLOSE & OPEN INDICATION, SIZE OF VALVE TO BE DRIVEN: 800A, BUTTERFLY VALVE, MFR: NIRECO CORPORATION. | AY | 0 | 0 | STOCK | Min-Max | CRITICAL | A | 0 | PD | 1600 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://nireco.com/en/product/process/actuator/aj11-21-41.html |  | NIRECO CORPORATION | AJ41-2FO3N4E2.4-25.1 | [12 empty] | CLOSE & OPEN INDICATION, SIZE OF VALVE TO BE DRIVEN: 800A, BUTTERFLY VALVE | [9 empty] | CLEANSED | ACTUATOR | ELECTRIC | TYPE | HYDRAULIC VALVE,OUTDOOR | TRAVEL |  | VOLTAGE RATING |  | CURRENT RATING |  | POWER RATING |  | END CONNECTION |  | SHAFT DIAMETER |  | TORQUE RATING | 301 KGF M MIN,420 KGF M MAX | INTERFACE TYPE |  | MATERIAL |  | ENCLOSURE |  | TEMPERATURE RATING | -20 TO 60 DEG C AMBIENT | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | POWERPACK HV-J28,PRODUCT NO:P42-T40290, MOTOR: 440 VAC, 60 HZ, 1.5 KW,3 PH,4 POLES,MAX. LOAD SPEED: 8.5 DEG/SEC, OPERATING HYDRAULIC PRESSURE: 23 KGF/CM2, CRANK ARM ROTATION ANGLE: 60 DEG,JET PIPE HYDRAULIC PRESSURE: 8 KGF/CM2, INSTALLATION: HORIZONTAL,REQUIRED OIL QTY.: 27 L, INPUT SIGNAL: 4-20 MADC, ACTION: NORMAL ACTION-CRANK ARM ROTATES COUNTER CLOCKWISE, AT INPUT SIGNAL INCREASE TO OPEN VALVE WITH BUILT-IN LIMIT, SWITCHES FOR CLOSE & OPEN INDICATION, SIZE OF VALVE TO BE DRIVEN: 800A, BUTTERFLY VALVE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [25 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 23-03-2023 |  | PSR055063 | 055063 | PSR055063 | AIR FILTER ASSEMBLY, FILTER CLEANING MAC | AIR FILTER ASSEMBLY, FILTER CLEANING MACHINE, NON-STD MOTO CYCLONE COLLECTOR, CLEANS FILTER UP TO 40 INCH IN HEIGHT, FILTER MIN. INNER DIAMETER: 6.5 INCH, FILTER MAX. OUTER DIAMETER: 20 INCH LCD DISPLAY, 14GA. | AIR FILTER ASSEMBLY, FILTER CLEANING MACHINE, NON-STD MOTO CYCLONE COLLECTOR, CLEANS FILTER UP TO 40 INCH IN HEIGHT, FILTER MIN. INNER DIAMETER: 6.5 INCH, FILTER MAX. OUTER DIAMETER: 20 INCH LCD DISPLAY, 14GA. MILD STEEL CONSTRUCTION WITH DIESEL FILTER INSPECTION STATION, NON-STD MOTOR MEASURES STATIC PRESSURE BEFORE AND AFTER CLEANING, MECHANICAL MANOMETER DIMENSIONS: 36" x 66" x 42" AND FLEX HOSE KIT, SUCTION HOOD, MAGNETIC BASE, HOSE HOLDER/ 1.5HP ADDER FOR 220V/1/50Hz MOTOR, DIESEL PARTICULATE FILTER ENCLOSURE TO ACCOMODATE 12" DIAMETER DPF FILTERS WITH FLOORSTAND AND LEXAN VIEWING WINDOWS | AY | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 5905 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND | [15 empty] | 220 V/1/50 HZ MOTOR, DIESEL PARTICULATE FILTER ENCLOSURE TO ACCOMODATE 12 IN DIA DPF FILTERS C/W FLOORSTAND AND LEXAN VIEWING WINDOWS | [9 empty] | CLEANSED | FILTER | AIR | TYPE | CLEANING MACHINE | FILTER RATING |  | SIZE |  | PORT SIZE |  | MATERIAL | MILD STEEL | PRESSURE RATING |  | FLOW RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | ASSEMBLY,NON-STD MOTO CYCLONE COLLECTOR, CLEANS FILTER UP TO 40 IN HEIGHT, FILTER MIN INNER DIA:6.5 IN,FILTER MAX. OUTER DIA:20 IN LCD DISPLAY, 14 GA,CONSTRUCTION WITH DIESEL FILTER INSPECTION STATION, NON-STD MOTOR MEASURES STATIC PRESSURE BEFORE AND AFTER CLEANING, MECHANICAL MANOMETER DIMENSIONS: 36 x 66 x 42 IN AND FLEX HOSE KIT, SUCTION HOOD, MAGNETIC BASE, HOSE HOLDER/ 1.5 HP ADDER | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 23-03-2023 |  | PSR017389 | 017389 | PSR017389 | CARD, SIX-PULSE BRIDGE NC SUB-ASSEMBLY, | CARD, SIX-PULSE BRIDGE NC SUB-ASSEMBLY, P/N 5040501108, 24~400 VDC, 60A; FOR BATTERY CHARGER EXCEL PLUS, 110VDC, 50 AMPS, TYPE RB #214227; MFR: CHLORIDE INDUSTRIAL SYSTEM. | CARD, SIX-PULSE BRIDGE NC SUB-ASSEMBLY, P/N 5040501108, 24~400 VDC, 60A; FOR BATTERY CHARGER EXCEL PLUS, 110VDC, 50 AMPS, TYPE RB #214227; MFR: CHLORIDE INDUSTRIAL SYSTEM. | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5100 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | CHLORIDE INDUSTRIAL SYSTEM. | 5040501108 | [12 empty] | BATTERY CHARGER EXCEL PLUS, 110 VDC,50 A | RB 214227 | [8 empty] | CLEANSED | BOARD | PRINTED CIRCUIT | TYPE | CARD | LAYER COUNT |  | PLATING FINISH |  | MATERIAL |  | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING | 24-400 VDC,60 A | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | SIX-PULSE BRIDGE NC SUB-ASSEMBLY | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 23-03-2023 |  | PSR049341 | 049341 | PSR049341 | CARTRIDGE, FILTER, SAFETY, 20 M2, DUST C | CARTRIDGE, FILTER, SAFETY, 20 M2, DUST CLASS M (FOR DUSTS DANGEROUS TO HEALTH), ORDER CODE: 270219, SPARE AND WEAR PARTS FOR TWO YEARS OPERATION 3700 D WIELAND VACUUM TRUCK | CARTRIDGE, FILTER, SAFETY, 20 M2, DUST CLASS M (FOR DUSTS DANGEROUS TO HEALTH), ORDER CODE: 270219, SPARE AND WEAR PARTS FOR TWO YEARS OPERATION 3700 D WIELAND VACUUM TRUCK | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5955 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND |  | WIELAND | [13 empty] | VACUUM TRUCK | 3700 D | [8 empty] | CLEANSED | CARTRIDGE | FILTER | TYPE | SAFETY | FILTRATION RATE - *** Use FLOW RATING *** |  | MICRON RATING |  | SIZE |  | SERVICE |  | MATERIAL |  | COLOUR |  | FLOW RATING |  | PRESSURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 20 M2,DUST CLASS M (FOR DUSTS DANGEROUS TO HEALTH), ORDER CODE: 270219, SPARE AND WEAR PARTS FOR TWO YEARS OPERATION | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 23-03-2023 |  | PSR945517 | 945517 | PSR945517 | IMPELLER, BLOWER, 12" 305/P, WITH BUSH 2 | IMPELLER, BLOWER, 12" 305/P, WITH BUSH 28-24MM SHAFT, FOR FUMEHOOD BLOWER, BM BASICS | IMPELLER, BLOWER, 12" 305/P, WITH BUSH 28-24MM SHAFT, FOR FUMEHOOD BLOWER, BM BASICS | PC | 0 | 0 | STOCK | Min-Max | CRITICAL | B | 0 | PD | 3000 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | PC |  |  | URL NOT FOUND | [15 empty] | FUMEHOOD BLOWER, BM BASICS | [9 empty] | CLEANSED | IMPELLER | NO MODIFIER | TYPE | BLOWER | BORE DIAMETER |  | IMPELLER DIAMETER | 12 IN | NUMBER OF BLADES |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | C/W BUSH 28-24 MM SHAFT | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [41 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 23-03-2023 |  | PSR052597 | 052597 | PSR052597 | MONITOR, MULTI-GAS, PORTABLE, ISC VENTIS | MONITOR, MULTI-GAS, PORTABLE, ISC VENTIS MX4 WITH PUMP, LEL(PENTANE), CO, H2S, O2, LITHIUM-ION EXTENDED RANGE BATTERY, DESKTOP CHARGER, HIGH VISIBILITY ORANGE, SOFTCASE, UL/CSA | MONITOR, MULTI-GAS, PORTABLE, ISC VENTIS MX4 WITH PUMP, LEL(PENTANE), CO, H2S, O2, LITHIUM-ION EXTENDED RANGE BATTERY, DESKTOP CHARGER, HIGH VISIBILITY ORANGE, SOFTCASE, UL/CSA | AY | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 5110 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | https://www.indsci.com/en/gas-detectors/multi/ventis-mx4 | https://www.grainger.com/product/VENTIS-MX4-Multi-Gas-Detector-CO-H2S-425Z57 | VENTIS | MX4 | [22 empty] | ENRICHED | MONITOR | NO MODIFIER | TYPE | CO, H2S, O2,LEL(PENTANE),MULTI-GAS,PORTABLE | MEASURING RANGE | 0-2000 PMM CO,0-500 PPM H2S,0-100 PCT LEL,0-30 PCT O2 | ACCURACY | 1 PCT LEL, 1 ppm CO, 0.1 ppm H2S , 00.1 PCT O2 | DISPLAY TYPE | LCD | DISPLAY SIZE |  | ELECTRICAL RATING |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL/CSA | ADDITIONAL FEATURES EN | C/W PUMP,LITHIUM-ION EXTENDED RANGE BATTERY, DESKTOP CHARGER, HIGH VISIBILITY ORANGE, SOFTCASE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [35 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 23-03-2023 |  | PSR954730 | 954730 | PSR954730 | PANELBOARD, ELECTRICAL, SUS 304, 3-PHASE | PANELBOARD, ELECTRICAL, SUS 304, 3-PHASE, 440VAC, 3-WIRE + GROUND, 60 Hz, MAIN CIRCUIT BREAKER: 225AT, 3P, 65KAIC, BRANCHES: 1 X 200AT, 3P, 40KAIC, BOLT -ON TYPE, 2 X 15AT, 3P, 20KAIC, BOLT-ON TYPE, | PANELBOARD, ELECTRICAL, SUS 304, 3-PHASE, 440VAC, 3-WIRE + GROUND, 60 Hz, MAIN CIRCUIT BREAKER: 225AT, 3P, 65KAIC, BRANCHES: 1 X 200AT, 3P, 40KAIC, BOLT -ON TYPE, 2 X 15AT, 3P, 20KAIC, BOLT-ON TYPE | EA | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 1640 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | EA | B |  | URL NOT FOUND | [25 empty] | CLEANSED | BOARD | PRINTED CIRCUIT | TYPE | PANEL,ELECTRICAL | LAYER COUNT |  | PLATING FINISH |  | MATERIAL | STAINLESS STEEL 304 | THICKNESS |  | SOLDER MASK COLOUR |  | MIN HOLE SIZE |  | ELECTRICAL RATING | 440 VAC,3 PH,60 HZ | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | 3-WIRE + GROUND,MAIN CIRCUIT BREAKER: 225AT, 3P, 65KAIC, BRANCHES: 1 X 200AT, 3P, 40KAIC, BOLT -ON TYPE, 2 X 15AT, 3P, 20KAIC, BOLT-ON TYPE | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [33 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 23-03-2023 |  | PSR942324 | 942324 | PSR942324 | SINK, LORDEAR, 19" X 15"; COLOR: BS-F191 | SINK, LORDEAR, 19" X 15"; COLOR: BS-F1915-CH, WEIGHT: 16 KG, BATHROOM SINK AND FAUCET COMBO MODERN RECTANGULAR ABOVE WHITE PORCELAIN CERAMIC VESSEL SANITY SINK ART BASIN AND CHROME SINGLE LEVER FAUCET COMBO | SINK, LORDEAR, 19" X 15"; COLOR: BS-F1915-CH, WEIGHT: 16 KG, BATHROOM SINK AND FAUCET COMBO MODERN RECTANGULAR ABOVE WHITE PORCELAIN CERAMIC VESSEL SANITY SINK ART BASIN AND CHROME SINGLE LEVER FAUCET COMBO | SE | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4030 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 30 | EX | N/A | EA |  |  | URL NOT FOUND |  |  | BS-F1915-CH | [22 empty] | CLEANSED | SINK | NO MODIFIER | TYPE | LORDEAR | CAPACITY |  | BOWL SIZE |  | MATERIAL |  | DRAIN CONNECTION |  | OVERALL SIZE | 19 X 15 IN | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | WEIGHT: 16 KG, BATHROOM SINK AND FAUCET COMBO MODERN RECTANGULAR ABOVE WHITE PORCELAIN CERAMIC VESSEL SANITY SINK ART BASIN AND CHROME SINGLE LEVER FAUCET COMBO | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED
STP_005-003 | Data Enrichment | NEN | NEN | OK | 17-03-2023 | 23-03-2023 |  | PSR048061 | 048061 | PSR048061 | SLING, ROPE, WIRE, AU, DIAM.: 9MM, 6 x 2 | SLING, ROPE, WIRE, AU, DIAM.: 9MM, 6 x 25 CONSTRUCTION, 0.5M, 150E, AUSTRALOC EYES, WRC B1770, MFR: BULLIVANTS | SLING, ROPE, WIRE, AU, DIAM.: 9MM, 6 x 25 CONSTRUCTION, 0.5M, 150E, AUSTRALOC EYES, WRC B1770, MFR: BULLIVANTS | PC | 0 | 0 | STOCK | Min-Max | CONSUMABLES | C | 0 | PD | 4090 | ERSA | OTHER | N | N/A | N/A | N/A | N | N/A | 90 | EX | N/A | PC |  |  | URL NOT FOUND |  | BULLIVANTS | 150E | [22 empty] | CLEANSED | SLING | WIRE ROPE | TYPE | AUSTRALOC EYES | ROPE DIAMETER | 9 MM | LENGTH | 500 MM | NUMBER OF LEGS |  | LOAD RATING |  | MATERIAL |  | END TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES EN | AU,CONSTRUCTION:6 x 25,STRUCTURE:WRC B1770 | ADDITIONAL FEATURES ES |  | ADDITIONAL FEATURES FR | [37 empty] | PRODUCTION COMPLETED