## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-04 |  | 320071 | 320071 | AU04-EA609203 | LAMP,BLST,37W,FLU/TUBE,T8/G13,5000K | NEC FL40SSEX-N/37-X |  | LAMP,BALLAST,WATTS:37W,LAMP TYPE:FLUORESCENT/TUBE,BASE CONN/LAMP SIZE:T8/G13,COLOUR/USE/FEATURES:5000K,MANUFACTURER PART NUMBER-NEC FL40SSEX-N/37-X | [13 empty] | https://tech.thk.com/en/products/pdf/en_a01_092.pdf |  |  | NEC | OPM | FL40SSEX-N/37-X | FL40SSEX-N/37-X |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T8 | WATTAGE | 37 W | BASE TYPE | G13 | SIZE | 27.5 DIA X 1198 LG MM | TYPE | TUBE | COLOUR |  | LAMP LIFE | 20000 HR | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE | 5000 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | W/BALLAST | INTENSITY |  | BULB | [31 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (LAMP LIFE) Edited, Attribute Value (BULB) Filled | 04-05-2023 | 2023-05-04 |  | 387902 | 387902 | BE35-LBH15922 | LAMP TL PHILIPS TLD 36W/840S | LAMP PHILIPS TLD 36W/840S |  | TL LAMP PHILIPS SECURA TLD 36W/840 S | TL LAMP PHILIPS SECURA TLD 36W/840 S¦¦TL LAMP PHILIPS SECURA TLD 36W/840 S¦¦TL LAMP PHILIPS SECURA TLD 36W/840 S | [12 empty] | https://www.lighting.philips.com/main/prof/conventional-lamps-and-tubes/fluorescent-lamps-and-starters/tl-d/tl-d-lifemax-super-80/927982284036_EU/product |  |  | PHILIPS | OPM | TL-D 36W/840 | TL-D 36W/840 | ALTERNATE MANUFACTURE NAME: SECURA B.V | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | 103 V | SHAPE DESIGNATION | T8 | WATTAGE | 36 W | BASE TYPE | G13 [ MEDIUM BI-PIN ] | SIZE | NOT AVAILABLE | TYPE |  | COLOUR | COOL WHITE | LAMP LIFE | 15000 HR | COLOUR RENDERING INDEX | 85 CRI | COLOUR TEMPERATURE | 4000 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | INTENSITY | 3250 LM | BULB | 26 MM | [30 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR) Filled | 04-05-2023 | 2023-05-04 |  | 63673 | 63673 | 8319-50473678 | LAMP,FLOUR,F32T8/TL841/PLUS/ALTO TG | F32T8/TL841/PLUS/ALTO TG | Philips Electronics | LAMP,FLUORESCENT,TYPE:COATED,INPUT_WATT_RATING:32W,LEN:48 IN,BULB:T-8,BASE_TYPE:MINIATURE BIPIN,INIT_LIGHT_INTENSITY:2950 LUMENS,MAN,MANUFACTURER:PHILIPS ELECTRONICS | [13 empty] | https://www.lighting.philips.ca/api/assets/v1/file/PhilipsLighting/content/fp927852084104-pss-en_ca/927852084104_NA.en_CA.PROF.FP.pdf |  |  | PHILIPS | OPM | F32T8/TL841/PLUS/ALTO TG | F32T8/TL841/PLUS/ALTO TG |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T8 | WATTAGE | 32 W | BASE TYPE | G13 [ MEDIUM BI-PIN ],MINIATURE BI-PIN | SIZE | 48 IN LG | TYPE |  | COLOUR | COOL WHITE | LAMP LIFE | 44000 HR, 36000 HR, 38000 HR, 30000 HR | COLOUR RENDERING INDEX | 85 CRI | COLOUR TEMPERATURE | 4100 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | INTENSITY | 2950 LM | BULB | [31 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (INTENSITY) Filled, Reference Text Filled | 04-05-2023 | 2023-05-04 |  | 413487 | 413487 | CH31-5830205 | FLUORESZENZLAMPEN L 36W/21-840 PLUS |  |  | LUMILUXPLUS ECO | LUMILUXPLUS ECO¦¦LUMILUXPLUS ECO¦¦LUMILUXPLUS ECO | [12 empty] | https://www.osram.com/ecat/LUMILUX%20T8-Fluorescent%20lamps%20T8-Fluorescent%20lamps-Lamps-Digital%20Systems/com/en/GPS01_1027891/ZMP_60436/ | https://www.lampbelgie.be/en/osram-l-36w-840-1.html |  | OSRAM GmbH. | OPM/OEM | L 36W/21-840 | L 36W/21-840 | BRAND: LUMILUXPLUS ECO | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T8 | WATTAGE | 36 W | BASE TYPE | G13 [ MEDIUM BI-PIN ] | SIZE | 26 DIA X 1213.6 LG MM | TYPE |  | COLOUR | COOL WHITE | LAMP LIFE | 18000 HR | COLOUR RENDERING INDEX | >=80 RA | COLOUR TEMPERATURE | 4000 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | INTENSITY | 3100 LM | BULB | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Edited | 04-05-2023 | 2023-05-04 |  | 581501 | 581501 | GB36-CB41924265 | LAMP,SLIM POLYLUX TUBES,5',XL 840,CA 305 |  |  | 5' SLIM POLYLUX TUBES XL 840 CA 305 | [13 empty] | https://docs.rs-online.com/c8fb/0900766b80033c26.pdf |  |  | SPECTRUM | OPM | Polylux XL 840 | Polylux XL 840 |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T8 | WATTAGE | 840 W | BASE TYPE | NOT AVAILABLE | SIZE | 5 FT LG | TYPE | TRIPHOSPHOR | COLOUR |  | LAMP LIFE | 15000 HR | COLOUR RENDERING INDEX | 85 CRI | COLOUR TEMPERATURE | 4000 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SLIM CA 305 | INTENSITY | 3350 LM | BULB | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (ADDITIONAL FEATURES) Deleted, Attribute Value (COLOUR RENDERING INDEX) Filled, Attribute Value (INTENSITY) Filled, Reference Text Filled, Attribute Value (BASE TYPE) Edited | 04-05-2023 | 2023-05-04 |  | 205895 | 205895 | 8364-50470982 | LIGHT,FLOUR,F40T12/CWSU/A/TG | F40T12/CWSU/A/TG | Philips Electronics | LIGHT,FLUORESCENT,TYPE:SAFETY COATED,V_RATING:110-120V,INPUT_WATT_RATING:40W,LAMP_SIZE:48 IN,MFR PA,MANUFACTURER:PHILIPS ELECTRONICS |  | BDI | 25158099 | PHILIPS | F40T12/CWSU/A/TG | F40T12/CWSU/A/TG FLUORESCENT LAMP | [7 empty] | https://www.lighting.philips.com/main/prof/conventional-lamps-and-tubes/fluorescent-lamps-and-starters/tl/tuffguard-coated-t12/927887803902_EU/product | https://www.lighting.philips.com/api/assets/v1/file/PhilipsLighting/content/fp927887803902-pss-global/ADAM-20151210182453134%40en_AA.pdf | https://www.platt.com/p/0924716/philips-lighting/fluorescent-lamp-tuffguard-coated-40w-t12-4100k/046677424008/phif40t12cwsuptg | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | F40T12/CWSUPREME/ALTO TG | F40T12/CWSUPREME/ALTO TG | SUPPLIER NAME: BDI, SUPPLIER PART NUMBER: 25158099 | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T12 | WATTAGE | 40 W | BASE TYPE | G13 [ MEDIUM BI-PIN ] | SIZE | 48 IN | TYPE |  | COLOUR | COOL WHITE SUPREME | LAMP LIFE | 24000 HR | COLOUR RENDERING INDEX | 89 CRI | COLOUR TEMPERATURE | 4100 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | INTENSITY | 2600 LM | BULB | [31 empty] | Part Number Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-04 |  | 582559 | 582559 | GB36-CB60046047 | TUBE,14W T5 COATED,FT47-05-14-840_ |  |  | Price including government weee charge for lamps *W | [13 empty] | https://www.tradesparky.com/ecommerce/downloadasset?productAssetId=85679 |  |  | GREENSTOCK | OPM | FT47-05-14-840 | FT47-05-14-840 |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T5 | WATTAGE | 14 W | BASE TYPE | NOT AVAILABLE | SIZE | 16 DIA X 549 LG MM | TYPE |  | COLOUR |  | LAMP LIFE | 20000 HR | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE | 840 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FINISH: FEP COATED | INTENSITY | 1350 LM | BULB | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Edited | 04-05-2023 | 2023-05-04 |  | 610451 | 610451 | ID01-5002468 | LAMPU PHILIPS TL-5 28W/220V LIFEMAX | [16 empty] | https://www.lighting.philips.com.ph/prof/conventional-lamps-and-tubes/fluorescent-lamps-and-starters/tl5/tl5-essential-he-super-80/927926786558_EU/product | https://www.lighting.philips.com.ph/api/assets/v1/file/PhilipsLighting/content/fp927926786558-pss-en_ph/927926786558_EU.en_PH.PROF.FP.pdf |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | TL5 28W/220V | TL5 28W/220V | BRAND: LIFEMAX | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | 220 V | SHAPE DESIGNATION | T5 | WATTAGE | 28 W | BASE TYPE | G5 | SIZE | 17 DIA X 1163.2 LG MM | TYPE |  | COLOUR | COOL DAYLIGHT | LAMP LIFE | 20000 HR | COLOUR RENDERING INDEX | 82 CRI | COLOUR TEMPERATURE | 6500 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | INTENSITY | 2600 LM | BULB | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-04 |  | 378058 | 378058 | BE35-5413045 | LAMP AURA T5 HO 73W/840 PROTECTOR | WELEC V0866 |  | LAMP Aura T5-lamp LL Protector HO 73W 840 WELEC :V0866 OFFERTE :12006-OF247 | LAMP Aura T5-lamp LL Protector HO 73W 840 WELEC :V0866 OFFERTE :12006-OF247¦¦LAMP Aura T5-lamp LL Protector HO 73W 840 WELEC :V0866 OFFERTE :12006-OF247¦¦LAMP Aura T5-lamp LL Protector HO 73W 840 WELEC :V0866 OFFERTE :12006-OF247 | [12 empty] | https://www.auralight.com/fi/light-sources/aura-t5-eco-saver-protector-long-life?variantId=557354#specifications |  |  | AURA LIGHT INTERNATIONAL | OPM | T5 HO 73W/840 | T5 HO 73W/840 | ALTERNATE MANUFACTURER NAME: WELEC, ALTERNATE PART NUMBER: V0866 | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T5 | WATTAGE | 73 W | BASE TYPE | G5 | SIZE | 1449 MM LG | TYPE | ECO SAVER PROTECTOR | COLOUR |  | LAMP LIFE | 48000 HR | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE | 4000 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | OFFERS: 12006-OF247 | INTENSITY | 7000 LM | BULB | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (SHAPE DESIGNATION) Edited, Attribute Value (TYPE) Filled | 04-05-2023 | 2023-05-04 |  | 694917 | 694917 | NG01-5564831 | FLOURESCENT TUBE F14W-82-865 |  |  | LAXON DAY LIGHT | [13 empty] | https://www.sylvania-lighting.com/product/en-int/products/0000135/ | https://dynamic.sylvania-lighting.online/pdf/en-int/DataSheet/0000135.pdf |  | SYLVANIA | OPM | F14W/T8/865 | F14W/T8/865 |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | 220-240 VAC | SHAPE DESIGNATION | DOUBLE ENDED | WATTAGE | 14 W | BASE TYPE | G13 | SIZE | 26 DIA X 360 LG MM | TYPE | TUBE | COLOUR | DAYLIGHT | LAMP LIFE | 20000 HR | COLOUR RENDERING INDEX | 85 CRI | COLOUR TEMPERATURE | 6500 K | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, FL | ADDITIONAL FEATURES | CURRENT RATING: 0.38 A, FREQUENCY: 50 Hz | INTENSITY | 800 LM | BULB | [31 empty] | Part Number Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (BULB) Deleted, Attribute Value (ADDITIONAL FEATURES) Edited, Attribute Value (INTENSITY) Filled | 04-05-2023 | 2023-05-04 |  | 10449 | 10449 | 8301-52236935 | LAMPADA FLUOR 15W LUZ NEGRA BL15 T8 |  |  | LAMPADA FLUOR; POTENCIA: 15W; TIPO: LUZ NEGRA BL15 T8; MODELO: G4F001-RI; FABRICANTE: OZLI; FORNECEDOR: FASTENAL | LAMPADA FLUOR; POTENCIA: 15W; TIPO: LUZ NEGRA BL15 T8; MODELO: G4F001-RI; FABRICANTE: OZLI; FORNECEDOR: FASTENAL | [12 empty] | https://ozli-online.translate.goog/produto/lampada-luz-negra-tubular-15w/?_x_tr_sl=pt&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  |  | OZLI | OPM | G4F001-RI | G4F001-RI |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T8 | WATTAGE | 15 W | BASE TYPE | NOT AVAILABLE | SIZE | 452 WD X 26 HT MM | TYPE | LUMINOUS FLUX | COLOUR | WHITE | LAMP LIFE | 7500 HR | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION: IP20 | INTENSITY | 2200 LM | BULB | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (TYPE) Edited | 04-05-2023 | 2023-05-04 |  | 580120 | 580120 | GB36-5515796 | LIGHT TUBES GLASSGUARD 49W 840 4000K COO | GLASSGUARD 4984/S T5 49W 840 4000K S/PRO |  | GLASSGUARD 4984/S T5 49W 840 4000K S/PRO EDMUNDSON ELECTRICAL | [13 empty] | https://www.glassguard.co.uk/product/standard-fluorescent-lamps/ |  |  | GLASSGUARD | OPM | 4984/S | 4984/S |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T5 | WATTAGE | 49 W | BASE TYPE | NOT AVAILABLE | SIZE | 1463 MM LG | TYPE | FRAGMENT RETENTION | COLOUR | COOL WHITE | LAMP LIFE | 20000 HR | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE | 4000 K | HAZARD CLASS |  | CERTIFICATION/STANDARD | FDA, 21CRF177.1550, IEC, ISO 9001:2015, ROHS | ADDITIONAL FEATURES | S/PRO, COLOR CODE: 840 | INTENSITY |  | BULB | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Edited, COLOUR RENDERING INDEX) Deleted, Reference Text Filled | 04-05-2023 | 2023-05-04 |  | 705131 | 705131 | NO32-5147177 | LYSRØR SPLINTSIKKER 36W/840 HVIT |  |  | LYSRØR PROTECTOR ULTIMATE 36W/840 WHITE AURALIGHT ART. NR: 431034 |  | Rubix | 3821313 | PHILIPS |  |  | LYSRØR MASTER TL-D SEC SECURA 36W/840 MASTER TL-D SEC PHILIP | [6 empty] | https://www.auralight.com/fi/light-sources/aura-t8-ultimate-protector?variantId=431034 |  |  | AURA LIGHT | OPM | 431034 | MASTER TL-D 36W/840 | SUPPLIER NAME: RUBIX, SUPPLIER PART NUMBER: 3821313, ALTERNATE OPM:PHILIPS | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | WATTAGE | 36 W | BASE TYPE | G13 | SIZE | 1200 MM LG | TYPE | LONG LIFE | COLOUR | WHITE | LAMP LIFE | 30000 HR | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE | 4000 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENERGY CLASS: F, TL-D, PROTECTOR ULTIMATE | INTENSITY | 3350 LM | BULB | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-04 |  | 778436 | 778436 | RU07-5547982 | LAMP FOR ULTRAVIOLET;LTC15T8 | [16 empty] | https://www.light-sources.com/wp-content/uploads/2018/04/Catalog-2017-English-UV-Germicidal-Lamps_Part2.pdf |  |  | OSRAM GmbH. | OPM/OEM | LTC15T8 | LTC15T8 |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | 44 V | SHAPE DESIGNATION | T8 | WATTAGE | 15 W | BASE TYPE | MDBP | SIZE | 25.7 MM DIA | TYPE | UV SOFT GLASS GERMICIDAL | COLOUR |  | LAMP LIFE | 9000 HR | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING: 350 mA, FOR ULTRAVIOLET | INTENSITY |  | BULB | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Edited, Attribute Value (BULB) Filled, Reference Text Filled | 04-05-2023 | 2023-05-04 |  | 65091 | 65091 | 8319-52133705 | LAMP,FLOUR,F54T5/841/HO/ALTO TG | F54T5/841/HO/ALTO TG | Philips Electronics | LAMP,FLUORESCENT,TYPE:FLUORESCENT HIGH OUTPUT,MANUFACTURER:PHILIPS ELECTRONICS,MFR PART NUMBER:F54T5/841/HO/ALTO TG |  | Wesco | 4667716298 | Philips Electronics | F54T5/841/HO/ALTO TG | LAMP,FLUORESCENT,TYPE:FLUORESCENT HIGH OUTPUT,MANUFACTURER:PHILIPS ELECTRONICS,MFR PART NUMBER:F54T5/841/HO/ALTO TG | [7 empty] | https://www.grainger.com/product/PHILIPS-Linear-Fluorescent-Bulb-4-492X89 |  |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | F54T5/841/HO/ALTO TG | F54T5/841/HO/ALTO TG | SUPPLIER NAME: WESCO, SUPPLIER PART NUMBER: 4667716298 | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T5 | WATTAGE | 54 W | BASE TYPE | G5 | SIZE | 46 IN LG | TYPE | LINEAR | COLOUR | COOL WHITE | LAMP LIFE | 30000 HR | COLOUR RENDERING INDEX | 85 CRI | COLOUR TEMPERATURE | 4100 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | INTENSITY | 5000 LM | BULB | 5/8 IN DIA | [31 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Edited, Attribute Value (BULB) Filled | 04-05-2023 | 2023-05-04 |  | 177353 | 177353 | 8353-52113520 | LAMPARA/TLD 58W-840 NG SECURA/HOUDIJK | TLD 58W-840 NG SECURA | Houdijk Holland | LAMPARA TLD 58W-840 PIERNAS HOUDIJK DE OREO | [13 empty] | https://www.lighting.philips.com/main/prof/conventional-lamps-and-tubes/fluorescent-lamps-and-starters/tl-d/master-tl-d-secura/927922484076_EU/product | https://www.lighting.philips.com/api/assets/v1/file/PhilipsLighting/content/fp927922484076-pss-global/ADAM-20151211180953631%40en_AA.pdf |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | 871150064018540 | TL-D SECURA 58W/840 | OEM: HOUDIJK HOLLAND | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T8 | WATTAGE | 58 W | BASE TYPE | G13 [ MEDIUM BI-PIN ] | SIZE | 28 DIA X 1514.2 LG MM | TYPE |  | COLOUR | COOL WHITE | LAMP LIFE | 20000 HR | COLOUR RENDERING INDEX | 80 CRI | COLOUR TEMPERATURE | 4000 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | INTENSITY | 5000 LM | BULB | 26 MM | [31 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Edited, Attribute Value (ADDITIONAL FEATURES) Filled, Attribute Value (INTENSITY) Filled | 04-05-2023 | 2023-05-04 |  | 21090 | 21090 | 8308-52235920 | LAMPADA FL TUB T5 4000K G5 14W SUPER84 |  |  | LAMPADA; TIPO: FLUORESCENTE; MODELO: TUB T5 4000K G5 14W SUPER84; APLICACAO: ILUMINACAO; LINHA: GERAL FABRICA; FABRICANTE: PHILIPS; REFERENCIA: TL514WESS840 | LAMPADA; TIPO: FLUORESCENTE; MODELO: TUB T5 4000K G5 14W SUPER84; APLICACAO: ILUMINACAO; LINHA: GERAL FABRICA; FABRICANTE: PHILIPS; REFERENCIA: TL514WESS840 | [12 empty] | https://www.lighting.philips.com/main/prof/conventional-lamps-and-tubes/fluorescent-lamps-and-starters/tl5/tl5-essential-he-super-80/927925984058_EU/product |  |  | PHILIPS | OPM | 927925984058 | TL514WESS840 |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T5 | WATTAGE | 14 W | BASE TYPE | G5 | SIZE | 17 WD X 563.2 LG MM | TYPE | TUBE | COLOUR | COOL WHITE | LAMP LIFE | 2000 HR | COLOUR RENDERING INDEX | 80-82 CRI | COLOUR TEMPERATURE | 4000 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING: 0.17 A, LUMINOUS EFFICACY: 96 LM/W, APPLICATION: FOR LIGHTING, LINE: GENERAL FACTORY | INTENSITY | 1350 LM | BULB | 16 MM | [31 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Edited, Attribute Value (ADDITIONAL FEATURES) Filled, Attribute Value (INTENSITY) Filled | 04-05-2023 | 2023-05-04 |  | 18392 | 18392 | 8308-52222584 | LAMPADA FLU TUB T5 G5 54W-TL554WESS865 |  |  | LAMPADA; TIPO: FLUORESCENTE; MODELO: TUB T5 6500K G5 54W SUPER86; APLICAÇÃO: ILUMINACAO; FABRICANTE: PHILIPS; REFERENCIA: TL554WESS865 | LAMPADA; TIPO: FLUORESCENTE; MODELO: TUB T5 6500K G5 54W SUPER86; APLICAÇÃO: ILUMINACAO; FABRICANTE: PHILIPS; REFERENCIA: TL554WESS865 | [12 empty] | https://www.lighting.philips.co.in/prof/conventional-lamps-and-tubes/fluorescent-lamps-and-starters/tl5/tl5-essential-ho-super-80/927929386540_EU/product |  |  | PHILIPS | OPM | 927929386540 | TL554WESS865 |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T5 | WATTAGE | 54 W | BASE TYPE | G5 | SIZE | 17 WD X 1163.2 LG MM | TYPE | TUBE | COLOUR | COOL DAYLIGHT | LAMP LIFE | 2000 HR | COLOUR RENDERING INDEX | 80-85 CRI | COLOUR TEMPERATURE | 6500 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING: 0.46 A, LUMINOUS EFFICACY: 81.9 LM/W, APPLICATION: FOR LIGHTING | INTENSITY | 4700 LM | BULB | 16 MM | [31 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Edited, Attribute Value (BASE TYPE) Edited | 04-05-2023 | 2023-05-04 |  | 390012 | 390012 | BE35-LBH18434 | LAMP TL PHILIPS TLD 58W/840S | SPLINTERVRIJE TL-LAMP E114142 |  | TL LAMP PHILIPS TLD 58W/840S_x005F_x000D_SPLINTERVRIJE TL-LAMP | TL LAMP PHILIPS TLD 58W/840S_x005F_x000D_SPLINTERVRIJE TL-LAMP¦¦TL LAMP PHILIPS TLD 58W/840S_x005F_x000D_SPLINTERVRIJE TL-LAMP¦¦TL LAMP PHILIPS TLD 58W/840S_x005F_x000D_SPLINTERVRIJE TL-LAMP | [12 empty] | https://www.lighting.philips.com/main/prof/conventional-lamps-and-tubes/fluorescent-lamps-and-starters/tl-d/tl-d-lifemax-super-80/927983284036_EU/product |  |  | PHILIPS | OPM | 927983284036 | TL-D 58W/840 1SL/25 |  | ENRICHED | MRO | 39101605 | Fluorescent Lamps | LAMP | FLUORESCENT | VOLTAGE RATING | NOT AVAILABLE | SHAPE DESIGNATION | T8 | WATTAGE | 58 W | BASE TYPE | G13 [ MEDIUM BI-PIN ] | SIZE | 28 WD X 1514.2 LG MM | TYPE | TUBE | COLOUR | COOL WHITE | LAMP LIFE | 15000 HR | COLOUR RENDERING INDEX | 82 CRI | COLOUR TEMPERATURE | 4000 K | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING: 0.67 A, LUMINOUS EFFICACY: 88 LM/W | INTENSITY |  | BULB | 26 MM | [31 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (SHAPE DESIGNATION) Filled | 04-05-2023 | 2023-05-04 |  | 413773 | 413773 | CH31-5835117 | LED TUBE, 1500MM, OT1500-24W-840 | 3246321 | REXEL GERMANY GMBH & CO. KG | PHILIPSL MAS LEDtube 1500mm MASTER LEDtube 1500mm UO 23W 840 T8 KVG/VVG | PHILIPSL MAS LEDtube 1500mm MASTER LEDtube 1500mm UO 23W 840 T8 KVG/VVG | [12 empty] | https://www.rexel.de/Kategorien/Lichttechnik/LED---Leuchtmittel/LED-Lampe-Multi-LED/MAS-LEDtube-1500mm-UO-23W-840-T8%2C-MASTER-LEDtube-T8-KVG-VVG---LED-lamp-Multi-LED---%C3%84hnlichste-Farbtemperatur-%28Nom%29%3A-4000-K/p/3246321?prevPageNumber=13 |  |  | PHILIPS | OPM | 64729200 | 64729200 | SUPPLIER NAME: REXEL, SUPPLIER PART NUMBER: 3246321 | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 23 W | VOLTAGE RATING | 220-240 V | BASE TYPE | G13 | SHAPE DESIGNATION | T8 | TYPE | MAS TUBE | COLOUR | WHITE | SIZE | 1500 MM | COLOUR TEMPERATURE | 4000 K | LAMP LIFE | 60000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 80-89 CRI | TEMPERATURE RATING |  | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING: 99-108 mA, ENCLOUSER: IP20 | [26 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (SHAPE DESIGNATION) Filled | 04-05-2023 | 2023-05-04 |  | 411421 | 411421 | CH31-5807086 | LED TUBE SMD1200-I53-40MM | 3246313 | REXEL GERMANY GMBH & CO. KG | PHILIPSL MAS LEDtube 1200mm MASTER LEDtube 1200mm UO 15,5W 840 T8 KVG/VVG | PHILIPSL MAS LEDtube 1200mm MASTER LEDtube 1200mm UO 15,5W 840 T8 KVG/VVG | [12 empty] | https://www.rexel.de/Kategorien/Lichttechnik/LED---Leuchtmittel/LED-Lampe-Multi-LED/MAS-LEDtube-1200mm-UO-15-5W-840-T8%2C-MASTER-LEDtube-T8-KVG-VVG---LED-lamp-Multi-LED---%C3%84hnlichste-Farbtemperatur-%28Nom%29%3A-4000-K/p/3246313 |  |  | PHILIPS | OPM | 64723000 | 64723000 | ALTERNATE PART NUMBER: 3246313, SMD1200-I53-40MM, DISTRIBUTOR: REXEL, MASTER, UO 840 KVG/VVG, UO 15 | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 15.5 W | VOLTAGE RATING | 220-240 V | BASE TYPE | G13 | SHAPE DESIGNATION | T8 | TYPE | MAS TUBE | COLOUR | WHITE | SIZE | 1200 MM | COLOUR TEMPERATURE | 4000 K | LAMP LIFE | 60000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 80-89 CRI | TEMPERATURE RATING |  | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING: 73 mA, ENCLOUSER: IP20 | [26 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (TYPE) Filled | 04-05-2023 | 2023-05-04 |  | 384337 | 384337 | BE35-LBH09206 | ARMATUUR LED WT120C LED60S/840 |  |  | ARMATUUR LED WT120C LED60S/840 PSU E3169712 | ARMATUUR LED WT120C LED60S/840 PSU E3169712¦¦ARMATUUR LED WT120C LED60S/840 PSU E3169712¦¦ARMATUUR LED WT120C LED60S/840 PSU E3169712 | [12 empty] | https://www.assets.signify.com/is/content/PhilipsLighting/fp910500454302-pss-global | https://www.electricalproducts.com.au/philips-wt120c-led60s-840-psu-l1500-910500453339.html | https://www.lichtbasis.com/en/philips-wt120c-led60s/840-psu-l1500-phiaeg84049700 | PHILIPS | OPM | WT120C LED60S/840 | WT120C LED60S/840 | ALTERNATE PART NUMBER: E3169712 | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 52 W | VOLTAGE RATING | 220-240 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | REINFORCEMENT | COLOUR | NEUTRAL WHITE | SIZE | 3.4 WD X 3.8 HT X 59.2 DP IN | COLOUR TEMPERATURE | 4000 K | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | >80 CRI | TEMPERATURE RATING | 0-25 DEG C | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, ENCE, ROHS | ADDITIONAL FEATURES | [27 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-04 |  | 712778 | 712778 | PK02-PKC4873 | LED TUBE LIGHT 10.5W-865T8I PHILIPS | [16 empty] | https://www.lighting.philips.com/main/prof/led-lamps-and-tubes/led-tubes/master-ledtube-em-mains-t8/929001297708_EU/product | https://www.lighting.philips.com/api/assets/v1/file/PhilipsLighting/content/fp929001297708-pss-global/929001297708_EU.en_AA.PROF.FP.pdf |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | 871869668770300 | 10.5W-865T8I |  | ENRICHED | MRO | 39101628 | Light emitting diode LED lamp | LAMP | LED | WATTAGE | 10.5 W | VOLTAGE RATING | 220-240 VAC | BASE TYPE | G13 | SHAPE DESIGNATION | DOUBLE ENDED TUBE | TYPE |  | COLOUR | COOL DAYLIGHT | SIZE | 28 DIA X 1212.4 LG MM | COLOUR TEMPERATURE | 6500 K | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 83 CRI | TEMPERATURE RATING | -20 TO 45 DEG C | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY: 50-60 Hz, CURRENT RATING: 45-55 mA, COLOR CODE: 865 | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-04 |  | 707768 | 707768 | PK01-5446647 | LED-TUBELIGHT-10.5W-865-220-240V-PHILIPS | 10.5W | [15 empty] | https://www.lighting.philips.com/main/prof/led-lamps-and-tubes/led-tubes/master-ledtube-em-mains-t8/929001297708_EU/product | https://www.lighting.philips.com/api/assets/v1/file/PhilipsLighting/content/fp929001297708-pss-global/929001297708_EU.en_AA.PROF.FP.pdf |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | 871869668770300 | 10.5W-865-220-240V |  | ENRICHED | MRO | 39101628 | Light emitting diode LED lamp | LAMP | LED | WATTAGE | 10.5 W | VOLTAGE RATING | 220-240 VAC | BASE TYPE | G13 | SHAPE DESIGNATION | DOUBLE ENDED TUBE | TYPE |  | COLOUR | COOL DAYLIGHT | SIZE | 28 DIA X 1212.4 LG MM | COLOUR TEMPERATURE | 6500 K | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 83 CRI | TEMPERATURE RATING | -20 TO 45 DEG C | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY: 50-60 Hz, CURRENT RATING: 45-55 mA, COLOR CODE:865 | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (COLOUR RENDERING INDEX) Editted, Attribute Value (TYPE) Filled | 04-05-2023 | 2023-05-04 |  | 388725 | 388725 | BE35-LBH16916 | ARMATUUR LED WT120C LED22S/840 | REXEL E3169709 |  | ARMATUUR PHILIPS PHIWT120L2184L120 WT120C LED22S/840 PSU L1200 REXEL E3169709 OFFERTENR : 2821374. 0 | ARMATUUR PHILIPS TCW 216136 HFP¦¦ARMATUUR PHILIPS TCW 216136 HFP¦¦ARMATUUR PHILIPS TCW 216136 HFP | [12 empty] | https://www.lighting.philips.com.eg/prof/indoor-luminaires/waterproof-and-cleanroom/waterproof-luminaires/coreline-waterproof/910500454303_EU/product | https://www.elektrika.lv/en/lighting/indoor/waterproof-luminaires/philips-wt120c-g2-led40s-840-psu-l1200-coreline-waterproof-911401823780 |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | PSU L1200 EL3 | WT120C LED22S/840 | ALTERNATE MANUFACTURER PART NUMBER: PHIWT120L2184L120, SUPPLIER NAME: REXEL, SUPPLIER PART NUMBER: E3169709, REFERENCE NO: 2821374 | ENRICHED | MRO | 39101628 | Light emitting diode led lamp | LAMP | LED | WATTAGE | 30 W | VOLTAGE RATING | 220-240 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | WATERPROOF BATTEN, REINFORCEMENT | COLOUR | NEUTRAL WHITE | SIZE | 87 WD X 1223 LG X 96 HT MM | COLOUR TEMPERATURE | 4000 K | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | >80 CRI | TEMPERATURE RATING | 0-25 DEG C | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD | ENEC MARK, CE, ROHS | ADDITIONAL FEATURES | ARMATURE | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (COLOUR RENDERING INDEX) Editted, Attribute Value (TYPE) Filled | 04-05-2023 | 2023-05-04 |  | 388724 | 388724 | BE35-LBH16915 | ARMATUUR LED WT120C LED34S/840 |  |  | ARMATUUR WT120C LED34S/840 PSU L1500 E3169710 | ARMATUUR WT120C LED34S/840 PSU L1500 E3169710¦¦ARMATUUR WT120C LED34S/840 PSU L1500 E3169710¦¦ARMATUUR WT120C LED34S/840 PSU L1500 E3169710 | [12 empty] | https://www.lighting.philips.com/main/prof/indoor-luminaires/waterproof-and-cleanroom/waterproof-luminaires/coreline-waterproof/911401823680_EU/product | https://www.assets.signify.com/is/content/PhilipsLighting/fp912401483189-pss-en_eg |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | PSU L1500 | WT120C LED34S/840 | ALTERNATE MANUFACTURER PART NUMBER: E3169710 | ENRICHED | MRO | 39101628 | Light emitting diode led lamp | LAMP | LED | WATTAGE | 36 W | VOLTAGE RATING | 220-240 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | REINFORCEMENT | COLOUR | NEUTRAL WHITE | SIZE | 80 WD X 1515 LG X 76 HT MM | COLOUR TEMPERATURE | 4000 K | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | >80 CRI | TEMPERATURE RATING | -20 TO 40 DEG C | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD | ENEC MARK, CE, ROHS | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (COLOUR RENDERING INDEX) Editted | 04-05-2023 | 2023-05-04 |  | 558477 | 558477 | FR41-5409260 | AMPOULE SPOT LED BULB 230V DT 9/60W E27 | PHILIPS : 707111 |  |  | AMPOULE SPOT LED BULB 230V DT 9/60W E27 MAS LED BULB DT 9-60W E27 927-922 A60 FR - PHILIPS : 707111 PHILIPS : 707111 REXEL : PHI707111 - PRIX AVEC TAXE D3ERML54E INCLUSE ( EN REMPLACEMENT DU PHILIPS 251951 AMPOULE SPOT 230V 60W E27 OBSOLETE ) | [12 empty] | https://damrexelprod.blob.core.windows.net/medias/687ce73d-d732-4ca9-8048-3e9ce7387817 |  |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | 927-922 | 927-922 | ALTERNATE MANUFACTURER PART NUMBER:707111;SUPPLIER NUMBER:REXEL | ENRICHED | MRO | 39101628 | Light emitting diode led lamp | LAMP | LED | WATTAGE | 9-60 W | VOLTAGE RATING | 230 V | BASE TYPE | E27 | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | SPOT | COLOUR | WARM WHITE | SIZE | 60 DIA X 110 LG MM | COLOUR TEMPERATURE | 2200-2700 K | LAMP LIFE | 25000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 90-99 CRI | TEMPERATURE RATING | 85 DEG C | DIMMABLE | YES | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (TYPE) Deleted | 04-05-2023 | 2023-05-04 |  | 19544 | 19544 | 8308-52228150 | LUMINARIA HERM LED ATCW0632XTLD PHILIPS |  |  | LUMINARIA HERMETICA LED; LINHA: FABRICA; EQUIPAMENTO: FABRICA; APLICACAO: ILUMINACAO; MODELO: ABS CZ PC 32/54W; FABRICANTE: PHILIPS; REFERENCIA: TCW0632XTLD/TL5/LED | LUMINARIA HERMETICA LED; LINHA: FABRICA; EQUIPAMENTO: FABRICA; APLICACAO: ILUMINACAO; MODELO: ABS CZ PC 32/54W; FABRICANTE: PHILIPS; REFERENCIA: TCW0632XTLD/TL5/LED | [12 empty] | https://www.lighting.philips.com.br/prof/luminarias-interiores-/luminarias-hermeticas/linha-waterproof-luminarias-hermeticas/essential-waterproof/919053055552_EU/product |  |  | PHILIPS | OPM | 919053055552 | TCW063 2XTL-D/TL5/LED |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 32/54 W | VOLTAGE RATING | NOT AVAILABLE | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | T5 | TYPE |  | COLOUR | GRAY | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOUSER: IP65 | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (COLOUR RENDERING INDEX) Editted, Attribute Value (TYPE) Deleted | 04-05-2023 | 2023-05-04 |  | 19545 | 19545 | 8308-52228151 | LAMPADA LED T8 G13 6500K 18W PHILIPS |  |  | "LAMPADA LED; LINHA: FABRICA; EQUIPAMENTO: FABRICA; APLICACAO: ILUMINACAO; MODELO: T8 G13 6500K; TIPO: BIVOLT; POTENCIA: 18W; FABRIC ANTE: PHILIPS; REFERENCIA: LETUB18W1.2MVF " | "LAMPADA LED; LINHA: FABRICA; EQUIPAMENTO: FABRICA; APLICACAO: ILUMINACAO; MODELO: T8 G13 6500K; TIPO: BIVOLT; POTENCIA: 18W; FABRIC ANTE: PHILIPS; REFERENCIA: LETUB18W1.2MVF " | [12 empty] | https://www.dimensional.com.br/lampada-led-t8-g13-6500k-biv-18w-letub18whlmvf-philips/p |  |  | PHILIPS | OPM | 929002000172 | LETUB18WHLMVF |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 18 W | VOLTAGE RATING | 100-240 V | BASE TYPE | G13 | SHAPE DESIGNATION | T8 | TYPE |  | COLOUR | COLOR DAYLIGHT | SIZE | 25.6 DIA X 1213.6 LG MM | COLOUR TEMPERATURE | 6500 K | LAMP LIFE | 25000 HR | ANSI CODE |  | WAVELENGTH | 2100 LM | COLOUR RENDERING INDEX | 80 CRI | TEMPERATURE RATING | -20 TO 65 DEG C | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | CURRENT RATING: 160 mA, FREQUENCY: 50/60 HZ | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (COLOUR RENDERING INDEX) Editted, Attribute Value (COLOUR) Deleted, Attribute Value (COLOUR) Filled, Attribute Value (TYPE) Deleted | 04-05-2023 | 2023-05-04 |  | 614869 | 614869 | ID02-5014273 | PHILIPS MASTER LEDTUBE IS1200MM19W865 T8 | GP-2000-J20R-B-YSLT-025 | PHILIPS | [14 empty] | https://www.novelenergylighting.com/media/uploads/MASTERLEDtube-GA110-1200mm-19W-865C.pdf |  |  | PHILIPS | OPM | 871829123858400 | MASTER LEDTUBE GA110 1200MM 19W 865 C |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 19 W | VOLTAGE RATING | 100-240 V | BASE TYPE | G13 | SHAPE DESIGNATION | T8 | TYPE |  | COLOUR | NEUTRAL LIGHT | SIZE | 28 DIA X 1200 LG MM | COLOUR TEMPERATURE | 6500 K | LAMP LIFE | 40000 HR | ANSI CODE |  | WAVELENGTH | 1650 LM | COLOUR RENDERING INDEX | 83 CRI | TEMPERATURE RATING | -40 TO 62 DEG C | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [27 empty] | part number updated based on url source | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (COLOUR RENDERING INDEX) Editted, Attribute Value (TYPE) Deleted | 04-05-2023 | 2023-05-04 |  | 68381 | 68381 | 8321-52039965 | LAMPARA/14W 2PIN/230805-004/PHILIPS | [16 empty] | https://www.usa.lighting.philips.com/prof/conventional-lamps-and-tubes/fluorescent-lamps-and-starters/tl5/t5-standard/927990484022_NA/product |  |  | PHILIPS | OPM | 230805 | F14T5/841/ALTO 40PK |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 14 W | VOLTAGE RATING |  | BASE TYPE | G5 | SHAPE DESIGNATION | T5 | TYPE |  | COLOUR | COOL WHITE | SIZE | 11/16 DIA X 22-3/16 LG IN | COLOUR TEMPERATURE | 4100 K | LAMP LIFE | 24000 HR | ANSI CODE |  | WAVELENGTH | 1350 LM | COLOUR RENDERING INDEX | 80-85 CRI | TEMPERATURE RATING | 95 DEG F | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING: 0.165 A | [27 empty] | Production Completed