## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 | PV- On Hold | 653910 | 653910 | IN05-ED023290 | M T,IND 560,LOADCELL INDICATO,110/220VA | 56H100000000H00 | METTLER TOLEDO | [9 empty] | OEM | METTLER TOLEDO | 56H100000000H00 | Desc: Weighing Terminal IND560, INDICATOR, 110/220VA | YES | https://www.mt.com/in/en/home/phased_out_products/Industrial_Weighing_Solutions/Terminals-and-Controllers/terminals-bench-floor-scales/advanced-bench-floor-applications/IND560/IND560.html |  |  | METTLER TOLEDO | OPM | IND560 | IND560 | ALTERNATE PART NUMBER: 56H100000000H00, 7000244 | CLEANSED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT TERMINAL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | NOT AVAILABLE | SIZE | NOT AVAILABLE | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, CULUS, TICK | ADDITIONAL FEATURES | ELECTRICAL RATING: 100-240 VAC, 50/60 Hz, 0.75 A, LOAD CELL | [38 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 | PV- On Hold | 506909 | 506909 | ES36-5319096 | INDICADOR FEMA RD30S-6+CONECTOR+CAPOTA |  |  |  | Corresponde a su Oferta C7205 INCLUYE: .- FEMRD30S-6 .. INDICADOR FEMA RD30S-6 (BCD) 3 DIGITOS + SIGN NEGATIVO 15/30VDC .- HAR09672375604 .. CONECTOR CANON MACHO SOLDAR 37 PIN .- HAR09670370443 .. CAPOTA SALIDA VERTICAL METALIZADA 37 PIN | [7 empty] | OPM | FEMA | RD30S-6 | SEE THE PICTURE |  | https://brj.dk/wp-content/uploads/2013/09/RD-data-sheet-english.pdf | https://fema.es/producto/detalle.php?id=1016&tipo=referencia |  | FEMA | OPM | RD30S-6 | RD30S-6 | OFFER: C7205 | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | PANEL | MEASURING RANGE | -999 TO 999 | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | 7 SEGMENT DIGITAL | SIZE | 96 WD X 48 LG X 102 HT MM | MATERIAL |  | TEMPERATURE RATING | 0-50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | W/FEMRD30S-6, FEMA RD30S-6 INDICATOR (BCD) 3 DIGITS, NEGATIVE SIGN 15/30 VDC, HAR09672375604 37 PIN SOLDER MALE CANON CONNECTOR, HAR09670370443 METALLIC CANOPY OUTLET 37 PIN | [38 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 18601 | 18601 | 8308-52224275 | MONITOR MICROSWITCHES VALVULA SED HAAS |  |  | MONITOR; TIPO: 024.85 C/02; MODELO: MICROSWITCHES SPDT; REFERENCIA: C/02 SPDT; EQUIPAMENTO: FORNO WAFFER; LINHA: COZINHA WAFFER E FORNOS | MONITOR; TIPO: 024.85 C/02; MODELO: MICROSWITCHES SPDT; REFERENCIA: C/02 SPDT; EQUIPAMENTO: FORNO WAFFER; LINHA: COZINHA WAFFER E FORNOS | [12 empty] | https://www.romynox.nl/images/stories/virtuemart/product/pdfs/SED_electrical_position_indicator_024_85.pdf | https://www.romynox.nl/en/pharma-en/diaphragm-valves/accessories-sed/electrical-position-indicator-024-85-detail |  | SED | OPM | TYPE 024.85 | TYPE 024.85 | REFERENCE: C/02 SPDT, ALTERNATE MANUFACTURER: HAAS | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | POSITION | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | NOT AVAILABLE | SIZE |  | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60529,/61058-1 | ADDITIONAL FEATURES | VALVE, MICROSWITCHES, SPDT, LINE: WAFFER KITCHEN AND OVENS | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 245911 | 245911 | 8380-50493649 | IND,VLV POS,9613418101,ALFA LAVAL | 9613418101 | Alfa Laval | INDICATOR,VALVE POSITION,DETAILS:ALFA LAVAL,MANUFACTURER:ALFA LAVAL,MFR PART NUMBER:9613418101 |  | BDI | ALFH 9613418101 | Alfa Laval | 9613418101 | IND,VLV POS,9613418101,ALFA LAVAL | [7 empty] | https://www.alfalaval.com/globalassets/documents/products/fluid-handling/automation/indication/inditop/alfa-laval-inditop-product-leaflet-ese00182en.pdf |  |  | ALFA LAVAL | OPM | 9613418101 | 9613418101 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | INDITOP | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | NOT AVAILABLE | SIZE | 87 WD X 150.5 LG MM | MATERIAL | STAINLESS STEEL, BRASS | TEMPERATURE RATING | -20 TO 85 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, CULUS | ADDITIONAL FEATURES | CABLE LENTH: 5M, ELECTRICAL RATING: 8-30 VDC, OUTPUT: 45 mA, ENCLOSURE: IP66/67, STROKE LENGTH: 0.1-80 MM | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 475428 | 475428 | EG02-5598502 | LAUMAS WEIGHT INDICATOR JOLLYW100ANA | [16 empty] | https://www.laumas.com/en/product/w100-weight-indicator/ | https://www.laumas.com/include/downloadfile.php?iDF=409 |  | LAUMAS | OPM | W100 | W100 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT | MEASURING RANGE | +/-39 MV | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | LED | SIZE | 130 WD X 96 LG X 48 DP MM | MATERIAL |  | TEMPERATURE RATING | -30 TO 80 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, EAC, UKCA, OIML, M | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 299652 | 299652 | AT31-5307028 | ELEKTR. STELLUNGSANZEIGE TYP 1062 | 00682264 KOMP-000-2000-G1 ADAPTIONSSET | BURKERT | Nr.00007463 | Nr.00007463 | Rubix | 1247148+1838405 | BURKERT |  |  | 00682264 KOMP-000-2000-G1 ADAPTIONSSET | [6 empty] | https://www.onrion.com/00007463_Obsolete_Replaced_by_00248833-USA_Sales_Price-Burkert-1493448-6056 |  |  | BURKERT FLUID CONTROL | OPM | 00007463 | 1062 | REFERENCE NUMBER: 00682264 KOMP-000-2000-G1 | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | POSITION, ELECTRICAL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | NOT AVAILABLE | SIZE | NOT AVAILABLE | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL RATING: 12-48 V, ADAPTION SET | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 184268 | 184268 | 8353-52232057 | INDICADR/DD50-AN-010-D-C2-F10-SST/ELESA | DD50-AN-010-D-C2-F10-SST | IMPORTACIONES DINAMICAS EUROPEAS SA | [14 empty] | https://www.elesa-ganter.nl/p/dd50-an-0-10-d-c2-f-10-sst/72207/ | https://www.nexengroup.com/nxn/default/products/details/id/802870 |  | ELESA SPA | OPM | DD50-AN-010-D-C2-F10-SST | DD50-AN-010-D-C2-F10-SST | DISTRIBUTOR: IMPORTACIONES DINAMICAS EUROPEAS SA | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | POSITION | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | NOT AVAILABLE | SIZE | 10 IN | MATERIAL | STAINLESS STEEL | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SPEED RATING: 1500 RPM, ENCLOSURE: IP67 | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 309565 | 309565 | AU03-5039043 | INDICATOR,LED UNIT,GREEN,24VDC, | SCHNEIDER,SCXVBC2B3 |  | SCHNEIDER,SCXVBC2B3 Green LED Unit | [13 empty] | https://www.se.com/ww/en/product/XVBC2B3/indicator-bank-harmony-xvb-illuminated-unit-plastic-green-70mm-steady-integral-led-24v-ac-dc/ |  |  | SCHNEIDER ELECTRIC | OPM | SCXVBC2B3 | SCXVBC2B3 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | UNIT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | LED | SIZE | NOT AVAILABLE | MATERIAL | POLYCARBONATE | TEMPERATURE RATING | -25 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR: GREEN, ELECTRICAL RATING: 24 VDC | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 648379 | 648379 | IN03-ED058408 | SS FIELD MOUNT I40 DIGI.WEIGHT INDICATOR |  |  | WITH 4-20MA OUTPUT. 230V AC | [13 empty] | https://www.preciamolen.com/product/weighing-indicator-i40/ | https://www.preciamolen.com/wp-content/uploads/2019/05/Download-our-technical-file-i40-EDU.pdf |  | PERCIAMOLEN | OPM | I40-SS | I40-SS |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT, FIELD MOUNT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | LCD | SIZE | 252 X 58 MM | MATERIAL | STAINLESS STEEL 304L | TEMPERATURE RATING | -15 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, EAC, IECEX, OIML, EX ATEX | ADDITIONAL FEATURES | ELECTRICAL RATING: 230 VAC, ENCLOSURE: IP66, OUTPUT: 4-20 mA, NUMBER OF OUTPUTS: 4 ANALOG/2 DIGITAL | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 548652 | 548652 | FR38-5570563 | TT111A INDICATEUR DE POSITION DD51 ELESA |  |  |  | INDICATEUR DE POSITION DD51-AN-001.0-D-C2 ELESA ANCIEN EMPLACEMENT S404 C4741870 P.1466 DU CATALOGUE OUTILLAGE ET MAINTENANCE GENERALE 2016/2017 DD51 INDICATEUR DE POSITION DIGITAL | [12 empty] | https://www.elesa.com/siteassets/PDF/PDF_EN/DD51.pdf | https://www.elesa.com/en/elesab2bstoreoc/Position-indicators--Mechanical-position-indicators--DD51 |  | ELECTRO CARBON SAC | OPM | DD51-AN-001.0-D-C2 | DD51-AN-001.0-D-C2 | ALTERNATE MANUFACTURER: ELAU INC | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | MECHANICAL POSITION | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | DIGITAL | SIZE | 35 WD X 33 LG X 47 HT MM | MATERIAL | POLYAMIDE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 702825 | 702825 | NO32-5128548 | HOLDER FOR INDUKTIVFØLER 25 MM FOR SPJEL |  |  |  |  | Rubix |  | GEMU |  |  | Optical Position Indicator - 88042809 - 1310000z10206918 - Gemu | [6 empty] | https://www.gemu-group.com/en_EN/shop/accessories/gemu-1310-/1310000z10206918/pid-88042809 |  |  | GEMU | OPM | 88042809 | 1310000Z10206918 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | OPTICAL POSITION, BRACKET MOUNT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | NOT AVAILABLE | SIZE | M18 X 1 | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR PROXIMITY INDUCTIVE HOLDER, 25 MM | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 184269 | 184269 | 8353-52232058 | INDICADR/DD50-AN-010-D-C2-F3/8-SST/ELESA | DD50-AN-010-D-C2-F3/8-SST | IMPORTACIONES DINAMICAS EUROPEAS SA | [14 empty] | https://www.elesa-ganter.com/siteassets/PDF/EN/DD50.pdf | https://www.nexengroup.com/nxn/default/products/details/id/802870 |  | ELESA SPA | OPM | DD50-AN-010-D-C2-F10-SST | DD50-AN-010-D-C2-F10-SST | DISTRIBUTOR: IMPORTACIONES DINAMICAS EUROPEAS SA | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | POSITION | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | NOT AVAILABLE | SIZE | 10 IN | MATERIAL | STAINLESS STEEL | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SPEED RATING:1500 RPM;ENCLOSURE:IP67 | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 633309 | 633309 | IN02-ED057751 | MINEBEA INTEC--X2-PROCESS-INDICTR-PR5310 | [16 empty] | http://www.ssmcc.com/upload/products/small/SSMCC-DS-X2-EN.pdf |  |  | MINEBEA INTEC | OPM | PR5310 | PR5310 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | X2 PROCESS | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | LCD | SIZE | 163 WD X 89.5 HT X 113 DP MM | MATERIAL | ALUMINUM | TEMPERATURE RATING | -10 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 633322 | 633322 | IN02-ED057764 | PRECIA MOLEN-WEIGHT INDICATOR-I40 SERIES | [16 empty] | https://www.preciamolen.com/product/weighing-indicator-i40/ | https://www.preciamolen.com/wp-content/uploads/2019/05/Download-our-technical-file-i40-EDU.pdf |  | PERCIAMOLEN | OPM | I40 | I40 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | LCD | SIZE | 252 X 58 MM | MATERIAL | STAINLESS STEEL 304L | TEMPERATURE RATING | -15 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, EAC, IECEX, OIML, EX ATEX | ADDITIONAL FEATURES | ELECTRICAL RATING:9-30 VDC, ENCLOSURE: IP66, OUTPUT: 4-20 mA, NUMBER OF OUTPUTS: 4 ANALOG/2 DIGITAL | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 645511 | 645511 | IN03-ED036318 | CONTROLLER MP30/WP 24VDC, SARTORIUS |  |  | SILO's | [13 empty] | http://store.dynamicscales.com/index.php?main_page=product_info&products_id=298 |  |  | SARTORIUS AG | OPM | MP30/WP | MP30/WP |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | 16 BIT | DISPLAY TYPE | DIGITAL | SIZE | NOT AVAILABLE | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VOLTAGE RATING:24 VDC;FREQUENCY:60 Hz | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 651585 | 651585 | IN04-ED050515 | PRECIA MOLEN I40 INDICATOR 24VDC |  |  | Precia Molen i40 indicator 24vdc | [13 empty] | https://www.preciamolen.com/product/weighing-indicator-i40/ | https://www.preciamolen.com/wp-content/uploads/2019/05/Download-our-technical-file-i40-EDU.pdf |  | PERCIAMOLEN | OPM | I40 | I40 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | LCD, DIGITAL | SIZE | 252 X 58 MM | MATERIAL | STAINLESS STEEL 304L | TEMPERATURE RATING | -15 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, EAC, IECEX, OIML, EX ATEX | ADDITIONAL FEATURES | ELECTRICAL RATING: 24 VDC, ENCLOSURE: IP66, OUTPUT: 4-20 mA, NUMBER OF OUTPUTS: 4 ANALOG/2 DIGITAL | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 656046 | 656046 | IN05-ED045726 | PERCIAMOLEN WEIGHT INDICATOR I40 230 VAC |  |  | High Performance Microprocessor Based Digital Weight Indicator Model i40,Powered by 230 V AC,housed in SS:IP66 enclosure provided with Galvanic isolated 4-20 mA analogue output 4 Nos.digital outputs <(>&<)> 2 Nos. Remote digital inputs | [13 empty] | https://www.preciamolen.com/product/weighing-indicator-i40/ | https://www.preciamolen.com/wp-content/uploads/2019/05/Download-our-technical-file-i40-EDU.pdf |  | PERCIAMOLEN | OPM | I40 | I40 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | LCD, DIGITAL | SIZE | 252 X 58 MM | MATERIAL | STAINLESS STEEL 304L | TEMPERATURE RATING | -15 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, EAC, IECEX, OIML, EX ATEX | ADDITIONAL FEATURES | ELECTRICAL RATING: 230 VAC, ENCLOSURE: IP66 WITH GALVANIC, OUTPUT: 4-20 mA, NUMBER OF INPUTS: 2 DIGITAL, NUMBER OF OUTPUTS: 4 DIGITAL | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 690440 | 690440 | MY43-EM000215 | NUC WEIGHT INDICATOR GS1650 | GS1650 | [15 empty] | https://gedgesystems.com.au/product/gs1650mk3-weights-and-measures-approved-digital-weight-indicator/ | https://www.4dcontrols.com/shop/gedge-systems-gs1650-digital-weight-indicator/ |  | GEDGE SYSTEMS PTY LTD | OPM | GS1650 | GS1650 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION |  | DISPLAY TYPE | LED, DIGITAL | SIZE | NOT AVAILABLE | MATERIAL | STAINLESS STEEL | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | NSC S193A | ADDITIONAL FEATURES | ENCLOSURE: IP65 | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 730223 | 730223 | PL36-5579571 | (0)_INDICATOR_PA12-0020-D | PA12-0020-D |  |  |  | Rubix |  | ELESA |  |  | WSKA?NIK GRAWIT. Z POKR?T?EM MBT.50/GA11-0020-D | [6 empty] | https://www.traceparts.com/en/product/elesa-pa11-pa12-position-indicators-positive-drive-technopolymer-pa120020d?Product=10-03072013-100175&PartNumber=CE.74601 | https://www.biotek.hu/en/categories/operating-and-control-elements/rotary-indicators?fid=1224_pa12&pid=ELE13607_pa12_0020_d | https://www.klee.dk/produkter/greb,-maskin-,-din-normdele/e-g-taellere-og-indikatorer/e-g-indikator-pa11,-pa12/Brd.Klee-Datablad%20PA11,PA12.pdf?file=384487 | ELESA CORPORATION | OPM | CE.74601 | PA12-0020-D |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | POSITIVE DRIVE/POSITION | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | NOT AVAILABLE | SIZE | 67 DIA MM | MATERIAL | POLYAMIDE | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GEAR IS HEAVY | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 315365 | 315365 | AU04-5039536 | ELEC POS IND,DE51-F-F.14-CABLE,CE.99112 | ELESA CE.99112 | [15 empty] | https://elesa-ganter.be/technicaldatasheet/DE51.pdf |  |  | ELESA CORPORATION | OPM | DE51-F-F.14-CABLE/CE.99112 | DE51-F-F.14-CABLE/CE.99112 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | POSITION | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | BACKLIT LCD | SIZE | NOT AVAILABLE | MATERIAL |  | TEMPERATURE RATING | 0-50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INPUT: 24 VDC, +/-20PCT, 30 mA, W/CABLE | [38 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 | PV- On Hold | 649383 | 649383 | IN04-ED023289 | M T , IND320 W ANALOG OUTPUT 30036075 | 30036075 | DIAMOND CHAINS | M T,IND320 W Analog Output Part No:- 30036075 | [8 empty] | OPM | Mettler Toldeo | 30036075 | IND320 W ANALOG OUTPUT | NO | https://www.mt.com/in/en/home/products/Industrial_Weighing_Solutions/Terminals-and-Controllers/terminals-for-oem-system-integrators/IND320-in/IND-320-in.html |  |  | METTLER TOLEDO | OPM | 30036075 | IND320 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | TERMINAL, PANEL MOUNT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | DOT MATRIX OLED | SIZE | 128 X 32 MM | MATERIAL | STAINLESS STEEL 304L | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL | ADDITIONAL FEATURES | ENCLOSURE: IP65, ANOLOG OUTPUT | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 667050 | 667050 | IN07-ED053332 | I40 FIELD INDICATOR SS IP65 ETHERNET IP |  |  | Model i40 Field mount weight indicator in SS IP65w | [13 empty] | https://parmex.com.mx/show_catalogue_pdf/259560/1 |  |  | PRECIA MOLEN GROUP | OPM | I40 | I40 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | FIELD MOUNT WEIGHT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | FSC SEGMENT TECHNOLOGY | SIZE | NOT AVAILABLE | MATERIAL | STAINLESS STEEL 304L | TEMPERATURE RATING | -15 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE: IP66 | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 772314 | 772314 | RU03-5603962 | INDICATOR;650L-R-RR0-01011-1-G F068635 | [16 empty] | https://www.gefran.com/es/download/4891/attachment/en | https://www.galco.com/650l-r-rr0-01011-1-g-gefran.html |  | GEFRAN | OPM | 650L-R-RR0-01011-1-G | 650L-R-RR0-01011-1-G | ALTERNATE PART NUMBER: F068635 | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | NOT AVAILABLE | MEASURING RANGE | NOT AVAILABLE | ACCURACY | +/-0.25 PCT | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | LCD | SIZE | 80 WD X 58 LG X 48 HT MM | MATERIAL |  | TEMPERATURE RATING | -10 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, VDE | ADDITIONAL FEATURES | ELECTRICAL RATING: 100-240 VAC/DC, 50/60 Hz, ENCLOUSER: IP65 | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 394040 | 394040 | BG31-5586526 | INDICATOR RINSTRUM R320-K356-A | R320-K356-A | RINSTRUM | [14 empty] | https://www.rinstrum.com/product/r320-abs-indicators/ | https://rinstrum.com/wp-content/uploads/2018/09/R300-682-117-M02.pdf |  | RINSTRUM | OPM | R320-K356-A | R320-K356-A |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE |  | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | LCD, DIGITAL | SIZE | 164 WD X 77 HT MM | MATERIAL | ABS | TEMPERATURE RATING | -10 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | FCC, CE, C-TICK | ADDITIONAL FEATURES | [39 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 530977 | 530977 | FR34-LFAFFI00000003 | AFFI_XALIS9200U1_INDICATEUR JM CONCEPT | XALIS9200U1 |  |  | Indicateur Uni 3S=Ana+2relais XALIS9200U1 (remplace INDICATEUR UNI 3S=ANA+2 RELAIS-AK-9200-N1 ) | [12 empty] | https://jmconcept.com/en/481-xalis-9200u1-universal-input-indicator-with-1-analog-output-and-2-relays.html |  |  | JM CONCEPT | OPM | XALIS9200U1 | XALIS9200U1 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | UNIVERSAL, FLUSH MOUNT | MEASURING RANGE |  | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | LCD | SIZE | 10.5 WD X 5.5 HT X 11.5 DP CM | MATERIAL |  | TEMPERATURE RATING | -10 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ELECTRICAL RATING: 20-240/80-256 VDC, 50/60 Hz, ENCLOUSER: IP65 | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 69150 | 69150 | 8321-52042947 | CELDA-CARGA\IND780/64063330/METTLER | [16 empty] | https://www.mt.com/in/en/home/products/Industrial_Weighing_Solutions/Terminals-and-Controllers/terminals-bench-floor-scales/advanced-bench-floor-applications/IND780/IND780_.html |  |  | METTLER TOLEDO | OPM | 64063330 | IND780 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | 1000000 DIV | DISPLAY TYPE | BACKLIT LCD GRAPHIC | SIZE | 320 X 220 X 105 MM | MATERIAL | STAINLESS STEEL | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS | CLASS I AND II, DIV 2, A-D, F, G | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 307372 | 307372 | AU02-EA508043 | INDICATOR PANTHER METTLER T #PN:72219535 | METTLER TOLEDO PN:72219535 |  | PN:72219535 Mettler Toledo | [13 empty] | https://prdsccdnstorage.blob.core.windows.net/techdatasheets/72219535-59675-datasheet.pdf?sv=2019-02-02&ss=b&srt=sco&sp=rwdlac&se=2050-02-24T14:36:22Z&st=2020-02-24T06:36:22Z&spr=https&sig=ZYSSzNvPIpdF2duj%2B0Q%2Fxscgj9MvyEATcIdm%2Bn6Urmc%3D |  | https://kipdf.com/mettler-toledo-weighing-solutions_5b35428c097c47716d8b4d99.html | METTLER TOLEDO | OPM | 72219535 | 72219535 | REFERENCE TEXT: PANTHER METTLER T | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | NOT AVAILABLE | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | NOT AVAILABLE | SIZE | NOT AVAILABLE | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [39 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 230179 | 230179 | 8373-52217182 | TERMINAL DE PESAJE IND570 |  |  | TERMINAL DE PESAJE METTLER TOLEDO MONTAJE PANEL, ENTRADA BALANZA ANALOGA INCLUYE INTERFACE SALIDA 20MA MARCA: METTLER TOLEDO MODELO: IND570 USO: BALANZA TOLVAS DE HARINA FUNCION: MUESTRA PESAJE DE LAS CELDAS DE CARGA | [13 empty] | https://www.mt.com/dam/product_organizations/industry/IndustrialTerminals/30205308_R07_MAN_IND570_UG_EN.pdf | https://www.mt.com/int/es/home/products/Industrial_Weighing_Solutions/Terminals-and-Controllers/terminals-bench-floor-scales/advanced-bench-floor-applications/IND570/IND570.html#overviewpm |  | METTLER TOLEDO | OPM | IND570 | IND570 |  | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT TERMINAL, PANEL MOUNT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | DIGITAL | SIZE | 160 WD X 265 LG X 66.5 DP MM | MATERIAL |  | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS | NTEP CLASS II | CERTIFICATION/STANDARD | ATEX, IECEX | ADDITIONAL FEATURES | ELECTRICAL RATING: 85-264 VAC, 49-61 Hz, 750 mA, OUTPUT: 4-20 mA, W/MODULE, PULSE SCALER, FUNCTION: WEIGHING SAMPLE OF LOAD CELLS | [38 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 | PV- On Hold | 247176 | 247176 | 8380-52195883 | MOD,PULSE SCALE,5000.303222,IND570 | 5000.3032 | Zeppelin Industrial Division | MODULE,PULSE SCALER,DETAILS:IND570,MANUFACTURER:ZEPPELIN INDUSTRIAL DIVISION,MFR PART NUMBER:5000.303222 | [8 empty] | OEM | METTLER TOLEDO | IND570 |  | NO | https://www.mt.com/dam/product_organizations/industry/IndustrialTerminals/30205308_R07_MAN_IND570_UG_EN.pdf | https://www.mt.com/int/es/home/products/Industrial_Weighing_Solutions/Terminals-and-Controllers/terminals-bench-floor-scales/advanced-bench-floor-applications/IND570/IND570.html#overviewpm |  | METTLER TOLEDO | OPM | IND570 | IND570 | OEM: ZEPPELIN, OEM PART NUMBER: 5000.303222 | ENRICHED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT TERMINAL, PANEL MOUNT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | DIGITAL | SIZE | 160 WD X 265 LG X 66.5 DP MM | MATERIAL |  | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS | NTEP CLASS II | CERTIFICATION/STANDARD | ATEX, IECEX | ADDITIONAL FEATURES | ELECTRICAL RATING: 85-264 VAC, 49-61 Hz, 750 mA, OUTPUT: 4-20 mA, W/MODULE, PULSE SCALER | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 657281 | 657281 | IN05-ED052881 | METTLER IND331 HARSH ANALOG SCALE CONN | 33H100000000H00 | METTLER TOLEDO | 33H100000000H00 - Indi. IND331 Harsh Analog scale | [13 empty] | https://www.mt.com/dam/product_organizations/industry/Load_Cells/Downloads/Transmitter/ind131-331/manuals/IND131-331_MAN_64067481_08_EN_UG.pdf | https://www.volza.com/p/wts-measure/import/import-in-india/coo-china/ |  | METTLER TOLEDO | OPM | 33H100000000H00 | IND331 HARSH |  | CLEANSED | MRO | 41111900 | Indicating and recording instruments | INDICATOR |  | TYPE | WEIGHT | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | DISPLAY TYPE | ANALOG | SIZE | 220 X 131 X 177 MM | MATERIAL |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CAPACITY: 50 KG | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (VOLTAGE RATING) Editted | 04-05-2023 | 2023-05-05 |  | 755979 | 755979 | RU02-5440812 | INDUCTION LAMP;SO0525-1;100W | [16 empty] | http://ils-lamp.ru/katalog/induktsionnyj-prozhektor-so0525-1 |  |  | iLS induction lamps | OPM | SO0525-1 | SO0525-1 |  | ENRICHED | MRO | 39101620 | Induction lamp | LAMP |  | TYPE | INDUCTION | WATTAGE | 100 W | VOLTAGE RATING | 110/220/277 V | SHAPE DESIGNATION | NOT AVAILABLE | BASE TYPE | NOT AVAILABLE | LAMP LIFE |  | COLOUR |  | SIZE | 430 X 445 X 160 MM | INTENSITY |  | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (TYPE) Editted, Attribute Value (ADDITIONAL FEATURES) Editted | 04-05-2023 | 2023-05-05 |  | 587168 | 587168 | GB38-CB41923169 | LAMP,SAFETY,MSL201-25061A,PT NO-1015671 |  |  | MSL201-25061A SAFETY LIGHT BARRIER PT NO;1015671 | [13 empty] | https://www.sick.com/in/en/mslz01-25061a/p/p9833 |  |  | SICK AG | OPM | 1015671 | MSLZ01-25061A |  | ENRICHED | MRO | 39101600 | Lamps and lightbulbs | LAMP |  | TYPE | MULTIPLE BEAM, SAFETY BARRIER | WATTAGE | <17 W | VOLTAGE RATING | 24 VDC | SHAPE DESIGNATION | NOT AVAILABLE | BASE TYPE | NOT AVAILABLE | LAMP LIFE |  | COLOUR |  | SIZE | 52 X 55 X 842 MM | INTENSITY |  | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE: IP65, WAVE LENGTH: 880 NM | [30 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_NM Changed, Attribute Value (VOLTAGE RATING) Editted, Attribute Value (ADDITIONAL FEATURES) Editted | 04-05-2023 | 2023-05-05 |  | 26165 | 26165 | 8312-50123805 | HORN,855T-B24SA1,AB | 855T-B24SA1 | Allen Bradley | HORN,DETAILS:AB,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:855T-B24SA1 |  | Wesco | No WESCO SKU | Allen Bradley | 855T-B24SA1 | HORN,DETAILS:AB,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:855T-B24SA1 | [7 empty] | https://www.rockwellautomation.com/en-us/products/details.855T-B24SA1.html | https://rexel-cdn.com/products/ab-855t.pdf?i=E32169C0-01C0-4E3E-8741-9A309B23FDB3 | https://www.radwell.co.uk/en-GB/Buy/ALLEN%20BRADLEY/ALLEN%20BRADLEY/855T-B24SA1/?redirect=true | ALLEN BRADLEY | OPM | 855T-B24SA1 | 855T-B24SA1 | ALTERNATE OPM: ROCKWELL AUTOMATION | ENRICHED | MRO | 32151503 | Stack Light | LIGHT |  | TYPE | STACK | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR | BLACK | VOLTAGE RATING | 24 VAC/DC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 12 | ADDITIONAL FEATURES | HORN | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_NM Changed, Attribute Value (VOLTAGE RATING) Editted, Attribute Value (ADDITIONAL FEATURES) Editted | 04-05-2023 | 2023-05-05 |  | 193073 | 193073 | 8364-50123805 | HORN,855T-B24SA1,AB | 855T-B24SA1 | Allen Bradley | HORN,DETAILS:AB,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:855T-B24SA1 | [13 empty] | https://www.rockwellautomation.com/en-us/products/details.855T-B24SA1.html | https://rexel-cdn.com/products/ab-855t.pdf?i=E32169C0-01C0-4E3E-8741-9A309B23FDB3 | https://www.radwell.co.uk/en-GB/Buy/ALLEN%20BRADLEY/ALLEN%20BRADLEY/855T-B24SA1/?redirect=true | ALLEN BRADLEY | OPM | 855T-B24SA1 | 855T-B24SA1 | ALTERNATE OPM: ROCKWELL AUTOMATION, DISTRIBUTOR: WESCO | ENRICHED | MRO | 32151503 | Stack Light | LIGHT |  | TYPE | STACK | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR | BLACK | VOLTAGE RATING | 24 VAC/DC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 12 | ADDITIONAL FEATURES | HORN | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (VOLTAGE RATING) Editted, Attribute Value (ADDITIONAL FEATURES) Editted, Attribute Value (LAMP LIFE) Filled | 04-05-2023 | 2023-05-05 |  | 251057 | 251057 | 8383-52136568 | MODULO SONORO PARA JONES |  |  |  | MODULO SONORO PARA JONES PARTE NÂ° ABB855T-B24SA1 LLEVA 1 POR MAQUINA SOUND MODULE STACKLIGHT 24V AC/DC SINGLE | [12 empty] | https://www.rockwellautomation.com/en-us/products/details.855T-B24SA1.html | https://rexel-cdn.com/products/ab-855t.pdf?i=E32169C0-01C0-4E3E-8741-9A309B23FDB3 | https://www.radwell.co.uk/en-GB/Buy/ALLEN%20BRADLEY/ALLEN%20BRADLEY/855T-B24SA1/?redirect=true | ALLEN BRADLEY | OPM | 855T-B24SA1 | 855T-B24SA1 |  | ENRICHED | MRO | 32151503 | Stack Light | LAMP |  | TYPE | TRANSDUCER | WATTAGE |  | VOLTAGE RATING | 24 VAC/DC | SHAPE DESIGNATION |  | BASE TYPE |  | LAMP LIFE | 20000 HR | COLOUR | BLACK | SIZE |  | INTENSITY |  | COLOUR RENDERING INDEX |  | COLOUR TEMPERATURE |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 12 | ADDITIONAL FEATURES | SOUND MODULE, FOR CONTROL TOWER STACK LIGHT, JONES | [31 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 142609 | 142609 | 8349-50173610 | LAMP,FLOUR,5331-0001,COMPACT,13W,11.5 IN | 5331-0001 | McGill Electrical Product Group | LAMP,FLUORESCENT,TYPE:COMPACT,INPUT_WATT_RATING:13W,LEN:11.5 IN,MANUFACTURER:MCGILL ELECTRICAL PRODUCT GROUP,MFR PART NUMBER:5331-00 |  | Wesco | 3628327070 | McGill Electrical Product Group | 5331-0001 | LAMP,FLUORESCENT,TYPE:COMPACT,INPUT_WATT_RATING:13W,LEN:11.5 IN,MANUFACTURER:MCGILL ELECTRICAL PRODUCT GROUP,MFR PART NUMBER:5331-00 | [7 empty] | https://www.steinerelectric.com/Product/McGill-53310001-5331-0001-Compact-Handy-Work-Light-With-25-ft-Cord13-WCFL-Lamp120-VAC-344829 |  |  | MCGILL MANUFACTURING - REGAL REXNOR | OPM/OEM | 5331-0001 | 5331-0001 |  | ENRICHED | MRO | 39101605 | Fluorescent lamps | LAMP | HAND | WATTAGE | 13 W | LAMP TYPE | FLUORESCENT | VOLTAGE RATING | 120 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | COMPACT | LAMP LIFE | 10000 HR | COLOUR |  | INTENSITY |  | CORD LENGTH | 11-1/2 IN | PLUG CONFIGURATION |  | FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_NM Changed | 04-05-2023 | 2023-05-05 |  | 845871 | 845871 | 8364-50423966 | LIGHT,LOW PRESS SODI,69519 SOX180,240V | 69519 SOX180 | Osram Sylvania Inc | LIGHT,LOW PRESSURE SODIUM,V_RATING:240V,INPUT_WATT_RATING:180W,MANUFACTURER:OSRAM SYLVANIA INC,MFR PART NUMBER:69519 SOX180 | [13 empty] | https://www.atrlighting.com/catalog/documents/HID7_OSI_69519.PDF |  |  | OSRAM SYLVANIA INC | OPM | 69519 - SOX180 | 69519 - SOX180 |  | ENRICHED | MRO | 39101621 | Low Pressure Sodium Lamp Hid | LIGHT | HID | USAGE |  | CURRENT RATING |  | MOUNT |  | FREQUENCY RATING |  | VOLTAGE | 240 V | WATTAGE | 180 W | TYPE | LOW PRESSURE SODIUM | BALLAST TYPE |  | REFRACTOR |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 205282 | 205282 | 8364-50459543 | LAMP,HID,4075-M175U BT28,175W,MOGUL | 4075-M175U BT28 | Philips Electronics | LAMP,HID,INPUT_WATT_RATING:175W,BASE_TYPE:MOGUL,MANUFACTURER:PHILIPS ELECTRONICS,MFR PART NUMBER:4075-M175U BT28 |  | BDI | 24092062 | SYLVANIA | M175/U | M175/U METAL HALIDE LAMP | [7 empty] | https://datasheet.datasheetarchive.com/originals/crawler/encapsulite.com/d48c61980f962d6ae0d012793be57a32.pdf |  |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | 4075-M175U BT28 | 4075-M175U BT28 |  | ENRICHED | MRO | 39101621 | Low pressure sodium lamp HID | LAMP | HID | VOLTAGE RATING | NOT AVAILABLE | OPERATING POSITION | NOT AVAILABLE | SHAPE DESIGNATION | BT28 | WATTAGE | 175 W | BASE TYPE | E39 MOGUL | TYPE |  | LAMP LIFE | 7500 HR | COLOUR | CLEAR | SIZE | 89 DIA X 211 LG MM | INTENSITY |  | COLOUR RENDERING INDEX | 65 CRI | COLOUR TEMPERATURE | 4200 K | FINISH |  | HAZARD CLASS |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Editted | 04-05-2023 | 2023-05-05 |  | 768656 | 768656 | RU03-5511608 | LAMP ARCTIC M LED 1500;1088000020 | [16 empty] | https://www-ltcompany-com.translate.goog/ru/products/types/industrial-luminaires/up-to-5-meters/arctic-opl-eco-led-th/arctic-opl-eco-led-1500-th-5000k/?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | https://e--kc-ru.translate.goog/cena/svetilnik-arctic-opl-eco-led-1500-th-5000k?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  | LIGHTING TECHNOLOGIES | OPM | 1088000020 | ARCTIC M 1500 |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 44 W | VOLTAGE RATING | 230 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE |  | COLOUR | WHITE | SIZE | 96 WD X 1578 LG X 110 HT MM | COLOUR TEMPERATURE | 5000 K | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | >80 CRI | TEMPERATURE RATING | -40 TO 40 DEG C | DIMMABLE |  | HAZARD CLASS | CLASS II | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE: IP65, DIFFUSER MATERIAL: PLASTIC, LAMP BODY MATERIAL: PLASTIC, VIEWING ANGLE: D120 | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 756951 | 756951 | RU02-5509654 | LED LAMP;SSO-220/32-06.2WDO | [16 empty] | https://zao-proton.ru/product/svetilniki-svetodiodnye-serii-sso-1200?shopSku_id=116 | https://www.vseinstrumenti.ru/electrika-i-svet/svetilniki/nastenno-potolochnye/pod-armstrong/proton/dlya-ofisnyh-torgovyh-meditsinskih-i-obschestvennyh-uchrezhdenij-sso-220-32-06-2wdo-sp-96001/ |  | PROTON LLC | DISTRIBUTOR | SSO-220/32-06.2 | SSO-220/32-06.2 |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 32 W | VOLTAGE RATING | 220 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | OFFICE | COLOUR | WHITE | SIZE | 16 WD X 120 LG X 4 HT CM | COLOUR TEMPERATURE | 4000/5000 K | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 80 CRI | TEMPERATURE RATING | -40 TO 40 DEG C | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [27 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_NM Changed, Attribute Value (SIZE) Editted | 04-05-2023 | 2023-05-05 | PV- On Hold | 651600 | 651600 | IN04-ED050872 | HAVELLS IP 65 LIGHT MAGNUM GRAND 40W 4FT |  |  | HAVELLS IP 65 LIGHT MAGNUM GRAND 40W 4ft | [8 empty] | OPM | Havells | 40WLED857SPCLILO | HAVELLS IP 65 LIGHT MAGNUM GRAND 40W 4f |  | https://www.moglix.com/havells-40w-magnum-grand-gold-weather-proof-led-ip66-luminaire-magnumgrandgold40wled857spclilo/mp/msnekpqlvvnw52 |  |  | HAVELLS | OPM | 40WLED857SPCLILO | 40WLED857SPCLILO |  | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | FIXTURE | LIGHT | LAMP WATTAGE | 40 W | VOLTAGE RATING |  | BALLAST TYPE |  | LAMP TYPE |  | SIZE | 4 FT LG | DEGREE OF PROTECTION |  | TYPE | WEATHERPROOF, LUMINAIRE | FREQUENCY RATING |  | NUMBER OF LAMPS |  | LENS |  | CURRENT RATING |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE: IP66, MAGNUM GRAND | [28 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (ADDITIONAL FEATURES) Editted | 04-05-2023 | 2023-05-05 | PV- On Hold | 651285 | 651285 | IN04-ED043400 | LED PL 11WATT SURYA | [11 empty] | OPM | Surya | PL 11WATT |  |  | https://www.moglix.com/surya-11w-2-pin-pl-non-retrofit-lamp/mp/msn2qreqccyg93 |  |  | SURYA | OPM | PL 11WATT | PL 11WATT |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 11 W | VOLTAGE RATING | NOT AVAILABLE | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | NON RETROFIT | COLOUR |  | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION: 2-PIN | [26 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (ADDITIONAL FEATURES) Editted | 04-05-2023 | 2023-05-05 | PV- On Hold | 655778 | 655778 | IN05-ED043400 | LED PL 11WATT SURYA | [11 empty] | OPM | Surya | PL 11WATT |  |  | https://www.moglix.com/surya-11w-2-pin-pl-non-retrofit-lamp/mp/msn2qreqccyg93 |  |  | SURYA | OPM | PL 11WATT | PL 11WATT |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 11 W | VOLTAGE RATING | NOT AVAILABLE | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | NON RETROFIT | COLOUR |  | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION: 2-PIN | [26 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 512996 | 512996 | ES36-5520166 | BARRERA LED BALIZA LEDILA435SSP6-X | ILUMINACION E INDICACION | [15 empty] | https://plc-trade.com/mpn/banner-ledila435ssp6-xq/ |  |  | BANNER ENGINEERING CORP | OPM | LEDILA435SSP6-XQ | LEDILA435SSP6-XQ |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 2685 mW | VOLTAGE RATING | 24 VDC | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | LINEAR ARRAY | COLOUR | IR | SIZE | 60 WD X 474 LG MM | COLOUR TEMPERATURE |  | LAMP LIFE | 20000 HR | ANSI CODE |  | WAVELENGTH | 850 NM | COLOUR RENDERING INDEX |  | TEMPERATURE RATING | 0-50 DEG C | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, CUS, UL | ADDITIONAL FEATURES | [27 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (DIMMABLE) Filled, Attribute Value (TEMPERATURE RATING) Filled, Attribute Value (COLOUR) Filled, Attribute Value (VOLTAGE RATING) Filled | 04-05-2023 | 2023-05-05 |  | 534964 | 534964 | FR35-5519822 | DALLE ADDIS ADD5959W30W840P-SA | ADD5959W30W840P-SA | [15 empty] | https://addislighting.com/nos-gammes-de-produits-led/dalles-led-lazuli/ |  |  | ADDIS LIGHTING | OPM | ADD5959W30W840P-SA | ADD5959W30W840P-SA |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 28 W | VOLTAGE RATING | 110-240 VAC | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | PANEL | COLOUR | WARM WHITE | SIZE | 600 X 600 MM | COLOUR TEMPERATURE | 4000 K | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING | -20 TO 45 DEG C | DIMMABLE | DALI | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (COLOUR RENDERING INDEX) Editted | 04-05-2023 | 2023-05-05 |  | 837922 | 837922 | VN03-EV002591 | LAMP SET LED-SKA HB 100W | [16 empty] | https://vinacec.com/san-pham/den-led-hibay-ska-hb-100w |  |  | SYSKA | OPM | SKA - HB 100W | SKA - HB 100W |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 100 W | VOLTAGE RATING | 220-265 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | HI-BAY | COLOUR | WHITE | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE | 30000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | >80 CRI | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-05 |  | 834083 | 834083 | VN02-EV008330 | BONG DEN LED 1.2M TUBE 20W TU20C3 | TUBE 20W TU20C3; PHILIP | [15 empty] | http://asamled.vn/san-pham/den-led-tube-asamled/den-led-tube-20w-asamled-tu20c3.html |  |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | TU20C3 | TU20C3 |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 20 W | VOLTAGE RATING | 100-240 VAC | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | TUBE | TYPE |  | COLOUR | COLD WHITE | SIZE | 26 DIA X 600 LG MM | COLOUR TEMPERATURE | 6500 K | LAMP LIFE | 30000 HR | ANSI CODE |  | WAVELENGTH | 1.2 M | COLOUR RENDERING INDEX | 80 CRI | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_Attribute Value (COLOUR RENDERING INDEX) Deleted, Attribute Value (DIMMABLE) Filled | 04-05-2023 | 2023-05-05 |  | 792785 | 792785 | SK31-5584182 | ZIARIVKA 15.1W/865 LED ST8AU 1.2M 2500LM | LED ST8AU 1,2M 15,1W/865 2500LM | LEDVANCE | [14 empty] | https://www.any-lamp.com/osram-substitube-led-t8-advanced-em-mains-ultra-output-15-1w-2500lm-865-daylight-120cm-replaces-36w-4058075136335 |  |  | OSRAM GMBH. | OPM | ST8AU-1.2M 15.1W/865 2500LM | ST8AU-1.2M 15.1W/865 2500LM |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 15.1 W | VOLTAGE RATING | 220-240 V | BASE TYPE | G13 | SHAPE DESIGNATION | T8 | TYPE | FLUORESCENT | COLOUR | DAYLIGHT | SIZE | 27 DIA X 1200 LG MM | COLOUR TEMPERATURE | 6500 K | LAMP LIFE | 60000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LUMENS: 2500 LM | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Editted, Attribute Value (DIMMABLE) Filled | 04-05-2023 | 2023-05-05 |  | 770686 | 770686 | RU03-5571423 | LAMP;ARCTIC_OPL_ECOLED;1088000250 | [16 empty] | https://www.ltcompany.com/ru/products/types/industrial-luminaires/up-to-5-meters/arctic-opl-eco-led-th/arctic-opl-eco-led-1500-th-em-5000k/ |  |  | MGK LIGHTING TECHNOLOGIES LLC | OPM/OEM | 1088000250 | 1088000250 |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 44 W | VOLTAGE RATING | 230 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE |  | COLOUR | WHITE | SIZE |  | COLOUR TEMPERATURE | 5000 K | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | >80 CRI | TEMPERATURE RATING | 0-40 DEG C | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (SHAPE DESIGNATION) Filled, Attribute Value (TYPE) Deleted, Attribute Value (COLOUR RENDERING INDEX) Editted | 04-05-2023 | 2023-05-05 |  | 511588 | 511588 | ES36-5437524 | TUBO LED SMD1500-I-60 1500MM | SMD1500-I-60 | [15 empty] | https://webshop.unielektro.de/ABALIGHT-11655-SMD1500-I60-60MM--item-35005568 |  |  | ABALIGHT | OPM | SMD1500-I60 | SMD1500-I60 |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 30 W | VOLTAGE RATING | 230 VDC | BASE TYPE | G13 [ MEDIUM BI-PIN ] | SHAPE DESIGNATION | TUBE | TYPE |  | COLOUR | WHITE | SIZE | 26 DIA X 1500 LG MM | COLOUR TEMPERATURE | 6000 K | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 80-89 CRI | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Editted | 04-05-2023 | 2023-05-05 |  | 768746 | 768746 | RU03-5515588 | LAMP EXPLOSIONPROOF;1631000400 | [16 empty] | https://www.ltcompany.com/ru/products/types/explosionproof/light-fittings/slick-led-ex/slick-prs-led-50-ex-5000k/ |  |  | MGK LIGHTING TECHNOLOGIES LLC | OPM/OEM | 1631000400 | 1631000400 |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 50 W | VOLTAGE RATING | 230 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | EXPLOSION-PROOF | COLOUR | GRAY | SIZE |  | COLOUR TEMPERATURE | 5000 K | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | >80 CRI | TEMPERATURE RATING | -40 TO 55 DEG C | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Editted, Attribute Value (SIZE) Filled, Attribute Value (DIMMABLE) Filled | 04-05-2023 | 2023-05-05 |  | 770685 | 770685 | RU03-5571422 | LAMP;ARCTIC_OPL_ECOLED;1088000150 | [16 empty] | https://www.ltcompany.com/ru/products/types/industrial-luminaires/up-to-5-meters/arctic-opl-eco-led/arctic-opl-eco-led-600-em-5000k-class-i/ |  |  | MGK LIGHTING TECHNOLOGIES LLC | OPM/OEM | 1088000150 | 1088000150 |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 30 W | VOLTAGE RATING | 230 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE |  | COLOUR | WHITE | SIZE | 170 WD X 671 LG X 110 HT MM | COLOUR TEMPERATURE | 5000 K | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | >80 CRI | TEMPERATURE RATING | 0-40 DEG C | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_Attribute Value (COLOUR RENDERING INDEX) Filled | 04-05-2023 | 2023-05-05 |  | 40357 | 40357 | 8312-50490429 | MOD,LED,113065000-00580624,120V | 113065000-00580624 | Waldmann Lighting | MODULE,LED,V_RATING:120V,MANUFACTURER:WALDMANN LIGHTING,MFR PART NUMBER:113065000-00580624 | [13 empty] | https://www.galco.com/113065000-00580624-wadm.html | https://lights4industry.com/products/waldmann-113065000-00580624-mqal-18n-mach-led-plus-seventy-tube-light-22-2-in-100-240v-ac-eco.html | https://waldmannlighting.com/wp-content/uploads/specsheets/113065000-00580624.pdf | WALDMANN LIGHTING | OPM | 113065000-00580624 | 113065000-00580624 |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | 12 W | VOLTAGE RATING | 100/120/220-240 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | LINEAR | COLOUR | NEUTRAL WHITE | SIZE | 565 MM LG | COLOUR TEMPERATURE | 5000 K | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 85 CRI | TEMPERATURE RATING |  | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 72403 | 72403 | 8321-52234818 | LAMPARA-BLACO/800T-N377W/39122221/AB | 800T-N377W | Allen Bradley | [14 empty] | https://literature.rockwellautomation.com/idc/groups/literature/documents/pp/800t-pp007_-en-p.pdf | https://literature.rockwellautomation.com/idc/groups/literature/documents/td/800-td009_-en-p.pdf |  | ALLEN-BRADLEY | OPM | 800T-N377W | 800T-N377W |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | NOT AVAILABLE | VOLTAGE RATING | 6 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | HIGH INTENSITY | COLOUR | WHITE | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING |  | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [28 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_NM Changed | 04-05-2023 | 2023-05-05 |  | 159742 | 159742 | 8352-50101753 | IND,LIGHT LENS,800T-N318R,RED | 800T-N318R | Allen Bradley | INDICATOR,LIGHT LENS,COLOR:RED,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:800T-N318R | [13 empty] | https://www.radwell.co.uk/en-GB/Buy/ALLEN%20BRADLEY/ALLEN%20BRADLEY/800T-N318R/?redirect=true | https://rexel-cdn.com/products/ab800t-n320gpdf.pdf?i=C1EC7092-416A-4228-A510-3B3DA716F6E2 |  | ALLEN-BRADLEY | OPM | 800T-N318R | 800T-N318R |  | ENRICHED | MRO | 39121534 | Indicator or pilot lights | LIGHT | INDICATING | LAMP WATTAGE | 15 W | LENS COLOUR | RED | VOLTAGE RATING | 6 VDC | LAMP BASE |  | TYPE | LED | SIZE | 30 MM | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS, CE, WEEE | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_NM Changed | 04-05-2023 | 2023-05-05 |  | 192580 | 192580 | 8364-50101753 | IND,LIGHT LENS,800T-N318R,RED | 800T-N318R | Allen Bradley | INDICATOR,LIGHT LENS,COLOR:RED,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:800T-N318R | [13 empty] | https://www.radwell.co.uk/en-GB/Buy/ALLEN%20BRADLEY/ALLEN%20BRADLEY/800T-N318R/?redirect=true | https://rexel-cdn.com/products/ab800t-n320gpdf.pdf?i=C1EC7092-416A-4228-A510-3B3DA716F6E2 |  | ALLEN-BRADLEY | OPM | 800T-N318R | 800T-N318R |  | ENRICHED | MRO | 39121534 | Indicator or pilot lights | LIGHT | INDICATING | LAMP WATTAGE | 15 W | LENS COLOUR | RED | VOLTAGE RATING | 6 VDC | LAMP BASE |  | TYPE | LED | SIZE | 30 MM | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS, CE, WEEE | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_NM Changed | 04-05-2023 | 2023-05-05 |  | 620580 | 620580 | IE32-5556690 | LIGHT,RING,RED,HPRING-63010DO,TPL VISON |  |  | *** ATC Automation Ref. #HPRING63010DO *** HIGH POWER RING LIGHT,RED LEDS +/- 10° WHITE DIFFUSER | [13 empty] | https://www.tpl-vision.com/documents/techsheets/TPL_HPRING_TechSheet_EN.pdf | https://www.tpl-vision.com/overview/ring-lights/high-power-hpring/ |  | TPL VISION | OPM | HPRING-63010DO | HPRING-63010DO | ALTERNATE OPM: ATC AUTOMATION | ENRICHED | MRO | 39121534 | Indicator or pilot lights | LIGHT | INDICATING | LAMP WATTAGE | 15 W | LENS COLOUR | RED | VOLTAGE RATING | 24 VDC | LAMP BASE |  | TYPE | RING, LED | SIZE | 30 MM | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS, CE, WEEE | ADDITIONAL FEATURES | ACCURACY: +/-10 DEG, WHITE DIFFUSER | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 757084 | 757084 | RU02-5518234 | LED LAMP;DL1BDB1 BA15D | [16 empty] | https://www.se.com/ww/en/product/DL1BDB1/led-bulb-harmony-xvb-ba-15d-white-steady-light-24v-ac-dc/ | https://download.schneider-electric.com/files?p_enDocType=Catalog&p_File_Name=DIA5ED2130801EN.pdf&p_Doc_Ref=DIA5ED2130801EN | https://www.mouser.in/ProductDetail/Schneider-Electric/DL1BDB1?qs=QCBj0mi9odpqIET6iPJz%2Fw%3D%3D | SCHNEIDER ELECTRIC | OPM | DL1BDB1 | DL1BDB1 |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | NOT AVAILABLE | VOLTAGE RATING | 24 VAC/DC | BASE TYPE | BA15D | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | ILLUMINATED | COLOUR | WHITE | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING | -40 TO 70 DEG C | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS, EU | ADDITIONAL FEATURES | CURRENT RATING: 47 mA, MOUNTING TYPE: PANEL | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 823090 | 823090 | UA01-5461984 | CLUSTER 24? WHITE BA15D, ART. DL1BDB1 | DL1BDB1 | [15 empty] | https://www.se.com/ww/en/product/DL1BDB1/led-bulb-harmony-xvb-ba-15d-white-steady-light-24v-ac-dc/ | https://download.schneider-electric.com/files?p_enDocType=Catalog&p_File_Name=DIA5ED2130801EN.pdf&p_Doc_Ref=DIA5ED2130801EN | https://www.mouser.in/ProductDetail/Schneider-Electric/DL1BDB1?qs=QCBj0mi9odpqIET6iPJz%2Fw%3D%3D | SCHNEIDER ELECTRIC | OPM | DL1BDB1 | DL1BDB1 |  | ENRICHED | MRO | 39101628 | Light Emitting Diode Led Lamp | LAMP | LED | WATTAGE | NOT AVAILABLE | VOLTAGE RATING | 24 VAC/DC | BASE TYPE | BA15D | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | ILLUMINATED | COLOUR | WHITE | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING | -40 TO 70 DEG C | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS, EU | ADDITIONAL FEATURES | CURRENT RATING: 47 mA, MOUNTING TYPE: PANEL, CLUSTER 24 B | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 841816 | 841816 | VN03-EV010458 | MUC IN DATE MARKEM: MM 3520 (30MMX700M) | MM3520 | MARKEM IMAJE | [14 empty] | https://pdfcoffee.com/markem-imaje-3520-ribbon-datasheet-pdf-free.html |  |  | MARKEM IMAJE | OEM | 3520 | 3520 |  | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 30 WD MM X 700 LG M X 4 THK UM | MATERIAL | SYNTHETIC | TYPE | THERMAL TRANSFER | HAZARD CLASS |  | CERTIFICATION/STANDARD | 1935/2004/EC, EC 95/638, REACH | ADDITIONAL FEATURES | [47 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 835097 | 835097 | VN02-EV010458 | MUC IN DATE MARKEM: MM 3520 (30MMX700M) | MM3520 | MARKEM IMAJE | [14 empty] | https://pdfcoffee.com/markem-imaje-3520-ribbon-datasheet-pdf-free.html |  |  | MARKEM IMAJE | OEM | 3520 | 3520 |  | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 30 WD MM X 700 LG M X 4 THK UM | MATERIAL | SYNTHETIC | TYPE | THERMAL TRANSFER | HAZARD CLASS |  | CERTIFICATION/STANDARD | 1935/2004/EC, EC 95/638, REACH | ADDITIONAL FEATURES | [47 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 209457 | 209457 | 8364-51579102 | TAPE,LABEL,786739,BRADY | 786739~BRADY CORP |  | TAPE,LABEL,MFR PART NUMBER:786739,MANUFACTURER:BRADY,DETAILS:4.11X200' BLACK GM R | [13 empty] | https://www.grainger.com/product/BRADY-Label-Printer-Ribbon-Cartridge-3MU42 |  |  | BRADY | OPM | 76739 | 76739 |  | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 4-3/32 WD IN X 200 LG FT | MATERIAL | NOT AVAILABLE | TYPE | LABEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 172957 | 172957 | 8352-52253902 | RIBB,LABEL,14-E55KQ10-830,VJ,10 PER CASE | 14-E55KQ10-830 | Videojet Technologies | RIBBON,LABELER,DETAILS:10 per case,MANUFACTURER:VIDEOJET TECHNOLOGIES,MFR PART NUMBER:14-e55kq10-830 | [13 empty] | https://www.barcodesinc.com/videojet/part-14-e55kq10-830.htm | https://shop.videojet.com/14-e55kq10-830/product/14-E55KQ10-830 |  | VIDEOJET | OPM | 14-E55KQ10-830 | 14-E55KQ10-830 |  | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 55 WD MM X 830 LG M | MATERIAL | NOT AVAILABLE | TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING QUANTITY: 10/CASE | [46 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 149260 | 149260 | 8349-50469582 | RIBB,TRANSF INK,15-P55MWQ10,VIDEO JET | 15-P55MWQ10 | Videojet Technologies | RIBBON,TRANSFER INK,DETAILS:VIDEO JET,MANUFACTURER:VIDEOJET TECHNOLOGIES,MFR PART NUMBER:15-P55MWQ10 | [13 empty] | https://shop.videojet.com/15-p55kq10/product/15-P55KQ10 |  |  | VIDEOJET | OPM | 15-P55MWQ10 | 15-P55MWQ10 |  | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 55 WD MM X 900 LG M | MATERIAL | NOT AVAILABLE | TYPE | THERMAL TRANSFER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING QUANTITY: 10/CASE | [46 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 197297 | 197297 | 8364-50273537 | RIBB,TRANSF INK,15-S55KQ10,55MM X 100MM | 15-S55KQ10 55MM X 1000MM | Videojet Technologies | RIBBON,TRANSFER INK,DETAILS:55MM X 100MM,MANUFACTURER:VIDEOJET TECHNOLOGIES,MFR PART NUMBER:15-S55KQ10 | [13 empty] | http://www.ptasia.biz/download/ptasia_biz/ttr%20spec(videojet).pdf |  |  | VIDEOJET | OPM | 15-S55KQ10 | 15-S55KQ10 |  | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 55 WD MM X 1000 LG MM | MATERIAL | NOT AVAILABLE | TYPE | THERMAL TRANSFER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING QUANTITY: 10/CASE | [46 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 585785 | 585785 | GB38-5549216 | SMARTDATE XTRA (RIBBON GRADE 3520) 35MM |  |  | Part number: 813520011035BK | [13 empty] | http://thethermalprintheadshop.com/813520011035BK | https://www.partspak.eu/product/ppx10x-print-ribbon-35mm-x-1100m-for-markem-mar37-0011307-08 |  | MARKEM IMAJE | OEM | 813520011035BK | SMARTDATE XTRA |  | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 35 WD MM X 1100 LG M | MATERIAL | NOT AVAILABLE | TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GRADE: 3520 | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 | PV- On Hold | 719104 | 719104 | PL33-5422253 | TA?MA_TERMOTRANSFEROWA_110MM | CONSUMABLE | PROMARK SP. Z O.O. | [9 empty] | OPM | MARKEM-IMAJE | 813520060110BK | TTR, 110mm x 600m czarna | YES | https://www.inkribbonpaper.co.uk/store/Markem-SD-X65-813520060110BK-ribbon-110mm-x-600m-24rolls-IIMAK-p144549985 |  |  | MARKEM-IMAJE | OEM | 813520060110BK | 813520060110BK | ALTERNATE DISTRIBUTOR: PROMARK SP. Z O.O | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 110 WD MM X 600 LG M | MATERIAL | RESIN | TYPE | THERMAL TRANSFER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RESISTANCE PROPERTIES: ABRASION, CHEMICAL | [46 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 246591 | 246591 | 8380-52168800 | RIBB,TRANSF INK,813520070055BK,MARKEM | 813520070055BK | Markem Corp | RIBBON,TRANSFER INK,DETAILS:MARKEM,MANUFACTURER:MARKEM CORP,MFR PART NUMBER:813520070055BK | [13 empty] | https://ribbon-shop.ru/ribbon-markem-813520070055bk/ |  |  | MARKEM IMAJE | OEM | 813520070055BK | 813520070055BK |  | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 55 WD MM X 700 LG M | MATERIAL | NOT AVAILABLE | TYPE | TRANSFER INK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 | PV- On Hold | 210471 | 210471 | 8364-52168800 | RIBB,TRANSF INK,813520070055BK,MARKEM | 813520070055BK | Markem Corp | RIBBON,TRANSFER INK,DETAILS:MARKEM,MANUFACTURER:MARKEM CORP,MFR PART NUMBER:813520070055BK | [8 empty] | OEM | Markem.Imaje | 813520070055BK | smartdate xtra ribbon TTR, 55mm x 700 m inside ink | YES | https://ribbon-shop.ru/ribbon-markem-813520070055bk/ |  |  | MARKEM IMAJE | OEM | 813520070055BK | 813520070055BK |  | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 55 WD MM X 700 LG M | MATERIAL | NOT AVAILABLE | TYPE | TRANSFER INK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 | PV- On Hold | 720523 | 720523 | PL33-5577136 |  |  | PROMARK SP. Z O.O. |  | 3520 TA?MA_XTRA_55MMx700M_CZARNA nr kat 3520055700C | [7 empty] | OPM | MARKEM-IMAJE | 813520070055BK | TTR 55MMx700M_CZARNA | YES | https://www.partspak.eu/product/ppx10x-print-ribbon-55mm-x-700m-for-markem-mar37-0011301-us |  |  | MARKEM-IMAJE | OEM | 813520070055BK | 813520070055BK | ALTERNATE DISTRIBUTOR: PROMARK SP. Z O.O. | ENRICHED | NON MRO | 44103112 | Printer Ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 55 WD MM X 700 LG M | MATERIAL | POLYPROPYLENE | TYPE | THERMAL TRANSFER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-05 |  | 391512 | 391512 | BE35-LBH20161 | BRADY M71-R6000 | REXEL: BRY114547 |  | BRADY M71-R6000 BLACK 6000 SERIES TERMAL TRANSFER PRINTER RIBBON FOR BMP71 50.8mm X 46m REXEL: BRY114547 | BRADY M71-R6000 BLACK 6000 SERIES TERMAL TRANSFER PRINTER RIBBON FOR BMP71 50.8mm X 46m REXEL: BRY114547¦¦BRADY M71-R6000 BLACK 6000 SERIES TERMAL TRANSFER PRINTER RIBBON FOR BMP71 50.8mm X 46m REXEL: BRY114547¦¦BRADY M71-R6000 BLACK 6000 SERIES TERMAL | [12 empty] | https://www.bradyindia.co.in/ribbons-cartridges/bmp71-r6000-series-halogen-free-printer-ribbon-pid-m71-r6000 |  |  | BRADY CORPORATION | OPM | M71-R6000 | M71-R6000 |  | ENRICHED | MRO | 44103112 | Printer ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 2 WD IN X 150 LG FT | MATERIAL | NOT AVAILABLE | TYPE | SNAP-IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS, EU | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok_NM Changed | 04-05-2023 | 2023-05-05 |  | 614249 | 614249 | ID01-EI005199 | MARKEM BLACK TFT RIBBON 813520011030BK | 813520011030BK | MARKEM IMAJE | [14 empty] | https://www.partspak.eu/product/ppx10x-print-ribbon-30mm-x-1100m-for-markem-mar37-0011306-08 |  |  | MARKEM IMAJE | OEM | 813520011030BK |  |  | ENRICHED | NON MRO | 44103112 | Printer ribbon | RIBBON | PRINTER | COLOUR | BLACK | SIZE | 30 WD MM X 1100 LG M | MATERIAL | NOT AVAILABLE | TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Cleansed based on OEM items | Production Completed