## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:INVERTER | 04-05-2023 |  | NM BASED ON WEB SOURCE | 705122 | 705122 | NO32-5147087 | FREKVENSOMFORMER MIDIMASTER ECO IP21 |  |  | ECO1-3700/3 Unifiltered 3AC 380-500V +/- 10% 47-63HZ Variable Torque:37 kw.650x275x285 mm(HxWxD) Operating Temperature 0 to + 40 C | [13 empty] | https://cache.industry.siemens.com/dl/files/207/5835207/att_38843/v1/U630-B-Eco.pdf |  |  | SIEMENS | OPM | ECO1-3700/3 | ECO1-3700/3 |  | ENRICHED | MRO | 39121007 | Frequency Converters | INVERTER |  | TYPE | FREQUENCY | INPUT RATING | 380 TO 500 VAC (+/-10 %), 3 PH, 47-63 HZ | OUTPUT RATING | 0 TO 150 HZ | POWER RATING | 37 KW | SIZE | 275 WD X 650 HT X 285 DP MM | NUMBER OF OUTLETS |  | CONNECTION TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 0 TO 40 DEG C | BATTERY BACK-UP TIME |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP21, SERIES:MIDIMASTER ECO | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | URL Changed, Attribute Value (INPUT VOLTAGE) Edited, Attribute Value (INPUT FREQUENCY) Edited, Attribute Value (OUTPUT FREQUENCY RATING) Edited,Attribute Value (TYPE) Deleted, Attribute Value (NOISE LEVEL) Filled, Attribute Value (CERTIFICATION/STANDARD) Edited | 04-05-2023 |  |  | 534881 | 534881 | FR35-5481569 | VARIATEUR G120C 6SL32101KE118UP2 0.55KW | 6SL32101KE118UP2 | [15 empty] | https://mall.industry.siemens.com/spice/docuservice/docuservice?configid=14&docu.mlfb=6SL32101KE118UP2&docu.inittype=MLFB&docu.generationtype=VIEW&docu.viewid=PDF&region=US&language=en&docu.language.locale1=en&docu.language.locale2=en | https://www.omnical.co/products/siemens/6sl32101ke118up2/2416991?locale=US |  | SIEMENS AG | OPM | 6SL32101KE118UP2 | 6SL32101KE118UP2 |  | ENRICHED | MRO | 39121007 | Frequency converters | CONVERTER | FREQUENCY | INPUT VOLTAGE | 380 TO 480 VAC | INPUT FREQUENCY | 47 TO 63 HZ | OUTPUT FREQUENCY RATING | 0 TO 550 HZ | OUTPUT VOLTAGE RATING | 400 VAC | INTERFACE TYPE | PROFIBUS DP | TYPE |  | SIZE | 73 WD X 173 HT X 155 DP MM | ACCURACY | +10/-20 PCT | MOUNTING TYPE |  | NOISE LEVEL | 49 DB | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL, CUL, C-TICK(RCM) | ADDITIONAL FEATURES | POWER RATING:0.55 KW, SERIES:SINAMICS G120C | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | Attribute Value (INPUT VOLTAGE) Edited, Attribute Value (INPUT FREQUENCY) Edited, Attribute Value (OUTPUT FREQUENCY RATING) Edited, Attribute Value (OUTPUT VOLTAGE RATING) Deleted, Attribute Value (ACCURACY) Filled, Attribute Value (ADDITIONAL FEATURES) Edited,Deleted,Added | 04-05-2023 |  |  | 413689 | 413689 | CH31-5835018 | FREQUENZUMRICHTER VLT FC 302 2,2 KW |  |  | Typencode: FC-302P2K2T5E20H1BGXXXXSXXXXAXBXCXXXXDX Vektorgesteuerter Frequenzumrichter Technische Daten Eingang : 3 x 380-500 V, +/- 10 % , 50 - 60 Hz Ausgang : 3 x 0 - 100 % Netzspannung, Ausgangsfrequenz : 0 - 132 Hz Kontinuierlicher Ausgangsstrom : 5,6 | Typencode: FC-302P2K2T5E20H1BGXXXXSXXXXAXBXCXXXXDX Vektorgesteuerter Frequenzumrichter Technische Daten Eingang : 3 x 380-500 V, +/- 10 % , 50 - 60 Hz Ausgang : 3 x 0 - 100 % Netzspannung, Ausgangsfrequenz : 0 - 132 Hz Kontinuierlicher Ausgangsstrom : 5,6 | [12 empty] | https://store.danfoss.com/en/Drives/Low-Voltage-Drives/VLT%C2%AE-AutomationDrive-FC-300/FC-302P2K2T5E20H1BGXXXXSXXXXAXBXCXXXXDX/p/131B0048 | https://www.refrigeration.lt/uploads/Products/product_19724/Danfoss_VLT_AutomationDrive_frequency_inverter_FC-302_brochure.pdf |  | DANFOSS | OPM | 131B0048 | FC-302P2K2T5E20H1BGXXXXSXXXXAXBXCXXXXDX |  | ENRICHED | MRO | 39121007 | Frequency converters | CONVERTER | FREQUENCY | INPUT VOLTAGE | 380 TO 500 VAC (+/-10 %) | INPUT FREQUENCY | 50/60 HZ | OUTPUT FREQUENCY RATING | 0 TO 132 HZ | OUTPUT VOLTAGE RATING |  | INTERFACE TYPE | NOT AVAILABLE | TYPE | VECTOR CONTROLLED | SIZE | 90 WD X 268 HT X 205 DP MM | ACCURACY | +/-10 PCT | MOUNTING TYPE |  | NOISE LEVEL |  | TEMPERATURE RATING | 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING:5.6 A,NO OF PHASE:3,POWER RATING:2.2 KW, Output:0 TO 100 % MAINS VOLTAGE | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | URL Changed, Attribute Value (INPUT VOLTAGE) Edited, Attribute Value (INPUT FREQUENCY) Edited, Attribute Value (OUTPUT FREQUENCY RATING) Edited, Attribute Value (INTERFACE TYPE) Filled, Attribute Value (TYPE) Deleted, Attribute Value (ACCURACY) FILLED, Attribute Value (NOISE LEVEL) Filled, Attribute Value (CERTIFICATION/STANDARD) Edited, Attribute Value (ADDITIONAL FEATURES) Edited | 04-05-2023 |  |  | 302160 | 302160 | AT31-5511443 | 6SL3210-1KE14-3AP2 SINAMICS G120C | 6SL3210-1KE14-3AP2 | SIEMENS | SINAMICS G120C Nennleistung: 1,5kW mit 150% Überlast für 3 Sec. 3AC380- 480V+10/-20% 47-63Hz integrierter Filter Klasse A I/O-Interface: 6DI, 2DO, 1AI, 1AO Safe-Torque-Off integriert Feldbus integriert: PROFIBUS-DP Schutzart IP20/UL Open Typ Größe: FSA 19 | SINAMICS G120C Nennleistung: 1,5kW mit 150% Überlast für 3 Sec. 3AC380- 480V+10/-20% 47-63Hz integrierter Filter Klasse A I/O-Interface: 6DI, 2DO, 1AI, 1AO Safe-Torque-Off integriert Feldbus integriert: PROFIBUS-DP Schutzart IP20/UL Open Typ Größe: FSA 19 | [12 empty] | https://mall.industry.siemens.com/spice/docuservice/docuservice?configid=14&docu.mlfb=6SL3210-1KE14-3AP2&docu.inittype=MLFB&docu.generationtype=VIEW&docu.viewid=PDF&region=SE&language=en&docu.language.locale1=en&docu.language.locale2=en | https://www.omnical.co/products?orderCode=1175987 |  | SIEMENS AG | OPM | 6SL3210-1KE14-3AP2 | 6SL3210-1KE14-3AP2 |  | ENRICHED | MRO | 39121007 | Frequency converters | CONVERTER | FREQUENCY | INPUT VOLTAGE | 380 TO 480 VAC | INPUT FREQUENCY | 47 TO 63 HZ | OUTPUT FREQUENCY RATING | 0 TO 550 HZ | OUTPUT VOLTAGE RATING | 400 VAC | INTERFACE TYPE | PROFIBUS DP | TYPE |  | SIZE | 73 WD X 173 HT X 155 DP MM | ACCURACY | +10/-20 PCT | MOUNTING TYPE |  | NOISE LEVEL | 49 DB | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL, CUL, C-TICK(RCM) | ADDITIONAL FEATURES | ENCLOSURE RATING: IP20, NO OF PHASE:3, POWER RATING:1.5 KW W/150 PCT OVERLOAD FOR 3 SECONDS, SERIES:SINAMICS G120C, I/O INTERFACE:6DI,2DO,1AI,1AO SAFE-TORQUE-OFF INTEGRATED FIELDBUS INTEGRATED, OPEN SIZE:FSA 19, INTEGRATED FILTER CLASS:A | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | URL updated, Attribute Value (INPUT VOLTAGE) Deleted, Attribute Value (INPUT FREQUENCY) Edited, Attribute Value (OUTPUT FREQUENCY RATING) Edited, Attribute Value (TYPE) Deleted, Attribute Value (SIZE) Deleted, Attribute Value (TEMPERATURE RATING) Edited, Attribute Value (CERTIFICATION/STANDARD) Filled, Attribute Value (ADDITIONAL FEATURES) Deleted, Edited | 04-05-2023 |  | Nm based on web source, partially match | 721870 | 721870 | PL34-5606406 | FALOWNIK,FC-280PK55T,DANFOSS | FC-280PK55T | [15 empty] | https://files.danfoss.com/download/Drives/DKDDPB302B502_FC301_302_SG_LR.pdf |  |  | DANFOSS | OPM | FC-280PK55T | FC-280PK55T |  | ENRICHED | MRO | 39121007 | Frequency converters | CONVERTER | FREQUENCY | INPUT VOLTAGE |  | INPUT FREQUENCY | 50/60 HZ | OUTPUT FREQUENCY RATING | 0 TO 500 HZ | OUTPUT VOLTAGE RATING | 0 TO 24 VDC | INTERFACE TYPE | NOT AVAILABLE | TYPE |  | SIZE |  | ACCURACY |  | MOUNTING TYPE |  | NOISE LEVEL |  | TEMPERATURE RATING | 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL, CUL, C-TICK(RCM),EAC, TUV | ADDITIONAL FEATURES | POWER RATING:0.55 KW | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | Attribute Value (INPUT VOLTAGE) Edited, Attribute Value (INPUT FREQUENCY) Edited,Attribute Value (TYPE) Deleted,Attribute Value (SIZE) Deleted, Attribute Value (TEMPERATURE RATING) Edited, Attribute Value (CERTIFICATION/STANDARD) Filled,Attribute Value (ADDITIONAL FEATURES) Deleted | 04-05-2023 |  | partially match | 771717 | 771717 | RU03-5592671 | FREQUENCY;FC301P1K5T4Z20 | [16 empty] | https://files.danfoss.com/download/Drives/DKDDPB302B502_FC301_302_SG_LR.pdf | https://store.danfoss.com/in/en/Drives/Low-Voltage-Drives/VLT%C2%AE-AutomationDrive-FC-300/FC-301P1K5T4Z20H2XXXXXXSXXXXAXBXCXXXXDX/p/131B2669 |  | DANFOSS | OPM | FC-301P1K5T4Z20 | FC-301P1K5T4Z20 |  | ENRICHED | MRO | 39121007 | Frequency converters | CONVERTER | FREQUENCY | INPUT VOLTAGE | 380 TO 480 VAC | INPUT FREQUENCY | 50/60 HZ | OUTPUT FREQUENCY RATING | 0 TO 500 HZ | OUTPUT VOLTAGE RATING | 0 TO 24 VDC | INTERFACE TYPE | NOT AVAILABLE | TYPE |  | SIZE |  | ACCURACY |  | MOUNTING TYPE |  | NOISE LEVEL |  | TEMPERATURE RATING | 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL, CUL, C-TICK(RCM),EAC, TUV | ADDITIONAL FEATURES | POWER RATING:1.5 KW | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | Attribute Value (INPUT VOLTAGE) Edited, Attribute Value (INPUT FREQUENCY) Edited,Attribute Value (TYPE) Deleted,Attribute Value (SIZE) Deleted, Attribute Value (TEMPERATURE RATING) Edited, Attribute Value (CERTIFICATION/STANDARD) Filled,Attribute Value (ADDITIONAL FEATURES) Deleted | 04-05-2023 |  | partially match | 771718 | 771718 | RU03-5592672 | FREQUENCY;FC301PK75T4Z20 | [16 empty] | https://files.danfoss.com/download/Drives/DKDDPB302B502_FC301_302_SG_LR.pdf | https://store.danfoss.com/in/en/Drives/Low-Voltage-Drives/VLT%C2%AE-AutomationDrive-FC-300/FC-301PK75T4Z20H2BNXXXXSXXXXAXBXCXXXXDX/p/131B2697 |  | DANFOSS | OPM | FC-301PK75T4Z20 | FC-301PK75T4Z20 |  | ENRICHED | MRO | 39121007 | Frequency converters | CONVERTER | FREQUENCY | INPUT VOLTAGE | 380 TO 480 VAC | INPUT FREQUENCY | 50/60 HZ | OUTPUT FREQUENCY RATING | 0 TO 500 HZ | OUTPUT VOLTAGE RATING | 0 TO 24 VDC | INTERFACE TYPE | NOT AVAILABLE | TYPE |  | SIZE |  | ACCURACY |  | MOUNTING TYPE |  | NOISE LEVEL |  | TEMPERATURE RATING | 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL, CUL, C-TICK(RCM),EAC, TUV | ADDITIONAL FEATURES | POWER RATING:0.75 KW | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | URL Changed, Attribute Value (INPUT VOLTAGE) Edited, Attribute Value (INPUT FREQUENCY) Edited, Attribute Value (OUTPUT FREQUENCY RATING) Edited, Attribute Value (TYPE) Deleted, Attribute Value (ACCURACY) FILLED, Attribute Value (NOISE LEVEL) Filled, Attribute Value (CERTIFICATION/STANDARD) Edited, Attribute Value (ADDITIONAL FEATURES) Edited | 04-05-2023 |  |  | 394433 | 394433 | BG31-5595799 | 6SL3210-1KE15-8AP2 - SINAMICS G120C | 6SL3210-1KE15-8AP2 - SINAMICS G120C | SIEMENS | [14 empty] | https://mall.industry.siemens.com/spice/docuservice/docuservice?configid=14&docu.mlfb=6SL3210-1KE15-8AP2&docu.inittype=MLFB&docu.generationtype=VIEW&docu.viewid=PDF&region=SE&language=en&docu.language.locale1=en&docu.language.locale2=en | https://www.omnical.co/products?orderCode=2417008 |  | SIEMENS AG | OPM | 6SL3210-1KE15-8AP2 | 6SL3210-1KE15-8AP2 |  | ENRICHED | MRO | 39121007 | Frequency converters | CONVERTER | FREQUENCY | INPUT VOLTAGE | 380 TO 480 VAC | INPUT FREQUENCY | 47 TO 63 HZ | OUTPUT FREQUENCY RATING | 0 TO 550 HZ | OUTPUT VOLTAGE RATING | 400 VAC | INTERFACE TYPE | NOT AVAILABLE | TYPE |  | SIZE | 73 WD X 173 HT X 155 DP MM | ACCURACY | +10/-20 PCT | MOUNTING TYPE |  | NOISE LEVEL | 49 DB | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL, CUL, C-TICK(RCM) | ADDITIONAL FEATURES | POWER RATING:2.2 KW;SERIES:SINAMICS G120C | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | URL Changed, Attribute Value (INPUT VOLTAGE) Edited, Attribute Value (INPUT FREQUENCY) Edited, Attribute Value (OUTPUT FREQUENCY RATING) Edited, Attribute Value (TYPE) Deleted, Attribute Value (ACCURACY) FILLED, Attribute Value (NOISE LEVEL) Filled, Attribute Value (CERTIFICATION/STANDARD) Edited | 04-05-2023 |  |  | 394432 | 394432 | BG31-5595798 | 6SL3210-1KE14-3AP2 - SINAMICS G120C | 6SL3210-1KE14-3AP2 - SINAMICS G120C | SIEMENS | [14 empty] | https://mall.industry.siemens.com/spice/docuservice/docuservice?configid=14&docu.mlfb=6SL3210-1KE14-3AP2&docu.inittype=MLFB&docu.generationtype=VIEW&docu.viewid=PDF&region=SE&language=en&docu.language.locale1=en&docu.language.locale2=en | https://www.omnical.co/products?orderCode=1175987 |  | SIEMENS AG | OPM | 6SL3210-1KE14-3AP2 | 6SL3210-1KE14-3AP2 |  | ENRICHED | MRO | 39121007 | Frequency converters | CONVERTER | FREQUENCY | INPUT VOLTAGE | 380 TO 480 VAC | INPUT FREQUENCY | 47 TO 63 HZ | OUTPUT FREQUENCY RATING | 0 TO 550 HZ | OUTPUT VOLTAGE RATING | 400 VAC | INTERFACE TYPE | NOT AVAILABLE | TYPE |  | SIZE | 73 WD X 173 HT X 155 DP MM | ACCURACY | +10/-20 PCT | MOUNTING TYPE |  | NOISE LEVEL | 49 DB | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL, CUL, C-TICK(RCM) | ADDITIONAL FEATURES | POWER RATING:1.5 KW;SERIES:SINAMICS G120C | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | URL Changed, Attribute Value (INPUT VOLTAGE) Edited, Attribute Value (INPUT FREQUENCY) Edited, Attribute Value (OUTPUT FREQUENCY RATING) Edited, Attribute Value (INTERFACE TYPE) Filled, Attribute Value (TYPE) Deleted, Attribute Value (ACCURACY) FILLED, Attribute Value (NOISE LEVEL) Filled, Attribute Value (CERTIFICATION/STANDARD) Edited, Attribute Value (ADDITIONAL FEATURES) Edited | 04-05-2023 |  |  | 303146 | 303146 | AT31-5575778 | 6SL3210-1KE11-8AF2, G120C NL 0,55KW | 6SL3210-1KE11-8AF2 | SIEMENS | SINAMICS G120C Nennleistung 0,55kW mit 150% Überlast für 3 Sec. 3AC380-480V+10/-20% 47-63Hz integrierter Filter Klasse A I/O-Interface: 6DI, 2DO, 1AI, 1AO Safe-Torque-Off integriert Feldbus integriert: PROFINET-PN Schutzart IP20/UL Open Typ Größe: FSAA 17 | SINAMICS G120C Nennleistung 0,55kW mit 150% Überlast für 3 Sec. 3AC380-480V+10/-20% 47-63Hz integrierter Filter Klasse A I/O-Interface: 6DI, 2DO, 1AI, 1AO Safe-Torque-Off integriert Feldbus integriert: PROFINET-PN Schutzart IP20/UL Open Typ Größe: FSAA 17 | [12 empty] | https://mall.industry.siemens.com/spice/docuservice/docuservice?configid=14&docu.mlfb=6SL3210-1KE11-8AF2&docu.inittype=MLFB&docu.generationtype=VIEW&docu.viewid=PDF&region=WW&language=en&docu.language.locale1=en&docu.language.locale2=en | https://www.omnical.co/products?orderCode=1401070 |  | SIEMENS AG | OPM | 6SL3210-1KE11-8AF2 | 6SL3210-1KE11-8AF2 |  | ENRICHED | MRO | 39121007 | Frequency converters | CONVERTER | FREQUENCY | INPUT VOLTAGE | 380 TO 480 VAC | INPUT FREQUENCY | 47 TO 63 HZ | OUTPUT FREQUENCY RATING | 0 TO 550 HZ | OUTPUT VOLTAGE RATING | 400 VAC | INTERFACE TYPE | PROFINET, ETHERNET/IP | TYPE |  | SIZE | 73 WD X 173 HT X 160 DP MM | ACCURACY | +10/-20 PCT | MOUNTING TYPE |  | NOISE LEVEL | 49 DB | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL, CUL, C-TICK(RCM) | ADDITIONAL FEATURES | ENCLOSURE RATING: IP20, NO OF PHASE:3, POWER RATING:0.55 KW W/150 PCT OVERLOAD FOR 3 SECONDS, SERIES:SINAMICS G120C, I/O INTERFACE:6DI,2DO,1AI,1AO SAFE-TORQUE-OFF INTEGRATED FIELDBUS INTEGRATED, OPEN SIZE:FSAA 17, INTEGRATED FILTER CLASS: A | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | URL Updated, Attribute Value (INPUT VOLTAGE) Edited, Attribute Value (INPUT FREQUENCY) Filled, Attribute Value (OUTPUT FREQUENCY RATING) Filled, Attribute Value (OUTPUT VOLTAGE RATING) filled, Attribute Value (SIZE) Filled, Attribute Value (ACCURACY) Filled, Attribute Value (MOUNTING TYPE) Deleted, Attribute Value (TEMPERATURE RATING) Filled, Attribute Value (CERTIFICATION/STANDARD) Filled,Attribute Value (ADDITIONAL FEATURES) Edited, filled | 04-05-2023 |  |  | 407765 | 407765 | CH31-5257138 | FU VLT FC-280PK75T4E20H2BXCXXXSXXXXAX |  |  | FRANKONI FREQUENZUMFORMER FC-280PK75T4E20H2BXCXXXSXXXXAX NACHFOLGER ZU 178B8578 | FRANKONI FREQUENZUMFORMER FC-280PK75T4E20H2BXCXXXSXXXXAX NACHFOLGER ZU 178B8578¦¦FRANKONI FREQUENZUMFORMER FC-280PK75T4E20H2BXCXXXSXXXXAX NACHFOLGER ZU 178B8578¦¦FRANKONI FREQUENZUMFORMER FC-280PK75T4E20H2BXCXXXSXXXXAX NACHFOLGER ZU 178B8578 | [12 empty] | https://store.danfoss.com/gb/en_GB/Drives/Low-Voltage-Drives/VLT%C2%AE-Midi-Drive-FC-280/FC-280PK75T4E20H2BXCXXXSXXXXAX/p/134U3008 | https://files.danfoss.com/download/Drives/DKDDPB821A902_Midi_FC280_SG_LR.pdf |  | DANFOSS | OPM | 134U3008 | FC-280PK75T4E20H2BXCXXXSXXXXAX |  | ENRICHED | MRO | 39121007 | FREQUENCY CONVERTERS | CONVERTER | FREQUENCY | INPUT VOLTAGE | 380 TO 480 VAC | INPUT FREQUENCY | 50/60 HZ | OUTPUT FREQUENCY RATING | 0 TO 500 HZ | OUTPUT VOLTAGE RATING | 0 TO 24 VDC | INTERFACE TYPE | NOT AVAILABLE | TYPE |  | SIZE | 75 WD X 210 HT X 168 MM DP | ACCURACY | +10/-20 PCT | MOUNTING TYPE |  | NOISE LEVEL |  | TEMPERATURE RATING | 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UL, CUL, C-TICK(RCM),EAC, TUV | ADDITIONAL FEATURES | FRAME:K1, NO DISPLAY, COATED PCB, LATEST RELEASE, SUCCESSOR TO 178B8578 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | UNSPSC Edited, URL Filled, ALTERNATIVE SUPPLIER:OREXAD BRAMMER | 04-05-2023 |  |  | 552402 | 552402 | FR39-5605240 | FILM FUJI MS 270 MM X 10 M | FILM.FUJI.MS/10M | OREXAD BRAMMER | [14 empty] | https://www.althensensors.com/sensors/pressure-sensors/fujifilm-pressure-foils/5505/ms-10m-fujifilm-prescale/ | https://www.althensensors.com/media/23411/fujifilm-measurement-foils-fujifilm-prescale-en.pdf |  | FUJIFILM HOLDINGS CORPORATION | OEM | MS-10M | MS-10M |  | ENRICHED | MRO | 13111201 | Polyethylene films | FILM |  | MATERIAL | PET | COLOUR | RED | SIZE | 270 WD MM X 10 LG M | TYPE | PRESCALE,MONO-SHEET ROLL | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MEASUREMENT RANGE:10 TO 50 MPA, PRECISION:+/-10 PCT, TEMPERATURE RATING:20 TO 35 DEG C | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | UNSPSC Edited | 04-05-2023 |  |  | 685174 | 685174 | MA02-5605591 | FILM ISOLANT KAPTON 300HN 10M*270MM | [16 empty] | https://materials-direct.com/product/dupont-kapton-300hn-0-0762mm/ | https://www.matweb.com/search/datasheettext.aspx?matguid=940ecc931e9f43159c84c4995bc466b1 |  | DUPONT | OPM | 300HN | 300HN | BRAND: KAPTON | ENRICHED | MRO | 13111213 | Polymide films | FILM |  | MATERIAL | POLYIMIDE | COLOUR | NOT AVAILABLE | SIZE | 270 WD MM X 10 LG M X 75 THK UM | TYPE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ASTM | ADDITIONAL FEATURES | ISOLANT | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | UNSPSC Edited | 04-05-2023 |  |  | 793762 | 793762 | SK31-5629051 | PLACHTA ZAKRYVACIA 4X5 M S50 / TARGET | 4X5 M S50 | [15 empty] | https://www-farbkiste-com.translate.goog/product/schuller-target-s50-4x5m-abdeckfolie-ca-50my/?_x_tr_sl=de&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  |  | SCHULLER EH'KLAR GMBH | OPM/OEM | S50 | S50 |  | ENRICHED | MRO | 13111201 | Polyethylene Films | FILM |  | MATERIAL | LOW DENSITY POLYETHYLENE | COLOUR | TRANSPARENT | SIZE | 5 X 4 M | TYPE | COVERING | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TARGET | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | NME:TAPE_ADHESIVE_OK | 04-05-2023 |  |  | 373480 | 373480 | BE33-5297660 | TESA FILM TRANSPARENT 12MMX66M N° 57403 | TESA 57403 |  | TESA FILM TRANSPARENT AUTOCOLLANT 12MMX66M REF TESA: 57403 PC = BOITE DE 12 ROULEAUX | TESA FILM TRANSPARENT AUTOCOLLANT 12MMX66M REF TESA: 57403 PC = BOITE DE 12 ROULEAUX¦¦TESA FILM TRANSPARENT AUTOCOLLANT 12MMX66M REF TESA: 57403 PC = BOITE DE 12 ROULEAUX | [12 empty] | https://www.lasystems.be/en/tesa-57403-66-m-polypropylene-pp-transparent-12-pcs-57403-00002-01?___from_store=nl |  |  | TESA SE | OPM | 57403 | 57403 |  | ENRICHED | MRO | 31201512 | Transparent tape | TAPE | ADHESIVE | WIDTH | 12 MM | LENGTH | 66 M | THICKNESS |  | MATERIAL | POLYPROPYLENE | COLOUR | TRANSPARANT | TYPE | FILM | LEGEND |  | PACKAGE TYPE | 12 PCS PER PACK | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | NME:SCALE_INSTRUMENT_OK | 04-05-2023 |  |  | 512640 | 512640 | ES36-5509405 | FILM THERMOSCALE 200C 5MX270 TEMPERATURA | 798435368000 |  |  |  | Rubix | 798435368000 | NONE | 0 | 0 | FILM THERMOSCALE 200C 5M X 270MM | 0 | [5 empty] | https://www.fujifilm.com/us/en/business/industrial-materials/measurement-film/thermoscale |  |  | FUJIFILM HOLDINGS CORPORATION | OEM | THERMOSCALE 200C | THERMOSCALE 200C | ALTERNATE MANUFACTURER PART NUMBER:798435368000 | ENRICHED | MRO | 41111500 | Weight measuring instruments | SCALE | INSTRUMENT | TYPE | MEASURMENT FILM | SIZE | 200 WD X 270 HT MM | THICKNESS | 0.09 MM | GRADUATION |  | SCALE RANGE | 150 TO 210 DEG C | MATERIAL |  | APPLICATION |  | ADDITIONAL FEATURES | NO OF SHEET:5 | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | UNSPSC Edited | 04-05-2023 |  | COFLICT PART NO MAKT_Material_Description AND Part Description supplier Industrial | 538813 | 538813 | FR36-5426906 | MARQ FILM-FUJI-MS 12M FAC L1 |  |  |  | ACCESSOIRE FILM FUJI MS/12M | Rubix | 6180x-0669597 | FUJIFILM | 0 | 0 | ACCESSOIRE FILM.FUJI.MS/10M | 0 | [5 empty] | https://www.althensensors.com/sensors/pressure-sensors/fujifilm-pressure-foils/5505/ms-10m-fujifilm-prescale/ | https://www.althensensors.com/media/23411/fujifilm-measurement-foils-fujifilm-prescale-en.pdf |  | FUJIFILM HOLDINGS CORPORATION | OEM | MS-10M | MS-10M | ALTERNATIVE PART NUMBER:6180X-0669597, MS 12M FAC L1 | ENRICHED | MRO | 13111201 | Polyethylene films | FILM |  | MATERIAL | PET | COLOUR | RED | SIZE | 270 WD MM X 10 LG M | TYPE | PRESCALE | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRESSURE RATING: 10 TO 50 MPA, TEMPERATURE RATING: 20 TO 35 DEG C | [44 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 620051 | 620051 | IE32-5520840 | HAIRNET,BLUE,WWE00/C51SB,HAIRTITE | WWE00/C51SB | BRAMMER INDUSTRIAL IRELAND LTD |  |  | Rubix | WWE00/C51SB-CASE | NONE | 0 | 0 | PLEASE USE CODE *** WWE00/C51SB-CASE | 0 | [5 empty] | https://export.rsdelivers.com/product/hairtite/wwe00/c51sb/hairtite-blue-disposable-hair-net-for-food-use-net/2198083?changecurrency=USD | https://uk.rs-online.com/web/p/hair-nets/2198083 |  | BRAMMER GMBH | DISTRIBUTOR | WWE00/C51SB | WWE00/C51SB |  | ENRICHED | NON MRO | 53131625 | Hair or beard nets | NET | HAIR | TYPE | DISPOSABLE | SIZE | 554 CM | MATERIAL | POLYPROPYLENE | COLOR | BLUE | ADDITIONAL FEATURES | [51 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 624774 | 624774 | IE32-CB41909985 | HAIRNET,WHITE,1982000,ARCO | 1982000 |  |  |  | Rubix | ST-14700 | NONE | 0 | 0 | SUPERTOUCH 14700 PKT100 MOP CAPS (CASE1000) | 0 | [5 empty] | https://www.arco.co.uk/Web-Taxonomy/Clothing/Disposable-Clothing/Hairnets-%26-Caps/Arco-Essentials-White-Disposable-Mob-Caps-%28Pack-of-2000%29/p/PIM000000000000954 |  |  | ARCO | OPM | 1982000 | 1982000 | DISTRIBUTOR:RUBIX;REFERENCE NUMBER:ST-14700 | ENRICHED | MRO | 53131625 | Hair or beard nets | NET | HAIR | TYPE | DISPOSABLE MOB CAPS | SIZE | 53 LG CM | MATERIAL | POLYPROPYLENE | COLOR | WHITE | ADDITIONAL FEATURES | PACKAGE QUANTITY: 2000 | [51 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | UNSPSC Edited | 04-05-2023 |  | CONFLICT ADDITIONAL FEATURES (PACKAGE QUANTITY | 624962 | 624962 | IE32-CB60013228 | BEARD SNOOD,BLUE,WHBDK/R21SB,HAIRTITE |  |  | 36 PER BOX |  | Rubix | JPC11B | NONE | 0 | 0 | BLUE MESH SNOODS PK OF 25 WBRDK/C21SB | 0 | [5 empty] | https://ie.rs-online.com/web/p/hair-nets/2198081 |  |  | HAIRTITE | OPM | WHBDK/R21SB | WHBDK/R21SB | ALTERNATE MANUFACTURER PART NUMBER:WBRDK/C21SB | ENRICHED | MRO | 53131625 | Hair or beard nets | NET | HAIR | TYPE | DISPOSABLE HAIR | SIZE | NOT AVAILABLE | MATERIAL | POLYPROPYLENE | COLOR | BLUE | ADDITIONAL FEATURES | PACKAGE QUANTITY:36 PER BOX, JPC11B NONE 0 MESH SNOODS 25 PER PACK | [51 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 395062 | 395062 | BG31-5615539 | STANDARD POWER SUPPLY,PULS, QT 40.241, | QT 40.241, | PETAR ELECTRIC | [14 empty] | http://images.100y.com.tw/pdf_file/27-PULS-QT40.241.pdf | https://products.pulspower.com/en/qt40-241.html |  | PULSPOWER | OPM | QT40.241 | QT40.241 | SUPPLIER:PETAR ELECTRIC | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE | STANDARD | INPUT RATING | 380 TO 480 VAC,1.65/1.35 A, 3 PH, 50/60 HZ | OUTPUT VOLTAGE RATING | 24 VDC | OUTPUT CURRENT RATING | 40 A | POWER RATING | 960 W | NUMBER OF OUTPUTS |  | CONNECTION TYPE | SCREW TERMINAL | HAZARD CLASS |  | CERTIFICATION/STANDARD | GL,CE,CUL | ADDITIONAL FEATURES | TEMPERATURE RATING:-25 TO 70 DEG C, DIMENSIONS:110 WD X 124 HT X 127 DP MM, MOUNTING TYPE:DIN RAIL, EFFICIENCY:95.3 %, WEIGHT:1500 G | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 393455 | 393455 | BG31-5576950 | POWER SUPPLY UNIT QT 40.241 | 79778160 | SCHUBERT | [14 empty] | https://products.pulspower.com/en/qt40-241.html |  |  | PULS | OPM | QT40.241 | QT40.241 | ALTERNATE OPM:SCHUBERT, OPM PART NUMBER:79778160 | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE |  | INPUT RATING | 380 TO 480 VAC | OUTPUT VOLTAGE RATING | 24 VDC | OUTPUT CURRENT RATING | 40 A | POWER RATING | 960 W | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR 3 PHASE SYSTEM | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 478273 | 478273 | EG02-EG60010604 | POWER SUPPLY NS 2400 FARNELL | [16 empty] | https://www.farnell.com/datasheets/2724895.pdf |  |  | MEAN WELL ENTERPRISES CO., LTD. | OPM | RSP-2400 | RSP-2400 |  | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE |  | INPUT RATING | 180 TO 264 VAC | OUTPUT VOLTAGE RATING | 24 VDC | OUTPUT CURRENT RATING | 100 A | POWER RATING | 2400 W | NUMBER OF OUTPUTS |  | CONNECTION TYPE | SCREW TERMINAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 539602 | 539602 | FR36-LFALIM6274 | ALIM. B.ET R. NT43 24VDC,50W+DIAG. | STABILISEE-VER |  |  | ALIM. B.ET R. NT43 24VDC,50W+DIAG. POUR RECORD G4 | [12 empty] | http://www.jd-rep.com/bur-engl/ECNT43-1.pdf | http://www.processtechgroup.net/product_392207910461.html | https://www.standard-exchange-industry.com/en/plc/power-supply/257-nt43-ecnt43-0-power-supply-module-br.html | B&R INDUSTRIAL AUTOMATION | OPM | NT43 | NT43 |  | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE | SWITCHING | INPUT RATING | 24 VDC,7 A | OUTPUT VOLTAGE RATING | 8 V,15 V,30 V | OUTPUT CURRENT RATING |  | POWER RATING | 100/50 W | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 790747 | 790747 | SE33-5406389 | SINAMICS G120 POWER MODULE PM240 SIEMENS | [16 empty] | https://cache.industry.siemens.com/dl/files/501/109738501/att_885881/v1/G120_PM240_hw_inst_man_0716_en-US.pdf |  |  | SIEMENS AG | OPM | PM240 | PM240 |  | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE |  | INPUT RATING | 380 TO 480 VAC | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | POWER RATING |  | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | TEMPERATURE RATING:60/70 DEG C, FOR G120 INVERTER | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 790748 | 790748 | SE33-5406390 | SINAMICS G120 POWER MODULE PM240 SIEMENS | [16 empty] | https://cache.industry.siemens.com/dl/files/501/109738501/att_885881/v1/G120_PM240_hw_inst_man_0716_en-US.pdf |  |  | SIEMENS AG | OPM | PM240 | PM240 |  | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE |  | INPUT RATING | 380 TO 480 VAC | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | POWER RATING |  | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | TEMPERATURE RATING:60/70 DEG C, FOR G120 INVERTER | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 790749 | 790749 | SE33-5406391 | SINAMICS G120 POWER MODULE PM240 SIEMENS | [16 empty] | https://cache.industry.siemens.com/dl/files/501/109738501/att_885881/v1/G120_PM240_hw_inst_man_0716_en-US.pdf |  |  | SIEMENS AG | OPM | PM240 | PM240 |  | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE |  | INPUT RATING | 380 TO 480 VAC | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | POWER RATING |  | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | TEMPERATURE RATING:60/70 DEG C, FOR G120 INVERTER | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 790750 | 790750 | SE33-5406392 | SINAMICS G120 POWER MODULE PM240 SIEMENS | [16 empty] | https://cache.industry.siemens.com/dl/files/501/109738501/att_885881/v1/G120_PM240_hw_inst_man_0716_en-US.pdf |  |  | SIEMENS AG | OPM | PM240 | PM240 |  | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE |  | INPUT RATING | 380 TO 480 VAC | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | POWER RATING |  | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | TEMPERATURE RATING:60/70 DEG C, FOR G120 INVERTER | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 790751 | 790751 | SE33-5406393 | SINAMICS G120 POWER MODULE PM240 SIEMENS | [16 empty] | https://cache.industry.siemens.com/dl/files/501/109738501/att_885881/v1/G120_PM240_hw_inst_man_0716_en-US.pdf |  |  | SIEMENS AG | OPM | PM240 | PM240 |  | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE |  | INPUT RATING | 380 TO 480 VAC | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | POWER RATING |  | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | TEMPERATURE RATING:60/70 DEG C, FOR G120 INVERTER | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 776627 | 776627 | RU07-5456761 | POWER SUPPLY;DSQC_627;(3HAC020466-001) | [16 empty] | https://new.abb.com/products/E3HAC020466-001/e3hac020466-001 |  |  | ABB | OPM | DSQC-627/3HAC020466-001 | DSQC-627/3HAC020466-001 |  | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE |  | INPUT RATING |  | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | POWER RATING |  | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:99 WD X 354.5 LG X 197.5 HT MM | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 273567 | 273567 | 8385-52170940 | FUENTE DE ALIMENTACION GLS12 036 |  |  |  | FUENTE DE ALIMENTACION GLS12-036 MCA.SOLA.- | [12 empty] | https://solahevidutysales.com/pdf/powersupplies/glseries.pdf |  |  | SOLAHD | OPM | GLS12 | GLS12 |  | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE |  | INPUT RATING | 85 TO 264 VAC, 40 HZ | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | POWER RATING | 130 W | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61000-3-2 | ADDITIONAL FEATURES | TEMPERATURE RATING:0 TO 50 DEG C | [40 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 304254 | 304254 | AU02-5017521 | ROBOT CONTROLLER POWER SUPPLY | DSQC539 TYPE SR 92B130 | SELPAK AUTOMATION | [14 empty] | https://new.abb.com/products/3HAC14265-1/3hac14265-1 | https://www.nriparts.com/products/abb-3hac14265-1-ac-to-dc-power-supplies/589816 |  | ABB | OPM | 3HAC14265-1 | DSQC 539 | ALTERNATE MANUFACTURER NAME:SELPAK AUTOMATION PTY LTD,ALTERNATE PART NUMBER:SR 92B130 | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE | ROBOT CONTROLLER | INPUT RATING | 230 VAC | OUTPUT VOLTAGE RATING | 24 VDC | OUTPUT CURRENT RATING | 9 A | POWER RATING |  | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 512471 | 512471 | ES36-5490990 | FUENTE ALIMENT ADEPT R SIG VIEJO L5 | 00217-000 |  |  | FUENTE DE ALIMENTACIÓN ADEPT PARA EL ROBOT SIG VIEJO L5 NOTA SERVITEC: KIT, PWRSUP, RETRO-FIT, MV5/MV10 | [12 empty] | https://www.artisantg.com/TestMeasurement/69053-1/OMRON-Adept-Technology-MV-5-10-Retrofit-350-W-Power-Supply |  |  | OMRON ELECTRONICS | OPM | 00217-000 | 00217-000 | REFERENCE TEXT:ADEPT, SERVITEC NOTE:KIT,PWRSU,RETRO-FIT,MV5/MV10 | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE |  | INPUT RATING | 85 TO 264 VAC,120 TO 300 VDC | OUTPUT VOLTAGE RATING |  | OUTPUT CURRENT RATING |  | POWER RATING | 350 W | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 706014 | 706014 | PH41-5016013 | ELAU PS-5 POWER SUPPLY FOR ISH MOTORS | [16 empty] | https://download.schneider-electric.com/files?p_enDocType=Instruction+sheet&p_File_Name=Operating+Manual_+PacDrive+Power+Supply+PS-5+and+Distribution+Box+DB-5.pdf&p_Doc_Ref=17130115-001&_ga=2.85127001.1563174631.1680515350-1356519714.1677582914 | https://www.se.com/in/en/download/document/17130115-001/ |  | SCHNEIDER ELECTRIC | OPM | PS-5 | PS-5 | EQUIPMENT_MODEL:ISH MOTORS | ENRICHED | MRO | 39121004 | Power Supply Units | POWER SUPPLY |  | TYPE | NOT AVAILABLE | INPUT RATING | 3 TO 220 VAC | OUTPUT VOLTAGE RATING | 270 TO 680 VDC | OUTPUT CURRENT RATING | 13 A | POWER RATING | 200 W | NUMBER OF OUTPUTS |  | CONNECTION TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ULUS | ADDITIONAL FEATURES | BRAND:ELAU,IP RATING:IP20 | [40 empty] | MFR NAME CAPTURED BASED ON WEB SOURCE | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 533672 | 533672 | FR34-LFRACK00000003 | RACK_6ES5700-2LA1-_RACK CR 700-2 | 6ES5 700-2LA12 | [15 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES57002LA12 | https://sps-service.eu/media/catalog/product/6/e/6es5_700-2la21_3la12_datasheet_en.pdf |  | SIEMENS AG | OPM | 6ES5700-2LA12 | 6ES5700-2LA12 | PROGRAMMABLE AUTOMATE CASE NUMBER:TO19060048;QUOTE NUMBER:DTO19060052 | ENRICHED | MRO | 24102004 | Storage racks or shelves | RACK |  | SIZE | 483 WD X 303 HT X 47 DP MM | MATERIAL | NOT AVAILABLE | TYPE | MOUNTING | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | SERIES:CR 700-2 | [49 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 531604 | 531604 | FR34-LFCART00000134 | CART_6ES74001JA01_CHASSIS UR2 - 9 PLACES | 6ES7-400-1JA01-0AA0 |  |  | CARTE S7-CHASSIS UR2 - 9 EMPLACEMENTS6ES7-400-1JA01-0AA0SUIVANT MAIL DU 3/10/06 | [12 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7400-1JA01-0AA0 | https://docs.rs-online.com/bee8/A700000008040301.pdf |  | SIEMENS AG | OPM | 6ES7400-1JA01-0AA0 | 6ES7400-1JA01-0AA0 |  | ENRICHED | MRO | 24102004 | Storage racks or shelves | RACK |  | SIZE | 257.5 WD X 290 HT X 27.5 DP MM | MATERIAL | NOT AVAILABLE | TYPE | PLC, 9 SLOT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL,FM,RCM,KC,EAC | ADDITIONAL FEATURES | TEMPERATURE RATING:0 TO 60 DEG C | [49 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 512491 | 512491 | ES36-5492846 | BASTIDOR UR1 S7-400 6ES7400-1TA01-0AA0 | 6ES7400-1TA01-0AA0 | [15 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7400-1TA01-0AA0 | https://docs.rs-online.com/6608/A700000008039879.pdf |  | SIEMENS AG | OPM | 6ES7400-1TA01-0AA0 | 6ES7400-1TA01-0AA0 |  | ENRICHED | MRO | 24102004 | Storage racks or shelves | RACK |  | SIZE | 482.5 WD X 290 HT X 27.5 DP MM | MATERIAL | NOT AVAILABLE | TYPE | PLC, 18 SLOT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL,FM,RCM,KC,EAC | ADDITIONAL FEATURES | TEMPERATURE RATING:0 TO 60 DEG C | [49 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 413692 | 413692 | CH31-5835023 | BAUGRUPPENTRAEGER 18 STECKPLAETZE | 6ES7400-1TA01-0AA0 | SIEMENS | [14 empty] | https://mall.industry.siemens.com/mall/en/ww/Catalog/Product/6ES7400-1TA01-0AA0 | https://docs.rs-online.com/6608/A700000008039879.pdf |  | SIEMENS AG | OPM | 6ES7400-1TA01-0AA0 | 6ES7400-1TA01-0AA0 |  | ENRICHED | MRO | 24102004 | Storage racks or shelves | RACK |  | SIZE | 482.5 WD X 290 HT X 27.5 DP MM | MATERIAL | NOT AVAILABLE | TYPE | PLC, 18 SLOT | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL,FM,RCM,KC,EAC | ADDITIONAL FEATURES | TEMPERATURE RATING:0 TO 60 DEG C | [49 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 513314 | 513314 | ES36-5541673 | BASTIDOR DE AMPLIACION EG 184U PLC GI | 01.02.02 |  |  | Aparato de ampliación EG 184U 21 slots, sin alimentación, con ventilador 115/230Vac, sin manual. | [12 empty] | https://support.industry.siemens.com/cs/products/6es5988-3la11/fan-draw-out-unit-f-eg184u-ac-240-115v?pid=364882&mlfb=6ES5988-3LA11&mfn=ps&lc=en-WW | https://support.industry.siemens.com/forum/WW/en/posts/im463-2-and-s5-analog-module/13555 | https://www.all4sps.com/SIEMENS-SIMATIC-S5-EXPANSION-UNIT-EG-184U-6ES5184-3UA12 | SIEMENS AG | OPM | EG 184U | EG 184U |  | ENRICHED | MRO | 24102000 | Shelving And Storage | RACK |  | SIZE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | TYPE | EXPANSION/21 SLOT, PLC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | W/O POWER SUPPLY,W/ 115/230 VAC FAN | [49 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 558626 | 558626 | FR41-5454333 | RACK AUTOMATE APRIL PSU2100 - RAK2180 | APRIL : PSU2100 - RAK2180 |  |  | RACK STANDART APRIL PSU2100 - RAK2180 REPARATION AUTOMATE PROGRAMMABLE APRIL TYPE PSU2100 RAK2180 AFFAIRE N° TO19060048 DEVIS N° DTO19060052 DU 07/06/2019 §§§§ PRIX AVEC FRAIS DE PORT <(>&<)> EMBALLAGE COMPRIS §§§§ | [12 empty] | https://www.se.com/fr/fr/product/RAK2180/produit-pour-td/ | https://www.radwell.co.uk/en-GB/Buy/SCHNEIDER%20ELECTRIC/APRIL/RAK2180/?redirect=true | https://www.plswiss.com/en/2419-april-rak2180.html | SCHNEIDER ELECTRIC | OPM | PSU2100-RAK2180 | PSU2100-RAK2180 | PROGRAMMABLE AUTOMATE CASE NUMBER:TO19060048;QUOTE NUMBER:DTO19060052 | ENRICHED | MRO | 24102004 | Storage racks or shelves | RACK |  | SIZE | 19 IN | MATERIAL | NOT AVAILABLE | TYPE | 9 SLOT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 533675 | 533675 | FR34-LFRACK00000007 | RACK_6ES51883UA12_RACK FOND PANIER_REE | 6ES5 188-3UA12 |  |  | 135V/155V | [12 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6ES51883UA12 | https://www.turtle.com/3318415/Product/siemens-6es51883ua12 |  | SIEMENS | OPM | 6ES51883UA12 | 6ES51883UA12 |  | ENRICHED | MRO | 24102000 | Shelving And Storage | RACK |  | SIZE | 440 HT MM | MATERIAL | NOT AVAILABLE | TYPE | BASKET BACK,CENTRAL, 21 SLOT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VOLTAGE RATING: 115/230 VAC, CURRENT RATING:18 A | [48 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | Manufacturer Edited,Attribute Value (SIZE) Filled | 04-05-2023 |  |  | 55426 | 55426 | 8317-50416882 | SHIM,56163635,0.05 MM | 56163635 | Bosch Packaging Technologies | SHIM,THICKNESS:0.05 MM,MANUFACTURER:BOSCH PACKAGING TECHNOLOGIES,MFR PART NUMBER:56163635 | [13 empty] | https://etl-company.ru/32-tovary/26-uplotneniya/19821-56163635-knife-shim-2-8-0-05x90---prokladka-nozha-2-8-0-05x90 |  |  | BOSCH PACKAGING TECHNOLOGIES,MFR PART NUMBER:56163638 | OPM/OEM | 56163635 | 56163635 |  | ENRICHED | MRO | 31162815 | SHIM | SHIM |  | TYPE | KNIFE,BLADE SPACER | MATERIAL | NOT AVAILABLE | SIZE | 2.8 WD X 90 LG X 0.05 THK MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | Part Number Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | Manufacturer Edited,Attribute Value (SIZE) Filled | 04-05-2023 |  |  | 55423 | 55423 | 8317-50416879 | SHIM,56163636,0.1 MM | 56163636 | Bosch Packaging Technologies | SHIM,THICKNESS:0.1 MM,MANUFACTURER:BOSCH PACKAGING TECHNOLOGIES,MFR PART NUMBER:56163636 | [13 empty] | https://etl-company.ru/32-tovary/26-uplotneniya/19822-56163636-knife-shim-2-8-0-1x90---prokladka-nozha-2-8-0-1x90 |  |  | BOSCH PACKAGING TECHNOLOGIES,MFR PART NUMBER:56163638 | OPM/OEM | 56163636 | 56163636 |  | ENRICHED | MRO | 31162815 | SHIM | SHIM |  | TYPE | KNIFE | MATERIAL | NOT AVAILABLE | SIZE | 2.8 WD X 90 LG X 0.1 THK MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | Part Number Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | Manufacturer Edited,Attribute Value (SIZE) Filled | 04-05-2023 |  |  | 55425 | 55425 | 8317-50416881 | SHIM,56163638,0.3 MM | 56163638 | Bosch Packaging Technologies | SHIM,THICKNESS:0.3 MM,MANUFACTURER:BOSCH PACKAGING TECHNOLOGIES,MFR PART NUMBER:56163638 | [13 empty] | https://etl-company.ru/32-tovary/23-promyshlennaya-avtomatizaciya/12935-56163638-knife-shim-2-8-0-3x90---prokladka-nozha |  |  | BOSCH PACKAGING TECHNOLOGIES,MFR PART NUMBER:56163638 | OPM/OEM | 56163638 | 56163638 |  | ENRICHED | MRO | 31162815 | SHIM | SHIM |  | TYPE | KNIFE,SPACER | MATERIAL | NOT AVAILABLE | SIZE | 2.8 WD X 90 LG X 0.3 THK MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | Part Number Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | Manufacturer Edited, Attribute Value(TYPE) Edited | 04-05-2023 |  |  | 657739 | 657739 | IN05-ED056170 | C CUTTER SHIM Ø 129 / Ø 110 X 80 MM |  |  | 245839 shim Ø 129 / Ø 110 x 80 mm Circular cutter | [13 empty] | https://www.finditparts.com/products/11209729/dana-holding-corporation-000-dot-245839 |  |  | DANA HOLDING CORPORATION | OPM | 245839 | 245839 |  | CLEANSED | MRO | 31162815 | Shim | SHIM |  | TYPE | CIRCULAR CUTTER | MATERIAL | NOT AVAILABLE | SIZE | 110 ID X 129 OD X 80 WD MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | Manufacturer Edited | 04-05-2023 |  |  | 726683 | 726683 | PL34-5622881 | SHIM,3.94807.11(0171) | JOHNSON | [15 empty] | https://www.spxflow.com/assets/pdf/johnson-pump-im-tw-gb.pdf |  |  | SPX FLOW,INC | OPM/OEM | 3.94807.11 | 3.94807.11 | ALTERNATE MANUFACTURER NAME:JOHNSON;ALTERNATE MANUFACTURER PART NUMBER:0171 | CLEANSED | MRO | 31162815 | Shim | SHIM |  | TYPE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | SIZE | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | Manufacturer Edited, Attribute Value(TYPE) Edited | 04-05-2023 |  |  | 241108 | 241108 | 8380-50226815 | SHIM,56163640,0.1 IN | 56163640 | Sig Doboy | SHIM,THICKNESS:0.1 IN,MANUFACTURER:SIG DOBOY,MFR PART NUMBER:56163640 | [13 empty] | https://www.zauba.com/import-knife+2+8-hs-code.html |  |  | SIG DOBOY | OEM | 56163640 | 56163640 |  | ENRICHED | MRO | 31162815 | SHIM | SHIM |  | TYPE | KNIFE | MATERIAL | NOT AVAILABLE | SIZE | 2-13/16 WD X 130 LG X 1/8 THK IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 768095 | 768095 | RU03-5486604 | SUPPORT UNIT;SHOE-84L244-R20C-PEB | [16 empty] | https://www.regalrexnord.com/products/conveyor-technologies/conveying-components/return-systems/wear-shoes/snap-on-self-adjusting-sliding-shoe-black-14838b |  |  | REGAL REXNORD CORPORATION | OPM | 84L244-R20C-PEB | 84L244-R20C-PEB |  | ENRICHED | MRO | 24101700 | Conveyors and accessories | SHOE |  | SIZE | 88 WD IN X 244 LG X 42 HT MM | MATERIAL | HDPE | TYPE | SLIDING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SUPPORT UNIT | [49 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 485871 | 485871 | ES32-5213825 | ZAPATA EMBRAGUE 0021-2857-000 | 3313-3397-000 | [15 empty] | https://www.partfindermarine.com/search/parts/maker/alfa-laval/page/546/limit/50/order/Quantity |  |  | ALFA LAVAL LTD | OPM | 3313-3397-000 | 3313-3397-000 | ALTERNATIVE PART NO:0021-2857-000 | ENRICHED | MRO | 26111900 | Clutches | SHOE | CLUTCH | SIZE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | LINER MATERIAL | NOT AVAILABLE | MOUNTING TYPE | NOT AVAILABLE | TYPE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [43 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 487881 | 487881 | ES32-5217773 | ZAPATA DE EMBRAGUE 0021-2857-000 | 0021- 2857-000 | [15 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | GEA IMAFORNI | OPM | 0021- 2857-000 | 0021- 2857-000 |  | ENRICHED | MRO | 26111900 | Clutches | SHOE | CLUTCH | SIZE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | LINER MATERIAL | NOT AVAILABLE | MOUNTING TYPE | NOT AVAILABLE | TYPE |  | PACKAGE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [43 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9691 | 9691 | 8301-52223033 | SAPATO SOFT WORKS TAM 40 |  |  | SAPATO SOFT WORKS TAM: 40 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 40 CA:41554; FORNECEDOR: FASTENAL | Fastnel | 14177-01154 | Soft Works EPI Calçados Ltda |  |  |  | SAPATO SOFT WORKS TA | [5 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 40 | CA 41554-SIZE 40 |  | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 40 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9692 | 9692 | 8301-52223036 | SAPATO SOFT WORKS TAM 41 |  |  | SAPATO SOFT WORKS TAM: 41 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 41 CA:41554; FORNECEDOR: FASTENAL | [12 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 41 | CA 41554-SIZE 41 | DISTRIBUTOR:FASTENAL | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 41 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9690 | 9690 | 8301-52223032 | SAPATO SOFT WORKS TAM 39 |  |  | SAPATO SOFT WORKS TAM: 39 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 39 CA:41554; FORNECEDOR: FASTENAL | [12 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 39 | CA 41554-SIZE 39 | DISTRIBUTOR:FASTENAL | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 39 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9688 | 9688 | 8301-52223030 | SAPATO SOFT WORKS TAM 37 |  |  | SAPATO SOFT WORKS TAM: 37 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 37 CA:41554; FORNECEDOR: FASTENAL | Fastnel | 14177-01151 | Soft Works EPI Calçados Ltda |  |  |  | SAPATO SOFT WORKS TA | [5 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 37 | CA 41554-SIZE 37 |  | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 37 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9693 | 9693 | 8301-52223037 | SAPATO SOFT WORKS TAM 42 |  |  | SAPATO SOFT WORKS TAM: 42 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 42 CA:41554; FORNECEDOR: FASTENAL | [12 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 42 | CA 41554-SIZE 42 | DISTRIBUTOR:FASTENAL | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 42 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9687 | 9687 | 8301-52223029 | SAPATO SOFT WORKS TAM 36 |  |  | SAPATO SOFT WORKS TAM: 36 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 36 CA:41554; FORNECEDOR: FASTENAL | Fastnel | 14177-01150 | Soft Works EPI Calçados Ltda | bb66-36 |  | SAPATO SOFT WORKS TAM 36 | SAPATO SOFT WORKS TA | [5 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 36 | CA 41554-SIZE 36 |  | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 36 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9689 | 9689 | 8301-52223031 | SAPATO SOFT WORKS TAM 38 |  |  | SAPATO SOFT WORKS TAM: 38 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 38 CA:41554; FORNECEDOR: FASTENAL | [12 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 38 | CA 41554-SIZE 38 | DISTRIBUTOR:FASTENAL | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 38 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9686 | 9686 | 8301-52223028 | SAPATO SOFT WORKS TAM 35 |  |  | SAPATO SOFT WORKS TAM: 35 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 35 CA:41554; FORNECEDOR: FASTENAL | Fastnel | 14177-01149 | Soft Works EPI Calçados Ltda |  |  |  | SAPATO SOFT WORKS TA | [5 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 35 | CA 41554-SIZE 35 |  | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 35 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9694 | 9694 | 8301-52223041 | SAPATO SOFT WORKS TAM 43 |  |  | SAPATO SOFT WORKS TAM: 43 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 43 CA:41554; FORNECEDOR: FASTENAL | [12 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 43 | CA 41554-SIZE 43 | DISTRIBUTOR:FASTENAL | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 43 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9685 | 9685 | 8301-52223027 | SAPATO SOFT WORKS TAM 34 |  |  | SAPATO SOFT WORKS TAM: 34 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 34 CA:41554; FORNECEDOR: FASTENAL | [12 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 34 | CA 41554-SIZE 34 | DISTRIBUTOR:FASTENAL | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 34 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | URL Edited | 04-05-2023 |  |  | 9695 | 9695 | 8301-52223044 | SAPATO SOFT WORKS TAM 44 |  |  | SAPATO SOFT WORKS TAM: 44 CA:41554; FORNECEDOR: FASTENAL | SAPATO SOFT WORKS TAM: 44 CA:41554; FORNECEDOR: FASTENAL | [12 empty] | https://www.epishop.com.br/sapato-eva-bicocomposite-softworks-ca-41554 |  |  | SOFT WORKS EPI CALCADOS LTDA | OPM | CA 41554-SIZE 44 | CA 41554-SIZE 44 | DISTRIBUTOR:FASTENAL | ENRICHED | MRO | 46181605 | Safety Shoes | SHOE | SAFETY | GENDER | NOT AVAILABLE | SIZE DESIGNATION | SIZE 44 | MATERIAL | ETHYL VINYL ACETATE | TYPE | PROTECTIVE | INSOLE MATERIAL | ETHYL VINYL ACETATE | TOE CONSTRUCTION TYPE | ETHYL VINYL ACETATE | COLOUR | BLACK, NAVY, WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 793034 | 793034 | SK31-5601134 | FIRMWARE FWA-INDRV*-MPB-03VRS-D5-1-NNN-N | [16 empty] | https://www.cmafh.com/WebsiteCatalog/Data%20Sheets/BRC%20FIRMWARE%20INDRADRIVE/MPH-03,%20MPB-03,%20MPD-03%20Firmware%20Version%20Notes%20R911308331_01.pdf |  |  | BOSCH REXROTH AG | OPM | FWA-INDRV*-MPB-03VRS-D5-1-NNN-N | FWA-INDRV*-MPB-03VRS-D5-1-NNN-N |  | CLEANSED | MRO | 43232600 | Industry specific software | SOFTWARE |  | TYPE | NOT AVAILABLE | SOFTWARE TITLE | NOT AVAILABLE | VERSION | 3 | LICENSE TYPE | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 511584 | 511584 | ES36-5437520 | FIRMWARE FWA-INDRV*-MPB07VRS-D5-1-NNN-NN | R911328706 | [15 empty] | https://www.ias-components.com/documentation/Firmware_de_Drives.pdf |  |  | BOSCH REXROTH AG | OPM | FWA-INDRV*-MPB-07VRS-D5-1-NNN-NN | FWA-INDRV*-MPB07VRS-D5-1-NNN-NN | ALTERNATE MANUFACTURER PART NUMBER:R911328706 | ENRICHED | MRO | 43232600 | Industry specific software | SOFTWARE |  | TYPE | BASIC | SOFTWARE TITLE | NOT AVAILABLE | VERSION | 7 | LICENSE TYPE | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONTROL MODE:CLOSED LOOP | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 548214 | 548214 | FR38-5505569 | BB205A FIRMWARE FWA-CML45-MLC AZ6066 |  |  |  | BB205A FIRMWARE FWA-CML45-MLC-13VRS-DO R911337431 AZ6066 N.DOC 1103623980 DU 05/08/2021 CLIENT 6577518 | [12 empty] | https://www.lsa-control.com/en/r911337431-fwa-cml45-mlc-13vrs-d0 | https://www.hidrosistemas.ind.br/wp-content/uploads/2017/12/R911333860_04_MLC12VRS-min.pdf |  | BOSCH REXROTH AG | OPM | FWA-CML45-MLC AZ6066 | FWA-CML45-MLC AZ6066 |  | CLEANSED | MRO | 43232600 | Industry specific software | SOFTWARE |  | TYPE | FIRMWARE,CONTROLS | SOFTWARE TITLE | NOT AVAILABLE | VERSION | 13 | LICENSE TYPE | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 767358 | 767358 | RU03-5450543 | FIRMWARE;FWA-INDR-MPB-04VRS-D5-1--NNN-TF | [16 empty] | https://www.cmafh.com/WebsiteCatalog/Data%20Sheets/BRC%20FIRMWARE%20INDRADRIVE/MPH-03,%20MPB-03,%20MPD-03%20Firmware%20Version%20Notes%20R911308331_01.pdf |  |  | BOSCH REXROTH AG | OPM | FWA-INDR-MPB-04VRS-D5-1--NNN-TF | FWA-INDR-MPB-04VRS-D5-1--NNN-TF |  | CLEANSED | MRO | 43232600 | Industry specific software | SOFTWARE |  | TYPE | NOT AVAILABLE | SOFTWARE TITLE | NOT AVAILABLE | VERSION | 4 | LICENSE TYPE | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 767981 | 767981 | RU03-5484173 | FIRMWARE FWA-CML65-13-VRS-DO R9111337433 | [16 empty] | https://www.hidrosistemas.ind.br/wp-content/uploads/2017/12/R911333860_04_MLC12VRS-min.pdf |  |  | BOSCH REXROTH AG | OPM | FWA-CML65-13-VRS-DO | FWA-CML65-13-VRS-DO | ALTERNATE MANUFACTURER PART NUMBER:R9111337433 | CLEANSED | MRO | 43232600 | Industry specific software | SOFTWARE |  | TYPE | NOT AVAILABLE | SOFTWARE TITLE | NOT AVAILABLE | VERSION | 13 | LICENSE TYPE | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 562662 | 562662 | FR41-LF2283011 | FIRMWARE FWA-INDR-MPB-04VRS-D5-1-SNC-NN | AZ5772 |  |  | (AZ5770+AZ5771+AZ5782) | [13 empty] | https://store.boschrexroth.com/ccrz__ccPage?cclcl=en_US&pageKey=LPDP&SKU=R911312229 | https://www.cmafh.com/WebsiteCatalog/Data%20Sheets/BRC%20FIRMWARE%20INDRADRIVE/MPH-03,%20MPB-03,%20MPD-03%20Firmware%20Version%20Notes%20R911308331_01.pdf | BOSCH REXROTH AG | OPM | R911312229 | FWA-INDR-MPB-04VRS-D5-1-SNC-NN | ALTERNATE MANUFACTURER PART NUMBER:AZ5772/AZ5770+AZ5771+AZ5782 | CLEANSED | MRO | 43232600 | Industry specific software | SOFTWARE |  | TYPE | NOT AVAILABLE | SOFTWARE TITLE | NOT AVAILABLE | VERSION | 4 | LICENSE TYPE | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK | 04-05-2023 |  |  | 666146 | 666146 | IN07-ED050950 | SOFTWAREQTM 5COMPR PROG7.14(649A1103G14) | [16 empty] | https://www.keepsupply.com/649a1103g14-frick-quantum-5-compressor-program-version-7-14 |  |  | FRICK | OEM | 649A1103G14 | 649A1103G14 |  | ENRICHED | NON MRO | 43231500 | Business Function Specific Software | SOFTWARE |  | TYPE | COMPRESSOR PROGRAM | SOFTWARE TITLE | QUANTUM 5 | VERSION | 7.14 | LICENSE TYPE | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 757636 | 757636 | RU02-5549349 | SPONGE WITH HOLDER;SSL10NB;100PS | [16 empty] | https://www.3mindia.in/3M/en_IN/p/d/v000058094/ |  |  | 3M | OPM | 70200750951 | 70200750951 | ALTERNATE PART NUMBER:SSL10NB | ENRICHED | NON MRO | 47131603 | Sponges | SPONGE |  | TYPE | STICK-MOUNTED | SIZE | 1-1/2 X 3 IN | COLOUR | NOT AVAILABLE | MATERIAL | CELLULOSE | ABSORBING CAPACITY | 10 mL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CARCASS SAMPLING, ENVIRONMENTAL MONITORING, HANG, NEUTRALIZING BUFFER MEDIA, PACKAGING & STORAGE TESTING, PRIMARY PROCESSING, READY-TO-EAT | [44 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | RYM | RYM | OK | 04-05-2023 |  |  | 327176 | 327176 | AU04-EA903264 | STRAPPING, BALLING WG45 RLL | [16 empty] | https://eu.hsm.eu/en/compressing/consumable-materials/31/strapping-tape-wg-45-hl-1615/v-press-840/vl-225 |  |  | HSM GMBH+CO KG | OPM | WG45 | WG45 | DISTRIBUTOR:CTS PLASTICS MACHINERY | ENRICHED | MRO | 31151900 | Straps | STRAP |  | TYPE | TAPE | LENGTH | NOT AVAILABLE | WIDTH | 12.7 MM | THICKNESS | NOT AVAILABLE | CONNECTION TYPE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | LOAD CAPACITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BALLING, RLI | [40 empty] | Part number is not available so we updated Model number as Part number | Production Completed