## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | POWER SUPPLY:24VDC, MOUNTING TYPE UPDATED | 319749 | 319749 | AU04-EA608662 | RTD,PT100,D+D IN,4-20 OUT,AB-868-NA CTRL | RKC F400FD12-8 |  | RKC F400FD12-8 | [13 empty] | https://www.rkcinst.co.jp/english/stop/9955/im400f01e5/ | https://baoanjsc.com.vn/en/product-31871/Temperature-controller/RKC/Temperature-Controller-RKC-REX-F400-series.aspx | http://www.ty-c.com.tw/download/50234_imgfull2.pdf | RKC INSTRUMENT INC | OPM | F400FD12-8*AB-868-NA | F400FD12-8*AB-868-NA | DISTRIBUTOR:MMEM,HAYMANS | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -199.9 TO 600 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | 4 TO 20 MA | POWER SUPPLY |  | ACCURACY | +/- 0.1 PCT | VOLTAGE RATING |  | TYPE | RTD | INTERFACE TYPE |  | MOUNTING TYPE | SURFACE | MATERIAL |  | SIZE | 48 WD X 96 HT X 100 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 147502 | 147502 | 8349-50380633 | CONTR,TEMP,DC3200-EE-00R-200-00000-E0-0 | DC3200-EE-00R-200-00000-E0-0 | Honeywell Inc | CONTROL,TEMPERATURE,MANUFACTURER:HONEYWELL INC,MFR PART NUMBER:DC3200-EE-00R-200-00000-E0-0 | [13 empty] | https://prod-edam.honeywell.com/content/dam/honeywell-edam/pmt/hps/products/pmc/process-instruments/controllers-and-programmers/1-4-din-controllers/udc3200-din-controller/pmt-hps-51-52-03-39.pdf |  |  | HONEYWELL | OPM | DC3200-EE-00R-200-00000-E0-0 | DC3200-EE-00R-200-00000-E0-0 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 15-55 DEG C | SENSOR TYPE | RTD | OUTPUT TYPE | RELAY | POWER SUPPLY | 9-264 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 0-5 V | TYPE | DIGITAL | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INFRARED INTERFACE | [32 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | TEMPERATURE SETTING RANGE FILLED, SIZE UPDATED | 318795 | 318795 | AU04-EA601068 | CONTROLLER,DIG,24V,RTD/TC/V/I,2NO/V/I | RKC CB100FDO1-M*NN/A/Y AC/DC |  | RKC CB100FDO1-M*NN/A/Y AC/DC | [8 empty] | OPM | RKC Instrument Inc | SEE PHOTO | CB100 | YES | https://www.pyrosales.com.au/pdf-viewer/?file=https://www.pyrosales.com.au/wp-content/uploads/2018/01/CB_SERIES_3.pdf |  |  | RKC INSTRUMENT INC | OPM | CB100FDO1-M-NN/A/Y AC/DC | CB100FDO1-M-NN/A/Y AC/DC |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -199.9 TO 649 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | RELAY | POWER SUPPLY |  | ACCURACY | +/-3 PCT | VOLTAGE RATING | 24 VAC/DC | TYPE | DIGITAL,RTD | INTERFACE TYPE | RS-485 | MOUNTING TYPE | HORIZONTAL | MATERIAL |  | SIZE | 48 WD X 48 HT X 100 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL,CSA | ADDITIONAL FEATURES | [33 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | POWER SUPPLY:100-240 VAC DELETED, SIZE FILLED, MOUNTING TYPE UPDATED | 319746 | 319746 | AU04-EA608658 | RTD,PT100,-199.9/600 C,RTD IN,4-20 OUT | RKC F900FD12-8 |  | RKC F900FD12-8 | [13 empty] | https://www.rkcinst.co.jp/english/wp-content/uploads/sites/2/2019/10/im900f01e6.pdf | https://baoanjsc.com.vn/en/product-31876/Temperature-controller/RKC/timkiem.aspx?tukhoa=SECO%20TOOLS |  | RKC INSTRUMENT INC | OPM | F900FD12-8 | F900FD12-8 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -199.9 TO 600 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | 4 TO 20 MA | POWER SUPPLY |  | ACCURACY | +/- 0.1 PCT | VOLTAGE RATING |  | TYPE | RTD | INTERFACE TYPE |  | MOUNTING TYPE | SURFACE | MATERIAL |  | SIZE | 96 WD X 96 HT X 100 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | POWER SUPPLY:100-240 VAC,TEMPERATURE SETTING RANGE DELETED, SIZE FILLED, MOUNTING TYPE UPDATED | 319748 | 319748 | AU04-EA608660 | RTD,4-20 IN,4-20 OUT,AB-868-NA CTRL | RKC F900F801-8*AB-868-NA |  | RKC F900F801-8*AB-868-NA | [13 empty] | https://www.rkcinst.co.jp/english/wp-content/uploads/sites/2/2019/10/im900f01e6.pdf | https://baoanjsc.com.vn/en/product-31876/Temperature-controller/RKC/timkiem.aspx?tukhoa=SECO%20TOOLS |  | RKC INSTRUMENT INC | OPM | F900F801-8*AB-868-NA | F900F801-8*AB-868-NA |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE |  | SENSOR TYPE |  | OUTPUT TYPE | 4 TO 20 MA | POWER SUPPLY |  | ACCURACY | +/- 0.1 PCT | VOLTAGE RATING |  | TYPE | RTD | INTERFACE TYPE |  | MOUNTING TYPE | SURFACE | MATERIAL |  | SIZE | 96 WD X 96 HT X 100 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INPUT: 4-20 MA,RANGE: 0-100 PCT | [32 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | POWER SUPPLY:100-240 VAC,TEMPERATURE SETTING RANGE DELETED, SIZE FILLED, MOUNTING TYPE UPDATED | 323994 | 323994 | AU04-EA619015 | RTD,4-20MA IN,0-10V,RANGE 0.0-100.0% | RKC F900F801-5*AB-868-NA |  | RKC F900F801-5*AB-868-NA | [13 empty] | https://www.rkcinst.co.jp/english/wp-content/uploads/sites/2/2019/10/im900f01e6.pdf | https://baoanjsc.com.vn/en/product-31876/Temperature-controller/RKC/timkiem.aspx?tukhoa=SECO%20TOOLS |  | RKC INSTRUMENT INC | OPM | F900F801-5*AB-868-NA | F900F801-5*AB-868-NA |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE |  | SENSOR TYPE |  | OUTPUT TYPE | 0 TO 10 VDC | POWER SUPPLY |  | ACCURACY | +/- 0.1 PCT | VOLTAGE RATING |  | TYPE | RTD | INTERFACE TYPE |  | MOUNTING TYPE | SURFACE | MATERIAL |  | SIZE | 96 WD X 96 HT X 100 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INPUT: 4-20 MA,RANGE: 0-100 PCT | [32 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | MPN1 AND MODEL NUMBER, TEMPERATURE SETTING RANGE,SENSOR TYPE,ACCURACY UPDATED | 324010 | 324010 | AU04-EA619104 | CONTROLLER,TEMP,240VAC,PT100,0-10V | RKC F900FD04-5*AB-868-NA |  | RKC F900FD04-5*AB-868-NA superseeded by RKC FB900-5N-4-4N8N/A2-FD34/Y18-ABNN-NN | [8 empty] | OPM | RKC Instrument Inc | SEE PHOTO | FB900 | yes | https://www.rkcinst.co.jp/downloads/9784/c4900fb03/ |  |  | RKC INSTRUMENT INC | OPM | FB900-5N-4-4N8N/A2-FD34/Y18-ABNN-NN | FB900-5N-4-4N8N/A2-FD34/Y18-ABNN-NN | ALTERNATE PART NUMBER:F900FD04-5*AB-868-NA | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -100 TO 100 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | 0 TO 10 VDC | POWER SUPPLY | 100 TO 240 VAC | ACCURACY | +/-0.2 DEG C | VOLTAGE RATING |  | TYPE | RTD | INTERFACE TYPE |  | MOUNTING TYPE | BRACKET | MATERIAL |  | SIZE | 60 MM DP | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL,C-UL,C-TICK | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | TYPE FILLED, MOUNTING TYPE DELETED | 324042 | 324042 | AU04-EA619298 | CONTROL,TEMP,-199.9 TO 649DEGC,PT100 RKC | RKC C100F-DO1-M*AN ZK-974(ZK741) |  | RKC C100F-DO1-M*AN ZK-974(ZK741) | [13 empty] | https://www.rkcinst.co.jp/downloads/9781/p1841e7/ |  |  | RKC INSTRUMENT INC | OPM | C100F-DO1-M*AN ZK-974(ZK741) | C100F-DO1-M*AN ZK-974(ZK741) |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -199.9 TO 649 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | RELAY 250 VAC,3 A | POWER SUPPLY |  | ACCURACY | +/-0.5 PCT | VOLTAGE RATING |  | TYPE | RTD | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | SENSOR TYPE, OUTPUT TYPE AND POWER SUPPLY UPDATED | 325162 | 325162 | AU04-EA623552 | CONTROLLER,TEMP,240VAC,PT100,4-20MA | RKC REX-F9,FD8-R*8N-88-N |  | RKC REX-F9,FD8-R*8N-88-N | [13 empty] | https://www.rkcinst.co.jp/english/stop/9958/c1842e4/ |  |  | RKC INSTRUMENT INC | OPM | REX-F9-FD8-R-8N-88-N | REX-F9-FD8-R-8N-88-N |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0-999.9 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | 4 TO 20 MA | POWER SUPPLY | 240 VAC | ACCURACY | +/-0.2 PCT | VOLTAGE RATING |  | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 173511 | 173511 | 8353-52053619 | TERMOREGULADOR/100-240/LDS491130/ERO | LDS491130/ERO | BDI DISTRIBUCIONES DE MEXICO S DE | MANUFACTURER PART No: LDS491130 / MANUF. NAME: ERO |  | BDI | 21561948 | ERO ELECTRONIC | LDS VUS01 | TERMOREGULADOR/100-240/LDS491130/ERO | [7 empty] | https://www.nuovaelva.it/store/it/shop/brands/EO/items/LDS491130000 |  |  | ERO ELECTRONIC | OPM | LDSVUS01 | LDSVUS01 | ALTERNATE PART NUMBER:LDS491130 | CLEANSED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | NOT AVAILABLE | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 274255 | 274255 | 8385-52171643 | PIROMETRO SHIMADEN SR91 8Y 90 1NO |  |  |  | PIROMETRO SHIMADEN SR91-8Y-90-1NO | [12 empty] | https://www.shimaden.co.jp/english/manual/manual/pdf/sr90_standard.pdf | https://www.intech.co.nz/product/sr91/ | https://www.nexinstrument.com/sr91-8y-90-1n0 | SHIMADEN CO LTD | OPM | SR91-8Y-90-1N0 | SR91-8Y-90-1N0 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | CONTACT | POWER SUPPLY | 100 TO 240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING |  | TYPE | DIGITAL | INTERFACE TYPE |  | MOUNTING TYPE | PUSH-IN PANEL | MATERIAL | PPO RESIN MOLDING | SIZE | 48 WD X 48 HT X 111 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 667964 | 667964 | IN07-ED054854 | TEMPERATURE CONT TECOCS90 CM OPM | 8JCM000076706 | ALBA CN | TEMPERATURE CONT TECOCS90 8JCM000076706 |  | Sacmi | 8JCM000076706 |  | 8JCM000076706 | TEMPERATURE CONTOLLER TECO CS |  | TEMPERATURE CONT TEC | [5 empty] | https://www.radwell.co.uk/en-GB/Buy/GWK%20CONTROLS/GWK%20CONTROLS/TECO%20CS%2090/?redirect=true |  |  | GWK CONTROLS | OPM | TECO CS 90 | TECO CS 90 | ALTERNATE MANUFACTURE NAME:ALBA CN,ALTERNATE PART NUMBER:8JCM000076706 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 95 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | 9 KW HEATING,23 KW COOLING | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 400-415 VAC,24 VDC | TYPE | INDIRECT COOLING/WATER MEDIUM | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | POWER SUPPLY FILLED,VOLTAGE RATING,TEMPERATURE SETTING RANGE DELETED | 720645 | 720645 | PL33-5586305 |  |  |  |  | Regulator dTRON 316 703041/181-000-23/000 JUMO | Rubix | 1451553 | JUMO |  |  | DTRON 316 703041/181-000-23/000 REGULATOR | [6 empty] | https://www.jumo.net/attachments/JUMO/attachmentdownload?id=3341 | https://in.rsdelivers.com/product/jumo/703041/181-000-23/000/jumo-dtron-pid-temperature-controller-48-x-48-1/16-dinmm-1-analogue-input-4-output-logic-relay-110/5109073 | https://www.distrelec.biz/en/compact-controller-dtron-240v-output-type-analogue-relay-logic-45-45mm-jumo-703041-181-400-23-000/p/17694090 | JUMO GMBH | OPM | 703041/181-000-23/000 | DTRON 316 | SUPPLIER NAME:RUBIX,SUPPLIER PART NUMBER:1451553 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | LOGIC,RELAY | POWER SUPPLY | 110-240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING |  | TYPE | COMPACT | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 48 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS,DNV GL | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | URL UPDATED | 514086 | 514086 | ES36-5580536 | EUROTHERM 3208 CC VH ACQ 13670_19 | PL1936001617 |  |  | Corresponde a su Oferta Nº 2138_19 XSM08010153 TERMOREGULADOR 3208 CC VH DRDX R RCL S ENG - 4/20MA 02-21-069 - precalientamento | [12 empty] | https://sg.rs-online.com/web/p/temperature-controllers/4894095 | https://docs.rs-online.com/8ebd/0900766b80695fcb.pdf | https://inverterdrive.com/file/Eurotherm-3216-3208-3204-User-Manual-Issue13 | EUROTHERM | OPM | 3208 CC VH DRDX R RCL S ENG | 3208 CC VH DRDX R RCL S ENG | ALTERNATE PART NUMBER:PL1936001617,REFERENCE NUMBER:ACQ 13670_19 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0-55 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | ANALOGUE,CHANGE OVER RELAY,LOGIC | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 85-265 VAC | TYPE | ON/OFF | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 96 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | PRODUCT MISMATCH BETWEEN DESCRIPTION AND PART NUMBER, PROCESSED BASED ON PART NUMBER | 833993 | 833993 | VN02-EV008030 | SEAL,OIL,P07U22MM-SIC/SIC/EPDM | SRS13A-8YN-90-N100000; SHIMADEN | [15 empty] | https://mech-mall.com/product/srs13a-8yn-90-n100000-digital-controller-shimaden |  |  | SHIMADEN CO LTD | OPM | SRS13A-8YN-90-N100000 | SRS13A-8YN-90-N100000 | ALTERNATE PART NUMBER:P07U22MM | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 800 DEG C | SENSOR TYPE | CT SENSOR | OUTPUT TYPE | CONTACT (EV1,EV2/ 1 A X 2 POINTS COMMON EV3/ 1 A INDEPENDENT)/ 240 VAC 2 A (RESISTIVE LOAD) | POWER SUPPLY | 100-240 VAC,50/60 Hz | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | -10 to 10 MVDC,0-10 MVDC,0-100 MVDC,0-20 MVDC,0-50 MVDC,10-50 MVDC | TYPE | DIGITAL | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL | PC RESIN | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 471622 | 471622 | EG01-EG32040039 | CONTROLLER TEMP DATALOGI C 220V QD-11 FM | [16 empty] | https://www.mouser.in/ProductDetail/IDEC/QD-11?qs=LW8h5wBZGrGLIzlTOcuYnA%3D%3D | https://www.nexinstrument.com/QD-11 |  | IDEC CORPORATION | OPM | QD-11 FM | QD-11 FM |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 220 V | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 695975 | 695975 | NG01-5596316 | TEMPERATURE CONTROLLER 48X48 |  |  | PIXSYS TEMPERATURE CONTROLLER FOR PRE COOLING COIL/POST COOLING ATR243-20ABC (48MMX48MM) | [13 empty] | https://www.pixsys.com/manuals/atr243-rev-g.pdf | https://nicontrols.com/uk/atr24320abc-pid-controller.html |  | PIXSYS ELECTRONICS | OPM | ATR243-20ABC | ATR243-20ABC |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0-45 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | ANALOGUE/RELAY/SSR | POWER SUPPLY | 5.5 VA,4 W | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 230 VAC,24 VDC | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 48 X 48 PANEL X 125 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 761322 | 761322 | RU02-TRU37001502 | REGULATOR;702044/88-888-000-23/210 | [16 empty] | https://uk.rs-online.com/web/p/temperature-controllers/3275027 | https://docs.rs-online.com/0b26/A700000006866780.pdf |  | JUMO GMBH | OPM | 702044/88-888-000-23/210 | 702044/88-888-000-23/210 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | LOGIC,RELAY | POWER SUPPLY | 110-240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING |  | TYPE | COMPACT MICROPROCESSOR | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 96 X 96 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CSA | ADDITIONAL FEATURES | DISPLAY TYPE:LED;PANEL DEPTH:70 MM | [32 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 613605 | 613605 | ID01-EI004260 | TEMP CONTROL SHINKO FCL13A-S/M100-240VAC | [16 empty] | https://shinko-technos.co.jp/e/manual/english/FCL11E4.pdf | https://www.radwell.co.uk/en-GB/Buy/SHINKO%20TECHNOS/SHINKO%20TECHNOS/FCL-13A-S-DIV-M/?redirect=true |  | SHINKO TECHNOS CO., LTD | OPM | FCL-13A-S/M | FCL-13A |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NON-CONTACT VOLTAGE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100-240 VAC | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 48 WD X 24 HT X 98.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 298759 | 298759 | AT31-5290436 | JUMO KOMP. REGLER 703044/181-000-23/000 | 442007 | JUMO | JUMO dTRON 304 Type: 703044/181-000-23/000 | JUMO dTRON 304 Type: 703044/181-000-23/000 | [12 empty] | https://www.jumo.net/attachments/JUMO/attachmentdownload?id=3341 | https://sg.rs-online.com/web/p/temperature-controllers/5109281 | https://www.distrelec.biz/en/compact-controller-dtron-240v-output-type-relay-logic-92x92mm-jumo-703044-181-000-23-000/p/17694080 | JUMO GMBH | OPM | 703044/181-000-23/000 | dTRON 304 | ALTERNATE PART NUMBER:442007 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | LOGIC,RELAY | POWER SUPPLY | 110-240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING |  | TYPE | COMPACT | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 96 X 96 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS,DNV GL | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 562359 | 562359 | FR41-LF2243024 | REGULATEUR EUROTHERM P116 24V 4-20 48X48 | EUROTHERM : P116 |  |  | REGULATEUR EUROTHERM REF: P116 CC VL RCX/R/XXX..... P116 : Régulateur 1/16 DIN 48 x 48 mm FONCTION : (CC) Régulateur TENSION D'ALIMENTATION : (VL) 24 Vca/cc SORTIE : (RCX) Sorties Relais/Analogique isolée RELAIS : (R) Relais inverseur EUROTHERM : P116 REF | [12 empty] | https://www.lcautomation.com/wb_documents/eurotherm/eurotherm%20piccolo%20user%20manual.pdf | https://www.radwell.co.uk/en-GB/Buy/INVENSYS/EUROTHERM%20CONTROLS/P116-DIV-CC-DIV-VL-DIV-RCX-DIV-R-DIV-XXX-DIV-XXXXX-DIV-XXXXXX-DIV-XXXXX-DIV-XXXXX-DIV-XXXXXX-DIV-F-DIV-X-DIV-X-DIV-X-DIV-X-DIV-X-DIV-X-DIV-X/?redirect=true |  | EUROTHERM | OPM | P116/CC/VL/RCX/R/XXX/XXXXX/XXXXXX/XXXXX/XXXXX/XXXXXX/O/X/X/X/X/X/X/X | P116 | REFER:P116 CC VL RCX/R/XXX P116,FUNCTION:(CC) REGULATOR | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | ISOLATED RELAY,ANALOG RELAY,CHANGEOVER RELAY | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 24 VAC/DC | TYPE | PROCESS | INTERFACE TYPE |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | SIZE | 48 X 48 MM X 1/16 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 72398 | 72398 | 8321-52234661 | TERMOREGULAD/F068635/SM08110001/IMAFORNI | SM08110001 | Imaforni | MANUFACTURER PART No: SM08110001 / MANUF. NAME: IMAFORNI | [13 empty] | https://www.galco.com/650l-r-rr0-01011-1-g-gefran.html | https://shop.marshallwnelson.com/images/gefran_650l_datasheet_7_2018.pdf | https://www.alliedelec.com/product/gefran/f068635/72264542/ | GEA IMAFORNI | OPM | F068635 | F068635 | ALTERNATE PART NUMBER:SM08110001 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | TC,RTD,DC LINEAR | OUTPUT TYPE | RELAY,ANALOG CURRENT,ANALOG VOLTAGE | POWER SUPPLY | 100-240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100-240 VAC/DC | TYPE | PID | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 48 WD X 80 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CE,FM | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 613297 | 613297 | ID01-EI003797 | TEMP CONTROL WATLOW SD31-LCJA-AA0G | SD31-LCJA-AA0G | WATLOW | [14 empty] | https://www.nriparts.com/products/watlow-sd31-lcja-aa0g-temperature-controllers-obsolete/70049 | https://www.radwell.com/en-US/Buy/WATLOW/WATLOW/SD31-LCJA-AA0G/ |  | WATLOW | OPM | SD31-LCJA-AA0G | SD31-LCJA-AA0G |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100-240 VAC | TYPE | DUAL DISPLAY | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING: 2A | [32 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 537533 | 537533 | FR35-LF66008 | REGULATEUR TEMPERATURE EUROTHERM 3504 | EUROTHERM 3504 |  |  | 3504/CC/VH/1/XX/1/1/XXX/S/RR/R2/////AE//FRA/FRA | [12 empty] | https://www.surecontrols.com/wp-content/uploads/2014/07/3500_HA027987_9-1.pdf |  |  | EUROTHERM | OPM | 3504/CC/VH/1/XX/1/1/XXX/S/RR/R2/////AE//FRA/FRA | 3504 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | DUAL RELAY | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100-240 VAC | TYPE | SINGLE LOOP | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 587193 | 587193 | GB38-CB41923240 | CONTROL(/LER),JUMO,TEMPERATURE,DTRON 08 | 703043/181-OGO-23/000 | JUMO | JUMO DTRON 08 TEMP CONTROLLER PT NO:2004294765(replaces2003421165) | [8 empty] | OPM | Jumo | 703043/181-000-23/000 |  | YES | https://www.jumo.net/attachments/JUMO/attachmentdownload?id=3341 | https://uk.rs-online.com/web/p/temperature-controllers/5109130 | https://www.distrelec.de/en/compact-controller-dtron-240v-output-type-relay-logic-92-45mm-jumo-703043-181-000-23-000/p/17694086 | JUMO GMBH | OPM | 703043/181-000-23/000 | dTRON 308 | ALTERNATE PART NUMBER:2004294765,replaces2003421165 | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | LOGIC,RELAY | POWER SUPPLY | 110-240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING |  | TYPE | COMPACT | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 96 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS,DNV GL | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 380203 | 380203 | BE35-LBB06460 | TEMP.REG. ERO PKC 111 150 300 | ERO IMAFORNI OVEN L12 PRW997.. |  | TEMPERATUURREGELAAR ERO PKC 111 150 300 | TEMPERATUURREGELAAR ERO PKC 111 150 300¦¦TEMPERATUURREGELAAR ERO PKC 111 150 300¦¦TEMPERATUURREGELAAR ERO PKC 111 150 300 | [12 empty] | https://linhans.en.ec21.com/EROELECTRONIC_Controller_Relay_...--8284237_8480790.html | https://www.sumelco.com/wp-content/uploads/2013/07/mkc_-_pkc.pdf |  | ERO ELECTRONIC | OPM | PKC 111 150 300 | ER0PKP111150300 | ALTERNATE MANIFACTURER:IMAFORNI,EQUIPMENT NAME:OVEN,EQUIPMENT MODEL:L12 PRW997 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0 TO 50 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | two relays interlocked | POWER SUPPLY | 25 mA | ACCURACY | ± 0.2 PCT | VOLTAGE RATING | 24 VDC | TYPE |  | INTERFACE TYPE | RS 485 | MOUNTING TYPE |  | MATERIAL |  | SIZE | 48 MM WD,128 MM LG,108.4 MM HT | HAZARD CLASS |  | CERTIFICATION/STANDARD | EEC | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 184909 | 184909 | 8353-52234661 | TERMOREGULAD/F068635/SM08110001/IMAFORNI | SM08110001 | Imaforni | MANUFACTURER PART No: SM08110001 / MANUF. NAME: IMAFORNI | [13 empty] | https://www.galco.com/650l-r-rr0-01011-1-g-gefran.html | https://shop.marshallwnelson.com/images/gefran_650l_datasheet_7_2018.pdf | https://www.alliedelec.com/product/gefran/f068635/72264542/ | GEA IMAFORNI | OPM | F068635 | F068635 | ALTERNATE PART NUMBER:SM08110001 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | TC,RTD,DC LINEAR | OUTPUT TYPE | RELAY,ANALOG CURRENT,ANALOG VOLTAGE | POWER SUPPLY | 100-240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100-240 VAC/DC | TYPE | PID | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 48 WD X 80 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CE,FM | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 56185 | 56185 | 8317-50441221 | CONTR,HEAT,32H8 349265,100-240V | 32H8 349265 | Eurotherm Controls | CONTROL,HEATER,V_RATING:100-240V,MANUFACTURER:EUROTHERM CONTROLS,MFR PART NUMBER:32H8 349265 | [13 empty] | https://www.ibt.co.il/wp-content/uploads/2022/04/file1370087603_U2428-1.pdf | https://www.mtixtl.com/Eurotherm32H8ProgrammableTemperatureControllerSize9648FORMTIfur.aspx |  | EUROTHERM | OPM | 32H8 349265 | 32H8 349265 | EQUIPMENT_MODEL:HEATER | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100-240 V | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 96 WD X 48 HT X 101 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 542668 | 542668 | FR36-LFREGT6999 | RÉGUL DICON 500PT100/ 03570/083-1100- C1 | TEMPERATUR-VER |  |  | Régulateur Dicon 500PT 100 type703570/083-1100-111000-23-00/00,061 données technique: 70.3570 - entrées..1+2: programmables - sortie....1-2 et 3: relais 230V/3A - sortie....4: analogique - alimentation :AC110..240V,48..63HZ dimensions 96x96x130mm REMPLACE | [12 empty] | https://docs.rs-online.com/7ac6/0900766b81463cb3.pdf |  |  | JUMO GMBH | OPM | 703570/083-1100-111000-23-00/00061 | DICON 500 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -200 TO 850 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | RELAY | POWER SUPPLY | 110 TO 240 VAC | ACCURACY | <=0.05 PCT | VOLTAGE RATING |  | TYPE | UNIVERSAL PROCESS | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 96 WD X 96 HT X 130 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS,DIN,GL | ADDITIONAL FEATURES | NUMBER OF inputs:1+2 programmable,NUMBER OF outputS:1-2 and 3 relay 230V/3A, output 4:analogue,FREQUENCY: 48 TO 63 HZ | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 710567 | 710567 | PK01-PKC3872 | TEMPERATURE CONTROLLER 3200CAL656192 | 3200CAL656192 | [15 empty] | https://www.west-cs.com/products/models/3200-single-loop-controller/ | https://www.west-cs.com/assets/Brochures/BR-PC-2-US-1906-web-1.4.pdf |  | WEST CONTROL SOLUTIONS | OPM | 3200CAL656192 | 3200CAL656192 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | RELAY,SSD | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100-240 VAC,12-24 VAC/DC | TYPE | SINGLE LOOP | INTERFACE TYPE |  | MOUNTING TYPE | DIN RAIL | MATERIAL |  | SIZE | 48 WD X 24 HT X 102 WD MM X 1/32 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL | ADDITIONAL FEATURES | NUMBER OF OUTPUTS: 2 | [32 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 224002 | 224002 | 8373-52083039 | INDICADOR CONTROLADOR TEMPERAT SR1 8Y 1W |  |  |  | 48 X 48MM EQUIVALENTE : SR1-8Y-1W MARCA SHIMADENN INDICADOR CONTROLADOR TEMPERATURA SR71 | [12 empty] | https://www.saitechpune.com/pid-controllers.pdf |  |  | SHIMADEN CO LTD | OPM | SR1-8Y-1W | SR1-8Y-1W | ALTERNATE MODEL NUMBER:SR71 | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -10 TO 50 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | CONTACT | POWER SUPPLY | 4-20 mA | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100-240 VAC | TYPE | DIGITAL | INTERFACE TYPE |  | MOUNTING TYPE | PUSH IN PANEL | MATERIAL |  | SIZE | 48 WD X 48 HT X 111 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | U,L,DIN 43710 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 18653 | 18653 | 8308-52224443 | CONTROLADOR P116/CC/VH/RRX/R PICCOLO |  |  | CONTROLADOR PICCOLO P116/CC/VH/RRX/R; MONTAGEM: 1/16 DIN; NUMERO DIGITOS: 4; TENSAO: 24V; LARGURA: 45MM; ALTURA: 45MM; PROFUNDIDADE: 90MM; OPERACAO: ; EQUIPAMENTO: FORNOS DE BISCOITOS; FABRICANTE: PICCOLO; FORNECEDOR EXCLUSIVO: NÃO; FORNECEDOR: EUROTHERM; | CONTROLADOR PICCOLO P116/CC/VH/RRX/R; MONTAGEM: 1/16 DIN; NUMERO DIGITOS: 4; TENSAO: 24V; LARGURA: 45MM; ALTURA: 45MM; PROFUNDIDADE: 90MM; OPERACAO: ; EQUIPAMENTO: FORNOS DE BISCOITOS; FABRICANTE: PICCOLO; FORNECEDOR EXCLUSIVO: NÃO; FORNECEDOR: EUROTHERM; | [12 empty] | https://docs.rs-online.com/e32e/0900766b815d9435.pdf |  |  | EUROTHERM LIMITED. | OPM | P116/CC/VH/RRX/R | P116/CC/VH/RRX/R | REFERENCE NUMBER:10090672,10197491,10090673,10246891,10238690 | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0-55 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | RELAY | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 85-264 VAC | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 45 WD X 45 HT X 90 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CUL | ADDITIONAL FEATURES | BRAND:PICCOLO | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | URL UPDATED | 277391 | 277391 | 8385-52227709 | CONTROLADOR SHIMADEN SR94 8V N 90 1600 |  |  | CONTROLADOR SHIMADEN SR94-8V-N-90-1600 SALIDA ANALOGICA DE 0 A 10 VDC (SALIDA DE CONTROL) , UNA SALIDA DE TIPO ALARMA ( CONTACTO RELE ) ENTRADA ES DE TERMOCUPLA , ALIMENTACION 220 VCA | [13 empty] | https://www.shimaden.co.jp/english/manual/manual/pdf/sr90_standard.pdf |  |  | SHIMADEN CO LTD | OPM | SR94-8V-N-90-1600 | SR94-8V-N-90-1600 |  | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | 0 TO 10 VDC | POWER SUPPLY | 100 TO 240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | NOT AVAILABLE | TYPE | DIGITAL | INTERFACE TYPE |  | MOUNTING TYPE | PUSH-IN PANEL | MATERIAL | PPO RESIN MOLDING | SIZE | 48 WD X 96 HT X 111 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ANALOG OUTPUT (CONTROL OUTPUT), ONE ALARM TYPE OUTPUT (RELAY CONTACT), THERMOCUPLE INPUT | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 542663 | 542663 | FR36-LFREGT5875 | REGUL T°08-702043/88-888-000-23/069,210 | TEMPERATUR-VER |  |  | Régulateur de température compact iTRON 08 - 702043/88-888-000- 23/069,210 Configurable en régulateur à 2 plages avec seuil ou en régulateur à 3 plages Entrée configurable, plage -200..850 °C Pt100 3 fils, 2 relais (à fermeture), 1 sortie TOR pour 1 sor | [12 empty] | https://uk.rs-online.com/web/p/temperature-controllers/3275011 | https://docs.rs-online.com/5d39/A700000006961250.pdf |  | JUMO GMBH | OPM | 702043/88-888-000-23/069.210 | ITRON 08 |  | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -200 TO 850 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | LOGIC,RELAY | POWER SUPPLY | 110 TO 240 VAC | ACCURACY | <=0.1 PCT | VOLTAGE RATING |  | TYPE | COMPACT MICROPROCESSOR | INTERFACE TYPE |  | MOUNTING TYPE | FLUSH-PANEL | MATERIAL | PLASTIC | SIZE | 96 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL | ADDITIONAL FEATURES | CONFIGURABLE AS 2-RANGE CONTROLLER W/THRESHOLD OR AS 3-RANGE CONTROLLER CONFIGURABLE INPUT,3 WIRES;2 RELAYS( MAKE),1 DISCRETE OUTPUT | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 224061 | 224061 | 8373-52083432 | INDICADOR CONTROLADOR TEMPERAT SR4 8Y 1W |  |  |  | *EQUIVALENTE :SR4-8Y-1W MARCA SHIMADEN 50-60HZ,CUADRO 96 X 48 X 111MM ALIMENTACION AUTOREGULADA 100-240VAC INDICADOR CONTROLADOR TEMPERATURA SR-74 | [12 empty] | http://www.tairo.com.tw/catalog/sr1_sr3_sr4_c.pdf |  |  | SHIMADEN CO LTD | OPM | SR4 8Y 1W | SR4 8Y 1W | ALTERNATE MODEL NUMBER:SR74 | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -10 TO 50 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | CONTACT | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100-240 VAC | TYPE | DIGITAL | INTERFACE TYPE |  | MOUNTING TYPE | ONE TOUCH MOUNT | MATERIAL |  | SIZE | 48 WD X 96 HT X 111 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | U,L,DIN 43710 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 274235 | 274235 | 8385-52171623 | PIROMETRO PIXSYS ATR121 B 230 VCA / 2VA |  |  |  | PIROMETRO PIXSYS - ATR121-B 230 VCA/ 2VA CAVANNA | [12 empty] | https://www.tme.com/Document/93199cd587cf58f175b92200ed029602/ATR121-DTE-EN.pdf | https://www.tme.com/in/en/details/atr121/temperature-regulators/pixsys/atr121-b/ |  | PIXSYS ELECTRONICS | OPM | ATR121-B | ATR121-B |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -99.9 TO 999 DEG C | SENSOR TYPE | THERMOCOUPLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | 4.4 VA | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 230 VAC | TYPE | DIGITAL | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | POLYCARBONATE | SIZE | 77 X 53 X 35 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:0-40 DEG C | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 638295 | 638295 | IN03-ED015856 | PID TEMP CONTROLLER NIPPON2048 O/P RELAY | [16 empty] | http://nipponinstruments.com/demo/product/nippon-pid-controller-2048/ |  |  | NIPPON BEARING CO., LTD. | OPM | 2048 | 2048 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | RTD,THERMOCOUPLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | +/-1 DEG C | VOLTAGE RATING | 230 VAC | TYPE | PID/ON-OFF/TP | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL | PLASTIC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 9001:2000 | ADDITIONAL FEATURES | OUTPUT RELAY | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | URL UPDATED | 275036 | 275036 | 8385-52172431 | CONTROLADOR SHIMADEN SR 91 8P 90 1NO |  |  |  | CONTROLADOR DIGITAL DE TEMPERATURA SHIMADEN SR-91-8P-90-1NO 110 ...220 VCA 50/60 HZ 4 ..20 MA , TERMOCUPLA DIMENSIONES FRONTALES 48 X 48 MM | [12 empty] | https://mech-mall.com/product/sr91-8p-90-1n0-digital-controller-shimaden |  |  | SHIMADEN CO LTD | OPM | SR-91-8P-90-1N0 | SR-91-8P-90-1N0 |  | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | SSR DRIVE VOLTAGE | POWER SUPPLY | 100 TO 240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | NOT AVAILABLE | TYPE | DIGITAL | INTERFACE TYPE |  | MOUNTING TYPE | PUSH-IN PANEL | MATERIAL | PPO RESIN MOLDING | SIZE | 48 WD X 48 HT X 111 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY: 50/60 HZ, CURRENT RATING: 4 TO 20 MA, INPUT TYPE: THERMOCOUPLE | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 831895 | 831895 | VN02-EV004795 | CONTROLLER,TEMPERATURE,SRS13A,100-240V | KAZ57,CMP80S/KY/RH1M/KK; SEW | [15 empty] | https://www.add-furnace.com/furnace-accessories/srs13a-shimaden.html |  |  | SHIMADEN CO LTD | OPM | SRS13A,100-240V | KAZ57,CMP80S/KY/RH1M/KK |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 1999-9999 | SENSOR TYPE | RTD | OUTPUT TYPE | 2 POINT | POWER SUPPLY | 100-240 VAC | ACCURACY | +/-0.25 PCT | VOLTAGE RATING | 0-10 VDC | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 96 WD X 96 HT X 65 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 638338 | 638338 | IN03-ED015914 | PID TEMP CONTROLLER NIPPON 2048 O/P 0-10 | [16 empty] | http://nipponinstruments.com/demo/product/nippon-pid-controller-2048/ |  |  | NIPPON BEARING CO., LTD. | OPM | 2048 | 2048 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | RTD,THERMOCOUPLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | +/-1 DEG C | VOLTAGE RATING | 230 VAC | TYPE | PID/ON-OFF/TP | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL | PLASTIC | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 9001:2000 | ADDITIONAL FEATURES | OUTPUT RELAY | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 225777 | 225777 | 8373-52098592 | CONTROLADOR TEMP LDS491130000 ERO ELECTR |  |  |  | " 50/60HZ, 6VA CONTROLADOR DE TEMPERATURA MARCA:ERO ELECTRONIC MODELO:LDS491130000 SUPPLY:100 A 240VAC MODELO ACTUAL: SM08110001 TERMOREGULADOR F068635 650L" | [12 empty] | https://www.ontrium.com/en/usa/brands/ero-electronic/lds491030000 |  |  | ERO ELECTRONIC | OPM | LDS491130000 | LDS491130000 | ALTERNATE MODEL NUMBER:SM08110001 | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100/240 VAC | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50/60 Hz;HUMIDITY:5-95 PCT RH,SCREW TERMINAL | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 688006 | 688006 | MY43-5044708 | CONTROLLER WATLOW PM3C1CJ-AAAAAAA | [16 empty] | https://www.seagatecontrols.com/wp-content/uploads/2014/07/watlow_pm.pdf |  |  | WATLOW ELECTRIC MANUFACTURING CO. | OPM/OEM | PM3C1CJ-AAAAAAA | PM3C1CJ-AAAAAAA |  | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | PID | OUTPUT TYPE | RELAY | POWER SUPPLY | 100-240 VAC | ACCURACY | +/-1 DEG C | VOLTAGE RATING | 85-264 VAC | TYPE | DIGITAL | INTERFACE TYPE |  | MOUNTING TYPE | DIN | MATERIAL |  | SIZE | 1/32 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | EZ-ZONE | ADDITIONAL FEATURES | TEMPERATURE RATING:-5 TO 40 DEG C;MOUNTING:WITH KNURLED NUT | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 656045 | 656045 | IN05-ED045725 | RADIX TEMPERATURE CONTROLLER X96? | X96 | RADIX | Radix Temperature Controller X96? | [13 empty] | https://vatgia.com/raovat/9284/9011926/radix-vietnam-x96-x48a-x96a-cam-bien-dai-ly-chinh-thuc-phan-phoi-radix-vietnam-ans-vietnam.html |  |  | RADIX | OPM | X96 | X96 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 85-265 VAC | TYPE | 2 X UNIVERSAL | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 96 WD X 96 HT X 100 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 549339 | 549339 | FR38-LFBB305 | REGULATEUR T° 48X48 6040-SR0000 | RG03119S |  |  | REGULATEUR T° 48X48 6040-SR0000 REGULATEUR TEMPERATURE PID (MONO) BOUCLE 48X48 DOUBLE AFFICHAGE 4DGTS,PID AUTOREGULANT AUTOADAPTIF 1 ENTREE UNIVERS.THERMOCOUPLE/PT100/LINEAIRE CC MA/MV 1 SORTIE RELAIS 2AMP MAX,1 SORTIE LOGIQUE 0 OU 10 VDC ALIMENTATION 1 | [12 empty] | https://parmex.com.mx/show_catalogue_pdf/118078/1 | https://www.thermaldevices.com/product/chromalox-1-16-din-temperature-controller-6040-sr0000/ |  | CHROMALOX, INC. | OPM | 6040-SR0000 | 6040-SR0000 | REFERENCE NUMBER:RG03119S,3102964J | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -128.8 TO 537.7 DEG C | SENSOR TYPE | THERMOCOUPLE/PT100 | OUTPUT TYPE | RELAY | POWER SUPPLY | 100-240 VAC | ACCURACY | +/-1 PCT | VOLTAGE RATING | 0-10 VDC | TYPE | PROCESS | INTERFACE TYPE | MODBUS | MOUNTING TYPE | PANEL | MATERIAL |  | SIZE | 96 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP66;W/4 DIGIT LOOP DOUBLE DISPLAY,SELF-REGULATING SELF-ADAPTIVE PID 1 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 549021 | 549021 | FR38-5619975 | G603 REGULATEUR T° PXF9AEY2-1V100 |  |  |  | HH502 REGULATEUR T° PXF9AEY2-1V100 | [12 empty] | https://felib.fujielectric.co.jp/docfetch/CustomContentDownload.aspx?sid=A9888B78A67547EFEF8FEC7D3EC19E1186DE7890C8471422&dataid=16173859&version=0&site=global&lang=en |  |  | FUJI ELECTRIC CO., LTD. | OPM | PXF9AEY2-1V100 | PXF9AEY2-1V100 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -10 TO 50 DEG C | SENSOR TYPE | THERMOCOUPLE RTD | OUTPUT TYPE | MOTORIZED VALVE CONTROL | POWER SUPPLY | 100-240 VAC | ACCURACY | +/-0.2 DEG C | VOLTAGE RATING | 24 VAC/VDC | TYPE | ON/OFF | INTERFACE TYPE | RS-485 | MOUNTING TYPE | PANEL | MATERIAL | ABS | SIZE | 96 X 96 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TERMINAL TYPE:SCREW;DEGREE OF PROTECTION:IP20;1 POINT | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 647401 | 647401 | IN03-ED051682 | PID CONTR. 1300-RDRR-01-2-1-R91 GERFRAN | [16 empty] | http://tudonghoasg.com.vn/temperature-controller-1300rdrr0121r91-gefran-viet-nam&p=16 | https://files.kempstoncontrols.com/files/40fb94e419517dbb9c6ff838d9bcd764/F026509.pdf |  | GEFRAN SPA | OPM | 1300-RDRR-01-2-1-R91 | 1300-RDRR-01-2-1-R91 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | +/-0.2 PCT | VOLTAGE RATING | 11-27 VAC/DC | TYPE | PID | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 589121 | 589121 | GB38-CB41927453 | CONTROL(/LER,CAL9900,110V,RS354-919 | 992.11C | EUROTHERM CONTROLS | CAL 9900 SERIES 110VAC TEMP CONTROLLER,RS354-919,SP1 RELAY SP2 RELAY | [13 empty] | https://octopart.com/992.11c-cal+controls-2462816 | https://sg.rs-online.com/web/p/temperature-controllers/0354931 |  | CAL CONTROLS INC | OPM | 992.11C | CAL9900 | ALTERNATE MANUFACTURER NAME:EUROTHERM CONTROLS | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -200 TO 1800 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | RELAY,SSD | POWER SUPPLY | NOT AVAILABLE | ACCURACY | +/- 0.25 PCT | VOLTAGE RATING | 115 V | TYPE |  | INTERFACE TYPE | RS-354/RS-919 | MOUNTING TYPE | PANEL | MATERIAL |  | SIZE | 48 WD X 48 HT X 114 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SP1 RELAY SP2 RELAY | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 812745 | 812745 | TR03-5604777 | CONTROLLER/JUMO/PRESSURE/701531/888-25 | [16 empty] | https://sa.rsdelivers.com/product/jumo/701531/888-25/jumo-di-08-panel-mount-on/off-temperature-controller-48-x-96mm-3-output-1-2/dc/6683033 | https://docs.rs-online.com/fd98/0900766b8171037f.pdf |  | JUMO GMBH | OPM | 701531/888-25 | DI 08 |  | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -200 TO 850 DEG C | SENSOR TYPE | K TYPE THERMOCOUPLE | OUTPUT TYPE | 1 LOGIC,2 RELAY | POWER SUPPLY | 20 TO 30 VAC/DC | ACCURACY |  | VOLTAGE RATING |  | TYPE | DIGITAL MICROPROCESSOR | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 96 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 61326-1, EN 61010-1 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 591525 | 591525 | GB38-CB60042317 | CONTROL(/LER),TEMPERATURE,EUROTHERM,2216 | 2216E-CC-VH-H7-XX-DL | EUROTHERM CONTROLS | CONTROL(/LER),TEMPERATURE,EUROTHERM REF- 3216/cc/vh/DRxx/xxxx/G/ENG/ENG/xxxxxxx Our Ref: OP-220429-11942639 – REV1 | [13 empty] | https://www.surecontrols.com/wp-content/uploads/2014/07/2216e_HA026639_4-1.pdf | https://www.surecontrols.com/wp-content/uploads/2014/07/2216e_HA026639_4-1.pdf |  | EUROTHERM LIMITED. | OPM | 2216E-CC-VH-H7-XX-DL | 2216E-CC-VH-H7-XX-DL |  | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0-55 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | 11-25 VDC | ACCURACY | +/- 0.1 PCT | VOLTAGE RATING | NOT AVAILABLE | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 586195 | 586195 | GB38-5599879 | CONTROLLER, RED LION, PAXS0000 |  |  | PAXS0000 RED LION UNIVERSAL DC, Original quote 1503/001923 /01, Brammer NO 90663741 |  | Rubix | 224A4943 | REDLION |  |  | REDLION PAXS0000 UNIVERSAL DC INPUT | [6 empty] | https://www.farnell.com/datasheets/1975773.pdf |  |  | RED LION CONTROLS | OPM | PAXS0000 | PAXS0000 | DISTRIBUTOR:RUBIX,ORIGINAL QUOTE NUMBER:1503/001923 /01,BRAMMER NO 90663741,224A4943 | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0-50 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | ANALOG | POWER SUPPLY | 85-250 VAC | ACCURACY | +/-0.01 PCT | VOLTAGE RATING | 24 VDC | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE | CLIP | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DISPLAY TYPE:LED | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 562355 | 562355 | FR41-LF2243020 | REGULATEUR TEMPERATURE P116 /LFS93115000 | LM SYSTEMES : P116 EUROTHERM |  |  | REGULATEUR DE TEMPERATURE EUROTHERM REF: P116- CC- VL- RRX- R- 24VAC/DC P116 : Format :48x48 - 1/16 DIN CC : Régulateur VL : Alimentation : 24V ac/dc RRX : Sorties OP1 OP2 : Relais Relais R : Sortie OP4 : Relais inverseur LM SYSTEMES : P116 EUROTHERM ( EN | [12 empty] | https://www.eurotherm.com/products/temperature-controllers/single-loop-temperature-controllers/piccolo-controller-p116-p108-p104/ | https://www.eurotherm.com/?wpdmdl=28026 |  | EUROTHERM LIMITED. | OPM | P116 | P116 | REFERENCE NUMBER:LFS93115000 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0-55 DEG C | SENSOR TYPE | RTD | OUTPUT TYPE | RELAY | POWER SUPPLY | 110-230 V | ACCURACY | <+/-0.25 PCT | VOLTAGE RATING | 24 VAC/DC | TYPE | GENERAL PURPOSE | INTERFACE TYPE | MODBUS RTU SLAVE | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 45 WD X 45 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP65 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 66954 | 66954 | 8321-52026907 | REGULADOR/TEMPERATURA/MCL9000 BM250/WEST | MCL9000 BM250 | Great Western Conveyor Co | [14 empty] | https://www.west-cs.com/products/models/mlc-9000-multi-loop-controller/ |  |  | GREAT LAKES AIR PRODUCTS INC | OPM | MCL9000 BM250 | MCL9000 BM250 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | PID | OUTPUT TYPE | RELAY,SSD | POWER SUPPLY | 18-30 VDC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 18-30 VDC | TYPE | MULTI-LOOP | INTERFACE TYPE | MODBUS RTU,MODBUS TCP,PROFIBUS,DEVICENET | MOUNTING TYPE |  | MATERIAL |  | SIZE | 100 X 30 X 120 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP20 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 66956 | 66956 | 8321-52026918 | REGULADOR/TEMPERATURA/MCL9000 ZA660/WEST | MCL9000 ZA660 | Great Western Conveyor Co | [14 empty] | https://www.west-cs.com/products/models/mlc-9000-multi-loop-controller/ |  |  | GREAT LAKES AIR PRODUCTS INC | OPM | MCL9000 ZA660 | MCL9000 ZA660 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | PID | OUTPUT TYPE | RELAY,SSD | POWER SUPPLY | 18-30 VDC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 18-30 VDC | TYPE | MULTI-LOOP | INTERFACE TYPE | MODBUS RTU,MODBUS TCP,PROFIBUS,DEVICENET | MOUNTING TYPE |  | MATERIAL |  | SIZE | 100 X 30 X 120 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP20 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 154134 | 154134 | 8349-50499693 | CONTR,HEAT,4300-4111113,90-250V | 4300-4111113 | Future Design Controls, Inc. | CONTROL,HEATER,V_RATING:90-250V, INC.,MANUFACTURER:FUTURE DESIGN CONTROLS, INC.,MFR PART NUMBER:4300-4111113 | [13 empty] | https://www.futuredesigncontrols.com/Docs/4300_startup_man.pdf |  |  | FUTURE TOOL, INC. | OPM | 4300-4111113 | 4300-4111113 |  | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -10 TO 50 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | RELAY | POWER SUPPLY | 7 W | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 90-264 VAC | TYPE |  | INTERFACE TYPE | MODBUS PROTOCOL | MOUNTING TYPE | PANEL | MATERIAL |  | SIZE | 96 WD X 96 HT X 65 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 873,EN61010-1 | ADDITIONAL FEATURES | ENCLOSURE:IP20 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 225737 | 225737 | 8373-52098364 | CONTROLADOR TEMP PKC611250300 ERO ELECTR |  |  |  | CONTROLADOR DE TEMPERATURA MARCA ERO ELECTRONIC 100/240VAC 50/60HZ MODELO:PKC611250300 | [12 empty] | https://www.ontrium.com/en/usa/brands/ero-electronic/pkc-pkc611250300 |  |  | ERO ELECTRONIC | OPM | PKC611250300 | PKC611250300 |  | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 100-240 VAC | TYPE | PKC ADVANCED TEMPERATURE | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 96 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50/60 Hz;HUMIDITY:5-95 PCT RH,SCREW TERMINAL | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 299611 | 299611 | AT31-5306282 | JUMO KOMPAKTREGLER 703043/181-00-23/000 | 442005 | JUMO | JUMO Kompaktregler dTRON308 Querformat Typ. 703043/181-00-23/000 | JUMO Kompaktregler dTRON308 Querformat Typ. 703043/181-00-23/000 | [12 empty] | https://www.jumo.net/attachments/JUMO/attachmentdownload?id=3341 |  |  | JUMO GMBH | OPM | 703043/181-00-23/000 | dTRON 308 | ALTERNATE PART NUMBER:442005 | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | LOGIC,RELAY | POWER SUPPLY | 110-240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING |  | TYPE | COMPACT | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 96 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS,DNV GL | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 302655 | 302655 | AT31-5548627 | PMA TEMPERATURREG. KS40-102 242.002 | 242002 | INDUTHERM ENGINEERING AG | [14 empty] | https://docs.rs-online.com/bb4b/0900766b80f8f2e5.pdf |  |  | PMA | OPM | KS40-102 242.002 | KS40-102 242.002 | OEM:INDUTHERM ENGINEERING AG,ALTERNATE PART NUMBER:242002 | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | 90-260 VAC | ACCURACY | +/-0.1 PCT | VOLTAGE RATING | NOT AVAILABLE | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE | SCREW | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:1/8 DIN;3 RELAYS;ENCLOSURE:IP65 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 302873 | 302873 | AT31-5558333 | WESTTEMPREG. P6700 623-3818 241.023 | P6700-2100-000 | PMA PROZESS- UND MASCHINEN-AUTOMATI | 1x Reais Ausgang 100Vac 240V ac 48x48mm 1/16DIN | 1x Reais Ausgang 100Vac 240V ac 48x48mm 1/16DIN | [12 empty] | https://in.rsdelivers.com/product/west-instruments/p6700-2100-000/west-instruments-p6700-pid-temperature-controller/16-dinmm-1-output-relay-100-v-ac-240-v-ac-supply/6233818 |  |  | WEST INSTRUMENTS | OPM | P6700-2100-000 | P6700-2100-000 |  | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 240 V | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 40 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 | TEMPERATURE SETTING RANGE FILLED | 305396 | 305396 | AU02-EA502211 | CONTROLLER,TEMP,240VAC,RTD,4-20MA | CB 103 FD01-M AV-11/A/Y |  | CB 103 FD01-M AV-11/A/Y | [13 empty] | https://www.flw.com/rkc/pdf/cb3_03e.pdf |  |  | RKC INSTRUMENT INC. | OPM | CB 103 FD01-M AV-11/A/Y | CB 103 FD01-M AV-11/A/Y |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -199.9 TO 649 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | 4 TO 20 MA | POWER SUPPLY | 240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING |  | TYPE | DIGITAL,RTD | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 48 WD X 48 HT X 100 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL,CSA | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 372103 | 372103 | BE33-5057315 | REGULATEUR DE T° SIPART DR 22 - 220V ¸ | 6DR2200-5 |  | REGULATEUR DE T° SIPART DR 22 - 220V ¸ | REGULATEUR DE T° SIPART DR 22 - 220V ¸¦¦REGULATEUR DE T° SIPART DR 22 - 220V ¸ | [12 empty] | https://cache.industry.siemens.com/dl/files/412/109767412/att_984906/v1/c79000g7476c154-05en_dr22.pdf |  |  | SIEMENS AG | OPM | 6DR2200-5 | 6DR2200-5 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -1.999 TO 19.999 | SENSOR TYPE | RTD/THERMOCOUPLE | OUTPUT TYPE | RELAY | POWER SUPPLY | 220 V | ACCURACY | +/-1 PCT | VOLTAGE RATING | 24 VDC | TYPE | ON/OFF | INTERFACE TYPE | RS-485 | MOUNTING TYPE | PANEL | MATERIAL | POLYCARBONATE | SIZE | 96 X 96 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TERMINAL TYPE:SCREW;DEGREE OF PROTECTION:IP66 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 413752 | 413752 | CH31-5835096 | GHM R1300-3-MA-1 UNIVERSALREGLER | [16 empty] | https://www.ghm-group.de/fileadmin/GhmProduct/PDF/Datenblatt/en/ghm_pi-ma-R1300_E_datasheet.pdf |  |  | MARTENS TRANSPORTBAHNEN GMBH | OPM | R1300-3-MA-1 | R1300-3-MA-1 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 50 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | ANALOGUE | POWER SUPPLY | 230 VAC | ACCURACY | +/-0.2 PCT | VOLTAGE RATING | 230 VAC | TYPE |  | INTERFACE TYPE | WITHOUT INTERFACE | MOUNTING TYPE | PANEL | MATERIAL | NORYL | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER CONSUMPTION:4W;ENCLOSURE:IP54/20 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 478190 | 478190 | EG02-EG60010497 | CONTROLLER TEMP. MODEL P4170 PRL_38 | [16 empty] | https://www.west-cs.com/assets/Manuals/59305-10-West-Plus-Series-Full-Manual-EN.pdf |  |  | WEST CONTROL SOLUTIONS | OPM | P4170 PRL_38 | P4170 PRL_38 |  | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | RELAY | POWER SUPPLY | NOT AVAILABLE | ACCURACY | +/-0.05 PCT | VOLTAGE RATING | 100-240 VAC | TYPE | LIMITER INDICATOR | INTERFACE TYPE |  | MOUNTING TYPE | DIN | MATERIAL |  | SIZE | 1/16 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 500 OHM | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 533703 | 533703 | FR34-LFREGU00000008 | REGU_MLC9000-C120_REGUL TEMP RESEAU | 5077479902 |  |  | E = 1 SONDE 3 FILS OU 2 SONDES 2 FILS EN REDONDANCES = SSR / 3 &#935 RELAIS NO/NF 120-240VAC/2A | [12 empty] | https://www.west-cs.com/products/models/mlc-9000-multi-loop-controller/ | https://wega-projekt.eu/attachments/article/425/MLC9000-Datasheet.pdf |  | WEST CONTROL SOLUTIONS | OPM | MLC9000-C120 | MLC9000-C120 | ALTERNATE MANUFACTURER PART NUMBER:5077479902 | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -240 TO 1759 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | RELAY,SSD,DC LINEAR | POWER SUPPLY | 2 A | ACCURACY | +/- 0.1 PCT | VOLTAGE RATING | 120-240 VAC,18-30 VDC | TYPE |  | INTERFACE TYPE | PROFIBUS | MOUNTING TYPE | DIN RAIL | MATERIAL |  | SIZE | 22 WD X 100 HT X 120 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL | ADDITIONAL FEATURES | CONFIGURATION:NO/NC;E = 1 3-WIRE PROBE OR 2 2-WIRE PROBES IN REDUNDANCY = SSR/3 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 538122 | 538122 | FR35-LF79903 | STATOP CHAUVIN ARNOUD LR09630-001 | 89163900 | [15 empty] | https://twen.rs-online.com/web/p/temperature-controllers/0198249 |  |  | PYROCONTROLE - CHAUVIN ARNOUX GROUP | OPM | LR09630-001 | LR09630-001 | ALTERNATE MANUFACTURER PART NO:89163900 | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -10 TO 50 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | ANALOG | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 90-260 VAC | TYPE | PID | INTERFACE TYPE | RS 485 | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 542655 | 542655 | FR36-LFREGT4437 | REGULATEUR DE TEMPERATURE TYPE WQD125A | TEMPERATUR-VER |  |  | REGULATEUR DE TEMPERATURE TYPE WQD125A REF. 8.101.302.197 | [12 empty] | https://platinum-international.store/product/platinum-international/control-system-plcs/temperature-controllers/sb-wqd-125-a-temperature-controller/ |  |  | SB | OPM | WQD125A | WQD125A | REFERENCE NUMBER:8.101.302.197 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0-300 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | RELAY | POWER SUPPLY | 115/230 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 0-10 VDC | TYPE | BISTABLE | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL |  | SIZE | 96 X 96 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY:48-62 Hz | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 542657 | 542657 | FR36-LFREGT4610 | REGULATEUR SÉCU.T°701130/0253-043-02-206 | TEMPERATUR-VER |  |  | REGULATEUR DE SECU. TEMP.REF.701130/0253-043-02-206 GR.PR.701110 | [12 empty] | https://www.jumo.net/attachments/JUMO/attachmentdownload?id=4342&filename=t70.1130gb.pdf |  |  | JUMO GMBH | OPM | 701130/0253-043-02-206 |  | REFERENCE NUMBER:GR.PR.701110 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 200 TO 1200 DEG C | SENSOR TYPE | K TYPE THERMOCOUPLE | OUTPUT TYPE | RELAY | POWER SUPPLY | 230 VAC | ACCURACY | +/-2 PCT | VOLTAGE RATING |  | TYPE | SAFETY LIMITER | INTERFACE TYPE |  | MOUNTING TYPE | WALL | MATERIAL | PLASTIC | SIZE | 54 WD X 70 HT X 110 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60 529 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 561843 | 561843 | FR41-LF1240007 | REGULATEUR TEMPERATURE JUMO 703042/181 | JUMO 703042/181-400-23/000 RÉF.00475819 |  |  | REGULATEUR DE TEMPERATURE JUMO : 703042/181-400-23/000 FORMAT VERTICAL - TYPE : DTRON 308H - AVEC CARTE OPTION 1 entrée analogique, 2 relais, 2 ntrées/sorties logiques alim. p. convertisseur 2 fils Exécution Standard avec réglage d'usine Sorties logiques | [12 empty] | https://www.jumo.net/attachments/JUMO/attachmentdownload?id=3341 | https://ie.rs-online.com/web/p/temperature-controllers/5109124 |  | JUMO GMBH | OPM | 703042/181-400-23/000 | dTRON 308H | REFERENCE NUMBER:00475819 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | ANALOGUE | POWER SUPPLY | 110-240 VAC | ACCURACY | NOT AVAILABLE | VOLTAGE RATING |  | TYPE | COMPACT | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 96 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS,DNV GL | ADDITIONAL FEATURES | W/ OPTION CARD 1 ANALOG INPUT,2 RELAYS,2 POWER SUPPLY LOGIC INPUTS/OUTPUTS,.2-WIRE CONVERTER STANDARD EXECUTION W/ FACTORY SETTING LOGIC OUTPUTS | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 624208 | 624208 | IE32-CB41907893 | CONTROLLER,TEMP,24V,EKC367,DANFOSS |  |  | DANFOSS | [13 empty] | https://www.invertwell.com/084b7083-danfoss-media-temperature-controller-ekc-367/ |  |  | DANFOSS | OPM | EKC367 | EKC367 |  | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | 5 VA | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 24 V | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE | DIN-RAIL | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50/60 Hz;HUMIDITY:5-95 PCT RH,SCREW TERMINAL | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 624209 | 624209 | IE32-CB41907896 | CONTROLLER,TEMP,80-140F,SA121,S/SARCO |  |  | C/W 6FT CAPILLARY TUBE OLIVE GLANDNUT | [13 empty] | https://www.cooneybrothers.com/spirax-sarco-3840091 |  |  | SPIRAX SARCO | OPM | SA121 | SA121 |  | ENRICHED | MRO | 41112200 | TEMPERATURE AND HEAT MEASURING INSTRUMENTS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 55-195 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | NOT AVAILABLE | TYPE | SELF-ACTING KNOB STYLE | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL | BRASS | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 9001 | ADDITIONAL FEATURES | 80-140F | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 848247 | 848247 | IT03-5400116 | TERMOREGOL. GEFRAN 600-R-R-W-2-1 | 100-240V AC 4-20 MA | [15 empty] | https://www.gefran.com/en/in/download/3123/attachment/en |  |  | GEFRAN SPA | OPM | 600-R-R-W-2-1 | 600-R-R-W-2-1 |  | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -1999 TO 9999 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | RELAY | POWER SUPPLY | 4-20 mA | ACCURACY | 0.2 PCT | VOLTAGE RATING | 100-240 VAC | TYPE | MICROPROCESSOR | INTERFACE TYPE | RS 485 | MOUNTING TYPE |  | MATERIAL |  | SIZE | 48 WD X 48 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 1421 | 1421 | 8301-52005369 | CONTROLADOR DE TEMPERATURA 6100 |  |  | CONTROLADOR DE TEMPERATURA 6100 CONTROLADOR DE TEMPERATURA 6100 (ALIA 6100L01T1414H10C10C00C00X19 (WESTCOM) SAIDA A RELE E 4-20MA WESTCOM 6100L01T1415H10C10C00C00X19 Grupo = Eletrica/Eletronica | CONTROLADOR DE TEMPERATURA 6100 CONTROLADOR DE TEMPERATURA 6100 (ALIA 6100L01T1414H10C10C00C00X19 (WESTCOM) SAIDA A RELE E 4-20MA WESTCOM 6100L01T1415H10C10C00C00X19 Grupo = Eletrica/Eletronica | Fastnel | 14177-00044 | Alpes AutomaCAO ComErcio de Componentes | P6100+1217002 | PARAF SEXTAVADO INOX M8X100MM - 2SXM8X100 - DAPCO | CONTROLADOR DE TEMPERATURA COM ENTRADA CONFIGURAVEL SAIDA 01 SSR SAIDA 02 A RELE | CONTROLADOR DE TEMPE | [5 empty] | https://www.west-cs.com/products/models/6100-single-loop-controller |  |  | ALPES AUTOMACAO COMERCIO DE COMPONENTES | OPM | 6100 | 6100 | REFERENCE NUMBER:6100L01T1414H10C10C00C00X19,6100L01T1415H10C10C00C00X19 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0-55 DEG C | SENSOR TYPE | UNIVERSAL | OUTPUT TYPE | RELAY,SSD | POWER SUPPLY | 100-240 VAC | ACCURACY | +/-0.1 PCT | VOLTAGE RATING | 22-65 VDC | TYPE |  | INTERFACE TYPE | RS-485 SERIAL | MOUNTING TYPE |  | MATERIAL |  | SIZE | 48 WD X 48 HT X 110 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA,UL,ULC | ADDITIONAL FEATURES | FREQUENCY RATING:50-60 Hz;ALIA;GRUPO:ELETRICA/ELETRONICA | [32 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 413753 | 413753 | CH31-5835097 | EINZONEN TEMPERATURREGLER R1300-2-00-1 | [16 empty] | https://www.ghm-group.de/fileadmin/GhmProduct/PDF/Datenblatt/en/ghm_pi-ma-R1300_E_datasheet.pdf | https://www.elotech.de/fileadmin/user_upload/Downloads/Bedienungsanleitungen/englisch/R1300-X-00-X_EN.pdf |  | MARTENS GMBH | OPM | R1300-2-00-1 | R1300-2-00-1 |  | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | RELAY | POWER SUPPLY | 230 V,< 4 W | ACCURACY | ? 0.2 PCT | VOLTAGE RATING | 230 VAC | TYPE | SINGLE ZONE | INTERFACE TYPE | RS-485 | MOUNTING TYPE | PANEL | MATERIAL | NORYL | SIZE | 96 X 96 MM,122 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 61326-1:2013,EN 61010-1:2011 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 05-05-2023 |  | 842349 | 842349 | ZA02-5476737 | CM000070808 TEMP CONT TECO CS90 T9 |  |  | CM000070808TEMPERATURE CONTOLLER TECO CS90 T 9 - CASE INOX 400-415 V /50 Hz 0414775 ANALOG INTERFACE, OFFERTA DI RIF N 9725947 |  | Sacmi | 8JCM000070808 |  |  | TEMPERATURE CONTOLLER TECO CS |  | CM000070808 TEMP CON | [5 empty] | https://www.technotrans-outlet.com/fileadmin/user_upload/Landingpage-Outlet/TEC_Kompakte_Temperiergeraete_GB_Screen_14-03-2021a.pdf | https://www.otec-industry.com.ua/en/show_catalogue_pdf/324187/1 | https://www.radwell.co.uk/en-GB/Buy/GWK%20CONTROLS/GWK%20CONTROLS/TECO%20CS%2090T%209/?redirect=true | GWK CONTROLS | OPM | TECO CS 90T 9 | TECO CS 90T 9 | REFERENE NUMBER:CM000070808,0414775,OFFER REFERENCE NUMBER:9725947 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 95 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | 9/9.5/23 KW | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 400-415 V | TYPE | COMPACT,WATER INDIRECT | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL | STAINLESS STEEL | SIZE | 356 WD X 674 LG X 607 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY:50 Hz;MEDIUM:WATER;COOLING:INDIRECT;HEATING CAPACITY:9 KW | [32 empty] | Part number is not available so we updated model number as part number | Production Completed