## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 56936 | 56936 | 8317-50487161 | LAMP,BALLAS,10-0034C-R GERMICIDAL ULTRAV | 10-0034C-R GERMICIDAL ULTRAVIOLET 120V | Atlantic Ultraviolet Corp | LAMP,BALLAST,APPLICATION:UV LAMPS,POWER_RATING:120V,MANUFACTURER:ATLANTIC ULTRAVIOLET CORP,MFR PART NUMBER:10-0034C-R GERMICIDAL ULT | [13 empty] | https://www.buyultraviolet.com/ballast-surelite-120-10-0034c |  |  | ATLANTIC ULTRAVIOLET CORPORATION | OEM | 10-0034C-R | 10-0034C-R | BRAND:GERMICIDAL ULTRAV | ENRICHED | MRO | 39111801 | Lamp ballasts | BALLAST |  | TYPE | INSTANT | VOLTAGE RATING | 120 VAC | CURRENT RATING | 430 mA | LAMP WATTAGE | NOT AVAILABLE | LAMP TYPE | LED | NUMBER OF LAMPS | NOT AVAILABLE | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | FOR UV LAMPS | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-08 |  | 378061 | 378061 | BE35-5413049 | BALAST LDOD PCA 1X35/49/80 W | WELEC 4873999 |  | BALAST LDOD PCA 1X35/49/80 T5 nr.22 185 105 WELEC :4873999 | BALAST LDOD PCA 1X35/49/80 T5 nr.22 185 105 WELEC :4873999¦¦BALAST LDOD PCA 1X35/49/80 T5 nr.22 185 105 WELEC :4873999¦¦BALAST LDOD PCA 1X35/49/80 T5 nr.22 185 105 WELEC :4873999 | [12 empty] | https://www.tridonic.com/com/en/download/data_sheets/PCA_T5_EXCEL_lp_xitec_II_en.pdf |  |  | TRIDONIC ACTO | OPM | 22185105 | PCA 1X35/49/80 T5 | ALTERNATE OPM:WELEC,ALTERNATE PART NUMBER:4873999 | ENRICHED | MRO | 39111801 | Lamp ballasts | BALLAST |  | TYPE |  | VOLTAGE RATING | 220 TO 240 VAC | CURRENT RATING | 0.18 A | LAMP WATTAGE | 35 W | LAMP TYPE | LED | NUMBER OF LAMPS | 1 | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR |  | ENCLOSURE | IP20 | TEMPERATURE RATING | -25 TO 75 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC | ADDITIONAL FEATURES | BULB SHAPE:T5 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-08 |  | 579678 | 579678 | GB36-5460164 | BALLAST,ELECTRONIC,2X58W EL2X58NGN HELVA |  |  | ELECTRONIC BALLAST 2X58W HELVAR EDMUNDSON EL2X58NGN | [13 empty] | https://media.helvar.com/s/f/d6529a912559f5b6793e8968fb03f9a1/en/7372 | https://helvar.com/product/el2x58ngn/ |  | HELVAR | OPM | EL2X58NGN | EL2X58NGN | DISTRIBUTOR NAME:EDMUNDSON | ENRICHED | MRO | 39101901 | Fluorescent ballast | BALLAST |  | TYPE | ELECTRONIC | VOLTAGE RATING | 220 TO 240 VAC | CURRENT RATING | 0.5 TO 0.45 A | LAMP WATTAGE | 58 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | 2 | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING | 40-60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CB,CCC,EC | ADDITIONAL FEATURES | BULB SHAPE:T8 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-08 |  | 230134 | 230134 | 8373-52215949 | BALASTRO ELECTRONICO EL 2X58 SC |  |  | BALASTRO ELECTRONICO T8: 2 X 58W USO: TRANSPORTADOR POS-61A L-5 0.50 - 0.46A 0.98 TC = MAX 80 °C TA 10...+50 °C 220 - 240V 50/60 HZ MARCA: HELVAR o BALASTRO ELECTRONICO PARA LAMPARA 2 X 58W HFS 258 220-240V MARCA PHILIPS | [13 empty] | https://helvar.com/product/el2x58sc/ |  |  | HELVAR | OPM | EL2X58SC | EL2X58SC | ALTERNATE OPM:PHILIPS,LAMP 2 X 58W HFS 258 220-240V,CONVEYOR POS-61A L-5 | ENRICHED | MRO | 39101901 | Fluorescent ballast | BALLAST |  | TYPE | ELECTRONIC | VOLTAGE RATING | 220 TO 240 VAC | CURRENT RATING | 0.5 A | LAMP WATTAGE | 58 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | 2 | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR | 0.98 | ENCLOSURE |  | TEMPERATURE RATING | 10-50 DEG C CASE,80 DEG C HOUSING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BULB SHAPE:T8 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 770519 | 770519 | RU03-5568895 | BALLAST;GDB80095L2 | [16 empty] | https://www.aqualightech.com/products/slt.html | https://filterline-filters.com/wp-content/uploads/2018/12/Aqualight-UV-SLT-Series-Catalog.pdf | https://docs.wixstatic.com/ugd/74dad5_e2e832f8515d492d88bcd0dc3c40eef2.pdf?index=true | AQUA LIGHTECH LIMITED | OPM | GDB80095L2 | GDB80095L2 |  | ENRICHED | MRO | 39111801 | Lamp ballasts | BALLAST |  | TYPE | NOT AVAILABLE | VOLTAGE RATING | 110 TO 240 VAC | CURRENT RATING | NOT AVAILABLE | LAMP WATTAGE | NOT AVAILABLE | LAMP TYPE | NOT AVAILABLE | NUMBER OF LAMPS | NOT AVAILABLE | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING | 2-40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:STAINLESS STEEL | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-08 |  | 280004 | 280004 | 8386-50242480 | LAMP,BALLAS,GE432MAX-N/ULTRA,FLUORESCENT | GE432MAX-N/ULTRA | General Electric Co | LAMP,BALLAST,APPLICATION:FLUORESCENT LAMPS,POWER_RATING:120-277V,MANUFACTURER:GENERAL ELECTRIC CO,MFR PART NUMBER:GE432MAX-N/ULTRA |  | BDI | GeneralElectricCo | General Electric Co | GE432MAX-N/ULTRA | LAMP,BALLAS,GE432MAX-N/ULTRA,FLUORESCENT | [7 empty] | https://www.1000bulbs.com/pdf/ge-78627-spec.pdf |  |  | GENERAL ELECTRIC | OPM/OEM | GE432MAX-N/ULTRA | GE432MAX-N/ULTRA |  | ENRICHED | MRO | 39101901 | Fluorescent ballast | BALLAST |  | TYPE | INSTANT | VOLTAGE RATING | 120 TO 277 VAC | CURRENT RATING | 0.16 mA | LAMP WATTAGE | 41 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | NOT AVAILABLE | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING | -10 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 55C | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 384338 | 384338 | BE35-LBH09207 | BALLAST TL HF-P258TLD ELEKTRON | LAMP BALLAST HF-P258 TLD |  | BALAST ELEKTRONISCH HF-P258 TLD ( VOOR ARMATUUR HF PAC196S 258 HFP ) | BALAST ELEKTRONISCH HF-P258 TLD ( VOOR ARMATUUR HF PAC196S 258 HFP )¦¦BALAST ELEKTRONISCH HF-P258 TLD ( VOOR ARMATUUR HF PAC196S 258 HFP )¦¦BALAST ELEKTRONISCH HF-P258 TLD ( VOOR ARMATUUR HF PAC196S 258 HFP ) | [12 empty] | https://www.lighting.philips.com/api/assets/v1/file/PhilipsLighting/content/fp913713031966-pss-global/913713031966_EU.en_AA.PROF.FP.pdf | https://www.lighting.philips.com/main/prof/lighting-electronics/fluorescent/fluorescent-fixed-output-gear/hf-performer-iii-for-tl-d-lamps/913713031966_EU/product |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | HF-P 258 TL-D | HF-P 258 TL-D |  | ENRICHED | MRO | 39111801 | Lamp ballasts | BALLAST |  | TYPE | ELECTRONIC | VOLTAGE RATING | 220 TO 240 VAC | CURRENT RATING | 0.5 mA | LAMP WATTAGE | 58 W | LAMP TYPE |  | NUMBER OF LAMPS | 2 | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR | 0.99 | ENCLOSURE | IP20 | TEMPERATURE RATING | -25 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,IEC,EN,ISO | ADDITIONAL FEATURES | BULB SHAPE:TL-D/PL-L,FOR LUMINAIRE HF PAC196S 258 HFP | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-08 |  | 671533 | 671533 | IN07-ED061092 | DRIVER HF-S 254 TL5 II PHILIPS | [16 empty] | https://www.lighting.philips.co.in/prof/lighting-electronics/fluorescent/fluorescent-fixed-output-gear/hf-selectalume-ii-for-tl5-lamps/913713033766_EU/product |  |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | HF-S 254 TL5 II | HF-S 254 TL5 II |  | ENRICHED | MRO | 39101901 | Fluorescent ballast | BALLAST |  | TYPE | NOT AVAILABLE | VOLTAGE RATING | 220 TO 240 V | CURRENT RATING | 28 A | LAMP WATTAGE | 13.7 Kw | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | 2 | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR | 0.99 | ENCLOSURE | IP20 | TEMPERATURE RATING | -15 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CB,CCC,CE,ENEC,C-TICK,F-MARKING,PSB,SIRIM,TISI,VDE-E | ADDITIONAL FEATURES | BULB SHAPE:TL5 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-08 |  | 18393 | 18393 | 8308-52222588 | REATOR ELETRICO AFP 220V 54W HFS154TL5II |  |  | REATOR; TIPO: ELETRONICO; MODELO: AFP 220V 54W 50/60HZ; APLICAÇÃO: ILUMINACAO; FABRICANTE: PHILIPS; REFERENCIA: HFS154TL5II | REATOR; TIPO: ELETRONICO; MODELO: AFP 220V 54W 50/60HZ; APLICAÇÃO: ILUMINACAO; FABRICANTE: PHILIPS; REFERENCIA: HFS154TL5II | [12 empty] | https://www.lighting.philips.com/api/assets/v1/file/PhilipsLighting/content/fp913713033666-pss-global/ADAM-20151211055324885%40en_AA.pdf |  |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | HFS154TL5II | HFS154TL5II |  | ENRICHED | MRO | 39101901 | Fluorescent ballast | BALLAST |  | TYPE | ELECTRONIC | VOLTAGE RATING | 220 VAC | CURRENT RATING | 20 A | LAMP WATTAGE | 54 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | NOT AVAILABLE | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR | 0.98 | ENCLOSURE | IP20 | TEMPERATURE RATING | -15 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-08 |  | 59687 | 59687 | 8319-50205552 | LAMP,BALLAS,ICN-4S54-90C-2LS-G | ICN-4S54-90C-2LS-G | Advance Transformer Co | LAMP,BALLAST,APPLICATION:FLUORESCENT LAMPS,POWER_RATING:120-277V,MANUFACTURER:ADVANCE TRANSFORMER CO,MFR PART NUMBER:ICN-4S54-90C-2L |  | Wesco | 78108704786 | Advance Transformer Co | ICN-4S54-90C-2LS-G | LAMP,BALLAST,APPLICATION:FLUORESCENT LAMPS,POWER_RATING:120-277V,MANUFACTURER:ADVANCE TRANSFORMER CO,MFR PART NUMBER:ICN-4S54-90C-2L | [7 empty] | https://www.grainger.com/product/ADVANCE-Fluorescent-Ballast-T5HO-1FYE5 |  |  | ADVANCE TRANSFORMER CO | OPM/OEM | ICN-4S54-90C-2LS-G | ICN-4S54-90C-2LS-G | DISTRIBUTOR PART NUMBER:78108704786 | ENRICHED | MRO | 39101901 | Fluorescent ballast | BALLAST |  | TYPE | NON-DIMMABLE | VOLTAGE RATING | 120 TO 277 VAC | CURRENT RATING | 2 A | LAMP WATTAGE | 54 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | 3-4 | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR | 0.98 | ENCLOSURE |  | TEMPERATURE RATING | -20 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | CEC,CSA,NOM,ROHS,UL | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 759972 | 759972 | RU02-5600894 | LED TREIBER;IPS50-350T;50W | [16 empty] | http://www.belelectro.com/ips-50-350t-ip20 |  |  | ARGOS-TRADE | OPM | IPS 50-350T | IPS 50-350T |  | ENRICHED | MRO | 39111801 | Lamp ballasts | BALLAST |  | TYPE | DRIVER | VOLTAGE RATING | NOT AVAILABLE | CURRENT RATING | NOT AVAILABLE | LAMP WATTAGE | 50 W | LAMP TYPE | LED | NUMBER OF LAMPS | NOT AVAILABLE | ANSI CODE |  | FREQUENCY RATING |  | POWER FACTOR |  | ENCLOSURE | IP67 | TEMPERATURE RATING | -40 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 57072 | 57072 | 8317-50489809 | LAMP,BALLAS,M250TRIAC3M502K,METAL HALIDE | M250TRIAC3M502K | Universal Lighting Tech Inc | LAMP,BALLAST,APPLICATION:METAL HALIDE,POWER_RATING:250W,MANUFACTURER:UNIVERSAL LIGHTING TECH INC,MFR PART NUMBER:M250TRIAC3M502K | [13 empty] | https://www.gordonelectricsupply.com/p/Ult-M250Triac3M502K-1-250W-Bal/6228227 |  |  | UNIVERSAL LIGHTING TECH INC | OPM | M250TRIAC3M502K | M250TRIAC3M502K |  | ENRICHED | MRO | 39111801 | Lamp ballasts | BALLAST |  | TYPE |  | VOLTAGE RATING | 120/277/347 VAC | CURRENT RATING | 2.78/1.3/1.05 A | LAMP WATTAGE | 250 W | LAMP TYPE | METAL HALIDE | NUMBER OF LAMPS | 1 | ANSI CODE |  | FREQUENCY RATING | 60 Hz | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING | -30 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-08 |  | 156345 | 156345 | 8349-52199784 | LAMP,BALLAS,GE332MAX-G-N 74456 | GE332MAX-G-N 74456 | General Electric Co | LAMP,BALLAST,APPLICATION:FLUORESCENT LAMPS,POWER RATING:120-277V,MANUFACTURER:GENERAL ELECTRIC CO,MFR PART NUMBER:GE332MAX-G-N 74456 |  | Wesco | 4316872258 | General Electric Co | GE332MAX-G-N 74456 | LAMP,BALLAST,APPLICATION:FLUORESCENT LAMPS,POWER RATING:120-277V,MANUFACTURER:GENERAL ELECTRIC CO,MFR PART NUMBER:GE332MAX-G-N 74456 | [7 empty] | https://www.gecurrent.com/catalog/4-t8-instant-start-linear-fluorescent-ballast-74456 | https://www.grainger.com/product/CURRENT-Fluorescent-Ballast-T8-4PRW8 | https://www.ballasts.com/products/ge332max-g-n-74456-proline-fluorescent-ballast-3xf32t8?variant=29931371987016 | GENERAL ELECTRIC | OPM | 74456 | GE332MAX-G-N | DISTRIBUTOR PART NUMBER:4316872258 | ENRICHED | MRO | 39101901 | Fluorescent ballast | BALLAST |  | TYPE | INSTANT START | VOLTAGE RATING | 120 TO 277 VAC | CURRENT RATING | 0.73 A | LAMP WATTAGE | 81 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | 2 OR 3 | ANSI CODE |  | FREQUENCY RATING | 50 Hz | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING | -30 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CUL,FCC,NRCAN | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 276381 | 276381 | 8385-52193841 | BALASTO ITALAVIA FPC 2000W COD 1228900 |  |  | BALASTO INTEMPERIE ITALAVIA FPC 2000W COD 1228900 | [13 empty] | https://articulo.mercadolibre.com.ar/MLA-1106277713-balasto-plamp-2000w380v-m-halog-italavia-intemp-1228900-_JM | http://www.pemsa.com.ar/UserFiles/mediaManager/1//77956a91cdf5c39367918000d56d3afe6497008a_e1c8de0f052f1a56d6794ef36351984265cdeb29.pdf |  | ELT ARGENTINA SA | DISTRIBUTOR | 1228900 | 1228900 |  | ENRICHED | MRO | 39111801 | Lamp ballasts | BALLAST |  | TYPE | NOT AVAILABLE | VOLTAGE RATING | 380 V | CURRENT RATING | NOT AVAILABLE | LAMP WATTAGE | 2000 W | LAMP TYPE | NOT AVAILABLE | NUMBER OF LAMPS | NOT AVAILABLE | ANSI CODE |  | FREQUENCY RATING |  | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-08 |  | 204292 | 204292 | 8364-50436455 | LAMP,BALLAS,GE332MAX-H/ULTRA10 | GE332MAX-H/ULTRA10 | General Electric Co | LAMP,BALLAST,APPLICATION:FLUORESCENT LAMP,POWER_RATING:120-277V,MANUFACTURER:GENERAL ELECTRIC CO,MFR PART NUMBER:GE332MAX-H/ULTRA10 |  | Wesco | 4316878619 | General Electric Co | GE332MAX-H/ULTRA10 | LAMP,BALLAST,APPLICATION:FLUORESCENT LAMP,POWER_RATING:120-277V,MANUFACTURER:GENERAL ELECTRIC CO,MFR PART NUMBER:GE332MAX-H/ULTRA10 | [7 empty] | https://www.1000bulbs.com/pdf/ge-78619-spec.pdf | https://www.1000bulbs.com/pdf/GE-ultramax-brochure.pdf |  | GENERAL ELECTRIC | OPM | GE-332-MAX-H/ULTRA10 | GE-332-MAX-H/ULTRA10 | DISTRIBUTOR PART NUMBER:4316878619 | ENRICHED | MRO | 39101901 | Fluorescent ballast | BALLAST |  | TYPE | INSTANT START,MULTI-VOLT | VOLTAGE RATING | 120 TO 277 VAC | CURRENT RATING |  | LAMP WATTAGE | 111 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS |  | ANSI CODE |  | FREQUENCY RATING | 50/60 Hz | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING | 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS,UL | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-08 |  | 579676 | 579676 | GB36-5460156 | BALLAST,ELECT 220-240 2X70W EDMUNDSON |  |  | BALLAST,ELECTRONIC 220-240 2X70W RS STOCK NO 478-3888 MOVE SUPPLIER TO EDMUNDSON BETTER PRICE PER UNIT | [13 empty] | https://www.tridonic.com/com/en/download/data_sheets/DS_PC_T8_PRO_18-70W_xitec_en.pdf | https://za.rs-online.com/web/p/lighting-ballasts/4783888 |  | TRIDONIC ACTO | OPM | PC 2/70 T8 PRO | PC 2/70 T8 PRO | ALTERNATE MANUFACTURER:EDMUNDSON,DISTRIBUTOR NAME:RS COMPONENTS,DISTRIBUTOR PART NUMBER:478-3888,RS STOCK NO:478-3888 | ENRICHED | MRO | 39101901 | Fluorescent ballast | BALLAST |  | TYPE | ELECTRONIC FIXED OUTPUT | VOLTAGE RATING | 220 TO 240 V | CURRENT RATING |  | LAMP WATTAGE | 70 W | LAMP TYPE | FLUORESCENT | NUMBER OF LAMPS | 2 | ANSI CODE |  | FREQUENCY RATING |  | POWER FACTOR |  | ENCLOSURE |  | TEMPERATURE RATING | -25 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOVE SUPPLIER TO EDMUNDSON BETTER PRICE PER UNIT | [32 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 380466 | 380466 | BE35-LBB13685 | LAMP SIGNALISATIE ROOD 230 VAC | WERMA 835 152 68 ROOD |  | SIGNAALLAMP - WERMA NR 82820068 - 230 VAC ROOD E244884 | SIGNAALLAMP - WERMA NR 82820068 - 230 VAC ROOD E244884¦¦SIGNAALLAMP - WERMA NR 82820068 - 230 VAC ROOD E244884¦¦SIGNAALLAMP - WERMA NR 82820068 - 230 VAC ROOD E244884 | [12 empty] | https://www.tme.eu/Document/1a97e72138f8f51b92a1b214dfa9028b/826_series.pdf |  |  | WERMA SIGNALTECHNIK GMBH + CO | OPM | 835 152 68 | 835 152 68 | ALTERNATE PART NUMBER:82820068,E244884 | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | FLASH,SIGNALISATION ROAD LAMP | LAMP TYPE | XENON | FLASH RATE | 10 J | VOLTAGE RATING | 230 VAC | CAP/LENS COLOUR | WHITE | FLASH TYPE | INTEGRAL | LAMP WATTAGE |  | LENS MATERIAL | POLYCARBONATE | SIZE | 98 DIA X 137 HT MM | MOUNTING TYPE | BASE | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA C22-2 NO 14,EAC,EN/IEC 60947-5-1,UL 508 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 583437 | 583437 | GB37-5560450 | SOUNDER,WALL,AD1044-CHQ-WSB,HOCHIKIK |  |  | HOCHIKIK WALL SOUNDER WSB, AD1044-CHQ-WSB |  | Rubix | 122A5651 | HOCHIKI |  |  | HOCHIKI WALL SOUNDER WSB AD1044-CHQ-WSB | [6 empty] | https://www.hochikiasiapacific.com/storage/product_resources/Datasheet/chq-wsb-1460090-00%20Product%20Specifications%2001.pdf |  |  | HOCHIKI | OPM | AD1044-CHQ-WSB | AD1044-CHQ-WSB | DISTRIBUTOR PART NUMBER:122A5651 | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | WALL SOUNDER | LAMP TYPE | LED | FLASH RATE | NOT AVAILABLE | VOLTAGE RATING | 17 TO 41 VDC | CAP/LENS COLOUR | RED | FLASH TYPE | VARIABLE | LAMP WATTAGE |  | LENS MATERIAL | TRANSLUCENT POLYCARBONATE | SIZE | 112 WD X 112 HT X 67 DP MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | POLYCARBONATE ABS | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP21 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 70194 | 70194 | 8321-52176677 | ALARMA SONORA/12-24VDC 4X4X2.8"/FS24/ |  |  | ALARMA SONORA/12-24VDC 4X4X2.8"/FS24/ | [13 empty] | https://www.technomat-shop.com/en/products/fire-siren-beacon-led-98db-12-24vdc-60ma-fs24 |  |  | EATON GROUP | OPM | FS24 | FS24 |  | ENRICHED | MRO | 46171606 | Sirens | BEACON |  | TYPE | SOUND ALARM,FIRE SIREN | LAMP TYPE | LED | FLASH RATE | NOT AVAILABLE | VOLTAGE RATING | 12 TO 24 VDC | CAP/LENS COLOUR | NOT AVAILABLE | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 4 X 4 X 2.8 IN | MOUNTING TYPE | WALL | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 45 | ADDITIONAL FEATURES | CURRENT RATING:60 mA | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 1407 | 1407 | 8301-52005311 | ELEMENTO LUMINOSO COM SINALIZACAO |  |  | ELEMENTO LUMINOSO COM SINALIZACAO ELEMENTO LUMINOSO COM SINALIZACAO PERMANENTE LAMPADA COM LED FORNECIDA E 24VDC, PESO 0,15KG IP65, COM TAMPA PAR PARTE SUPERIOR - COR AMARELA XVB-C0B8 (TELEMECANIQUE)XVB-C0B8 (TELEMECANIQUE) Grupo = Confeti/Brand Mix | ELEMENTO LUMINOSO COM SINALIZACAO ELEMENTO LUMINOSO COM SINALIZACAO PERMANENTE LAMPADA COM LED FORNECIDA E 24VDC, PESO 0,15KG IP65, COM TAMPA PAR PARTE SUPERIOR - COR AMARELA XVB-C0B8 (TELEMECANIQUE)XVB-C0B8 (TELEMECANIQUE) Grupo = Confeti/Brand Mix | Fastnel | 14177-00066 | HIDROMATIC- AUTOMACAO INDUSTRIA | XVBC2B8 | PARAF ALLEN C/CAB INOX M5X60MM - 2CCM5X60 - DAPCO | ELEMENTO LUMIN. LED (AM) FIXA 24V IP65 - XVBC2B8-SCHNEIDER | ELEMENTO LUMINOSO CO | [5 empty] | https://www.se.com/uk/en/product/XVBC0B8/yellow-led-unit/ | https://www.farnell.com/datasheets/102825.pdf | https://idealsurplus.com/telemecanique-xvb-c0b8-stack-light-used | SCHNEIDER ELECTRIC | OPM | XVBC0B8 | XVBC0B8 | ALTERNATE MANUFACTURER NAME:TELEMECANIQUE,HIDROMATIC-AUTOMACAO INDUSTRIA,DISTRIBUTOR PART NUMBER:14177-00066,GROUP=CONFETI/BRAND MIX | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | ILLUMINATED | LAMP TYPE | LED | FLASH RATE | NOT AVAILABLE | VOLTAGE RATING | 24 VDC | CAP/LENS COLOUR | YELLOW | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | M5 X 60 MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP65,WEIGHT:0.15 KG,W/PERMANENT SIGNALING LED LIGHT LAMP,TOP COVER,LUMINOUS ELEMENT | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 272768 | 272768 | 8385-52170128 | ELEMENTO LUMINOSO P/LAMPARA LED XVB C2B8 | [16 empty] | https://www.se.com/ww/en/product/XVBC2B8/indicator-bank-harmony-xvb-illuminated-unit-plastic-yellow-70mm-steady-integral-led-24v-ac-dc/ | https://in.rsdelivers.com/product/schneider-electric/xvbc2b8/schneider-electric-harmony-xvb-series-yellow-unit/dc-led-bulb-ac-dc-ip65/4362093 |  | SCHNEIDER ELECTRIC | OPM | XVBC2B8 | XVBC2B8 |  | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | LIGHTING ELEMENT | LAMP TYPE | LED | FLASH RATE | 5J OR 10 J | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | YELLOW | FLASH TYPE |  | LAMP WATTAGE | 10 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 DIA X 63 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | TEMPERATURE RATING:-25 TO 50 DEG C,LUMINOUS ELEMENT | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 59761 | 59761 | 8319-50242248 | IND,LIGHT LENS,XVBC35,ORANGE | XVBC35 | Telemecanique | INDICATOR,LIGHT LENS,COLOR:ORANGE,MANUFACTURER:TELEMECANIQUE,MFR PART NUMBER:XVBC35 | [13 empty] | https://www.se.com/ww/en/product/XVBC35/indicator-bank-harmony-xvb-illuminated-unit-plastic-orange-70mm-steady-bulb-or-led-not-included-250v/ |  |  | SCHNEIDER ELECTRIC | OPM | XVBC35 | XVBC35 | ALTERNATE MANUFACTURER NAME:TELEMECANIQUE | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | INDICATOR | LAMP TYPE | INCANDESCENT W/BA15D BASE PROTECTED LED | FLASH RATE | 5J OR 10 J | VOLTAGE RATING | 250 V | CAP/LENS COLOUR | ORANGE | FLASH TYPE |  | LAMP WATTAGE | 7 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 WD X 63 HT X 70 DP MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA C22.2,UL | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP65,W/LIGHT LENS | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 538067 | 538067 | FR35-LF78931 | BALISE ETAGE FLASH 10J ROUGE 24V XVBC8B4 | XVBC8B4 | [15 empty] | https://www.se.com/ww/en/product/download-pdf/XVBC8B4 | https://www.se.com/ww/en/product/XVBC8B4/indicator-bank-harmony-xvb-illuminated-unit-plastic-red-70mm-integral-flash-discharge-tube-10joule-24v-ac-dc/ |  | SCHNEIDER ELECTRIC | OPM | XVBC8B4 | XVBC8B4 |  | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | FLASH FLOOR | LAMP TYPE | LED | FLASH RATE | 10 J | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | RED | FLASH TYPE | INTEGRAL | LAMP WATTAGE | 10 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 DIA X 157 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | TEMPERATURE RATING:-25 TO 50 DEG C | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 538068 | 538068 | FR35-LF78932 | BALISE ETA. FLASH 10J ORANGE 24V XVBC8B5 | XVBC8B5 | [15 empty] | https://www.se.com/ww/en/product/download-pdf/XVBC8B5 | https://www.se.com/ww/en/product/XVBC8B5/indicator-bank-harmony-xvb-illuminated-unit-plastic-orange-70mm-integral-flash-discharge-tube-10joule-24v-ac-dc/ |  | SCHNEIDER ELECTRIC | OPM | XVBC8B5 | XVBC8B5 |  | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | FLASH FLOOR | LAMP TYPE | NOT AVAILABLE | FLASH RATE | 10 J | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | ORANGE | FLASH TYPE | INTEGRAL | LAMP WATTAGE | 10 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 DIA X 157 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | TEMPERATURE RATING:-25 TO 50 DEG C | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 61760 | 61760 | 8319-50421840 | ALARM,K50LGRAL1YNQ - 79481 | K50LGRAL1YNQ - 79481 | Banner Engineering Corp | ALARM,MANUFACTURER:BANNER ENGINEERING CORP,MFR PART NUMBER:K50LGRAL1YNQ - 79481 | [13 empty] | https://www.bannerengineering.com/in/en/products/part.79481.html |  |  | BANNER ENGINEERING CORP | OPM | 79481 | K50LGRAL1YNQ |  | ENRICHED | MRO | 41112905 | Infrared Beacon | BEACON |  | TYPE | AUDIBLE INDICATOR | LAMP TYPE | LED | FLASH RATE | NOT AVAILABLE | VOLTAGE RATING | 18 TO 30 VDC | CAP/LENS COLOUR | GREEN,RED,YELLOW | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 50 DIA X 68 HT MM | MOUNTING TYPE | BASE | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | AUDIBLE INTENSITY:95 DB,DEGREE OF PROTECTION:IP50,MOUNTING THREAD:M30 X 1.5 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 511864 | 511864 | ES36-5456080 | 436-2037 LED 24V VERDE XVBC2B3 |  |  |  | Corresponde a su Oferta A1005581297 Unidad de avisador acústico Schneider Electric XVBC2B3, Verde, LED, Negro, diám. 70mm, 24 V ac / dc Código RS: 436-2037 Nº ref. fabric.: XVBC2B3 Fabricante: Schneider Electric | [12 empty] | https://www.se.com/ww/en/product/XVBC2B3/harmony-xvb-illuminated-unit-for-modular-tower-lights-plastic-green-%C3%B870-steady-integral-led-24-v-ac-dc/ | https://www.se.com/ww/en/product/download-pdf/XVBC2B3 | https://www.se.com/ww/en/product/XVBC2B3/indicator-bank-harmony-xvb-illuminated-unit-plastic-green-70mm-steady-integral-led-24v-ac-dc/#sustainability¦https://export.rsdelivers.com/product/schneider-electric/xvbc2b3/schneider-electric-harmony-xvb-series-gr | SCHNEIDER ELECTRIC | OPM | XVBC2B3 | XVBC2B3 | ALTERNATE MANUFACTURER:TELEMECANIQUE,DISTRIBUTOR NAME:RS COMPONENT,DISTRIBUTOR PART NUMBER:436-2037 | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | STEADY EFFECT | LAMP TYPE | INTEGRAL LED | FLASH RATE |  | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | GREEN | FLASH TYPE |  | LAMP WATTAGE | 10 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 WD X 63 HT X 70 DP MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | BASE DIAMETER:70 MM,DEGREE OF PROTECTION:IP65,TEMPERATURE RATING:-25 TO 50 DEG C,WEIGHT:0.15 KG,W/PERMANENT SIGNALING LAMP WITH LED SUPPLIED,GROUP CONFETI/BRAND MIX,CORRESPONDS TO THE OFFER A1005581297 | [32 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 1409 | 1409 | 8301-52005313 | ELEMENTO LUMINOSO COM SINALIZACAO |  |  | ELEMENTO LUMINOSO COM SINALIZACAO PERMANENTE LAMPADA COM LED FORNECIDA E 24VDC - PESO 0,15KG IP65, COM TAMPA PARA PARTE SUPERIOR - COR VERDE XVB-C2B3 (TELEMECANIQUE)XVB-C2B3 (TELEMECANIQUE) Grupo = Confeti/Brand Mix | ELEMENTO LUMINOSO COM SINALIZACAO PERMANENTE LAMPADA COM LED FORNECIDA E 24VDC - PESO 0,15KG IP65, COM TAMPA PARA PARTE SUPERIOR - COR VERDE XVB-C2B3 (TELEMECANIQUE)XVB-C2B3 (TELEMECANIQUE) Grupo = Confeti/Brand Mix | Fastnel | 14177-00054 | HIDROMATIC- AUTOMACAO INDUSTRIA | XVBC2B3 | PARAF SEXTAVADO INOX M5X60MM - 2SXM5X60 - DAPCO | ELEMENTO LUMIN. LED (VD) FIXA 24V IP65 - XVBC2B3- SCHNEIDER | ELEMENTO LUMINOSO CO | [5 empty] | https://www.se.com/ww/en/product/XVBC2B3/harmony-xvb-illuminated-unit-for-modular-tower-lights-plastic-green-%C3%B870-steady-integral-led-24-v-ac-dc/ | https://www.se.com/ww/en/product/download-pdf/XVBC2B3 | https://www.se.com/ww/en/product/XVBC2B3/indicator-bank-harmony-xvb-illuminated-unit-plastic-green-70mm-steady-integral-led-24v-ac-dc/#sustainability¦https://export.rsdelivers.com/product/schneider-electric/xvbc2b3/schneider-electric-harmony-xvb-series-gr | SCHNEIDER ELECTRIC | OPM | XVBC2B3 | XVBC2B3 | ALTERNATE MANUFACTURER NAME:TELEMECANIQUE,DISTRIBUTOR PART NUMBER:14177-00054 | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | STEADY EFFECT | LAMP TYPE | INTEGRAL LED | FLASH RATE |  | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | GREEN | FLASH TYPE |  | LAMP WATTAGE | 10 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 WD X 63 HT X 70 DP MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | BASE DIAMETER:70 MM,DEGREE OF PROTECTION:IP65,TEMPERATURE RATING:-25 TO 50 DEG C,WEIGHT:0.15 KG,W/PERMANENT SIGNALING LAMP WITH LED SUPPLIED,GROUP CONFETI/BRAND MIX,LUMINOUS ELEMENT | [32 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 272766 | 272766 | 8385-52170126 | ELEMENTO LUMINOSO P/LAMPARA LED XVB C2B3 | [16 empty] | https://www.se.com/ww/en/product/XVBC2B3/harmony-xvb-illuminated-unit-for-modular-tower-lights-plastic-green-%C3%B870-steady-integral-led-24-v-ac-dc/ | https://www.se.com/ww/en/product/download-pdf/XVBC2B3 | https://www.se.com/ww/en/product/XVBC2B3/indicator-bank-harmony-xvb-illuminated-unit-plastic-green-70mm-steady-integral-led-24v-ac-dc/#sustainability¦https://export.rsdelivers.com/product/schneider-electric/xvbc2b3/schneider-electric-harmony-xvb-series-gr | SCHNEIDER ELECTRIC | OPM | XVBC2B3 | XVBC2B3 | ALTERNATE MANUFACTURER:TELEMECANIQUE | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | STEADY EFFECT | LAMP TYPE | LED | FLASH RATE |  | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | GREEN | FLASH TYPE | INTEGRAL | LAMP WATTAGE | 10 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 DIA X 63 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP65,TEMPERATURE RATING:-25 TO 50 DEG C,W/PERMANENT SIGNALING LAMP WITH LED SUPPLIED,GROUP CONFETI/BRAND MIX,LUMINOUS ELEMENT | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 512147 | 512147 | ES36-5470114 | 436-2043 BALIZA LED 24V ROJO XVBC2B4 | XVBC2B4 |  |  | Corresponde a su Oferta A1005581297 Elemento luminoso Schneider Electric Harmony XVB constante, LED, Rojo, Ø 70mm, alim. 24 V ac/dc Código RS:436-2043 Nº ref. fabric.:XVBC2B4 Fabricante:Schneider Electric | [12 empty] | https://www.se.com/ww/en/product/XVBC2B4/harmony-xvb-illuminated-unit-for-modular-tower-lights-plastic-red-%C3%B870-steady-integral-led-24-v-ac-dc/ | https://www.se.com/ww/en/product/download-pdf/XVBC2B4 | https://uk.rs-online.com/web/p/signal-tower-components/4362043 | SCHNEIDER ELECTRIC | OPM | XVBC2B4 | XVBC2B4 | DISTRIBUTOR NAME:RS COMPONENT,DISTRIBUTOR PART NUMBER:436-2043 | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | STEADY EFFECT,LIGHTING ELEMENT | LAMP TYPE | INTEGRAL LED | FLASH RATE | NOT AVAILABLE | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | RED | FLASH TYPE |  | LAMP WATTAGE | 10 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 WD X 63 HT X 70 DP MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP65,TEMPERATURE RATING:-25 TO 50 DEG C,BASE DIAMETER:70 MM,CORRESPONDS TO THE OFFER A1005581297 | [32 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 775055 | 775055 | RU03-TRU39003270 | ANNUNCIATOR LIGHT;XVBC2B4 | [16 empty] | https://www.se.com/ww/en/product/XVBC2B4/harmony-xvb-illuminated-unit-for-modular-tower-lights-plastic-red-%C3%B870-steady-integral-led-24-v-ac-dc/ | https://www.se.com/ww/en/product/download-pdf/XVBC2B4 | https://uk.rs-online.com/web/p/signal-tower-components/4362043 | SCHNEIDER ELECTRIC | OPM | XVBC2B4 | XVBC2B4 |  | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | STEADY EFFECT,LIGHTING ELEMENT | LAMP TYPE | LED | FLASH RATE | NOT AVAILABLE | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | RED | FLASH TYPE | INTEGRAL | LAMP WATTAGE | 10 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 DIA X 63 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP65,TEMPERATURE RATING:-25 TO 50 DEG C | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 272767 | 272767 | 8385-52170127 | ELEMENTO LUMINOSO P/LAMPARA LED XVB C2B4 | [16 empty] | https://www.se.com/ww/en/product/XVBC2B4/harmony-xvb-illuminated-unit-for-modular-tower-lights-plastic-red-%C3%B870-steady-integral-led-24-v-ac-dc/ | https://www.se.com/ww/en/product/download-pdf/XVBC2B4 | https://uk.rs-online.com/web/p/signal-tower-components/4362043 | SCHNEIDER ELECTRIC | OPM | XVBC2B4 | XVBC2B4 |  | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | STEADY EFFECT,LIGHTING ELEMENT | LAMP TYPE | LED | FLASH RATE | NOT AVAILABLE | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | RED | FLASH TYPE | INTEGRAL | LAMP WATTAGE | 10 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 DIA X 63 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | PLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | TEMPERATURE RATING:-25 TO 50 DEG C,LUMINOUS ELEMENT | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 1408 | 1408 | 8301-52005312 | ELEMENTO LUMINOSO XVBC2B4 24V VERMELHA |  |  | ELEMENTO LUMINOSO XVBC2B4 24V VERMELHA; COR: VERMELHA; BASE: FIXA PARA TORRE; TENSAO: 24V; CORRENTE: 47MA; NUMERO LEDS: 1; UNIDADE LIMINOSA DE 70MM DE DIAMENTRO-IP65-MATERIAL POLICARBONATO-TEMPERATURA TRABALHO -25 A 50ºC-ALTURA DE 63MM-DEDICADO A TORRE XV | ELEMENTO LUMINOSO XVBC2B4 24V VERMELHA; COR: VERMELHA; BASE: FIXA PARA TORRE; TENSAO: 24V; CORRENTE: 47MA; NUMERO LEDS: 1; UNIDADE LIMINOSA DE 70MM DE DIAMENTRO-IP65-MATERIAL POLICARBONATO-TEMPERATURA TRABALHO -25 A 50ºC-ALTURA DE 63MM-DEDICADO A TORRE XV | Fastnel | 14177-00038 | HIDROMATIC- AUTOMACAO INDUSTRIA | XVBC2B4 | PARAF SEXTAVADO INOX M4X50MM - 2SXM4X50 - DAPCO | ELEMENTO LUMIN. LED (VM) FIXA 24V IP65 XVBC2B4 SCHNEIDER | ELEMENTO LUMINOSO XV | [5 empty] | https://www.se.com/ww/en/product/XVBC2B4/harmony-xvb-illuminated-unit-for-modular-tower-lights-plastic-red-%C3%B870-steady-integral-led-24-v-ac-dc/ | https://www.se.com/ww/en/product/download-pdf/XVBC2B4 | https://uk.rs-online.com/web/p/signal-tower-components/4362043 | SCHNEIDER ELECTRIC | OPM | XVBC2B4 | XVBC2B4 | EQUIPMENT NAME:PRODUCT MIX ADDING UNIT,TAG NUMBER:EV3901 | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | STEADY EFFECT,LIGHTING ELEMENT | LAMP TYPE | INTEGRAL LED | FLASH RATE | NOT AVAILABLE | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | RED | FLASH TYPE |  | LAMP WATTAGE | 10 W | LENS MATERIAL | POLYCARBONATE | SIZE | 70 WD X 63 HT X 70 DP MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | CURRENT RATING:47 mA,MATERIAL:POLYCARBONATE,NUMBER OF LEDS:1,LINE:LINE 39-AUTOMATIC BRAND MIX,CRITICALITY:B Z MISCELLANEOUS,TEMPERATURE RATING:-25 TO 50 DEG C,LUMINOUS ELEMENT | [32 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 511830 | 511830 | ES36-5450973 | 436-2059 BALIZA LED NARANJA XVBC2B5 | BALIZA LED 24V NARANJA |  |  | Corresponde a su Oferta A1005581297 Unidad de avisador acústico Schneider Electric XVBC2B5, Naranja, LED, Negro, diám. 70mm, 24 V ac / dc Código RS: 436-2059 Nº ref. fabric.: XVBC2B5 Fabricante: Schneider Electric | [12 empty] | https://www.se.com/ww/en/product/XVBC2B5/harmony-xvb-illuminated-unit-for-modular-tower-lights-plastic-orange-%C3%B870-steady-integral-led-24-v-ac-dc/ | https://in.rsdelivers.com/product/schneider-electric/xvbc2b5/schneider-electric-harmony-amber-steady-effect-led/dc/4362059 |  | SCHNEIDER ELECTRIC | OPM | XVBC2B5 | XVBC2B5 | DISTRIBUTOR NAME:RS COMPONENT,DISTRIBUTOR PART NUMBER:436-2059 | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | SAFETY EFFECT | LAMP TYPE | INTEGRAL LED | FLASH RATE | NOT AVAILABLE | VOLTAGE RATING | 24 VAC/DC | CAP/LENS COLOUR | ORANGE | FLASH TYPE |  | LAMP WATTAGE |  | LENS MATERIAL | POLYCARBONATE | SIZE | 70 WD X 63 HT X 70 DP MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA,EAC,EN/IEC,UL | ADDITIONAL FEATURES | BASE DIAMETER:70 MM,DEGREE OF PROTECTION:IP65,TEMPERATURE RATING:-25 TO 50 DEG C,CORRESPONDS TO THE OFFER A1005581297 | [32 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 276227 | 276227 | 8385-52190477 | BALIZA TELEMECANIQUE XVB C8M6 220 V |  |  | BALIZA TELEMECANIQUE XVB C8M6 220 V | [13 empty] | https://www.se.com/ww/en/product/XVBC8M6/harmony-xvb-illuminated-unit-for-modular-tower-lights-plastic-blue-%C3%B870-integral-flash-discharge-tube-10-joule-230-v-ac/ |  |  | SCHNEIDER ELECTRIC | OPM | XVBC8M6 | XVBC8M6 | ALTERNATE MANUFACTURER NAME:TELEMECANIQUE | ENRICHED | MRO | 41112900 | Navigational Equipment And Instruments | BEACON |  | TYPE | HARMONY UNIVERSAL | LAMP TYPE | NOT AVAILABLE | FLASH RATE | 10 J | VOLTAGE RATING | 230 VAC | CAP/LENS COLOUR | BLUE | FLASH TYPE | SIGNAL | LAMP WATTAGE |  | LENS MATERIAL | POLYCARBONATE | SIZE | 157 X 70 X 70 MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA C22-2 NO14,EN/IEC60947-5-1 | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 844374 | 844374 | 8301-52009430 | COLUNA LUMINOSA FLASH 5 JOULES IP40 |  |  | **OBSOLETO ANALISE ARVORE 2020** COLUNA LUMINOSA FLASH 5 JOULES IP40 230VCA INCOLOR (REF: XVD-L6M7 â€"OBSOLETO) NOVO MODELO: XVBL8M7; CÃ"D FORN212.142316.171; (TELEMECANIQUE)FLASH 5 JOULES HOLLER INCOLOR IP40 PSD-I-35G XVD-L/C (TELEMECANIQUE) 230VCA GRUPO | **OBSOLETO ANALISE ARVORE 2020** COLUNA LUMINOSA FLASH 5 JOULES IP40 230VCA INCOLOR (REF: XVD-L6M7 â€"OBSOLETO) NOVO MODELO: XVBL8M7; CÃ"D FORN212.142316.171; (TELEMECANIQUE)FLASH 5 JOULES HOLLER INCOLOR IP40 PSD-I-35G XVD-L/C (TELEMECANIQUE) 230VCA GRUPO | [12 empty] | https://www.se.com/ww/en/download/document/XVBL8M7_REACH_DECLARATION/ | https://www.mouser.com/ProductDetail/Schneider-Electric/XVBL8M7?qs=17u8i%2FzlE89QCwFL%2FbL9Eg%3D%3D | https://www.mouser.com/datasheet/2/357/1/XVBL8M7_document-3059625.pdf | SCHNEIDER ELECTRIC | OPM | XVBL8M7 | XVBL8M7 | ALTERNATE MANUFACTURER NAME:TELEMECANIQUE | ENRICHED | MRO | 39111706 | Strobe or warning lights | BEACON |  | TYPE | HARMONY UNIVERSAL | LAMP TYPE | NON LED | FLASH RATE | 5 J | VOLTAGE RATING | 230 VAC | CAP/LENS COLOUR | CLEAR | FLASH TYPE | INTEGRAL | LAMP WATTAGE |  | LENS MATERIAL |  | SIZE | 70 WD X 70 DP X 232 HT MM | MOUNTING TYPE |  | HOUSING/BASE MATERIAL | GLASS REINFORCED POLYAMIDE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CSA C22-2 NO:14,EAC,EN/IEC 60947-5-1,UL 508 | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP40/65/66,TEMPERATURE RATING:-40 TO 158 DEG F (-40 TO 70 DEG C) AMBIENT AIR,LIGHTING COLUMN,COLORLES,(REFERENCE NO:XVD-L6M7 AC),CAD FOR N212.142316.171,(TELEMECANIQUE) FLASH HOLLER COLORLESS IP40 PSD-I-35G XVD | [32 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 227220 | 227220 | 8373-52152748 | PANEL VIEW VV900 MODELO PMX-090T COGNEX | VISION VIEW 900 |  | PANEL VIEW VV900 DC INPUT: 24VDC…..2A MODELO PMX-090T MARCA:COGNEX | [13 empty] | https://www.icop.co.jp/sites/default/files/datasheet/PMX-090T_DS.pdf |  |  | COGNEX CORPORATION | OPM | PMX-090T | PANEL VIEW VV900 |  | ENRICHED | MRO | 45111807 | Interfaces | INTERFACE |  | TYPE | TOUCH SCREEN | POWER SUPPLY | 24 VDC,2 A | NUMBER OF PORTS | 3 | PORT DATA | RS-232/422/485,USB | SPEED RATING | 10/100 MBPS | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 236.6 X 146 X 35 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 611115 | 611115 | ID01-5036409 | PANEL VIEW PLUS 700 2711P-T7C4D8 | [16 empty] | https://docs.rs-online.com/b555/0900766b8123936e.pdf |  |  | SIEMENS AG | OPM | 2711P-T7C4D8 | PANEL VIEW PLUS 700 |  | ENRICHED | MRO | 45111807 | Interfaces | INTERFACE |  | TYPE | TOUCH COLOR SCREEN | POWER SUPPLY | 24 VDC | NUMBER OF PORTS | 2 | PORT DATA | RS-232,ETHERNET | SPEED RATING |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 246 WD X 179 LG MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-08 |  | 510579 | 510579 | ES36-5414259 | 125-0702 BOMBILLA LED 13W=100W E27 230V |  |  |  | Según su Oferta_RS_A1006526271_de JULIO 2022 Lámparas LED GLS Orbitec 180641, 13 W, 1521 lm, Casquillo E27, GLS, 230 V, equiv. incandescente 100W, Blanco Cálido Código RS: 125-0702 Nº ref. fabric.: 180641 Fabricante: Orbitec | [12 empty] | http://www.orbitec.fr/categ/files/assets/common/downloads/Catalogue%20.pdf?uni=4636fced0ee59c4075bc0570bc1a821d | https://in.rsdelivers.com/product/orbitec/180641/orbitec-e27-led-gls-bulb-13-w100w-2700k-warm-white/1250702 |  | ORBITEC | OPM | 180641 | 180641 | DISTRIBUTOR NAME:RS COMPONENT,DISTRIBUTOR PART NUMBER:125-0702 | ENRICHED | MRO | 39101628 | Light emitting diode LED lamp | LAMP | LED | WATTAGE | 13 W | VOLTAGE RATING | 230 V | BASE TYPE | E27 | SHAPE DESIGNATION |  | TYPE | BULB | COLOUR | WARM WHITE | SIZE | 70 DIA X 130 LG MM | COLOUR TEMPERATURE | 2700 K | LAMP LIFE | 25000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 80 CRI | TEMPERATURE RATING |  | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | LUMENS:1521 LM,GLS | [26 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-08 |  | 313565 | 313565 | AU04-5013185 | LAMP,LED,TUBE,DYL,4FT,240VAC | SUNNY SALLT8/120TC |  | SUNNY SALLT8/120TC | [13 empty] | https://www.sal.net.au/products/interior-led-lighting/led-lamps/LT8TC_9-24W |  |  | SUNNY AUSTRALIA LIGHTING | OPM | LT8/120TC | LT8/120TC |  | ENRICHED | MRO | 39101628 | Light emitting diode LED lamp | LAMP | LED | WATTAGE | 18 W | VOLTAGE RATING | 240 VAC | BASE TYPE | G13 | SHAPE DESIGNATION | TUBE | TYPE | MAGNETIC BALLAST,SHATTER PROOF | COLOUR |  | SIZE | 28 MM DIA X 4 FT LG | COLOUR TEMPERATURE | 3000/4000/6000 K | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 80 CRI | TEMPERATURE RATING |  | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BEAM ANGLE:320 DEG,LUMENS:1800/2200/2000 LM,DYL | [26 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-08 |  | 408011 | 408011 | CH31-5314413 | LED MODUL BA15D 24V ROT | DL1BDB4 | SCHNEIDER ELECTRIC | [14 empty] | https://www.se.com/ww/en/product/DL1BDB4/harmony-xvb-protected-led-bulb-ba-15d-red-steady-light-24-v-ac-dc/ | https://www.alliedelec.com/product/schneider-electric/dl1bdb4/70007091/ | https://www.mouser.in/ProductDetail/Schneider-Electric/DL1BDB4?qs=QCBj0mi9odrpen89n3bJEg%3D%3D | SCHNEIDER ELECTRIC | OPM | DL1BDB4 | DL1BDB4 |  | ENRICHED | MRO | 39101628 | Light emitting diode LED lamp | LAMP | LED | WATTAGE | 10 W | VOLTAGE RATING | 24 VAC/DC | BASE TYPE | BA15D | SHAPE DESIGNATION | NOT AVAILABLE | TYPE | HARMONY XVB | COLOUR | RED | SIZE |  | COLOUR TEMPERATURE |  | LAMP LIFE | 100000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX |  | TEMPERATURE RATING | -40 TO 70 DEG C | DIMMABLE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE | ADDITIONAL FEATURES | CURRENT RATING:47 mA,SIGNALLING TYPE:STEADY | [26 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-08 |  | 315135 | 315135 | AU04-5035917 | TUBE,LED,18W,240V,4000K COOL WHITE | AWM SALLT8/120CW | [15 empty] | https://awm.mmem.com.au/bendigo/sallt8-2f-120tc |  |  | SUNNY AUSTRALIA LIGHTING | OPM | SALLT8/120CW | SALLT8/120CW | DISTRIBUTOR NAME:AWM | ENRICHED | MRO | 39101628 | Light emitting diode LED lamp | LAMP | LED | WATTAGE | 18 W | VOLTAGE RATING | 240 VAC | BASE TYPE | G13 | SHAPE DESIGNATION | TUBE | TYPE | SHATTER-PROOF | COLOUR | COOL WHITE | SIZE | 28 DIA X 1198 LG MM | COLOUR TEMPERATURE | 4000 K | LAMP LIFE |  | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 80 CRI | TEMPERATURE RATING | 0-25 DEG C | DIMMABLE | NO | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BEAM ANGLE:320 DEG | [26 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-08 |  | 303042 | 303042 | AT31-5570728 | LED CLICKLUX ROCKET 90 | LED CLICKLUX ROCKET 90 | LICHTLINE | [14 empty] | https://www.lichtline.com/produkte/clicklux-rocket-90 | https://www.kraus-kabel.de/beleuchtung/click-lux-rocket-90-led-licht-band-lichtbandsystem-11800lm-dimmbar-2000mm-erweiterbar-dali/a-242974 |  | LICHTLINE GMBH | OPM | LED CLICKLUX ROCKET 90 | LED CLICKLUX ROCKET 90 |  | ENRICHED | MRO | 39101628 | Light emitting diode LED lamp | LAMP | LED | WATTAGE | 76 W | VOLTAGE RATING | 220-240 VAC | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE |  | COLOUR | GRAY,WHITE | SIZE |  | COLOUR TEMPERATURE | 4000/5000/6500 K | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | 83 CRI | TEMPERATURE RATING | -20 TO 50 DEG C | DIMMABLE | SLIDE SWITCH,DALI | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,D,ENEC | ADDITIONAL FEATURES | ENCLOSURE:IP54 | [26 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | ok | 04-05-2023 | 2023-05-08 |  | 770687 | 770687 | RU03-5571424 | LAMP;ARCTIC_OPL_ECOLED;1088000140 | [16 empty] | https://www-ltcompany-com.translate.goog/ru/products/types/industrial-luminaires/up-to-5-meters/arctic-opl-eco-led/arctic-opl-eco-led-1500-em-5000k/?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc | https://www-etm-ru.translate.goog/cat/nn/2936740?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  | LIGHTING TECHNOLOGIES | OPM | 1088000140 | ARCTIC-OPL-ECOLED |  | ENRICHED | MRO | 39101628 | Light emitting diode LED lamp | LAMP | LED | WATTAGE | 60 W | VOLTAGE RATING | 230 V | BASE TYPE | NOT AVAILABLE | SHAPE DESIGNATION | NOT AVAILABLE | TYPE |  | COLOUR | WHITE | SIZE | 170 WD X 1578 LG X 110 HT MM | COLOUR TEMPERATURE | 5000 K | LAMP LIFE | 50000 HR | ANSI CODE |  | WAVELENGTH |  | COLOUR RENDERING INDEX | >80 CRI | TEMPERATURE RATING | -40 TO 40 DEG C | DIMMABLE | NO | HAZARD CLASS | CLASS II | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE:IP65,DIFFUSER MATERIAL:POLYCARBONATE,LAMP BODY MATERIAL:PLASTIC,VIEWING ANGLE:D120 | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 838484 | 838484 | VN03-EV003383 | TIMER: H5CN-XCN AC 100-240, OMRON | H5CN-XCN | OMRON | [14 empty] | https://www.ia.omron.com/product/item/4238/ | https://sg.misumi-ec.com/vona2/detail/222004922283/?HissuCode=H5CN-XCN%20AC100-240 | https://docs.rs-online.com/5fc1/0900766b8139882c.pdf | OMRON ELECTRONICS | OPM | H5CN-XCN | H5CN-XCN |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 1-5999 SEC | CURRENT RATING | 0.125 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/-0.01 PCT POWER ON START,+/-0.005 PCT RESET START | VOLTAGE RATING | 100-240 VAC | TYPE | DIGITAL | OPERATION MODE | ON-DELAY | COLOUR | LIGHT GRAY | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE | FLUSH,SURFACE | SIZE | 48 WD X 97.6 LG X 48 HT MM | HAZARD CLASS |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 832149 | 832149 | VN02-EV005159 | TIMER,H3Y2- AC220V-10S | H3Y2- AC220V-10S¦OMRON | [15 empty] | https://www.ia.omron.com/product/item/3951/ |  |  | OMRON ELECTRONICS | OPM | H3Y2- AC220V-10S | H3Y2- AC220V-10S |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.5-1 SEC | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/-1 PCT FS | VOLTAGE RATING | 200-230 VAC | TYPE | POWER | OPERATION MODE | ON-DELAY,TIME-LIMIT,SELF-RESET | COLOUR | BEIGE | OPERATING TEMPERATURE RANGE | -10 TO 50 DEG C | MOUNTING TYPE |  | SIZE | 63 HT MM | HAZARD CLASS |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 815856 | 815856 | TR03-TR5012488 | ROLE (OMRON,H3DS-ML,ZAMAN,24-230VAC,RAY) | [16 empty] | https://assets.omron.eu/downloads/datasheet/en/v3/l098_h3ds_solid-state_timer_datasheet_en.pdf | https://www.farnell.com/datasheets/2079871.pdf | https://industrial.omron.eu/en/products/H3DS-ML-AC-DC | OMRON ELECTRONICS | OPM | H3DS-ML | H3DS-ML |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.1 SEC-120 HR | CURRENT RATING | 5 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/- 0.1 PCT,+/- 10 MS | VOLTAGE RATING | 24-230 VAC | TYPE | SOLID STATE | OPERATION MODE |  | COLOUR | LIGHT GRAY | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE | DIN-TRACK | SIZE | 80 X 73 X 45 MM | HAZARD CLASS |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 275065 | 275065 | 8385-52172460 | TEMPORIZADOR MULTIESC H3CR A8 24 VAC/DC |  |  |  | TEMPORIZADOR MULTIESCALA OMRON MOD. H3CR -A8 24V AC/DC PARA ZOCALO DE 8 PATAS | [12 empty] | https://www.ia.omron.com/product/item/3762/ |  |  | OMRON ELECTRONICS | OPM | H3CR-A8-24 VAC/DC | H3CR-A8-24 VAC/DC |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.05 SEC-300 HR | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | 8 | ACCURACY | +/-0.2 PCT | VOLTAGE RATING | 24-48 VAC | TYPE | SOLID STATE | OPERATION MODE | ON-DELAY | COLOUR | LIGHT GRAY | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE | PANEL | SIZE | 66.6 X 39 X 44.8 MM | HAZARD CLASS |  | ADDITIONAL FEATURES | ENCLOSURE:IP40 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 828671 | 828671 | VN02-EV000429 | TIMER,H3CR-F8N-AC100-240 | H3CR F8N-AC100-240¦OMRON | [15 empty] | https://www.ia.omron.com/product/item/3776/ |  |  | OMRON ELECTRONICS | OPM | H3CR-F8N-AC100-240 | H3CR-F8N-AC100-240 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.05-1.2 SEC | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/-0.2 PCT FS | VOLTAGE RATING | 100-240 VAC | TYPE | SOLID STATE | OPERATION MODE | SELF RESET | COLOUR |  | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE |  | SIZE | 66.6 X 39 X 44.8 MM | HAZARD CLASS |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 613142 | 613142 | ID01-EI003558 | TIMER OMRON 11A H3CRA11-A11 220V | [16 empty] | https://docs.rs-online.com/36ca/0900766b815c01c9.pdf |  |  | OMRON ELECTRONICS | OPM | H3CRA11-A11 220V | H3CRA11-A11 220V |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.05 SEC-300 HR | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/- 0.2 PCT | VOLTAGE RATING | 220 V | TYPE | SOLID STATE | OPERATION MODE |  | COLOUR | LIGHT GRAY | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE |  | SIZE | 66.6 X 39 X 44.8 MM | HAZARD CLASS |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 771702 | 771702 | RU03-5592314 | ??????;H3DS-ML AC/DC OMI | [16 empty] | https://industrial.omron.eu/en/products/H3DS-ML-AC-DC.pdf |  |  | OMRON ELECTRONICS | OPM | H3DS-ML AC/DC | H3DS-ML AC/DC |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.1 SEC-120 HR | CURRENT RATING | 5 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 24-48 VDC | TYPE | ANALOG,MULTI-FUNCTION | OPERATION MODE | FLICKER-ON/OFF | COLOUR |  | OPERATING TEMPERATURE RANGE |  | MOUNTING TYPE | DIN-RAIL | SIZE | 17.5 MM | HAZARD CLASS |  | ADDITIONAL FEATURES | OUTPUT:RELAY | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 707167 | 707167 | PH41-EP000692 | RELAY, TIMER, H3BF-N8, 220V, OMRON | OMRON | [15 empty] | https://www.farnell.com/datasheets/1499667.pdf | https://www.digikey.com/en/products/detail/omron-automation-and-safety/H3BF-N8-220-VAC/2669362 |  | OMRON ELECTRONICS | OPM/OEM | H3BF-N8 220 VAC | H3BF-N8 220 VAC |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.05 SEC-300 HR | CURRENT RATING | 5 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/-0.3 PCT | VOLTAGE RATING | 110/220 VAC,24 VDC | TYPE | TWIN | OPERATION MODE | ON-DELAY,FLICKER ON/OFF START,SINAL ON/OFF DELAY,INTERVAL | COLOUR | LIGHT GRAY | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE | SOCKET | SIZE | 48 WD X 48 LG X 93 HT MM | HAZARD CLASS |  | ADDITIONAL FEATURES | CERTIFICATION/STANDARD:CSA,LR,UL | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 589099 | 589099 | GB38-CB41927420 | TIMER,PROGRAME,24-240VAC,H3CA-A306,OMRON | H3CA-A30 | OMRON ELECTRONIC COMPONENTS | TIMER MULTIRANGE,AC DC,OMRON REF-H3CA-A-306-DIN | [13 empty] | https://in.rsdelivers.com/product/omron/h3ca-a-306/omron-din-rail-panel-mount-surface-mount-multi-12/7463887 |  |  | OMRON ELECTRONICS | OPM | H3CA-A-306 | H3CA-A-306 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.1 SEC-9990 HR | CURRENT RATING | 3 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 24-240 VAC | TYPE | MULTI-FUNCTION | OPERATION MODE | ON/OFF-DELAY,INTERVAL | COLOUR |  | OPERATING TEMPERATURE RANGE | 55 DEG C | MOUNTING TYPE | DIN-RAIL,PANEL | SIZE | 48 WD X 48 LG X 89 DP MM | HAZARD CLASS |  | ADDITIONAL FEATURES | NUMBER OF CONTACT:1 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 275064 | 275064 | 8385-52172459 | TEMPORIZADOR MULTIE H3CR A 100/240 VAC |  |  |  | TEMPORIZADOR MULTIESCALA OMRON MOD. H3CR A- AC 100-240 PARA ZOCALO DE 11 PATAS | [12 empty] | https://www.ia.omron.com/products/family/193/specification.html |  |  | OMRON ELECTRONICS | OPM | H3CR-A-100/240 VAC | H3CR-A-100/240 VAC |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.05 SEC-300 HR | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/-0.2 PCT | VOLTAGE RATING | 100-240 VAC | TYPE | SOLID STATE | OPERATION MODE |  | COLOUR | LIGHT GRAY | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE | PANEL | SIZE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | ENCLOSURE:IP40 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 690992 | 690992 | MY44-5046097 | SEQUENTIAL TIMER (MT 4-E4D) | [16 empty] | http://www.industrialzone.com/pdf/mecairseriesmt.pdf |  |  | MECAIR | OPM | MT4-E4D | MT4-E4D |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | NOT AVAILABLE | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 115-230 VAC | TYPE | SEQUENTIAL | OPERATION MODE |  | COLOUR |  | OPERATING TEMPERATURE RANGE | -10 TO 50 DEG C | MOUNTING TYPE |  | SIZE | 213 LG X 185 HT MM | HAZARD CLASS |  | ADDITIONAL FEATURES | CONNECTION TYPE:PUSH IN PLUG,ENCLOSURE:IP65 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 275068 | 275068 | 8385-52172463 | TEMPORIZADOR MULTIE H3CR A8 100/240 VAC |  |  |  | TEMPORIZADOR MULTIESCALA MARCA OMRON MOD H3CR-A8 AC 100-240 DE 8 PATAS.- | [12 empty] | https://industrial.omron.eu/en/products/H3CR-A8-100-240VAC-100-125VDC |  |  | OMRON ELECTRONICS | OPM | H3CR-A8-100/240 VAC | H3CR-A8-100/240 VAC |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.05 SEC-300 HR | CURRENT RATING | 5 A | NUMBER OF CHANNELS | 8 | ACCURACY | +/-0.2 PCT | VOLTAGE RATING | 100-240 VAC | TYPE | SOLID STATE | OPERATION MODE | ON/OFF FLICKER,INTERVAL/ONE-SHOT-DELAY | COLOUR | LIGHT GRAY | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE | PANEL | SIZE | 48 WD X 48 LG MM | HAZARD CLASS |  | ADDITIONAL FEATURES | ENCLOSURE:IP40 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 386593 | 386593 | BE35-LBH13907 | TIMER H3DK-M1 24V-230V | OMRON H3DK-M1 24V-230V |  | TIMER OMRON H3DK-M1 24V-230V | TIMER OMRON H3DK-M1 24V-230V¦¦TIMER OMRON H3DK-M1 24V-230V¦¦TIMER OMRON H3DK-M1 24V-230V | [12 empty] | https://assets.omron.eu/downloads/datasheet/en/v1/l118_h3dk_solid-state_timers_datasheet_en.pdf |  |  | OMRON ELECTRONICS | OPM/OEM | H3DK-M1 | H3DK-M1 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.1-1.2 SEC | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/-1 PCT FS | VOLTAGE RATING | 24-240 VAC/DC | TYPE | SOLID STATE | OPERATION MODE |  | COLOUR |  | OPERATING TEMPERATURE RANGE | -20 TO 55 DEG C | MOUNTING TYPE | DIN-RAIL | SIZE | 100 X 79 X 89.4 MM | HAZARD CLASS |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 762893 | 762893 | RU02-TRU37012389 | TIME RELAY;LA2DT2 | [16 empty] | https://platinum-international.store/product/platinum-international/control-system-plcs/timers/telemecanique-la2-dt2-time-delay-auxiliary-contact-block | https://www.radwell.co.uk/en-GB/Buy/SCHNEIDER%20ELECTRIC/TELEMECANIQUE/LA2-DT2/?redirect=true |  | TELEMECANIQUE | OPM | LA2-DT2 | LA2-DT2 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.1-30 SEC | CURRENT RATING | 10 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 690 VAC | TYPE | AUXILIARY | OPERATION MODE | ON-DELAY | COLOUR |  | OPERATING TEMPERATURE RANGE |  | MOUNTING TYPE |  | SIZE | 44 WD X 60 LG X 46.5 HT MM | HAZARD CLASS |  | ADDITIONAL FEATURES | NUMBER OF POLE:2,CONTACT CONFIGURATION:1NO-1NC | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 613229 | 613229 | ID01-EI003674 | TIMER OMRON 8A H3BA,A8 | [16 empty] | https://www.edata.omron.com.au/eData/Timers/L093-E1-03.pdf |  |  | OMRON ELECTRONICS | OPM/OEM | H3BA | H3BA |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | NOT AVAILABLE | CURRENT RATING | 1000 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/- 0.3 PCT | VOLTAGE RATING | 110-220 VAC | TYPE | SOLID STATE | OPERATION MODE |  | COLOUR | LIGHT GRAY | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 654978 | 654978 | IN05-ED032001 | SELEC PT-380 8 CHANNEL SEQUENTIAL TIMER | [16 empty] | https://www.selec.com/product-details/sequential-timer-8-output-channels-universal-power-supply2 |  |  | SELEC | OPM | PT-380 | PT-380 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 99.99 SEC-999.9 HR | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | 8 | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 85-270 VAC/DC | TYPE | SEQUENTIAL | OPERATION MODE | ON-DELAY,INTERVAL OFF,CYCLIC ON FIRST,CYCLIC OFF FIRST | COLOUR |  | OPERATING TEMPERATURE RANGE |  | MOUNTING TYPE | PANEL | SIZE | 96 X 96 MM | HAZARD CLASS |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 828655 | 828655 | VN02-EV000408 | RELAY TIME:H3CR A8-AC100-240/DC125,OMRON | OMRON | [15 empty] | https://www.ia.omron.com/product/item/3761/ | https://www.mouser.in/datasheet/2/307/omron_h3cr_l084_e1_2_1_csm1013792-1189929.pdf |  | OMRON ELECTRONICS | OPM | H3CR A8-AC100-240/DC125 | H3CR A8-AC100-240/DC125 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.05 SEC-300 HR | CURRENT RATING | 5 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/-0.2 PCT | VOLTAGE RATING | 100-240 VAC,100-125 VDC | TYPE | SOLID STATE | OPERATION MODE | ON-DELAY,TIME LIMIT | COLOUR | MUNSELL | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE | PANEL | SIZE | 48 WD X 48 LG X 81.6 HT MM | HAZARD CLASS |  | ADDITIONAL FEATURES | CERTIFICATION/STANDARD:CSA,EN/IEC,UL | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 552302 | 552302 | FR39-5596904 | MINUTERIE SSA212601 (PÉTRIN) | SSA212601 | AUTOMATISME INDUSTRIE | [14 empty] | https://www-az--equipement-com.translate.goog/reseaux_sociaux.php?snId=pdf&pid=1044&_x_tr_sl=fr&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  |  | SERSA | OPM | SSA212601 | SSA212601 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0-99 MIN | CURRENT RATING | 8 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 24 VAC | TYPE |  | OPERATION MODE |  | COLOUR |  | OPERATING TEMPERATURE RANGE |  | MOUNTING TYPE |  | SIZE | 65 WD X 65 LG X 36 HT MM | HAZARD CLASS |  | ADDITIONAL FEATURES | FOR KNEADING BAKERY | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-08 | NM & MFR UPDATED BASED ON WEB SOURCE | 662144 | 662144 | IN07-ED043544 | TIMER MODEL NO.TS-203B | [16 empty] | https://www.hemtraders.com/images/pdf/Digital%20Time%20Switches%20(TS-Series).pdf | https://autocon.biz/automation-and-instrumentation/eapl-time-switch-optional-ts-203b-110v-ac?limit=25 |  | EAPL | OPM | TS-203B | TS-203B |  | ENRICHED | MRO | 39122208 | Time switch | SWITCH | TIME | VOLTAGE RATING | 240 VAC | CURRENT RATING | 16A | NUMBER OF CHANNELS |  | MIN TIME INTERVAL | 0-23 HR 59 MIN | CONTACT CONFIGURATION |  | ENCLOSURE |  | MOUNTING TYPE | FLUSH,PANEL | TEMPERATURE RATING | 0-50 DEG C | TYPE | DIGITAL | ACCURACY | +/-2 SEC | POWER RATING | 2.5 W | FREQUENCY RATING | 50 HZ | ACTION |  | MATERIAL |  | SIZE | 72 WD X 72 HT X 84 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [26 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 135753 | 135753 | 8349-50108436 | TIME,ELECT,CT531A6,120V | CT531A6 | Eagle Signal | TIMER,ELECTRONIC,V_RATING:120V,MANUFACTURER:EAGLE SIGNAL,MFR PART NUMBER:CT531A6 | [13 empty] | https://gambia.desertcart.com/products/36420563 |  |  | EAGLE SIGNAL CONTROLS | OPM | CT531A6 | CT531A6 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | NOT AVAILABLE | CURRENT RATING | 5 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 120 V | TYPE | DIGITAL | OPERATION MODE | RESET | COLOUR |  | OPERATING TEMPERATURE RANGE |  | MOUNTING TYPE | PANEL | SIZE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | FREQUENCY:60 Hz,LED DISPLAY | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 145704 | 145704 | 8349-50269788 | TIME,ELECT,BRE1A601,120V | BRE1A601 | Danaher Corp | TIMER,ELECTRONIC,V_RATING:120V,MANUFACTURER:DANAHER CORP,MFR PART NUMBER:BRE1A601 |  | Wesco | 78822991244 | Danaher Corp | BRE1A601 | TIMER,ELECTRONIC,V_RATING:120V,MANUFACTURER:DANAHER CORP,MFR PART NUMBER:BRE1A601 | [7 empty] | https://www.specialtyproducttechnologies.com/docs/default-source/downloads/eagle-signal/data-sheets/bre-series-reset-timer-datasheet.pdf?sfvrsn=2b0f387_6 |  |  | EAGLE SIGNAL CONTROLS | OPM | BRE1A601 | BRE1A601 | ALTERNATE OPM:DANAHER CORP,DISTRIBUTOR PART NUMBER:78822991244 | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 5 SEC | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | 3 PCT | VOLTAGE RATING | 120 VAC | TYPE |  | OPERATION MODE | RESET | COLOUR |  | OPERATING TEMPERATURE RANGE | -10 TO 40 DEG C | MOUNTING TYPE | SURFACE | SIZE | 2-5/8 X 1-1/4 X 3/16 IN | HAZARD CLASS |  | ADDITIONAL FEATURES | FREQUENCY:60 Hz | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 156323 | 156323 | 8349-52199503 | TIME,MECH,HK25DJ003,0-384 S | HK25DJ003 | Carrier Corp | TIMER,MECHANICAL,TIMING RANGE:0-384 S,MANUFACTURER:CARRIER CORP,MFR PART NUMBER:HK25DJ003 | [13 empty] | https://www.grainger.com/product/CARRIER-Time-Delay-115Z15 | https://singlesource.mingledorffs.com/product/timer-hk25dj003 |  | CARRIER | OPM | HK25DJ003 | HK25DJ003 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0-384 SEC | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 115 V | TYPE | DOMESTIC | OPERATION MODE | DELAY | COLOUR |  | OPERATING TEMPERATURE RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 161406 | 161406 | 8352-50117672 | TIME,ELECT,DG108A3,120V | DG108A3 | Eagle Signal | TIMER,ELECTRONIC,V_RATING:120V,MANUFACTURER:EAGLE SIGNAL,MFR PART NUMBER:DG108A3 | [13 empty] | https://www.specialtyproducttechnologies.com/docs/default-source/downloads/eagle-signal/data-sheets/dg100-miniflex-solid-state-preset-timers.pdf?sfvrsn=efb0f387_2 |  |  | EAGLE SIGNAL CONTROLS | OPM | DG108A3 | DG108A3 | ALTERNATE OPM:DANAHER CORP | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 8 MIN | CURRENT RATING | 10 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | >+/-10 PCT | VOLTAGE RATING | 120 VAC | TYPE | SOLID STATE | OPERATION MODE | ON-DELAY | COLOUR |  | OPERATING TEMPERATURE RANGE | 32-140 DEG F | MOUNTING TYPE | DIN-RAIL | SIZE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | FREQUENCY:60 Hz,OUTPUT:DPDT RELAY | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 385160 | 385160 | BE35-LBH10831 | TIMER H5CN-XZNS 100/240VAC | OMRON H5CN-XZNS 100/240VAC |  | TIMER OMRON H5CN-XZNS 100 TOT 240 VAC | TIMER OMRON H5CN-XZNS 100 TOT 240 VAC¦¦TIMER OMRON H5CN-XZNS 100 TOT 240 VAC¦¦TIMER OMRON H5CN-XZNS 100 TOT 240 VAC | [12 empty] | https://www.ia.omron.com/data_pdf/cat/h5cn_ds_e_5_1_csm99.pdf |  |  | OMRON ELECTRONICS | OPM/OEM | H5CN-XZNS 100/240VAC | H5CN-XZNS 100/240VAC |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.001-9.999 SEC | CURRENT RATING | NOT AVAILABLE | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | +/-0.01 PCT,+/-0.05 SEC | VOLTAGE RATING | 100-240 VAC | TYPE | DIGITAL | OPERATION MODE | ON-DELAY | COLOUR | LIGHT GRAY | OPERATING TEMPERATURE RANGE | -10 TO 55 DEG C | MOUNTING TYPE | FLUSH,SURFACE | SIZE | 48 WD X 48 LG MM | HAZARD CLASS |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 580946 | 580946 | GB36-CB41917841 | TIMER,LSM 48,SYNATEL |  |  | SYNATEL TIMER LSM 48 | [13 empty] | https://www.synatel.co.uk/wp-content/uploads/2016/09/lsm48-man.pdf |  |  | SYNATEL | OPM | LSM48 | LSM48 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 1.5-15 SEC | CURRENT RATING | 5 A | NUMBER OF CHANNELS | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING | 110-230 VAC | TYPE |  | OPERATION MODE | DELAY | COLOUR |  | OPERATING TEMPERATURE RANGE | -15 TO 50 DEG C | MOUNTING TYPE |  | SIZE | 84.5 X 60 MM | HAZARD CLASS |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-08 |  | 274809 | 274809 | 8385-52172202 | TEMPORIZADOR MULTI H3DK S1 24/230 VAC/DC |  |  |  | TEMPORIZADOR MULTIESCALA MARCA OMRON MOD H3DK-S1 DE 24/230 VAC/DC DE 0,1 SEG. A 120 HS. | [12 empty] | https://industrial.omron.eu/en/products/H3DK-S1-24-240VAC-DC | https://www.mouser.in/datasheet/2/307/h3dk_l118_e1_7_5_csm2645-2308275.pdf | https://www.mouser.in/ProductDetail/Omron-Automation-and-Safety/H3DK-S1-AC-DC24-240?qs=0KHRMuq1xyAuK0SjI5eTag%3D%3D | OMRON ELECTRONICS | OPM | H3DK-S1 | H3DK-S1 |  | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.1 SEC-1200 HR | CURRENT RATING | 0.1-5 A | NUMBER OF CHANNELS |  | ACCURACY |  | VOLTAGE RATING | 24-240 VAC/DC | TYPE | MULTI-MODE | OPERATION MODE | ON-DELAY | COLOUR |  | OPERATING TEMPERATURE RANGE |  | MOUNTING TYPE | DIN-RAIL | SIZE | 100 WD X 89.4 HT MM | HAZARD CLASS | CLASS B | ADDITIONAL FEATURES | ENCLOSURE:IP30,FORM:SOLID STATE | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_URL CHANGED | 04-05-2023 | 2023-05-08 |  | 585042 | 585042 | GB37-CB60045425 | UNIT,LUMIGLASS,8670.051.00 | [16 empty] | https://www.papenmeier.de/files/PM_files/lumiglas/produkte/lumistar/nicht_ex/en/doc/3755.320.00_Timer.pdf | https://www.continentaltrade.com.pl/files/lumi/pdf/en/non-ex/3755.320.00_Timer.pdf |  | PEPENMEIER | OPM | 8670.051.00 | 8670.051.00 | BRAND:LUMIGLAS | ENRICHED | MRO | 39121523 | Timer Controls | TIMER | ELECTRONIC | TIMING RANGE | 0.1-20 HR | CURRENT RATING | 16 A | NUMBER OF CHANNELS |  | ACCURACY |  | VOLTAGE RATING | 230 VAC | TYPE | LUMISTAR | OPERATION MODE |  | COLOUR |  | OPERATING TEMPERATURE RANGE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | ENCLOSURE:IP65,HOUSING MATERIAL:PLASTIC,UNIT,W/O PERMANENT OPERATION SWITCH | [34 empty] | Part number is not available so we updated model number as part number | Production Completed