## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 317576 | 317576 | AU04-5052906 | LIGHT, FITTING, BATTEN, WPR, 42W,1251MM | SALSL9726/40TC/DP |  | SALSL9726/40TC/DP | [13 empty] | https://www.sal.net.au/products/exterior-led-lighting/led-weatherproof/SOL-SL9726-TC-DP |  |  | SUNNY AUSTRALIA LIGHTING | OPM | SL9726/40TC/DP | SL9726/40TC/DP |  | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | FIXTURE | LIGHT | LAMP WATTAGE | 20/42 W | VOLTAGE RATING | 240 VAC | BALLAST TYPE | NOT AVAILABLE | LAMP TYPE | LED | SIZE | 118 WD X 1251 LG X 77 HT MM | DEGREE OF PROTECTION | IP65 | TYPE | BATTEN | FREQUENCY RATING |  | NUMBER OF LAMPS |  | LENS |  | CURRENT RATING |  | MATERIAL | POLYCARBONATE | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOUR:GRAY,COLOR TEMPERATURE:3000/4000/6000 K,W/PVC CABLE GLANDS,SUSPENSION BRACKET,WPR | [28 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 65623 | 65623 | 8319-52208955 | LIGHT,FIX,LPD3C4M2P,LED | LPD3C4M2P | Dialight Corp | LIGHT,FIXTURE,STYLE:LED,MANUFACTURER:DIALIGHT CORP,MFR PART NUMBER:LPD3C4M2P | [13 empty] | https://www.dialight.com/?s=LPD3C4M2P | https://www.crum.com/817820/product/n/safesite-lpd3c4m2p-dialight | https://shop.kendallelectric.com/buy/product/LPD3C4M2P-DIALIGHT-4FT-CLEAR-POLY/3597486 | DIALIGHT | OPM | LPD3C4M2P | LPD3C4M2P |  | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | FIXTURE | LIGHT | LAMP WATTAGE | 60 W | VOLTAGE RATING | 100 TO 277 VAC | BALLAST TYPE | NOT AVAILABLE | LAMP TYPE | LED | SIZE | 120.65 WD MM X 4 LG FT X 77.724 HT MM | DEGREE OF PROTECTION | IP66 | TYPE | SAFESITE LINEAR | FREQUENCY RATING |  | NUMBER OF LAMPS |  | LENS | CLEAR POLYCARBONATE | CURRENT RATING | 0.66 TO 0.24 A | MATERIAL | ALUMINIUM | MOUNTING TYPE | THREAD | HAZARD CLASS |  | CERTIFICATION/STANDARD | FCC,UL | ADDITIONAL FEATURES | LUMENS:7900 LM,COLOUR TEMPERATURE:5000 K WHITE | [28 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 769531 | 769531 | RU03-5553765 | LAMP ELRBRUS;64.14000.120 | [16 empty] | https://satu.kz/p98658957-ulichnyj-svetilnik-elbrus.html |  |  | OZ LIGHTING | OPM | 64.14000.120 | 64.14000.120 | SERIES:ELBRUS | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | FIXTURE | LIGHT | LAMP WATTAGE | 120 W | VOLTAGE RATING | 220 VAC | BALLAST TYPE | NOT AVAILABLE | LAMP TYPE | LED | SIZE | 23.4 WD X 44.8 LG X 6.5 HT MM | DEGREE OF PROTECTION | IP67 | TYPE | STREET | FREQUENCY RATING | 50 Hz | NUMBER OF LAMPS | 64 | LENS |  | CURRENT RATING |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-60 TO 40 DEG C | [28 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 836286 | 836286 | VN03-EV000500 | WATERPROOF LAMP:PIFH236L36 | PARAGON | [15 empty] | https://paragon.com.vn/en/product/bo-den-chong-tham-chong-bui-12m-pifh236l36/ | https://thietbidien.org/product/den-chong-tham-ip65-paragon-pifh236l36/ |  | PARAGON | OPM | PIFH236L36 | PIFH236L36 |  | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | FIXTURE | LIGHT | LAMP WATTAGE | 40 W | VOLTAGE RATING | 220 TO 240 VAC | BALLAST TYPE | NOT AVAILABLE | LAMP TYPE | LED | SIZE | 1268 X 158 X 101 MM | DEGREE OF PROTECTION | IP65 | TYPE | WATER/WEATHER-PROOF | FREQUENCY RATING | 50/60 Hz | NUMBER OF LAMPS | 2 | LENS |  | CURRENT RATING |  | MATERIAL | POLYCARBONATE | MOUNTING TYPE | CEILING/WALL | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60598 | ADDITIONAL FEATURES | COLOUR TEMPERATURE:6500 K,LUMENS:3720 LM | [28 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 202997 | 202997 | 8364-50409226 | LIGHT,FIX,HD-LED-40L ARM,LED | HD-LED-40L ARM | Rite-Hite | LIGHT,FIXTURE,STYLE:LED,MANUFACTURER:RITE-HITE,MFR PART NUMBER:HD-LED-40L ARM | [13 empty] | https://www.ritehite.com/en/af/resource-center/manuals/3f9f6f49ef1d4499bfc0e82782c291a6/ritelite-hd-led-dock-light |  |  | RITE-HITE | OPM | 133145 | HD-LED-40L ARM |  | ENRICHED | MRO | 39111544 | Light emitting diode LED fixture | FIXTURE | LIGHT | LAMP WATTAGE | NOT AVAILABLE | VOLTAGE RATING | NOT AVAILABLE | BALLAST TYPE | NOT AVAILABLE | LAMP TYPE | NOT AVAILABLE | SIZE | NOT AVAILABLE | DEGREE OF PROTECTION | NOT AVAILABLE | TYPE | DOCK | FREQUENCY RATING |  | NUMBER OF LAMPS |  | LENS |  | CURRENT RATING |  | MATERIAL |  | MOUNTING TYPE | WALL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [30 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 694786 | 694786 | NG01-5558832 | TCW060 2XTL-D36W HF (LED TUBE) | [16 empty] | https://www.assets.lighting.philips.com/is/content/PhilipsLighting/fp910503610918-pss-en_bg |  |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | 871155981380699 | TCW060 2XTL-D36W HF |  | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | FIXTURE | LIGHT | LAMP WATTAGE | 36 W | VOLTAGE RATING | 220 TO 240 VAC | BALLAST TYPE | NOT AVAILABLE | LAMP TYPE | LED | SIZE | 136 WD X 1270 LG X 90 HT MM | DEGREE OF PROTECTION | IP65 | TYPE | TUBE | FREQUENCY RATING | 50/60 Hz | NUMBER OF LAMPS | 2 | LENS | PCP | CURRENT RATING | 20 A | MATERIAL | STEEL REFLECTOR,POLYCARBONATE OPTIC | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | COLOUR:GRAY | [29 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 172048 | 172048 | 8352-52212765 | LIGHT,FIX,C-WP-A-TR-21L | C-WP-A-TR-21L | Lighting Etc Inc | LIGHT,FIXTURE,STYLE:INDUCTION WALLPACK,MANUFACTURER:LIGHTING ETC INC,MFR PART NUMBER:C-WP-A-TR-21L |  | BDI | 25158149 | CREE LIGHTING | C-WP-A-TR-21L | C-WP-A-TR-21L LED LIGHT | [7 empty] | https://creelighting-canada.com/wp-content/uploads/2017/09/C-Lite%E2%84%A2-C-WP-A-TR-21L-Series-LED-High-Output-Traditional-Style-Wall-Pack-Spec-Sheet.pdf |  |  | CREE LIGHTING | OPM | C-WP-A-TR-21L | C-WP-A-TR-21L | ALTERNATE MANUFACTURER NAME:LIGHTING ETC,INC,DISTRIBUTOR PART NUMBER:25158149 | ENRICHED | MRO | 39111544 | Light emitting diode LED fixture | FIXTURE | LIGHT | LAMP WATTAGE | 158 W | VOLTAGE RATING | 120 TO 277 VAC | BALLAST TYPE | NOT AVAILABLE | LAMP TYPE | LED | SIZE | 18 WD X 9-3/4 HT X 9-3/8 DP IN | DEGREE OF PROTECTION | NOT AVAILABLE | TYPE | INDUCTION WALLPACK | FREQUENCY RATING |  | NUMBER OF LAMPS |  | LENS |  | CURRENT RATING | 0.57 TO 1.32 A | MATERIAL | HEAVY DUTY DIE-CAST ALUMINUM | MOUNTING TYPE | TOP/SIDE/REAR | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS | ADDITIONAL FEATURES | [30 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 616816 | 616816 | ID02-EI011488 | DUST PROOF TCW060 2 X 36 PHILIPS | [16 empty] | https://www.lighting.philips.com/main/prof/indoor-luminaires/waterproof-and-cleanroom/waterproof-luminaires/tcw060-a/919106031621_EU/product |  |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | TCW060 | TCW060 |  | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | FIXTURE | LIGHT | LAMP WATTAGE | 32 W | VOLTAGE RATING | NOT AVAILABLE | BALLAST TYPE | NOT AVAILABLE | LAMP TYPE | NOT AVAILABLE | SIZE | NOT AVAILABLE | DEGREE OF PROTECTION | NOT AVAILABLE | TYPE | DUST-PROOF | FREQUENCY RATING |  | NUMBER OF LAMPS | 2 | LENS |  | CURRENT RATING |  | MATERIAL | POLYCARBONATE COVER | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [30 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 40465 | 40465 | 8312-50491377 | LIGHT,FIX,4155010,FLUORESCENT | 4155010 | Rittal Corp | LIGHT,FIXTURE,STYLE:FLUORESCENT,MANUFACTURER:RITTAL CORP,MFR PART NUMBER:4155010 | [13 empty] | https://www.rittal.com/pdf-creator/variant/com-en/4155010 |  |  | RITTAL | OPM | 4155.010 | 4155.010 |  | ENRICHED | MRO | 39111544 | Light emitting diode LED fixture | FIXTURE | LIGHT | LAMP WATTAGE | 18 W | VOLTAGE RATING | 110 TO 240 VAC | BALLAST TYPE | WIDE RANGE ELECTRONIC | LAMP TYPE | COMPACT FLUORESCENT | SIZE | 345 WD X 95 HT X 55 DP MM | DEGREE OF PROTECTION | NOT AVAILABLE | TYPE | UNIVERSAL | FREQUENCY RATING | 50/60 Hz | NUMBER OF LAMPS |  | LENS |  | CURRENT RATING |  | MATERIAL | PLASTIC | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | VDE | ADDITIONAL FEATURES | [30 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 513599 | 513599 | ES36-5554059 | CAMPANA BY121P G3 LED205S/840 PSD |  |  |  | Según su Oferta 350764 CAMPANA BY121P G3 LED205S/840 PSD WB GR | [12 empty] | https://www.assets.signify.com/is/content/PhilipsLighting/fp911401505631-pss-global |  |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | BY121P G3 LED205S/840 PSD WB GR | BY121P G3 LED205S/840 PSD WB GR |  | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | FIXTURE | LIGHT | LAMP WATTAGE | 142 W | VOLTAGE RATING | 220 TO 240 VAC | BALLAST TYPE | NOT AVAILABLE | LAMP TYPE | LED | SIZE | 452 WD X 454 LG X 152 HT MM | DEGREE OF PROTECTION | IP65 | TYPE |  | FREQUENCY RATING | 50/60 Hz | NUMBER OF LAMPS |  | LENS |  | CURRENT RATING | 53 A | MATERIAL | ALUMINIUM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | ACCORDING TO YOUR OFFER 350764 HOOD | [29 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 845867 | 845867 | 8364-50415112 | LIGHT,FIX,MPMP-PC-70-120/277V-LL,MH | MPMP-PC-70-120/277V-LL | Cooper Lighting | LIGHT,FIXTURE,STYLE:MH,MANUFACTURER:COOPER LIGHTING,MFR PART NUMBER:MPMP-PC-70-120/277V-LL | [13 empty] | https://ecc.villalighting.com/docs/1090012_Catalog.pdf | https://buy.wesco.com/Lighting/Outdoor-Lighting/Flood-Light-Fixtures/COOPER-LIGHTING-SOLUTIONS/Floodlight-70-W-Metal-Halide-Lamp-120-277VAC-Die-Cast-Aluminum/MPMP-PC-70-120-277V-LL/p/62396197543-1 | https://www.revereelectric.com/4618394/Product/ | COOPER LIGHTING, LLC | OPM | MPMP-PC-70-120/277V-LL | MPMP-PC-70-120/277V-LL |  | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | FIXTURE | LIGHT | LAMP WATTAGE | 70 W | VOLTAGE RATING | 120 TO 277 VAC | BALLAST TYPE | NOT AVAILABLE | LAMP TYPE | METAL HALIDE | SIZE | 171 DIA X 178 WD X 254 HT MM | DEGREE OF PROTECTION | NOT AVAILABLE | TYPE |  | FREQUENCY RATING |  | NUMBER OF LAMPS |  | LENS |  | CURRENT RATING |  | MATERIAL | DIE-CAST ALUMINUM | MOUNTING TYPE | WALL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [29 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 703900 | 703900 | NO32-5131844 | LYKT LED LENSER TACTICAL FOCUS T7 |  |  | LED LENSER TACTICAL FOCUS T7 |  | Rubix | 6240005 | LEDCO |  |  | LEDCO-9807 | [6 empty] | https://cache.tradeinn.com/images/pdf/especificaciones/eng_led_lenser_specs_t_series.pdf | https://www.thebigredguide.com/led-lenser-t7-technical-details.html#more-info |  | LEDLENSER | OPM | 9807 | T7.2 | ALTERNATE MANUFACTURER NAME:LEDCO,DISTRIBUTOR PART NUMBER:6240005 | ENRICHED | MRO | 39111610 | Flashlight | FLASHLIGHT |  | TYPE | TACTICAL FOCUS | LAMP WATTAGE | NOT AVAILABLE | LAMP VOLTAGE RATING | NOT AVAILABLE | NUMBER OF LAMPS | NOT AVAILABLE | LAMP TYPE | LED | BATTERY DETAILS | (4)1.5 VDC,AAA,ALKALINE | DEGREE OF PROTECTION |  | SIZE | 130 LG MM | INTENSITY | 250 LM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | MATERIAL |  | COLOUR | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 9889 | 9889 | 8301-52227408 | LANTERNA DE CABECA MODELO LLV55 VONDER |  |  | LANTERNA DE CABECA; MODELO: SUPERLED CREE LLV 55; FABRIANTE: VONDER; FORNECEDOR: FASTENAL; FORNEEDOR EXCLUSIVO: SIM; USO: GERAL UTILIDADES; | LANTERNA DE CABECA; MODELO: SUPERLED CREE LLV 55; FABRIANTE: VONDER; FORNECEDOR: FASTENAL; FORNEEDOR EXCLUSIVO: SIM; USO: GERAL UTILIDADES; | [12 empty] | https://www.vonder.com.br/produto/lanterna_de_led_para_cabea_super_led_cree__llv_55_vonder/1217 |  |  | VONDER | OPM | 80.75.055.000 | LLV 55 | DISTRIBUTOR NAME:FASTENAL | ENRICHED | MRO | 39111610 | Flashlight | FLASHLIGHT |  | TYPE | HEAD | LAMP WATTAGE | NOT AVAILABLE | LAMP VOLTAGE RATING | NOT AVAILABLE | NUMBER OF LAMPS | 1 | LAMP TYPE | SUPERLED CREE | BATTERY DETAILS | (3)AAA TOOTHPICK | DEGREE OF PROTECTION |  | SIZE | 30 DIA MM | INTENSITY | 130 LM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR GENERAL UTILITIES | MATERIAL | PLASTIC,ALUMINUM | COLOUR | BLACK,YELLOW | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 374093 | 374093 | BE33-5320607 | LAMPE DE POCHE A LED | 81525 -> 81536 -> 081534 SILVER |  | LAMPE DE POCHE A LED REF HOFFMANN: 081525 (1W AVEC PILES) -> 081536 (SANS PILE,HOLEX 3W 145MM SILVER) -> 081534 (AVEC PILES,HOLEX 3W 145MM SILVER) -> 081437 SILVER (AVEC PILES,HOLEX 250/100 lm,143MM SILVER) | LAMPE DE POCHE A LED REF HOFFMANN: 081525 (1W AVEC PILES) -> 081536 (SANS PILE,HOLEX 3W 145MM SILVER) -> 081534 (AVEC PILES,HOLEX 3W 145MM SILVER) -> 081437 SILVER (AVEC PILES,HOLEX 250/100 lm,143MM SILVER)¦¦LAMPE DE POCHE A LED REF HOFFMANN: 081525 (1W A | [12 empty] | https://www.hoffmann-group.com/GB/en/houk/Factory-equipment/Lamps-lights/Work-lamps/UV-work-lamp-with-rechargeable-battery/p/081525 | https://www.hoffmann-group.com/GB/en/houk/Factory-equipment/Lamps-lights/Torches/LED-torch-with-batteries/p/081437 |  | HOFFMANN GROUP | OPM | 081525+081536+081534+081437 | 081525+081536+081534+081437 | BRAND:HOLEX | ENRICHED | MRO | 39111610 | Flashlight | FLASHLIGHT |  | TYPE | UV WORK | LAMP WATTAGE | NOT AVAILABLE | LAMP VOLTAGE RATING | NOT AVAILABLE | NUMBER OF LAMPS | NOT AVAILABLE | LAMP TYPE | LED | BATTERY DETAILS | 1 AND 3 W 145 MM SILVER | DEGREE OF PROTECTION |  | SIZE |  | INTENSITY | 250/100 LM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | MATERIAL |  | COLOUR | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_URL CHANGED | 04-05-2023 | 2023-05-09 |  | 388728 | 388728 | BE35-LBH16920 | LED ZAKLAMP BRENNENSTUHL 3 X AAA | REXEL :BRE1178600161 |  | LUXPREMIUM FOCUS LED-ZAKLAMP REXEL :BRE1178600161 EAN : 4007123633586 | LUXPREMIUM FOCUS LED-ZAKLAMP REXEL :E2441878 EAN 7638900315240¦¦LUXPREMIUM FOCUS LED-ZAKLAMP REXEL :E2441878 EAN 7638900315240¦¦LUXPREMIUM FOCUS LED-ZAKLAMP REXEL :E2441878 EAN 7638900315240 | [12 empty] | https://www.axel-gl.com/en/asone/d/63-7017-75/ | https://uk.rs-online.com/web/p/torches/1288785 |  | HUGO BRENNENSTUHL GMBH & CO. KG | OPM/OEM | 1178600161 | 1178600161 | DISTRIBUTOR NAME:REXEL,DISTRIBUTOR NAME PART NUMBER:E2441878,EAN:7638900315240 | ENRICHED | MRO | 39111610 | Flashlight | FLASHLIGHT |  | TYPE | HEAD | LAMP WATTAGE | NOT AVAILABLE | LAMP VOLTAGE RATING | 1.5 VDC | NUMBER OF LAMPS | NOT AVAILABLE | LAMP TYPE | LED | BATTERY DETAILS | (3)MICRO AAA LR03 | DEGREE OF PROTECTION | IP44 | SIZE | 3.3 WD X 13 LG X 3.3 HT CM | INTENSITY | 250 LM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | LUXPREMIUM FOCUS | MATERIAL | ALUMINUM | COLOUR | BLACK | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 382925 | 382925 | BE35-LBH04916 | BLITSLICHT MET ZOEMER ORANJE 230V | WERMA 42331068 |  | BLITSLICHT MET ZOEMER ORANJE WERMA 42331068 230 VAC | BLITSLICHT MET ZOEMER ORANJE WERMA 42331068 230 VAC¦¦BLITSLICHT MET ZOEMER ORANJE WERMA 42331068 230 VAC¦¦BLITSLICHT MET ZOEMER ORANJE WERMA 42331068 230 VAC | [12 empty] | https://www.werma.com/en/s_c115i469/Buzzer/Flash_WM_Contin/pulse_230VAC_YE/42331068.html |  |  | WERMA | OPM | 42331068 | 42331068 |  | ENRICHED | MRO | 39111610 | Flashlight | FLASHLIGHT |  | TYPE | BUZZER | LAMP WATTAGE | NOT AVAILABLE | LAMP VOLTAGE RATING | 230 VAC | NUMBER OF LAMPS | NOT AVAILABLE | LAMP TYPE | NOT AVAILABLE | BATTERY DETAILS | NOT AVAILABLE | DEGREE OF PROTECTION | IP65 | SIZE | 83 DIA X 121 HT X 91 DP MM | INTENSITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,EAC,UKCA,WEEE | ADDITIONAL FEATURES | CURRENT RATING:35 mA,FREQUENCY RATING:50 Hz | MATERIAL | POLYCARBONATE | COLOUR | YELLOW | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 294472 | 294472 | AT31-5275573 | PB BLITZLEUCHTE R. 2010 24 VDC | 21030805000 | PFANNENBERG | [14 empty] | https://cdn2.rexel.de/medias/sys_rexel_de/sheets/sheets/ha9/h88/8965347639326/pb2010-de.pdf |  |  | PFANNENBERG INC. | OPM | 21030805000 | 21030805000 |  | ENRICHED | MRO | 39111610 | Flashlight | FLASHLIGHT |  | TYPE | STROBE | LAMP WATTAGE | NOT AVAILABLE | LAMP VOLTAGE RATING | 24 V | NUMBER OF LAMPS | NOT AVAILABLE | LAMP TYPE |  | BATTERY DETAILS | NOT AVAILABLE | DEGREE OF PROTECTION | IP65 | SIZE | 166.2 X 128 MM | INTENSITY |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60529 | ADDITIONAL FEATURES | FREQUENCY:50/60 Hz,FLASH ENERGY:10 J,TEMPERAURE:-30 TO 55 DEG C | MATERIAL | POLYCARBONATE | COLOUR | RED | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 376240 | 376240 | BE33-5518325 | LIQUEUR TESTOMAT 500CC - TH2025 | TH2025 500CC |  | LIQUEUR TESTOMAT 500CC - TH2025 | LIQUEUR TESTOMAT 500CC - TH2025¦¦LIQUEUR TESTOMAT 500CC - TH2025 | [12 empty] | https://heylanalysis.de/en/testomat-2000-indikatoren/ | https://www.heylneomeris.shop/en/Testomat-indicator-TH-2025-500ml/152025 |  | GEBRÜDER HEYL ANALYSENTECHNIK GMBH | OPM | TH 2025 | TH 2025 |  | ENRICHED | MRO | 12161500 | Indicators and Reagents | INDICATOR | ACID BASE | CONCENTRATION | -- | CONTAINER | 500 mL BOTTLE | GRADE | -- | TYPE | -- | SHELF LIFE | -- | CAS NUMBER | -- | HAZARD CLASS | -- | CERTIFICATION/STANDARD | -- | ADDITIONAL FEATURES | 500 CC | [43 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-09 |  | 246526 | 246526 | 8380-52151534 | IND,DIALCE.72502GW12-0001.0-S | CE.72502 | Elesa USA Corp | INDICATOR,DIALMFR PART NUMBER:CE.72502DETAILS:GW12-0001.0-S,MANUFACTURER:ELESA USA CORP,MFR PART NUMBER:CE.72502DETAILS:GW12-0001.0-S |  | BDI | ELESA CE.72502 | Elesa USA Corp | CE.72502 | IND,DIALCE.72502GW12-0001.0-S | [7 empty] | https://www.elesa.com/siteassets/PDF/PDF_US/GW12.pdf | https://uk.misumi-ec.com/vona2/detail/221006481958/?HissuCode=CE.72502 |  | ELESA CORPORATION | OPM | CE.72502 | GW12-0001.0-S |  | ENRICHED | MRO | 41111630 | Dial indicator or dial gauge | INDICATOR | DIAL | MEASURING RANGE | NOT AVAILABLE | GRADUATION | NOT AVAILABLE | DIAL READING | DIGITAL/ANALOGUE | TYPE | POSITION | DIAL SIZE |  | STEM DIAMETER |  | STEM LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-09 |  | 71845 | 71845 | 8321-52222280 | INDICADORES/GW12-000.2-D/ELESA | GW12-000.2-D | IMPORTACIONES DINAMICAS EUROPEAS SA | [14 empty] | https://www.elesa-ganter.in/siteassets/PDF/EN/GW12.pdf |  |  | ELESA SPA ¦ OTTO GANTER GMBH & CO. | OPM | GW12-000.2-D | GW12-000.2-D |  | ENRICHED | MRO | 41111630 | Dial indicator or dial gauge | INDICATOR | DIAL | MEASURING RANGE | NOT AVAILABLE | GRADUATION | NOT AVAILABLE | DIAL READING | DIGITAL/ANALOGUE | TYPE | POSITION | DIAL SIZE | 60 MM | STEM DIAMETER |  | STEM LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE:IP67,COLOUR:BLACK,DIRECTION OF ROTATION:D-CLOCKWISE,READING ON THE COUNTER AFTER ONE REVOLUTION OF THE RED POINTER:0.2,DIAL MATERIAL:ANODISED ALUMINUM | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-09 |  | 276142 | 276142 | 8385-52187563 | RELOG INDICADOR ROTATIVA 6 Y 16 |  |  | INSTRUMENTO DE GIRO HORARIO MODELO CE 72241 COD: 999267-10 RELOG INDICADOR ALTURA CUCHILLA ROTATIVA 6 Y 16 | INSTRUMENTO DE GIRO HORARIO MODELO CE 72241 COD: 999267-10 RELOG INDICADOR ALTURA CUCHILLA ROTATIVA 6 Y 16 | [12 empty] | https://www.elesa.com/siteassets/PDF/PDF_EN/GW12.pdf | https://us.misumi-ec.com/vona2/detail/221006481958/?HissuCode=CE.72241 |  | ELESA SPA | OPM | CE 72241 | GW12 | REFERENCE NUMBER:999267-10 | ENRICHED | MRO | 41111630 | Dial indicator or dial gauge | INDICATOR | DIAL | MEASURING RANGE | NOT AVAILABLE | GRADUATION | NOT AVAILABLE | DIAL READING | DIGITAL/ANALOGUE | TYPE | POSITION | DIAL SIZE | 60 MM | STEM DIAMETER |  | STEM LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE:IP67,COLOUR:BLACK,DIRECTION OF ROTATION:D-CLOCKWISE,READING ON THE COUNTER AFTER ONE REVOLUTION OF THE RED POINTER:0.2,DIAL MATERIAL:ANODISED ALUMINUM,ROTARY KNIFE HEIGHT INDICATOR CLOCK 6 AND 16 | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-09 |  | 246525 | 246525 | 8380-52151518 | IND,DIALCE.72501GW12-0001.0-D | CE.72501 | Elesa USA Corp | INDICATOR,DIALMFR PART NUMBER:CE.72501DETAILS:GW12-0001.0-D,MANUFACTURER:ELESA USA CORP,MFR PART NUMBER:CE.72501DETAILS:GW12-0001.0-D |  | BDI | ELESA CE.72501 | Elesa USA Corp | CE.72501 | IND,DIALCE.72501GW12-0001.0-D | [7 empty] | https://www.elesa-ganter.in/en/ind/Rotary-controls--Digital-analogue-position-indicators--GW12 |  |  | ELESA SPA ¦ OTTO GANTER GMBH & CO. | OPM/OEM | CE.72501 | GW12 |  | ENRICHED | MRO | 41111630 | Dial indicator or dial gauge | INDICATOR | DIAL | MEASURING RANGE | NOT AVAILABLE | GRADUATION | NOT AVAILABLE | DIAL READING | DIGITAL/ANALOGUE | TYPE | POSITION | DIAL SIZE | 100 MM | STEM DIAMETER |  | STEM LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:TECHNOPOLYMER,TEMPERATURE:40 DEG C,ENCLOSURE:IP67,DIRECTION OF ROTATION:CLOCKWISE | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-09 |  | 281320 | 281320 | 8386-52151518 | IND,DIALCE.72501GW12-0001.0-D | CE.72501 | Elesa USA Corp | INDICATOR,DIALMFR PART NUMBER:CE.72501DETAILS:GW12-0001.0-D,MANUFACTURER:ELESA USA CORP,MFR PART NUMBER:CE.72501DETAILS:GW12-0001.0-D |  | BDI | ELESA CE.72501 | Elesa USA Corp | CE.72501 | IND,DIALCE.72501GW12-0001.0-D | [7 empty] | https://www.elesa-ganter.in/en/ind/Rotary-controls--Digital-analogue-position-indicators--GW12 |  |  | ELESA SPA ¦ OTTO GANTER GMBH & CO. | OPM | CE.72501 | GW12 |  | ENRICHED | MRO | 41111630 | Dial indicator or dial gauge | INDICATOR | DIAL | MEASURING RANGE | NOT AVAILABLE | GRADUATION | NOT AVAILABLE | DIAL READING | DIGITAL/ANALOGUE | TYPE | POSITION | DIAL SIZE | 100 MM | STEM DIAMETER |  | STEM LENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:TECHNOPOLYMER,TEMPERATURE:40 DEG C,ENCLOSURE:IP67,DIRECTION OF ROTATION:CLOCKWISE | DD | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 759411 | 759411 | RU02-5589133 | LEVEL METER;BAMO;MAGTOP;G5-F3-H | [16 empty] | https://www.bamo.eu/international/_ftp/da560-05.pdf |  |  | BAMO MESURES SAS | OPM | MAGTOP-G5-F3-H | MAGTOP-G5-F3-H |  | ENRICHED | MRO | 41111950 | Level indicator | INDICATOR | LEVEL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | GRADUATION | NOT AVAILABLE | SIZE | 25 MM | CONNECTION TYPE | NOT AVAILABLE | TYPE | MAGNETIC FLAP | MATERIAL | NICKEL PLATED MILD STEEL | PRESSURE RATING | PN 10 | TEMPERATURE RATING | 0 TO 110 DEG C | INTERFACE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 691022 | 691022 | MY44-5046112 | E&H LEVEL INDICATOR FTC260 HIGH LEVEL | [16 empty] | https://www.endress.com/en/field-instruments-overview/level-measurement/Capacitance-level-Miniicap-FTC260?t.tabId=product-specification |  |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | FTC260 | FTC260 |  | ENRICHED | MRO | 41111950 | Level indicator | INDICATOR | LEVEL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | GRADUATION | NOT AVAILABLE | SIZE | 1 DIA IN X 140 LG MM | CONNECTION TYPE | NPT | TYPE | CAPACITANCE POINT,HIGH | MATERIAL | ALUMINUM | PRESSURE RATING | -1 TO 25 BAR | TEMPERATURE RATING | -40 TO 80 DEG C | INTERFACE TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,IEC,FM,CSA,NEPSI,EAC | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 135020 | 135020 | 8349-50058322 | KEY,SPEC,X181170,AB | X181170-D018 | Allen Bradley | KEY,SPECIALTY,DETAILS:AB,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:X181170 | [13 empty] | https://docs.rs-online.com/3b81/0900766b816df9f6.pdf | https://www.rexelusa.com/p/75624/allen-bradley/key-replacement-for-d018-standard-/662074114528/x-181170 |  | ALLEN-BRADLEY | OPM | X-181170 | X-181170 |  | ENRICHED | MRO | 46171505 | KEYS | KEY |  | TYPE | REPLACEMENT,SPECIALITY | SIZE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | KEY NUMBER:D018 | APPLICATION | CYLINDER LOCK | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 191891 | 191891 | 8364-50058322 | KEY,SPEC,X181170,AB | X181170-D018 | Allen Bradley | KEY,SPECIALTY,DETAILS:AB,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:X181170 | [13 empty] | https://docs.rs-online.com/3b81/0900766b816df9f6.pdf | https://www.rexelusa.com/p/75624/allen-bradley/key-replacement-for-d018-standard-/662074114528/x-181170 |  | ALLEN-BRADLEY | OPM | X-181170 | X-181170 |  | ENRICHED | MRO | 46171505 | KEYS | KEY |  | TYPE | REPLACEMENT,SPECIALITY | SIZE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | KEY NUMBER:D018 | APPLICATION | CYLINDER LOCK | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 205192 | 205192 | 8364-50458481 | SW,KEY,1017696,IGNITION | 1017696 | Tennant Co | SWITCH,KEY,TYPE:IGNITION,MANUFACTURER:TENNANT CO,MFR PART NUMBER:1017696 |  | BDI | 21461165 | TENNANT | 1017696 | 1017696 IGNITION | 0 | 0 | [5 empty] | https://www.tennantco.com/en_ca/1/parts/pc_cat_parts/pc_cat_hardware/product.replacement-key-set.1017696.html |  |  | TENNANT CO | OPM | 1017696 | 1017696 |  | ENRICHED | MRO | 46171505 | Keys | KEY |  | TYPE | IGNITION,SWITCH | SIZE | NOT AVAILABLE | MATERIAL | STEEL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | APPLICATION | [47 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 176942 | 176942 | 8353-52111283 | LLAVE/MULTIPLE SERVICIO/87T9269/BDI | 87T9269 | BDI DISTRIBUCIONES DE MEXICO S DE |  |  | BDI | 22523486 | KNIPEX | 1101 | LLAVE/MULTIPLE SERVICIO/87T9269/BDI | 0 | 0 | [5 empty] | https://www.knipex.com/products/control-cabinet-key/knipex-twinkey-for-all-standard-cabinets-and-shut-off-systems/knipex-twinkeyfor-all-standard-cabinets-and-shut-systems/001101 | https://uk.rs-online.com/web/p/cross-wrenches-control-cabinet-keys/7638126 |  | KNIPEX | OPM | 00 11 01 | 00 11 01 | ALTERNATE PART NUMBER:87T9269,ALTERNATE MANUFACTURER NAME:BDI DISTRIBUCIONES DE MEXICO S DE | ENRICHED | MRO | 46171505 | Keys | KEY |  | TYPE | CONTROL CABINET | SIZE | 92 X 85 X 23 MM | MATERIAL | DIE-CAST ZINC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF KEY PROFILES:5,WRENCH/SERVICE MANIFOLD | APPLICATION | BLEEDING RADIATORS,OPENING SKYLIGHT,TWINKEYOPENING AND CLOSING CONTROL CABINET,SERVICE HATCHES,OPERATE LOCKING DEVICES | [46 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 206226 | 206226 | 8364-50473125 | KEY,SPEC,SZ2549.500,RITTAL COR | SZ2549.500 | Rittal Corp | KEY,SPECIALTY,DETAILS:RITTAL COR,MANUFACTURER:RITTAL CORP,MFR PART NUMBER:SZ2549.500 |  | Wesco | No WESCO SKU | Rittal Corp | SZ2549.500 | KEY,SPECIALTY,DETAILS:RITTAL COR,MANUFACTURER:RITTAL CORP,MFR PART NUMBER:SZ2549.500 | 0 | 0 | [5 empty] | https://www.ledcontrols.co.uk/sz2549-500-rittal-universal-key-double-bit-no-5-8mm-triangular-and-square.html |  |  | RITTAL | OPM | SZ2549.500 | SZ2549.500 |  | ENRICHED | MRO | 46171505 | Keys | KEY |  | TYPE | UNIVERSAL,SPECIALTY | SIZE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | APPLICATION | [47 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 623714 | 623714 | IE32-CB41905451 | LAMP,FIL,ROUND,3.5V,300MA,24MM LG,MES |  |  | packet of 10. 655-9160 Filament Indicator Lamps | [13 empty] | https://my.rs-online.com/web/p/incandescent-light-bulbs/6559160 | https://export.rsdelivers.com/product/rs-pro/e10-indicator-light-clear-35-v-300-ma-1000h/6559160 |  | RS PRO | OPM | 655-9160 | 655-9160 |  | ENRICHED | MRO | 39121534 | Indicator or pilot lights | LAMP | INDICATOR | TYPE | FILAMENT,ROUND | SIZE | 11.5 DIA X 25 LG MM | POWER RATING | NOT AVAILABLE | VOLTAGE RATING | 3.5 VAC | CURRENT RATING | 300 mA | FREQUENCY | 50 Hz | ENCLOSURE |  | COLOR | CLEAR | ADDITIONAL FEATURES | PACKAGING QUANTITY:10/PACK | [43 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 155607 | 155607 | 8349-52181451 | LIGHT,FIX,WLB32ZC1130PBQMB,BAR | WLB32ZC1130PBQMB | Banner Engineering Corp | LIGHT,FIXTURE,STYLE:BAR,MANUFACTURER:BANNER ENGINEERING CORP,MFR PART NUMBER:WLB32ZC1130PBQMB |  | Wesco | 66248887496 | Banner Engineering Corp | WLB32ZC1130PBQMB | LIGHT,FIXTURE,STYLE:BAR,MANUFACTURER:BANNER ENGINEERING CORP,MFR PART NUMBER:WLB32ZC1130PBQMB | [7 empty] | https://www.bannerengineering.com/in/en/products/part.87496.html |  |  | BANNER ENGINEERING CORP | OPM | WLB32ZC1130PBQMB | WLB32ZC1130PBQMB | ALTERNATE PART NUMBER:66248887496 | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | LIGHT |  | TYPE | WORK FIXTURE BAR,LED | LAMP WATTAGE |  | POWER SUPPLY |  | COLOUR | WHITE | VOLTAGE RATING | 90 TO 264 VAC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CULUS,UL | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 704322 | 704322 | NO32-5132652 | DAMPLAMPE HQL 400W DE LUXE | [16 empty] | http://www.west-l.com/uploads/tdpdf/hql-de-luxe_eng_tds.pdf |  |  | OSRAM GmbH. | OPM/OEM | HQL 400W DE LUXE | HQL 400W DE LUXE |  | ENRICHED | MRO | 39101615 | Mercury vapor lamp HID | LAMP | MERCURY VAPOR | TYPE | HIGH PRESSURE | SIZE | 122 DIA X 285 LG MM | POWER RATING | 400 W | VOLTAGE RATING | 135 V | CURRENT RATING | 3.25 A | COLOR | CLEAR | ADDITIONAL FEATURES | BASE/SOCKET:E40,LUMINOUS:24000 LM,COLOUR TEMPERATURE:3800 K,LIFETIME:24000 HR | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 310621 | 310621 | AU03-EA609081 | LAMP,BLST,400W,MH,E40,CLR/TUB | EYE MULTI-METAL MT 400BH |  | EYE MULTI-METAL MT 400BH | [13 empty] | https://media.mmem.com.au/Datasheets/Eye/Eye_Metal_Halide.pdf |  |  | ELM LIGHTING SDN.BHD | OPM | MT 400-BH | MT 400-BH |  | ENRICHED | MRO | 39101614 | Metal Halide Lamp Hid | LAMP | METAL HALIDE | LAMP TYPE |  | POWER RATING | 400 W | VOLTAGE RATING | 135 V | DIMENSIONS OR SIZE | 48 DIA X 285 LG MM | LAMP BASE DATA | E40 | DUTY RATING |  | LAMP MOUNTING DATA |  | LAMP FINISH | CLEAR | ADDITIONAL FEATURES | W/BALLAST,BULB SHAPE:T48,TUBE,EYE,MULTI | [42 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_URL CHANGED | 04-05-2023 | 2023-05-09 |  | 276380 | 276380 | 8385-52193840 | LAMPARA 2000W SPORTLIGHT SPL2000 380V T |  |  | LAMPARA 2000W GENERAL ELECTRIC SPORTLIGHT SPL2000 380V T 640/E40/2000W | [13 empty] | https://tungsram.com/en/documents/Tungsram-Metal-Halide-Sportlight-Lamps-Datasheet-EN.pdf |  |  | TUNGSRAM OPERATIONS KFT | OPM | SPL2000/380V/T/H/640/E40 | SPL2000/380V/T/H/640/E40 | ALTERNATE MANUFACTURE:GENERAL ELECTRIC,BRAND:SPORTLIGHT | ENRICHED | MRO | 39101614 | Metal Halide Lamp Hid | LAMP | METAL HALIDE | LAMP TYPE |  | POWER RATING | 2000 W | VOLTAGE RATING | 380 V | DIMENSIONS OR SIZE | 101.5 DIA X 430 LG MM | LAMP BASE DATA | E40 | DUTY RATING |  | LAMP MOUNTING DATA |  | LAMP FINISH | HARD GLASS | ADDITIONAL FEATURES | TEMPERATURE RATING:-20 DEG C | [42 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 309373 | 309373 | AU03-5027228 | LAMP,GLOBE,MH,250W,240V,PULSE START | VENTURE 250W/U/UVS/PS/740 |  | VENTURE 250W/U/UVS/PS/740 | [13 empty] | https://www.lightingsupply.com/venture-mp-250w-u-uvs-ps-740.aspx |  |  | VENTURE LIGHTING INTERNATIONAL INC. | OPM | 250W/U/UVS/PS/740 | 250W/U/UVS/PS/740 | SERIES:PULSE START | ENRICHED | MRO | 39101614 | METAL HALIDE LAMP HID | LAMP | METAL HALIDE | LAMP TYPE | GLOBE | POWER RATING | 250 W | VOLTAGE RATING | NOT AVAILABLE | DIMENSIONS OR SIZE | 3-1/2 DIA X 8-5/16 LG IN | LAMP BASE DATA | MOGUL E39 | DUTY RATING |  | LAMP MOUNTING DATA |  | LAMP FINISH | COOL WHITE | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 277123 | 277123 | 8385-52214652 | LED FLASH AZUL 854J 24GL6 AB |  |  | LED FLASH AZUL 854J 24GL6 AB 854J LIGHT MODULES | [13 empty] | https://www.rockwellautomation.com/en-us/products/details.854J-24GL6.html |  |  | ALLEN-BRADLEY | OPM | 854J-24GL6 | 854J-24GL6 |  | ENRICHED | MRO | 32151502 | Light module | LAMP | MODULE | TYPE | STACK LIGHT,LED | VOLTAGE RATING | 24 VAC/DC | FREQUENCY | 1.5 Hz | SIZE | 40 ID X 43 OD MM | MATERIAL | POLYCARBONATE | LUMINOUS INTENSITY | 50000 LM | CURRENT RATING | 36 mA | POWER RATING |  | CONNECTION |  | MOUNTING |  | COLOR | BLUE | ADDITIONAL FEATURES | TEMPERATURE RATING:-30 DEG C,DEGREE OF PROTECTION:IP66,FUNCTION:LED FLASH LIGHT,AZUL | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 277124 | 277124 | 8385-52214657 | LED VERDE STEADY 854J 24TL3 AB |  |  | LED VERDE STEADY 854J 24TL3 AB LIGHT MODULE BULLETIN 854J | [13 empty] | https://www.rockwellautomation.com/en-us/products/details.854J-24TL3.html |  |  | ALLEN-BRADLEY | OPM | 854J-24TL3 | 854J-24TL3 |  | ENRICHED | MRO | 32151502 | Light module | LAMP | MODULE | TYPE | STACK LIGHT,LED | VOLTAGE RATING | 24 VAC/DC | FREQUENCY | NOT AVAILABLE | SIZE | 40 ID X 43 OD MM | MATERIAL | POLYCARBONATE | LUMINOUS INTENSITY | 50000 LM | CURRENT RATING | 33 mA | POWER RATING |  | CONNECTION |  | MOUNTING |  | COLOR | GREEN | ADDITIONAL FEATURES | TEMPERATURE RATING:-30 DEG C,DEGREE OF PROTECTION:IP66,FUNCTION:CONTINUOUS LIGHT,VERDE STEADY BULLETIN | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 109454 | 109454 | 8339-52134997 | LAMP,STROB,225XST-I-024C,CLEAR STROBE | 225XST-I-024C | Federal Signal | LAMP,STROBE,DETAILS:CLEAR STROBE,MANUFACTURER:FEDERAL SIGNAL,MFR PART NUMBER:225XST-I-024C |  | Wesco | 78297921563 | Federal Signal | 225XST-I-024C | LAMP,STROBE,DETAILS:CLEAR STROBE,MANUFACTURER:FEDERAL SIGNAL,MFR PART NUMBER:225XST-I-024C | [7 empty] | https://signaling.fedsig.com/product/225xst-i |  |  | FEDERAL SIGNAL | OPM/OEM | 225XST-I-024C | 225XST-I-024C |  | ENRICHED | MRO | 39111706 | Strobe or warning lights | LAMP | STROBE | TYPE | IN-RUSH WARNING | SIZE | 139.7 DIA X 190.5 HT MM | POWER RATING | 240 W | VOLTAGE RATING | 24 VDC | CURRENT RATING | 0.7 A | RATING | NOT AVAILABLE | COLOR | BLACK | ENCLOSURE | IP66/69K | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 581264 | 581264 | GB36-CB41922433 | LAMP,U.V.,ULTROX SYSTEM CLSUV LAMP G64TS | CLSUV LAMP G64TSL EDMUNDSON |  | U.V. LAMP ULTROX SYSTEM CLSUV LAMP G64TSL EDMUNSTON ELECTRICAL | [13 empty] | https://datasheet.octopart.com/G64T5L-EIKO-datasheet-62071551.pdf | https://www.buyultraviolet.com/ultraviolet-lamps-uv-bulbs-g64t5l-05-1338a-r |  | EIKO LTD | OPM | G64T5L | G64T5L | ALTERNATE MANUFACTURER NAME:EDMUNSTON ELECTRICAL,BRAND:ULTROX SYSTEM | ENRICHED | MRO | 39101616 | Ultraviolet UV lamps | LAMP | ULTRAVIOLET | TYPE | GERMICIDAL | SIZE | 62 LG IN | POWER RATING | 75 W | VOLTAGE RATING | 250 V | CURRENT RATING | 0.425 A | COLOR |  | ADDITIONAL FEATURES | LAMP LIFE:9000 HR | [46 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 49673 | 49673 | 8314-50413730 | LAMP,ULTRA VIOLET,G24T6L,ATLA ULTRA | G24T6L | Atlantic Ultraviolet Corp | LAMP,ULTRA VIOLET,DETAILS:ATLA ULTRA,MANUFACTURER:ATLANTIC ULTRAVIOLET CORP,MFR PART NUMBER:G24T6L | [13 empty] | https://www.cureuv.com/products/cureuv-g24t5l-germicidal-uv-lamp |  |  | ATLANTIC ULTRAVIOLET CORPORATION | OEM | G24T6L | G24T6L |  | ENRICHED | MRO | 39101616 | Ultraviolet UV lamps | LAMP | ULTRAVIOLET | TYPE | GERMICIDAL | SIZE | 15 DIA X 538 LG MM | POWER RATING | 25.6 W | VOLTAGE RATING | NOT AVAILABLE | CURRENT RATING | NOT AVAILABLE | COLOR |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 56857 | 56857 | 8317-50483059 | LAMP,ULTRA VIOLET,G24T5L,ATLA ULTRA | G24T5L | Atlantic Ultraviolet Corp | LAMP,ULTRA VIOLET,DETAILS:ATLA ULTRA,MANUFACTURER:ATLANTIC ULTRAVIOLET CORP,MFR PART NUMBER:G24T5L | [13 empty] | https://www.buyultraviolet.com/ultraviolet-lamps-uv-bulbs-g24t5l-05-1348-r |  |  | ATLANTIC ULTRAVIOLET CORPORATION | OEM | G24T5L | G24T5L |  | ENRICHED | MRO | 39101616 | Ultraviolet UV lamps | LAMP | ULTRAVIOLET | TYPE | GERMICIDAL | SIZE | 15 DIA X 538 LG MM | POWER RATING | 25.6 W | VOLTAGE RATING | NOT AVAILABLE | CURRENT RATING | NOT AVAILABLE | COLOR |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_URL ADDED | 04-05-2023 | 2023-05-09 |  | 68483 | 68483 | 8321-52040312 | LAMPARA/UV/GML005/AMERICAN | [16 empty] | https://www.prolampsales.com/products/gml005-american-ultraviolet-oem-replacement-lamp | https://www.radwell.co.uk/en-GB/Buy/AMERICAN%20ULTRAVIOLET/AMERICAN%20ULTRAVIOLET/GML005/?redirect=true |  | AMERICAN ULTRAVIOLET | OPM | GML005 | GML005 |  | ENRICHED | MRO | 39101616 | Ultraviolet UV lamps | LAMP | ULTRAVIOLET | TYPE | DOUBLE ENDED | SIZE | 36 LG IN | POWER RATING | 39 W | VOLTAGE RATING | NOT AVAILABLE | CURRENT RATING | NOT AVAILABLE | COLOR |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 85292 | 85292 | 8326-52184107 | LAMPARA UV 155MM ATLANTIUS |  |  | LAMPARA UV 155MM MARCA ATLANTIUS MODELO REATLOPF000400 | [13 empty] | https://www.alpha-purify.com/Medium-Pressure-UV-lamps/Replacement-UV-Lamp-for-Atlantium-OPF000400.aspx |  |  | ALPHA-PURIFY | OPM | REATLOPF000400 | REATLOPF000400 | BRAND:ATLANTIUS | ENRICHED | MRO | 39101616 | Ultraviolet UV lamps | LAMP | ULTRAVIOLET | TYPE | REPLACEMENT | SIZE | 155 MM | POWER RATING | 1.7 KW | VOLTAGE RATING | NOT AVAILABLE | CURRENT RATING | NOT AVAILABLE | COLOR |  | ADDITIONAL FEATURES | [47 empty] | Oem Cleansed items,Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 757275 | 757275 | RU02-5538181 | LAMP;SSU-220/50-5K.D-05.1L75 STIK | [16 empty] | https://zao-proton.ru/product/svetilniki-svetodiodnye-serii-ctik-35-65-vt?shopSku_id=1086 |  |  | PROTON LLC | OPM | SSU-220/50-5K.D-05.1L75 STIK | SSU-220/50-5K.D-05.1L75 STIK |  | ENRICHED | MRO | 39112102 | Light emitting diode LED optic lighting | LIGHT |  | TYPE | LINIEAR LED | LAMP WATTAGE | 50 W | POWER SUPPLY | NOT AVAILABLE | COLOUR | NOT AVAILABLE | VOLTAGE RATING | 176 TO 264 VAC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL | ANODIZED ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR TEMPERATURE:4000/5000 K,COLOR RENDERING INDEX:80 CRI,LUMENS:7500 LM,DEGREE OF PROTECTION:IP65 | [34 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-09 |  | 496324 | 496324 | ES32-5518794 | PANTALLA LED ESTANCA 53W INXP53N | [16 empty] | https://www-emastore-it.translate.goog/plafoniere-stagne-led/ideallux-inxp53n-innova-xp-stagna-led-53w-7424lm-4000k?_x_tr_sl=it&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc# |  |  | IDEALLUX | OPM | INXP53N | INXP53N |  | ENRICHED | MRO | 39112102 | Light emitting diode LED optic lighting | LIGHT |  | TYPE | WATER-PROOF,LED | LAMP WATTAGE | 53 W | POWER SUPPLY | NOT AVAILABLE | COLOUR | NOT AVAILABLE | VOLTAGE RATING | 230 VAC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS | 2 | MOUNTING TYPE |  | MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | LENGTH:1565 MM,COLOR TEMPERATURE:4000 K | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 759016 | 759016 | RU02-5580007 | LED LAMP;SZ;900;2500.210 | [16 empty] | https://www.rittal.com/com-en/products/PG0002SCHRANK1/PG0159SCHRANK1/PGRP34265SCHRANK2/PGRP34463SCHRANK2/PRO64749?variantId=2500210 | https://www.rittal.com/imf/none/3_7780/2500210_Further_information_EN/ |  | RITTAL | OPM/OEM | SZ 2500.210 | SZ 2500.210 |  | ENRICHED | MRO | 39112102 | Light emitting diode LED optic lighting | LIGHT |  | TYPE | LED | LAMP WATTAGE | 11 W | POWER SUPPLY | NOT AVAILABLE | COLOUR | NEUTRAL WHITE | VOLTAGE RATING | 100 TO 240 VAC | BALLAST TYPE |  | SOCKET TYPE | D,EARTHING PIN | NUMBER OF LAMPS |  | MOUNTING TYPE | DIRECT | MATERIAL | PLASTIC,ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ENEC | ADDITIONAL FEATURES | LUMENS:900 LM,LENGTH:437 MM | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 840470 | 840470 | VN03-EV006653 | LIGHT LED HIGHTBAY UFO150W,220V | NKD-2140;PHILIPS | [15 empty] | https://www.ledskylight.com/shop/product/hb-high-bay-ufo-150w-philips-lumineds-chip-150-lm-w-9741 |  |  | PHILIPS (KONINKLIJKE PHILIPS N.V.) | OPM | UFO 150W | UFO 150W | ALTERNATE PART NUMBER:NKD-2140 | ENRICHED | MRO | 39111546 | High bay lighting | LIGHT |  | TYPE | LED HIGH BAY | LAMP WATTAGE | 150 W | POWER SUPPLY | NOT AVAILABLE | COLOUR | NOT AVAILABLE | VOLTAGE RATING | 220 VAC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP20,LUMENS:150 LM | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 690852 | 690852 | MY44-5042631 | KEYENCE CA-DBB8 (MPN#:2170567) | [16 empty] | https://www.keyence.co.in/products/vision/vision-sys/ca-d/models/ca-dbb8/ |  |  | KEYENCE CORPORATION | OPM | 2170567 | CA-DBB8 |  | ENRICHED | MRO | 39111544 | Light emitting diode LED fixture | LIGHT |  | TYPE | BAR,LED | LAMP WATTAGE | 4.8 W | POWER SUPPLY | NOT AVAILABLE | COLOUR | BLUE | VOLTAGE RATING | 12 VDC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:17 WD X 92 LG MM | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 378556 | 378556 | BE35-5466427 | LIGHT S75-850-W FOR CAMERA | CAMA: SL7145 |  | LIGHT S75-850-W FOR CAMERA CAMA: SL7145 | LIGHT S75-850-W FOR CAMERA CAMA: SL7145¦¦LIGHT S75-850-W FOR CAMERA CAMA: SL7145¦¦LIGHT S75-850-W FOR CAMERA CAMA: SL7145 | [12 empty] | https://smartvisionlights.com/products/s75/ | https://smartvisionlights.com/wp-content/uploads/S75_Datasheet-2.pdf |  | SMART VISION LIGHTS | OPM | S75-850-W | S75-850-W |  | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | LIGHT |  | TYPE | BRICK | LAMP WATTAGE | 9.6 W | POWER SUPPLY |  | COLOUR | BROWN | VOLTAGE RATING | 24 VDC | BALLAST TYPE |  | SOCKET TYPE | 5-PIN M12 | NUMBER OF LAMPS |  | MOUNTING TYPE | HOLE | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,IEC 62471 | ADDITIONAL FEATURES | FOR CAMERA SL7145 | [34 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 42292 | 42292 | 8312-52115169 | LED,LEDWB300X150PW2-XQ,WHITE | LEDWB300X150PW2-XQ | Wesco Industrial Products Inc | LED,COLOR:WHITE,MANUFACTURER:WESCO INDUSTRIAL PRODUCTS INC,MFR PART NUMBER:LEDWB300X150PW2-XQ | [13 empty] | https://www.bannerengineering.com/in/en/products/part.82644.html#/ |  |  | BANNER ENGINEERING CORP. | OPM | 82644 | LEDWB300X150PW2-XQ |  | ENRICHED | MRO | 39111544 | Light emitting diode LED fixture | LIGHT |  | TYPE | BACK,LED | LAMP WATTAGE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | COLOUR | WHITE | VOLTAGE RATING | 24 VDC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE | SURFACE,BRACKET | MATERIAL | THERMOPLASTIC | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,IEC | ADDITIONAL FEATURES | ENCLOSURE:IP67,SIZE:300 X 150 MM | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 93383 | 93383 | 8326-52256622 | LAMPARA ATEX BANNER HLS27DW0710C 30VCD |  |  | LAMPARA ATEX BANNER 12-30VCD HLS27DW0710C HLS27 HAZARDOUS LOCATION STRIP LIGHT | [13 empty] | https://info.bannerengineering.com/cs/groups/public/documents/literature/197949.pdf | https://www.bannerengineering.com/in/en/products/part.805221.html#/ |  | BANNER ENGINEERING CORP. | OPM/OEM | 805221 | HLS27DW0710C |  | ENRICHED | MRO | 39112507 | Strip lights | LIGHT |  | TYPE | LED STRIP | LAMP WATTAGE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | COLOUR | COOL WHITE | VOLTAGE RATING | 12 TO 30 VDC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL | POLYCARBONATE | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX | ADDITIONAL FEATURES | FOR HAZARDOUS LOCATION | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 580793 | 580793 | GB36-5619349 | EM LIGHT,8W,LED,SMARTSCAN,SOLOW,NARROW | WWL17382ZF THORLUX THORPE |  | 8w Solow LED non-maintained SmartScan wireless emergency low bay luminaire, IP64 <(>&<)> Ra80, narrow distribution version, comprising silver anodised extruded aluminium hinged body with cooling fins, non-maintained SmartScan wireless emergency driver and | [13 empty] | https://www.shop.betriebskostensparen24.de/pages/produkt_detail.php?produkt_id=718 |  |  | THORLUX LIGHTING | OPM | WWL17382ZF | WWL17382ZF |  | ENRICHED | MRO | 39111709 | Emergency light unit | LIGHT | EMERGENCY | LAMP WATTAGE | 8 W | BASE TYPE | NOT AVAILABLE | VOLTAGE RATING | NOT AVAILABLE | TYPE | LED | NUMBER OF LAMPS |  | INTENSITY |  | LAMP LIFE | 50000 HR | BATTERY DETAILS |  | SIZE |  | BACKUP TIME |  | DEGREE OF PROTECTION | IP64 | MOUNTING TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | COLOR TEMPERATURE:4000 K,NON-MAINTAINED SMARTSCAN WIRELESS LOW BAY LUMINAIRE,RA80,NARROW DISTRIBUTION VERSION,COMPRISING SILVER ANODISED EXTRUDED ALUMINIUM HINGED BODY W/COOLING FINS,DRIVER AND | [32 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 172344 | 172344 | 8352-52223074 | LIGHT,EMERG,LPXC25,120-277V | LPXC25 | Surelite Products Co Inc | LIGHT,EMERGENCY,VOLTAGE RATING:120-277V,MANUFACTURER:SURELITE PRODUCTS CO INC,MFR PART NUMBER:LPXC25 | [13 empty] | https://www.cooperlighting.com/global/brands/sure-lites/916195/lpxc-series/lpxc25#INI | https://www.cooperlighting.com/api/assets/v1/file/CLS/content/4aae7fc8649d42b6829aad4100746623/sure-lites-lpxc-series-spec-sheet_lpxc25 |  | COOPER LIGHTING, LLC | OPM | LPXC25 | LPXC25 | BRAND:SURE-LITES | ENRICHED | MRO | 39111709 | Emergency light unit | LIGHT | EMERGENCY | LAMP WATTAGE | 2.2 TO 3.2 W | BASE TYPE | NOT AVAILABLE | VOLTAGE RATING | 120-277 VAC | TYPE | LED | NUMBER OF LAMPS |  | INTENSITY |  | LAMP LIFE |  | BATTERY DETAILS | MAINTENANCE FREE NICKEL CADMIUM | SIZE | 54 WD X 330 LG MM | BACKUP TIME |  | DEGREE OF PROTECTION |  | MOUNTING TYPE | SURFACE | HAZARD CLASS |  | ADDITIONAL FEATURES | FREQUENCY:60 Hz | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 276848 | 276848 | 8385-52208445 | ALUMBRADO PUBLICO LED 150W KLS150 |  |  | ALUMBRADO PUBLICO LED DE ALTA EFICIENCIA MODELO KLS 150 SLIMLINE 150W INTESIDAD: 19.500 LUMEN CONSUME: 150W (EFICIENCIA 130 LUMEN/WATT) FABRICADA EN ALUMINIO 1050, APERTURA SIN TORNILLOS. LEDS SMD 3030 PHILIPS, DRIVER MEANWELL HLG. IP65 OPTICAS DE ALTA T | [13 empty] | https://www.steinigke.at/en/mpn42109610-eurolite-led-kls-150-compact-light-set.html |  |  | EUROLITE | OEM | KLS 150 | KLS 150 | ALTERNATE MANUFACTURER:PHILLIPS,ALTERNATE PART NUMBER:SMD 3030,ALTERNATE DISTRIBUTOR NAME:KALLARIS | ENRICHED | MRO | 39111611 | Flood light | LIGHT | FLOOD | LAMP WATTAGE | 150 W | VOLTAGE RATING | 230 VAC | LIGHT COLOUR | NOT AVAILABLE | TYPE | HIGH EFFICIENCY,LED | HOUSING MATERIAL |  | DEGREE OF PROTECTION | IP65 | BALLAST TYPE |  | LAMP LIFE | 50000 HR | INTENSITY | 19500 LM | SIZE | 95 X 23 X 4.5 CM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PUBLIC,W/LED CHIP,SMD3030,EFFICIENCY 130 LM/W,MADE OF 1050 ALUMINUM,OPENING W/O SCREW,DRIVER MEANWELL HLG,HIGH TRANSPARENCY OPTICS,USEFUL LIFE OF LED,ENGG METAL PART | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 506936 | 506936 | ES36-5319123 | LUMINARIA-FOCO HB15 C DE 200 W DE CHZ |  |  |  | Corresponde a su Oferta 0015555745 HB15C-200W 6K | [12 empty] | https://www.chz-lighting.com/industry-lighting-chz-hb15c-ufo-led-high-bay-light-for-factory-warehouse | https://chzlighting.en.made-in-china.com/product/cNJQulTkaBWL/China-LED-High-Bay-Light-for-Workshop-Ceiling-Light.html |  | CHZ | OPM | CHZ-HB15C | CHZ-HB15C |  | ENRICHED | MRO | 39111546 | High bay lighting | LIGHT |  | TYPE | SPOT,LED HIGH BAY | LAMP WATTAGE | 200 W | POWER SUPPLY | NOT AVAILABLE | COLOUR | NOT AVAILABLE | VOLTAGE RATING | 100 TO 277 VAC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS | 238 | MOUNTING TYPE | HOOK | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ROHS/ISO14001 | ADDITIONAL FEATURES | LED TYPE:SMD 3030,CONNECTION TYPE:34P7S,DRIVER TYPE:MW/HBG-240-48A | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 408874 | 408874 | CH31-5589419 | LICHTGITTER MLG50S-1900D10517 | 817.020.0126 | GILGEN LOGISTICS AG | MLG50S-1900D10517 | MLG50S-1900D10517 | [12 empty] | https://www.elconet.ro/light-grille/45333-mlg50s-1900d10517.html | https://www.sick.com/us/en/automation-light-grids/measuring-automation-light-grids/mlg-2/mlg50s-1900d10517/p/p649819 |  | SICK AG | OPM | 1222424 | MLG50S-1900D10517 | ALTERNATE MANUFACTURE NAME:GILGEN LOGISTICS AG,ALTERNATE PART NUMBER:817.020.0126 | ENRICHED | MRO | 39110000 | Lighting Fixtures and Accessories | LIGHT |  | TYPE | GLITTER | LAMP WATTAGE |  | POWER SUPPLY | NOT AVAILABLE | COLOUR | NOT AVAILABLE | VOLTAGE RATING | 19.2 TO 28.8 VDC | BALLAST TYPE |  | SOCKET TYPE |  | NUMBER OF LAMPS |  | MOUNTING TYPE |  | MATERIAL | ALUMINUM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60947-5-2 | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 615184 | 615184 | ID02-5024163 | CAT PROPAN EXTERIOR BUTTERNUT 1110 | [16 empty] | https://www.bukalapak.com/p/rumah-tangga/perkakas-rumah-tangga/c9i52l-jual-propan-decor-dw-500-butternut-1110-2-5l |  |  | DÉCOR | OPM | 1110 | 1110 |  | ENRICHED | MRO | 31211500 | Paints and primers | PAINT |  | TYPE | OUTDOOR | CONTAINER | 2.5 L | COLOUR | BUTTERNUT | COATING/FINISH | NOT AVAILABLE | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 638019 | 638019 | IN03-ED015534 | INTERSEAL 670 | [16 empty] | https://international.brand.akzonobel.com/m/52ae6bff025da150/original/Interseal_670HS_eng_A4_20190122.pdf | https://international.brand.akzonobel.com/m/5dbabe3d74f29266/original/EGA244_EUS05_SA_EN_20170331_1.pdf |  | AKZONOBEL | OPM | 670HS | 670HS |  | ENRICHED | MRO | 31211500 | Paints and primers | PAINT |  | TYPE | EPOXY | CONTAINER | NOT AVAILABLE | COLOUR | RED | COATING/FINISH |  | DRYING TIME |  | COVERAGE AREA | 263 SQ FT/GAL | TEMPERATURE RATING | 50 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FORM:LIQUID,ODOR:SOLVENT | [40 empty] | Part Number Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 613190 | 613190 | ID01-EI003631 | CAT BESI FTALIT WHITE 731 | [16 empty] | https://www.tokopedia.com/tokohargamantul/cat-besi-dan-kayu-ftalit-1kg-super-white-731 |  |  | KANSAI PAINT CO.,LTD | OEM | 731 | 731 |  | ENRICHED | MRO | 31211500 | Paints and primers | PAINT |  | TYPE | NOT AVAILABLE | CONTAINER | 1 KG | COLOUR | WHITE | COATING/FINISH | NOT AVAILABLE | DRYING TIME |  | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 615187 | 615187 | ID02-5024166 | CAT PROPAN MULTI POX MX-99 TRAFFIC YELLO | [16 empty] | https://www.maziya.com/index.php/product/multipox-mx-99/ |  |  | MULTIPOND | OPM | MX-99 | MX-99 |  | ENRICHED | MRO | 31211500 | Paints and primers | PAINT |  | TYPE | POLYAMIDE CURED EPOXY,ENAMEL | CONTAINER | 1 L | COLOUR | YELLOW | COATING/FINISH | GLOSS | DRYING TIME | 30 MIN SURFACE DRY,4 HR TOUCH FREE,10 HR HARD DRY | COVERAGE AREA |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 363015 | 363015 | BE33-5047063 | PEINTURE AEROSOL GRIS MARTELE 4014 | BELTON MART. |  | PEINTURE AEROSOL GRIS MARTELE 4014 MOTIP 4014 | PEINTURE AEROSOL GRIS MARTELE 4014 MOTIP 4014¦¦PEINTURE AEROSOL GRIS MARTELE 4014 MOTIP 4014 | Rubix | 7651958 | MOTIP |  |  | MOTIP SPUITBUS 400 ML HAMERSLAG LAK GRIJS | [6 empty] | https://shop.eriks.lu/fr/produits-d-entretien-protection-de-surfaces-peinture-et-accessoires-peinture-couche-de-finition/motip-4014-martele-400ml-gris-23586068/ |  |  | MOTIP | OPM | 4014 | 4014 | ALTERNATE MANUFACTURER NAME:BELTON MART,DISTRIBUTOR PART NUMBER:7651958,BRAND:LACQUER | ENRICHED | MRO | 31211507 | Spray paints | PAINT | SPRAY | CONTAINER | 400 mL CAN | COLOUR | GRAY | COATING/FINISH |  | TYPE | DECORATIVE PURPOSE,HAMMER BLOW | COVERAGE AREA |  | DRYING TIME | QUICK | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 8750 | 8750 | 8301-52194802 | MACROPOXY 100 AMARELO 300 COMP A |  |  | MACROPOXY 100 AMARELO 300; SECAGEM: 8 HORAS; NCM: 3208.90.10; FORNECIMENTO: SHERWIN WILLIANS; RENDIMENTO TEORICO: NA; COMPONENTE: 3/4; ASPECTO FISICO: NA; PADRAO MUNSELL/RALL: NA; COR: NA; NORMA: ; ACABAMENTO: XXX; CATALISADOR: MACROPOXY 100 COMP B; BASE: | MACROPOXY 100 AMARELO 300; SECAGEM: 8 HORAS; NCM: 3208.90.10; FORNECIMENTO: SHERWIN WILLIANS; RENDIMENTO TEORICO: NA; COMPONENTE: 3/4; ASPECTO FISICO: NA; PADRAO MUNSELL/RALL: NA; COR: NA; NORMA: ; ACABAMENTO: XXX; CATALISADOR: MACROPOXY 100 COMP B; BASE: | [12 empty] | https://www.sherwin-williams.com/document/SDS/en/035777782323/US/ | https://www.paintdocs.com/docs/webPDF.jsp?SITEID=SWPCGPROT&doctype=PDS&prodno=035777782347&lang=2 |  | SHERWIN-WILLIAMS | OPM | MACROPOXY 646-100 | MACROPOXY 646-100 | REFERENCE NUMBER:3208.90.10 | ENRICHED | MRO | 31211500 | Paints and primers | PAINT |  | TYPE | FAST CURE EPOXY | CONTAINER | NOT AVAILABLE | COLOUR | MILL WHITE,YELLOW | COATING/FINISH | SEMI-GLOSS | DRYING TIME | 8 HR | COVERAGE AREA |  | TEMPERATURE RATING | 40 TO 140 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | 29 CFR 1910.1200 | ADDITIONAL FEATURES | COMPONENT:3/4,FORM:LIQUID,NUMBER:300,QUANTITY OF COMPONENTS:2,INK,COMP A | [40 empty] | Manufacturer Name Updated As Per URL,Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 8760 | 8760 | 8301-52194812 | MACROPOXY 100 AZUL COMP A |  |  | MACROPOXY 100 AZUL COMP A; SECAGEM: 8 HORAS; NCM: 3208.90.10; FORNECIMENTO: SHERWIN WILLIANS; RENDIMENTO TEORICO: NA; COMPONENTE: 3/4; ASPECTO FISICO: NA; PADRAO MUNSELL/RALL: NA; COR: NA; NORMA: ; ACABAMENTO: XXX; CATALISADOR: MACROPOXY 100 COMP B; BASE: | MACROPOXY 100 AZUL COMP A; SECAGEM: 8 HORAS; NCM: 3208.90.10; FORNECIMENTO: SHERWIN WILLIANS; RENDIMENTO TEORICO: NA; COMPONENTE: 3/4; ASPECTO FISICO: NA; PADRAO MUNSELL/RALL: NA; COR: NA; NORMA: ; ACABAMENTO: XXX; CATALISADOR: MACROPOXY 100 COMP B; BASE: | [12 empty] | https://www.sherwin-williams.com/document/SDS/en/035777782323/US/ | https://www.paintdocs.com/docs/webPDF.jsp?SITEID=SWPCGPROT&doctype=PDS&prodno=035777782347&lang=2 |  | SHERWIN-WILLIAMS | OPM | MACROPOXY 646-100 BLUE | MACROPOXY 646-100 BLUE | REFERENCE NUMBER:3208.90.10 | ENRICHED | MRO | 31211500 | Paints and primers | PAINT |  | TYPE | FAST CURE EPOXY | CONTAINER | NOT AVAILABLE | COLOUR | BLUE,MILL WHITE | COATING/FINISH | SEMI-GLOSS | DRYING TIME | 8 HR | COVERAGE AREA |  | TEMPERATURE RATING | 40 TO 140 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | 29 CFR 1910.1200 | ADDITIONAL FEATURES | COMPONENT:3/4,FORM:LIQUID,QUANTITY OF COMPONENTS:2,INK,COMP A | [40 empty] | Manufacturer Name Updated As Per URL,Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 8771 | 8771 | 8301-52194823 | MACROPOXY 100 COMP B |  |  | MACROPOXY 100 COMP B; SECAGEM: 8 HORAS; FORNECIMENTO: SHERWIN WILLIANS; RENDIMENTO TEORICO: NA; COMPONENTE: 3/4; ASPECTO FISICO: NA; PADRAO MUNSELL/RALL: NA; COR: NA; NCM: 3208.90.10; NORMA: ; ACABAMENTO: XXX; CATALISADOR: MACROPOXY 100 COMP B; BASE: MACR | MACROPOXY 100 COMP B; SECAGEM: 8 HORAS; FORNECIMENTO: SHERWIN WILLIANS; RENDIMENTO TEORICO: NA; COMPONENTE: 3/4; ASPECTO FISICO: NA; PADRAO MUNSELL/RALL: NA; COR: NA; NCM: 3208.90.10; NORMA: ; ACABAMENTO: XXX; CATALISADOR: MACROPOXY 100 COMP B; BASE: MACR | [12 empty] | https://www.sherwin-williams.com/document/SDS/en/035777782323/US/ | https://www.paintdocs.com/docs/webPDF.jsp?SITEID=SWPCGPROT&doctype=PDS&prodno=035777782347&lang=2 |  | SHERWIN-WILLIAMS | OPM | MACROPOXY 646-100 GOLD | MACROPOXY 646-100 GOLD | REFERENCE NUMBER:3208.90.10 | ENRICHED | MRO | 31211500 | Paints and primers | PAINT |  | TYPE | FAST CURE EPOXY | CONTAINER | NOT AVAILABLE | COLOUR | MILL WHITE | COATING/FINISH | SEMI-GLOSS | DRYING TIME | 8 HR | COVERAGE AREA |  | TEMPERATURE RATING | 40 TO 140 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD | 29 CFR 1910.1200 | ADDITIONAL FEATURES | COMPONENT:3/4,FORM:LIQUID,QUANTITY OF COMPONENTS:2,INK,COMP B | [40 empty] | Manufacturer Name Updated As Per URL,Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 301961 | 301961 | AT31-5504397 | GR40.040E3 GITTERRINNE NIEDAX | 4013339343713 | NIEDAX | [14 empty] | https://products.niedax.de/niedax_en/gr-40-040-e3.html |  |  | NIEDAX | OPM | 4013339343713 | GR40.040E3 |  | ENRICHED | MRO | 39131704 | Cable tray | TRAY | CABLE | WIDTH | 40 MM | LENGTH | 3.4 MM | DEPTH | 40 MM | MATERIAL | STAINLESS STEEL | SHAPE | U | CAPACITY | NOT AVAILABLE | TYPE | MESH | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN EN 61537 | ADDITIONAL FEATURES | [41 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 301956 | 301956 | AT31-5504390 | GITTERBAHN ED 3X0,1M DM4MM G50-10E | 61114 | PUK GROUP & CO. KG | 1 Stk.=3m | 1 Stk.=3m | [12 empty] | https://pohlcon.com/en/products/cable-management-systems-4/mesh-cable-trays-113/g-50-62630 | https://pik-energo.ru/en/product/model/g-50/ |  | PUK GROUP & CO. KG | OPM | 61114 | 61114 | REFERENCE TEXT:GITTERBAHN ED,DM,ALTERNATE PART NUMBER:G50-10E | ENRICHED | MRO | 39131704 | Cable tray | TRAY | CABLE | WIDTH | 116 MM | LENGTH | 3 M | DEPTH | 53 MM | MATERIAL | STAINLESS STEEL | SHAPE | U | CAPACITY | NOT AVAILABLE | TYPE | MESH | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN EN 61537,VDE 0639 | ADDITIONAL FEATURES | PACKAGING TYPE:STUK | [40 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 301957 | 301957 | AT31-5504391 | GITTERBAHN ED 3X0,2M DM4MM G50-20E | 61296 | PUK GROUP & CO. KG | 1 Stk.=3m | 1 Stk.=3m | [12 empty] | https://pohlcon.com/en/products/cable-management-systems-4/mesh-cable-trays-113/g-50-62630 | https://pik-energo.ru/en/product/model/g-50/ |  | PUK GROUP & CO. KG | OPM | 61296 | 61296 | REFERENCE TEXT:GITTERBAHN ED,DM,ALTERNATE PART NUMBER:G50-20E | ENRICHED | MRO | 39131704 | Cable tray | TRAY | CABLE | WIDTH | 216 MM | LENGTH | 3 M | DEPTH | 53 MM | MATERIAL | STAINLESS STEEL | SHAPE | U | CAPACITY | NOT AVAILABLE | TYPE | MESH | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN EN 61537,VDE 0639 | ADDITIONAL FEATURES | PACKAGING TYPE:STUK | [40 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 390449 | 390449 | BE35-LBH18967 | KABELLAD. CF54/50/IN304L | CABLOFIL 50MM PER 3M 000068 |  | CABLOFIL KABELLADDER 000068 CF54/50/IN304L 50 MM BREED (3 METER PER STUK) | CABLOFIL KABELLADDER 000068 CF54/50/IN304L 50 MM BREED (3 METER PER STUK)¦¦CABLOFIL KABELLADDER 000068 CF54/50/IN304L 50 MM BREED (3 METER PER STUK)¦¦CABLOFIL KABELLADDER 000068 CF54/50/IN304L 50 MM BREED (3 METER PER STUK) | [12 empty] | https://www.electrika.com/catalogues/Legrand-Cable-Management/Straight-lengths/CF54-stainless-steel-straight-lengths-3m-/CM000068/CF54-50304L-CABLOFIL-WIRE-CABLE-TRAY/part/91699 |  |  | LEGRAND | OPM | CM000068 | CF54/50/304L |  | ENRICHED | MRO | 39131704 | Cable tray | TRAY | CABLE | WIDTH | 50 MM | LENGTH | 3 M | DEPTH | 54 MM | MATERIAL | STAINLESS STEEL 304L | SHAPE | NOT AVAILABLE | CAPACITY | NOT AVAILABLE | TYPE | WIRE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING TYPE:STUK | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK_URL CHANGED | 04-05-2023 | 2023-05-09 |  | 816896 | 816896 | TR03-TR5020458 | KABLO KANALI(GERSAN,GGKT-10,KAPAKLI,PREG | [16 empty] | http://www.vtech3.com/pdf/309_GERSAN/LINK1_Cable_Trays.pdf |  |  | GERSAN | OPM | GGKT-10 D | GGKT-10 D |  | ENRICHED | MRO | 39131704 | Cable tray | TRAY | CABLE | WIDTH | 100 MM | LENGTH | 3 M | DEPTH | NOT AVAILABLE | MATERIAL | PRE-GALVANIZED | SHAPE | RECTANGULAR | CAPACITY | NOT AVAILABLE | TYPE | DUCT | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 61537,BS EN 61537 | ADDITIONAL FEATURES | THICKNESS:1.5 MM,W/CLAMPING LID | [40 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 818510 | 818510 | TR03-TR5026393 | CABLE TRY/DI? BÜK/GERSAN/GTEB-B20 PG/200 | [16 empty] | https://cabletray.ru/upload/iblock/e0c/e0cbe771c674ea6bc481edc910633a17.pdf |  |  | GERSAN ELEKTRIK A.S. | OPM | GTEB-B20 PG | GTEB-B20 PG |  | ENRICHED | MRO | 39131704 | Cable tray | TRAY | CABLE | WIDTH | 50 MM | LENGTH | 200 MM | DEPTH | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | SHAPE | NOT AVAILABLE | CAPACITY | NOT AVAILABLE | TYPE | OUTBEND | HAZARD CLASS |  | CERTIFICATION/STANDARD | BS EN 61537/IEC61537 | ADDITIONAL FEATURES | ENTERNAL BEND ELEMENTS QUICK FIX PREGALVANIZED | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-09 |  | 390450 | 390450 | BE35-LBH18968 | KABELLAD. CF54/100/IN304L | CABLOFIL 100MM PER 3M 000078 |  | CABLOFIL KABELLADDER 000078 CF54/100/IN304L 100 MM BREED (3 METER PER STUK) | CABLOFIL KABELLADDER 000078 CF54/100/IN304L 100 MM BREED (3 METER PER STUK)¦¦CABLOFIL KABELLADDER 000078 CF54/100/IN304L 100 MM BREED (3 METER PER STUK)¦¦CABLOFIL KABELLADDER 000078 CF54/100/IN304L 100 MM BREED (3 METER PER STUK) | [12 empty] | https://www.legrand.co.uk/media/4564/cablofil-steel-wire-tray.pdf |  |  | LEGRAND | OPM | CF54 | CM000078 |  | ENRICHED | MRO | 39131704 | Cable tray | TRAY | CABLE | WIDTH | 100 MM | LENGTH | 3 M | DEPTH | NOT AVAILABLE | MATERIAL | STAINLESS STEEL 304L | SHAPE | NOT AVAILABLE | CAPACITY | NOT AVAILABLE | TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PACKAGING TYPE:STUK | [41 empty] | Production Completed