## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 09-05-2023 |  | 157422 | 157422 | 8349-52223736 | ABR,BELT,4801119218,6 IN,24 IN,MEDIUM | 4801119218 | 3M | ABRASIVE,BELT,WIDTH:6 IN,LENGTH:24 IN,GRIT GRADE:MEDIUM,MATERIAL:RESIN BOND,MANUFACTURER:3M,MFR PART NUMBER:4801119218 |  | BDI | 21526200 | 3M | 4801119218 | 04801119218 SLIP-RESISTANT TAPE | 0 | 0 | [5 empty] | https://spec-sheets.interlinksupply.com/103191_Catalog-1.pdf | https://multimedia.3m.com/mws/media/399023O/usa-mining-site-safety-catalog.pdf | http://www.superiorindsupply.com/48011-19218-3m-striped-safety-walk-tape-slip-resistant-safety-6-x24- | 3M | OPM | 4801119218 | 4801119218 |  | ENRICHED | MRO | 31201500 | Tape | TAPE | ADHESIVE | WIDTH | 6 IN | LENGTH | 24 IN | THICKNESS |  | MATERIAL | RESIN BOND | COLOUR | BLACK | TYPE | SLIP RESISTANT,GENERAL PURPOSE | LEGEND |  | PACKAGE TYPE | 50/CASE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GRIT GRADE:MEDIUM | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 299145 | 299145 | AT31-5298353 | 3M GROBREIN.SCHEIBEN GP BLAU | SCOTCH-BRITE CG-GP BLAU | 3M | 200x13 Scotch761163 CG-DC (1VE=12Stück) | 200x13 Scotch761163 CG-DC (1VE=12Stück) | Rubix | 1458567 | 3M | 0 | 0 | 3M 61163 GP BLUE DISC CG-DC BLUE XCRS 20 | 0 | [5 empty] | https://www.reca.co.at/shop/en/products/3M-SCOTCH-BRITE-CG-DC-200X13-BLAU-761163-6016761163 | https://multimedia.3m.com/mws/media/1465366O/at-metallbearbeitung-produktkatalog-2018.pdf | https://www.zultner.si/en/3m-reinigungsscheibe-cg-dc-blue-200x13mm-ve10stk-3m761163-1 | 3M | OPM | 761163 | 761163 |  | ENRICHED | MRO | 31191506 | Abrasive Discs | ABRASIVE | DISC | THICKNESS | 13 MM | MATERIAL | SILICON CARBIDE | TYPE | COARSE CLEANING | DIAMETER | 200 MM | GRIT | EXTRA COARSE | BACKING MATERIAL |  | SPEED RATING | 3000 RPM | ADDITIONAL FEATURES | BRAND:SCOTCH-BRITE,COLOR:BLUE,PACKAGING QUANTITY:12 PIECES | ARBOR SIZE | [43 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 413945 | 413945 | CH31-5841330 | SCHRUPPSCHLEIFSCHEIBE 115X6 STAHL / INOX | 560500 115X6 | HOFFMANN | TYP GARANT | TYP GARANT¦¦TYP GARANT¦¦TYP GARANT | [12 empty] | https://cdn.hoffmann-group.com/dsh/en-GB/dsh_en-gb_50741.pdf |  |  | ITT HOFFMAN | OPM | 560500 | 560500 | DISTRIBUTOR NAME:STAHL | ENRICHED | MRO | 31191506 | Abrasive Discs | ABRASIVE | DISC | THICKNESS | 6 MM | MATERIAL | INOX | TYPE | ROUGH GRINDING | DIAMETER | 115 MM | GRIT | NOT AVAILABLE | BACKING MATERIAL |  | SPEED RATING | 13300 RPM | ADDITIONAL FEATURES | CIRCUMFERENTIAL SPEED:80 M/S,TYP GARANT | ARBOR SIZE | 22.23 MM | [42 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 381439 | 381439 | BE35-LBH00721 | SCHUURDOEK 3M-461 P150 50 MM | 3M-461 SCHUURDOEK OP ROL 50 MM |  | SCHUURLINNEN OP ROL 3M-461 P150 50 MM BREED (25 METER PER ROL) | SCHUURLINNEN OP ROL 3M-461 P150 50 MM BREED (25 METER PER ROL)¦¦SCHUURLINNEN OP ROL 3M-461 P150 50 MM BREED (25 METER PER ROL)¦¦SCHUURLINNEN OP ROL 3M-461 P150 50 MM BREED (25 METER PER ROL) | Rubix | 23206118 | 3M | 0 | 0 | 3M 314D J-LIN SCHUURROL P150 - 50 MM X 25 MTR | 0 | [5 empty] | https://www.3mindia.in/3M/en_IN/p/d/b40071928/ |  |  | 3M | OPM | 314D | 461 |  | ENRICHED | MRO | 31191504 | Abrasive cloth | ABRASIVE | ROLL | TYPE |  | MATERIAL | ALUMINUM OXIDE | COLOR | MAROON | WIDTH | 50 MM | LENGTH | 25 M | GRIT | P150 | ADDITIONAL FEATURES | BACKING MATERIAL:CLOTH,BACKING WEIGHT:J | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 293006 | 293006 | AT31-5272657 | NEOPERL CASCADE M24X1 01070094 | 1070094 NEOPERL |  |  |  | Rubix | 1648146 | SHTHAUS | 0 | 0 | SMF1672 PERLATOR M24X1 NEOPERL KPL. | 0 | [5 empty] | https://www.obadis.com/en/neoperl-strahlregler-cascade-slc-01070094-verchromt-m24x1-15l-min.html | https://www-ceneje-si.translate.goog/Izdelek/13528881/pohistvo/kopalnice/kopalniske-armature/neoperl-perlator-1070094-casslc-acm24x1-135-15-lmin?_x_tr_sl=sl&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  | NEOPERL | OPM | 01070094 | 01070094 |  | ENRICHED | MRO | 30181802 | FAUCET AERATOR | AERATOR |  | TYPE | NOT AVAILABLE | DIAMETER | M24 X 1 MM | CONNECTION SIZE |  | FLOW RATE | 15 L/MIN | LENGTH |  | MATERIAL |  | CONNECTION TYPE |  | ADDITIONAL FEATURES | FINISH:CHROME PLATED | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 628885 | 628885 | IE33-CB60041272 | TRANSMITTER, KW, ELECTREX FEMTO 96 |  |  | Electrex FEMTO 96 ref; PFA6C11-62 | [13 empty] | https://www.electrex.it/en/products/energy-meters-energy-analysers/pfa6c11-62-femto-96-rs485-230-240v-2ao4-20ma-energy-analyzer.html | https://www.electrex.it/en/download/Datasheet/Data_sheet_Femto_and_Femto_E-Wi.pdf |  | ELECTREX | OPM/OEM | PFA6C11-62 | PFA6C11-62 |  | ENRICHED | MRO | 41113300 | Liquid and solid and elemental analyzers | ANALYZER |  | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | 230-240 VAC,4-20 mA | TYPE | ENERGY | DISPLAY TYPE | LCD | INTERFACE TYPE | RS485 | ENCLOSURE TYPE | IP40 | SIZE |  | MOUNTING TYPE | FLUSH | TEMPERATURE RATING | -10 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | KW,SERIES:FEMTO 96 | SIGNAL INPUT | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 375120 | 375120 | BE33-5426554 | CONDUCTIVIMETRE SMARTEC CLD132-PMV138AB1 | CLD132-PMV138AB1 <> E&H |  | CONDUCTIVIMETRE SMARTEC S COMPACT RANGE:100µS/CM....2000mS/CM; BOITIER INOX; AFF.ALPHAN. P: BOITIER COMPACT MV1: RACCORD SMS DIN11851 DN50 3: PE M20 8: ALIM.24VAC/DC AB: 2 X OUTPUT:0/4-20 MA 1: VERSION STD RAPIDE REF E<(>&<)>H: CLD132-PMV138AB1 | CONDUCTIVIMETRE SMARTEC S COMPACT RANGE:100µS/CM....2000mS/CM; BOITIER INOX; AFF.ALPHAN. P: BOITIER COMPACT MV1: RACCORD SMS DIN11851 DN50 3: PE M20 8: ALIM.24VAC/DC AB: 2 X OUTPUT:0/4-20 MA 1: VERSION STD RAPIDE REF E<(>&<)>H: CLD132-PMV138AB1¦¦CONDUCTIVIMETRE SMARTEC S COMPACT RANGE:100µS/CM....2000mS/CM; BOITIER INOX; AFF.ALPHAN. P: BOITIER COMPACT MV1: RACCORD SMS DIN11851 DN50 3: PE M20 8: ALIM.24VAC/DC AB: 2 X OUTPUT:0/4-20 MA 1: VERSION STD RAPIDE REF E<(>&<)>H: CLD132-PMV138AB1 | [12 empty] | https://www.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/conductivity-toroidal-inductive-measuring-system-cld132?t.tabId=product-overview |  |  | ENDRESS+HAUSER | OPM | CLD132-PMV138AB1 | CLD132-PMV138AB1 |  | ENRICHED | MRO | 41110000 | Measuring And Observing And Testing Instruments | ANALYZER | CONDUCTIVITY | MEASURING RANGE | 100 US/CM-2000 MS/CM | OUTPUT TYPE | 0/4-20 mA | POWER SUPPLY | 24 VAC/DC,7.5 VA | TYPE | INDUCTIVE | DISPLAY TYPE |  | INTERFACE TYPE | HART,PROFIBUS | ENCLOSURE TYPE | IP67 | SIZE |  | MATERIAL | STAINLESS STEEL 1.4301 | MOUNTING TYPE |  | TEMPERATURE RATING | 140 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMPACT BOX MV1:DIN11851,CONNECTION SIZE:50 MM,VERSION STANDARD | [32 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 539275 | 539275 | FR36-5518657 | MESU TRANSMETTEUR DE PH FLXA402 | PH450G-A-A/UM |  |  | TRANSMETTEUR DE PH FLXA402 YOKWIRECONVERTER 00443 FLXA402ABABP1C5A2WRNNNNN/UM selon offre de prix n°000394944 transmetteur de ph et conductivité POUR LEVURE LIQUIDE | [12 empty] | https://web-material3.yokogawa.com/GS12B07C05-01E_051.pdf | https://www.aliexpress.com/item/2053369692.html | https://web-material3.yokogawa.com/GS12A01F01-01EN_010.pdf | YOKOGAWA | OPM | PH450G-A-A/UM | PH450G-A-A/UM | ALTERNATE PART NUMBER:FLXA402ABABP1C5A2WRNNNNN/UM,00443 | ENRICHED | MRO | 41115600 | Electrochemical Measuring Instruments And Accessories | ANALYZER | PH | MEASURING RANGE | -2 TO 16 PH | ACCURACY | <=0.01 PH | OUTPUT TYPE | 250 VAC/DC,5 A,50 W | POWER SUPPLY | 100-240 VAC | RESOLUTION | NOT AVAILABLE | TYPE | MULTIVARIABLE | DISPLAY TYPE | LCD | INTERFACE TYPE | HART | ENCLOSURE TYPE | IP66,NEMA 4X | MATERIAL | CAST ALUMINUM,POLYCARBONATE COVER | MOUNTING TYPE | PANEL,WALL | TEMPERATURE RATING | -20 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | [31 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 816148 | 816148 | TR03-TR5014510 | ANALIZOR (ENTES,MPR-63,SEBEKE,MODBUS) | [16 empty] | https://www.electricautomationnetwork.com/PDF/ENGLISH/ENTES/MPR-50_MPR-52S_MPR-60S_MPR-63.pdf |  |  | ENTES ELECTRONICS | OPM | MPR-63 | MPR-63 |  | ENRICHED | MRO | 41113300 | Liquid And Solid And Elemental Analyzers | ANALYZER |  | MEASURING RANGE | 1-300 VAC (L-N),2-500 VAC (L-L) | ACCURACY | 0.5 % | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | 80-265 VAC/DC,50/60 HZ | TYPE | NETWORK | DISPLAY TYPE | LCD | INTERFACE TYPE | RS-485 | ENCLOSURE TYPE | IP40 | SIZE |  | MOUNTING TYPE | FRONT PANEL MOUNTING | TEMPERATURE RATING | -5 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN-61010-1 | ADDITIONAL FEATURES | CURRENT RATING:50 Ma,MEMORY SIZE:1 MB | SIGNAL INPUT | [31 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 848268 | 848268 | IT03-5509442 | REGISTR. MEMOGRAPH M RSG45-20R9/0 | RSG45-AA2BBBAAA1A4+AEF1N1 | [15 empty] | https://www.in.endress.com/en/field-instruments-overview/system-components-recorder-data-manager/Advanced-Data-Manager-MemographM-RSG45?t.tabId=product-specification |  |  | ENDRESS+HAUSER | OPM | RSG45-AA2BBBAAA1A4+AEF1N1 | RSG45-AA2BBBAAA1A4+AEF1N1 |  | ENRICHED | MRO | 41113300 | Liquid And Solid And Elemental Analyzers | ANALYZER |  | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | 12 RELAYS,2 ANALOG (MAX) (I,PULSE),1 TRANSMITTER POWER SUPPLY | POWER SUPPLY | 100-230 VAC,24 VAC/DC | TYPE | ADVANCED DATA MANAGER | DISPLAY TYPE | TFT 7 IN COLOUR GRAPHIC | INTERFACE TYPE | RS232/485 ETHERNET,USB,MODBUS RTU/TCP SLAVE,MODBUS RTU/TCP MASTER,PROFIBUS DP,PROFINET DEVICE,ETHERNET/IP ADAPTER | ENCLOSURE TYPE |  | SIZE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,EAC,UL (US AND CA),ATEX II2G Ex px IIC Gb,ATEX II2D Ex pD IIIC Db,PROFINET | ADDITIONAL FEATURES |  | SIGNAL INPUT | 20 ANALOG (MAX) (U,I,TC,RTD,FREQUENCY,PULSE),20 HART (MAX) (HART,4-20 MA) | [30 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 408933 | 408933 | CH31-5598586 | ALUWINKEL | WINKEL_40/25/4X347 | ADRIAN KUENG INDUSTRIEMONTAGEN | Winkel40/25/4x347mm, langer_Schenkel auf 33mm abgefräst_Senklöcher M6_Aussparungen u Anschrägungen gem. Muster | Winkel40/25/4x347mm, langer_Schenkel auf 33mm abgefräst_Senklöcher M6_Aussparungen u Anschrägungen gem. Muster | [12 empty] | https://stuermsfs.shop/de-ch/shop/winkel/stahl-gewalzt/s235jr/40-25-4_0-warmgewalzt_scharfkantig--p8118761 |  |  | ADRIAN KUENG INDUSTRIEMONTAGEN | DISTRIBUTOR | 40/25/4X347 | 40/25/4X347 |  | ENRICHED | MRO | 30101500 | Angles | ANGLE |  | SIZE | 25 WD X 40 HT X 4 THK MM | LOAD CAPACITY | NOT AVAILABLE | MATERIAL | STEEL | TYPE | HOT-ROLLED | MATERIAL SPECIFICATION |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LENGTH:6000 M,LONG SHANK MILLED TO 33 MM COUNTERSUNK HOLES M6 CUTOUTS AND BEVELS ACCORDING TO PATTERN | [42 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 19785 | 19785 | 8308-52230216 | BRACO ELEVACAO ELE 5Y425Y003 C&M |  |  | BRAÇO ELEVACAO; MANUAL: 6Y781Y-01 (ITEM 41 - PAGINA 40 - LEVA ELEVATORE); EQUIPAMENTO: EMBALADORA C<(>&<)>M CMY55CB4 CM; LINHA: BIS 1 E BIS 3; REFERENCIA: 5Y425Y003; FABRICANTE: SACMI PACKING <(>&<)> CHOCOLATE | BRAÇO ELEVACAO; MANUAL: 6Y781Y-01 (ITEM 41 - PAGINA 40 - LEVA ELEVATORE); EQUIPAMENTO: EMBALADORA C<(>&<)>M CMY55CB4 CM; LINHA: BIS 1 E BIS 3; REFERENCIA: 5Y425Y003; FABRICANTE: SACMI PACKING <(>&<)> CHOCOLATE | [12 empty] | URL NOT FOUND |  |  | C & M | OEM | 6Y781Y-01 | 5Y425Y003 | ALTERNATE MANUFACTURER:SACMI | CLEANSED | MRO | 23153100 | Industrial Machinery Components And Accessories | ARM | LIFTING | TYPE | ELEVATOR | CAPACITY |  | SIZE |  | MATERIAL |  | COATING/FINISH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ITEM NO:41,FOR EQUIPMENT PACKAGING MACHINE C&M CMY55CB4,LINE:BIS 1 AND BIS 3 | [44 empty] | Oem Cleansed items,Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 408850 | 408850 | CH31-5589394 | KEYSTONE MELDEGEHÄUSE | 89E003Q1XX0PM00 <> REITZE |  | "SBXKL12H0V35P00 IP 67, mit zwei Mikroschaltern (Wechslerkontakt) nach DIN 41635 Form A Kabeleinführung 2 x M20x1,5 Welle 16x11 und nach VDI/VDE 3848 (NAMUR) Temperaturbereich -25/+70 °C" | "SBXKL12H0V35P00 IP 67, mit zwei Mikroschaltern (Wechslerkontakt) nach DIN 41635 Form A Kabeleinführung 2 x M20x1,5 Welle 16x11 und nach VDI/VDE 3848 (NAMUR) Temperaturbereich -25/+70 °C" | [12 empty] | https://auto2mation.com/keystone-lp-0b201bn00-al-0r1-switchbox.html |  |  | KEYSTONE INDUSTRIES | OPM | SBXKL12H0V35P00 | 89E003Q1XX0PM00 |  | ENRICHED | MRO | 39121303 | Electrical boxes | BOX | ELECTRICAL | HUB SIZE | NOT AVAILABLE | NUMBER OF HUBS | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | NUMBER OF GANGS | NOT AVAILABLE | SIZE | NOT AVAILABLE | TYPE | SWITCH,SIGNAL | ENCLOSURE RATING | IP66/67 | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 41635 | ADDITIONAL FEATURES | WITH TWO MICROSWITCHES(CHANGEOVER CONTACT) FORM A CABLE ENTRY 2 X M20 X 1.5 MM,SHAFT:16 X 11 MM AND ACCORDING TO VDI/VDE 3848(NAMUR),TEMPERATURE RANGE:-25 TO 70 DEG C | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 530437 | 530437 | FR34-5538107 | BOIT_H6SBUM213X_VANNE EBRO | H6SBUM213X |  |  | H62/Boîtier SBU Ex-SBU-M213-X211-E01 II 2GD Ex de IIC T6 Offre DE180861 (remplace boîtier obsolète MSK x 04avec 2 contacts secs ATEX Zone 1+2/21+22/IP 65 OFFRE DE PRIX DE161513) | [12 empty] | https://www.kc-co.com/spare-part/ebro/ex-sbu-m213-x211-e01/ |  |  | EBRO ARMATUREN | OPM | EX-SBU-M213-X211-E01 | H6SBUM213X | OFFER NUMBER:DE180861,PRICE OFFER:DE161513 | ENRICHED | MRO | 39121303 | Electrical boxes | BOX | ELECTRICAL | HUB SIZE | NOT AVAILABLE | NUMBER OF HUBS | NOT AVAILABLE | MATERIAL | ALUMINUM | NUMBER OF GANGS | NOT AVAILABLE | SIZE | 80 X 30 X 30 MM | TYPE | LIMIT SWITCH | ENCLOSURE RATING | IP66 | HAZARD CLASS | II 2GD EX DE IIC T6 | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-20 TO 60 DEG C;REPLACES OBSOLETE BOX MSK X 04 WITH 2 DRY CONTACTS ATEX ZONE 1+2/21+22 | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 302090 | 302090 | AT31-5508543 | RAYTEK MI3 RAYMI3COMMI REX 419328 | RAYMI3COMMI | RAYTEK CORPORATION | RAYMI3COMMI Kommunikationsbox im IP65 Gehäuse, für Messkopf, | RAYMI3COMMI Kommunikationsbox im IP65 Gehäuse, für Messkopf, | [12 empty] | https://www.raytek-direct.com/pdfs/cache/www.raytek-direct.com/raymi3comm/datasheet/raymi3comm-datasheet.pdf |  |  | RAYTEK | OPM | MI3 | MI3 |  | ENRICHED | MRO | 39121303 | Electrical boxes | BOX | ELECTRICAL | HUB SIZE | NOT AVAILABLE | NUMBER OF HUBS | NOT AVAILABLE | MATERIAL | DIE-CAST ZINC | NUMBER OF GANGS | NOT AVAILABLE | SIZE | 115 WD X 52 HT MM | TYPE | COMMUNICATION | ENCLOSURE RATING | IP65 | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 61326-1:2006 | ADDITIONAL FEATURES | TEMPERATURE RANGE:-10 TO 65 DEG C,FOR MEASURING HEAD,VOLTAGE RATING:8-32 VDC,POWER RATING:5 W | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 626225 | 626225 | IE32-CB60044901 | UNIT,CONTROL,DKG972-N MOD21,HONEYWELL |  |  |  |  | Rubix | SATRONIC-DKG972-N-21 | NONE |  |  | SATRONIC CONTROLLER MOD 21 | [6 empty] | https://honeyvell.energy/wa-data/public/site/DKG/Technical%20Specification%20Honeywell%20DKG%20972%20(en).pdf |  |  | HONEYWELL INTERNATIONAL | OPM | DKG972-N MOD21 | DKG972-N MOD21 |  | ENRICHED | MRO | 39121303 | Electrical boxes | BOX | ELECTRICAL | HUB SIZE | NOT AVAILABLE | NUMBER OF HUBS | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | NUMBER OF GANGS | NOT AVAILABLE | SIZE | NOT AVAILABLE | TYPE | BURNER CONTROL | ENCLOSURE RATING | IP40 | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 298:2003 | ADDITIONAL FEATURES | ELECTRICAL RATING:230 V,50/60 Hz,TEMPERATURE RATING:-20 TO 60 DEG C,BRAND:SATRONIC | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 6780 | 6780 | 8301-52113298 | BLOCO DE CONECXAO IMPUT E OUTPUT TURCK T |  |  | BLOCO DE CONECXÃO INPUT E OUTPUT TURCK TMIVB80-P7X9-CS-12;CRITICO: SIM; LINHA: ENVASE BEBIDAS | BLOCO DE CONECXÃO INPUT E OUTPUT TURCK TMIVB80-P7X9-CS-12;CRITICO: SIM; LINHA: ENVASE BEBIDAS | [12 empty] | https://www.turck.us/en/product/U7032 |  |  | TURCK | OPM | VB 80-P7X9-CS-12 | VB 80-P7X9-CS-12 |  | ENRICHED | MRO | 39121332 | Electrical Junction Box | BOX | JUNCTION | SIZE | NOT AVAILABLE | MATERIAL | PLASTIC | HUB SIZE | NOT AVAILABLE | TYPE | ACTUATOR,SENSOR | ENCLOSURE RATING |  | MOUNTING TYPE |  | NUMBER OF OUTLETS | 8 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,ROHS | ADDITIONAL FEATURES | CONNECTION SIZE:M12 X 1 FEMALE,HOMERUN CONNECTION:M23 X 1 MALE,VOLTAGE RATING:48 V,CURRENT RATING:4 A,CRITICAL:YES,LINE:BEVERAGE PACKAGING,TMIB,BLOCK | [38 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 6787 | 6787 | 8301-52113309 | BLOCO DE CONEXAO I/O 6 PORT - CABO 10M |  |  | *DESATIVADO SEM LINK COM EQUIPAMENTO* BLOCO DE CONEXÃƒO I/O 6 PORT - CABO 10M TURCK TMIVB60-P7X7-10;CRITICO:SIM; LINHA: ENVASE BEBIDAS | *DESATIVADO SEM LINK COM EQUIPAMENTO* BLOCO DE CONEXÃƒO I/O 6 PORT - CABO 10M TURCK TMIVB60-P7X7-10;CRITICO:SIM; LINHA: ENVASE BEBIDAS | [12 empty] | https://www.turck.us/en/product/777000405 |  |  | TURCK | OPM | VB 60-P7X7-10 | VB 60-P7X7-10 |  | ENRICHED | MRO | 39121332 | Electrical Junction Box | BOX | JUNCTION | SIZE | NOT AVAILABLE | MATERIAL | PLASTIC | HUB SIZE | NOT AVAILABLE | TYPE | EUROFAST,INPUT/OUTPUT PORT | ENCLOSURE RATING |  | MOUNTING TYPE |  | NUMBER OF OUTLETS | 6 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA | ADDITIONAL FEATURES | CONNECTION SIZE:M12 X 1 FEMALE,HOMERUN CONNECTOR:CABLE,SIDE EXIT,VOLTAGE:48 V,CURRENT PER PORT:4 A,DISABLED WITHOUT LINK TO EQUIPMENT,CRITICAL:YES,LINE:BEVERAGE PACKAGING | [38 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 314057 | 314057 | AU04-5021198 | JUNCTION BOX,32MM,4WAY,H/D,RD,STAINLESS | WILLIAMS WMISSJB32/4 |  | JUNCTION BOX,CONDUIT ENTRY SIZE:32MM,NO OF ENTRIES:4 WAY,DUTY:HEAVY DUTY,SHAPE:ROUND,MATERIAL TYPE:STAINLESS,MANUFACTURER PART NUMBE R-WILLIAMS WMISSJB32/4 | [13 empty] | https://www.goelectrical.com.au/wmissjb32-2f-4 |  |  | WILLIAMS MINING | OPM | WMISSJB32/4 | WMISSJB32/4 |  | ENRICHED | MRO | 39121332 | Electrical Junction Box | BOX | JUNCTION | SIZE |  | MATERIAL | STAINLESS STEEL | HUB SIZE | 32 MM | TYPE | HEAVY DUTY,CONDUIT | ENCLOSURE RATING | IP67 | MOUNTING TYPE | SURFACE | NUMBER OF OUTLETS | 4 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SHAPE:ROUND,CONNECTION TYPE:SCREW,FOR USE WITH CONDUIT FITTING | [38 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 9743 | 9743 | 8301-52223565 | TERMINAL DE PES IND 131 CON ANALOGICA | 30206112 | Mettler-Toledo Inc | "TERMINAL DE PESAGEM IND 131 CONEXÃO ANALOGICO; TIPO: 30206112; MODELO: CONECTIVIDADE: ETHERNET/IP - MODBUS TCP. ALIMENTAÇÃO:24VDC, NO PLUG. MONTAGEM: (TRILHO DIN). 01 PORTA SERIAL RS232 INCLUSA. HOMOLOGADO PELO INMETRO COMO CLASSE III. COMUNICAÇÃO APENAS | "TERMINAL DE PESAGEM IND 131 CONEXÃO ANALOGICO; TIPO: 30206112; MODELO: CONECTIVIDADE: ETHERNET/IP - MODBUS TCP. ALIMENTAÇÃO:24VDC, NO PLUG. MONTAGEM: (TRILHO DIN). 01 PORTA SERIAL RS232 INCLUSA. HOMOLOGADO PELO INMETRO COMO CLASSE III. COMUNICAÇÃO APENAS | [12 empty] | https://www.mt.com/dam/product_organizations/industry/Load_Cells/Downloads/precision_junction_box/20181201_44098448_DS_Precision%20Junction%20Boxes_EN.pdf | https://www.wynparts.com/product/96680/134250/metter-toledo-30206112-precision-junction-box |  | METTLER TOLEDO | OPM | 30206112 | 30206112 |  | ENRICHED | MRO | 39121332 | Electrical Junction Box | BOX | JUNCTION | SIZE | 194 WD X 130 HT MM | MATERIAL | STAINLESS STEEL | HUB SIZE | NOT AVAILABLE | TYPE | PRECISION | ENCLOSURE RATING | IP65 | MOUNTING TYPE | DIN RAIL | NUMBER OF OUTLETS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,IECEX,NSF | ADDITIONAL FEATURES | TEMPERATURE RATING:-30 TO 65 DEG F | [38 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 92564 | 92564 | 8326-52250036 | HI 6020IT-SS1. CAJA SUMA MOD 6020T |  |  | HI 6020IT-SS1. CAJA SUMA MOD 6020T EN ACERO INOX PARA 4 CELDAS DE PDI131182 | [13 empty] | https://www.cthcontrols.com/pdfsheets/Hardy_HI6020_datasheet_0116.pdf | https://www.hardysolutions.com/products/load-cells--platform-scales/accessories/product/511/hi-6020it-and-hi-6020jb-junction-boxes |  | HARDY INSTRUMENTS, INC. | OPM | HI 6020IT | HI 6020IT |  | ENRICHED | MRO | 39121332 | Electrical Junction Box | BOX | JUNCTION | SIZE | 152.4 WD X 152.4 HT X 108 DP MM | MATERIAL | STAINLESS STEEL | HUB SIZE | NOT AVAILABLE | TYPE | SUMMING | ENCLOSURE RATING |  | MOUNTING TYPE |  | NUMBER OF OUTLETS | 5 | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-10 TO 60 DEG C,ELECTRICAL RATING:5 VDC,50 Ma,NUMBER OF LOAD CELL:8 | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 66718 | 66718 | 8319-52257799 | SENS,SS-34AS,COTI GLOBAL SENSORS | SS-34AS | Coti Inc | SENSOR,DETAILS:SS Junction Box, Board,MANUFACTURER:COTI INC,MFR PART NUMBER:SS-34AS | [13 empty] | https://www.cotiglobal.com/model-34-4-cell-304-stainless-steel-junction-box-with-summing-card/ | https://www.scalesplus.com/coti-global-ss-34as-signal-trim-junction-box/ |  | COTI GLOBAL SENSORS | OPM | SS-34AS | SS-34AS |  | ENRICHED | MRO | 39121332 | Electrical Junction Box | BOX | JUNCTION | SIZE | 7 WD X 4-1/2 HT X 1-35/64 DP IN | MATERIAL | STAINLESS STEEL | HUB SIZE | NOT AVAILABLE | TYPE | SIGNAL TRIM | ENCLOSURE RATING |  | MOUNTING TYPE |  | NUMBER OF OUTLETS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION TYPE:SCREW TERMINALS | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 786081 | 786081 | SE33-5134950 | K-BOX ALU 2XM16 + MK3/4 | WEIDMULLER,-13-10505034-1 L48175 | [15 empty] | https://www.ahlsell.se/products/el-1/apparatskap/25-apparatlador/kopplingslador-1/kopplingslador/2599751/createPdf?itemArticleId=2599751 | https://www.rexel.se/swe/Produktkatalog/S%C3%A4kringar%2C-centraler%2C-sk%C3%A5p%2C-elf%C3%B6rdelning-%2820-29%29/25---Apparatl%C3%A5dor-golv--och-datask%C3%A5p/Metallkapslingar/Aluminium/K-BOX-ALU-2XM16%2BMK3-4/p/2599751 |  | WEIDMULLER | OPM | 2XM16 + MK3/4 | 2XM16 + MK3/4 | REFERENCE NUMBER:13-10505034-1,L48175 | ENRICHED | MRO | 39121332 | Electrical Junction Box | BOX | JUNCTION | SIZE | 50 WD X 45 HT X 30 DP MM | MATERIAL | ALUMINUM | HUB SIZE | NOT AVAILABLE | TYPE |  | ENCLOSURE RATING | IP66 | MOUNTING TYPE |  | NUMBER OF OUTLETS |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF POLES:4 | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 827315 | 827315 | UA01-5609473 | MOUNT GROUP LOCK BOX ES-WGLB-US 7 | [16 empty] | https://5.imimg.com/data5/FF/UY/EO/SELLER-382435/group-lock-box-different-color.pdf |  |  | E-SQUARE | OPM | ES-WGLB-US 7 | ES-WGLB-US 7 |  | ENRICHED | MRO | 64101911 | Lock box | BOX | LOCKOUT | TYPE | WALL MOUNT,GROUP,UPPER SLIDER | LOCK QUANTITY | 7 | DIMENSIONS | 8-3/32 WD X 9-1/4 HT X 2-11/32 DP IN | MATERIAL | STEEL | COATING/FINISH | POWDER COATED | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 758581 | 758581 | RU02-5570231 | STUFFING BOX;AES STYLE 245;16?? | [16 empty] | https://bpspump.com/wp-content/uploads/2019/04/LN-EU-PACKING-06c.pdf |  |  | AESSEAL | OPM | STYLE 245 | STYLE 245 |  | ENRICHED | MRO | 31181704 | Stuffing Box | BOX | STUFFING | SHAFT DIAMETER | 16 MM | INSIDE DIAMETER | NOT AVAILABLE | OUTSIDE DIAMETER | NOT AVAILABLE | DEPTH | NOT AVAILABLE | MATERIAL | POLYTETRAFLUOROETHYLENE | TYPE | SQUARE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [43 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 638664 | 638664 | IN03-ED016339 | "CABLE CAT 6 , 4 PAIR" | [16 empty] | https://its.dlink.co.in/product.php?ref=9 |  |  | D-LINK | OPM | CAT 6 | CAT 6 |  | ENRICHED | MRO | 26121609 | Network Cable | CABLE | NETWORK | DATA TRANSFER RATE | 1000 Mbps | ATTENUATION | NOT AVAILABLE | CAPACITANCE | 330 pF/M | CORE STRANDS | 4 | DIAMETER | 6.1 MM | TYPE | SOLID | SHEATH MATERIAL | FR-PVC | SHEATH COLOUR | GRAY | LENGTH |  | TEMPERATURE RATING | -20 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CULUS,ETL | ADDITIONAL FEATURES | CONDUCTOR SIZE:23 AWG,INSULATION MATERIAL:HDPE | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 654816 | 654816 | IN05-ED029008 | CAT-6 CABLE 8CORE TWISTED PAIR D-LINK | [16 empty] | https://its.dlink.co.in/product.php?ref=9 |  |  | D-LINK | OPM | CAT 6 | CAT 6 |  | ENRICHED | MRO | 26121609 | Network Cable | CABLE | NETWORK | DATA TRANSFER RATE | 1000 Mbps | ATTENUATION | NOT AVAILABLE | CAPACITANCE | 330 pF/M | CORE STRANDS | 8 | DIAMETER | 6.1 MM | TYPE | SOLID | SHEATH MATERIAL | FR-PVC | SHEATH COLOUR | GRAY | LENGTH |  | TEMPERATURE RATING | -20 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CULUS,ETL | ADDITIONAL FEATURES | CONDUCTOR SIZE:23 AWG,INSULATION MATERIAL:HDPE,TWISTED PAIR | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 14211 | 14211 | 8308-52065321 | ELETRODO DE IGNICAO WG5 WG10 WG20 WG30 |  |  | ELETRODO DE IGNICAO WG5 WG10 WG20 WG30 - PART NUMBER: 23220014217 - FABRICANTE:WEISHAUPT - BISCOITO | ELETRODO DE IGNICAO WG5 WG10 WG20 WG30 - PART NUMBER: 23220014217 - FABRICANTE:WEISHAUPT - BISCOITO | [12 empty] | https://heating-center.com/products/23220014217-ignition-electrode-wg5-40-isolator-6x80 |  |  | WEISHAUPT CORPORATION | OPM | 23220014217 | 23220014217 | OEM MODEL NUMBER:WG5 WG10 WG20 WG30 | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE |  | TYPE | IGNITION | DIAMETER | 6 MM | MATERIAL | NOT AVAILABLE | SHAPE | NOT AVAILABLE | CONTAINER |  | CONDUCTIVITY |  | RESISTIVITY |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LENGTH:80 MM | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 155707 | 155707 | 8349-52186372 | SENS,LEVEL,EL4-X4VTKX,24V | EL4-X4VTKX | Vega Controls | SENSOR,LEVEL,VOLTAGE RATING:24V,MANUFACTURER:VEGA CONTROLS,MFR PART NUMBER:EL4-X4VTKX | [13 empty] | https://www.vega.com/en-in/products/product-catalog/switching/conductive/el-4 |  |  | VEGA | OPM | EL4-X4VTKX | EL4-X4VTKX |  | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE |  | TYPE | ROD | DIAMETER | NOT AVAILABLE | MATERIAL | PLASTIC | SHAPE | NOT AVAILABLE | CONTAINER |  | CONDUCTIVITY |  | RESISTIVITY |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:-20 TO 100 DEG C,PRESSURE RATING:-1 TO 6 BAR,CONNECTION SIZE:1-1/2 IN BSPP,ENCLOSURE RATING:IP66/67,VOLTAGE RATING:24 V | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 492729 | 492729 | ES32-5415454 | ELECTRODO NIVEL GESTRA NRGS 16-1 PN40 | [16 empty] | https://content.gestra.com/-/media/gestra/international/documents/en/ban/ban_810393_07_nrgs11-1-nrgs16-1-nrgs16-1s_en.ashx?rev=b84026370a104720bd1c8454c88d9729 | https://www.indotamateknik.com/produk/Gestra-NRGS-11_1-NRGS-16_1-NRGS-16_1S |  | GESTRA AG | OPM | NRGS 16-1 | NRGS 16-1 |  | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE |  | TYPE | LEVEL | DIAMETER | NOT AVAILABLE | MATERIAL | ALUMINUM ALLOY | SHAPE | NOT AVAILABLE | CONTAINER |  | CONDUCTIVITY | LIQUID | RESISTIVITY | 4 A | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN ISO 228 | ADDITIONAL FEATURES | VOLTAGE RATING:24 VDC,POWER RATING:5 VA,PRESSURE RATING:PN40,TEMPERATURE RATING:238 DEG C,CONNECTION:1 IN SCREWED | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 536188 | 536188 | FR35-LF2341GRV | ELECTRODE ALLUMAGE 1513271433-7 |  |  |  | ELECTRODE ALLUMAGE | [12 empty] | https://www.ifs-store.com/ignition-electrode-right-weishaupt-wgl-30-1513271433-7/ | https://www.2kshops.com/ignition-electrode-right-weishaupt-wgl-30-1513271433-7/ |  | WEISHAUPT CORPORATION | OPM | 1513271433/7 | 1513271433/7 |  | CLEANSED | MRO | 39121436 | Electrodes | ELECTRODE |  | TYPE | IGNITION | DIAMETER | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | SHAPE | NOT AVAILABLE | CONTAINER |  | CONDUCTIVITY |  | RESISTIVITY |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 492730 | 492730 | ES32-5415455 | ELECTRODO NIVEL GESTRA NRG16 50 1,5 3/4" | [16 empty] | https://www.gestra.com/-/media/gestra/international/documents/en/ban/ban_818954_07_nrg16-50-nrg17-50-nrg19-50-nrg111-50_en.ashx?rev=577e0014f2ca41268fa8a0db3bc05868 | https://content.gestra.com/-/media/gestra/international/documents/us/dbl/dbl_850708_00_nrg16-50-nrg17-50-nrg19-50-usa_us.ashx?rev=46854c8f8c8f4a7abf280901ed78465b¦https://content.gestra.com/-/media/gestra/international/documents/en/ban/ban_818954_07_nrg16 | https://www.fagerberg.dk/Files/Images/Products/NRG16171911150/Datasheets/DBL_818913_06_NRG16-50-NRG17-50-NRG19-50-NRG111-50_en.pdf | GESTRA AG | OPM | NRG 16-50 | NRG 16-50 |  | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE |  | TYPE | LEVEL | DIAMETER | NOT AVAILABLE | MATERIAL | STAINLESS STEEL | SHAPE | NOT AVAILABLE | CONTAINER |  | CONDUCTIVITY | WATER | RESISTIVITY |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL 60730-1,UL 60730-2-15,CAN/CSA E60730-1,CAN/CSA E60730-2-15 | ADDITIONAL FEATURES | CONNECTION SIZE:3/4 IN BSPP,TEMPERATURE RATING:238 DEG C,ENCLOSURE RATING:IP65,PRESSURE RATING:32 BAR | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 765314 | 765314 | RU02-TRU37019063 | SK(523320)NRG16-50;SENSOR_LOWER_LEVEL | [16 empty] | https://www.gestra.com/-/media/gestra/international/documents/en/ban/ban_818954_07_nrg16-50-nrg17-50-nrg19-50-nrg111-50_en.ashx?rev=577e0014f2ca41268fa8a0db3bc05868 | https://content.gestra.com/-/media/gestra/international/documents/us/dbl/dbl_850708_00_nrg16-50-nrg17-50-nrg19-50-usa_us.ashx?rev=46854c8f8c8f4a7abf280901ed78465b¦https://content.gestra.com/-/media/gestra/international/documents/en/ban/ban_818954_07_nrg16 | https://www.fagerberg.dk/Files/Images/Products/NRG16171911150/Datasheets/DBL_818913_06_NRG16-50-NRG17-50-NRG19-50-NRG111-50_en.pdf | GESTRA AG | OPM | NRG 16-50 | NRG 16-50 | ALTERNATE PART NUMBER:SK(523320) | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE |  | TYPE | LEVEL | DIAMETER | NOT AVAILABLE | MATERIAL | STAINLESS STEEL | SHAPE | NOT AVAILABLE | CONTAINER |  | CONDUCTIVITY | WATER | RESISTIVITY |  | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO | ADDITIONAL FEATURES | CONNECTION SIZE:3/4 IN BSPP,TEMPERATURE RATING:238 DEG C,ENCLOSURE RATING:IP65,PRESSURE RATING:32 BAR | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 09-05-2023 |  | 198761 | 198761 | 8364-50359089 | ELECT,089064.R17-1/2,FLYNN BURN | 089064.R17-1/2 | Flynn Burner Corp | ELECTRODE,DETAILS:FLYNN BURN,MANUFACTURER:FLYNN BURNER CORP,MFR PART NUMBER:089064.R17-1/2 | [13 empty] | https://www.nriparts.com/products/flynn-089064r17-12-miscellaneous/171666 |  |  | FLYNN BURNER CORPORATION | OPM | 089064.R17-1/2 | 089064.R17-1/2 |  | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3/8 IN | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | EXTRUDED BAND | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LENGTH:12 IN | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 538086 | 538086 | FR35-LF7910 | ELECTRODE FZE 600 DIAM 3 REF 15 000 175 | [16 empty] | https://www.kromschroeder.de/marketing/adlatus/techlipedia/out/index.php?map=id_map_reh_20190424_151951-en | https://docuthek.kromschroeder.com/documents/download.php?lang=de&doc=52251 |  | HONEYWELL | OPM | FZE 600 | FZE 600 | REFERENCE NUMBER:15 000 175 | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3.5 MM | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | IGNITION,SENSING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LENGTH:600 MM | [44 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 549970 | 549970 | FR38-LFFF003 | ELECTRODE FZE600 60070003 FIL3 CONNECTD4 | SPT XPS22-60L-500 |  |  | ELECTRODE FZE600 60070003 FIL3 CONNECTD4 | [12 empty] | https://www.kromschroeder.de/marketing/adlatus/techlipedia/out/index.php?map=id_map_reh_20190424_151951-en | https://docuthek.kromschroeder.com/documents/download.php?lang=de&doc=52251 |  | HONEYWELL | OPM | FZE 600 | FZE 600 | ALTERNATE PART NUMBER:60070003,SPT XPS22-60L-500 | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3.5 MM | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | IGNITION,SENSING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LENGTH:600 MM,FIL3 CONNECTD4 | [44 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 550029 | 550029 | FR38-LFH012 | ELECTRODE FZE600 60070003 FIL3 CONNECTD4 | FZE600 |  |  | POURRIEZ-VOUS ME FOURNIR UN BON DE LIVRAISON POUR CHAQUE COMMANDE | [12 empty] | https://www.kromschroeder.de/marketing/adlatus/techlipedia/out/index.php?map=id_map_reh_20190424_151951-en | https://docuthek.kromschroeder.com/documents/download.php?lang=de&doc=52251 |  | HONEYWELL | OPM | FZE 600 | FZE 600 | ALTERNATE PART NUMBER:60070003 | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3.5 MM | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | IGNITION,SENSING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LENGTH:600 MM,FIL3 CONNECTD4 | [44 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 5426 | 5426 | 8301-52053926 | ELETRODO DE PH CPS11D 7BA21 |  |  | *ALTERADO PARA PD CONFORME SOLITACAO DA AREA FEV 2021** ELETRODO DE PH CPS11D 7BA21 MARCA FORNECEDOR ENDRESS HAUSER GRUPOUTILIDADES | *ALTERADO PARA PD CONFORME SOLITACAO DA AREA FEV 2021** ELETRODO DE PH CPS11D 7BA21 MARCA FORNECEDOR ENDRESS HAUSER GRUPOUTILIDADES | [12 empty] | https://www.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/pH-digital-sensor-cps11d?t.tabId=product-specification | https://www.nexinstrument.com/cps11d-7ba21 |  | ENDRESS+HAUSER | OPM | CPS11D-7BA21 | CPS11D-7BA21 |  | ENRICHED | MRO | 41115604 | pH electrodes | ELECTRODE | PH | POWER SUPPLY | NOT AVAILABLE | MEASURING RANGE | 0-14 | MATERIAL | GLASS,PTFE | TYPE | DIGITAL GLASS | CABLE LENGTH |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 12 DIA MM | TEMPERATURE RATING | 0 TO 135 DEG C | ENCLOSURE | IP68 | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,FM,NEPSI | ADDITIONAL FEATURES | PRESSURE RATING: 1-17 BAR | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 512143 | 512143 | ES36-5469562 | ELECTRODO PH CPS77D-AA8OHU2 |  |  |  | Corresponde a su Oferta Nº 12889.01 Ref.: - 03/02/2021 CÓDIGO: CPS77D-AA8OHU2 DESCRIPCIÓN: ELECTRODO Ph E<(>&<)>H ISFET PEEK CPS77D MEMOSENS Para la cocina de Minipríncipe | [12 empty] | https://bromberg-staudt.com/endresshauser/eh-analytics/memosens-sensors/cps77d/cps77d-aa8ohu2-2.html | https://www.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/pH-digital-sensor-cps77d?t.tabId=product-overview |  | ENDRESS+HAUSER | OPM | CPS77D-AA8OHU2 | CPS77D-AA8OHU2 | CORRESPONDS TO YOUR OFFER NUMBER:12889.01 REFERENCE:MEMOSENS | ENRICHED | MRO | 41115604 | pH electrodes | ELECTRODE | PH | POWER SUPPLY | NOT AVAILABLE | MEASURING RANGE | 0-14 | MATERIAL | PEEK SHAFT | TYPE | DIGITAL NON-GLASS | CABLE LENGTH |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 12 DIA MM | TEMPERATURE RATING | -15 TO 135 DEG C | ENCLOSURE | IP68 | HAZARD CLASS |  | CERTIFICATION/STANDARD | EL,FDA,ASME BPE-2018 | ADDITIONAL FEATURES | PRESSURE RATING: 11 BAR | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 548623 | 548623 | FR38-5567204 | SG033 ELECTRODE ORBIPAC CPF81D-7NN21 | [16 empty] | https://portal.endress.com/wa001/dla/5000557/6431/000/06/TI00191CEN_1520.pdf | https://www.in.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/pH-digital-sensor-CPF81D?t.tabId=product-overview | https://bromberg-staudt.com/endresshauser/eh-analytics/orbipac-sensors/cpf81d/cpf81d-7nn21.html | ENDRESS+HAUSER | OPM | CPF81D-7NN21 | CPF81D-7NN21 | ALTERNATE PART NUMBER:SG033 | ENRICHED | MRO | 41115604 | pH electrodes | ELECTRODE | PH | POWER SUPPLY | NOT AVAILABLE | MEASURING RANGE | 0-14 | MATERIAL | POLYPHENYLENE SULFIDE | TYPE | DIGITAL,GEL COMPACT | CABLE LENGTH |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 22 DIA MM | TEMPERATURE RATING | 0 TO 110 DEG C | ENCLOSURE | IP68 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRESSURE RATING: 1-10 BAR | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 300838 | 300838 | AT31-5420711 | EINSTABMESSKETTE JUMO (201020) | 00321035<>JUMO | JUMO | R-201020/51-18-04-22-120/837 Type:Glasschaft Typenblatt:20.1020 Aktivteil: UW-Glas,ph 0...12(kurzfristig 14),-5...+80°C Diaphragma:PTFE-Ring Anschluss: Schraubkopf Pg13,5 (S8) Einbaulänge: 120mm (Standard) Typenzusatz: Salzreserve | R-201020/51-18-04-22-120/837 Type:Glasschaft Typenblatt:20.1020 Aktivteil: UW-Glas,ph 0...12(kurzfristig 14),-5...+80°C Diaphragma:PTFE-Ring Anschluss: Schraubkopf Pg13,5 (S8) Einbaulänge: 120mm (Standard) Typenzusatz: Salzreserve | [12 empty] | https://www.jumo.net/attachments/JUMO/attachmentdownload?id=4714 |  |  | JUMO | OPM | 321035 | 201020/51-18-04-22-120/837 |  | ENRICHED | MRO | 41115604 | pH electrodes | ELECTRODE | PH | POWER SUPPLY | NOT AVAILABLE | MEASURING RANGE | 0-12 | MATERIAL | NOT AVAILABLE | TYPE | GLASS SHAFT | CABLE LENGTH |  | CONNECTION TYPE |  | MOUNTING TYPE | WALL | SIZE | 23 DIA X 138 HT MM | TEMPERATURE RATING | -5 TO 80 DEG C | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DIAPHRAGM:PTFE,RING CONNECTION:SCREW HEAD PG13.5 (S8),FITTING LENGTH:120 MM,EXTRA CODE:SALT RESERVE | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 581262 | 581262 | GB36-CB41922428 | YOKOGAWA REFERENCE PROBE SR20 AP26 | SR20-AP26 YOKOGAWA REFERENCE PROBE |  | SR20-AP26 Yokogawa Reference Probe BRAMMER SUPPLY | [13 empty] | https://www.nexinstrument.com/sr20-ap26 | https://www.nexinstrument.com/assets/images/pdf/Industrial-Electrodesdatasheet.pdf |  | YOKOGAWA | OPM/OEM | SR20 AP26 | SR20 AP26 |  | ENRICHED | MRO | 41115604 | pH electrodes | ELECTRODE | PH | POWER SUPPLY | NOT AVAILABLE | MEASURING RANGE | NOT AVAILABLE | MATERIAL | SILVER-SILVERCHLORIDE | TYPE | INDUSTRIAL | CABLE LENGTH |  | CONNECTION TYPE | YOKOGAWA CONNECTOR | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING | 0 TO 80 DEG C | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DIAPHRAGM:PTFE(POROUS),THICKNESS:THICKENED KCL(3.3 M),DIAPHRAGM RESISTANCE:< 5 KOHM,LIQUID OUTLET:DOUBLE JUNCTION FILLED WITH GELLED GEL TYPE ELECTRODEELECTROLYTE | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 755957 | 755957 | RU02-5439094 | PH-ELECTRODE;INLAB_EXPERT_PRO;(51343101) | 51343101 | [15 empty] | https://www.hogentogler.com/images/InLabExpertPro.pdf |  |  | METTLER TOLEDO | OPM | 51343101 | 51343101 |  | ENRICHED | MRO | 41115604 | pH electrodes | ELECTRODE | PH | POWER SUPPLY | NOT AVAILABLE | MEASURING RANGE | 0-14 | MATERIAL | PEEK | TYPE | EXPERT PRO | CABLE LENGTH | 1.2 M | CONNECTION TYPE | BNC/RCA | MOUNTING TYPE |  | SIZE | 12 DIA X 120 LG MM | TEMPERATURE RATING | 0 TO 100 DEG C | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:INLAB | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 581263 | 581263 | GB36-CB41922429 | YOKOGAWA PH PROBE SM21-AG6 | SM21-AG6 YOKOGAWA PH PROBE |  | SM21-AG6 Yokogawa PH Probe Brammer supply | [13 empty] | http://web-material3.yokogawa.com/Electrodes_GS_19.pdf |  |  | YOKOGAWA | OPM/OEM | SM21-AG6 | SM21-AG6 |  | ENRICHED | MRO | 41115604 | pH electrodes | ELECTRODE | PH | POWER SUPPLY | NOT AVAILABLE | MEASURING RANGE | NOT AVAILABLE | MATERIAL | SILVER-SILVERCHLORIDE | TYPE | INDUSTRIAL | CABLE LENGTH |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | TEMPERATURE RATING | 0 TO 100 DEG C | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 19263 | ADDITIONAL FEATURES | KIND OF MEMBRANE:UNIVERSAL,PRESSURE RATING:1000 KPa/10 BAR,MEMBRANE SHAPE:DOME(HEAVY DUTY),GLASS RESISTANCE:120 TO 200 M OHM,FOR HARSH MECHANICALLY STRONG | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 485912 | 485912 | ES32-5213887 | ELECTRODO HONEYWELL PH 51453535-004 | 3108620 | [15 empty] | http://www.cindtechs.com/unleashd/catalog/analytical/Honeywell-DirectLine-DL421/51-52-16-72.pdf |  |  | HONEYWELL INTERNATIONAL | OPM | 51453535-004 | 51453535-004 | ALTERNATE PART NUMBER:3108620 | ENRICHED | MRO | 41115604 | pH electrodes | ELECTRODE | PH | POWER SUPPLY | NOT AVAILABLE | MEASURING RANGE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | TYPE |  | CABLE LENGTH |  | CONNECTION TYPE | PWB | MOUNTING TYPE | 2 IN FLANGE | SIZE |  | TEMPERATURE RATING |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 355822 | 355822 | BE32-5076351 | LAS-ELECTRODE LIMAROSTA 316L DIAM.2,50MM | "LIMAROSTA 316L 2,50" |  | LASELEKTRODE LIMAROSTA 316L-2,5X350MM | LASELEKTRODE LIMAROSTA 316L-2,5X350MM¦¦LASELEKTRODE LIMAROSTA 316L-2,5X350MM | [12 empty] | https://www.lincolnelectric.com/assets/global/Products/ConsumableEU_StickElectrodes-Limarosta-Limarosta316L/limarosta316l-eng.pdf |  |  | LINCOLN FOOD WAREHOUSE LIMITED | OPM | 316L | 316L |  | ENRICHED | MRO | 23271810 | Welding Electrode | ELECTRODE | WELDING | DESIGNATION | NOT AVAILABLE | MATERIAL | STAINLESS STEEL | DIAMETER | 2.5 MM | LENGTH | 350 MM | TYPE |  | CURRENT RATING | 45-80 A | HAZARD CLASS |  | CERTIFICATION/STANDARD | RMRS,LR | ADDITIONAL FEATURES | BRAND:LIMAROSTA | [42 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 357630 | 357630 | BE32-5079221 | LAS-ELECTRODE: UTP 8 DIAM. 2,50MM | "UTP 8 2,50" |  |  | LAS-ELECTRODE UTP8 DIAM.2,5MM VOOR GIETIJZER | [12 empty] | https://www.norco-inc.com/ASSETS/DOCUMENTS/ITEMS/EN/UTP-81-8-SpecSheet_.pdf |  |  | NORCO INC | OPM | UTP 8 | UTP 8 |  | ENRICHED | MRO | 23271810 | Welding Electrode | ELECTRODE | WELDING | DESIGNATION | NOT AVAILABLE | MATERIAL | NICKEL BASED | DIAMETER | 2.5 MM | LENGTH | 300 MM | TYPE |  | CURRENT RATING | 60-80 A | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | HARDNESS:180 HB | [42 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 509688 | 509688 | ES36-5407911 | ELECTRODO ESAB OK 63.30 INOX 2,5 | 25301055 |  |  |  | Rubix | 798477695000 | ESAB |  |  | ELECTRODO INOX OK-63.30 2,5X300 MM | [6 empty] | https://esab.com/gn/mea_en/products-solutions/product/filler-metals/covered-stick-electrodes-smaw/stainless-steel-electrodes/ok-63-30/ | https://esab.com/sa/mea_en/products-solutions/filler-metals-pdf/?filename=mdm-productfamily-13214&siteid=mea_en&countryname=UAE&countrylocale=en-ae |  | ESAB | OPM | OK 63.30 | OK 63.30 | ALTERNATE PART NUMBER:25301055 | ENRICHED | MRO | 23271810 | Welding Electrode | ELECTRODE | WELDING | DESIGNATION | NOT AVAILABLE | MATERIAL | EXTRA LOW CARBON STAINLESS STEEL | DIAMETER | 2.5 MM | LENGTH | 300 MM | TYPE |  | CURRENT RATING | 45-90 A | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN ISO 3581-A,CSA,CE | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 650486 | 650486 | IN04-ED026057 | WELDING ELECTRODE 3.15MM A5.1:E6013 |  |  | ESAB-FERROSPEED PLUS /L<(>&<)>T | [13 empty] | https://esab.com/us/nam_en/esab-university/blogs/storing-and-redrying-stick-electrodes-the-right-way/ | https://www.raajratnaelectrodes.com/product/aws-a51-e6013.htm |  | ESAB | OPM | E6013 | E6013 |  | ENRICHED | MRO | 23271810 | Welding Electrode | ELECTRODE | WELDING | DESIGNATION | AWS A5.1 E6013 | MATERIAL | STEEL | DIAMETER | 3.15 MM | LENGTH | 350 MM | TYPE | RADIOGRAPHIC | CURRENT RATING | 90-130 A | HAZARD CLASS |  | CERTIFICATION/STANDARD | BIS | ADDITIONAL FEATURES | TEMPERATURE RATING:100 TO 150 DEG F,NUMBER OF PIECES:125 PER PACK,500 PER CASE,FERROSPEED PLUS L/T | [43 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 223300 | 223300 | 8373-52076574 | SOLDADURA E106 DE 3/32 |  |  |  | ENTREGAS PARCIALES A SOLICITUD NUESTRA SOLDADURA E-106 DE 3/32" | [12 empty] | https://www.weldalloys.com/catalogue/fonweld-e106_142/ |  |  | FONWELD | OPM | E106 | E106 |  | ENRICHED | MRO | 23271810 | Welding Electrode | ELECTRODE | WELDING | DESIGNATION | E106 | MATERIAL | FERRITIC AUSTENITIC CROMIUM NICKEL | DIAMETER | 3.2 MM | LENGTH | 350 MM | TYPE |  | CURRENT RATING | 70-90 A | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN EN1600:1997 | ADDITIONAL FEATURES | PARTIAL DELIVERIES UPON REQUEST OUR OF 3/32 | [43 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 223302 | 223302 | 8373-52076589 | SOLDADURA AWS E 308L 16 DE 3/32 | [16 empty] | https://www.goodluckmetal.com/stainless-steel-e308-e308l-16-welding-electrode-supplier.html |  |  | GOOD LUCK METAL CORPORATION | OPM | E308L-16 | E308L-16 |  | ENRICHED | MRO | 23271810 | Welding Electrode | ELECTRODE | WELDING | DESIGNATION | E308L-16 | MATERIAL | STAINLESS STEEL | DIAMETER | 3/32 IN | LENGTH | 350 MM | TYPE |  | CURRENT RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [44 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 09-05-2023 |  | 66903 | 66903 | 8321-52026278 | ELECTRODO/3/8"/089064/FLYNN | 89064 | Flynn Controls BV | MANUFACTURER PART No: 89064 / MANUF. NAME: FLYNN | [13 empty] | https://www.nriparts.com/products/flynn-089064r17-12-miscellaneous/171666 | https://www.volza.com/p/ignition-electrode/import/import-in-peru/hsn-code-8545110000/ | https://www.radwell.co.uk/Buy/FLYNN%20BURNER/FLYNN%20BURNER/089064/?redirect=true | FLYNN BURNER CORPORATION | OPM | 089064 | 089064 |  | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3/8 IN | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | EXTRUDED BAND | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [45 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 09-05-2023 |  | 67640 | 67640 | 8321-52033543 | ELECTRODO/IGNICION/089064/FLYNN | [16 empty] | https://www.nriparts.com/products/flynn-089064r17-12-miscellaneous/171666 | https://www.volza.com/p/ignition-electrode/import/import-in-peru/hsn-code-8545110000/ | https://www.radwell.co.uk/Buy/FLYNN%20BURNER/FLYNN%20BURNER/089064/?redirect=true | FLYNN BURNER CORPORATION | OPM | 089064 | 089064 |  | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3/8 IN | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | EXTRUDED BAND | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 09-05-2023 |  | 101731 | 101731 | 8339-50167687 | THERM,089064,R | 89064 | Flynn Burner Corp | THERMOCOUPLE,TYPE:R,MANUFACTURER:FLYNN BURNER CORP,MFR PART NUMBER:089064 | [13 empty] | https://www.nriparts.com/products/flynn-089064r17-12-miscellaneous/171666 | https://www.volza.com/p/ignition-electrode/import/import-in-peru/hsn-code-8545110000/ | https://www.radwell.co.uk/Buy/FLYNN%20BURNER/FLYNN%20BURNER/089064/?redirect=true | FLYNN BURNER CORPORATION | OPM | 089064.R | 089064.R |  | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3/8 IN | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | EXTRUDED BAND | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [45 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 09-05-2023 |  | 137159 | 137159 | 8349-50167687 | THERM,089064,R | 89064 | Flynn Burner Corp | THERMOCOUPLE,TYPE:R,MANUFACTURER:FLYNN BURNER CORP,MFR PART NUMBER:089064 | [13 empty] | https://www.nriparts.com/products/flynn-089064r17-12-miscellaneous/171666 | https://www.volza.com/p/ignition-electrode/import/import-in-peru/hsn-code-8545110000/ | https://www.radwell.co.uk/Buy/FLYNN%20BURNER/FLYNN%20BURNER/089064/?redirect=true | FLYNN BURNER CORPORATION | OPM | 089064.R | 089064.R |  | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3/8 IN | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | EXTRUDED BAND | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [45 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 09-05-2023 |  | 200627 | 200627 | 8364-50372572 | ELECT,089064 R-18.5 L-2,FLYNN BURN | 089064 R-18.5 L-2 | Flynn Burner Corp | ELECTRODE,DETAILS:FLYNN BURN,MANUFACTURER:FLYNN BURNER CORP,MFR PART NUMBER:089064 R-18.5 L-2 | [13 empty] | https://www.nriparts.com/products/flynn-089064r17-12-miscellaneous/171666 | https://www.volza.com/p/ignition-electrode/import/import-in-peru/hsn-code-8545110000/ | https://www.radwell.co.uk/Buy/FLYNN%20BURNER/FLYNN%20BURNER/089064/?redirect=true | FLYNN BURNER CORPORATION | OPM | 089064.R18.5 | 089064.R18.5 |  | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3/8 IN | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | EXTRUDED BAND | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | L2 | [44 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 09-05-2023 |  | 240747 | 240747 | 8380-50167687 | THERM,089064,R | 89064 | Flynn Burner Corp | THERMOCOUPLE,TYPE:R,MANUFACTURER:FLYNN BURNER CORP,MFR PART NUMBER:089064 | [13 empty] | https://www.nriparts.com/products/flynn-089064r17-12-miscellaneous/171666 | https://www.volza.com/p/ignition-electrode/import/import-in-peru/hsn-code-8545110000/ | https://www.radwell.co.uk/Buy/FLYNN%20BURNER/FLYNN%20BURNER/089064/?redirect=true | FLYNN BURNER CORPORATION | OPM | 089064.R | 089064.R |  | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3/8 IN | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | EXTRUDED BAND | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [45 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 09-05-2023 |  | 529319 | 529319 | FR34-5453973 | ELEC_089064 R=530 ELECTRODE ALLUMAGE | 089064 R=530 |  |  | ELECTRODE ALLUMAGE FOUR K 089064 R=530 | [12 empty] | https://www.nriparts.com/products/flynn-089064r17-12-miscellaneous/171666 | https://www.volza.com/p/ignition-electrode/import/import-in-peru/hsn-code-8545110000/ | https://www.radwell.co.uk/Buy/FLYNN%20BURNER/FLYNN%20BURNER/089064/?redirect=true | FLYNN BURNER CORPORATION | OPM | 089064 | 089064 | REFERENCE:R530 | ENRICHED | MRO | 39121436 | Electrodes | ELECTRODE | BURNER | DIAMETER | 3/8 IN | MATERIAL |  | SHAPE |  | FLASH OVER VOLTAGE |  | TYPE | EXTRUDED BAND | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [46 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 473487 | 473487 | EG02-5499092 | LEKOS FAN RQ 40-4D | [16 empty] | https://en.ventilatory.net/rq-40-4d.html |  |  | LEKOS S.R.O. | OEM | RQ 40-4D | RQ 40-4D |  | ENRICHED | MRO | 40101604 | Fans | FAN | ELECTRICAL | TYPE | DUCT RADIAL | BLADE DIAMETER | NOT AVAILABLE | FLOW RATING | 6768 CU M/HR | SPEED RATING | 1390 RPM | ELECTRICAL RATING | 400 V,8.1 A,4873 W | NUMBER OF BLADES |  | DRIVE DETAILS |  | MATERIAL |  | MOUNTING TYPE |  | ENCLOSURE | IP40 | OVERALL SIZE | 331 WD X 655 LG MM | CONNECTION LOCATION |  | DIRECTION | RIGHT | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN | ADDITIONAL FEATURES | DUCT DIAMETER:400 MM,MAXIMUM TEMPERATURE:40 DEG C | [28 empty] | ENRICHED | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 243964 | 243964 | 8380-50374093 | FITT,HOSE,FBL-925,FAIRVIEW | FBL-925 | Fairview Fittings & Mfg Ltd | FITTING,HOSE,DETAILS:FAIRVIEW,MANUFACTURER:FAIRVIEW FITTINGS & MFG LTD,MFR PART NUMBER:FBL-925 | [13 empty] | https://www.fairviewfittings.com/products/barbs-hose-ends/low-pressure/ferrules--brass/ferrule-brass-long-31910/ | https://www.grainger.ca/en/product/FITTING/p/FARFBL925 | http://www.prairiebearing.com/files/8115/8179/4581/FVF-2019-General-Catalog.pdf | FAIRVIEW FITTINGS & MFG LTD | OPM | FBL-925 | FBL-925 |  | ENRICHED | MRO | 27121703 | Ferrules | FERRULE | HOSE/TUBE | NOMINAL SIZE | 59/64 IN | END CONNECTION | NOT AVAILABLE | SCHEDULE/WALL THICKNESS |  | LENGTH | 31/32 IN | MATERIAL | BRASS | TYPE | LONG,STANDARD | COATING/FINISH |  | HOLE SIZE | 3/4 IN | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 118307 | 118307 | 8345-50288919 | FERR,7328,BRASS,0.656 IN | 7328 | Schrader Bellows | FERRULE,MAT:BRASS,TUBE_DIA:0.656 IN,MANUFACTURER:SCHRADER BELLOWS,MFR PART NUMBER:7328 | [13 empty] | https://midlandindustries.com/product/32566 |  |  | SCHRADER BELLOWS | OPM | 7328 | 7328 |  | ENRICHED | MRO | 27121703 | Ferrules | FERRULE | HOSE/TUBE | NOMINAL SIZE | 21/32 IN | END CONNECTION | NOT AVAILABLE | SCHEDULE/WALL THICKNESS | NOT AVAILABLE | LENGTH | 1 IN | MATERIAL | BRASS | TYPE |  | COATING/FINISH |  | HOLE SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GAUGE SIZE:1/32 IN | [34 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 118312 | 118312 | 8345-50288925 | FERR,7331,BRASS,3/4 IN | 7331 | Schrader Bellows | FERRULE,MAT:BRASS,TUBE_DIA:3/4 IN,MANUFACTURER:SCHRADER BELLOWS,MFR PART NUMBER:7331 | [13 empty] | https://midlandindustries.com/product/7331 |  |  | SCHRADER BELLOWS | OPM | 7331 | 7331 |  | ENRICHED | MRO | 27121703 | Ferrules | FERRULE | HOSE/TUBE | NOMINAL SIZE | 3/4 IN | END CONNECTION | NOT AVAILABLE | SCHEDULE/WALL THICKNESS | NOT AVAILABLE | LENGTH | 1 IN | MATERIAL | BRASS | TYPE |  | COATING/FINISH |  | HOLE SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GAUGE SIZE:1/32 IN | [34 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 118311 | 118311 | 8345-50288924 | FERR,7330,BRASS,0.718 IN | 7330 | Schrader Bellows | FERRULE,MAT:BRASS,TUBE_DIA:0.718 IN,MANUFACTURER:SCHRADER BELLOWS,MFR PART NUMBER:7330 |  | BDI | 17284713 | DIXON VALVE | BFM718B | BFM718B FERRULE | 0 | 0 | [5 empty] | https://midlandindustries.com/product/7330 |  |  | SCHRADER BELLOWS | OPM | 7330 | 7330 | ALTERNATE MANUFACTURER:DIXON VALVE,ALTERNATE PART NUMBER:BFM718B | ENRICHED | MRO | 27121703 | Ferrules | FERRULE | HOSE/TUBE | NOMINAL SIZE | 23/32 IN | END CONNECTION | NOT AVAILABLE | SCHEDULE/WALL THICKNESS | NOT AVAILABLE | LENGTH | 1 IN | MATERIAL | BRASS | TYPE |  | COATING/FINISH |  | HOLE SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GAUGE SIZE:1/32 IN | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 118305 | 118305 | 8345-50288917 | FERR,7327,BRASS,0.625 IN | 7327 | Schrader Bellows | FERRULE,MAT:BRASS,TUBE_DIA:0.625 IN,MANUFACTURER:SCHRADER BELLOWS,MFR PART NUMBER:7327 | [13 empty] | https://midlandindustries.com/product/7327 |  |  | SCHRADER BELLOWS | OPM | 7327 | 7327 |  | ENRICHED | MRO | 27121703 | Ferrules | FERRULE | HOSE/TUBE | NOMINAL SIZE | 5/8 IN | END CONNECTION | NOT AVAILABLE | SCHEDULE/WALL THICKNESS | NOT AVAILABLE | LENGTH | 1 IN | MATERIAL | BRASS | TYPE |  | COATING/FINISH |  | HOLE SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GAUGE SIZE:1/32 IN | [34 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 118309 | 118309 | 8345-50288921 | FERR,7329,BRASS,0.687 IN | 7329 | Schrader Bellows | FERRULE,MAT:BRASS,TUBE_DIA:0.687 IN,MANUFACTURER:SCHRADER BELLOWS,MFR PART NUMBER:7329 | [13 empty] | https://midlandindustries.com/product/32568 |  |  | SCHRADER BELLOWS | OPM | 7329 | 7329 |  | ENRICHED | MRO | 27121703 | Ferrules | FERRULE | HOSE/TUBE | NOMINAL SIZE | 11/16 IN | END CONNECTION | NOT AVAILABLE | SCHEDULE/WALL THICKNESS | NOT AVAILABLE | LENGTH | 1 IN | MATERIAL | BRASS | TYPE |  | COATING/FINISH |  | HOLE SIZE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | GAUGE SIZE:1/32 IN | [34 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 09-05-2023 |  | 758304 | 758304 | RU02-5561829 | ROTOR VISCOTESTER;CC25 DIN/TI KERAMIK | [16 empty] | https://assets.thermofisher.com/TFS-Assets/CAD/Catalogs/Accessories-for-HAAKE-MARS-v1-3.pdf |  |  | THERMO FISHER SCIENTIFIC | OPM | 222-1966 | CC25 DIN TI |  | ENRICHED | MRO | 25171705 | Rotors | ROTOR |  | TYPE | VISCOTESTER | NUMBER OF SLOTS | NOT AVAILABLE | DIAMETER | NOT AVAILABLE | LENGTH | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR USE WITH CCB25 DIN(222-1956) CUP | [44 empty] | Part Number Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 09-05-2023 |  | 492751 | 492751 | ES32-5415547 | ROTOR TRI-LOBE SRU4/15BAR 9630044012 | [16 empty] | https://www.industrialtradingsolutions.com/wp-content/uploads/2016/11/SRU-spares-2016.pdf |  |  | ALFA LAVAL | OPM | 9630044012 | SRU4/055/LS-HS |  | ENRICHED | MRO | 40151731 | Pump rotor | ROTOR | PUMP | NUMBER OF SLOTS |  | DIAMETER |  | LENGTH |  | MATERIAL | STAINLESS STEEL | TYPE | TRI-LOBE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRESSURE RATING:10 BAR,TEMPERATURE RATING:130 DEG C | [44 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,UNSPSC CHANGED | 08-05-2023 | 09-05-2023 |  | 701739 | 701739 | NG02-NG130150012 | ACTIVE ROTOR 5472 | [16 empty] | https://www.autozone.com/brakes-and-traction-control/brake-rotor/p/duralast-brake-rotor-5472/43170_0_0 |  |  | DURALAST | OPM | 5472 | 5472 |  | ENRICHED | MRO | 25171715 | Disc brake rotors | ROTOR | BRAKE | DIAMETER | 282 MM | PILOT SIZE | NOT AVAILABLE | BRAKE SURFACE WIDTH |  | MATERIAL | IRON ALLOY | TYPE | ACTIVE | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLT HOLES |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DISCARD THICKNESS:24.7 MM | [38 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,UNSPSC CHANGED | 08-05-2023 | 09-05-2023 |  | 701740 | 701740 | NG02-NG130150013 | ROTOR HOUSING 5472---- | [16 empty] | https://www.autozone.com/brakes-and-traction-control/brake-rotor/p/duralast-brake-rotor-5472/43170_0_0 |  |  | DURALAST | OPM | 5472 | 5472 |  | ENRICHED | MRO | 25171715 | Disc brake rotors | ROTOR | BRAKE | DIAMETER | 282 MM | PILOT SIZE | NOT AVAILABLE | BRAKE SURFACE WIDTH |  | MATERIAL | IRON ALLOY | TYPE | ACTIVE | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLT HOLES |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DISCARD THICKNESS:24.7 MM | [38 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,UNSPSC CHANGED | 08-05-2023 | 09-05-2023 |  | 487378 | 487378 | ES32-5216865 | ROTOR 102578 | 102578 | [15 empty] | https://www.yoyopart.com/oem/12062915/universalbrake-102578.html |  |  |  | OEM | 102578 | 102578 |  | ENRICHED | MRO | 25171715 | Disc brake rotors | ROTOR | BRAKE | DIAMETER | NOT AVAILABLE | PILOT SIZE | NOT AVAILABLE | BRAKE SURFACE WIDTH | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | TYPE | FRONT | BOLT CIRCLE DIAMETER |  | NUMBER OF BOLT HOLES |  | BOLT HOLE SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [39 empty] | Model number is not available so we updated Part number as Model number | Production Completed