## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 760491 | 760491 | RU02-5621333 | CONTROLLER;B0772100_PNOZ | [16 empty] | https://www.pilz.com/en-RU/eshop/Small-controllers-PNOZmulti/Small-controllers-PNOZmulti-2/PNOZmulti-2-base-units/PNOZmulti-2-base-units/PNOZ-m-B0/p/772100 |  |  | PILZ | OPM | 772100 | PNOZ m B0 |  | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 24 VDC | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | 20 | NUMBER OF OUTPUTS | 4 | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,cULus Listed,KOSHA,TÜV,EAC | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 478652 | 478652 | EG02-EG60011746 | CARD PPC" R01-2N-N-P2 | [16 empty] | https://nicontrols.com/uk/ppcr012nnp2fw-bosch-rexroth-indramat.html |  |  | BOSCH REXROTH AG | OPM/OEM | PPC-R01.2N-N-P2 | PPC-R01.2N-N-P2 |  | ENRICHED | MRO | 32151700 | PROGRAMMABLE LOGIC CONTROLLERS | CONTROLLER |  | TYPE | SERVO CONTROL MOTION CARD | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 548180 | 548180 | FR38-5503191 | CC618 SYST. COMM PILZ PNOZ MB0 |  |  |  | CC618 SYST. COMM PILZ PNOZ MB0 2516000283 SPS FLOWPACK MINI 2 | [12 empty] | https://www.pilz.com/en-RU/eshop/Small-controllers-PNOZmulti/Small-controllers-PNOZmulti-2/PNOZmulti-2-base-units/PNOZmulti-2-base-units/PNOZ-m-B0/p/772100 | https://in.rsdelivers.com/product/pilz/772100/pilz-pnozmulti-2-pnoz-m-bo-series-safety-20-safety/9186594 |  | PILZ | OPM | 772100 | PNOZ m B0 | ALTERNATE MANUFACTURER NAME:SPS,ALTERNATE MANUFACTURER PART NUMBER:2516000283 | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 24 VDC | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | 20 | NUMBER OF OUTPUTS | 4 | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,cULus Listed,KOSHA,TÜV,EAC | ADDITIONAL FEATURES | CC618 SYSTEM COMM, FLOWPACK MINI 2 | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 188414 | 188414 | 8353-52251092 | PLC/EJ1N-HFU-ETN/OMRON | EJ1N-HFU-ETN | Omron Electronics LLC | [14 empty] | https://assets.omron.eu/downloads/manual/en/v1/h13e_ej1n-hfu,_ej1n-etn_operation_manual_en.pdf |  |  | OMRON ELECTRONICS | OPM/OEM | EJ1N-HFU-ETN | EJ1N-HFU-ETN |  | ENRICHED | MRO | 41113700 | ELECTRONIC AND COMMUNICATION MEASURING AND TESTING INSTRUMENTS | CONTROLLER | COMMUNICATION | DATA TRANSFER RATE | 100 MBps | NUMBER OF PORTS | 3 | ELECTRICAL RATING | NOT AVAILABLE | TYPE |  | INTERFACE TYPE | ETHERNET/IP | DISPLAY TYPE |  | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DIMENSIONS:31 WD X 90 HT X 72 DP MM;TEMPERATURE RATING:-10 TO 55 DEG C | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 308872 | 308872 | AU03-5017245 | EXTENDER,USB KVM, ATEN CE770-D | ATEN CE770-D |  | ATEN CE770-D | [13 empty] | https://www.aten.com/global/en/products/kvm/kvm-extenders/ce770/ |  |  | ATEN | OPM | CE770-D | CE770-D |  | ENRICHED | MRO | 41113700 | ELECTRONIC AND COMMUNICATION MEASURING AND TESTING INSTRUMENTS | CONTROLLER | COMMUNICATION | DATA TRANSFER RATE | NOT AVAILABLE | NUMBER OF PORTS | NOT AVAILABLE | ELECTRICAL RATING | 5.3 VDC | TYPE | USB VGA/Audio Cat 5 KVM Extender | INTERFACE TYPE |  | DISPLAY TYPE |  | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 | MODIFIER UPDATED | 394025 | 394025 | BG31-5585388 | SEW DHF 41B/UOH21B - 2 | DHF 41B/UOH21B - 2 | SEW EURODRIVE | [14 empty] | https://download.sew-eurodrive.com/download/pdf/16623215.pdf | https://www.radwell.co.uk/en-GB/Buy/SEW%20EURODRIVE/SEW%20EURODRIVE/DHF41B-DIV-U0H21B/?redirect=true |  | SEW-EURODRIVE | OPM | DHF 41B/UOH21B - 2 | DHF 41B/UOH21B - 2 |  | ENRICHED | MRO | 41113700 | Electronic and communication measuring and testing instruments | CONTROLLER |  | TYPE | ADVANCED | INPUT SIGNAL |  | OUTPUT SIGNAL |  | RANGE |  | ELECTRICAL RATING | 24 VDC,0.75 A | DISPLAY TYPE | LED | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 402309 | 402309 | BH02-5528018 | SAFE MOD. PILZ PNOZ MULTI2 M B0-8-1-14 | 2516000283 | [15 empty] | https://docs.rs-online.com/7d24/0900766b814c035d.pdf | https://www.pilz.com/en-JP/eshop/Small-controllers-PNOZmulti/Small-controllers-PNOZmulti-2/PNOZmulti-2-base-units/PNOZmulti-2-base-units/PNOZ-m-B0/p/772100#productDownloads |  | PILZ | OPM | PNOZ MULTI2 M B0-8-1-14 | PNOZ MULTI2 M B0-8-1-14 | ALTERNATE MANUFACTURER PART NUMBER:2516000283 | ENRICHED | MRO | 41113700 | Electronic and communication measuring and testing instruments | CONTROLLER | COMMUNICATION | DATA TRANSFER RATE | NOT AVAILABLE | NUMBER OF PORTS | NOT AVAILABLE | ELECTRICAL RATING | 24 VDC,32 MA | TYPE |  | INTERFACE TYPE | USB | DISPLAY TYPE | LCD | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,cULus Listed,KOSHA,TÜV,EAC | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 246545 | 246545 | 8380-52153038 | BRD,PRINT CIRC,229201-501 FMC | 229201-501 FMC | FMC Corp | BOARD,PRINTED CIRCUIT,DETAILS:BULK MATERIAL HANDLING ITEMCONDUCTOR DC,MANUFACTURER:FMC CORP,MFR PART NUMBER:229201-501 FMC | [13 empty] | https://www.bdiexpress.com/in/en/Electrical-Power-Transmission/229201-501/p/22342914?null | https://www.radwell.co.uk/en-GB/Buy/FMC/FMC/229201-501/?redirect=true |  | FMC CORP | OPM | 229201-501 | 229201-501 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 120 VAC,15 A,1 PH,50/60 Hz | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | W/ PRINTED CIRCUIT BOARD,BULK MATERIAL HANDLING ITEM, CONDUCTOR DC | [36 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 | URL UPDATED | 227440 | 227440 | 8373-52176026 | CONTROLADOR SMC 150-F480NBD ALLEN BRADLE |  |  | CONTROLADOR SMC FLEX 150-F480NBD SOLID STATE CONTROLLER, OPEN, 480 A, 200...400HP @ 460V AC, INPUT VOLT. 200...480V, CONTROL VOLT.: 100 A ...240VCA MARCA:ALLEN BRADLEY USO:PEERLES Nº4 FUNCION:CONTROL DE MOTOR MATERIAL:PLASTICO | [13 empty] | https://literature.rockwellautomation.com/idc/groups/literature/documents/td/150-td009_-en-p.pdf | https://www.dosupply.com/automation/allen-bradley-drives/smc-flex/150-F480NBD | https://www.revereelectric.com/4164073/Product/Allen-Bradley-150-F480NBD | ALLEN-BRADLEY | OPM | 150-F480NBD | 150-F480NBD |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 200-460 VAC,3 PH,50/60 HZ | OUTPUT RATING | 480 A | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | TYPE | MOTOR,SOLID STATE | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | -5 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,CSA,CULUS | ADDITIONAL FEATURES | SMC FLEX,ENCLOSURE TYPE:OPEN,POWER RATING:200 TO 400 HP; CONTROL VOLT: 100 TO 240 VAC,MATERIAL:PLASTIC | [36 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 9284 | 9284 | 8301-52214463 | DRIVE CONTR 1232E 2121 24V 250A AC |  |  | CONTR. 1232E-2321 (24V, 250A) AC; TIPO: 1232E-2321 ; MODELO: ; PART NUMBER: ; APLICACAO: ; FABRICANTE: VINNIG; FORNECEDOR EXCLUSIVO: SIM; FORNECEDOR: VINNIG; Nº EQUIPAMENTO SAP: 10191814;10191815;10191816;10191817;10191819; PODE SER RECONDIONADO?: NÃO; LA | CONTR. 1232E-2321 (24V, 250A) AC; TIPO: 1232E-2321 ; MODELO: ; PART NUMBER: ; APLICACAO: ; FABRICANTE: VINNIG; FORNECEDOR EXCLUSIVO: SIM; FORNECEDOR: VINNIG; Nº EQUIPAMENTO SAP: 10191814;10191815;10191816;10191817;10191819; PODE SER RECONDIONADO?: NÃO; LA | [12 empty] | https://www.nocoev.com/product/1232E-2321.htm#gsc.tab=0 | https://cdn.curtisinstruments.com/products/datasheets/1232E_datasheet_en.pdf |  | CURTIS INSTRUMENTS, INC | OPM | 1232E-2321 | 1232E-2321 | ALTERNATE PART NUMBER:1232E-2121,SAP EQUIPMENT NO:10191814,10191815,10191816,10191817,10191819,SUPPLIER:VINNIG | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | VOLTAGE RATING | 24 VAC | CURRENT RATING | 250 A | OUTPUT SIGNAL |  | ACCURACY |  | TYPE | DRIVE,INDUCTION MOTOR | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE | -40 TO 50 DEG C | SIZE | 180 WD X 140 LG X 71 HT mm | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | NO REFURBISHMENT | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 724746 | 724746 | PL34-5612181 | MTC11A000,503,R9500,00 | 88344983 | [15 empty] | https://download.sew-eurodrive.com/download/pdf/23476052.pdf | https://www.kc-co.com/spare-part/sew-eurodrive/mtc11a000-503-r9500-00/ |  | SEW-EURODRIVE | OPM | MTC11A000-503-R9500-00 | MTC11A000-503-R9500-00 | ALTERNATE PART NUMBER:88344983 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 380 TO 500 VAC,20 A,50/60 Hz,3 PH | OUTPUT RATING | 400 V | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | TYPE | DRIVE | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 0 TO 40 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 507145 | 507145 | ES36-5322194 | AMPLIF FOTOCÉLULA OMRON S3D2-CKB-US PNP |  |  |  | Corresponde a su Oferta 354501 FUENTE DE ALIM. OMRON S3D2-CKB-US | [12 empty] | https://www.ia.omron.com/data_pdf/cat/s3d2_ds_e_7_1_csm511.pdf | https://octopart.com/s3d2-ckb-us-omron-19092497 | https://www.kempstoncontrols.co.uk/S3D2-CKB-US/Omron/sku/180863 | OMRON ELECTRONICS | OPM | S3D2-CKB-US | S3D2-CKB-US |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 100 TO 240 VAC,50/60 hz | OUTPUT RATING | 250 VAC,2 A | NUMBER OF INPUTS | 2 | NUMBER OF OUTPUTS | 1 | TYPE | SENSOR | INTERFACE TYPE |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -10 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PNP,PHOTOCELL AMPLIFIER | [36 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 544858 | 544858 | FR37-LFCAR16720 | CAR D'AXES CCD01.1-KE02-01-FW 273108 | CAR-CHL |  |  | CARTE D'AXES CCD01.1-KE02-01-FW 273108 EQUIPE D'UN FIRMWARE FWA-CLC*DP-GPS-06VRS-MS POUR C | [12 empty] | https://www.radwell.co.uk/en-GB/Buy/BOSCH/INDRAMAT/CCD01.1-KE02-01-FW/?redirect=true |  |  | BOSCH | OPM | CCD01.1-KE02-01-FW | CCD01.1-KE02-01-FW | ALTERNATE PART NUMBER:273108,FWA-CLC*DP-GPS-06VRS-MS | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 24 VDC | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | TYPE | MOTION | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | W/ PLUG-IN FRAME | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 624984 | 624984 | IE32-CB60039406 | CONTROLLER,DMC-4030-C012-1000-24V,GALIL | [16 empty] | https://www.galil.com/motion-controllers/multi-axis/dmc-40x0 | https://loel.ucolick.org/manual/Hamilton_II/documents/Galil/cat40x0.pdf |  | GALIL | OPM | DMC-4030-C012-I000 | DMC-4030-C012-I000 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 20 TO 80 VDC | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | TYPE | 3-AXES MOTION | INTERFACE TYPE | 1 ETHERNET PORT,2 RS232 PORTS | MOUNTING TYPE |  | TEMPERATURE RATING | 0 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ROHS | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 722099 | 722099 | PL34-5606636 | KONTROLER,RUCHU,TJI-MC,16,OMRON | TJI-MC 16 | [15 empty] | https://www.mouser.in/ProductDetail/Omron-Automation-and-Safety/TJ1-MC16?qs=rE9FgawVoNKFukdfXHLALA%3D%3D | https://www.digikey.com/en/products/detail/omron-automation-and-safety/TJ1-MC16/2656590 |  | OMRON ELECTRONICS | OPM | TJ1-MC16 | TJ1-MC16 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | NOT AVAILABLE | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | 16 | NUMBER OF OUTPUTS | 8 | TYPE | MOTION | INTERFACE TYPE |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | 0 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CULUS,LLOYD | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 224624 | 224624 | 8373-52088566 | CONTROLADOR SENSORES S3D2 CK US OMRON |  |  |  | 100-240VAC MARCA OMRON ALIMENTACIÃ“N: 100 A 240VAC CON FUENTE AUXILIAR DE 12VDC/200MA. CON FUNCIONES DE TEMPORIZACIÃ“N: CONTROLADOR DE SENSORES TIPO S3D2-CK-US ENTRADA: NPN O CONTACTO ONE SHOT, ON DELAY Y OFF DELAY SALIDA: RELE SPDT 3A/250VAC. SELECCIONAB | [12 empty] | https://www.ia.omron.com/data_pdf/cat/s3d2_ds_e_7_1_csm511.pdf | https://www.mouser.in/ProductDetail/Omron-Automation-and-Safety/S3D2-CK-US?qs=NA0XKeglvRWrxPkAiNaLgQ%3D%3D |  | OMRON ELECTRONICS | OPM | S3D2-CK-US | S3D2-CK-US |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 100 TO 240 VAC,50/60 HZ | OUTPUT RATING | 250 VAC,2 A | NUMBER OF INPUTS | 2 | NUMBER OF OUTPUTS | 1 | TYPE | SENSOR | INTERFACE TYPE |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | -10 TO 55 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 759068 | 759068 | RU02-5580953 | VIBRATION REGULATOR;R3FC STD SERIES | [16 empty] | https://www.mpelettronica.com/product/r3fc/ | http://www.mpelettronic.it/Schede/Inglese/R3FC.pdf |  | MP ELETTRONICA SRL | OPM | R3FC | R3FC |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | PHASE ANGLE,VIBRATOR | INPUT SIGNAL | 115/230 V | OUTPUT SIGNAL | 20 TO 105 V/40 TO 210 V,3 A | RANGE | 50/100 HZ,60/120 HZ | ELECTRICAL RATING |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,EMC,ROHS | ADDITIONAL FEATURES | TEMPERATURE RATING:-20 TO 55 DEG C, STANDARD SERIES | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 535170 | 535170 | FR35-5598946 | CONTROLEUR 772144 PNOZ M EF 8DI2DOT | [16 empty] | https://www.pilz.com/en-INT/eshop/p/772144/pdf | https://in.rsdelivers.com/product/pilz/772144/pilz-pnoz-m-ef-safety-controller-8-safety-inputs-2/1919884 |  | PILZ | OPM | 772144 | PNOZ M EF 8DI2DOT |  | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 24 VDC | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | 8 | NUMBER OF OUTPUTS | 2 | TYPE | SAFETY | INTERFACE TYPE |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,CULUS,KOSHA,TUV,EAC | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 309200 | 309200 | AU03-5023452 | INDICATOR,WEIGHT,4-20MA,24VDC | RITEWEIGH GS100R-LV-R-A |  | RITEWEIGH GS100R-LV-R-A | [13 empty] | http://gedgesystems.com.au/wp-content/uploads/2020/10/GS100R-BRO-W-09-V_02.pdf |  |  | GEDGE SYSTEMS PTY LTD | OPM | GS100R-LV-R-A | GS100R-LV-R-A |  | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER | ELECTRICAL | FUNCTION | LOADCELL PROCESS | INPUT RATING | 15 TO 48 VAC/10 TO 72 VDC | OUTPUT RATING | 4 TO 20 mA | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | TYPE | WEIGHT | INTERFACE TYPE |  | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE:45 WD X 101 HT X 119.5 DP MM | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 494259 | 494259 | ES32-5450241 | PROFIBUS/FIRMWARE R911305278/R91131222 | R911305278/R91131222 | [15 empty] | https://indramat-usa.com/uploads/2018/01/Rexroth-CDB01-CSB01-CSH01-Project-Planning-Manual.pdf | https://www.wakeindustrial.com/buy/bosch-rexroth-indramat/csb-series/csb011c-pb-ens-nnn-nn-s-nn-fw |  | BOSCH REXROTH AG | OPM | CSB01.1C-PB-ENS-NNN-NN-S-NN-FW | CSB01.1C-PB-ENS-NNN-NN-S-NN-FW | ALTERNATE MANUFACTURER PART NUMBER:R911305278/R91131222 | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | SERVO | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | ELECTRICAL RATING | 24 V | TYPE | SINGLE AXIS DRIVE | MOUNTING TYPE |  | MEMORY TYPE |  | INTERFACE TYPE | PROFIBUS | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,ISO,IEC | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 721785 | 721785 | PL34-5606320 | DATOWNIK,9840,MARKEM | 9840 | [15 empty] | https://www.nriparts.com/products/markem-9840-controls/152820 |  |  | MARKEM-IMAJE | OEM | 9840 | 9840 |  | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 115/230 VAC | OUTPUT RATING | 125/250 VAC,3.15/6.3 A,0.35 KW | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 755383 | 755383 | RU02-5311401 | SIMOTION MULTI 6AU1435-0AA00-0CA1 | 6AU1435-0AA00-0CA1 |  | SIMOTION MULTI-AXIS BUNDLE D435 CONSISTING OF ONE D435 (6AU1435-0AA00- 0AA1) AND CF (6AU1400-2NA00-0AA0 -Z M43) WITH MULTI AXES LICENSE | SIMOTION MULTI-AXIS BUNDLE D435 CONSISTING OF ONE D435 (6AU1435-0AA00- 0AA1) AND CF (6AU1400-2NA00-0AA0 -Z M43) WITH MULTI AXES LICENSE¦¦SIMOTION MULTI-AXIS BUNDLE D435 CONSISTING OF ONE D435 (6AU1435-0AA00- 0AA1) AND CF (6AU1400-2NA00-0AA0 -Z M43) WITH M | [12 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6AU14350AA000CA1 | https://cache.industry.siemens.com/dl/files/777/50530777/att_20605/v1/flyer_simotion_d_2011_sep_en.pdf | https://plc-trade.com/mpn/6au1435-0aa00-0ca1/ | SIEMENS AG | OPM | 6AU1435-0AA00-0CA1 | 6AU1435-0AA00-0CA1 | REFERENCE NUMBER:ONE D435 (6AU1435-0AA00- 0AA1),CF(6AU1400-2NA00-0AA0 -Z M43 | CLEANSED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | NOT AVAILABLE | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | TYPE | MULTI-AXIS BUNDLE | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 767357 | 767357 | RU03-5450542 | PROFIBUS;CSB01.1C-PB-ENS-NNN-NN-SNN-FW | [16 empty] | https://indramat-usa.com/uploads/2018/01/Rexroth-CDB01-CSB01-CSH01-Project-Planning-Manual.pdf | https://www.wakeindustrial.com/buy/bosch-rexroth-indramat/csb-series/csb011c-pb-ens-nnn-nn-s-nn-fw |  | BOSCH REXROTH AG | OPM | CSB01.1C-PB-ENS-NNN-NN-S-NN-FW | CSB01.1C-PB-ENS-NNN-NN-S-NN-FW |  | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | SERVO | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | ELECTRICAL RATING | 24 V | TYPE | SINGLE AXIS DRIVE | MOUNTING TYPE |  | MEMORY TYPE |  | INTERFACE TYPE | PROFIBUS | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,ISO,IEC | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 776723 | 776723 | RU07-5461024 | SECTION;CSH01.3C;(R911329905+R911328763) | R911329905+R911328763 | [15 empty] | https://indramat-usa.com/uploads/2018/01/Rexroth-CDB01-CSB01-CSH01-Project-Planning-Manual.pdf |  |  | BOSCH REXROTH AG | OPM | CSH01.3C-PB-ENS-NNN-CCD-L2-S-NN-FW | CSH01.3C-PB-ENS-NNN-CCD-L2-S-NN-FW | ALTERNATE MANUFACTURER PART NUMBER:R911329905+R911328763 | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | SERVO | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | ELECTRICAL RATING | 24 V | TYPE | SINGLE AXIS DRIVE,ADVANCED | MOUNTING TYPE |  | MEMORY TYPE |  | INTERFACE TYPE | PROFIBUS | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,ISO,IEC | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 776725 | 776725 | RU07-5461026 | SECTION;CSB01.1C;(R911328086+R911328708) | R911328086+R911328708 | [15 empty] | https://indramat-usa.com/uploads/2018/01/Rexroth-CDB01-CSB01-CSH01-Project-Planning-Manual.pdf | https://www.lsa-control.com/en/r911328086-csb01-1c-s3-ens-nnn-l2-s-nn-fw |  | BOSCH REXROTH AG | OPM | CSB01.1C-S3-ENS-NNN-L2-S-NN-FW | CSB01.1C-S3-ENS-NNN-L2-S-NN-FW | ALTERNATE MANUFACTURER PART NUMBER:R911328086+R911328708 | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | SERVO | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | ELECTRICAL RATING | 24 V | TYPE | SINGLE AXIS DRIVE | MOUNTING TYPE |  | MEMORY TYPE |  | INTERFACE TYPE | SERCOS III | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,ISO,IEC | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 558093 | 558093 | FR40-LF6108BES | CARTE D'AXES ROBOT PAT 3 | CTN330.110000 | [15 empty] | https://www.directindustry.com/prod/cmz-sistemi-elettronici-srl/product-37577-1843894.html |  |  | CMZ | OPM | CTN330.110000 | CTN330.110000 | ROBOT NUMBER OF AXES:3 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | NOT AVAILABLE | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | TYPE | MULTI-AXIS MOTION | INTERFACE TYPE | CANBUS,FIELDBUS | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOTOR TYPE:DC | [36 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 711605 | 711605 | PK02-5542262 | PNOZ-PILZ-PZ773110BOATO10G&50G-E01007011 | [16 empty] | https://www.pilz.com/en-RU/eshop/Small-controllers-PNOZmulti/Safety-systems-PNOZmulti-Classic/PNOZmulti-base-units/PNOZmulti-base-units/PNOZ-m0p-base-unit-not-expandable/p/773110 | https://in.rsdelivers.com/product/pilz/773110/pilz-pnozmulti-series-safety-controller-20-safety/6192666 |  | PILZ | OPM | 773110 | PNOZ m0p | ALTERNATE PART NUMBER:E01007011 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 24 VDC | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | 20 | NUMBER OF OUTPUTS | 6 | TYPE | SAFETY | INTERFACE TYPE | RS232 | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,cULus Listed,KCC,KOSHA,EAC,TÜV | ADDITIONAL FEATURES | BOATO10G&50G | [36 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 358889 | 358889 | BE32-5590214 | PILZ MILTI VEILIGHEIDSR. PNOZ M3P ETH | ART.E2648260 |  |  | Vendor Rexel 171753 | [12 empty] | https://www.pilz.com/en-RU/eshop/Small-controllers-PNOZmulti/Safety-systems-PNOZmulti-Classic/PNOZmulti-base-units/PNOZmulti-base-units/PNOZ-m3p-ETH/p/773126 |  |  | PILZ | OPM | 773126 | PNOZ M3P ETH | DISTRIBUTOR:REXEL,DISTRIBUTOR PART NUMBER:171753,REFERENCE NUMBER:E2648260 | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER | ELECTRICAL | FUNCTION | NOT AVAILABLE | INPUT RATING | 24 VDC | OUTPUT RATING | NOT AVAILABLE | NUMBER OF INPUTS | 20 | NUMBER OF OUTPUTS | 6 | TYPE | MULTI SAFETY | INTERFACE TYPE | 2 Ethernet/Modbus TCP | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | 0 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UKCA,cULus Listed,KCC,KOSHA,EAC,TÜV | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 726887 | 726887 | PL34-5624950 | FLOW,REGULATOR,F-201CV-20K-AAD-00-V | [16 empty] | https://www.bronkhorst.com/getmedia/98668a82-8d1c-4b7f-af8e-995be25641b3/EL-FLOW-Select_en.pdf | https://www.bronkhorst.com/int/products/gas-flow/el-flow-select/f-201cv/ |  | BRONKHORST USA LLC | OPM | F-201CV-20K-AAD-00-V | F-201CV |  | ENRICHED | MRO | 41112500 | Liquid And Gas Flow Measuring And Observing Instruments | CONTROLLER | FLOW | FLOW RATING | 0 TO 8/0 TO 25000 ML/MIN | ACCURACY | +/-(0.5 PCT RD + 0.1 PCT FS) | OUTPUT SIGNAL | 0 TO 5 VDC | POWER SUPPLY | 15 TO 24 VDC | TYPE | THERMAL MASS | DISPLAY TYPE | DIGITAL | PRESSURE RATING | 64 BAR | TEMPERATURE RATING | -10 TO 70 DEG C | MATERIAL | STAINLESS STEEL 316L | PROCESS CONNECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COMMUNICATION: RS232 + ANALOG (N/C CONTROL) | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 | NM CHANGED | 145106 | 145106 | 8349-50196735 | METER,MASS FLOW,DL100S202SU/RFT,855 PSI | DL100S202SU/RFT | Micro Motion | METER,MASS FLOW,PRESS_RATING:855 PSI,MANUFACTURER:MICRO MOTION,MFR PART NUMBER:DL100S202SU/RFT | [13 empty] | https://integrityelectricdirect.com/shop/sensors-proximity-switch/micro-motion-mass-flow-sensor-dl100s202su-rft9739-remote-transmitter-1year-war/ |  |  | EMERSON | OPM | DL100S202SU RFT | DL100S202SU RFT |  | ENRICHED | MRO | 41112500 | Liquid And Gas Flow Measuring And Observing Instruments | SENSOR | FLOW | MEASURING RANGE |  | ACCURACY |  | OUTPUT TYPE |  | PROCESS CONNECTION |  | POWER SUPPLY |  | TYPE | MASS | ENCLOSURE |  | TEMPERATURE RATING |  | MATERIAL |  | ELECTRICAL CONNECTION |  | PRESSURE RATING | 855 PSI | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [31 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 373947 | 373947 | BE33-5310701 | CONTROLEUR KMG MA370 | MA370 |  | CONTROLLER FOR AUTOFLOW - PLUS | CONTROLLER FOR AUTOFLOW - PLUS¦¦CONTROLLER FOR AUTOFLOW - PLUS | [12 empty] | https://www.abcparts.be/en/spareparts/other/other/kmg/ma370 |  |  | KMG SYSTEMS LTD | OEM | MA370 | MA370 |  | CLEANSED | MRO | 41112500 | Liquid And Gas Flow Measuring And Observing Instruments | CONTROLLER | FLOW | FLOW RATING | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | TYPE | AUTO FLOW PLUS | DISPLAY TYPE |  | PRESSURE RATING |  | TEMPERATURE RATING |  | MATERIAL |  | PROCESS CONNECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 516370 | 516370 | ES37-5433677 | CONTROLADOR ROT. ATEX FDF23A 220-240V |  |  |  |  | Rubix | 798669939000 | FILSA |  |  | CONTR. ROT. FDF23 A1 B1 C1 G2E R6 S2 <EX> II 1/2D EX TA/TB IIIC T80ºC. 230V AC G 1 1/4 | [6 empty] | https://www.ontrium.com/get.aspx?id=1475776 | http://www.pro-therm.co.uk/filsafdf.html | https://www.bartec.de/en/downloads/safety-academy/marking-electrical-equipment-ex.pdf | WORKSHOPS FILSA SAU | OEM | FDF23 A1 B1 C1 G2E R6 S2 | FDF23 A1 B1 C1 G2E R6 S2 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | LEVEL | POWER SUPPLY | 230 VAC | POWER RATING | 4 VA | OUTPUT TYPE | NOT AVAILABLE | TYPE | ROTARY BLADE | SIZE |  | ENCLOSURE | IP66 | TEMPERATURE RATING | -20 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | II 1/2D Ex ta/tb IIIC T,ATEX | ADDITIONAL FEATURES | PROCESS CONNECTION:1-1/4 IN BSPP | [40 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 785063 | 785063 | RU07-TRU40016761 | LEVEL CONTROL;GESTRA;NRS_2-1B | [16 empty] | https://www.radwell.co.uk/Buy/GESTRA/GESTRA/NRS-2-1-B-DIV-240V/?redirect=true | https://www.barthel-armaturen.de/en/gestra-level-electrode-nrs2-1b.html |  | GESTRA AG | OPM | NRS_2-1B | NRS_2-1B |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | LEVEL | POWER SUPPLY | 240 VAC | POWER RATING | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE |  | SIZE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY:50/60 Hz | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 63470 | 63470 | 8319-50469628 | CONTR,LIQ LEVEL,59020-14,240V | 59020-14 | Badger Meter Inc | CONTROL,LIQUID LEVEL,V_RATING:240V,MANUFACTURER:BADGER METER INC,MFR PART NUMBER:59020-14 | [13 empty] | https://www.radwell.co.uk/en-GB/Buy/BADGER%20METER/BADGER%20METER/59020-014/?redirect=true |  |  | BADGER METER, INC. | OPM | 59020-014 | 59020-014 |  | ENRICHED | MRO | 41111900 | INDICATING AND RECORDING INSTRUMENTS | CONTROLLER | LEVEL | POWER SUPPLY | 120/230 VAC,10 A | POWER RATING | 18 W | OUTPUT TYPE | NOT AVAILABLE | TYPE | LIQUID | SIZE |  | ENCLOSURE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 514300 | 514300 | ES36-5604173 | CONTROL IMPULSOS NORGREN 8287054.0 SILOS | 798898835000 |  |  | Corresponde a su Oferta 0015347998 CONTROL DE IMPULSOS NORGREN 8287054.0000.00000 | Rubix | 798898835000 | NORGREN |  |  | CONTROL DE IMPULSOS 8287054.0000.00000 | [6 empty] | http://cdn.norgren.com/pdf/en_5_8_501_82870.pdf |  |  | IMI NORGREN | OPM | 8287054.0000.00000 | 8287054.0000.00000 | ALTERNATE PART NUMBER:798898835000,CORRESPONDS TO YOUR OFFER 0015347998 IMPULSE | ENRICHED | MRO | 41113600 | Electrical Measuring And Testing Equipment And Accessories | CONTROLLER | PNEUMATIC | TYPE | NOT AVAILABLE | RATING | NOT AVAILABLE | RANGE | NOT AVAILABLE | MATERIAL | GREY CAST IRON | CONNECTION | 1/8 IN BSPP | ADDITIONAL FEATURES | SIZE: 143 WD X 212 LG X 167 HT MM; TEMPERATURE RATING: -20 TO 40 DEG C; NUMBER OF PORTS: 10,PRESSURE RATING: 7.25 TO 116 PSI | [48 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 546674 | 546674 | FR37-LFREG17076 | REG 663 T6-M5 32079620 0 A 100° SARCO | SPI 32079620 663 T6-M5 32079620 0 A 100° |  |  | REGULATEUR TYPE 663 T6-M5 32079620 PNEUMATIQUE T° 0 A 100° SPIRAX SARCO | [12 empty] | https://content.spiraxsarco.com/-/media/spiraxsarco/international/documents/fr-be/ti/pn600-ti-p320-47-be-fr.ashx?rev=8ec178c035f24fdeb1a7e512db95b348 |  |  | SPIRAX SARCO | OPM | 663 T6-M5 | 663 T6-M5 | ALTERNATE MANUFACTURER PART NUMBER:32079620 | ENRICHED | MRO | 27131603 | Air regulators | CONTROLLER | PNEUMATIC | TYPE | NOT AVAILABLE | RATING | NOT AVAILABLE | RANGE | 0 to 100 DEG C | MATERIAL | STAINLESS STEEL 316L | CONNECTION | 1/4 IN NPT | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 648830 | 648830 | IN03-ED061062 | AUTO TRANSFER CONTROLLER AUXC 2000 L&T | [16 empty] | https://jayceeonline.com/wp-content/uploads/2021/10/Combined-Catalogue-AuXC-2000-ATS-ACCL.pdf |  |  | L&T | OPM | AUXC 2000 | AUXC 2000 |  | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER | POWER | VOLTAGE RATING | 100-240 VAC | CURRENT RATING | 400 A | OUTPUT RATING | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | POWER RATING | NOT AVAILABLE | NUMBER OF PHASE | 1 | TYPE |  | MOUNTING TYPE | HOLE | INTERFACE TYPE |  | OPERATOR INTERFACE TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 294192 | 294192 | AT31-5274752 | BLINDLEISTUNGSREGLER RPC 12BSA | RPC 12BSA | ICCP MESSTECHNIK GES.M.B.H. | 12-Stufig ersetzt BLINDLEISTUNGSREGLER B44066-R1203 | 12-Stufig ersetzt BLINDLEISTUNGSREGLER B44066-R1203 | [12 empty] | http://www.tekhar.com/Programma/ICAR/pdf_pict/1212.pdf |  |  | ICAR | OPM | RPC 12BSA | RPC 12BSA | ALTERNATE OPM:ICCP MESSTECHNIK GES.M.B.H.,ALTERNATE PART NUMBER:B44066-R1203 | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER | POWER | VOLTAGE RATING | 380-415 VAC | CURRENT RATING | 5 A | OUTPUT RATING | 250 VAC | NUMBER OF OUTPUTS | 12 | POWER RATING | 0.65 W | NUMBER OF PHASE | NOT AVAILABLE | TYPE | REACTIVE | MOUNTING TYPE |  | INTERFACE TYPE | RS232 | OPERATOR INTERFACE TYPE |  | SIZE | 144 X 144 X 62 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | 12-STAGE REPLACES BLIND PERFORMANCE REGULATOR | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 225688 | 225688 | 8373-52098084 | CONTROLADOR TIPO CPC 2000 MARCA LENZ | [16 empty] | https://www.wika.com/media/Data-sheets/Calibration/Pressure-controllers/ds_ct2751_en_co.pdf |  |  | WIKA INSTRUMENT CORP | OPM | CPC 2000 | CPC 2000 | ALTERNATE MANUFACTURER:LENZ | ENRICHED | MRO | 41112411 | Pressure Controllers | CONTROLLER | PRESSURE | ACCURACY | 0.1 PCT | OUTPUT SIGNAL | NOT AVAILABLE | POWER SUPPLY | 24 VDC,1 A | PRESSURE RANGE | 0 TO 1000 mBAR | VOLTAGE RATING |  | TYPE | PORTABLE LOW | DISPLAY TYPE | BACKLIT,MULTI-LINE GRAPHIC | RESOLUTION | 4 TO 5 DIGITS | MOUNTING TYPE | BENCHTOP | CONNECTION TYPE |  | MATERIAL |  | ENCLOSURE | IP20 | SIZE | 257 WD X 102.6 HT X 271 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,EAC | ADDITIONAL FEATURES | [29 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 307469 | 307469 | AU02-EA508166 | VALVE, MAC 92 SERIES I-P CONVERTER | PPC092B-AAB-0AGE-D0A-AB | PNEUTECH PTY LTD | PPC092B-AAB-0AGE-D0A-AB | [13 empty] | https://www.macvalves.com/wp-content/uploads/PDFs/Series_Pages/PPC/ppc92b.pdf |  |  | MAC VALVE | OPM | PPC092B-AAB-0AGE-D0A-AB | PPC092B |  | ENRICHED | MRO | 41112411 | Pressure Controllers | CONTROLLER | PRESSURE | ACCURACY | +/-2.5 PCT | OUTPUT SIGNAL | NOT AVAILABLE | POWER SUPPLY | 20.4 TO 26.4 VDC | PRESSURE RANGE | 0 TO 100 PSI | VOLTAGE RATING |  | TYPE | PROPORTIONAL,GAUGE | DISPLAY TYPE |  | RESOLUTION |  | MOUNTING TYPE |  | CONNECTION TYPE | 3-PIN PULG-IN | MATERIAL | ALUMINUM | ENCLOSURE |  | SIZE | 70 WD X 114.8 HT X 80 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [30 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 | NM CHANGED | 410430 | 410430 | CH31-5803370 | VEGAMET 514 | MET514-X01 | VEGA MESSTECHNIK AG | MIKROPREZESSGESTEUERTES AUSWERTGERAET | MIKROPREZESSGESTEUERTES AUSWERTGERAET¦¦MIKROPREZESSGESTEUERTES AUSWERTGERAET¦¦MIKROPREZESSGESTEUERTES AUSWERTGERAET¦¦MIKROPREZESSGESTEUERTES AUSWERTGERAET | [12 empty] | https://manualmachine.com/vega/met514/1750460-user-manual/ |  |  | VEGA | OPM | MET514-X01 | MET514-X01 |  | ENRICHED | MRO | 39121020 | Signal conditioners | CONDITIONER | SIGNAL | INPUT RATING | 24 VAC/DC | OUTPUT RATING | 0 TO 10 V,0 TO 20 MA | ISOLATION |  | TYPE |  | ACCURACY |  | SIZE | 25.4 WD X 128.4 HT X 162 DP MM | MOUNTING TYPE |  | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | [39 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 497878 | 497878 | ES32-5628680 | PRESS CONTROL GRUNDFOS PM 2 AD 1X230V 50 | PM 2 AD 1X230V 50/60HZ GAS IT | [15 empty] | https://www.paschaloudis.gr/wp-content/uploads/2021/05/%CE%A4echnical-data-96848738_PM_2_AD.pdf |  |  | GRUNDFOS | OPM | PM 2 AD | PM 2 AD |  | ENRICHED | MRO | 41112411 | Pressure Controllers | CONTROLLER | PRESSURE | ACCURACY | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | PRESSURE RANGE | 1.5 TO 5 BAR | VOLTAGE RATING | 220 TO 240 VAC | TYPE | ELECTRONIC | DISPLAY TYPE |  | RESOLUTION |  | MOUNTING TYPE |  | CONNECTION TYPE | 1 IN BSPP | MATERIAL |  | ENCLOSURE | IP65 | SIZE | 143 WD X 171 HT X 175 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,C-TICK,EAC,WEEE | ADDITIONAL FEATURES | PHASE: 1 PH, FREQUENCY: 50/60 HZ | [29 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 76420 | 76420 | 8326-52030966 | PRESSURETROL HONEYWELL L404C 1162 W |  |  | PRESSURETROL HONEYWELL L404C 1162 W MAX LIMIT 150 PSI PRESS | PRESSURETROL HONEYWELL L404C 1162 W MAX LIMIT 150 PSI PRESS | [12 empty] | https://media.imfluid.cl/uploads/L404.pdf | https://eclipseburner.com.tw/Public/banner_img/2020-05-06/1588756736__1588756736.pdf |  | HONEYWELL INTERNATIONAL | OEM | L404C 1162 W | L404C 1162 W |  | ENRICHED | MRO | 41112411 | Pressure Controllers | CONTROLLER | PRESSURE | ACCURACY | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | POWER SUPPLY |  | PRESSURE RANGE | 10 TO 150 PSI | VOLTAGE RATING | NOT AVAILABLE | TYPE |  | DISPLAY TYPE |  | RESOLUTION |  | MOUNTING TYPE |  | CONNECTION TYPE | SCREW TERMINAL | MATERIAL |  | ENCLOSURE |  | SIZE | 69.9 WD X 98.4 HT X 114.3 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL | ADDITIONAL FEATURES | [30 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 407650 | 407650 | BH02-BH02163 | TEMP,CNTR,CAL,3200 24DC - 0143102 | [16 empty] | https://www.eurotherm.com/in/products/temperature-controllers-in/single-loop-temperature-controllers-in/3200-temperature-process-controller/ | https://in.rsdelivers.com/product/cal/320050/cal-3200-pid-temperature-controller-48-x-24-1/32-dinmm-2-output-relay-24-v-ac/dc-supply-voltage/1966311 |  | EUROTHERM LIMITED. | OPM | 3200 | 3200 | ALTERNATE MANUFACTURER PART NUMBER:0143102 | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -200 TO 1800 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | RELAY | POWER SUPPLY | NOT AVAILABLE | ACCURACY | < 0.25 PCT | VOLTAGE RATING | 24 VDC | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 48 X 24 X 102 DP MM PANEL | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN14597 TR | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 542651 | 542651 | FR36-LFREGT0995 | 902S/IS/HRE////VH/XM///LF/IR/HAO////XA// | TEMPERATUR-VER |  |  | Régulateur Eurotherm 902S/IS/HRE////VH/XM///LF/IR/HAO////XA ///O/200/%/70/ à utiliser jusqu''a épouisement des stocks, remplacé par régulateur Dicon 500 pt100 Jumo type 703570/093-1100-111000-23-00/00,061 avec carte de sortie analogique type A/R430655010 | [12 empty] | https://www.eurotherm.com/?wpdmdl=86500 |  |  | EUROTHERM LIMITED. | OPM | 902S/IS/HRE //// VH/XM /// LF/IR/HAO //// XA | 902S/IS/HRE //// VH/XM /// LF/IR/HAO //// XA |  | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0-55 DEG C | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | +/- 10 PCT | VOLTAGE RATING | 100-240 VAC | TYPE | CONVENTIONAL | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL |  | SIZE | 96 WD X 96 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60529 | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP65 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 558670 | 558670 | FR41-5482647 | REGULATEUR DE TEMP. EUROTHERM 3504 | 3504/CC/VH/1/XX/ |  |  | REGULATEUR DE TEMPERATURE EUROTHERM 3504 N° SERIE : FC1424000392 CUST REF. CD018446 SO N° : 294521/10 3504/CC/VH/1/XX/1/1/XXX/S/XX/XX/XX/XX/XX/XX/XX/XX/FRA/FRA/XXXXX/XXXXX /XXXXX/XXXXXX/STD/////// | [12 empty] | https://www.eurotherm.com/in/products/temperature-controllers-in/single-loop-temperature-controllers-in/3500-advanced-temperature-controller-and-programmer/ |  |  | EUROTHERM LIMITED. | OPM | 3500 | 3500 | SERIES NUMBER:FC1424000392,REFERENCE NUMBER:CD018446:294521/10 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | RTD | OUTPUT TYPE | RELAY | POWER SUPPLY | 85-264 VAC | ACCURACY | <1 PCT | VOLTAGE RATING | 24 VAC/DC | TYPE | ADVANCED | INTERFACE TYPE | DEVICENET,ETHERNET,MODBUS,MODBUS MASTER,PROFIBUS | MOUNTING TYPE | PANEL | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP65 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 71882 | 71882 | 8321-52223469 | TERMORREGULADOR/1/8"DIN/3508/EUROTHERM | 3508 | CONTROLTEK SUPPLY SA DE CV | TERMOREGULADOR MODELO: 3508/CC/VH/2/XX/1/1/60/G/TT/TT/D4/Y2 TAMAÑO: 1/8 DIN MARCA: EUROTHERM | [13 empty] | https://www.eurotherm.com/in/products/temperature-controllers-in/single-loop-temperature-controllers-in/3500-advanced-temperature-controller-and-programmer/ |  |  | EUROTHERM | OPM | 3508 | 3508 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | RTD | OUTPUT TYPE | RELAY | POWER SUPPLY | 85-264 VAC | ACCURACY | <0.1 PCT | VOLTAGE RATING | 24 VAC/DC | TYPE | ADVANCED | INTERFACE TYPE | DEVICENET,ETHERNET,MODBUS,MODBUS MASTER,PROFIBUS | MOUNTING TYPE | PANEL | MATERIAL |  | SIZE | 1/8 IN DIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP66 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 543520 | 543520 | FR36-LFVAFR2419 | VARIATEUR ÉLECTRO 5A REB-5 FILMEUSE | FREQUENCE-VER |  |  | Variateur électronique 5A 230VAC UNE700191 REF: REB-5 MARQUE SOLER <(>&<)> PALAU Remplace le LEG03670 (pour filmeuse DRA-PAL- 6050) | [12 empty] | https://www.rexel.fr/frx/Cat%C3%A9gorie/Chauffage-%C3%A9lectrique-climatisation-ventilation/Ventilation/Accessoires-de-ventilation/Variateur-%C3%A9lectronique-de-tension%2C-montage-en-armoire%2C-5-A/UNE700191/p/62475106#technicalDocs | https://statics.solerpalau.com/media/import/documentation/O01-REB-5_REB-10_NOTICE.pdf | https://www.solerpalau.com/fr-fr/accessoires-electriques-reb-5-10-1297-serie/ | SOLER PALAU | OPM | UNE700191 | REB-5 | REFERENCE NUMBER:DRA-PAL-6050 FILMEUSE,REPLACES THE LEG03670 | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | VOLTAGE | INPUT RATING | 230 VAC,5 A | OUTPUT RATING | NOT AVAILABLE | POWER RATING | NOT AVAILABLE | TYPE | ELECTRONIC DIMMER | DISPLAY TYPE |  | CONNECTION TYPE |  | MOUNTING TYPE | CABINET | CONTROL MODE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,EAC | ADDITIONAL FEATURES | REB-5 FILMEUSE FREQUENCY-VER ELECTRONIC;BRAND:S&P FRANCE,S.A.S | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 587180 | 587180 | GB38-CB41923219 | VIBRATOR,CONTROLLER,TYPE REOVIB R15-469 | REOVIB R15-469 | RILEY AUTOMATION | VIBRATOR CONTROLLER TYPE REOVIB R15-469 240V 15A NO-26145 ID46914 PRODUCT CODE 29498-566-8 | [13 empty] | https://www.rrfisher.com.au/getdata.do?source=6&id=16&filename=REOR15469IP54.pdf |  |  | REO AG ELECTRONICS | OPM | REOVIB R15-469 | REOVIB R15-469 | ALTERNATE MANUFACTURER:RILEY AUTOMATION,REFERENCE NUMBER:26145,ID NUMBER:46914,PRODUCT CODE:29498-566-8 | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER |  | TYPE | PHASE ANGLE,VIBRATOR | INPUT SIGNAL |  | OUTPUT SIGNAL | 40 TO 210 V,0.2 TO 16 A | RANGE |  | ELECTRICAL RATING | 230 VAC,50/60 HZ | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 759166 | 759166 | RU02-5583016 | BLOCK;SEGNETICS;TRIM5-3012-65-0 | [16 empty] | https://segnetics--russia-ru.translate.goog/product/kontroller-segnetics-trim5-3012-65-0?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  |  | SEGNETICS | OPM | TRIM5-3012-65-0 | TRIM5-3012-65-0 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | BLOCK | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 21-350 VDC,5 W | DISPLAY TYPE | GRAPHIC,TFT COLOR | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 161 WD X 121 HT X 17.3 THK MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RESOLUTION:800X 450 PIXEL;INTERFACE:RS-485;ENCLOSURE:IP65 | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 309795 | 309795 | AU03-5045320 | PC,INDUSTRIAL,ABB,FLEXIPICKER,ROBOT | ABB E3HAC025527-004 |  | ABB E3HAC025527-004 (GFES LJ Robot) | [13 empty] | https://new.abb.com/products/E3HAC025527-004/e3hac025527-004 |  |  | ABB | OPM | E3HAC025527-004 | E3HAC025527-004 | ROUNDS GROWER,GFES LJ ROBOT | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | COMPUTER UNIT | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 266.5 WD X 337 LG X 127.5 HT MM,M6 | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 127 | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 75591 | 75591 | 8326-52026782 | CONTROL TEMP CROUZET CTD 4689422108 |  |  | CONTROLADOR DE TEMPERATURA CROUZET CTD 46,89422108 100/240 VAC | CONTROLADOR DE TEMPERATURA CROUZET CTD 46- 89.108 100/240 VAC | [12 empty] | https://media.crouzet.com/datasheets/english/temperature-controllers-digital-temperature-controllers-cth-ctd-cth-46-ctd-43-46-ctd-46-Part%20number-89422108.pdf | https://datasheet.octopart.com/89421102-Crouzet-datasheet-32018.pdf |  | CROUZET | OPM | 4689422108 | 4689422108 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | NOT AVAILABLE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | 250 VAC | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 100-240 VAC | DISPLAY TYPE | LED | CONTROL MODE | ON/OFF | CONNECTION TYPE | SCREW TERMINAL | MOUNTING TYPE |  | SIZE | 100 X 56 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 1200 | 1200 | 8301-52004406 | CONTROLADOR 800 (GEFRAN) |  |  | CONTROLADOR 800 (GEFRAN)800RRR0-00-0-0-1 (GEFRAN)Grupo = Eletrica/Eletronica | CONTROLADOR 800 (GEFRAN)800RRR0-00-0-0-1 (GEFRAN)Grupo = Eletrica/Eletronica | [12 empty] | https://www.gefran.com/en/in/products/2-800-pid-controller-1-16-din |  |  | GEFRAN | OPM | 800RRR0-00-0-0-1 | 800RRR0-00-0-0-1 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | MICRO PROCESSOR | INPUT SIGNAL | 0-20 mA | OUTPUT SIGNAL | 4-20 mA | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE | LED | CONTROL MODE | RELAY/LOGIC/ANALOGUE | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 48 WD X 48 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 9283 | 9283 | 8301-52214462 | DRIVE 222 5101 AC STEERING CONTROLLER |  |  | 1222-5101 AC STEERING CONTROLLER; TIPO: 1222-5101 ; MODELO: ; PART NUMBER: ; APLICACAO: ; FABRICANTE: VINNIG; FORNECEDOR EXCLUSIVO: SIM; FORNECEDOR: VINNIG; Nº EQUIPAMENTO SAP: 10191814;10191815;10191816;10191817;10191819; PODE SER RECONDIONADO?: NÃO; LAU | 1222-5101 AC STEERING CONTROLLER; TIPO: 1222-5101 ; MODELO: ; PART NUMBER: ; APLICACAO: ; FABRICANTE: VINNIG; FORNECEDOR EXCLUSIVO: SIM; FORNECEDOR: VINNIG; Nº EQUIPAMENTO SAP: 10191814;10191815;10191816;10191817;10191819; PODE SER RECONDIONADO?: NÃO; LAU | [12 empty] | https://www.vinnig.com.br/controlador-ac-1222-5101 | https://hfhuanxin.en.made-in-china.com/product/HyjnvgZXKwkO/China-Curtis-1222-5101-AC-Electric-Steering-Motor-Controller-24V-36V-48V-70A.html |  | VINNIG | OPM | 1222-5101 | 1222-5101 | SAP EQUIPMENT NUMBER:10191814,10191815,10191816,10191817,10191819 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | AC,STEERING | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 24-48 V,70 A | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 763508 | 763508 | RU02-TRU37013824 | SK(530021);CONTROLLER VKK KS92-1(1) | [16 empty] | https://www.west-cs.com/products/models/ks-92-1-single-loop-controlle | https://www.west-cs.com/assets/Datasheets/db-ks90-1prog-e-9498-047-40713uk.pdf |  | WEST CONTROL SYSTEM | OPM | KS92-1 | KS92-1 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | SINGLE LOOP,UNIVERSAL PROGRAM | INPUT SIGNAL | UNIVERSAL | OUTPUT SIGNAL | RELAY | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 90-260 VAC | DISPLAY TYPE |  | CONTROL MODE | ON/OFF,PID | CONNECTION TYPE | PIN,SCREW TERMINAL | MOUNTING TYPE |  | SIZE | 118 X 96 X 96 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY:48-62 Hz | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 474513 | 474513 | EG02-5564490 | PROGRAM LGK 16:33 (S-4000) | [16 empty] | https://proav.roland.com/global/products/s-4000r/specifications/ |  |  | PROAV ROLAND | OPM | S-4000 | S-4000 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | ZIPPERLESS REMOTE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 215 WD X 55 HT X 87 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERATURE RATING:0-40 DEG C;PROGRAM LGK 16:33 | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 739678 | 739678 | PL38-5567621 | STEROWNIK_BECKHOFF_CX5020-011 | CX5020-011 | EWPOL AUTOMATYKA PRZEMYSLOWA | [14 empty] | https://download.beckhoff.com/download/document/ipc/embedded-pc/embedded-pc-cx/cx5000_hwen.pdf | https://www.beckhoff.com/en-en/products/ipc/embedded-pcs/cx5000-intel-atom/cx5020.html |  | BECKHOFF AUTOMATION | OPM | CX5020-0111 | CX5020-0111 | SUPPLIER NAME:EWPOL AUTOMATYKA PRZEMYSLOWA,SUPPLIER PART NUMBER:CX5020-0111 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | NOT AVAILABLE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 24 VDC,2 A | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE | E-BUS/K-BUS | MOUNTING TYPE | RAIL | SIZE | 106 WD X 100 LG X 92 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CE,UL | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 14735 | 14735 | 8308-52068178 | CONTROLADOR C100B BOSCH 8-110-632-034 | 1148-10 | SYNTEGON | CONTROLADOR C100B BOSCH LENZE CPC 2000 P/N 1148-10 NCM 84229090 COD.BOSCH 9020.8 110 632 034 | CONTROLADOR C100B BOSCH LENZE CPC 2000 P/N 1148-10 NCM 84229090 COD.BOSCH 9020.8 110 632 034 | [12 empty] | https://www.abcparts.be/en/spareparts/other/pc/bosch/8-110-632-034 |  |  | SYNTEGON TECHNOLOGY | OEM | 8-110-632-034 | C100B | ALTERNATE PART NUMBER:1148-10 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | NOT AVAILABLE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 363255 | 363255 | BE33-5047358 | APPAR. DE TRAITEMENT SSZ-SQP-N/24VAC/DC | SSZ-SQP-N/24VAC-DC |  | APPAR. DE TRAITEMENT SSZ-SQP-N/24VAC/DC | APPAR. DE TRAITEMENT SSZ-SQP-N/24VAC/DC¦¦APPAR. DE TRAITEMENT SSZ-SQP-N/24VAC/DC | [12 empty] | https://www.mroglobalsolutions.com/products/ssz-ssz-sqp-n-safety-control-relay-new-in-box | https://www.radwell.co.uk/en-GB/Buy/SSZ/SSZ/SSZ-SQP-N/?redirect=true |  | SICHERHEITS-SYSTEMS ZIMMERMANN GMBH | OPM | SQP-N/24VAC-DC | SQP-N/24VAC-DC |  | CLEANSED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | SAFETY RELAY | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 24 VAC/DC | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 373563 | 373563 | BE33-5299525 | RECO NC AND SPS CONTROL REXROTH PPC-R22 |  |  | RECO NC AND SPS CONTROL REXROTH PPC-R22. 1N-T-NN-P2-NN-FW; 24VDC; 3,4A; ASIC-TEST-2 REF REXROTH: 1070074059 = 1070170285-104 (COMMANDE NUMERIQUE) + R911306462 (PROGICIEL = FIRMWARE) | RECO NC AND SPS CONTROL REXROTH PPC-R22. 1N-T-NN-P2-NN-FW; 24VDC; 3,4A; ASIC-TEST-2 REF REXROTH: 1070074059 = 1070170285-104 (COMMANDE NUMERIQUE) + R911306462 (PROGICIEL = FIRMWARE)¦¦RECO NC AND SPS CONTROL REXROTH PPC-R22. 1N-T-NN-P2-NN-FW; 24VDC; 3,4A; | [12 empty] | https://lsa-control.com/pub/media/pdf/Pool/30916502_rexroth_visualmotion_11_multi_axis_machine_control_dok_vismot_vm_11vrs_pr02_indramat.pdf |  |  | REXROTH | OPM | 1070170285 | PPC-R22.1N-T-NN-P2-NN-FW | REFERENCE NUMBER:1070074059,R911306462 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | PROFIBUS | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 24 VDC | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | RECO NC AND SPS CONTROL;CURRENT:4 A;PHASE:3;ASIC-TEST-2;DIGITAL CONTROL;SOFTWARE;FIRMWARE | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 413652 | 413652 | CH31-5830495 | POSITIONSCONTROLLER FUER SIG-SR |  |  | BPC DX3600-E1-48P-00-E | BPC DX3600-E1-48P-00-E¦¦BPC DX3600-E1-48P-00-E¦¦BPC DX3600-E1-48P-00-E | [12 empty] | https://mp-elektronik.de/wp-content/uploads/2020/07/Bedienungsanleitung-BPC-EN.pdf |  |  | MP ELETTRONIC | OPM | DX3600-E1-48P-00-E | DX3600-E1-48P-00-E |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | POSITION | INPUT SIGNAL | 24 V | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE | SCREW | SIZE | 192 WD X 192 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEPTH:70 MM;THICKNESS:5 MM;BPC | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 508324 | 508324 | ES36-5334517 | DRIVER IMCO REF. 54973235 HCS02.1E-W0028 | 54973235 | [15 empty] | https://www.artisantg.com/PLC/96350-1/Bosch-Rexroth-HCS02-1E-W0028-A-03-NNNN-IndraDrive-Control-System-w-CSH01-3C-Control-Module |  |  | BOSCH | OPM | 54973235 | 54973235 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | NOT AVAILABLE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 200-500 V,28 A,1.5-11 KW | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 520957 | 520957 | ES41-5414995 | CONTROL ANALÓGICO TIPO CB-02 | CB-02 | BROVIND ELECTRONICA | [14 empty] | https://www.ontrium.com/en/usa/brands/brovind-vibratori/analogic-controller-type-cb-02 | https://brazil.onrion.com/ANALOGIC_CONTROLLER_TYPE_CB_02-Brazil_Sales_Price-Brovind_Vibratori-239056-7050 |  | BROVIND VIBRATORI | OPM | CB-02 | CB-02 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | ANALOG | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 220 VAC,50 Hz | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 618789 | 618789 | IE32-5428836 | CONTROLLER,EKP-82039-830,BUH | [16 empty] | https://www.radwell.co.uk/en-GB/Buy/BUHLER/BUHLER/EKP-82039-830/?redirect=true |  |  | BUHLER | OPM | EKP-82039-830 | EKP-82039-830 | QUOTATION NUMBER:2013304040/001 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | NOT AVAILABLE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 85-230 VAC | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY:50/60 Hz | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 531402 | 531402 | FR34-LFBRUL00000003 | BRUL_COFF-MMI-962.1_SECURITE-BRULEUR | 600241 |  |  | COFFRET DE SECURITE-BRULEUR-FOUR D MODELE 23 MMI-962.1220/240 V-50 HZ- 10VA REF.600241 | [12 empty] | https://honeyvell.energy/wa-data/public/site/MMI/Manual%20Honeywell%20MMI%20962.1%20mod.%2023%20(en).pdf | https://www.novreczky.eu/satronic/pdf/MMI962_1-e.pdf | https://www.oeg.net/en/satronic-control-unit-mmi-962-1-mod-23-150132565 | HONEYWELL | OPM | MMI 962.1 | MMI 962.1 | ALTERNATE PART NUMBER:600241 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | GAS BURNER AUTOMATIC SAFETY | INPUT SIGNAL |  | OUTPUT SIGNAL |  | RANGE |  | ELECTRICAL RATING | 10 VA,220-440 V,50 Hz | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE | SCREW | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | BTLLXN | ADDITIONAL FEATURES | TEMPERATURE RATING:-20 TO 60 DEG C;POWER CONSUMPTION:10 VA | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 09-05-2023 |  | 846544 | 846544 | ES41-5398678 | MODUL. SEGUR. HONEYWELL MMI 962.1 | MMI 962.1 | HONEYWELL |  | boqueado a petición de Dani G. con fecha 21.05.20 | [12 empty] | https://honeyvell.energy/wa-data/public/site/MMI/Manual%20Honeywell%20MMI%20962.1%20mod.%2023%20(en).pdf | https://www.novreczky.eu/satronic/pdf/MMI962_1-e.pdf | https://www.oeg.net/en/satronic-control-unit-mmi-962-1-mod-23-150132565 | HONEYWELL | OPM | MMI 962.1 | MMI 962.1 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | GAS BURNER,AUTOMATIC SAFETY | INPUT SIGNAL |  | OUTPUT SIGNAL |  | RANGE |  | ELECTRICAL RATING | 10 VA,220-440 V,50 Hz | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE | SCREW | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | BTLLXN | ADDITIONAL FEATURES | TEMPERATURE RATING:-20 TO 60 DEG C;POWER CONSUMPTION:10 VA | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed