## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 | URL UPDATED | 15400 | 15400 | 8308-52129565 | POWER RAIL RACK OU BASTIDOR DE POTÊNCIA |  |  | POWER RAIL RACK OU BASTIDOR DE POTÊNCIA, COM PERFIL BAIXO; ESTREITO, ACIONA ATÉ 2 EIXOS. ALLEN BRADLEY 2094PRS2 | POWER RAIL RACK OU BASTIDOR DE POTÊNCIA, COM PERFIL BAIXO; ESTREITO, ACIONA ATÉ 2 EIXOS. ALLEN BRADLEY 2094PRS2 | [12 empty] | https://www.mc-mc.com/Product/allen-bradley-2094-prs2?option=ALBR2094PRS2 | https://www.rexelusa.com/p/66440/allen-bradley/power-rail-slim-2-axis-for-kinetix-drives/820919141393/2094-prs2 | https://commerce-production-mcrey-89b2dcb2.s3.us-east-1.amazonaws.com/userfiles/productdocuments/ALBR2094PRS2/SPEC_47784398_SpecificationSheet.pdf | ALLEN-BRADLEY | OPM | 2094-PRS2 | 2094-PRS2 |  | ENRICHED | MRO | 43201610 | BACKPLANE OR PANELS OR ASSEMBLIES | BACKPLANE |  | TYPE | POWER RAIL,SLIM | NUMBER OF LAYERS | NOT AVAILABLE | NUMBER OF HOLES/SLOTS | 2 | SIZE | 205.7 X 124.5 MM | BUS STANDARD | NOT AVAILABLE | FORM FACTOR | NOT AVAILABLE | POWER CONNECTOR | NOT AVAILABLE | CPU SLOT |  | OTHER SLOTS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VOLTAGE RATING:230/460 V | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 145871 | 145871 | 8349-50295216 | SEAL,BAND,07031747,ROVEMA PAC | 7031747 | Rovema Packaging Machines Ltd | SEAL,BAND,DETAILS:ROVEMA PAC,MANUFACTURER:ROVEMA PACKAGING MACHINES LTD,MFR PART NUMBER:07031747 | [13 empty] | https://partsolutionsllc.com/product/rovema-seal-band-07031747/ | https://www.partspak.eu/product/heat-seal-band-rov14-0006190-02 |  | ROVEMA PACKAGING MACHINES LTD | OEM | 7031747 | 7031747 |  | ENRICHED | MRO | 31162400 | Miscellaneous Fasteners | BAND |  | MATERIAL | NOT AVAILABLE | SIZE | NOT AVAILABLE | STROKE LENGTH | NOT AVAILABLE | TYPE | HEAT SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 173344 | 173344 | 8353-52033726 | CINTA/MAGNETICA/MB100-50540STTMA00/SIKO | MB100-50540STTMA00 | [15 empty] | https://www.siko-global.com/adbimage/1874/asset_original/data-sheet-mb100.pdf |  |  | SIKO | OPM | MB100-50540STTMA00 | MB100-50540STTMA00 |  | ENRICHED | MRO | 31162400 | Miscellaneous Fasteners | BAND |  | MATERIAL | NOT AVAILABLE | SIZE | 5 WD MM X 40 LG M | STROKE LENGTH | NOT AVAILABLE | TYPE | MAGNETIC | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BELT | [46 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 110205 | 110205 | 8339-52200750 | SEAL,BAND,07034079 | 7034079 | Rovema Packaging Machines Ltd | SEAL,BAND,DETAILS:ENDLESS 10MM WIDE X 770MM LONG,MANUFACTURER:ROVEMA PACKAGING MACHINES LTD,MFR PART NUMBER:07034079 | [13 empty] | https://mropartsdepot.com/catalog/index.php?main_page=product_info&products_id=915 |  | http://www.mrostoreroom.com/rovema_sealing_bands.html | ROVEMA PACKAGING MACHINES LTD | OEM | 7034079 | 7034079 |  | ENRICHED | MRO | 31162400 | Miscellaneous Fasteners | BAND |  | MATERIAL | STAINLESS STEEL | SIZE | 10 WD X 770 LG MM | STROKE LENGTH |  | TYPE | ENDLESS,SEAL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 812161 | 812161 | TR03-5602552 | METAL BAND/ROVEMA/07034079/TWIN | [16 empty] | https://mropartsdepot.com/catalog/index.php?main_page=product_info&products_id=915 |  |  | ROVEMA | OEM | 7034079 | 7034079 |  | ENRICHED | MRO | 31162400 | Miscellaneous Fasteners | BAND |  | MATERIAL | STAINLESS STEEL | SIZE |  | STROKE LENGTH |  | TYPE | TWIN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 | URL Updated | 588167 | 588167 | GB38-CB41926392 | BAR,SILVER STEEL,1/4" DIA X 13" LONG | BAR,SILVER STEEL,1/4" DIA X 13" LONG | RUBIX | SILVER STEEL 1/4" DIA X 13" LONG - PRODUCT CODE CTL4325028V |  | Rubix | 232206 | ROEBUCK | 1/4SILVERSTEEL | [8 empty] | https://uk.rubix.com/en/g1526006189/p-G1526006189 | https://uk.rubix.com/en/hubs/c-15-26-30-50-20 |  | ROEBUCKRED | OPM | 232206 | 232206 | DISTRIBUTOR NAME:RUBIX | CLEANSED | MRO | 31231120 | Silver steel machined bar stock | BAR |  | TYPE | NOT AVAILABLE | MATERIAL | STEEL | DIMENSIONS | 1/4 DIA X 13 LG IN | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR: SILVER | [46 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 | SUITABLE NM NOT FOUND | 183211 | 183211 | 8353-52229100 | IONIZADOR/640MM/IZS40-640Z-06B/SMC | IZS40-640Z-06B | SMC Corp Of America | [14 empty] | https://us.misumi-ec.com/vona2/detail/221300277576/?HissuCode=IZS40-640Z-06B |  |  | SMC CORPORATION | OPM | IZS40-640Z-06B | IZS40-640Z-06B |  | ENRICHED | MRO | 30260000 | STRUCTURAL MATERIALS | BAR |  | TYPE | IONIZER | MATERIAL | NOT AVAILABLE | DIMENSIONS | 640 LG MM | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 173635 | 173635 | 8353-52067120 | BARRA/MEJ 33X35.50 ST BAR/4000927/SIMCO |  | RODAMIENTOS Y ACCESORIOS SA DE CV | [14 empty] | https://www.radwell.co.uk/en-GB/Buy/SIMCO/SIMCO/4000927/?redirect=true |  |  | SIMCO | OPM | 4000927 | 4000927 | ALTERNATE MANUFACTURE:RODAMIENTOS Y ACCESORIOS SA DE CV,SERIES:BARRA/MEJ | ENRICHED | MRO | 30260000 | Structural Materials | BAR |  | TYPE | ANTISTATIC | MATERIAL | ANODIZED ALUMINUM/STEEL | DIMENSIONS | 35-1/2 LG IN | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | EFFECTIVE LENGTH: 33 IN | [46 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 | NM CHANGED TO BAG_TOOL_completed,unspsc updated | 610907 | 610907 | ID01-5020205 | CUTTING KNIFE BAG 220X81X2.6 MM | 220X81X2.6 MM | KANEFUSA | [14 empty] | URL NOT FOUND |  |  | KANEFUSA | OPM |  |  |  | CLEANSED | NON MRO | 24111507 | Tool bags | BAG | TOOL | CAPACITY |  | MATERIAL |  | NUMBER OF COMPARTMENTS |  | WIDTH | 81 MM | TYPE | CUTTING KNIFE | SIZE DESIGNATION |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | LENGTH | 220 MM | MIL | 2.6 MM | [36 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 379266 | 379266 | BE35-5500165 | BAR 3HAC034172-001 | ABB ART.NR.: 3HAC034172-001 |  | BAR ABB ART.NR.: 3HAC034172-001 | BAR ABB ART.NR.: 3HAC034172-001¦¦BAR ABB ART.NR.: 3HAC034172-001¦¦BAR ABB ART.NR.: 3HAC034172-001 | [12 empty] | https://new.abb.com/products/3HAC034172-001/3hac034172-001 | https://www.industechnic.com/en/product/abb/irb340irb360/3hac034172-001-3hac-034172-001 |  | ABB | OPM | 3HAC034172-001 | 3HAC034172-001 |  | ENRICHED | MRO | 30260000 | Structural Materials | BAR |  | TYPE | NOT AVAILABLE | MATERIAL | CARBON 1600 | DIMENSIONS | 5 DIA X 111.5 LG MM | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 152826 | 152826 | 8349-50494017 | ACCESS,KIT,905-656231,MOUNTING | 905-656231 | Rexnord Industries Inc | ACCESSORY,KIT,TYPE:MOUNTING,MANUFACTURER:REXNORD INDUSTRIES INC,MFR PART NUMBER:905-656231 | [13 empty] | https://www.rexnord.com/products/905-656231 |  |  | REXNORD INDUSTRIES INC | OPM | 905-656231 | 905-656231 |  | ENRICHED | MRO | 30260000 | Structural Materials | BAR |  | TYPE | NOSE-OVER | MATERIAL | NOT AVAILABLE | DIMENSIONS | 12 LG IN | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 90781 | 90781 | 8326-52233188 | KD1620D1 BARRA XRY MOD KD7416AWH |  |  | BARRA DE DETECCIÓN RAYOS X NP KD1620D1 MODELO XRAY KD7416AWH | [13 empty] | https://dl.cdn-anritsu.com/anritsu-infivis/en-us/BrochurePDFs/X-Ray%20Inspection%20Product%20Catalog.pdf |  |  | ANRITSU | OEM | KD1620D1 | KD1620D1 | EQUIPMENT MODEL NUMBER:KD7416AWH | CLEANSED | MRO | 30260000 | Structural Materials | BAR |  | TYPE | DETECTION | MATERIAL | NOT AVAILABLE | DIMENSIONS | NOT AVAILABLE | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Oem Cleansed items,Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 149291 | 149291 | 8349-50469997 | BAR,ANTI STAT,PSH-N,28 3/4 IN | PSH-N | Simco | BAR,ANTI STATIC,LEN:28 3/4 IN,MANUFACTURER:SIMCO,MFR PART NUMBER:PSH-N | [13 empty] | https://www.simco-ion.co.uk/wp-content/uploads/2021/09/PShN_PS_GB.pdf |  |  | SIMCO | OPM | P-SH-N | P-SH-N |  | ENRICHED | MRO | 30264900 | Aluminum Bars | BAR |  | TYPE | ANTISTATIC | MATERIAL | ANODIZED ALUMINUM | DIMENSIONS | 28-3/4 LG IN | MATERIAL SPECIFICATION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL | ADDITIONAL FEATURES | [47 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 759884 | 759884 | RU02-5599593 | INTRINSICALLY SAFE BARRIER;SLA-8DIN-R | [16 empty] | https://www-reallab-ru.translate.goog/catalog/barriers/sla-8din-r/?_x_tr_sl=ru&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  |  | REAL LAB | OPM | SLA-8DIN-R | SLA-8DIN-R |  | ENRICHED | MRO | 39121018 | INTRINSIC SAFETY BARRIERS | BARRIER | INTRINSIC SAFETY | NUMBER OF CHANNELS | 8 | VOLTAGE RATING | 10-30 V | CURRENT RATING | NOT AVAILABLE | INPUT TYPE | NAMUR | OUTPUT TYPE | RELAY | TYPE | DIGITAL SIGNAL CONVERTER | HOUSING WIDTH | 99.4 MM | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE |  | SIL RATING |  | TEMPERATURE RATING | -40 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 309201 | 309201 | AU03-5023482 | SOLENOID DRIVER,KFD0-SD2-EX1.1045,24VDC, | PEPPERL+FUCHS 242031 |  | PEPPERL+FUCHS PN: 242031 KFD0-SD2-Ex1.1045 | [13 empty] | https://www.pepperl-fuchs.com/india/hi/classid_12.htm?view=productdetails&prodid=53135 |  |  | PEPPERL+FUCHS SE | OPM | 242031 | KFD0-SD2-EX1.1045 |  | ENRICHED | MRO | 39121018 | Intrinsic Safety Barriers | BARRIER | INTRINSIC SAFETY | NUMBER OF CHANNELS | 1 | VOLTAGE RATING | 24 VDC | CURRENT RATING | 45 mA | INPUT TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE | SOLENOID DRIVER | HOUSING WIDTH | 20 MM | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | SCREW | SIL RATING | SIL CL 3 | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,EX,FM,CULUS | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 519406 | 519406 | ES37-5578017 | BARRER SEG BAUMER PROFSI3-B250100-ALG-IS |  |  |  | BARRERA DE SEGURIDAD BAUMER PROFSI3-B250100-ALG-IS. OFERTA 0015174539 DE 11/07/2019 | [12 empty] | https://www.kempstoncontrols.co.uk/PROFSI3-B25100-ALG-LS/Baumer/sku/845397 | https://www.baumer.com/medias/__secure__/Baumer_PROFSI3_EN_20190903_DS.pdf?mediaPK=8948594933790 |  | BAUMER S.A | OPM | PROFSI3-B250100-ALG-IS | PROFSI3-B250100-ALG-IS | OFFER NUMBER:0015174539 | ENRICHED | MRO | 39121018 | Intrinsic safety barriers | BARRIER | INTRINSIC SAFETY | NUMBER OF CHANNELS | NOT AVAILABLE | VOLTAGE RATING | 22-120 VDC,90-253 VAC | CURRENT RATING | 4 A AT 250 VAC,1 A AT 30 VDC | INPUT TYPE | NOT AVAILABLE | OUTPUT TYPE | PNP | TYPE | ISOLATION | HOUSING WIDTH | 120 MM | MOUNTING TYPE | DIN RAIL | TERMINAL TYPE | PLUG-IN SCREW | SIL RATING |  | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | EX I(M1),I/IIC,ATEX | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 239161 | 239161 | 8380-50006763 | BARR,TERM BLOCK END,1492-EB3,AB | 1492-EB3 | Allen Bradley | BARRIER,TERMINAL BLOCK END,DETAILS:AB,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:1492-EB3 | [13 empty] | https://rexel-cdn.com/products/ab1492-eb3pdf.pdf?i=802C2EAE-0999-430B-A70C-243B0321E02F | https://buy.eescodist.com/Automation-and-Control/Terminal-Blocks/Terminal-Block-End-Covers-and-Partition-Plates/ROCKWELL-AUTOMATION/Terminal-Block-End-Barrier-1492-W3-W4-WTC3-1492-Series/1492-EB3/p/66246818142-1 | https://www.codale.com/product/detail/39124/ALLEN-BRADLEY-ROCKWELL-1492-EB3 | ALLEN BRADLEY | OPM | 1492-EB3 | 1492-EB3 |  | ENRICHED | MRO | 39121425 | Terminal Block Separator | BARRIER | TERMINAL END | SIZE | 37 WD X 35 HT X 1.5 THK MM | MATERIAL | NOT AVAILABLE | TYPE | SINGLE TIER FEED THRU | COLOUR | GRAY | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,IEC,KC | ADDITIONAL FEATURES | [47 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 26913 | 26913 | 8312-50191033 | BARR,TERM BLOCK END,1492-NM36,AB | 1492-NM36 | Allen Bradley | BARRIER,TERMINAL BLOCK END,DETAILS:AB,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:1492-NM36 |  | Wesco | No WESCO SKU | Allen Bradley | 1492-NM36 | BARRIER,TERMINAL BLOCK END,DETAILS:AB,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:1492-NM36 | [7 empty] | https://rexel-cdn.com/products/ab1492-nm36pdf.pdf?i=AA9556CC-4E4D-407E-A1D6-B21D1593AB5A | https://www.radwell.co.uk/en-GB/Buy/ALLEN%20BRADLEY/ALLEN%20BRADLEY/1492-NM36/?redirect=true | https://buy.eescodist.com/Automation-and-Control/Terminal-Blocks/Terminal-Block-End-Covers-and-Partition-Plates/ROCKWELL-AUTOMATION/Terminal-Block-End-Barrier-1492-HM1-HM3-1492-Series/1492-NM36/p/66246843637-1 | ALLEN BRADLEY | OPM | 1492-NM36 | 1492-NM36 |  | ENRICHED | MRO | 39121425 | Terminal Block Separator | BARRIER | TERMINAL END | SIZE | 39.6 WD X 36.8 HT X 1.8 THK MM | MATERIAL | NOT AVAILABLE | TYPE | SINGLE TIER FEED THRU | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 67601 | 67601 | 8321-52033141 | CLEMA/TAPA/1492-EBJ3/AB | 1492-EBJ3 | Allen Bradley | MANUFACTURER PART No: 1492-EBJ3 / MANUF. NAME: ALLEN BRANDLEY | [13 empty] | https://rexel-cdn.com/products/ab1492-ebj3pdf.pdf?i=3BEE5FAF-E22E-45A7-9E53-0D3D8886072C | https://www.rexelusa.com/p/20013/allen-bradley/terminal-block-end-barrier-gray-for-1492-j3-j4-j6-j10/662073059264/1492-ebj3 | https://buy.eescodist.com/Automation-and-Control/Terminal-Blocks/Terminal-Block-End-Covers-and-Partition-Plates/ROCKWELL-AUTOMATION/Terminal-Block-End-Barrier-1492-J3-J4-J6-J10-J2Q-J3TW-J4M-J3F-JG2Q-JG3-JG3TW-JKD3-JKD3TP-J3P-J3PTP-JTC3-1492-Series/1492-EB | ALLEN BRADLEY | OPM | 1492-EBJ3 | 1492-EBJ3 |  | ENRICHED | MRO | 39121425 | Terminal Block Separator | BARRIER | TERMINAL END | SIZE | 33.3 WD X 60 HT X 1.5 THK MM | MATERIAL | POLYAMIDE | TYPE | FEED THROUGH | COLOUR | GRAY | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 589046 | 589046 | GB38-CB41927349 | TERMINAL,DINRAIL.END PLATE,EW35,KLIPPON | EW35 | WEIDMULLER | KLIPPON EW35(8.5) END BRACKET 38356,RS425-314 | [13 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=0383560000 | https://uk.rs-online.com/web/p/din-rail-terminal-accessories/0425314 | https://www.farnell.com/datasheets/2636890.pdf https://in.element14.com/weidmuller/ew35/end-bracket-symmetric/dp/238466 https://docs.rs-online.com/166d/0900766b8082679f.pdf | WEIDMULLER | OPM | 0383560000 | EW 35 |  | ENRICHED | MRO | 39121425 | Terminal Block Separator | BARRIER | TERMINAL END | SIZE | 8.5 WD X 46 HT X 27 DP MM | MATERIAL | POLYAMIDE 66 | TYPE | BRACKET | COLOUR | BEIGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | TEMPERATURE RATING:-50 TO 100 DEG C;KLIPPON RS425-314 | [46 empty] | UPDATED MPN 1 AS PER WEB SOURCE | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 846171 | 846171 | AT31-5274180 | WEIDMUELLER ENDWINKEL EW35 | 383560000 | WEIDMULLER | [14 empty] | https://catalog.weidmueller.com/catalog/Start.do?localeId=en&ObjectID=0383560000 | https://uk.rs-online.com/web/p/din-rail-terminal-accessories/0425314 | https://www.farnell.com/datasheets/2636890.pdf https://in.element14.com/weidmuller/ew35/end-bracket-symmetric/dp/238466 https://docs.rs-online.com/166d/0900766b8082679f.pdf | WEIDMULLER | OPM | 0383560000 | EW 35 |  | ENRICHED | MRO | 39121425 | Terminal Block Separator | BARRIER | TERMINAL END | SIZE | 8.5 WD X 46 HT X 27 DP MM | MATERIAL | POLYAMIDE 66 | TYPE | BRACKET | COLOUR | BEIGE | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | TEMPERATURE RATING:-50 TO 100 DEG C | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 628337 | 628337 | IE33-CB41908734 | BEARING,UNIT,FLANGED,104120,J120,DODGE | 104120,J120,DODGE |  | TYPE C,3 3/16IN,NON-EXP TYPE,DODGE NO 10 | [13 empty] | https://www.baldwinsupply.com/itemdetail/104120%20DODGE |  |  | DODGE | OPM | 104120 | 104120 | J120 | ENRICHED | MRO | 31171500 | Bearings | BEARING UNIT |  | INSIDE DIAMETER | 3-3/16 IN | BEARING TYPE | ROLLER | MATERIAL | STEEL | LOAD RATING | 4000 LB RADIAL | TYPE | NON-EXPANSION | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MOUNTING TYPE: FLANGED | [44 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 815731 | 815731 | TR03-TR5011513 | DIRSEK (NEER,EMTELL075,3/4 ,BORU ICIN) | [16 empty] | https://www.hubbell.com/taymac/en/Products/Electrical-Electronic/Fittings/Commercial-Fittings/EMT-Conduit-Bodies/p/2195688 | https://hubbellcdn.com/specsheet/ELL075.pdf |  | HUBBELL LIGHTING | OPM | ELL075 | ELL075 |  | ENRICHED | MRO | 39131708 | Electrical conduit fitting body | BODY | CONDUIT | FORM | NOT AVAILABLE | SHAPE | NOT AVAILABLE | HUB SIZE | 3/4 IN | MATERIAL | DIE CAST ALUMINUM | TYPE | EMT LL | NUMBER OF HUBS |  | HUB LOCATION |  | CONNECTION TYPE |  | SIZE | 2-5/16 WD X 5-1/16 LG X 1-5/8 HT IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | NEC, UL | ADDITIONAL FEATURES | FOR PIPE | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 368448 | 368448 | BE33-5053398 | SWAGELOK RACC.RAP.FEM 1/2"NPT.M-INOX 316 | SS-QF8-B-8PM |  | SWAGELOK RACC.RAPIDE SANS RESTRICTION SERIE QF.PARTIE FEMEL.1/2"NPT.M-INOX 316 | SWAGELOK RACC.RAPIDE SANS RESTRICTION SERIE QF.PARTIE FEMEL.1/2"NPT.M-INOX 316¦¦SWAGELOK RACC.RAPIDE SANS RESTRICTION SERIE QF.PARTIE FEMEL.1/2"NPT.M-INOX 316 | Rubix | 2899300395 | SWAGELOK | 0 | 0 | SWAGELOK SS-QF8-B-8PM RACC.RAPIDE SANS RESTRICTION | 0 | [5 empty] | https://products.swagelok.com/en/c/bodies/p/SS-QF8-B-8PM |  |  | SWAGELOK | OPM | SS-QF8-B-8PM | SS-QF8-B-8PM | ALTERNATIVE MANUFACTURER NAME:SICK;ALTERNATIVE PART NUMBER:1218667,WTB26I-24161120A00 | ENRICHED | MRO | 40141616 | Valve Parts Or Accessories | BODY | VALVE | CONNECTION TYPE | 1/2 IN MNPT | MATERIAL | STAINLESS STEEL 316 | VALVE STYLE | NOT AVAILABLE | VALVE SIZE | NOT AVAILABLE | MATERIAL SPECIFICATION |  | PRESSURE RATING | 100 PSIG AT 400 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | QUICK CONNECTOR WITHOUT RESTRICTION QF SERIES | [42 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 209750 | 209750 | 8364-52133667 | HEAD,CODE,402857,LH 53MM | 402857 | Videojet Technologies | HEAD,CODER,DETAILS:LH 53MM,MANUFACTURER:VIDEOJET TECHNOLOGIES,MFR PART NUMBER:402857 | [13 empty] | https://www.inkjetinkfactory.com/products/TTO-spare-parts-DF-53-Print-body-for-left-handed-machine-402857-for-Videojet-TTO-printer.html#.YzaOLqBBzIU |  |  | VIDEOJET | OPM | 402857 | 402857 |  | ENRICHED | MRO | 23153100 | Industrial Machinery Components And Accessories | BODY |  | SIZE | 53 MM | MATERIAL | NOT AVAILABLE | TYPE | DF PRINT | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LEFT-HAND | [48 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 621505 | 621505 | IE32-5584641 | BEARING,BODY,SDV-30030-010,BUH | SDV-30030-010 | BUEHLER | [14 empty] | https://www.zauba.com/import-FOR+SDV/hs-code-8483-hs-code.html |  |  | BUHLER | OEM | SDV-30030-010 | SDV-30030-010 |  | CLEANSED | MRO | 23153100 | Industrial Machinery Components And Accessories | BODY |  | SIZE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | TYPE | BEARING | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 | nm dout | 316164 | 316164 | AU04-5045195 | BUFFER POST, SECOND WHEEL | 8JWFL1674EGRZ7 |  | Offer No. 3001262634 |  | Sacmi | 8JWFL1674EGRZ7 | SACMI P&C | 8JWFL1674EGRZ7 | TAMPONE POST. SECONDA RUOTA |  | BUFFER POST, SECOND | [5 empty] | URL NOT FOUND |  |  | SACMI P&C | OPM | 8JWFL1674EGRZ7 | 8JWFL1674EGRZ7 | OFFER NUMBER:3001262634 | CLEANSED | MRO | 31161601 | Anchor Bolts | BOLT | ANCHOR | DIAMETER | 12 MM | THREAD DIAMETER | M12 | OVERALL LENGTH | 146 MM | THREAD LENGTH | NOT AVAILABLE | MATERIAL | STEEL | TYPE |  | MATERIAL SPECIFICATION |  | THREAD SERIES |  | THREAD PITCH |  | ANCHOR HOOK LENGTH |  | COATING/FINISH | ZINC PLATED | TENSILE STRENGTH |  | THREAD DIRECTION |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | F/BUFFER POST,SECOND WHEEL | [27 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 588354 | 588354 | GB38-CB41926586 | BOLT,ANCHOR,10 X 75MM | BOLT,ANCHOR,10 X 75MM | RUBIX | ANCHOR BOLT 10MMX75MM |  | Rubix |  | WILLENHALL FASTENERS | M10X75THRUBLT/10 | [8 empty] | URL NOT FOUND |  |  | WILLENHALL FASTENERS | OPM | M10X75THRUBLT/10 | M10X75THRUBLT/10 | DISTRIBUTOR NAME:RUBIX | ENRICHED | MRO | 31161601 | Anchor Bolts | BOLT | ANCHOR | DIAMETER | 10 MM | THREAD DIAMETER | NOT AVAILABLE | OVERALL LENGTH | 75 MM | THREAD LENGTH |  | MATERIAL | NOT AVAILABLE | TYPE |  | MATERIAL SPECIFICATION |  | THREAD SERIES |  | THREAD PITCH |  | ANCHOR HOOK LENGTH |  | COATING/FINISH |  | TENSILE STRENGTH |  | THREAD DIRECTION |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [27 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 390457 | 390457 | BE35-LBH18975 | BOUT 801004 BTRCC 6X12/IN316L | CABLOFIL BTRCC 6X12/IN316L |  | CABLOFIL BOUT 801004 BTRCC 6X12/IN316L | CABLOFIL BOUT 801004 BTRCC 6X12/IN316L¦¦CABLOFIL BOUT 801004 BTRCC 6X12/IN316L¦¦CABLOFIL BOUT 801004 BTRCC 6X12/IN316L | [12 empty] | https://assets.legrand.com/pim/NP-FT-GT/FT0137_LCM-02.pdf |  |  | LEGRAND | OPM | 801 004 | 801 004 |  | ENRICHED | MRO | 31161603 | Carriage bolts | BOLT | CARRIAGE | THREAD DIAMETER | M6 | OVERALL LENGTH | NOT AVAILABLE | THREAD LENGTH | 10.5 MM | MATERIAL | STAINLESS STEEL 316L | TYPE |  | MATERIAL SPECIFICATION |  | WIDTH ACROSS FLAT |  | HEAD SIZE | 13 MM DIA | HEAD TYPE |  | THREAD SERIES |  | THREAD PITCH |  | COATING/FINISH |  | HARDNESS |  | TENSILE STRENGTH |  | THREAD DIRECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 3506-1 | ADDITIONAL FEATURES | CABLOFIL BTRCC-6X12/IN316L | [25 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 584157 | 584157 | GB37-CB41915526 | BOLT,EYE,M20,REV SCREW TOP PLATE |  |  | SWING BOLT 611-217 - CRUMB BLOCK. | [13 empty] | https://www.wdscomponents.com/en-gb/swing-bolt-steel-metric-wds-611/c-373/p-462/v-5656 |  |  | WDS COMPONENTS | OPM | 611-217 | 611-217 | DISTRIBUTOR:RUBIX | ENRICHED | MRO | 31161600 | Bolts | BOLT | SWING | EYE INSIDE DIAMETER | 20 MM | THREAD LENGTH | 80 MM | THREAD PITCH | NOT AVAILABLE | THREAD SERIES | NOT AVAILABLE | MATERIAL | HIGH TENSILE STEEL | OVERALL LENGTH | 125 MM | THREAD DIAMETER | M20 | ADDITIONAL FEATURES | REV SCREW TOP PLATE,CRUMB BLOCK | COATING/FINISH | CHEMICAL BLACK | HAZARD CLASS |  | HEAD SIZE |  | MATERIAL SPECIFICATION |  | THREAD DIRECTION |  | TYPE | EYE | [32 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 545184 | 545184 | FR37-LFCHK12322 | CHK VIS T BOLT XLAT 71 50ST | CHK-CHL |  |  | VIS T BOLT XLAT 71 50ST ( LOT DE 50 ) | [12 empty] | https://www.flexlink.com/sites/flexlink/files/imported_tech_docs/14170986896952855874_17FAomarbetad_ALU.pdf |  |  | FLEXLINK SYSTEMS, INC. | OPM/OEM | XLAT 71 | XLAT 71 | ALTERNATE PART NUMBER:CHK-CHL | ENRICHED | MRO | 31161638 | T Bolt | BOLT | T | HEAD SIZE | NOT AVAILABLE | THREAD DIAMETER | M8 | OVERALL LENGTH | 71 MM | THREAD LENGTH | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | TYPE |  | MATERIAL SPECIFICATION |  | THREAD PITCH |  | THREAD SERIES |  | THREAD DIRECTION |  | TENSILE STRENGTH |  | HARDNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | VIS,50ST | [30 empty] | Manufacturer Updated As Per Url | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 118913 | 118913 | 8345-50290202 | BOLT,U,H-286-1,1 IN,1 7/8 IN | H-286-1 | Thomas & Betts Co Inc | BOLT,U,INSIDE_WDTH:1 IN,THD_LEN:1 7/8 IN,MAT:CARBON STEEL,THD_SIZE:5/16 IN,MANUFACTURER:THOMAS & BETTS CO INC,MFR PART NUMBER:H-286- | [13 empty] | https://new.abb.com/products/7TAA004890R0000/h-286-1 |  |  | THOMAS & BETTS | OPM | H 286 1 | H 286 1 |  | ENRICHED | MRO | 31161616 | U Bolts | BOLT | U | INSIDE WIDTH | 1 IN | INSIDE LENGTH | NOT AVAILABLE | LOAD RATING | NOT AVAILABLE | MATERIAL | CARBON STEEL | THREAD DIAMETER | 5/16 IN | THREAD LENGTH | 1-7/8 IN | TYPE |  | MATERIAL SPECIFICATION |  | THREAD PITCH |  | THREAD SERIES |  | COATING/FINISH | GOLD GALVANIZED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | THREADS:18 TPI;LENGTH:3-5/16 IN | [32 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 319702 | 319702 | AU04-EA608566 | BOLT,C/W NUT,UNISTRUT TU 940,PK/40 | UNISTRUT TU 940, |  | UNISTRUT TU 940, | [13 empty] | https://www.schnap.com.au/unistrut-electrical-and-mechanical-support-systems/unistrut-cable-tray/ladder-tray/st5-nuts-and-bolts-joining-hardware-40-pkt-zinc-plated.html | https://shop.sherriff.com.au/she/en/AUD/All-Categories/Tray/Cable-Tray-Ladder-Bolt/NUT-%26-BOLT-PACK-SUPATRAY-ZINC-40PK/p/UNITU940D10 | https://www.schnap.com.au/index.php?dispatch=attachments.getfile&attachment_id=4162 | UNISTRUT | OPM | TU940 | TU940 |  | ENRICHED | MRO | 31161600 | Bolts | BOLT |  | TYPE | JOINING | DRIVE TYPE | NOT AVAILABLE | HEAD | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COATING/FINISH:ZINC PLATED;PACKAGE QUANTITY:40/PACK;C/W NUT | DIMENSIONS |  | MATERIAL |  | MATERIAL SPECIFICATION |  | BARREL LENGTH |  | BARREL DIAMETER |  | BARREL THREAD SIZE |  | MATING SCREW THREAD SIZE |  | THREAD DEPTH |  | THREAD SIZE |  | NUMBER OF THREADS | [29 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 647978 | 647978 | IN03-ED054166 | ROLLER BOLT Ø20/Ø12X34,5 MM,240592 BEPEX |  |  | Ultrasonic cutter spare_NFS | [13 empty] | https://burjauto.com/oem/ms240592-mitsubishi-bolt-rr-susp-stabili/5923476 |  |  | MITSUBISHI ELECTRIC | OPM | 240592 | 240592 | DISTRIBUTOR:BEPEX | ENRICHED | MRO | 31161600 | Bolts | BOLT |  | TYPE | NOT AVAILABLE | DRIVE TYPE | NOT AVAILABLE | HEAD | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | DIMENSIONS | 12 X 20 DIA X 34.5 LG MM | MATERIAL |  | MATERIAL SPECIFICATION |  | BARREL LENGTH |  | BARREL DIAMETER |  | BARREL THREAD SIZE |  | MATING SCREW THREAD SIZE |  | THREAD DEPTH |  | THREAD SIZE |  | NUMBER OF THREADS | [29 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 684617 | 684617 | MA02-5554804 | MANAGER WFM 25 TYPE WG30F/1C-ZM-LN | [16 empty] | https://www.xanthakos.gr/en/heating/burners/lpg-burner/wg30f-weishaupt--p636.html | https://tomlinsonenergy.com.au/wp-content/uploads/2021/03/Weishaupt-gas-burners-WG5-to-WG40-12.5%E2%80%93550-kW-83214102-2019.pdf |  | WEISHAUPT CORPORATION | OPM | WG30F/1C-ZM-LN | WG30F/1C-ZM-LN |  | ENRICHED | MRO | 40101834 | BURNERS | BURNER |  | TYPE | NOT AVAILABLE | CAPACITY | NOT AVAILABLE | FUEL TYPE | LPG | POWER SUPPLY | 60-350 KW | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL | CAST ALUMINUM | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 684619 | 684619 | MA02-5554807 | SERVOMOTEUR D AIR TYPE WG30F/1C-ZM-LN | [16 empty] | https://tomlinsonenergy.com.au/wp-content/uploads/2021/03/Weishaupt-gas-burners-WG5-to-WG40-12.5%E2%80%93550-kW-83214102-2019.pdf |  |  | WEISHAUPT CORPORATION | OPM | WG30F/1C-ZM-LN | WG30F/1C-ZM-LN |  | ENRICHED | MRO | 40101834 | BURNERS | BURNER |  | TYPE | COMPACT DIGITAL | CAPACITY | NOT AVAILABLE | FUEL TYPE | LPG | POWER SUPPLY | 1-230 V,50 Hz | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | -15 TO 40 DEG C | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EMC,LVD,MD,GAR,PED,CE | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP40 | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 684620 | 684620 | MA02-5554809 | SERVOMOTEUR GAZ WG30F/1C-ZM-LN | [16 empty] | https://tomlinsonenergy.com.au/wp-content/uploads/2021/03/Weishaupt-gas-burners-WG5-to-WG40-12.5%E2%80%93550-kW-83214102-2019.pdf |  |  | WEISHAUPT CORPORATION | OPM | WG30F/1C-ZM-LN | WG30F/1C-ZM-LN |  | ENRICHED | MRO | 40101834 | BURNERS | BURNER |  | TYPE | COMPACT DIGITAL | CAPACITY | NOT AVAILABLE | FUEL TYPE | LPG | POWER SUPPLY | 1-230 V,50 Hz | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | -15 TO 40 DEG C | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EMC,LVD,MD,GAR,PED,CE | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IP40 | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 690518 | 690518 | MY43-EM000446 | WEISHAUPT GAS BURNER WG 30N/1-C ZM-LN | 232 326 21 | [15 empty] | https://www.golantec.be/Weishaupt/WG30-WG40%20handleiding%20engels.pdf | http://din.ee/wordpress/wp-content/uploads/2012/09/9W_01_Weishaupt_Gaasip6letid_WG10-WG40_ENG.pdf |  | WEISHAUPT CORPORATION | OPM | 232 326 21 | WG30N/1-C |  | ENRICHED | MRO | 40101834 | BURNERS | BURNER |  | TYPE | GAS | CAPACITY | NOT AVAILABLE | FUEL TYPE | LPG | POWER SUPPLY | NOT AVAILABLE | END CONNECTION | 3/4 IN BSP | TEMPERATURE RATING | -15 TO 40 DEG C | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE | 127 DIA X 420 WD X 480 LG X 460 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60335 | ADDITIONAL FEATURES | ELECTRICAL RATING:230 V,60 Hz,2.8 A,40 TO 350 KW | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 800759 | 800759 | SZ01-SZSX00150 | DIESEL BURNER 107KW-350KW B40 220V | [16 empty] | https://www.mcheat.my/product/bentone-diesel-burner-b40/ |  |  | BENTONE | OEM | B40 | B40 |  | ENRICHED | MRO | 40101834 | Burners | BURNER |  | TYPE | NOT AVAILABLE | CAPACITY | 8 TO 29.5 KG/HR | FUEL TYPE | DIESEL | POWER SUPPLY | 220 V | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER RATING:107 TO 350 KW | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 175951 | 175951 | 8353-52108877 | QUEMADOR/WG 30N/1-CAMLN-3/4"/WEISHAUPT | 1-CAMLN-3/4" | BDI DISTRIBUCIONES DE MEXICO S DE | QUEMADOR L2 | [13 empty] | http://din.ee/wordpress/wp-content/uploads/2012/09/9W_01_Weishaupt_Gaasip6letid_WG10-WG40_ENG.pdf |  |  | WEISHAUPT CORPORATION | OPM | WG30N/1-C | WG30N/1-C |  | ENRICHED | MRO | 40101834 | Burners | BURNER |  | TYPE | SLIDING TWO STAGE/MODULATING | CAPACITY | NOT AVAILABLE | FUEL TYPE | GAS | POWER SUPPLY | 40-350 W | END CONNECTION | BSP | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRESSURE RATING:300 MBAR | [36 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 231634 | 231634 | 8373-52253651 | QUEMADOR WEISHAUPT WG30N/1-C ZM-LN REFUR |  |  | QUEMADOR WEISHAUPT WG30N/1-C ZM-LN MODELO : WG30N/1-C ZM-LN SER.NR: 4006219311-4032237715 Q: 40-350 KW (HI) (CH: 60-350 KW (HI)) M:200 V, 1 ~ , N, 60 HZ 0,82/0,73 KW 10 A GL P: MIN. 15 MAAX. 500 MBAR I2R G20 / G25 NOX-CL. 3 USO:ZONA DEL | [13 empty] | https://www.impexron-gmbh.de/en/brand/weishaupt/wg30-k-1-c-zm-ln-min-55kw-max-275-kw | https://www.ontrium.com/en/usa/brands/weishaupt/wg30-n-1-c-zm-ln | https://www.suner.eu/en/products/wg30n1-c-zm-ln-weishaupt-gas-burner-26490/ | WEISHAUPT CORPORATION | OPM | WG30N/1-C ZM-LN | WG30N/1-C ZM-LN | SERIAL NUMBER:4006219311-4032237715,USE:MOUNT OF THE USE L-5 QUEMERS WEISHAUP FUNCTION:COMBUSION - GENERATOR OF HEATER OF EQUIPMENT:837-DBC- COK1-OVE05-MA0,MB I2R G20/G25 NOX-CL. 3 | ENRICHED | MRO | 41102401 | Gas Burners | BURNER |  | TYPE | GAS | CAPACITY | NOT AVAILABLE | FUEL TYPE | NOT AVAILABLE | POWER SUPPLY | 200 V,10 A,60 Hz,350 KW | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 231490 | 231490 | 8373-52250881 | QUEMADOR WEISHAUPT WG30N/1-C ZM-LN L5 |  |  | QUEMADOR WEISHAUPT WG30N/1-C ZM-LN MODELO : WG30N/1-C ZM-LN SER.NR: 4006219311-4032237715 Q: 40-350 KW (HI) (CH: 60-350 KW (HI)) M:200 V, 1 ~ , N, 60 HZ 0,82/0,73 KW 10 A GL P: MIN. 15 MAAX. 500 MBAR I2R G20 / G25 NOX-CL. 3 USO:ZONA | [13 empty] | https://www.impexron-gmbh.de/en/brand/weishaupt/wg30-k-1-c-zm-ln-min-55kw-max-275-kw | https://www.ontrium.com/en/usa/brands/weishaupt/wg30-n-1-c-zm-ln | https://www.suner.eu/en/products/wg30n1-c-zm-ln-weishaupt-gas-burner-26490/ | WEISHAUPT CORPORATION | OPM | WG30N/1-C ZM-LN | WG30N/1-C ZM-LN | SERIAL NUMBER:4006219311-4032237715;MA01 EQUIPMENT CODE:10080586-10080590-10080594-10080598-0-105180179 2 10079257,MB I2R G20/G25 NOX-CL. 3 USE:KURN ZONE L-5 BURNERS;COMBUSTION - HEAT GENERATOR STRUCTURE 8373-PR-BC-COK1-OVE05- | ENRICHED | MRO | 41102401 | Gas Burners | BURNER |  | TYPE | GAS | CAPACITY | NOT AVAILABLE | FUEL TYPE | NOT AVAILABLE | POWER SUPPLY | 200 V,10 A,60 Hz,350 KW | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 175565 | 175565 | 8353-52108266 | QUEMADOR/ZM-LN-R3/4/WG30N/1-C/WEISHAUPT | WG30N/1-C | PAMBER SA DE CV | QUEMADOR/135-1200/WG30N/1-C/WEISHAUPT | [13 empty] | https://www.suner.eu/en/products/wg30n1-c-zm-ln-weishaupt-gas-burner-26490/ |  |  | WEISHAUPT CORPORATION | OPM | WG30N/1-C | WG30N/1-C | ALTERNATE MANUFACTURER:PAMBER SA DE CV,ALTERNATE PART NUMBER:ZM-LN-R3/4/1-C,135-1200 | ENRICHED | MRO | 40101834 | Burners | BURNER |  | TYPE | GAS | CAPACITY | NOT AVAILABLE | FUEL TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 137161 | 137161 | 8349-50167689 | THERM,089064-R=17 | 089064-R=17 | Flynn Burner Corp | THERMOCOUPLE,MANUFACTURER:FLYNN BURNER CORP,MFR PART NUMBER:089064-R=17 | [13 empty] | http://flynnburner.com/wp-content/uploads/2019/03/ab100a1-2.pdf | https://www.nriparts.com/products/flynn-089064r17-12-miscellaneous/171666 |  | FLYNN BURNER CORPORATION | OPM | 089064.R17 | 089064.R17 |  | ENRICHED | MRO | 40101834 | Burners | BURNER |  | TYPE | EXTRUDED BAND | CAPACITY | NOT AVAILABLE | FUEL TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL | CAST IRON | MOUNTING TYPE |  | OVERALL SIZE | 12 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 520826 | 520826 | ES41-5405704 | QUEMADOR WG20N/1-CZMLN SEDICAL) | WG20N/1-CZMLN SEDICAL) | VIESSMANN | [14 empty] | https://www.suner.eu/en/products/wg20n1-c-zm-ln-r1-w-mf507-weishaupt-gas-burner-chute-26492/ |  |  | VIESSMANN | OPM | WG20N/1-C ZM-LN | WG20N/1-C ZM-LN | ALTERNATE MANUFACTURE NAME:WEISHAUPT | ENRICHED | MRO | 40101834 | Burners | BURNER |  | TYPE | GAS | CAPACITY | NOT AVAILABLE | FUEL TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 521500 | 521500 | ES41-5520167 | QUEMADOR WG30N1-C ZML HORNO L1 UNICON | 9555679 | VIESSMANN | [14 empty] | https://rodavigo.net/es/p/quemador-weishaupt-wg30n1-c-zm-ln-1-ref-viessmann-9555679/5029555679 |  |  | VIESSMANN | OPM | 9555679 | 9555679 |  | ENRICHED | MRO | 40101834 | Burners | BURNER |  | TYPE | OVEN | CAPACITY | NOT AVAILABLE | FUEL TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 176532 | 176532 | 8353-52110562 | QUEMADOR/WG 30N/CC01113075/IMAFORNI | CC01113075 | Imaforni | QUEMADOR WG 30N/1-CZMLN-3/4"- 220V/60HZ-PROL.100MM 13-21-089-2400 Horno (zona CI)_L7 | [13 empty] | https://www.ontrium.com/en/usa/brands/weishaupt/wg30-n-1-c-zm-ln |  |  | WEISHAUPT CORPORATION | OPM | WG30N/1-CZMLN-3/4 | WG30N/1-CZMLN-3/4 | ALTERNATIVE MFR:IMAFORNI;ALTERNATE PART NUMBER:CC01113075 | ENRICHED | MRO | 40101834 | Burners | BURNER |  | TYPE | NOT AVAILABLE | CAPACITY | 295 KW | FUEL TYPE | GAS | POWER SUPPLY | 220 V,60 Hz | END CONNECTION | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CAPACITY RANGE:40-350 KW | [36 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 278025 | 278025 | 8385-52252496 | TOMA ARG 2P+T 10A SCAME 101 6424G |  |  | TOMA ARG 2P+T 10A GRIS 2 MOD SCAME 101-6424G | [13 empty] | https://www.scame.com/catalogue/-/catalogue/Dom%C3%A9stico_Mecanismos_Serie+EVOLUTION/101.6424.G?_gl=1*1o44i0g*_up*MQ..*_ga*MTE2MjY1MjQzNC4xNjY4NjgyNTQ5*_ga_XGSDKLRKLH*MTY2ODY4MjU0OS4xLjEuMTY2ODY4MjU0OS4wLjAuMA.. | https://www.scame.com/catalogue/-/tech-sheet/product?productCode=101.6424.G |  | SCAME | OPM | 101.6424.G | 101.6424.G |  | ENRICHED | MRO | 39121400 | Electrical Lugs Plugs And Connectors | SOCKET | ELECTRICAL | CONFIGURATION | NOT AVAILABLE | NUMBER OF POLES | 2 | VOLTAGE RATING | 250 V | CURRENT RATING | 10 A | CONNECTION TYPE | NOT AVAILABLE | TYPE | ARGENTINE | MOUNTING TYPE | FLUSH | SIZE |  | MATERIAL | ENGINEERING PLASTIC | COLOUR | GREY | HAZARD CLASS |  | CERTIFICATION/STANDARD | IRAM, ROHS | ADDITIONAL FEATURES | NO OF MODULES: 2 | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 487139 | 487139 | ES32-5216213 | CONECTOR FESTO 171157 | 171157 | [15 empty] | https://www.festo.com/us/en/a/download-document/datasheet/171157 |  |  | FESTO | OPM | 171157 | MSSD-C-4P |  | ENRICHED | MRO | 39121406 | Electrical Receptacles | SOCKET | ELECTRICAL | CONFIGURATION | 3 PIN | NUMBER OF POLES | NOT AVAILABLE | VOLTAGE RATING | NOT AVAILABLE | CURRENT RATING | NOT AVAILABLE | CONNECTION TYPE |  | TYPE | PLUG | MOUNTING TYPE |  | SIZE |  | MATERIAL | POLYMER BODY | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | ATS | ATS | ok | 04-05-2023 | 10-05-2023 |  | 487140 | 487140 | ES32-5216214 | CONECTOR FESTO 33295 | 33295 | [15 empty] | https://www.festo.com/us/en/a/download-document/datasheet/33295 |  |  | FESTO | OPM | 33295 | MSSD-V |  | ENRICHED | MRO | 39121406 | Electrical Receptacles | SOCKET | ELECTRICAL | CONFIGURATION | 3 PIN | NUMBER OF POLES | NOT AVAILABLE | VOLTAGE RATING | 0-250 VAC/DC | CURRENT RATING | 16 A | CONNECTION TYPE | SCREW TERMINAL | TYPE | PLUG | MOUNTING TYPE |  | SIZE |  | MATERIAL | POLYMER BODY | COLOUR | BLACK | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, LABS, ROHS, UKCA | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | ATS | ATS | ok | 04-05-2023 | 10-05-2023 | URL UPDATED | 67561 | 67561 | 8321-52032707 | INTERRUPTOR/380-415V/472730/PALAZZOLI | 472730/PALAZZOLI | IMPORTACIONES DINAMICAS EUROPEAS SA | MANUFACTURER PART No: 472730 / MANUF. NAME: PALAZZOLI | [13 empty] | https://parmex.com.mx/marca/palazzoli/472730 | https://www.stockelettrico.it/products/3734-Palazzoli-472730-Presa-parete-modulare-3N16A-IP55/ | https://www.ontrium.com/get.aspx?id=1966988 | PALAZZOLI | OPM | 472730 | 472730 |  | ENRICHED | MRO | 39121406 | Electrical Receptacles | SOCKET | ELECTRICAL | CONFIGURATION | NOT AVAILABLE | NUMBER OF POLES | 3 | VOLTAGE RATING | 380-415 VAC | CURRENT RATING | 16 A | CONNECTION TYPE | NOT AVAILABLE | TYPE | INTERLOCKED THERMOSETTING | MOUNTING TYPE | WALL | SIZE | 92 X 252 X 153 MM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, IMQ, UKR | ADDITIONAL FEATURES | WITH SWITCH | [34 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | ATS | ATS | ok | 04-05-2023 | 10-05-2023 | URL UPDATED | 533641 | 533641 | FR34-LFPRIS00000019 | PRIS_3934561972_SOCLE MARECHAL-DS7C | 39 34 561 172 |  |  | SOCLE METAL BLEU MARECHAL-DS7C Réf. 3934561972 OFFRE N°:000091237 Remplace réf. 50A3934561172 | [12 empty] | https://www.heatingandprocess.com/wp-content/uploads/2016/11/Marechal-Plugs-Sockets-Connectors-Decontactors-Catalogue.pdf | https://www.bpx.co.uk/store/product/3934561172 |  | MARECHAL ELECTRIC | OPM | 3934561172 | 3934561172 | OFFER NUMBER:00009123, REPLACES REFERENCE: 50A3934561172 | ENRICHED | MRO | 39121406 | Electrical Receptacles | SOCKET | ELECTRICAL | CONFIGURATION | NOT AVAILABLE | NUMBER OF POLES | 6 | VOLTAGE RATING | 500 V | CURRENT RATING | 50 A | CONNECTION TYPE | FEMALE | TYPE |  | MOUNTING TYPE | WALL | SIZE |  | MATERIAL | METAL | COLOUR | BLUE | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN,IEC | ADDITIONAL FEATURES | [35 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | ATS | ATS | ok | 04-05-2023 | 10-05-2023 | URL UPDATED | 173329 | 173329 | 8353-52032707 | INTERRUPTOR/380-415V/472730/PALAZZOLI | 472730/PALAZZOLI | IMPORTACIONES DINAMICAS EUROPEAS SA | MANUFACTURER PART No: 472730 / MANUF. NAME: PALAZZOLI | [13 empty] | https://www.palazzoli.com/media/docs/92104-palazzoli-new-tais-125-a-en.pdf | https://www.electrika.com/catalogues/Lewden-Palazzoli/RCD-Units/Metal-Clad-RCD-Switched-Interlocked-Sockets/472730/THERMOSET-INTERLOC-SOCKET-3P-E-16A-380V/part/233804 | https://www.stockelettrico.it/products/3734-Palazzoli-472730-Presa-parete-modulare-3N16A-IP55/ | PALAZZOLI | OPM | 472730 | 472730 | ALTERNATE MANUFACTURE NAME:IMPORTACIONES DINAMICAS EUROPEAS SA | ENRICHED | MRO | 39121406 | Electrical Receptacles | SOCKET | ELECTRICAL | CONFIGURATION | NOT AVAILABLE | NUMBER OF POLES | 3 | VOLTAGE RATING | 400 V | CURRENT RATING | 16 A | CONNECTION TYPE | M25 | TYPE | THERMOSET INTERLOCK | MOUNTING TYPE | WALL | SIZE |  | MATERIAL |  | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN,CE | ADDITIONAL FEATURES | WITH SWITCH | [34 empty] | Model number is not available so we updated Part number as Model number | Production Completed