## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 845838 | 845838 | 8364-50371806 | STRAIN,SUCT,115019,2 NPTX1 1/2 NPT | 115019 | Bell & Gossett | STRAINER,SUCTION,CONN_SIZE:2 NPTX1 1/2 NPT,MANUFACTURER:BELL & GOSSETT,MFR PART NUMBER:115019 | [13 empty] | https://www.nriparts.com/products/bell-gossett-115019-ba-3-pump-parts-and-accessories/594067 |  |  | BELL & GOSSETT | OPM | 115019 | BA-3 |  | ENRICHED | MRO | 40101500 | Ventilation | DIFFUSER |  | TYPE | SUCTION | POWER RATING | NOT AVAILABLE | SHAPE | NOT AVAILABLE | LAMP SIZE | NOT AVAILABLE | SIZE | 2 X 1-1/2 IN | MOUNTING TYPE |  | MATERIAL | CAST IRON | COLOUR |  | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRESSURE RATING:175 PSI,TEMPERATURE RATING:121 DEG C,CONNECTION TYPE:NPT,FLOW RATING:50 CV,START-UP STRAINER:16 MESH BRONZE | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 705123 | 705123 | NO32-5147090 | TAPEHOLDER TESA 6400 PISTOLGREP |  |  |  |  | Rubix | 6139680 | TESA | 0 | 0 | Handhållare f kartongförslutning-Comfort - 06400-00001-02 - TESA | 0 | [5 empty] | https://www.tme.com/in/en/details/tesa-6400/packing/tesa/06400-00001-02/ |  |  | TESA SE | OPM | 06400-00001-02 | TESA 6400 | DISTRIBUTOR PART NUMBER:6139680 | ENRICHED | NON MRO | 27112900 | Dispensing tools | DISPENSER |  | TYPE | HAND HOLDER,TAPE | CAPACITY | NOT AVAILABLE | OVERALL SIZE | 60 WD X 220 LG X 220 HT MM | OPERATION TYPE |  | MOUNTING TYPE |  | BODY MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PISTOL GRIP,COMFORT,F/CARDBOARD CLOSURE | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 658111 | 658111 | IN05-ED059835 | TOYOTA 7592114 WHEEL FK |  |  | Toyota 7592114 WHEEL FK | [13 empty] | https://www.pallet-trucksdirect.co.uk/products/bt-toyota-lpe200-wheel-fork-complete-7592114 |  |  | TOYOTA | OEM | 7592114 | 7592114 |  | CLEANSED | NON MRO | 24101629 | Forklift Or Elevator Accessories Or Supplies | FORK |  | TYPE |  | CAPACITY | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | SIZE |  | HANDLE DETAILS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR WHEEL | [44 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 46538 | 46538 | 8314-50149704 | HANG,CONDU,BL1420,RIGID,1 IN | BL1420 | Cooper B-Line Inc | HANGER,CONDUIT,STYLE:RIGID,CONDUIT_SIZE:1 IN,MANUFACTURER:COOPER B-LINE INC,MFR PART NUMBER:BL1420 | [13 empty] | https://www.eaton.com/us/en-us/skuPage.BL1420.pdf | https://www.eddygroup.com/2570059/product/n/b-line-bl1420 |  | EATON | OPM | BL1420 | BL1420 | ALTERNATE MANUFACTURER NAME:COOPER B-LINE INC | ENRICHED | MRO | 39121701 | Electrical hangers | HANGER | CONDUIT | MATERIAL | STAINLESS STEEL | LOAD CAPACITY | 400 LB | OVERALL SIZE | 1 WD X 1 LG X 1 HT IN | TRADE SIZE | 2 | TYPE | EMT,RIGID | COATING/FINISH | ZINC PLATED | MOUNTING HOLE SIZE | 1/2 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | CUL,UL | ADDITIONAL FEATURES | CONDUIT SIZE:1 IN,W/BOLT AND THREAD | [40 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 46539 | 46539 | 8314-50149705 | HANG,CONDU,BL1400,RIGID,1/2 IN | BL1400 | Cooper B-Line Inc | HANGER,CONDUIT,STYLE:RIGID,CONDUIT_SIZE:1/2 IN,MANUFACTURER:COOPER B-LINE INC,MFR PART NUMBER:BL1400 | [13 empty] | https://www.eaton.com/us/en-us/skuPage.BL1400.pdf | https://www.eddygroup.com/2573251/p/n/b-line-bl1400 |  | EATON | OPM | BL1400 | BL1400 | ALTERNATE MANUFACTURER NAME:COOPER B-LINE INC | ENRICHED | MRO | 39121701 | Electrical hangers | HANGER | CONDUIT | MATERIAL | STEEL | LOAD CAPACITY | 400 LB | OVERALL SIZE | 1 WD X 1 LG X 1 HT IN | TRADE SIZE | 0 | TYPE | EMT,RIGID | COATING/FINISH | ZINC PLATED | MOUNTING HOLE SIZE | 1/2 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | CUL,UL | ADDITIONAL FEATURES | CONDUIT SIZE:1/2 IN,W/BOLT AND THREAD | [40 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 | NM UPDATED AS PER WEB SOURCE | 118886 | 118886 | 8345-50290174 | HANG,CONDU,C-105-1-1/4,CHANNEL CLAMP | C-105-1-1/4 | Thomas & Betts Co Inc | HANGER,CONDUIT,STYLE:CHANNEL CLAMP,CONDUIT_SIZE:1 1/4 IN,MAT:GALV STEEL,MANUFACTURER:THOMAS & BETTS CO INC,MFR PART NUMBER:C-105-1-1 | [13 empty] | https://www.turtle.com/1033341/Product/kindorf-c-105-1-1/4 |  |  | THOMAS & BETTS | OPM | C-105-1-1/4 | C-105-1-1/4 |  | ENRICHED | MRO | 40175300 | Specialized pipe fittings and flanges | STRAP | PIPE | NOMINAL SIZE | 1-1/4 IN | MATERIAL | STEEL | TYPE | IMC,RIGID | MATERIAL SPECIFICATION |  | COATING/FINISH | GALVANIZE CHROME | MOUNTING HOLE/SLOT SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CHANNEL CLAMP,CONDUIT HANGER | [42 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK_NM CHANGED,URL CHANGED | 04-05-2023 | 2023-05-10 | CONFLICT W.R.T INPUT PROCESSED BASED ON OUTPUT | 319710 | 319710 | AU04-EA608575 | BRACKET,QUESTION MARK SHAPE,85MM/MTL | UNISTRUT UNCL10 |  | UNISTRUT UNCL10 | [13 empty] | https://cdn2.ideal.co.nz/medias/sys_Nzideal/sheets/sheets/h3c/h54/8833737457694/UnistrutNZCat-Clamps.pdf |  |  | UNISTRUT | OPM | UNCL-10 | UNCL-10 | DISTRIBUTOR NAME:MMEM,HAYMANS | ENRICHED | MRO | 31162306 | Mounting Hangers | HANGER | PIPE | PIPE SIZE |  | MATERIAL |  | LOAD CAPACITY | 1.75 KN | TYPE | CLEVIS | COATING/FINISH | HOT DIP GALVANISED | HANGER MOUNTING SIZE |  | HEIGHT | 70 MM | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [39 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 403748 | 403748 | BH02-5543422 | COVER + CONTROL UNIT 72032533 | 631275 |  |  |  | Deska | 98713 | DEMAG | 631275 | Cover + Control Unit | [7 empty] | https://shop.mhe-demag.com/mys/en/ELECTRICAL-EQUIPMENT-HOOD/p?p=ektogzWuj7%2B9O4cOd17ZNA%3D%3D_72032533 | https://store.konecranes.com/dcu/en/ELECTRICAL-EQUIPMENT-HOOD/p?p=ektogzWuj7%2B9O4cOd17ZNA%3D%3D_72032533 |  | DEMAG CRANES & COMPONENTS GMBH | OPM | 72032533 | DC16/25 | ALTERNATE PART NUMBER:631275,DISTRIBUTOR PART NUMBER:98713 | ENRICHED | MRO | 24101600 | Lifting equipment and accessories | HOOD |  | TYPE | ELECTRIC | SIZE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | W/O TRANSFORMER,ELECTRONIC MODULE,W/4 X HEXAGONAL SOCKET-HEAD SCREW M4 X 8 MM,1 X CONTROL VALVE | CERTIFICATION/STANDARD | [47 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 538916 | 538916 | FR36-5452167 | DEMA CAPOT ELECT DC16/25 72032533 INGFA | 72032533 |  |  | CAPOT DC16/25 AVEC CARTE ELECTRONIQUE POUR LE MOUVEMENT DE LEVAGE- SANS TRANSFORMATEUR-SANS MODULE ELECTRONIQUE POUR LE CHARIOT | [12 empty] | https://shop.mhe-demag.com/mys/en/ELECTRICAL-EQUIPMENT-HOOD/p?p=ektogzWuj7%2B9O4cOd17ZNA%3D%3D_72032533 | https://store.konecranes.com/dcu/en/ELECTRICAL-EQUIPMENT-HOOD/p?p=ektogzWuj7%2B9O4cOd17ZNA%3D%3D_72032533 |  | DEMAG CRANES & COMPONENTS GMBH | OEM | 72032533 | DC16/25 | EQUIPMENT MODEL:DC16/25 | ENRICHED | MRO | 24101600 | Lifting equipment and accessories | HOOD |  | TYPE | ELECTRIC | SIZE | NOT AVAILABLE | MATERIAL | NOT AVAILABLE | MOUNTING TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | W/O TRANSFORMER,ELECTRONIC MODULE,W/4 X HEXAGONAL SOCKET-HEAD SCREW M4 X 8 MM,1 X CONTROL VALVE | CERTIFICATION/STANDARD | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 40169 | 40169 | 8312-50489707 | IND,SIGHT FLOW,947A0004H01,3/4 IN | 947A0004H01 | Frick | INDICATOR,SIGHT FLOW,FITTING_SIZE:3/4 IN,MAT:ACRYLIC AND STEEL,MANUFACTURER:FRICK,MFR PART NUMBER:947A0004H01 | [13 empty] | https://www.industrialrefrigerationparts.com/frick-947a0004h01-indr-flo-thru-3-4-npti |  |  | FRICK | OPM | 947A0004H01 | 947A0004H01 |  | ENRICHED | MRO | 41112510 | Sight flow indicators | INDICATOR | SIGHT FLOW | TYPE | FLO-THRU | FLOW RATE | NOT AVAILABLE | RATING | NOT AVAILABLE | CONNECTION TYPE/SIZE | 3/4 IN NPT | MATERIAL | ACRYLIC,STEEL | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 |  | 793451 | 793451 | SK31-5619715 | ROZHRANIE ZBERNICE DFE32B /18213456/ SEW | 18213456 | SEW-EURODRIVE SK S.R.O. | [14 empty] | https://download.sew-eurodrive.com/download/pdf/16912411.pdf |  |  | SEW-EURODRIVE | OPM | 18213456 | 18213456 |  | ENRICHED | MRO | 45111807 | Interfaces | INTERFACE | COMMUNICATION | FUNCTION | FIELDBUS | INPUT RATING | 24 VDC,200 mA,3 W | NUMBER OF PORTS |  | TYPE |  | CONNECTION TYPE | RJ-45 | SIZE |  | MATERIAL |  | MOUNTING TYPE | RAIL | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SPEED:300 RPM | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 |  | 226326 | 226326 | 8373-52129941 | INTERFACE SERIAL RS422/RS484 EL 6021 |  |  | INTERFACE SERIAL TIPO:RS422/RS484 EL-6021 MARCA:BECKHOFF USO:MAQUINA EMPACADORA BOSCH 301 FUNCIÓN:PUERTO DE COMUNICACIÓN SERIAL CON UN DISPOSITIVO LOCAL MATERIAL:PLASTICO N°PARTE:8-110-680-194 | [13 empty] | https://www.beckhoff.com/en-en/products/i-o/ethercat-terminals/el6xxx-communication/el6021.html |  |  | BECKHOFF AUTOMATION | OPM | EL6021 | EL6021 | BOSCH 301 PACKAGING MACHINE FUNCTION,SERIAL COMMUNICATION PORT WITH A LOCAL DEVICE | ENRICHED | MRO | 45111807 | Interfaces | INTERFACE | COMMUNICATION | FUNCTION | ETHERNET | INPUT RATING | 500 V,170 mA | NUMBER OF PORTS |  | TYPE |  | CONNECTION TYPE | RS-422/484 | SIZE | 100 X 68 X 12 MM | MATERIAL | PLASTIC | MOUNTING TYPE | DOUBLE SLOT AND KEY CONNECTION | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL,ATEX,IECEX,CFMUS | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 |  | 402616 | 402616 | BH02-5528783 | INTERFACE RS485 1734 485ASC ROCK-39 | LG8312 | [15 empty] | https://literature.rockwellautomation.com/idc/groups/literature/documents/in/1734-in588_-en-p.pdf |  |  | ALLEN-BRADLEY | OPM | 1734-485ASC | LG8312 |  | ENRICHED | MRO | 43201500 | System boards processors interfaces or modules | MODULE | INTERFACE | TYPE | RS-485 | VOLTAGE RATING | 24 VDC | CURRENT RATING |  | FREQUENCY |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | POWER RATING | 0.75 W | MEMORY CAPACITY |  | CONNECTION | RS-485 | MOUNTING | DIN RAIL,BASE | MESH SIZE |  | SIZE | 75.5 X 56 X 12 MM | MATERIAL |  | COATING/FINISH |  | GRADE |  | ADDITIONAL FEATURES | ROCK-39 | [29 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 |  | 492432 | 492432 | ES32-5409396 | INTERFACE SIKO IF09P-0001 | [16 empty] | https://www.siko-global.com/adbimage/25151/asset_original/user-manual-if09p-1.pdf |  |  | SIKO | OPM | IF09P-0001 | IF09P-0001 |  | ENRICHED | MRO | 45111807 | Interfaces | INTERFACE | COMMUNICATION | FUNCTION | PROFIBUS | INPUT RATING | 24 VDC | NUMBER OF PORTS |  | TYPE |  | CONNECTION TYPE | RS-485 | SIZE |  | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 |  | 472477 | 472477 | EG02-5469833 | PANIL VIEW COUNSH SIMATIC PANEL PC6778 | [16 empty] | https://support.industry.siemens.com/cs/pd/343714?pdti=td&dl=en&lc=en-GR |  |  | SIEMENS AG | OPM | 6AV7801-0AA00-1AC0 | PC 677 | SERIES:COUNSH SIMATIC | ENRICHED | MRO | 43201500 | System boards processors interfaces or modules | DISPLAY | OPERATOR INTERFACE | DISPLAY TYPE | TFT | DISPLAY SIZE | 12 IN | RESOLUTION | 800 X 600 PX | ELECTRICAL RATING | 110/230 VAC,24 VDC,50/60 Hz | INTERFACE TYPE | USB | TYPE |  | MEMORY | 256 MB TO 2 GB | MOUNTING TYPE | PANEL | ENCLOSURE | IP65 | SIZE | 483 X 310 MM | TEMPERATURE RATING | 5 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,EN 55011/61000-6-4/61000-6-2 | ADDITIONAL FEATURES | VIEW | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED,URL CHANGED | 04-05-2023 | 2023-05-10 |  | 534963 | 534963 | FR35-5519313 | OPERATEUR PANEL 6SL32550AA004JA2 | [16 empty] | https://docs.rs-online.com/f62b/0900766b817342f7.pdf | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/6SL3255-0AA00-4JA2 |  | SIEMENS AG | OPM | 6SL3255-0AA00-4JA2 | 6SL3255-0AA00-4JA2 |  | ENRICHED | MRO | 43201500 | System boards processors interfaces or modules | DISPLAY | OPERATOR INTERFACE | DISPLAY TYPE | LCD COLOUR | DISPLAY SIZE |  | RESOLUTION | 320 X 240 PX | ELECTRICAL RATING |  | INTERFACE TYPE |  | TYPE |  | MEMORY |  | MOUNTING TYPE | PANEL | ENCLOSURE | IP55 | SIZE | 70 X 106.85 X 19.65 MM | TEMPERATURE RATING | -40 TO 70 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60721-3-3:2002 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED,URL CHANGED | 04-05-2023 | 2023-05-10 |  | 408842 | 408842 | CH31-5589386 | KP400 COMFORT | 6AG1124-1DC01-4AX0 | SIEMENS | 6AG1124-1DC01-4AX0 | 6AG1124-1DC01-4AX0 | [12 empty] | https://mall.industry.siemens.com/teddatasheet/?format=PDF&caller=Mall&mlfbs=6AG1124-1DC01-4AX0&language=en | https://icdn.tradew.com/file/201606/1569362/pdf/7104242.pdf |  | SIEMENS AG | OPM | 6AG1124-1DC01-4AX0 | KP400 |  | ENRICHED | MRO | 43201500 | System boards processors interfaces or modules | DISPLAY | OPERATOR INTERFACE | DISPLAY TYPE | TFT | DISPLAY SIZE | 95 X 53.8 MM | RESOLUTION | 480 X 272 PX | ELECTRICAL RATING | 24 VDC | INTERFACE TYPE | USB,RS-422/485 | TYPE | COMFORT | MEMORY | 4 MB | MOUNTING TYPE | PANEL | ENCLOSURE | IP20/65 | SIZE | 152 X 188 X 49 MM | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60068-2-38 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 812744 | 812744 | TR03-5604776 | ETHERNET UNIT/GRUNDFOS/CIU 500 | [16 empty] | https://product-selection.grundfos.com/in/products/cimciu/cimciu-profinet-modbus-tcp-bacnet-ip-grm-ip/ciu-500-ethernet-profinet-modbus-tcp-bacnet-ip-grm-ip-96753894?tab=variant-specifications | https://modbus.org/viewdevice.php?id=1221 | https://no.profibus.com/products/product-guide/cimciu-500 | GRUNDFOS PUMPS | OPM | CIU 500 | CIU 500 |  | ENRICHED | MRO | 45111807 | Interfaces | INTERFACE | COMMUNICATION | FUNCTION | ETHERNET UNIT,MODBUS TCP | INPUT RATING | 24 TO 240 VAC/DC | NUMBER OF PORTS | NOT AVAILABLE | TYPE | NETWORK GATEWAY | CONNECTION TYPE |  | SIZE |  | MATERIAL |  | MOUNTING TYPE | WALL | HAZARD CLASS |  | CERTIFICATION/STANDARD | PROFINET Z10712 | ADDITIONAL FEATURES | [39 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED,URL CHANGED | 04-05-2023 | 2023-05-10 |  | 517011 | 517011 | ES37-5441084 | TERMINAL 5.7" SNT COLOR NS5-SQ11-V2 | [16 empty] | https://www.digikey.com/en/products/detail/omron-automation-and-safety/NS5-SQ11-V2/3475874 | https://www.indiamart.com/proddetail/ns5-sq11-v2-omron-hmi-2850209227197.html |  | OMRON ELECTRONICS | OPM | NS5-SQ11-V2 | NS5-SQ11-V2 |  | ENRICHED | MRO | 43201500 | System boards processors interfaces or modules | DISPLAY | OPERATOR INTERFACE | DISPLAY TYPE | SNT COLOUR | DISPLAY SIZE | 5-11/16 IN | RESOLUTION |  | ELECTRICAL RATING | 24 VDC | INTERFACE TYPE | MEMORY CARD | TYPE | TERMINAL | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE | IP65 | SIZE |  | TEMPERATURE RATING | 0 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 |  | 495121 | 495121 | ES32-5484307 | PANTALLA OMRON NS5-MQ00-V2 BILOPACK | NS5-MQ00-V2 |  |  | . | [12 empty] | https://www.radwell.com/Buy/OMRON/OMRON/NS5-MQ00-V2/ | https://icdn.tradew.com/file/201606/1569362/pdf/7186608.pdf |  | OMRON ELECTRONICS | OPM | NS5-MQ00-V2 | NS5-MQ00-V2 |  | ENRICHED | MRO | 43201500 | System boards processors interfaces or modules | DISPLAY | OPERATOR INTERFACE | DISPLAY TYPE | TFT | DISPLAY SIZE | 5-11/16 IN | RESOLUTION | 320 X 240 PX | ELECTRICAL RATING | 24 VDC | INTERFACE TYPE | MEMORY CARD | TYPE | LADDER MONITOR | MEMORY |  | MOUNTING TYPE | PANEL | ENCLOSURE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BILOPACK | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED,URL ADDED | 04-05-2023 | 2023-05-10 |  | 408034 | 408034 | CH31-5329681 | GRAFISCHES BEDINTERMINAL FUER ATV71 |  |  | VW3A1101 STECKBARES GRAFIKDISPLAY ATV61/71 | VW3A1101 STECKBARES GRAFIKDISPLAY ATV61/71 | [12 empty] | https://www.se.com/in/en/product/download-pdf/VW3A1101 | https://us.rs-online.com/product/schneider-electric/vw3a1101/70008309/ |  | SCHNEIDER ELECTRIC | OPM | VW3A1101 | VW3A1101 |  | ENRICHED | MRO | 43201500 | System boards processors interfaces or modules | DISPLAY | OPERATOR INTERFACE | DISPLAY TYPE | LCD | DISPLAY SIZE |  | RESOLUTION | 240 X 160 PX | ELECTRICAL RATING | 380 TO 480 VAC | INTERFACE TYPE |  | TYPE | REMOTE GRAPHIC TERMINAL | MEMORY | DOOR | MOUNTING TYPE |  | ENCLOSURE | IP54 | SIZE |  | TEMPERATURE RATING | -15 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,ROHS,UL | ADDITIONAL FEATURES | FOR ATV71 | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 656032 | 656032 | IN05-ED045712 | MT IND560 DNET CARD PART CODE 72193580 | 72193580 | METTLER TOLEDO | Mettler Toledo IND560 - Devicenet card Part Code 72193580 | [13 empty] | https://www.mt.com/mt_ext_files/Editorial/Generic/6/IND780_Tech_Brief_Editorial-Generic_1162324866412_files/INDB0015-3E_IND780_Tech_Brief_EN.pdf |  |  | METTLER TOLEDO | OPM | 72193580 | 72193580 | BRAND:DEVICENET | ENRICHED | MRO | 45111807 | Interfaces | INTERFACE | COMMUNICATION | FUNCTION | PRIMARY | INPUT RATING | 100 TO 240 V | NUMBER OF PORTS | NOT AVAILABLE | TYPE | CARD | CONNECTION TYPE |  | SIZE | 235 DIA X 299 WD X 200 HT MM | MATERIAL | STAINLESS STEEL | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | FOR MT IND560 | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 |  | 554681 | 554681 | FR40-5559414 | XBT F/ AFFICHEUR SALLE POUDRES | XBT-F024110 | [15 empty] | https://www.standard-exchange-industry.com/en/computer-numerical-control-cnc/handwheel-and-hmi/420-xbt-f024110-hmi-telemecanique.html | https://www.se.com/au/en/product/XBTF024110/graph-terminal-10-color/ |  | SCHNEIDER ELECTRIC | OPM | XBT-F024110 | XBT-F024110 |  | ENRICHED | MRO | 43201500 | System boards processors interfaces or modules | DISPLAY | OPERATOR INTERFACE | DISPLAY TYPE | COLOUR | DISPLAY SIZE | 10-3/8 IN | RESOLUTION |  | ELECTRICAL RATING | 24 VDC,35 W | INTERFACE TYPE | HMI | TYPE |  | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,UL | ADDITIONAL FEATURES | FOR POWDER ROOM | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED,URL ADDED | 04-05-2023 | 2023-05-10 |  | 848244 | 848244 | IT03-5436462 | PANNELLO AST3301-T1-D24 24V DC | COD.PFXST3301TAD | [15 empty] | https://www.pro-face.com/product/hmi/st3000/spec/ast3301_t1_d24.html | https://www.pro-face.com/product/hmi/st3000/spec/ast3301_t1_d24.html |  | SCHNEIDER ELECTRIC | OPM | AST3301-T1-D24 | PFXST3301TAD |  | ENRICHED | MRO | 43201500 | System boards processors interfaces or modules | DISPLAY | OPERATOR INTERFACE | DISPLAY TYPE | TFT COLOUR LCD | DISPLAY SIZE | 5-11/16 IN | RESOLUTION | 320 X 240 PX | ELECTRICAL RATING | 24 VDC | INTERFACE TYPE | RS-422/485 | TYPE |  | MEMORY | 6 MB FLASH | MOUNTING TYPE | PANEL | ENCLOSURE | IP65 | SIZE | 167.5 WD X 135 HT X 59.5 DP MM | TEMPERATURE RATING | -20 TO 60 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL,CUL,CE,ROHS | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 |  | 249469 | 249469 | 8380-52257635 | MOD,INTER,10058054,LASER -7000_SMARTLASE | 10058054 | Markem Corp | MODULE,INTERFACE,DETAILS:Laser -7000_SmartLase,MANUFACTURER:MARKEM CORP,MFR PART NUMBER:10058054 | [13 empty] | https://www.radwell.com/en-US/Buy/DOVER%20CORPORATION/MARKEM%20IMAJE/10058054/ | https://www.volza.com/p/interface-equipment/import/coo-india/hsn-code-84669390/ |  | MARKEM IMAJE | OEM | 10058054 | 10058054 | SERIES:LASER -7000 SMARTLASE,SL REMOTE | ENRICHED | MRO | 43201500 | System boards processors interfaces or modules | DISPLAY | OPERATOR INTERFACE | DISPLAY TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING |  | INTERFACE TYPE |  | TYPE | MODULE | MEMORY |  | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED,URL ADDED | 04-05-2023 | 2023-05-10 |  | 249342 | 249342 | 8380-52254279 | ETHERNET,DUAL PORT,P-R2-F3R0-P2,INTERFAC | P-R2-F3R0-P2 | Grace Engineered Products Inc | ETHERNET,DUAL PORT,DETAILS:INTERFAC,MANUFACTURER:GRACE ENGINEERED PRODUCTS INC,MFR PART NUMBER:P-R2-F3R0-P2 | [13 empty] | https://pim.galco.com/Manufacturer/Grace%20Technologies/TechDocument/Data%20Sheet/p-r2-f3r0-p2_dat.pdf | https://shop.graceport.com/products/p-r2-f3r0-p2 |  | GRACE ENGINEERED PRODUCTS INC | OPM | P-R2-F3R0-P2 | P-R2-F3R0-P2 |  | ENRICHED | MRO | 45111807 | Interfaces | INTERFACE | COMMUNICATION | FUNCTION | ETHERNET | INPUT RATING | 250 VAC,10 A | NUMBER OF PORTS | 2 | TYPE | PANEL | CONNECTION TYPE | RJ-45,FEMALE | SIZE | 113.03 WD X 43.688 HT X 40.64 DP MM | MATERIAL | ALUMINIUM | MOUNTING TYPE | SURFACE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [39 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 310456 | 310456 | AU03-EA603849 | KEYSTEEL,6X6MM,305MM LG,GP STL | PRECISION BRAND 04020 |  | PRECISION BRAND 04020 | [13 empty] | https://www.tequipment.net/Precision-Brand/04020/Keystock/#description |  |  | PRECISION BRAND PRODUCTS | OPM | 4020 | 4020 |  | ENRICHED | NON MRO | 31163208 | Keystock | KEY STOCK |  | TYPE | SQUARE METRIC | CROSS SECTION SIZE | NOT AVAILABLE | LENGTH | 12 IN | MATERIAL | STEEL | WIDTH | 6 MM | THICKNESS | 6 MM | TENSILE STRENGTH |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FINISH:GOLD DICHROMATE PLATED | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 145788 | 145788 | 8349-50287365 | ASSY,FAB,100-00007,KNUCKLE | 100-00007 | Sifter Parts & Service Inc | ASSEMBLY,FABRICATED,TYPE:KNUCKLE,MANUFACTURER:SIFTER PARTS & SERVICE INC,MFR PART NUMBER:100-00007 | [13 empty] | https://sifterparts.com/pdf/Stabilizer-Assembly.pdf |  |  | SIFTER PARTS & SERVICE INC | OPM | 100-00007 | 100-00007 |  | ENRICHED | MRO | 26111514 | Knuckle Joints | KNUCKLE |  | NUMBER OF HOLES/SLOTS | NOT AVAILABLE | MOUNTING HOLE/SLOT SIZE | NOT AVAILABLE | SIZE | NOT AVAILABLE | TYPE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FABRICATED | [44 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 379137 | 379137 | BE35-5474131 | LANS 1000 MM - NR. 512 449 31 |  |  | LANS 1000 MM - NR. 512 449 31 | LANS 1000 MM - NR. 512 449 31¦¦LANS 1000 MM - NR. 512 449 31¦¦LANS 1000 MM - NR. 512 449 31 | Rubix | 3999900116 | NONE | 0 | 0 | LANS BLAUW + MOF 1000MM-1/4" 51244931 | 0 | [5 empty] | https://www.gspen.co.uk/st007-lance-with-moulded-handle-1000mm-1-4-m-blue-with-nozzle-protector-and-bend.html |  |  | G&S PENRITH | OPM | 51244931 | ST007 | DISTRIBUTOR PART NUMBER:3999900116 | ENRICHED | MRO | 27110000 | Hand tools | LANCE |  | TYPE | NOT AVAILABLE | INLET SIZE | 1/4 IN MALE | OUTLET SIZE | 1/4 IN FEMALE | MATERIAL | STAINLESS STEEL | OVERALL LENGTH | 1000 MM | FLOW RATING | NOT AVAILABLE | PRESSURE RATING | 400 BAR | TEMPERATURE RANGE | 150 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | COLOR:BLUE,W/MOULDED HANDLE,NOZZLE PROTECTOR AND BEND | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 6023 | 6023 | 8301-52066840 | TALABARTE NR35 1,3M HERCULES HL032YEACT |  |  | TALABARTE; TIPO: PARA TRABALHO EM ALTURA (NR35); TAMANHO: 1,3M; CONECTORES: 3; FIBRA DO CADARÇO: POLIÉSTER; COR: AZUL ESCURO E VERDE TURQUESA; CA: 39650; NBR: 15834:2010, 14629:2010, 15837/2010; FABRICANTE: HERCULES; REFERÊNCIA: HL032YEACT | TALABARTE; TIPO: PARA TRABALHO EM ALTURA (NR35); TAMANHO: 1,3M; CONECTORES: 3; FIBRA DO CADARÇO: POLIÉSTER; COR: AZUL ESCURO E VERDE TURQUESA; CA: 39650; NBR: 15834:2010, 14629:2010, 15837/2010; FABRICANTE: HERCULES; REFERÊNCIA: HL032YEACT | [12 empty] | https://hercules.com.br/en/produto/work-at-height/lanyards/hl032yeact-lanyard/ | https://www.superepi.com.br/talabarte-hercules-hl032yeact-linha-brave-duplo-com-abs-e-fita-tubular-2034-p1052673 |  | HERCULES SLR | OPM | HL032YEACT | HL032YEACT |  | ENRICHED | NON MRO | 46182302 | Fall Protection Lanyard | LANYARD | SAFETY | PACKAGE QUANTITY | NOT AVAILABLE | END CONNECTION | 1 CLASS T CONNECTOR,2 CLASS A CONNECTOR | TYPE | DOUBLE LEG | DIAMETER | NOT AVAILABLE | MATERIAL | POLYESTER | ADDITIONAL FEATURES | NBR:15834:2010,14629:2010,15837/2010 | COLOR | DARK BLUE AND TURQUOISE GREEN | LENGTH | 1.3 M | [44 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 14551 | 14551 | 8308-52066840 | TALABARTE NR35 1,3M HERCULES HL032YEACT |  |  | TALABARTE; TIPO: PARA TRABALHO EM ALTURA (NR35); TAMANHO: 1,3M; CONECTORES: 3; FIBRA DO CADARÇO: POLIÉSTER; COR: AZUL ESCURO E VERDE TURQUESA; CA: 39650; NBR: 15834:2010, 14629:2010, 15837/2010; FABRICANTE: HERCULES; REFERÊNCIA: HL032YEACT | TALABARTE; TIPO: PARA TRABALHO EM ALTURA (NR35); TAMANHO: 1,3M; CONECTORES: 3; FIBRA DO CADARÇO: POLIÉSTER; COR: AZUL ESCURO E VERDE TURQUESA; CA: 39650; NBR: 15834:2010, 14629:2010, 15837/2010; FABRICANTE: HERCULES; REFERÊNCIA: HL032YEACT | [12 empty] | https://hercules.com.br/en/produto/work-at-height/lanyards/hl032yeact-lanyard/ | https://www.superepi.com.br/talabarte-hercules-hl032yeact-linha-brave-duplo-com-abs-e-fita-tubular-2034-p1052673 |  | HERCULES SLR | OPM | HL032YEACT | HL032YEACT |  | ENRICHED | NON MRO | 46182302 | Fall Protection Lanyard | LANYARD | SAFETY | PACKAGE QUANTITY | NOT AVAILABLE | END CONNECTION | 1 CLASS T CONNECTOR,2 CLASS A CONNECTOR | TYPE | DOUBLE LEG | DIAMETER | NOT AVAILABLE | MATERIAL | POLYESTER | ADDITIONAL FEATURES | NBR:15834:2010,14629:2010,15837/2010 | COLOR | DARK BLUE AND TURQUOISE GREEN | LENGTH | 1.3 M | [44 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 |  | 646679 | 646679 | IN03-ED046129 | CLAMP METER 302+ FLUKE | [16 empty] | https://www.fluke.com/en-in/product/electrical-testing/clamp-meters/fluke-302-plus |  |  | FLUKE CORPORATION | OPM | 302+ | 302+ |  | ENRICHED | MRO | 41113601 | Ammeters | AMMETER |  | TYPE | CLAMP | ACCURACY | +/-1.5 % | DISPLAY TYPE | DIGITAL | DIAL SIZE |  | RESOLUTION |  | MEASURING RANGE | 400 TO 600 VAC | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CSA | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 548844 | 548844 | FR38-5593378 | G012 EXTENSIOMETRE FL2K0250AA LG 120 |  |  |  | G012 EXTENSIOMETRE FL2K0250AA LG 120 REF 0001300690 OFFRE ZOFR 20072305 DU 27/08/2020 | [12 empty] | https://www.impexron.co.uk/FL2K0250AA_V230_V-England_Sales_Price-Aetna-4334831-15519 |  |  | AETNA BEARING COMPANY | OPM | FL2K0250AA | FL2K0250AA | REFERENCE NUMBER:G012 | ENRICHED | MRO | 41110000 | Measuring And Observing And Testing Instruments | METER |  | TYPE | EXTENTION | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | CONNECTION TYPE | NOT AVAILABLE | DISPLAY TYPE |  | POWER SUPPLY | 230 V | MOUNTING TYPE |  | SIZE | 120 LG M | ENCLOSURE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 13361 | 13361 | 8308-52053500 | SENSOR DE CORRENTE DO MULTIMEDIDOR |  |  | SENSOR DE CORRENTE MULTIMEDIDOR POWER LOGIC PM210MG SCHINEIDER | SENSOR DE CORRENTE MULTIMEDIDOR POWER LOGIC PM210MG SCHINEIDER | [12 empty] | https://www.se.com/in/en/product/PM210MG/pm210-power-meter-unit-with-backlite-green-lcd-display/ |  |  | SCHNEIDER ELECTRIC | OPM | PM210MG | PM210MG |  | ENRICHED | MRO | 41110000 | Measuring And Observing And Testing Instruments | METER |  | TYPE | CURRENT SENSOR POWER | MEASURING RANGE | NOT AVAILABLE | ACCURACY | +/-1 % | CONNECTION TYPE | NOT AVAILABLE | DISPLAY TYPE | LCD | POWER SUPPLY | 125 TO 250 VDC | MOUNTING TYPE | FLUSH | SIZE | 96 WD X 96 HT X 69 DP MM | ENCLOSURE | IP30/52 | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CULUS,UL 508,IEC 61010-1 | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_NM CHANGED | 04-05-2023 | 2023-05-10 |  | 179420 | 179420 | 8353-52150913 | AMPERIMETRO/-/373/FLUKE | 373/FLUKE | IMPORTACIONES DINAMICAS EUROPEAS SA | REF::TRAVERS # 96-017-318 | [13 empty] | https://www.fluke.com/en-in/product/electrical-testing/clamp-meters/fluke-373 |  |  | FLUKE CORPORATION | OPM | 373 | 373 | REFERENCE NUMBER:96-017-318 | ENRICHED | MRO | 41113601 | Ammeters | AMMETER |  | TYPE | CLAMP | ACCURACY | 2 % | DISPLAY TYPE |  | DIAL SIZE |  | RESOLUTION | 0.1 A | MEASURING RANGE | 600 A | MATERIAL |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC/EN 61010-1:2001 | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 827172 | 827172 | UA01-5603104 | CONDUCTIVITY DISPLAY LMI02 230V 50HZ | [16 empty] | https://www.ecolab-engineering.de/en/products/measuring-and-control-technology/lmi-02/ | https://e-matreshka.com/upload/bbr_files/pdf/Ecolab/LMI_02_e%20%D0%B8%D0%B7%D0%BC%D0%B5%D1%80%D0%B8%D1%82%D0%B5%D0%BB%D1%8C%D0%BD%D1%8B%D0%B5%20%D1%82%D0%B5%D1%85%D0%BD%D0%BE%D0%BB%D0%BE%D0%B3%D0%B8%D0%B8_%D0%B0%D0%BD%D0%B3%D0%BB.pdf |  | ECOLAB | OPM | LMI 02 | LMI 02 |  | ENRICHED | MRO | 41115609 | Conductivity meters | METER | CONDUCTIVITY | MEASURING RANGE | 10 TO 200 mSEC/CM | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | TYPE | INDUCTIVE | POWER SUPPLY | 240 VAC | DISPLAY TYPE | LCD | MOUNTING TYPE | WALL | TEMPERATURE RATING | 0 TO 50 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:50 Hz | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 304292 | 304292 | AU02-5019321 | E & H CLD134-E00038AA2 SMARTEC S | CLD134-E00038AA2 | ENDRESS HAUSER | [14 empty] | https://www.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/conductivity-toroidal-inductive-measuring-system-cld134?t.tabId=product-specification |  |  | ENDRESS+HAUSER | OPM | CLD134-E00038AA2 | CLD134-E00038AA2 | SERIES:SMARTEC S | ENRICHED | MRO | 41115609 | Conductivity meters | METER | CONDUCTIVITY | MEASURING RANGE | 100 uSEC/CM TO 2000 mSEC/CM | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | TYPE | INDUCTIVE | POWER SUPPLY |  | DISPLAY TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 125 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | FDA,EHEDG,3A | ADDITIONAL FEATURES | [39 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 494638 | 494638 | ES32-5468504 | CONDUCTIVIMETRO E&H CLD134-PMV538AB2 24V | 71025968,00 | [15 empty] | https://www.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/conductivity-toroidal-inductive-measuring-system-cld134?t.tabId=product-specification |  |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | CLD134-PMV538AB2 | CLD134-PMV538AB2 | ALTERNATE PART NUMBER:71025968,00 | ENRICHED | MRO | 41115609 | Conductivity meters | METER | CONDUCTIVITY | MEASURING RANGE | 100 uSEC/CM TO 2000 mSEC/CM | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | TYPE | INDUCTIVE | POWER SUPPLY | 24 VAC/DC | DISPLAY TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 125 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | FDA,EHEDG,3A | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 547450 | 547450 | FR37-LFSPE18143 | SPE CONDUCTIVIMETRE CLD132-WMV110AA1S | SPE-CHL |  |  | CONDUCTIVIMETRE CLD132-WMV110AA1SMARTEC-S CLD132 | [12 empty] | https://bromberg-staudt.com/endresshauser/eh-analytics/smartec/cld132/cld132-wmv110aa1-2.html |  |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | CLD132-WMV110AA1S | CLD132-WMV110AA1S |  | ENRICHED | MRO | 41115609 | Conductivity meters | METER | CONDUCTIVITY | MEASURING RANGE | 0.1 TO 2000 uS/CM | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | TYPE | MEASURING SYSTEM | POWER SUPPLY | 230 VAC | DISPLAY TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 125 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN 11851 | ADDITIONAL FEATURES | MATERIAL:STAINLESS STEEL,OUTPUT TYPE:RELAY | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 619130 | 619130 | IE32-5439562 | METER, CONDUCTIVITY , CLD132 PCS138AB1 |  |  | Smartec S CLD132 Conductivity Measuring System, CLD132-PCS138AB1 E+H | [13 empty] | https://www.in.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/conductivity-toroidal-inductive-measuring-system-cld132?t.tabId=product-overview | https://www.radwell.co.uk/en-GB/Buy/ENDRESS%20-AND-%20HAUSER/ENDRESS%20-AND-%20HAUSER/CLD132-PCS138AB1/?redirect=true |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | CLD132 PCS138AB1 | CLD132 PCS138AB1 | SERIES:SMARTEC S | ENRICHED | MRO | 41115609 | Conductivity meters | METER | CONDUCTIVITY | MEASURING RANGE | 100 uSEC/CM TO 2000 mSEC/CM | ACCURACY | NOT AVAILABLE | RESOLUTION | NOT AVAILABLE | TYPE | INDUCTIVE | POWER SUPPLY |  | DISPLAY TYPE | DIGITAL | MOUNTING TYPE |  | TEMPERATURE RATING | 284 DEG F | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 582803 | 582803 | GB37-5420163 | E&H SMARTEC CLD134-WVA438HAI |  |  | CLD134-WVA438HA1 1,956.80 GBP 1,956.80 Smartec S CLD134 10.00- % 195.68- Measuring system, conductivity 1,761.12 GBP 1,761.12 Application: hygienic Food, pharma CIP control, phase separation Housing: stainless steel, IP67 Alarm output: relay Display: 2-li | [13 empty] | https://www.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/conductivity-toroidal-inductive-measuring-system-cld134?t.tabId=product-specification | https://portal.endress.com/dla/5000015/6244/000/06/BA00401CEN_1516.pdf |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | CLD134-WVA438HAI | CLD134-WVA438HAI | SERIES:SMARTEC | ENRICHED | MRO | 41115609 | Conductivity meters | METER | CONDUCTIVITY | MEASURING RANGE | 100 uSEC/CM TO 2000 mSEC/CM | ACCURACY |  | RESOLUTION | NOT AVAILABLE | TYPE | INDUCTIVE | POWER SUPPLY | 24 VAC/DC | DISPLAY TYPE | LCD | MOUNTING TYPE | -- | TEMPERATURE RATING | 125 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD | FDA,EHEDG | ADDITIONAL FEATURES | CABLE LENGTH:5 M,PROCESS CONNECTION:VARIVENT N,PROCESS CONNECTION SIZE:DN 40-125,CABLE ENTRY:GLAND M20,OUTPUT:1X20 MA,COMMUNICATION PROTOCOL:HART | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 631367 | 631367 | IN02-ED035257 | COND. TRANS. E+H CLD132-PSMS38AA1 | [16 empty] | https://www.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/conductivity-toroidal-inductive-measuring-system-cld132?t.tabId=product-specification | https://pdf.cdn.endress.com/__pdf?url=https%3A%2F%2Fwww.endress.com%2Fen%2Fexternal%2Fproduct-html2pdf%2Fconductivity-toroidal-inductive-measuring-system-cld132&downloadName=Endress-Hauser_Smartec_CLD132_EN.pdf | https://www.in.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/conductivity-toroidal-inductive-measuring-system-cld132?t.tabId=product-specification&orderCode=CLD132-PSMS38AA1 | ENDRESS+HAUSER GROUP SERVICES AG | OPM | CLD132-PSMS38AA1 | CLD132-PSMS38AA1 |  | ENRICHED | MRO | 41115609 | Conductivity meters | METER | CONDUCTIVITY | MEASURING RANGE | 100 uSEC/CM TO 2000 mSEC/CM | ACCURACY |  | RESOLUTION |  | TYPE | INDUCTIVE | POWER SUPPLY | 24 VAC/DC | DISPLAY TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 140 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:STAINLESS STEEL,SEALING MATERIAL:CHEMRAZ,PRESSURE RATING:12 BAR,TEMPERATURE SENSOR:PT100,ENCLOSURE:IP67,COMMUNICATION INTERFACE:PROFIBUS,OUTPUT:1 X 20 MA | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 641792 | 641792 | IN03-ED029350 | COND METER,CLD132-PSMS38AA1 MAKE E&H |  |  | E<(>&<)>H | [13 empty] | https://www.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/conductivity-toroidal-inductive-measuring-system-cld132?t.tabId=product-specification | https://pdf.cdn.endress.com/__pdf?url=https%3A%2F%2Fwww.endress.com%2Fen%2Fexternal%2Fproduct-html2pdf%2Fconductivity-toroidal-inductive-measuring-system-cld132&downloadName=Endress-Hauser_Smartec_CLD132_EN.pdf | https://www.in.endress.com/en/field-instruments-overview/liquid-analysis-product-overview/conductivity-toroidal-inductive-measuring-system-cld132?t.tabId=product-specification&orderCode=CLD132-PSMS38AA1 | ENDRESS+HAUSER GROUP SERVICES AG | OPM | CLD132-PSMS38AA1 | CLD132-PSMS38AA1 |  | ENRICHED | MRO | 41115609 | Conductivity meters | METER | CONDUCTIVITY | MEASURING RANGE | 100 uSEC/CM TO 2000 mSEC/CM | ACCURACY |  | RESOLUTION |  | TYPE | INDUCTIVE | POWER SUPPLY | 24 VAC/DC | DISPLAY TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING | 140 DEG C | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:STAINLESS STEEL,SEALING MATERIAL:CHEMRAZ,PRESSURE RATING:12 BAR,TEMPERATURE SENSOR:PT100,ENCLOSURE:IP67,COMMUNICATION INTERFACE:PROFIBUS,OUTPUT:1 X 20 MA | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-10 |  | 300034 | 300034 | AT31-5314185 | SIEMENS SENTRON PAC3200 LCD 96X96MM | 7KM2112-0BA00-3AA0 | SIEMENS | 7KM3220-0BA01-1DA0 ersetzt: 7KM2112-0BA00-3AA07KM2112-0BA00-3AA0 | 7KM3220-0BA01-1DA0 ersetzt: 7KM2112-0BA00-3AA0 | [12 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/7KM2112-0BA00-3AA0 | https://docs.rs-online.com/4e77/0900766b80d388d8.pdf | https://www.electricautomationnetwork.com/en/siemens/7km2112-0ba00-3aa0-7km21120ba003aa0-siemens-sentron-measuring-instrument-7km-pac3200-lcd-l-l-690-v-l-n- ¦ https://ph.element14.com/siemens/7km2112-0ba00-3aa0/panel-mount-device-for-energy/dp/1573689 | SIEMENS | OPM | 7KM2112-0BA00-3AA0 | 7KM2112-0BA00-3AA0 | ALTERNATE PART NUMBER:7KM3220-0BA01-1DA0 | ENRICHED | MRO | 41113600 | Electrical measuring and testing equipment and accessories | METER | ENERGY | VOLTAGE RATING | 95 TO 240 VAC,110 TO 340 VDC | CURRENT RATING | 0.2 mA INPUT,7 mA OUTPUT | CONNECTION TYPE | SCREW | TYPE | MEASURING DEVICE | WIRE SIZE |  | INTERFACE TYPE | RJ-45 (8P8C),ETHERNET | DISPLAY TYPE | LCD | R/P RATIO |  | MOUNTING TYPE | VERTICAL | ENCLOSURE | IP20/65 | SIZE | 96 HT X 96 WD X 56 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FREQUENCY RATING:45 TO 65 HZ,TEMPERATURE RATING:-10 TO 55 DEG C | [32 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 473216 | 473216 | EG02-5498216 | SIEMENS SENTRON 7KM2112-0BA00-3AA0 | [16 empty] | https://mall.industry.siemens.com/mall/en/WW/Catalog/Product/7KM2112-0BA00-3AA0 | https://docs.rs-online.com/4e77/0900766b80d388d8.pdf |  | SIEMENS AG | OPM | 7KM2112-0BA00-3AA0 | 7KM2112-0BA00-3AA0 | ALTERNATE MANUFACTURER NAME:SENTRON | ENRICHED | MRO | 41113600 | Electrical measuring and testing equipment and accessories | METER | ENERGY | VOLTAGE RATING | 24 VDC | CURRENT RATING | 1 A | CONNECTION TYPE | NOT AVAILABLE | TYPE | DIGITAL | WIRE SIZE |  | INTERFACE TYPE | RJ-45 | DISPLAY TYPE | LCD | R/P RATIO |  | MOUNTING TYPE | PANEL | ENCLOSURE | IP65/20 | SIZE | 96 WD X 96 HT X 56 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CB,UL,EAC,CE | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 277141 | 277141 | 8385-52215248 | INDICADOR DIGITAL OMRON K3MA J A2 |  |  | INDICADOR DIGITAL OMRON , MODELO K3MA-J-A2 100 - 240 VCA SEÑAL DE ENTRADA ANALOGICA DE TENSION Y CORRIENTE | [13 empty] | https://in.element14.com/omron-industrial-automation/k3ma-j-a2-24vac-dc/process-meter/dp/8605491 | https://in.misumi-ec.com/vona2/detail/222004922519/?HissuCode=K3MA-J-A2%20AC%2FDC24 |  | OMRON ELECTRONICS | OPM | K3MA-J-A2 | K3MA-J-A2 |  | ENRICHED | MRO | 41113673 | Panel and switchboard meter | METER | PANEL | TYPE | INDICATOR DIGITAL | RANGE |  | NUMBER OF CHANNELS |  | FREQUENCY |  | SIZE | 96 WD X 48 LG X 80 THK MM | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS | 2 | MATERIAL |  | GRADUATION |  | TERMINAL TYPE |  | ENCLOSURE | IP66 | INSULATION TYPE |  | POWER RATING | 6 VA | VOLTAGE RATING | 100 TO 240 VAC | CURRENT RATING |  | CONNECTION |  | MOUNTING | PANEL | ADDITIONAL FEATURES | TEMPERATURE RATING:-10 TO 55 DEG C | [24 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 615062 | 615062 | ID02-5020265 | DISPLAY METER K3HB-VLC/220 VAC+K3 LIB OM | [16 empty] | https://assets.omron.eu/downloads/manual/en/v2/n128_k3hb-s_-x_-v_-h_digital_indicators_users_manual_en.pdf |  | https://www.ia.omron.com/products/family/1537/specification.html | OMRON ELECTRONICS | OPM | K3HB-VLC | K3HB-VLC |  | ENRICHED | MRO | 41113673 | Panel and switchboard meter | METER | PANEL | TYPE | DISPLAY | RANGE | -19,999 TO 99,999 | NUMBER OF CHANNELS | 2 | FREQUENCY | 10 TO 55 Hz | SIZE | 101.2 LG MM | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MATERIAL |  | GRADUATION |  | TERMINAL TYPE |  | ENCLOSURE | IP20 | INSULATION TYPE |  | POWER RATING | 18 VA | VOLTAGE RATING | 100 TO 240 VAC | CURRENT RATING | 50 mA | CONNECTION |  | MOUNTING |  | ADDITIONAL FEATURES | [25 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 841885 | 841885 | VN03-EV010609 | PANEL METER : K3MA-J-A2 24VAC/VDC -OMRON | OMRON | [15 empty] | https://www.ia.omron.com/product/item/4583/ |  |  | OMRON ELECTRONICS | OPM/OEM | K3MA-J-A2 | K3MA-J-A2 |  | ENRICHED | MRO | 41113673 | Panel and switchboard meter | METER | PANEL | TYPE | NOT AVAILABLE | RANGE |  | NUMBER OF CHANNELS |  | FREQUENCY | 50/60 Hz | SIZE |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS | 2 | MATERIAL |  | GRADUATION |  | TERMINAL TYPE |  | ENCLOSURE |  | INSULATION TYPE |  | POWER RATING |  | VOLTAGE RATING | 24 V | CURRENT RATING |  | CONNECTION |  | MOUNTING |  | ADDITIONAL FEATURES | [26 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK_UNSPSC CHANGED | 04-05-2023 | 2023-05-10 |  | 548076 | 548076 | FR38-5485702 | CC114 AFFICHEUR UNIVERSELLE DITEL JR-P |  |  |  | CC114 AFFICHEUR UNIVERSELLE DITEL JR-P A0151851 | [12 empty] | https://parmex.com.mx/show_catalogue_pdf/373177/1 | https://www.diteltec.com/industrial-meters/digital-panel-meters/junior-p/ |  | DITELTEC | OPM | JR-P A0151851 | CC114 |  | ENRICHED | MRO | 41113673 | Panel and switchboard meter | METER | PANEL | TYPE | UNIVERSAL DISPLAY,DIGITAL | RANGE | 14 MM RED LED | NUMBER OF CHANNELS |  | FREQUENCY | 50/60 Hz | SIZE | 96 X 48 X 60 MM | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | MATERIAL | POLYCARBONATE | GRADUATION |  | TERMINAL TYPE |  | ENCLOSURE | IP65 | INSULATION TYPE |  | POWER RATING | 3 W | VOLTAGE RATING | 20 TO 265 VAC | CURRENT RATING | 1 A | CONNECTION |  | MOUNTING |  | ADDITIONAL FEATURES | [26 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 549343 | 549343 | FR38-LFBB311 | AFFICHEUR RIA45-A1C1-1035/0 | RIA250 A11R21 | [15 empty] | https://www.in.endress.com/en/field-instruments-overview/system-components-recorder-data-manager/process-panel-meter-RIA45?t.tabId=product-specification | https://www.transcat.com/media/pdf/EndressHauser-RIA45-Technical-Information.pdf |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | RIA250 A11R21 | RIA250 A11R21 | ALTERNATE MANUFACTURER PART NUMBER:RIA45-A1C1-1035/0 | ENRICHED | MRO | 41113673 | Panel and switchboard meter | METER | PANEL | TYPE | PROCESS | RANGE | -99999 TO 99999 | NUMBER OF CHANNELS | 2 | FREQUENCY | 50/60 Hz | SIZE | 96 WD X 48 HT X 175 DP MM | NUMBER OF INPUTS | UNIVERSAL X 2 | NUMBER OF OUTPUTS | 2 X RELAY,2 X ANALOG | MATERIAL | PLASTIC | GRADUATION |  | TERMINAL TYPE | SCREW | ENCLOSURE | IP65 | INSULATION TYPE |  | POWER RATING | 6.9 W | VOLTAGE RATING | 24 TO 230 VAC/DC | CURRENT RATING | 0/4 TO 20 mA | CONNECTION | 4-PIN CONNECTOR | MOUNTING | PANEL | ADDITIONAL FEATURES | [26 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 394956 | 394956 | BG31-5613427 | BELT TENSION METER BTM-400 PLUS | 64000053 | SYNTEGON TECHNOLOGY SERVICES AG | [14 empty] | https://www.checkline.com/product/BTM-400PLUS |  |  | ELECTROMATIC EQUIPMENT CO., INC. | OPM | BTM-400 PLUS | BTM-400 PLUS | BRAND NAME:CHECKLINE,OEM NAME:SYNTEGON TECHNOLOGY:OEM PART NUMBER:64000053 | ENRICHED | MRO | 41114509 | Tensiometers | METER | TENSION | MEASURING RANGE | 10 TO 800 Hz | ACCURACY | <1 % | RESOLUTION | NOT AVAILABLE | WIRE/CABLE SIZE | NOT AVAILABLE | CONNECTION TYPE | NOT AVAILABLE | TYPE |  | DISPLAY TYPE | 2-LNE LCD,DIGITAL | TEMPERATURE RATING |  | MATERIAL | ABS PLASTIC CASING | HAZARD CLASS |  | CERTIFICATION/STANDARD | NIST,ISO 17025 | ADDITIONAL FEATURES | SENSING DISTANCE:3/16 TO 1-5/8 IN,LIGHT SOURCE:RED LED,POWER SUPPLY:9 V BATTERY | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 366465 | 366465 | BE33-5050210 | COMPTEUR EAU CHAUDE MTH-DA-KGM Ø1"1/4-1" | MTH-DA-KGM 1I/L REED |  | COMPTEUR EAU CHAUDE ABB-MESSTECHNIK 10 M³/H RACC.ø1" PN16 MODELE MTH-DA-KGM ø1"1/4-1" PN16 QN6 0,5 A 12 M³/H, 90°C,CADRAN +TOTALISATEUR 5 DECADES SANS REMISE A ZERO,TRANSMETTEUR IMPULS: CONTACT REED, 1 IMPULSION/L. REF ABB: MTH-DA-KGM 1" QN6 1I/L REED | COMPTEUR EAU CHAUDE ABB-MESSTECHNIK 10 M³/H RACC.ø1" PN16 MODELE MTH-DA-KGM ø1"1/4-1" PN16 QN6 0,5 A 12 M³/H, 90°C,CADRAN +TOTALISATEUR 5 DECADES SANS REMISE A ZERO,TRANSMETTEUR IMPULS: CONTACT REED, 1 IMPULSION/L. REF ABB: MTH-DA-KGM 1" QN6 1I/L REED¦¦CO | [12 empty] | https://pim.eriks.com/OverviewPDF/?shop=shop.eriks.be&lang=nl&productnr=PR_EC010586_0016_MVD |  |  | ELSTER KROMSCHRODER | OPM | MTH-DA-KGM 1I/L REED | MTH-DA-KGM 1I/L REED | ALTERNATE OEM:ABB | ENRICHED | MRO | 41112504 | Water meters | METER | WATER SERVICE | CONNECTION TYPE/SIZE | MALE THREAD | RANGE | NOT AVAILABLE | OUTLET CONNECTION | NOT AVAILABLE | INLET CONNECTION | DN50 | TYPE |  | ADDITIONAL FEATURES | MOUNTING TYPE:HORIZONTAL,PRESSURE:16 BAR,MEDIUM TEMPERATURE:130 DEG C,SWITCHING CAPACITY:1000 MA,42 VAC/DC | MATERIAL | BRASS | [47 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 695167 | 695167 | NG01-5574262 | DN80 SENSUS MEISTREAM +WATER METER |  |  | SENSUS MEISTREAM; TEMPERATURE RANGE: 10 - 100ºc | [13 empty] | https://arss.si/wp-content/uploads/2018/11/EN-MeiStream-Data-Sheet-1.pdf |  |  | SENSUS | OPM | MEISTREAM DN80 | MEISTREAM DN80 |  | ENRICHED | MRO | 41112504 | Water meters | METER | WATER SERVICE | CONNECTION TYPE/SIZE |  | RANGE |  | OUTLET CONNECTION |  | INLET CONNECTION |  | TYPE | BULK | ADDITIONAL FEATURES | TEMPERATURE RANGE:10 TO 100 DEG C,FLOW RATING:200 CU M/HR,FOR COLD POTABLE | MATERIAL | CAST/DUCTILE IRON | [46 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 583012 | 583012 | GB37-5444440 | METER,TURBIDITY,NEGELE,ITM3/M12 |  |  | NEGELE ITM3/M12 RELATIVE TURBITY METER MEASUREMENT RANGE 0-100% TU OUTPUT 4-20MA SWITCHING OUTPUT C/W NEGELE AMV 132/40 VARIVENT DN80 INLINE PROCESS ADAPTOR | [13 empty] | https://www.anderson-negele.com/wp-content/themes/andersonnegele/assets/itm-3/pdf/ITM-3_50049_3.2_en_eu.pdf | https://www.anderson-negele.com/wp-content/themes/andersonnegele/assets/itm-3/pdf/ITM-3_30005_en_na.pdf |  | ANDERSON-NEGELE | OPM | ITM3/M12 | ITM3/M12 |  | ENRICHED | MRO | 41112504 | Water meters | METER | WATER SERVICE | CONNECTION TYPE/SIZE |  | RANGE | 0 TO 100 PCT | OUTLET CONNECTION | M12 PLUG | INLET CONNECTION |  | TYPE | RELATIVE TURBIDITY | ADDITIONAL FEATURES | VOLTAGE RATING:24 V,OUTPUT CURRENT:4 TO 20 mA,VARIANT INLINE PROCESSOR,MATERIAL:STAINLESS STEEL,OPERATING PRESSURE:10 BAR,TORQUE:10 NM,COMPLETE NEGELE AMV 132/40 VARIVENT DN80 INLINE PROCESS ADAPTOR | MATERIAL | [47 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 848385 | 848385 | IT03-5458882 | MISURATORE GAS QA250 DN100 | COD. 2087968 | [15 empty] | https://www.zielenergy.com/en/products/663798-elster-quantometer-qa250-100-z-i-elster-instromet | https://www.add-furnace.com/gas-control-system/quantometer-qa250-100-zi.html |  | ELSTER KROM SCHRODER | OPM | 2087968 | QA250 |  | ENRICHED | MRO | 41110000 | Measuring And Observing And Testing Instruments | METER |  | TYPE | GAS | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | CONNECTION TYPE | WAFER | DISPLAY TYPE |  | POWER SUPPLY |  | MOUNTING TYPE |  | SIZE | DN 100 | ENCLOSURE | IP52 | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,DVGW,PED | ADDITIONAL FEATURES | TEMPERATURE RATING:-10 TO 60 DEG C,PRESSURE RATING:4 BAR,MATERIAL:ALUMINUM BODY,20 CU M/HR TO 400 CU M/HR | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 180035 | 180035 | 8353-52175763 | ESPATULA INOXIDABLE/VERDE/88040-5/FBK | [16 empty] | http://en.fbk.dk/products/hand-scoops-spatulas-scrapers/spatula-40-mm-flexible-stainless-steel-blade-1 |  |  | FBK APS | OPM | 880403-GREEN | 880403-GREEN |  | ENRICHED | MRO | 27111909 | Spatulas | SPATULA |  | TYPE | FLEXIBLE | BLADE SIZE | 40 MM | OVERALL LENGTH | NOT AVAILABLE | MATERIAL | STAINLESS STEEL | COLOUR | GREEN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | W/HANDLE,TEMPERATURE RATING:120 DEG C | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 175435 | 175435 | 8353-52070734 | ESPATULA INOXIDABLE/ROJA/880403/FBK | [16 empty] | http://en.fbk.dk/products/hand-scoops-spatulas-scrapers/spatula-40-mm-flexible-stainless-steel-blade-1 |  |  | FBK APS | OPM | 880403-RED | 880403-RED |  | ENRICHED | MRO | 27111909 | Spatulas | SPATULA |  | TYPE | FLEXIBLE | BLADE SIZE | 40 MM | OVERALL LENGTH | NOT AVAILABLE | MATERIAL | STAINLESS STEEL | COLOUR | RED | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | W/HANDLE,TEMPERATURE RATING:120 DEG C | [45 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | SMX | SMX | OK | 04-05-2023 | 2023-05-10 |  | 357573 | 357573 | BE32-5078806 | SPATULA BOMAVIT 40 X 240MM, STAINLESS ST | 176690W |  |  | supplier : BOMA vendor 101285 art nr : 176690W Spatula Bomavit 40 x 240mm, stainless steel, with handle - WHITE - 88040-1 * | [12 empty] | https://www.hygienetech.co.nz/product/fb88040/ |  |  | HYGIENE TECHNOLOGIES | OPM | FB88040-1 | FB88040-1 | OEM:BOMA,REFERENCE NUMBER:101285,ARTICLE NUMBER:176690W | ENRICHED | MRO | 27111909 | Spatulas | SPATULA |  | TYPE | SCRAPER | BLADE SIZE | 240 X 40 MM | OVERALL LENGTH | NOT AVAILABLE | MATERIAL | STAINLESS STEEL | COLOUR | WHITE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | W/HANDLE MATERIAL:POLYPROPYLENE,TEMPERATURE RATING:120 DEG C | [44 empty] | Part Number Updated As Per Url | Production Completed