## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 312021 | 312021 | AU03-EA627640 | BUFFER,ANB | ICA; 9291-41804-2, M2255310 |  | ICA; 9291-41804-2, M2255310 | [13 empty] | https://www.aimsindustrial.com.au/mackay-m2255310-anb-buffer-130-x-100-x-84mm |  |  | MACKAY CONSOLIDATED IND. PTY LTD | OEM | 9291-41804-2 | M2255310 | ALTERNATE MANUFACTURER:ICA | ENRICHED | MRO | 12161700 | Buffers | BUFFER |  | SIZE | 100 DIA X 130 LG X 84 HT MM | MATERIAL | RUBBER,STEEL | TYPE | ANB | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [50 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 179829 | 179829 | 8353-52169422 | BOTON/AMORT. 12/6X10/54984673/BOSCH | 54984673 | SYNTEGON | AMORT. DE BOTÓN 12/6X10 | [13 empty] | https://etl-company.ru/32-tovary/23-promyshlennaya-avtomatizaciya/19587-54984673-push-button-buffer-o12-6x10---knopka-bufera-o12-6x10 |  |  | SYNTEGON TECHNOLOGY GMBH | OEM | 54984673 | 54984673 | ALTERNATE MANUFACTURER:BOSCH | CLEANSED | MRO | 12161700 | Buffers | BUFFER |  | SIZE | 12 X 6 X 10 MM | MATERIAL |  | TYPE | PUSH BUTTON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Mech | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 302107 | 302107 | AT31-5509293 | DRUCKKNOPFPUFFER 12/6X10 54984673 | 54984673 | SYNTEGON | TTM, J-02344-TTM-112 | TTM, J-02344-TTM-112 | [12 empty] | https://etl-company.ru/32-tovary/23-promyshlennaya-avtomatizaciya/19587-54984673-push-button-buffer-o12-6x10---knopka-bufera-o12-6x10 |  |  | SYNTEGON TECHNOLOGY GMBH | OEM | 54984673 | 54984673 | ALTERNATE PART NUMBER:J-02344-TTM-112 | CLEANSED | MRO | 12161700 | Buffers | BUFFER |  | SIZE | 12 X 6 X 10 MM | MATERIAL |  | TYPE | PUSH BUTTON | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [49 empty] | Cleansed based on OEM items | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 771519 | 771519 | RU03-5589735 | CAMERA.;DS-2CD2623G0-IZS | [16 empty] | https://www.hikvision.com/my/products/IP-Products/Network-Cameras/Pro-Series-EasyIP-/ds-2cd2623g0-izs/ | https://www.hikvision.com/content/dam/hikvision/products/S000000001/S000000002/S000000003/S000000025/OFR000038/M000000129/Data_Sheet/DS-2CD2623G0-IZS_Datasheet_V5.6.0_20200416.pdf |  | HANGZHOU HIKVISION DIGITAL TECHNOLOGY CO LTD | OPM | DS-2CD2623G0 -ZS | DS-2CD2623G0 -ZS |  | ENRICHED | MRO | 45121500 | Cameras | CAMERA |  | TYPE | BULLET NETWORK | MEGAPIXEL | 2 MP | POWER SUPPLY | 12 VDC | RESOLUTION | 1920 X 1080 PX | FOCUS RANGE | AUTO | FLASH RANGE |  | ZOOM |  | LENS | 2.8-12 MM,MOTORIZED | SIZE | 144.13 X 332.73 MM | DISPLAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | DEGREE OF PROTECTION:IK 10,IP66 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 620572 | 620572 | IE32-5556657 | CAMERA,INSPECTION,FHSM,OMRON |  |  | *** ATC Automation Quotation No: 08251102 from 26-01-2018 *** ATC Automation Ref. #FHSM *** FH camera, standard resolution, monochrome | [13 empty] | https://www.digikey.com/en/products/detail/omron-automation-and-safety/FH-SM/4987281 | https://www.mouser.in/ProductDetail/Omron-Automation-and-Safety/FH-SM?qs=R%252BZOTiLH6Tgaft%252BYSuNeKg%3D%3D |  | OMRON ELECTRONICS | OPM | FH-SM | FH-SM | ATC AUTOMATION QUOTATION NUMBER:08251102 FROM 26-01-2018 | ENRICHED | MRO | 45121500 | Cameras | CAMERA |  | TYPE | INSPECTION,IMAGING | MEGAPIXEL | 0.3 MP | POWER SUPPLY | NOT AVAILABLE | RESOLUTION | 640 X 480 PX | FOCUS RANGE |  | FLASH RANGE |  | ZOOM |  | LENS |  | SIZE |  | DISPLAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | IMAGE TYPE:MONOCHROME,SENSOR TYPE:CMOS,MOUNTING TYPE:CHASSIS,STANDARD RESOLUTION | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 514271 | 514271 | ES36-5596646 | CÁMARA COGNEX IS8200M-363-40+CABLES CCB |  |  |  | Quote ID: QUO-146282-S8Q0X6 Group: .- IS8200M-363-40 .. In-Sight 8200/Monochrome/0.3MP(VGA)/PatMaxonly .- CCB-84901-2001-05 .. Cognex X-Coded M12 Ethernet Cable (5M Length) | [12 empty] | https://www.radwell.co.uk/en-GB/Buy/COGNEX/COGNEX/IS8200M-363-40/?redirect=true | http://www.controlvision.co.nz/in-sight-8200-vga-with |  | COGNEX | OPM | IS8200M-363-40 | IS8200M-363-40 | QUOTE ID:QUO-146282-S8Q0 X 6 | ENRICHED | NON MRO | 45121504 | Digital Cameras | CAMERA | DIGITAL | TYPE | INDUSTRIAL VISION,AREA SCAN | MEMORY | 512 MB | POWER SUPPLY | 48 VDC | RESOLUTION | 640 X 480 PX | FOCAL LENGTH |  | FLASH RANGE |  | ZOOM |  | LENS |  | DIMENSIONS | 1/1-13/16 IN SENSOR | DISPLAY TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SPEED RATING:60 FPS,LENS MOUNT:C-MOUNT,INSIGHT 8200,IMAGE TYPE:MONOCHROME,CABLE TYPE:PATMAXONLY CCB-84901-2001-05 COGNEX X-CODED M12 ETHERNET CABLE,CABLE SIZE:5 LG M | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 109142 | 109142 | 8339-50498372 | CAMERA,IS7402-01,COGNEX | IS7402-01 | Cognex Corp | CAMERA,DETAILS:COGNEX,MANUFACTURER:COGNEX CORP,MFR PART NUMBER:IS7402-01 | [13 empty] | http://controlvision.co.nz/is7402-without-patmax-12-4 | https://www.axcontrol.com/automation/cognex-vision/in-sight-7000/IS7402-01 | https://vision-supplies.com/cognex-is7402-01-2 | COGNEX | OPM | IS7402-01 | IS7402-01 |  | ENRICHED | MRO | 45121500 | Cameras | CAMERA |  | TYPE | INTEGRATED LENS AND LED | MEGAPIXEL | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | RESOLUTION | 1280 X 1024 | FOCUS RANGE |  | FLASH RANGE |  | ZOOM |  | LENS |  | SIZE | 2/3 IN SENSOR | DISPLAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LENS MOUNT:S-MOUNT/M12 | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 153854 | 153854 | 8349-50498372 | CAMERA,IS7402-01,COGNEX | IS7402-01 | Cognex Corp | CAMERA,DETAILS:COGNEX,MANUFACTURER:COGNEX CORP,MFR PART NUMBER:IS7402-01 | [13 empty] | http://controlvision.co.nz/is7402-without-patmax-12-4 | https://www.axcontrol.com/automation/cognex-vision/in-sight-7000/IS7402-01 | https://vision-supplies.com/cognex-is7402-01-2 | COGNEX | OPM | IS7402-01 | IS7402-01 |  | ENRICHED | MRO | 45121500 | Cameras | CAMERA |  | TYPE | INTEGRATED LENS AND LED | MEGAPIXEL | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | RESOLUTION | 1280 X 1024 | FOCUS RANGE |  | FLASH RANGE |  | ZOOM |  | LENS |  | SIZE | 2/3 IN SENSOR | DISPLAY SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | LENS MOUNT:S-MOUNT/M12 | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 204882 | 204882 | 8364-50447497 | CHARGE,BATT,9008898,INDUSTRIAL,115V | 9008898 | Tennant Co | CHARGER,BATTERY,TYPE:INDUSTRIAL,POWER_SOURCE:115V,MANUFACTURER:TENNANT CO,MFR PART NUMBER:9008898 | [13 empty] | https://www.tennantco.com/en_us/1/parts/pc_cat_consumables/pc_cat_batteries_chargers/product.spe-24-volt-20-amp-onboard-charger-kit.9008898.html |  |  | TENNANT CO | OPM | 9008898 | 9008898 |  | ENRICHED | MRO | 26111704 | Battery Chargers | CHARGER | BATTERY | CHARGING CAPACITY | NOT AVAILABLE | INPUT VOLTAGE | 115 V | CURRENT RATING | 20 A | OUTPUT VOLTAGE RATING | 24 V | TYPE | INDUSTRIAL,ONBOARD | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 204868 | 204868 | 8364-50447258 | CHARGE,BATT,9001056,INDUSTRIAL,110V | 9001056 | Tennant Co | CHARGER,BATTERY,TYPE:INDUSTRIAL,POWER_SOURCE:110V,MANUFACTURER:TENNANT CO,MFR PART NUMBER:9001056 |  | BDI | 21461127 | TENNANT | 9001056 | 9001056 CHARGER KIT | [7 empty] | https://www.tennantco.com/en_ca/1/parts/pc_cat_consumables/pc_cat_batteries_chargers/product.delta-q-36-volt-21-amp-onboard-charger-kit.9001056.html |  |  | TENNANT CO | OPM | 9001056 | 9001056 |  | ENRICHED | MRO | 26111704 | Battery Chargers | CHARGER | BATTERY | CHARGING CAPACITY | NOT AVAILABLE | INPUT VOLTAGE | 110 V | CURRENT RATING | 21 A | OUTPUT VOLTAGE RATING | 36 V | TYPE | INDUSTRIAL,ONBOARD | SIZE |  | NUMBER OF BATTERIES |  | CHARGING TIME |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [37 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 67887 | 67887 | 8321-52037031 | RESISTENCIA/240V-500E/A-20/CHROMALOX | [16 empty] | https://www.thermaldevices.com/product/chromalox-a-20-240-volt-500-watt-ring-heater/ |  |  | CHROMALOX INC | OPM | A-20-135407 | A-20-135407 |  | ENRICHED | MRO | 40101800 | Heating equipment and parts and accessories | HEATER |  | TYPE | RING | VOLTAGE RATING | 240 V | CURRENT RATING | NOT AVAILABLE | TEMPERATURE RATING | 0 TO 650 DEG C | POWER RATING | 500 W | MATERIAL |  | TERMINAL TYPE |  | SIZE | 1-11/16 ID X 3-31/32 OD X 5/16 THK IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CIRCUIT DESIGN:SINGLE HEAT | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 793830 | 793830 | SK31-5630382 | OHRIEVAC ELEKTR. IBE 225/16,5 T, 16,5KW | [16 empty] | https://en.ventilatory.net/ibe-225-16-5-t.html |  |  |  | OPM | IBE 225/16,5 T | IBE 225/16,5 T |  | ENRICHED | MRO | 40101800 | Heating Equipment And Parts And Accessories | HEATER |  | TYPE | ELECTRIC DUCT | VOLTAGE RATING | 400 V | CURRENT RATING | NOT AVAILABLE | TEMPERATURE RATING | 60 DEG C | POWER RATING | 16500 W | MATERIAL | STAINLESS STEEL | TERMINAL TYPE |  | SIZE | 640 WD X 290 HT X 370 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 793829 | 793829 | SK31-5630381 | OHRIEVAC ELEKTR. EOS 50-25/15 15KW | [16 empty] | https://en.ventilatory.net/eos-50-25-15.html | https://en.ventilatory.net/media/catalog/product/data/ds-eo-en.pdf |  |  | OPM | EOS 50-25/15 | EOS 50-25/15 |  | ENRICHED | MRO | 40101800 | Heating Equipment And Parts And Accessories | HEATER |  | TYPE | ELECTRIC DUCT | VOLTAGE RATING | 400 V | CURRENT RATING |  | TEMPERATURE RATING | -25 TO 40 DEG C | POWER RATING | 15 KW | MATERIAL | GALVANIZED STEEL | TERMINAL TYPE |  | SIZE | 607 WD X 290 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP21 | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,CONFLICT WITH VOLTAGE AND WATT PROCESSED BASED ON SOURCE | 08-05-2023 | 10-05-2023 |  | 655779 | 655779 | IN05-ED043401 | HEATING CARTRIDGE, 3 KW 295814 |  |  | 230 / 400 V AC | [13 empty] | https://www.chromalox.com/-/media/files/catalog/resources/en-us/mod-sdra.pdf |  |  | CHROMALOX INC | OPM | 295814 | SDRA-CC-30-93 |  | ENRICHED | MRO | 40101828 | Cartridge Heaters | HEATER | CARTRIDGE | CURRENT RATING | 28.9 A | TEMPERATURE RATING | UP TO 180 DEG F | CARTRIDGE LENGTH | NOT AVAILABLE | CARTRIDGE DIAMETER | NOT AVAILABLE | POWER RATING | 30 KW | VOLTAGE RATING | 600 VAC | TYPE | PORTABLE HIGH TEMPERATURE BLOWER | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 136687 | 136687 | 8349-50166871 | HEAT,CART,242931,1000W,240V | 242931 | Chromalox | HEATER,CARTRIDGE,WATT_RATING:1000W,V_RATING:240V,MANUFACTURER:CHROMALOX,MFR PART NUMBER:242931 | [13 empty] | https://pim.galco.com/Manufacturer/Chromalox/TechDocument/Catalog%20Page/chromo_61_cp.pdf | https://www.galco.com/242931.html |  | CHROMALOX INC | OPM | 242931 | CIR-2091 |  | ENRICHED | MRO | 40101828 | Cartridge Heaters | HEATER | CARTRIDGE | CURRENT RATING | NOT AVAILABLE | TEMPERATURE RATING | 842 DEG F | CARTRIDGE LENGTH | 9-1/2 IN | CARTRIDGE DIAMETER | 3/8 IN | POWER RATING | 1 KW | VOLTAGE RATING | 240 V | TYPE |  | MATERIAL | INCOLOY | TERMINAL TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 280472 | 280472 | 8386-50326995 | HEAT,CART,235238,332W,230V | 235238 | Watlow | HEATER,CARTRIDGE,WATT_RATING:332W,V_RATING:230V,MANUFACTURER:WATLOW,MFR PART NUMBER:235238 | [13 empty] | https://www.radwell.co.uk/en-GB/Buy/WATLOW/WATLOW/235238/?redirect=true |  |  | WATLOW ELECTRIC MANUFACTURING CO | OPM/OEM | 235238 | 235238 |  | ENRICHED | MRO | 40101828 | Cartridge Heaters | HEATER | CARTRIDGE | CURRENT RATING | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | CARTRIDGE LENGTH | 7 IN | CARTRIDGE DIAMETER | NOT AVAILABLE | POWER RATING | 332 W | VOLTAGE RATING | 230 V | TYPE |  | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 49746 | 49746 | 8314-50419130 | HEAT,CART,3618K373,200W,240V | 3618K373 | Tutco Farnam | HEATER,CARTRIDGE,WATT_RATING:200W,V_RATING:240V,MANUFACTURER:TUTCO FARNAM,MFR PART NUMBER:3618K373 |  | BDI | TutcoFarnam 3618K3 | Tutco Farnam | 3618K373 | HEAT,CART,3618K373,200W,240V | [7 empty] | https://www.mcmaster.com/catalog/129/612/3618K373 |  |  | TUTCO FARNAM | OPM | 35025K314 | 35025K314 |  | ENRICHED | MRO | 40101828 | Cartridge Heaters | HEATER | CARTRIDGE | CURRENT RATING |  | TEMPERATURE RATING |  | CARTRIDGE LENGTH | 2 IN | CARTRIDGE DIAMETER | 1/2 IN | POWER RATING | 200 W | VOLTAGE RATING | 240 V | TYPE |  | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 141081 | 141081 | 8349-50171854 | HEAT,CART,8101303263,350W,21V | 8101303263 | Bosch Packaging Technologies | HEATER,CARTRIDGE,WATT_RATING:350W,V_RATING:21V,MANUFACTURER:BOSCH PACKAGING TECHNOLOGIES,MFR PART NUMBER:8101303263 | [13 empty] | https://www.nriparts.com/products/bosch-8101303263-heating-and-cooling/255569 |  |  | BOSCH PACKAGING TECHNOLOGIES | OPM | 8101303263 | 8101303263 |  | ENRICHED | MRO | 40101828 | Cartridge Heaters | HEATER | CARTRIDGE | CURRENT RATING | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | CARTRIDGE LENGTH | 11-13/16 IN | CARTRIDGE DIAMETER | NOT AVAILABLE | POWER RATING | 350 W | VOLTAGE RATING | 21 VAC | TYPE |  | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,DUPLICATE_1 | 08-05-2023 | 10-05-2023 |  | 20003 | 20003 | 8308-52231558 | RESISTENCIA 6MM 120L 220V 100W 734013 |  |  | RESISTENCIA CARTUCHO; DIMENSAO: 6MM; TENSAO: 220V; POTENCIA: 100W; EQUIPAMENTO: FORMADORA DE BANDEJAS; APLICAÇÃO: PISTOLA DE COLA P MINI BLUE; LINHA: BIS 03; REFERENCIA: 734013; FABRICANTE: NORDSON | RESISTENCIA CARTUCHO; DIMENSAO: 6MM; TENSAO: 220V; POTENCIA: 100W; EQUIPAMENTO: FORMADORA DE BANDEJAS; APLICAÇÃO: PISTOLA DE COLA P MINI BLUE; LINHA: BIS 03; REFERENCIA: 734013; FABRICANTE: NORDSON | [12 empty] | https://www.radwell.co.uk/en-GB/Buy/NORDSON/NORDSON/734013/?redirect=true | https://www.meltmann.com/en/metric-heaters/heater-bar-o6-x-30-100w-230v,pr963,151 |  | NORDSON CORP | OPM/OEM | 734013 | 734013 | EQUIPMENT:TRAY MACHINE | ENRICHED | MRO | 40101828 | Cartridge Heaters | HEATER | CARTRIDGE | CURRENT RATING |  | TEMPERATURE RATING |  | CARTRIDGE LENGTH | 30 MM | CARTRIDGE DIAMETER | 6 MM | POWER RATING | 100 W | VOLTAGE RATING | 230 V | TYPE |  | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | FOR GLUE GUN P MINI BLUE | [38 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,DUPLICATE_1 | 08-05-2023 | 10-05-2023 |  | 585610 | 585610 | GB38-5520823 | NORDSON, MINIBLUE | OMM 734013 | NORDSON | Heater cartridge, 239v, 100w, 6, OMM 734013 as per your quote ref 21022377 | [13 empty] | https://www.radwell.co.uk/en-GB/Buy/NORDSON/NORDSON/734013/?redirect=true | https://www.meltmann.com/en/metric-heaters/heater-bar-o6-x-30-100w-230v,pr963,151 |  | NORDSON CORP | OPM/OEM | 734013 | 734013 | EQUIPMENT:TRAY MACHINE | ENRICHED | MRO | 40101828 | Cartridge Heaters | HEATER | CARTRIDGE | CURRENT RATING |  | TEMPERATURE RATING |  | CARTRIDGE LENGTH | 30 MM | CARTRIDGE DIAMETER | 6 MM | POWER RATING | 100 W | VOLTAGE RATING | 230 V | TYPE |  | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | FOR GLUE GUN P MINI BLUE | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,DUPLICATE_1 | 08-05-2023 | 10-05-2023 |  | 666568 | 666568 | IN07-ED052382 | NORDSON-HEATER 230V,100W | 734013 | NORDSON | [14 empty] | https://www.radwell.co.uk/en-GB/Buy/NORDSON/NORDSON/734013/?redirect=true | https://www.meltmann.com/en/metric-heaters/heater-bar-o6-x-30-100w-230v,pr963,151 |  | NORDSON CORP | OPM/OEM | 734013 | 734013 | EQUIPMENT:TRAY MACHINE | ENRICHED | MRO | 40101828 | Cartridge Heaters | HEATER | CARTRIDGE | CURRENT RATING |  | TEMPERATURE RATING |  | CARTRIDGE LENGTH | 30 MM | CARTRIDGE DIAMETER | 6 MM | POWER RATING | 100 W | VOLTAGE RATING | 230 V | TYPE |  | MATERIAL |  | TERMINAL TYPE |  | HAZARD CLASS |  | ADDITIONAL FEATURES | FOR GLUE GUN P MINI BLUE | [38 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 558751 | 558751 | FR41-5500346 | RESISTANCE 3KW 1"1/2 GAZ TEMPEREUSE L8 | RICA : 1TTL1D034002 |  |  | RESISTANCE INOX 3KW THERMOPLONGEUR A VISSER DIA. 1"1/2 GAZ 230/400V AISI 321 10W/Cm2 LG.235 EQUIPES BORNE DE MASSE REF. RICA : 1TTL1D034002 | [12 empty] | https://www.rica.fr/uploads/pdf/thermoplongeur-a-visser-sur-bouchon-raccord-1-1-2.pdf | https://zoppasindustries.com/en/?wpdmdl=62 |  | RICA | OPM | 1TTL1D034002 | 1TTL1D034002 | EQUIPMENT NAME:TEMPERING GAS L8 | ENRICHED | MRO | 40101815 | Immersion Heaters | HEATER | IMMERSION | TEMPERATURE RATING | NOT AVAILABLE | POWER RATING | 1000-6000 W | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 230/400 V | TYPE | RESISTANCE | TERMINAL TYPE | SCREW PLUG | SIZE | 76 DIA X 235 LG MM | MATERIAL | STAINLESS STEEL AISI 321,INCOLOY 800,PICKLED COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ROHS,UL,VDE | ADDITIONAL FEATURES | NUT SIZE:1-1/2 IN GAZ,SPECIFIC LOAD:10 W/SQ CM,MASS PLUG | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 790462 | 790462 | SE33-5313810 | IMMERSION HEATER TYPE:CEL614 6KW |  |  | Bestälningspunkt sätts på artikeln vid behov. Beslut taget av verkstadsförrådet 03.12.2012. | [13 empty] | https://famaga.com/catalog/conti-elektron/id5849692_typcel614 |  |  | CONTI ELEKTRON | OPM | CEL614 | CEL614 |  | ENRICHED | MRO | 40101815 | Immersion Heaters | HEATER | IMMERSION | TEMPERATURE RATING | NOT AVAILABLE | POWER RATING | 6 KW | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 400 V | TYPE |  | TERMINAL TYPE | SCREW-IN | SIZE | 435 MM | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [39 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 33208 | 33208 | 8312-50402218 | HEAT,IMMER,6-29-235-10,480V,18KW | 6-29-235-10 | Watlow | HEATER,IMMERSION,V_RATING:480V,WATT_RATING:18KW,MANUFACTURER:WATLOW,MFR PART NUMBER:6-29-235-10 |  | BDI | 21560029 | WATLOW | 6-29-235-10 | 6-29-235-10 SQUARE FLANGE HEATER | [7 empty] | https://www.watlow.com/-/media/documents/catalogs/immersion-heaters0618.ashx | https://www.radwell.co.uk/en-GB/Buy/WATLOW/WATLOW/6-29-235-1/?redirect=true |  | WATLOW ELECTRIC MANUFACTURING CO | OPM | 6-29-235-10 | 6-29-235-10 |  | ENRICHED | MRO | 40101815 | Immersion Heaters | HEATER | IMMERSION | TEMPERATURE RATING | 870 DEG C | POWER RATING | 9 KW | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 480 VAC | TYPE |  | TERMINAL TYPE |  | SIZE |  | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF PHASE:3 PH | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 548790 | 548790 | FR38-5588277 | SG130 THERMOPLONGEUR 810686018 + J077 |  |  |  | SG130 THERMOPLONGEUR 810686018 + J077 TV77I090++ 9000W 230V (Triangle) / 400V (Etoile +JOINT EN TESNIT BAU BLEU 400°C 100 BARS Nº devis: 412815 - 00 Nº devis: 476753 - 00 DU 22 septembre 2021 | [12 empty] | https://www.heatingandprocess.com/wp-content/uploads/2016/07/Chromalox-Hazardous-Area-Industrial-Heaters-Brochure.pdf | https://www.heatingandprocess.com/wp-content/uploads/2016/07/Chromalox-Hazardous-Area-Industrial-Heaters-Brochure.pdf |  | CHROMALOX INC | OPM | TV77I090 | TV77I090 | REFERENCE NUMBER:SG130,QUOTATION NUMBER:412815-00 ¦ 476753-00 | ENRICHED | MRO | 40101815 | Immersion heaters | HEATER | IMMERSION | TEMPERATURE RATING | 400 DEG C | POWER RATING | 9000 W | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 230/400 V | TYPE | WATER | TERMINAL TYPE | SCREW PLUG | SIZE | 820 MM | MATERIAL | STAINLESS STEEL 316L | HAZARD CLASS |  | CERTIFICATION/STANDARD | PED,UL,EX,CE,IEC/EX,CSA,DESP | ADDITIONAL FEATURES | PRESSURE RATING:20 BAR,STAR + TESNIT GASKET BLUE BAU 100 BAR | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 280758 | 280758 | 8386-50381383 | HEAT,IMMER,SPC-3060 MR,600V,6KW | SPC-3060 MR | ASB Heating Elements Ltd | HEATER,IMMERSION,V_RATING:600V,WATT_RATING:6KW,MANUFACTURER:ASB HEATING ELEMENTS LTD,MFR PART NUMBER:SPC-3060 MR |  | BDI | ASBH SPC-3060 MR | ASB Heating Elements Ltd | SPC-3060 MR | HEAT,IMMER,SPC-3060 MR,600V,6KW | [7 empty] | https://www.nriparts.com/products/asb-spc-3060-mr-heating-and-cooling/246240 |  |  | ASB HEATING ELEMENTS LTD | OPM | SPC-3060 MR | SPC-3060 MR |  | ENRICHED | MRO | 40101815 | Immersion heaters | HEATER | IMMERSION | TEMPERATURE RATING | NOT AVAILABLE | POWER RATING | 6 KW | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 600 VAC | TYPE | ELEMENT | TERMINAL TYPE |  | SIZE | 17-1/2 IN | MATERIAL |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 534266 | 534266 | FR34-LFTHER00000002 | THER_1070503_THERMOPLONGEUR | 1070503 |  |  | 6 KW 230/400V REF.1789.03 THERMOPLONGEUR SUR BRIDE VULCALOY | [12 empty] | https://shop.vulcanic.com/fr/2227-thermoplongeur-sur-bride-triangulaire-6-kw-400-v-tri-charge-12-w-cm2.html |  |  | VULCANIC | OPM | 1789.03 | 1789.03 |  | ENRICHED | MRO | 40101815 | Immersion heaters | HEATER | IMMERSION | TEMPERATURE RATING | 5 TO 110 DEG C | POWER RATING | 6000 W | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 230/400 VAC | TYPE | ELECTRIC | TERMINAL TYPE |  | SIZE | 370 LG MM | MATERIAL | STAINLESS STEEL 904L | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC EX,CE,EX,VDC,UL,EAC,ASME | ADDITIONAL FEATURES | PRESSURE RATING:9.5 BAR | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 548896 | 548896 | FR38-5609281 | SG147 THERMOPLONGEUR TV77IO60 810686017 |  |  |  | SG147 THERMOPLONGEUR TV77IO60 810686017 TV77IN060 6000W 230V (Triangle) / 400V (Etoile) 810686017 THERMOPLONGEUR DIA 77 SORTIES FILETEES M6 BLINDAGE INOX AVEC DOIGT DE GANT 4W/CM2 TV77I060++ 6000W 230V (Triangle) / 400V (Etoile) Nº devis: 461770 - 01 DU | [12 empty] | https://www.heatingandprocess.com/wp-content/uploads/2016/07/Chromalox-Hazardous-Area-Industrial-Heaters-Brochure.pdf | https://www.heatingandprocess.com/wp-content/uploads/2016/07/Chromalox-Hazardous-Area-Industrial-Heaters-Brochure.pdf |  | CHROMALOX INC | OPM | TV77IN060 | TV77IN060 | REFERENCE NUMBER:SG147,810686017,QUOTATION NUMBER: 461770-01 DU | ENRICHED | MRO | 40101815 | Immersion heaters | HEATER | IMMERSION | TEMPERATURE RATING | NOT AVAILABLE | POWER RATING | 6000 W | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 230/400 V | TYPE |  | TERMINAL TYPE | SCREW PLUG | SIZE | 77 DIA MM | MATERIAL | STAINLESS STEEL 316L | HAZARD CLASS |  | CERTIFICATION/STANDARD | PED,UL,EX,CE,IEC/EX,CSA,DESP | ADDITIONAL FEATURES | PRESSURE RATING:20 BAR;THREADED OUTLETS SIZE:M6,STAINLESS STEEL SHIELDING WITH SLEEVE,SPECIFIC LOAD:4 W/SQ CM | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 382408 | 382408 | BE35-LBH02907 | VERWARMING 6000 W 230/400 V | MASSER 49632.10 = 2077.53 |  | DOMPELAAR 49632.10 - 6000 W - 230/400 V - AANSLUITING 2 1/2" BSP - INSTEEKLENGTE 460 MM (NIEUWE REF.: 2077.53) | DOMPELAAR 49632.10 - 6000 W - 230/400 V - AANSLUITING 2 1/2" BSP - INSTEEKLENGTE 460 MM (NIEUWE REF.: 2077.53)¦¦DOMPELAAR 49632.10 - 6000 W - 230/400 V - AANSLUITING 2 1/2" BSP - INSTEEKLENGTE 460 MM (NIEUWE REF.: 2077.53)¦¦DOMPELAAR 49632.10 - 6000 W - 2 | [12 empty] | https://www.vulcanic.com/wp-content/uploads/2016/03/Vulcanic-Liquid-heating-copie.pdf |  |  | VULCANIC | OPM | 2077.53 | 2077.53 | REFERENCE NUMBER: 49632.10 | ENRICHED | MRO | 40101815 | Immersion heaters | HEATER | IMMERSION | TEMPERATURE RATING | 110 DEG C | POWER RATING | 6000 W | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 230/400 VAC | TYPE |  | TERMINAL TYPE | SCREW PLUG | SIZE | 70 DIA X 460 LG MM | MATERIAL | STAINLESS STEEL 316L | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION SIZE:2-1/2 IN BSPP | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 551113 | 551113 | FR38-LFT510 | THERMOPLONGEUR TV45EN030++ 3000W 230V | TV45 EN030++ | [15 empty] | https://industrialheat.be/wp-content/uploads/2015/04/TV45-TV47.pdf | https://www.rexel.fr/frx/Cat%C3%A9gorie/Chauffage-%C3%A9lectrique-climatisation-ventilation/Chauffage-industriel-et-tertiaire/Radiateur-%C3%A0-r%C3%A9sistance-industrielle/THERMOPLONGEUR-DIA-45-BLINDAGE-CUIVRE-NICKELE-10W-CM2-TV45EN030%2B%2B-3000W-230/ERX |  | DIRAC INDUSTRIES | OPM | TV45 EN030 | TV45 EN030 |  | ENRICHED | MRO | 40101815 | Immersion heaters | HEATER | IMMERSION | TEMPERATURE RATING | NOT AVAILABLE | POWER RATING | 3000 W | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 230/400 V | TYPE | WATER | TERMINAL TYPE | SCREW PLUG | SIZE | 60 DIA MM | MATERIAL | NICKEL PLATED COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 25984 | 25984 | 8312-50113523 | HEAT,IMMER,ARTM-1000,120V,1000W | ARTM-1000 | Chromalox | HEATER,IMMERSION,V_RATING:120V,WATT_RATING:1000W,MANUFACTURER:CHROMALOX,MFR PART NUMBER:ARTM-1000 | [13 empty] | https://www.chromalox.com/-/media/files/catalog/resources/en-us/mod-artm.pdf |  |  | CHROMALOX INC | OPM | ARTM-1000 | ARTM-1000 |  | ENRICHED | MRO | 40101815 | Immersion heaters | HEATER | IMMERSION | TEMPERATURE RATING | NOT AVAILABLE | POWER RATING | 1 KW | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 120 V | TYPE |  | TERMINAL TYPE | SCREW PLUG | SIZE | 6-5/16 LG IN | MATERIAL | COPPER SHEATH | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL | ADDITIONAL FEATURES | NO OF PHASE:1 PH | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 28667 | 28667 | 8312-50396573 | HEAT,IMMER,ARTM750,120V,750W | ARTM750 | Chromalox | HEATER,IMMERSION,V_RATING:120V,WATT_RATING:750W,MANUFACTURER:CHROMALOX,MFR PART NUMBER:ARTM750 | [13 empty] | https://www.chromalox.com/-/media/files/catalog/resources/en-us/mod-artm.pdf |  |  | CHROMALOX INC | OPM | ARTM750 | ARTM750 |  | ENRICHED | MRO | 40101815 | Immersion heaters | HEATER | IMMERSION | TEMPERATURE RATING | NOT AVAILABLE | POWER RATING | 0.75 KW | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 120 V | TYPE |  | TERMINAL TYPE | SCREW PLUG | SIZE | 6-5/16 LG IN | MATERIAL | COPPER SHEATH | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,UL | ADDITIONAL FEATURES | NO OF PHASE:1 PH | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,CONFLICT WITH I/P AND WEB PROCESSED BASED ON WEB SOURCE | 08-05-2023 | 10-05-2023 |  | 102861 | 102861 | 8339-50224856 | HEAT,IMMER,011-001,460V,24000W | 011-001 | Mokon | HEATER,IMMERSION,V_RATING:460V,WATT_RATING:24000W,MANUFACTURER:MOKON,MFR PART NUMBER:011-001 | [13 empty] | https://www.mokon.com/support/customer-center/pdf/customer-center/spare-parts-list/water-systems/hydrotherm-parts-list.pdf | https://www.nriparts.com/products/mokon-011-001-heating-and-cooling/133894 |  | MOKON | OPM | 011-001 | 011-001 |  | ENRICHED | MRO | 40101815 | Immersion heaters | HEATER | IMMERSION | TEMPERATURE RATING | NOT AVAILABLE | POWER RATING | 2.2 KW | CURRENT RATING | NOT AVAILABLE | VOLTAGE RATING | 240 V | TYPE | CARTRIDGE ELEMENT | TERMINAL TYPE |  | SIZE | 12-1/2 LG IN | MATERIAL | COPPER | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [40 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 207749 | 207749 | 8364-50490497 | HEAT,SPACE,HD3D-2500TSPD-480V | HD3D-2500TSPD-480V | Chromalox | HEATER,SPACE,TYPE:ELECTRIC FAN DRIVEN,POWER_RATING:480V,MANUFACTURER:CHROMALOX,MFR PART NUMBER:HD3D-2500TSPD-480V | [13 empty] | https://www.chromalox.com/en/catalog/industrial-heaters-and-systems/hazardous-location-and-corrosive-environment-air-heaters/washdown-and-corrosion-resistant-unit-heaters/hd3d-hose-down-corrosion-resistant-blower-heater |  |  | CHROMALOX INC | OPM | HD3D-2500TSPD-480V | HD3D-2500TSPD-480V |  | ENRICHED | MRO | 40101800 | Heating Equipment And Parts And Accessories | HEATER |  | TYPE | HOSE DOWN CORROSION RESISTANT BLOWER | VOLTAGE RATING | 480 VAC | CURRENT RATING | 30.5 A | TEMPERATURE RATING | NOT AVAILABLE | POWER RATING | 25 KW | MATERIAL | STAINLESS STEEL GR 304 | TERMINAL TYPE |  | SIZE | 32-1/4 X 21-1/4 X 19-1/2 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE:NEMA 4X,SPEED RATING:1725 RPM,FLOW RATING:2700 CFM | [38 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 826595 | 826595 | UA01-5595733 | HEATER TWIM 15 230V SKF | [16 empty] | https://www.skf.com/in/products/maintenance-products/bearing-heaters/heaters-for-mounting/portable-induction-heater |  |  | SKF | OPM | TWIM 15 | TWIM 15 |  | ENRICHED | MRO | 40101800 | Heating Equipment And Parts And Accessories | HEATER |  | TYPE | PORTABLE INDUCTION | VOLTAGE RATING | 230 VAC | CURRENT RATING | 10 A | TEMPERATURE RATING | 40 TO 200 DEG C | POWER RATING | 2.3 KVA | MATERIAL |  | TERMINAL TYPE |  | SIZE | 450 WDX 100 HT X 500 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [39 empty] | Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 538288 | 538288 | FR35-LF85011 | STATOR DFT132M4 |  |  |  | STATOR DFT 132M4 7.5 KW | [12 empty] | https://asisurplus.com/sew-eurodrive-dft132m4-stator-10hp/ |  |  | SEW-EURODRIVE | OPM | DFT132M4 | DFT132M4 |  | ENRICHED | MRO | 26101410 | Motor stator | STATOR |  | TYPE | NOT AVAILABLE | STATOR INNER DIAMETER | NOT AVAILABLE | CORE LENGTH | NOT AVAILABLE | NUMBER OF POLES |  | NUMBER OF SLOTS | NOT AVAILABLE | NUMBER OF TURNS/COIL | NOT AVAILABLE | NUMBER OF COILS | NOT AVAILABLE | CONDUCTOR SIZE | NOT AVAILABLE | ELECTRICAL RATING | 7.5 KW | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 663 | 663 | 8301-52002005 | ESTATOR DA BOMBA NM031BY01L06B (NETZSCH) | NM031BY01L06B | Netzsch USA Inc | ESTATOR DA BOMBA NM031BY01L06B (NETZS ES-NM031-01L SBBPF/1020 72SH P/STP3 N.NDB4957755 Grupo = Mecanica | ESTATOR DA BOMBA NM031BY01L06B (NETZS ES-NM031-01L SBBPF/1020 72SH P/STP3 N.NDB4957755 Grupo = Mecanica | [12 empty] | https://burtprocess.com/netzsch-nm031by01l06b-nemo-progressing-cavity-pump |  |  | NETZSCH GROUP | OEM | NM031BY01L06B | NM031BY01L06B | REFERENCE NUMBER:ES-NM031-01L SBBPF/1020 72SH P/STP3 N.NDB4957755 | ENRICHED | MRO | 40151729 | Pump stator | STATOR | PUMP | TYPE |  | MATERIAL | BUNA/VITON | DIAMETER | 2 IN | LENGTH |  | PUMP STYLE | NEMO PROGRESSING CAVITY | ADDITIONAL FEATURES | VOLTAGE RATING:230-460 VAC,HORSE POWER:1-2 HP,PHASE:3 PH,FREQUENCY:60 HZ,SPEED RATING:269-500 RPM,CONNECTION TYPE:FLANGE,HOUSING MATERIAL:STAINLESS STEEL 316/CAST IRON | [49 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 661 | 661 | 8301-52002000 | ESTATOR DA BOMBA NM045BY02S14V (NETZSCH) | NM045BY02S14V | Netzsch USA Inc | ESTATOR DA BOMBA NM045BY02S14V(NETZSREF.ES-NM045-02S SBBPF/1020 P/ STP3N.NDB4956939Grupo = Mecanica | ESTATOR DA BOMBA NM045BY02S14V(NETZSREF.ES-NM045-02S SBBPF/1020 P/ STP3N.NDB4956939Grupo = Mecanica | [12 empty] | https://burtprocess.com/netzsch-nm045by02s14v-nemo-progressing-cavity-pump |  |  | NETZSCH GROUP | OEM | NM045BY02S14V | NM045BY02S14V | REFERENCE NUMBER:ES-NM045-02S SBBPF/1020 P/ STP3N.NDB4956939 | ENRICHED | MRO | 40151729 | Pump stator | STATOR | PUMP | TYPE |  | MATERIAL | BUNA | DIAMETER | 3 IN | LENGTH |  | PUMP STYLE | NEMO PROGRESSING CAVITY | ADDITIONAL FEATURES | VOLTAGE RATING:230-460 VAC,HORSE POWER:5 HP,PHASE:3 PH,FREQUENCY:60 HZ,SPEED RATING:157-416 RPM,CONNECTION TYPE:FLANGE,HOUSING MATERIAL:STAINLESS STEEL 316/CAST IRON | [49 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 579667 | 579667 | GB36-5458736 | MONO PUMP RRD802200 STATOR CAF12G1R3 |  |  | MONO PUMP STATOR CAF 12G1R3 RD802200 BRAMMER |  | Rubix | 131A2777 | MONOPUMP |  |  | MONOPUMP STATOR RRD802200 | [6 empty] | https://www-smedegaarden-net.translate.goog/shop/engine_room/water_pump/dresser_caf12g1r3?_x_tr_sl=da&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  |  | DRESSER | OPM | CAF12G1R3 | CAF12G1R3 | ALTERNATE MANUFACTURER:BRAMMER,ALTERNATE PART NUMBER:RD802200 | ENRICHED | MRO | 40151729 | Pump stator | STATOR | PUMP | TYPE |  | MATERIAL | NOT AVAILABLE | DIAMETER |  | LENGTH |  | PUMP STYLE |  | ADDITIONAL FEATURES | POWER RATING:7.5 KW,SPEED:960 RPM,CLASS:F,NUMBER OF PHASE:3 PH,VOLTAGE RATING:380 V | [49 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED_CONFLICT WITH I/P PROCESS BASED ON WEB SOURCE | 08-05-2023 | 10-05-2023 |  | 553319 | 553319 | FR39-LF27877CHT | THERMOSTAT | 8650-65-60/101120 | JUMO REGULATION S.A |  | POUR MT 0383 M KN-KIFC 80 A 50° 240126FF | [12 empty] | https://platinum-international.store/product/platinum-international/control-system-plcs/temperature-controllers/jumo-8650-65-72-temperature-controller-with-digital-indication/ |  |  | JUMO | OPM | 8650-65-60 | 101120 | REFERENCE NUMBER:240126FF | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | 0 TO 100 DEG C | SENSOR TYPE |  | OUTPUT TYPE |  | POWER SUPPLY | 2000 W | ACCURACY |  | VOLTAGE RATING | 250 VAC | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 72 WD X 72 HT X 95 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CURRENT RATING:80 A | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 769947 | 769947 | RU03-5561218 | THERMOSTAT;GROHTERM_MICRO_344870000 | [16 empty] | https://www.grohe.co.in/en_in/grohtherm-micro-thermostatic-scalding-protection-34487000.html | https://www.tapsempire.co.uk/product/grohe-grohtherm-micro-thermostatic-scalding-protection-34487/ |  | GROHE PACIFIC PTE LTD | OPM | 34487000 | 34487000 |  | ENRICHED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | MICRO SCALDING PROTECTION | ACCURACY | NOT AVAILABLE | SWITCH CONFIGURATION | NOT AVAILABLE | TEMPERATURE RATING | 15 TO 46 DEG C | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE | 100 LG X 85 HT MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION:3/8 IN,FINISH:CHROME | APPLICATION | FOR WASH BASINS | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 10-05-2023 |  | 583941 | 583941 | GB37-CB41915106 | THERMOSTAT,SA 128,-20 -110 C,SPIRAX |  |  | -20c TO 110c 2 MTR KNOB 3814090-00 | [13 empty] | https://content.spiraxsarco.com/-/media/spiraxsarco/international/documents/en/ti/sa121-ti-p046-01-en.ashx?rev=effce0a276d2433989529341e2e33c62 | https://www.statesupply.com/sg3296 | https://www.cooneybrothers.com/spirax-sarco-3844091 | SPIRAX SARCO | OPM | 3814090 | SA 128 |  | ENRICHED | MRO | 41112200 | Temperature and heat measuring instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | RANGE 1:-20 TO 110 DEG C,RANGE 2:40 TO 170 DEG C | SENSOR TYPE |  | OUTPUT TYPE |  | POWER SUPPLY |  | ACCURACY |  | VOLTAGE RATING |  | TYPE | SELF-ACTING,KNOB STYLE | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL | BRASS | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ISO 9001 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED_CONFLICT WITH TEMPERATURE PROCESS BASED ON I/P | 08-05-2023 | 10-05-2023 |  | 50728 | 50728 | 8314-50471535 | THERMOST,66228,HOT WATER CUTOUT,450 F | 66228 | Spirax Sarco | THERMOSTAT,APPLICATION:HOT WATER CUTOUT,MAX_TEMP:450 F,MANUFACTURER:SPIRAX SARCO,MFR PART NUMBER:66228 | [13 empty] | https://www.cooneybrothers.com/spirax-sarco-66228 |  |  | SPIRAX SARCO | OPM | 66228 | 66228 |  | ENRICHED | MRO | 40142503 | Steam traps | TRAP | STEAM | CONNECTION TYPE | FNPT | FLOW CAPACITY |  | PRESSURE RATING | 200 PSIG | TEMPERATURE RATING | 450 DEG F | NOMINAL PIPE SIZE | 1 IN | MATERIAL | CARBON STEEL | TYPE | FLOAT AND THERMOSTATIC | SCHEDULE/WALL THICKNESS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | FOR HOT WATER CUTOUT | [39 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 10-05-2023 |  | 379761 | 379761 | BE35-5574767 | THERMOSTAAT ULTRAMIX TX 92E 3/4 | SANIK :WAT933066 TX92E |  | THERMOSTAAT ULTRAMIX TX 92E 3/4 "WAT933066 TX92E" SANIK :WAT933066 TX92E OFFERTE :53997/1 | THERMOSTAAT ULTRAMIX TX 92E 3/4 "WAT933066 TX92E" SANIK :WAT933066 TX92E OFFERTE :53997/1¦¦THERMOSTAAT ULTRAMIX TX 92E 3/4 "WAT933066 TX92E" SANIK :WAT933066 TX92E OFFERTE :53997/1¦¦THERMOSTAAT ULTRAMIX TX 92E 3/4 "WAT933066 TX92E" SANIK :WAT933066 TX92E | [12 empty] | https://wattswater.eu/technical-support/leaflets/mixing-valves/5387/ | https://www.advancedwater.co.uk/product/watts-type-tx92e-ultramix-3-4-inch-3-56l-flow-rate-thermostatic-mixing-valve-tx92e |  | WATTS WATER TECHNOLOGIES EMEA B.V. | OPM | 933066 | TX92E | SANIK,REFERENCE NUMBER:53997/1 | ENRICHED | MRO | 40141600 | Valves | VALVE |  | CONFIGURATION |  | TYPE | THERMOSTATIC MIXING | NOMINAL SIZE | 3/4 IN | END CONNECTION | MBSP | PRESSURE CLASS/RATING | 10 BAR | BODY MATERIAL | BRASS | DESIGN PRESSURE | 1.5 BAR | TEMPERATURE RATING | 10 TO 50 DEG C | OPERATED | KNOB | TRIM |  | SOFTGOODS |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ACS,BELGAQUA | ADDITIONAL FEATURES | BRAND:ULTRAMIX | APPLICATION |  | NUMBER OF ORIFACES | [30 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 383084 | 383084 | BE35-LBH05814 | THERMOSTAAT PENN A19ABC-9116 | COMPRESSOR THERMOSTAAT |  | THERMOSTAAT PENN TYPE A19ABC - 9116 | THERMOSTAAT PENN TYPE A19ABC - 9116¦¦THERMOSTAAT PENN TYPE A19ABC - 9116¦¦THERMOSTAAT PENN TYPE A19ABC - 9116 | [12 empty] | https://www.schiessl-kaelte.com/en_DE/Shop/Refrigeration%20components/Regulators/Mechanical/Thermostats/Penn-capillary-tube-thermostat-A19ABC-9116-1-60C~p51844 |  |  | JOHNSON CONTROLS | OPM | A19ABC-9116 | A19ABC-9116 |  | ENRICHED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | CAPILLARY TUBE,COMPRESSOR | ACCURACY | NOT AVAILABLE | SWITCH CONFIGURATION | NOT AVAILABLE | TEMPERATURE RATING | 1 TO 60 DEG C | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE | 3 M TUBE | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | BRAND:PENN,CABLE ENTRY:22.3 MM | APPLICATION | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,CONFLICT WITH TEMP RATING PROCESS BASED ON WEB SOURCE | 08-05-2023 | 10-05-2023 |  | 293315 | 293315 | AT31-5273256 | THERMOSTATIC DANFOSS AVTA G3/4" --> |  | DANFOSS |  | "THERMOSTATIC DANFOSS AVTA G3/4""" REGELBEREICH 0-30°C KAPILARROHRLAENGE 2M | [12 empty] | https://store.danfoss.com/in/en/Sensing-Solutions/Valves/Thermostatic-valves/Thermostatic-valves/Thermo-operated-water-valve%2C-AVTA-20%2C-G%2C-3-4/p/003N3132 |  |  | DANFOSS | OPM | AVTA G3/4 IN | AVTA G3/4 IN |  | ENRICHED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | WATER VALVE | ACCURACY | NOT AVAILABLE | SWITCH CONFIGURATION | NOT AVAILABLE | TEMPERATURE RATING | -25 TO 130 DEG C | MATERIAL | BRASS | VOLTAGE RATING |  | CURRENT RATING |  | SIZE | 23/32 DIA X 8-1/4 LG IN | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EAC,LLC CDC TYSK,PED,ROHS | ADDITIONAL FEATURES | CONNECTION SIZE:3/4 IN BSPP,FLOW RATING:3.9 GAL/MIN,PRESSURE RATING:10 BAR,CAPILLARY TUBE LENGTH:78-3/4 IN | APPLICATION | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,CONFLICT WITH TEMP RATING PROCESS BASED ON WEB SOURCE | 08-05-2023 | 10-05-2023 |  | 292997 | 292997 | AT31-5272648 | THERMOSTATIC DANFOSS AVTA25 G1" 003N4162 | AVTA25 003N4162 REGELVENTIL | CASTAN | 25-65°C | 25-65°C | Rubix | 3NA162 | CASTAN |  |  | AVTA25 003N4162 REGELVENTIL | [6 empty] | https://store.danfoss.com/en/Climate-Solutions-for-cooling/Valves/Water-valves---thermostatically-and-pressure-controlled/Thermostatic-valves/Thermo-operated-water-valve%2C-AVTA-25%2C-G%2C-1/p/003N4162 | https://shoptransmitter.com/avta-25-thermostatic-valve-2m-o18-210-mm-g1-003n4162/ |  | DANFOSS | OPM | 003N4162 | AVTA 25 |  | ENRICHED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | WATER VALVE | ACCURACY | NOT AVAILABLE | SWITCH CONFIGURATION | NOT AVAILABLE | TEMPERATURE RATING | -25 TO 130 DEG C | MATERIAL | BRASS | VOLTAGE RATING |  | CURRENT RATING |  | SIZE | 23/32 DIA X 8-1/4 LG IN | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EAC,LLC CDC TYSK,PED,ROHS | ADDITIONAL FEATURES | CONNECTION SIZE:1 IN BSPP,FLOW RATING:6.4 GAL/MIN,PRESSURE RATING:25 BAR,CAPILLARY TUBE LENGTH:78-3/4 IN | APPLICATION | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 84397 | 84397 | 8326-52174489 | TERMOSTATO ATLAS 3001400012 |  |  | ORIGINAL SPARE PART ATLAS COPCO CODE 3001400012 THERMOSTAT |  | Fastnel | [5 empty] | TERMOSTATO ATLAS 300 | [5 empty] | https://www.atlascopco.com/en-gr/compressors/service/parts/air-compressor-parts/3001400012 |  |  | ATLAS COPCO | OPM | 3001400012 | 3001400012 |  | CLEANSED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | SWITCH CONFIGURATION | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | APPLICATION | [35 empty] | Oem Cleansed items,Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 383082 | 383082 | BE35-LBH05812 | THERMOSTAAT RT3 (-25/+15GR.) | DANFOSS NR. 017-5014 |  | THERMOSTAAT DANFOSS TYPE RT3 (-25 TOT +15 GR) CODE NR.: 017- 5014 | THERMOSTAAT DANFOSS TYPE RT3 (-25 TOT +15 GR) CODE NR.: 017- 5014¦¦THERMOSTAAT DANFOSS TYPE RT3 (-25 TOT +15 GR) CODE NR.: 017- 5014¦¦THERMOSTAAT DANFOSS TYPE RT3 (-25 TOT +15 GR) CODE NR.: 017- 5014 | [12 empty] | https://store.danfoss.com/en/Climate-Solutions-for-cooling/Switches/Temperature-switches/Thermostat%2C-RT3/p/017-501466 |  |  | DANFOSS | OPM | 017-5014 | 017-5014 |  | ENRICHED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | RT3 | ACCURACY | NOT AVAILABLE | SWITCH CONFIGURATION | SPDT | TEMPERATURE RATING | -25 TO 15 DEG C | MATERIAL |  | VOLTAGE RATING | 400 V | CURRENT RATING |  | SIZE | 3/8 DIA X 3-1/8 LG IN | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,EAC,GL,LVD,NKK,PZH,RMRS,RoHS,TYSK,LLC CDC EURO-TYSK,UKCA | ADDITIONAL FEATURES | CONNECTION SIZE:2 X PG13.5,CONNECTION TYPE:FEMALE,ENCLOSURE RATING:IP66,CAPILLARY TUBE LENGTH:2000 MM | APPLICATION | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 846216 | 846216 | AU02-EA501886 | THERMOSTAT DANFOSS RT3 25C/15C | 017-501466 |  | 017-501466 | [13 empty] | https://store.danfoss.com/en/Climate-Solutions-for-cooling/Switches/Temperature-switches/Thermostat%2C-RT3/p/017-501466 |  |  | DANFOSS | OPM | 017-501466 | 017-501466 |  | ENRICHED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | RT3 | ACCURACY | NOT AVAILABLE | SWITCH CONFIGURATION | SPDT | TEMPERATURE RATING | -25 TO 15 DEG C | MATERIAL |  | VOLTAGE RATING | 400 V | CURRENT RATING |  | SIZE | 3/8 DIA X 3-1/8 LG IN | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,EAC,GL,LVD,NKK,PZH,RMRS,RoHS,TYSK,LLC CDC EURO-TYSK,UKCA | ADDITIONAL FEATURES | CONNECTION SIZE:2 X PG13.5,CONNECTION TYPE:FEMALE,ENCLOSURE RATING:IP66,CAPILLARY TUBE LENGTH:2000 MM | APPLICATION | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 846215 | 846215 | AU02-EA501885 | THERMOSTAT DANFOSS RT14-5C/30C | 017-509966 |  | 017-509966 | [13 empty] | https://store.danfoss.com/en/Climate-Solutions-for-cooling/Switches/Temperature-switches/Thermostat%2C-RT14/p/017-509966 |  |  | DANFOSS | OPM | 017-509966 | 017-509966 |  | ENRICHED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | RT14 | ACCURACY | NOT AVAILABLE | SWITCH CONFIGURATION | SPDT | TEMPERATURE RATING | -5 TO 30 DEG C | MATERIAL |  | VOLTAGE RATING | 400 V | CURRENT RATING |  | SIZE | 3/8 DIA X 4-1/4 LG IN | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CCC,CE,EAC,GL,LVD,NKK,PZH,RMRS,RoHS,TYSK,LLC CDC EURO-TYSK,UKCA | ADDITIONAL FEATURES | CONNECTION SIZE:2 X PG13.5,CONNECTION TYPE:FEMALE,CAPILLARY TUBE LENGTH:2000 MM,ENCLOSURE RATING:IP66 | APPLICATION | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 136731 | 136731 | 8349-50166939 | THERMOST,AMC-1B,HEAT TRACING,325 F | AMC-1B | Tyco Thermal Controls LLC | THERMOSTAT,APPLICATION:HEAT TRACING,MAX_TEMP:325 F,MANUFACTURER:TYCO THERMAL CONTROLS LLC,MFR PART NUMBER:AMC-1B | [13 empty] | https://rexel-cdn.com/products/raychem-amc1b-en-manual.pdf?i=B299F569-254A-4883-BD95-A8C97CEACFE3 |  |  | TYCO ELECTRONICS | OPM | AMC-1B | AMC-1B |  | ENRICHED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | LINE-SENSING | ACCURACY | +/-6 DEG F | SWITCH CONFIGURATION | SPDT | TEMPERATURE RATING | 25 TO 325 DEG F | MATERIAL | STAINLESS STEEL | VOLTAGE RATING | 125/250/480 VAC | CURRENT RATING | 22 A | SIZE | 114 WD X 142 HT X 76 DP MM | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | APPLICATION | HEAT TRACING | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK,NM CHANGED | 08-05-2023 | 10-05-2023 |  | 323499 | 323499 | AU04-EA615001 | ELEMENT,HTG,415V,4.5KW,2IN BSP,405MM LG | AASTED 12504-85,DEVI DK 7100 |  | AASTED 12504-85,DEVI DK 7100 | [13 empty] | URL NOT FOUND |  |  | DEVI | OPM | AASTED 12504-85 | AASTED 12504-85 | DK 7100 | CLEANSED | MRO | 40101830 | Heater elements | ELEMENT | HEATER | VOLTAGE RATING | 415 V | POWER RATING | 4.5 KW | MATERIAL |  | TYPE |  | SIZE | 405 MM LG | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION SIZE:2 IN BSP | [42 empty] | Part number is not available so we updated Model number as Part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 186816 | 186816 | 8353-52239801 | TERMOSTATO/L07P1055/ELIWELL | L07P1055 | QUEZAR SA DE CV | [14 empty] | https://lagff.com/ECIR1033A | https://www.lefroid.fr/fr/c/p/3397514 |  | ELIWELL | OPM | L07-P1055 | L07-P1055 | ALTERNATE MANUFACTURE NAME:QUEZAR SA DE CV | ENRICHED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | SAFETY | ACCURACY | NOT AVAILABLE | SWITCH CONFIGURATION | NOT AVAILABLE | TEMPERATURE RATING | 82 DEG C | MATERIAL |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CAPILLARY LENGTH:0.92 M | APPLICATION | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | VNE | VNE | OK | 08-05-2023 | 10-05-2023 |  | 319745 | 319745 | AU04-EA608653 | THERMOSTAT,200/250VAC,15A,150DEG C | STOKES TYJ6333,SIMMERSTAT |  | STOKES TYJ6333,SIMMERSTAT--,MANUFACTURER PART NUMBER-STOKES TYJ6333,SIMMERSTAT | [13 empty] | https://www.stokesap.com.au/TYJ6303/SIMMERSTAT-CONTROL-13AMPS-%2B-KNOB/pd.php | https://undercontrol.co.uk/catering-spares/simmerstat-control/sunvic-simmerstat/ |  | STOKES | OPM | TYJ6333 | TYJ6333 |  | ENRICHED | MRO | 41112209 | Thermostats | THERMOSTAT |  | TYPE | SIMMERSTAT | ACCURACY | NOT AVAILABLE | SWITCH CONFIGURATION | NOT AVAILABLE | TEMPERATURE RATING | 150 DEG C | MATERIAL |  | VOLTAGE RATING | 200/250 VAC | CURRENT RATING | 15 A | SIZE |  | MOUNTING TYPE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES |  | APPLICATION | [35 empty] | Oem Cleansed items,Model number is not available so we updated Part number as Model number | Production Completed