## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 | UNSPSC UPDATED | 759168 | 759168 | RU02-5583018 | BLOCK;SEGNETICS;PIXEL-2511-02-0 | [16 empty] | https://segnetics-russia.ru/product/kontroller-segnetics-pixel-2511-02-0 |  |  | SEGNETICS | OPM | PIXEL-2511-02-0 | PIXEL-2511-02-0 |  | ENRICHED | MRO | 32151700 | Programmable Logic Controllers | CONTROLLER |  | TYPE | NOT AVAILABLE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | 2 RELAY,1 TRIAC | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 277 VAC,50 HZ | DISPLAY TYPE | SINGLE COLOR 122 X 32 | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER CONSUMPTION:3.5 W;RESOLUTION:10 MV/20 UA;SWITCHING TIME:10 MS | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 497584 | 497584 | ES32-5602159 | POSICIONADOR BURKER 00306936 |  |  |  | POSICIONADOR ELECTRO-NEUMATICO 8693-E1-00-FA03-E-F-KD-GW-T-D-0-L * PU02 | [12 empty] | https://www.burkert.com/en/type/8693 | https://www.burkert.com/en/Media/plm/DTS/DS/DS8693-Standard-EU-EN.pdf?id=DTS0000000000000001000110929ENAA |  | BURKERT FLUID CONTROL | OPM | 8693-E1-00-FA03-E-F-KD-GW-T-D-0-L-PU02 | 8693-E1-00-FA03-E-F-KD-GW-T-D-0-L-PU02 | ALTERNATE OPM PART NUMBER:00306936 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | DIGITAL ELECTRO PNEUMATIC PROCESS | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 24 VDC | DISPLAY TYPE | BACKLIT GRAPHIC | CONTROL MODE |  | CONNECTION TYPE | CABLE GLAND | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EMC,UL,ATEX,IECEX | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 | MODIFIER UPDATED | 1420 | 1420 | 8301-52005368 | CONTROLADOR DE TEMPERATURA IREVC0LC00 |  |  | CONTROLADOR DE TEMPERATURA -CARELL CONTROLADOR DE TEMPERATURA - CARELL IREVC0LC00 12VAC(MARECHAL/UNIBLOCK)IR32CEA000SUPLAY12VAC UNI BLOCGrupo =Eletrica/Eletronica | CONTROLADOR DE TEMPERATURA -CARELL CONTROLADOR DE TEMPERATURA - CARELL IREVC0LC00 12VAC(MARECHAL/UNIBLOCK)IR32CEA000SUPLAY12VAC UNI BLOCGrupo =Eletrica/Eletronica | [12 empty] | https://www.carel.com/documents/10191/0/%2B3000064EN/78fab7ca-203a-484b-a38d-c805997b9bad?version=1.0 |  |  | CAREL | OEM | IREVC0LC00 | IREVC0LC00 | ALTERNATE REFERENCE NUMBER:IR32CEA000 | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | 12 TO 24 VAC | ACCURACY |  | VOLTAGE RATING |  | TYPE |  | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | HACCP | ADDITIONAL FEATURES | DISPAY: LED,INPUT TYPE:2 NTC 2 DI,MARECHAL/UNIBLOCK,Group: Electric/Electronic | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 542664 | 542664 | FR36-LFREGT5881 | REGT-REGULAT-JUMO-703044/182-142-23FOUEP | 703044/182-142-23 |  |  | Régulateur DTRON 304 Jumo Type 703044/182-142-23 en remplacement du Dicon 500 Type: dTRON 304 1 entrée analogique,2 relais,2 entrées/sorties logiques, alim p.convertisseur 2 fils Extension type de base: Type de base Exécution: Standard avec réglage d'usin | [12 empty] | https://www.jumo.net/attachments/JUMO/attachmentdownload?productgroup=703041&language=en | https://www.distrelec.de/en/compact-controller-dtron-240v-output-type-analogue-relay-logic-92-92mm-jumo-703044-181-400-23-000/p/17694081 |  | JUMO GMBH | OPM | 703044/182-142-23 | 304/308/316 | PRICE OFFER NUMBER:769710 C1-C2/OVEN G1-G2-G3-G4/OVEN | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER |  | TYPE | COMPACT,P,PI,PD,PID | INPUT SIGNAL | ANALOG | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 110-240 VAC,48.63 Hz | DISPLAY TYPE | LCD | CONTROL MODE |  | CONNECTION TYPE | SCREW TERMINAL | MOUNTING TYPE | PANEL | SIZE | 92 WD X 92 HT X 90 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60730,CULUS,DNV GL | ADDITIONAL FEATURES | DTRON REGULATOR JUMO TYPE TO REPLACE DICON 500,2 RELAYS,2 LOGIC I/O,2-WIRE CONVERTER SUPPLY EXTENSION BASIC TYPE:BASIC TYPE EXECUTION:STANDARD WITH FACTORY SETTING LOGIC OUTPUTS:2X0/18V CONNECTOR 1:ANALOG INPUT 2 CONNECTOR 2:ANALOG OUTPUT CONNECTOR 3:RELA | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 87498 | 87498 | 8326-52198778 | DRIVE MINARIK MM10 115AC PCM |  |  | DRIVE MARCA MINARIK MODLEO MM10-115AC-PCM |  | Fastnel | [5 empty] | DRIVE MINARIK MM10 1 | [5 empty] | https://www.nriparts.com/products/minarik-mm10-115ac-pcm-dc-drives-and-speed-controllers/593404 | https://www.galco.com/mm10-115ac-pcm-mnrk.html |  | MINARIK DRIVES | OPM | MM10-115AC-PCM | MM10-115AC-PCM |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | MOTOR | INPUT SIGNAL | 115 VAC | OUTPUT SIGNAL | 10 A | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 0-90 VDC | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 4.25 X 4 X 1-3/4 IN | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,CUL,UL, | ADDITIONAL FEATURES | OPERATOR CONTROLS:BUILT IN;TEMPERATURE RANGE:50-104 DEG F | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 74263 | 74263 | 8321-52251803 | MICRO-CONTROLADOR//31020422/SCHROEDER | 31020422 | Schroeder Industries | [14 empty] | https://www.machinepartstoolbox.com/lantech-mci-board-31020422-must-provide-model-serial-with-order.html | https://www.radwell.co.uk/en-GB/Buy/LANTECH/LANTECH/31020422/?redirect=true |  | LANTECH | OEM | 31020422 | 31020422 | OPM:SCHROEDER INDUSTRIES | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER |  | TYPE | MICRO CONTROLLER PROCESSOR | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 688366 | 688366 | MY43-5047708 | L4 L.CART DANFOSS VLT MCO305 | [16 empty] | https://files.danfoss.com/download/Drives/doc_MG33K302.pdf |  |  | DANFOSS | OPM | VLT MCO305 | VLT MCO305 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | MOTION | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 24 V | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | L4 L.CART | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 591340 | 591340 | GB38-CB60040983 | CONTROL(/LER),PLC,OMRON,C200H-ID215 | C200H-ID215 | OMRON ELECTRONIC COMPONENTS | CONTROL(/LER),PLC,OMRON,C200H-ID215 | [13 empty] | https://www.fa.omron.com.cn/data_pdf/mnu/w133-e1-3a_c200h.pdf?id=14 |  |  | OMRON ELECTRONICS | OPM/OEM | C200H-ID215 | C200H-ID215 |  | ENRICHED | MRO | 32151707 | Programmable Logic Controller Programming Device | CONTROLLER |  | TYPE | PROGRAMMABLE | INPUT SIGNAL | 32 PTS | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 24 VDC,4.1 MA | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | INPUT IMPEDENCE:5.6 OHM | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 38176 | 38176 | 8312-50471450 | CONTR,PROG,13130261,ELAU INC | 13130261 | Elau Inc | CONTROL,PROGRAMMABLE,DETAILS:ELAU INC,MANUFACTURER:ELAU INC,MFR PART NUMBER:13130261 | [13 empty] | https://eref.se.com/us/en/scope/product-pdf/VCA07AAAA0AA00 |  |  | ELAU INC | OPM | 13130261 | VCA07AAAA0AA00 | ALTERNATE OPM:SCHNEIDER ELECTRIC | ENRICHED | MRO | 32151700 | PROGRAMMABLE LOGIC CONTROLLERS | CONTROLLER |  | TYPE | PAC DRIVE,PROGRAMMABLE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 65647 | 65647 | 8319-52209903 | CONTR,PLC,K041911AAA,ECC 2 BOX ASSEMBLY | K041911AAA | DEMATIC | CONTROL,PLC,DETAILS:ECC 2 BOX ASSEMBLY,MANUFACTURER:DEMATIC,MFR PART NUMBER:K041911AAA |  | BDI | RAPISTA K041911AAA | DEMATIC | K041911AAA | CONTR,PLC,K041911AAA,ECC 2 BOX ASSEMBLY | [7 empty] | https://www.radwell.co.uk/en-GB/Buy/DEMATIC/DEMATIC/K041911AAA/?redirect=true |  |  | DEMATIC | OEM | K041911AAA | K041911AAA |  | ENRICHED | MRO | 32151700 | PROGRAMMABLE LOGIC CONTROLLERS | CONTROLLER |  | TYPE | EMBEDDED CONVEYOR CONTROLLER | INPUT SIGNAL | 24 VDC | OUTPUT SIGNAL | 24-48 VDC | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ECC 2 BOX ASSEMBLY | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 135161 | 135161 | 8349-50067386 | CONTR,WEIGH SCALE,HI2151/30WC,HARDY INST | HI2151/30WC | Hardy Instruments Inc | CONTROL,WEIGH SCALE,DETAILS:HARDY INST,MANUFACTURER:HARDY INSTRUMENTS INC,MFR PART NUMBER:HI2151/30WC | [13 empty] | https://www.hardysolutions.com/products/weighing-instruments/weight-controllers/product/458/hi-215130wc-single-scale-controller | https://www.hardysolutions.com/hi2151-30 |  | HARDY INSTRUMENTS, INC. | OPM | HI2151/30WC | HI2151/30WC |  | ENRICHED | MRO | 32151700 | PROGRAMMABLE LOGIC CONTROLLERS | CONTROLLER |  | TYPE | MULTIPURPOSE WEIGHT | INPUT SIGNAL | 240 VAC | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 120/240 VAC | DISPLAY TYPE | LED | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE | PANEL | SIZE | 146 X 78.4 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,NTEP,UL | ADDITIONAL FEATURES | TEMPERATURE RATING:-10 TO 50 DEG C | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 156425 | 156425 | 8349-52201468 | CONTR,WEIGH SCALE | HI 4050-PM-AC-EIP-N2-N3 | Hardy Instruments Inc | CONTROL,WEIGH SCALE,DETAILS:SMM SD,MANUFACTURER:HARDY INSTRUMENTS INC,MFR PART NUMBER:HI 4050-PM-AC-EIP-N2-N3 | [13 empty] | https://www.hardysolutions.com/products/weighing-instruments/weight-controllers/product/482/hi-4050-single-scale-weight-controller |  |  | HARDY INSTRUMENTS, INC. | OPM | HI 4050-PM-AC-EIP-N2-N3 | HI 4050-PM-AC-EIP-N2-N3 |  | ENRICHED | MRO | 32151700 | PROGRAMMABLE LOGIC CONTROLLERS | CONTROLLER |  | TYPE | WEIGHT | INPUT SIGNAL | 110-240 VAC | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 24 VDC | DISPLAY TYPE | LCD | CONTROL MODE |  | CONNECTION TYPE | DEVICENET | MOUNTING TYPE | PANEL | SIZE | 143.5 WD X 75.7 HT X 76.2 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | UL/CUL,CE,NTEP | ADDITIONAL FEATURES | TEMPERATURE RATING:-10 TO 60 DEG C | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 294187 | 294187 | AT31-5274741 | JUMO DICON TOUCH 00607044 | 607044 | JUMO | Typ DICON touch Zweikanal-Prozessregler mit 2x Universaleingänge, 2x Relais (Wechsler), 7x Binäreingänge, 1x RS485 Modbus Ausführung Standard mit werkseitigen Einstellungen Sprache Deutsch/Englisch voreingestellt Spannungsversorgung AC 110..240V +10/-15%, | Typ DICON touch Zweikanal-Prozessregler mit 2x Universaleingänge, 2x Relais (Wechsler), 7x Binäreingänge, 1x RS485 Modbus Ausführung Standard mit werkseitigen Einstellungen Sprache Deutsch/Englisch voreingestellt Spannungsversorgung AC 110..240V +10/-15%, | [12 empty] | https://www.conrad.com/p/jumo-jumo-temperature-controller-l-j-u-t-k-e-n-s-r-b-c-d-l-chromel-alumel-chromel-copel-l-x-w-x-h-131-1403304 |  |  | JUMO GMBH | OPM | 00607044 | 00607044 |  | ENRICHED | MRO | 32151700 | PROGRAMMABLE LOGIC CONTROLLERS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | THERMOCOUPLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | 110 TO 240V | ACCURACY |  | VOLTAGE RATING |  | TYPE | UNIVERSAL PROCESS AND PROGRAM | INTERFACE TYPE | RS485 Modbus | MOUNTING TYPE | RECESS | MATERIAL |  | SIZE | 96 WD X 131 LG X 96 HT mm | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | Type DICON touch two-channel process controller with 2 x universal inputs, 2 x relays (changeover contacts), 7 x binary inputs, 1 x RS485 Modbus Version Standard w/ factory settings Language German/English preset, POWER SUPPLY TOLERANCE:+10/-15 PCT | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 307362 | 307362 | AU02-EA508033 | CONTROLLER,TEMP,240VAC,RTD,4-20MA | ABB C250/0000/STD |  | ABB C250/0000/STD | [13 empty] | https://search.abb.com/library/Download.aspx?DocumentID=SS%2fC250&LanguageCode=en&DocumentPartId=&Action=Launch |  |  | ABB | OEM | C250/0000/STD | C250/0000/STD |  | ENRICHED | MRO | 32151700 | PROGRAMMABLE LOGIC CONTROLLERS | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -200 TO 600 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | 4 TO 20 mA | POWER SUPPLY | 85 TO 265 VAC | ACCURACY | 0.25 PCT | VOLTAGE RATING |  | TYPE | PROCESS,RTD | INTERFACE TYPE | RS422/485 MODBUS RTU SLAVE | MOUNTING TYPE |  | MATERIAL |  | SIZE | 96 WD X 96 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN61010-1,UL 310-1,FM 3810 | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 373948 | 373948 | BE33-5310702 | CONTROLEUR KMG MA500 | MA500 |  | CONTROLLER FOR EMC2 ( UP TO 2 MA501 MAGNETS ) | CONTROLLER FOR EMC2 ( UP TO 2 MA501 MAGNETS )¦¦CONTROLLER FOR EMC2 ( UP TO 2 MA501 MAGNETS ) | [12 empty] | https://www.dougdeals.com/smalley-emc2-ma500-controller-1ph-240vac-lcd-display/ |  |  | SMALLEY MANUFACTURING COMPANY | OPM | EMC2+MA500 | EMC2+MA500 |  | ENRICHED | MRO | 32151700 | PROGRAMMABLE LOGIC CONTROLLERS | CONTROLLER |  | TYPE | NOT AVAILABLE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 240 VAC | DISPLAY TYPE | LCD | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF PHASE:1;KMG | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 413670 | 413670 | CH31-5830525 | CONTREC BATCH CONTROLLER MODELL 414D.10E |  |  | SPEISUNG: 230 VAC ODER 12...24 VDC IMPULSEINGANG FUER DURCHFLUSS-SIGNAL PROGRAMMIERBAR DIN GEHAEUSE 144 X 72 X 178 MM TIEF | SPEISUNG: 230 VAC ODER 12...24 VDC IMPULSEINGANG FUER DURCHFLUSS-SIGNAL PROGRAMMIERBAR DIN GEHAEUSE 144 X 72 X 178 MM TIEF¦¦SPEISUNG: 230 VAC ODER 12...24 VDC IMPULSEINGANG FUER DURCHFLUSS-SIGNAL PROGRAMMIERBAR DIN GEHAEUSE 144 X 72 X 178 MM TIEF¦¦SPEISUN | [12 empty] | https://www.contrec.co.uk/wp-content/uploads/2014/06/414BD-M-V3.1.pdf |  |  | CONTREC | OPM | 414D.10E | 414D.10E |  | ENRICHED | MRO | 32151700 | PROGRAMMABLE LOGIC CONTROLLERS | CONTROLLER |  | TYPE | NOT AVAILABLE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | 30 VDC | RANGE | 0-55 DEG C | ELECTRICAL RATING | 240 VAC | DISPLAY TYPE | LCD | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE | PANEL | SIZE | 144 WD X 72 HT X 178 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 61326 | ADDITIONAL FEATURES | FREQUENCY RANGE:0.25-10KHz;POWER SUPPLY:230 VAC | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 541563 | 541563 | FR36-LFMESU0816 | INDICAT T° 0-700° SONDE PT100 ALIM 220V | INDICATEUR-VER |  |  | INDICATEUR DE TPS 0-700° SONDE PT100 ALIM 220V DIM 48x96 ATTENTION : cet article est remplacé par un régulateur de température 703570/093-1100- 111000-23-00/00,061- GR-PR-703570 voir code MESU6288 | [12 empty] | https://docs.rs-online.com/7ac6/0900766b81463cb3.pdf |  |  | JUMO GMBH | OPM | 703570/093-1100-111000-23-00/000 | DICON 500 | REFERENCE NUMBER:061-GR-PR-703570,CODE:MESU6288 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | -200 TO 850 DEG C | SENSOR TYPE | PT100 | OUTPUT TYPE | RELAY | POWER SUPPLY | 110 TO 240 VAC | ACCURACY | <=0.05 PCT | VOLTAGE RATING |  | TYPE | UNIVERSAL PROCESS | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 96 WD X 96 HT X 130 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS,DIN,GL | ADDITIONAL FEATURES | TPS INDICATOR 0 TO 700 DEG C PROBE PT100 SUPPLY 220 V DIMENSION 48 x 96 MM | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 583450 | 583450 | GB37-5562409 | CONTROLLER,TDS,BC3250,SPIRAX SARCO |  |  | SPIRAX SARCO CONTROLLER BC3250 BLOWDOWN CONTROLLER DIN RAIL OR CHASSIS MOUNTED 99VAC TO 264VAC SPIRAX SARCO PART NO 4033492 | [13 empty] | https://stimexeng.com/download/SpiraxSarco/%D0%9A%D0%BE%D1%82%D0%B5%D0%BB%D1%8C%D0%BD%D0%BE%D0%B5%20%D0%BE%D0%B1%D0%BE%D1%80%D1%83%D0%B4%D0%BE%D0%B2%D0%B0%D0%BD%D0%B8%D0%B5/%D0%A1%D0%B8%D1%81%D1%82%D0%B5%D0%BC%D1%8B%20%D0%BD%D0%B5%D0%BF%D1%80%D0%B5%D1%80%D1%8B%D0%B2%D0%BD%D0%BE%D0%B9%20%D0%BF%D1%80%D0%BE%D0%B4%D1%83%D0%B2%D0%BA%D0%B8%20%D0%BA%D0%BE%D1%82%D0%BB%D0%BE%D0%B2/%D0%A2%D0%B5%D1%85%D0%BD%D0%B8%D1%87%D0%B5%D1%81%D0%BA%D0%B0%D1%8F%20%D0%B8%D0%BD%D1%84%D0%BE%D1%80%D0%BC%D0%B0%D1%86%D0%B8%D1%8F/p403_90_v3.pdf |  |  | SPIRAX SARCO | OPM | BC3250 | BC3250 | ALTERNATE PART NUMBER: 4033492 | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER |  | TYPE | BLOWDOWN | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | 0 TO 9990 PPM | ELECTRICAL RATING | 99 TO 264 VAC | DISPLAY TYPE | LCD GRAPHIC | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE | CHASSIS/DIN RAIL | SIZE | 52 WD X 140 HT X 120 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EMC,EN 61010-1:2001,TUV | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 591359 | 591359 | GB38-CB60041003 | CONTROL(/LER),PLC,OMRON,C200H-AD002 | C200H-AD002 | OMRON ELECTRONIC COMPONENTS | CONTROL(/LER),PLC,OMRON,C200H-AD002 | [13 empty] | https://www.edata.omron.com.au/eData/PLCs/C200H_SIOU/W229-E1-3A.pdf |  |  | OMRON ELECTRONICS | OPM/OEM | C200H-AD002 | C200H-AD002 |  | ENRICHED | MRO | 32151707 | Programmable Logic Controller Programming Device | CONTROLLER |  | TYPE | PROGRAMMABLE | INPUT SIGNAL | 15 V | OUTPUT SIGNAL | 10 V | RANGE | -10 TO 10 V | ELECTRICAL RATING | 5 VDC,30 MA | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE | 34 PIN CABLE CONNECTOR | MOUNTING TYPE |  | SIZE | 34.5 WD X 130 HT X 109 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF ANALOG INPUT:8 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 620349 | 620349 | IE32-5547904 | CONTROLLER,:920 |  |  | ***SF ENGINEERING. QUOTATION:7344-3 ***QUOTATION REF:MONDELEZ 15852 *** #YFITTINGS CONTROLLER :920 | [13 empty] | http://www.applied-tpg.com/media/31675/Ind_920_IM.pdf |  |  | PENTAIR PLC | OPM | 920 SERIES | 920 SERIES | SF ENGINEERING QUOTATION NUMBER:7344-3,QUOTATION REF NUMBER:MONDELEZ 15852 | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER |  | TYPE | HEAT TRACE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 9 VDC,600 MA | DISPLAY TYPE | LED | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 624201 | 624201 | IE32-CB41907835 | CONTROLLER,LDU/11.523A17,LANDIS&GYR | [16 empty] | https://www.unitechburner.com/siemens-gas-leak-controller-ldu-11-523-a17-1301015.html |  |  | LANDIS+GYR | OPM | LDU/11.523A17 | LDU/11.523A17 |  | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER |  | TYPE | GAS LEAK | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING |  | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 626458 | 626458 | IE33-5413801 | CONTROLLER, AC1337 M4 DUAL MASTER ET IP | AC1337 | IFM ELECTRONIC GMBH | AC1337 CONTROLLERE M4 DUAL MASTER ET IP PLEASE INCLUDE KRAFT SAP ID 531801 ON RELEVANT DOCUMENTATION | [13 empty] | https://eltra-trade.com/products/ifm-electronic-ac1337 |  |  | IFM ELECTRONIC GMBH | OPM | AC1337 | AC1337 | SAP ID NUMBER:531801 | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER | COMMUNICATION | DATA TRANSFER RATE |  | NUMBER OF PORTS |  | ELECTRICAL RATING | 24 VDC,10 MA | TYPE | AS-i Ethernet/IP | INTERFACE TYPE |  | DISPLAY TYPE | LED 3 x red,4 x green,2 x yellow | PORT DATA |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | M4 DUAL MASTER ET IP | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 645076 | 645076 | IN03-ED035455 | PAM VIBRATOR CONTROLLER, REOVIB 514 |  |  | REO ELEKTRONIK | [13 empty] | https://reo-usa.com/produkt/phase-angle-controller-reovib-514-ip20/ |  |  | REO AG ELECTRONICS | OPM | REOVIB 514 | REOVIB 514 |  | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER |  | TYPE | PHASE ANGLE,VIBRATOR | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | 20 TO 105 V/40 TO 210 V,6 A | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 110/230 VAC,50/60 HZ | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE | DIN-RAIL | SIZE | 100 WD X 74 HT X 125.5 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 50022-35 | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 | MODIFIER UPDATED | 705239 | 705239 | NO32-5257633 | MOTORKONTROLLER TTV-TTL-TTF-HSM-DAA |  |  | DKC11.3-040-7-FW ECODRIVE 03 | [13 empty] | https://indramat-usa.com/uploads/2018/01/DKC01.1-DKC11.1-Project-Planning-Manual.pdf | https://indramat-usa.com/series/indramat-drives/dkc-drive-controllers/dkc11.3-040-7-fw |  | BOSCH REXROTH AG | OPM | DKC11.3-040-7-FW | DKC11.3-040-7-FW | REFERENCE NUMBER:TTV-TTL-TTF-HSM-DAA | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | SERVO | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | ELECTRICAL RATING | 700 VDC,40 A | TYPE | DRIVE | MOUNTING TYPE |  | MEMORY TYPE |  | INTERFACE TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ECODRIVE 03 | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 768700 | 768700 | RU03-5513152 | CONTROLLER;DTRON 316 | [16 empty] | https://www.jumo.net/attachments/JUMO/attachmentdownload?id=3341 |  |  | JUMO GMBH | OPM | 703041 | DTRON 316 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | POWER SUPPLY | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | VOLTAGE RATING |  | TYPE | COMPACT | INTERFACE TYPE |  | MOUNTING TYPE | PANEL | MATERIAL | PLASTIC | SIZE | 48 X 48 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CULUS,DNV GL | ADDITIONAL FEATURES | [34 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 800746 | 800746 | SZ01-SZSX00128 | CONTROLLER DRAIN/FEED VALVE (031-02742-0 | [16 empty] | https://www.apexcontrols.com/product/031-02742-000-york-stepper/ | https://www.furnacepartsource.com/york-controls-031-02742-000-drain-feed-controller/ |  | APEX DYNAMICS, USA LLC | OPM | 031-02742-0 | 031-02742-0 |  | CLEANSED | MRO | 32151700 | Programmable Logic Controllers | CONTROLLER |  | TYPE | DRAIN/FEED VALVE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 811186 | 811186 | TR03-5551472 | PRINT CASSETTE/SABROE/1573.012 | [16 empty] | https://support.sabroe.com/uploads/tx_doclib/Unisab-III-1.10_operating_2013-10_en.pdf | https://www.sabroe.com/fileadmin/user_upload/Documentation/Manuals/Obsolete/Screws/SABcube/Spare.parts.2010.12.pdf |  | SABROE | OPM | 1573.012 | 1573.012 |  | ENRICHED | MRO | 32151700 | PROGRAMMABLE LOGIC CONTROLLERS | CONTROLLER |  | TYPE | PRINT CASSETTE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 85 TO 250 VAC | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 838656 | 838656 | VN03-EV003615 | CONTROL BOX: TYPE CM191N.2/BRAHMA | ITALY | [15 empty] | https://ifs-store.com/brahma-20023101-cm191n-2-gas-burner-control-unit/ |  |  | BRAHMA S.P.A | OPM | CM191N.2 | CM191N.2 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | FLAME | MEASURING RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | VIEWING ANGLE | NOT AVAILABLE | TYPE | GAS BURNER | DEGREE OF PROTECTION |  | TEMPERATURE RATING |  | DISPLAY TYPE |  | MOUNTING TYPE |  | CONNECTION TYPE |  | INTERFACE TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [31 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 831213 | 831213 | VN02-EV003771 | CONTROLLER,BURNER,BC-R25B2J0500 | BC-R25B2J0500;AZBIL | [15 empty] | https://www.azbil.com/products/factory/download/manual/CP-SP-1388E-02.pdf | https://www.add-furnace.com/furnace-accessories/bc-r25b2j0500.html |  | AZBIL CORPORATION | OPM | BC-R25B2J0500 | BC-R |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | FLAME | MEASURING RANGE | NOT AVAILABLE | ELECTRICAL RATING | 200 VAC | OUTPUT SIGNAL | NOT AVAILABLE | VIEWING ANGLE | NOT AVAILABLE | TYPE | DIRECT IGNITION BURNER | DEGREE OF PROTECTION | IP40 | TEMPERATURE RATING | -20 TO 60 DEG C | DISPLAY TYPE | 7 SEGMENT LED | MOUNTING TYPE | DIN RAIL | CONNECTION TYPE |  | INTERFACE TYPE |  | OVERALL SIZE | 95 WD X 105 HT X 110 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PRE PURGE TIME:35 S | [31 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 15422 | 15422 | 8308-52130517 | CONTROLADOR IFS DE CHAMA IFS-110 |  |  | CONTROLADOR IFS DE CHAMA KROMSCHRODER IFS-110/ COD FORN 50026118 /NCM 90328990 / HAAS | CONTROLADOR IFS DE CHAMA KROMSCHRODER IFS-110/ COD FORN 50026118 /NCM 90328990 / HAAS¦¦CONTROLADOR IFS DE CHAMA KROMSCHRODER IFS-110/ COD FORN 50026118 /NCM 90328990 / HAAS | [12 empty] | https://docuthek.kromschroeder.com/documents/download.php?lang=de&doc=4086 |  |  | KROMSCHRÖDER | OPM | IFS-110 | IFS-110 | OEM:HASS MANUFACTURING CO,REFERENCE NUMBER:50026118,90328990 | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER | FLAME | MEASURING RANGE | NOT AVAILABLE | ELECTRICAL RATING | 110/120 VAC,50/60 Hz | OUTPUT SIGNAL | NOT AVAILABLE | VIEWING ANGLE | NOT AVAILABLE | TYPE | AUTOMATIC BURNER | DEGREE OF PROTECTION |  | TEMPERATURE RATING | -20 TO 60 DEG C | DISPLAY TYPE |  | MOUNTING TYPE |  | CONNECTION TYPE |  | INTERFACE TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER:9 VA | [31 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 | URL UPDATED | 529252 | 529252 | FR34-5452267 | BOIT_ESA05005_ESTRO Q-204E-FOUR K | ESTRO Q 104E |  |  | ESA05005 ESTRO Q S010503CK2/00RCBB0/204E/ POUR LE FOUR CRACKERS K DEVIS 02/010514 DU 04/12/2013 | [12 empty] | https://www.esapyronics.com/wp-content/uploads/2015/01/E7014PE.pdf |  |  | ESA PYRONICS INTERNATIONAL | OPM | ESTRO Q S010503CK2/00RCBB0/204E/ | ESTRO Q S010503CK2/00RCBB0/204E/ | ALTERNATE PART NUMBER:ESA05005,ESTRO Q 104E | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | FLAME | MEASURING RANGE | NOT AVAILABLE | ELECTRICAL RATING | 230 VAC | OUTPUT SIGNAL | NOT AVAILABLE | VIEWING ANGLE | NOT AVAILABLE | TYPE | MICROPROCESSOR BURNER | DEGREE OF PROTECTION | IP54 | TEMPERATURE RATING | 0 TO 60 DEG C | DISPLAY TYPE |  | MOUNTING TYPE |  | CONNECTION TYPE |  | INTERFACE TYPE | ECS | OVERALL SIZE | 200 X 120 X 93 mm | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 358871 | 358871 | BE32-5588772 | VLAMBEWAKING F152 ZELFCONTR | ART. E3784771 |  |  | IBT659G0501 E3784771 F152 ZELFCONTR.VLAMBEWAKING VENDOR 171753 | [12 empty] | https://www.lamtec.de/en/products/flame-monitoring-system/f152.html?tx_lamtecmemberdownload_memberdownload%5Bdownload%5D=1392&cHash=169cb151db639c89c165ad661d0a5f34 | https://www.lamtec.de/en/products/flame-monitoring-system/f152.html |  | LAMTEC | OPM | 659G0501 | F152 | ALTERNATE PART NUMBER:E3784771,DISTRIBUTOR PART NUMBER:171753 | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER | FLAME | MEASURING RANGE | NOT AVAILABLE | ELECTRICAL RATING | 230 VAC | OUTPUT SIGNAL | NOT AVAILABLE | VIEWING ANGLE | NOT AVAILABLE | TYPE |  | DEGREE OF PROTECTION | IP20 | TEMPERATURE RATING | -10 TO 60 DEG C | DISPLAY TYPE | LED | MOUNTING TYPE | TOP HAT RAIL | CONNECTION TYPE |  | INTERFACE TYPE |  | OVERALL SIZE | 114 WD X 118 HT X 46 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,EAC,UL | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 358870 | 358870 | BE32-5588771 | VLAMBEWAKING 230VAC 50HZ IBT659G1001 | ART. E4985566 |  |  | IBT659G1001 F130I VLAMBEWAKING 230VAC 50HZ Vendor : Rexel 171753 | [12 empty] | https://www.lamtec.de/en/products/flame-monitoring-system/f130i.html?tx_lamtecmemberdownload_memberdownload%5Bdownload%5D=670&cHash=dbae5d1b48bb97a6f40a16c2712dc922 | https://www.lamtec.de/en/products/flame-monitoring-system/f130i.html |  | LAMTEC | OPM | 659G1001 | F130I | DISTRIBUTOR:REXEL,DISTRIBUTOR PART NUMBER:171753 | ENRICHED | MRO | 39121500 | ELECTRICAL CONTROLS AND ACCESSORIES | CONTROLLER | FLAME | MEASURING RANGE | NOT AVAILABLE | ELECTRICAL RATING | 230 VAC,50 Hz | OUTPUT SIGNAL | NOT AVAILABLE | VIEWING ANGLE | NOT AVAILABLE | TYPE |  | DEGREE OF PROTECTION | IP20 | TEMPERATURE RATING | -20 TO 60 DEG C | DISPLAY TYPE | LED | MOUNTING TYPE | TOP HAT RAIL | CONNECTION TYPE |  | INTERFACE TYPE |  | OVERALL SIZE | 114 WD X 120 HT X 45 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,EAC,UL | ADDITIONAL FEATURES | IONIZATION;FLAME AND SIGNAL CONTACT:FLOATING;MODE:CONTINUOUS OPERATION | [31 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 685313 | 685313 | MA02-5630795 | CONTROLE BRULEUR IFS 110 IM 5/1/1 T | IFS 110 IM 5/1/1 T | FHW FRANZ HAAS WAFFELMASCHINEN | [14 empty] | https://docuthek.kromschroeder.com/documents/download.php?lang=de&doc=4086 | https://www.combustion911.com/products/flame-safety-and-burner-control/ifs-110im/ |  | KROMSCHRÖDER | OPM | IFS 110 IM - 5/1/1 T | IFS 110 IM - 5/1/1 T | ALTERNATE MANUFACTURER: FHW FRANZ HAAS WAFFELMASCHINEN GMBH | ENRICHED | MRO | 39121500 | Electrical controls and accessories | CONTROLLER | FLAME | MEASURING RANGE | NOT AVAILABLE | ELECTRICAL RATING | 110/120 VAC,50/60 Hz | OUTPUT SIGNAL | NOT AVAILABLE | VIEWING ANGLE | NOT AVAILABLE | TYPE | AUTOMATIC BURNER | DEGREE OF PROTECTION |  | TEMPERATURE RATING | -20 TO 60 DEG C | DISPLAY TYPE |  | MOUNTING TYPE |  | CONNECTION TYPE |  | INTERFACE TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | POWER:9 VA | [31 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 247623 | 247623 | 8380-52205853 | CHASS,FLAME MON,CC120S,P/N090829 | CC120S | Flynn Burner Corp | CHASSIS,FLAME MONITOR,DETAILS:P/N090829,MANUFACTURER:FLYNN BURNER CORP,MFR PART NUMBER:CC120S | [13 empty] | https://www.industrialstores.com/media/industrialstores/product/attachments/Flynn-120-VAC-Burner-Flame-Manager-1.pdf | https://www.industrialstores.com/product_detail/flynn-090829-flame-control-module |  | FLYNN BURNER CORPORATION | OPM | 090829 | CC120S |  | ENRICHED | MRO | 46191504 | FLAME DETECTORS | CONTROLLER | FLAME | MEASURING RANGE | NOT AVAILABLE | ELECTRICAL RATING | 100-128 VAC,100 mA AT 117 VAC | OUTPUT SIGNAL | NOT AVAILABLE | VIEWING ANGLE | NOT AVAILABLE | TYPE | SEPARATE ELECTRODE,SENSOR | DEGREE OF PROTECTION |  | TEMPERATURE RATING | -40 TO 185 DEG F | DISPLAY TYPE |  | MOUNTING TYPE |  | CONNECTION TYPE |  | INTERFACE TYPE |  | OVERALL SIZE | 4-1/2 WD X 9 LG X 2-1/16 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CSA,FM | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 75552 | 75552 | 8326-52026524 | RELEVADOR DE SEG PILZ MOD PNOZ MC4P |  |  | RELEY DE SEGURIDAD PILZ MODELO PNOZ MC4P MULTI DEVICENET | RELEY DE SEGURIDAD PILZ MODELO PNOZ MC4P MULTI DEVICENET | [12 empty] | https://www.pilz.com/en-FI/eshop/Small-controllers-PNOZmulti/Safety-systems-PNOZmulti-Classic/PNOZmulti-communication-modules/PNOZmulti-communication-modules/PNOZ-mc4p-DeviceNet-2/p/773711/pdf |  |  | PILZ | OPM | 773711 | PNOZ MC4P DEVICENET |  | ENRICHED | MRO | 43201544 | INTERFACE BUS CONVERTER OR CONTROLLER | CONTROLLER | INTERFACE | DATA TRANSFER RATE | 500/250/125 KBPS | ELECTRICAL RATING | 500 VAC | NUMBER OF PORTS | NOT AVAILABLE | TYPE |  | INTERFACE TYPE | FIELDBUS DEVICENET SLAVE | MOUNTING TYPE | DIN RAIL | TEMPERATURE RATING | 0 TO 60 DEG C | CONNECTION TYPE | 5-pin Combicon plug-in | INDICATION TYPE |  | HOUSING MATERIAL | PPO UL 94 V0 LOWER SECTION, ABS UL 94 V0 FRONT PLATE | SIZE | 22.5 WD X 94 HT X 122 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE, UKCA, cULus Listed, KOSHA, EAC | ADDITIONAL FEATURES | SAFETY RELAY MODEL,MULTI | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 781998 | 781998 | RU07-TRU40007238 | BLOCK;INTERFACE;IVI-KHA6-4HB6 | [16 empty] | https://www.eltron.pl/uploads/manufacturer_catalogs/15/10334/Systemy_identyfikacji.pdf |  |  | ELTRON | OPM | IVI-KHA6-4HB6 | IVI-KHA6-4HB6 |  | ENRICHED | MRO | 43201544 | Interface Bus Converter Or Controller | CONTROLLER | INTERFACE | DATA TRANSFER RATE | 1500 Kbps | ELECTRICAL RATING | 85 TO 253 VAC,18 TO 30 VDC | NUMBER OF PORTS | 4 | TYPE |  | INTERFACE TYPE | PROFIBUS-DP RS485 | MOUNTING TYPE |  | TEMPERATURE RATING | -25 TO 70 DEG C | CONNECTION TYPE | 9-PIN SUB-D | INDICATION TYPE |  | HOUSING MATERIAL | MAKROLON 6485 | SIZE | 80 WD X 90 HT X 110 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE | ADDITIONAL FEATURES | CONSTRUCTION TYPE:K-SYSTEM,80 MM(4 TE);POWER RATING:12 W | [33 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 611129 | 611129 | ID01-5036423 | CONTROLLER SYNTRON CNCDCTR CH15 115V | [16 empty] | https://controlrepair.com/shop/syntron-ch-15-syntron-electric-feeder-control-84916#attr=646048 | https://www.radwell.co.uk/en-GB/Buy/FMC/FMC/CH-15/?redirect=true |  | SYNTRON MATERIAL HANDLING | OPM | CH-15 | CH-15 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | ELECTRICAL | FUNCTION |  | INPUT RATING | 115 V,1 PH | OUTPUT RATING |  | NUMBER OF INPUTS |  | NUMBER OF OUTPUTS |  | TYPE | FEEDER | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [38 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 767537 | 767537 | RU03-5462432 | ELECTRONIC SPEED CONTROL;ESD 11.5 | [16 empty] | https://www.heliosventilatoren.de/en/component/jdownloads/send/66-catalogue-extracts-en/835-catalogue-extract-measure-control-regulate?option=com_jdownloads | https://www.lbfans.co.uk/product/esd-11-5-helios-electronic-speed-controller-3ph-400v/ |  | HELIOS ELECTROHEAT PTY LTD - HOTCO | OPM | ESD 11.5 | ESD 11.5 |  | ENRICHED | MRO | 26111544 | Speed controller | CONTROLLER | SPEED | VOLTAGE RATING | 400 V | CURRENT RATING | 11.5 A | OUTPUT SIGNAL | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | TYPE | ELECTRONIC | INTERFACE TYPE |  | MOUNTING TYPE |  | TEMPERATURE RATING |  | CONNECTION TYPE |  | SIZE | 160 WD X 160 HT X 165 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | MATERIAL:PLASTIC,PHASE:3 PH | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 | MODIFIER UPDATED | 552439 | 552439 | FR39-5610343 | CONTROLLER CML75 (SYNCHRO) | R911173004 + R911371275 | BOSCH REXROTH |  | Système Motion-Control MLC, basé sur le commande intégré CML Type : CML75.1-3P-900-NA-NNNN-NW Material N°R911173004 Avec Logiciel Type : FWA-CML75*-MLC-14VRS-D0 Material N°R911371275 | [12 empty] | https://www.boschrexroth.com/media/02971673-8d74-45fb-ad69-cd8e7f169103 |  |  | REXROTH | OPM | CML75.1-3P-900-NA-NNNN-NW | CML75.1-3P-900-NA-NNNN-NW | ALTERNATE PART NUMBER:R911173004 + R911371275 | ENRICHED | MRO | 26111515 | Servo Controller | CONTROLLER | SERVO | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | ELECTRICAL RATING | 24 VDC | TYPE | MOTION | MOUNTING TYPE |  | MEMORY TYPE |  | INTERFACE TYPE |  | TEMPERATURE RATING | 5 TO 55 DEG C | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SYNCHRO,based on the integrated command,Avec Software Type : FWA-CML75*-MLC-14VRS-D0 | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 15421 | 15421 | 8308-52130515 | CONTROLADOR DO QUEIMADOR DO FORNO |  |  | CONTROLADOR DO QUEIMADOR DO FORNO QUAD600 N- 230/230V - CABO LONGO - PART NUMBER:CC10018022 - IMARFONI - QUEIMADOR DO FORNO CLUB SOCIAL | CONTROLADOR DO QUEIMADOR DO FORNO QUAD600 N- 230/230V - CABO LONGO - PART NUMBER:CC10018022 - IMARFONI - QUEIMADOR DO FORNO CLUB SOCIAL¦¦CONTROLADOR DO QUEIMADOR DO FORNO QUAD600 N- 230/230V - CABO LONGO - PART NUMBER:CC10018022 - IMARFONI - QUEIMADOR D | [12 empty] | https://combustioncontrol.co.nz/pdf/Quad/quad600.pdf |  |  | CONTRIVE BURNER CONTROL | OPM | QUAD 600 N230 | QUAD600 N230 | ALTERNATE OEM:GEA IMAFORNI,PART NUMBER:CC10018022 | ENRICHED | MRO | 32151700 | Programmable Logic Controllers | CONTROLLER | FLAME | MEASURING RANGE |  | ELECTRICAL RATING | 230 VAC,50/60 HZ | OUTPUT SIGNAL | 250 VAC,3 A | VIEWING ANGLE |  | TYPE | AUTOMATIC BURNER | DEGREE OF PROTECTION | IP65 | TEMPERATURE RATING | 0 TO 60 DEG C | DISPLAY TYPE |  | MOUNTING TYPE |  | CONNECTION TYPE |  | INTERFACE TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EMC,EN298,EN230,EN746-2,GOST-R | ADDITIONAL FEATURES | [31 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 378207 | 378207 | BE35-5430216 | ABB - DSQC431 3HAC036260-001 | ABB3HAC036260-001 |  | ABB - DSQC431 3HAC036260-001 ABB3HAC036260-001 | ABB - DSQC431 3HAC036260-001 ABB3HAC036260-001¦¦ABB - DSQC431 3HAC036260-001 ABB3HAC036260-001¦¦ABB - DSQC431 3HAC036260-001 ABB3HAC036260-001 | [12 empty] | https://new.abb.com/products/3HAC036260-001/3hac036260-001 |  |  | ABB | OEM | 3HAC036260-001 | DSQC 431 LVMC MDU |  | CLEANSED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | COMPACT | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Oem Cleansed items,Model number is not available so we updated Part number as Model number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 552163 | 552163 | FR39-5585197 | REGULATEUR DKC11.3-040-7-FW (CAVANNA) | DKC11.3-040-7-FW + FWA-ECODR3-SMT-02RS-M | BOSCH REXROTH |  | Régulateur DKC11.3-040-7-FW (Ref. R911279433) + Fireware FWA-ECODR3-SMT-02VRS-MS (Ref. R911285655) | [12 empty] | https://indramat-usa.com/uploads/2018/01/DKC01.1-DKC11.1-Project-Planning-Manual.pdf | https://indramat-usa.com/series/indramat-drives/dkc-drive-controllers/dkc11.3-040-7-fw |  | BOSCH REXROTH AG | OPM | DKC11.3-040-7-FW + FWA-ECODR3-SMT-02VRS-MS | DKC11.3-040-7-FW + FWA-ECODR3-SMT-02VRS-MS | ALTERNATE PART NUMBER:R911279433+R911285655 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | SERVO | NUMBER OF INPUTS | NOT AVAILABLE | NUMBER OF OUTPUTS | NOT AVAILABLE | ELECTRICAL RATING | 700 VDC,40 A | TYPE | DRIVE | MOUNTING TYPE |  | MEMORY TYPE |  | INTERFACE TYPE |  | TEMPERATURE RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | W/ FIRMWARE | [37 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 227487 | 227487 | 8373-52177116 | CONTROLADOR QUAD 400 N230 |  |  | CONTROLADOR QUAD 400 N230 , Nº PARTE 736098 GENERAR, CONTROLAR LA COMBUSTION QUAD 400 N230 BURNER CONTROL 0736098 | [13 empty] | https://combustioncontrol.co.nz/pdf/Quad/quad400.pdf |  |  | CONTRIVE BURNER CONTROL | OPM | QUAD 400 N230 | QUAD 400 N230 | ALTERNATE OPM PART NUMBER:736098 | ENRICHED | MRO | 32151700 | Programmable Logic Controllers | CONTROLLER | FLAME | MEASURING RANGE |  | ELECTRICAL RATING | 230 VAC,50/60 HZ | OUTPUT SIGNAL | 250 VAC,3 A | VIEWING ANGLE |  | TYPE | AUTOMATIC BURNER | DEGREE OF PROTECTION | IP65 | TEMPERATURE RATING | 0 TO 60 DEG C | DISPLAY TYPE |  | MOUNTING TYPE |  | CONNECTION TYPE |  | INTERFACE TYPE |  | OVERALL SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EMC,EN298,EN230,EN746-2,GOST-R | ADDITIONAL FEATURES | [31 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 543985 | 543985 | FR37-5404981 | SPE BOITIER CSS02 PRTV01 429103/V01 | PAC CSS02 PRTV01 429103/V01 |  |  | BOITIER DE CONTROLE CSS02 PRTV01 REF 429103/V01 | [12 empty] | https://www.pactrolsolutions.com/429103v01-css2-prtv-230-85-p.asp | https://www.suner.eu/en/products/css2-prtv-01-429103v01-centralita-pactrol-30494/ |  | PACTROL | OPM | 429103/V01 | 429103/V01 | ALTERNATE PART NUMBER:CSS02 PRTV 01 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | GAS | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 230 V | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,ROHS | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 757466 | 757466 | RU02-5544647 | CONDUCTIVITY REGULATOR;LRR 1-52/URB50 | [16 empty] | https://www.gestra.com/-/media/gestra/international/documents/en/dbl/dbl_819212_06_lrr1-52-lrr1-53-urb50_en.ashx?rev=37597053639642a3bd2cb094f396810c |  |  | GESTRA AG | OPM | LRR 1-52 | URB 50 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | CONDUCTIVITY | INPUT SIGNAL | 24 VDC | OUTPUT SIGNAL | 250 VAC,30VDC | RANGE | 1-5000 PPM AT 25 DEG C | ELECTRICAL RATING | 4-20 mA | DISPLAY TYPE | URB 50 | CONTROL MODE |  | CONNECTION TYPE | DIN46228 | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | EN 60529 | ADDITIONAL FEATURES | SUPPLY VOLTAGE:24 V DC;MATERIAL:POLYCARBONATE;TEMPRATURE:0 TO 55 DEG C | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 377108 | 377108 | BE33-5574404 | CONTROLEUR AUTOFLOW PLUS KMG MA600 | MA600 <> KMG |  | CONTROLEUR AUTOFLOW PLUS KMG MA600 FOR MACHINE S/N X009001-15 | CONTROLEUR AUTOFLOW PLUS KMG MA600 FOR MACHINE S/N X009001-15¦¦CONTROLEUR AUTOFLOW PLUS KMG MA600 FOR MACHINE S/N X009001-15 | [12 empty] | https://www.kmgsystems.com/spares/kmg-systems-ma600/ |  |  | KMG SYSTEMS LTD | OEM | MA600 | MA600 | EQUIPMENT NAME:MACHINE,SERIAL NUMBER:X009001-15 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | AUTOFLOW PLUS | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | NOT AVAILABLE | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 311906 | 311906 | AU03-EA627312 | CONTROLLER,VIBRATOR,CV6 | ENMIN CV6 CONTROLLER |  | ENMIN CV6 CONTROLLER | [13 empty] | https://www.mpelettronica.com/product/cv6/ |  |  | MP ELETTRONIC | OPM | CV6 | CV6 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | PROFESSIONAL PHASE ANGLE,VIBRATOR | INPUT SIGNAL | 230/400 V | OUTPUT SIGNAL | 40-210/100-380 V | RANGE | -20 TO 55 DEG C | ELECTRICAL RATING | 0.25 | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,DIN 35,EMC,ROHS | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 | MODIFIER UPDATED | 800615 | 800615 | SZ01-SZSV00361 | TTM004-I-A TEMPERATURE CONTROLLER | [16 empty] | https://toho-inc.com/english/data/english/pdf/TTM-000W%20Catalogue.pdf | https://www.zytrondirect.com/toho-ttm-004-1-16din-temperature-controller-ttm-004-i-a/ |  | TOHO ELECTRONICS INC | OPM | TTM004-I-A | TTM004-I-A |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER | TEMPERATURE | TEMPERATURE SETTING RANGE | NOT AVAILABLE | SENSOR TYPE | NOT AVAILABLE | OUTPUT TYPE | 4 TO 20 MA DC | POWER SUPPLY | 100 to 240 vac | ACCURACY |  | VOLTAGE RATING |  | TYPE | DIGITAL | INTERFACE TYPE |  | MOUNTING TYPE |  | MATERIAL |  | SIZE | 48 WD X 48 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | CE,Cul,UL | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 694215 | 694215 | NG01-5546834 | EP23 WEIGHT INDICATOR CONTROLLER |  |  | PROCON | [13 empty] | https://www.proconeng.com/portfolio/type-ep23-weight-indicator-controller/ |  |  | PROCON ENGINEERING | OPM | EP23 | EP23 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | WEIGHT INDICATOR | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | ANALOG | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 95-265 VAC | DISPLAY TYPE | LED,6 DIGIT RANGE | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | 144 X 72 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ACCURACY:0.1 PCT;POWER USAGE:8 VA | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 647562 | 647562 | IN03-ED051900 | SIGNAL AMPL D-MAXE-1 64000079 FIFE HRM |  |  | New Five star | [13 empty] | https://www.maxcess.de/sites/default/files/documents/files/Fife_DMAXE_UserManual.pdf | https://www.maxcessintl.com/product/guiding-inspection/controllers/d-max-e-controller/ |  | MAXCESS INTERNATIONL | OPM | FIFE D-MAXE-1 | FIFE D-MAXE-1 | REFERENCE NUMBER:64000079,HRM | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | GUIDING | INPUT SIGNAL | 0-24 V | OUTPUT SIGNAL | 12-30 V | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 24-48 V | DISPLAY TYPE | TFT TOUCH-SCREEN | CONTROL MODE | MANUAL,AUTOMATIC | CONNECTION TYPE | ETHERNET/IP,MODBUSTCP,PROFINET | MOUNTING TYPE | WALL MOUNT | SIZE | 87 WD X 184 LG X 60 HT MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | DIN EN 60529 | ADDITIONAL FEATURES | ENCLOSURE:IP54;TEMPERATURE:0-60 DEG C;SIGNAL AMPLIFIER;NEW FIVE STAR | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 646614 | 646614 | IN03-ED045087 | CONTROLLER DP-20,MK:MAXCESS,M/C-FPC-5 | [16 empty] | https://www.maxcessintl.com/product/guiding-inspection/controllers/dp-20-plus-web-guide-controller/ |  |  | MAXCESS INTERNATIONL | OPM | DP-20 | M/C-FPC-5 |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | WEB GUDE | INPUT SIGNAL | 30 V | OUTPUT SIGNAL | 180 V | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 180 V,80 W | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | PROTECTION CLASS:IP54 | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 790219 | 790219 | SE33-5288808 | STIRRERCONTROL PCB SAC 1 | SAC1 | [15 empty] | https://www.piktronik.com/en-products-obsolete-products/sac1-sensorless-ac-drive-controller |  |  | PIKTRONIK | DISTRIBUTOR | SAC1 | SAC1 | REFERENCE TEXT:STIRRER PCB | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | SENSORLESS AC DRIVE | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 50-110 A | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [35 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 842430 | 842430 | ZA02-5476947 | CE000014048 INTEG F-J TOUCH-SCREEN |  |  | CE000014048INTEGRATED F-J TOUCH-SCREEN CONTROLLER 4 VIDEO CAMERAS 4 VIDEO CAMERAS I/O PNP | [13 empty] | https://www.omron-ap.co.in/products/family/3068/specification.html |  |  | OMRON ELECTRONICS | OPM | F-J | F-J | REFERENCE NUMBER:CE000014048 | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | INTEGRATED | INPUT SIGNAL | PNP | OUTPUT SIGNAL | PNP | RANGE | NOT AVAILABLE | ELECTRICAL RATING | 26.4 VDC | DISPLAY TYPE | LCD,TOUCH SCREEN | CONTROL MODE |  | CONNECTION TYPE | RS232C,RS422A | MOUNTING TYPE | BRACKET | SIZE | 308 WD X 260 HT X 104 DP MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NUMBER OF VIDEO CAMERAS:4 | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_3 | Elec | SFU | SFU | OK | 04-05-2023 | 10-05-2023 |  | 173571 | 173571 | 8353-52067044 | DRIVE/240VCA/RPH4-C/RILEY | RPH4-C | Riley Corp Sales Inc | MANUFACTURER PART No: RPH4-C / RILEY | [13 empty] | https://sbindustrialsupply.com/shop/new-riley-products-rph4-c-four-channel-vibrator-controller-w-can-bus-control/ |  |  | RILEY PRODUCT HANDLING LTD | OEM | RPH4-C | RPH4-C |  | ENRICHED | MRO | 39121500 | Electrical Controls And Accessories | CONTROLLER |  | TYPE | FOUR CHANNEL VIBRATOR | INPUT SIGNAL | NOT AVAILABLE | OUTPUT SIGNAL | NOT AVAILABLE | RANGE |  | ELECTRICAL RATING | 240 VAC | DISPLAY TYPE |  | CONTROL MODE |  | CONNECTION TYPE |  | MOUNTING TYPE |  | SIZE | NOT AVAILABLE | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | NOT AVAILABLE | [34 empty] | Cleansed based on OEM items | Production Completed