## Sheet1
Project Code | Activities | Batch | Elec/Mech | Production User | CA Code | Production Comments | Start Date | End Date | Remarks | Griha ID | Record ID | Concat1 | MAKT_Material_Description | MARA_Manufacturer_Part_Number | Manufacturer_Name | PO_TEXT_ENGLISH | PO Text Consolidated | SUPPLIER NAME | Supplier Material Code/Item code | Manufacturer Name | Manufacturer Part # | Part Description Manufacturer | Part Description supplier Industrial | PO text | COMPANY TYPE | TRUE MANUFACTURER | TRUE MANUFACTURER PART NUMBER | ADDITIONAL INFORMATION ( MODEL, DIMENSIONS, ETC..) | PHOTO (YES/NO) | Reference URL | Reference URL1 | Reference URL2 | Manufacturer | Manufacturer Status | MPN 1 | Model Number | Reference Text | ENRICHED/CLEANSED | MRO/NON-MRO Classification | UNSPSC | UNSPSC Description | Noun | Modifier | Attribute Name 1 | Attribute Value 1 | Attribute Name 2 | Attribute Value 2 | Attribute Name 3 | Attribute Value 3 | Attribute Name 4 | Attribute Value 4 | Attribute Name 5 | Attribute Value 5 | Attribute Name 6 | Attribute Value 6 | Attribute Name 7 | Attribute Value 7 | Attribute Name 8 | Attribute Value 8 | Attribute Name 9 | Attribute Value 9 | Attribute Name 10 | Attribute Value 10 | Attribute Name 11 | Attribute Value 11 | Attribute Name 12 | Attribute Value 12 | Attribute Name 13 | Attribute Value 13 | Attribute Name 14 | Attribute Value 14 | Attribute Name 15 | Attribute Value 15 | Attribute Name 16 | Attribute Value 16 | Attribute Name 17 | Attribute Value 17 | Attribute Name 18 | Attribute Value 18 | Attribute Name 19 | Attribute Value 19 | Attribute Name 20 | Attribute Value 20 | Attribute Name 21 | Attribute Value 21 | Attribute Name 22 | Attribute Value 22 | Attribute Name 23 | Attribute Value 23 | Attribute Name 24 | Attribute Value 24 | Attribute Name 25 | Attribute Value 25 | Attribute Name 26 | Attribute Value 26 | Attribute Name 27 | Attribute Value 27 | Attribute Name 28 | Attribute Value 28 | Attribute Name 29 | Attribute Value 29 | Attribute Name 30 | Attribute Value 30 | Prospecta Remarks | Status
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK, URL edited | 04-05-2023 | 10-05-2023 |  | 718943 | 718943 | PL33-5408005 | SONDA POZIOMU ENDRESS FMX167-A1BBD1B7 | FMX167-A1BBD1B7 | ENDRESS+HAUSER | [14 empty] | https://www.in.endress.com/en/field-instruments-overview/pressure/Hydrostatic-level-Waterpilot-FMX167?t.tabId=product-specification | https://bdih-prod-assetcentralapi-assetcentral-rest-srv.cfapps.eu10.hana.ondemand.com/files/DLA/0200010000071EE589DB4A0D1218E2DB/TI00351PEN_1515.pdf |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | FMX167-A1BBD1B7 | FMX167-A1BBD1B7 |  | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | 0 TO 0.6 BAR | ACCURACY | 0.2 PCT | OUTPUT TYPE | 4 TO 20 mA | TYPE | HYDROSTATIC | MATERIAL | STAINLESS STEEL 316L,FKM VITON (SEAL) | CABLE LENGTH | 10 M | DEGREE OF PROTECTION | IP66/67 | HAZARD CLASS | NON-HAZARDOUS VERSION | CERTIFICATION/STANDARD | ATEX,CE,CSA,FM | ADDITIONAL FEATURES | TEMPERATURE RATING:-10 TO 70 DEG C, CONNECTION:PROBE CABLE, MOUNTING TYPE:FLUSH, PROBE TUBE SIZE:42 OD MM, OVERLOAD PRESSURE:10 BAR, BASIC VERSION | [40 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 308951 | 308951 | AU03-5019647 | PROBE,LEVEL,RADAR,4-20MA,3" | FMR50AAACAABNXWG | ENDRESS HAUSER | PROBE,LEVEL,RADAR,4-20MA,3"--ENDRESS & HAUSER FMR50-AAACAABNWG,MANUFACTURER PART NUMBER-ENDRESS & HAUSER FMR50-AAACAABNXWG | [13 empty] | https://www.endress.com/en/field-instruments-overview/level-measurement/Radar-Micropilot-FMR50?t.tabId=product-overview | https://bdih-prod-assetcentralapi-assetcentral-rest-srv.cfapps.eu10.hana.ondemand.com/files/DLA/005056A500261EDAB3AE253EBD437B53/TI01039FEN_1020.pdf |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | FMR50-AAACAABNXWG | FMR50-AAACAABNXWG |  | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | 40 M | ACCURACY | +/-2 MM | OUTPUT TYPE | 4 TO 20 mA | TYPE | RADAR | MATERIAL | PBT | CABLE LENGTH |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | SIZE: 3 IN | [40 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 583262 | 583262 | GB37-5512258 | PROBE,LEVEL,E&H DELTA PILOT M FMB50 |  |  | E<(>&<)>H LEVEL PROBE, DELTA PILOT M FMB50 FMB50-LSW3/0 FMB50-AA21SA1FGBTRJB3U+Z1 | [13 empty] | https://www.endress.com/en/field-instruments-overview/pressure/Hydrostatic-level-Deltapilot-FMB50?t.tabId=product-specification | https://portal.endress.com/wa001/dla/5000573/9408/000/04/TI01039FEN_0515.pdf |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | FMB50-AA21SA1FGBTRJB3U+Z1 | DELTAPILOT M | REFERENCE NUMBER:LSW3/0 | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | 400 MBAR/8 BAR | ACCURACY | +/- 0.2 PCT | OUTPUT TYPE | HART | TYPE | HYDROSTATIC | MATERIAL | STAINLESS STEEL | CABLE LENGTH |  | DEGREE OF PROTECTION | IP66,IP68 | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,FM,CSA | ADDITIONAL FEATURES | OUTPUT CURRENT:4-20 mA;TEMPERATURE RATING:-10 TO 100 DEG C;DISPLAY TYPE:LCD;ELECTRICAL CONNECTION:M20; | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 534194 | 534194 | FR34-LFSOND00000011 | SOND_DC11TEN-AA11A1B_MULTICAPT-300 MM | DC11TEN-AA11A1BNK1 |  |  | SONDE MULTICAPT-LONGUEUR=300 mmDC11TEN-AA11A1BNK1N° SERIE 880104010A6N° 942205-9000ALIMENTATION 24 VCC TIGE DE 300 MM EN 316L + PTFE | [12 empty] | https://www.endress.com/en/field-instruments-overview/DC11TEN?t.tabId=product-overview |  |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | DC11TEN-AA11A1BNK1 | DC11TEN-AA11A1BNK1 |  | ENRICHED | MRO | 41111905 | Electronic measuring probes | PROBE | LEVEL | MEASURING RANGE | 0.1 TO 3 M | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE | CAPACITIVE | MATERIAL | PATE/STAINLESS STEEL 316 | CABLE LENGTH | 3 M | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,WHG | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 547374 | 547374 | FR37-LFSON18276 | &SON DC11TENAA11YBK31CAPACITIVE LONG 350 | SON-CHL |  |  | SONDE ANALOGIQUE DC11TEN-AA11YBK31CAPACITIVE LONGEUR 350 MM.Cette article doit répondre aux normes "contact alimentaire". Certificat obligatoire. | [12 empty] | https://www.endress.com/en/field-instruments-overview/DC11TEN?t.tabId=product-overview |  |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | DC11TEN-AA11YBK31 | DC11TEN-AA11YBK31 |  | ENRICHED | MRO | 41111905 | Electronic measuring probes | PROBE | LEVEL | MEASURING RANGE | 0.1 TO 3 M | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE |  | MATERIAL | STAINLESS STEEL 316 | CABLE LENGTH | 3 M | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,WHG | ADDITIONAL FEATURES | HART,PROFIBUS PA,3-WIRE,CONNECTION:PFM;TEMPERATURE RATING:-50 TO 200 DEG C | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 44381 | 44381 | 8312-52208930 | PROBE,LEVEL,9-8711-112,PZP.STD 1-1/2" | 9-8711-112 | Monitor Technologies LLC | PROBE,LEVEL,DETAILS:PZP.STD 1-1/2,MANUFACTURER:MONITOR TECHNOLOGIES LLC | [14 empty] | https://www.radwell.co.uk/en-GB/Buy/MONITOR%20TECHNOLOGIES/MONITOR%20TECHNOLOGIES/9-8711-112/?redirect=true |  | MONITOR TECHNOLOGIES, LLC | OPM | 9-8711-112 | 9-8711-112 |  | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE | STANDARD,VIBRATORY | MATERIAL |  | CABLE LENGTH |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | CONNECTION TYPE: 1-1/2 IN NPT | [40 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 581276 | 581276 | GB36-CB41923324 | PROBE,VEGA,VIB61. XXAGCRKMX 150MM | VB61.XXAGCRKMX | VEGA CONTROLS | VEGA VIB41 TYPE VIB 41 XRGVVNT PRICE INCLUDES DELIVERY CHARGES OF £25.00 | [13 empty] | https://www.vega.com/en-in/products/product-catalog/switching/vibration/vegavib-61 |  |  | VEGA | OPM | VEGAVIB 61 | VEGAVIB 61 | ALTERNATE PART NUMBER:XXAGCRKMX | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | RELAY,TRANSISTOR | TYPE | VIBRATING | MATERIAL | ALUMINUM,PLASTIC,STAINLESS STEEL | CABLE LENGTH |  | DEGREE OF PROTECTION | IP66/IP68 | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,EAC,FM,IEC,KOSHA | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 755615 | 755615 | RU02-5427288 | SK(515140);CONDUCTIVITY ELECTRODE;EL914 | 515140 | [15 empty] | https://www.igema.com/en/products/liquid-control/electronic-level-control/classicline-analog/level-control-limating-lw-hw/multiple-level-probe-type-el914 |  |  | IGEMA GMBH | OPM | EL914 | EL914 | ALTERNATE PART NUMBER:515140 | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE | CONDUCTIVITY | MATERIAL | STAINLESS STEEL | CABLE LENGTH |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 581301 | 581301 | GB36-CB41923529 | PROBE,VEGASWING 63 | SWING63.XXGAVXPR - L = 320MM | VEGA CONTROLS | VEGASWING 63 SWING63.XXGAVXPR TUNING FORK LENGTH 40mm TOTAL LENGTH 320MM | [13 empty] | https://www.vega.com/en-in/products/product-catalog/switching/vibration/vegaswing-63 |  |  | VEGA | OPM | VEGASWING 63 | VEGASWING 63 |  | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | RELAY,TRANSISTOR | TYPE | VIBRATING | MATERIAL | ALUMINUM,PLASTIC,STAINLESS STEEL | CABLE LENGTH |  | DEGREE OF PROTECTION | IP66/IP68 | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX,CSA,EAC,FM,IEC,KOSHA | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 847520 | 847520 | IT03-5600960 | SONDA LIV. ELETTROSTATICO SGE-25 C/CAVO | CAMPO SCALA 0-6 MT 4-20 MA 10-36VDC | [15 empty] | https://aplisens.com/pdf/produkty/SG-25_Smart,%20SG-25S_Smart.pdf |  |  | APLISENS S.A. | OPM | SGE-25 | SGE-25 |  | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | 0 TO 100 M | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE | ELECTROSTATIC | MATERIAL | STAINLESS STEEL 316L | CABLE LENGTH |  | DEGREE OF PROTECTION | IP68 | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 307822 | 307822 | AU02-EA508636 | VEGA LEVEL PROBE 1000MM . VEGAFLEX 61 | FX61.XXEGB1HKMXX | VEGA AUSTRALIA | FX61.XXEGB1HKMXX | [13 empty] | https://docs.rs-online.com/72f0/0900766b804d84fd.pdf |  |  | VEGA | OPM | FX61.XXEGB1HKMXX | FX61.XXEGB1HKMXX |  | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE | COMPACT | MATERIAL | PLASTIC,VITON | CABLE LENGTH | 1000 MM | DEGREE OF PROTECTION | IP66 | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 508893 | 508893 | ES36-5398329 | DETECTOR RECHNER KFS-5-1-150-15-PEEK-Y55 | KFS-5-1-150-15-PEEK-Y55 |  |  | Corresponde a su Oferta 353262 | [12 empty] | https://www.ozhat.com.tr/show_catalogue_pdf/253085/1 | https://hindi-alibaba-com.translate.goog/product-detail/KFS-5-1-150-15-PEEK-60839069393.html?_x_tr_sl=hi&_x_tr_tl=en&_x_tr_hl=en&_x_tr_pto=sc |  | RECHNER SENSORS | OPM | KFS-5-1-150-15-PEEK-Y55 | KFS-5-1-150-15-PEEK-Y55 | CORRESPONDS TO YOUR OFFER 353262 | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE | PROXIMITY | MATERIAL |  | CABLE LENGTH |  | DEGREE OF PROTECTION | IP67 | HAZARD CLASS |  | CERTIFICATION/STANDARD | ROHS | ADDITIONAL FEATURES | [41 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 302874 | 302874 | AT31-5558593 | JUMO MAERA S26 PEGELSONDE, 402090 | 402090 | JUMO | Bestellschlüssel: 402090/023-454-405-659-20-15-015/631 Typ JUMO MAERA S26 verbesserte Genauigkeit Eingang 0..1 bar Relativdruck Ausgang 4..20 mA zl Prozessanschluss Anschluss unten offen Werkst. Prozessans. CrNi (Edelstahl) Elektr.Anschl.Art Kabel abgesch | Bestellschlüssel: 402090/023-454-405-659-20-15-015/631 Typ JUMO MAERA S26 verbesserte Genauigkeit Eingang 0..1 bar Relativdruck Ausgang 4..20 mA zl Prozessanschluss Anschluss unten offen Werkst. Prozessans. CrNi (Edelstahl) Elektr.Anschl.Art Kabel abgesch | [12 empty] | http://www.jumo.in/products/level/continuous-level-measurement/hydrostatic/level-measuring-probe/402090/jumo-maera-s26-%E2%80%93-level-probe-402090.html |  |  | JUMO | OPM | 402090 | MAERA S26 |  | ENRICHED | MRO | 41112407 | LIQUID LEVEL CONTROLS OR INSTRUMENTS | PROBE | LEVEL | MEASURING RANGE | 250 Mbar TO 2.5 BAR | ACCURACY | +/-0.3 PCT | OUTPUT TYPE | ANALOG | TYPE |  | MATERIAL |  | CABLE LENGTH |  | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | TEMPERTURE RATING:50 DEG C;OUTPUT RATING:4-20 MA CRNI STAINLESS STEEL ELECTRICAL ENGINEER CABLE SHIELDED FEAST PE-LD BLACK LINE LENGTH 15 M STARTING RANGE BEGINS 0.000 MEASURING RANGE | [41 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 762298 | 762298 | RU02-TRU37006904 | SWITCH LEVEL;VEGACAP63;CAP63.XXEGSRKMX | [16 empty] | https://www.vega.com/en-in/products/product-catalog/switching/capacitive/vegacap-63 |  |  | VEGA | OPM | VEGACAP 63-XXEGSRKMX | VEGACAP 63-XXEGSRKMX |  | ENRICHED | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE | CAPACITIVE ROD | MATERIAL | ALUMINUM,PLASTIC,STAINLESS STEEL | CABLE LENGTH | 6 M | DEGREE OF PROTECTION | IP66,IP67 | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 44380 | 44380 | 8312-52208929 | PROBE,LEVEL,9-8731-112,18 INCH | 9-8731-112 | Monitor Technologies LLC | PROBE,LEVEL,DETAILS:18 INCH,MANUFACTURER:MONITOR TECHNOLOGIES LLC,MFR PART NUMBER:9-8731-112 | [13 empty] | https://www.radwell.co.uk/en-GB/Buy/MONITOR%20TECHNOLOGIES/MONITOR%20TECHNOLOGIES/9-8711-112/?redirect=true |  |  | MONITOR TECHNOLOGIES, LLC | OPM | 9-8731-112 | 9-8731-112 |  | CLARIFICATION | MRO | 41111905 | Electronic Measuring Probes | PROBE | LEVEL | MEASURING RANGE | NOT AVAILABLE | ACCURACY | NOT AVAILABLE | OUTPUT TYPE | NOT AVAILABLE | TYPE |  | MATERIAL |  | CABLE LENGTH | 18 IN | DEGREE OF PROTECTION |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [42 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DETECTOR,RTD | 04-05-2023 | 10-05-2023 |  | 694136 | 694136 | NG01-5544760 | ENDRESS+HAUSER TMR35 TEMPT PROBE |  |  | FOR HANSEL ROTAMAT FLASH VESSEL, PART NUMBER TMR35-A1BBMBBX1ACA, SERIAL NUMBER FA00160435C | [13 empty] | https://www.endress.com/en/field-instruments-overview/temperature-measurement-thermometers-transmitters/hygienic-compact-thermometer-easytemp-tmr35?t.tabId=product-overview | https://portal.endress.com/wa001/dla/5000300/7130/000/05/TI123ren_1209.pdf |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | TMR35-A1BBMBBX1ACA | TMR35-A1BBMBBX1ACA | SERIAL NUMBER:FA00160435C | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | PROBE | TEMPERATURE | SENSING ELEMENT | NOT AVAILABLE | TEMPERATURE RATING | -50 TO 200 DEG C | TOLERANCE | NOT AVAILABLE | TYPE | HYGIENIC COMPACT | MATERIAL | STAINLESS STEEL 316L | CONNECTION TYPE | PLUG M12 | RESISTANCE |  | VOLTAGE RATING | 10-35 VDC | CURRENT RATING | 4-20 mA | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | 3A,CE,cRUus,EHDG,EMC,GL,NAMUR NE21,UL 3111-1,UL 61010B-1 | ADDITIONAL FEATURES | F/HANSEL ROTAMAT FLASH VESSEL | [34 empty] | Part number is not available so we updated Model number as Part number,Model Number Updated as per URL | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DETECTOR,RTD | 04-05-2023 | 10-05-2023 |  | 392184 | 392184 | BE35-LBH20913 | VOELER ITHERM TM411 -200+600°C TEMP | REXEL :E4834232 |  | VOELER ITHERM TM411 -200+600°C TEMP ENDTM4114FEF1101 REXEL :E4834232 OFFERTE :3589369.0 | VOELER ITHERM TM411 -200+600°C TEMP ENDTM4114FEF1101 REXEL :E4834232 OFFERTE :3589369.0¦¦VOELER ITHERM TM411 -200+600°C TEMP ENDTM4114FEF1101 REXEL :E4834232 OFFERTE :3589369.0¦¦VOELER ITHERM TM411 -200+600°C TEMP ENDTM4114FEF1101 REXEL :E4834232 OFFERTE | [12 empty] | https://www.endress.com/en/field-instruments-overview/temperature-measurement-thermometers-transmitters/sanitary-digital-thermometer-itherm-tm411?t.tabId=product-specification |  |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | TM411-4FEF1101 | TM411-4FEF1101 | DISTRIBUTOR:REXEL;REFERENCE NUMBER:E4834232;QUOTE NUMBER:3589369.0 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | PROBE | TEMPERATURE | SENSING ELEMENT | RTD | TEMPERATURE RATING | -200 TO 600 DEG C | TOLERANCE | NOT AVAILABLE | TYPE | MODULAR RESISTANCE THERMOMETER | MATERIAL |  | CONNECTION TYPE |  | RESISTANCE |  | VOLTAGE RATING | 20-250 VDC | CURRENT RATING |  | SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | ATEX/IECEX,EHEDG,ASME BPE | ADDITIONAL FEATURES | BRAND:ITHERM;E IMMERSION LENGTH:85 MM | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DETECTOR,RTD | 04-05-2023 | 10-05-2023 |  | 513678 | 513678 | ES36-5557015 | SENSOR ENDRESS H. TMR35-A1BAMBAA1AAA |  |  |  | Corresponde a su Oferta 350244 | [12 empty] | https://www.in.endress.com/en/field-instruments-overview/temperature-measurement-thermometers-transmitters/hygienic-compact-thermometer-easytemp-tmr35?t.tabId=product-configure |  |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | TMR35-A1BAMBAA1AAA | TMR35-A1BAMBAA1AAA |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | PROBE | TEMPERATURE | SENSING ELEMENT | 0-150 DEG C | TEMPERATURE RATING |  | TOLERANCE | NOT AVAILABLE | TYPE | HYGIENIC COMPACT | MATERIAL | STAINLESS STEEL 316L | CONNECTION TYPE | PLUG M12 | RESISTANCE |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE |  | HAZARD CLASS | NON HAZARDOUS AREA | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | ENCLOSURE RATING:IP66/67/IP69K;SIGNAL OUTPUT:4-20 mA;INSERTION LENGTH:30 MM;INSERTION DIAMETER:6 MM;SURFACE ROUGHNESS:RA <= 0.76UM (30UINCH);W/O THERMOWELL,NECK,MATERIAL CERTIFICATE,CALIBRATION;VERSION:STANDARD | [35 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 842938 | 842938 | ZA02-ZAAB00578 | PROBE - PT100 EHTR0004(SANDIACRE) | [16 empty] | https://www.farnell.com/datasheets/2615421.pdf | https://m.reissmann.com/fileadmin/templates/_media/produkte/pdf/st_pt_100_en.pdf | https://www.itsirl.com/datasheets/RTM13.pdf | PICO TECHNOLOGY | OPM | PT100 | PT100 | REFERENCE NUMBER:EHTR0004 | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | PROBE | TEMPERATURE | SENSING ELEMENT | NOT AVAILABLE | TEMPERATURE RATING | -50 TO 250 DEG C | TOLERANCE | NOT AVAILABLE | TYPE | PLATINUM RESISTANCETHERMOMETER | MATERIAL | STAINLESS STEEL | CONNECTION TYPE | 4-PIN | RESISTANCE | 100 OHMS | VOLTAGE RATING |  | CURRENT RATING | 1 mA | SIZE | 4 DIA X 150 LG MM | HAZARD CLASS |  | CERTIFICATION/STANDARD | MINI-DIN | ADDITIONAL FEATURES | ACCURACY:+/-0.03 DEG C;CABLE LENGTH:2 M;SANDIACRE | [34 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | OK1 | 04-05-2023 | 10-05-2023 |  | 511725 | 511725 | ES36-5445279 | SONDA TEMPERATURA PT100 3.0X30 54951141 |  | REPRESENTACIONES IMCO, S.A. | [14 empty] | https://www.volza.com/p/thermo-sensor/import/coo-germany/ |  |  | BOSCH | OPM | 54951141 | PT100 |  | ENRICHED | MRO | 41112200 | Temperature And Heat Measuring Instruments | PROBE | TEMPERATURE | SENSING ELEMENT | NOT AVAILABLE | TEMPERATURE RATING | NOT AVAILABLE | TOLERANCE | NOT AVAILABLE | TYPE |  | MATERIAL | STAINLESS STEEL | CONNECTION TYPE |  | RESISTANCE |  | VOLTAGE RATING |  | CURRENT RATING |  | SIZE | 3 X 30 MM | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [36 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:GLASS | 04-05-2023 | 10-05-2023 |  | 212962 | 212962 | 8364-52221699 | TERM,PNL VIEW,5PP320-0571-K11 | 5PP320-0571-K11 | Mettler-Toledo Inc | TERMINAL,PANEL VIEW,DETAILS:POWR PANEL 300,MANUFACTURER:METTLER-TOLEDO INC,MFR PART NUMBER:5PP320-0571-K11 | [13 empty] | https://www.vicpas.com/pid18292473/Power-Panel-300-5PP320-0571-K11-Touch-Digitizer-Glass.htm |  |  | METTLER TOLEDO | OPM | 5PP320-0571-K11 | 5PP320-0571-K11 |  | ENRICHED | MRO | 30171700 | Glass products | GLASS |  | TYPE |  | SIZE | 5.7 IN | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [48 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DISPLAY,OPERATOR INTERFACE | 04-05-2023 | 10-05-2023 |  | 107668 | 107668 | 8339-50386152 | CONTR,PNL,1400ELKC6,AB | 1400ELKC6 | Allen Bradley | CONTROL,PANEL,DETAILS:AB,MANUFACTURER:ALLEN BRADLEY,MFR PART NUMBER:1400ELKC6 | [13 empty] | https://www.dosupply.com/automation/allen-bradley/panelview-2711e/1400ELKC6 |  | https://a2bsupply.com/products/allen-bradley-panelview-2711e-1400elkc6-ser-e | ALLEN-BRADLEY | OPM | 1400ELKC6 | 1400ELKC6 |  | ENRICHED | MRO | 32151900 | Automation control connectivity devices | DISPLAY | OPERATOR INTERFACE | DISPLAY TYPE |  | DISPLAY SIZE |  | RESOLUTION |  | ELECTRICAL RATING | 115-230 VAC | INTERFACE TYPE |  | TYPE |  | MEMORY | 1.75 MB FLASH | MOUNTING TYPE |  | ENCLOSURE |  | SIZE |  | TEMPERATURE RATING |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [33 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:GLASS | 04-05-2023 | 10-05-2023 |  | 740243 | 740243 | PL38-5628583 | STEROWNIK_CP-CTNAT2250-P0_AUTOJET_2250 | CP-CTNAT2250-P0 | EWPOL AUTOMATYKA PRZEMYSLOWA |  | AutoJet Model 2250Spray Controller Cp-SWFWT2250-00 Edition 1.1.31.0 Software cp-SWMST2250-01 Edition 1.9. | [12 empty] | https://www.rgbautomatyka.pl/en/dotyk-do-cp-ctnat2250-p0-touch-zamiennik-19991795_19991795.html |  |  | EWPOL AUTOMATYKA PRZEMYSLOWA | DISTRIBUTOR | CP-CTNAT2250-P0 | CP-CTNAT2250-P0 |  | ENRICHED | MRO | 30171700 | Glass products | GLASS |  | TYPE |  | SIZE | 12 WD X 15 LG X 2 HT CM | MATERIAL |  | COLOUR |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [47 empty] | Part number is not available so we updated model number as part number | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DETECTOR,RTD | 04-05-2023 | 10-05-2023 |  | 641781 | 641781 | IN03-ED029339 | TT L-244MM -50TO400°CTR24-AG2DXK20E0 E&H |  |  | Temp Trans 244mmTR24-AG2DXK20E0 Mak E<(>&<)>H | [13 empty] | https://www.in.endress.com/en/field-instruments-overview/temperature-measurement-thermometers-transmitters/Pt100-thermometer-modular-design-TR24?t.tabId=product-specification | https://portal.endress.com/wa001/dla/5000597/8720/000/00/TI01117TEN_0113.pdf |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | TR24-AG2DXK20E0 | TR24-AG2DXK20E0 |  | ENRICHED | MRO | 41112225 | Resistance temperature detector RTD | DETECTOR | RTD | ELEMENT TYPE |  | ELEMENT MATERIAL |  | TEMPERATURE RANGE | -200 TO 600 DEG C | PROCESS CONNECTION | 1/2 IN BSPP,1/2 IN NPT | ACCURACY | CLASS A | TYPE |  | WIRE LENGTH |  | ELEMENT RESISTANCE | PT 100 | SHEATH MATERIAL | STAINLESS STEEL 316L | LEAD TYPE |  | TEMPERATURE COEFFICIENT |  | SHEATH SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD | IEC 60751 | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DETECTOR,RTD | 04-05-2023 | 10-05-2023 |  | 842399 | 842399 | ZA02-5476866 | CE000000106 PT100 3 CLASS B WIRES |  |  | CE000000106PT100 3 CLASS B WIRES d. 6mm L. 350mm PACK. -50.+400/4-20 mA |  | Sacmi | 8JCE000000106 |  |  | PT100 2 FILI CLASSE B d. 6mm L |  | CE000000106 PT100 3 | [5 empty] | https://www.labfacility.com/product_pdf/download/pdf/id/2249 |  |  | FISCHER & PLATH | OPM | CE000000105 PT100 | CE000000105 PT100 |  | ENRICHED | MRO | 41112225 | Resistance temperature detector RTD | DETECTOR | RTD | ELEMENT TYPE |  | ELEMENT MATERIAL |  | TEMPERATURE RANGE | -50 TO 450 DEG C | PROCESS CONNECTION | 1/2 IN BSP X 6 MM | ACCURACY | CLASS B | TYPE |  | WIRE LENGTH | 150 MM | ELEMENT RESISTANCE |  | SHEATH MATERIAL | STAINLESS STEEL 316 | LEAD TYPE |  | TEMPERATURE COEFFICIENT |  | SHEATH SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DETECTOR,RTD | 04-05-2023 | 10-05-2023 |  | 620739 | 620739 | IE32-5557664 | THERMOMETER,SFLF-11597-001,BUH | SFLF-11597-001 | BUEHLER | [14 empty] | https://www.ontrium.com/en/usa/brands/buhler/sfla-10054 |  |  | BUHLER | OEM | SFLF-11597-001 | SFLF-11597-001 |  | ENRICHED | MRO | 41112225 | Resistance temperature detector RTD | DETECTOR | RTD | ELEMENT TYPE |  | ELEMENT MATERIAL |  | TEMPERATURE RANGE | 0 TO 100 DEG C | PROCESS CONNECTION |  | ACCURACY |  | TYPE |  | WIRE LENGTH |  | ELEMENT RESISTANCE |  | SHEATH MATERIAL |  | LEAD TYPE |  | TEMPERATURE COEFFICIENT |  | SHEATH SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DETECTOR,RTD | 04-05-2023 | 10-05-2023 |  | 842398 | 842398 | ZA02-5476865 | CE000000105 PT100 3 CLASS B WIRES |  |  | CE000000105PT100 3 CLASS B WIRES d. 6mm L. 100mm PACK. -50.+400/4-20 mA | [13 empty] | https://www.labfacility.com/product_pdf/download/pdf/id/2249 |  |  | FISCHER & PLATH | OPM | CE000000105 PT100 | CE000000105 PT100 |  | ENRICHED | MRO | 41112225 | Resistance temperature detector RTD | DETECTOR | RTD | ELEMENT TYPE |  | ELEMENT MATERIAL |  | TEMPERATURE RANGE | -50 TO 450 DEG C | PROCESS CONNECTION | 1/2 IN BSP X 6 MM | ACCURACY | CLASS B | TYPE |  | WIRE LENGTH | 150 MM | ELEMENT RESISTANCE |  | SHEATH MATERIAL | STAINLESS STEEL 316 | LEAD TYPE |  | TEMPERATURE COEFFICIENT |  | SHEATH SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DETECTOR,RTD | 04-05-2023 | 10-05-2023 |  | 49501 | 49501 | 8314-50413541 | PROBE,TEMP,TST40N-CC3XP13EAAO,ENDRESSHAU | TST40N-CC3XP13EAAO | Endress+Hauser Inc | PROBE,TEMPERATURE,DETAILS:ENDRESSHAU,MANUFACTURER:ENDRESS+HAUSER INC,MFR PART NUMBER:TST40N-CC3XP13EAAO | [13 empty] | https://bdih-prod-assetcentralapi-assetcentral-rest-srv.cfapps.eu10.hana.ondemand.com/files/DLA/4B5DC2CBB28D44EDE10000000A35E042/TI198ten_1198.pdf |  |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | TST40N-CC3XP13EAAO | TST40N-CC3XP13EAAO |  | ENRICHED | MRO | 41112225 | Resistance temperature detector RTD | DETECTOR | RTD | ELEMENT TYPE |  | ELEMENT MATERIAL |  | TEMPERATURE RANGE |  | PROCESS CONNECTION |  | ACCURACY | CLASS B | TYPE |  | WIRE LENGTH |  | ELEMENT RESISTANCE | PT 100 | SHEATH MATERIAL |  | LEAD TYPE |  | TEMPERATURE COEFFICIENT |  | SHEATH SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DETECTOR,RTD | 04-05-2023 | 10-05-2023 |  | 173890 | 173890 | 8353-52067392 | TEMP TRANS TR24 G 1/2"/90518-8198/GRNGW2 | 90518-8198 | Tetra Pak Inc | [14 empty] | https://www.in.endress.com/en/field-instruments-overview/temperature-measurement-thermometers-transmitters/Pt100-thermometer-modular-design-TR24?t.tabId=product-specification |  |  | ENDRESS+HAUSER GROUP SERVICES AG | OPM | TR24 | TR24 | ALTERNATE OPM:TETRA PAK INC;ALTERNATE OPM PART NUMBER:90518-8198 | ENRICHED | MRO | 41112225 | Resistance temperature detector RTD | DETECTOR | RTD | ELEMENT TYPE |  | ELEMENT MATERIAL |  | TEMPERATURE RANGE | -200 TO 500 DEG C | PROCESS CONNECTION |  | ACCURACY |  | TYPE |  | WIRE LENGTH |  | ELEMENT RESISTANCE |  | SHEATH MATERIAL |  | LEAD TYPE |  | TEMPERATURE COEFFICIENT |  | SHEATH SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed
STP-007 | DATA ENRICHMENT | Batch_1 | Elec | RYM | RYM | NME:DETECTOR,RTD | 04-05-2023 | 10-05-2023 |  | 830680 | 830680 | VN02-EV003025 | CLOCK,TEMPERATURE,K3MA-L AC100-240 | K3MA-L AC100-240;OMRON | [15 empty] | https://www.ia.omron.com/product/item/4586/ | https://www.farnell.com/datasheets/70943.pdf |  | OMRON ELECTRONICS | OPM | K3MA-L AC100-240 | K3MA-L AC100-240 |  | CLEANSED | MRO | 41112225 | Resistance temperature detector RTD | DETECTOR | RTD | ELEMENT TYPE |  | ELEMENT MATERIAL |  | TEMPERATURE RANGE | -10 TO 55 DEG C | PROCESS CONNECTION |  | ACCURACY |  | TYPE |  | WIRE LENGTH |  | ELEMENT RESISTANCE | PLATINUM | SHEATH MATERIAL |  | LEAD TYPE |  | TEMPERATURE COEFFICIENT |  | SHEATH SIZE |  | HAZARD CLASS |  | CERTIFICATION/STANDARD |  | ADDITIONAL FEATURES | [32 empty] | Production Completed